## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-55_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-55_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-55_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-55_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-55_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_121-55_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_121-55_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_121-55_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_121-55_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_121-55_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_121-55_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_121-55_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_121-55_0_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_121-55_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_121-55_0_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_121-55_0_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_121-55_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_121-55_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_121-55_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_121-55_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_121-55_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_121-55_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_121-55_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_121-55_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_121-55_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_121-55_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_121-55_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_121-55_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_121-55_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_121-55_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_121-55_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_121-55_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_121-55_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_121-55_0_3_node_5 | 0.4 | n |  | TRUE
34 | bus_LV_121-55_0_3_node_6 | 0.4 | n |  | TRUE
35 | bus_LV_121-55_0_3_node_7 | 0.4 | n |  | TRUE
36 | bus_LV_121-55_0_3_node_8 | 0.4 | n |  | TRUE
37 | bus_LV_121-55_0_3_node_9 | 0.4 | n |  | TRUE
38 | bus_LV_121-55_0_3_node_11 | 0.4 | n |  | TRUE
39 | bus_LV_121-55_0_3_node_12 | 0.4 | n |  | TRUE
40 | bus_LV_121-55_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_121-55_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_121-55_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_121-55_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_121-55_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_121-55_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_121-55_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_121-55_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_121-55_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_121-55_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_121-55_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_121-55_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_121-55_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_121-55_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_121-55_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_121-55_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_121-55_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_MV_6_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-55_0_3_load_0 | 0 | 0.011841 | 0.0029677 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-55_0_3_load_1 | 1 | 0.00085146 | 0.0002134 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-55_0_3_load_2 | 2 | 0.018768 | 0.0047037 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-55_0_3_load_3 | 3 | 0.0028965 | 0.00072593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-55_0_3_load_31 | 9 | 0.0021265 | 0.00053294 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-55_0_3_load_64 | 12 | 0.0098367 | 0.0024653 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-55_0_3_load_63 | 14 | 0.0023254 | 0.0005828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-55_0_3_load_53 | 15 | 0.0025776 | 0.000646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-55_0_3_load_52 | 16 | 0.019788 | 0.0049594 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-55_0_3_load_46 | 20 | 0.013676 | 0.0034275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-55_0_3_load_45 | 21 | 0.011403 | 0.0028579 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-55_0_3_load_43 | 23 | 0.0038864 | 0.00097401 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-55_0_3_load_42 | 25 | 0.014974 | 0.0037528 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-55_0_3_load_50 | 26 | 0.0045768 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-55_0_3_load_41 | 28 | 0.014978 | 0.0037539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-55_0_3_load_40 | 29 | 0.011362 | 0.0028475 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-55_0_3_load_58 | 30 | 0.013978 | 0.0035031 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-55_0_3_load_48 | 32 | 0.013758 | 0.0034481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-55_0_3_load_5 | 33 | 0.0084841 | 0.0021263 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-55_0_3_load_6 | 34 | 0.016033 | 0.0040184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-55_0_3_load_7 | 35 | 0.018643 | 0.0046725 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-55_0_3_load_8 | 36 | 0.0024525 | 0.00061465 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-55_0_3_load_12 | 39 | 0.0165 | 0.0041352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-55_0_3_load_35 | 40 | 0.018733 | 0.004695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-55_0_3_load_39 | 42 | 0.012527 | 0.0031395 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-55_0_3_load_32 | 44 | 0.0016136 | 0.0004044 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-55_0_3_load_62 | 45 | 0.011358 | 0.0028466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-55_0_3_load_59 | 46 | 0.01288 | 0.003228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-55_0_3_load_60 | 47 | 0.011103 | 0.0027827 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-55_0_3_load_51 | 48 | 0.0043843 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-55_0_3_load_57 | 49 | 0.015425 | 0.0038659 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-55_0_3_load_47 | 50 | 0.011294 | 0.0028306 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-55_0_3_load_44 | 51 | 0.0058227 | 0.0014593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-55_0_3_load_54 | 52 | 0.0041116 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-55_0_3_load_55 | 53 | 0.0030751 | 0.0007707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-55_0_3_load_37 | 54 | 0.0088545 | 0.0022191 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-55_0_3_load_36 | 55 | 0.0050142 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-55_0_3_load_56 | 56 | 0.011263 | 0.0028229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-55_0_3_line_0 |  | 0 | 1 | 0.040625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-55_0_3_line_1 |  | 0 | 2 | 0.056925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-55_0_3_line_2 |  | 1 | 3 | 0.040164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-55_0_3_line_3 |  | 3 | 4 | 0.093728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-55_0_3_line_4 |  | 4 | 8 | 0.089485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-55_0_3_line_5 |  | 5 | 6 | 0.075293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_121-55_0_3_line_6 |  | 5 | 7 | 0.03034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_121-55_0_3_line_7 |  | 6 | 9 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-55_0_3_line_8 |  | 7 | 13 | 0.066162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_121-55_0_3_line_9 |  | 7 | 14 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-55_0_3_line_10 |  | 8 | 30 | 0.029192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-55_0_3_line_11 |  | 8 | 27 | 0.003663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-55_0_3_line_12 |  | 9 | 44 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-55_0_3_line_13 |  | 10 | 11 | 0.009498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-55_0_3_line_14 |  | 10 | 12 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-55_0_3_line_15 |  | 11 | 45 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-55_0_3_line_16 |  | 11 | 46 | 0.011776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-55_0_3_line_17 |  | 13 | 15 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-55_0_3_line_18 |  | 13 | 16 | 0.033267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_121-55_0_3_line_19 |  | 14 | 45 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-55_0_3_line_20 |  | 15 | 17 | 0.0066643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-55_0_3_line_21 |  | 16 | 48 | 0.024601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_121-55_0_3_line_22 |  | 17 | 18 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-55_0_3_line_23 |  | 18 | 49 | 0.042762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-55_0_3_line_24 |  | 18 | 31 | 0.065589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-55_0_3_line_25 |  | 19 | 20 | 0.0040459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-55_0_3_line_26 |  | 19 | 21 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-55_0_3_line_27 |  | 20 | 50 | 0.022221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-55_0_3_line_28 |  | 22 | 23 | 0.049823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-55_0_3_line_29 |  | 22 | 24 | 0.044109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-55_0_3_line_30 |  | 22 | 25 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-55_0_3_line_31 |  | 23 | 51 | 0.047565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-55_0_3_line_32 |  | 24 | 26 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-55_0_3_line_33 |  | 25 | 28 | 0.051922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-55_0_3_line_34 |  | 26 | 48 | 0.024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-55_0_3_line_35 |  | 27 | 28 | 0.0038863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-55_0_3_line_36 |  | 27 | 29 | 0.038331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-55_0_3_line_37 |  | 31 | 32 | 0.010153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-55_0_3_line_38 |  | 32 | 50 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-55_0_3_line_39 |  | 33 | 34 | 0.0089838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-55_0_3_line_40 |  | 33 | 35 | 0.038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-55_0_3_line_41 |  | 34 | 36 | 0.066993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-55_0_3_line_42 |  | 35 | 37 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-55_0_3_line_43 |  | 37 | 38 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-55_0_3_line_44 |  | 37 | 39 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-55_0_3_line_45 |  | 38 | 40 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-55_0_3_line_46 |  | 39 | 41 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-55_0_3_line_47 |  | 40 | 43 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-55_0_3_line_48 |  | 41 | 42 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-55_0_3_line_49 |  | 42 | 54 | 0.025514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-55_0_3_line_50 |  | 43 | 44 | 0.003168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-55_0_3_line_51 |  | 46 | 47 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-55_0_3_line_52 |  | 49 | 56 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-55_0_3_line_53 |  | 52 | 53 | 0.0083816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_121-55_0_3_line_54 |  | 53 | 56 | 0.020145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_121-55_0_3_line_55 |  | 54 | 55 | 0.035083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-55_0_3_trafo_51 | 0.63 MVA 20/0.4 kV | 57 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2703426.0975 | 1242705.1172 | 2703413.368 | 1242699.2039 | 2703405.5283 | 1242693.107 | 2703390.427 | 1242686.0766
1 | 2703426.0975 | 1242705.1172 | 2703426.4999 | 1242705.3042 | 2703470.5756 | 1242725.3324 | 2703478.012 | 1242728.4631
2 | 2703390.427 | 1242686.0766 | 2703385.6769 | 1242683.8651 | 2703373.864 | 1242681.0238 | 2703366.163 | 1242678.2431 | 2703351.8539 | 1242675.4125
3 | 2703259.9958 | 1242688.8476 | 2703275.228 | 1242685.0652 | 2703289.794 | 1242682.1943 | 2703293.9954 | 1242682.7567 | 2703320.2995 | 1242676.1762 | 2703334.8538 | 1242673.9834 | 2703346.1288 | 1242674.28 | 2703351.8539 | 1242675.4125
4 | 2703259.9958 | 1242688.8476 | 2703257.9281 | 1242685.1532 | 2703256.1674 | 1242682.0646 | 2703277.4679 | 1242676.264 | 2703307.6073 | 1242668.6938 | 2703322.198 | 1242665.2785 | 2703327.6191 | 1242660.9251 | 2703329.7392 | 1242654.6683
5 | 2703544.1054 | 1242778.7453 | 2703558.9801 | 1242763.3929 | 2703566.4717 | 1242755.6398 | 2703581.641 | 1242755.8936 | 2703596.8199 | 1242740.8803 | 2703596.5724 | 1242734.2708
6 | 2703589.4353 | 1242722.159 | 2703601.932 | 1242721.7658 | 2703602.0482 | 1242729.8296 | 2703596.4255 | 1242730.1317 | 2703596.5724 | 1242734.2708
7 | 2703544.1054 | 1242778.7453 | 2703530.6044 | 1242777.342 | 2703529.9813 | 1242777.9959
8 | 2703524.6215 | 1242725.9644 | 2703531.7219 | 1242728.9239 | 2703539.2971 | 1242729.8123 | 2703552.6829 | 1242726.9881 | 2703565.1899 | 1242726.4392 | 2703583.8159 | 1242722.7058 | 2703589.4353 | 1242722.159
9 | 2703589.4353 | 1242722.159 | 2703591.2252 | 1242703.8993
10 | 2703329.7392 | 1242654.6683 | 2703327.0289 | 1242627.1108 | 2703326.8816 | 1242625.616
11 | 2703329.7392 | 1242654.6683 | 2703333.4129 | 1242654.71
12 | 2703529.9813 | 1242777.9959 | 2703518.3651 | 1242790.1864
13 | 2703608.0709 | 1242681.0969 | 2703616.2961 | 1242685.8887
14 | 2703616.2961 | 1242685.8887 | 2703627.6073 | 1242689.7447 | 2703629.8259 | 1242690.9648
15 | 2703608.0709 | 1242681.0969 | 2703601.7216 | 1242687.9358 | 2703598.9412 | 1242692.0914
16 | 2703608.0709 | 1242681.0969 | 2703610.7737 | 1242669.6352
17 | 2703524.6215 | 1242725.9644 | 2703529.2107 | 1242712.0816
18 | 2703524.6215 | 1242725.9644 | 2703507.3505 | 1242719.636 | 2703492.9374 | 1242715.9641
19 | 2703598.9412 | 1242692.0914 | 2703591.2569 | 1242703.5764 | 2703591.2252 | 1242703.8993
20 | 2703531.3024 | 1242705.7541 | 2703529.2107 | 1242712.0816
21 | 2703469.9162 | 1242707.4116 | 2703487.389 | 1242714.5506 | 2703492.9374 | 1242715.9641
22 | 2703534.7949 | 1242696.2521 | 2703531.3024 | 1242705.7541
23 | 2703534.7949 | 1242696.2521 | 2703532.535 | 1242694.9116 | 2703513.1303 | 1242686.511 | 2703509.1118 | 1242682.8381 | 2703508.371 | 1242679.3669 | 2703508.6965 | 1242669.376
24 | 2703581.0822 | 1242654.1382 | 2703576.1997 | 1242668.7643 | 2703570.0556 | 1242676.4075 | 2703549.3131 | 1242688.3326 | 2703534.7949 | 1242696.2521
25 | 2703571.8236 | 1242602.8812 | 2703571.9028 | 1242606.9264
26 | 2703571.8236 | 1242602.8812 | 2703570.0825 | 1242590.4523 | 2703567.0798 | 1242587.9202 | 2703567.097 | 1242585.2832
27 | 2703571.9028 | 1242606.9264 | 2703572.3379 | 1242629.1428
28 | 2703392.9494 | 1242678.2652 | 2703431.1164 | 1242654.3228 | 2703434.5513 | 1242651.0164
29 | 2703433.3858 | 1242695.8613 | 2703427.9397 | 1242693.8426 | 2703392.9494 | 1242678.2652
30 | 2703392.9494 | 1242678.2652 | 2703386.7327 | 1242675.3436 | 2703383.3523 | 1242673.8126
31 | 2703435.1596 | 1242608.9025 | 2703443.6205 | 1242623.6058 | 2703444.464 | 1242633.328 | 2703440.3978 | 1242645.3888 | 2703434.5513 | 1242651.0164
32 | 2703433.3858 | 1242695.8613 | 2703441.8789 | 1242694.8418 | 2703448.4729 | 1242696.6522
33 | 2703337.2992 | 1242654.6999 | 2703337.2992 | 1242654.6999 | 2703340.8289 | 1242660.8328 | 2703346.9421 | 1242664.0529 | 2703357.9213 | 1242665.2783 | 2703368.6514 | 1242668.2119 | 2703375.6759 | 1242670.3359 | 2703383.3523 | 1242673.8126
34 | 2703448.4729 | 1242696.6522 | 2703452.5184 | 1242697.7629 | 2703466.9477 | 1242706.1988 | 2703469.9162 | 1242707.4116
35 | 2703333.4129 | 1242654.71 | 2703337.2992 | 1242654.6999
36 | 2703333.4129 | 1242654.71 | 2703329.3979 | 1242616.5904
37 | 2703581.0822 | 1242654.1382 | 2703572.7148 | 1242648.3877
38 | 2703572.3379 | 1242629.1428 | 2703572.7148 | 1242648.3877
39 | 2703409.7934 | 1242770.2545 | 2703400.815 | 1242770.5657
40 | 2703409.7934 | 1242770.2545 | 2703448.2453 | 1242768.9215 | 2703448.2453 | 1242768.9215
41 | 2703400.815 | 1242770.5657 | 2703376.1138 | 1242771.422 | 2703370.8315 | 1242771.2855 | 2703365.474 | 1242770.6917 | 2703360.63 | 1242769.6955 | 2703356.0283 | 1242768.2475 | 2703352.1038 | 1242766.9893 | 2703348.497 | 1242765.2807 | 2703341.3858 | 1242760.3308 | 2703337.4142 | 1242757.2011
42 | 2703469.4273 | 1242788.1056 | 2703453.2317 | 1242770.8543 | 2703452.0576 | 1242770.1111 | 2703450.7906 | 1242769.4996 | 2703449.5187 | 1242769.1661 | 2703448.2453 | 1242768.9215
43 | 2703469.4273 | 1242788.1056 | 2703478.9443 | 1242797.7235
44 | 2703469.4273 | 1242788.1056 | 2703460.3489 | 1242797.121
45 | 2703478.9443 | 1242797.7235 | 2703491.9475 | 1242797.5818
46 | 2703460.069 | 1242812.7283 | 2703460.3489 | 1242797.121
47 | 2703516.1797 | 1242792.4799 | 2703513.1901 | 1242795.6969 | 2703510.9043 | 1242797.147 | 2703508.3671 | 1242797.403 | 2703491.9475 | 1242797.5818
48 | 2703460.069 | 1242812.7283 | 2703448.0874 | 1242812.6416 | 2703445.6301 | 1242813.088 | 2703443.1635 | 1242814.0679 | 2703443.1635 | 1242814.0679
49 | 2703443.1635 | 1242814.0679 | 2703437.0122 | 1242817.3744 | 2703434.3223 | 1242818.1503 | 2703431.9608 | 1242818.3093 | 2703418.5968 | 1242818.3642
50 | 2703516.1797 | 1242792.4799 | 2703518.3651 | 1242790.1864
51 | 2703610.7737 | 1242669.6352 | 2703618.8685 | 1242660.2581 | 2703624.3591 | 1242652.069
52 | 2703501.6933 | 1242654.5307 | 2703506.5105 | 1242661.6429 | 2703508.6965 | 1242669.376
53 | 2703485.6959 | 1242630.9117 | 2703490.3962 | 1242637.8513
54 | 2703490.3962 | 1242637.8513 | 2703501.6933 | 1242654.5307
55 | 2703418.5968 | 1242818.3642 | 2703383.5144 | 1242818.5083

## bus_geodata
| x | y | coords
0 | 2703426.0975 | 1242705.1172
1 | 2703390.427 | 1242686.0766
2 | 2703478.012 | 1242728.4631
3 | 2703351.8539 | 1242675.4125
4 | 2703259.9958 | 1242688.8476
5 | 2703596.5724 | 1242734.2708
6 | 2703544.1054 | 1242778.7453
7 | 2703589.4353 | 1242722.159
8 | 2703329.7392 | 1242654.6683
9 | 2703529.9813 | 1242777.9959
10 | 2703616.2961 | 1242685.8887
11 | 2703608.0709 | 1242681.0969
12 | 2703629.8259 | 1242690.9648
13 | 2703524.6215 | 1242725.9644
14 | 2703591.2252 | 1242703.8993
15 | 2703529.2107 | 1242712.0816
16 | 2703492.9374 | 1242715.9641
17 | 2703531.3024 | 1242705.7541
18 | 2703534.7949 | 1242696.2521
19 | 2703571.8236 | 1242602.8812
20 | 2703571.9028 | 1242606.9264
21 | 2703567.097 | 1242585.2832
22 | 2703392.9494 | 1242678.2652
23 | 2703434.5513 | 1242651.0164
24 | 2703433.3858 | 1242695.8613
25 | 2703383.3523 | 1242673.8126
26 | 2703448.4729 | 1242696.6522
27 | 2703333.4129 | 1242654.71
28 | 2703337.2992 | 1242654.6999
29 | 2703329.3979 | 1242616.5904
30 | 2703326.8816 | 1242625.616
31 | 2703581.0822 | 1242654.1382
32 | 2703572.7148 | 1242648.3877
33 | 2703409.7934 | 1242770.2545
34 | 2703400.815 | 1242770.5657
35 | 2703448.2453 | 1242768.9215
36 | 2703337.4142 | 1242757.2011
37 | 2703469.4273 | 1242788.1056
38 | 2703478.9443 | 1242797.7235
39 | 2703460.3489 | 1242797.121
40 | 2703491.9475 | 1242797.5818
41 | 2703460.069 | 1242812.7283
42 | 2703443.1635 | 1242814.0679
43 | 2703516.1797 | 1242792.4799
44 | 2703518.3651 | 1242790.1864
45 | 2703598.9412 | 1242692.0914
46 | 2703610.7737 | 1242669.6352
47 | 2703624.3591 | 1242652.069
48 | 2703469.9162 | 1242707.4116
49 | 2703508.6965 | 1242669.376
50 | 2703572.3379 | 1242629.1428
51 | 2703435.1596 | 1242608.9025
52 | 2703485.6959 | 1242630.9117
53 | 2703490.3962 | 1242637.8513
54 | 2703418.5968 | 1242818.3642
55 | 2703383.5144 | 1242818.5083
56 | 2703501.6933 | 1242654.5307
57 | 2703433.3858 | 1242695.8613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97926 | -0.39973 | 0.011841 | 0.0029677
1 | 0.98042 | -0.37715 | 0.00085146 | 0.0002134
2 | 0.97827 | -0.41917 | 0.018768 | 0.0047037
3 | 0.98159 | -0.35426 | 0.0028965 | 0.00072593
4 | 0.98457 | -0.29618 | 0 | 0
5 | 0.98678 | -0.25192 | 0 | 0
6 | 0.98288 | -0.32701 | 0 | 0
7 | 0.98835 | -0.22182 | 0 | 0
8 | 0.98742 | -0.24104 | 0 | 0
9 | 0.98139 | -0.35604 | 0.0021265 | 0.00053294
10 | 0.98643 | -0.25917 | 0 | 0
11 | 0.98651 | -0.25749 | 0 | 0
12 | 0.9863 | -0.26172 | 0.0098367 | 0.0024653
13 | 0.99322 | -0.12872 | 0 | 0
14 | 0.98755 | -0.23739 | 0.0023254 | 0.0005828
15 | 0.99205 | -0.15112 | 0.0025776 | 0.000646
16 | 0.99699 | -0.056961 | 0.019788 | 0.0049594
17 | 0.99154 | -0.16104 | 0 | 0
18 | 0.99076 | -0.17613 | 0 | 0
19 | 0.98607 | -0.26713 | 0 | 0
20 | 0.98611 | -0.2663 | 0.013676 | 0.0034275
21 | 0.98587 | -0.27104 | 0.011403 | 0.0028579
22 | 0.99225 | -0.1479 | 0 | 0
23 | 0.99181 | -0.15647 | 0.0038864 | 0.00097401
24 | 0.99628 | -0.070619 | 0 | 0
25 | 0.99137 | -0.16471 | 0.014974 | 0.0037528
26 | 0.99769 | -0.043797 | 0.0045768 | 0.0011471
27 | 0.98758 | -0.23788 | 0 | 0
28 | 0.9878 | -0.23373 | 0.014978 | 0.0037539
29 | 0.98718 | -0.24567 | 0.011362 | 0.0028475
30 | 0.98705 | -0.24834 | 0.013978 | 0.0035031
31 | 0.98774 | -0.23469 | 0 | 0
32 | 0.98727 | -0.24379 | 0.013758 | 0.0034481
33 | 0.97237 | -0.53284 | 0.0084841 | 0.0021263
34 | 0.97221 | -0.5359 | 0.016033 | 0.0040184
35 | 0.97334 | -0.51373 | 0.018643 | 0.0046725
36 | 0.97206 | -0.53893 | 0.0024525 | 0.00061465
37 | 0.97457 | -0.48936 | 0 | 0
38 | 0.97569 | -0.46744 | 0 | 0
39 | 0.97406 | -0.49944 | 0.0165 | 0.0041352
40 | 0.97676 | -0.44639 | 0.018733 | 0.004695
41 | 0.97368 | -0.50701 | 0 | 0
42 | 0.97326 | -0.51533 | 0.012527 | 0.0031395
43 | 0.97936 | -0.39545 | 0 | 0
44 | 0.97968 | -0.38927 | 0.0016136 | 0.0004044
45 | 0.98696 | -0.24882 | 0.011358 | 0.0028466
46 | 0.98625 | -0.26255 | 0.01288 | 0.003228
47 | 0.98603 | -0.26698 | 0.011103 | 0.0027827
48 | 1 | 0 | -0.37615 | -0.096057
49 | 0.98943 | -0.20188 | 0.015425 | 0.0038659
50 | 0.98662 | -0.25632 | 0.011294 | 0.0028306
51 | 0.99155 | -0.16138 | 0.0058227 | 0.0014593
52 | 0.98899 | -0.21054 | 0.0041116 | 0.0010305
53 | 0.98902 | -0.20993 | 0.0030751 | 0.0007707
54 | 0.97293 | -0.52184 | 0.0088545 | 0.0022191
55 | 0.97276 | -0.52508 | 0.0050142 | 0.0012567
56 | 0.98915 | -0.20735 | 0.011263 | 0.0028229
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.030627 | -0.0076819 | 0.03066 | 0.0077025 | 3.2998e-05 | 2.0607e-05 | 0.046541 | 0.04654 | 0.046541 | 0.97926 | -0.39973 | 0.98042 | -0.37715 | 12.7859
1 | 0.018786 | 0.0047142 | -0.018768 | -0.0047037 | 1.7397e-05 | 1.0418e-05 | 0.028547 | 0.028548 | 0.028548 | 0.97926 | -0.39973 | 0.97827 | -0.41917 | 7.8427
2 | -0.031511 | -0.0079159 | 0.031546 | 0.0079374 | 3.446e-05 | 2.1547e-05 | 0.047833 | 0.047832 | 0.047833 | 0.98042 | -0.37715 | 0.98159 | -0.35426 | 13.1408
3 | -0.034442 | -0.0086634 | 0.034538 | 0.0087235 | 9.5858e-05 | 6.016e-05 | 0.052223 | 0.052223 | 0.052223 | 0.98159 | -0.35426 | 0.98457 | -0.29618 | 14.3471
4 | -0.034538 | -0.0087235 | 0.03463 | 0.008781 | 9.1516e-05 | 5.7429e-05 | 0.052223 | 0.052222 | 0.052223 | 0.98457 | -0.29618 | 0.98742 | -0.24104 | 14.3469
5 | 0.11232 | 0.028666 | -0.11192 | -0.028408 | 0.00040589 | 0.00025785 | 0.16956 | 0.16956 | 0.16956 | 0.98678 | -0.25192 | 0.98288 | -0.32701 | 23.2914
6 | -0.11232 | -0.028666 | 0.11249 | 0.02877 | 0.00016356 | 0.0001039 | 0.16956 | 0.16956 | 0.16956 | 0.98678 | -0.25192 | 0.98835 | -0.22182 | 23.2914
7 | 0.11192 | 0.028408 | -0.11176 | -0.028308 | 0.00015609 | 9.9712e-05 | 0.16956 | 0.16956 | 0.16956 | 0.98288 | -0.32701 | 0.98139 | -0.35604 | 46.5829
8 | -0.16007 | -0.040728 | 0.16079 | 0.041188 | 0.00072181 | 0.00046025 | 0.24122 | 0.24122 | 0.24122 | 0.98835 | -0.22182 | 0.99322 | -0.12872 | 33.1342
9 | 0.047587 | 0.011958 | -0.047552 | -0.011935 | 3.5328e-05 | 2.2375e-05 | 0.071657 | 0.071657 | 0.071657 | 0.98835 | -0.22182 | 0.98755 | -0.23739 | 19.6859
10 | 0.013983 | 0.0035059 | -0.013978 | -0.0035031 | 4.8608e-06 | 2.7377e-06 | 0.021072 | 0.021072 | 0.021072 | 0.98742 | -0.24104 | 0.98705 | -0.24834 | 5.789
11 | -0.048612 | -0.012287 | 0.04862 | 0.012292 | 7.3792e-06 | 4.6758e-06 | 0.073294 | 0.073294 | 0.073294 | 0.98742 | -0.24104 | 0.98758 | -0.23788 | 20.1358
12 | 0.10963 | 0.027776 | -0.10946 | -0.027664 | 0.00017471 | 0.0001116 | 0.16634 | 0.16634 | 0.16634 | 0.98139 | -0.35604 | 0.97968 | -0.38927 | 45.6972
13 | -0.0098379 | -0.0024659 | 0.0098387 | 0.0024663 | 7.8443e-07 | 3.8078e-07 | 0.01484 | 0.01484 | 0.01484 | 0.98643 | -0.25917 | 0.98651 | -0.25749 | 4.077
14 | 0.0098379 | 0.0024659 | -0.0098367 | -0.0024653 | 1.1961e-06 | 5.8065e-07 | 0.01484 | 0.014841 | 0.014841 | 0.98643 | -0.25917 | 0.9863 | -0.26172 | 4.0771
15 | -0.03383 | -0.0084818 | 0.033844 | 0.0084906 | 1.3995e-05 | 8.7736e-06 | 0.051029 | 0.051029 | 0.051029 | 0.98651 | -0.25749 | 0.98696 | -0.24882 | 14.0189
16 | 0.023991 | 0.0060155 | -0.023985 | -0.006012 | 5.7832e-06 | 3.551e-06 | 0.036188 | 0.036188 | 0.036188 | 0.98651 | -0.25749 | 0.98625 | -0.26255 | 9.9419
17 | 0.087024 | 0.021978 | -0.086931 | -0.021919 | 9.3289e-05 | 5.9516e-05 | 0.13044 | 0.13044 | 0.13044 | 0.99322 | -0.12872 | 0.99205 | -0.15112 | 35.8345
18 | -0.24782 | -0.063166 | 0.24868 | 0.063717 | 0.00086158 | 0.00055055 | 0.37165 | 0.37165 | 0.37165 | 0.99322 | -0.12872 | 0.99699 | -0.056961 | 51.0513
19 | 0.045226 | 0.011353 | -0.045202 | -0.011337 | 2.4634e-05 | 1.5585e-05 | 0.068153 | 0.068153 | 0.068153 | 0.98755 | -0.23739 | 0.98696 | -0.24882 | 18.7233
20 | 0.084353 | 0.021273 | -0.084313 | -0.021247 | 4.0037e-05 | 2.5537e-05 | 0.12657 | 0.12657 | 0.12657 | 0.99205 | -0.15112 | 0.99154 | -0.16104 | 34.7724
21 | -0.26847 | -0.068676 | 0.26921 | 0.069151 | 0.0007424 | 0.00047449 | 0.40119 | 0.40119 | 0.40119 | 0.99699 | -0.056961 | 1 | 0 | 55.1081
22 | 0.084313 | 0.021247 | -0.084252 | -0.021209 | 6.0803e-05 | 3.8784e-05 | 0.12657 | 0.12657 | 0.12657 | 0.99154 | -0.16104 | 0.99076 | -0.17613 | 34.7724
23 | 0.033923 | 0.0085192 | -0.033881 | -0.0084931 | 4.1635e-05 | 2.6097e-05 | 0.050955 | 0.050955 | 0.050955 | 0.99076 | -0.17613 | 0.98943 | -0.20188 | 13.9986
24 | 0.05033 | 0.012689 | -0.050189 | -0.0126 | 0.00014064 | 8.9166e-05 | 0.075617 | 0.075617 | 0.075617 | 0.99076 | -0.17613 | 0.98774 | -0.23469 | 20.7739
25 | -0.011405 | -0.002859 | 0.011406 | 0.0028592 | 4.4943e-07 | 2.3602e-07 | 0.017211 | 0.017211 | 0.017211 | 0.98607 | -0.26713 | 0.98611 | -0.2663 | 4.7283
26 | 0.011405 | 0.002859 | -0.011403 | -0.0028579 | 2.1234e-06 | 1.1152e-06 | 0.017211 | 0.017211 | 0.017211 | 0.98607 | -0.26713 | 0.98587 | -0.27104 | 4.7283
27 | -0.025081 | -0.0062867 | 0.025093 | 0.0062941 | 1.1936e-05 | 7.3554e-06 | 0.037847 | 0.037847 | 0.037847 | 0.98611 | -0.2663 | 0.98662 | -0.25632 | 10.3976
28 | 0.0097144 | 0.0024355 | -0.0097104 | -0.0024336 | 3.9654e-06 | 1.8946e-06 | 0.014568 | 0.014569 | 0.014569 | 0.99225 | -0.1479 | 0.99181 | -0.15647 | 4.0024
29 | -0.099985 | -0.025296 | 0.10036 | 0.025534 | 0.0003723 | 0.0002377 | 0.15003 | 0.15003 | 0.15003 | 0.99225 | -0.1479 | 0.99628 | -0.070619 | 41.216
30 | 0.090271 | 0.02286 | -0.090198 | -0.022814 | 7.2799e-05 | 4.6455e-05 | 0.13546 | 0.13546 | 0.13546 | 0.99225 | -0.1479 | 0.99137 | -0.16471 | 37.2137
31 | 0.0058241 | 0.0014596 | -0.0058227 | -0.0014593 | 1.3619e-06 | 2.5794e-07 | 0.0087379 | 0.0087381 | 0.0087381 | 0.99181 | -0.15647 | 0.99155 | -0.16138 | 2.4006
32 | -0.10036 | -0.025534 | 0.10049 | 0.025616 | 0.00012992 | 8.2945e-05 | 0.15003 | 0.15003 | 0.15003 | 0.99628 | -0.070619 | 0.99769 | -0.043797 | 41.2159
33 | 0.075224 | 0.019061 | -0.074976 | -0.018903 | 0.00024855 | 0.0001584 | 0.11298 | 0.11298 | 0.11298 | 0.99137 | -0.16471 | 0.9878 | -0.23373 | 31.0393
34 | -0.10506 | -0.026764 | 0.10529 | 0.026906 | 0.0002225 | 0.00014208 | 0.15685 | 0.15685 | 0.15685 | 0.99769 | -0.043797 | 1 | 0 | 43.0912
35 | -0.059985 | -0.015141 | 0.059997 | 0.015149 | 1.1915e-05 | 7.5759e-06 | 0.09042 | 0.09042 | 0.09042 | 0.98758 | -0.23788 | 0.9878 | -0.23373 | 24.8406
36 | 0.011366 | 0.0028497 | -0.011362 | -0.0028475 | 4.2158e-06 | 2.2078e-06 | 0.017126 | 0.017126 | 0.017126 | 0.98758 | -0.23788 | 0.98718 | -0.24567 | 4.7049
37 | 0.050189 | 0.0126 | -0.050167 | -0.012586 | 2.177e-05 | 1.3803e-05 | 0.075617 | 0.075617 | 0.075617 | 0.98774 | -0.23469 | 0.98727 | -0.24379 | 20.774
38 | 0.036409 | 0.0091383 | -0.036388 | -0.0091246 | 2.1741e-05 | 1.3668e-05 | 0.054881 | 0.054881 | 0.054881 | 0.98727 | -0.24379 | 0.98662 | -0.25632 | 15.0772
39 | 0.018489 | 0.004634 | -0.018486 | -0.0046324 | 2.697e-06 | 1.6146e-06 | 0.028294 | 0.028294 | 0.028294 | 0.97237 | -0.53284 | 0.97221 | -0.5359 | 7.773
40 | -0.026973 | -0.0067603 | 0.026998 | 0.0067756 | 2.4582e-05 | 1.5255e-05 | 0.041277 | 0.041277 | 0.041277 | 0.97237 | -0.53284 | 0.97334 | -0.51373 | 11.3399
41 | 0.0024528 | 0.00061405 | -0.0024525 | -0.00061465 | 3.5405e-07 | -6.0401e-07 | 0.0037539 | 0.0037542 | 0.0037542 | 0.97221 | -0.5359 | 0.97206 | -0.53893 | 1.0314
42 | -0.045641 | -0.011448 | 0.045694 | 0.011482 | 5.3079e-05 | 3.3609e-05 | 0.069779 | 0.069778 | 0.069779 | 0.97334 | -0.51373 | 0.97457 | -0.48936 | 19.17
43 | -0.088635 | -0.02226 | 0.088728 | 0.022319 | 9.2816e-05 | 5.9234e-05 | 0.13535 | 0.13535 | 0.13535 | 0.97457 | -0.48936 | 0.97569 | -0.46744 | 37.1836
44 | 0.042941 | 0.010778 | -0.04292 | -0.010765 | 2.0628e-05 | 1.3043e-05 | 0.06557 | 0.06557 | 0.06557 | 0.97457 | -0.48936 | 0.97406 | -0.49944 | 18.0137
45 | -0.088728 | -0.022319 | 0.088817 | 0.022376 | 8.9333e-05 | 5.7011e-05 | 0.13535 | 0.13535 | 0.13535 | 0.97569 | -0.46744 | 0.97676 | -0.44639 | 37.1836
46 | 0.026421 | 0.0066302 | -0.026411 | -0.0066243 | 9.5373e-06 | 5.9096e-06 | 0.040364 | 0.040364 | 0.040364 | 0.97406 | -0.49944 | 0.97368 | -0.50701 | 11.0891
47 | -0.10755 | -0.027071 | 0.10781 | 0.027239 | 0.00026257 | 0.00016772 | 0.16389 | 0.16389 | 0.16389 | 0.97676 | -0.44639 | 0.97936 | -0.39545 | 45.0239
48 | 0.026411 | 0.0066243 | -0.026401 | -0.0066178 | 1.0468e-05 | 6.4867e-06 | 0.040364 | 0.040365 | 0.040365 | 0.97368 | -0.50701 | 0.97326 | -0.51533 | 11.0892
49 | 0.013874 | 0.0034783 | -0.013869 | -0.0034759 | 4.3051e-06 | 2.4383e-06 | 0.021212 | 0.021212 | 0.021212 | 0.97326 | -0.51533 | 0.97293 | -0.52184 | 5.8275
50 | -0.10781 | -0.027239 | 0.10785 | 0.02726 | 3.1909e-05 | 2.0382e-05 | 0.16389 | 0.16389 | 0.16389 | 0.97936 | -0.39545 | 0.97968 | -0.38927 | 45.0239
51 | 0.011105 | 0.0027839 | -0.011103 | -0.0027827 | 2.3422e-06 | 1.2152e-06 | 0.016756 | 0.016756 | 0.016756 | 0.98625 | -0.26255 | 0.98603 | -0.26698 | 4.6032
52 | 0.018456 | 0.0046272 | -0.018451 | -0.0046243 | 4.8035e-06 | 2.8608e-06 | 0.027757 | 0.027757 | 0.027757 | 0.98943 | -0.20188 | 0.98915 | -0.20735 | 7.6255
53 | -0.0041116 | -0.0010305 | 0.0041118 | 0.0010304 | 1.2029e-07 | -3.0571e-08 | 0.0061863 | 0.0061863 | 0.0061863 | 0.98899 | -0.21054 | 0.98902 | -0.20993 | 1.6995
54 | -0.0071869 | -0.0018011 | 0.0071878 | 0.0018015 | 8.8325e-07 | 3.0673e-07 | 0.010813 | 0.010813 | 0.010813 | 0.98902 | -0.20993 | 0.98915 | -0.20735 | 2.9706
55 | 0.005015 | 0.0012567 | -0.0050142 | -0.0012567 | 7.7396e-07 | 5.9734e-08 | 0.00767 | 0.0076701 | 0.0076701 | 0.97293 | -0.52184 | 0.97276 | -0.52508 | 2.1072

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38053 | 0.097155

## res_load
| p_mw | q_mvar
0 | 0.011841 | 0.0029677
1 | 0.00085146 | 0.0002134
2 | 0.018768 | 0.0047037
3 | 0.0028965 | 0.00072593
4 | 0.0021265 | 0.00053294
5 | 0.0098367 | 0.0024653
6 | 0.0023254 | 0.0005828
7 | 0.0025776 | 0.000646
8 | 0.019788 | 0.0049594
9 | 0.013676 | 0.0034275
10 | 0.011403 | 0.0028579
11 | 0.0038864 | 0.00097401
12 | 0.014974 | 0.0037528
13 | 0.0045768 | 0.0011471
14 | 0.014978 | 0.0037539
15 | 0.011362 | 0.0028475
16 | 0.013978 | 0.0035031
17 | 0.013758 | 0.0034481
18 | 0.0084841 | 0.0021263
19 | 0.016033 | 0.0040184
20 | 0.018643 | 0.0046725
21 | 0.0024525 | 0.00061465
22 | 0.0165 | 0.0041352
23 | 0.018733 | 0.004695
24 | 0.012527 | 0.0031395
25 | 0.0016136 | 0.0004044
26 | 0.011358 | 0.0028466
27 | 0.01288 | 0.003228
28 | 0.011103 | 0.0027827
29 | 0.0043843 | 0.0010988
30 | 0.015425 | 0.0038659
31 | 0.011294 | 0.0028306
32 | 0.0058227 | 0.0014593
33 | 0.0041116 | 0.0010305
34 | 0.0030751 | 0.0007707
35 | 0.0088545 | 0.0022191
36 | 0.0050142 | 0.0012567
37 | 0.011263 | 0.0028229

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1