## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-7_0_5_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_121-7_0_5_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_121-7_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_121-7_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_121-7_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_121-7_0_5_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_121-7_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_121-7_0_5_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_121-7_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_121-7_0_5_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_121-7_0_5_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_121-7_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_121-7_0_5_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_121-7_0_5_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_121-7_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_121-7_0_5_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_121-7_0_5_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_121-7_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_121-7_0_5_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_121-7_0_5_node_152 | 0.4 | n |  | TRUE
24 | bus_LV_121-7_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_121-7_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_121-7_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_121-7_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_121-7_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_121-7_0_5_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_121-7_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_121-7_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_121-7_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_121-7_0_5_node_150 | 0.4 | n |  | TRUE
34 | bus_LV_121-7_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_121-7_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_121-7_0_5_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_121-7_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_121-7_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_121-7_0_5_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_121-7_0_5_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_121-7_0_5_node_142 | 0.4 | n |  | TRUE
42 | bus_LV_121-7_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_121-7_0_5_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_121-7_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_121-7_0_5_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_121-7_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_121-7_0_5_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_121-7_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_121-7_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_121-7_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_121-7_0_5_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_121-7_0_5_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_121-7_0_5_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_121-7_0_5_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_121-7_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_121-7_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_121-7_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_121-7_0_5_node_159 | 0.4 | n |  | TRUE
59 | bus_LV_121-7_0_5_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_121-7_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_121-7_0_5_node_153 | 0.4 | n |  | TRUE
62 | bus_LV_121-7_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_121-7_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_121-7_0_5_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_121-7_0_5_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_121-7_0_5_node_157 | 0.4 | n |  | TRUE
67 | bus_LV_121-7_0_5_node_158 | 0.4 | n |  | TRUE
68 | bus_LV_121-7_0_5_node_127 | 0.4 | n |  | TRUE
69 | bus_LV_121-7_0_5_node_124 | 0.4 | n |  | TRUE
70 | bus_LV_121-7_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_121-7_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_121-7_0_5_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_121-7_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_121-7_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_121-7_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_121-7_0_5_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_121-7_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_121-7_0_5_node_128 | 0.4 | n |  | TRUE
79 | bus_MV_357_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-7_0_5_load_0 | 0 | 0.067393 | 0.01689 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-7_0_5_load_35 | 4 | 0.0073575 | 0.001844 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-7_0_5_load_36 | 5 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-7_0_5_load_37 | 6 | 0.01508 | 0.0037793 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-7_0_5_load_40 | 9 | 0.015338 | 0.003844 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-7_0_5_load_44 | 13 | 0.0039476 | 0.00098937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-7_0_5_load_42 | 14 | 0.0085654 | 0.0021467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-7_0_5_load_75 | 16 | 0.0020986 | 0.00052595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-7_0_5_load_73 | 17 | 0.0015245 | 0.00038207 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-7_0_5_load_39 | 19 | 0.0076492 | 0.0019171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-7_0_5_load_154 | 20 | 0.010146 | 0.0025429 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-7_0_5_load_151 | 22 | 0.0045114 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-7_0_5_load_152 | 23 | 0.010692 | 0.0026797 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-7_0_5_load_155 | 29 | 0.015413 | 0.0038628 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-7_0_5_load_150 | 33 | 0.0042581 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-7_0_5_load_131 | 36 | 0.012624 | 0.0031639 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-7_0_5_load_51 | 38 | 0.0082853 | 0.0020765 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-7_0_5_load_86 | 39 | 0.010653 | 0.0026699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-7_0_5_load_60 | 40 | 0.0045078 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-7_0_5_load_142 | 41 | 0.0021064 | 0.00052791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-7_0_5_load_96 | 43 | 0.0020733 | 0.00051963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-7_0_5_load_95 | 45 | 0.013078 | 0.0032777 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-7_0_5_load_50 | 47 | 0.010862 | 0.0027222 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-7_0_5_load_49 | 48 | 0.019001 | 0.0047621 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-7_0_5_load_125 | 52 | 0.004191 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-7_0_5_load_67 | 53 | 0.019666 | 0.0049287 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-7_0_5_load_66 | 54 | 0.0044201 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-7_0_5_load_57 | 55 | 0.0097885 | 0.0024532 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-7_0_5_load_59 | 56 | 0.01205 | 0.0030199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-7_0_5_load_43 | 57 | 0.0089047 | 0.0022317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-7_0_5_load_159 | 58 | 0.0021088 | 0.00052851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-7_0_5_load_38 | 60 | 0.0080592 | 0.0020198 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-7_0_5_load_153 | 61 | 0.0080862 | 0.0020266 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-7_0_5_load_52 | 62 | 0.0034121 | 0.00085514 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-7_0_5_load_53 | 63 | 0.0046815 | 0.0011733 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-7_0_5_load_157 | 66 | 0.0016177 | 0.00040543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-7_0_5_load_158 | 67 | 0.0063481 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-7_0_5_load_124 | 69 | 0.0014962 | 0.00037498 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-7_0_5_load_55 | 70 | 0.0019084 | 0.00047828 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_121-7_0_5_load_126 | 72 | 0.00079961 | 0.0002004 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_121-7_0_5_load_54 | 73 | 0.0018039 | 0.0004521 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_121-7_0_5_load_58 | 74 | 0.0016073 | 0.00040282 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_121-7_0_5_load_56 | 75 | 0.003052 | 0.00076491 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_121-7_0_5_load_76 | 76 | 0.0041585 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_121-7_0_5_load_77 | 77 | 0.0011743 | 0.0002943 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_121-7_0_5_load_128 | 78 | 0.0044179 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-7_0_5_line_0 |  | 0 | 1 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-7_0_5_line_1 |  | 0 | 2 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-7_0_5_line_2 |  | 1 | 3 | 0.002806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-7_0_5_line_3 |  | 2 | 4 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_121-7_0_5_line_4 |  | 2 | 5 | 0.010884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-7_0_5_line_5 |  | 3 | 6 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-7_0_5_line_6 |  | 4 | 31 | 0.0080663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_121-7_0_5_line_7 |  | 5 | 23 | 0.009539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-7_0_5_line_8 |  | 7 | 8 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-7_0_5_line_9 |  | 7 | 9 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-7_0_5_line_10 |  | 8 | 22 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-7_0_5_line_11 |  | 8 | 18 | 0.04129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-7_0_5_line_12 |  | 9 | 10 | 0.022914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-7_0_5_line_13 |  | 10 | 11 | 0.041208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-7_0_5_line_14 |  | 11 | 13 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-7_0_5_line_15 |  | 12 | 13 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-7_0_5_line_16 |  | 12 | 14 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-7_0_5_line_17 |  | 14 | 57 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-7_0_5_line_18 |  | 15 | 16 | 0.002544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-7_0_5_line_19 |  | 15 | 17 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-7_0_5_line_20 |  | 16 | 58 | 0.004039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-7_0_5_line_21 |  | 17 | 59 | 0.0019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-7_0_5_line_22 |  | 18 | 19 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-7_0_5_line_23 |  | 18 | 20 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-7_0_5_line_24 |  | 19 | 60 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-7_0_5_line_25 |  | 20 | 61 | 0.00042881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-7_0_5_line_26 |  | 21 | 22 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-7_0_5_line_27 |  | 21 | 23 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-7_0_5_line_28 |  | 24 | 25 | 0.025302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-7_0_5_line_29 |  | 24 | 26 | 0.13514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-7_0_5_line_30 |  | 25 | 40 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-7_0_5_line_31 |  | 25 | 41 | 0.019461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-7_0_5_line_32 |  | 26 | 39 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-7_0_5_line_33 |  | 27 | 28 | 0.032081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-7_0_5_line_34 |  | 27 | 29 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-7_0_5_line_35 |  | 28 | 34 | 0.026637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-7_0_5_line_36 |  | 29 | 53 | 0.018217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-7_0_5_line_37 |  | 30 | 31 | 0.00658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_121-7_0_5_line_38 |  | 30 | 32 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-7_0_5_line_39 |  | 30 | 33 | 0.0094585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-7_0_5_line_40 |  | 31 | 37 | 0.032496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_121-7_0_5_line_41 |  | 32 | 45 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-7_0_5_line_42 |  | 34 | 35 | 0.0366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-7_0_5_line_43 |  | 34 | 36 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-7_0_5_line_44 |  | 35 | 55 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-7_0_5_line_45 |  | 35 | 56 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-7_0_5_line_46 |  | 35 | 37 | 0.024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-7_0_5_line_47 |  | 37 | 38 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-7_0_5_line_48 |  | 38 | 49 | 0.020739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-7_0_5_line_49 |  | 40 | 56 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-7_0_5_line_50 |  | 42 | 43 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-7_0_5_line_51 |  | 42 | 44 | 0.024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-7_0_5_line_52 |  | 43 | 51 | 0.024476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-7_0_5_line_53 |  | 44 | 53 | 0.038995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_121-7_0_5_line_54 |  | 44 | 54 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_121-7_0_5_line_55 |  | 46 | 47 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_121-7_0_5_line_56 |  | 46 | 48 | 0.0024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_121-7_0_5_line_57 |  | 47 | 49 | 0.033934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_121-7_0_5_line_58 |  | 50 | 51 | 0.007255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_121-7_0_5_line_59 |  | 50 | 52 | 0.0026113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_121-7_0_5_line_60 |  | 51 | 64 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_121-7_0_5_line_61 |  | 51 | 65 | 0.032397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_121-7_0_5_line_62 |  | 52 | 69 | 0.024572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_121-7_0_5_line_63 |  | 55 | 70 | 0.015462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_121-7_0_5_line_64 |  | 59 | 76 | 0.014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_121-7_0_5_line_65 |  | 59 | 77 | 0.034005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_121-7_0_5_line_66 |  | 62 | 63 | 0.047486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_121-7_0_5_line_67 |  | 63 | 73 | 0.00095302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_121-7_0_5_line_68 |  | 64 | 67 | 0.002302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_121-7_0_5_line_69 |  | 64 | 68 | 0.028002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_121-7_0_5_line_70 |  | 65 | 66 | 0.000486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_121-7_0_5_line_71 |  | 68 | 78 | 0.006029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_121-7_0_5_line_72 |  | 68 | 76 | 0.00015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_121-7_0_5_line_73 |  | 69 | 71 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_121-7_0_5_line_74 |  | 70 | 75 | 0.010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_121-7_0_5_line_75 |  | 71 | 72 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_121-7_0_5_line_76 |  | 73 | 74 | 0.0036225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_121-7_0_5_line_77 |  | 74 | 75 | 0.0020713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-7_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 79 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2702335.6695 | 1241775.4652 | 2702332.7661 | 1241801.0387
1 | 2702330.2303 | 1241823.375 | 2702332.7661 | 1241801.0387
2 | 2702335.6695 | 1241775.4652 | 2702335.8614 | 1241772.6663
3 | 2702330.2303 | 1241823.375 | 2702328.4162 | 1241833.4181 | 2702327.1589 | 1241837.1965
4 | 2702330.2303 | 1241823.375 | 2702320.6639 | 1241818.1848
5 | 2702335.8614 | 1241772.6663 | 2702329.3282 | 1241771.3527 | 2702313.5536 | 1241758.612
6 | 2702324.6121 | 1241844.8502 | 2702327.1589 | 1241837.1965
7 | 2702320.6639 | 1241818.1848 | 2702312.2794 | 1241813.6358
8 | 2702265.5759 | 1241817.0002 | 2702279.8836 | 1241828.3221 | 2702289.4017 | 1241833.6903
9 | 2702265.5759 | 1241817.0002 | 2702264.6663 | 1241814.0601 | 2702265.2374 | 1241810.3226 | 2702272.262 | 1241801.1882
10 | 2702289.4017 | 1241833.6903 | 2702291.9597 | 1241823.4821 | 2702295.2666 | 1241819.2373
11 | 2702263.8662 | 1241861.3383 | 2702265.5336 | 1241859.7991 | 2702282.5419 | 1241837.286 | 2702284.6312 | 1241834.5198 | 2702288.7116 | 1241836.4361 | 2702289.4017 | 1241833.6903
12 | 2702283.2441 | 1241782.1 | 2702283.4919 | 1241786.5855 | 2702272.262 | 1241801.1882
13 | 2702251.4174 | 1241786.0547 | 2702271.9905 | 1241795.3718 | 2702273.3469 | 1241796.0847 | 2702274.5198 | 1241793.8365 | 2702280.5166 | 1241785.4778 | 2702283.2441 | 1241782.1
14 | 2702251.4174 | 1241786.0547 | 2702246.7553 | 1241797.2608 | 2702246.4772 | 1241801.8542
15 | 2702251.7754 | 1241813.9712 | 2702247.8519 | 1241811.7241 | 2702246.7906 | 1241807.0578 | 2702246.4593 | 1241802.1483 | 2702246.4772 | 1241801.8542
16 | 2702251.7754 | 1241813.9712 | 2702244.9807 | 1241815.9891 | 2702239.6375 | 1241821.0899 | 2702233.7299 | 1241828.7126
17 | 2702225.0444 | 1241839.9197 | 2702233.7299 | 1241828.7126
18 | 2702286.6173 | 1241861.4192 | 2702288.5624 | 1241863.0651
19 | 2702288.5624 | 1241863.0651 | 2702283.9804 | 1241868.3124 | 2702281.157 | 1241871.5552 | 2702278.8285 | 1241876.7244
20 | 2702289.1965 | 1241858.3057 | 2702286.6173 | 1241861.4192
21 | 2702278.0356 | 1241878.4845 | 2702278.8285 | 1241876.7244
22 | 2702263.8662 | 1241861.3383 | 2702242.1231 | 1241881.4355
23 | 2702263.8662 | 1241861.3383 | 2702262.4425 | 1241860.1462 | 2702258.7356 | 1241856.7463 | 2702254.6823 | 1241853.2266
24 | 2702242.1231 | 1241881.4355 | 2702229.1963 | 1241893.3838
25 | 2702254.3585 | 1241852.9454 | 2702254.6823 | 1241853.2266
26 | 2702303.3886 | 1241808.8122 | 2702295.2666 | 1241819.2373
27 | 2702303.3886 | 1241808.8122 | 2702312.2794 | 1241813.6358
28 | 2702405.8281 | 1241873.8621 | 2702401.3049 | 1241876.5751 | 2702413.4149 | 1241884.6569 | 2702410.1557 | 1241889.0485
29 | 2702317.5736 | 1241961.808 | 2702324.5516 | 1241953.5441 | 2702327.0768 | 1241950.9301 | 2702335.0133 | 1241943.6502 | 2702340.7251 | 1241939.5344 | 2702347.9466 | 1241935.5669 | 2702353.327 | 1241932.6908 | 2702359.5809 | 1241929.5852 | 2702363.0158 | 1241928.1544 | 2702366.0705 | 1241927.2842 | 2702368.6163 | 1241926.9834 | 2702371.3845 | 1241926.9423 | 2702384.6048 | 1241929.3944 | 2702389.4406 | 1241929.1554 | 2702388.9622 | 1241926.2116 | 2702388.0028 | 1241915.2087 | 2702387.6451 | 1241912.7118 | 2702394.1232 | 1241911.9563 | 2702396.9064 | 1241907.979 | 2702406.2227 | 1241894.3625 | 2702407.6858 | 1241892.3974 | 2702410.1557 | 1241889.0485
30 | 2702405.8281 | 1241873.8621 | 2702396.5229 | 1241867.9971 | 2702394.275 | 1241866.6655
31 | 2702405.8281 | 1241873.8621 | 2702407.1041 | 1241873.0947 | 2702410.3531 | 1241873.2397 | 2702421.8159 | 1241877.1961 | 2702424.2466 | 1241878.1015
32 | 2702317.5736 | 1241961.808 | 2702331.9654 | 1241977.7586
33 | 2702356.4823 | 1241888.311 | 2702354.3199 | 1241888.7407 | 2702332.6302 | 1241874.9228 | 2702328.8911 | 1241872.9457
34 | 2702328.8911 | 1241872.9457 | 2702321.8946 | 1241885.8012
35 | 2702356.4823 | 1241888.311 | 2702362.1165 | 1241883.4378 | 2702356.3797 | 1241878.0458 | 2702357.1363 | 1241872.3211 | 2702358.7176 | 1241867.0109
36 | 2702321.8946 | 1241885.8012 | 2702320.0357 | 1241889.2167 | 2702311.5268 | 1241900.7455
37 | 2702324.6121 | 1241844.8502 | 2702322.8441 | 1241846.521 | 2702318.7088 | 1241846.0383
38 | 2702316.8663 | 1241862.1078 | 2702314.8501 | 1241854.5005 | 2702317.1716 | 1241849.2365 | 2702318.7088 | 1241846.0383
39 | 2702318.7088 | 1241846.0383 | 2702309.799 | 1241842.8636
40 | 2702324.6121 | 1241844.8502 | 2702331.0316 | 1241848.8084 | 2702340.6237 | 1241854.7005 | 2702343.8081 | 1241848.5062 | 2702346.8906 | 1241842.5214
41 | 2702316.8663 | 1241862.1078 | 2702314.8594 | 1241867.1104 | 2702310.5935 | 1241874.3519
42 | 2702358.7176 | 1241867.0109 | 2702353.8795 | 1241866.0601 | 2702354.8808 | 1241859.3055 | 2702369.8362 | 1241859.8082 | 2702365.866 | 1241858.0829 | 2702368.4611 | 1241853.1794
43 | 2702358.7176 | 1241867.0109 | 2702359.7882 | 1241864.5608 | 2702362.2949 | 1241863.0251 | 2702366.5694 | 1241863.3324 | 2702373.4216 | 1241866.5985
44 | 2702368.4611 | 1241853.1794 | 2702372.862 | 1241844.8489 | 2702380.2602 | 1241837.6598 | 2702384.852 | 1241835.2249
45 | 2702368.4611 | 1241853.1794 | 2702372.8647 | 1241855.2014 | 2702380.3114 | 1241858.9753
46 | 2702346.8906 | 1241842.5214 | 2702350.3929 | 1241845.0727 | 2702354.9434 | 1241847.3529 | 2702360.142 | 1241849.7555 | 2702368.4611 | 1241853.1794
47 | 2702346.8906 | 1241842.5214 | 2702343.2974 | 1241839.1013 | 2702341.9661 | 1241835.1864 | 2702342.0194 | 1241832.3617
48 | 2702344.1477 | 1241811.7393 | 2702342.0544 | 1241830.5066 | 2702342.0194 | 1241832.3617
49 | 2702394.275 | 1241866.6655 | 2702387.1069 | 1241862.4192 | 2702380.3114 | 1241858.9753
50 | 2702280.1895 | 1241912.748 | 2702275.3704 | 1241917.2796 | 2702270.2208 | 1241921.3393
51 | 2702280.1895 | 1241912.748 | 2702287.247 | 1241917.8514 | 2702283.7588 | 1241921.0604 | 2702280.2078 | 1241923.9681 | 2702284.3281 | 1241928.387
52 | 2702250.1829 | 1241935.2929 | 2702253.8008 | 1241932.453 | 2702262.6992 | 1241927.269 | 2702270.2208 | 1241921.3393
53 | 2702284.3281 | 1241928.387 | 2702292.4396 | 1241922.3554 | 2702303.02 | 1241911.7185 | 2702311.5268 | 1241900.7455
54 | 2702284.3281 | 1241928.387 | 2702292.2325 | 1241936.8609
55 | 2702392.626 | 1241770.488 | 2702381.9788 | 1241780.5899 | 2702370.3513 | 1241790.1803
56 | 2702392.626 | 1241770.488 | 2702394.3873 | 1241768.8176
57 | 2702344.1477 | 1241811.7393 | 2702345.7443 | 1241810.3546 | 2702359.0279 | 1241799.5198 | 2702370.3513 | 1241790.1803
58 | 2702254.7739 | 1241940.9207 | 2702250.1829 | 1241935.2929
59 | 2702254.7739 | 1241940.9207 | 2702252.8615 | 1241942.6989
60 | 2702250.0753 | 1241910.394 | 2702238.7367 | 1241920.7178 | 2702239.7505 | 1241923.315 | 2702243.9249 | 1241928.1129 | 2702250.1829 | 1241935.2929
61 | 2702228.0772 | 1241911.8273 | 2702237.3155 | 1241922.0165 | 2702239.7505 | 1241923.315 | 2702243.9249 | 1241928.1129 | 2702250.1829 | 1241935.2929
62 | 2702234.8663 | 1241959.4302 | 2702252.8615 | 1241942.6989
63 | 2702399.0736 | 1241829.3101 | 2702391.2265 | 1241831.8445 | 2702384.852 | 1241835.2249
64 | 2702278.0356 | 1241878.4845 | 2702277.3124 | 1241880.0844 | 2702276.7699 | 1241881.2871 | 2702270.1972 | 1241890.7743
65 | 2702278.0356 | 1241878.4845 | 2702265.3908 | 1241868.9593 | 2702264.4855 | 1241868.3988 | 2702257.5338 | 1241876.4519 | 2702253.3057 | 1241881.3495
66 | 2702414.4042 | 1241822.8354 | 2702418.168 | 1241820.4672 | 2702424.4627 | 1241814.5713 | 2702431.1242 | 1241808.0145 | 2702438.1535 | 1241800.7413 | 2702447.0514 | 1241788.7242
67 | 2702414.4042 | 1241822.8354 | 2702413.5976 | 1241823.343
68 | 2702248.5013 | 1241908.7101 | 2702250.0753 | 1241910.394
69 | 2702270.1088 | 1241890.9019 | 2702267.7824 | 1241894.2645 | 2702250.0753 | 1241910.394
70 | 2702227.7507 | 1241911.4659 | 2702228.0772 | 1241911.8273
71 | 2702270.1088 | 1241890.9019 | 2702267.8521 | 1241888.906 | 2702265.5881 | 1241886.8987
72 | 2702270.1972 | 1241890.7743 | 2702270.1088 | 1241890.9019
73 | 2702226.4642 | 1241967.2423 | 2702234.8663 | 1241959.4302
74 | 2702399.0736 | 1241829.3101 | 2702408.6973 | 1241826.2018
75 | 2702226.4642 | 1241967.2423 | 2702219.1987 | 1241974.9834
76 | 2702410.5315 | 1241825.2722 | 2702411.563 | 1241824.6231 | 2702413.5976 | 1241823.343
77 | 2702408.6973 | 1241826.2018 | 2702409.4302 | 1241825.9651 | 2702410.5315 | 1241825.2722

## bus_geodata
| x | y | coords
0 | 2702332.7661 | 1241801.0387
1 | 2702335.6695 | 1241775.4652
2 | 2702330.2303 | 1241823.375
3 | 2702335.8614 | 1241772.6663
4 | 2702327.1589 | 1241837.1965
5 | 2702320.6639 | 1241818.1848
6 | 2702313.5536 | 1241758.612
7 | 2702265.5759 | 1241817.0002
8 | 2702289.4017 | 1241833.6903
9 | 2702272.262 | 1241801.1882
10 | 2702283.2441 | 1241782.1
11 | 2702251.4174 | 1241786.0547
12 | 2702251.7754 | 1241813.9712
13 | 2702246.4772 | 1241801.8542
14 | 2702233.7299 | 1241828.7126
15 | 2702288.5624 | 1241863.0651
16 | 2702286.6173 | 1241861.4192
17 | 2702278.8285 | 1241876.7244
18 | 2702263.8662 | 1241861.3383
19 | 2702242.1231 | 1241881.4355
20 | 2702254.6823 | 1241853.2266
21 | 2702303.3886 | 1241808.8122
22 | 2702295.2666 | 1241819.2373
23 | 2702312.2794 | 1241813.6358
24 | 2702410.1557 | 1241889.0485
25 | 2702405.8281 | 1241873.8621
26 | 2702317.5736 | 1241961.808
27 | 2702328.8911 | 1241872.9457
28 | 2702356.4823 | 1241888.311
29 | 2702321.8946 | 1241885.8012
30 | 2702318.7088 | 1241846.0383
31 | 2702324.6121 | 1241844.8502
32 | 2702316.8663 | 1241862.1078
33 | 2702309.799 | 1241842.8636
34 | 2702358.7176 | 1241867.0109
35 | 2702368.4611 | 1241853.1794
36 | 2702373.4216 | 1241866.5985
37 | 2702346.8906 | 1241842.5214
38 | 2702342.0194 | 1241832.3617
39 | 2702331.9654 | 1241977.7586
40 | 2702394.275 | 1241866.6655
41 | 2702424.2466 | 1241878.1015
42 | 2702280.1895 | 1241912.748
43 | 2702270.2208 | 1241921.3393
44 | 2702284.3281 | 1241928.387
45 | 2702310.5935 | 1241874.3519
46 | 2702392.626 | 1241770.488
47 | 2702370.3513 | 1241790.1803
48 | 2702394.3873 | 1241768.8176
49 | 2702344.1477 | 1241811.7393
50 | 2702254.7739 | 1241940.9207
51 | 2702250.1829 | 1241935.2929
52 | 2702252.8615 | 1241942.6989
53 | 2702311.5268 | 1241900.7455
54 | 2702292.2325 | 1241936.8609
55 | 2702384.852 | 1241835.2249
56 | 2702380.3114 | 1241858.9753
57 | 2702225.0444 | 1241839.9197
58 | 2702289.1965 | 1241858.3057
59 | 2702278.0356 | 1241878.4845
60 | 2702229.1963 | 1241893.3838
61 | 2702254.3585 | 1241852.9454
62 | 2702447.0514 | 1241788.7242
63 | 2702414.4042 | 1241822.8354
64 | 2702250.0753 | 1241910.394
65 | 2702228.0772 | 1241911.8273
66 | 2702227.7507 | 1241911.4659
67 | 2702248.5013 | 1241908.7101
68 | 2702270.1088 | 1241890.9019
69 | 2702234.8663 | 1241959.4302
70 | 2702399.0736 | 1241829.3101
71 | 2702226.4642 | 1241967.2423
72 | 2702219.1987 | 1241974.9834
73 | 2702413.5976 | 1241823.343
74 | 2702410.5315 | 1241825.2722
75 | 2702408.6973 | 1241826.2018
76 | 2702270.1972 | 1241890.7743
77 | 2702253.3057 | 1241881.3495
78 | 2702265.5881 | 1241886.8987
79 | 2702317.1716 | 1241849.2365

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99603 | -0.076104 | 0.067393 | 0.01689
1 | 0.99568 | -0.082926 | 0 | 0
2 | 0.99772 | -0.043587 | 0 | 0
3 | 0.99564 | -0.08367 | 0 | 0
4 | 0.99884 | -0.022153 | 0.0073575 | 0.001844
5 | 0.99682 | -0.060807 | 0.0043728 | 0.0010959
6 | 0.99527 | -0.090816 | 0.01508 | 0.0037793
7 | 0.99246 | -0.14483 | 0 | 0
8 | 0.99344 | -0.12591 | 0 | 0
9 | 0.99184 | -0.15679 | 0.015338 | 0.003844
10 | 0.99139 | -0.1655 | 0 | 0
11 | 0.99058 | -0.18116 | 0 | 0
12 | 0.99002 | -0.19204 | 0 | 0
13 | 0.99026 | -0.18753 | 0.0039476 | 0.00098937
14 | 0.98964 | -0.19954 | 0.0085654 | 0.0021467
15 | 0.98057 | -0.37499 | 0 | 0
16 | 0.98056 | -0.37518 | 0.0020986 | 0.00052595
17 | 0.98064 | -0.3737 | 0.0015245 | 0.00038207
18 | 0.99216 | -0.15069 | 0 | 0
19 | 0.99173 | -0.15893 | 0.0076492 | 0.0019171
20 | 0.99196 | -0.15465 | 0.010146 | 0.0025429
21 | 0.99538 | -0.088567 | 0 | 0
22 | 0.99447 | -0.10607 | 0.0045114 | 0.0011307
23 | 0.99607 | -0.075192 | 0.010692 | 0.0026797
24 | 0.99253 | -0.14307 | 0 | 0
25 | 0.99278 | -0.1383 | 0 | 0
26 | 0.99121 | -0.16858 | 0 | 0
27 | 0.98683 | -0.25293 | 0 | 0
28 | 0.98894 | -0.21195 | 0 | 0
29 | 0.98586 | -0.27168 | 0.015413 | 0.0038628
30 | 1 | 0 | -0.3797 | -0.095803
31 | 0.99928 | -0.013696 | 0 | 0
32 | 0.9998 | -0.0039151 | 0 | 0
33 | 0.99996 | -0.00070201 | 0.0042581 | 0.0010672
34 | 0.9907 | -0.17806 | 0 | 0
35 | 0.99354 | -0.12352 | 0 | 0
36 | 0.9905 | -0.18198 | 0.012624 | 0.0031639
37 | 0.99663 | -0.064277 | 0 | 0
38 | 0.99622 | -0.072261 | 0.0082853 | 0.0020765
39 | 0.991 | -0.17264 | 0.010653 | 0.0026699
40 | 0.99293 | -0.13523 | 0.0045078 | 0.0011298
41 | 0.99274 | -0.13903 | 0.0021064 | 0.00052791
42 | 0.98289 | -0.32949 | 0 | 0
43 | 0.98251 | -0.3371 | 0.0020733 | 0.00051963
44 | 0.98361 | -0.31559 | 0 | 0
45 | 0.99963 | -0.0070614 | 0.013078 | 0.0032777
46 | 0.99421 | -0.11094 | 0 | 0
47 | 0.99473 | -0.10098 | 0.010862 | 0.0027222
48 | 0.99417 | -0.11175 | 0.019001 | 0.0047621
49 | 0.99565 | -0.083145 | 0 | 0
50 | 0.98178 | -0.3512 | 0 | 0
51 | 0.98183 | -0.35035 | 0 | 0
52 | 0.98177 | -0.3515 | 0.004191 | 0.0010504
53 | 0.98492 | -0.29003 | 0.019666 | 0.0049287
54 | 0.98356 | -0.31652 | 0.0044201 | 0.0011078
55 | 0.99294 | -0.13509 | 0.0097885 | 0.0024532
56 | 0.99319 | -0.13036 | 0.01205 | 0.0030199
57 | 0.98952 | -0.20179 | 0.0089047 | 0.0022317
58 | 0.98055 | -0.37534 | 0.0021088 | 0.00052851
59 | 0.98065 | -0.3735 | 0 | 0
60 | 0.9916 | -0.16145 | 0.0080592 | 0.0020198
61 | 0.99195 | -0.15471 | 0.0080862 | 0.0020266
62 | 0.99236 | -0.14626 | 0.0034121 | 0.00085514
63 | 0.99251 | -0.14339 | 0.0046815 | 0.0011733
64 | 0.98114 | -0.36378 | 0 | 0
65 | 0.98178 | -0.35129 | 0 | 0
66 | 0.98178 | -0.35131 | 0.0016177 | 0.00040543
67 | 0.98113 | -0.36405 | 0.0063481 | 0.001591
68 | 0.98074 | -0.37164 | 0 | 0
69 | 0.98172 | -0.35252 | 0.0014962 | 0.00037498
70 | 0.99271 | -0.13959 | 0.0019084 | 0.00047828
71 | 0.98171 | -0.35269 | 0 | 0
72 | 0.9817 | -0.35284 | 0.00079961 | 0.0002004
73 | 0.99252 | -0.14325 | 0.0018039 | 0.0004521
74 | 0.99255 | -0.14262 | 0.0016073 | 0.00040282
75 | 0.99257 | -0.1422 | 0.003052 | 0.00076491
76 | 0.98074 | -0.37167 | 0.0041585 | 0.0010422
77 | 0.98061 | -0.37422 | 0.0011743 | 0.0002943
78 | 0.98072 | -0.37212 | 0.0044179 | 0.0011072
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01509 | 0.0037854 | -0.015085 | -0.0037826 | 4.9059e-06 | 2.8049e-06 | 0.022545 | 0.022545 | 0.022545 | 0.99603 | -0.076104 | 0.99568 | -0.082926 | 6.1938
1 | -0.082483 | -0.020676 | 0.082611 | 0.020757 | 0.00012801 | 8.1631e-05 | 0.12323 | 0.12323 | 0.12323 | 0.99603 | -0.076104 | 0.99772 | -0.043587 | 33.8534
2 | 0.015085 | 0.0037826 | -0.015085 | -0.0037823 | 5.3486e-07 | 3.0581e-07 | 0.022545 | 0.022545 | 0.022545 | 0.99568 | -0.082926 | 0.99564 | -0.08367 | 6.1938
3 | -0.17334 | -0.043672 | 0.17352 | 0.043785 | 0.00017791 | 0.00011349 | 0.25861 | 0.25861 | 0.25861 | 0.99772 | -0.043587 | 0.99884 | -0.022153 | 35.5231
4 | 0.090733 | 0.022915 | -0.090658 | -0.022867 | 7.4805e-05 | 4.7733e-05 | 0.13538 | 0.13538 | 0.13538 | 0.99772 | -0.043587 | 0.99682 | -0.060807 | 37.1929
5 | 0.015085 | 0.0037823 | -0.01508 | -0.0037793 | 5.1353e-06 | 2.9364e-06 | 0.022545 | 0.022546 | 0.022546 | 0.99564 | -0.08367 | 0.99527 | -0.090816 | 6.1938
6 | -0.18088 | -0.045629 | 0.18095 | 0.045676 | 7.327e-05 | 4.6576e-05 | 0.26957 | 0.26957 | 0.26957 | 0.99884 | -0.022153 | 0.99928 | -0.013696 | 24.6858
7 | 0.086285 | 0.021771 | -0.086226 | -0.021733 | 5.9393e-05 | 3.7887e-05 | 0.12885 | 0.12885 | 0.12885 | 0.99682 | -0.060807 | 0.99607 | -0.075192 | 35.3996
8 | -0.036819 | -0.0092505 | 0.036852 | 0.0092714 | 3.3282e-05 | 2.0924e-05 | 0.055212 | 0.055211 | 0.055212 | 0.99246 | -0.14483 | 0.99344 | -0.12591 | 15.168
9 | 0.036819 | 0.0092505 | -0.036798 | -0.0092372 | 2.1012e-05 | 1.3211e-05 | 0.055212 | 0.055212 | 0.055212 | 0.99246 | -0.14483 | 0.99184 | -0.15679 | 15.168
10 | -0.070844 | -0.017809 | 0.070911 | 0.017852 | 6.7181e-05 | 4.279e-05 | 0.10613 | 0.10613 | 0.10613 | 0.99344 | -0.12591 | 0.99447 | -0.10607 | 29.1571
11 | 0.033992 | 0.0085375 | -0.033951 | -0.0085124 | 4.0148e-05 | 2.5161e-05 | 0.050921 | 0.050921 | 0.050921 | 0.99344 | -0.12591 | 0.99216 | -0.15069 | 13.9892
12 | 0.02146 | 0.0053932 | -0.021451 | -0.0053878 | 8.9098e-06 | 5.4067e-06 | 0.032201 | 0.032201 | 0.032201 | 0.99184 | -0.15679 | 0.99139 | -0.1655 | 8.8464
13 | 0.021451 | 0.0053878 | -0.021435 | -0.0053781 | 1.6023e-05 | 9.7241e-06 | 0.032201 | 0.032201 | 0.032201 | 0.99139 | -0.1655 | 0.99058 | -0.18116 | 8.8465
14 | 0.021435 | 0.0053781 | -0.021429 | -0.0053741 | 6.5089e-06 | 3.9503e-06 | 0.032201 | 0.032201 | 0.032201 | 0.99058 | -0.18116 | 0.99026 | -0.18753 | 8.8465
15 | -0.017477 | -0.0043825 | 0.017481 | 0.0043848 | 3.7581e-06 | 2.2184e-06 | 0.026269 | 0.026269 | 0.026269 | 0.99002 | -0.19204 | 0.99026 | -0.18753 | 7.2169
16 | 0.017477 | 0.0043825 | -0.017471 | -0.0043788 | 6.2416e-06 | 3.6846e-06 | 0.026269 | 0.02627 | 0.02627 | 0.99002 | -0.19204 | 0.98964 | -0.19954 | 7.2169
17 | 0.0089056 | 0.0022322 | -0.0089047 | -0.0022317 | 9.5339e-07 | 4.2801e-07 | 0.013391 | 0.013391 | 0.013391 | 0.98964 | -0.19954 | 0.98952 | -0.20179 | 3.6787
18 | 0.0042074 | 0.0010544 | -0.0042074 | -0.0010544 | 3.889e-08 | -7.2014e-09 | 0.0063847 | 0.0063847 | 0.0063847 | 0.98057 | -0.37499 | 0.98056 | -0.37518 | 1.754
19 | -0.0042074 | -0.0010544 | 0.0042077 | 0.0010544 | 2.5888e-07 | -4.7959e-08 | 0.0063847 | 0.0063846 | 0.0063847 | 0.98057 | -0.37499 | 0.98064 | -0.3737 | 1.754
20 | 0.0021088 | 0.00052847 | -0.0021088 | -0.00052851 | 1.5511e-08 | -4.1021e-08 | 0.0032001 | 0.0032001 | 0.0032001 | 0.98056 | -0.37518 | 0.98055 | -0.37534 | 0.87916
21 | -0.0057322 | -0.0014364 | 0.0057322 | 0.0014365 | 5.4767e-08 | 1.0696e-08 | 0.0086979 | 0.0086979 | 0.0086979 | 0.98064 | -0.3737 | 0.98065 | -0.3735 | 2.3895
22 | 0.015716 | 0.0039408 | -0.015709 | -0.0039373 | 6.1686e-06 | 3.5657e-06 | 0.02357 | 0.023571 | 0.023571 | 0.99216 | -0.15069 | 0.99173 | -0.15893 | 6.4754
23 | 0.018236 | 0.0045715 | -0.018232 | -0.0045695 | 3.4377e-06 | 2.0419e-06 | 0.02735 | 0.02735 | 0.02735 | 0.99216 | -0.15069 | 0.99196 | -0.15465 | 7.5138
24 | 0.0080601 | 0.0020202 | -0.0080592 | -0.0020198 | 9.6546e-07 | 3.9079e-07 | 0.012094 | 0.012094 | 0.012094 | 0.99173 | -0.15893 | 0.9916 | -0.16145 | 3.3224
25 | 0.0080862 | 0.0020266 | -0.0080862 | -0.0020266 | 2.366e-08 | 9.6071e-09 | 0.01213 | 0.01213 | 0.01213 | 0.99196 | -0.15465 | 0.99195 | -0.15471 | 3.3324
26 | 0.075486 | 0.019023 | -0.075423 | -0.018982 | 6.3149e-05 | 4.0244e-05 | 0.11288 | 0.11288 | 0.11288 | 0.99538 | -0.088567 | 0.99447 | -0.10607 | 31.0116
27 | -0.075486 | -0.019023 | 0.075534 | 0.019053 | 4.8334e-05 | 3.0802e-05 | 0.11288 | 0.11288 | 0.11288 | 0.99538 | -0.088567 | 0.99607 | -0.075192 | 31.0116
28 | -0.010668 | -0.0026775 | 0.010671 | 0.0026787 | 2.4275e-06 | 1.2265e-06 | 0.015995 | 0.015995 | 0.015995 | 0.99253 | -0.14307 | 0.99278 | -0.1383 | 4.3943
29 | 0.010668 | 0.0026775 | -0.010655 | -0.0026709 | 1.2966e-05 | 6.5538e-06 | 0.015995 | 0.015996 | 0.015996 | 0.99253 | -0.14307 | 0.99121 | -0.16858 | 4.3944
30 | -0.012777 | -0.0032064 | 0.012779 | 0.0032075 | 1.8724e-06 | 1.0223e-06 | 0.019152 | 0.019152 | 0.019152 | 0.99278 | -0.1383 | 0.99293 | -0.13523 | 5.2616
31 | 0.0021065 | 0.00052771 | -0.0021064 | -0.00052791 | 7.2748e-08 | -2.0508e-07 | 0.0031572 | 0.0031573 | 0.0031573 | 0.99278 | -0.1383 | 0.99274 | -0.13903 | 0.86739
32 | 0.010655 | 0.0026709 | -0.010653 | -0.0026699 | 2.0613e-06 | 1.0424e-06 | 0.015996 | 0.015996 | 0.015996 | 0.99121 | -0.16858 | 0.991 | -0.17264 | 4.3945
33 | -0.071739 | -0.018065 | 0.07188 | 0.018155 | 0.00014085 | 8.9735e-05 | 0.1082 | 0.1082 | 0.1082 | 0.98683 | -0.25293 | 0.98894 | -0.21195 | 29.7264
34 | 0.071739 | 0.018065 | -0.071675 | -0.018024 | 6.4261e-05 | 4.094e-05 | 0.1082 | 0.1082 | 0.1082 | 0.98683 | -0.25293 | 0.98586 | -0.27168 | 29.7264
35 | -0.07188 | -0.018155 | 0.071997 | 0.018229 | 0.00011695 | 7.4507e-05 | 0.1082 | 0.1082 | 0.1082 | 0.98894 | -0.21195 | 0.9907 | -0.17806 | 29.7264
36 | 0.056262 | 0.014161 | -0.056213 | -0.01413 | 4.9289e-05 | 3.1313e-05 | 0.084941 | 0.084941 | 0.084941 | 0.98586 | -0.27168 | 0.98492 | -0.29003 | 23.3354
37 | 0.36071 | 0.091456 | -0.36047 | -0.091305 | 0.00023728 | 0.0001516 | 0.53711 | 0.53711 | 0.53711 | 1 | 0 | 0.99928 | -0.013696 | 49.1862
38 | 0.013082 | 0.0032801 | -0.01308 | -0.0032787 | 2.4404e-06 | 1.3366e-06 | 0.019467 | 0.019467 | 0.019467 | 1 | 0 | 0.9998 | -0.0039151 | 5.3482
39 | 0.0042582 | 0.0010671 | -0.0042581 | -0.0010672 | 1.424e-07 | -3.2946e-08 | 0.0063362 | 0.0063363 | 0.0063363 | 1 | 0 | 0.99996 | -0.00070201 | 1.7407
40 | 0.17952 | 0.045629 | -0.17908 | -0.04535 | 0.00043614 | 0.00027828 | 0.26754 | 0.26754 | 0.26754 | 0.99928 | -0.013696 | 0.99663 | -0.064277 | 36.7507
41 | 0.01308 | 0.0032787 | -0.013078 | -0.0032777 | 1.9605e-06 | 1.0738e-06 | 0.019467 | 0.019467 | 0.019467 | 0.9998 | -0.0039151 | 0.99963 | -0.0070614 | 5.3482
42 | -0.084623 | -0.021394 | 0.084845 | 0.021536 | 0.00022196 | 0.00014158 | 0.12717 | 0.12717 | 0.12717 | 0.9907 | -0.17806 | 0.99354 | -0.12352 | 34.9365
43 | 0.012626 | 0.0031652 | -0.012624 | -0.0031639 | 2.359e-06 | 1.2846e-06 | 0.018965 | 0.018965 | 0.018965 | 0.9907 | -0.17806 | 0.9905 | -0.18198 | 5.2102
44 | 0.026274 | 0.0065918 | -0.02626 | -0.0065828 | 1.4481e-05 | 8.9452e-06 | 0.039353 | 0.039354 | 0.039354 | 0.99354 | -0.12352 | 0.99294 | -0.13509 | 10.8114
45 | 0.02935 | 0.0073654 | -0.02934 | -0.0073595 | 9.5616e-06 | 5.9486e-06 | 0.04396 | 0.04396 | 0.04396 | 0.99354 | -0.12352 | 0.99319 | -0.13036 | 12.077
46 | -0.14047 | -0.035493 | 0.14087 | 0.035749 | 0.0004002 | 0.00025582 | 0.21048 | 0.21048 | 0.21048 | 0.99354 | -0.12352 | 0.99663 | -0.064277 | 57.8248
47 | 0.038213 | 0.0096013 | -0.038199 | -0.0095921 | 1.4556e-05 | 9.1607e-06 | 0.057063 | 0.057063 | 0.057063 | 0.99663 | -0.064277 | 0.99622 | -0.072261 | 15.6766
48 | 0.029914 | 0.0075157 | -0.029898 | -0.007506 | 1.5531e-05 | 9.6699e-06 | 0.044687 | 0.044688 | 0.044688 | 0.99622 | -0.072261 | 0.99565 | -0.083145 | 12.2768
49 | -0.017287 | -0.0043372 | 0.017291 | 0.0043396 | 4.0146e-06 | 2.363e-06 | 0.025908 | 0.025908 | 0.025908 | 0.99293 | -0.13523 | 0.99319 | -0.13036 | 7.1175
50 | 0.032061 | 0.008052 | -0.032049 | -0.0080447 | 1.164e-05 | 7.2827e-06 | 0.048543 | 0.048543 | 0.048543 | 0.98289 | -0.32949 | 0.98251 | -0.3371 | 13.336
51 | -0.032061 | -0.008052 | 0.032082 | 0.0080653 | 2.1279e-05 | 1.3313e-05 | 0.048543 | 0.048543 | 0.048543 | 0.98289 | -0.32949 | 0.98361 | -0.31559 | 13.336
52 | 0.029976 | 0.0075251 | -0.029957 | -0.0075133 | 1.892e-05 | 1.1799e-05 | 0.045403 | 0.045403 | 0.045403 | 0.98251 | -0.3371 | 0.98183 | -0.35035 | 12.4733
53 | -0.036502 | -0.0091731 | 0.036547 | 0.0092011 | 4.4606e-05 | 2.8052e-05 | 0.05523 | 0.05523 | 0.05523 | 0.98361 | -0.31559 | 0.98492 | -0.29003 | 15.173
54 | 0.0044203 | 0.0011078 | -0.0044201 | -0.0011078 | 1.9432e-07 | -2.2712e-08 | 0.0066871 | 0.0066871 | 0.0066871 | 0.98361 | -0.31559 | 0.98356 | -0.31652 | 1.8371
55 | -0.019002 | -0.0047626 | 0.019011 | 0.0047679 | 9.023e-06 | 5.3888e-06 | 0.02844 | 0.02844 | 0.02844 | 0.99421 | -0.11094 | 0.99473 | -0.10098 | 7.8131
56 | 0.019002 | 0.0047626 | -0.019001 | -0.0047621 | 7.3625e-07 | 4.3972e-07 | 0.02844 | 0.02844 | 0.02844 | 0.99421 | -0.11094 | 0.99417 | -0.11175 | 7.8131
57 | -0.029873 | -0.0074902 | 0.029898 | 0.007506 | 2.5412e-05 | 1.5823e-05 | 0.044688 | 0.044688 | 0.044688 | 0.99473 | -0.10098 | 0.99565 | -0.083145 | 12.2769
58 | -0.0064871 | -0.0016253 | 0.0064873 | 0.0016253 | 2.6298e-07 | 7.6561e-08 | 0.0098317 | 0.0098317 | 0.0098317 | 0.98178 | -0.3512 | 0.98183 | -0.35035 | 2.701
59 | 0.0064871 | 0.0016253 | -0.006487 | -0.0016252 | 9.4657e-08 | 2.7559e-08 | 0.0098317 | 0.0098318 | 0.0098318 | 0.98178 | -0.3512 | 0.98177 | -0.3515 | 2.701
60 | 0.021852 | 0.0054829 | -0.021838 | -0.0054744 | 1.3988e-05 | 8.5228e-06 | 0.03312 | 0.03312 | 0.03312 | 0.98183 | -0.35035 | 0.98114 | -0.36378 | 9.0988
61 | 0.0016178 | 0.00040506 | -0.0016177 | -0.00040542 | 7.3028e-08 | -3.6297e-07 | 0.0024517 | 0.0024518 | 0.0024518 | 0.98183 | -0.35035 | 0.98178 | -0.35129 | 0.67357
62 | 0.0022959 | 0.00057487 | -0.0022958 | -0.00057511 | 1.1157e-07 | -2.3929e-07 | 0.0034796 | 0.0034797 | 0.0034797 | 0.98177 | -0.3515 | 0.98172 | -0.35252 | 0.95597
63 | 0.016471 | 0.0041296 | -0.016468 | -0.0041275 | 3.533e-06 | 2.0612e-06 | 0.024685 | 0.024685 | 0.024685 | 0.99294 | -0.13509 | 0.99271 | -0.13959 | 6.7815
64 | -0.0069065 | -0.0017303 | 0.0069071 | 0.0017305 | 6.0196e-07 | 2.0083e-07 | 0.01048 | 0.01048 | 0.01048 | 0.98065 | -0.3735 | 0.98074 | -0.37167 | 2.879
65 | 0.0011743 | 0.00029389 | -0.0011743 | -0.0002943 | 4.0484e-08 | -4.0309e-07 | 0.0017817 | 0.0017819 | 0.0017819 | 0.98065 | -0.3735 | 0.98061 | -0.37422 | 0.48952
66 | -0.0034121 | -0.00085514 | 0.0034125 | 0.00085483 | 4.6611e-07 | -3.1529e-07 | 0.0051163 | 0.0051161 | 0.0051163 | 0.99236 | -0.14626 | 0.99251 | -0.14339 | 1.4056
67 | -0.008094 | -0.0020281 | 0.0080941 | 0.0020281 | 5.2625e-08 | 2.1364e-08 | 0.012135 | 0.012135 | 0.012135 | 0.99251 | -0.14339 | 0.99252 | -0.14325 | 3.3337
68 | 0.0063482 | 0.001591 | -0.0063481 | -0.001591 | 8.0017e-08 | 2.2139e-08 | 0.0096277 | 0.0096277 | 0.0096277 | 0.98114 | -0.36378 | 0.98113 | -0.36405 | 2.645
69 | 0.015489 | 0.0038834 | -0.015484 | -0.00388 | 5.7951e-06 | 3.3554e-06 | 0.023492 | 0.023492 | 0.023492 | 0.98114 | -0.36378 | 0.98074 | -0.37164 | 6.4539
70 | 0.0016177 | 0.00040542 | -0.0016177 | -0.00040543 | 1.0958e-09 | -5.4447e-09 | 0.0024518 | 0.0024518 | 0.0024518 | 0.98178 | -0.35129 | 0.98178 | -0.35131 | 0.67358
71 | 0.004418 | 0.0011072 | -0.0044179 | -0.0011072 | 1.0159e-07 | -1.1061e-08 | 0.0067032 | 0.0067032 | 0.0067032 | 0.98074 | -0.37164 | 0.98072 | -0.37212 | 1.8415
72 | 0.011066 | 0.0027728 | -0.011066 | -0.0027728 | 1.641e-08 | 8.5437e-09 | 0.016789 | 0.016789 | 0.016789 | 0.98074 | -0.37164 | 0.98074 | -0.37167 | 4.6124
73 | 0.00079963 | 0.00020013 | -0.00079962 | -0.00020027 | 6.3193e-09 | -1.4102e-07 | 0.0012119 | 0.001212 | 0.001212 | 0.98172 | -0.35252 | 0.98171 | -0.35269 | 0.33296
74 | 0.01456 | 0.0036493 | -0.014558 | -0.0036482 | 1.8063e-06 | 1.0253e-06 | 0.021824 | 0.021824 | 0.021824 | 0.99271 | -0.13959 | 0.99257 | -0.1422 | 5.9957
75 | 0.00079962 | 0.00020027 | -0.00079961 | -0.0002004 | 5.8481e-09 | -1.3049e-07 | 0.001212 | 0.001212 | 0.001212 | 0.98171 | -0.35269 | 0.9817 | -0.35284 | 0.33297
76 | -0.009898 | -0.0024802 | 0.0098983 | 0.0024804 | 2.9913e-07 | 1.4463e-07 | 0.014839 | 0.014839 | 0.014839 | 0.99252 | -0.14325 | 0.99255 | -0.14262 | 4.0767
77 | -0.011506 | -0.0028832 | 0.011506 | 0.0028833 | 2.311e-07 | 1.2113e-07 | 0.017249 | 0.017249 | 0.017249 | 0.99255 | -0.14262 | 0.99257 | -0.1422 | 4.7387

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3797 | 0.095803

## res_load
| p_mw | q_mvar
0 | 0.067393 | 0.01689
1 | 0.0073575 | 0.001844
2 | 0.0043728 | 0.0010959
3 | 0.01508 | 0.0037793
4 | 0.015338 | 0.003844
5 | 0.0039476 | 0.00098937
6 | 0.0085654 | 0.0021467
7 | 0.0020986 | 0.00052595
8 | 0.0015245 | 0.00038207
9 | 0.0076492 | 0.0019171
10 | 0.010146 | 0.0025429
11 | 0.0045114 | 0.0011307
12 | 0.010692 | 0.0026797
13 | 0.015413 | 0.0038628
14 | 0.0042581 | 0.0010672
15 | 0.012624 | 0.0031639
16 | 0.0082853 | 0.0020765
17 | 0.010653 | 0.0026699
18 | 0.0045078 | 0.0011298
19 | 0.0021064 | 0.00052791
20 | 0.0020733 | 0.00051963
21 | 0.013078 | 0.0032777
22 | 0.010862 | 0.0027222
23 | 0.019001 | 0.0047621
24 | 0.004191 | 0.0010504
25 | 0.019666 | 0.0049287
26 | 0.0044201 | 0.0011078
27 | 0.0097885 | 0.0024532
28 | 0.01205 | 0.0030199
29 | 0.0089047 | 0.0022317
30 | 0.0021088 | 0.00052851
31 | 0.0080592 | 0.0020198
32 | 0.0080862 | 0.0020266
33 | 0.0034121 | 0.00085514
34 | 0.0046815 | 0.0011733
35 | 0.0016177 | 0.00040543
36 | 0.0063481 | 0.001591
37 | 0.0014962 | 0.00037498
38 | 0.0019084 | 0.00047828
39 | 0.00079961 | 0.0002004
40 | 0.0018039 | 0.0004521
41 | 0.0016073 | 0.00040282
42 | 0.003052 | 0.00076491
43 | 0.0041585 | 0.0010422
44 | 0.0011743 | 0.0002943
45 | 0.0044179 | 0.0011072

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1