## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-7_1_3_node_31 | 0.4 | n |  | TRUE
1 | bus_LV_121-7_1_3_node_123 | 0.4 | n |  | TRUE
2 | bus_LV_121-7_1_3_node_134 | 0.4 | n |  | TRUE
3 | bus_LV_121-7_1_3_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_121-7_1_3_node_100 | 0.4 | n |  | TRUE
5 | bus_LV_121-7_1_3_node_112 | 0.4 | n |  | TRUE
6 | bus_LV_121-7_1_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_121-7_1_3_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_121-7_1_3_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_121-7_1_3_node_116 | 0.4 | n |  | TRUE
10 | bus_LV_121-7_1_3_node_113 | 0.4 | n |  | TRUE
11 | bus_LV_121-7_1_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_121-7_1_3_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_121-7_1_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_121-7_1_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_121-7_1_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_121-7_1_3_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_121-7_1_3_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_121-7_1_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_121-7_1_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_121-7_1_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_121-7_1_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_121-7_1_3_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_121-7_1_3_node_110 | 0.4 | n |  | TRUE
24 | bus_LV_121-7_1_3_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_121-7_1_3_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_121-7_1_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_121-7_1_3_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_121-7_1_3_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_121-7_1_3_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_121-7_1_3_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_121-7_1_3_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_121-7_1_3_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_121-7_1_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_121-7_1_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_121-7_1_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_121-7_1_3_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_121-7_1_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_121-7_1_3_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_121-7_1_3_node_115 | 0.4 | n |  | TRUE
40 | bus_LV_121-7_1_3_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_121-7_1_3_node_146 | 0.4 | n |  | TRUE
42 | bus_LV_121-7_1_3_node_143 | 0.4 | n |  | TRUE
43 | bus_LV_121-7_1_3_node_149 | 0.4 | n |  | TRUE
44 | bus_LV_121-7_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_121-7_1_3_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_121-7_1_3_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_121-7_1_3_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_121-7_1_3_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_121-7_1_3_node_130 | 0.4 | n |  | TRUE
50 | bus_LV_121-7_1_3_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_121-7_1_3_node_106 | 0.4 | n |  | TRUE
52 | bus_LV_121-7_1_3_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_121-7_1_3_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_121-7_1_3_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_121-7_1_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_121-7_1_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_121-7_1_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_121-7_1_3_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_121-7_1_3_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_121-7_1_3_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_121-7_1_3_node_135 | 0.4 | n |  | TRUE
62 | bus_LV_121-7_1_3_node_136 | 0.4 | n |  | TRUE
63 | bus_LV_121-7_1_3_node_137 | 0.4 | n |  | TRUE
64 | bus_LV_121-7_1_3_node_138 | 0.4 | n |  | TRUE
65 | bus_LV_121-7_1_3_node_140 | 0.4 | n |  | TRUE
66 | bus_LV_121-7_1_3_node_141 | 0.4 | n |  | TRUE
67 | bus_LV_121-7_1_3_node_148 | 0.4 | n |  | TRUE
68 | bus_LV_121-7_1_3_node_156 | 0.4 | n |  | TRUE
69 | bus_LV_121-7_1_3_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_121-7_1_3_node_145 | 0.4 | n |  | TRUE
71 | bus_LV_121-7_1_3_node_147 | 0.4 | n |  | TRUE
72 | bus_MV_357_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-7_1_3_load_123 | 1 | 0.00088452 | 0.00022168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-7_1_3_load_134 | 2 | 0.001338 | 0.00033532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-7_1_3_load_100 | 4 | 0.0020976 | 0.0005257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-7_1_3_load_112 | 5 | 0.010489 | 0.0026287 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-7_1_3_load_132 | 8 | 0.0011181 | 0.00028023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-7_1_3_load_116 | 9 | 0.0031848 | 0.00079818 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-7_1_3_load_113 | 10 | 0.0034756 | 0.00087107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-7_1_3_load_61 | 11 | 0.0015364 | 0.00038506 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-7_1_3_load_62 | 12 | 0.0025257 | 0.00063301 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-7_1_3_load_63 | 13 | 0.0029573 | 0.00074117 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-7_1_3_load_64 | 14 | 0.0025821 | 0.00064712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-7_1_3_load_68 | 16 | 0.0011925 | 0.00029886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-7_1_3_load_69 | 17 | 0.0022734 | 0.00056978 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-7_1_3_load_70 | 18 | 0.0012903 | 0.00032338 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-7_1_3_load_72 | 20 | 0.0015057 | 0.00037737 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-7_1_3_load_94 | 22 | 0.0017939 | 0.00044959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-7_1_3_load_110 | 23 | 0.00098117 | 0.0002459 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-7_1_3_load_78 | 24 | 0.00054516 | 0.00013663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-7_1_3_load_79 | 25 | 0.00085574 | 0.00021447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-7_1_3_load_80 | 26 | 0.003973 | 0.00099572 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-7_1_3_load_81 | 27 | 0.00075434 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-7_1_3_load_92 | 28 | 0.0037643 | 0.00094343 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-7_1_3_load_83 | 29 | 0.0053986 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-7_1_3_load_84 | 30 | 0.0050236 | 0.001259 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-7_1_3_load_85 | 31 | 0.0047786 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-7_1_3_load_129 | 32 | 0.0027307 | 0.00068439 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-7_1_3_load_87 | 33 | 0.0025218 | 0.00063203 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-7_1_3_load_88 | 34 | 0.002542 | 0.00063707 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-7_1_3_load_89 | 35 | 0.0030409 | 0.00076212 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-7_1_3_load_91 | 37 | 0.0028149 | 0.00070549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-7_1_3_load_109 | 38 | 0.0038492 | 0.00096469 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-7_1_3_load_103 | 40 | 0.0047373 | 0.0011873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-7_1_3_load_146 | 41 | 0.0017278 | 0.00043304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-7_1_3_load_143 | 42 | 0.0013047 | 0.00032699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-7_1_3_load_149 | 43 | 0.0039569 | 0.00099169 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-7_1_3_load_99 | 44 | 0.0033512 | 0.00083988 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-7_1_3_load_101 | 45 | 0.0030406 | 0.00076204 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-7_1_3_load_102 | 46 | 0.0012412 | 0.00031108 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-7_1_3_load_122 | 47 | 0.0010229 | 0.00025637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_121-7_1_3_load_104 | 48 | 0.0050331 | 0.0012614 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_121-7_1_3_load_130 | 49 | 0.0045046 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_121-7_1_3_load_105 | 50 | 0.0043521 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_121-7_1_3_load_106 | 51 | 0.0023517 | 0.00058938 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_121-7_1_3_load_107 | 52 | 0.0045493 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_121-7_1_3_load_108 | 53 | 0.0045501 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_121-7_1_3_load_111 | 54 | 0.0052502 | 0.0013158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_121-7_1_3_load_117 | 55 | 0.0008038 | 0.00020145 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_121-7_1_3_load_114 | 56 | 0.0043504 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_121-7_1_3_load_118 | 57 | 0.0010357 | 0.00025957 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_121-7_1_3_load_120 | 59 | 0.0030549 | 0.00076563 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_121-7_1_3_load_121 | 60 | 0.0016104 | 0.00040361 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_121-7_1_3_load_135 | 61 | 0.0011956 | 0.00029964 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_121-7_1_3_load_136 | 62 | 0.0022071 | 0.00055315 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_121-7_1_3_load_137 | 63 | 0.0024741 | 0.00062006 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_121-7_1_3_load_140 | 65 | 0.0053015 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_121-7_1_3_load_148 | 67 | 0.0010885 | 0.00027279 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_121-7_1_3_load_156 | 68 | 0.0024249 | 0.00060773 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_121-7_1_3_load_144 | 69 | 0.0012508 | 0.00031348 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_121-7_1_3_load_145 | 70 | 0.0038866 | 0.00097407 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_121-7_1_3_load_147 | 71 | 0.0012173 | 0.00030509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-7_1_3_line_0 |  | 0 | 1 | 0.004754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-7_1_3_line_1 |  | 0 | 2 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-7_1_3_line_2 |  | 1 | 58 | 0.040048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-7_1_3_line_3 |  | 2 | 61 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-7_1_3_line_4 |  | 3 | 4 | 0.055733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-7_1_3_line_5 |  | 3 | 5 | 0.030954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-7_1_3_line_6 |  | 4 | 44 | 0.0074901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-7_1_3_line_7 |  | 5 | 54 | 4.4078e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-7_1_3_line_8 |  | 6 | 7 | 0.14483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-7_1_3_line_9 |  | 6 | 8 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-7_1_3_line_10 |  | 7 | 9 | 0.038145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-7_1_3_line_11 |  | 7 | 10 | 0.045709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-7_1_3_line_12 |  | 9 | 32 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-7_1_3_line_13 |  | 10 | 56 | 0.043801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-7_1_3_line_14 |  | 11 | 12 | 0.010913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-7_1_3_line_15 |  | 11 | 13 | 0.023324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-7_1_3_line_16 |  | 12 | 14 | 0.0088273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-7_1_3_line_17 |  | 14 | 15 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-7_1_3_line_18 |  | 15 | 28 | 0.0062289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-7_1_3_line_19 |  | 15 | 26 | 0.02381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-7_1_3_line_20 |  | 16 | 17 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-7_1_3_line_21 |  | 16 | 18 | 0.0051464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-7_1_3_line_22 |  | 17 | 19 | 0.0059353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-7_1_3_line_23 |  | 18 | 20 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-7_1_3_line_24 |  | 19 | 21 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-7_1_3_line_25 |  | 19 | 22 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-7_1_3_line_26 |  | 20 | 23 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-7_1_3_line_27 |  | 21 | 41 | 0.02519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-7_1_3_line_28 |  | 21 | 42 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-7_1_3_line_29 |  | 22 | 43 | 0.0032077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-7_1_3_line_30 |  | 23 | 55 | 5.4381e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-7_1_3_line_31 |  | 24 | 25 | 0.0015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-7_1_3_line_32 |  | 24 | 26 | 0.022395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-7_1_3_line_33 |  | 25 | 27 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-7_1_3_line_34 |  | 28 | 40 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-7_1_3_line_35 |  | 29 | 30 | 0.031697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-7_1_3_line_36 |  | 30 | 31 | 0.027435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-7_1_3_line_37 |  | 31 | 32 | 0.031666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-7_1_3_line_38 |  | 33 | 34 | 0.027985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_121-7_1_3_line_39 |  | 33 | 35 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-7_1_3_line_40 |  | 34 | 36 | 0.0088491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_121-7_1_3_line_41 |  | 35 | 37 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-7_1_3_line_42 |  | 36 | 38 | 0.0078086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-7_1_3_line_43 |  | 36 | 39 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-7_1_3_line_44 |  | 38 | 52 | 0.010676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-7_1_3_line_45 |  | 39 | 49 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-7_1_3_line_46 |  | 39 | 56 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-7_1_3_line_47 |  | 40 | 48 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-7_1_3_line_48 |  | 41 | 67 | 0.0081629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-7_1_3_line_49 |  | 42 | 69 | 0.020716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-7_1_3_line_50 |  | 44 | 45 | 0.0013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-7_1_3_line_51 |  | 45 | 46 | 0.0089772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-7_1_3_line_52 |  | 46 | 47 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-7_1_3_line_53 |  | 47 | 60 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_121-7_1_3_line_54 |  | 48 | 49 | 0.012359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_121-7_1_3_line_55 |  | 50 | 51 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_121-7_1_3_line_56 |  | 50 | 52 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_121-7_1_3_line_57 |  | 51 | 53 | 0.0019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_121-7_1_3_line_58 |  | 53 | 54 | 0.036556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_121-7_1_3_line_59 |  | 55 | 57 | 0.0049497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_121-7_1_3_line_60 |  | 57 | 58 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_121-7_1_3_line_61 |  | 58 | 59 | 0.0028806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_121-7_1_3_line_62 |  | 59 | 60 | 0.0022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_121-7_1_3_line_63 |  | 62 | 63 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_121-7_1_3_line_64 |  | 62 | 64 | 0.036045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_121-7_1_3_line_65 |  | 64 | 65 | 0.024426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_121-7_1_3_line_66 |  | 64 | 66 | 0.13068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_121-7_1_3_line_67 |  | 65 | 67 | 0.031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_121-7_1_3_line_68 |  | 66 | 68 | 0.099066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_121-7_1_3_line_69 |  | 69 | 70 | 0.0043144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_121-7_1_3_line_70 |  | 70 | 71 | 0.0072935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-7_1_3_trafo_87 | 0.63 MVA 20/0.4 kV | 72 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2702430.9713 | 1242122.0208 | 2702426.6108 | 1242123.9149
1 | 2702430.9713 | 1242122.0208 | 2702438.8078 | 1242134.8499
2 | 2702387.8028 | 1242133.0845 | 2702399.3879 | 1242131.6833 | 2702410.7126 | 1242129.1656 | 2702421.517 | 1242126.1275 | 2702426.6108 | 1242123.9149
3 | 2702445.727 | 1242147.6175 | 2702443.8908 | 1242143.1712 | 2702438.8078 | 1242134.8499
4 | 2702384.1176 | 1242028.5736 | 2702388.2344 | 1242043.7008 | 2702389.2548 | 1242059.0524 | 2702389.2427 | 1242083.723
5 | 2702384.1176 | 1242028.5736 | 2702373.4994 | 1242033.9613 | 2702356.2152 | 1242041.9641
6 | 2702389.239 | 1242091.2131 | 2702389.2427 | 1242083.723
7 | 2702356.2152 | 1242041.9641 | 2702356.1752 | 1242041.9826
8 | 2702187.0957 | 1242005.6718 | 2702164.4206 | 1242024.9185 | 2702142.091 | 1242044.3047 | 2702132.8352 | 1242052.6963 | 2702119.8851 | 1242064.427 | 2702123.0167 | 1242067.4276 | 2702125.6696 | 1242068.8077 | 2702128.906 | 1242070.1088 | 2702171.8014 | 1242082.7902
9 | 2702187.0957 | 1242005.6718 | 2702205.1122 | 1241989.9921 | 2702205.505 | 1241989.5736
10 | 2702171.8014 | 1242082.7902 | 2702181.3733 | 1242071.4128 | 2702190.0896 | 1242066.2478 | 2702199.9899 | 1242059.5131 | 2702200.8977 | 1242058.7725
11 | 2702171.8014 | 1242082.7902 | 2702174.3168 | 1242083.812 | 2702176.8776 | 1242084.8347 | 2702179.1521 | 1242086.2305 | 2702183.7001 | 1242089.5224 | 2702186.1669 | 1242090.7325 | 2702189.6206 | 1242091.7149 | 2702192.8221 | 1242091.9702 | 2702215.2258 | 1242092.0619
12 | 2702200.8977 | 1242058.7725 | 2702213.3378 | 1242048.6243
13 | 2702215.2258 | 1242092.0619 | 2702222.4371 | 1242092.0914 | 2702259.0238 | 1242092.5752
14 | 2702227.2584 | 1242155.0844 | 2702235.8731 | 1242159.208 | 2702237.0731 | 1242159.8522
15 | 2702227.2584 | 1242155.0844 | 2702225.4867 | 1242154.2363 | 2702205.5014 | 1242146.6964
16 | 2702244.8503 | 1242164.0278 | 2702237.0731 | 1242159.8522
17 | 2702256.1158 | 1242170.0762 | 2702244.8503 | 1242164.0278
18 | 2702256.1158 | 1242170.0762 | 2702256.6372 | 1242164.3919 | 2702256.7234 | 1242163.8783
19 | 2702256.1158 | 1242170.0762 | 2702259.3239 | 1242193.6691
20 | 2702382.8057 | 1242183.6791 | 2702381.8563 | 1242187.157 | 2702377.7746 | 1242197.5947 | 2702374.8977 | 1242203.5532
21 | 2702382.8057 | 1242183.6791 | 2702384.1611 | 1242178.7143
22 | 2702372.317 | 1242208.8981 | 2702374.8977 | 1242203.5532
23 | 2702384.1611 | 1242178.7143 | 2702384.6087 | 1242177.0745 | 2702386.3158 | 1242167.9747 | 2702386.3158 | 1242167.9747
24 | 2702372.317 | 1242208.8981 | 2702382.5002 | 1242211.1756
25 | 2702372.317 | 1242208.8981 | 2702367.2376 | 1242217.8678
26 | 2702387.4402 | 1242152.0767 | 2702387.3293 | 1242157.8844 | 2702386.3158 | 1242167.9747
27 | 2702382.5002 | 1242211.1756 | 2702383.1676 | 1242236.3565
28 | 2702382.5002 | 1242211.1756 | 2702398.0793 | 1242208.3867
29 | 2702365.6569 | 1242220.659 | 2702367.2376 | 1242217.8678
30 | 2702387.4402 | 1242152.0767 | 2702387.4402 | 1242152.0762
31 | 2702261.734 | 1242215.9181 | 2702261.7734 | 1242217.5118
32 | 2702261.734 | 1242215.9181 | 2702261.6779 | 1242213.6501 | 2702261.1551 | 1242207.136 | 2702259.3239 | 1242193.6691
33 | 2702261.7734 | 1242217.5118 | 2702261.8115 | 1242219.0565 | 2702261.659 | 1242223.9577 | 2702261.3094 | 1242227.5656 | 2702260.8441 | 1242230.8712 | 2702260.5726 | 1242231.9115
34 | 2702256.7234 | 1242163.8783 | 2702257.4377 | 1242159.6242 | 2702260.8059 | 1242144.0702 | 2702262.1267 | 1242138.5109 | 2702262.6915 | 1242136.5644
35 | 2702283.7121 | 1241991.8003 | 2702283.1426 | 1241992.3047 | 2702281.0123 | 1241993.9471 | 2702276.1612 | 1241997.266 | 2702268.2537 | 1242003.3122 | 2702260.7232 | 1242010.7326 | 2702259.4039 | 1242012.0182
36 | 2702239.2299 | 1242030.578 | 2702246.0042 | 1242025.0456 | 2702249.2183 | 1242021.9431 | 2702259.4039 | 1242012.0182
37 | 2702239.2299 | 1242030.578 | 2702232.7365 | 1242035.881 | 2702228.4598 | 1242038.3426 | 2702223.7922 | 1242041.1088 | 2702219.96 | 1242043.2222 | 2702213.3378 | 1242048.6243
38 | 2702291.8141 | 1242127.1988 | 2702293.0103 | 1242117.6715 | 2702294.5462 | 1242099.3524
39 | 2702289.622 | 1242139.8526 | 2702291.7481 | 1242127.7242 | 2702291.8141 | 1242127.1988
40 | 2702295.2855 | 1242090.5342 | 2702294.5462 | 1242099.3524
41 | 2702283.9326 | 1242164.3955 | 2702287.0761 | 1242151.7955 | 2702289.4335 | 1242140.9278 | 2702289.622 | 1242139.8526
42 | 2702295.2855 | 1242090.5342 | 2702295.6006 | 1242082.732
43 | 2702280.5692 | 1242092.8602 | 2702295.2855 | 1242090.5342
44 | 2702295.6006 | 1242082.732 | 2702295.8926 | 1242075.4997 | 2702296.7816 | 1242072.1792 | 2702296.7816 | 1242072.1792
45 | 2702280.5692 | 1242092.8602 | 2702275.9912 | 1242101.8326 | 2702272.5521 | 1242109.2124 | 2702270.5614 | 1242113.9277
46 | 2702280.5692 | 1242092.8602 | 2702259.0238 | 1242092.5752
47 | 2702262.6915 | 1242136.5644 | 2702264.1364 | 1242131.5847 | 2702266.1645 | 1242125.4749
48 | 2702383.1676 | 1242236.3565 | 2702383.3839 | 1242244.5165
49 | 2702398.0793 | 1242208.3867 | 2702418.4711 | 1242204.7364
50 | 2702389.239 | 1242091.2131 | 2702389.2384 | 1242092.5482
51 | 2702388.9678 | 1242101.5204 | 2702389.2376 | 1242094.2126 | 2702389.2384 | 1242092.5482
52 | 2702388.9678 | 1242101.5204 | 2702388.4945 | 1242114.3445
53 | 2702387.9904 | 1242128.0009 | 2702388.4945 | 1242114.3445
54 | 2702266.1645 | 1242125.4749 | 2702266.856 | 1242123.3919 | 2702269.793 | 1242115.7477 | 2702270.5614 | 1242113.9277
55 | 2702305.9126 | 1242063.7677 | 2702320.917 | 1242057.389
56 | 2702305.9126 | 1242063.7677 | 2702301.423 | 1242065.6764 | 2702298.4308 | 1242068.6271 | 2702296.7816 | 1242072.1792
57 | 2702320.917 | 1242057.389 | 2702322.6889 | 1242056.6357
58 | 2702356.1752 | 1242041.9826 | 2702345.1602 | 1242047.0827 | 2702322.6889 | 1242056.6357
59 | 2702387.4402 | 1242152.0762 | 2702387.5347 | 1242147.1273
60 | 2702387.8028 | 1242133.0845 | 2702387.5347 | 1242147.1273
61 | 2702387.8028 | 1242133.0845 | 2702387.9091 | 1242130.2059
62 | 2702387.9091 | 1242130.2059 | 2702387.9904 | 1242128.0009
63 | 2702441.2426 | 1242272.2286 | 2702452.1051 | 1242268.3914
64 | 2702411.7978 | 1242292.2547 | 2702416.3047 | 1242287.4065 | 2702421.4997 | 1242282.9928 | 2702428.304 | 1242278.2065 | 2702436.2401 | 1242273.9958 | 2702441.2426 | 1242272.2286
65 | 2702411.7978 | 1242292.2547 | 2702405.9779 | 1242286.4498 | 2702398.2908 | 1242272.1831
66 | 2702315.1356 | 1242369.5918 | 2702326.9109 | 1242363.7125 | 2702342.6006 | 1242354.0199 | 2702384.1211 | 1242327.0708 | 2702391.8285 | 1242322.9672 | 2702402.8251 | 1242318.409 | 2702402.1678 | 1242312.2485 | 2702402.7639 | 1242307.4995 | 2702404.1478 | 1242303.1089 | 2702406.7423 | 1242298.2277 | 2702411.7978 | 1242292.2547
67 | 2702383.3839 | 1242244.5165 | 2702383.3839 | 1242244.5165 | 2702398.2908 | 1242272.1831
68 | 2702315.1356 | 1242369.5918 | 2702312.6382 | 1242360.9643 | 2702311.0252 | 1242354.0978 | 2702310.0616 | 1242344.6517 | 2702310.2404 | 1242336.9155 | 2702311.3537 | 1242329.7958 | 2702313.7154 | 1242318.6835 | 2702316.8603 | 1242307.7515 | 2702319.934 | 1242299.6316 | 2702325.0977 | 1242287.8226 | 2702331.4206 | 1242274.9995
69 | 2702418.4711 | 1242204.7364 | 2702422.7179 | 1242203.9762
70 | 2702429.8973 | 1242202.691 | 2702422.7179 | 1242203.9762

## bus_geodata
| x | y | coords
0 | 2702430.9713 | 1242122.0208
1 | 2702426.6108 | 1242123.9149
2 | 2702438.8078 | 1242134.8499
3 | 2702384.1176 | 1242028.5736
4 | 2702389.2427 | 1242083.723
5 | 2702356.2152 | 1242041.9641
6 | 2702187.0957 | 1242005.6718
7 | 2702171.8014 | 1242082.7902
8 | 2702205.505 | 1241989.5736
9 | 2702200.8977 | 1242058.7725
10 | 2702215.2258 | 1242092.0619
11 | 2702227.2584 | 1242155.0844
12 | 2702237.0731 | 1242159.8522
13 | 2702205.5014 | 1242146.6964
14 | 2702244.8503 | 1242164.0278
15 | 2702256.1158 | 1242170.0762
16 | 2702382.8057 | 1242183.6791
17 | 2702374.8977 | 1242203.5532
18 | 2702384.1611 | 1242178.7143
19 | 2702372.317 | 1242208.8981
20 | 2702386.3158 | 1242167.9747
21 | 2702382.5002 | 1242211.1756
22 | 2702367.2376 | 1242217.8678
23 | 2702387.4402 | 1242152.0767
24 | 2702261.734 | 1242215.9181
25 | 2702261.7734 | 1242217.5118
26 | 2702259.3239 | 1242193.6691
27 | 2702260.5726 | 1242231.9115
28 | 2702256.7234 | 1242163.8783
29 | 2702283.7121 | 1241991.8003
30 | 2702259.4039 | 1242012.0182
31 | 2702239.2299 | 1242030.578
32 | 2702213.3378 | 1242048.6243
33 | 2702291.8141 | 1242127.1988
34 | 2702294.5462 | 1242099.3524
35 | 2702289.622 | 1242139.8526
36 | 2702295.2855 | 1242090.5342
37 | 2702283.9326 | 1242164.3955
38 | 2702295.6006 | 1242082.732
39 | 2702280.5692 | 1242092.8602
40 | 2702262.6915 | 1242136.5644
41 | 2702383.1676 | 1242236.3565
42 | 2702398.0793 | 1242208.3867
43 | 2702365.6569 | 1242220.659
44 | 2702389.239 | 1242091.2131
45 | 2702389.2384 | 1242092.5482
46 | 2702388.9678 | 1242101.5204
47 | 2702388.4945 | 1242114.3445
48 | 2702266.1645 | 1242125.4749
49 | 2702270.5614 | 1242113.9277
50 | 2702305.9126 | 1242063.7677
51 | 2702320.917 | 1242057.389
52 | 2702296.7816 | 1242072.1792
53 | 2702322.6889 | 1242056.6357
54 | 2702356.1752 | 1242041.9826
55 | 2702387.4402 | 1242152.0762
56 | 2702259.0238 | 1242092.5752
57 | 2702387.5347 | 1242147.1273
58 | 2702387.8028 | 1242133.0845
59 | 2702387.9091 | 1242130.2059
60 | 2702387.9904 | 1242128.0009
61 | 2702445.727 | 1242147.6175
62 | 2702441.2426 | 1242272.2286
63 | 2702452.1051 | 1242268.3914
64 | 2702411.7978 | 1242292.2547
65 | 2702398.2908 | 1242272.1831
66 | 2702315.1356 | 1242369.5918
67 | 2702383.3839 | 1242244.5165
68 | 2702331.4206 | 1242274.9995
69 | 2702418.4711 | 1242204.7364
70 | 2702422.7179 | 1242203.9762
71 | 2702429.8973 | 1242202.691
72 | 2702295.2855 | 1242090.5342

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98422 | -0.30355 | 0 | 0
1 | 0.98423 | -0.30333 | 0.00088452 | 0.00022168
2 | 0.98418 | -0.30423 | 0.001338 | 0.00033532
3 | 0.98943 | -0.20236 | 0 | 0
4 | 0.98652 | -0.25867 | 0.0020976 | 0.0005257
5 | 0.99105 | -0.17124 | 0.010489 | 0.0026287
6 | 0.99378 | -0.1194 | 0 | 0
7 | 0.99392 | -0.11654 | 0 | 0
8 | 0.99375 | -0.11988 | 0.0011181 | 0.00028023
9 | 0.99319 | -0.13076 | 0.0031848 | 0.00079818
10 | 0.99485 | -0.098613 | 0.0034756 | 0.00087107
11 | 0.99437 | -0.10802 | 0.0015364 | 0.00038506
12 | 0.99441 | -0.10716 | 0.0025257 | 0.00063301
13 | 0.99431 | -0.10924 | 0.0029573 | 0.00074117
14 | 0.99447 | -0.10606 | 0.0025821 | 0.00064712
15 | 0.99458 | -0.1039 | 0 | 0
16 | 0.98269 | -0.3333 | 0.0011925 | 0.00029886
17 | 0.98208 | -0.34527 | 0.0022734 | 0.00056978
18 | 0.98285 | -0.33032 | 0.0012903 | 0.00032338
19 | 0.98192 | -0.34834 | 0 | 0
20 | 0.98318 | -0.32371 | 0.0015057 | 0.00037737
21 | 0.9817 | -0.35265 | 0 | 0
22 | 0.98187 | -0.34941 | 0.0017939 | 0.00044959
23 | 0.9837 | -0.31368 | 0.00098117 | 0.0002459
24 | 0.9944 | -0.10732 | 0.00054516 | 0.00013663
25 | 0.9944 | -0.10737 | 0.00085574 | 0.00021447
26 | 0.99445 | -0.10647 | 0.003973 | 0.00099572
27 | 0.99439 | -0.10756 | 0.00075434 | 0.00018906
28 | 0.99467 | -0.10217 | 0.0037643 | 0.00094343
29 | 0.99207 | -0.15246 | 0.0053986 | 0.001353
30 | 0.99222 | -0.14943 | 0.0050236 | 0.001259
31 | 0.99249 | -0.14436 | 0.0047786 | 0.0011976
32 | 0.99293 | -0.13585 | 0.0027307 | 0.00068439
33 | 1 | 0 | -0.1673 | -0.04207
34 | 0.99797 | -0.038702 | 0.002542 | 0.00063707
35 | 0.99993 | -0.0013111 | 0.0030409 | 0.00076212
36 | 0.99734 | -0.050775 | 0 | 0
37 | 0.99987 | -0.0025478 | 0.0028149 | 0.00070549
38 | 0.99668 | -0.063367 | 0.0038492 | 0.00096469
39 | 0.99647 | -0.06741 | 0 | 0
40 | 0.99517 | -0.092571 | 0.0047373 | 0.0011873
41 | 0.98135 | -0.35959 | 0.0017278 | 0.00043304
42 | 0.98159 | -0.35484 | 0.0013047 | 0.00032699
43 | 0.98186 | -0.34964 | 0.0039569 | 0.00099169
44 | 0.98615 | -0.26598 | 0.0033512 | 0.00083988
45 | 0.98609 | -0.2672 | 0.0030406 | 0.00076204
46 | 0.98569 | -0.27494 | 0.0012412 | 0.00031108
47 | 0.98513 | -0.28573 | 0.0010229 | 0.00025637
48 | 0.99542 | -0.087615 | 0.0050331 | 0.0012614
49 | 0.99575 | -0.081254 | 0.0045046 | 0.001129
50 | 0.99481 | -0.098998 | 0.0043521 | 0.0010907
51 | 0.99362 | -0.12177 | 0.0023517 | 0.00058938
52 | 0.99581 | -0.079888 | 0.0045493 | 0.0011402
53 | 0.99349 | -0.12439 | 0.0045501 | 0.0011404
54 | 0.99105 | -0.17118 | 0.0052502 | 0.0013158
55 | 0.9837 | -0.31368 | 0.0008038 | 0.00020145
56 | 0.99588 | -0.078792 | 0.0043504 | 0.0010903
57 | 0.98387 | -0.31041 | 0.0010357 | 0.00025957
58 | 0.98435 | -0.30087 | 0 | 0
59 | 0.98446 | -0.29874 | 0.0030549 | 0.00076563
60 | 0.98455 | -0.29698 | 0.0016104 | 0.00040361
61 | 0.98417 | -0.30455 | 0.0011956 | 0.00029964
62 | 0.98057 | -0.37486 | 0.0022071 | 0.00055315
63 | 0.98054 | -0.37538 | 0.0024741 | 0.00062006
64 | 0.98073 | -0.3718 | 0 | 0
65 | 0.98089 | -0.36865 | 0.0053015 | 0.0013287
66 | 0.98043 | -0.37756 | 0 | 0
67 | 0.98125 | -0.36159 | 0.0010885 | 0.00027279
68 | 0.98021 | -0.38192 | 0.0024249 | 0.00060773
69 | 0.98147 | -0.35722 | 0.0012508 | 0.00031348
70 | 0.98145 | -0.35762 | 0.0038866 | 0.00097407
71 | 0.98144 | -0.35778 | 0.0012173 | 0.00030509
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025336 | -0.00063465 | 0.0025336 | 0.0006346 | 2.6156e-08 | -4.3677e-08 | 0.0038304 | 0.0038304 | 0.0038304 | 0.98422 | -0.30355 | 0.98423 | -0.30333 | 1.0523
1 | 0.0025336 | 0.00063465 | -0.0025335 | -0.00063478 | 8.2713e-08 | -1.381e-07 | 0.0038304 | 0.0038305 | 0.0038305 | 0.98422 | -0.30355 | 0.98418 | -0.30423 | 1.0523
2 | -0.0034182 | -0.00085628 | 0.0034186 | 0.00085603 | 4.0103e-07 | -2.5236e-07 | 0.0051676 | 0.0051675 | 0.0051676 | 0.98423 | -0.30333 | 0.98435 | -0.30087 | 1.4197
3 | 0.0011956 | 0.00029946 | -0.0011956 | -0.00029964 | 1.7842e-08 | -1.7362e-07 | 0.0018076 | 0.0018076 | 0.0018076 | 0.98418 | -0.30423 | 0.98417 | -0.30455 | 0.4966
4 | 0.056901 | 0.014387 | -0.056748 | -0.01429 | 0.00015321 | 9.734e-05 | 0.085618 | 0.085619 | 0.085619 | 0.98943 | -0.20236 | 0.98652 | -0.25867 | 23.5216
5 | -0.056901 | -0.014387 | 0.056986 | 0.014441 | 8.509e-05 | 5.406e-05 | 0.085618 | 0.085618 | 0.085618 | 0.98943 | -0.20236 | 0.99105 | -0.17124 | 23.5215
6 | 0.05465 | 0.013764 | -0.054631 | -0.013752 | 1.9096e-05 | 1.2126e-05 | 0.082455 | 0.082455 | 0.082455 | 0.98652 | -0.25867 | 0.98615 | -0.26598 | 22.6524
7 | -0.067474 | -0.01707 | 0.067475 | 0.01707 | 1.6984e-07 | 1.0813e-07 | 0.10137 | 0.10137 | 0.10137 | 0.99105 | -0.17124 | 0.99105 | -0.17118 | 27.8479
8 | -0.0011181 | -0.00027993 | 0.0011183 | 0.00027815 | 1.5216e-07 | -1.7793e-06 | 0.0016741 | 0.0016735 | 0.0016741 | 0.99378 | -0.1194 | 0.99392 | -0.11654 | 0.45993
9 | 0.0011181 | 0.00027993 | -0.0011181 | -0.00028023 | 2.5708e-08 | -3.0043e-07 | 0.0016741 | 0.0016742 | 0.0016742 | 0.99378 | -0.1194 | 0.99375 | -0.11988 | 0.45996
10 | 0.021145 | 0.0053084 | -0.02113 | -0.0052997 | 1.4337e-05 | 8.6819e-06 | 0.031659 | 0.031659 | 0.031659 | 0.99392 | -0.11654 | 0.99319 | -0.13076 | 8.6975
11 | -0.022263 | -0.0055865 | 0.022282 | 0.0055981 | 1.9044e-05 | 1.1595e-05 | 0.033332 | 0.033332 | 0.033332 | 0.99392 | -0.11654 | 0.99485 | -0.098613 | 9.1572
12 | 0.017945 | 0.0045015 | -0.017941 | -0.004499 | 4.3524e-06 | 2.5778e-06 | 0.026888 | 0.026888 | 0.026888 | 0.99319 | -0.13076 | 0.99293 | -0.13585 | 7.3867
13 | -0.025757 | -0.0064692 | 0.025782 | 0.0064842 | 2.4385e-05 | 1.5037e-05 | 0.038531 | 0.03853 | 0.038531 | 0.99485 | -0.098613 | 0.99588 | -0.078792 | 10.5853
14 | -0.0044939 | -0.001126 | 0.0044941 | 0.001126 | 1.8506e-07 | -2.3125e-08 | 0.0067248 | 0.0067248 | 0.0067248 | 0.99437 | -0.10802 | 0.99441 | -0.10716 | 1.8475
15 | 0.0029575 | 0.00074098 | -0.0029573 | -0.00074117 | 1.7132e-07 | -1.929e-07 | 0.0044256 | 0.0044257 | 0.0044257 | 0.99437 | -0.10802 | 0.99431 | -0.10924 | 1.2159
16 | -0.0070198 | -0.001759 | 0.0070202 | 0.0017591 | 3.6524e-07 | 1.1923e-07 | 0.010504 | 0.010504 | 0.010504 | 0.99441 | -0.10716 | 0.99447 | -0.10606 | 2.8858
17 | -0.0096022 | -0.0024063 | 0.0096032 | 0.0024067 | 9.8981e-07 | 4.6756e-07 | 0.014368 | 0.014368 | 0.014368 | 0.99447 | -0.10606 | 0.99458 | -0.1039 | 3.9472
18 | -0.015732 | -0.0039424 | 0.015734 | 0.0039431 | 1.2941e-06 | 7.4735e-07 | 0.023537 | 0.023537 | 0.023537 | 0.99458 | -0.1039 | 0.99467 | -0.10217 | 6.4663
19 | 0.0061291 | 0.0015356 | -0.0061283 | -0.0015354 | 7.5076e-07 | 1.7154e-07 | 0.0091697 | 0.0091698 | 0.0091698 | 0.99458 | -0.1039 | 0.99445 | -0.10647 | 2.5192
20 | 0.03095 | 0.0077671 | -0.030932 | -0.0077561 | 1.7652e-05 | 1.1026e-05 | 0.046868 | 0.046868 | 0.046868 | 0.98269 | -0.3333 | 0.98208 | -0.34527 | 12.8759
21 | -0.032142 | -0.008066 | 0.032147 | 0.0080689 | 4.5722e-06 | 2.861e-06 | 0.048674 | 0.048674 | 0.048674 | 0.98269 | -0.3333 | 0.98285 | -0.33032 | 13.3719
22 | 0.028658 | 0.0071863 | -0.028654 | -0.0071837 | 4.1969e-06 | 2.6109e-06 | 0.043424 | 0.043424 | 0.043424 | 0.98208 | -0.34527 | 0.98192 | -0.34834 | 11.9296
23 | -0.033437 | -0.0083922 | 0.033447 | 0.0083988 | 1.0533e-05 | 6.6021e-06 | 0.050627 | 0.050627 | 0.050627 | 0.98285 | -0.33032 | 0.98318 | -0.32371 | 13.9086
24 | 0.022903 | 0.0057424 | -0.022898 | -0.0057395 | 4.7005e-06 | 2.8767e-06 | 0.034708 | 0.034708 | 0.034708 | 0.98192 | -0.34834 | 0.9817 | -0.35265 | 9.5353
25 | 0.0057511 | 0.0014413 | -0.0057508 | -0.0014413 | 2.9361e-07 | 5.7527e-08 | 0.0087152 | 0.0087153 | 0.0087153 | 0.98192 | -0.34834 | 0.98187 | -0.34941 | 2.3943
26 | -0.034953 | -0.0087762 | 0.03497 | 0.0087867 | 1.6742e-05 | 1.0512e-05 | 0.052906 | 0.052906 | 0.052906 | 0.98318 | -0.32371 | 0.9837 | -0.31368 | 14.5346
27 | 0.015237 | 0.0038195 | -0.015232 | -0.0038166 | 5.039e-06 | 2.9066e-06 | 0.023096 | 0.023096 | 0.023096 | 0.9817 | -0.35265 | 0.98135 | -0.35959 | 6.3451
28 | 0.0076611 | 0.0019201 | -0.0076603 | -0.0019198 | 8.0031e-07 | 3.1211e-07 | 0.011612 | 0.011612 | 0.011612 | 0.9817 | -0.35265 | 0.98159 | -0.35484 | 3.1902
29 | 0.0039569 | 0.00099168 | -0.0039569 | -0.00099169 | 4.3257e-08 | -1.2886e-08 | 0.0059967 | 0.0059967 | 0.0059967 | 0.98187 | -0.34941 | 0.98186 | -0.34964 | 1.6474
30 | -0.035951 | -0.0090326 | 0.035951 | 0.0090326 | 6.0328e-10 | 3.861e-10 | 0.05439 | 0.05439 | 0.05439 | 0.9837 | -0.31368 | 0.9837 | -0.31368 | 14.9424
31 | 0.0016101 | 0.00040332 | -0.0016101 | -0.00040334 | 3.4701e-09 | -1.8461e-08 | 0.0024093 | 0.0024093 | 0.0024093 | 0.9944 | -0.10732 | 0.9944 | -0.10737 | 0.66188
32 | -0.0021553 | -0.00053995 | 0.0021553 | 0.00053972 | 8.7342e-08 | -2.3464e-07 | 0.003225 | 0.0032249 | 0.003225 | 0.9944 | -0.10732 | 0.99445 | -0.10647 | 0.886
33 | 0.00075435 | 0.00018887 | -0.00075434 | -0.00018906 | 6.9218e-09 | -1.835e-07 | 0.0011287 | 0.0011288 | 0.0011288 | 0.9944 | -0.10737 | 0.99439 | -0.10756 | 0.31011
34 | -0.019498 | -0.0048865 | 0.019507 | 0.0048919 | 8.9236e-06 | 5.3479e-06 | 0.029169 | 0.029169 | 0.029169 | 0.99467 | -0.10217 | 0.99517 | -0.092571 | 8.0134
35 | -0.0053986 | -0.001353 | 0.0053994 | 0.0013531 | 7.7935e-07 | 8.9452e-08 | 0.0080974 | 0.0080973 | 0.0080974 | 0.99207 | -0.15246 | 0.99222 | -0.14943 | 2.2246
36 | -0.010423 | -0.0026121 | 0.010426 | 0.0026134 | 2.5137e-06 | 1.2543e-06 | 0.015631 | 0.015631 | 0.015631 | 0.99222 | -0.14943 | 0.99249 | -0.14436 | 4.2943
37 | -0.015204 | -0.003811 | 0.01521 | 0.0038146 | 6.1706e-06 | 3.5398e-06 | 0.022795 | 0.022795 | 0.022795 | 0.99249 | -0.14436 | 0.99293 | -0.13585 | 6.2625
38 | 0.15979 | 0.040602 | -0.15949 | -0.040413 | 0.00029714 | 0.00018944 | 0.23797 | 0.23797 | 0.23797 | 1 | 0 | 0.99797 | -0.038702 | 32.6878
39 | 0.0058564 | 0.0014674 | -0.005856 | -0.0014674 | 3.6573e-07 | 6.5588e-08 | 0.0087143 | 0.0087143 | 0.0087143 | 1 | 0 | 0.99993 | -0.0013111 | 2.394
40 | 0.15695 | 0.039775 | -0.15686 | -0.039717 | 9.0989e-05 | 5.8002e-05 | 0.23418 | 0.23418 | 0.23418 | 0.99797 | -0.038702 | 0.99734 | -0.050775 | 32.1672
41 | 0.0028151 | 0.00070527 | -0.0028149 | -0.00070549 | 1.6583e-07 | -2.2439e-07 | 0.0041891 | 0.0041892 | 0.0041892 | 0.99993 | -0.0013111 | 0.99987 | -0.0025478 | 1.1509
42 | 0.092842 | 0.023608 | -0.092786 | -0.023572 | 5.6283e-05 | 3.592e-05 | 0.13864 | 0.13864 | 0.13864 | 0.99734 | -0.050775 | 0.99668 | -0.063367 | 38.0879
43 | 0.064018 | 0.01611 | -0.063967 | -0.016077 | 5.0849e-05 | 3.235e-05 | 0.095537 | 0.095538 | 0.095538 | 0.99734 | -0.050775 | 0.99647 | -0.06741 | 26.2466
44 | 0.088937 | 0.022607 | -0.088866 | -0.022562 | 7.0702e-05 | 4.511e-05 | 0.13289 | 0.13289 | 0.13289 | 0.99668 | -0.063367 | 0.99581 | -0.079888 | 36.5092
45 | 0.033819 | 0.0084926 | -0.033796 | -0.0084786 | 2.232e-05 | 1.3981e-05 | 0.050507 | 0.050507 | 0.050507 | 0.99647 | -0.06741 | 0.99575 | -0.081254 | 13.8756
46 | 0.030149 | 0.0075848 | -0.030132 | -0.0075746 | 1.6385e-05 | 1.0206e-05 | 0.045031 | 0.045031 | 0.045031 | 0.99647 | -0.06741 | 0.99588 | -0.078792 | 12.3711
47 | -0.024244 | -0.0060792 | 0.02425 | 0.0060827 | 5.728e-06 | 3.5149e-06 | 0.036252 | 0.036252 | 0.036252 | 0.99517 | -0.092571 | 0.99542 | -0.087615 | 9.9593
48 | 0.013504 | 0.0033835 | -0.013503 | -0.0033828 | 1.2835e-06 | 7.1829e-07 | 0.020476 | 0.020476 | 0.020476 | 0.98135 | -0.35959 | 0.98125 | -0.36159 | 5.6254
49 | 0.0063555 | 0.0015928 | -0.0063548 | -0.0015926 | 7.211e-07 | 1.9967e-07 | 0.0096345 | 0.0096346 | 0.0096346 | 0.98159 | -0.35484 | 0.98147 | -0.35722 | 2.6469
50 | 0.05128 | 0.012912 | -0.051277 | -0.01291 | 2.9993e-06 | 1.9025e-06 | 0.077398 | 0.077398 | 0.077398 | 0.98615 | -0.26598 | 0.98609 | -0.2672 | 21.2632
51 | 0.048236 | 0.012148 | -0.048218 | -0.012137 | 1.7847e-05 | 1.1307e-05 | 0.07281 | 0.07281 | 0.07281 | 0.98609 | -0.2672 | 0.98569 | -0.27494 | 20.0027
52 | 0.046977 | 0.011826 | -0.046953 | -0.01181 | 2.4215e-05 | 1.5334e-05 | 0.070936 | 0.070936 | 0.070936 | 0.98569 | -0.27494 | 0.98513 | -0.28573 | 19.488
53 | 0.04593 | 0.011554 | -0.045905 | -0.011538 | 2.4676e-05 | 1.5619e-05 | 0.069391 | 0.069391 | 0.069391 | 0.98513 | -0.28573 | 0.98455 | -0.29698 | 19.0635
54 | -0.029283 | -0.0073441 | 0.029292 | 0.0073496 | 8.8816e-06 | 5.5235e-06 | 0.043776 | 0.043776 | 0.043776 | 0.99542 | -0.087615 | 0.99575 | -0.081254 | 12.0263
55 | 0.079887 | 0.020282 | -0.0798 | -0.020226 | 8.7435e-05 | 5.5747e-05 | 0.11959 | 0.11959 | 0.11959 | 0.99481 | -0.098998 | 0.99362 | -0.12177 | 32.8533
56 | -0.08424 | -0.021372 | 0.084317 | 0.021422 | 7.7496e-05 | 4.9428e-05 | 0.1261 | 0.1261 | 0.1261 | 0.99481 | -0.098998 | 0.99581 | -0.079888 | 34.6417
57 | 0.077448 | 0.019637 | -0.077439 | -0.01963 | 9.7262e-06 | 6.1998e-06 | 0.11606 | 0.11606 | 0.11606 | 0.99362 | -0.12177 | 0.99349 | -0.12439 | 31.8858
58 | 0.072888 | 0.01849 | -0.072725 | -0.018386 | 0.00016362 | 0.00010424 | 0.10925 | 0.10925 | 0.10925 | 0.99349 | -0.12439 | 0.99105 | -0.17118 | 30.0136
59 | -0.036755 | -0.0092341 | 0.036761 | 0.0092377 | 5.7393e-06 | 3.6103e-06 | 0.055606 | 0.055606 | 0.055606 | 0.9837 | -0.31368 | 0.98387 | -0.31041 | 15.2764
60 | -0.037796 | -0.0094973 | 0.037813 | 0.0095081 | 1.7216e-05 | 1.084e-05 | 0.057173 | 0.057172 | 0.057173 | 0.98387 | -0.31041 | 0.98435 | -0.30087 | 15.7067
61 | -0.041232 | -0.010364 | 0.041236 | 0.010367 | 4.1981e-06 | 2.6501e-06 | 0.06234 | 0.06234 | 0.06234 | 0.98435 | -0.30087 | 0.98446 | -0.29874 | 17.1264
62 | -0.044291 | -0.011132 | 0.044295 | 0.011135 | 3.7096e-06 | 2.3461e-06 | 0.066957 | 0.066957 | 0.066957 | 0.98446 | -0.29874 | 0.98455 | -0.29698 | 18.3949
63 | 0.0024741 | 0.00061996 | -0.0024741 | -0.00062006 | 6.0898e-08 | -1.0634e-07 | 0.0037545 | 0.0037545 | 0.0037545 | 0.98057 | -0.37486 | 0.98054 | -0.37538 | 1.0315
64 | -0.0046812 | -0.0011731 | 0.0046819 | 0.0011731 | 6.8208e-07 | -1.8224e-08 | 0.0071037 | 0.0071036 | 0.0071037 | 0.98057 | -0.37486 | 0.98073 | -0.3718 | 1.9516
65 | -0.0071079 | -0.0017787 | 0.007109 | 0.001779 | 1.0651e-06 | 3.7342e-07 | 0.010784 | 0.010784 | 0.010784 | 0.98073 | -0.3718 | 0.98089 | -0.36865 | 2.9625
66 | 0.002426 | 0.00060558 | -0.0024254 | -0.0006068 | 6.6375e-07 | -1.2237e-06 | 0.00368 | 0.0036806 | 0.0036806 | 0.98073 | -0.3718 | 0.98043 | -0.37756 | 1.0112
67 | -0.012411 | -0.0031077 | 0.012415 | 0.00311 | 4.1768e-06 | 2.2763e-06 | 0.018826 | 0.018826 | 0.018826 | 0.98089 | -0.36865 | 0.98125 | -0.36159 | 5.172
68 | 0.0024254 | 0.0006068 | -0.0024249 | -0.00060773 | 5.0333e-07 | -9.269e-07 | 0.0036806 | 0.0036811 | 0.0036811 | 0.98043 | -0.37756 | 0.98021 | -0.38192 | 1.0113
69 | 0.005104 | 0.0012791 | -0.0051039 | -0.0012791 | 9.6879e-08 | 7.4805e-09 | 0.0077382 | 0.0077382 | 0.0077382 | 0.98147 | -0.35722 | 0.98145 | -0.35762 | 2.1259
70 | 0.0012173 | 0.00030501 | -0.0012173 | -0.00030509 | 9.3167e-09 | -8.6205e-08 | 0.0018456 | 0.0018457 | 0.0018457 | 0.98145 | -0.35762 | 0.98144 | -0.35778 | 0.50705

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16982 | 0.042702

## res_load
| p_mw | q_mvar
0 | 0.00088452 | 0.00022168
1 | 0.001338 | 0.00033532
2 | 0.0020976 | 0.0005257
3 | 0.010489 | 0.0026287
4 | 0.0011181 | 0.00028023
5 | 0.0031848 | 0.00079818
6 | 0.0034756 | 0.00087107
7 | 0.0015364 | 0.00038506
8 | 0.0025257 | 0.00063301
9 | 0.0029573 | 0.00074117
10 | 0.0025821 | 0.00064712
11 | 0.0011925 | 0.00029886
12 | 0.0022734 | 0.00056978
13 | 0.0012903 | 0.00032338
14 | 0.0015057 | 0.00037737
15 | 0.0017939 | 0.00044959
16 | 0.00098117 | 0.0002459
17 | 0.00054516 | 0.00013663
18 | 0.00085574 | 0.00021447
19 | 0.003973 | 0.00099572
20 | 0.00075434 | 0.00018906
21 | 0.0037643 | 0.00094343
22 | 0.0053986 | 0.001353
23 | 0.0050236 | 0.001259
24 | 0.0047786 | 0.0011976
25 | 0.0027307 | 0.00068439
26 | 0.0025218 | 0.00063203
27 | 0.002542 | 0.00063707
28 | 0.0030409 | 0.00076212
29 | 0.0028149 | 0.00070549
30 | 0.0038492 | 0.00096469
31 | 0.0047373 | 0.0011873
32 | 0.0017278 | 0.00043304
33 | 0.0013047 | 0.00032699
34 | 0.0039569 | 0.00099169
35 | 0.0033512 | 0.00083988
36 | 0.0030406 | 0.00076204
37 | 0.0012412 | 0.00031108
38 | 0.0010229 | 0.00025637
39 | 0.0050331 | 0.0012614
40 | 0.0045046 | 0.001129
41 | 0.0043521 | 0.0010907
42 | 0.0023517 | 0.00058938
43 | 0.0045493 | 0.0011402
44 | 0.0045501 | 0.0011404
45 | 0.0052502 | 0.0013158
46 | 0.0008038 | 0.00020145
47 | 0.0043504 | 0.0010903
48 | 0.0010357 | 0.00025957
49 | 0.0030549 | 0.00076563
50 | 0.0016104 | 0.00040361
51 | 0.0011956 | 0.00029964
52 | 0.0022071 | 0.00055315
53 | 0.0024741 | 0.00062006
54 | 0.0053015 | 0.0013287
55 | 0.0010885 | 0.00027279
56 | 0.0024249 | 0.00060773
57 | 0.0012508 | 0.00031348
58 | 0.0038866 | 0.00097407
59 | 0.0012173 | 0.00030509

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1