## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-10_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-10_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_131-10_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_131-10_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_131-10_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_131-10_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_131-10_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_131-10_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_131-10_0_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_131-10_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_131-10_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_131-10_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_131-10_0_5_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_131-10_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_131-10_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_131-10_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_131-10_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_131-10_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_131-10_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_131-10_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_131-10_0_5_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_131-10_0_5_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_131-10_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_131-10_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_131-10_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_131-10_0_5_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_131-10_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_131-10_0_5_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_131-10_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_131-10_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_131-10_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_131-10_0_5_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_131-10_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_131-10_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_131-10_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_131-10_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_131-10_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_131-10_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_131-10_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_131-10_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_131-10_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_131-10_0_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_131-10_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_131-10_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_131-10_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_131-10_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_131-10_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_MV_360_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-10_0_5_load_0 | 0 | 0.065704 | 0.016467 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-10_0_5_load_4 | 4 | 0.020984 | 0.005259 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-10_0_5_load_29 | 8 | 0.028627 | 0.0071747 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-10_0_5_load_16 | 11 | 0.012591 | 0.0031557 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-10_0_5_load_50 | 12 | 0.0094345 | 0.0023645 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-10_0_5_load_37 | 17 | 0.0028505 | 0.0007144 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-10_0_5_load_41 | 18 | 0.010414 | 0.0026099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-10_0_5_load_51 | 19 | 0.011006 | 0.0027583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-10_0_5_load_49 | 20 | 0.010035 | 0.0025151 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-10_0_5_load_12 | 24 | 0.021541 | 0.0053986 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-10_0_5_load_38 | 25 | 0.016616 | 0.0041643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-10_0_5_load_48 | 27 | 0.028615 | 0.0071717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-10_0_5_load_46 | 30 | 0.0096953 | 0.0024299 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-10_0_5_load_45 | 31 | 0.021705 | 0.0054398 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-10_0_5_load_42 | 32 | 0.0097356 | 0.00244 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-10_0_5_load_13 | 33 | 0.010459 | 0.0026212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-10_0_5_load_15 | 34 | 0.01447 | 0.0036266 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-10_0_5_load_17 | 35 | 0.004275 | 0.0010714 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-10_0_5_load_18 | 36 | 0.002099 | 0.00052607 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-10_0_5_load_40 | 41 | 0.002775 | 0.00069548 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-10_0_5_load_47 | 42 | 0.013071 | 0.0032758 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-10_0_5_load_25 | 43 | 0.00083851 | 0.00021015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-10_0_5_load_39 | 44 | 0.00074095 | 0.0001857 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-10_0_5_load_26 | 45 | 0.0058256 | 0.00146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-10_0_5_load_44 | 46 | 0.0098301 | 0.0024636 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-10_0_5_line_0 |  | 0 | 1 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_131-10_0_5_line_1 |  | 0 | 2 | 0.036902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_131-10_0_5_line_2 |  | 1 | 3 | 0.005028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_131-10_0_5_line_3 |  | 1 | 4 | 0.046461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-10_0_5_line_4 |  | 2 | 5 | 0.00416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_131-10_0_5_line_5 |  | 2 | 6 | 0.037526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-10_0_5_line_6 |  | 3 | 7 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_131-10_0_5_line_7 |  | 3 | 8 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_131-10_0_5_line_8 |  | 4 | 9 | 0.045632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_131-10_0_5_line_9 |  | 5 | 10 | 0.049781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-10_0_5_line_10 |  | 5 | 11 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_131-10_0_5_line_11 |  | 6 | 12 | 0.007545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_131-10_0_5_line_12 |  | 6 | 13 | 0.045641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_131-10_0_5_line_13 |  | 6 | 14 | 0.12524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-10_0_5_line_14 |  | 7 | 20 | 0.005201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-10_0_5_line_15 |  | 7 | 21 | 0.011166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_131-10_0_5_line_16 |  | 8 | 22 | 0.0092194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_131-10_0_5_line_17 |  | 9 | 23 | 0.17495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-10_0_5_line_18 |  | 10 | 24 | 0.039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_131-10_0_5_line_19 |  | 11 | 16 | 0.11322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_131-10_0_5_line_20 |  | 13 | 19 | 0.007501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_131-10_0_5_line_21 |  | 14 | 18 | 0.0017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_131-10_0_5_line_22 |  | 15 | 16 | 0.17568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_131-10_0_5_line_23 |  | 15 | 17 | 0.050169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_131-10_0_5_line_24 |  | 17 | 25 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-10_0_5_line_25 |  | 21 | 46 | 0.004154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_131-10_0_5_line_26 |  | 22 | 26 | 0.030789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-10_0_5_line_27 |  | 23 | 40 | 0.028338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-10_0_5_line_28 |  | 24 | 33 | 0.041284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-10_0_5_line_29 |  | 26 | 27 | 0.00606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-10_0_5_line_30 |  | 26 | 28 | 0.031933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_131-10_0_5_line_31 |  | 28 | 32 | 0.019831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_131-10_0_5_line_32 |  | 28 | 29 | 0.058955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-10_0_5_line_33 |  | 29 | 30 | 0.028358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_131-10_0_5_line_34 |  | 29 | 31 | 0.021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-10_0_5_line_35 |  | 33 | 34 | 0.02947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_131-10_0_5_line_36 |  | 35 | 36 | 0.0060399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_131-10_0_5_line_37 |  | 36 | 37 | 0.028196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_131-10_0_5_line_38 |  | 37 | 38 | 0.054661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_131-10_0_5_line_39 |  | 37 | 39 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-10_0_5_line_40 |  | 38 | 42 | 0.032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-10_0_5_line_41 |  | 38 | 40 | 0.036775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_131-10_0_5_line_42 |  | 39 | 43 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_131-10_0_5_line_43 |  | 40 | 41 | 0.06849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-10_0_5_line_44 |  | 41 | 44 | 0.033456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_131-10_0_5_line_45 |  | 43 | 45 | 0.036975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-10_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 47 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2682352.6384 | 1241202.0911 | 2682344.1186 | 1241199.2264 | 2682330.6533 | 1241194.2026
1 | 2682296.0794 | 1241181.303 | 2682330.6533 | 1241194.2026
2 | 2682356.896 | 1241204.7854 | 2682352.6384 | 1241202.0911
3 | 2682352.6384 | 1241202.0911 | 2682386.54 | 1241183.3369 | 2682394.2415 | 1241183.8364
4 | 2682296.0794 | 1241181.303 | 2682296.258 | 1241177.147
5 | 2682286.8468 | 1241213.4648 | 2682289.1453 | 1241206.9364 | 2682294.697 | 1241206.2796 | 2682295.2206 | 1241196.8801 | 2682295.6035 | 1241189.9916 | 2682296.0794 | 1241181.303
6 | 2682356.896 | 1241204.7854 | 2682335.4206 | 1241222.2668
7 | 2682356.896 | 1241204.7854 | 2682366.6801 | 1241215.7068 | 2682368.9193 | 1241215.6378 | 2682375.8536 | 1241224.7013
8 | 2682439.7781 | 1241186.7895 | 2682394.2415 | 1241183.8364
9 | 2682296.258 | 1241177.147 | 2682308.459 | 1241156.1344 | 2682312.1889 | 1241130.9125
10 | 2682296.258 | 1241177.147 | 2682276.6044 | 1241169.3809
11 | 2682286.8468 | 1241213.4648 | 2682279.9172 | 1241210.4332
12 | 2682285.7275 | 1241250.0088 | 2682290.3129 | 1241237.241 | 2682293.4669 | 1241228.4562 | 2682283.0288 | 1241224.3308 | 2682284.3987 | 1241220.4247 | 2682286.8468 | 1241213.4648
13 | 2682248.3654 | 1241283.3483 | 2682242.0177 | 1241277.6118 | 2682241.1589 | 1241271.3844 | 2682238.7123 | 1241253.6933 | 2682243.6432 | 1241233.4471 | 2682243.9982 | 1241230.2053 | 2682243.3444 | 1241226.6381 | 2682243.0752 | 1241223.6989 | 2682243.8965 | 1241220.6303 | 2682246.9817 | 1241211.9002 | 2682250.2949 | 1241207.4429 | 2682284.3987 | 1241220.4247 | 2682286.8468 | 1241213.4648
14 | 2682335.4206 | 1241222.2668 | 2682332.0274 | 1241218.3169
15 | 2682326.7479 | 1241229.3294 | 2682335.4206 | 1241222.2668
16 | 2682381.4556 | 1241232.0235 | 2682375.8536 | 1241224.7013
17 | 2682453.859 | 1241281.3641 | 2682470.8679 | 1241263.721 | 2682475.5335 | 1241259.8942 | 2682479.3762 | 1241257.6126 | 2682481.6453 | 1241257.0215 | 2682484.6107 | 1241256.9293 | 2682487.7764 | 1241257.6515 | 2682490.7688 | 1241246.9188 | 2682498.3158 | 1241221.3164 | 2682499.9536 | 1241216.0909 | 2682500.5554 | 1241210.3396 | 2682500.4347 | 1241203.7888 | 2682498.7269 | 1241195.5591 | 2682499.3485 | 1241187.8289 | 2682493.3685 | 1241187.7457 | 2682445.472 | 1241186.7908 | 2682439.7781 | 1241186.7895
18 | 2682312.1889 | 1241130.9125 | 2682329.5232 | 1241115.9754 | 2682342.6952 | 1241105.3187
19 | 2682171.8703 | 1241126.4099 | 2682219.8814 | 1241146.9671 | 2682276.6044 | 1241169.3809
20 | 2682285.7275 | 1241250.0088 | 2682278.7337 | 1241247.2432
21 | 2682248.3654 | 1241283.3483 | 2682248.6694 | 1241281.6021
22 | 2682290.0153 | 1241041.73 | 2682272.7785 | 1241044.7155 | 2682267.7451 | 1241046.7027 | 2682263.571 | 1241049.9806 | 2682239.6637 | 1241074.3224 | 2682214.4253 | 1241101.9815 | 2682187.3597 | 1241085.2392 | 2682179.2461 | 1241102.7061 | 2682171.8703 | 1241126.4099
23 | 2682290.0153 | 1241041.73 | 2682289.9604 | 1241047.3222 | 2682285.6888 | 1241082.1546 | 2682282.5463 | 1241087.9263 | 2682280.4957 | 1241089.9929
24 | 2682280.4957 | 1241089.9929 | 2682275.8207 | 1241094.7046 | 2682271.8555 | 1241097.0958
25 | 2682326.7479 | 1241229.3294 | 2682323.8632 | 1241226.3317
26 | 2682359.2519 | 1241252.4079 | 2682367.537 | 1241246.0293 | 2682368.8057 | 1241245.0573 | 2682370.0328 | 1241241.0937 | 2682381.4556 | 1241232.0235
27 | 2682434.5934 | 1241294.3614 | 2682438.6982 | 1241298.2434 | 2682453.859 | 1241281.3641
28 | 2682342.6952 | 1241105.3187 | 2682364.9236 | 1241087.3348 | 2682372.2288 | 1241097.7129
29 | 2682359.2519 | 1241252.4079 | 2682355.5836 | 1241247.5757
30 | 2682336.7492 | 1241273.6443 | 2682351.5778 | 1241262.1528 | 2682358.4113 | 1241256.8549 | 2682359.2519 | 1241252.4079
31 | 2682336.7492 | 1241273.6443 | 2682324.2956 | 1241258.2114
32 | 2682311.8675 | 1241314.8511 | 2682342.9849 | 1241290.7097 | 2682336.3235 | 1241283.0674 | 2682336.7492 | 1241273.6443
33 | 2682311.8675 | 1241314.8511 | 2682316.7752 | 1241299.5637 | 2682318.5243 | 1241296.6636 | 2682320.994 | 1241294.1516 | 2682325.1615 | 1241290.7288
34 | 2682311.8675 | 1241314.8511 | 2682294.8566 | 1241328.0559
35 | 2682389.1915 | 1241121.8111 | 2682372.2288 | 1241097.7129
36 | 2682417.7725 | 1241377.7916 | 2682412.124 | 1241375.6528
37 | 2682385.7546 | 1241365.668 | 2682412.124 | 1241375.6528
38 | 2682385.7546 | 1241365.668 | 2682417.8928 | 1241321.3934
39 | 2682374.661 | 1241377.7338 | 2682379.751 | 1241373.2901 | 2682385.7546 | 1241365.668
40 | 2682417.8928 | 1241321.3934 | 2682420.8718 | 1241323.5808 | 2682433.1773 | 1241332.6025 | 2682439.8948 | 1241325.8576 | 2682442.9492 | 1241322.7976
41 | 2682417.8928 | 1241321.3934 | 2682438.6982 | 1241298.2434 | 2682434.5934 | 1241294.3614
42 | 2682374.661 | 1241377.7338 | 2682380.7595 | 1241392.6847 | 2682383.6336 | 1241399.7337
43 | 2682434.5934 | 1241294.3614 | 2682396.4138 | 1241344.0559 | 2682392.85 | 1241348.6604
44 | 2682371.397 | 1241374.2242 | 2682377.2729 | 1241368.7859 | 2682392.85 | 1241348.6604
45 | 2682383.6336 | 1241399.7337 | 2682385.4466 | 1241404.1802 | 2682386.1683 | 1241407.7484 | 2682386.1907 | 1241411.5848 | 2682385.0659 | 1241419.6194 | 2682384.1599 | 1241428.2352 | 2682384.3103 | 1241436.1534

## bus_geodata
| x | y | coords
0 | 2682330.6533 | 1241194.2026
1 | 2682352.6384 | 1241202.0911
2 | 2682296.0794 | 1241181.303
3 | 2682356.896 | 1241204.7854
4 | 2682394.2415 | 1241183.8364
5 | 2682296.258 | 1241177.147
6 | 2682286.8468 | 1241213.4648
7 | 2682335.4206 | 1241222.2668
8 | 2682375.8536 | 1241224.7013
9 | 2682439.7781 | 1241186.7895
10 | 2682312.1889 | 1241130.9125
11 | 2682276.6044 | 1241169.3809
12 | 2682279.9172 | 1241210.4332
13 | 2682285.7275 | 1241250.0088
14 | 2682248.3654 | 1241283.3483
15 | 2682290.0152 | 1241041.73
16 | 2682171.8703 | 1241126.4099
17 | 2682280.4957 | 1241089.9929
18 | 2682248.6694 | 1241281.6021
19 | 2682278.7337 | 1241247.2432
20 | 2682332.0274 | 1241218.3169
21 | 2682326.7479 | 1241229.3294
22 | 2682381.4556 | 1241232.0235
23 | 2682453.859 | 1241281.3641
24 | 2682342.6952 | 1241105.3187
25 | 2682271.8555 | 1241097.0958
26 | 2682359.2519 | 1241252.4079
27 | 2682355.5836 | 1241247.5757
28 | 2682336.7492 | 1241273.6443
29 | 2682311.8675 | 1241314.8511
30 | 2682325.1615 | 1241290.7288
31 | 2682294.8566 | 1241328.0559
32 | 2682324.2956 | 1241258.2114
33 | 2682372.2288 | 1241097.7129
34 | 2682389.1915 | 1241121.8111
35 | 2682417.7725 | 1241377.7916
36 | 2682412.124 | 1241375.6528
37 | 2682385.7546 | 1241365.668
38 | 2682417.8928 | 1241321.3934
39 | 2682374.661 | 1241377.7338
40 | 2682434.5934 | 1241294.3614
41 | 2682392.85 | 1241348.6604
42 | 2682442.9492 | 1241322.7976
43 | 2682383.6336 | 1241399.7337
44 | 2682371.397 | 1241374.2242
45 | 2682384.3103 | 1241436.1534
46 | 2682323.8632 | 1241226.3316
47 | 2682332.0274 | 1241218.3169

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99505 | -0.094771 | 0.065704 | 0.016467
1 | 0.99692 | -0.058833 | 0 | 0
2 | 0.99134 | -0.16611 | 0 | 0
3 | 0.99726 | -0.0522 | 0 | 0
4 | 0.99476 | -0.10017 | 0.020984 | 0.005259
5 | 0.99104 | -0.1719 | 0 | 0
6 | 0.99028 | -0.18667 | 0 | 0
7 | 1 | 0 | -0.34839 | -0.087967
8 | 0.99472 | -0.10115 | 0.028627 | 0.0071747
9 | 0.99352 | -0.12403 | 0 | 0
10 | 0.98891 | -0.21305 | 0 | 0
11 | 0.99041 | -0.18394 | 0.012591 | 0.0031557
12 | 0.99021 | -0.18793 | 0.0094345 | 0.0023645
13 | 0.98982 | -0.1956 | 0 | 0
14 | 0.98908 | -0.20988 | 0 | 0
15 | 0.98523 | -0.28443 | 0 | 0
16 | 0.98838 | -0.2232 | 0 | 0
17 | 0.98433 | -0.30198 | 0.0028505 | 0.0007144
18 | 0.98906 | -0.21021 | 0.010414 | 0.0026099
19 | 0.98974 | -0.19707 | 0.011006 | 0.0027583
20 | 0.99995 | -0.00090974 | 0.010035 | 0.0025151
21 | 0.9999 | -0.0019134 | 0 | 0
22 | 0.99413 | -0.11248 | 0 | 0
23 | 0.98876 | -0.21604 | 0 | 0
24 | 0.98721 | -0.24609 | 0.021541 | 0.0053986
25 | 0.98416 | -0.30535 | 0.016616 | 0.0041643
26 | 0.99216 | -0.15044 | 0 | 0
27 | 0.992 | -0.15351 | 0.028615 | 0.0071717
28 | 0.99096 | -0.17372 | 0 | 0
29 | 0.98926 | -0.20664 | 0 | 0
30 | 0.98901 | -0.21154 | 0.0096953 | 0.0024299
31 | 0.98883 | -0.21497 | 0.021705 | 0.0054398
32 | 0.99078 | -0.17715 | 0.0097356 | 0.00244
33 | 0.98626 | -0.26451 | 0.010459 | 0.0026212
34 | 0.98587 | -0.27216 | 0.01447 | 0.0036266
35 | 0.98626 | -0.26463 | 0.004275 | 0.0010714
36 | 0.98628 | -0.26417 | 0.002099 | 0.00052607
37 | 0.98645 | -0.26095 | 0 | 0
38 | 0.9871 | -0.24818 | 0 | 0
39 | 0.98635 | -0.26291 | 0 | 0
40 | 0.98798 | -0.23102 | 0 | 0
41 | 0.98776 | -0.23532 | 0.002775 | 0.00069548
42 | 0.98671 | -0.25586 | 0.013071 | 0.0032758
43 | 0.9862 | -0.26575 | 0.00083851 | 0.00021015
44 | 0.98774 | -0.23577 | 0.00074095 | 0.0001857
45 | 0.986 | -0.26961 | 0.0058256 | 0.00146
46 | 0.99986 | -0.0026252 | 0.0098301 | 0.0024636
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17585 | -0.044363 | 0.17616 | 0.044556 | 0.00030315 | 0.00019341 | 0.26308 | 0.26308 | 0.26308 | 0.99505 | -0.094771 | 0.99692 | -0.058833 | 36.1374
1 | 0.11015 | 0.027896 | -0.10977 | -0.027656 | 0.00037595 | 0.00024013 | 0.16482 | 0.16482 | 0.16482 | 0.99505 | -0.094771 | 0.99134 | -0.16611 | 45.2816
2 | -0.22709 | -0.05744 | 0.22716 | 0.057486 | 7.2291e-05 | 4.6069e-05 | 0.33915 | 0.33915 | 0.33915 | 0.99692 | -0.058833 | 0.99726 | -0.0522 | 31.0574
3 | 0.050934 | 0.012884 | -0.050833 | -0.01282 | 0.00010081 | 6.3916e-05 | 0.076067 | 0.076068 | 0.076068 | 0.99692 | -0.058833 | 0.99476 | -0.10017 | 20.8977
4 | 0.078873 | 0.019895 | -0.078851 | -0.019881 | 2.1882e-05 | 1.3951e-05 | 0.11843 | 0.11843 | 0.11843 | 0.99134 | -0.16611 | 0.99104 | -0.1719 | 32.5371
5 | 0.030902 | 0.0077606 | -0.030872 | -0.0077417 | 3.0284e-05 | 1.8899e-05 | 0.04639 | 0.04639 | 0.04639 | 0.99134 | -0.16611 | 0.99028 | -0.18667 | 12.7446
6 | -0.32605 | -0.082464 | 0.32687 | 0.082987 | 0.00081874 | 0.00052291 | 0.48676 | 0.48676 | 0.48676 | 0.99726 | -0.0522 | 1 | 0 | 44.5755
7 | 0.098887 | 0.024978 | -0.098655 | -0.02483 | 0.00023138 | 0.00014771 | 0.14762 | 0.14762 | 0.14762 | 0.99726 | -0.0522 | 0.99472 | -0.10115 | 40.5542
8 | 0.02985 | 0.0075611 | -0.029816 | -0.0075398 | 3.416e-05 | 2.127e-05 | 0.044679 | 0.044679 | 0.044679 | 0.99476 | -0.10017 | 0.99352 | -0.12403 | 12.2745
9 | 0.046662 | 0.011767 | -0.04657 | -0.011709 | 9.1701e-05 | 5.8049e-05 | 0.070087 | 0.070088 | 0.070088 | 0.99104 | -0.1719 | 0.98891 | -0.21305 | 19.2548
10 | 0.032189 | 0.0081137 | -0.032171 | -0.0081022 | 1.8524e-05 | 1.1583e-05 | 0.048348 | 0.048348 | 0.048348 | 0.99104 | -0.1719 | 0.99041 | -0.18394 | 13.2823
11 | 0.009435 | 0.0023648 | -0.0094345 | -0.0023645 | 5.687e-07 | 2.669e-07 | 0.014177 | 0.014177 | 0.014177 | 0.99028 | -0.18667 | 0.99021 | -0.18793 | 3.8949
12 | 0.011011 | 0.0027611 | -0.011006 | -0.0027587 | 4.6858e-06 | 2.412e-06 | 0.016546 | 0.016546 | 0.016546 | 0.99028 | -0.18667 | 0.98982 | -0.1956 | 4.5457
13 | 0.010425 | 0.0026158 | -0.010414 | -0.00261 | 1.1527e-05 | 5.7683e-06 | 0.015667 | 0.015667 | 0.015667 | 0.99028 | -0.18667 | 0.98908 | -0.20988 | 4.3042
14 | 0.010036 | 0.0025153 | -0.010035 | -0.0025151 | 4.3493e-07 | 2.1013e-07 | 0.014933 | 0.014933 | 0.014933 | 1 | 0 | 0.99995 | -0.00090974 | 4.1025
15 | 0.0098313 | 0.0024642 | -0.0098304 | -0.0024638 | 8.9614e-07 | 4.2705e-07 | 0.014629 | 0.014629 | 0.014629 | 1 | 0 | 0.9999 | -0.0019134 | 4.019
16 | 0.070028 | 0.017656 | -0.06999 | -0.017632 | 3.7966e-05 | 2.4179e-05 | 0.10479 | 0.10479 | 0.10479 | 0.99472 | -0.10115 | 0.99413 | -0.11248 | 28.7894
17 | 0.029816 | 0.0075398 | -0.029685 | -0.0074582 | 0.00013097 | 8.1566e-05 | 0.044679 | 0.04468 | 0.04468 | 0.99352 | -0.12403 | 0.98876 | -0.21604 | 12.2747
18 | 0.04657 | 0.011709 | -0.046497 | -0.011663 | 7.3362e-05 | 4.6442e-05 | 0.070088 | 0.070088 | 0.070088 | 0.98891 | -0.21305 | 0.98721 | -0.24609 | 19.2549
19 | 0.019579 | 0.0049464 | -0.019542 | -0.0049244 | 3.6774e-05 | 2.2081e-05 | 0.02943 | 0.029431 | 0.029431 | 0.99041 | -0.18394 | 0.98838 | -0.2232 | 8.0853
20 | 0.011006 | 0.0027587 | -0.011006 | -0.0027583 | 7.7012e-07 | 3.9647e-07 | 0.016546 | 0.016546 | 0.016546 | 0.98982 | -0.1956 | 0.98974 | -0.19707 | 4.5457
21 | 0.010414 | 0.00261 | -0.010414 | -0.0026099 | 1.6315e-07 | 8.1671e-08 | 0.015667 | 0.015667 | 0.015667 | 0.98908 | -0.20988 | 0.98906 | -0.21021 | 4.3042
22 | -0.019485 | -0.0048901 | 0.019542 | 0.0049244 | 5.7065e-05 | 3.4277e-05 | 0.029431 | 0.029431 | 0.029431 | 0.98523 | -0.28443 | 0.98838 | -0.2232 | 8.0855
23 | 0.019485 | 0.0048901 | -0.019469 | -0.0048803 | 1.6296e-05 | 9.7914e-06 | 0.029431 | 0.029432 | 0.029432 | 0.98523 | -0.28443 | 0.98433 | -0.30198 | 8.0856
24 | 0.016618 | 0.0041659 | -0.016616 | -0.0041643 | 2.6669e-06 | 1.5636e-06 | 0.025122 | 0.025123 | 0.025123 | 0.98433 | -0.30198 | 0.98416 | -0.30535 | 6.9018
25 | 0.0098304 | 0.0024638 | -0.0098301 | -0.0024636 | 3.3338e-07 | 1.5888e-07 | 0.014629 | 0.014629 | 0.014629 | 0.9999 | -0.0019134 | 0.99986 | -0.0026252 | 4.019
26 | 0.06999 | 0.017632 | -0.069863 | -0.017551 | 0.00012679 | 8.075e-05 | 0.10479 | 0.10479 | 0.10479 | 0.99413 | -0.11248 | 0.99216 | -0.15044 | 28.7894
27 | 0.029685 | 0.0074582 | -0.029663 | -0.007445 | 2.1214e-05 | 1.3214e-05 | 0.04468 | 0.04468 | 0.04468 | 0.98876 | -0.21604 | 0.98798 | -0.23102 | 12.2748
28 | 0.024956 | 0.0062643 | -0.024934 | -0.0062508 | 2.191e-05 | 1.3495e-05 | 0.03762 | 0.03762 | 0.03762 | 0.98721 | -0.24609 | 0.98626 | -0.26451 | 10.3351
29 | 0.028619 | 0.0071743 | -0.028615 | -0.0071717 | 4.1869e-06 | 2.6013e-06 | 0.042923 | 0.042923 | 0.042923 | 0.99216 | -0.15044 | 0.992 | -0.15351 | 11.7921
30 | 0.041244 | 0.010376 | -0.041198 | -0.010348 | 4.5838e-05 | 2.8925e-05 | 0.06187 | 0.06187 | 0.06187 | 0.99216 | -0.15044 | 0.99096 | -0.17372 | 16.9974
31 | 0.0097371 | 0.0024407 | -0.0097356 | -0.00244 | 1.5898e-06 | 7.6206e-07 | 0.014621 | 0.014621 | 0.014621 | 0.99096 | -0.17372 | 0.99078 | -0.17715 | 4.0169
32 | 0.031461 | 0.0079069 | -0.031411 | -0.007876 | 4.9356e-05 | 3.0829e-05 | 0.047249 | 0.047249 | 0.047249 | 0.99096 | -0.17372 | 0.98926 | -0.20664 | 12.9806
33 | 0.0096975 | 0.0024309 | -0.0096953 | -0.0024299 | 2.2628e-06 | 1.0842e-06 | 0.014587 | 0.014587 | 0.014587 | 0.98926 | -0.20664 | 0.98901 | -0.21154 | 4.0074
34 | 0.021714 | 0.0054451 | -0.021705 | -0.0054398 | 8.6152e-06 | 5.2374e-06 | 0.032662 | 0.032662 | 0.032662 | 0.98926 | -0.20664 | 0.98883 | -0.21497 | 8.9732
35 | 0.014476 | 0.0036296 | -0.01447 | -0.0036266 | 5.2715e-06 | 2.9978e-06 | 0.021841 | 0.021841 | 0.021841 | 0.98626 | -0.26451 | 0.98587 | -0.27216 | 6.0002
36 | -0.004275 | -0.0010714 | 0.0042751 | 0.0010714 | 9.4224e-08 | -1.6774e-08 | 0.0064499 | 0.0064499 | 0.0064499 | 0.98626 | -0.26463 | 0.98628 | -0.26417 | 1.772
37 | -0.0063741 | -0.0015975 | 0.0063751 | 0.0015977 | 9.7785e-07 | 2.6593e-07 | 0.0096167 | 0.0096166 | 0.0096167 | 0.98628 | -0.26417 | 0.98645 | -0.26095 | 2.642
38 | -0.013042 | -0.0032686 | 0.01305 | 0.003273 | 7.9332e-06 | 4.379e-06 | 0.019673 | 0.019673 | 0.019673 | 0.98645 | -0.26095 | 0.9871 | -0.24818 | 5.4047
39 | 0.0066667 | 0.0016709 | -0.0066661 | -0.0016707 | 6.2345e-07 | 1.8917e-07 | 0.010056 | 0.010057 | 0.010057 | 0.98645 | -0.26095 | 0.98635 | -0.26291 | 2.7628
40 | 0.013076 | 0.0032785 | -0.013071 | -0.0032758 | 4.7786e-06 | 2.6392e-06 | 0.019711 | 0.019712 | 0.019712 | 0.9871 | -0.24818 | 0.98671 | -0.25586 | 5.4152
41 | -0.026125 | -0.0065515 | 0.026147 | 0.0065647 | 2.1391e-05 | 1.322e-05 | 0.039384 | 0.039384 | 0.039384 | 0.9871 | -0.24818 | 0.98798 | -0.23102 | 10.8198
42 | 0.0066661 | 0.0016707 | -0.0066652 | -0.0016704 | 9.0109e-07 | 2.7349e-07 | 0.010057 | 0.010057 | 0.010057 | 0.98635 | -0.26291 | 0.9862 | -0.26575 | 2.7628
43 | 0.0035167 | 0.00088034 | -0.003516 | -0.00088076 | 7.2045e-07 | -4.1579e-07 | 0.0052962 | 0.0052965 | 0.0052965 | 0.98798 | -0.23102 | 0.98776 | -0.23532 | 1.4551
44 | 0.00074096 | 0.00018528 | -0.00074095 | -0.0001857 | 1.563e-08 | -4.1823e-07 | 0.0011161 | 0.0011162 | 0.0011162 | 0.98776 | -0.23532 | 0.98774 | -0.23577 | 0.30666
45 | 0.0058267 | 0.0014602 | -0.0058256 | -0.00146 | 1.0717e-06 | 2.1419e-07 | 0.0087915 | 0.0087917 | 0.0087917 | 0.9862 | -0.26575 | 0.986 | -0.26961 | 2.4153

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34839 | 0.087967

## res_load
| p_mw | q_mvar
0 | 0.065704 | 0.016467
1 | 0.020984 | 0.005259
2 | 0.028627 | 0.0071747
3 | 0.012591 | 0.0031557
4 | 0.0094345 | 0.0023645
5 | 0.0028505 | 0.0007144
6 | 0.010414 | 0.0026099
7 | 0.011006 | 0.0027583
8 | 0.010035 | 0.0025151
9 | 0.021541 | 0.0053986
10 | 0.016616 | 0.0041643
11 | 0.028615 | 0.0071717
12 | 0.0096953 | 0.0024299
13 | 0.021705 | 0.0054398
14 | 0.0097356 | 0.00244
15 | 0.010459 | 0.0026212
16 | 0.01447 | 0.0036266
17 | 0.004275 | 0.0010714
18 | 0.002099 | 0.00052607
19 | 0.002775 | 0.00069548
20 | 0.013071 | 0.0032758
21 | 0.00083851 | 0.00021015
22 | 0.00074095 | 0.0001857
23 | 0.0058256 | 0.00146
24 | 0.0098301 | 0.0024636

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1