## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-14_1_3_node_50 | 0.4 | n |  | TRUE
1 | bus_LV_131-14_1_3_node_49 | 0.4 | n |  | TRUE
2 | bus_LV_131-14_1_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_131-14_1_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_131-14_1_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_131-14_1_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_131-14_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_131-14_1_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_131-14_1_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_131-14_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_131-14_1_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_131-14_1_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_131-14_1_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_131-14_1_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_131-14_1_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_131-14_1_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_131-14_1_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_131-14_1_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_131-14_1_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_131-14_1_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_131-14_1_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_131-14_1_3_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_131-14_1_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_131-14_1_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_131-14_1_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_131-14_1_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_131-14_1_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_131-14_1_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_131-14_1_3_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_131-14_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_131-14_1_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_131-14_1_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_131-14_1_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_131-14_1_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_131-14_1_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_131-14_1_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_131-14_1_3_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_131-14_1_3_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_131-14_1_3_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_131-14_1_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_131-14_1_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_131-14_1_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_131-14_1_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_131-14_1_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_131-14_1_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_131-14_1_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_131-14_1_3_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_131-14_1_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_131-14_1_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_131-14_1_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_131-14_1_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_131-14_1_3_node_61 | 0.4 | n |  | TRUE
52 | bus_MV_360_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-14_1_3_load_50 | 0 | 0.0037089 | 0.00092954 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-14_1_3_load_49 | 1 | 0.019229 | 0.0048192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-14_1_3_load_11 | 2 | 0.01749 | 0.0043834 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-14_1_3_load_12 | 3 | 0.011393 | 0.0028552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-14_1_3_load_14 | 5 | 0.0040828 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-14_1_3_load_15 | 6 | 0.0055111 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-14_1_3_load_18 | 8 | 0.0031433 | 0.00078777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-14_1_3_load_17 | 10 | 0.0012868 | 0.00032249 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-14_1_3_load_33 | 11 | 0.0039583 | 0.00099205 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-14_1_3_load_30 | 12 | 0.0092496 | 0.0023182 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-14_1_3_load_19 | 13 | 0.001041 | 0.0002609 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-14_1_3_load_20 | 14 | 0.0069542 | 0.0017429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-14_1_3_load_28 | 15 | 0.0029343 | 0.0007354 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-14_1_3_load_29 | 16 | 0.0010125 | 0.00025377 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-14_1_3_load_31 | 18 | 0.0021589 | 0.00054106 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-14_1_3_load_67 | 20 | 0.0018938 | 0.00047462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-14_1_3_load_68 | 21 | 0.0034407 | 0.00086232 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-14_1_3_load_38 | 23 | 0.0028191 | 0.00070654 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-14_1_3_load_43 | 25 | 0.01578 | 0.0039548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-14_1_3_load_40 | 26 | 0.036037 | 0.0090317 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-14_1_3_load_48 | 27 | 0.0025418 | 0.00063704 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-14_1_3_load_66 | 28 | 0.0030145 | 0.0007555 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-14_1_3_load_45 | 29 | 0.015044 | 0.0037703 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-14_1_3_load_34 | 32 | 0.0021328 | 0.00053453 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-14_1_3_load_71 | 34 | 0.0046913 | 0.0011758 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_131-14_1_3_load_72 | 36 | 0.012415 | 0.0031115 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_131-14_1_3_load_64 | 38 | 0.0031666 | 0.00079363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_131-14_1_3_load_53 | 41 | 0.0034915 | 0.00087504 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_131-14_1_3_load_59 | 43 | 0.0020002 | 0.0005013 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_131-14_1_3_load_54 | 44 | 0.0031422 | 0.00078751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_131-14_1_3_load_62 | 47 | 0.0016471 | 0.0004128 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_131-14_1_3_load_57 | 48 | 0.0046041 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_131-14_1_3_load_58 | 49 | 0.0040132 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_131-14_1_3_load_60 | 50 | 0.0046515 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_131-14_1_3_load_61 | 51 | 0.0015431 | 0.00038673 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-14_1_3_line_0 |  | 0 | 1 | 0.029808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_131-14_1_3_line_1 |  | 1 | 39 | 0.12853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_131-14_1_3_line_2 |  | 2 | 3 | 0.0064054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-14_1_3_line_3 |  | 2 | 4 | 0.020968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-14_1_3_line_4 |  | 3 | 5 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_131-14_1_3_line_5 |  | 4 | 6 | 0.0085262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-14_1_3_line_6 |  | 4 | 7 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_131-14_1_3_line_7 |  | 6 | 8 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_131-14_1_3_line_8 |  | 7 | 9 | 0.011458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_131-14_1_3_line_9 |  | 8 | 10 | 0.00027265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-14_1_3_line_10 |  | 9 | 11 | 0.040613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_131-14_1_3_line_11 |  | 9 | 12 | 0.023741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_131-14_1_3_line_12 |  | 10 | 13 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_131-14_1_3_line_13 |  | 11 | 17 | 0.0016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-14_1_3_line_14 |  | 12 | 18 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-14_1_3_line_15 |  | 13 | 14 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_131-14_1_3_line_16 |  | 14 | 15 | 0.008377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_131-14_1_3_line_17 |  | 15 | 16 | 0.013761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-14_1_3_line_18 |  | 17 | 31 | 0.046977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_131-14_1_3_line_19 |  | 17 | 32 | 0.048757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_131-14_1_3_line_20 |  | 19 | 20 | 0.081049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_131-14_1_3_line_21 |  | 19 | 21 | 0.044781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_131-14_1_3_line_22 |  | 19 | 22 | 0.052939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_131-14_1_3_line_23 |  | 20 | 37 | 0.06609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_131-14_1_3_line_24 |  | 22 | 25 | 0.0070602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-14_1_3_line_25 |  | 22 | 26 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_131-14_1_3_line_26 |  | 23 | 24 | 0.026207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-14_1_3_line_27 |  | 24 | 33 | 0.05264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_131-14_1_3_line_28 |  | 24 | 32 | 0.0022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_131-14_1_3_line_29 |  | 26 | 33 | 0.0233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_131-14_1_3_line_30 |  | 27 | 28 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_131-14_1_3_line_31 |  | 28 | 38 | 0.0317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_131-14_1_3_line_32 |  | 29 | 30 | 0.025643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-14_1_3_line_33 |  | 30 | 35 | 0.027562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_131-14_1_3_line_34 |  | 31 | 34 | 0.009259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-14_1_3_line_35 |  | 31 | 35 | 0.051375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_131-14_1_3_line_36 |  | 35 | 36 | 0.008984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_131-14_1_3_line_37 |  | 37 | 42 | 0.042091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_131-14_1_3_line_38 |  | 38 | 46 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_131-14_1_3_line_39 |  | 39 | 40 | 0.086244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-14_1_3_line_40 |  | 40 | 41 | 0.061256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-14_1_3_line_41 |  | 41 | 44 | 0.038706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_131-14_1_3_line_42 |  | 42 | 43 | 0.069149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_131-14_1_3_line_43 |  | 43 | 48 | 0.0020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-14_1_3_line_44 |  | 44 | 45 | 0.009741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_131-14_1_3_line_45 |  | 45 | 46 | 0.005418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_131-14_1_3_line_46 |  | 46 | 47 | 0.030564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_131-14_1_3_line_47 |  | 47 | 51 | 0.0009092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_131-14_1_3_line_48 |  | 48 | 49 | 0.027524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_131-14_1_3_line_49 |  | 49 | 50 | 0.0083788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_131-14_1_3_line_50 |  | 50 | 51 | 0.04525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-14_1_3_trafo_72 | 0.63 MVA 20/0.4 kV | 52 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682269.6238 | 1239644.1435 | 2682279.8223 | 1239634.1268 | 2682291.4962 | 1239623.9108
1 | 2682178.2233 | 1239734.5138 | 2682221.516 | 1239691.3934 | 2682269.6238 | 1239644.1435
2 | 2682321.0389 | 1239383.6626 | 2682320.9384 | 1239377.258 | 2682320.9384 | 1239377.258
3 | 2682321.368 | 1239404.6279 | 2682321.0389 | 1239383.6626
4 | 2682306.5229 | 1239360.9728 | 2682320.9384 | 1239377.258
5 | 2682321.368 | 1239404.6279 | 2682315.5049 | 1239403.0788 | 2682313.0432 | 1239403.1088
6 | 2682329.8833 | 1239411.284 | 2682324.7134 | 1239406.6535 | 2682321.368 | 1239404.6279
7 | 2682313.0432 | 1239403.1088 | 2682309.1048 | 1239403.1569 | 2682295.5127 | 1239406.3792
8 | 2682329.8833 | 1239411.284 | 2682322.3582 | 1239419.9414
9 | 2682295.2474 | 1239406.4421 | 2682295.5127 | 1239406.3792
10 | 2682322.3582 | 1239419.9414 | 2682304.5277 | 1239433.226 | 2682289.2938 | 1239443.5051
11 | 2682322.3582 | 1239419.9414 | 2682336.1816 | 1239439.2426
12 | 2682270.6384 | 1239410.7043 | 2682280.3565 | 1239409.5853 | 2682286.0199 | 1239408.6297 | 2682295.2474 | 1239406.4421
13 | 2682287.9288 | 1239444.4261 | 2682289.2938 | 1239443.5051
14 | 2682336.1816 | 1239439.2426 | 2682345.7494 | 1239452.602
15 | 2682257.6894 | 1239412.1953 | 2682270.6384 | 1239410.7043
16 | 2682257.6894 | 1239412.1953 | 2682257.6894 | 1239412.1953 | 2682249.5622 | 1239414.2255
17 | 2682236.5963 | 1239418.6714 | 2682242.6763 | 1239415.9456 | 2682249.5622 | 1239414.2255
18 | 2682287.9288 | 1239444.4261 | 2682294.3516 | 1239453.6106 | 2682297.4964 | 1239451.5527 | 2682301.9249 | 1239458.3745 | 2682305.7037 | 1239455.8695 | 2682316.035 | 1239472.28
19 | 2682287.9288 | 1239444.4261 | 2682264.1307 | 1239457.7059 | 2682244.356 | 1239466.1554
20 | 2682165.9545 | 1239554.8715 | 2682151.1061 | 1239599.7536 | 2682145.1731 | 1239612.0025 | 2682140.718 | 1239620.2134 | 2682134.9713 | 1239629.3849
21 | 2682165.9545 | 1239554.8715 | 2682182.6882 | 1239596.4082
22 | 2682165.9545 | 1239554.8715 | 2682169.8834 | 1239531.1423 | 2682178.6005 | 1239528.6834 | 2682195.083 | 1239517.6592
23 | 2682100.8506 | 1239685.2751 | 2682106.0468 | 1239669.9583 | 2682115.6889 | 1239654.2026 | 2682128.2298 | 1239638.854 | 2682134.9713 | 1239629.3849
24 | 2682195.083 | 1239517.6592 | 2682199.2855 | 1239523.3325
25 | 2682195.083 | 1239517.6592 | 2682201.9234 | 1239513.0839 | 2682205.259 | 1239511.7146
26 | 2682242.2783 | 1239467.0432 | 2682217.1574 | 1239474.5102
27 | 2682226.8133 | 1239502.8657 | 2682249.7112 | 1239487.9388 | 2682246.667 | 1239482.7374 | 2682249.8752 | 1239480.4691 | 2682242.2783 | 1239467.0432
28 | 2682242.2783 | 1239467.0432 | 2682244.356 | 1239466.1554
29 | 2682226.8133 | 1239502.8657 | 2682205.259 | 1239511.7146
30 | 2682285.6632 | 1239611.7324 | 2682268.098 | 1239628.3386
31 | 2682245.0628 | 1239650.1162 | 2682268.098 | 1239628.3386
32 | 2682304.4086 | 1239517.073 | 2682305.377 | 1239518.1427 | 2682309.5162 | 1239519.1007 | 2682316.2238 | 1239514.2903 | 2682321.0013 | 1239513.9452 | 2682326.6503 | 1239509.9711
33 | 2682287.485 | 1239503.7067 | 2682290.6362 | 1239501.7267 | 2682297.6867 | 1239513.0992 | 2682299.7747 | 1239516.3415 | 2682301.5384 | 1239518.9679 | 2682304.4086 | 1239517.073
34 | 2682323.9237 | 1239467.3969 | 2682316.035 | 1239472.28
35 | 2682287.485 | 1239503.7067 | 2682290.6362 | 1239501.7267 | 2682293.6501 | 1239499.8338 | 2682293.8952 | 1239497.9803 | 2682305.4072 | 1239490.3344 | 2682300.1736 | 1239482.1227 | 2682316.035 | 1239472.28
36 | 2682287.485 | 1239503.7067 | 2682282.6891 | 1239496.1015
37 | 2682100.8506 | 1239685.2751 | 2682099.0036 | 1239705.0637 | 2682099.6343 | 1239727.266
38 | 2682233.7769 | 1239660.7858 | 2682245.0628 | 1239650.1162
39 | 2682151.4538 | 1239741.2704 | 2682148.3828 | 1239738.5593 | 2682139.1744 | 1239747.5717 | 2682154.6822 | 1239764.843 | 2682156.0155 | 1239766.3292 | 2682158.7639 | 1239769.3916 | 2682178.2233 | 1239734.5138
40 | 2682151.4538 | 1239741.2704 | 2682195.2551 | 1239698.4476
41 | 2682195.2551 | 1239698.4476 | 2682222.932 | 1239671.3889
42 | 2682099.6343 | 1239727.266 | 2682145.259 | 1239677.9173 | 2682146.7086 | 1239676.6265
43 | 2682148.2648 | 1239675.2408 | 2682146.7086 | 1239676.6265
44 | 2682229.8972 | 1239664.5792 | 2682222.932 | 1239671.3889
45 | 2682229.8972 | 1239664.5792 | 2682233.7769 | 1239660.7858
46 | 2682233.7769 | 1239660.7858 | 2682212.5276 | 1239638.8178
47 | 2682212.5276 | 1239638.8178 | 2682211.8955 | 1239638.1643
48 | 2682148.2648 | 1239675.2408 | 2682168.8204 | 1239656.937
49 | 2682168.8204 | 1239656.937 | 2682173.1949 | 1239653.0417 | 2682175.1428 | 1239651.4409
50 | 2682211.8955 | 1239638.1643 | 2682207.9843 | 1239634.1208 | 2682204.1398 | 1239632.6443 | 2682199.7765 | 1239632.5839 | 2682195.9477 | 1239634.3432 | 2682175.1428 | 1239651.4409

## bus_geodata
| x | y | coords
0 | 2682291.4962 | 1239623.9108
1 | 2682269.6238 | 1239644.1435
2 | 2682321.0389 | 1239383.6626
3 | 2682320.9384 | 1239377.258
4 | 2682321.368 | 1239404.6279
5 | 2682306.5229 | 1239360.9728
6 | 2682313.0432 | 1239403.1088
7 | 2682329.8833 | 1239411.284
8 | 2682295.5127 | 1239406.3792
9 | 2682322.3582 | 1239419.9414
10 | 2682295.2474 | 1239406.4421
11 | 2682289.2938 | 1239443.5051
12 | 2682336.1816 | 1239439.2426
13 | 2682270.6384 | 1239410.7043
14 | 2682257.6894 | 1239412.1953
15 | 2682249.5622 | 1239414.2255
16 | 2682236.5963 | 1239418.6714
17 | 2682287.9288 | 1239444.4261
18 | 2682345.7494 | 1239452.602
19 | 2682165.9545 | 1239554.8715
20 | 2682134.9713 | 1239629.3849
21 | 2682182.6882 | 1239596.4082
22 | 2682195.083 | 1239517.6592
23 | 2682217.1574 | 1239474.5102
24 | 2682242.2783 | 1239467.0432
25 | 2682199.2855 | 1239523.3325
26 | 2682205.259 | 1239511.7146
27 | 2682285.6632 | 1239611.7324
28 | 2682268.098 | 1239628.3386
29 | 2682326.6503 | 1239509.9711
30 | 2682304.4086 | 1239517.073
31 | 2682316.035 | 1239472.28
32 | 2682244.356 | 1239466.1554
33 | 2682226.8133 | 1239502.8657
34 | 2682323.9237 | 1239467.3969
35 | 2682287.485 | 1239503.7067
36 | 2682282.6891 | 1239496.1015
37 | 2682100.8506 | 1239685.2751
38 | 2682245.0628 | 1239650.1162
39 | 2682178.2233 | 1239734.5138
40 | 2682151.4538 | 1239741.2704
41 | 2682195.2551 | 1239698.4476
42 | 2682099.6343 | 1239727.266
43 | 2682146.7086 | 1239676.6265
44 | 2682222.932 | 1239671.3889
45 | 2682229.8972 | 1239664.5792
46 | 2682233.7769 | 1239660.7858
47 | 2682212.5276 | 1239638.8178
48 | 2682148.2648 | 1239675.2408
49 | 2682168.8204 | 1239656.937
50 | 2682175.1428 | 1239651.4409
51 | 2682211.8955 | 1239638.1643
52 | 2682287.485 | 1239503.7067

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9706 | -0.56909 | 0.0037089 | 0.00092954
1 | 0.9707 | -0.56704 | 0.019229 | 0.0048192
2 | 0.98932 | -0.20485 | 0.01749 | 0.0043834
3 | 0.98923 | -0.20662 | 0.011393 | 0.0028552
4 | 0.98995 | -0.19255 | 0 | 0
5 | 0.98914 | -0.2082 | 0.0040828 | 0.0010232
6 | 0.98978 | -0.19587 | 0.0055111 | 0.0013812
7 | 0.99049 | -0.18199 | 0 | 0
8 | 0.98951 | -0.20109 | 0.0031433 | 0.00078777
9 | 0.99107 | -0.17083 | 0 | 0
10 | 0.98951 | -0.20115 | 0.0012868 | 0.00032249
11 | 0.99354 | -0.12319 | 0.0039583 | 0.00099205
12 | 0.99082 | -0.17564 | 0.0092496 | 0.0023182
13 | 0.98923 | -0.20647 | 0.001041 | 0.0002609
14 | 0.9891 | -0.209 | 0.0069542 | 0.0017429
15 | 0.98907 | -0.20959 | 0.0029343 | 0.0007354
16 | 0.98906 | -0.20984 | 0.0010125 | 0.00025377
17 | 0.99364 | -0.12115 | 0 | 0
18 | 0.99079 | -0.17627 | 0.0021589 | 0.00054106
19 | 0.98781 | -0.23318 | 0 | 0
20 | 0.98634 | -0.26155 | 0.0018938 | 0.00047462
21 | 0.98767 | -0.23594 | 0.0034407 | 0.00086232
22 | 0.98883 | -0.21362 | 0 | 0
23 | 0.99171 | -0.1582 | 0.0028191 | 0.00070654
24 | 0.99178 | -0.15689 | 0 | 0
25 | 0.98873 | -0.21561 | 0.01578 | 0.0039548
26 | 0.98911 | -0.20814 | 0.036037 | 0.0090317
27 | 0.97764 | -0.43055 | 0.0025418 | 0.00063704
28 | 0.9777 | -0.42943 | 0.0030145 | 0.0007555
29 | 0.9987 | -0.024886 | 0.015044 | 0.0037703
30 | 0.99905 | -0.018148 | 0 | 0
31 | 0.99637 | -0.069011 | 0 | 0
32 | 0.99186 | -0.15533 | 0.0021328 | 0.00053453
33 | 0.98993 | -0.19239 | 0 | 0
34 | 0.99633 | -0.069774 | 0.0046913 | 0.0011758
35 | 0.99942 | -0.010909 | 0 | 0
36 | 1 | 0 | -0.21306 | -0.053968
37 | 0.98518 | -0.28398 | 0 | 0
38 | 0.97786 | -0.42622 | 0.0031666 | 0.00079363
39 | 0.97345 | -0.51265 | 0 | 0
40 | 0.9753 | -0.47633 | 0 | 0
41 | 0.97661 | -0.45061 | 0.0034915 | 0.00087504
42 | 0.98444 | -0.2983 | 0 | 0
43 | 0.98261 | -0.33367 | 0.0020002 | 0.0005013
44 | 0.97757 | -0.43192 | 0.0031422 | 0.00078751
45 | 0.97784 | -0.42667 | 0 | 0
46 | 0.97799 | -0.42375 | 0 | 0
47 | 0.97908 | -0.40244 | 0.0016471 | 0.0004128
48 | 0.98251 | -0.33573 | 0.0046041 | 0.0011539
49 | 0.98122 | -0.36069 | 0.0040132 | 0.0010058
50 | 0.98086 | -0.36769 | 0.0046515 | 0.0011658
51 | 0.97911 | -0.40178 | 0.0015431 | 0.00038673
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0037089 | -0.00092954 | 0.0037093 | 0.0009294 | 3.6139e-07 | -1.3715e-07 | 0.0056861 | 0.005686 | 0.0056861 | 0.9706 | -0.56909 | 0.9707 | -0.56704 | 1.5621
1 | -0.022938 | -0.0057486 | 0.022998 | 0.0057851 | 5.9593e-05 | 3.6546e-05 | 0.035162 | 0.035162 | 0.035162 | 0.9707 | -0.56704 | 0.97345 | -0.51265 | 9.66
2 | 0.015477 | 0.0038791 | -0.015476 | -0.0038784 | 1.3016e-06 | 7.5081e-07 | 0.023279 | 0.023279 | 0.023279 | 0.98932 | -0.20485 | 0.98923 | -0.20662 | 6.3952
3 | -0.032967 | -0.0082626 | 0.032986 | 0.0082747 | 1.9333e-05 | 1.2103e-05 | 0.049585 | 0.049585 | 0.049585 | 0.98932 | -0.20485 | 0.98995 | -0.19255 | 13.6223
4 | 0.0040831 | 0.0010232 | -0.0040828 | -0.0010232 | 3.0766e-07 | -8.229e-08 | 0.0061418 | 0.0061419 | 0.0061419 | 0.98923 | -0.20662 | 0.98914 | -0.2082 | 1.6873
5 | 0.021895 | 0.005491 | -0.021892 | -0.0054889 | 3.4634e-06 | 2.107e-06 | 0.032912 | 0.032912 | 0.032912 | 0.98995 | -0.19255 | 0.98978 | -0.19587 | 9.0419
6 | -0.054881 | -0.013766 | 0.054909 | 0.013783 | 2.7643e-05 | 1.7552e-05 | 0.082497 | 0.082497 | 0.082497 | 0.98995 | -0.19255 | 0.99049 | -0.18199 | 22.6641
7 | 0.016381 | 0.0041077 | -0.016376 | -0.0041053 | 4.0728e-06 | 2.3765e-06 | 0.024627 | 0.024627 | 0.024627 | 0.98978 | -0.19587 | 0.98951 | -0.20109 | 6.7657
8 | -0.054909 | -0.013783 | 0.054938 | 0.013802 | 2.9243e-05 | 1.8568e-05 | 0.082497 | 0.082497 | 0.082497 | 0.99049 | -0.18199 | 0.99107 | -0.17083 | 22.6641
9 | 0.013233 | 0.0033175 | -0.013233 | -0.0033175 | 4.0492e-08 | 2.2412e-08 | 0.0199 | 0.0199 | 0.0199 | 0.98951 | -0.20109 | 0.98951 | -0.20115 | 5.4671
10 | -0.066349 | -0.016662 | 0.066501 | 0.016758 | 0.00015117 | 9.6227e-05 | 0.09963 | 0.09963 | 0.09963 | 0.99107 | -0.17083 | 0.99354 | -0.12319 | 27.371
11 | 0.011411 | 0.0028604 | -0.011409 | -0.0028591 | 2.6134e-06 | 1.3667e-06 | 0.017133 | 0.017133 | 0.017133 | 0.99107 | -0.17083 | 0.99082 | -0.17564 | 4.7069
12 | 0.011946 | 0.002995 | -0.011943 | -0.0029934 | 3.0269e-06 | 1.6161e-06 | 0.017965 | 0.017965 | 0.017965 | 0.98951 | -0.20115 | 0.98923 | -0.20647 | 4.9356
13 | -0.070459 | -0.017751 | 0.070466 | 0.017755 | 6.8808e-06 | 4.3824e-06 | 0.10556 | 0.10556 | 0.10556 | 0.99354 | -0.12319 | 0.99364 | -0.12115 | 28.9996
14 | 0.0021589 | 0.00054089 | -0.0021589 | -0.00054106 | 6.4776e-08 | -1.7018e-07 | 0.0032422 | 0.0032423 | 0.0032423 | 0.99082 | -0.17564 | 0.99079 | -0.17627 | 0.89073
15 | 0.010902 | 0.0027325 | -0.010901 | -0.0027318 | 1.3146e-06 | 6.7402e-07 | 0.0164 | 0.0164 | 0.0164 | 0.98923 | -0.20647 | 0.9891 | -0.209 | 4.5054
16 | 0.0039469 | 0.00098896 | -0.0039468 | -0.000989 | 1.1075e-07 | -3.6631e-08 | 0.0059377 | 0.0059378 | 0.0059378 | 0.9891 | -0.209 | 0.98907 | -0.20959 | 1.6313
17 | 0.0010125 | 0.0002536 | -0.0010125 | -0.00025377 | 1.1974e-08 | -1.6894e-07 | 0.0015233 | 0.0015233 | 0.0015233 | 0.98907 | -0.20959 | 0.98906 | -0.20984 | 0.4185
18 | -0.19053 | -0.048291 | 0.19101 | 0.048595 | 0.00047869 | 0.00030453 | 0.28551 | 0.28551 | 0.28551 | 0.99364 | -0.12115 | 0.99637 | -0.069011 | 26.1461
19 | 0.12006 | 0.030536 | -0.11987 | -0.030411 | 0.00019737 | 0.00012443 | 0.17996 | 0.17996 | 0.17996 | 0.99364 | -0.12115 | 0.99186 | -0.15533 | 16.4796
20 | 0.059282 | 0.015089 | -0.059202 | -0.01504 | 8.0945e-05 | 4.8697e-05 | 0.089385 | 0.089386 | 0.089386 | 0.98781 | -0.23318 | 0.98634 | -0.26155 | 8.1855
21 | 0.0034411 | 0.00086203 | -0.0034407 | -0.00086232 | 4.5122e-07 | -2.8439e-07 | 0.0051835 | 0.0051837 | 0.0051837 | 0.98781 | -0.23318 | 0.98767 | -0.23594 | 1.4241
22 | -0.062724 | -0.015951 | 0.062783 | 0.015987 | 5.918e-05 | 3.584e-05 | 0.094568 | 0.094567 | 0.094568 | 0.98781 | -0.23318 | 0.98883 | -0.21362 | 8.6601
23 | 0.057308 | 0.014566 | -0.057246 | -0.014529 | 6.1855e-05 | 3.706e-05 | 0.086529 | 0.08653 | 0.08653 | 0.98634 | -0.26155 | 0.98518 | -0.28398 | 7.924
24 | 0.015781 | 0.0039556 | -0.01578 | -0.0039548 | 1.4932e-06 | 8.6507e-07 | 0.023748 | 0.023748 | 0.023748 | 0.98883 | -0.21362 | 0.98873 | -0.21561 | 6.5242
25 | -0.078564 | -0.019943 | 0.078585 | 0.019955 | 2.0709e-05 | 1.2798e-05 | 0.11832 | 0.11832 | 0.11832 | 0.98883 | -0.21362 | 0.98911 | -0.20814 | 10.8347
26 | -0.0028191 | -0.00070654 | 0.0028193 | 0.00070632 | 1.7584e-07 | -2.2563e-07 | 0.00423 | 0.0042299 | 0.00423 | 0.99171 | -0.1582 | 0.99178 | -0.15689 | 1.1621
27 | 0.1149 | 0.029165 | -0.11471 | -0.029042 | 0.00019586 | 0.00012332 | 0.17253 | 0.17253 | 0.17253 | 0.99178 | -0.15689 | 0.98993 | -0.19239 | 15.7993
28 | -0.11772 | -0.029871 | 0.11773 | 0.029877 | 8.8243e-06 | 5.5601e-06 | 0.17676 | 0.17676 | 0.17676 | 0.99178 | -0.15689 | 0.99186 | -0.15533 | 16.1866
29 | -0.11462 | -0.028987 | 0.11471 | 0.029042 | 8.6694e-05 | 5.4586e-05 | 0.17253 | 0.17253 | 0.17253 | 0.98911 | -0.20814 | 0.98993 | -0.19239 | 15.7993
30 | -0.0025418 | -0.00063704 | 0.002542 | 0.00063683 | 1.3567e-07 | -2.1629e-07 | 0.0038688 | 0.0038687 | 0.0038688 | 0.97764 | -0.43055 | 0.9777 | -0.42943 | 1.0629
31 | -0.0055565 | -0.0013923 | 0.0055573 | 0.0013925 | 8.5011e-07 | 1.4646e-07 | 0.0084566 | 0.0084565 | 0.0084566 | 0.9777 | -0.42943 | 0.97786 | -0.42622 | 2.3232
32 | -0.015044 | -0.0037703 | 0.015048 | 0.003773 | 4.831e-06 | 2.7562e-06 | 0.022414 | 0.022414 | 0.022414 | 0.9987 | -0.024886 | 0.99905 | -0.018148 | 6.1577
33 | -0.015048 | -0.003773 | 0.015054 | 0.003776 | 5.1925e-06 | 2.9622e-06 | 0.022414 | 0.022414 | 0.022414 | 0.99905 | -0.018148 | 0.99942 | -0.010909 | 6.1577
34 | 0.0046915 | 0.0011757 | -0.0046913 | -0.0011758 | 1.7045e-07 | -1.1499e-08 | 0.0070064 | 0.0070065 | 0.0070065 | 0.99637 | -0.069011 | 0.99633 | -0.069774 | 1.9249
35 | -0.1957 | -0.049771 | 0.19625 | 0.050121 | 0.00054951 | 0.00034967 | 0.29252 | 0.29252 | 0.29252 | 0.99637 | -0.069011 | 0.99942 | -0.010909 | 26.7876
36 | -0.2113 | -0.053897 | 0.21141 | 0.053968 | 0.00011138 | 7.0932e-05 | 0.31493 | 0.31493 | 0.31493 | 0.99942 | -0.010909 | 1 | 0 | 28.8401
37 | 0.057246 | 0.014529 | -0.057207 | -0.014505 | 3.9394e-05 | 2.3606e-05 | 0.08653 | 0.08653 | 0.08653 | 0.98518 | -0.28398 | 0.98444 | -0.2983 | 7.924
38 | -0.0087239 | -0.0021861 | 0.0087249 | 0.0021866 | 1.0264e-06 | 4.6202e-07 | 0.013275 | 0.013275 | 0.013275 | 0.97786 | -0.42622 | 0.97799 | -0.42375 | 3.647
39 | -0.022998 | -0.0057851 | 0.023038 | 0.0058096 | 3.9985e-05 | 2.4516e-05 | 0.035162 | 0.035161 | 0.035162 | 0.97345 | -0.51265 | 0.9753 | -0.47633 | 9.6598
40 | -0.023038 | -0.0058096 | 0.023066 | 0.005827 | 2.8399e-05 | 1.741e-05 | 0.035161 | 0.035161 | 0.035161 | 0.9753 | -0.47633 | 0.97661 | -0.45061 | 9.6597
41 | -0.026557 | -0.0067021 | 0.026581 | 0.0067168 | 2.3785e-05 | 1.4738e-05 | 0.040481 | 0.040481 | 0.040481 | 0.97661 | -0.45061 | 0.97757 | -0.43192 | 11.1211
42 | 0.057207 | 0.014505 | -0.057109 | -0.014445 | 9.7079e-05 | 6.0376e-05 | 0.08653 | 0.086531 | 0.086531 | 0.98444 | -0.2983 | 0.98261 | -0.33367 | 11.8861
43 | 0.055109 | 0.013943 | -0.055104 | -0.01394 | 5.4485e-06 | 3.4606e-06 | 0.083502 | 0.083502 | 0.083502 | 0.98261 | -0.33367 | 0.98251 | -0.33573 | 22.9401
44 | -0.029723 | -0.0075043 | 0.029731 | 0.007509 | 7.484e-06 | 4.6676e-06 | 0.045264 | 0.045263 | 0.045264 | 0.97757 | -0.43192 | 0.97784 | -0.42667 | 12.435
45 | -0.029731 | -0.007509 | 0.029735 | 0.0075116 | 4.1626e-06 | 2.5961e-06 | 0.045263 | 0.045263 | 0.045263 | 0.97784 | -0.42667 | 0.97799 | -0.42375 | 12.435
46 | -0.03846 | -0.0096982 | 0.038499 | 0.0097229 | 3.9275e-05 | 2.4752e-05 | 0.058538 | 0.058538 | 0.058538 | 0.97799 | -0.42375 | 0.97908 | -0.40244 | 16.082
47 | -0.040146 | -0.010136 | 0.040148 | 0.010137 | 1.2704e-06 | 8.0162e-07 | 0.061042 | 0.061042 | 0.061042 | 0.97908 | -0.40244 | 0.97911 | -0.40178 | 16.7697
48 | 0.0505 | 0.012786 | -0.050439 | -0.012748 | 6.0449e-05 | 3.8339e-05 | 0.076529 | 0.076529 | 0.076529 | 0.98251 | -0.33573 | 0.98122 | -0.36069 | 21.0245
49 | 0.046426 | 0.011742 | -0.04641 | -0.011732 | 1.5592e-05 | 9.8728e-06 | 0.070443 | 0.070443 | 0.070443 | 0.98122 | -0.36069 | 0.98086 | -0.36769 | 19.3525
50 | 0.041759 | 0.010566 | -0.041691 | -0.010523 | 6.8178e-05 | 4.3064e-05 | 0.063386 | 0.063387 | 0.063387 | 0.98086 | -0.36769 | 0.97911 | -0.40178 | 17.4139

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22548 | 0.057079

## res_load
| p_mw | q_mvar
0 | 0.0037089 | 0.00092954
1 | 0.019229 | 0.0048192
2 | 0.01749 | 0.0043834
3 | 0.011393 | 0.0028552
4 | 0.0040828 | 0.0010232
5 | 0.0055111 | 0.0013812
6 | 0.0031433 | 0.00078777
7 | 0.0012868 | 0.00032249
8 | 0.0039583 | 0.00099205
9 | 0.0092496 | 0.0023182
10 | 0.001041 | 0.0002609
11 | 0.0069542 | 0.0017429
12 | 0.0029343 | 0.0007354
13 | 0.0010125 | 0.00025377
14 | 0.0021589 | 0.00054106
15 | 0.0018938 | 0.00047462
16 | 0.0034407 | 0.00086232
17 | 0.0028191 | 0.00070654
18 | 0.01578 | 0.0039548
19 | 0.036037 | 0.0090317
20 | 0.0025418 | 0.00063704
21 | 0.0030145 | 0.0007555
22 | 0.015044 | 0.0037703
23 | 0.0021328 | 0.00053453
24 | 0.0046913 | 0.0011758
25 | 0.012415 | 0.0031115
26 | 0.0031666 | 0.00079363
27 | 0.0034915 | 0.00087504
28 | 0.0020002 | 0.0005013
29 | 0.0031422 | 0.00078751
30 | 0.0016471 | 0.0004128
31 | 0.0046041 | 0.0011539
32 | 0.0040132 | 0.0010058
33 | 0.0046515 | 0.0011658
34 | 0.0015431 | 0.00038673

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1