## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-16_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_131-16_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_131-16_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_131-16_0_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_131-16_0_5_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_131-16_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_131-16_0_5_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_131-16_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_131-16_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_131-16_0_5_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_131-16_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_131-16_0_5_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_131-16_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_131-16_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_131-16_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_131-16_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_131-16_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_131-16_0_5_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_131-16_0_5_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_131-16_0_5_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_131-16_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_131-16_0_5_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_131-16_0_5_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_131-16_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_131-16_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_131-16_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_131-16_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_131-16_0_5_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_131-16_0_5_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_131-16_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_131-16_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_131-16_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_131-16_0_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_131-16_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_131-16_0_5_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_131-16_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_131-16_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_131-16_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_131-16_0_5_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_131-16_0_5_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_131-16_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_131-16_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_131-16_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_131-16_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_131-16_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_131-16_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_131-16_0_5_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_131-16_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_131-16_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_131-16_0_5_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_131-16_0_5_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_131-16_0_5_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_131-16_0_5_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_131-16_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_131-16_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_131-16_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_131-16_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_131-16_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_131-16_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_131-16_0_5_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_131-16_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_131-16_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_131-16_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_131-16_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_131-16_0_5_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_131-16_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_131-16_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_131-16_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_131-16_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_131-16_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_131-16_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_131-16_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_131-16_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_131-16_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_131-16_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_131-16_0_5_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_131-16_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_131-16_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_131-16_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_MV_360_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-16_0_5_load_0 | 0 | 0.015749 | 0.003947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-16_0_5_load_3 | 3 | 0.0021494 | 0.00053868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-16_0_5_load_75 | 5 | 0.0069496 | 0.0017417 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-16_0_5_load_56 | 8 | 0.033742 | 0.0084564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-16_0_5_load_80 | 10 | 0.015264 | 0.0038255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-16_0_5_load_78 | 12 | 0.010549 | 0.0026439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-16_0_5_load_74 | 15 | 0.0080512 | 0.0020178 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-16_0_5_load_52 | 18 | 0.0034866 | 0.00087384 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-16_0_5_load_46 | 20 | 0.014728 | 0.0036912 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-16_0_5_load_65 | 23 | 0.012757 | 0.0031973 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-16_0_5_load_55 | 26 | 0.003683 | 0.00092304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-16_0_5_load_89 | 28 | 0.010487 | 0.0026283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-16_0_5_load_88 | 29 | 0.018752 | 0.0046998 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-16_0_5_load_73 | 33 | 0.0033557 | 0.00084101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-16_0_5_load_54 | 35 | 0.0025543 | 0.00064017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-16_0_5_load_32 | 37 | 0.0073537 | 0.001843 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-16_0_5_load_90 | 40 | 0.081406 | 0.020402 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-16_0_5_load_35 | 41 | 0.0077263 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-16_0_5_load_36 | 42 | 0.0077046 | 0.001931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-16_0_5_load_34 | 43 | 0.011906 | 0.0029838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-16_0_5_load_53 | 44 | 0.0068771 | 0.0017236 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-16_0_5_load_86 | 47 | 0.002049 | 0.00051352 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-16_0_5_load_79 | 50 | 0.0033365 | 0.00083621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-16_0_5_load_81 | 51 | 0.0015405 | 0.00038609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-16_0_5_load_82 | 52 | 0.0018429 | 0.00046188 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_131-16_0_5_load_49 | 55 | 0.0052108 | 0.0013059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_131-16_0_5_load_47 | 56 | 0.0058493 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_131-16_0_5_load_44 | 57 | 0.0085172 | 0.0021346 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_131-16_0_5_load_37 | 59 | 0.0063416 | 0.0015894 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_131-16_0_5_load_76 | 60 | 0.0085839 | 0.0021513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_131-16_0_5_load_40 | 61 | 0.0056063 | 0.0014051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_131-16_0_5_load_41 | 62 | 0.0057567 | 0.0014428 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_131-16_0_5_load_87 | 63 | 0.0019652 | 0.00049253 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_131-16_0_5_load_83 | 64 | 0.0045325 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_131-16_0_5_load_38 | 65 | 0.0043097 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_131-16_0_5_load_45 | 66 | 0.011705 | 0.0029335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_131-16_0_5_load_51 | 67 | 0.0052466 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_131-16_0_5_load_57 | 68 | 0.007063 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_131-16_0_5_load_67 | 71 | 0.0061401 | 0.0015388 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_131-16_0_5_load_71 | 73 | 0.013959 | 0.0034984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_131-16_0_5_load_70 | 75 | 0.0051603 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_131-16_0_5_load_62 | 76 | 0.011604 | 0.0029083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_131-16_0_5_load_69 | 77 | 0.0067486 | 0.0016914 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_131-16_0_5_load_63 | 78 | 0.011176 | 0.0028009 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_131-16_0_5_load_72 | 79 | 0.010018 | 0.0025107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-16_0_5_line_0 |  | 0 | 1 | 0.020732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_131-16_0_5_line_1 |  | 1 | 4 | 0.00846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_131-16_0_5_line_2 |  | 2 | 3 | 0.049284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-16_0_5_line_3 |  | 2 | 4 | 0.044646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-16_0_5_line_4 |  | 3 | 5 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_131-16_0_5_line_5 |  | 4 | 10 | 0.066122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-16_0_5_line_6 |  | 6 | 7 | 0.13581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_131-16_0_5_line_7 |  | 6 | 8 | 0.098944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_131-16_0_5_line_8 |  | 7 | 34 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_131-16_0_5_line_9 |  | 7 | 35 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-16_0_5_line_10 |  | 9 | 10 | 0.0058893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_131-16_0_5_line_11 |  | 9 | 11 | 0.091678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_131-16_0_5_line_12 |  | 9 | 12 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_131-16_0_5_line_13 |  | 11 | 33 | 0.0093205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_131-16_0_5_line_14 |  | 12 | 53 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-16_0_5_line_15 |  | 13 | 14 | 0.10737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_131-16_0_5_line_16 |  | 13 | 15 | 0.040311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_131-16_0_5_line_17 |  | 14 | 28 | 0.033833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_131-16_0_5_line_18 |  | 15 | 39 | 0.056312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_131-16_0_5_line_19 |  | 16 | 17 | 0.024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_131-16_0_5_line_20 |  | 16 | 18 | 0.0090681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_131-16_0_5_line_21 |  | 17 | 19 | 0.029567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_131-16_0_5_line_22 |  | 17 | 20 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_131-16_0_5_line_23 |  | 18 | 44 | 0.018648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_131-16_0_5_line_24 |  | 19 | 57 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-16_0_5_line_25 |  | 19 | 42 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_131-16_0_5_line_26 |  | 20 | 56 | 0.0013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-16_0_5_line_27 |  | 21 | 22 | 0.069626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-16_0_5_line_28 |  | 21 | 23 | 0.03736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-16_0_5_line_29 |  | 22 | 35 | 0.0093506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-16_0_5_line_30 |  | 23 | 58 | 0.029141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_131-16_0_5_line_31 |  | 24 | 25 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_131-16_0_5_line_32 |  | 24 | 26 | 0.028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-16_0_5_line_33 |  | 25 | 36 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_131-16_0_5_line_34 |  | 25 | 37 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-16_0_5_line_35 |  | 27 | 28 | 0.011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_131-16_0_5_line_36 |  | 27 | 29 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_131-16_0_5_line_37 |  | 29 | 30 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_131-16_0_5_line_38 |  | 30 | 31 | 0.026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_131-16_0_5_line_39 |  | 30 | 32 | 0.009925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-16_0_5_line_40 |  | 31 | 41 | 0.029121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-16_0_5_line_41 |  | 31 | 42 | 0.0086832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_131-16_0_5_line_42 |  | 31 | 43 | 0.01473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_131-16_0_5_line_43 |  | 32 | 59 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-16_0_5_line_44 |  | 33 | 39 | 0.070641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_131-16_0_5_line_45 |  | 34 | 44 | 0.0076507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_131-16_0_5_line_46 |  | 34 | 38 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_131-16_0_5_line_47 |  | 36 | 40 | 0.078327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_131-16_0_5_line_48 |  | 37 | 38 | 0.0018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_131-16_0_5_line_49 |  | 41 | 62 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_131-16_0_5_line_50 |  | 45 | 46 | 0.041224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_131-16_0_5_line_51 |  | 45 | 47 | 0.001484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_131-16_0_5_line_52 |  | 46 | 51 | 0.0045334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_131-16_0_5_line_53 |  | 47 | 63 | 0.0084638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_131-16_0_5_line_54 |  | 48 | 49 | 0.021559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_131-16_0_5_line_55 |  | 48 | 50 | 0.041755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_131-16_0_5_line_56 |  | 49 | 52 | 0.026656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_131-16_0_5_line_57 |  | 49 | 51 | 0.026789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_131-16_0_5_line_58 |  | 50 | 53 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_131-16_0_5_line_59 |  | 52 | 64 | 0.023274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_131-16_0_5_line_60 |  | 53 | 60 | 0.027593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_131-16_0_5_line_61 |  | 54 | 55 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_131-16_0_5_line_62 |  | 54 | 56 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_131-16_0_5_line_63 |  | 55 | 67 | 0.00013049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_131-16_0_5_line_64 |  | 57 | 66 | 0.034821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_131-16_0_5_line_65 |  | 58 | 76 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_131-16_0_5_line_66 |  | 58 | 70 | 0.017652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_131-16_0_5_line_67 |  | 59 | 65 | 0.00049592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_131-16_0_5_line_68 |  | 61 | 62 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_131-16_0_5_line_69 |  | 68 | 69 | 0.017917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_131-16_0_5_line_70 |  | 69 | 70 | 0.009527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_131-16_0_5_line_71 |  | 70 | 71 | 0.052125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_131-16_0_5_line_72 |  | 71 | 74 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_131-16_0_5_line_73 |  | 72 | 73 | 0.030996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_131-16_0_5_line_74 |  | 72 | 74 | 0.002437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_131-16_0_5_line_75 |  | 72 | 75 | 0.0315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_131-16_0_5_line_76 |  | 73 | 79 | 0.0012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_131-16_0_5_line_77 |  | 74 | 77 | 0.029361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_131-16_0_5_line_78 |  | 76 | 78 | 0.030916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-16_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 80 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2682341.9135 | 1240348.4754 | 2682347.1864 | 1240328.4257
1 | 2682341.9135 | 1240348.4754 | 2682334.057 | 1240351.6688
2 | 2682321.3229 | 1240319.9584 | 2682316.769 | 1240311.3224 | 2682308.5715 | 1240302.0244 | 2682306.7297 | 1240297.9626 | 2682302.5475 | 1240296.8705 | 2682301.3125 | 1240293.2175 | 2682304.5573 | 1240281.1983 | 2682306.5101 | 1240281.7808
3 | 2682321.3229 | 1240319.9584 | 2682313.6577 | 1240332.2609 | 2682321.6104 | 1240347.2041 | 2682334.057 | 1240351.6688
4 | 2682319.2243 | 1240285.5738 | 2682306.5101 | 1240281.7808
5 | 2682334.057 | 1240351.6688 | 2682335.857 | 1240360.3777 | 2682340.6639 | 1240368.7615 | 2682366.5465 | 1240393.5715 | 2682373.7005 | 1240402.8441
6 | 2682102.7301 | 1240155.6367 | 2682110.7488 | 1240204.1266 | 2682111.7283 | 1240227.8905 | 2682115.4247 | 1240257.5294 | 2682118.2972 | 1240265.8195 | 2682124.3645 | 1240271.6854 | 2682130.966 | 1240274.4676 | 2682133.3165 | 1240282.7727
7 | 2682102.7301 | 1240155.6367 | 2682106.393 | 1240146.7143 | 2682102.6972 | 1240129.5954 | 2682105.2874 | 1240124.4053 | 2682110.7559 | 1240122.1793 | 2682119.6724 | 1240126.0165 | 2682141.3281 | 1240171.4983
8 | 2682143.1191 | 1240294.6946 | 2682136.8547 | 1240286.1352 | 2682133.3165 | 1240282.7727
9 | 2682133.3165 | 1240282.7727 | 2682119.8005 | 1240285.6617
10 | 2682369.9769 | 1240407.4068 | 2682373.7005 | 1240402.8441
11 | 2682340.7544 | 1240446.1625 | 2682340.584 | 1240429.5594 | 2682343.6886 | 1240410.1997 | 2682335.3031 | 1240395.9399 | 2682345.9489 | 1240395.0091 | 2682360.4438 | 1240397.9122 | 2682369.9769 | 1240407.4068
12 | 2682369.9769 | 1240407.4068 | 2682386.8196 | 1240424.1821
13 | 2682340.7544 | 1240446.1625 | 2682334.007 | 1240439.7326
14 | 2682393.8018 | 1240432.244 | 2682390.05 | 1240427.3996 | 2682386.8196 | 1240424.1821
15 | 2682230.4053 | 1240490.7318 | 2682230.0457 | 1240498.1321 | 2682228.9117 | 1240506.2889 | 2682284.6082 | 1240522.6834 | 2682286.1608 | 1240523.0607 | 2682286.8363 | 1240517.4327 | 2682285.6575 | 1240509.1883 | 2682284.3754 | 1240500.2085 | 2682285.5579 | 1240491.2852
16 | 2682285.5579 | 1240491.2852 | 2682287.211 | 1240451.0079
17 | 2682210.9969 | 1240475.1408 | 2682211.0158 | 1240489.607 | 2682230.4053 | 1240490.7318
18 | 2682280.5971 | 1240395.2922 | 2682287.728 | 1240438.4108 | 2682287.211 | 1240451.0079
19 | 2682161.9102 | 1240351.0949 | 2682154.6049 | 1240328.1441
20 | 2682154.6049 | 1240328.1441 | 2682151.6816 | 1240319.5601
21 | 2682170.7154 | 1240379.3258 | 2682161.9102 | 1240351.0949
22 | 2682161.9102 | 1240351.0949 | 2682147.7003 | 1240352.3914
23 | 2682151.6816 | 1240319.5601 | 2682148.1371 | 1240309.1521 | 2682145.6277 | 1240301.9224
24 | 2682170.7154 | 1240379.3258 | 2682158.9858 | 1240383.1963
25 | 2682170.7154 | 1240379.3258 | 2682176.1616 | 1240396.8627
26 | 2682147.7003 | 1240352.3914 | 2682146.3241 | 1240352.5169
27 | 2682070.2426 | 1240267.5564 | 2682066.255 | 1240288.4829 | 2682067.813 | 1240290.6615 | 2682070.9426 | 1240291.3053 | 2682109.5469 | 1240287.7031 | 2682112.6241 | 1240289.9472
28 | 2682070.2426 | 1240267.5564 | 2682056.6098 | 1240291.4184 | 2682047.0054 | 1240289.1085
29 | 2682112.6241 | 1240289.9472 | 2682113.8228 | 1240286.9394 | 2682119.8005 | 1240285.6617
30 | 2682018.2728 | 1240286.0849 | 2682031.8318 | 1240287.7845 | 2682038.1653 | 1240286.9825 | 2682047.0054 | 1240289.1085
31 | 2682150.2509 | 1240267.9075 | 2682152.6933 | 1240273.9456 | 2682154.3829 | 1240279.1838
32 | 2682150.2509 | 1240267.9075 | 2682154.9027 | 1240268.9504 | 2682176.0093 | 1240258.2201
33 | 2682154.3829 | 1240279.1838 | 2682173.3306 | 1240268.0269
34 | 2682154.3829 | 1240279.1838 | 2682153.1461 | 1240283.8478 | 2682154.8148 | 1240289.4198
35 | 2682210.9969 | 1240475.1408 | 2682202.223 | 1240472.5175 | 2682200.6911 | 1240471.1953
36 | 2682200.6911 | 1240471.1953 | 2682199.5383 | 1240449.5972 | 2682197.9334 | 1240436.3231
37 | 2682193.7637 | 1240417.1608 | 2682194.6464 | 1240420.0417 | 2682197.6045 | 1240433.6035 | 2682197.9334 | 1240436.3231
38 | 2682178.7369 | 1240405.1553 | 2682184.0714 | 1240403.3056 | 2682188.8341 | 1240418.7159 | 2682193.7637 | 1240417.1608
39 | 2682193.7637 | 1240417.1608 | 2682203.0836 | 1240413.6762
40 | 2682178.7369 | 1240405.1553 | 2682150.8055 | 1240413.392
41 | 2682178.7369 | 1240405.1553 | 2682176.1616 | 1240396.8627
42 | 2682178.7369 | 1240405.1553 | 2682181.9932 | 1240419.5207
43 | 2682203.0836 | 1240413.6762 | 2682220.1108 | 1240407.3205
44 | 2682280.5971 | 1240395.2922 | 2682286.0722 | 1240398.5816 | 2682292.0757 | 1240407.927 | 2682306.7003 | 1240420.561 | 2682320.6022 | 1240426.9583 | 2682334.007 | 1240439.7326
45 | 2682143.1191 | 1240294.6946 | 2682145.6277 | 1240301.9224
46 | 2682143.1191 | 1240294.6946 | 2682150.3401 | 1240292.6041 | 2682155.3363 | 1240291.1611
47 | 2682201.1677 | 1240341.2646 | 2682173.3306 | 1240268.0269
48 | 2682155.3363 | 1240291.1611 | 2682154.8148 | 1240289.4198
49 | 2682129.02 | 1240418.8695 | 2682133.3581 | 1240418.537 | 2682150.8055 | 1240413.392
50 | 2682396.2277 | 1240331.6168 | 2682395.7213 | 1240326.6952 | 2682395.8709 | 1240314.2884 | 2682397.3638 | 1240300.4547 | 2682400.1434 | 1240290.8976
51 | 2682400.1434 | 1240290.8976 | 2682400.559 | 1240289.473
52 | 2682396.2277 | 1240331.6168 | 2682396.694 | 1240336.1261
53 | 2682400.559 | 1240289.473 | 2682401.9301 | 1240284.7736 | 2682403.1027 | 1240281.4033
54 | 2682401.1833 | 1240362.5077 | 2682404.6088 | 1240374.5083 | 2682404.1426 | 1240383.5749
55 | 2682404.1426 | 1240383.5749 | 2682402.0056 | 1240425.2751
56 | 2682401.1833 | 1240362.5077 | 2682417.9687 | 1240356.225 | 2682426.6936 | 1240355.8459 | 2682426.6936 | 1240355.8459
57 | 2682401.1833 | 1240362.5077 | 2682397.5945 | 1240344.8341 | 2682396.694 | 1240336.1261
58 | 2682393.8018 | 1240432.244 | 2682402.0056 | 1240425.2751
59 | 2682449.202 | 1240361.7671 | 2682426.6936 | 1240355.8459
60 | 2682393.8018 | 1240432.244 | 2682397.3342 | 1240439.8207 | 2682399.0767 | 1240449.3962 | 2682398.3338 | 1240458.8677
61 | 2682133.4465 | 1240353.6919 | 2682124.2906 | 1240349.6957 | 2682119.9441 | 1240350.3281
62 | 2682133.4465 | 1240353.6919 | 2682146.3241 | 1240352.5169
63 | 2682119.815 | 1240350.3469 | 2682119.9441 | 1240350.3281
64 | 2682158.9858 | 1240383.1963 | 2682150.3091 | 1240386.0594 | 2682124.8812 | 1240389.6803
65 | 2682018.2728 | 1240286.0849 | 2682020.9651 | 1240262.7288
66 | 2682012.8555 | 1240299.9422 | 2682015.9648 | 1240300.4077 | 2682018.2728 | 1240286.0849
67 | 2682220.1108 | 1240407.3205 | 2682220.5754 | 1240407.147
68 | 2682107.8095 | 1240420.4954 | 2682129.02 | 1240418.8695
69 | 2682013.7579 | 1240290.459 | 2682014.43 | 1240285.6092 | 2682016.2118 | 1240272.7107
70 | 2682013.7579 | 1240290.459 | 2682012.8555 | 1240299.9422
71 | 2682012.8555 | 1240299.9422 | 2682011.0157 | 1240317.0512 | 2682007.2775 | 1240351.768
72 | 2682005.4889 | 1240368.3782 | 2682007.2775 | 1240351.768
73 | 2682007.9299 | 1240368.5009 | 2682038.8799 | 1240370.1899
74 | 2682005.4889 | 1240368.3782 | 2682007.9299 | 1240368.5009
75 | 2682007.9299 | 1240368.5009 | 2682005.7191 | 1240378.5331 | 2681999.6359 | 1240396.8066 | 2681998.9498 | 1240398.6505
76 | 2682040.1297 | 1240370.2581 | 2682038.8799 | 1240370.1899
77 | 2682005.4889 | 1240368.3782 | 2682001.33 | 1240383.665 | 2681996.3832 | 1240396.2461
78 | 2682020.9651 | 1240262.7288 | 2682021.7101 | 1240256.2666 | 2682021.8474 | 1240235.3869 | 2682021.6833 | 1240231.8595

## bus_geodata
| x | y | coords
0 | 2682347.1864 | 1240328.4257
1 | 2682341.9135 | 1240348.4754
2 | 2682321.3229 | 1240319.9584
3 | 2682306.5101 | 1240281.7808
4 | 2682334.057 | 1240351.6688
5 | 2682319.2243 | 1240285.5738
6 | 2682102.7301 | 1240155.6367
7 | 2682133.3165 | 1240282.7727
8 | 2682141.3281 | 1240171.4983
9 | 2682369.9769 | 1240407.4068
10 | 2682373.7005 | 1240402.8441
11 | 2682340.7544 | 1240446.1625
12 | 2682386.8196 | 1240424.1821
13 | 2682285.5579 | 1240491.2852
14 | 2682230.4053 | 1240490.7318
15 | 2682287.211 | 1240451.0079
16 | 2682154.6049 | 1240328.1441
17 | 2682161.9102 | 1240351.0949
18 | 2682151.6816 | 1240319.5601
19 | 2682170.7154 | 1240379.3258
20 | 2682147.7003 | 1240352.3914
21 | 2682070.2426 | 1240267.5564
22 | 2682112.6241 | 1240289.9472
23 | 2682047.0054 | 1240289.1085
24 | 2682150.2509 | 1240267.9075
25 | 2682154.3829 | 1240279.1838
26 | 2682176.0093 | 1240258.2201
27 | 2682200.6911 | 1240471.1953
28 | 2682210.9969 | 1240475.1408
29 | 2682197.9334 | 1240436.3231
30 | 2682193.7637 | 1240417.1608
31 | 2682178.7369 | 1240405.1553
32 | 2682203.0836 | 1240413.6762
33 | 2682334.007 | 1240439.7326
34 | 2682143.1191 | 1240294.6946
35 | 2682119.8005 | 1240285.6617
36 | 2682173.3306 | 1240268.0269
37 | 2682154.8148 | 1240289.4198
38 | 2682155.3363 | 1240291.1611
39 | 2682280.5971 | 1240395.2922
40 | 2682201.1677 | 1240341.2646
41 | 2682150.8055 | 1240413.392
42 | 2682176.1616 | 1240396.8627
43 | 2682181.9932 | 1240419.5207
44 | 2682145.6277 | 1240301.9224
45 | 2682400.1434 | 1240290.8976
46 | 2682396.2277 | 1240331.6168
47 | 2682400.559 | 1240289.473
48 | 2682404.1426 | 1240383.5749
49 | 2682401.1833 | 1240362.5077
50 | 2682402.0056 | 1240425.2751
51 | 2682396.694 | 1240336.1261
52 | 2682426.6936 | 1240355.8459
53 | 2682393.8018 | 1240432.244
54 | 2682133.4465 | 1240353.6919
55 | 2682119.9441 | 1240350.3281
56 | 2682146.3241 | 1240352.5169
57 | 2682158.9858 | 1240383.1963
58 | 2682018.2728 | 1240286.0849
59 | 2682220.1108 | 1240407.3205
60 | 2682398.3338 | 1240458.8677
61 | 2682107.8095 | 1240420.4954
62 | 2682129.02 | 1240418.8695
63 | 2682403.1027 | 1240281.4033
64 | 2682449.202 | 1240361.7671
65 | 2682220.5754 | 1240407.147
66 | 2682124.8812 | 1240389.6803
67 | 2682119.815 | 1240350.3469
68 | 2682016.2118 | 1240272.7106
69 | 2682013.7579 | 1240290.459
70 | 2682012.8555 | 1240299.9422
71 | 2682007.2775 | 1240351.768
72 | 2682007.9299 | 1240368.5009
73 | 2682038.8799 | 1240370.1899
74 | 2682005.4889 | 1240368.3782
75 | 2681998.9498 | 1240398.6505
76 | 2682020.9651 | 1240262.7288
77 | 2681996.3832 | 1240396.2461
78 | 2682021.6833 | 1240231.8595
79 | 2682040.1297 | 1240370.2581
80 | 2682167.1999 | 1240349.756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97323 | -0.51618 | 0.015749 | 0.003947
1 | 0.97354 | -0.51018 | 0 | 0
2 | 0.97328 | -0.5152 | 0 | 0
3 | 0.97286 | -0.52346 | 0.0021494 | 0.00053868
4 | 0.97366 | -0.50773 | 0 | 0
5 | 0.97278 | -0.52515 | 0.0069496 | 0.0017417
6 | 0.98797 | -0.22993 | 0 | 0
7 | 0.99219 | -0.14844 | 0 | 0
8 | 0.9849 | -0.28973 | 0.033742 | 0.0084564
9 | 0.97541 | -0.47323 | 0 | 0
10 | 0.97519 | -0.47756 | 0.015264 | 0.0038255
11 | 0.97859 | -0.41085 | 0 | 0
12 | 0.97465 | -0.48823 | 0.010549 | 0.0026439
13 | 0.98513 | -0.28386 | 0 | 0
14 | 0.98942 | -0.20134 | 0 | 0
15 | 0.98352 | -0.31502 | 0.0080512 | 0.0020178
16 | 0.99751 | -0.047075 | 0 | 0
17 | 1 | 0 | -0.4472 | -0.11399
18 | 0.99657 | -0.064863 | 0.0034866 | 0.00087384
19 | 0.99748 | -0.047734 | 0 | 0
20 | 0.9996 | -0.0077217 | 0.014728 | 0.0036912
21 | 0.98487 | -0.28916 | 0 | 0
22 | 0.99034 | -0.18385 | 0 | 0
23 | 0.98194 | -0.34614 | 0.012757 | 0.0031973
24 | 0.99181 | -0.15592 | 0 | 0
25 | 0.99185 | -0.15513 | 0 | 0
26 | 0.99172 | -0.15777 | 0.003683 | 0.00092304
27 | 0.99128 | -0.16594 | 0 | 0
28 | 0.99078 | -0.17549 | 0.010487 | 0.0026283
29 | 0.99284 | -0.13605 | 0.018752 | 0.0046998
30 | 0.99389 | -0.11608 | 0 | 0
31 | 0.99546 | -0.086209 | 0 | 0
32 | 0.9938 | -0.11794 | 0 | 0
33 | 0.97891 | -0.40453 | 0.0033557 | 0.00084101
34 | 0.99392 | -0.11537 | 0 | 0
35 | 0.99107 | -0.1698 | 0.0025543 | 0.00064017
36 | 0.99021 | -0.18683 | 0 | 0
37 | 0.99269 | -0.1391 | 0.0073537 | 0.001843
38 | 0.99284 | -0.13613 | 0 | 0
39 | 0.98147 | -0.35462 | 0 | 0
40 | 0.98433 | -0.30086 | 0.081406 | 0.020402
41 | 0.99496 | -0.095992 | 0.0077263 | 0.0019364
42 | 0.99609 | -0.074238 | 0.0077046 | 0.001931
43 | 0.9953 | -0.089294 | 0.011906 | 0.0029838
44 | 0.99468 | -0.10097 | 0.0068771 | 0.0017236
45 | 0.97325 | -0.51593 | 0 | 0
46 | 0.9734 | -0.51288 | 0 | 0
47 | 0.97324 | -0.51604 | 0.002049 | 0.00051352
48 | 0.97379 | -0.50508 | 0 | 0
49 | 0.97356 | -0.50981 | 0 | 0
50 | 0.97426 | -0.49592 | 0.0033365 | 0.00083621
51 | 0.97342 | -0.51255 | 0.0015405 | 0.00038609
52 | 0.9734 | -0.51294 | 0.0018429 | 0.00046188
53 | 0.97441 | -0.49291 | 0 | 0
54 | 0.99946 | -0.010474 | 0 | 0
55 | 0.99932 | -0.013099 | 0.0052108 | 0.0013059
56 | 0.99958 | -0.0081148 | 0.0058493 | 0.001466
57 | 0.99726 | -0.05211 | 0.0085172 | 0.0021346
58 | 0.98 | -0.38408 | 0 | 0
59 | 0.99362 | -0.12136 | 0.0063416 | 0.0015894
60 | 0.97419 | -0.49725 | 0.0085839 | 0.0021513
61 | 0.99461 | -0.1026 | 0.0056063 | 0.0014051
62 | 0.99472 | -0.1005 | 0.0057567 | 0.0014428
63 | 0.97322 | -0.51634 | 0.0019652 | 0.00049253
64 | 0.9733 | -0.51488 | 0.0045325 | 0.0011359
65 | 0.99362 | -0.1214 | 0.0043097 | 0.0010801
66 | 0.99689 | -0.059256 | 0.011705 | 0.0029335
67 | 0.99932 | -0.013111 | 0.0052466 | 0.0013149
68 | 0.97901 | -0.40335 | 0.007063 | 0.0017702
69 | 0.97913 | -0.40105 | 0 | 0
70 | 0.97919 | -0.39982 | 0 | 0
71 | 0.97716 | -0.43973 | 0.0061401 | 0.0015388
72 | 0.97653 | -0.45198 | 0 | 0
73 | 0.97584 | -0.46557 | 0.013959 | 0.0034984
74 | 0.9766 | -0.45068 | 0 | 0
75 | 0.97638 | -0.45495 | 0.0051603 | 0.0012933
76 | 0.9795 | -0.39381 | 0.011604 | 0.0029083
77 | 0.97642 | -0.4543 | 0.0067486 | 0.0016914
78 | 0.97918 | -0.40009 | 0.011176 | 0.0028009
79 | 0.97583 | -0.4658 | 0.010018 | 0.0025107
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015749 | -0.003947 | 0.015753 | 0.0039496 | 4.5075e-06 | 2.6271e-06 | 0.024079 | 0.024079 | 0.024079 | 0.97323 | -0.51618 | 0.97354 | -0.51018 | 6.6151
1 | -0.015753 | -0.0039496 | 0.015755 | 0.0039507 | 1.8394e-06 | 1.072e-06 | 0.024079 | 0.024079 | 0.024079 | 0.97354 | -0.51018 | 0.97366 | -0.50773 | 6.6151
2 | 0.0091031 | 0.0022823 | -0.0090996 | -0.0022806 | 3.58e-06 | 1.679e-06 | 0.013918 | 0.013918 | 0.013918 | 0.97328 | -0.5152 | 0.97286 | -0.52346 | 3.8236
3 | -0.0091031 | -0.0022823 | 0.0091064 | 0.0022838 | 3.243e-06 | 1.5205e-06 | 0.013918 | 0.013918 | 0.013918 | 0.97328 | -0.5152 | 0.97366 | -0.50773 | 3.8236
4 | 0.0069502 | 0.0017419 | -0.0069496 | -0.0017417 | 5.6227e-07 | 1.9512e-07 | 0.010631 | 0.010631 | 0.010631 | 0.97286 | -0.52346 | 0.97278 | -0.52515 | 2.9205
5 | -0.024862 | -0.0062345 | 0.024897 | 0.0062566 | 3.5798e-05 | 2.2087e-05 | 0.037996 | 0.037996 | 0.037996 | 0.97366 | -0.50773 | 0.97519 | -0.47756 | 10.4386
6 | -0.033838 | -0.0085169 | 0.03397 | 0.0085998 | 0.00013235 | 8.2955e-05 | 0.050977 | 0.050977 | 0.050977 | 0.98797 | -0.22993 | 0.99219 | -0.14844 | 14.0048
7 | 0.033838 | 0.0085169 | -0.033742 | -0.0084564 | 9.6423e-05 | 6.0448e-05 | 0.050977 | 0.050978 | 0.050978 | 0.98797 | -0.22993 | 0.9849 | -0.28973 | 14.0049
8 | -0.12227 | -0.031158 | 0.12246 | 0.031283 | 0.00019546 | 0.00012489 | 0.18355 | 0.18355 | 0.18355 | 0.99219 | -0.14844 | 0.99392 | -0.11537 | 50.4256
9 | 0.088296 | 0.022558 | -0.088204 | -0.0225 | 9.1093e-05 | 5.8121e-05 | 0.13257 | 0.13257 | 0.13257 | 0.99219 | -0.14844 | 0.99107 | -0.1698 | 36.421
10 | 0.040169 | 0.010087 | -0.040161 | -0.010082 | 8.2952e-06 | 5.2354e-06 | 0.061287 | 0.061287 | 0.061287 | 0.97541 | -0.47323 | 0.97519 | -0.47756 | 16.837
11 | -0.074614 | -0.018734 | 0.074836 | 0.018874 | 0.00022276 | 0.00014027 | 0.11384 | 0.11384 | 0.11384 | 0.97541 | -0.47323 | 0.97859 | -0.41085 | 15.637
12 | 0.034444 | 0.0086466 | -0.03442 | -0.0086311 | 2.4618e-05 | 1.5459e-05 | 0.052551 | 0.052551 | 0.052551 | 0.97541 | -0.47323 | 0.97465 | -0.48823 | 14.437
13 | -0.074836 | -0.018874 | 0.074859 | 0.018888 | 2.2647e-05 | 1.426e-05 | 0.11384 | 0.11384 | 0.11384 | 0.97859 | -0.41085 | 0.97891 | -0.40453 | 15.6369
14 | 0.02387 | 0.0059872 | -0.023865 | -0.005984 | 5.323e-06 | 3.2736e-06 | 0.036445 | 0.036445 | 0.036445 | 0.97465 | -0.48823 | 0.97441 | -0.49291 | 10.0124
15 | -0.086733 | -0.022042 | 0.087079 | 0.02226 | 0.0003461 | 0.00021876 | 0.13112 | 0.13112 | 0.13112 | 0.98513 | -0.28386 | 0.98942 | -0.20134 | 18.0106
16 | 0.086733 | 0.022042 | -0.086603 | -0.02196 | 0.00012994 | 8.2138e-05 | 0.13112 | 0.13112 | 0.13112 | 0.98513 | -0.28386 | 0.98352 | -0.31502 | 18.0106
17 | -0.087079 | -0.02226 | 0.087188 | 0.022329 | 0.00010906 | 6.8926e-05 | 0.13112 | 0.13112 | 0.13112 | 0.98942 | -0.20134 | 0.99078 | -0.17549 | 18.0104
18 | 0.078551 | 0.019942 | -0.078402 | -0.019848 | 0.00014936 | 9.4164e-05 | 0.11894 | 0.11894 | 0.11894 | 0.98352 | -0.31502 | 0.98147 | -0.35462 | 16.3375
19 | -0.22674 | -0.05799 | 0.22726 | 0.058321 | 0.00051783 | 0.00033078 | 0.33865 | 0.33865 | 0.33865 | 0.99751 | -0.047075 | 1 | 0 | 46.5183
20 | 0.22674 | 0.05799 | -0.22655 | -0.057865 | 0.000195 | 0.00012456 | 0.33865 | 0.33865 | 0.33865 | 0.99751 | -0.047075 | 0.99657 | -0.064863 | 46.5183
21 | 0.18724 | 0.047884 | -0.18681 | -0.047609 | 0.00043142 | 0.00027533 | 0.27896 | 0.27896 | 0.27896 | 1 | 0 | 0.99748 | -0.047734 | 38.3189
22 | 0.031049 | 0.0077865 | -0.031037 | -0.0077794 | 1.1423e-05 | 7.1233e-06 | 0.046203 | 0.046203 | 0.046203 | 1 | 0 | 0.9996 | -0.0077217 | 12.6931
23 | 0.22306 | 0.056991 | -0.22267 | -0.056743 | 0.00038876 | 0.00024832 | 0.33345 | 0.33345 | 0.33345 | 0.99657 | -0.064863 | 0.99468 | -0.10097 | 45.8032
24 | 0.02023 | 0.0050728 | -0.020226 | -0.0050703 | 4.2188e-06 | 2.5389e-06 | 0.03018 | 0.03018 | 0.03018 | 0.99748 | -0.047734 | 0.99726 | -0.05211 | 8.2912
25 | 0.16658 | 0.042536 | -0.16637 | -0.0424 | 0.0002131 | 0.00013591 | 0.24878 | 0.24878 | 0.24878 | 0.99748 | -0.047734 | 0.99609 | -0.074238 | 34.1733
26 | 0.016309 | 0.0040882 | -0.016309 | -0.0040881 | 3.0546e-07 | 1.7738e-07 | 0.024279 | 0.024279 | 0.024279 | 0.9996 | -0.0077217 | 0.99958 | -0.0081148 | 6.67
27 | -0.085159 | -0.021546 | 0.085592 | 0.021823 | 0.00043273 | 0.00027605 | 0.12874 | 0.12874 | 0.12874 | 0.98487 | -0.28916 | 0.99034 | -0.18385 | 35.3675
28 | 0.085159 | 0.021546 | -0.084927 | -0.021398 | 0.00023219 | 0.00014813 | 0.12874 | 0.12874 | 0.12874 | 0.98487 | -0.28916 | 0.98194 | -0.34614 | 35.3676
29 | -0.085592 | -0.021823 | 0.08565 | 0.02186 | 5.8114e-05 | 3.7073e-05 | 0.12874 | 0.12874 | 0.12874 | 0.99034 | -0.18385 | 0.99107 | -0.1698 | 35.3674
30 | 0.07217 | 0.018201 | -0.072039 | -0.018118 | 0.0001308 | 8.3347e-05 | 0.10941 | 0.10941 | 0.10941 | 0.98194 | -0.34614 | 0.98 | -0.38408 | 30.0565
31 | -0.0036833 | -0.00092288 | 0.0036834 | 0.00092282 | 1.3761e-07 | -6.7022e-08 | 0.005526 | 0.0055259 | 0.005526 | 0.99181 | -0.15592 | 0.99185 | -0.15513 | 1.5181
32 | 0.0036833 | 0.00092288 | -0.003683 | -0.00092304 | 3.2574e-07 | -1.5858e-07 | 0.005526 | 0.0055261 | 0.0055261 | 0.99181 | -0.15592 | 0.99172 | -0.15777 | 1.5182
33 | 0.081976 | 0.020766 | -0.081851 | -0.020686 | 0.00012461 | 7.9468e-05 | 0.12306 | 0.12306 | 0.12306 | 0.99185 | -0.15513 | 0.99021 | -0.18683 | 33.8082
34 | -0.085659 | -0.021688 | 0.085725 | 0.02173 | 6.5985e-05 | 4.2093e-05 | 0.12859 | 0.12859 | 0.12859 | 0.99185 | -0.15513 | 0.99269 | -0.1391 | 35.3263
35 | 0.09772 | 0.024986 | -0.097675 | -0.024958 | 4.5106e-05 | 2.858e-05 | 0.14687 | 0.14687 | 0.14687 | 0.99128 | -0.16594 | 0.99078 | -0.17549 | 20.1738
36 | -0.09772 | -0.024986 | 0.097861 | 0.025076 | 0.00014155 | 8.9687e-05 | 0.14687 | 0.14687 | 0.14687 | 0.99128 | -0.16594 | 0.99284 | -0.13605 | 20.1738
37 | -0.11661 | -0.029776 | 0.11673 | 0.029847 | 0.0001127 | 7.1619e-05 | 0.17497 | 0.17497 | 0.17497 | 0.99284 | -0.13605 | 0.99389 | -0.11608 | 24.0343
38 | -0.12738 | -0.032518 | 0.12756 | 0.032635 | 0.00018415 | 0.00011716 | 0.19092 | 0.19092 | 0.19092 | 0.99389 | -0.11608 | 0.99546 | -0.086209 | 26.2253
39 | 0.010654 | 0.0026708 | -0.010653 | -0.0026704 | 9.4698e-07 | 4.7746e-07 | 0.015951 | 0.015951 | 0.015951 | 0.99389 | -0.11608 | 0.9938 | -0.11794 | 4.3822
40 | 0.019101 | 0.0047909 | -0.019092 | -0.0047856 | 8.9035e-06 | 5.3198e-06 | 0.028554 | 0.028554 | 0.028554 | 0.99546 | -0.086209 | 0.99496 | -0.095992 | 7.8445
41 | -0.15857 | -0.040411 | 0.15866 | 0.040469 | 9.166e-05 | 5.8436e-05 | 0.23727 | 0.23727 | 0.23727 | 0.99546 | -0.086209 | 0.99609 | -0.074238 | 32.5924
42 | 0.011907 | 0.0029847 | -0.011906 | -0.0029838 | 1.75e-06 | 9.2852e-07 | 0.017799 | 0.017799 | 0.017799 | 0.99546 | -0.086209 | 0.9953 | -0.089294 | 4.8899
43 | 0.010653 | 0.0026704 | -0.010651 | -0.0026695 | 1.7341e-06 | 8.7439e-07 | 0.015951 | 0.015951 | 0.015951 | 0.9938 | -0.11794 | 0.99362 | -0.12136 | 4.3822
44 | -0.078215 | -0.019729 | 0.078402 | 0.019848 | 0.00018737 | 0.00011813 | 0.11894 | 0.11894 | 0.11894 | 0.97891 | -0.40453 | 0.98147 | -0.35462 | 16.3376
45 | -0.21565 | -0.054924 | 0.2158 | 0.05502 | 0.00014981 | 9.5679e-05 | 0.32316 | 0.32316 | 0.32316 | 0.99392 | -0.11537 | 0.99468 | -0.10097 | 44.3901
46 | 0.093185 | 0.023641 | -0.093092 | -0.023582 | 9.2958e-05 | 5.9328e-05 | 0.13961 | 0.13961 | 0.13961 | 0.99392 | -0.11537 | 0.99284 | -0.13613 | 38.3546
47 | 0.081851 | 0.020686 | -0.081406 | -0.020402 | 0.00044483 | 0.00028369 | 0.12306 | 0.12306 | 0.12306 | 0.99021 | -0.18683 | 0.98433 | -0.30086 | 33.8083
48 | -0.093079 | -0.023573 | 0.093092 | 0.023582 | 1.3286e-05 | 8.4796e-06 | 0.13961 | 0.13961 | 0.13961 | 0.99269 | -0.1391 | 0.99284 | -0.13613 | 38.3546
49 | 0.011366 | 0.0028492 | -0.011364 | -0.0028479 | 2.4425e-06 | 1.2705e-06 | 0.016999 | 0.016999 | 0.016999 | 0.99496 | -0.095992 | 0.99472 | -0.1005 | 4.67
50 | -0.0040142 | -0.001006 | 0.0040148 | 0.0010058 | 5.8229e-07 | -1.397e-07 | 0.0061374 | 0.0061372 | 0.0061374 | 0.97325 | -0.51593 | 0.9734 | -0.51288 | 1.6861
51 | 0.0040142 | 0.001006 | -0.0040142 | -0.001006 | 2.0962e-08 | -5.0253e-09 | 0.0061374 | 0.0061374 | 0.0061374 | 0.97325 | -0.51593 | 0.97324 | -0.51604 | 1.6861
52 | -0.0040148 | -0.0010058 | 0.0040149 | 0.0010058 | 6.4031e-08 | -1.5373e-08 | 0.0061372 | 0.0061372 | 0.0061372 | 0.9734 | -0.51288 | 0.97342 | -0.51255 | 1.686
53 | 0.0019652 | 0.00049244 | -0.0019652 | -0.00049253 | 2.8655e-08 | -8.6835e-08 | 0.0030047 | 0.0030047 | 0.0030047 | 0.97324 | -0.51604 | 0.97322 | -0.51634 | 0.82547
54 | 0.011936 | 0.0029916 | -0.011933 | -0.0029901 | 2.6892e-06 | 1.453e-06 | 0.018238 | 0.018238 | 0.018238 | 0.97379 | -0.50508 | 0.97356 | -0.50981 | 5.0106
55 | -0.011936 | -0.0029916 | 0.011941 | 0.0029944 | 5.2084e-06 | 2.8137e-06 | 0.018238 | 0.018238 | 0.018238 | 0.97379 | -0.50508 | 0.97426 | -0.49592 | 5.0105
56 | 0.0063768 | 0.0015981 | -0.0063758 | -0.0015978 | 9.4956e-07 | 2.7632e-07 | 0.0097464 | 0.0097466 | 0.0097466 | 0.97356 | -0.50981 | 0.9734 | -0.51294 | 2.6776
57 | 0.0055561 | 0.001392 | -0.0055554 | -0.0013919 | 7.2445e-07 | 1.3059e-07 | 0.008492 | 0.0084921 | 0.0084921 | 0.97356 | -0.50981 | 0.97342 | -0.51255 | 2.333
58 | -0.015277 | -0.0038306 | 0.015279 | 0.0038318 | 2.1978e-06 | 1.2725e-06 | 0.023334 | 0.023334 | 0.023334 | 0.97426 | -0.49592 | 0.97441 | -0.49291 | 6.4105
59 | 0.0045329 | 0.0011359 | -0.0045325 | -0.0011359 | 4.1907e-07 | -2.1074e-08 | 0.0069293 | 0.0069294 | 0.0069294 | 0.9734 | -0.51294 | 0.9733 | -0.51488 | 1.9037
60 | 0.0085856 | 0.0021521 | -0.0085839 | -0.0021513 | 1.7788e-06 | 7.9478e-07 | 0.013111 | 0.013111 | 0.013111 | 0.97441 | -0.49291 | 0.97419 | -0.49725 | 3.602
61 | 0.010459 | 0.0026215 | -0.010457 | -0.0026209 | 1.3077e-06 | 6.4847e-07 | 0.015571 | 0.015571 | 0.015571 | 0.99946 | -0.010474 | 0.99932 | -0.013099 | 4.2778
62 | -0.010459 | -0.0026215 | 0.01046 | 0.0026221 | 1.1757e-06 | 5.8299e-07 | 0.015571 | 0.015571 | 0.015571 | 0.99946 | -0.010474 | 0.99958 | -0.0081148 | 4.2778
63 | 0.0052466 | 0.0013149 | -0.0052466 | -0.0013149 | 2.9881e-09 | 2.0276e-10 | 0.0078123 | 0.0078123 | 0.0078123 | 0.99932 | -0.013099 | 0.99932 | -0.013111 | 2.1462
64 | 0.011709 | 0.0029356 | -0.011705 | -0.0029335 | 3.986e-06 | 2.0969e-06 | 0.017471 | 0.017472 | 0.017472 | 0.99726 | -0.05211 | 0.99689 | -0.059256 | 4.7999
65 | 0.022794 | 0.0057174 | -0.022783 | -0.005711 | 1.0562e-05 | 6.4636e-06 | 0.034612 | 0.034612 | 0.034612 | 0.98 | -0.38408 | 0.9795 | -0.39381 | 9.5087
66 | 0.049245 | 0.0124 | -0.049208 | -0.012377 | 3.703e-05 | 2.3477e-05 | 0.074794 | 0.074794 | 0.074794 | 0.98 | -0.38408 | 0.97919 | -0.39982 | 20.5479
67 | 0.0043097 | 0.0010801 | -0.0043097 | -0.0010801 | 7.7467e-09 | -1.4653e-09 | 0.0064541 | 0.0064541 | 0.0064541 | 0.99362 | -0.12136 | 0.99362 | -0.1214 | 1.7731
68 | -0.0056063 | -0.0014051 | 0.0056069 | 0.0014052 | 5.6119e-07 | 8.3046e-08 | 0.0083874 | 0.0083873 | 0.0083874 | 0.99461 | -0.1026 | 0.99472 | -0.1005 | 2.3042
69 | -0.007063 | -0.0017702 | 0.0070638 | 0.0017704 | 7.7431e-07 | 2.7023e-07 | 0.010735 | 0.010735 | 0.010735 | 0.97901 | -0.40335 | 0.97913 | -0.40105 | 2.9492
70 | -0.0070638 | -0.0017704 | 0.0070642 | 0.0017706 | 4.1172e-07 | 1.4367e-07 | 0.010735 | 0.010735 | 0.010735 | 0.97913 | -0.40105 | 0.97919 | -0.39982 | 2.9492
71 | 0.042144 | 0.010606 | -0.042064 | -0.010556 | 8.0213e-05 | 5.0682e-05 | 0.064059 | 0.064059 | 0.064059 | 0.97919 | -0.39982 | 0.97716 | -0.43973 | 17.5987
72 | 0.035924 | 0.0090167 | -0.035905 | -0.0090049 | 1.8751e-05 | 1.1792e-05 | 0.054709 | 0.054709 | 0.054709 | 0.97716 | -0.43973 | 0.9766 | -0.45068 | 15.0301
73 | 0.023992 | 0.0060187 | -0.023977 | -0.0060092 | 1.5537e-05 | 9.5562e-06 | 0.036561 | 0.036561 | 0.036561 | 0.97653 | -0.45198 | 0.97584 | -0.46557 | 10.0442
74 | -0.029153 | -0.0073121 | 0.029155 | 0.0073132 | 1.8036e-06 | 1.1238e-06 | 0.044425 | 0.044425 | 0.044425 | 0.97653 | -0.45198 | 0.9766 | -0.45068 | 12.2047
75 | 0.0051611 | 0.0012934 | -0.0051603 | -0.0012933 | 7.3057e-07 | 7.3537e-08 | 0.0078642 | 0.0078644 | 0.0078644 | 0.97653 | -0.45198 | 0.97638 | -0.45495 | 2.1605
76 | 0.010018 | 0.0025108 | -0.010018 | -0.0025107 | 1.0953e-07 | 5.4464e-08 | 0.015276 | 0.015276 | 0.015276 | 0.97584 | -0.46557 | 0.97583 | -0.4658 | 4.1967
77 | 0.0067497 | 0.0016917 | -0.0067486 | -0.0016914 | 1.1646e-06 | 3.7802e-07 | 0.010284 | 0.010285 | 0.010285 | 0.9766 | -0.45068 | 0.97642 | -0.4543 | 2.8254
78 | 0.011179 | 0.0028027 | -0.011176 | -0.0028009 | 3.344e-06 | 1.7512e-06 | 0.016983 | 0.016984 | 0.016984 | 0.9795 | -0.39381 | 0.97918 | -0.40009 | 4.6658

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4472 | 0.11399

## res_load
| p_mw | q_mvar
0 | 0.015749 | 0.003947
1 | 0.0021494 | 0.00053868
2 | 0.0069496 | 0.0017417
3 | 0.033742 | 0.0084564
4 | 0.015264 | 0.0038255
5 | 0.010549 | 0.0026439
6 | 0.0080512 | 0.0020178
7 | 0.0034866 | 0.00087384
8 | 0.014728 | 0.0036912
9 | 0.012757 | 0.0031973
10 | 0.003683 | 0.00092304
11 | 0.010487 | 0.0026283
12 | 0.018752 | 0.0046998
13 | 0.0033557 | 0.00084101
14 | 0.0025543 | 0.00064017
15 | 0.0073537 | 0.001843
16 | 0.081406 | 0.020402
17 | 0.0077263 | 0.0019364
18 | 0.0077046 | 0.001931
19 | 0.011906 | 0.0029838
20 | 0.0068771 | 0.0017236
21 | 0.002049 | 0.00051352
22 | 0.0033365 | 0.00083621
23 | 0.0015405 | 0.00038609
24 | 0.0018429 | 0.00046188
25 | 0.0052108 | 0.0013059
26 | 0.0058493 | 0.001466
27 | 0.0085172 | 0.0021346
28 | 0.0063416 | 0.0015894
29 | 0.0085839 | 0.0021513
30 | 0.0056063 | 0.0014051
31 | 0.0057567 | 0.0014428
32 | 0.0019652 | 0.00049253
33 | 0.0045325 | 0.0011359
34 | 0.0043097 | 0.0010801
35 | 0.011705 | 0.0029335
36 | 0.0052466 | 0.0013149
37 | 0.007063 | 0.0017702
38 | 0.0061401 | 0.0015388
39 | 0.013959 | 0.0034984
40 | 0.0051603 | 0.0012933
41 | 0.011604 | 0.0029083
42 | 0.0067486 | 0.0016914
43 | 0.011176 | 0.0028009
44 | 0.010018 | 0.0025107

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1