## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_131-23_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_131-23_0_3_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_131-23_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_131-23_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_131-23_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_131-23_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_131-23_0_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_131-23_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_131-23_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_131-23_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_131-23_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_131-23_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_131-23_0_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_131-23_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_131-23_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_131-23_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_131-23_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_131-23_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_131-23_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_131-23_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_131-23_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_131-23_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_131-23_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_131-23_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_131-23_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_131-23_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_131-23_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_131-23_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_131-23_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_131-23_0_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_131-23_0_3_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_131-23_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_131-23_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_131-23_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_131-23_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_131-23_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_131-23_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_131-23_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_131-23_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_131-23_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_131-23_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_131-23_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_131-23_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_131-23_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_131-23_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_131-23_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_131-23_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_131-23_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_131-23_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_131-23_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_131-23_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_131-23_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_MV_360_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-23_0_3_load_0 | 0 | 0.007933 | 0.0019882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-23_0_3_load_1 | 1 | 0.0079115 | 0.0019828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-23_0_3_load_23 | 5 | 0.0026377 | 0.00066107 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-23_0_3_load_20 | 6 | 0.0057098 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-23_0_3_load_56 | 8 | 0.0038875 | 0.00097431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-23_0_3_load_37 | 10 | 0.005988 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-23_0_3_load_59 | 14 | 0.012441 | 0.0031179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-23_0_3_load_22 | 16 | 0.0028127 | 0.00070492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-23_0_3_load_25 | 19 | 0.010091 | 0.0025291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-23_0_3_load_55 | 20 | 0.007982 | 0.0020005 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-23_0_3_load_60 | 21 | 0.029423 | 0.0073742 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-23_0_3_load_53 | 22 | 0.02339 | 0.0058621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-23_0_3_load_29 | 24 | 0.0095469 | 0.0023927 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-23_0_3_load_33 | 25 | 0.010487 | 0.0026284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-23_0_3_load_52 | 26 | 0.0051628 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-23_0_3_load_34 | 28 | 0.0051995 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-23_0_3_load_32 | 29 | 0.0048754 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-23_0_3_load_58 | 31 | 0.010165 | 0.0025477 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-23_0_3_load_57 | 32 | 0.042909 | 0.010754 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-23_0_3_load_36 | 34 | 0.0086552 | 0.0021692 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-23_0_3_load_35 | 35 | 0.0044801 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-23_0_3_load_21 | 36 | 0.0031074 | 0.00077878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-23_0_3_load_30 | 38 | 0.011576 | 0.0029013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-23_0_3_load_27 | 39 | 0.016901 | 0.0042357 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-23_0_3_load_31 | 40 | 0.01951 | 0.0048898 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_131-23_0_3_load_47 | 42 | 0.008169 | 0.0020474 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_131-23_0_3_load_50 | 44 | 0.0029195 | 0.00073171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_131-23_0_3_load_51 | 45 | 0.002389 | 0.00059875 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_131-23_0_3_load_38 | 46 | 0.0090263 | 0.0022622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_131-23_0_3_load_43 | 48 | 0.0027601 | 0.00069176 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_131-23_0_3_load_39 | 49 | 0.0066664 | 0.0016708 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_131-23_0_3_load_40 | 50 | 0.0051628 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_131-23_0_3_load_42 | 52 | 0.0043401 | 0.0010877 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_131-23_0_3_load_54 | 53 | 0.0029197 | 0.00073175 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-23_0_3_line_0 |  | 0 | 1 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_131-23_0_3_line_1 |  | 1 | 2 | 0.011065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_131-23_0_3_line_2 |  | 2 | 3 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-23_0_3_line_3 |  | 3 | 21 | 0.039293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-23_0_3_line_4 |  | 3 | 22 | 0.054916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_131-23_0_3_line_5 |  | 3 | 11 | 0.036944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-23_0_3_line_6 |  | 4 | 5 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_131-23_0_3_line_7 |  | 4 | 6 | 0.011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_131-23_0_3_line_8 |  | 5 | 11 | 0.013635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_131-23_0_3_line_9 |  | 6 | 36 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-23_0_3_line_10 |  | 7 | 8 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_131-23_0_3_line_11 |  | 7 | 9 | 0.007313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_131-23_0_3_line_12 |  | 7 | 10 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_131-23_0_3_line_13 |  | 8 | 15 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-23_0_3_line_14 |  | 9 | 19 | 0.0062428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-23_0_3_line_15 |  | 9 | 12 | 0.016324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_131-23_0_3_line_16 |  | 10 | 34 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_131-23_0_3_line_17 |  | 12 | 13 | 0.13573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-23_0_3_line_18 |  | 12 | 14 | 0.039797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_131-23_0_3_line_19 |  | 13 | 20 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_131-23_0_3_line_20 |  | 14 | 31 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_131-23_0_3_line_21 |  | 15 | 16 | 0.0062939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_131-23_0_3_line_22 |  | 16 | 36 | 0.0070983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_131-23_0_3_line_23 |  | 17 | 18 | 0.00757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_131-23_0_3_line_24 |  | 17 | 19 | 0.032454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-23_0_3_line_25 |  | 18 | 39 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_131-23_0_3_line_26 |  | 18 | 40 | 0.014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-23_0_3_line_27 |  | 22 | 41 | 0.054967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-23_0_3_line_28 |  | 23 | 24 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-23_0_3_line_29 |  | 23 | 25 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-23_0_3_line_30 |  | 23 | 26 | 0.051787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_131-23_0_3_line_31 |  | 25 | 29 | 0.022132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_131-23_0_3_line_32 |  | 27 | 28 | 0.023378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-23_0_3_line_33 |  | 27 | 29 | 0.0089611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_131-23_0_3_line_34 |  | 28 | 35 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-23_0_3_line_35 |  | 30 | 31 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_131-23_0_3_line_36 |  | 30 | 32 | 0.068201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_131-23_0_3_line_37 |  | 33 | 34 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_131-23_0_3_line_38 |  | 33 | 35 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_131-23_0_3_line_39 |  | 37 | 38 | 0.038988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-23_0_3_line_40 |  | 37 | 39 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-23_0_3_line_41 |  | 38 | 46 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_131-23_0_3_line_42 |  | 41 | 53 | 0.029655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_131-23_0_3_line_43 |  | 41 | 44 | 0.043591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-23_0_3_line_44 |  | 42 | 43 | 0.025585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_131-23_0_3_line_45 |  | 43 | 44 | 0.0076894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_131-23_0_3_line_46 |  | 43 | 45 | 0.041499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_131-23_0_3_line_47 |  | 45 | 47 | 0.011359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_131-23_0_3_line_48 |  | 47 | 48 | 0.039424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_131-23_0_3_line_49 |  | 48 | 51 | 0.052923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_131-23_0_3_line_50 |  | 49 | 50 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_131-23_0_3_line_51 |  | 49 | 51 | 0.05074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_131-23_0_3_line_52 |  | 50 | 52 | 0.0052833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-23_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 54 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2682105.978 | 1240647.9992 | 2682105.9291 | 1240643.6742 | 2682105.7649 | 1240631.3727
1 | 2682105.6172 | 1240620.3087 | 2682105.7649 | 1240631.3727
2 | 2682105.6172 | 1240620.3087 | 2682105.497 | 1240608.7766 | 2682097.9211 | 1240608.6717
3 | 2682097.9211 | 1240608.6717 | 2682097.9967 | 1240615.7779 | 2682097.9261 | 1240640.0053 | 2682097.941 | 1240647.9639
4 | 2682097.9211 | 1240608.6717 | 2682045.1335 | 1240623.8108
5 | 2682097.9211 | 1240608.6717 | 2682098.1849 | 1240597.8009 | 2682101.927 | 1240589.1465 | 2682103.5966 | 1240585.4447 | 2682105.8665 | 1240582.0737 | 2682108.6601 | 1240579.1213 | 2682106.0633 | 1240575.505
6 | 2682132.2116 | 1240567.4609 | 2682118.7056 | 1240566.8959 | 2682117.3332 | 1240567.8305
7 | 2682132.2116 | 1240567.4609 | 2682138.8863 | 1240566.5749 | 2682143.9152 | 1240566.6515
8 | 2682106.0633 | 1240575.505 | 2682117.3332 | 1240567.8305
9 | 2682143.9152 | 1240566.6515 | 2682157.4246 | 1240566.8574
10 | 2682178.7713 | 1240531.535 | 2682178.1004 | 1240549.6919
11 | 2682179.6432 | 1240524.2752 | 2682178.7713 | 1240531.535
12 | 2682178.7713 | 1240531.535 | 2682159.7461 | 1240529.6635
13 | 2682170.8152 | 1240567.0614 | 2682174.4709 | 1240564.6548 | 2682177.6704 | 1240561.33 | 2682178.1004 | 1240549.6919
14 | 2682179.6432 | 1240524.2752 | 2682180.4987 | 1240518.0913
15 | 2682179.6432 | 1240524.2752 | 2682189.4834 | 1240527.4359 | 2682195.1117 | 1240529.482
16 | 2682159.7461 | 1240529.6635 | 2682157.7236 | 1240529.4645 | 2682147.5785 | 1240532.6231
17 | 2682195.1117 | 1240529.482 | 2682199.7801 | 1240522.2081 | 2682206.039 | 1240519.137 | 2682213.3107 | 1240519.916 | 2682215.8107 | 1240511.956 | 2682218.8009 | 1240503.0021 | 2682228.9117 | 1240506.2889 | 2682284.6082 | 1240522.6834 | 2682286.1608 | 1240523.0607 | 2682286.8363 | 1240517.4327 | 2682285.6575 | 1240509.1883 | 2682296.2394 | 1240507.4003
18 | 2682195.1117 | 1240529.482 | 2682191.4887 | 1240543.7198 | 2682190.8635 | 1240568.8179
19 | 2682296.2394 | 1240507.4003 | 2682294.1402 | 1240492.4494
20 | 2682190.8635 | 1240568.8179 | 2682190.4749 | 1240584.4186
21 | 2682170.8152 | 1240567.0614 | 2682164.5221 | 1240566.9655
22 | 2682157.4246 | 1240566.8574 | 2682164.5221 | 1240566.9655
23 | 2682184.6953 | 1240478.379 | 2682184.946 | 1240485.9434
24 | 2682184.946 | 1240485.9434 | 2682180.4987 | 1240518.0913
25 | 2682184.6953 | 1240478.379 | 2682170.2883 | 1240478.3909
26 | 2682184.6953 | 1240478.379 | 2682186.2308 | 1240463.8882
27 | 2682045.1335 | 1240623.8108 | 2681998.6742 | 1240594.4345
28 | 2682088.2603 | 1240481.5917 | 2682101.5041 | 1240480.9742
29 | 2682088.2603 | 1240481.5917 | 2682084.4907 | 1240508.56
30 | 2682088.2603 | 1240481.5917 | 2682071.9089 | 1240432.4542
31 | 2682082.0236 | 1240530.5344 | 2682082.3347 | 1240523.9846 | 2682084.4907 | 1240508.56
32 | 2682081.5985 | 1240539.4855 | 2682104.9765 | 1240539.4387
33 | 2682081.5985 | 1240539.4855 | 2682082.0236 | 1240530.5344
34 | 2682104.9765 | 1240539.4387 | 2682122.3364 | 1240539.4039
35 | 2682190.1387 | 1240598.0511 | 2682190.3643 | 1240588.8587 | 2682190.4749 | 1240584.4186
36 | 2682190.1387 | 1240598.0511 | 2682203.5443 | 1240596.58 | 2682211.863 | 1240590.5576 | 2682221.6594 | 1240547.2057
37 | 2682132.113 | 1240537.4381 | 2682147.5785 | 1240532.6231
38 | 2682132.113 | 1240537.4381 | 2682125.8243 | 1240539.397 | 2682122.3364 | 1240539.4039
39 | 2682156.6611 | 1240478.4022 | 2682153.3182 | 1240500.8164 | 2682146.1298 | 1240506.5766 | 2682139.0552 | 1240507.3243
40 | 2682156.6611 | 1240478.4022 | 2682170.2883 | 1240478.3909
41 | 2682121.0181 | 1240509.2304 | 2682139.0552 | 1240507.3243
42 | 2681998.6742 | 1240594.4345 | 2681980.1459 | 1240596.6803 | 2681970.7884 | 1240590.9145
43 | 2681998.6742 | 1240594.4345 | 2681997.9981 | 1240586.9977 | 2682000.9903 | 1240563.0997 | 2682002.6871 | 1240551.1811
44 | 2682003.7709 | 1240543.5686 | 2682027.3022 | 1240553.6119
45 | 2682003.7709 | 1240543.5686 | 2682002.6871 | 1240551.1811
46 | 2682003.7709 | 1240543.5686 | 2681998.3768 | 1240537.7121 | 2681969.2834 | 1240521.0308
47 | 2681959.4291 | 1240515.3806 | 2681969.2834 | 1240521.0308
48 | 2681959.4291 | 1240515.3806 | 2681965.4033 | 1240488.5661 | 2681969.3161 | 1240477.2724
49 | 2681988.0981 | 1240427.8138 | 2681976.9896 | 1240455.1244 | 2681969.3161 | 1240477.2724
50 | 2682017.6289 | 1240451.4454 | 2682018.0992 | 1240465.5254
51 | 2681988.0981 | 1240427.8138 | 2682012.8436 | 1240427.1885 | 2682016.9544 | 1240431.2481 | 2682017.6289 | 1240451.4454
52 | 2682018.2755 | 1240470.8058 | 2682018.0992 | 1240465.5254

## bus_geodata
| x | y | coords
0 | 2682105.978 | 1240647.9992
1 | 2682105.7649 | 1240631.3727
2 | 2682105.6172 | 1240620.3087
3 | 2682097.9211 | 1240608.6717
4 | 2682132.2117 | 1240567.4609
5 | 2682117.3332 | 1240567.8305
6 | 2682143.9152 | 1240566.6515
7 | 2682178.7713 | 1240531.535
8 | 2682178.1004 | 1240549.6919
9 | 2682179.6432 | 1240524.2752
10 | 2682159.7461 | 1240529.6635
11 | 2682106.0633 | 1240575.505
12 | 2682195.1117 | 1240529.482
13 | 2682296.2394 | 1240507.4003
14 | 2682190.8635 | 1240568.8179
15 | 2682170.8152 | 1240567.0614
16 | 2682164.5221 | 1240566.9655
17 | 2682184.946 | 1240485.9434
18 | 2682184.6953 | 1240478.379
19 | 2682180.4987 | 1240518.0913
20 | 2682294.1402 | 1240492.4494
21 | 2682097.941 | 1240647.9639
22 | 2682045.1335 | 1240623.8108
23 | 2682088.2603 | 1240481.5917
24 | 2682101.5041 | 1240480.9742
25 | 2682084.4907 | 1240508.56
26 | 2682071.9089 | 1240432.4542
27 | 2682081.5985 | 1240539.4855
28 | 2682104.9765 | 1240539.4387
29 | 2682082.0236 | 1240530.5344
30 | 2682190.1387 | 1240598.0511
31 | 2682190.4749 | 1240584.4186
32 | 2682221.6594 | 1240547.2057
33 | 2682132.113 | 1240537.4381
34 | 2682147.5785 | 1240532.6231
35 | 2682122.3364 | 1240539.4039
36 | 2682157.4246 | 1240566.8574
37 | 2682156.6611 | 1240478.4022
38 | 2682139.0552 | 1240507.3243
39 | 2682170.2883 | 1240478.3909
40 | 2682186.2308 | 1240463.8882
41 | 2681998.6742 | 1240594.4345
42 | 2682027.3022 | 1240553.6119
43 | 2682003.7709 | 1240543.5686
44 | 2682002.6871 | 1240551.1811
45 | 2681969.2834 | 1240521.0308
46 | 2682121.0181 | 1240509.2304
47 | 2681959.4291 | 1240515.3806
48 | 2681969.3161 | 1240477.2724
49 | 2682017.6289 | 1240451.4454
50 | 2682018.0992 | 1240465.5254
51 | 2681988.0981 | 1240427.8138
52 | 2682018.2755 | 1240470.8058
53 | 2681970.7884 | 1240590.9145
54 | 2682132.9943 | 1240551.894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97977 | -0.38843 | 0.007933 | 0.0019882
1 | 0.97989 | -0.38603 | 0.0079115 | 0.0019828
2 | 0.98005 | -0.38285 | 0 | 0
3 | 0.98033 | -0.37736 | 0 | 0
4 | 0.98672 | -0.25341 | 0 | 0
5 | 0.98522 | -0.28243 | 0.0026377 | 0.00066107
6 | 0.98789 | -0.23098 | 0.0057098 | 0.001431
7 | 0.99404 | -0.11326 | 0 | 0
8 | 0.99301 | -0.13286 | 0.0038875 | 0.00097431
9 | 0.99357 | -0.12234 | 0 | 0
10 | 0.99636 | -0.069059 | 0.005988 | 0.0015007
11 | 0.9839 | -0.30793 | 0 | 0
12 | 0.99247 | -0.14354 | 0 | 0
13 | 0.99148 | -0.16274 | 0 | 0
14 | 0.99008 | -0.18979 | 0.012441 | 0.0031179
15 | 0.99075 | -0.1761 | 0 | 0
16 | 0.99006 | -0.18932 | 0.0028127 | 0.00070492
17 | 0.9915 | -0.16249 | 0 | 0
18 | 0.9911 | -0.17014 | 0 | 0
19 | 0.99319 | -0.12973 | 0.010091 | 0.0025291
20 | 0.99137 | -0.16488 | 0.007982 | 0.0020005
21 | 0.97926 | -0.39835 | 0.029423 | 0.0073742
22 | 0.97733 | -0.43603 | 0.02339 | 0.0058621
23 | 0.99732 | -0.051449 | 0 | 0
24 | 0.99721 | -0.053668 | 0.0095469 | 0.0023927
25 | 0.99769 | -0.044432 | 0.010487 | 0.0026284
26 | 0.99708 | -0.056136 | 0.0051628 | 0.0012939
27 | 0.99844 | -0.029957 | 0 | 0
28 | 0.99908 | -0.017672 | 0.0051995 | 0.0013031
29 | 0.9982 | -0.034671 | 0.0048754 | 0.0012219
30 | 0.98878 | -0.21496 | 0 | 0
31 | 0.98931 | -0.20453 | 0.010165 | 0.0025477
32 | 0.98609 | -0.26727 | 0.042909 | 0.010754
33 | 1 | 0 | -0.32277 | -0.082013
34 | 0.99793 | -0.039242 | 0.0086552 | 0.0021692
35 | 0.99964 | -0.0069838 | 0.0044801 | 0.0011228
36 | 0.9893 | -0.20391 | 0.0031074 | 0.00077878
37 | 0.99035 | -0.18472 | 0 | 0
38 | 0.98961 | -0.19901 | 0.011576 | 0.0029013
39 | 0.99061 | -0.17974 | 0.016901 | 0.0042357
40 | 0.99084 | -0.17519 | 0.01951 | 0.0048898
41 | 0.97552 | -0.47154 | 0 | 0
42 | 0.9738 | -0.50546 | 0.008169 | 0.0020474
43 | 0.97399 | -0.50162 | 0 | 0
44 | 0.9742 | -0.49745 | 0.0029195 | 0.00073171
45 | 0.97316 | -0.51789 | 0.002389 | 0.00059875
46 | 0.98946 | -0.20192 | 0.0090263 | 0.0022622
47 | 0.97296 | -0.52185 | 0 | 0
48 | 0.97227 | -0.5356 | 0.0027601 | 0.00069176
49 | 0.9707 | -0.56656 | 0.0066664 | 0.0016708
50 | 0.97058 | -0.56904 | 0.0051628 | 0.0012939
51 | 0.97147 | -0.5514 | 0 | 0
52 | 0.97055 | -0.56946 | 0.0043401 | 0.0010877
53 | 0.97544 | -0.47312 | 0.0029197 | 0.00073175
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007933 | -0.0019882 | 0.0079339 | 0.0019886 | 9.0513e-07 | 3.6985e-07 | 0.012048 | 0.012048 | 0.012048 | 0.97977 | -0.38843 | 0.97989 | -0.38603 | 3.31
1 | -0.015845 | -0.0039714 | 0.015848 | 0.0039728 | 2.4024e-06 | 1.3981e-06 | 0.024062 | 0.024062 | 0.024062 | 0.97989 | -0.38603 | 0.98005 | -0.38285 | 6.6105
2 | -0.015848 | -0.0039728 | 0.015852 | 0.0039752 | 4.149e-06 | 2.4145e-06 | 0.024062 | 0.024062 | 0.024062 | 0.98005 | -0.38285 | 0.98033 | -0.37736 | 6.6105
3 | 0.029453 | 0.0073926 | -0.029423 | -0.0073742 | 2.9454e-05 | 1.8356e-05 | 0.04471 | 0.04471 | 0.04471 | 0.98033 | -0.37736 | 0.97926 | -0.39835 | 12.2829
4 | 0.059048 | 0.014923 | -0.058883 | -0.014817 | 0.00016559 | 0.00010529 | 0.089672 | 0.089672 | 0.089672 | 0.98033 | -0.37736 | 0.97733 | -0.43603 | 24.6352
5 | -0.10435 | -0.02629 | 0.1047 | 0.026512 | 0.0003478 | 0.00022212 | 0.15844 | 0.15844 | 0.15844 | 0.98033 | -0.37736 | 0.9839 | -0.30793 | 43.5284
6 | 0.10762 | 0.027351 | -0.10747 | -0.027255 | 0.00015016 | 9.5912e-05 | 0.16243 | 0.16243 | 0.16243 | 0.98672 | -0.25341 | 0.98522 | -0.28243 | 44.6228
7 | -0.10762 | -0.027351 | 0.10773 | 0.027426 | 0.00011637 | 7.4329e-05 | 0.16243 | 0.16243 | 0.16243 | 0.98672 | -0.25341 | 0.98789 | -0.23098 | 44.6228
8 | 0.10483 | 0.026594 | -0.1047 | -0.026512 | 0.00012836 | 8.1977e-05 | 0.15844 | 0.15844 | 0.15844 | 0.98522 | -0.28243 | 0.9839 | -0.30793 | 43.5284
9 | -0.11344 | -0.028857 | 0.11359 | 0.028951 | 0.0001482 | 9.4675e-05 | 0.17103 | 0.17103 | 0.17103 | 0.98789 | -0.23098 | 0.9893 | -0.20391 | 46.9855
10 | 0.12393 | 0.031746 | -0.12381 | -0.031671 | 0.00011755 | 7.476e-05 | 0.18575 | 0.18575 | 0.18575 | 0.99404 | -0.11326 | 0.99301 | -0.13286 | 25.5156
11 | 0.14123 | 0.035637 | -0.14117 | -0.035598 | 6.1338e-05 | 3.9067e-05 | 0.2115 | 0.2115 | 0.2115 | 0.99404 | -0.11326 | 0.99357 | -0.12234 | 29.0526
12 | -0.26516 | -0.067382 | 0.26573 | 0.067744 | 0.00056567 | 0.00036153 | 0.39726 | 0.39726 | 0.39726 | 0.99404 | -0.11326 | 0.99636 | -0.069059 | 54.568
13 | 0.11992 | 0.030696 | -0.11967 | -0.030536 | 0.00025054 | 0.00016008 | 0.17993 | 0.17993 | 0.17993 | 0.99301 | -0.13286 | 0.99075 | -0.1761 | 49.4308
14 | 0.067281 | 0.016929 | -0.067257 | -0.016914 | 2.378e-05 | 1.5139e-05 | 0.10079 | 0.10079 | 0.10079 | 0.99357 | -0.12234 | 0.99319 | -0.12973 | 27.6886
15 | 0.073892 | 0.018669 | -0.073817 | -0.018621 | 7.5038e-05 | 4.7813e-05 | 0.11072 | 0.11072 | 0.11072 | 0.99357 | -0.12234 | 0.99247 | -0.14354 | 30.4166
16 | -0.27171 | -0.069245 | 0.2721 | 0.069495 | 0.00039159 | 0.00025029 | 0.4062 | 0.4062 | 0.4062 | 0.99636 | -0.069059 | 0.99793 | -0.039242 | 55.7964
17 | 0.0079901 | 0.0020037 | -0.0079828 | -0.0020008 | 7.3053e-06 | 2.9232e-06 | 0.01198 | 0.011981 | 0.011981 | 0.99247 | -0.14354 | 0.99148 | -0.16274 | 3.2914
18 | 0.065827 | 0.016617 | -0.065681 | -0.016525 | 0.00014549 | 9.2603e-05 | 0.098737 | 0.098737 | 0.098737 | 0.99247 | -0.14354 | 0.99008 | -0.18979 | 27.1255
19 | 0.0079828 | 0.0020008 | -0.007982 | -0.0020005 | 8.1264e-07 | 3.254e-07 | 0.011981 | 0.011981 | 0.011981 | 0.99148 | -0.16274 | 0.99137 | -0.16488 | 3.2914
20 | 0.05324 | 0.013407 | -0.053203 | -0.013383 | 3.749e-05 | 2.3793e-05 | 0.080039 | 0.080039 | 0.080039 | 0.99008 | -0.18979 | 0.98931 | -0.20453 | 21.9888
21 | 0.11967 | 0.030536 | -0.11959 | -0.030488 | 7.641e-05 | 4.8821e-05 | 0.17993 | 0.17993 | 0.17993 | 0.99075 | -0.1761 | 0.99006 | -0.18932 | 49.4308
22 | 0.11678 | 0.029783 | -0.1167 | -0.02973 | 8.2174e-05 | 5.25e-05 | 0.1757 | 0.1757 | 0.1757 | 0.99006 | -0.18932 | 0.9893 | -0.20391 | 48.2695
23 | 0.057077 | 0.014328 | -0.057056 | -0.014315 | 2.0833e-05 | 1.3236e-05 | 0.085668 | 0.085668 | 0.085668 | 0.9915 | -0.16249 | 0.9911 | -0.17014 | 23.5351
24 | -0.057077 | -0.014328 | 0.057166 | 0.014385 | 8.9317e-05 | 5.6744e-05 | 0.085668 | 0.085668 | 0.085668 | 0.9915 | -0.16249 | 0.99319 | -0.12973 | 23.5351
25 | 0.037541 | 0.009422 | -0.037524 | -0.0094112 | 1.7166e-05 | 1.0801e-05 | 0.056368 | 0.056368 | 0.056368 | 0.9911 | -0.17014 | 0.99061 | -0.17974 | 15.4856
26 | 0.019515 | 0.0048926 | -0.01951 | -0.0048898 | 4.6913e-06 | 2.8147e-06 | 0.0293 | 0.0293 | 0.0293 | 0.9911 | -0.17014 | 0.99084 | -0.17519 | 8.0495
27 | 0.035493 | 0.0089551 | -0.035432 | -0.0089173 | 6.0241e-05 | 3.7867e-05 | 0.05406 | 0.05406 | 0.05406 | 0.97733 | -0.43603 | 0.97552 | -0.47154 | 14.8517
28 | 0.0095479 | 0.0023931 | -0.0095469 | -0.0023927 | 1.009e-06 | 4.7275e-07 | 0.014246 | 0.014246 | 0.014246 | 0.99732 | -0.051449 | 0.99721 | -0.053668 | 3.9136
29 | -0.014712 | -0.0036871 | 0.014717 | 0.0036899 | 4.9199e-06 | 2.7933e-06 | 0.02195 | 0.02195 | 0.02195 | 0.99732 | -0.051449 | 0.99769 | -0.044432 | 6.0303
30 | 0.005164 | 0.001294 | -0.0051628 | -0.0012939 | 1.1528e-06 | 6.2197e-08 | 0.0077046 | 0.0077048 | 0.0077048 | 0.99732 | -0.051449 | 0.99708 | -0.056136 | 2.1167
31 | -0.025204 | -0.0063183 | 0.025216 | 0.0063255 | 1.1728e-05 | 7.2169e-06 | 0.037592 | 0.037592 | 0.037592 | 0.99769 | -0.044432 | 0.9982 | -0.034671 | 10.3274
32 | -0.030098 | -0.0075517 | 0.030116 | 0.0075626 | 1.7642e-05 | 1.0985e-05 | 0.044859 | 0.044859 | 0.044859 | 0.99844 | -0.029957 | 0.99908 | -0.017672 | 12.324
33 | 0.030098 | 0.0075517 | -0.030091 | -0.0075474 | 6.7624e-06 | 4.2108e-06 | 0.044859 | 0.044859 | 0.044859 | 0.99844 | -0.029957 | 0.9982 | -0.034671 | 12.324
34 | -0.035315 | -0.0088658 | 0.035333 | 0.0088771 | 1.8014e-05 | 1.1301e-05 | 0.052603 | 0.052603 | 0.052603 | 0.99908 | -0.017672 | 0.99964 | -0.0069838 | 14.4515
35 | -0.043016 | -0.010822 | 0.043038 | 0.010835 | 2.144e-05 | 1.3546e-05 | 0.06475 | 0.06475 | 0.06475 | 0.98878 | -0.21496 | 0.98931 | -0.20453 | 17.7884
36 | 0.043016 | 0.010822 | -0.042909 | -0.010754 | 0.00010723 | 6.7753e-05 | 0.06475 | 0.06475 | 0.06475 | 0.98878 | -0.21496 | 0.98609 | -0.26727 | 17.7885
37 | 0.28129 | 0.072005 | -0.28076 | -0.071664 | 0.00053345 | 0.00034099 | 0.4191 | 0.4191 | 0.4191 | 1 | 0 | 0.99793 | -0.039242 | 57.5692
38 | 0.039827 | 0.010008 | -0.039813 | -0.0099999 | 1.3273e-05 | 8.3624e-06 | 0.059272 | 0.059272 | 0.059272 | 1 | 0 | 0.99964 | -0.0069838 | 16.2836
39 | 0.020618 | 0.0051726 | -0.020604 | -0.0051641 | 1.4033e-05 | 8.4798e-06 | 0.030981 | 0.030981 | 0.030981 | 0.99035 | -0.18472 | 0.98961 | -0.19901 | 8.5113
40 | -0.020618 | -0.0051726 | 0.020623 | 0.0051756 | 4.9048e-06 | 2.9637e-06 | 0.030981 | 0.030981 | 0.030981 | 0.99035 | -0.18472 | 0.99061 | -0.17974 | 8.5112
41 | 0.0090276 | 0.0022628 | -0.0090263 | -0.0022622 | 1.2533e-06 | 5.691e-07 | 0.013574 | 0.013574 | 0.013574 | 0.98961 | -0.19901 | 0.98946 | -0.20192 | 3.7292
42 | 0.0029199 | 0.00073152 | -0.0029197 | -0.00073175 | 2.2061e-07 | -2.2902e-07 | 0.0044539 | 0.004454 | 0.004454 | 0.97552 | -0.47154 | 0.97544 | -0.47312 | 1.2236
43 | 0.032512 | 0.0081858 | -0.032472 | -0.0081606 | 4.0226e-05 | 2.5201e-05 | 0.049606 | 0.049607 | 0.049607 | 0.97552 | -0.47154 | 0.9742 | -0.49745 | 13.6282
44 | -0.008169 | -0.0020474 | 0.0081705 | 0.002048 | 1.495e-06 | 6.3842e-07 | 0.012483 | 0.012483 | 0.012483 | 0.9738 | -0.50546 | 0.97399 | -0.50162 | 3.4293
45 | -0.029547 | -0.0074252 | 0.029553 | 0.0074288 | 5.8774e-06 | 3.6658e-06 | 0.045147 | 0.045147 | 0.045147 | 0.97399 | -0.50162 | 0.9742 | -0.49745 | 12.4031
46 | 0.021376 | 0.0053772 | -0.02136 | -0.0053671 | 1.6604e-05 | 1.0111e-05 | 0.032665 | 0.032665 | 0.032665 | 0.97399 | -0.50162 | 0.97316 | -0.51789 | 8.9739
47 | 0.018971 | 0.0047683 | -0.018967 | -0.0047662 | 3.5853e-06 | 2.1535e-06 | 0.029012 | 0.029012 | 0.029012 | 0.97316 | -0.51789 | 0.97296 | -0.52185 | 7.9703
48 | 0.018967 | 0.0047662 | -0.018955 | -0.0047587 | 1.2444e-05 | 7.4747e-06 | 0.029012 | 0.029012 | 0.029012 | 0.97296 | -0.52185 | 0.97227 | -0.5356 | 7.9704
49 | 0.016194 | 0.0040669 | -0.016182 | -0.0040598 | 1.2194e-05 | 7.1486e-06 | 0.024788 | 0.024788 | 0.024788 | 0.97227 | -0.5356 | 0.97147 | -0.5514 | 6.8099
50 | 0.0095041 | 0.0023822 | -0.0095029 | -0.0023816 | 1.1214e-06 | 5.4354e-07 | 0.014569 | 0.014569 | 0.014569 | 0.9707 | -0.56656 | 0.97058 | -0.56904 | 4.0025
51 | -0.01617 | -0.0040529 | 0.016182 | 0.0040598 | 1.1691e-05 | 6.8548e-06 | 0.024788 | 0.024788 | 0.024788 | 0.9707 | -0.56656 | 0.97147 | -0.5514 | 6.81
52 | 0.0043402 | 0.0010877 | -0.0043401 | -0.0010877 | 8.7721e-08 | -9.1512e-09 | 0.006654 | 0.006654 | 0.006654 | 0.97058 | -0.56904 | 0.97055 | -0.56946 | 1.828

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32277 | 0.082013

## res_load
| p_mw | q_mvar
0 | 0.007933 | 0.0019882
1 | 0.0079115 | 0.0019828
2 | 0.0026377 | 0.00066107
3 | 0.0057098 | 0.001431
4 | 0.0038875 | 0.00097431
5 | 0.005988 | 0.0015007
6 | 0.012441 | 0.0031179
7 | 0.0028127 | 0.00070492
8 | 0.010091 | 0.0025291
9 | 0.007982 | 0.0020005
10 | 0.029423 | 0.0073742
11 | 0.02339 | 0.0058621
12 | 0.0095469 | 0.0023927
13 | 0.010487 | 0.0026284
14 | 0.0051628 | 0.0012939
15 | 0.0051995 | 0.0013031
16 | 0.0048754 | 0.0012219
17 | 0.010165 | 0.0025477
18 | 0.042909 | 0.010754
19 | 0.0086552 | 0.0021692
20 | 0.0044801 | 0.0011228
21 | 0.0031074 | 0.00077878
22 | 0.011576 | 0.0029013
23 | 0.016901 | 0.0042357
24 | 0.01951 | 0.0048898
25 | 0.008169 | 0.0020474
26 | 0.0029195 | 0.00073171
27 | 0.002389 | 0.00059875
28 | 0.0090263 | 0.0022622
29 | 0.0027601 | 0.00069176
30 | 0.0066664 | 0.0016708
31 | 0.0051628 | 0.0012939
32 | 0.0043401 | 0.0010877
33 | 0.0029197 | 0.00073175

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1