## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_131-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_131-5_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_131-5_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_131-5_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_131-5_0_5_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_131-5_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_131-5_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_131-5_0_5_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_131-5_0_5_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_131-5_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_131-5_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_131-5_0_5_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_131-5_0_5_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_131-5_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_131-5_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_131-5_0_5_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_131-5_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_131-5_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_131-5_0_5_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_131-5_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_131-5_0_5_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_131-5_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_131-5_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_131-5_0_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_131-5_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_131-5_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_131-5_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_131-5_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_131-5_0_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_131-5_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_131-5_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_131-5_0_5_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_131-5_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_131-5_0_5_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_131-5_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_131-5_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_131-5_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_131-5_0_5_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_131-5_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_131-5_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_131-5_0_5_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_131-5_0_5_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_131-5_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_131-5_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_131-5_0_5_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_131-5_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_131-5_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_131-5_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_131-5_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_131-5_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_131-5_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_MV_360_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-5_0_5_load_0 | 0 | 0.0020154 | 0.0005051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-5_0_5_load_1 | 1 | 0.0057864 | 0.0014502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-5_0_5_load_48 | 8 | 0.0057589 | 0.0014433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-5_0_5_load_52 | 9 | 0.0069566 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-5_0_5_load_51 | 10 | 0.0040897 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-5_0_5_load_37 | 11 | 0.0025006 | 0.00062672 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-5_0_5_load_46 | 14 | 0.019354 | 0.0048506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-5_0_5_load_40 | 17 | 0.02608 | 0.0065364 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-5_0_5_load_36 | 19 | 0.0094838 | 0.0023769 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-5_0_5_load_33 | 20 | 0.0026602 | 0.00066671 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-5_0_5_load_34 | 21 | 0.0056006 | 0.0014036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-5_0_5_load_32 | 22 | 0.024564 | 0.0061562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-5_0_5_load_42 | 25 | 0.054482 | 0.013654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-5_0_5_load_55 | 26 | 0.013103 | 0.003284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-5_0_5_load_47 | 28 | 0.005312 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-5_0_5_load_39 | 29 | 0.0035993 | 0.00090206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-5_0_5_load_38 | 30 | 0.009325 | 0.0023371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-5_0_5_load_56 | 33 | 0.027148 | 0.006804 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-5_0_5_load_60 | 34 | 0.0036848 | 0.00092349 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-5_0_5_load_59 | 35 | 0.0040507 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-5_0_5_load_26 | 36 | 0.037143 | 0.0093088 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-5_0_5_load_31 | 37 | 0.011172 | 0.0028001 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-5_0_5_load_35 | 38 | 0.0021083 | 0.00052838 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-5_0_5_load_53 | 39 | 0.0053089 | 0.0013305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-5_0_5_load_54 | 40 | 0.023486 | 0.0058862 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_131-5_0_5_load_43 | 41 | 0.022439 | 0.0056238 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_131-5_0_5_load_17 | 42 | 0.010941 | 0.0027421 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_131-5_0_5_load_20 | 44 | 0.04857 | 0.012173 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_131-5_0_5_load_62 | 46 | 0.081468 | 0.020418 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_131-5_0_5_load_61 | 47 | 0.040039 | 0.010035 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_131-5_0_5_load_57 | 49 | 0.0040512 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_131-5_0_5_load_25 | 50 | 0.055264 | 0.013851 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_131-5_0_5_load_50 | 51 | 0.0057576 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_131-5_0_5_load_49 | 52 | 0.0055375 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-5_0_5_line_0 |  | 0 | 1 | 0.028417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_131-5_0_5_line_1 |  | 1 | 2 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_131-5_0_5_line_2 |  | 2 | 3 | 0.009349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-5_0_5_line_3 |  | 2 | 4 | 0.012622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-5_0_5_line_4 |  | 3 | 9 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_131-5_0_5_line_5 |  | 4 | 10 | 0.0061362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-5_0_5_line_6 |  | 4 | 11 | 0.023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_131-5_0_5_line_7 |  | 5 | 6 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_131-5_0_5_line_8 |  | 5 | 7 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_131-5_0_5_line_9 |  | 6 | 26 | 0.019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-5_0_5_line_10 |  | 6 | 27 | 0.025918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_131-5_0_5_line_11 |  | 7 | 8 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_131-5_0_5_line_12 |  | 8 | 28 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_131-5_0_5_line_13 |  | 11 | 18 | 0.035447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-5_0_5_line_14 |  | 12 | 13 | 0.004457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_131-5_0_5_line_15 |  | 12 | 14 | 0.004097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_131-5_0_5_line_16 |  | 13 | 36 | 0.0091767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_131-5_0_5_line_17 |  | 13 | 15 | 0.005124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-5_0_5_line_18 |  | 14 | 33 | 0.02828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_131-5_0_5_line_19 |  | 14 | 23 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_131-5_0_5_line_20 |  | 15 | 16 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_131-5_0_5_line_21 |  | 15 | 17 | 0.043012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_131-5_0_5_line_22 |  | 16 | 21 | 0.042382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_131-5_0_5_line_23 |  | 16 | 22 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_131-5_0_5_line_24 |  | 18 | 19 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-5_0_5_line_25 |  | 18 | 20 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_131-5_0_5_line_26 |  | 19 | 30 | 0.028068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-5_0_5_line_27 |  | 20 | 37 | 0.034349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-5_0_5_line_28 |  | 21 | 38 | 0.0087179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-5_0_5_line_29 |  | 22 | 37 | 0.033904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-5_0_5_line_30 |  | 23 | 24 | 0.040862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_131-5_0_5_line_31 |  | 23 | 25 | 0.027463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_131-5_0_5_line_32 |  | 24 | 39 | 0.034563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-5_0_5_line_33 |  | 24 | 40 | 0.015744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_131-5_0_5_line_34 |  | 25 | 41 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-5_0_5_line_35 |  | 27 | 44 | 0.0057562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_131-5_0_5_line_36 |  | 27 | 45 | 0.070106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_131-5_0_5_line_37 |  | 28 | 52 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_131-5_0_5_line_38 |  | 29 | 30 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_131-5_0_5_line_39 |  | 31 | 32 | 0.034168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-5_0_5_line_40 |  | 31 | 33 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-5_0_5_line_41 |  | 32 | 34 | 0.047044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_131-5_0_5_line_42 |  | 32 | 35 | 0.046931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_131-5_0_5_line_43 |  | 36 | 50 | 0.0088148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-5_0_5_line_44 |  | 40 | 51 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_131-5_0_5_line_45 |  | 41 | 48 | 0.0080779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_131-5_0_5_line_46 |  | 42 | 43 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_131-5_0_5_line_47 |  | 43 | 44 | 0.032958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_131-5_0_5_line_48 |  | 45 | 46 | 0.029102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_131-5_0_5_line_49 |  | 45 | 47 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_131-5_0_5_line_50 |  | 48 | 49 | 0.037548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_131-5_0_5_line_51 |  | 51 | 52 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-5_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 53 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2682818.9994 | 1240840.7007 | 2682810.5348 | 1240845.5267 | 2682795.1445 | 1240856.102
1 | 2682785.5178 | 1240868.9724 | 2682787.1101 | 1240861.6227 | 2682795.1445 | 1240856.102
2 | 2682776.3411 | 1240870.8903 | 2682785.5178 | 1240868.9724
3 | 2682785.5178 | 1240868.9724 | 2682786.269 | 1240874.2089 | 2682786.9157 | 1240881.512
4 | 2682776.3411 | 1240870.8903 | 2682766.0441 | 1240876.6842 | 2682762.2053 | 1240879.5672
5 | 2682786.9157 | 1240881.512 | 2682793.0356 | 1240881.9588
6 | 2682786.9157 | 1240881.512 | 2682773.4773 | 1240886.9953 | 2682765.5737 | 1240891.7479
7 | 2682759.3886 | 1240801.4041 | 2682757.8817 | 1240790.1639
8 | 2682759.3886 | 1240801.4041 | 2682760.895 | 1240814.301 | 2682763.803 | 1240826.4725
9 | 2682757.8817 | 1240790.1639 | 2682775.4975 | 1240786.6403 | 2682775.6897 | 1240788.1207
10 | 2682755.2922 | 1240764.376 | 2682756.3011 | 1240773.908 | 2682757.8817 | 1240790.1639
11 | 2682763.803 | 1240826.4725 | 2682750.1432 | 1240834.5231
12 | 2682737.3047 | 1240843.6713 | 2682744.8938 | 1240837.6169 | 2682750.1432 | 1240834.5231
13 | 2682734.1576 | 1240907.4396 | 2682745.0574 | 1240904.5005 | 2682761.7487 | 1240894.0479 | 2682765.5737 | 1240891.7479
14 | 2682632.8499 | 1240853.7569 | 2682635.0816 | 1240849.8964
15 | 2682635.0816 | 1240849.8964 | 2682637.2249 | 1240846.4015
16 | 2682632.8499 | 1240853.7569 | 2682624.5814 | 1240849.7766
17 | 2682632.8499 | 1240853.7569 | 2682637.0203 | 1240856.7505
18 | 2682637.2249 | 1240846.4015 | 2682620.9193 | 1240838.4021 | 2682611.8391 | 1240833.9396
19 | 2682637.2249 | 1240846.4015 | 2682648.0007 | 1240854.5462
20 | 2682637.0203 | 1240856.7505 | 2682643.4333 | 1240861.0539 | 2682653.6528 | 1240869.5023
21 | 2682637.0203 | 1240856.7505 | 2682638.632 | 1240860.4756 | 2682637.6244 | 1240865.4985 | 2682621.3803 | 1240895.1733
22 | 2682653.6528 | 1240869.5023 | 2682647.3431 | 1240869.7257 | 2682643.1561 | 1240872.2692 | 2682628.6815 | 1240899.8733
23 | 2682653.6528 | 1240869.5023 | 2682662.4287 | 1240877.2279
24 | 2682734.1576 | 1240907.4396 | 2682734.2764 | 1240916.8147 | 2682732.3005 | 1240924.0257
25 | 2682734.1576 | 1240907.4396 | 2682725.4936 | 1240907.8414 | 2682721.356 | 1240907.3741
26 | 2682732.3005 | 1240924.0257 | 2682720.3815 | 1240949.4369
27 | 2682688.4196 | 1240898.9839 | 2682690.1776 | 1240900.3886 | 2682707.2981 | 1240905.7865 | 2682721.356 | 1240907.3741
28 | 2682624.568 | 1240907.5597 | 2682628.0779 | 1240901.0244 | 2682628.6815 | 1240899.8733
29 | 2682688.4196 | 1240898.9839 | 2682674.5846 | 1240887.9291 | 2682662.4287 | 1240877.2279
30 | 2682648.0007 | 1240854.5462 | 2682679.3564 | 1240880.8572
31 | 2682648.0007 | 1240854.5462 | 2682659.9453 | 1240829.817
32 | 2682679.3564 | 1240880.8572 | 2682696.4974 | 1240894.0164 | 2682709.1503 | 1240896.788
33 | 2682679.3564 | 1240880.8572 | 2682691.8616 | 1240871.2917
34 | 2682659.9453 | 1240829.817 | 2682663.5023 | 1240817.6689 | 2682663.9595 | 1240813.8019
35 | 2682755.2922 | 1240764.376 | 2682755.2286 | 1240758.6202
36 | 2682702.9252 | 1240762.7229 | 2682706.6095 | 1240763.6972 | 2682714.7837 | 1240758.8409 | 2682722.7353 | 1240757.484 | 2682727.2249 | 1240752.7654 | 2682731.9675 | 1240743.4582 | 2682736.4003 | 1240744.9877 | 2682748.6299 | 1240757.3337 | 2682755.2922 | 1240764.376
37 | 2682737.3047 | 1240843.6713 | 2682721.5932 | 1240856.2056
38 | 2682714.2009 | 1240962.6139 | 2682720.3815 | 1240949.4369
39 | 2682574.4436 | 1240815.5614 | 2682568.4879 | 1240812.6209 | 2682570.6313 | 1240809.6597 | 2682580.4773 | 1240787.9144
40 | 2682574.4436 | 1240815.5614 | 2682611.8391 | 1240833.9396
41 | 2682580.4773 | 1240787.9144 | 2682599.8768 | 1240745.0568
42 | 2682580.4773 | 1240787.9144 | 2682623.3381 | 1240807.032
43 | 2682624.5814 | 1240849.7766 | 2682616.639 | 1240845.9532
44 | 2682691.8616 | 1240871.2917 | 2682705.3143 | 1240861.0015
45 | 2682664.9081 | 1240805.7799 | 2682663.9595 | 1240813.8019
46 | 2682754.8642 | 1240725.6645 | 2682769.2686 | 1240716.0139
47 | 2682754.8642 | 1240725.6645 | 2682755.2286 | 1240758.6202
48 | 2682703.647 | 1240791.2312 | 2682705.4314 | 1240768.462 | 2682702.9252 | 1240762.7229
49 | 2682702.9252 | 1240762.7229 | 2682697.5402 | 1240752.5008
50 | 2682664.9081 | 1240805.7799 | 2682667.3755 | 1240768.3134
51 | 2682705.3143 | 1240861.0015 | 2682706.9951 | 1240859.7159 | 2682721.5932 | 1240856.2056 | 2682721.5932 | 1240856.2056

## bus_geodata
| x | y | coords
0 | 2682818.9994 | 1240840.7007
1 | 2682795.1445 | 1240856.102
2 | 2682785.5178 | 1240868.9724
3 | 2682776.3411 | 1240870.8903
4 | 2682786.9157 | 1240881.512
5 | 2682759.3886 | 1240801.4041
6 | 2682757.8817 | 1240790.1639
7 | 2682763.803 | 1240826.4725
8 | 2682750.1432 | 1240834.5231
9 | 2682762.2053 | 1240879.5672
10 | 2682793.0356 | 1240881.9588
11 | 2682765.5737 | 1240891.7479
12 | 2682635.0816 | 1240849.8964
13 | 2682632.8499 | 1240853.7569
14 | 2682637.2249 | 1240846.4015
15 | 2682637.0203 | 1240856.7505
16 | 2682653.6528 | 1240869.5023
17 | 2682621.3803 | 1240895.1733
18 | 2682734.1576 | 1240907.4396
19 | 2682732.3005 | 1240924.0257
20 | 2682721.356 | 1240907.3741
21 | 2682628.6815 | 1240899.8733
22 | 2682662.4287 | 1240877.2279
23 | 2682648.0007 | 1240854.5462
24 | 2682679.3564 | 1240880.8572
25 | 2682659.9453 | 1240829.817
26 | 2682775.6897 | 1240788.1207
27 | 2682755.2922 | 1240764.376
28 | 2682737.3047 | 1240843.6713
29 | 2682714.2009 | 1240962.6139
30 | 2682720.3815 | 1240949.4369
31 | 2682574.4436 | 1240815.5614
32 | 2682580.4773 | 1240787.9144
33 | 2682611.8391 | 1240833.9396
34 | 2682599.8768 | 1240745.0568
35 | 2682623.3381 | 1240807.032
36 | 2682624.5814 | 1240849.7766
37 | 2682688.4196 | 1240898.9839
38 | 2682624.568 | 1240907.5597
39 | 2682709.1503 | 1240896.788
40 | 2682691.8616 | 1240871.2917
41 | 2682663.9595 | 1240813.8019
42 | 2682769.2686 | 1240716.0139
43 | 2682754.8642 | 1240725.6645
44 | 2682755.2286 | 1240758.6202
45 | 2682702.9252 | 1240762.7229
46 | 2682703.647 | 1240791.2312
47 | 2682697.5402 | 1240752.5008
48 | 2682664.9081 | 1240805.7799
49 | 2682667.3755 | 1240768.3134
50 | 2682616.639 | 1240845.9532
51 | 2682705.3143 | 1240861.0015
52 | 2682721.5932 | 1240856.2056
53 | 2682664.9081 | 1240805.7799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98699 | -0.25045 | 0.0020154 | 0.0005051
1 | 0.98704 | -0.24943 | 0.0057864 | 0.0014502
2 | 0.98717 | -0.24702 | 0 | 0
3 | 0.98711 | -0.24818 | 0 | 0
4 | 0.98734 | -0.24369 | 0 | 0
5 | 0.98837 | -0.22193 | 0 | 0
6 | 0.98735 | -0.24159 | 0 | 0
7 | 0.98952 | -0.19987 | 0 | 0
8 | 0.99023 | -0.18618 | 0.0057589 | 0.0014433
9 | 0.987 | -0.25025 | 0.0069566 | 0.0017435
10 | 0.98731 | -0.24414 | 0.0040897 | 0.001025
11 | 0.98775 | -0.23569 | 0.0025006 | 0.00062672
12 | 0.99579 | -0.080266 | 0 | 0
13 | 0.99537 | -0.088431 | 0 | 0
14 | 0.99599 | -0.076516 | 0.019354 | 0.0048506
15 | 0.99482 | -0.09889 | 0 | 0
16 | 0.9931 | -0.13216 | 0 | 0
17 | 0.9938 | -0.11867 | 0.02608 | 0.0065364
18 | 0.98844 | -0.22218 | 0 | 0
19 | 0.9881 | -0.22892 | 0.0094838 | 0.0023769
20 | 0.98896 | -0.21216 | 0.0026602 | 0.00066671
21 | 0.9928 | -0.13793 | 0.0056006 | 0.0014036
22 | 0.99222 | -0.14915 | 0.024564 | 0.0061562
23 | 0.9968 | -0.060977 | 0 | 0
24 | 0.99448 | -0.10504 | 0 | 0
25 | 1 | 0 | -0.54186 | -0.13764
26 | 0.98712 | -0.24615 | 0.013103 | 0.003284
27 | 0.98518 | -0.28362 | 0 | 0
28 | 0.99097 | -0.17216 | 0.005312 | 0.0013313
29 | 0.98772 | -0.23633 | 0.0035993 | 0.00090206
30 | 0.98776 | -0.2354 | 0.009325 | 0.0023371
31 | 0.99479 | -0.099546 | 0 | 0
32 | 0.99455 | -0.1042 | 0 | 0
33 | 0.99509 | -0.093867 | 0.027148 | 0.006804
34 | 0.9944 | -0.10726 | 0.0036848 | 0.00092349
35 | 0.99438 | -0.10756 | 0.0040507 | 0.0010152
36 | 0.99459 | -0.10336 | 0.037143 | 0.0093088
37 | 0.99042 | -0.18379 | 0.011172 | 0.0028001
38 | 0.99278 | -0.13826 | 0.0021083 | 0.00052838
39 | 0.99431 | -0.10827 | 0.0053089 | 0.0013305
40 | 0.99361 | -0.1217 | 0.023486 | 0.0058862
41 | 0.9996 | -0.0076458 | 0.022439 | 0.0056238
42 | 0.98436 | -0.29967 | 0.010941 | 0.0027421
43 | 0.98453 | -0.29626 | 0 | 0
44 | 0.98486 | -0.28978 | 0.04857 | 0.012173
45 | 0.97726 | -0.43784 | 0 | 0
46 | 0.97505 | -0.4812 | 0.081468 | 0.020418
47 | 0.97683 | -0.44628 | 0.040039 | 0.010035
48 | 0.99957 | -0.0082169 | 0 | 0
49 | 0.99943 | -0.010871 | 0.0040512 | 0.0010153
50 | 0.99415 | -0.11195 | 0.055264 | 0.013851
51 | 0.99276 | -0.1379 | 0.0057576 | 0.001443
52 | 0.99192 | -0.15387 | 0.0055375 | 0.0013878
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020154 | -0.0005051 | 0.0020155 | 0.0005048 | 9.8377e-08 | -3.0023e-07 | 0.0030384 | 0.0030383 | 0.0030384 | 0.98699 | -0.25045 | 0.98704 | -0.24943 | 0.83474
1 | -0.0078018 | -0.001955 | 0.0078027 | 0.0019554 | 8.958e-07 | 3.5257e-07 | 0.011762 | 0.011761 | 0.011762 | 0.98704 | -0.24943 | 0.98717 | -0.24702 | 3.2312
2 | 0.0069576 | 0.0017438 | -0.0069573 | -0.0017437 | 3.8562e-07 | 1.2728e-07 | 0.010488 | 0.010488 | 0.010488 | 0.98717 | -0.24702 | 0.98711 | -0.24818 | 2.8812
3 | -0.01476 | -0.0036992 | 0.014763 | 0.0037005 | 2.343e-06 | 1.3381e-06 | 0.022249 | 0.022249 | 0.022249 | 0.98717 | -0.24702 | 0.98734 | -0.24369 | 6.1124
4 | 0.0069573 | 0.0017437 | -0.0069566 | -0.0017435 | 6.8537e-07 | 2.2625e-07 | 0.010488 | 0.010488 | 0.010488 | 0.98711 | -0.24818 | 0.987 | -0.25025 | 2.8813
5 | 0.0040897 | 0.0010249 | -0.0040897 | -0.001025 | 8.7419e-08 | -2.2526e-08 | 0.0061636 | 0.0061637 | 0.0061637 | 0.98734 | -0.24369 | 0.98731 | -0.24414 | 1.6933
6 | -0.018852 | -0.0047255 | 0.01886 | 0.0047298 | 7.1858e-06 | 4.2952e-06 | 0.028413 | 0.028413 | 0.028413 | 0.98734 | -0.24369 | 0.98775 | -0.23569 | 7.8057
7 | 0.19579 | 0.049715 | -0.1956 | -0.049597 | 0.00018506 | 0.00011815 | 0.29499 | 0.29499 | 0.29499 | 0.98837 | -0.22193 | 0.98735 | -0.24159 | 40.5212
8 | -0.19579 | -0.049715 | 0.196 | 0.049847 | 0.00020802 | 0.00013183 | 0.29499 | 0.29499 | 0.29499 | 0.98837 | -0.22193 | 0.98952 | -0.19987 | 20.2606
9 | 0.013106 | 0.0032856 | -0.013103 | -0.003284 | 2.8468e-06 | 1.5732e-06 | 0.019752 | 0.019753 | 0.019753 | 0.98735 | -0.24159 | 0.98712 | -0.24615 | 5.4265
10 | 0.1825 | 0.046311 | -0.18213 | -0.046076 | 0.00036815 | 0.00023496 | 0.27524 | 0.27524 | 0.27524 | 0.98735 | -0.24159 | 0.98518 | -0.28362 | 37.808
11 | -0.196 | -0.049847 | 0.19613 | 0.049929 | 0.00012935 | 8.1971e-05 | 0.29499 | 0.29499 | 0.29499 | 0.98952 | -0.19987 | 0.99023 | -0.18618 | 20.2605
12 | -0.20188 | -0.051372 | 0.20202 | 0.051458 | 0.00013659 | 8.6602e-05 | 0.30365 | 0.30365 | 0.30365 | 0.99023 | -0.18618 | 0.99097 | -0.17216 | 20.8549
13 | -0.02136 | -0.0053565 | 0.021374 | 0.0053648 | 1.3765e-05 | 8.3554e-06 | 0.03218 | 0.03218 | 0.03218 | 0.98775 | -0.23569 | 0.98844 | -0.22218 | 8.8406
14 | 0.20903 | 0.052648 | -0.20895 | -0.052596 | 8.1583e-05 | 5.2097e-05 | 0.31245 | 0.31245 | 0.31245 | 0.99579 | -0.080266 | 0.99537 | -0.088431 | 42.9186
15 | -0.20903 | -0.052648 | 0.20907 | 0.052672 | 3.7496e-05 | 2.3785e-05 | 0.31245 | 0.31245 | 0.31245 | 0.99579 | -0.080266 | 0.99599 | -0.076516 | 21.4593
16 | 0.092495 | 0.023216 | -0.092429 | -0.023174 | 6.5808e-05 | 4.1998e-05 | 0.13829 | 0.13829 | 0.13829 | 0.99537 | -0.088431 | 0.99459 | -0.10336 | 37.9909
17 | 0.11645 | 0.02938 | -0.1164 | -0.029343 | 5.8283e-05 | 3.7234e-05 | 0.17416 | 0.17416 | 0.17416 | 0.99537 | -0.088431 | 0.99482 | -0.09889 | 47.8463
18 | 0.034918 | 0.0087618 | -0.034889 | -0.0087437 | 2.8864e-05 | 1.8106e-05 | 0.052171 | 0.052171 | 0.052171 | 0.99599 | -0.076516 | 0.99509 | -0.093867 | 14.3327
19 | -0.26334 | -0.066284 | 0.26354 | 0.066408 | 0.00019574 | 0.00012457 | 0.39353 | 0.39353 | 0.39353 | 0.99599 | -0.076516 | 0.9968 | -0.060977 | 27.0284
20 | 0.090291 | 0.022791 | -0.090147 | -0.0227 | 0.00014364 | 9.1656e-05 | 0.13511 | 0.13511 | 0.13511 | 0.99482 | -0.09889 | 0.9931 | -0.13216 | 37.1183
21 | 0.026105 | 0.0065515 | -0.02608 | -0.0065364 | 2.4596e-05 | 1.5183e-05 | 0.03905 | 0.03905 | 0.03905 | 0.99482 | -0.09889 | 0.9938 | -0.11867 | 10.728
22 | 0.007711 | 0.0019327 | -0.0077089 | -0.0019319 | 2.1217e-06 | 8.0967e-07 | 0.011554 | 0.011554 | 0.011554 | 0.9931 | -0.13216 | 0.9928 | -0.13793 | 3.1742
23 | 0.082436 | 0.020767 | -0.082369 | -0.020724 | 6.6935e-05 | 4.2687e-05 | 0.12356 | 0.12356 | 0.12356 | 0.9931 | -0.13216 | 0.99222 | -0.14915 | 33.9442
24 | 0.022419 | 0.0056225 | -0.022412 | -0.0056181 | 7.1994e-06 | 4.3917e-06 | 0.033752 | 0.033752 | 0.033752 | 0.98844 | -0.22218 | 0.9881 | -0.22892 | 9.2725
25 | -0.043794 | -0.010987 | 0.043814 | 0.011001 | 2.0926e-05 | 1.3228e-05 | 0.065931 | 0.065931 | 0.065931 | 0.98844 | -0.22218 | 0.98896 | -0.21216 | 18.113
26 | 0.012928 | 0.0032412 | -0.012924 | -0.0032391 | 3.9899e-06 | 2.1942e-06 | 0.01947 | 0.01947 | 0.01947 | 0.9881 | -0.22892 | 0.98776 | -0.2354 | 5.3489
27 | -0.046475 | -0.011667 | 0.046538 | 0.011707 | 6.2997e-05 | 3.9877e-05 | 0.069934 | 0.069934 | 0.069934 | 0.98896 | -0.21216 | 0.99042 | -0.18379 | 19.2126
28 | 0.0021083 | 0.00052829 | -0.0021083 | -0.00052838 | 3.2644e-08 | -9.1838e-08 | 0.0031599 | 0.0031599 | 0.0031599 | 0.9928 | -0.13793 | 0.99278 | -0.13826 | 0.86812
29 | 0.057806 | 0.014568 | -0.05771 | -0.014507 | 9.5613e-05 | 6.0755e-05 | 0.086719 | 0.086719 | 0.086719 | 0.99222 | -0.14915 | 0.99042 | -0.18379 | 23.824
30 | 0.24867 | 0.063627 | -0.24814 | -0.063291 | 0.0005292 | 0.00033656 | 0.37167 | 0.37168 | 0.37168 | 0.9968 | -0.060977 | 0.99448 | -0.10504 | 25.5272
31 | -0.5122 | -0.13004 | 0.51371 | 0.131 | 0.0015076 | 0.0009634 | 0.76521 | 0.76521 | 0.76521 | 0.9968 | -0.060977 | 1 | 0 | 52.5554
32 | 0.0053097 | 0.0013306 | -0.0053089 | -0.0013305 | 8.1811e-07 | 7.5223e-08 | 0.0079448 | 0.007945 | 0.007945 | 0.99448 | -0.10504 | 0.99431 | -0.10827 | 2.1827
33 | 0.24283 | 0.06196 | -0.24263 | -0.061836 | 0.00019528 | 0.00012416 | 0.36373 | 0.36373 | 0.36373 | 0.99448 | -0.10504 | 0.99361 | -0.1217 | 24.9815
34 | 0.026501 | 0.0066449 | -0.026491 | -0.0066389 | 9.6524e-06 | 5.9605e-06 | 0.039434 | 0.039435 | 0.039435 | 1 | 0 | 0.9996 | -0.0076458 | 10.8337
35 | 0.059534 | 0.014929 | -0.059517 | -0.014918 | 1.7455e-05 | 1.1098e-05 | 0.089924 | 0.089924 | 0.089924 | 0.98518 | -0.28362 | 0.98486 | -0.28978 | 24.7043
36 | 0.12259 | 0.031147 | -0.12169 | -0.03057 | 0.00090287 | 0.00057695 | 0.18532 | 0.18532 | 0.18532 | 0.98518 | -0.28362 | 0.97726 | -0.43784 | 50.9118
37 | -0.20733 | -0.05279 | 0.20752 | 0.052906 | 0.00018298 | 0.00011607 | 0.31162 | 0.31162 | 0.31162 | 0.99097 | -0.17216 | 0.99192 | -0.15387 | 21.4027
38 | -0.0035993 | -0.00090206 | 0.0035994 | 0.00090198 | 1.6047e-07 | -8.3588e-08 | 0.0054224 | 0.0054223 | 0.0054224 | 0.98772 | -0.23633 | 0.98776 | -0.2354 | 1.4897
39 | 0.0077384 | 0.0019389 | -0.0077367 | -0.0019382 | 1.7167e-06 | 6.5519e-07 | 0.011575 | 0.011575 | 0.011575 | 0.99479 | -0.099546 | 0.99455 | -0.1042 | 3.18
40 | -0.0077384 | -0.0019389 | 0.0077405 | 0.0019397 | 2.0934e-06 | 7.9867e-07 | 0.011575 | 0.011575 | 0.011575 | 0.99479 | -0.099546 | 0.99509 | -0.093867 | 3.1799
41 | 0.0036853 | 0.00092323 | -0.0036848 | -0.00092349 | 5.3634e-07 | -2.6712e-07 | 0.0055137 | 0.0055139 | 0.0055139 | 0.99455 | -0.1042 | 0.9944 | -0.10726 | 1.5148
42 | 0.0040514 | 0.001015 | -0.0040507 | -0.0010152 | 6.4662e-07 | -1.9507e-07 | 0.0060614 | 0.0060616 | 0.0060616 | 0.99455 | -0.1042 | 0.99438 | -0.10756 | 1.6653
43 | 0.055287 | 0.013865 | -0.055264 | -0.013851 | 2.2617e-05 | 1.4361e-05 | 0.082718 | 0.082718 | 0.082718 | 0.99459 | -0.10336 | 0.99415 | -0.11195 | 22.7247
44 | 0.21915 | 0.05595 | -0.21898 | -0.055841 | 0.00017141 | 0.00010883 | 0.32856 | 0.32856 | 0.32856 | 0.99361 | -0.1217 | 0.99276 | -0.1379 | 22.5659
45 | 0.0040519 | 0.0010151 | -0.0040517 | -0.0010152 | 1.102e-07 | -3.5361e-08 | 0.0060315 | 0.0060315 | 0.0060315 | 0.9996 | -0.0076458 | 0.99957 | -0.0082169 | 1.657
46 | -0.010941 | -0.0027421 | 0.010943 | 0.002743 | 1.7786e-06 | 9.1785e-07 | 0.016539 | 0.016539 | 0.016539 | 0.98436 | -0.29967 | 0.98453 | -0.29626 | 4.5438
47 | -0.010943 | -0.002743 | 0.010946 | 0.0027448 | 3.3808e-06 | 1.7445e-06 | 0.016539 | 0.016539 | 0.016539 | 0.98453 | -0.29626 | 0.98486 | -0.28978 | 4.5438
48 | 0.081637 | 0.020525 | -0.081468 | -0.020418 | 0.00016869 | 0.0001076 | 0.12433 | 0.12433 | 0.12433 | 0.97726 | -0.43784 | 0.97505 | -0.4812 | 34.1558
49 | 0.040055 | 0.010045 | -0.040039 | -0.010035 | 1.6118e-05 | 1.0171e-05 | 0.060992 | 0.060992 | 0.060992 | 0.97726 | -0.43784 | 0.97683 | -0.44628 | 16.756
50 | 0.0040517 | 0.0010152 | -0.0040512 | -0.0010153 | 5.1225e-07 | -1.6427e-07 | 0.0060315 | 0.0060317 | 0.0060317 | 0.99957 | -0.0082169 | 0.99943 | -0.010871 | 1.6571
51 | 0.21322 | 0.054398 | -0.21305 | -0.054294 | 0.00016438 | 0.00010432 | 0.31993 | 0.31993 | 0.31993 | 0.99276 | -0.1379 | 0.99192 | -0.15387 | 21.9732

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59634 | 0.1513

## res_load
| p_mw | q_mvar
0 | 0.0020154 | 0.0005051
1 | 0.0057864 | 0.0014502
2 | 0.0057589 | 0.0014433
3 | 0.0069566 | 0.0017435
4 | 0.0040897 | 0.001025
5 | 0.0025006 | 0.00062672
6 | 0.019354 | 0.0048506
7 | 0.02608 | 0.0065364
8 | 0.0094838 | 0.0023769
9 | 0.0026602 | 0.00066671
10 | 0.0056006 | 0.0014036
11 | 0.024564 | 0.0061562
12 | 0.054482 | 0.013654
13 | 0.013103 | 0.003284
14 | 0.005312 | 0.0013313
15 | 0.0035993 | 0.00090206
16 | 0.009325 | 0.0023371
17 | 0.027148 | 0.006804
18 | 0.0036848 | 0.00092349
19 | 0.0040507 | 0.0010152
20 | 0.037143 | 0.0093088
21 | 0.011172 | 0.0028001
22 | 0.0021083 | 0.00052838
23 | 0.0053089 | 0.0013305
24 | 0.023486 | 0.0058862
25 | 0.022439 | 0.0056238
26 | 0.010941 | 0.0027421
27 | 0.04857 | 0.012173
28 | 0.081468 | 0.020418
29 | 0.040039 | 0.010035
30 | 0.0040512 | 0.0010153
31 | 0.055264 | 0.013851
32 | 0.0057576 | 0.001443
33 | 0.0055375 | 0.0013878

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1