## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_131-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_131-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_131-7_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_131-7_0_6_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_131-7_0_6_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_131-7_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_131-7_0_6_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_131-7_0_6_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_131-7_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_131-7_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_131-7_0_6_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_131-7_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_131-7_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_131-7_0_6_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_131-7_0_6_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_131-7_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_131-7_0_6_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_131-7_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_131-7_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_131-7_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_131-7_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_131-7_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_131-7_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_131-7_0_6_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_131-7_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_131-7_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_131-7_0_6_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_131-7_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_131-7_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_131-7_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_131-7_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_131-7_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_131-7_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_131-7_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_131-7_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_131-7_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_131-7_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_131-7_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_360_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-7_0_6_load_0 | 0 | 0.0070775 | 0.0017738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-7_0_6_load_3 | 3 | 0.01697 | 0.0042531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-7_0_6_load_20 | 5 | 0.0079158 | 0.0019839 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-7_0_6_load_26 | 6 | 0.004195 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-7_0_6_load_48 | 9 | 0.003041 | 0.00076214 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-7_0_6_load_31 | 12 | 0.024079 | 0.0060348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-7_0_6_load_22 | 14 | 0.09747 | 0.024428 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-7_0_6_load_34 | 16 | 0.019361 | 0.0048524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-7_0_6_load_49 | 18 | 0.12478 | 0.031272 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-7_0_6_load_28 | 23 | 0.011269 | 0.0028242 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-7_0_6_load_27 | 25 | 0.0064853 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-7_0_6_load_21 | 27 | 0.0036902 | 0.00092486 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-7_0_6_load_32 | 28 | 0.0056368 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-7_0_6_load_24 | 31 | 0.057153 | 0.014324 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-7_0_6_load_25 | 32 | 0.07972 | 0.01998 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-7_0_6_load_38 | 33 | 0.0083223 | 0.0020858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-7_0_6_load_45 | 34 | 0.0022694 | 0.00056877 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-7_0_6_load_44 | 35 | 0.0030041 | 0.00075289 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-7_0_6_load_36 | 36 | 0.0055325 | 0.0013866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-7_0_6_load_35 | 37 | 0.0054361 | 0.0013624 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-7_0_6_load_37 | 38 | 0.0051814 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-7_0_6_load_39 | 39 | 0.0061102 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-7_0_6_line_0 |  | 0 | 1 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_131-7_0_6_line_1 |  | 0 | 2 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_131-7_0_6_line_2 |  | 1 | 3 | 0.0092952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-7_0_6_line_3 |  | 1 | 4 | 0.053246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_131-7_0_6_line_4 |  | 2 | 5 | 0.020429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_131-7_0_6_line_5 |  | 3 | 6 | 0.00053586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-7_0_6_line_6 |  | 4 | 13 | 0.1082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_131-7_0_6_line_7 |  | 4 | 14 | 0.039775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_131-7_0_6_line_8 |  | 5 | 26 | 0.013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_131-7_0_6_line_9 |  | 7 | 8 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_131-7_0_6_line_10 |  | 7 | 9 | 0.0081709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_131-7_0_6_line_11 |  | 8 | 34 | 0.0011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_131-7_0_6_line_12 |  | 10 | 11 | 0.00455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_131-7_0_6_line_13 |  | 10 | 12 | 0.0031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-7_0_6_line_14 |  | 11 | 34 | 0.003431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-7_0_6_line_15 |  | 11 | 35 | 0.0084831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_131-7_0_6_line_16 |  | 12 | 28 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_131-7_0_6_line_17 |  | 13 | 15 | 0.060267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-7_0_6_line_18 |  | 13 | 16 | 0.041754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_131-7_0_6_line_19 |  | 14 | 20 | 0.047614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_131-7_0_6_line_20 |  | 15 | 33 | 0.092001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_131-7_0_6_line_21 |  | 16 | 19 | 0.044589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_131-7_0_6_line_22 |  | 17 | 18 | 0.09568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_131-7_0_6_line_23 |  | 17 | 19 | 0.19421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_131-7_0_6_line_24 |  | 20 | 21 | 0.043484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_131-7_0_6_line_25 |  | 21 | 23 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_131-7_0_6_line_26 |  | 22 | 23 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_131-7_0_6_line_27 |  | 22 | 24 | 0.056406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-7_0_6_line_28 |  | 22 | 25 | 0.037355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-7_0_6_line_29 |  | 24 | 28 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-7_0_6_line_30 |  | 26 | 27 | 0.028375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_131-7_0_6_line_31 |  | 27 | 32 | 0.047306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_131-7_0_6_line_32 |  | 29 | 30 | 0.042092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_131-7_0_6_line_33 |  | 29 | 31 | 0.035634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_131-7_0_6_line_34 |  | 30 | 32 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-7_0_6_line_35 |  | 33 | 36 | 0.084322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_131-7_0_6_line_36 |  | 36 | 37 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_131-7_0_6_line_37 |  | 37 | 38 | 0.034927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_131-7_0_6_line_38 |  | 38 | 39 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-7_0_6_trafo_28 | 0.63 MVA 20/0.4 kV | 40 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2681864.5687 | 1241559.7306 | 2681876.7857 | 1241570.058
1 | 2681886.5515 | 1241577.6022 | 2681880.361 | 1241573.0802 | 2681876.7857 | 1241570.058
2 | 2681864.5687 | 1241559.7306 | 2681865.1677 | 1241550.4547
3 | 2681852.3465 | 1241589.0387 | 2681846.4017 | 1241589.1679 | 2681846.5448 | 1241584.2775 | 2681863.8982 | 1241584.7616 | 2681863.9761 | 1241579.1141 | 2681864.2505 | 1241563.6179 | 2681864.5687 | 1241559.7306
4 | 2681886.5515 | 1241577.6022 | 2681899.5819 | 1241561.8687
5 | 2681865.1677 | 1241550.4547 | 2681865.2022 | 1241549.92
6 | 2681784.3646 | 1241623.6599 | 2681776.0935 | 1241608.8131 | 2681807.0569 | 1241593.9179 | 2681835.8666 | 1241595.3938 | 2681839.803 | 1241592.3125 | 2681841.3575 | 1241587.0524 | 2681843.3552 | 1241584.2001 | 2681846.5448 | 1241584.2775 | 2681846.4017 | 1241589.1679 | 2681852.3465 | 1241589.0387
7 | 2681852.3465 | 1241589.0387 | 2681853.0124 | 1241570.9126 | 2681853.8092 | 1241549.2908
8 | 2681908.4119 | 1241551.207 | 2681899.5819 | 1241561.8687
9 | 2681865.2063 | 1241404.4948 | 2681869.0306 | 1241405.7151 | 2681874.7271 | 1241407.1502 | 2681880.8983 | 1241408.7031
10 | 2681880.8983 | 1241408.7031 | 2681880.4463 | 1241411.321 | 2681879.1507 | 1241416.681
11 | 2681865.2063 | 1241404.4948 | 2681864.1152 | 1241404.2159
12 | 2681856.376 | 1241402.2158 | 2681860.791 | 1241403.3664
13 | 2681856.376 | 1241402.2158 | 2681853.3471 | 1241401.4054
14 | 2681860.791 | 1241403.3664 | 2681864.1152 | 1241404.2159
15 | 2681860.791 | 1241403.3664 | 2681859.8737 | 1241407.9237 | 2681859.1158 | 1241411.6825
16 | 2681853.3471 | 1241401.4054 | 2681842.6391 | 1241398.5403
17 | 2681744.3484 | 1241580.5778 | 2681763.4479 | 1241592.0713 | 2681776.0935 | 1241608.8131 | 2681784.3646 | 1241623.6599
18 | 2681784.3646 | 1241623.6599 | 2681791.6337 | 1241602.0556 | 2681792.0592 | 1241583.1005
19 | 2681855.5627 | 1241501.7093 | 2681853.8092 | 1241549.2908
20 | 2681744.3484 | 1241580.5778 | 2681740.9964 | 1241578.5636 | 2681708.2973 | 1241574.0102 | 2681692.486 | 1241571.9022 | 2681680.8263 | 1241567.0049 | 2681665.1986 | 1241553.7582 | 2681660.9394 | 1241549.5449
21 | 2681793.3093 | 1241539.2003 | 2681793.2011 | 1241545.4033 | 2681789.6042 | 1241557.8627 | 2681792.2021 | 1241576.7342 | 2681792.0592 | 1241583.1005
22 | 2681788.5514 | 1241359.4615 | 2681787.7231 | 1241367.9895 | 2681783.2046 | 1241402.8634 | 2681731.1262 | 1241401.523
23 | 2681793.3093 | 1241539.2003 | 2681794.0447 | 1241495.7349 | 2681796.2884 | 1241455.8483 | 2681797.8975 | 1241436.7568 | 2681803.8942 | 1241368.168 | 2681803.7634 | 1241360.6497 | 2681788.5514 | 1241359.4615
24 | 2681869.6628 | 1241461.2636 | 2681859.2233 | 1241498.3462 | 2681855.5627 | 1241501.7093
25 | 2681869.6628 | 1241461.2636 | 2681845.529 | 1241454.0195
26 | 2681832.4047 | 1241440.7463 | 2681830.9512 | 1241449.6438 | 2681845.529 | 1241454.0195
27 | 2681826.5813 | 1241394.2438 | 2681824.1366 | 1241416.3482 | 2681821.8546 | 1241439.8113 | 2681827.2378 | 1241440.3859 | 2681832.4047 | 1241440.7463
28 | 2681832.4047 | 1241440.7463 | 2681834.4865 | 1241427.9547 | 2681858.8158 | 1241429.7434
29 | 2681826.5813 | 1241394.2438 | 2681842.6391 | 1241398.5403
30 | 2681908.4119 | 1241551.207 | 2681900.5299 | 1241540.5017 | 2681893.2467 | 1241527.2961
31 | 2681893.2467 | 1241527.2961 | 2681889.7529 | 1241520.9613 | 2681882.6275 | 1241499.8034 | 2681883.8243 | 1241482.0979
32 | 2681884.8544 | 1241461.1731 | 2681894.1245 | 1241427.7547 | 2681898.545 | 1241430.1508 | 2681900.9275 | 1241430.0947
33 | 2681900.9275 | 1241430.0947 | 2681928.2704 | 1241452.9453
34 | 2681884.8544 | 1241461.1731 | 2681885.1513 | 1241468.6937 | 2681883.8627 | 1241481.5295 | 2681883.8243 | 1241482.0979
35 | 2681632.5362 | 1241472.2288 | 2681638.7668 | 1241490.4604 | 2681638.9048 | 1241506.2514 | 2681646.0006 | 1241520.8372 | 2681653.8453 | 1241542.5273 | 2681660.9394 | 1241549.5449
36 | 2681626.727 | 1241455.2304 | 2681632.5362 | 1241472.2288
37 | 2681626.727 | 1241455.2304 | 2681624.7895 | 1241449.5611 | 2681614.932 | 1241422.3563
38 | 2681608.8344 | 1241405.528 | 2681614.932 | 1241422.3563

## bus_geodata
| x | y | coords
0 | 2681876.7857 | 1241570.058
1 | 2681864.5687 | 1241559.7306
2 | 2681886.5515 | 1241577.6022
3 | 2681865.1677 | 1241550.4547
4 | 2681852.3465 | 1241589.0387
5 | 2681899.5819 | 1241561.8687
6 | 2681865.2022 | 1241549.92
7 | 2681880.8983 | 1241408.7031
8 | 2681865.2063 | 1241404.4948
9 | 2681879.1507 | 1241416.681
10 | 2681856.376 | 1241402.2158
11 | 2681860.791 | 1241403.3664
12 | 2681853.3471 | 1241401.4054
13 | 2681784.3646 | 1241623.6599
14 | 2681853.8092 | 1241549.2908
15 | 2681744.3484 | 1241580.5778
16 | 2681792.0592 | 1241583.1005
17 | 2681788.5514 | 1241359.4615
18 | 2681731.1262 | 1241401.523
19 | 2681793.3093 | 1241539.2003
20 | 2681855.5627 | 1241501.7093
21 | 2681869.6628 | 1241461.2636
22 | 2681832.4047 | 1241440.7463
23 | 2681845.529 | 1241454.0195
24 | 2681826.5813 | 1241394.2438
25 | 2681858.8158 | 1241429.7434
26 | 2681908.4119 | 1241551.207
27 | 2681893.2467 | 1241527.2961
28 | 2681842.6391 | 1241398.5403
29 | 2681900.9275 | 1241430.0947
30 | 2681884.8544 | 1241461.1731
31 | 2681928.2704 | 1241452.9453
32 | 2681883.8243 | 1241482.0979
33 | 2681660.9394 | 1241549.5449
34 | 2681864.1152 | 1241404.2159
35 | 2681859.1158 | 1241411.6825
36 | 2681632.5362 | 1241472.2288
37 | 2681626.727 | 1241455.2304
38 | 2681614.932 | 1241422.3563
39 | 2681608.8344 | 1241405.528
40 | 2681832.4047 | 1241440.7463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9855 | -0.27626 | 0.0070775 | 0.0017738
1 | 0.98596 | -0.26733 | 0 | 0
2 | 0.98515 | -0.28285 | 0 | 0
3 | 0.98578 | -0.27086 | 0.01697 | 0.0042531
4 | 0.98771 | -0.23365 | 0 | 0
5 | 0.98459 | -0.29375 | 0.0079158 | 0.0019839
6 | 0.98578 | -0.2709 | 0.004195 | 0.0010514
7 | 0.99604 | -0.07613 | 0 | 0
8 | 0.99609 | -0.075262 | 0 | 0
9 | 0.99602 | -0.076567 | 0.003041 | 0.00076214
10 | 0.99614 | -0.074217 | 0 | 0
11 | 0.99611 | -0.074882 | 0 | 0
12 | 0.99616 | -0.073759 | 0.024079 | 0.0060348
13 | 0.98419 | -0.30147 | 0 | 0
14 | 0.99031 | -0.18382 | 0.09747 | 0.024428
15 | 0.98248 | -0.3347 | 0 | 0
16 | 0.98306 | -0.32316 | 0.019361 | 0.0048524
17 | 0.9775 | -0.43127 | 0 | 0
18 | 0.97193 | -0.54078 | 0.12478 | 0.031272
19 | 0.98202 | -0.34325 | 0 | 0
20 | 0.99428 | -0.10813 | 0 | 0
21 | 0.9979 | -0.039525 | 0 | 0
22 | 0.99902 | -0.018825 | 0 | 0
23 | 1 | 0 | -0.50418 | -0.12944
24 | 0.99707 | -0.056364 | 0 | 0
25 | 0.9988 | -0.023057 | 0.0064853 | 0.0016254
26 | 0.98423 | -0.30075 | 0 | 0
27 | 0.98237 | -0.3367 | 0.0036902 | 0.00092486
28 | 0.99649 | -0.067454 | 0.0056368 | 0.0014127
29 | 0.97297 | -0.52052 | 0 | 0
30 | 0.97522 | -0.47633 | 0 | 0
31 | 0.97107 | -0.55809 | 0.057153 | 0.014324
32 | 0.97634 | -0.45436 | 0.07972 | 0.01998
33 | 0.97987 | -0.38565 | 0.0083223 | 0.0020858
34 | 0.99609 | -0.075202 | 0.0022694 | 0.00056877
35 | 0.99608 | -0.075329 | 0.0030041 | 0.00075289
36 | 0.97813 | -0.41979 | 0.0055325 | 0.0013866
37 | 0.97785 | -0.42526 | 0.0054361 | 0.0013624
38 | 0.97748 | -0.43246 | 0.0051814 | 0.0012986
39 | 0.97738 | -0.43445 | 0.0061102 | 0.0015314
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15703 | -0.039927 | 0.1571 | 0.039969 | 6.7569e-05 | 4.2225e-05 | 0.23731 | 0.23731 | 0.23731 | 0.9855 | -0.27626 | 0.98596 | -0.26733 | 13.0392
1 | 0.14996 | 0.038153 | -0.14991 | -0.038123 | 4.7563e-05 | 2.9654e-05 | 0.22663 | 0.22663 | 0.22663 | 0.9855 | -0.27626 | 0.98515 | -0.28285 | 12.4521
2 | 0.021168 | 0.0053066 | -0.021165 | -0.0053044 | 3.5578e-06 | 2.1585e-06 | 0.031948 | 0.031948 | 0.031948 | 0.98596 | -0.26733 | 0.98578 | -0.27086 | 8.7769
3 | -0.17827 | -0.045276 | 0.17856 | 0.045458 | 0.00028953 | 0.0001819 | 0.26926 | 0.26926 | 0.26926 | 0.98596 | -0.26733 | 0.98771 | -0.23365 | 14.7946
4 | 0.14991 | 0.038123 | -0.14983 | -0.038074 | 7.8692e-05 | 4.9063e-05 | 0.22663 | 0.22663 | 0.22663 | 0.98515 | -0.28285 | 0.98459 | -0.29375 | 12.4521
5 | 0.004195 | 0.0010514 | -0.004195 | -0.0010514 | 8.0574e-09 | -1.6747e-09 | 0.0063322 | 0.0063322 | 0.0063322 | 0.98578 | -0.27086 | 0.98578 | -0.2709 | 1.7396
6 | 0.17693 | 0.045171 | -0.17635 | -0.044808 | 0.00057783 | 0.00036291 | 0.26684 | 0.26685 | 0.26685 | 0.98771 | -0.23365 | 0.98419 | -0.30147 | 14.6619
7 | -0.35549 | -0.090628 | 0.35635 | 0.091174 | 0.00085737 | 0.00054616 | 0.5361 | 0.5361 | 0.5361 | 0.98771 | -0.23365 | 0.99031 | -0.18382 | 29.4563
8 | 0.14192 | 0.036091 | -0.14187 | -0.036061 | 4.7844e-05 | 2.974e-05 | 0.21467 | 0.21467 | 0.21467 | 0.98459 | -0.29375 | 0.98423 | -0.30075 | 11.7948
9 | -0.003041 | -0.00076207 | 0.0030411 | 0.00076194 | 1.2579e-07 | -1.3104e-07 | 0.004543 | 0.004543 | 0.004543 | 0.99604 | -0.07613 | 0.99609 | -0.075262 | 1.2481
10 | 0.003041 | 0.00076207 | -0.003041 | -0.00076214 | 6.3241e-08 | -6.5873e-08 | 0.004543 | 0.0045431 | 0.0045431 | 0.99604 | -0.07613 | 0.99602 | -0.076567 | 1.2481
11 | -0.0030411 | -0.00076194 | 0.0030412 | 0.00076193 | 8.716e-09 | -9.081e-09 | 0.004543 | 0.004543 | 0.004543 | 0.99609 | -0.075262 | 0.99609 | -0.075202 | 1.2481
12 | 0.0083151 | 0.0020836 | -0.0083148 | -0.0020835 | 2.6323e-07 | 1.0924e-07 | 0.012421 | 0.012421 | 0.012421 | 0.99614 | -0.074217 | 0.99611 | -0.074882 | 3.4123
13 | -0.0083151 | -0.0020836 | 0.0083152 | 0.0020837 | 1.8139e-07 | 7.5274e-08 | 0.012421 | 0.012421 | 0.012421 | 0.99614 | -0.074217 | 0.99616 | -0.073759 | 3.4123
14 | 0.0053107 | 0.0013307 | -0.0053106 | -0.0013307 | 8.0974e-08 | 7.1615e-09 | 0.0079331 | 0.0079332 | 0.0079332 | 0.99611 | -0.074882 | 0.99609 | -0.075202 | 2.1794
15 | 0.0030041 | 0.00075282 | -0.0030041 | -0.00075289 | 6.4066e-08 | -6.9422e-08 | 0.0044876 | 0.0044877 | 0.0044877 | 0.99611 | -0.074882 | 0.99608 | -0.075329 | 1.2329
16 | -0.032394 | -0.0081185 | 0.032404 | 0.0081246 | 9.7328e-06 | 6.0847e-06 | 0.048389 | 0.048389 | 0.048389 | 0.99616 | -0.073759 | 0.99649 | -0.067454 | 13.2936
17 | 0.030751 | 0.0077688 | -0.030702 | -0.0077382 | 4.89e-05 | 3.0532e-05 | 0.046516 | 0.046516 | 0.046516 | 0.98419 | -0.30147 | 0.98248 | -0.3347 | 12.7791
18 | 0.1456 | 0.037039 | -0.14545 | -0.036944 | 0.00015203 | 9.4647e-05 | 0.22033 | 0.22033 | 0.22033 | 0.98419 | -0.30147 | 0.98306 | -0.32316 | 12.1062
19 | -0.45382 | -0.1156 | 0.45548 | 0.11666 | 0.0016637 | 0.0010617 | 0.68256 | 0.68256 | 0.68256 | 0.99031 | -0.18382 | 0.99428 | -0.10813 | 37.5032
20 | 0.030702 | 0.0077382 | -0.030628 | -0.0076916 | 7.465e-05 | 4.6614e-05 | 0.046516 | 0.046516 | 0.046516 | 0.98248 | -0.3347 | 0.97987 | -0.38565 | 12.7792
21 | 0.12609 | 0.032092 | -0.12596 | -0.032017 | 0.00012203 | 7.5278e-05 | 0.19103 | 0.19103 | 0.19103 | 0.98306 | -0.32316 | 0.98202 | -0.34325 | 10.496
22 | 0.12543 | 0.031689 | -0.12478 | -0.031272 | 0.00065469 | 0.00041662 | 0.19103 | 0.19103 | 0.19103 | 0.9775 | -0.43127 | 0.97193 | -0.54078 | 26.2408
23 | -0.12543 | -0.031689 | 0.12596 | 0.032017 | 0.00053154 | 0.00032795 | 0.19103 | 0.19103 | 0.19103 | 0.9775 | -0.43127 | 0.98202 | -0.34325 | 10.4963
24 | -0.45548 | -0.11666 | 0.457 | 0.11763 | 0.0015194 | 0.00096958 | 0.68256 | 0.68256 | 0.68256 | 0.99428 | -0.10813 | 0.9979 | -0.039525 | 37.5031
25 | -0.457 | -0.11763 | 0.45788 | 0.1182 | 0.00088043 | 0.00056183 | 0.68256 | 0.68256 | 0.68256 | 0.9979 | -0.039525 | 1 | 0 | 37.5031
26 | -0.044616 | -0.011219 | 0.044656 | 0.011244 | 4.0152e-05 | 2.5379e-05 | 0.066467 | 0.066467 | 0.066467 | 0.99902 | -0.018825 | 1 | 0 | 18.2602
27 | 0.038129 | 0.0095929 | -0.038061 | -0.0095499 | 6.8256e-05 | 4.2947e-05 | 0.056805 | 0.056806 | 0.056806 | 0.99902 | -0.018825 | 0.99707 | -0.056364 | 15.606
28 | 0.0064866 | 0.0016257 | -0.0064853 | -0.0016254 | 1.3077e-06 | 3.479e-07 | 0.0096617 | 0.0096619 | 0.0096619 | 0.99902 | -0.018825 | 0.9988 | -0.023057 | 2.6544
29 | 0.038061 | 0.0095499 | -0.038041 | -0.0095373 | 2.0115e-05 | 1.2657e-05 | 0.056806 | 0.056806 | 0.056806 | 0.99707 | -0.056364 | 0.99649 | -0.067454 | 15.606
30 | 0.14187 | 0.036061 | -0.14162 | -0.035905 | 0.00024517 | 0.00015619 | 0.21467 | 0.21467 | 0.21467 | 0.98423 | -0.30075 | 0.98237 | -0.3367 | 29.4871
31 | 0.13793 | 0.03498 | -0.13716 | -0.034484 | 0.00077545 | 0.00049569 | 0.20908 | 0.20908 | 0.20908 | 0.98237 | -0.3367 | 0.97634 | -0.45436 | 57.4386
32 | -0.057256 | -0.014389 | 0.057377 | 0.014466 | 0.00012106 | 7.6957e-05 | 0.087578 | 0.087578 | 0.087578 | 0.97297 | -0.52052 | 0.97522 | -0.47633 | 24.06
33 | 0.057256 | 0.014389 | -0.057153 | -0.014324 | 0.00010249 | 6.5153e-05 | 0.087578 | 0.087578 | 0.087578 | 0.97297 | -0.52052 | 0.97107 | -0.55809 | 24.06
34 | -0.057377 | -0.014466 | 0.057437 | 0.014504 | 6.0391e-05 | 3.8388e-05 | 0.087578 | 0.087578 | 0.087578 | 0.97522 | -0.47633 | 0.97634 | -0.45436 | 24.0599
35 | 0.022305 | 0.0056058 | -0.022269 | -0.0055837 | 3.6292e-05 | 2.2167e-05 | 0.033878 | 0.033878 | 0.033878 | 0.97987 | -0.38565 | 0.97813 | -0.41979 | 9.3073
36 | 0.016736 | 0.0041971 | -0.016732 | -0.0041945 | 4.3673e-06 | 2.5696e-06 | 0.025462 | 0.025462 | 0.025462 | 0.97813 | -0.41979 | 0.97785 | -0.42526 | 6.9951
37 | 0.011296 | 0.0028321 | -0.011292 | -0.0028301 | 3.8702e-06 | 2.039e-06 | 0.01719 | 0.01719 | 0.01719 | 0.97785 | -0.42526 | 0.97748 | -0.43246 | 4.7225
38 | 0.0061107 | 0.0015315 | -0.0061102 | -0.0015314 | 5.8083e-07 | 1.4739e-07 | 0.0093023 | 0.0093024 | 0.0093024 | 0.97748 | -0.43246 | 0.97738 | -0.43445 | 2.5556

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51545 | 0.13226

## res_load
| p_mw | q_mvar
0 | 0.0070775 | 0.0017738
1 | 0.01697 | 0.0042531
2 | 0.0079158 | 0.0019839
3 | 0.004195 | 0.0010514
4 | 0.003041 | 0.00076214
5 | 0.024079 | 0.0060348
6 | 0.09747 | 0.024428
7 | 0.019361 | 0.0048524
8 | 0.12478 | 0.031272
9 | 0.011269 | 0.0028242
10 | 0.0064853 | 0.0016254
11 | 0.0036902 | 0.00092486
12 | 0.0056368 | 0.0014127
13 | 0.057153 | 0.014324
14 | 0.07972 | 0.01998
15 | 0.0083223 | 0.0020858
16 | 0.0022694 | 0.00056877
17 | 0.0030041 | 0.00075289
18 | 0.0055325 | 0.0013866
19 | 0.0054361 | 0.0013624
20 | 0.0051814 | 0.0012986
21 | 0.0061102 | 0.0015314

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1