## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_131-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_131-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_131-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_131-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_131-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_131-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_131-9_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_131-9_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_131-9_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_131-9_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_131-9_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_131-9_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_131-9_0_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_131-9_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_131-9_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_131-9_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_131-9_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_131-9_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_131-9_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_131-9_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_131-9_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_131-9_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_131-9_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_131-9_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_131-9_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_131-9_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_131-9_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_131-9_0_4_node_6 | 0.4 | n |  | TRUE
28 | bus_LV_131-9_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_131-9_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_131-9_0_4_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_131-9_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_131-9_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_131-9_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_131-9_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_131-9_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_131-9_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_131-9_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_131-9_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_131-9_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_131-9_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_131-9_0_4_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_131-9_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_131-9_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_131-9_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_131-9_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_131-9_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_131-9_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_131-9_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_131-9_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_131-9_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_131-9_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_131-9_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_131-9_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_131-9_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_131-9_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_131-9_0_4_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_131-9_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_131-9_0_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_131-9_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_131-9_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_131-9_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_131-9_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_131-9_0_4_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_131-9_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_131-9_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_131-9_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_131-9_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_131-9_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_131-9_0_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_131-9_0_4_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_131-9_0_4_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_131-9_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_131-9_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_131-9_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_131-9_0_4_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_131-9_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_131-9_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_131-9_0_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_131-9_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_131-9_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_131-9_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_131-9_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_131-9_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_MV_360_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_131-9_0_4_load_0 | 0 | 0.078967 | 0.019791 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_131-9_0_4_load_1 | 1 | 0.02184 | 0.0054736 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_131-9_0_4_load_4 | 4 | 0.0053746 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_131-9_0_4_load_37 | 8 | 0.0045281 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_131-9_0_4_load_7 | 9 | 0.0054708 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_131-9_0_4_load_73 | 12 | 0.0016392 | 0.00041082 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_131-9_0_4_load_15 | 16 | 0.011231 | 0.0028148 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_131-9_0_4_load_54 | 19 | 0.0056934 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_131-9_0_4_load_31 | 20 | 0.0023874 | 0.00059835 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_131-9_0_4_load_30 | 22 | 0.003688 | 0.00092429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_131-9_0_4_load_29 | 23 | 0.0079217 | 0.0019854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_131-9_0_4_load_10 | 24 | 0.0052751 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_131-9_0_4_load_60 | 25 | 0.0049432 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_131-9_0_4_load_6 | 27 | 0.0049124 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_131-9_0_4_load_66 | 28 | 0.0044373 | 0.0011121 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_131-9_0_4_load_67 | 29 | 0.0040778 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_131-9_0_4_load_11 | 30 | 0.00089994 | 0.00022555 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_131-9_0_4_load_36 | 33 | 0.0088884 | 0.0022276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_131-9_0_4_load_35 | 34 | 0.0028746 | 0.00072045 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_131-9_0_4_load_32 | 35 | 0.0075381 | 0.0018892 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_131-9_0_4_load_24 | 36 | 0.0043255 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_131-9_0_4_load_25 | 37 | 0.0040781 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_131-9_0_4_load_26 | 38 | 0.004299 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_131-9_0_4_load_90 | 41 | 0.004307 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_131-9_0_4_load_38 | 43 | 0.006827 | 0.001711 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_131-9_0_4_load_33 | 44 | 0.014286 | 0.0035804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_131-9_0_4_load_39 | 45 | 0.0033854 | 0.00084847 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_131-9_0_4_load_41 | 46 | 0.0073469 | 0.0018413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_131-9_0_4_load_51 | 48 | 0.0032359 | 0.00081098 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_131-9_0_4_load_48 | 50 | 0.003883 | 0.00097316 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_131-9_0_4_load_43 | 51 | 0.0058194 | 0.0014585 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_131-9_0_4_load_44 | 52 | 0.0065048 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_131-9_0_4_load_45 | 53 | 0.0058904 | 0.0014763 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_131-9_0_4_load_46 | 54 | 0.0043142 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_131-9_0_4_load_47 | 55 | 0.0058242 | 0.0014597 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_131-9_0_4_load_71 | 57 | 0.0055268 | 0.0013852 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_131-9_0_4_load_80 | 58 | 0.005482 | 0.0013739 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_131-9_0_4_load_70 | 60 | 0.0054369 | 0.0013626 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_131-9_0_4_load_53 | 61 | 0.0069358 | 0.0017383 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_131-9_0_4_load_89 | 63 | 0.0055773 | 0.0013978 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_131-9_0_4_load_63 | 64 | 0.0058269 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_131-9_0_4_load_69 | 66 | 0.0044864 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_131-9_0_4_load_56 | 67 | 0.0031517 | 0.0007899 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_131-9_0_4_load_81 | 70 | 0.0061094 | 0.0015312 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_131-9_0_4_load_85 | 71 | 0.0042315 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_131-9_0_4_load_64 | 72 | 0.0067944 | 0.0017028 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_131-9_0_4_load_55 | 73 | 0.0029022 | 0.00072736 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_131-9_0_4_load_57 | 74 | 0.0039705 | 0.00099509 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_131-9_0_4_load_82 | 75 | 0.0069925 | 0.0017525 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_131-9_0_4_load_88 | 76 | 0.0031969 | 0.00080123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_131-9_0_4_load_76 | 77 | 0.0051611 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_131-9_0_4_load_87 | 78 | 0.0048475 | 0.0012149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_131-9_0_4_load_65 | 79 | 0.0071989 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_131-9_0_4_load_86 | 80 | 0.0034047 | 0.00085331 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_131-9_0_4_load_72 | 81 | 0.0055202 | 0.0013835 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_131-9_0_4_load_79 | 82 | 0.0065067 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_131-9_0_4_load_78 | 83 | 0.0043869 | 0.0010995 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_131-9_0_4_line_0 |  | 0 | 1 | 0.04181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_131-9_0_4_line_1 |  | 0 | 2 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_131-9_0_4_line_2 |  | 1 | 3 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_131-9_0_4_line_3 |  | 2 | 4 | 0.02309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_131-9_0_4_line_4 |  | 2 | 5 | 0.005219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_131-9_0_4_line_5 |  | 3 | 6 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_131-9_0_4_line_6 |  | 5 | 7 | 0.00348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_131-9_0_4_line_7 |  | 6 | 8 | 0.028094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_131-9_0_4_line_8 |  | 6 | 9 | 0.012889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_131-9_0_4_line_9 |  | 7 | 24 | 0.016931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_131-9_0_4_line_10 |  | 9 | 27 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_131-9_0_4_line_11 |  | 10 | 11 | 0.023904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_131-9_0_4_line_12 |  | 10 | 12 | 0.027509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_131-9_0_4_line_13 |  | 10 | 13 | 0.16427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_131-9_0_4_line_14 |  | 11 | 20 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_131-9_0_4_line_15 |  | 13 | 30 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_131-9_0_4_line_16 |  | 14 | 15 | 0.052244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_131-9_0_4_line_17 |  | 14 | 16 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_131-9_0_4_line_18 |  | 15 | 19 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_131-9_0_4_line_19 |  | 16 | 17 | 0.028379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_131-9_0_4_line_20 |  | 17 | 18 | 0.050204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_131-9_0_4_line_21 |  | 18 | 23 | 0.02368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_131-9_0_4_line_22 |  | 19 | 31 | 0.054567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_131-9_0_4_line_23 |  | 20 | 35 | 0.037606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_131-9_0_4_line_24 |  | 21 | 22 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_131-9_0_4_line_25 |  | 21 | 23 | 0.0070711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_131-9_0_4_line_26 |  | 24 | 28 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_131-9_0_4_line_27 |  | 25 | 26 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_131-9_0_4_line_28 |  | 26 | 59 | 0.003281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_131-9_0_4_line_29 |  | 26 | 74 | 0.0020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_131-9_0_4_line_30 |  | 28 | 29 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_131-9_0_4_line_31 |  | 29 | 59 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_131-9_0_4_line_32 |  | 31 | 61 | 0.047644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_131-9_0_4_line_33 |  | 31 | 50 | 0.019723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_131-9_0_4_line_34 |  | 32 | 33 | 0.027984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_131-9_0_4_line_35 |  | 32 | 34 | 0.0030234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_131-9_0_4_line_36 |  | 33 | 42 | 0.0076713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_131-9_0_4_line_37 |  | 35 | 44 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_131-9_0_4_line_38 |  | 36 | 37 | 0.015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_131-9_0_4_line_39 |  | 36 | 38 | 0.023641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_131-9_0_4_line_40 |  | 38 | 39 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_131-9_0_4_line_41 |  | 39 | 40 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_131-9_0_4_line_42 |  | 39 | 41 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_131-9_0_4_line_43 |  | 40 | 42 | 0.039756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_131-9_0_4_line_44 |  | 40 | 43 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_131-9_0_4_line_45 |  | 42 | 44 | 0.0069466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_131-9_0_4_line_46 |  | 43 | 45 | 0.012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_131-9_0_4_line_47 |  | 45 | 46 | 0.0039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_131-9_0_4_line_48 |  | 46 | 47 | 0.030453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_131-9_0_4_line_49 |  | 47 | 48 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_131-9_0_4_line_50 |  | 47 | 49 | 0.039768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_131-9_0_4_line_51 |  | 47 | 50 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_131-9_0_4_line_52 |  | 48 | 62 | 0.018404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_131-9_0_4_line_53 |  | 49 | 63 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_131-9_0_4_line_54 |  | 51 | 52 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_131-9_0_4_line_55 |  | 51 | 53 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_131-9_0_4_line_56 |  | 52 | 54 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_131-9_0_4_line_57 |  | 53 | 55 | 0.034276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_131-9_0_4_line_58 |  | 54 | 56 | 0.0070581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_131-9_0_4_line_59 |  | 55 | 57 | 0.013163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_131-9_0_4_line_60 |  | 56 | 58 | 0.0080005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_131-9_0_4_line_61 |  | 56 | 59 | 0.036283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_131-9_0_4_line_62 |  | 57 | 60 | 0.034574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_131-9_0_4_line_63 |  | 58 | 82 | 0.036331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_131-9_0_4_line_64 |  | 59 | 77 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_131-9_0_4_line_65 |  | 60 | 81 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_131-9_0_4_line_66 |  | 61 | 64 | 0.0094482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_131-9_0_4_line_67 |  | 62 | 65 | 0.004352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_131-9_0_4_line_68 |  | 62 | 66 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_131-9_0_4_line_69 |  | 62 | 67 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_131-9_0_4_line_70 |  | 64 | 72 | 0.023679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_131-9_0_4_line_71 |  | 65 | 75 | 0.023437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_131-9_0_4_line_72 |  | 65 | 76 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_131-9_0_4_line_73 |  | 66 | 71 | 0.021043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_131-9_0_4_line_74 |  | 67 | 73 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_131-9_0_4_line_75 |  | 68 | 69 | 0.018185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_131-9_0_4_line_76 |  | 68 | 70 | 0.021482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_131-9_0_4_line_77 |  | 69 | 71 | 0.030653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_131-9_0_4_line_78 |  | 72 | 79 | 0.0072897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_131-9_0_4_line_79 |  | 76 | 80 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_131-9_0_4_line_80 |  | 77 | 78 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_131-9_0_4_line_81 |  | 78 | 80 | 0.030637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_131-9_0_4_line_82 |  | 82 | 83 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_131-9_0_4_trafo_63 | 0.63 MVA 20/0.4 kV | 84 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681499.874 | 1241427.4218 | 2681479.7894 | 1241464.0916
1 | 2681511.5844 | 1241406.0412 | 2681499.874 | 1241427.4218
2 | 2681472.077 | 1241478.1727 | 2681479.7894 | 1241464.0916
3 | 2681522.683 | 1241385.7791 | 2681511.5844 | 1241406.0412
4 | 2681515.9763 | 1241408.8813 | 2681511.5844 | 1241406.0412
5 | 2681472.077 | 1241478.1727 | 2681477.7981 | 1241480.0192 | 2681482.7084 | 1241481.988
6 | 2681515.9763 | 1241408.8813 | 2681518.9841 | 1241410.6461
7 | 2681482.7084 | 1241481.988 | 2681472.7909 | 1241508.2736
8 | 2681482.7084 | 1241481.988 | 2681485.8157 | 1241473.7581 | 2681487.6748 | 1241470.1123
9 | 2681518.9841 | 1241410.6461 | 2681527.0164 | 1241395.7422
10 | 2681495.4788 | 1241454.8088 | 2681487.6748 | 1241470.1123
11 | 2681369.5583 | 1241267.9496 | 2681368.9702 | 1241271.1327 | 2681369.2032 | 1241275.0943 | 2681371.4803 | 1241277.2159 | 2681370.0193 | 1241282.2995 | 2681362.8014 | 1241278.2088
12 | 2681362.8014 | 1241278.2088 | 2681365.9445 | 1241266.2544 | 2681370.0782 | 1241251.6813
13 | 2681262.8299 | 1241185.1063 | 2681255.6419 | 1241195.3819 | 2681256.6316 | 1241200.4102 | 2681260.5886 | 1241207.4138 | 2681252.8989 | 1241212.9125 | 2681273.1827 | 1241233.5938 | 2681294.8366 | 1241243.6752 | 2681313.2667 | 1241252.2894 | 2681362.8014 | 1241278.2088
14 | 2681369.5583 | 1241267.9496 | 2681385.5132 | 1241274.5855
15 | 2681262.8299 | 1241185.1063 | 2681254.152 | 1241178.8132
16 | 2681406.2377 | 1241343.5065 | 2681412.086 | 1241320.6703 | 2681413.3964 | 1241315.5402 | 2681430.6312 | 1241331.3323
17 | 2681406.2377 | 1241343.5065 | 2681380.2575 | 1241336.7003
18 | 2681430.6312 | 1241331.3323 | 2681447.1136 | 1241316.8932
19 | 2681352.805 | 1241329.5085 | 2681380.2575 | 1241336.7003
20 | 2681352.805 | 1241329.5085 | 2681339.4837 | 1241377.9161
21 | 2681339.4837 | 1241377.9161 | 2681362.2845 | 1241384.308
22 | 2681486.7904 | 1241279.488 | 2681468.171 | 1241298.446 | 2681447.1136 | 1241316.8932
23 | 2681416.3249 | 1241268.249 | 2681402.4291 | 1241281.6211 | 2681385.5132 | 1241274.5855
24 | 2681369.0931 | 1241386.2167 | 2681366.2675 | 1241396.5187 | 2681366.2161 | 1241406.2391
25 | 2681369.0931 | 1241386.2167 | 2681362.2845 | 1241384.308
26 | 2681527.0164 | 1241395.7422 | 2681529.614 | 1241390.9224 | 2681532.9812 | 1241382.4454
27 | 2681547.5277 | 1241336.9298 | 2681539.8163 | 1241355.8838
28 | 2681547.5277 | 1241336.9298 | 2681550.5105 | 1241338.3162
29 | 2681547.5277 | 1241336.9298 | 2681547.9863 | 1241334.9631
30 | 2681543.5463 | 1241355.8482 | 2681532.9812 | 1241382.4454
31 | 2681550.5105 | 1241338.3162 | 2681543.5463 | 1241355.8482
32 | 2681486.7904 | 1241279.488 | 2681508.8552 | 1241295.9471 | 2681509.1476 | 1241303.8346 | 2681500.0707 | 1241312.0221
33 | 2681486.7904 | 1241279.488 | 2681499.3672 | 1241264.2957
34 | 2681405.7248 | 1241236.5118 | 2681429.9986 | 1241245.2065 | 2681431.2035 | 1241243.3661
35 | 2681405.7248 | 1241236.5118 | 2681407.8572 | 1241234.3685
36 | 2681437.1636 | 1241248.1958 | 2681431.2035 | 1241243.3661
37 | 2681432.1582 | 1241253.0125 | 2681416.3249 | 1241268.249
38 | 2681425.331 | 1241208.0614 | 2681410.325 | 1241204.3251
39 | 2681425.331 | 1241208.0614 | 2681438.9384 | 1241211.4494 | 2681440.7834 | 1241202.6351 | 2681441.3817 | 1241202.7659
40 | 2681467.4105 | 1241208.4601 | 2681441.3817 | 1241202.7659
41 | 2681462.7954 | 1241218.0147 | 2681467.4105 | 1241208.4601
42 | 2681467.4105 | 1241208.4601 | 2681469.4338 | 1241204.2849 | 2681471.2437 | 1241196.7183
43 | 2681462.7954 | 1241218.0147 | 2681451.623 | 1241234.2842 | 2681437.1636 | 1241248.1958
44 | 2681462.7954 | 1241218.0147 | 2681478.9352 | 1241224.9804
45 | 2681437.1636 | 1241248.1958 | 2681432.1582 | 1241253.0125
46 | 2681478.9352 | 1241224.9804 | 2681479.4002 | 1241225.181 | 2681489.8742 | 1241230.5842 | 2681489.8742 | 1241230.5842
47 | 2681491.4497 | 1241234.2418 | 2681491.4497 | 1241234.2418 | 2681489.8742 | 1241230.5842
48 | 2681519.0836 | 1241238.8689 | 2681513.7072 | 1241237.7832 | 2681509.2024 | 1241240.957 | 2681503.5248 | 1241240.879 | 2681491.4497 | 1241234.2418
49 | 2681519.0836 | 1241238.8689 | 2681523.8573 | 1241243.649 | 2681530.6344 | 1241241.296 | 2681542.9223 | 1241243.4552 | 2681550.3544 | 1241244.2957
50 | 2681519.0836 | 1241238.8689 | 2681539.2901 | 1241204.5886
51 | 2681519.0836 | 1241238.8689 | 2681513.8941 | 1241246.7478 | 2681499.3672 | 1241264.2957
52 | 2681568.6358 | 1241246.4105 | 2681565.979 | 1241246.0626 | 2681550.3544 | 1241244.2957
53 | 2681539.2901 | 1241204.5886 | 2681517.9213 | 1241199.7778
54 | 2681602.8902 | 1241391.5411 | 2681595.0786 | 1241373.9277
55 | 2681602.8902 | 1241391.5411 | 2681607.678 | 1241402.3365 | 2681608.8451 | 1241405.5575
56 | 2681595.0786 | 1241373.9277 | 2681593.4431 | 1241370.24 | 2681587.1234 | 1241359.7003
57 | 2681620.5217 | 1241437.7828 | 2681608.8451 | 1241405.5575
58 | 2681583.4938 | 1241353.647 | 2681587.1234 | 1241359.7003
59 | 2681620.5217 | 1241437.7828 | 2681624.7895 | 1241449.5611 | 2681624.9949 | 1241450.1621
60 | 2681583.4938 | 1241353.647 | 2681585.1922 | 1241345.8288
61 | 2681583.4938 | 1241353.647 | 2681550.5105 | 1241338.3162
62 | 2681636.1756 | 1241482.8781 | 2681624.9949 | 1241450.1621
63 | 2681585.1922 | 1241345.8288 | 2681592.9048 | 1241310.3263
64 | 2681550.5105 | 1241338.3162 | 2681554.5302 | 1241321.9382
65 | 2681636.1756 | 1241482.8781 | 2681638.7668 | 1241490.4604 | 2681638.8558 | 1241500.6406
66 | 2681500.0707 | 1241312.0221 | 2681493.0551 | 1241318.3505
67 | 2681568.6358 | 1241246.4105 | 2681572.9192 | 1241247.2477
68 | 2681568.6358 | 1241246.4105 | 2681572.7578 | 1241228.7434 | 2681572.7645 | 1241228.7146
69 | 2681568.6358 | 1241246.4105 | 2681561.5906 | 1241276.6233
70 | 2681493.0551 | 1241318.3505 | 2681475.472 | 1241334.2109
71 | 2681572.9192 | 1241247.2477 | 2681578.5406 | 1241224.4951
72 | 2681572.9192 | 1241247.2477 | 2681570.4042 | 1241257.4262
73 | 2681572.7645 | 1241228.7146 | 2681577.5436 | 1241208.2212
74 | 2681556.1874 | 1241299.7939 | 2681561.5906 | 1241276.6233
75 | 2681584.5053 | 1241178.3688 | 2681589.0018 | 1241166.4665 | 2681594.0781 | 1241168.4821
76 | 2681594.0781 | 1241168.4821 | 2681589.2778 | 1241181.0362 | 2681587.3491 | 1241188.8427
77 | 2681584.5053 | 1241178.3688 | 2681577.5436 | 1241208.2212
78 | 2681475.472 | 1241334.2109 | 2681470.0591 | 1241339.0935
79 | 2681566.1106 | 1241274.8028 | 2681570.4042 | 1241257.4262
80 | 2681558.7967 | 1241304.5545 | 2681554.5302 | 1241321.9382
81 | 2681566.1106 | 1241274.8028 | 2681564.3598 | 1241281.8883 | 2681558.7967 | 1241304.5545
82 | 2681596.708 | 1241292.8195 | 2681592.9048 | 1241310.3263

## bus_geodata
| x | y | coords
0 | 2681499.874 | 1241427.4218
1 | 2681479.7894 | 1241464.0916
2 | 2681511.5844 | 1241406.0412
3 | 2681472.077 | 1241478.1727
4 | 2681522.683 | 1241385.7791
5 | 2681515.9763 | 1241408.8813
6 | 2681482.7084 | 1241481.988
7 | 2681518.9841 | 1241410.6461
8 | 2681472.7909 | 1241508.2736
9 | 2681487.6748 | 1241470.1123
10 | 2681362.8014 | 1241278.2088
11 | 2681369.5583 | 1241267.9496
12 | 2681370.0782 | 1241251.6813
13 | 2681262.8299 | 1241185.1063
14 | 2681406.2377 | 1241343.5065
15 | 2681430.6312 | 1241331.3323
16 | 2681380.2575 | 1241336.7003
17 | 2681352.805 | 1241329.5085
18 | 2681339.4837 | 1241377.9161
19 | 2681447.1136 | 1241316.8932
20 | 2681385.5132 | 1241274.5855
21 | 2681369.0931 | 1241386.2167
22 | 2681366.2161 | 1241406.2391
23 | 2681362.2845 | 1241384.308
24 | 2681527.0164 | 1241395.7422
25 | 2681539.8163 | 1241355.8838
26 | 2681547.5277 | 1241336.9298
27 | 2681495.4788 | 1241454.8088
28 | 2681532.9812 | 1241382.4454
29 | 2681543.5463 | 1241355.8482
30 | 2681254.152 | 1241178.8132
31 | 2681486.7904 | 1241279.488
32 | 2681405.7248 | 1241236.5118
33 | 2681431.2035 | 1241243.3661
34 | 2681407.8572 | 1241234.3685
35 | 2681416.3249 | 1241268.249
36 | 2681425.331 | 1241208.0614
37 | 2681410.325 | 1241204.3251
38 | 2681441.3817 | 1241202.7659
39 | 2681467.4105 | 1241208.4601
40 | 2681462.7954 | 1241218.0147
41 | 2681471.2437 | 1241196.7183
42 | 2681437.1636 | 1241248.1958
43 | 2681478.9352 | 1241224.9804
44 | 2681432.1582 | 1241253.0125
45 | 2681489.8742 | 1241230.5842
46 | 2681491.4497 | 1241234.2418
47 | 2681519.0836 | 1241238.8689
48 | 2681550.3544 | 1241244.2957
49 | 2681539.2901 | 1241204.5886
50 | 2681499.3672 | 1241264.2957
51 | 2681602.8902 | 1241391.5411
52 | 2681595.0786 | 1241373.9277
53 | 2681608.8451 | 1241405.5575
54 | 2681587.1234 | 1241359.7003
55 | 2681620.5217 | 1241437.7828
56 | 2681583.4938 | 1241353.647
57 | 2681624.9949 | 1241450.1621
58 | 2681585.1922 | 1241345.8288
59 | 2681550.5105 | 1241338.3162
60 | 2681636.1756 | 1241482.8781
61 | 2681500.0707 | 1241312.0221
62 | 2681568.6358 | 1241246.4105
63 | 2681517.9213 | 1241199.7778
64 | 2681493.0551 | 1241318.3505
65 | 2681572.9192 | 1241247.2477
66 | 2681572.7645 | 1241228.7146
67 | 2681561.5906 | 1241276.6233
68 | 2681594.0781 | 1241168.4821
69 | 2681584.5053 | 1241178.3688
70 | 2681587.3491 | 1241188.8427
71 | 2681577.5436 | 1241208.2212
72 | 2681475.472 | 1241334.2109
73 | 2681556.1874 | 1241299.7939
74 | 2681547.9863 | 1241334.9631
75 | 2681578.5406 | 1241224.4951
76 | 2681570.4042 | 1241257.4262
77 | 2681554.5302 | 1241321.9382
78 | 2681558.7967 | 1241304.5545
79 | 2681470.0591 | 1241339.0935
80 | 2681566.1106 | 1241274.8028
81 | 2681638.8558 | 1241500.6406
82 | 2681592.9048 | 1241310.3263
83 | 2681596.708 | 1241292.8195
84 | 2681459.2446 | 1241348.8485

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97277 | -0.52434 | 0.078967 | 0.019791
1 | 0.97134 | -0.55269 | 0.02184 | 0.0054736
2 | 0.97409 | -0.4984 | 0 | 0
3 | 0.97111 | -0.55711 | 0 | 0
4 | 0.97397 | -0.50068 | 0.0053746 | 0.001347
5 | 0.97428 | -0.49453 | 0 | 0
6 | 0.97096 | -0.56023 | 0 | 0
7 | 0.97441 | -0.49195 | 0 | 0
8 | 0.97084 | -0.56258 | 0.0045281 | 0.0011348
9 | 0.97083 | -0.5627 | 0.0054708 | 0.0013711
10 | 0.98219 | -0.34114 | 0 | 0
11 | 0.98225 | -0.34004 | 0 | 0
12 | 0.98215 | -0.34196 | 0.0016392 | 0.00041082
13 | 0.98206 | -0.34382 | 0 | 0
14 | 0.99057 | -0.17945 | 0 | 0
15 | 0.99167 | -0.15828 | 0 | 0
16 | 0.99001 | -0.19036 | 0.011231 | 0.0028148
17 | 0.98971 | -0.19622 | 0 | 0
18 | 0.98917 | -0.2066 | 0 | 0
19 | 0.99212 | -0.14941 | 0.0056934 | 0.0014269
20 | 0.98229 | -0.33925 | 0.0023874 | 0.00059835
21 | 0.9889 | -0.21196 | 0 | 0
22 | 0.98883 | -0.21331 | 0.003688 | 0.00092429
23 | 0.98892 | -0.2115 | 0.0079217 | 0.0019854
24 | 0.97505 | -0.47941 | 0.0052751 | 0.0013221
25 | 0.97746 | -0.43222 | 0.0049432 | 0.0012389
26 | 0.97755 | -0.43037 | 0 | 0
27 | 0.97075 | -0.56426 | 0.0049124 | 0.0012312
28 | 0.97563 | -0.46815 | 0.0044373 | 0.0011121
29 | 0.97679 | -0.44532 | 0.0040778 | 0.001022
30 | 0.98205 | -0.344 | 0.00089994 | 0.00022555
31 | 0.99355 | -0.12187 | 0 | 0
32 | 0.98273 | -0.33067 | 0 | 0
33 | 0.9828 | -0.32922 | 0.0088884 | 0.0022276
34 | 0.98272 | -0.33083 | 0.0028746 | 0.00072045
35 | 0.98246 | -0.3359 | 0.0075381 | 0.0018892
36 | 0.98364 | -0.31292 | 0.0043255 | 0.0010841
37 | 0.98358 | -0.31405 | 0.0040781 | 0.0010221
38 | 0.98382 | -0.30934 | 0.004299 | 0.0010774
39 | 0.98413 | -0.30325 | 0 | 0
40 | 0.9843 | -0.3 | 0 | 0
41 | 0.98408 | -0.30421 | 0.004307 | 0.0010794
42 | 0.98288 | -0.32759 | 0 | 0
43 | 0.9852 | -0.28245 | 0.006827 | 0.001711
44 | 0.98271 | -0.33095 | 0.014286 | 0.0035804
45 | 0.9859 | -0.2687 | 0.0033854 | 0.00084847
46 | 0.98614 | -0.264 | 0.0073469 | 0.0018413
47 | 0.9882 | -0.22419 | 0 | 0
48 | 0.98554 | -0.27528 | 0.0032359 | 0.00081098
49 | 0.98799 | -0.22815 | 0 | 0
50 | 0.9915 | -0.16087 | 0.003883 | 0.00097316
51 | 0.97399 | -0.5004 | 0.0058194 | 0.0014585
52 | 0.9746 | -0.48837 | 0.0065048 | 0.0016303
53 | 0.97359 | -0.5083 | 0.0058904 | 0.0014763
54 | 0.97522 | -0.47623 | 0.0043142 | 0.0010812
55 | 0.97288 | -0.52237 | 0.0058242 | 0.0014597
56 | 0.97551 | -0.47044 | 0 | 0
57 | 0.97267 | -0.52637 | 0.0055268 | 0.0013852
58 | 0.97539 | -0.47284 | 0.005482 | 0.0013739
59 | 0.97758 | -0.42984 | 0 | 0
60 | 0.97232 | -0.53335 | 0.0054369 | 0.0013626
61 | 0.99892 | -0.020377 | 0.0069358 | 0.0017383
62 | 0.98411 | -0.30279 | 0 | 0
63 | 0.98788 | -0.23033 | 0.0055773 | 0.0013978
64 | 1 | 0 | -0.39379 | -0.10113
65 | 0.98381 | -0.30876 | 0 | 0
66 | 0.98387 | -0.30764 | 0.0044864 | 0.0011244
67 | 0.98394 | -0.30617 | 0.0031517 | 0.0007899
68 | 0.98339 | -0.31694 | 0 | 0
69 | 0.98349 | -0.31494 | 0 | 0
70 | 0.98327 | -0.31931 | 0.0061094 | 0.0015312
71 | 0.98367 | -0.31156 | 0.0042315 | 0.0010605
72 | 0.9997 | -0.0057773 | 0.0067944 | 0.0017028
73 | 0.98388 | -0.30742 | 0.0029022 | 0.00072736
74 | 0.97755 | -0.43052 | 0.0039705 | 0.00099509
75 | 0.98365 | -0.31171 | 0.0069925 | 0.0017525
76 | 0.98308 | -0.32272 | 0.0031969 | 0.00080123
77 | 0.97865 | -0.40884 | 0.0051611 | 0.0012935
78 | 0.97982 | -0.38605 | 0.0048475 | 0.0012149
79 | 0.99965 | -0.0066926 | 0.0071989 | 0.0018042
80 | 0.98187 | -0.34626 | 0.0034047 | 0.00085331
81 | 0.97223 | -0.5352 | 0.0055202 | 0.0013835
82 | 0.97502 | -0.48009 | 0.0065067 | 0.0016307
83 | 0.97495 | -0.48153 | 0.0043869 | 0.0010995
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.036808 | 0.0092457 | -0.036759 | -0.0092144 | 4.9718e-05 | 3.1301e-05 | 0.056312 | 0.056312 | 0.056312 | 0.97277 | -0.52434 | 0.97134 | -0.55269 | 15.4704
1 | -0.11578 | -0.029037 | 0.11592 | 0.029128 | 0.00014337 | 9.115e-05 | 0.17711 | 0.17711 | 0.17711 | 0.97277 | -0.52434 | 0.97409 | -0.4984 | 24.3277
2 | 0.014919 | 0.0037408 | -0.014916 | -0.003739 | 3.1449e-06 | 1.814e-06 | 0.022855 | 0.022855 | 0.022855 | 0.97134 | -0.55269 | 0.97111 | -0.55711 | 6.2789
3 | 0.0053752 | 0.0013471 | -0.0053746 | -0.001347 | 5.838e-07 | 8.6237e-08 | 0.0082111 | 0.0082112 | 0.0082112 | 0.97409 | -0.4984 | 0.97397 | -0.50068 | 2.2558
4 | -0.12129 | -0.030475 | 0.12132 | 0.030489 | 2.2404e-05 | 1.4144e-05 | 0.18532 | 0.18532 | 0.18532 | 0.97409 | -0.4984 | 0.97428 | -0.49453 | 16.9704
5 | 0.014916 | 0.003739 | -0.014913 | -0.0037377 | 2.2139e-06 | 1.2771e-06 | 0.022855 | 0.022855 | 0.022855 | 0.97111 | -0.55711 | 0.97096 | -0.56023 | 6.2789
6 | -0.12132 | -0.030489 | 0.12133 | 0.030499 | 1.4939e-05 | 9.4308e-06 | 0.18532 | 0.18532 | 0.18532 | 0.97428 | -0.49453 | 0.97441 | -0.49195 | 16.9704
7 | 0.0045286 | 0.0011348 | -0.0045281 | -0.0011348 | 5.0745e-07 | -2.2666e-08 | 0.0069402 | 0.0069403 | 0.0069403 | 0.97096 | -0.56023 | 0.97084 | -0.56258 | 1.9067
8 | 0.010385 | 0.0026029 | -0.010384 | -0.0026023 | 1.2243e-06 | 6.2414e-07 | 0.015915 | 0.015915 | 0.015915 | 0.97096 | -0.56023 | 0.97083 | -0.5627 | 4.3723
9 | -0.12133 | -0.030499 | 0.1214 | 0.030545 | 7.2679e-05 | 4.5881e-05 | 0.18532 | 0.18532 | 0.18532 | 0.97441 | -0.49195 | 0.97505 | -0.47941 | 16.9704
10 | 0.0049127 | 0.0012312 | -0.0049124 | -0.0012312 | 3.6525e-07 | 2.1363e-08 | 0.0075298 | 0.0075299 | 0.0075299 | 0.97083 | -0.5627 | 0.97075 | -0.56426 | 2.0687
11 | -0.0025393 | -0.00063392 | 0.0025394 | 0.0006337 | 1.326e-07 | -2.1768e-07 | 0.0038462 | 0.003846 | 0.0038462 | 0.98219 | -0.34114 | 0.98225 | -0.34004 | 1.0566
12 | 0.0016393 | 0.00041051 | -0.0016392 | -0.00041082 | 6.362e-08 | -3.0742e-07 | 0.0024833 | 0.0024835 | 0.0024835 | 0.98219 | -0.34114 | 0.98215 | -0.34196 | 0.68227
13 | 0.00090006 | 0.00022341 | -0.00089995 | -0.00022542 | 1.1447e-07 | -2.0054e-06 | 0.0013628 | 0.0013636 | 0.0013636 | 0.98219 | -0.34114 | 0.98206 | -0.34382 | 0.3746
14 | -0.0025394 | -0.0006337 | 0.0025395 | 0.00063355 | 9.585e-08 | -1.5739e-07 | 0.003846 | 0.003846 | 0.003846 | 0.98225 | -0.34004 | 0.98229 | -0.33925 | 1.0566
15 | 0.00089995 | 0.00022542 | -0.00089994 | -0.00022555 | 7.4743e-09 | -1.3085e-07 | 0.0013636 | 0.0013636 | 0.0013636 | 0.98206 | -0.34382 | 0.98205 | -0.344 | 0.37462
16 | -0.022865 | -0.0057378 | 0.022888 | 0.0057519 | 2.3116e-05 | 1.4121e-05 | 0.03435 | 0.03435 | 0.03435 | 0.99057 | -0.17945 | 0.99167 | -0.15828 | 9.4367
17 | 0.022865 | 0.0057378 | -0.022853 | -0.0057305 | 1.1883e-05 | 7.2598e-06 | 0.03435 | 0.03435 | 0.03435 | 0.99057 | -0.17945 | 0.99001 | -0.19036 | 9.4368
18 | -0.022888 | -0.0057519 | 0.022898 | 0.0057578 | 9.6953e-06 | 5.9222e-06 | 0.03435 | 0.034349 | 0.03435 | 0.99167 | -0.15828 | 0.99212 | -0.14941 | 9.4367
19 | 0.011622 | 0.0029157 | -0.011618 | -0.002914 | 3.2476e-06 | 1.7136e-06 | 0.017469 | 0.017469 | 0.017469 | 0.99001 | -0.19036 | 0.98971 | -0.19622 | 4.7992
20 | 0.011618 | 0.002914 | -0.011613 | -0.0029109 | 5.7452e-06 | 3.0321e-06 | 0.017469 | 0.017469 | 0.017469 | 0.98971 | -0.19622 | 0.98917 | -0.2066 | 4.7992
21 | 0.011613 | 0.0029109 | -0.01161 | -0.0029095 | 2.7099e-06 | 1.4305e-06 | 0.017469 | 0.017469 | 0.017469 | 0.98917 | -0.2066 | 0.98892 | -0.2115 | 4.7993
22 | -0.028591 | -0.0071847 | 0.028629 | 0.0072081 | 3.7639e-05 | 2.3384e-05 | 0.042888 | 0.042888 | 0.042888 | 0.99212 | -0.14941 | 0.99355 | -0.12187 | 11.7826
23 | -0.004927 | -0.0012319 | 0.0049278 | 0.0012319 | 7.8532e-07 | 2.6487e-08 | 0.0074626 | 0.0074624 | 0.0074626 | 0.98229 | -0.33925 | 0.98246 | -0.3359 | 2.0502
24 | 0.0036882 | 0.00092418 | -0.003688 | -0.00092429 | 2.3565e-07 | -1.1093e-07 | 0.0055496 | 0.0055497 | 0.0055497 | 0.9889 | -0.21196 | 0.98883 | -0.21331 | 1.5246
25 | -0.0036882 | -0.00092418 | 0.0036883 | 0.00092414 | 8.1666e-08 | -3.8455e-08 | 0.0055496 | 0.0055496 | 0.0055496 | 0.9889 | -0.21196 | 0.98892 | -0.2115 | 1.5246
26 | -0.12668 | -0.031867 | 0.12675 | 0.03191 | 6.8222e-05 | 4.3115e-05 | 0.19337 | 0.19337 | 0.19337 | 0.97505 | -0.47941 | 0.97563 | -0.46815 | 17.7076
27 | -0.0049432 | -0.0012389 | 0.0049436 | 0.0012389 | 4.3453e-07 | 2.1583e-08 | 0.0075251 | 0.007525 | 0.0075251 | 0.97746 | -0.43222 | 0.97755 | -0.43037 | 2.0673
28 | -0.0089141 | -0.002234 | 0.0089143 | 0.0022341 | 2.2653e-07 | 1.0384e-07 | 0.013569 | 0.013569 | 0.013569 | 0.97755 | -0.43037 | 0.97758 | -0.42984 | 3.7277
29 | 0.0039705 | 0.00099509 | -0.0039705 | -0.00099509 | 2.7662e-08 | -7.6134e-09 | 0.0060438 | 0.0060438 | 0.0060438 | 0.97755 | -0.43037 | 0.97755 | -0.43052 | 1.6604
30 | -0.13118 | -0.033022 | 0.13133 | 0.033112 | 0.00014329 | 9.0629e-05 | 0.20013 | 0.20013 | 0.20013 | 0.97563 | -0.46815 | 0.97679 | -0.44532 | 18.3273
31 | -0.13541 | -0.034134 | 0.13551 | 0.034198 | 0.0001004 | 6.3549e-05 | 0.20635 | 0.20635 | 0.20635 | 0.97679 | -0.44532 | 0.97758 | -0.42984 | 18.8961
32 | -0.36901 | -0.094477 | 0.37083 | 0.095643 | 0.0018237 | 0.0011653 | 0.55337 | 0.55337 | 0.55337 | 0.99355 | -0.12187 | 0.99892 | -0.020377 | 50.6746
33 | 0.34038 | 0.087269 | -0.33974 | -0.086859 | 0.00064244 | 0.00041039 | 0.51048 | 0.51048 | 0.51048 | 0.99355 | -0.12187 | 0.9915 | -0.16087 | 46.7472
34 | -0.0028747 | -0.00072043 | 0.0028749 | 0.0007202 | 1.9881e-07 | -2.2734e-07 | 0.0043527 | 0.0043526 | 0.0043527 | 0.98273 | -0.33067 | 0.9828 | -0.32922 | 1.1958
35 | 0.0028747 | 0.00072043 | -0.0028746 | -0.00072045 | 2.1481e-08 | -2.4559e-08 | 0.0043527 | 0.0043527 | 0.0043527 | 0.98273 | -0.33067 | 0.98272 | -0.33083 | 1.1958
36 | -0.011763 | -0.0029478 | 0.011764 | 0.0029483 | 9.125e-07 | 4.8678e-07 | 0.01781 | 0.01781 | 0.01781 | 0.9828 | -0.32922 | 0.98288 | -0.32759 | 4.8929
37 | -0.012466 | -0.0031211 | 0.012469 | 0.0031227 | 2.9371e-06 | 1.6014e-06 | 0.018879 | 0.018879 | 0.018879 | 0.98246 | -0.3359 | 0.98271 | -0.33095 | 5.1867
38 | 0.0040783 | 0.001022 | -0.0040781 | -0.0010221 | 2.2073e-07 | -5.5012e-08 | 0.0061695 | 0.0061696 | 0.0061696 | 0.98364 | -0.31292 | 0.98358 | -0.31405 | 1.6949
39 | -0.0084039 | -0.0021061 | 0.0084053 | 0.0021067 | 1.4328e-06 | 6.1686e-07 | 0.012713 | 0.012713 | 0.012713 | 0.98364 | -0.31292 | 0.98382 | -0.30934 | 3.4926
40 | -0.012704 | -0.0031841 | 0.012708 | 0.0031862 | 3.6891e-06 | 2.0226e-06 | 0.019215 | 0.019215 | 0.019215 | 0.98382 | -0.30934 | 0.98413 | -0.30325 | 5.2789
41 | -0.017015 | -0.0042656 | 0.017018 | 0.0042671 | 2.6326e-06 | 1.5501e-06 | 0.025728 | 0.025727 | 0.025728 | 0.98413 | -0.30325 | 0.9843 | -0.3 | 7.068
42 | 0.0043072 | 0.0010794 | -0.004307 | -0.0010794 | 1.9753e-07 | -3.1376e-08 | 0.0065125 | 0.0065126 | 0.0065126 | 0.98413 | -0.30325 | 0.98408 | -0.30421 | 1.7892
43 | 0.038574 | 0.0096861 | -0.038523 | -0.0096541 | 5.0709e-05 | 3.1949e-05 | 0.058321 | 0.058321 | 0.058321 | 0.9843 | -0.3 | 0.98288 | -0.32759 | 16.0223
44 | -0.055592 | -0.013953 | 0.055638 | 0.013983 | 4.6567e-05 | 2.9579e-05 | 0.084048 | 0.084048 | 0.084048 | 0.9843 | -0.3 | 0.9852 | -0.28245 | 23.0902
45 | 0.026759 | 0.0067058 | -0.026755 | -0.0067031 | 4.2751e-06 | 2.6481e-06 | 0.040511 | 0.040511 | 0.040511 | 0.98288 | -0.32759 | 0.98271 | -0.33095 | 11.1294
46 | -0.062465 | -0.015694 | 0.062506 | 0.01572 | 4.1042e-05 | 2.611e-05 | 0.09436 | 0.09436 | 0.09436 | 0.9852 | -0.28245 | 0.9859 | -0.2687 | 25.923
47 | -0.065892 | -0.016568 | 0.065907 | 0.016578 | 1.4776e-05 | 9.4059e-06 | 0.099469 | 0.099469 | 0.099469 | 0.9859 | -0.2687 | 0.98614 | -0.264 | 27.3267
48 | -0.073253 | -0.018419 | 0.073393 | 0.018508 | 0.00013958 | 8.894e-05 | 0.11056 | 0.11056 | 0.11056 | 0.98614 | -0.264 | 0.9882 | -0.22419 | 30.3723
49 | 0.25586 | 0.065325 | -0.25523 | -0.064923 | 0.00063011 | 0.00040197 | 0.3857 | 0.3857 | 0.3857 | 0.9882 | -0.22419 | 0.98554 | -0.27528 | 35.3203
50 | 0.0055789 | 0.001398 | -0.0055778 | -0.0013979 | 1.0524e-06 | 1.6417e-07 | 0.0084006 | 0.0084008 | 0.0084008 | 0.9882 | -0.22419 | 0.98799 | -0.22815 | 2.3079
51 | -0.33483 | -0.085231 | 0.33585 | 0.085886 | 0.0010255 | 0.00065511 | 0.50465 | 0.50465 | 0.50465 | 0.9882 | -0.22419 | 0.9915 | -0.16087 | 46.2136
52 | 0.25199 | 0.064112 | -0.25166 | -0.063899 | 0.00033361 | 0.00021281 | 0.38081 | 0.38081 | 0.38081 | 0.98554 | -0.27528 | 0.98411 | -0.30279 | 34.8729
53 | 0.0055778 | 0.0013979 | -0.0055773 | -0.0013978 | 5.7968e-07 | 9.0527e-08 | 0.0084008 | 0.0084009 | 0.0084009 | 0.98799 | -0.22815 | 0.98788 | -0.23033 | 2.3079
54 | -0.034051 | -0.0085453 | 0.03407 | 0.0085576 | 1.9557e-05 | 1.2276e-05 | 0.052025 | 0.052025 | 0.052025 | 0.97399 | -0.5004 | 0.9746 | -0.48837 | 14.2926
55 | 0.028231 | 0.0070868 | -0.028221 | -0.0070802 | 1.063e-05 | 6.6137e-06 | 0.043135 | 0.043135 | 0.043135 | 0.97399 | -0.5004 | 0.97359 | -0.5083 | 11.8502
56 | -0.040575 | -0.010188 | 0.040599 | 0.010203 | 2.3497e-05 | 1.4835e-05 | 0.061957 | 0.061957 | 0.061957 | 0.9746 | -0.48837 | 0.97522 | -0.47623 | 17.0211
57 | 0.02233 | 0.0056039 | -0.022315 | -0.0055948 | 1.4974e-05 | 9.1575e-06 | 0.034132 | 0.034132 | 0.034132 | 0.97359 | -0.5083 | 0.97288 | -0.52237 | 9.377
58 | -0.044913 | -0.011284 | 0.044925 | 0.011292 | 1.2434e-05 | 7.8694e-06 | 0.068539 | 0.068539 | 0.068539 | 0.97522 | -0.47623 | 0.97551 | -0.47044 | 18.8295
59 | 0.016491 | 0.0041351 | -0.016488 | -0.0041333 | 3.1406e-06 | 1.8466e-06 | 0.025224 | 0.025224 | 0.025224 | 0.97288 | -0.52237 | 0.97267 | -0.52637 | 6.9297
60 | 0.016382 | 0.0041071 | -0.01638 | -0.004106 | 1.8734e-06 | 1.0991e-06 | 0.024988 | 0.024989 | 0.024989 | 0.97551 | -0.47044 | 0.97539 | -0.47284 | 6.865
61 | -0.061307 | -0.015399 | 0.061426 | 0.015475 | 0.00011902 | 7.5718e-05 | 0.093528 | 0.093528 | 0.093528 | 0.97551 | -0.47044 | 0.97758 | -0.42984 | 25.6944
62 | 0.010961 | 0.0027481 | -0.010958 | -0.0027462 | 3.6459e-06 | 1.9044e-06 | 0.016769 | 0.016769 | 0.016769 | 0.97267 | -0.52637 | 0.97232 | -0.53335 | 4.6069
63 | 0.010898 | 0.0027321 | -0.010894 | -0.0027302 | 3.7658e-06 | 1.9568e-06 | 0.016625 | 0.016626 | 0.016626 | 0.97539 | -0.47284 | 0.97502 | -0.48009 | 4.5675
64 | -0.20585 | -0.051907 | 0.20605 | 0.052039 | 0.0002071 | 0.00013191 | 0.31344 | 0.31344 | 0.31344 | 0.97758 | -0.42984 | 0.97865 | -0.40884 | 28.7035
65 | 0.0055207 | 0.0013836 | -0.0055202 | -0.0013835 | 4.87e-07 | 8.6046e-08 | 0.0084487 | 0.0084488 | 0.0084488 | 0.97232 | -0.53335 | 0.97223 | -0.5352 | 2.3211
66 | -0.37777 | -0.097381 | 0.37814 | 0.097621 | 0.00037528 | 0.00023981 | 0.5637 | 0.5637 | 0.5637 | 0.99892 | -0.020377 | 1 | 0 | 51.6207
67 | 0.23077 | 0.058662 | -0.2307 | -0.05862 | 6.6346e-05 | 4.2295e-05 | 0.34923 | 0.34923 | 0.34923 | 0.98411 | -0.30279 | 0.98381 | -0.30876 | 31.9804
68 | 0.014835 | 0.0037195 | -0.014831 | -0.0037176 | 3.4287e-06 | 1.9635e-06 | 0.022431 | 0.022431 | 0.022431 | 0.98411 | -0.30279 | 0.98387 | -0.30764 | 6.1625
69 | 0.0060551 | 0.0015173 | -0.0060541 | -0.0015171 | 9.7517e-07 | 2.3e-07 | 0.0091554 | 0.0091555 | 0.0091555 | 0.98411 | -0.30279 | 0.98394 | -0.30617 | 2.5153
70 | 0.013997 | 0.0035093 | -0.013994 | -0.0035072 | 3.8524e-06 | 2.155e-06 | 0.020829 | 0.020829 | 0.020829 | 1 | 0 | 0.9997 | -0.0057773 | 5.7222
71 | 0.0069935 | 0.0017528 | -0.0069925 | -0.0017525 | 9.8337e-07 | 3.3181e-07 | 0.010578 | 0.010578 | 0.010578 | 0.98381 | -0.30876 | 0.98365 | -0.31171 | 2.906
72 | 0.22371 | 0.056867 | -0.22356 | -0.056771 | 0.0001503 | 9.5793e-05 | 0.33865 | 0.33865 | 0.33865 | 0.98381 | -0.30876 | 0.98308 | -0.32272 | 31.0118
73 | 0.010345 | 0.0025932 | -0.010343 | -0.0025922 | 1.9318e-06 | 9.6918e-07 | 0.015646 | 0.015646 | 0.015646 | 0.98387 | -0.30764 | 0.98367 | -0.31156 | 4.2984
74 | 0.0029024 | 0.00072717 | -0.0029022 | -0.00072736 | 1.7189e-07 | -1.9217e-07 | 0.0043892 | 0.0043893 | 0.0043893 | 0.98394 | -0.30617 | 0.98388 | -0.30742 | 1.2058
75 | -0.0061101 | -0.0015313 | 0.0061107 | 0.0015315 | 5.8291e-07 | 1.4232e-07 | 0.0092454 | 0.0092454 | 0.0092454 | 0.98339 | -0.31694 | 0.98349 | -0.31494 | 2.54
76 | 0.0061101 | 0.0015313 | -0.0061094 | -0.0015312 | 6.8859e-07 | 1.6819e-07 | 0.0092454 | 0.0092455 | 0.0092455 | 0.98339 | -0.31694 | 0.98327 | -0.31931 | 2.54
77 | -0.0061107 | -0.0015315 | 0.0061116 | 0.0015317 | 9.8254e-07 | 2.3978e-07 | 0.0092454 | 0.0092452 | 0.0092454 | 0.98349 | -0.31494 | 0.98367 | -0.31156 | 2.5399
78 | 0.0071992 | 0.0018043 | -0.0071989 | -0.0018042 | 3.139e-07 | 1.0532e-07 | 0.010716 | 0.010716 | 0.010716 | 0.9997 | -0.0057773 | 0.99965 | -0.0066926 | 2.9439
79 | 0.22036 | 0.05597 | -0.22011 | -0.055811 | 0.00024931 | 0.00015888 | 0.33381 | 0.33381 | 0.33381 | 0.98308 | -0.32272 | 0.98187 | -0.34626 | 30.5687
80 | -0.21121 | -0.053332 | 0.21145 | 0.053479 | 0.00023096 | 0.00014714 | 0.32129 | 0.32129 | 0.32129 | 0.97865 | -0.40884 | 0.97982 | -0.38605 | 29.4221
81 | -0.21629 | -0.054694 | 0.21671 | 0.054958 | 0.00041365 | 0.00026357 | 0.32865 | 0.32865 | 0.32865 | 0.97982 | -0.38605 | 0.98187 | -0.34626 | 30.0962
82 | 0.0043872 | 0.0010994 | -0.0043869 | -0.0010995 | 3.0117e-07 | -3.0674e-08 | 0.0066954 | 0.0066955 | 0.0066955 | 0.97502 | -0.48009 | 0.97495 | -0.48153 | 1.8394

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39962 | 0.10259

## res_load
| p_mw | q_mvar
0 | 0.078967 | 0.019791
1 | 0.02184 | 0.0054736
2 | 0.0053746 | 0.001347
3 | 0.0045281 | 0.0011348
4 | 0.0054708 | 0.0013711
5 | 0.0016392 | 0.00041082
6 | 0.011231 | 0.0028148
7 | 0.0056934 | 0.0014269
8 | 0.0023874 | 0.00059835
9 | 0.003688 | 0.00092429
10 | 0.0079217 | 0.0019854
11 | 0.0052751 | 0.0013221
12 | 0.0049432 | 0.0012389
13 | 0.0049124 | 0.0012312
14 | 0.0044373 | 0.0011121
15 | 0.0040778 | 0.001022
16 | 0.00089994 | 0.00022555
17 | 0.0088884 | 0.0022276
18 | 0.0028746 | 0.00072045
19 | 0.0075381 | 0.0018892
20 | 0.0043255 | 0.0010841
21 | 0.0040781 | 0.0010221
22 | 0.004299 | 0.0010774
23 | 0.004307 | 0.0010794
24 | 0.006827 | 0.001711
25 | 0.014286 | 0.0035804
26 | 0.0033854 | 0.00084847
27 | 0.0073469 | 0.0018413
28 | 0.0032359 | 0.00081098
29 | 0.003883 | 0.00097316
30 | 0.0058194 | 0.0014585
31 | 0.0065048 | 0.0016303
32 | 0.0058904 | 0.0014763
33 | 0.0043142 | 0.0010812
34 | 0.0058242 | 0.0014597
35 | 0.0055268 | 0.0013852
36 | 0.005482 | 0.0013739
37 | 0.0054369 | 0.0013626
38 | 0.0069358 | 0.0017383
39 | 0.0055773 | 0.0013978
40 | 0.0058269 | 0.0014604
41 | 0.0044864 | 0.0011244
42 | 0.0031517 | 0.0007899
43 | 0.0061094 | 0.0015312
44 | 0.0042315 | 0.0010605
45 | 0.0067944 | 0.0017028
46 | 0.0029022 | 0.00072736
47 | 0.0039705 | 0.00099509
48 | 0.0069925 | 0.0017525
49 | 0.0031969 | 0.00080123
50 | 0.0051611 | 0.0012935
51 | 0.0048475 | 0.0012149
52 | 0.0071989 | 0.0018042
53 | 0.0034047 | 0.00085331
54 | 0.0055202 | 0.0013835
55 | 0.0065067 | 0.0016307
56 | 0.0043869 | 0.0010995

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1