## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_135-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_135-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_135-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_135-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_135-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_135-4_0_5_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_135-4_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_135-4_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_135-4_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_135-4_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_135-4_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_135-4_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_135-4_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_135-4_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_135-4_0_5_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_135-4_0_5_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_135-4_0_5_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_135-4_0_5_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_135-4_0_5_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_135-4_0_5_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_135-4_0_5_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_135-4_0_5_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_135-4_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_135-4_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_135-4_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_135-4_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_135-4_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_135-4_0_5_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_135-4_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_135-4_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_135-4_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_135-4_0_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_135-4_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_135-4_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_135-4_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_135-4_0_5_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_135-4_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_135-4_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_135-4_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_135-4_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_135-4_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_135-4_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_135-4_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_135-4_0_5_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_135-4_0_5_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_135-4_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_135-4_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_135-4_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_135-4_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_135-4_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_135-4_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_135-4_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_135-4_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_135-4_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_135-4_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_135-4_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_135-4_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_135-4_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_135-4_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_135-4_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_135-4_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_135-4_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_135-4_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_MV_359_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_135-4_0_5_load_0 | 0 | 0.0036844 | 0.00092339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_135-4_0_5_load_1 | 1 | 0.0041061 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_135-4_0_5_load_2 | 2 | 0.0061063 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_135-4_0_5_load_63 | 5 | 0.034565 | 0.0086628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_135-4_0_5_load_64 | 6 | 0.0032262 | 0.00080856 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_135-4_0_5_load_8 | 7 | 0.0022084 | 0.00055347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_135-4_0_5_load_5 | 8 | 0.0048518 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_135-4_0_5_load_9 | 9 | 0.0052722 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_135-4_0_5_load_59 | 10 | 0.0024538 | 0.00061498 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_135-4_0_5_load_6 | 11 | 0.0030639 | 0.00076788 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_135-4_0_5_load_10 | 12 | 0.0019964 | 0.00050034 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_135-4_0_5_load_7 | 13 | 0.0018384 | 0.00046075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_135-4_0_5_load_58 | 15 | 0.00087752 | 0.00021993 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_135-4_0_5_load_69 | 16 | 0.0038429 | 0.00096312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_135-4_0_5_load_70 | 17 | 0.0056343 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_135-4_0_5_load_68 | 18 | 0.0038261 | 0.00095891 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_135-4_0_5_load_57 | 19 | 0.0023917 | 0.00059942 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_135-4_0_5_load_66 | 20 | 0.003413 | 0.00085538 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_135-4_0_5_load_67 | 21 | 0.0027125 | 0.00067981 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_135-4_0_5_load_14 | 22 | 0.067137 | 0.016826 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_135-4_0_5_load_15 | 23 | 0.07719 | 0.019346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_135-4_0_5_load_18 | 26 | 0.026444 | 0.0066275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_135-4_0_5_load_46 | 27 | 0.0048899 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_135-4_0_5_load_47 | 28 | 0.0044274 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_135-4_0_5_load_44 | 29 | 0.0087135 | 0.0021838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_135-4_0_5_load_31 | 30 | 0.0087216 | 0.0021858 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_135-4_0_5_load_42 | 31 | 0.0059431 | 0.0014895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_135-4_0_5_load_43 | 32 | 0.0051812 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_135-4_0_5_load_19 | 33 | 0.053148 | 0.01332 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_135-4_0_5_load_53 | 34 | 0.0069649 | 0.0017456 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_135-4_0_5_load_52 | 35 | 0.0084317 | 0.0021132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_135-4_0_5_load_48 | 36 | 0.0036086 | 0.0009044 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_135-4_0_5_load_32 | 37 | 0.013982 | 0.0035041 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_135-4_0_5_load_50 | 38 | 0.009317 | 0.0023351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_135-4_0_5_load_20 | 41 | 0.0039239 | 0.00098343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_135-4_0_5_load_21 | 43 | 0.014983 | 0.0037551 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_135-4_0_5_load_55 | 44 | 0.0071897 | 0.0018019 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_135-4_0_5_load_60 | 45 | 0.0031006 | 0.00077709 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_135-4_0_5_load_29 | 46 | 0.0045795 | 0.0011477 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_135-4_0_5_load_28 | 47 | 0.0018435 | 0.00046203 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_135-4_0_5_load_22 | 48 | 0.0016666 | 0.00041769 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_135-4_0_5_load_23 | 49 | 0.0064829 | 0.0016248 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_135-4_0_5_load_24 | 50 | 0.0090029 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_135-4_0_5_load_25 | 51 | 0.0034264 | 0.00085874 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_135-4_0_5_load_27 | 52 | 0.0085895 | 0.0021527 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_135-4_0_5_load_30 | 53 | 0.0057595 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_135-4_0_5_load_33 | 54 | 0.0055364 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_135-4_0_5_load_35 | 56 | 0.0029081 | 0.00072885 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_135-4_0_5_load_37 | 57 | 0.0026152 | 0.00065542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_135-4_0_5_load_40 | 59 | 0.0022774 | 0.00057078 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_135-4_0_5_load_41 | 60 | 0.0073042 | 0.0018306 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_135-4_0_5_load_45 | 61 | 0.0070027 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_135-4_0_5_load_56 | 62 | 0.002836 | 0.00071078 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_135-4_0_5_line_0 |  | 0 | 1 | 0.004706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_135-4_0_5_line_1 |  | 0 | 2 | 0.037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_135-4_0_5_line_2 |  | 1 | 3 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_135-4_0_5_line_3 |  | 2 | 4 | 0.0098509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_135-4_0_5_line_4 |  | 3 | 7 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_135-4_0_5_line_5 |  | 3 | 8 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_135-4_0_5_line_6 |  | 3 | 5 | 0.063605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_135-4_0_5_line_7 |  | 4 | 9 | 0.017593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_135-4_0_5_line_8 |  | 5 | 6 | 0.037531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_135-4_0_5_line_9 |  | 6 | 14 | 0.024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_135-4_0_5_line_10 |  | 7 | 10 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_135-4_0_5_line_11 |  | 8 | 11 | 0.020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_135-4_0_5_line_12 |  | 9 | 12 | 0.026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_135-4_0_5_line_13 |  | 10 | 15 | 0.012058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_135-4_0_5_line_14 |  | 11 | 13 | 0.00943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_135-4_0_5_line_15 |  | 14 | 17 | 0.0073185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_135-4_0_5_line_16 |  | 14 | 62 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_135-4_0_5_line_17 |  | 15 | 19 | 0.022827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_135-4_0_5_line_18 |  | 16 | 17 | 0.0074545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_135-4_0_5_line_19 |  | 16 | 18 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_135-4_0_5_line_20 |  | 18 | 21 | 0.009541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_135-4_0_5_line_21 |  | 20 | 21 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_135-4_0_5_line_22 |  | 22 | 23 | 0.01945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_135-4_0_5_line_23 |  | 22 | 24 | 0.043876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_135-4_0_5_line_24 |  | 23 | 25 | 0.040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_135-4_0_5_line_25 |  | 24 | 26 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_135-4_0_5_line_26 |  | 25 | 30 | 0.0047272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_135-4_0_5_line_27 |  | 26 | 33 | 0.03427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_135-4_0_5_line_28 |  | 27 | 28 | 0.0034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_135-4_0_5_line_29 |  | 27 | 29 | 0.023456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_135-4_0_5_line_30 |  | 28 | 36 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_135-4_0_5_line_31 |  | 29 | 31 | 0.00048843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_135-4_0_5_line_32 |  | 30 | 37 | 0.038716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_135-4_0_5_line_33 |  | 31 | 32 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_135-4_0_5_line_34 |  | 32 | 61 | 0.0017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_135-4_0_5_line_35 |  | 33 | 41 | 0.032382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_135-4_0_5_line_36 |  | 34 | 35 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_135-4_0_5_line_37 |  | 34 | 36 | 0.002062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_135-4_0_5_line_38 |  | 35 | 42 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_135-4_0_5_line_39 |  | 37 | 54 | 0.025283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_135-4_0_5_line_40 |  | 38 | 39 | 0.032969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_135-4_0_5_line_41 |  | 38 | 40 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_135-4_0_5_line_42 |  | 39 | 55 | 0.065768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_135-4_0_5_line_43 |  | 40 | 60 | 0.0071678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_135-4_0_5_line_44 |  | 41 | 43 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_135-4_0_5_line_45 |  | 42 | 62 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_135-4_0_5_line_46 |  | 42 | 44 | 0.013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_135-4_0_5_line_47 |  | 43 | 46 | 0.0071116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_135-4_0_5_line_48 |  | 44 | 45 | 0.072884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_135-4_0_5_line_49 |  | 46 | 47 | 0.0010182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_135-4_0_5_line_50 |  | 47 | 53 | 0.041427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_135-4_0_5_line_51 |  | 48 | 49 | 0.0030947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_135-4_0_5_line_52 |  | 48 | 50 | 0.024456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_135-4_0_5_line_53 |  | 49 | 51 | 0.0285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_135-4_0_5_line_54 |  | 51 | 52 | 0.0012559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_135-4_0_5_line_55 |  | 52 | 53 | 0.0025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_135-4_0_5_line_56 |  | 54 | 55 | 0.0043324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_135-4_0_5_line_57 |  | 55 | 56 | 0.013124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_135-4_0_5_line_58 |  | 57 | 58 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_135-4_0_5_line_59 |  | 58 | 59 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_135-4_0_5_line_60 |  | 58 | 60 | 0.016566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_135-4_0_5_line_61 |  | 59 | 61 | 0.030347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_135-4_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 63 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683456.9863 | 1242819.5941 | 2683458.6654 | 1242815.1979
1 | 2683456.9863 | 1242819.5941 | 2683451.9603 | 1242832.753 | 2683442.9931 | 1242847.3819 | 2683439.6642 | 1242852.1171
2 | 2683465.0048 | 1242798.6005 | 2683458.6654 | 1242815.1979
3 | 2683433.9988 | 1242860.1758 | 2683439.6642 | 1242852.1171
4 | 2683465.0048 | 1242798.6005 | 2683467.7771 | 1242786.6574
5 | 2683465.0048 | 1242798.6005 | 2683459.9293 | 1242792.3691 | 2683458.4206 | 1242785.4951
6 | 2683521.5523 | 1242827.721 | 2683465.0048 | 1242798.6005
7 | 2683433.9988 | 1242860.1758 | 2683418.2507 | 1242852.3319
8 | 2683521.5523 | 1242827.721 | 2683537.5363 | 1242793.7643
9 | 2683548.1443 | 1242771.2282 | 2683537.5363 | 1242793.7643
10 | 2683467.7771 | 1242786.6574 | 2683475.5429 | 1242753.2027
11 | 2683458.4206 | 1242785.4951 | 2683454.0523 | 1242765.5919
12 | 2683418.2507 | 1242852.3319 | 2683406.8916 | 1242846.674 | 2683393.3278 | 1242843.159
13 | 2683475.5429 | 1242753.2027 | 2683478.2695 | 1242741.4566
14 | 2683454.0523 | 1242765.5919 | 2683452.0307 | 1242756.3811
15 | 2683548.1443 | 1242771.2282 | 2683550.5364 | 1242764.3117
16 | 2683548.1443 | 1242771.2282 | 2683564.7775 | 1242778.1691
17 | 2683483.3454 | 1242719.2017 | 2683482.8157 | 1242721.7509 | 2683481.0917 | 1242729.2988 | 2683478.2695 | 1242741.4566
18 | 2683552.9729 | 1242757.2667 | 2683550.5364 | 1242764.3117
19 | 2683552.9729 | 1242757.2667 | 2683558.7401 | 1242740.5911
20 | 2683561.8586 | 1242731.5742 | 2683558.7401 | 1242740.5911
21 | 2683569.4064 | 1242709.7499 | 2683561.8586 | 1242731.5742
22 | 2683632.0459 | 1242915.9719 | 2683640.909 | 1242898.6589
23 | 2683660.9033 | 1242859.6028 | 2683640.909 | 1242898.6589
24 | 2683613.8035 | 1242951.6058 | 2683632.0459 | 1242915.9719
25 | 2683660.9033 | 1242859.6028 | 2683667.3624 | 1242847.1661
26 | 2683613.8035 | 1242951.6058 | 2683611.5248 | 1242955.7474
27 | 2683683.1575 | 1242816.7531 | 2683667.3624 | 1242847.1661
28 | 2683552.8543 | 1242844.3367 | 2683554.3509 | 1242841.2134
29 | 2683552.8543 | 1242844.3367 | 2683542.7181 | 1242865.4893
30 | 2683562.6394 | 1242823.9168 | 2683554.3509 | 1242841.2134
31 | 2683542.5071 | 1242865.9298 | 2683542.7181 | 1242865.4893
32 | 2683611.5248 | 1242955.7474 | 2683596.0221 | 1242983.9232 | 2683592.5836 | 1242989.506
33 | 2683542.5071 | 1242865.9298 | 2683532.9543 | 1242885.8649
34 | 2683532.202 | 1242887.4349 | 2683532.9543 | 1242885.8649
35 | 2683698.0562 | 1242788.0025 | 2683690.5247 | 1242802.568 | 2683683.1575 | 1242816.7531
36 | 2683573.0345 | 1242802.2236 | 2683563.5304 | 1242822.0573
37 | 2683562.6394 | 1242823.9168 | 2683563.5304 | 1242822.0573
38 | 2683581.2645 | 1242785.049 | 2683573.0345 | 1242802.2236
39 | 2683579.3246 | 1243011.0339 | 2683592.5836 | 1242989.506
40 | 2683515.7736 | 1242990.8429 | 2683525.1555 | 1242974.1406 | 2683528.9042 | 1242964.5308 | 2683529.1918 | 1242961.046
41 | 2683527.3397 | 1242947.8745 | 2683529.5696 | 1242956.4677 | 2683529.1918 | 1242961.046
42 | 2683515.7736 | 1242990.8429 | 2683577.0527 | 1243014.7228
43 | 2683527.3397 | 1242947.8745 | 2683523.7609 | 1242941.6641
44 | 2683698.0562 | 1242788.0025 | 2683703.5649 | 1242777.3491
45 | 2683581.2645 | 1242785.049 | 2683564.7775 | 1242778.1691
46 | 2683581.2645 | 1242785.049 | 2683586.2203 | 1242772.3641
47 | 2683706.8314 | 1242771.032 | 2683703.5649 | 1242777.3491
48 | 2683612.7429 | 1242704.4772 | 2683586.2203 | 1242772.3641
49 | 2683707.2991 | 1242770.1276 | 2683706.8314 | 1242771.032
50 | 2683707.2991 | 1242770.1276 | 2683726.3272 | 1242733.3286
51 | 2683741.1728 | 1242704.6184 | 2683742.5942 | 1242701.8694
52 | 2683754.2525 | 1242680.3741 | 2683752.7829 | 1242683.3265 | 2683743.0771 | 1242700.9356 | 2683742.5942 | 1242701.8694
53 | 2683741.1728 | 1242704.6184 | 2683728.0824 | 1242729.9341
54 | 2683727.5056 | 1242731.0498 | 2683728.0824 | 1242729.9341
55 | 2683727.5056 | 1242731.0498 | 2683726.3272 | 1242733.3286
56 | 2683577.0527 | 1243014.7228 | 2683579.3246 | 1243011.0339
57 | 2683577.0527 | 1243014.7228 | 2683587.3715 | 1243022.8316
58 | 2683511.0755 | 1242931.5227 | 2683506.0544 | 1242931.1073 | 2683502.1401 | 1242931.5414 | 2683496.8307 | 1242933.3458 | 2683494.0091 | 1242934.5625 | 2683489.5962 | 1242937.1245 | 2683488.1578 | 1242938.2304
59 | 2683511.0755 | 1242931.5227 | 2683519.0881 | 1242914.8017
60 | 2683511.0755 | 1242931.5227 | 2683518.1537 | 1242935.0915 | 2683523.7609 | 1242941.6641
61 | 2683532.202 | 1242887.4349 | 2683519.0881 | 1242914.8017

## bus_geodata
| x | y | coords
0 | 2683456.9863 | 1242819.5941
1 | 2683458.6654 | 1242815.1979
2 | 2683439.6642 | 1242852.1171
3 | 2683465.0048 | 1242798.6005
4 | 2683433.9988 | 1242860.1758
5 | 2683521.5523 | 1242827.721
6 | 2683537.5363 | 1242793.7643
7 | 2683467.7771 | 1242786.6574
8 | 2683458.4206 | 1242785.4951
9 | 2683418.2507 | 1242852.3319
10 | 2683475.5429 | 1242753.2027
11 | 2683454.0523 | 1242765.5919
12 | 2683393.3278 | 1242843.159
13 | 2683452.0307 | 1242756.3811
14 | 2683548.1443 | 1242771.2282
15 | 2683478.2695 | 1242741.4566
16 | 2683552.9729 | 1242757.2667
17 | 2683550.5364 | 1242764.3117
18 | 2683558.7401 | 1242740.5911
19 | 2683483.3454 | 1242719.2017
20 | 2683569.4064 | 1242709.7499
21 | 2683561.8586 | 1242731.5742
22 | 2683640.909 | 1242898.6589
23 | 2683632.0459 | 1242915.9719
24 | 2683660.9033 | 1242859.6028
25 | 2683613.8035 | 1242951.6058
26 | 2683667.3624 | 1242847.1661
27 | 2683552.8543 | 1242844.3367
28 | 2683554.3509 | 1242841.2134
29 | 2683542.7181 | 1242865.4893
30 | 2683611.5248 | 1242955.7474
31 | 2683542.5071 | 1242865.9298
32 | 2683532.9543 | 1242885.8649
33 | 2683683.1575 | 1242816.7531
34 | 2683563.5304 | 1242822.0573
35 | 2683573.0345 | 1242802.2236
36 | 2683562.6394 | 1242823.9168
37 | 2683592.5836 | 1242989.506
38 | 2683529.1918 | 1242961.046
39 | 2683515.7736 | 1242990.8429
40 | 2683527.3397 | 1242947.8745
41 | 2683698.0562 | 1242788.0025
42 | 2683581.2645 | 1242785.049
43 | 2683703.5649 | 1242777.3491
44 | 2683586.2203 | 1242772.3641
45 | 2683612.7429 | 1242704.4772
46 | 2683706.8314 | 1242771.032
47 | 2683707.2991 | 1242770.1276
48 | 2683742.5942 | 1242701.8694
49 | 2683741.1728 | 1242704.6184
50 | 2683754.2525 | 1242680.3741
51 | 2683728.0824 | 1242729.9341
52 | 2683727.5056 | 1242731.0498
53 | 2683726.3272 | 1242733.3286
54 | 2683579.3246 | 1243011.0339
55 | 2683577.0527 | 1243014.7228
56 | 2683587.3715 | 1243022.8316
57 | 2683488.1578 | 1242938.2304
58 | 2683511.0755 | 1242931.5227
59 | 2683519.0881 | 1242914.8017
60 | 2683523.7609 | 1242941.6641
61 | 2683532.202 | 1242887.4349
62 | 2683564.7775 | 1242778.1691
63 | 2683698.4196 | 1242919.6753

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97109 | -0.55883 | 0.0036844 | 0.00092339
1 | 0.97117 | -0.55735 | 0.0041061 | 0.0010291
2 | 0.97063 | -0.56799 | 0.0061063 | 0.0015304
3 | 0.97152 | -0.5504 | 0 | 0
4 | 0.97056 | -0.56931 | 0 | 0
5 | 0.97382 | -0.50486 | 0.034565 | 0.0086628
6 | 0.97639 | -0.45435 | 0.0032262 | 0.00080856
7 | 0.97143 | -0.55219 | 0.0022084 | 0.00055347
8 | 0.97138 | -0.55311 | 0.0048518 | 0.001216
9 | 0.97044 | -0.57168 | 0.0052722 | 0.0013213
10 | 0.97124 | -0.55583 | 0.0024538 | 0.00061498
11 | 0.97129 | -0.55496 | 0.0030639 | 0.00076788
12 | 0.97039 | -0.57267 | 0.0019964 | 0.00050034
13 | 0.97127 | -0.55528 | 0.0018384 | 0.00046075
14 | 0.97728 | -0.43691 | 0 | 0
15 | 0.97121 | -0.55655 | 0.00087752 | 0.00021993
16 | 0.97706 | -0.44139 | 0.0038429 | 0.00096312
17 | 0.97715 | -0.43951 | 0.0056343 | 0.0014121
18 | 0.97689 | -0.44459 | 0.0038261 | 0.00095891
19 | 0.97116 | -0.55756 | 0.0023917 | 0.00059942
20 | 0.97677 | -0.4471 | 0.003413 | 0.00085538
21 | 0.97684 | -0.44566 | 0.0027125 | 0.00067981
22 | 0.99635 | -0.069353 | 0.067137 | 0.016826
23 | 0.99503 | -0.09451 | 0.07719 | 0.019346
24 | 1 | 0 | -0.50846 | -0.12917
25 | 0.99301 | -0.13284 | 0 | 0
26 | 0.99821 | -0.034222 | 0.026444 | 0.0066275
27 | 0.98033 | -0.37745 | 0.0048899 | 0.0012255
28 | 0.98022 | -0.37953 | 0.0044274 | 0.0011096
29 | 0.98108 | -0.36283 | 0.0087135 | 0.0021838
30 | 0.99278 | -0.13737 | 0.0087216 | 0.0021858
31 | 0.98109 | -0.36251 | 0.0059431 | 0.0014895
32 | 0.98188 | -0.34729 | 0.0051812 | 0.0012985
33 | 0.99466 | -0.10245 | 0.053148 | 0.01332
34 | 0.97959 | -0.39186 | 0.0069649 | 0.0017456
35 | 0.97899 | -0.40362 | 0.0084317 | 0.0021132
36 | 0.97965 | -0.39069 | 0.0036086 | 0.0009044
37 | 0.99091 | -0.1731 | 0.013982 | 0.0035041
38 | 0.98531 | -0.28062 | 0.009317 | 0.0023351
39 | 0.98674 | -0.25315 | 0 | 0
40 | 0.98476 | -0.2913 | 0 | 0
41 | 0.99288 | -0.13689 | 0.0039239 | 0.00098343
42 | 0.9785 | -0.41308 | 0 | 0
43 | 0.99226 | -0.14884 | 0.014983 | 0.0037551
44 | 0.97837 | -0.41563 | 0.0071897 | 0.0018019
45 | 0.97816 | -0.41975 | 0.0031006 | 0.00077709
46 | 0.99199 | -0.15405 | 0.0045795 | 0.0011477
47 | 0.99195 | -0.15471 | 0.0018435 | 0.00046203
48 | 0.99006 | -0.19144 | 0.0016666 | 0.00041769
49 | 0.99009 | -0.19086 | 0.0064829 | 0.0016248
50 | 0.98986 | -0.19536 | 0.0090029 | 0.0022563
51 | 0.99054 | -0.18217 | 0.0034264 | 0.00085874
52 | 0.99056 | -0.18171 | 0.0085895 | 0.0021527
53 | 0.99063 | -0.18038 | 0.0057595 | 0.0014435
54 | 0.98977 | -0.19494 | 0.0055364 | 0.0013875
55 | 0.98958 | -0.19858 | 0 | 0
56 | 0.98954 | -0.19926 | 0.0029081 | 0.00072885
57 | 0.98376 | -0.31077 | 0.0026152 | 0.00065542
58 | 0.98382 | -0.30961 | 0 | 0
59 | 0.9831 | -0.32353 | 0.0022774 | 0.00057078
60 | 0.98447 | -0.29699 | 0.0073042 | 0.0018306
61 | 0.98194 | -0.34605 | 0.0070027 | 0.001755
62 | 0.97809 | -0.42112 | 0.002836 | 0.00071078
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017066 | -0.0042789 | 0.017068 | 0.0042796 | 1.2069e-06 | 7.1421e-07 | 0.026152 | 0.026152 | 0.026152 | 0.97109 | -0.55883 | 0.97117 | -0.55735 | 7.1845
1 | 0.013382 | 0.0033555 | -0.013376 | -0.0033523 | 5.8397e-06 | 3.2795e-06 | 0.020506 | 0.020506 | 0.020506 | 0.97109 | -0.55883 | 0.97063 | -0.56799 | 5.6336
2 | -0.021174 | -0.0053087 | 0.021181 | 0.005313 | 7.0127e-06 | 4.2682e-06 | 0.032443 | 0.032443 | 0.032443 | 0.97117 | -0.55735 | 0.97152 | -0.5504 | 8.9129
3 | 0.00727 | 0.0018219 | -0.0072695 | -0.0018217 | 4.5886e-07 | 1.7192e-07 | 0.011145 | 0.011145 | 0.011145 | 0.97063 | -0.56799 | 0.97056 | -0.56931 | 3.0619
4 | 0.0079333 | 0.001988 | -0.0079326 | -0.0019877 | 6.7884e-07 | 2.8265e-07 | 0.012151 | 0.012151 | 0.012151 | 0.97152 | -0.5504 | 0.97143 | -0.55219 | 3.3382
5 | 0.0097558 | 0.0024451 | -0.0097545 | -0.0024445 | 1.2622e-06 | 6.2115e-07 | 0.014942 | 0.014942 | 0.014942 | 0.97152 | -0.5504 | 0.97138 | -0.55311 | 4.1051
6 | -0.03887 | -0.0097462 | 0.038954 | 0.0097995 | 8.4545e-05 | 5.3319e-05 | 0.059536 | 0.059536 | 0.059536 | 0.97152 | -0.5504 | 0.97382 | -0.50486 | 16.3561
7 | 0.0072695 | 0.0018217 | -0.0072687 | -0.0018214 | 8.1952e-07 | 3.0709e-07 | 0.011145 | 0.011145 | 0.011145 | 0.97056 | -0.56931 | 0.97044 | -0.57168 | 3.0619
8 | -0.073519 | -0.018462 | 0.073697 | 0.018575 | 0.00017765 | 0.00011323 | 0.11235 | 0.11235 | 0.11235 | 0.97382 | -0.50486 | 0.97639 | -0.45435 | 30.8658
9 | -0.076923 | -0.019384 | 0.076987 | 0.019425 | 6.4224e-05 | 4.048e-05 | 0.11727 | 0.11727 | 0.11727 | 0.97639 | -0.45435 | 0.97728 | -0.43691 | 16.1083
10 | 0.0057242 | 0.0014342 | -0.0057233 | -0.001434 | 9.9017e-07 | 2.086e-07 | 0.0087682 | 0.0087683 | 0.0087683 | 0.97143 | -0.55219 | 0.97124 | -0.55583 | 2.4089
11 | 0.0049028 | 0.0012286 | -0.0049023 | -0.0012285 | 4.3101e-07 | 2.3621e-08 | 0.0075103 | 0.0075103 | 0.0075103 | 0.97138 | -0.55311 | 0.97129 | -0.55496 | 2.0633
12 | 0.0019965 | 0.00050007 | -0.0019964 | -0.00050034 | 9.3835e-08 | -2.6984e-07 | 0.0030612 | 0.0030613 | 0.0030613 | 0.97044 | -0.57168 | 0.97039 | -0.57267 | 0.84101
13 | 0.0032694 | 0.00081906 | -0.0032693 | -0.00081913 | 1.1345e-07 | -7.6615e-08 | 0.0050089 | 0.005009 | 0.005009 | 0.97124 | -0.55583 | 0.97121 | -0.55655 | 1.3761
14 | 0.0018384 | 0.00046065 | -0.0018384 | -0.00046075 | 2.8051e-08 | -9.8758e-08 | 0.0028164 | 0.0028165 | 0.0028165 | 0.97129 | -0.55496 | 0.97127 | -0.55528 | 0.77376
15 | 0.019435 | 0.0048722 | -0.019432 | -0.0048707 | 2.4032e-06 | 1.4463e-06 | 0.029592 | 0.029592 | 0.029592 | 0.97728 | -0.43691 | 0.97715 | -0.43951 | 8.1296
16 | -0.096422 | -0.024297 | 0.096495 | 0.024343 | 7.2885e-05 | 4.6194e-05 | 0.14686 | 0.14686 | 0.14686 | 0.97728 | -0.43691 | 0.97809 | -0.42112 | 20.173
17 | 0.0023918 | 0.00059921 | -0.0023917 | -0.00059942 | 1.1495e-07 | -2.0889e-07 | 0.0036645 | 0.0036646 | 0.0036646 | 0.97121 | -0.55655 | 0.97116 | -0.55756 | 1.0068
18 | -0.013797 | -0.0034579 | 0.013798 | 0.0034586 | 1.2341e-06 | 6.9648e-07 | 0.021012 | 0.021012 | 0.021012 | 0.97706 | -0.44139 | 0.97715 | -0.43951 | 5.7724
19 | 0.0099536 | 0.0024948 | -0.0099521 | -0.002494 | 1.5205e-06 | 7.5218e-07 | 0.015159 | 0.015159 | 0.015159 | 0.97706 | -0.44139 | 0.97689 | -0.44459 | 4.1646
20 | 0.006126 | 0.0015351 | -0.0061257 | -0.0015351 | 3.1153e-07 | 7.9932e-08 | 0.0093312 | 0.0093312 | 0.0093312 | 0.97689 | -0.44459 | 0.97684 | -0.44566 | 2.5635
21 | -0.003413 | -0.00085538 | 0.0034133 | 0.00085524 | 2.341e-07 | -1.3924e-07 | 0.0051994 | 0.0051993 | 0.0051994 | 0.97677 | -0.4471 | 0.97684 | -0.44566 | 1.4284
22 | 0.2978 | 0.076002 | -0.29744 | -0.075772 | 0.00036147 | 0.00023033 | 0.44524 | 0.44524 | 0.44524 | 0.99635 | -0.069353 | 0.99503 | -0.09451 | 30.5797
23 | -0.36494 | -0.092829 | 0.36616 | 0.09361 | 0.0012241 | 0.0007811 | 0.54551 | 0.54551 | 0.54551 | 0.99635 | -0.069353 | 1 | 0 | 37.4661
24 | 0.22025 | 0.056426 | -0.21984 | -0.056167 | 0.00040823 | 0.00025919 | 0.32981 | 0.32981 | 0.32981 | 0.99503 | -0.09451 | 0.99301 | -0.13284 | 22.6517
25 | 0.14065 | 0.035558 | -0.14042 | -0.035411 | 0.00023043 | 0.00014729 | 0.2094 | 0.2094 | 0.2094 | 1 | 0 | 0.99821 | -0.034222 | 57.5267
26 | 0.21984 | 0.056167 | -0.21979 | -0.056137 | 4.8205e-05 | 3.0607e-05 | 0.32981 | 0.32981 | 0.32981 | 0.99301 | -0.13284 | 0.99278 | -0.13737 | 22.6517
27 | 0.11397 | 0.028784 | -0.1136 | -0.028547 | 0.0003713 | 0.00023719 | 0.16998 | 0.16998 | 0.16998 | 0.99821 | -0.034222 | 0.99466 | -0.10245 | 46.6972
28 | 0.1333 | 0.033657 | -0.13329 | -0.033649 | 1.3304e-05 | 8.3398e-06 | 0.20242 | 0.20242 | 0.20242 | 0.98033 | -0.37745 | 0.98022 | -0.37953 | 13.9026
29 | -0.13819 | -0.034883 | 0.13829 | 0.034944 | 9.6831e-05 | 6.0788e-05 | 0.20984 | 0.20984 | 0.20984 | 0.98033 | -0.37745 | 0.98108 | -0.36283 | 14.4123
30 | 0.12886 | 0.032539 | -0.12879 | -0.032496 | 6.8866e-05 | 4.3108e-05 | 0.1957 | 0.1957 | 0.1957 | 0.98022 | -0.37953 | 0.97965 | -0.39069 | 13.441
31 | -0.147 | -0.037127 | 0.147 | 0.037129 | 2.2783e-06 | 1.4334e-06 | 0.22306 | 0.22306 | 0.22306 | 0.98108 | -0.36283 | 0.98109 | -0.36251 | 15.32
32 | 0.21107 | 0.053951 | -0.21071 | -0.05372 | 0.00036413 | 0.00023105 | 0.31674 | 0.31674 | 0.31674 | 0.99278 | -0.13737 | 0.99091 | -0.1731 | 21.754
33 | -0.15294 | -0.038618 | 0.15306 | 0.038689 | 0.00011162 | 7.0317e-05 | 0.23207 | 0.23207 | 0.23207 | 0.98109 | -0.36251 | 0.98188 | -0.34729 | 15.9391
34 | -0.15824 | -0.039987 | 0.15825 | 0.039993 | 9.3947e-06 | 5.9246e-06 | 0.23992 | 0.23992 | 0.23992 | 0.98188 | -0.34729 | 0.98194 | -0.34605 | 16.4783
35 | 0.060455 | 0.015226 | -0.060356 | -0.015163 | 9.9384e-05 | 6.3186e-05 | 0.090467 | 0.090468 | 0.090468 | 0.99466 | -0.10245 | 0.99288 | -0.13689 | 24.8537
36 | 0.11821 | 0.029842 | -0.11814 | -0.0298 | 6.6538e-05 | 4.1477e-05 | 0.17964 | 0.17964 | 0.17964 | 0.97959 | -0.39186 | 0.97899 | -0.40362 | 12.3379
37 | -0.12517 | -0.031587 | 0.12518 | 0.031592 | 6.9946e-06 | 4.3727e-06 | 0.19022 | 0.19022 | 0.19022 | 0.97959 | -0.39186 | 0.97965 | -0.39069 | 13.0645
38 | 0.10971 | 0.027687 | -0.10966 | -0.027656 | 4.969e-05 | 3.0844e-05 | 0.16682 | 0.16682 | 0.16682 | 0.97899 | -0.40362 | 0.9785 | -0.41308 | 11.4577
39 | 0.19672 | 0.050216 | -0.19652 | -0.050084 | 0.00020732 | 0.00013138 | 0.29574 | 0.29574 | 0.29574 | 0.99091 | -0.1731 | 0.98977 | -0.19494 | 20.312
40 | -0.1873 | -0.047477 | 0.18755 | 0.047634 | 0.00024762 | 0.0001568 | 0.28305 | 0.28305 | 0.28305 | 0.98531 | -0.28062 | 0.98674 | -0.25315 | 19.4401
41 | 0.17798 | 0.045142 | -0.17789 | -0.045084 | 9.1375e-05 | 5.7794e-05 | 0.26898 | 0.26898 | 0.26898 | 0.98531 | -0.28062 | 0.98476 | -0.2913 | 18.4737
42 | -0.18755 | -0.047634 | 0.18804 | 0.047947 | 0.00049397 | 0.00031277 | 0.28305 | 0.28305 | 0.28305 | 0.98674 | -0.25315 | 0.98958 | -0.19858 | 19.4401
43 | 0.17789 | 0.045084 | -0.17784 | -0.045054 | 4.8617e-05 | 3.075e-05 | 0.26898 | 0.26898 | 0.26898 | 0.98476 | -0.2913 | 0.98447 | -0.29699 | 18.4738
44 | 0.056432 | 0.01418 | -0.0564 | -0.014159 | 3.2179e-05 | 2.044e-05 | 0.084587 | 0.084587 | 0.084587 | 0.99288 | -0.13689 | 0.99226 | -0.14884 | 23.2382
45 | 0.099369 | 0.025077 | -0.099331 | -0.025054 | 3.8276e-05 | 2.3599e-05 | 0.15117 | 0.15117 | 0.15117 | 0.9785 | -0.41308 | 0.97809 | -0.42112 | 10.3828
46 | 0.010292 | 0.0025791 | -0.010291 | -0.0025785 | 1.251e-06 | 6.2961e-07 | 0.015651 | 0.015651 | 0.015651 | 0.9785 | -0.41308 | 0.97837 | -0.41563 | 4.2998
47 | 0.041416 | 0.010404 | -0.041406 | -0.010398 | 1.029e-05 | 6.494e-06 | 0.062118 | 0.062118 | 0.062118 | 0.99226 | -0.14884 | 0.99199 | -0.15405 | 17.0653
48 | 0.0031012 | 0.00077656 | -0.0031006 | -0.00077709 | 6.0803e-07 | -5.2594e-07 | 0.0047164 | 0.0047168 | 0.0047168 | 0.97837 | -0.41563 | 0.97816 | -0.41975 | 1.2958
49 | 0.036827 | 0.0092499 | -0.036825 | -0.0092491 | 1.1655e-06 | 7.3278e-07 | 0.055248 | 0.055248 | 0.055248 | 0.99199 | -0.15405 | 0.99195 | -0.15471 | 15.1781
50 | 0.034982 | 0.0087871 | -0.034939 | -0.0087602 | 4.2792e-05 | 2.6853e-05 | 0.052483 | 0.052483 | 0.052483 | 0.99195 | -0.15471 | 0.99063 | -0.18038 | 14.4184
51 | -0.010671 | -0.0026748 | 0.010671 | 0.0026749 | 2.9852e-07 | 1.5125e-07 | 0.016038 | 0.016038 | 0.016038 | 0.99006 | -0.19144 | 0.99009 | -0.19086 | 4.4061
52 | 0.0090045 | 0.0022571 | -0.0090029 | -0.0022563 | 1.6797e-06 | 7.606e-07 | 0.013534 | 0.013534 | 0.013534 | 0.99006 | -0.19144 | 0.98986 | -0.19536 | 3.718
53 | -0.017154 | -0.0042997 | 0.017161 | 0.0043039 | 7.1038e-06 | 4.1797e-06 | 0.025782 | 0.025781 | 0.025782 | 0.99009 | -0.19086 | 0.99054 | -0.18217 | 7.0828
54 | -0.020588 | -0.0051626 | 0.020588 | 0.0051629 | 4.5053e-07 | 2.7217e-07 | 0.030929 | 0.030929 | 0.030929 | 0.99054 | -0.18217 | 0.99056 | -0.18171 | 8.4969
55 | -0.029178 | -0.0073156 | 0.02918 | 0.0073168 | 1.8483e-06 | 1.1499e-06 | 0.043832 | 0.043832 | 0.043832 | 0.99056 | -0.18171 | 0.99063 | -0.18038 | 12.0417
56 | 0.19098 | 0.048697 | -0.19095 | -0.048675 | 3.3553e-05 | 2.1251e-05 | 0.28742 | 0.28742 | 0.28742 | 0.98977 | -0.19494 | 0.98958 | -0.19858 | 19.7403
57 | 0.0029082 | 0.00072874 | -0.0029081 | -0.00072885 | 9.4114e-08 | -1.0836e-07 | 0.004373 | 0.0043731 | 0.0043731 | 0.98958 | -0.19858 | 0.98954 | -0.19926 | 1.2014
58 | -0.0026152 | -0.00065542 | 0.0026153 | 0.0006552 | 1.4419e-07 | -2.1974e-07 | 0.0039557 | 0.0039556 | 0.0039557 | 0.98376 | -0.31077 | 0.98382 | -0.30961 | 1.0867
59 | 0.16782 | 0.042502 | -0.16771 | -0.042432 | 0.00011213 | 7.0823e-05 | 0.25398 | 0.25398 | 0.25398 | 0.98382 | -0.30961 | 0.9831 | -0.32353 | 17.4439
60 | -0.17043 | -0.043158 | 0.17054 | 0.043223 | 0.00010333 | 6.529e-05 | 0.25794 | 0.25794 | 0.25794 | 0.98382 | -0.30961 | 0.98447 | -0.29699 | 17.7155
61 | 0.16543 | 0.041861 | -0.16525 | -0.041748 | 0.00017858 | 0.00011275 | 0.25054 | 0.25054 | 0.25054 | 0.9831 | -0.32353 | 0.98194 | -0.34605 | 17.2072

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50846 | 0.12917

## res_load
| p_mw | q_mvar
0 | 0.0036844 | 0.00092339
1 | 0.0041061 | 0.0010291
2 | 0.0061063 | 0.0015304
3 | 0.034565 | 0.0086628
4 | 0.0032262 | 0.00080856
5 | 0.0022084 | 0.00055347
6 | 0.0048518 | 0.001216
7 | 0.0052722 | 0.0013213
8 | 0.0024538 | 0.00061498
9 | 0.0030639 | 0.00076788
10 | 0.0019964 | 0.00050034
11 | 0.0018384 | 0.00046075
12 | 0.00087752 | 0.00021993
13 | 0.0038429 | 0.00096312
14 | 0.0056343 | 0.0014121
15 | 0.0038261 | 0.00095891
16 | 0.0023917 | 0.00059942
17 | 0.003413 | 0.00085538
18 | 0.0027125 | 0.00067981
19 | 0.067137 | 0.016826
20 | 0.07719 | 0.019346
21 | 0.026444 | 0.0066275
22 | 0.0048899 | 0.0012255
23 | 0.0044274 | 0.0011096
24 | 0.0087135 | 0.0021838
25 | 0.0087216 | 0.0021858
26 | 0.0059431 | 0.0014895
27 | 0.0051812 | 0.0012985
28 | 0.053148 | 0.01332
29 | 0.0069649 | 0.0017456
30 | 0.0084317 | 0.0021132
31 | 0.0036086 | 0.0009044
32 | 0.013982 | 0.0035041
33 | 0.009317 | 0.0023351
34 | 0.0039239 | 0.00098343
35 | 0.014983 | 0.0037551
36 | 0.0071897 | 0.0018019
37 | 0.0031006 | 0.00077709
38 | 0.0045795 | 0.0011477
39 | 0.0018435 | 0.00046203
40 | 0.0016666 | 0.00041769
41 | 0.0064829 | 0.0016248
42 | 0.0090029 | 0.0022563
43 | 0.0034264 | 0.00085874
44 | 0.0085895 | 0.0021527
45 | 0.0057595 | 0.0014435
46 | 0.0055364 | 0.0013875
47 | 0.0029081 | 0.00072885
48 | 0.0026152 | 0.00065542
49 | 0.0022774 | 0.00057078
50 | 0.0073042 | 0.0018306
51 | 0.0070027 | 0.001755
52 | 0.002836 | 0.00071078

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1