## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_135-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_135-6_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_135-6_0_2_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_135-6_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_135-6_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_135-6_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_135-6_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_135-6_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_135-6_0_2_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_135-6_0_2_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_135-6_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_135-6_0_2_node_158 | 0.4 | n |  | TRUE
12 | bus_LV_135-6_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_135-6_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_135-6_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_135-6_0_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_135-6_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_135-6_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_135-6_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_135-6_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_135-6_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_135-6_0_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_135-6_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_135-6_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_135-6_0_2_node_157 | 0.4 | n |  | TRUE
25 | bus_LV_135-6_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_135-6_0_2_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_135-6_0_2_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_135-6_0_2_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_135-6_0_2_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_135-6_0_2_node_116 | 0.4 | n |  | TRUE
31 | bus_LV_135-6_0_2_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_135-6_0_2_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_135-6_0_2_node_113 | 0.4 | n |  | TRUE
34 | bus_LV_135-6_0_2_node_114 | 0.4 | n |  | TRUE
35 | bus_LV_135-6_0_2_node_115 | 0.4 | n |  | TRUE
36 | bus_MV_359_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_135-6_0_2_load_0 | 0 | 0.010992 | 0.002755 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_135-6_0_2_load_5 | 3 | 0.015579 | 0.0039046 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_135-6_0_2_load_6 | 5 | 0.010992 | 0.002755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_135-6_0_2_load_9 | 6 | 0.0088252 | 0.0022118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_135-6_0_2_load_7 | 7 | 0.0084851 | 0.0021266 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_135-6_0_2_load_110 | 8 | 0.014785 | 0.0037055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_135-6_0_2_load_109 | 9 | 0.014319 | 0.0035887 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_135-6_0_2_load_10 | 10 | 0.013804 | 0.0034597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_135-6_0_2_load_158 | 11 | 0.0095489 | 0.0023932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_135-6_0_2_load_12 | 12 | 0.0038046 | 0.00095353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_135-6_0_2_load_13 | 13 | 0.0070982 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_135-6_0_2_load_18 | 17 | 0.0036436 | 0.00091318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_135-6_0_2_load_21 | 18 | 0.011563 | 0.002898 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_135-6_0_2_load_22 | 19 | 0.0066628 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_135-6_0_2_load_24 | 20 | 0.0033994 | 0.00085198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_135-6_0_2_load_48 | 21 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_135-6_0_2_load_27 | 22 | 0.0031956 | 0.00080089 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_135-6_0_2_load_28 | 23 | 0.0028274 | 0.00070861 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_135-6_0_2_load_57 | 26 | 0.0011309 | 0.00028343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_135-6_0_2_load_156 | 27 | 0.0026624 | 0.00066727 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_135-6_0_2_load_58 | 28 | 0.0047896 | 0.0012004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_135-6_0_2_load_116 | 30 | 0.0053133 | 0.0013316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_135-6_0_2_load_106 | 31 | 0.0047323 | 0.001186 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_135-6_0_2_load_111 | 32 | 0.019828 | 0.0049693 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_135-6_0_2_load_113 | 33 | 0.0043732 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_135-6_0_2_load_114 | 34 | 0.0030328 | 0.0007601 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_135-6_0_2_load_115 | 35 | 0.0020845 | 0.00052241 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_135-6_0_2_line_0 |  | 0 | 1 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_135-6_0_2_line_1 |  | 1 | 2 | 0.040241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_135-6_0_2_line_2 |  | 1 | 3 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_135-6_0_2_line_3 |  | 2 | 4 | 0.032529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_135-6_0_2_line_4 |  | 2 | 5 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_135-6_0_2_line_5 |  | 3 | 6 | 0.037023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_135-6_0_2_line_6 |  | 4 | 8 | 0.041554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_135-6_0_2_line_7 |  | 4 | 9 | 0.0029291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_135-6_0_2_line_8 |  | 5 | 7 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_135-6_0_2_line_9 |  | 6 | 10 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_135-6_0_2_line_10 |  | 8 | 32 | 0.0066551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_135-6_0_2_line_11 |  | 9 | 31 | 0.088047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_135-6_0_2_line_12 |  | 10 | 11 | 0.079852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_135-6_0_2_line_13 |  | 11 | 24 | 0.047428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_135-6_0_2_line_14 |  | 12 | 13 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_135-6_0_2_line_15 |  | 13 | 14 | 0.0081644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_135-6_0_2_line_16 |  | 14 | 15 | 0.012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_135-6_0_2_line_17 |  | 14 | 16 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_135-6_0_2_line_18 |  | 15 | 21 | 0.04098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_135-6_0_2_line_19 |  | 15 | 20 | 0.0062557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_135-6_0_2_line_20 |  | 16 | 17 | 0.012157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_135-6_0_2_line_21 |  | 18 | 19 | 0.0050515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_135-6_0_2_line_22 |  | 19 | 20 | 0.040787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_135-6_0_2_line_23 |  | 21 | 26 | 0.05362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_135-6_0_2_line_24 |  | 22 | 23 | 0.012047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_135-6_0_2_line_25 |  | 22 | 24 | 0.11122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_135-6_0_2_line_26 |  | 23 | 25 | 0.0052503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_135-6_0_2_line_27 |  | 24 | 27 | 0.056244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_135-6_0_2_line_28 |  | 25 | 26 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_135-6_0_2_line_29 |  | 26 | 28 | 0.044462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_135-6_0_2_line_30 |  | 28 | 29 | 0.03984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_135-6_0_2_line_31 |  | 29 | 30 | 0.013298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_135-6_0_2_line_32 |  | 30 | 35 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_135-6_0_2_line_33 |  | 33 | 34 | 0.021189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_135-6_0_2_line_34 |  | 34 | 35 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_135-6_0_2_trafo_9 | 0.63 MVA 20/0.4 kV | 36 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683438.815 | 1242629.054 | 2683425.6274 | 1242644.5249
1 | 2683457.9086 | 1242661.9907 | 2683455.9101 | 1242661.1064 | 2683451.9961 | 1242659.3613 | 2683450.7277 | 1242656.0188 | 2683448.9447 | 1242645.197 | 2683445.8821 | 1242637.7374 | 2683438.815 | 1242629.054
2 | 2683438.815 | 1242629.054 | 2683444.1766 | 1242621.9465 | 2683446.7043 | 1242614.314
3 | 2683457.9086 | 1242661.9907 | 2683461.8676 | 1242663.2251 | 2683489.0463 | 1242671.7023
4 | 2683457.9086 | 1242661.9907 | 2683448.9892 | 1242688.1936
5 | 2683446.7043 | 1242614.314 | 2683458.344 | 1242579.1682
6 | 2683489.0463 | 1242671.7023 | 2683488.5813 | 1242657.4744 | 2683489.3799 | 1242644.7764 | 2683490.1529 | 1242640.8845 | 2683493.1401 | 1242630.6854
7 | 2683489.0463 | 1242671.7023 | 2683488.915 | 1242674.6285
8 | 2683448.9892 | 1242688.1936 | 2683443.6435 | 1242703.8983
9 | 2683461.5065 | 1242569.6189 | 2683458.344 | 1242579.1682
10 | 2683493.1401 | 1242630.6854 | 2683494.6318 | 1242625.592 | 2683495.1636 | 1242624.3537
11 | 2683488.915 | 1242674.6285 | 2683568.6028 | 1242712.0734
12 | 2683461.5065 | 1242569.6189 | 2683473.911 | 1242490.7363
13 | 2683473.911 | 1242490.7363 | 2683486.3563 | 1242444.9671
14 | 2683304.4833 | 1242458.2596 | 2683287.0226 | 1242452.7652
15 | 2683312.2712 | 1242460.7102 | 2683304.4833 | 1242458.2596
16 | 2683324.1341 | 1242463.8457 | 2683312.2712 | 1242460.7102
17 | 2683309.663 | 1242470.4029 | 2683312.2712 | 1242460.7102
18 | 2683324.1341 | 1242463.8457 | 2683320.0368 | 1242483.2022 | 2683315.8692 | 1242503.9829
19 | 2683324.1341 | 1242463.8457 | 2683326.7463 | 1242458.1615
20 | 2683309.663 | 1242470.4029 | 2683306.2863 | 1242482.082
21 | 2683343.3306 | 1242420.9151 | 2683345.0953 | 1242416.1819
22 | 2683343.3306 | 1242420.9151 | 2683341.0409 | 1242427.0565 | 2683326.7463 | 1242458.1615
23 | 2683369.4708 | 1242505.4012 | 2683315.8692 | 1242503.9829
24 | 2683379.7257 | 1242476.5933 | 2683375.6849 | 1242487.9419
25 | 2683379.7257 | 1242476.5933 | 2683486.3563 | 1242444.9671
26 | 2683373.9238 | 1242492.8881 | 2683375.6849 | 1242487.9419
27 | 2683486.3563 | 1242444.9671 | 2683502.9355 | 1242391.2225
28 | 2683373.9238 | 1242492.8881 | 2683369.4708 | 1242505.4012
29 | 2683369.4708 | 1242505.4012 | 2683365.4312 | 1242516.7527 | 2683360.6535 | 1242548.8116
30 | 2683350.0439 | 1242586.8985 | 2683357.7269 | 1242568.4486 | 2683360.6535 | 1242548.8116
31 | 2683350.0439 | 1242586.8985 | 2683357.5311 | 1242582.923 | 2683362.1272 | 1242581.4691
32 | 2683362.1272 | 1242581.4691 | 2683365.4739 | 1242580.4105 | 2683378.6405 | 1242580.5955 | 2683385.5288 | 1242581.5708
33 | 2683416.3037 | 1242549.0228 | 2683411.5867 | 1242548.2906 | 2683406.7721 | 1242551.9812 | 2683400.915 | 1242557.7698 | 2683399.6898 | 1242559.4923
34 | 2683399.6898 | 1242559.4923 | 2683395.8018 | 1242564.9587 | 2683394.761 | 1242576.0743 | 2683390.0569 | 1242580.5114 | 2683385.5288 | 1242581.5708 | 2683385.5288 | 1242581.5708

## bus_geodata
| x | y | coords
0 | 2683425.6274 | 1242644.5249
1 | 2683438.815 | 1242629.054
2 | 2683457.9086 | 1242661.9907
3 | 2683446.7043 | 1242614.314
4 | 2683489.0463 | 1242671.7023
5 | 2683448.9892 | 1242688.1936
6 | 2683458.344 | 1242579.1682
7 | 2683443.6435 | 1242703.8983
8 | 2683493.1401 | 1242630.6854
9 | 2683488.915 | 1242674.6285
10 | 2683461.5065 | 1242569.6189
11 | 2683473.911 | 1242490.7363
12 | 2683287.0226 | 1242452.7652
13 | 2683304.4833 | 1242458.2596
14 | 2683312.2712 | 1242460.7102
15 | 2683324.1341 | 1242463.8457
16 | 2683309.663 | 1242470.4029
17 | 2683306.2863 | 1242482.082
18 | 2683345.0953 | 1242416.1819
19 | 2683343.3306 | 1242420.9151
20 | 2683326.7463 | 1242458.1615
21 | 2683315.8692 | 1242503.9829
22 | 2683379.7257 | 1242476.5933
23 | 2683375.6849 | 1242487.9419
24 | 2683486.3563 | 1242444.9671
25 | 2683373.9238 | 1242492.8881
26 | 2683369.4708 | 1242505.4012
27 | 2683502.9355 | 1242391.2225
28 | 2683360.6535 | 1242548.8116
29 | 2683350.0439 | 1242586.8985
30 | 2683362.1272 | 1242581.4691
31 | 2683568.6028 | 1242712.0734
32 | 2683495.1636 | 1242624.3537
33 | 2683416.3037 | 1242549.0228
34 | 2683399.6898 | 1242559.4923
35 | 2683385.5288 | 1242581.5708
36 | 2683461.5065 | 1242569.6189

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99512 | -0.093551 | 0.010992 | 0.002755
1 | 0.99532 | -0.089619 | 0 | 0
2 | 0.99263 | -0.14155 | 0 | 0
3 | 0.99662 | -0.064569 | 0.015579 | 0.0039046
4 | 0.99103 | -0.17248 | 0 | 0
5 | 0.99213 | -0.15109 | 0.010992 | 0.002755
6 | 1 | 0 | -0.19649 | -0.049651
7 | 0.992 | -0.15358 | 0.0084851 | 0.0021266
8 | 0.98971 | -0.19804 | 0.014785 | 0.0037055
9 | 0.99098 | -0.17347 | 0.014319 | 0.0035887
10 | 0.99914 | -0.01632 | 0.013804 | 0.0034597
11 | 0.99328 | -0.12739 | 0.0095489 | 0.0023932
12 | 0.97788 | -0.42575 | 0.0038046 | 0.00095353
13 | 0.97794 | -0.42448 | 0.0070982 | 0.001779
14 | 0.97802 | -0.42285 | 0 | 0
15 | 0.97819 | -0.41961 | 0 | 0
16 | 0.97799 | -0.42352 | 0 | 0
17 | 0.97795 | -0.42433 | 0.0036436 | 0.00091318
18 | 0.97732 | -0.4367 | 0.011563 | 0.002898
19 | 0.97737 | -0.43563 | 0.0066628 | 0.0016699
20 | 0.97806 | -0.42208 | 0.0033994 | 0.00085198
21 | 0.97956 | -0.39265 | 0.0040465 | 0.0010142
22 | 0.98332 | -0.31927 | 0.0031956 | 0.00080089
23 | 0.98261 | -0.33313 | 0.0028274 | 0.00070861
24 | 0.99022 | -0.18592 | 0 | 0
25 | 0.98231 | -0.33891 | 0 | 0
26 | 0.98156 | -0.35355 | 0.0011309 | 0.00028343
27 | 0.99009 | -0.18859 | 0.0026624 | 0.00066727
28 | 0.98076 | -0.36932 | 0.0047896 | 0.0012004
29 | 0.98021 | -0.38002 | 0 | 0
30 | 0.98003 | -0.38359 | 0.0053133 | 0.0013316
31 | 0.99059 | -0.18087 | 0.0047323 | 0.001186
32 | 0.98959 | -0.20039 | 0.019828 | 0.0049693
33 | 0.97954 | -0.39325 | 0.0043732 | 0.001096
34 | 0.97962 | -0.39156 | 0.0030328 | 0.0007601
35 | 0.97982 | -0.38766 | 0.0020845 | 0.00052241
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010992 | -0.002755 | 0.010995 | 0.002756 | 2.0597e-06 | 1.054e-06 | 0.016437 | 0.016437 | 0.016437 | 0.99512 | -0.093551 | 0.99532 | -0.089619 | 4.5157
1 | 0.07346 | 0.018532 | -0.073278 | -0.018415 | 0.00018215 | 0.00011606 | 0.10987 | 0.10987 | 0.10987 | 0.99532 | -0.089619 | 0.99263 | -0.14155 | 30.1832
2 | -0.084455 | -0.021288 | 0.084556 | 0.021352 | 0.00010136 | 6.4649e-05 | 0.1263 | 0.1263 | 0.1263 | 0.99532 | -0.089619 | 0.99662 | -0.064569 | 34.6988
3 | 0.053791 | 0.013528 | -0.053711 | -0.013478 | 7.9349e-05 | 5.0363e-05 | 0.080653 | 0.080653 | 0.080653 | 0.99263 | -0.14155 | 0.99103 | -0.17248 | 22.1573
4 | 0.019487 | 0.0048873 | -0.019479 | -0.004882 | 8.8588e-06 | 5.312e-06 | 0.029214 | 0.029214 | 0.029214 | 0.99263 | -0.14155 | 0.99213 | -0.15109 | 8.0259
5 | -0.10014 | -0.025257 | 0.10045 | 0.025455 | 0.00031057 | 0.00019828 | 0.14956 | 0.14956 | 0.14956 | 0.99662 | -0.064569 | 1 | 0 | 41.0891
6 | 0.034657 | 0.0087026 | -0.034615 | -0.0086761 | 4.2206e-05 | 2.6477e-05 | 0.052043 | 0.052044 | 0.052044 | 0.99103 | -0.17248 | 0.98971 | -0.19804 | 14.2977
7 | 0.019054 | 0.0047752 | -0.019053 | -0.0047747 | 8.9905e-07 | 5.3765e-07 | 0.028609 | 0.028609 | 0.028609 | 0.99103 | -0.17248 | 0.99098 | -0.17347 | 7.8597
8 | 0.0084861 | 0.002127 | -0.0084851 | -0.0021266 | 1.0078e-06 | 4.3078e-07 | 0.012728 | 0.012728 | 0.012728 | 0.99213 | -0.15109 | 0.992 | -0.15358 | 3.4966
9 | 0.09439 | 0.024196 | -0.094316 | -0.024148 | 7.4619e-05 | 4.7625e-05 | 0.14065 | 0.14065 | 0.14065 | 1 | 0 | 0.99914 | -0.01632 | 38.6389
10 | 0.01983 | 0.0049706 | -0.019828 | -0.0049693 | 2.2184e-06 | 1.3342e-06 | 0.029814 | 0.029814 | 0.029814 | 0.98971 | -0.19804 | 0.98959 | -0.20039 | 8.1907
11 | 0.0047339 | 0.001186 | -0.0047323 | -0.001186 | 1.6683e-06 | -6.619e-08 | 0.0071081 | 0.0071085 | 0.0071085 | 0.99098 | -0.17347 | 0.99059 | -0.18087 | 1.9529
12 | 0.080511 | 0.020689 | -0.080079 | -0.020413 | 0.00043183 | 0.00027533 | 0.12009 | 0.12009 | 0.12009 | 0.99914 | -0.01632 | 0.99328 | -0.12739 | 32.9911
13 | 0.070531 | 0.01802 | -0.070332 | -0.017893 | 0.00019902 | 0.00012676 | 0.10578 | 0.10578 | 0.10578 | 0.99328 | -0.12739 | 0.99022 | -0.18592 | 29.0612
14 | -0.0038046 | -0.00095353 | 0.0038048 | 0.00095344 | 2.3007e-07 | -8.2408e-08 | 0.0057894 | 0.0057893 | 0.0057894 | 0.97788 | -0.42575 | 0.97794 | -0.42448 | 1.5905
15 | -0.010903 | -0.0027324 | 0.010904 | 0.0027328 | 8.4263e-07 | 4.3684e-07 | 0.01659 | 0.01659 | 0.01659 | 0.97794 | -0.42448 | 0.97802 | -0.42285 | 4.5576
16 | -0.014548 | -0.0036459 | 0.01455 | 0.0036472 | 2.2479e-06 | 1.2851e-06 | 0.022134 | 0.022134 | 0.022134 | 0.97802 | -0.42285 | 0.97819 | -0.41961 | 6.0807
17 | 0.0036439 | 0.00091307 | -0.0036438 | -0.00091312 | 1.1569e-07 | -5.1911e-08 | 0.0055439 | 0.005544 | 0.005544 | 0.97802 | -0.42285 | 0.97799 | -0.42352 | 1.5231
18 | -0.03619 | -0.0090759 | 0.036237 | 0.0091052 | 4.6579e-05 | 2.9295e-05 | 0.055055 | 0.055055 | 0.055055 | 0.97819 | -0.41961 | 0.97956 | -0.39265 | 15.1249
19 | 0.02164 | 0.0054287 | -0.021638 | -0.0054272 | 2.5425e-06 | 1.5487e-06 | 0.032921 | 0.032921 | 0.032921 | 0.97819 | -0.41961 | 0.97806 | -0.42208 | 9.0443
20 | 0.0036438 | 0.00091312 | -0.0036436 | -0.00091318 | 1.4013e-07 | -6.2865e-08 | 0.005544 | 0.005544 | 0.005544 | 0.97799 | -0.42352 | 0.97795 | -0.42433 | 1.5231
21 | -0.011563 | -0.002898 | 0.011564 | 0.0028983 | 5.8715e-07 | 3.1247e-07 | 0.017606 | 0.017606 | 0.017606 | 0.97732 | -0.4367 | 0.97737 | -0.43563 | 4.8367
22 | -0.018227 | -0.0045682 | 0.018238 | 0.0045752 | 1.1778e-05 | 7.0262e-06 | 0.027749 | 0.027749 | 0.027749 | 0.97737 | -0.43563 | 0.97806 | -0.42208 | 7.6235
23 | -0.040283 | -0.010119 | 0.040359 | 0.010167 | 7.5315e-05 | 4.7525e-05 | 0.061201 | 0.061201 | 0.061201 | 0.97956 | -0.39265 | 0.98156 | -0.35355 | 16.8136
24 | 0.064041 | 0.016151 | -0.063999 | -0.016124 | 4.2458e-05 | 2.702e-05 | 0.096946 | 0.096947 | 0.096947 | 0.98332 | -0.31927 | 0.98261 | -0.33313 | 26.6337
25 | -0.067237 | -0.016951 | 0.067669 | 0.017227 | 0.00043208 | 0.00027511 | 0.10178 | 0.10178 | 0.10178 | 0.98332 | -0.31927 | 0.99022 | -0.18592 | 27.9621
26 | 0.061171 | 0.015415 | -0.061154 | -0.015404 | 1.6906e-05 | 1.0754e-05 | 0.092665 | 0.092665 | 0.092665 | 0.98261 | -0.33313 | 0.98231 | -0.33891 | 25.4574
27 | 0.0026628 | 0.00066676 | -0.0026624 | -0.00066727 | 3.3768e-07 | -5.0731e-07 | 0.0040011 | 0.0040014 | 0.0040014 | 0.99022 | -0.18592 | 0.99009 | -0.18859 | 1.0993
28 | 0.061154 | 0.015404 | -0.061112 | -0.015377 | 4.2768e-05 | 2.7204e-05 | 0.092665 | 0.092665 | 0.092665 | 0.98231 | -0.33891 | 0.98156 | -0.35355 | 25.4574
29 | 0.019622 | 0.0049266 | -0.019607 | -0.0049177 | 1.4756e-05 | 8.8824e-06 | 0.029749 | 0.02975 | 0.02975 | 0.98156 | -0.35355 | 0.98076 | -0.36932 | 8.1729
30 | 0.014817 | 0.0037173 | -0.01481 | -0.003713 | 7.5517e-06 | 4.3306e-06 | 0.022483 | 0.022483 | 0.022483 | 0.98076 | -0.36932 | 0.98021 | -0.38002 | 6.1766
31 | 0.01481 | 0.003713 | -0.014807 | -0.0037115 | 2.5206e-06 | 1.4456e-06 | 0.022483 | 0.022483 | 0.022483 | 0.98021 | -0.38002 | 0.98003 | -0.38359 | 6.1766
32 | 0.0094941 | 0.0023799 | -0.0094922 | -0.002379 | 1.8418e-06 | 8.81e-07 | 0.014415 | 0.014416 | 0.014416 | 0.98003 | -0.38359 | 0.97982 | -0.38766 | 3.9603
33 | -0.0043732 | -0.001096 | 0.0043736 | 0.001096 | 3.5067e-07 | -4.231e-08 | 0.0066434 | 0.0066433 | 0.0066434 | 0.97954 | -0.39325 | 0.97962 | -0.39156 | 1.8251
34 | -0.0074064 | -0.0018561 | 0.0074078 | 0.0018566 | 1.3759e-06 | 5.155e-07 | 0.01125 | 0.01125 | 0.01125 | 0.97962 | -0.39156 | 0.97982 | -0.38766 | 3.0907

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20531 | 0.051863

## res_load
| p_mw | q_mvar
0 | 0.010992 | 0.002755
1 | 0.015579 | 0.0039046
2 | 0.010992 | 0.002755
3 | 0.0088252 | 0.0022118
4 | 0.0084851 | 0.0021266
5 | 0.014785 | 0.0037055
6 | 0.014319 | 0.0035887
7 | 0.013804 | 0.0034597
8 | 0.0095489 | 0.0023932
9 | 0.0038046 | 0.00095353
10 | 0.0070982 | 0.001779
11 | 0.0036436 | 0.00091318
12 | 0.011563 | 0.002898
13 | 0.0066628 | 0.0016699
14 | 0.0033994 | 0.00085198
15 | 0.0040465 | 0.0010142
16 | 0.0031956 | 0.00080089
17 | 0.0028274 | 0.00070861
18 | 0.0011309 | 0.00028343
19 | 0.0026624 | 0.00066727
20 | 0.0047896 | 0.0012004
21 | 0.0053133 | 0.0013316
22 | 0.0047323 | 0.001186
23 | 0.019828 | 0.0049693
24 | 0.0043732 | 0.001096
25 | 0.0030328 | 0.0007601
26 | 0.0020845 | 0.00052241

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1