## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-10_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_136-10_1_3_node_108 | 0.4 | n |  | TRUE
2 | bus_LV_136-10_1_3_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_136-10_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_136-10_1_3_node_119 | 0.4 | n |  | TRUE
5 | bus_LV_136-10_1_3_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_136-10_1_3_node_135 | 0.4 | n |  | TRUE
7 | bus_LV_136-10_1_3_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_136-10_1_3_node_127 | 0.4 | n |  | TRUE
9 | bus_LV_136-10_1_3_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_136-10_1_3_node_113 | 0.4 | n |  | TRUE
11 | bus_LV_136-10_1_3_node_120 | 0.4 | n |  | TRUE
12 | bus_LV_136-10_1_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_136-10_1_3_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_136-10_1_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_136-10_1_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_136-10_1_3_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_136-10_1_3_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_136-10_1_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_136-10_1_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_136-10_1_3_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_136-10_1_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_136-10_1_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_136-10_1_3_node_125 | 0.4 | n |  | TRUE
24 | bus_LV_136-10_1_3_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_136-10_1_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_136-10_1_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_136-10_1_3_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_136-10_1_3_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_136-10_1_3_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_136-10_1_3_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_136-10_1_3_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_136-10_1_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_136-10_1_3_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_136-10_1_3_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_136-10_1_3_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_136-10_1_3_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_136-10_1_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_136-10_1_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_136-10_1_3_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_136-10_1_3_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_136-10_1_3_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_136-10_1_3_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_136-10_1_3_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_136-10_1_3_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_136-10_1_3_node_123 | 0.4 | n |  | TRUE
46 | bus_LV_136-10_1_3_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_136-10_1_3_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_136-10_1_3_node_106 | 0.4 | n |  | TRUE
49 | bus_LV_136-10_1_3_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_136-10_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_136-10_1_3_node_122 | 0.4 | n |  | TRUE
52 | bus_LV_136-10_1_3_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_136-10_1_3_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_136-10_1_3_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_136-10_1_3_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_136-10_1_3_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_136-10_1_3_node_124 | 0.4 | n |  | TRUE
58 | bus_LV_136-10_1_3_node_126 | 0.4 | n |  | TRUE
59 | bus_MV_349_2_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-10_1_3_load_128 | 0 | 0.00075202 | 0.00018847 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-10_1_3_load_132 | 2 | 0.0028208 | 0.00070697 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-10_1_3_load_129 | 3 | 0.0031722 | 0.00079504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-10_1_3_load_119 | 4 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-10_1_3_load_130 | 5 | 0.0014165 | 0.000355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-10_1_3_load_135 | 6 | 0.0013495 | 0.00033822 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-10_1_3_load_131 | 7 | 0.0023323 | 0.00058453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-10_1_3_load_133 | 9 | 0.003005 | 0.00075312 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-10_1_3_load_120 | 11 | 0.0029631 | 0.00074263 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-10_1_3_load_134 | 12 | 0.0014312 | 0.00035869 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-10_1_3_load_136 | 13 | 0.0018497 | 0.00046357 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-10_1_3_load_61 | 15 | 0.0063523 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-10_1_3_load_57 | 17 | 0.0048156 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-10_1_3_load_60 | 19 | 0.01416 | 0.003549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-10_1_3_load_83 | 21 | 0.0081452 | 0.0020414 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-10_1_3_load_85 | 24 | 0.0089637 | 0.0022465 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-10_1_3_load_86 | 25 | 0.0070454 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-10_1_3_load_87 | 26 | 0.0031621 | 0.0007925 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-10_1_3_load_103 | 27 | 0.0013608 | 0.00034106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-10_1_3_load_88 | 28 | 0.0022408 | 0.0005616 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-10_1_3_load_89 | 29 | 0.0025349 | 0.00063532 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-10_1_3_load_90 | 30 | 0.0027959 | 0.00070073 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-10_1_3_load_92 | 32 | 0.0038694 | 0.00096976 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-10_1_3_load_98 | 33 | 0.0013904 | 0.00034847 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-10_1_3_load_99 | 34 | 0.0024793 | 0.00062136 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-10_1_3_load_93 | 35 | 0.064842 | 0.016251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-10_1_3_load_94 | 36 | 0.0013909 | 0.00034859 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_136-10_1_3_load_95 | 37 | 0.0024653 | 0.00061787 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_136-10_1_3_load_96 | 38 | 0.0019336 | 0.00048462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_136-10_1_3_load_102 | 40 | 0.0036273 | 0.00090909 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_136-10_1_3_load_100 | 41 | 0.0039283 | 0.00098453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_136-10_1_3_load_121 | 42 | 0.0042201 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_136-10_1_3_load_123 | 45 | 0.0027868 | 0.00069843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_136-10_1_3_load_105 | 47 | 0.0027041 | 0.00067772 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_136-10_1_3_load_106 | 48 | 0.0020222 | 0.00050681 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_136-10_1_3_load_107 | 49 | 0.0020001 | 0.00050128 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_136-10_1_3_load_109 | 50 | 0.0024519 | 0.0006145 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_136-10_1_3_load_122 | 51 | 0.0042598 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_136-10_1_3_load_118 | 52 | 0.0024181 | 0.00060604 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_136-10_1_3_load_110 | 53 | 0.0012508 | 0.00031347 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_136-10_1_3_load_115 | 54 | 0.0040915 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_136-10_1_3_load_116 | 55 | 0.0028433 | 0.00071259 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_136-10_1_3_load_124 | 57 | 0.0020462 | 0.00051282 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_136-10_1_3_load_126 | 58 | 0.0038643 | 0.00096848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-10_1_3_line_0 |  | 0 | 1 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-10_1_3_line_1 |  | 0 | 2 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-10_1_3_line_2 |  | 1 | 51 | 0.024254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_136-10_1_3_line_3 |  | 1 | 48 | 0.0023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_136-10_1_3_line_4 |  | 2 | 7 | 0.01479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_136-10_1_3_line_5 |  | 3 | 4 | 0.0016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_136-10_1_3_line_6 |  | 3 | 5 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_136-10_1_3_line_7 |  | 4 | 56 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_136-10_1_3_line_8 |  | 5 | 6 | 0.010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_136-10_1_3_line_9 |  | 6 | 13 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-10_1_3_line_10 |  | 7 | 8 | 0.065504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_136-10_1_3_line_11 |  | 8 | 23 | 0.048375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_136-10_1_3_line_12 |  | 9 | 10 | 0.040838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_136-10_1_3_line_13 |  | 9 | 11 | 0.028232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_136-10_1_3_line_14 |  | 10 | 12 | 0.018551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_136-10_1_3_line_15 |  | 11 | 56 | 0.0076764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_136-10_1_3_line_16 |  | 14 | 15 | 0.046818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_136-10_1_3_line_17 |  | 14 | 16 | 0.077105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_136-10_1_3_line_18 |  | 15 | 18 | 0.054924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_136-10_1_3_line_19 |  | 16 | 24 | 0.0045968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_136-10_1_3_line_20 |  | 17 | 18 | 0.0088974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-10_1_3_line_21 |  | 18 | 19 | 0.0076125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_136-10_1_3_line_22 |  | 19 | 20 | 0.026108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_136-10_1_3_line_23 |  | 20 | 21 | 0.009863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-10_1_3_line_24 |  | 21 | 22 | 0.080392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_136-10_1_3_line_25 |  | 22 | 23 | 0.15287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_136-10_1_3_line_26 |  | 23 | 57 | 0.086635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-10_1_3_line_27 |  | 24 | 25 | 0.017406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-10_1_3_line_28 |  | 26 | 27 | 0.023367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-10_1_3_line_29 |  | 27 | 43 | 0.034591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-10_1_3_line_30 |  | 28 | 29 | 0.0037373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-10_1_3_line_31 |  | 28 | 30 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_136-10_1_3_line_32 |  | 29 | 31 | 0.01827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_136-10_1_3_line_33 |  | 30 | 32 | 0.0071565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_136-10_1_3_line_34 |  | 31 | 33 | 0.025923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_136-10_1_3_line_35 |  | 31 | 34 | 0.0087614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_136-10_1_3_line_36 |  | 33 | 38 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_136-10_1_3_line_37 |  | 34 | 42 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_136-10_1_3_line_38 |  | 35 | 36 | 0.024514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-10_1_3_line_39 |  | 35 | 37 | 0.00064284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-10_1_3_line_40 |  | 36 | 38 | 0.0040561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-10_1_3_line_41 |  | 37 | 39 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_136-10_1_3_line_42 |  | 39 | 40 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_136-10_1_3_line_43 |  | 39 | 41 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_136-10_1_3_line_44 |  | 40 | 45 | 0.033081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_136-10_1_3_line_45 |  | 42 | 51 | 0.024771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_136-10_1_3_line_46 |  | 43 | 44 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_136-10_1_3_line_47 |  | 44 | 46 | 0.004998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_136-10_1_3_line_48 |  | 44 | 45 | 0.030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_136-10_1_3_line_49 |  | 46 | 53 | 0.032181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_136-10_1_3_line_50 |  | 47 | 48 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_136-10_1_3_line_51 |  | 47 | 49 | 0.0032231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_136-10_1_3_line_52 |  | 49 | 50 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_136-10_1_3_line_53 |  | 50 | 52 | 0.0057989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_136-10_1_3_line_54 |  | 52 | 55 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_136-10_1_3_line_55 |  | 54 | 55 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_136-10_1_3_line_56 |  | 54 | 56 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_136-10_1_3_line_57 |  | 57 | 58 | 0.0016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-10_1_3_trafo_98 | 0.63 MVA 20/0.4 kV | 59 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2683063.3476 | 1237781.3923 | 2683052.9112 | 1237768.357
1 | 2683042.3316 | 1237755.1429 | 2683052.9112 | 1237768.357
2 | 2683063.3476 | 1237781.3923 | 2683059.3409 | 1237783.3265 | 2683042.2818 | 1237793.3869
3 | 2683063.3476 | 1237781.3923 | 2683064.9652 | 1237783.1263
4 | 2683033.0882 | 1237743.5977 | 2683042.3316 | 1237755.1429
5 | 2683156.7897 | 1237832.6602 | 2683157.3791 | 1237831.097
6 | 2683164.3303 | 1237812.6608 | 2683157.3791 | 1237831.097
7 | 2683151.2314 | 1237847.4021 | 2683156.7897 | 1237832.6602
8 | 2683164.3303 | 1237812.6608 | 2683164.3303 | 1237812.6608 | 2683172.2621 | 1237806.381
9 | 2683184.2988 | 1237796.8513 | 2683172.2621 | 1237806.381
10 | 2682987.9529 | 1237696.4671 | 2683013.0207 | 1237718.533 | 2683033.0882 | 1237743.5977
11 | 2682959.5333 | 1237731.2393 | 2682957.4666 | 1237724.8281 | 2682961.1154 | 1237721.4322 | 2682987.9529 | 1237696.4671
12 | 2683226.5618 | 1237859.4434 | 2683187.1124 | 1237857.3782 | 2683185.827 | 1237857.0208
13 | 2683158.6273 | 1237849.4584 | 2683185.827 | 1237857.0208
14 | 2683226.5618 | 1237859.4434 | 2683236.8101 | 1237848.8906 | 2683238.2066 | 1237845.3129
15 | 2683151.2314 | 1237847.4021 | 2683158.6273 | 1237849.4584
16 | 2682973.7707 | 1237994.4139 | 2682962.1554 | 1237989.1479 | 2682932.7946 | 1237971.8749
17 | 2682973.7707 | 1237994.4139 | 2682979.5688 | 1237989.3357 | 2682984.2071 | 1237987.1323 | 2682990.0109 | 1237985.9792 | 2683000.965 | 1237987.6668 | 2683010.7462 | 1237989.9162 | 2683015.1496 | 1237969.8857 | 2683014.7502 | 1237967.067 | 2683012.773 | 1237964.5487 | 2683008.8851 | 1237962.8599 | 2683002.6583 | 1237961.2606
18 | 2682883.7895 | 1237947.5132 | 2682895.0919 | 1237951.3515 | 2682906.1083 | 1237956.1753 | 2682932.7946 | 1237971.8749
19 | 2683002.6583 | 1237961.2606 | 2682998.0882 | 1237960.7663
20 | 2682883.7895 | 1237947.5132 | 2682880.7222 | 1237955.8653
21 | 2682883.7895 | 1237947.5132 | 2682885.8362 | 1237940.181
22 | 2682863.4707 | 1237927.2709 | 2682865.6055 | 1237929.8915 | 2682873.2966 | 1237934.4576 | 2682885.8362 | 1237940.181
23 | 2682863.4707 | 1237927.2709 | 2682862.6122 | 1237925.9024 | 2682860.97 | 1237921.5987 | 2682860.2142 | 1237918.0369
24 | 2682854.2086 | 1237837.9561 | 2682854.1226 | 1237840.8681 | 2682854.5999 | 1237853.2836 | 2682855.1653 | 1237863.7322 | 2682855.9415 | 1237878.0421 | 2682857.615 | 1237900.1589 | 2682859.2521 | 1237913.5023 | 2682860.2142 | 1237918.0369
25 | 2682854.2086 | 1237837.9561 | 2682854.2929 | 1237835.1664 | 2682855.4674 | 1237829.0785 | 2682859.1778 | 1237820.7243 | 2682864.6804 | 1237812.9733 | 2682870.7001 | 1237807.7536 | 2682883.0351 | 1237796.1842 | 2682948.1408 | 1237740.8537 | 2682959.5333 | 1237731.2393
26 | 2682959.5333 | 1237731.2393 | 2682965.5806 | 1237750.0371 | 2682963.4661 | 1237759.492 | 2682956.3309 | 1237772.5238 | 2682948.9203 | 1237805.2658 | 2682950.4706 | 1237813.9007
27 | 2682981.5898 | 1237961.6665 | 2682983.0119 | 1237960.063 | 2682984.3361 | 1237959.5034 | 2682985.7746 | 1237959.4345 | 2682998.0882 | 1237960.7663
28 | 2683141.5396 | 1237949.4298 | 2683149.6034 | 1237946.8722 | 2683161.8192 | 1237941.6728 | 2683163.2905 | 1237940.9678
29 | 2683177.3655 | 1237917.4622 | 2683181.112 | 1237922.218 | 2683180.9074 | 1237927.6412 | 2683177.4793 | 1237934.1757 | 2683169.1238 | 1237938.1726 | 2683163.2905 | 1237940.9678
30 | 2683017.3472 | 1237862.4891 | 2683020.014 | 1237859.8708
31 | 2683017.3472 | 1237862.4891 | 2683010.2059 | 1237869.5009 | 2683001.4099 | 1237880.3675
32 | 2683033.0505 | 1237847.0709 | 2683020.014 | 1237859.8708
33 | 2682996.9073 | 1237885.9301 | 2683001.4099 | 1237880.3675
34 | 2683033.0505 | 1237847.0709 | 2683050.2274 | 1237861.4879 | 2683053.3394 | 1237863.0848
35 | 2683033.0505 | 1237847.0709 | 2683029.1028 | 1237839.2493
36 | 2683064.3558 | 1237868.7377 | 2683053.3394 | 1237863.0848
37 | 2683029.1028 | 1237839.2493 | 2683026.1157 | 1237833.3309 | 2683025.3155 | 1237813.728 | 2683026.5324 | 1237811.9557
38 | 2683089.7745 | 1237881.7808 | 2683067.9645 | 1237870.5894
39 | 2683090.3464 | 1237882.0743 | 2683089.7745 | 1237881.7808
40 | 2683064.3558 | 1237868.7377 | 2683067.9645 | 1237870.5894
41 | 2683100.6168 | 1237887.3444 | 2683090.3464 | 1237882.0743
42 | 2683100.6168 | 1237887.3444 | 2683117.5806 | 1237892.3258
43 | 2683100.6168 | 1237887.3444 | 2683114.3995 | 1237894.3701
44 | 2683149.7411 | 1237899.5291 | 2683137.7933 | 1237898.2612 | 2683117.5806 | 1237892.3258
45 | 2683042.2818 | 1237793.3869 | 2683037.2402 | 1237796.3601 | 2683026.5324 | 1237811.9557
46 | 2683177.3655 | 1237917.4622 | 2683179.9249 | 1237902.732
47 | 2683179.9249 | 1237902.732 | 2683184.8443 | 1237903.6905
48 | 2683179.9249 | 1237902.732 | 2683149.7411 | 1237899.5291
49 | 2683184.8443 | 1237903.6905 | 2683202.659 | 1237907.6539 | 2683216.589 | 1237907.8245
50 | 2683075.68 | 1237794.6124 | 2683064.9652 | 1237783.1263
51 | 2683075.68 | 1237794.6124 | 2683077.8786 | 1237796.9693
52 | 2683091.5934 | 1237811.6713 | 2683077.8786 | 1237796.9693
53 | 2683091.5934 | 1237811.6713 | 2683095.549 | 1237815.9116 | 2683095.549 | 1237815.9116
54 | 2683114.2946 | 1237828.5214 | 2683095.549 | 1237815.9116
55 | 2683122.8187 | 1237834.2554 | 2683114.2946 | 1237828.5214
56 | 2683151.2314 | 1237847.4021 | 2683133.8347 | 1237841.6656 | 2683122.8187 | 1237834.2554
57 | 2682950.7594 | 1237815.5099 | 2682950.4706 | 1237813.9007

## bus_geodata
| x | y | coords
0 | 2683052.9112 | 1237768.357
1 | 2683063.3476 | 1237781.3923
2 | 2683042.3316 | 1237755.1429
3 | 2683157.3791 | 1237831.097
4 | 2683156.7897 | 1237832.6602
5 | 2683164.3303 | 1237812.6608
6 | 2683172.2621 | 1237806.381
7 | 2683033.0882 | 1237743.5977
8 | 2682987.9529 | 1237696.4671
9 | 2683185.827 | 1237857.0208
10 | 2683226.5618 | 1237859.4434
11 | 2683158.6273 | 1237849.4584
12 | 2683238.2066 | 1237845.3129
13 | 2683184.2988 | 1237796.8513
14 | 2682973.7707 | 1237994.4139
15 | 2682932.7946 | 1237971.8749
16 | 2683002.6583 | 1237961.2606
17 | 2682880.7222 | 1237955.8653
18 | 2682883.7895 | 1237947.5132
19 | 2682885.8362 | 1237940.181
20 | 2682863.4707 | 1237927.2709
21 | 2682860.2142 | 1237918.0369
22 | 2682854.2086 | 1237837.9561
23 | 2682959.5333 | 1237731.2393
24 | 2682998.0882 | 1237960.7663
25 | 2682981.5898 | 1237961.6665
26 | 2683141.5396 | 1237949.4298
27 | 2683163.2905 | 1237940.9678
28 | 2683017.3472 | 1237862.4891
29 | 2683020.014 | 1237859.8708
30 | 2683001.4099 | 1237880.3675
31 | 2683033.0505 | 1237847.0709
32 | 2682996.9073 | 1237885.9301
33 | 2683053.3394 | 1237863.0848
34 | 2683029.1028 | 1237839.2493
35 | 2683089.7745 | 1237881.7808
36 | 2683067.9645 | 1237870.5894
37 | 2683090.3464 | 1237882.0743
38 | 2683064.3558 | 1237868.7377
39 | 2683100.6168 | 1237887.3444
40 | 2683117.5806 | 1237892.3258
41 | 2683114.3995 | 1237894.3701
42 | 2683026.5324 | 1237811.9557
43 | 2683177.3655 | 1237917.4622
44 | 2683179.9249 | 1237902.732
45 | 2683149.7411 | 1237899.5291
46 | 2683184.8443 | 1237903.6905
47 | 2683075.68 | 1237794.6124
48 | 2683064.9652 | 1237783.1263
49 | 2683077.8786 | 1237796.9693
50 | 2683091.5934 | 1237811.6713
51 | 2683042.2818 | 1237793.3869
52 | 2683095.549 | 1237815.9116
53 | 2683216.589 | 1237907.8245
54 | 2683122.8187 | 1237834.2554
55 | 2683114.2946 | 1237828.5214
56 | 2683151.2314 | 1237847.4021
57 | 2682950.4706 | 1237813.9007
58 | 2682950.7594 | 1237815.5099
59 | 2683053.3394 | 1237863.0848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99343 | -0.12475 | 0.00075202 | 0.00018847
1 | 0.99438 | -0.10668 | 0 | 0
2 | 0.99247 | -0.14288 | 0.0028208 | 0.00070697
3 | 0.99143 | -0.16382 | 0.0031722 | 0.00079504
4 | 0.99144 | -0.16359 | 0.0044051 | 0.001104
5 | 0.99134 | -0.16543 | 0.0014165 | 0.000355
6 | 0.99131 | -0.16601 | 0.0013495 | 0.00033822
7 | 0.99168 | -0.158 | 0.0023323 | 0.00058453
8 | 0.9883 | -0.22255 | 0 | 0
9 | 0.99145 | -0.16341 | 0.003005 | 0.00075312
10 | 0.9914 | -0.16445 | 0 | 0
11 | 0.99156 | -0.16119 | 0.0029631 | 0.00074263
12 | 0.99137 | -0.16492 | 0.0014312 | 0.00035869
13 | 0.99129 | -0.16651 | 0.0018497 | 0.00046357
14 | 0.9716 | -0.54742 | 0 | 0
15 | 0.9723 | -0.53359 | 0.0063523 | 0.001592
16 | 0.97045 | -0.57024 | 0 | 0
17 | 0.97341 | -0.51176 | 0.0048156 | 0.0012069
18 | 0.97345 | -0.51097 | 0 | 0
19 | 0.97364 | -0.50716 | 0.01416 | 0.003549
20 | 0.97465 | -0.48734 | 0 | 0
21 | 0.97503 | -0.47986 | 0.0081452 | 0.0020414
22 | 0.97874 | -0.40719 | 0 | 0
23 | 0.9858 | -0.27051 | 0 | 0
24 | 0.97038 | -0.5716 | 0.0089637 | 0.0022465
25 | 0.97027 | -0.57387 | 0.0070454 | 0.0017658
26 | 0.99578 | -0.081108 | 0.0031621 | 0.0007925
27 | 0.99585 | -0.07981 | 0.0013608 | 0.00034106
28 | 0.99832 | -0.031808 | 0.0022408 | 0.0005616
29 | 0.99835 | -0.031226 | 0.0025349 | 0.00063532
30 | 0.99818 | -0.034605 | 0.0027959 | 0.00070073
31 | 0.99854 | -0.027571 | 0 | 0
32 | 0.99815 | -0.035089 | 0.0038694 | 0.00096976
33 | 1 | 0 | -0.2122 | -0.053519
34 | 0.9981 | -0.03603 | 0.0024793 | 0.00062136
35 | 0.99685 | -0.060557 | 0.064842 | 0.016251
36 | 0.99871 | -0.024751 | 0.0013909 | 0.00034859
37 | 0.99684 | -0.060767 | 0.0024653 | 0.00061787
38 | 0.99902 | -0.018741 | 0.0019336 | 0.00048462
39 | 0.99667 | -0.064032 | 0 | 0
40 | 0.99647 | -0.067815 | 0.0036273 | 0.00090909
41 | 0.99661 | -0.065098 | 0.0039283 | 0.00098453
42 | 0.99668 | -0.062883 | 0.0042201 | 0.0010577
43 | 0.99599 | -0.07706 | 0 | 0
44 | 0.99606 | -0.075871 | 0 | 0
45 | 0.99622 | -0.07279 | 0.0027868 | 0.00069843
46 | 0.99605 | -0.075981 | 0 | 0
47 | 0.99378 | -0.11828 | 0.0027041 | 0.00067772
48 | 0.9943 | -0.10828 | 0.0020222 | 0.00050681
49 | 0.99368 | -0.12018 | 0.0020001 | 0.00050128
50 | 0.99311 | -0.13134 | 0.0024519 | 0.0006145
51 | 0.9955 | -0.085448 | 0.0042598 | 0.0010676
52 | 0.99295 | -0.1343 | 0.0024181 | 0.00060604
53 | 0.99601 | -0.076688 | 0.0012508 | 0.00031347
54 | 0.99218 | -0.14921 | 0.0040915 | 0.0010254
55 | 0.9924 | -0.14491 | 0.0028433 | 0.00071259
56 | 0.99162 | -0.16018 | 0 | 0
57 | 0.98533 | -0.2797 | 0.0020462 | 0.00051282
58 | 0.98532 | -0.27981 | 0.0038643 | 0.00096848
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.062318 | -0.016007 | 0.062373 | 0.016041 | 5.4723e-05 | 3.4806e-05 | 0.093483 | 0.093483 | 0.093483 | 0.99343 | -0.12475 | 0.99438 | -0.10668 | 25.6821
1 | 0.061566 | 0.015818 | -0.061512 | -0.015784 | 5.4145e-05 | 3.4434e-05 | 0.092356 | 0.092357 | 0.092357 | 0.99343 | -0.12475 | 0.99247 | -0.14288 | 25.3727
2 | -0.10057 | -0.025641 | 0.10068 | 0.025707 | 0.00010321 | 6.5428e-05 | 0.15065 | 0.15065 | 0.15065 | 0.99438 | -0.10668 | 0.9955 | -0.085448 | 20.6943
3 | 0.0382 | 0.0095998 | -0.038197 | -0.009598 | 2.9067e-06 | 1.8295e-06 | 0.057172 | 0.057172 | 0.057172 | 0.99438 | -0.10668 | 0.9943 | -0.10828 | 15.7066
4 | 0.058691 | 0.015077 | -0.058648 | -0.015049 | 4.3074e-05 | 2.7376e-05 | 0.088127 | 0.088127 | 0.088127 | 0.99247 | -0.14288 | 0.99168 | -0.158 | 24.2108
5 | -0.0077884 | -0.0019516 | 0.0077885 | 0.0019516 | 8.56e-08 | 3.3241e-08 | 0.011689 | 0.011689 | 0.011689 | 0.99143 | -0.16382 | 0.99144 | -0.16359 | 3.2113
6 | 0.0046161 | 0.0011565 | -0.0046158 | -0.0011565 | 3.5465e-07 | -2.7079e-08 | 0.0069281 | 0.0069282 | 0.0069282 | 0.99143 | -0.16382 | 0.99134 | -0.16543 | 1.9034
7 | -0.012194 | -0.0030556 | 0.012196 | 0.0030567 | 1.9787e-06 | 1.0632e-06 | 0.018301 | 0.018301 | 0.018301 | 0.99144 | -0.16359 | 0.99162 | -0.16018 | 5.0277
8 | 0.0031993 | 0.00080155 | -0.0031992 | -0.00080162 | 8.7486e-08 | -7.4442e-08 | 0.0048021 | 0.0048021 | 0.0048021 | 0.99134 | -0.16543 | 0.99131 | -0.16601 | 1.3193
9 | 0.0018497 | 0.0004634 | -0.0018497 | -0.00046357 | 4.4381e-08 | -1.6952e-07 | 0.0027764 | 0.0027765 | 0.0027765 | 0.99131 | -0.16601 | 0.99129 | -0.16651 | 0.76278
10 | 0.056316 | 0.014465 | -0.05614 | -0.014353 | 0.00017593 | 0.00011175 | 0.084628 | 0.084628 | 0.084628 | 0.99168 | -0.158 | 0.9883 | -0.22255 | 23.2495
11 | 0.05614 | 0.014353 | -0.05601 | -0.014271 | 0.00012992 | 8.2531e-05 | 0.084628 | 0.084628 | 0.084628 | 0.9883 | -0.22255 | 0.9858 | -0.27051 | 23.2496
12 | 0.0014313 | 0.00035799 | -0.0014312 | -0.00035847 | 7.0657e-08 | -4.8139e-07 | 0.0021479 | 0.0021481 | 0.0021481 | 0.99145 | -0.16341 | 0.9914 | -0.16445 | 0.59013
13 | -0.0044363 | -0.0011111 | 0.0044368 | 0.001111 | 4.6929e-07 | -6.3769e-08 | 0.0066579 | 0.0066578 | 0.0066579 | 0.99145 | -0.16341 | 0.99156 | -0.16119 | 1.8291
14 | 0.0014312 | 0.00035847 | -0.0014312 | -0.00035869 | 3.2101e-08 | -2.1865e-07 | 0.0021481 | 0.0021482 | 0.0021482 | 0.9914 | -0.16445 | 0.99137 | -0.16492 | 0.59016
15 | -0.0073999 | -0.0018537 | 0.0074002 | 0.0018538 | 3.5497e-07 | 1.2816e-07 | 0.011105 | 0.011104 | 0.011105 | 0.99156 | -0.16119 | 0.99162 | -0.16018 | 3.0507
16 | -0.016028 | -0.0040233 | 0.016039 | 0.0040295 | 1.0581e-05 | 6.1917e-06 | 0.02455 | 0.02455 | 0.02455 | 0.9716 | -0.54742 | 0.9723 | -0.53359 | 6.7444
17 | 0.016028 | 0.0040233 | -0.016011 | -0.0040131 | 1.7427e-05 | 1.0199e-05 | 0.02455 | 0.02455 | 0.02455 | 0.9716 | -0.54742 | 0.97045 | -0.57024 | 6.7445
18 | -0.022391 | -0.0056216 | 0.022415 | 0.0056364 | 2.4191e-05 | 1.48e-05 | 0.034271 | 0.034271 | 0.034271 | 0.9723 | -0.53359 | 0.97345 | -0.51097 | 9.4151
19 | 0.016011 | 0.0040131 | -0.01601 | -0.0040125 | 1.0389e-06 | 6.0813e-07 | 0.02455 | 0.02455 | 0.02455 | 0.97045 | -0.57024 | 0.97038 | -0.5716 | 6.7445
20 | -0.0048156 | -0.0012069 | 0.0048157 | 0.0012069 | 1.8081e-07 | 5.1081e-09 | 0.0073614 | 0.0073613 | 0.0073614 | 0.97341 | -0.51176 | 0.97345 | -0.51097 | 2.0224
21 | -0.027231 | -0.0068433 | 0.027236 | 0.0068463 | 4.9479e-06 | 3.072e-06 | 0.041632 | 0.041632 | 0.041632 | 0.97345 | -0.51097 | 0.97364 | -0.50716 | 11.4374
22 | -0.041397 | -0.010395 | 0.041436 | 0.01042 | 3.9197e-05 | 2.4761e-05 | 0.063274 | 0.063274 | 0.063274 | 0.97364 | -0.50716 | 0.97465 | -0.48734 | 17.3829
23 | -0.041436 | -0.01042 | 0.041451 | 0.010429 | 1.4808e-05 | 9.3539e-06 | 0.063274 | 0.063273 | 0.063274 | 0.97465 | -0.48734 | 0.97503 | -0.47986 | 17.3828
24 | -0.049596 | -0.012471 | 0.049769 | 0.01258 | 0.00017277 | 0.00010957 | 0.075704 | 0.075704 | 0.075704 | 0.97503 | -0.47986 | 0.97874 | -0.40719 | 20.7978
25 | -0.049769 | -0.01258 | 0.050097 | 0.012789 | 0.00032853 | 0.00020832 | 0.075704 | 0.075703 | 0.075704 | 0.97874 | -0.40719 | 0.9858 | -0.27051 | 20.7977
26 | 0.0059131 | 0.0014818 | -0.0059105 | -0.0014813 | 2.5883e-06 | 5.5247e-07 | 0.0089255 | 0.0089259 | 0.0089259 | 0.9858 | -0.27051 | 0.98533 | -0.2797 | 2.4522
27 | 0.0070462 | 0.001766 | -0.0070454 | -0.0017658 | 7.6206e-07 | 2.7271e-07 | 0.010805 | 0.010805 | 0.010805 | 0.97038 | -0.5716 | 0.97027 | -0.57387 | 2.9684
28 | -0.0031621 | -0.0007925 | 0.0031623 | 0.00079232 | 1.9565e-07 | -1.7879e-07 | 0.0047252 | 0.0047251 | 0.0047252 | 0.99578 | -0.081108 | 0.99585 | -0.07981 | 1.2981
29 | -0.0045231 | -0.0011334 | 0.0045237 | 0.0011333 | 5.9249e-07 | -7.0925e-08 | 0.0067585 | 0.0067583 | 0.0067585 | 0.99585 | -0.07981 | 0.99599 | -0.07706 | 1.8567
30 | -0.0089071 | -0.0022323 | 0.0089074 | 0.0022324 | 2.4702e-07 | 1.0922e-07 | 0.013276 | 0.013276 | 0.013276 | 0.99832 | -0.031808 | 0.99835 | -0.031226 | 3.6473
31 | 0.0066663 | 0.0016707 | -0.0066654 | -0.0016704 | 8.8814e-07 | 2.548e-07 | 0.0099362 | 0.0099363 | 0.0099363 | 0.99832 | -0.031808 | 0.99818 | -0.034605 | 2.7298
32 | -0.011442 | -0.0028677 | 0.011444 | 0.0028688 | 1.9927e-06 | 1.0364e-06 | 0.017054 | 0.017054 | 0.017054 | 0.99835 | -0.031226 | 0.99854 | -0.027571 | 4.6853
33 | 0.0038695 | 0.00096972 | -0.0038694 | -0.00096976 | 8.9296e-08 | -3.6395e-08 | 0.0057683 | 0.0057683 | 0.0057683 | 0.99818 | -0.034605 | 0.99815 | -0.035089 | 1.5847
34 | -0.12338 | -0.031514 | 0.12355 | 0.031619 | 0.00016469 | 0.00010472 | 0.18407 | 0.18407 | 0.18407 | 0.99854 | -0.027571 | 1 | 0 | 25.2845
35 | 0.11194 | 0.028645 | -0.11189 | -0.028616 | 4.5825e-05 | 2.9099e-05 | 0.16702 | 0.16702 | 0.16702 | 0.99854 | -0.027571 | 0.9981 | -0.03603 | 22.942
36 | 0.087001 | 0.0219 | -0.086924 | -0.02185 | 7.7861e-05 | 4.9669e-05 | 0.12949 | 0.12949 | 0.12949 | 1 | 0 | 0.99902 | -0.018741 | 35.5751
37 | 0.10941 | 0.027995 | -0.10927 | -0.027905 | 0.00014203 | 9.0159e-05 | 0.16332 | 0.16332 | 0.16332 | 0.9981 | -0.03603 | 0.99668 | -0.062883 | 22.4343
38 | -0.083432 | -0.020911 | 0.083575 | 0.021002 | 0.00014258 | 9.0932e-05 | 0.12454 | 0.12454 | 0.12454 | 0.99685 | -0.060557 | 0.99871 | -0.024751 | 34.2145
39 | 0.018591 | 0.0046599 | -0.01859 | -0.0046598 | 1.8564e-07 | 1.1043e-07 | 0.027751 | 0.027751 | 0.027751 | 0.99685 | -0.060557 | 0.99684 | -0.060767 | 7.6238
40 | -0.084966 | -0.02135 | 0.08499 | 0.021366 | 2.4383e-05 | 1.5552e-05 | 0.12661 | 0.12661 | 0.12661 | 0.99871 | -0.024751 | 0.99902 | -0.018741 | 34.7838
41 | 0.016125 | 0.0040419 | -0.016123 | -0.0040405 | 2.5081e-06 | 1.4547e-06 | 0.024071 | 0.024071 | 0.024071 | 0.99684 | -0.060767 | 0.99667 | -0.064032 | 6.6128
42 | 0.012194 | 0.003056 | -0.012192 | -0.0030548 | 2.1975e-06 | 1.176e-06 | 0.018205 | 0.018206 | 0.018206 | 0.99667 | -0.064032 | 0.99647 | -0.067815 | 5.0015
43 | 0.0039285 | 0.00098446 | -0.0039283 | -0.00098453 | 1.9957e-07 | -7.3871e-08 | 0.0058652 | 0.0058653 | 0.0058653 | 0.99667 | -0.064032 | 0.99661 | -0.065098 | 1.6113
44 | 0.0085645 | 0.0021457 | -0.0085624 | -0.0021449 | 2.029e-06 | 8.6773e-07 | 0.012789 | 0.012789 | 0.012789 | 0.99647 | -0.067815 | 0.99622 | -0.07279 | 3.5135
45 | 0.10505 | 0.026847 | -0.10494 | -0.026774 | 0.00011451 | 7.2644e-05 | 0.15702 | 0.15702 | 0.15702 | 0.99668 | -0.062883 | 0.9955 | -0.085448 | 21.5689
46 | -0.0045237 | -0.0011333 | 0.004524 | 0.0011333 | 2.561e-07 | -3.0702e-08 | 0.0067583 | 0.0067582 | 0.0067583 | 0.99599 | -0.07706 | 0.99606 | -0.075871 | 1.8567
47 | 0.0012508 | 0.00031302 | -0.0012508 | -0.00031308 | 6.5432e-09 | -6.0866e-08 | 0.0018684 | 0.0018685 | 0.0018685 | 0.99606 | -0.075871 | 0.99605 | -0.075981 | 0.51331
48 | -0.0057748 | -0.0014463 | 0.0057756 | 0.0014464 | 8.4706e-07 | 1.4698e-07 | 0.0086267 | 0.0086265 | 0.0086267 | 0.99606 | -0.075871 | 0.99622 | -0.07279 | 2.37
49 | 0.0012508 | 0.00031308 | -0.0012508 | -0.00031347 | 4.2134e-08 | -3.9189e-07 | 0.0018685 | 0.0018686 | 0.0018686 | 0.99605 | -0.075981 | 0.99601 | -0.076688 | 0.51335
50 | -0.036157 | -0.0090804 | 0.036174 | 0.0090912 | 1.7269e-05 | 1.0849e-05 | 0.054146 | 0.054146 | 0.054146 | 0.99378 | -0.11828 | 0.9943 | -0.10828 | 14.8752
51 | 0.033453 | 0.0084026 | -0.03345 | -0.0084007 | 3.0334e-06 | 1.8996e-06 | 0.050097 | 0.050097 | 0.050097 | 0.99378 | -0.11828 | 0.99368 | -0.12018 | 13.7629
52 | 0.03145 | 0.0078995 | -0.031433 | -0.007889 | 1.6727e-05 | 1.0445e-05 | 0.047102 | 0.047102 | 0.047102 | 0.99368 | -0.12018 | 0.99311 | -0.13134 | 12.94
53 | 0.028981 | 0.0072745 | -0.028977 | -0.007272 | 4.1012e-06 | 2.5498e-06 | 0.043428 | 0.043428 | 0.043428 | 0.99311 | -0.13134 | 0.99295 | -0.1343 | 11.9308
54 | 0.026559 | 0.0066659 | -0.026546 | -0.0066576 | 1.3423e-05 | 8.2986e-06 | 0.039804 | 0.039804 | 0.039804 | 0.99295 | -0.1343 | 0.9924 | -0.14491 | 10.9353
55 | -0.023698 | -0.0059421 | 0.023702 | 0.005945 | 4.8664e-06 | 2.9818e-06 | 0.035541 | 0.035541 | 0.035541 | 0.99218 | -0.14921 | 0.9924 | -0.14491 | 9.7641
56 | 0.019606 | 0.0049166 | -0.019596 | -0.0049105 | 1.0244e-05 | 6.1486e-06 | 0.029405 | 0.029405 | 0.029405 | 0.99218 | -0.14921 | 0.99162 | -0.16018 | 8.0783
57 | 0.0038643 | 0.00096848 | -0.0038643 | -0.00096848 | 2.088e-08 | -7.4609e-09 | 0.0058358 | 0.0058358 | 0.0058358 | 0.98533 | -0.2797 | 0.98532 | -0.27981 | 1.6032

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21359 | 0.053867

## res_load
| p_mw | q_mvar
0 | 0.00075202 | 0.00018847
1 | 0.0028208 | 0.00070697
2 | 0.0031722 | 0.00079504
3 | 0.0044051 | 0.001104
4 | 0.0014165 | 0.000355
5 | 0.0013495 | 0.00033822
6 | 0.0023323 | 0.00058453
7 | 0.003005 | 0.00075312
8 | 0.0029631 | 0.00074263
9 | 0.0014312 | 0.00035869
10 | 0.0018497 | 0.00046357
11 | 0.0063523 | 0.001592
12 | 0.0048156 | 0.0012069
13 | 0.01416 | 0.003549
14 | 0.0081452 | 0.0020414
15 | 0.0089637 | 0.0022465
16 | 0.0070454 | 0.0017658
17 | 0.0031621 | 0.0007925
18 | 0.0013608 | 0.00034106
19 | 0.0022408 | 0.0005616
20 | 0.0025349 | 0.00063532
21 | 0.0027959 | 0.00070073
22 | 0.0038694 | 0.00096976
23 | 0.0013904 | 0.00034847
24 | 0.0024793 | 0.00062136
25 | 0.064842 | 0.016251
26 | 0.0013909 | 0.00034859
27 | 0.0024653 | 0.00061787
28 | 0.0019336 | 0.00048462
29 | 0.0036273 | 0.00090909
30 | 0.0039283 | 0.00098453
31 | 0.0042201 | 0.0010577
32 | 0.0027868 | 0.00069843
33 | 0.0027041 | 0.00067772
34 | 0.0020222 | 0.00050681
35 | 0.0020001 | 0.00050128
36 | 0.0024519 | 0.0006145
37 | 0.0042598 | 0.0010676
38 | 0.0024181 | 0.00060604
39 | 0.0012508 | 0.00031347
40 | 0.0040915 | 0.0010254
41 | 0.0028433 | 0.00071259
42 | 0.0020462 | 0.00051282
43 | 0.0038643 | 0.00096848

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1