## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_136-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_136-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_136-1_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_136-1_0_3_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_136-1_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_136-1_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_136-1_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_136-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_136-1_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_136-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_136-1_0_3_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_136-1_0_3_node_106 | 0.4 | n |  | TRUE
13 | bus_LV_136-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_136-1_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_136-1_0_3_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_136-1_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_136-1_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_136-1_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_136-1_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_136-1_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_136-1_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_136-1_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_136-1_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_136-1_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_136-1_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_136-1_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_136-1_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_136-1_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_136-1_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_136-1_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_136-1_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_136-1_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_136-1_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_136-1_0_3_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_136-1_0_3_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_136-1_0_3_node_103 | 0.4 | n |  | TRUE
37 | bus_LV_136-1_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_136-1_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_136-1_0_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_136-1_0_3_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_136-1_0_3_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_136-1_0_3_node_104 | 0.4 | n |  | TRUE
43 | bus_MV_349_2_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-1_0_3_load_0 | 0 | 0.0019694 | 0.00049357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-1_0_3_load_36 | 4 | 0.0002649 | 6.6389e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-1_0_3_load_25 | 6 | 0.012737 | 0.0031923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-1_0_3_load_28 | 7 | 0.00050269 | 0.00012598 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-1_0_3_load_42 | 9 | 0.01603 | 0.0040175 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-1_0_3_load_40 | 11 | 0.012577 | 0.003152 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-1_0_3_load_106 | 12 | 0.013912 | 0.0034866 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-1_0_3_load_105 | 15 | 0.014287 | 0.0035805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-1_0_3_load_52 | 16 | 0.0023955 | 0.00060036 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-1_0_3_load_22 | 19 | 0.098622 | 0.024717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-1_0_3_load_23 | 20 | 0.0059804 | 0.0014988 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-1_0_3_load_24 | 21 | 0.019277 | 0.0048312 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-1_0_3_load_26 | 22 | 0.0049211 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-1_0_3_load_37 | 24 | 0.00095672 | 0.00023978 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-1_0_3_load_29 | 26 | 0.0011634 | 0.00029157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-1_0_3_load_30 | 27 | 0.00065142 | 0.00016326 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-1_0_3_load_31 | 28 | 0.0012962 | 0.00032485 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-1_0_3_load_33 | 30 | 0.00026629 | 6.6739e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-1_0_3_load_35 | 33 | 0.00018845 | 4.723e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-1_0_3_load_102 | 34 | 0.001666 | 0.00041753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-1_0_3_load_103 | 36 | 0.012861 | 0.0032232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-1_0_3_load_43 | 37 | 0.012875 | 0.0032269 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-1_0_3_load_47 | 38 | 0.0022716 | 0.00056932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-1_0_3_load_51 | 39 | 0.0046406 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-1_0_3_load_99 | 40 | 0.01177 | 0.0029499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-1_0_3_load_100 | 41 | 0.012052 | 0.0030204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-1_0_3_load_104 | 42 | 0.01659 | 0.0041579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-1_0_3_line_0 |  | 0 | 1 | 0.018849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-1_0_3_line_1 |  | 1 | 2 | 0.048078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-1_0_3_line_2 |  | 2 | 3 | 0.062323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_136-1_0_3_line_3 |  | 2 | 4 | 0.0096726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_136-1_0_3_line_4 |  | 3 | 7 | 0.0084198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_136-1_0_3_line_5 |  | 4 | 32 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_136-1_0_3_line_6 |  | 5 | 6 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_136-1_0_3_line_7 |  | 5 | 7 | 0.0085401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_136-1_0_3_line_8 |  | 6 | 21 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_136-1_0_3_line_9 |  | 8 | 9 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-1_0_3_line_10 |  | 8 | 10 | 0.02812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_136-1_0_3_line_11 |  | 8 | 11 | 0.023547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_136-1_0_3_line_12 |  | 9 | 37 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_136-1_0_3_line_13 |  | 10 | 12 | 0.026648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_136-1_0_3_line_14 |  | 11 | 31 | 0.0091872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_136-1_0_3_line_15 |  | 12 | 15 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_136-1_0_3_line_16 |  | 13 | 14 | 0.089751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_136-1_0_3_line_17 |  | 13 | 15 | 0.047242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_136-1_0_3_line_18 |  | 13 | 16 | 0.099126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_136-1_0_3_line_19 |  | 14 | 17 | 0.00617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_136-1_0_3_line_20 |  | 16 | 39 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-1_0_3_line_21 |  | 17 | 18 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_136-1_0_3_line_22 |  | 18 | 19 | 0.044135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_136-1_0_3_line_23 |  | 18 | 20 | 0.045789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-1_0_3_line_24 |  | 21 | 22 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_136-1_0_3_line_25 |  | 22 | 23 | 0.026637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_136-1_0_3_line_26 |  | 23 | 24 | 0.0093531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-1_0_3_line_27 |  | 23 | 25 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-1_0_3_line_28 |  | 24 | 34 | 0.0291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-1_0_3_line_29 |  | 25 | 35 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-1_0_3_line_30 |  | 25 | 36 | 0.027747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-1_0_3_line_31 |  | 26 | 27 | 0.05782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_136-1_0_3_line_32 |  | 26 | 28 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_136-1_0_3_line_33 |  | 27 | 29 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_136-1_0_3_line_34 |  | 28 | 30 | 0.0079044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_136-1_0_3_line_35 |  | 29 | 31 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_136-1_0_3_line_36 |  | 30 | 32 | 0.0073758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_136-1_0_3_line_37 |  | 32 | 33 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_136-1_0_3_line_38 |  | 35 | 40 | 0.042278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-1_0_3_line_39 |  | 36 | 42 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-1_0_3_line_40 |  | 38 | 39 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-1_0_3_line_41 |  | 40 | 41 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-1_0_3_trafo_22 | 0.63 MVA 20/0.4 kV | 43 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2682721.0625 | 1238014.0699 | 2682719.2828 | 1238012.0215 | 2682716.8269 | 1238010.186 | 2682713.9469 | 1238009.4676 | 2682703.9236 | 1238008.2142
1 | 2682734.6043 | 1237981.0017 | 2682735.9034 | 1237986.0456 | 2682736.6627 | 1237992.3607 | 2682737.3427 | 1238000.5648 | 2682736.5659 | 1238012.8739 | 2682729.3666 | 1238012.1064 | 2682725.574 | 1238012.2648 | 2682722.4977 | 1238013.1448 | 2682721.0625 | 1238014.0699
2 | 2682734.6043 | 1237981.0017 | 2682730.3348 | 1237976.2945 | 2682717.7685 | 1237968.1359 | 2682709.8703 | 1237950.7358 | 2682705.8841 | 1237947.4112 | 2682703.8864 | 1237943.0915 | 2682701.9644 | 1237938.2279 | 2682700.8955 | 1237936.7564 | 2682698.5495 | 1237935.7119 | 2682696.1943 | 1237935.3344
3 | 2682734.6043 | 1237981.0017 | 2682737.7809 | 1237975.6421 | 2682738.4913 | 1237972.2738
4 | 2682696.1943 | 1237935.3344 | 2682695.5214 | 1237934.2131 | 2682689.53 | 1237930.381
5 | 2682740.9889 | 1237960.4316 | 2682738.4913 | 1237972.2738
6 | 2682685.2651 | 1237935.1043 | 2682677.2517 | 1237927.5986 | 2682677.7702 | 1237925.836
7 | 2682685.2651 | 1237935.1043 | 2682686.3515 | 1237929.8935 | 2682689.5149 | 1237930.3712 | 2682689.53 | 1237930.381
8 | 2682684.9855 | 1237906.1498 | 2682683.5928 | 1237909.5963 | 2682680.1186 | 1237917.8538 | 2682677.7702 | 1237925.836
9 | 2682847.2251 | 1237913.3233 | 2682847.7961 | 1237905.4813 | 2682847.7151 | 1237895.125
10 | 2682847.2251 | 1237913.3233 | 2682854.2182 | 1237915.8671 | 2682854.9644 | 1237927.9861 | 2682863.4707 | 1237927.2709
11 | 2682847.2251 | 1237913.3233 | 2682825.1682 | 1237905.0812
12 | 2682847.7151 | 1237895.125 | 2682847.644 | 1237886.0209 | 2682846.8299 | 1237874.1424
13 | 2682863.4707 | 1237927.2709 | 2682862.6122 | 1237925.9024 | 2682860.97 | 1237921.5987 | 2682859.2521 | 1237913.5023 | 2682857.7726 | 1237901.4436
14 | 2682816.5622 | 1237901.8654 | 2682825.1682 | 1237905.0812
15 | 2682856.478 | 1237885.1316 | 2682857.615 | 1237900.1589 | 2682857.7726 | 1237901.4436
16 | 2682840.8425 | 1237758.6134 | 2682840.8539 | 1237772.4345 | 2682841.4496 | 1237783.9621 | 2682845.9941 | 1237783.603 | 2682847.3184 | 1237803.6468 | 2682848.4756 | 1237821.0197 | 2682851.6545 | 1237820.9306 | 2682851.8423 | 1237825.3586 | 2682852.7509 | 1237828.0176 | 2682855.4674 | 1237829.0785 | 2682854.2929 | 1237835.1664 | 2682854.2086 | 1237837.9561
17 | 2682854.2086 | 1237837.9561 | 2682854.1226 | 1237840.8681 | 2682854.5999 | 1237853.2836 | 2682855.1653 | 1237863.7322 | 2682855.9415 | 1237878.0421 | 2682856.478 | 1237885.1316
18 | 2682854.2086 | 1237837.9561 | 2682950.7594 | 1237815.5099
19 | 2682840.8425 | 1237758.6134 | 2682834.6665 | 1237758.227
20 | 2682950.7594 | 1237815.5099 | 2682948.9203 | 1237805.2658 | 2682950.3762 | 1237798.8334
21 | 2682820.4443 | 1237769.4922 | 2682825.0434 | 1237761.4284 | 2682827.8045 | 1237756.5857 | 2682834.6665 | 1237758.227
22 | 2682820.4443 | 1237769.4922 | 2682796.0233 | 1237806.2557
23 | 2682820.4443 | 1237769.4922 | 2682793.0152 | 1237759.3805 | 2682787.6705 | 1237766.1219 | 2682779.7515 | 1237765.3999
24 | 2682684.9855 | 1237906.1498 | 2682690.515 | 1237892.4655
25 | 2682698.3561 | 1237867.0494 | 2682695.528 | 1237878.3514 | 2682692.7294 | 1237886.9852 | 2682690.515 | 1237892.4655
26 | 2682698.3561 | 1237867.0494 | 2682707.3868 | 1237869.4839
27 | 2682701.7923 | 1237841.4346 | 2682699.5567 | 1237846.5849 | 2682695.6173 | 1237866.5109 | 2682698.3561 | 1237867.0494
28 | 2682735.4167 | 1237877.2882 | 2682730.3677 | 1237875.679 | 2682707.3868 | 1237869.4839
29 | 2682724.8474 | 1237830.4256 | 2682707.7838 | 1237837.1372 | 2682704.5306 | 1237838.7597 | 2682701.7923 | 1237841.4346
30 | 2682701.7923 | 1237841.4346 | 2682701.3187 | 1237837.4141 | 2682699.1367 | 1237833.2919 | 2682692.9626 | 1237825.7116 | 2682687.0753 | 1237820.3592 | 2682685.8059 | 1237820.0742
31 | 2682749.1325 | 1237928.7448 | 2682753.4953 | 1237928.9279 | 2682783.2871 | 1237937.7493 | 2682790.3499 | 1237916.5097
32 | 2682749.1325 | 1237928.7448 | 2682749.1325 | 1237928.7448 | 2682744.7924 | 1237945.6323
33 | 2682797.162 | 1237896.0241 | 2682790.3499 | 1237916.5097
34 | 2682742.8248 | 1237953.2879 | 2682744.7924 | 1237945.6323
35 | 2682816.5622 | 1237901.8654 | 2682797.162 | 1237896.0241
36 | 2682740.9889 | 1237960.4316 | 2682742.8248 | 1237953.2879
37 | 2682740.9889 | 1237960.4316 | 2682760.7625 | 1237966.6693
38 | 2682724.8474 | 1237830.4256 | 2682728.1022 | 1237824.3444 | 2682734.2349 | 1237809.9196 | 2682735.3343 | 1237804.8646 | 2682740.5467 | 1237791.2987
39 | 2682665.9272 | 1237812.3259 | 2682668.544 | 1237816.1983 | 2682685.8059 | 1237820.0742
40 | 2682950.3762 | 1237798.8334 | 2682953.1975 | 1237786.3684
41 | 2682740.5467 | 1237791.2987 | 2682749.8226 | 1237767.1569

## bus_geodata
| x | y | coords
0 | 2682703.9236 | 1238008.2142
1 | 2682721.0625 | 1238014.0699
2 | 2682734.6043 | 1237981.0017
3 | 2682696.1943 | 1237935.3344
4 | 2682738.4913 | 1237972.2738
5 | 2682685.2651 | 1237935.1043
6 | 2682677.7702 | 1237925.836
7 | 2682689.53 | 1237930.381
8 | 2682847.2251 | 1237913.3233
9 | 2682847.7151 | 1237895.125
10 | 2682863.4707 | 1237927.2709
11 | 2682825.1682 | 1237905.0812
12 | 2682857.7726 | 1237901.4436
13 | 2682854.2086 | 1237837.9561
14 | 2682840.8425 | 1237758.6134
15 | 2682856.478 | 1237885.1316
16 | 2682950.7594 | 1237815.5099
17 | 2682834.6665 | 1237758.227
18 | 2682820.4443 | 1237769.4922
19 | 2682796.0233 | 1237806.2557
20 | 2682779.7515 | 1237765.3999
21 | 2682684.9855 | 1237906.1498
22 | 2682690.515 | 1237892.4655
23 | 2682698.3562 | 1237867.0494
24 | 2682707.3868 | 1237869.4839
25 | 2682701.7923 | 1237841.4346
26 | 2682749.1325 | 1237928.7448
27 | 2682790.3499 | 1237916.5097
28 | 2682744.7924 | 1237945.6323
29 | 2682797.162 | 1237896.0241
30 | 2682742.8248 | 1237953.2879
31 | 2682816.5622 | 1237901.8654
32 | 2682740.9889 | 1237960.4316
33 | 2682760.7625 | 1237966.6693
34 | 2682735.4167 | 1237877.2882
35 | 2682724.8474 | 1237830.4256
36 | 2682685.8059 | 1237820.0742
37 | 2682846.8299 | 1237874.1424
38 | 2682953.1975 | 1237786.3684
39 | 2682950.3762 | 1237798.8334
40 | 2682740.5467 | 1237791.2987
41 | 2682749.8226 | 1237767.1569
42 | 2682665.9272 | 1237812.3259
43 | 2682820.4443 | 1237769.4922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97947 | -0.39359 | 0.0019694 | 0.00049357
1 | 0.97951 | -0.39291 | 0 | 0
2 | 0.9796 | -0.39119 | 0 | 0
3 | 0.97779 | -0.42648 | 0 | 0
4 | 0.97988 | -0.38561 | 0.0002649 | 6.6389e-05
5 | 0.9773 | -0.43608 | 0 | 0
6 | 0.97693 | -0.44332 | 0.012737 | 0.0031923
7 | 0.97755 | -0.43126 | 0.00050269 | 0.00012598
8 | 0.98538 | -0.27909 | 0 | 0
9 | 0.98489 | -0.28855 | 0.01603 | 0.0040175
10 | 0.9866 | -0.25545 | 0 | 0
11 | 0.98456 | -0.29485 | 0.012577 | 0.003152
12 | 0.98776 | -0.23311 | 0.013912 | 0.0034866
13 | 0.99101 | -0.17075 | 0 | 0
14 | 0.99594 | -0.07661 | 0 | 0
15 | 0.98854 | -0.21806 | 0.014287 | 0.0035805
16 | 0.99016 | -0.18714 | 0.0023955 | 0.00060036
17 | 0.99628 | -0.070172 | 0 | 0
18 | 0.99749 | -0.047345 | 0 | 0
19 | 1 | 0 | -0.18915 | -0.048286
20 | 0.99724 | -0.052143 | 0.0059804 | 0.0014988
21 | 0.97641 | -0.45356 | 0.019277 | 0.0048312
22 | 0.97599 | -0.46177 | 0.0049211 | 0.0012334
23 | 0.9746 | -0.48906 | 0 | 0
24 | 0.97458 | -0.48951 | 0.00095672 | 0.00023978
25 | 0.97317 | -0.51718 | 0 | 0
26 | 0.98122 | -0.35951 | 0.0011634 | 0.00029157
27 | 0.98299 | -0.3252 | 0.00065142 | 0.00016326
28 | 0.9807 | -0.36976 | 0.0012962 | 0.00032485
29 | 0.98366 | -0.31234 | 0 | 0
30 | 0.98046 | -0.37434 | 0.00026629 | 6.6739e-05
31 | 0.98428 | -0.30031 | 0 | 0
32 | 0.98024 | -0.37861 | 0 | 0
33 | 0.98024 | -0.37868 | 0.00018845 | 4.723e-05
34 | 0.97453 | -0.4904 | 0.001666 | 0.00041753
35 | 0.9726 | -0.52847 | 0 | 0
36 | 0.97241 | -0.53223 | 0.012861 | 0.0032232
37 | 0.98464 | -0.29341 | 0.012875 | 0.0032269
38 | 0.99003 | -0.18974 | 0.0022716 | 0.00056932
39 | 0.99005 | -0.18923 | 0.0046406 | 0.0011631
40 | 0.97166 | -0.54704 | 0.01177 | 0.0029499
41 | 0.97137 | -0.5528 | 0.012052 | 0.0030204
42 | 0.97207 | -0.53907 | 0.01659 | 0.0041579
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019694 | -0.00049357 | 0.0019694 | 0.00049337 | 6.327e-08 | -1.9676e-07 | 0.0029919 | 0.0029918 | 0.0029919 | 0.97947 | -0.39359 | 0.97951 | -0.39291 | 0.82194
1 | -0.0019694 | -0.00049337 | 0.0019696 | 0.00049287 | 1.6136e-07 | -5.0195e-07 | 0.0029918 | 0.0029916 | 0.0029918 | 0.97951 | -0.39291 | 0.9796 | -0.39119 | 0.82192
2 | 0.093839 | 0.023708 | -0.093681 | -0.023609 | 0.00015844 | 9.9052e-05 | 0.14261 | 0.14261 | 0.14261 | 0.9796 | -0.39119 | 0.97779 | -0.42648 | 13.0597
3 | -0.095809 | -0.0242 | 0.095834 | 0.024216 | 2.5632e-05 | 1.6039e-05 | 0.1456 | 0.1456 | 0.1456 | 0.9796 | -0.39119 | 0.97988 | -0.38561 | 13.3335
4 | 0.093681 | 0.023609 | -0.093659 | -0.023595 | 2.1405e-05 | 1.3383e-05 | 0.14261 | 0.14261 | 0.14261 | 0.97779 | -0.42648 | 0.97755 | -0.43126 | 13.0597
5 | -0.096099 | -0.024283 | 0.096131 | 0.024303 | 3.225e-05 | 2.0182e-05 | 0.146 | 0.146 | 0.146 | 0.97988 | -0.38561 | 0.98024 | -0.37861 | 13.3704
6 | 0.093135 | 0.023456 | -0.093103 | -0.023436 | 3.2235e-05 | 2.0149e-05 | 0.14185 | 0.14185 | 0.14185 | 0.9773 | -0.43608 | 0.97693 | -0.44332 | 12.9896
7 | -0.093135 | -0.023456 | 0.093157 | 0.023469 | 2.1479e-05 | 1.3425e-05 | 0.14185 | 0.14185 | 0.14185 | 0.9773 | -0.43608 | 0.97755 | -0.43126 | 12.9896
8 | 0.080366 | 0.020243 | -0.080326 | -0.020219 | 3.935e-05 | 2.4396e-05 | 0.12245 | 0.12245 | 0.12245 | 0.97693 | -0.44332 | 0.97641 | -0.45356 | 11.213
9 | 0.028922 | 0.0072542 | -0.028908 | -0.007246 | 1.3034e-05 | 8.1095e-06 | 0.043676 | 0.043677 | 0.043677 | 0.98538 | -0.27909 | 0.98489 | -0.28855 | 11.999
10 | -0.14168 | -0.035906 | 0.14184 | 0.036008 | 0.00016111 | 0.00010203 | 0.21409 | 0.21409 | 0.21409 | 0.98538 | -0.27909 | 0.9866 | -0.25545 | 19.6056
11 | 0.11276 | 0.028652 | -0.11267 | -0.028598 | 8.5479e-05 | 5.3808e-05 | 0.17042 | 0.17042 | 0.17042 | 0.98538 | -0.27909 | 0.98456 | -0.29485 | 15.6059
12 | 0.012878 | 0.0032285 | -0.012875 | -0.0032269 | 2.9829e-06 | 1.6418e-06 | 0.019457 | 0.019458 | 0.019458 | 0.98489 | -0.28855 | 0.98464 | -0.29341 | 5.3455
13 | -0.14184 | -0.036008 | 0.14199 | 0.036105 | 0.00015268 | 9.669e-05 | 0.21409 | 0.21409 | 0.21409 | 0.9866 | -0.25545 | 0.98776 | -0.23311 | 19.6055
14 | 0.1001 | 0.025446 | -0.10007 | -0.02543 | 2.6327e-05 | 1.6499e-05 | 0.15141 | 0.15141 | 0.15141 | 0.98456 | -0.29485 | 0.98428 | -0.30031 | 13.8653
15 | -0.1559 | -0.039592 | 0.15602 | 0.039663 | 0.00011301 | 7.17e-05 | 0.23505 | 0.23505 | 0.23505 | 0.98776 | -0.23311 | 0.98854 | -0.21806 | 21.5246
16 | -0.18001 | -0.045827 | 0.18083 | 0.046349 | 0.00082114 | 0.00052204 | 0.27054 | 0.27054 | 0.27054 | 0.99101 | -0.17075 | 0.99594 | -0.07661 | 24.7748
17 | 0.17069 | 0.043491 | -0.1703 | -0.043244 | 0.00038869 | 0.00024694 | 0.25655 | 0.25655 | 0.25655 | 0.99101 | -0.17075 | 0.98854 | -0.21806 | 23.4939
18 | 0.0093158 | 0.0023362 | -0.0093085 | -0.0023328 | 7.2738e-06 | 3.3792e-06 | 0.013988 | 0.013989 | 0.013989 | 0.99101 | -0.17075 | 0.99016 | -0.18714 | 3.8431
19 | -0.18083 | -0.046349 | 0.18089 | 0.046385 | 5.6449e-05 | 3.5887e-05 | 0.27054 | 0.27054 | 0.27054 | 0.99594 | -0.07661 | 0.99628 | -0.070172 | 24.7747
20 | 0.006913 | 0.0017325 | -0.0069123 | -0.0017323 | 6.8817e-07 | 2.2175e-07 | 0.010389 | 0.010389 | 0.010389 | 0.99016 | -0.18714 | 0.99005 | -0.18923 | 2.8541
21 | -0.18089 | -0.046385 | 0.18109 | 0.046512 | 0.00020048 | 0.00012745 | 0.27054 | 0.27054 | 0.27054 | 0.99628 | -0.070172 | 0.99749 | -0.047345 | 24.7747
22 | -0.18707 | -0.048011 | 0.1875 | 0.048285 | 0.00043087 | 0.00027402 | 0.27946 | 0.27946 | 0.27946 | 0.99749 | -0.047345 | 1 | 0 | 25.5918
23 | 0.0059817 | 0.0014991 | -0.0059804 | -0.0014988 | 1.3673e-06 | 2.7749e-07 | 0.0089233 | 0.0089235 | 0.0089235 | 0.99749 | -0.047345 | 0.99724 | -0.052143 | 2.4515
24 | 0.061049 | 0.015388 | -0.061025 | -0.015373 | 2.397e-05 | 1.4972e-05 | 0.093069 | 0.093069 | 0.093069 | 0.97641 | -0.45356 | 0.97599 | -0.46177 | 12.7842
25 | 0.056104 | 0.014139 | -0.056031 | -0.014093 | 7.3135e-05 | 4.6474e-05 | 0.085566 | 0.085566 | 0.085566 | 0.97599 | -0.46177 | 0.9746 | -0.48906 | 23.5072
26 | 0.0026228 | 0.0006569 | -0.0026227 | -0.00065699 | 5.624e-08 | -8.0555e-08 | 0.0040043 | 0.0040044 | 0.0040044 | 0.9746 | -0.48906 | 0.97458 | -0.48951 | 1.1001
27 | 0.053408 | 0.013436 | -0.053337 | -0.013391 | 7.164e-05 | 4.5492e-05 | 0.081562 | 0.081562 | 0.081562 | 0.9746 | -0.48906 | 0.97317 | -0.51718 | 22.4072
28 | 0.001666 | 0.00041721 | -0.001666 | -0.00041753 | 7.0609e-08 | -3.1741e-07 | 0.0025436 | 0.0025437 | 0.0025437 | 0.97458 | -0.48951 | 0.97453 | -0.4904 | 0.69883
29 | 0.023859 | 0.005993 | -0.023846 | -0.0059851 | 1.285e-05 | 7.9044e-06 | 0.036486 | 0.036486 | 0.036486 | 0.97317 | -0.51718 | 0.9726 | -0.52847 | 10.0238
30 | 0.029478 | 0.0073975 | -0.029456 | -0.0073843 | 2.1141e-05 | 1.3186e-05 | 0.045076 | 0.045076 | 0.045076 | 0.97317 | -0.51718 | 0.97241 | -0.53223 | 12.3835
31 | -0.099135 | -0.025089 | 0.099298 | 0.025191 | 0.00016354 | 0.00010247 | 0.15042 | 0.15042 | 0.15042 | 0.98122 | -0.35951 | 0.98299 | -0.3252 | 13.7752
32 | 0.097972 | 0.024797 | -0.097923 | -0.024767 | 4.8168e-05 | 3.0167e-05 | 0.14866 | 0.14866 | 0.14866 | 0.98122 | -0.35951 | 0.9807 | -0.36976 | 13.6136
33 | -0.09995 | -0.025355 | 0.10001 | 0.025394 | 6.1864e-05 | 3.8772e-05 | 0.15141 | 0.15141 | 0.15141 | 0.98299 | -0.3252 | 0.98366 | -0.31234 | 13.8654
34 | 0.096627 | 0.024442 | -0.096606 | -0.024429 | 2.1262e-05 | 1.3309e-05 | 0.14669 | 0.14669 | 0.14669 | 0.9807 | -0.36976 | 0.98046 | -0.37434 | 13.4335
35 | -0.10001 | -0.025394 | 0.10007 | 0.02543 | 5.7902e-05 | 3.6288e-05 | 0.15141 | 0.15141 | 0.15141 | 0.98366 | -0.31234 | 0.98428 | -0.30031 | 13.8654
36 | 0.09634 | 0.024362 | -0.09632 | -0.02435 | 1.9731e-05 | 1.2349e-05 | 0.14629 | 0.14629 | 0.14629 | 0.98046 | -0.37434 | 0.98024 | -0.37861 | 13.3965
37 | 0.00018845 | 4.6969e-05 | -0.00018845 | -4.723e-05 | 6.3609e-10 | -2.6097e-07 | 0.00028597 | 0.00028607 | 0.00028607 | 0.98024 | -0.37861 | 0.98024 | -0.37868 | 0.07859
38 | 0.023846 | 0.0059851 | -0.023825 | -0.0059721 | 2.1106e-05 | 1.2984e-05 | 0.036486 | 0.036487 | 0.036487 | 0.9726 | -0.52847 | 0.97166 | -0.54704 | 10.0238
39 | 0.016595 | 0.004161 | -0.01659 | -0.0041579 | 5.4091e-06 | 3.1845e-06 | 0.025396 | 0.025396 | 0.025396 | 0.97241 | -0.53223 | 0.97207 | -0.53907 | 6.9768
40 | -0.0022716 | -0.00056932 | 0.0022717 | 0.00056919 | 5.5868e-08 | -1.2859e-07 | 0.0034143 | 0.0034142 | 0.0034143 | 0.99003 | -0.18974 | 0.99005 | -0.18923 | 0.93799
41 | 0.012055 | 0.0030222 | -0.012052 | -0.0030204 | 3.3055e-06 | 1.7953e-06 | 0.018461 | 0.018462 | 0.018462 | 0.97166 | -0.54704 | 0.97137 | -0.5528 | 5.0719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28777 | 0.073003

## res_load
| p_mw | q_mvar
0 | 0.0019694 | 0.00049357
1 | 0.0002649 | 6.6389e-05
2 | 0.012737 | 0.0031923
3 | 0.00050269 | 0.00012598
4 | 0.01603 | 0.0040175
5 | 0.012577 | 0.003152
6 | 0.013912 | 0.0034866
7 | 0.014287 | 0.0035805
8 | 0.0023955 | 0.00060036
9 | 0.098622 | 0.024717
10 | 0.0059804 | 0.0014988
11 | 0.019277 | 0.0048312
12 | 0.0049211 | 0.0012334
13 | 0.00095672 | 0.00023978
14 | 0.0011634 | 0.00029157
15 | 0.00065142 | 0.00016326
16 | 0.0012962 | 0.00032485
17 | 0.00026629 | 6.6739e-05
18 | 0.00018845 | 4.723e-05
19 | 0.001666 | 0.00041753
20 | 0.012861 | 0.0032232
21 | 0.012875 | 0.0032269
22 | 0.0022716 | 0.00056932
23 | 0.0046406 | 0.0011631
24 | 0.01177 | 0.0029499
25 | 0.012052 | 0.0030204
26 | 0.01659 | 0.0041579

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1