## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_136-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_136-2_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_136-2_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_136-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_136-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_136-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_136-2_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_136-2_0_3_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_136-2_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_136-2_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_136-2_0_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_136-2_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_136-2_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_136-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_136-2_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_136-2_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_136-2_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_136-2_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_136-2_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_136-2_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_136-2_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_136-2_0_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_136-2_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_136-2_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_136-2_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_136-2_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_136-2_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_136-2_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_136-2_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_136-2_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_136-2_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_136-2_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_136-2_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_136-2_0_3_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_136-2_0_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_136-2_0_3_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_136-2_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_136-2_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_136-2_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_136-2_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_136-2_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_136-2_0_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_136-2_0_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_136-2_0_3_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_136-2_0_3_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_136-2_0_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_136-2_0_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_136-2_0_3_node_92 | 0.4 | n |  | TRUE
49 | bus_MV_349_2_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-2_0_3_load_0 | 0 | 0.0079169 | 0.0019842 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-2_0_3_load_1 | 1 | 0.0019603 | 0.00049129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-2_0_3_load_3 | 2 | 0.0037824 | 0.00094795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-2_0_3_load_5 | 5 | 0.0066331 | 0.0016624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-2_0_3_load_94 | 8 | 0.0028756 | 0.0007207 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-2_0_3_load_33 | 9 | 0.0094257 | 0.0023623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-2_0_3_load_36 | 11 | 0.013527 | 0.0033903 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-2_0_3_load_8 | 12 | 0.031219 | 0.0078242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-2_0_3_load_12 | 16 | 0.019576 | 0.0049061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-2_0_3_load_14 | 17 | 0.0057426 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-2_0_3_load_38 | 18 | 0.033078 | 0.00829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-2_0_3_load_13 | 20 | 0.013918 | 0.0034883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-2_0_3_load_39 | 22 | 0.0024097 | 0.00060393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-2_0_3_load_16 | 23 | 0.050103 | 0.012557 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-2_0_3_load_17 | 24 | 0.0040688 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-2_0_3_load_24 | 25 | 0.018484 | 0.0046324 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-2_0_3_load_41 | 26 | 0.0049401 | 0.0012381 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-2_0_3_load_25 | 27 | 0.0011421 | 0.00028625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-2_0_3_load_26 | 28 | 0.0011418 | 0.00028617 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-2_0_3_load_27 | 29 | 0.0010153 | 0.00025445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-2_0_3_load_28 | 30 | 0.0016462 | 0.00041257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-2_0_3_load_29 | 31 | 0.0026289 | 0.00065886 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-2_0_3_load_31 | 33 | 0.00084532 | 0.00021186 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-2_0_3_load_76 | 34 | 0.0016466 | 0.00041269 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-2_0_3_load_73 | 35 | 0.0017684 | 0.00044319 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-2_0_3_load_86 | 36 | 0.0012531 | 0.00031407 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-2_0_3_load_49 | 39 | 0.0040142 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_136-2_0_3_load_50 | 40 | 0.0019606 | 0.00049138 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_136-2_0_3_load_51 | 41 | 0.0060408 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_136-2_0_3_load_84 | 42 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_136-2_0_3_load_87 | 43 | 0.00099472 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_136-2_0_3_load_88 | 44 | 0.00099017 | 0.00024816 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_136-2_0_3_load_89 | 45 | 0.00099472 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_136-2_0_3_load_90 | 46 | 0.00098949 | 0.00024799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_136-2_0_3_load_91 | 47 | 0.00099472 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_136-2_0_3_load_92 | 48 | 0.00099473 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-2_0_3_line_0 |  | 0 | 1 | 0.035076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-2_0_3_line_1 |  | 1 | 2 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-2_0_3_line_2 |  | 2 | 6 | 0.033925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_136-2_0_3_line_3 |  | 3 | 4 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_136-2_0_3_line_4 |  | 3 | 5 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_136-2_0_3_line_5 |  | 4 | 7 | 0.03329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_136-2_0_3_line_6 |  | 4 | 8 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_136-2_0_3_line_7 |  | 5 | 9 | 0.030742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_136-2_0_3_line_8 |  | 6 | 10 | 0.048444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_136-2_0_3_line_9 |  | 7 | 36 | 0.031805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-2_0_3_line_10 |  | 7 | 33 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_136-2_0_3_line_11 |  | 9 | 19 | 0.041845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_136-2_0_3_line_12 |  | 10 | 11 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_136-2_0_3_line_13 |  | 11 | 15 | 0.037329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_136-2_0_3_line_14 |  | 12 | 13 | 0.0064663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_136-2_0_3_line_15 |  | 13 | 17 | 0.023097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_136-2_0_3_line_16 |  | 14 | 15 | 0.037144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_136-2_0_3_line_17 |  | 14 | 16 | 0.031264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_136-2_0_3_line_18 |  | 15 | 18 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_136-2_0_3_line_19 |  | 16 | 19 | 0.054753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_136-2_0_3_line_20 |  | 17 | 22 | 0.018628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-2_0_3_line_21 |  | 19 | 37 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_136-2_0_3_line_22 |  | 20 | 21 | 0.032423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_136-2_0_3_line_23 |  | 21 | 23 | 0.063252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-2_0_3_line_24 |  | 21 | 24 | 0.0087763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_136-2_0_3_line_25 |  | 22 | 38 | 0.023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_136-2_0_3_line_26 |  | 23 | 25 | 0.081289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-2_0_3_line_27 |  | 24 | 26 | 0.036137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-2_0_3_line_28 |  | 26 | 38 | 0.0036382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-2_0_3_line_29 |  | 27 | 28 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-2_0_3_line_30 |  | 27 | 29 | 0.0056006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-2_0_3_line_31 |  | 28 | 30 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_136-2_0_3_line_32 |  | 29 | 31 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_136-2_0_3_line_33 |  | 30 | 32 | 0.0071564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_136-2_0_3_line_34 |  | 31 | 33 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_136-2_0_3_line_35 |  | 32 | 34 | 0.02505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_136-2_0_3_line_36 |  | 32 | 35 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_136-2_0_3_line_37 |  | 34 | 42 | 0.007609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_136-2_0_3_line_38 |  | 36 | 43 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-2_0_3_line_39 |  | 37 | 38 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-2_0_3_line_40 |  | 37 | 39 | 0.01959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-2_0_3_line_41 |  | 39 | 40 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_136-2_0_3_line_42 |  | 40 | 41 | 0.0065948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_136-2_0_3_line_43 |  | 43 | 44 | 0.00092644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_136-2_0_3_line_44 |  | 44 | 45 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_136-2_0_3_line_45 |  | 45 | 46 | 0.0053648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_136-2_0_3_line_46 |  | 46 | 47 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_136-2_0_3_line_47 |  | 47 | 48 | 0.0050691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-2_0_3_trafo_39 | 0.63 MVA 20/0.4 kV | 49 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682969.1388 | 1238709.6433 | 2682957.9772 | 1238727.5705 | 2682952.3379 | 1238740.3386
1 | 2682946.3083 | 1238753.9906 | 2682952.3379 | 1238740.3386
2 | 2682935.3881 | 1238786.1078 | 2682946.1266 | 1238754.4018 | 2682946.3083 | 1238753.9906
3 | 2682998.7437 | 1238662.0934 | 2683006.8929 | 1238646.8075
4 | 2682998.7437 | 1238662.0934 | 2683018.3969 | 1238671.8305
5 | 2682977.4509 | 1238631.1071 | 2683006.8929 | 1238646.8075
6 | 2683006.8929 | 1238646.8075 | 2683015.5362 | 1238637.3675
7 | 2683048.3774 | 1238665.031 | 2683018.3969 | 1238671.8305
8 | 2682983.3822 | 1238784.7216 | 2682958.6473 | 1238788.9569 | 2682945.8056 | 1238788.1992 | 2682935.3881 | 1238786.1078
9 | 2682977.4509 | 1238631.1071 | 2682988.4185 | 1238618.2178 | 2682998.6013 | 1238607.3666
10 | 2682977.4509 | 1238631.1071 | 2682968.1331 | 1238625.8744
11 | 2683089.1857 | 1238655.7757 | 2683048.3774 | 1238665.031
12 | 2682983.3822 | 1238784.7216 | 2682996.8724 | 1238780.2181 | 2683001.1342 | 1238778.4049
13 | 2683034.0132 | 1238760.8567 | 2683011.1942 | 1238774.125 | 2683001.1342 | 1238778.4049
14 | 2683111.0013 | 1238704.4823 | 2683110.6159 | 1238710.937
15 | 2683111.0013 | 1238704.4823 | 2683111.7395 | 1238692.2839 | 2683113.4898 | 1238681.549
16 | 2683062.4441 | 1238736.8594 | 2683034.0132 | 1238760.8567
17 | 2683062.4441 | 1238736.8594 | 2683068.6795 | 1238706.223
18 | 2683034.0132 | 1238760.8567 | 2683043.7879 | 1238770.5003 | 2683043.4216 | 1238784.5955
19 | 2683089.1857 | 1238655.7757 | 2683071.3148 | 1238693.2746 | 2683068.6795 | 1238706.223
20 | 2683113.4898 | 1238681.549 | 2683115.2648 | 1238670.6623 | 2683114.9592 | 1238663.0711
21 | 2683091.8641 | 1238638.9901 | 2683091.205 | 1238650.9449 | 2683089.1857 | 1238655.7757
22 | 2683162.2038 | 1238634.5158 | 2683174.4922 | 1238664.5204
23 | 2683162.2038 | 1238634.5158 | 2683170.2915 | 1238631.2156 | 2683186.2233 | 1238622.5547 | 2683199.939 | 1238611.7169 | 2683212.3664 | 1238597.4748
24 | 2683162.2038 | 1238634.5158 | 2683153.5267 | 1238635.8312
25 | 2683114.0244 | 1238639.8563 | 2683114.9592 | 1238663.0711
26 | 2683212.3664 | 1238597.4748 | 2683290.5455 | 1238619.7447
27 | 2683153.5267 | 1238635.8312 | 2683130.311 | 1238639.3505 | 2683117.6608 | 1238639.7434
28 | 2683114.0244 | 1238639.8563 | 2683117.6608 | 1238639.7434
29 | 2682948.2328 | 1238597.4476 | 2682948.0777 | 1238594.2261 | 2682952.1488 | 1238583.0655
30 | 2682948.2328 | 1238597.4476 | 2682948.5021 | 1238603.0417
31 | 2682959.5275 | 1238571.7007 | 2682953.6707 | 1238578.8933 | 2682952.1488 | 1238583.0655
32 | 2682950.8995 | 1238613.7358 | 2682948.8457 | 1238610.1815 | 2682948.5021 | 1238603.0417
33 | 2682964.0462 | 1238566.1514 | 2682959.5275 | 1238571.7007
34 | 2682950.8995 | 1238613.7358 | 2682953.0042 | 1238617.3781 | 2682968.1331 | 1238625.8744
35 | 2682964.0462 | 1238566.1514 | 2682980.794 | 1238547.5235
36 | 2682964.0462 | 1238566.1514 | 2682961.9601 | 1238554.1137 | 2682962.0213 | 1238550.633
37 | 2682980.794 | 1238547.5235 | 2682985.8812 | 1238541.8651
38 | 2682998.6013 | 1238607.3666 | 2683014.79 | 1238590.1153
39 | 2683091.8641 | 1238638.9901 | 2683114.0244 | 1238639.8563
40 | 2683091.8641 | 1238638.9901 | 2683095.36 | 1238619.7141
41 | 2683095.36 | 1238619.7141 | 2683099.5699 | 1238596.5009 | 2683099.5041 | 1238593.8783
42 | 2683099.5041 | 1238593.8783 | 2683099.4243 | 1238590.6948 | 2683099.3432 | 1238587.2855
43 | 2683014.79 | 1238590.1153 | 2683015.424 | 1238589.4397
44 | 2683029.533 | 1238574.4045 | 2683015.424 | 1238589.4397
45 | 2683029.533 | 1238574.4045 | 2683033.2041 | 1238570.4925
46 | 2683044.5927 | 1238561.2555 | 2683035.0933 | 1238568.4792 | 2683033.2041 | 1238570.4925
47 | 2683044.5927 | 1238561.2555 | 2683048.6276 | 1238558.1871

## bus_geodata
| x | y | coords
0 | 2682969.1388 | 1238709.6433
1 | 2682952.3379 | 1238740.3386
2 | 2682946.3083 | 1238753.9906
3 | 2682998.7437 | 1238662.0934
4 | 2683006.8929 | 1238646.8075
5 | 2683018.3969 | 1238671.8305
6 | 2682935.3881 | 1238786.1078
7 | 2682977.4509 | 1238631.1071
8 | 2683015.5362 | 1238637.3675
9 | 2683048.3774 | 1238665.031
10 | 2682983.3822 | 1238784.7216
11 | 2683001.1342 | 1238778.4049
12 | 2683110.6159 | 1238710.937
13 | 2683111.0013 | 1238704.4823
14 | 2683062.4441 | 1238736.8594
15 | 2683034.0132 | 1238760.8567
16 | 2683068.6795 | 1238706.223
17 | 2683113.4898 | 1238681.549
18 | 2683043.4216 | 1238784.5955
19 | 2683089.1857 | 1238655.7757
20 | 2683174.4922 | 1238664.5204
21 | 2683162.2038 | 1238634.5158
22 | 2683114.9592 | 1238663.0711
23 | 2683212.3664 | 1238597.4748
24 | 2683153.5267 | 1238635.8312
25 | 2683290.5455 | 1238619.7447
26 | 2683117.6608 | 1238639.7434
27 | 2682948.2328 | 1238597.4476
28 | 2682952.1488 | 1238583.0655
29 | 2682948.5021 | 1238603.0417
30 | 2682959.5275 | 1238571.7007
31 | 2682950.8995 | 1238613.7358
32 | 2682964.0462 | 1238566.1514
33 | 2682968.1331 | 1238625.8744
34 | 2682980.794 | 1238547.5235
35 | 2682962.0213 | 1238550.633
36 | 2682998.6013 | 1238607.3666
37 | 2683091.8641 | 1238638.9901
38 | 2683114.0244 | 1238639.8563
39 | 2683095.36 | 1238619.7141
40 | 2683099.5041 | 1238593.8783
41 | 2683099.3432 | 1238587.2855
42 | 2682985.8812 | 1238541.8651
43 | 2683014.79 | 1238590.1153
44 | 2683015.424 | 1238589.4397
45 | 2683029.533 | 1238574.4045
46 | 2683033.2041 | 1238570.4925
47 | 2683044.5927 | 1238561.2555
48 | 2683048.6276 | 1238558.1871
49 | 2683114.0244 | 1238639.8563

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9826 | -0.33548 | 0.0079169 | 0.0019842
1 | 0.98285 | -0.33047 | 0.0019603 | 0.00049129
2 | 0.98299 | -0.32781 | 0.0037824 | 0.00094795
3 | 0.99011 | -0.18965 | 0 | 0
4 | 0.98972 | -0.19715 | 0 | 0
5 | 0.9906 | -0.18015 | 0.0066331 | 0.0016624
6 | 0.98342 | -0.31945 | 0 | 0
7 | 0.98907 | -0.20988 | 0 | 0
8 | 0.98969 | -0.1978 | 0.0028756 | 0.0007207
9 | 0.99147 | -0.16325 | 0.0094257 | 0.0023623
10 | 0.98403 | -0.30753 | 0 | 0
11 | 0.98426 | -0.3029 | 0.013527 | 0.0033903
12 | 0.99854 | -0.028128 | 0.031219 | 0.0078242
13 | 0.99872 | -0.0246 | 0 | 0
14 | 0.98726 | -0.24453 | 0 | 0
15 | 0.9852 | -0.28465 | 0 | 0
16 | 0.989 | -0.2109 | 0.019576 | 0.0049061
17 | 0.99937 | -0.012008 | 0.0057426 | 0.0014392
18 | 0.98435 | -0.3012 | 0.033078 | 0.00829
19 | 0.99302 | -0.1333 | 0 | 0
20 | 0.99337 | -0.12698 | 0.013918 | 0.0034883
21 | 0.99378 | -0.11901 | 0 | 0
22 | 1 | 0 | -0.26477 | -0.066856
23 | 0.9898 | -0.19589 | 0.050103 | 0.012557
24 | 0.99444 | -0.10624 | 0.0040688 | 0.0010197
25 | 0.98843 | -0.22266 | 0.018484 | 0.0046324
26 | 0.99731 | -0.051258 | 0.0049401 | 0.0012381
27 | 0.9885 | -0.2209 | 0.0011421 | 0.00028625
28 | 0.98838 | -0.22322 | 0.0011418 | 0.00028617
29 | 0.98855 | -0.21992 | 0.0010153 | 0.00025445
30 | 0.98829 | -0.22506 | 0.0016462 | 0.00041257
31 | 0.98866 | -0.21775 | 0.0026289 | 0.00065886
32 | 0.98825 | -0.2258 | 0 | 0
33 | 0.98893 | -0.2126 | 0.00084532 | 0.00021186
34 | 0.98816 | -0.22762 | 0.0016466 | 0.00041269
35 | 0.98822 | -0.2263 | 0.0017684 | 0.00044319
36 | 0.98886 | -0.21397 | 0.0012531 | 0.00031407
37 | 0.99493 | -0.096791 | 0 | 0
38 | 0.99761 | -0.045425 | 0 | 0
39 | 0.99471 | -0.10094 | 0.0040142 | 0.0010061
40 | 0.99452 | -0.10463 | 0.0019606 | 0.00049138
41 | 0.99448 | -0.10534 | 0.0060408 | 0.001514
42 | 0.98814 | -0.22795 | 0.0024262 | 0.00060807
43 | 0.98873 | -0.21648 | 0.00099472 | 0.0002493
44 | 0.98873 | -0.21657 | 0.00099017 | 0.00024816
45 | 0.98865 | -0.21803 | 0.00099472 | 0.0002493
46 | 0.98864 | -0.21831 | 0.00098949 | 0.00024799
47 | 0.98861 | -0.21883 | 0.00099472 | 0.0002493
48 | 0.9886 | -0.21892 | 0.00099473 | 0.0002493
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0079169 | -0.0019842 | 0.0079188 | 0.0019849 | 1.8906e-06 | 7.656e-07 | 0.011989 | 0.011989 | 0.011989 | 0.9826 | -0.33548 | 0.98285 | -0.33047 | 3.2937
1 | -0.0098791 | -0.0024762 | 0.0098803 | 0.0024768 | 1.252e-06 | 6.121e-07 | 0.014957 | 0.014957 | 0.014957 | 0.98285 | -0.33047 | 0.98299 | -0.32781 | 4.109
2 | -0.013663 | -0.0034248 | 0.013668 | 0.0034278 | 5.4418e-06 | 3.0525e-06 | 0.020682 | 0.020682 | 0.020682 | 0.98299 | -0.32781 | 0.98342 | -0.31945 | 5.682
3 | 0.024382 | 0.0061197 | -0.024373 | -0.0061144 | 8.7192e-06 | 5.3577e-06 | 0.036646 | 0.036646 | 0.036646 | 0.99011 | -0.18965 | 0.98972 | -0.19715 | 10.0675
4 | -0.024382 | -0.0061197 | 0.024393 | 0.0061265 | 1.1045e-05 | 6.7867e-06 | 0.036646 | 0.036646 | 0.036646 | 0.99011 | -0.18965 | 0.9906 | -0.18015 | 10.0675
5 | 0.021497 | 0.0053938 | -0.021484 | -0.0053859 | 1.3042e-05 | 7.9195e-06 | 0.032322 | 0.032322 | 0.032322 | 0.98972 | -0.19715 | 0.98907 | -0.20988 | 8.8798
6 | 0.0028757 | 0.00072059 | -0.0028756 | -0.0007207 | 8.972e-08 | -1.0706e-07 | 0.0043235 | 0.0043235 | 0.0043235 | 0.98972 | -0.19715 | 0.98969 | -0.1978 | 1.1878
7 | -0.031026 | -0.0077889 | 0.031051 | 0.0078045 | 2.5044e-05 | 1.5632e-05 | 0.046609 | 0.046609 | 0.046609 | 0.9906 | -0.18015 | 0.99147 | -0.16325 | 12.8048
8 | -0.013668 | -0.0034278 | 0.013676 | 0.0034322 | 7.7707e-06 | 4.3582e-06 | 0.020682 | 0.020682 | 0.020682 | 0.98342 | -0.31945 | 0.98403 | -0.30753 | 5.6819
9 | 0.0072142 | 0.0018077 | -0.0072128 | -0.0018072 | 1.405e-06 | 4.9107e-07 | 0.010853 | 0.010854 | 0.010854 | 0.98907 | -0.20988 | 0.98886 | -0.21397 | 2.9817
10 | 0.01427 | 0.0035781 | -0.014268 | -0.0035771 | 1.8471e-06 | 1.045e-06 | 0.021469 | 0.021469 | 0.021469 | 0.98907 | -0.20988 | 0.98893 | -0.2126 | 5.8981
11 | -0.040476 | -0.010167 | 0.040534 | 0.010203 | 5.7922e-05 | 3.6529e-05 | 0.060755 | 0.060755 | 0.060755 | 0.99147 | -0.16325 | 0.99302 | -0.1333 | 16.691
12 | -0.013676 | -0.0034322 | 0.013679 | 0.0034339 | 3.0242e-06 | 1.6959e-06 | 0.020682 | 0.020682 | 0.020682 | 0.98403 | -0.30753 | 0.98426 | -0.3029 | 5.6819
13 | -0.027206 | -0.0068242 | 0.02723 | 0.0068389 | 2.3684e-05 | 1.4683e-05 | 0.041133 | 0.041133 | 0.041133 | 0.98426 | -0.3029 | 0.9852 | -0.28465 | 11.3002
14 | -0.031219 | -0.0078242 | 0.031224 | 0.0078274 | 5.2481e-06 | 3.2742e-06 | 0.046522 | 0.046522 | 0.046522 | 0.99854 | -0.028128 | 0.99872 | -0.0246 | 12.7808
15 | -0.031224 | -0.0078274 | 0.031243 | 0.0078391 | 1.8746e-05 | 1.1695e-05 | 0.046522 | 0.046522 | 0.046522 | 0.99872 | -0.0246 | 0.99937 | -0.012008 | 12.7808
16 | 0.060449 | 0.015219 | -0.060334 | -0.015145 | 0.00011569 | 7.3566e-05 | 0.091135 | 0.091135 | 0.091135 | 0.98726 | -0.24453 | 0.9852 | -0.28465 | 25.037
17 | -0.060449 | -0.015219 | 0.060547 | 0.015281 | 9.7375e-05 | 6.192e-05 | 0.091135 | 0.091135 | 0.091135 | 0.98726 | -0.24453 | 0.989 | -0.2109 | 25.037
18 | 0.033104 | 0.0083064 | -0.033078 | -0.00829 | 2.6094e-05 | 1.6346e-05 | 0.050002 | 0.050002 | 0.050002 | 0.9852 | -0.28465 | 0.98435 | -0.3012 | 13.7369
19 | -0.080122 | -0.020187 | 0.080421 | 0.020377 | 0.00029857 | 0.00019038 | 0.12059 | 0.12059 | 0.12059 | 0.989 | -0.2109 | 0.99302 | -0.1333 | 33.1284
20 | -0.036985 | -0.0092784 | 0.037007 | 0.0092917 | 2.1187e-05 | 1.3315e-05 | 0.055072 | 0.055072 | 0.055072 | 0.99937 | -0.012008 | 1 | 0 | 15.1298
21 | -0.12096 | -0.030581 | 0.12117 | 0.030716 | 0.00021222 | 0.0001356 | 0.18134 | 0.18134 | 0.18134 | 0.99302 | -0.1333 | 0.99493 | -0.096791 | 49.8193
22 | -0.013918 | -0.0034883 | 0.013924 | 0.0034912 | 5.2852e-06 | 2.9626e-06 | 0.020849 | 0.020849 | 0.020849 | 0.99337 | -0.12698 | 0.99378 | -0.11901 | 5.7278
23 | 0.068863 | 0.017364 | -0.06861 | -0.017204 | 0.00025236 | 0.00016069 | 0.10315 | 0.10315 | 0.10315 | 0.99378 | -0.11901 | 0.9898 | -0.19589 | 28.3374
24 | -0.082787 | -0.020855 | 0.082837 | 0.020888 | 5.0601e-05 | 3.2271e-05 | 0.124 | 0.124 | 0.124 | 0.99378 | -0.11901 | 0.99444 | -0.10624 | 34.065
25 | 0.22611 | 0.057564 | -0.22562 | -0.057248 | 0.00049408 | 0.0003156 | 0.33677 | 0.33677 | 0.33677 | 1 | 0 | 0.99761 | -0.045425 | 46.2602
26 | 0.018507 | 0.0046465 | -0.018484 | -0.0046324 | 2.3603e-05 | 1.4062e-05 | 0.027826 | 0.027826 | 0.027826 | 0.9898 | -0.19589 | 0.98843 | -0.22266 | 7.6445
27 | -0.086906 | -0.021907 | 0.087135 | 0.022054 | 0.00022932 | 0.00014629 | 0.13008 | 0.13008 | 0.13008 | 0.99444 | -0.10624 | 0.99731 | -0.051258 | 35.7376
28 | -0.092075 | -0.023292 | 0.092101 | 0.023308 | 2.5777e-05 | 1.645e-05 | 0.13746 | 0.13746 | 0.13746 | 0.99731 | -0.051258 | 0.99761 | -0.045425 | 37.7625
29 | 0.0086315 | 0.0021631 | -0.0086305 | -0.0021626 | 9.5628e-07 | 4.1841e-07 | 0.012993 | 0.012993 | 0.012993 | 0.9885 | -0.2209 | 0.98838 | -0.22322 | 3.5696
30 | -0.0097736 | -0.0024493 | 0.0097741 | 0.0024495 | 4.546e-07 | 2.1915e-07 | 0.014712 | 0.014712 | 0.014712 | 0.9885 | -0.2209 | 0.98855 | -0.21992 | 4.0419
31 | 0.0074887 | 0.0018765 | -0.0074881 | -0.0018762 | 6.5381e-07 | 2.4266e-07 | 0.011274 | 0.011274 | 0.011274 | 0.98838 | -0.22322 | 0.98829 | -0.22506 | 3.0973
32 | -0.010789 | -0.002704 | 0.01079 | 0.0027045 | 1.113e-06 | 5.6805e-07 | 0.016241 | 0.016241 | 0.016241 | 0.98855 | -0.21992 | 0.98866 | -0.21775 | 4.4617
33 | 0.0058419 | 0.0014637 | -0.0058417 | -0.0014636 | 2.0762e-07 | 4.1178e-08 | 0.0087957 | 0.0087957 | 0.0087957 | 0.98829 | -0.22506 | 0.98825 | -0.2258 | 2.4164
34 | -0.013419 | -0.0033634 | 0.013423 | 0.0033652 | 3.2978e-06 | 1.8341e-06 | 0.020197 | 0.020197 | 0.020197 | 0.98866 | -0.21775 | 0.98893 | -0.2126 | 5.5487
35 | 0.0040733 | 0.0010206 | -0.0040729 | -0.0010207 | 3.5334e-07 | -9.4787e-08 | 0.0061331 | 0.0061332 | 0.0061332 | 0.98825 | -0.2258 | 0.98816 | -0.22762 | 1.6849
36 | 0.0017684 | 0.00044302 | -0.0017684 | -0.00044319 | 4.1737e-08 | -1.7442e-07 | 0.0026626 | 0.0026627 | 0.0026627 | 0.98825 | -0.2258 | 0.98822 | -0.2263 | 0.73151
37 | 0.0024263 | 0.000608 | -0.0024262 | -0.00060807 | 3.8089e-08 | -7.3096e-08 | 0.0036536 | 0.0036536 | 0.0036536 | 0.98816 | -0.22762 | 0.98814 | -0.22795 | 1.0037
38 | 0.0059597 | 0.0014932 | -0.005959 | -0.001493 | 7.1348e-07 | 1.5317e-07 | 0.0089678 | 0.0089679 | 0.0089679 | 0.98886 | -0.21397 | 0.98873 | -0.21648 | 2.4637
39 | -0.13319 | -0.033729 | 0.13352 | 0.03394 | 0.00032943 | 0.00021054 | 0.19932 | 0.19932 | 0.19932 | 0.99493 | -0.096791 | 0.99761 | -0.045425 | 54.758
40 | 0.01202 | 0.0030133 | -0.012017 | -0.003012 | 2.3741e-06 | 1.2651e-06 | 0.017977 | 0.017977 | 0.017977 | 0.99493 | -0.096791 | 0.99471 | -0.10094 | 4.9387
41 | 0.008003 | 0.002006 | -0.0080016 | -0.0020054 | 1.409e-06 | 5.6156e-07 | 0.011972 | 0.011972 | 0.011972 | 0.99471 | -0.10094 | 0.99452 | -0.10463 | 3.2891
42 | 0.006041 | 0.001514 | -0.0060408 | -0.001514 | 2.0204e-07 | 4.3735e-08 | 0.0090386 | 0.0090386 | 0.0090386 | 0.99452 | -0.10463 | 0.99448 | -0.10534 | 2.4831
43 | 0.0049642 | 0.0012437 | -0.0049642 | -0.0012437 | 1.9391e-08 | 5.2826e-10 | 0.0074709 | 0.0074709 | 0.0074709 | 0.98873 | -0.21648 | 0.98873 | -0.21657 | 2.0524
44 | 0.003974 | 0.00099555 | -0.0039738 | -0.00099563 | 2.7657e-07 | -8.7411e-08 | 0.0059807 | 0.0059808 | 0.0059808 | 0.98873 | -0.21657 | 0.98865 | -0.21803 | 1.6431
45 | 0.002979 | 0.00074633 | -0.002979 | -0.00074638 | 4.0444e-08 | -4.2909e-08 | 0.0044837 | 0.0044837 | 0.0044837 | 0.98865 | -0.21803 | 0.98864 | -0.21831 | 1.2318
46 | 0.0019895 | 0.00049839 | -0.0019895 | -0.00049854 | 4.941e-08 | -1.568e-07 | 0.0029944 | 0.0029944 | 0.0029944 | 0.98864 | -0.21831 | 0.98861 | -0.21883 | 0.82265
47 | 0.00099474 | 0.00024924 | -0.00099473 | -0.0002493 | 4.2613e-09 | -6.2269e-08 | 0.0014972 | 0.0014972 | 0.0014972 | 0.98861 | -0.21883 | 0.9886 | -0.21892 | 0.41133

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26718 | 0.06746

## res_load
| p_mw | q_mvar
0 | 0.0079169 | 0.0019842
1 | 0.0019603 | 0.00049129
2 | 0.0037824 | 0.00094795
3 | 0.0066331 | 0.0016624
4 | 0.0028756 | 0.0007207
5 | 0.0094257 | 0.0023623
6 | 0.013527 | 0.0033903
7 | 0.031219 | 0.0078242
8 | 0.019576 | 0.0049061
9 | 0.0057426 | 0.0014392
10 | 0.033078 | 0.00829
11 | 0.013918 | 0.0034883
12 | 0.0024097 | 0.00060393
13 | 0.050103 | 0.012557
14 | 0.0040688 | 0.0010197
15 | 0.018484 | 0.0046324
16 | 0.0049401 | 0.0012381
17 | 0.0011421 | 0.00028625
18 | 0.0011418 | 0.00028617
19 | 0.0010153 | 0.00025445
20 | 0.0016462 | 0.00041257
21 | 0.0026289 | 0.00065886
22 | 0.00084532 | 0.00021186
23 | 0.0016466 | 0.00041269
24 | 0.0017684 | 0.00044319
25 | 0.0012531 | 0.00031407
26 | 0.0040142 | 0.0010061
27 | 0.0019606 | 0.00049138
28 | 0.0060408 | 0.001514
29 | 0.0024262 | 0.00060807
30 | 0.00099472 | 0.0002493
31 | 0.00099017 | 0.00024816
32 | 0.00099472 | 0.0002493
33 | 0.00098949 | 0.00024799
34 | 0.00099472 | 0.0002493
35 | 0.00099473 | 0.0002493

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1