## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_136-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_136-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_136-3_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_136-3_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_136-3_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_136-3_0_5_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_136-3_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_136-3_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_136-3_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_136-3_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_136-3_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_136-3_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_136-3_0_5_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_136-3_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_136-3_0_5_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_136-3_0_5_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_136-3_0_5_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_136-3_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_136-3_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_136-3_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_136-3_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_136-3_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_136-3_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_136-3_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_136-3_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_136-3_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_136-3_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_136-3_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_136-3_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_136-3_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_136-3_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_136-3_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_136-3_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_136-3_0_5_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_136-3_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_136-3_0_5_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_136-3_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_136-3_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_136-3_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_136-3_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_136-3_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_136-3_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_136-3_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_136-3_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_136-3_0_5_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_136-3_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_136-3_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_136-3_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_136-3_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_136-3_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_136-3_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_136-3_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_136-3_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_136-3_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_136-3_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_136-3_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_136-3_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_136-3_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_136-3_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_136-3_0_5_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_136-3_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_136-3_0_5_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_136-3_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_136-3_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_136-3_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_136-3_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_136-3_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_136-3_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_136-3_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_136-3_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_MV_349_2_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-3_0_5_load_0 | 0 | 0.0041465 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-3_0_5_load_1 | 1 | 0.040781 | 0.010221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-3_0_5_load_3 | 4 | 0.013879 | 0.0034783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-3_0_5_load_23 | 6 | 0.013572 | 0.0034015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-3_0_5_load_6 | 9 | 0.014147 | 0.0035455 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-3_0_5_load_22 | 10 | 0.035615 | 0.0089258 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-3_0_5_load_27 | 11 | 0.0096121 | 0.002409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-3_0_5_load_24 | 12 | 0.01358 | 0.0034035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-3_0_5_load_5 | 13 | 0.037392 | 0.0093714 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-3_0_5_load_73 | 15 | 0.0052301 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-3_0_5_load_63 | 16 | 0.01113 | 0.0027894 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-3_0_5_load_11 | 18 | 0.0067418 | 0.0016897 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-3_0_5_load_12 | 19 | 0.0030129 | 0.00075511 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-3_0_5_load_13 | 20 | 0.0032081 | 0.00080403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-3_0_5_load_16 | 22 | 0.0066591 | 0.0016689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-3_0_5_load_17 | 23 | 0.0037484 | 0.00093944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-3_0_5_load_18 | 24 | 0.0024811 | 0.00062183 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-3_0_5_load_33 | 25 | 0.0023219 | 0.00058191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-3_0_5_load_32 | 26 | 0.0031147 | 0.00078061 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-3_0_5_load_19 | 27 | 0.0053236 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-3_0_5_load_20 | 28 | 0.01358 | 0.0034035 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-3_0_5_load_21 | 29 | 0.0076306 | 0.0019124 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-3_0_5_load_28 | 31 | 0.01357 | 0.003401 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-3_0_5_load_29 | 32 | 0.012579 | 0.0031527 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-3_0_5_load_30 | 33 | 0.004626 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-3_0_5_load_55 | 34 | 0.0092781 | 0.0023253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-3_0_5_load_31 | 35 | 0.0032204 | 0.00080712 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_136-3_0_5_load_34 | 37 | 0.0080914 | 0.0020279 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_136-3_0_5_load_35 | 38 | 0.001546 | 0.00038745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_136-3_0_5_load_36 | 39 | 0.014782 | 0.0037047 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_136-3_0_5_load_37 | 40 | 0.0022219 | 0.00055686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_136-3_0_5_load_43 | 42 | 0.00142 | 0.00035587 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_136-3_0_5_load_41 | 43 | 0.0020835 | 0.00052218 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_136-3_0_5_load_48 | 45 | 0.0086175 | 0.0021597 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_136-3_0_5_load_44 | 47 | 0.015759 | 0.0039496 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_136-3_0_5_load_60 | 48 | 0.0037978 | 0.00095183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_136-3_0_5_load_53 | 49 | 0.0082969 | 0.0020794 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_136-3_0_5_load_42 | 50 | 0.0033963 | 0.0008512 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_136-3_0_5_load_40 | 51 | 0.0043666 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_136-3_0_5_load_62 | 52 | 0.0042134 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_136-3_0_5_load_45 | 54 | 0.0097706 | 0.0024487 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_136-3_0_5_load_50 | 56 | 0.010938 | 0.0027413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_136-3_0_5_load_51 | 57 | 0.0032878 | 0.000824 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_136-3_0_5_load_58 | 58 | 0.0017159 | 0.00043004 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_136-3_0_5_load_71 | 63 | 0.0052829 | 0.001324 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_136-3_0_5_load_56 | 64 | 0.001865 | 0.00046742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_136-3_0_5_load_57 | 65 | 0.0016963 | 0.00042513 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_136-3_0_5_load_64 | 66 | 0.010096 | 0.0025304 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_136-3_0_5_load_70 | 67 | 0.014289 | 0.0035811 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_136-3_0_5_load_67 | 68 | 0.0038111 | 0.00095516 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_136-3_0_5_load_72 | 69 | 0.040965 | 0.010267 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_136-3_0_5_load_68 | 70 | 0.0041572 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-3_0_5_line_0 |  | 0 | 1 | 0.0071567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-3_0_5_line_1 |  | 0 | 2 | 0.020986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-3_0_5_line_2 |  | 2 | 3 | 0.025923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_136-3_0_5_line_3 |  | 3 | 6 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_136-3_0_5_line_4 |  | 3 | 7 | 0.045627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_136-3_0_5_line_5 |  | 4 | 5 | 0.05335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_136-3_0_5_line_6 |  | 5 | 8 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_136-3_0_5_line_7 |  | 5 | 9 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_136-3_0_5_line_8 |  | 6 | 10 | 0.0034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_136-3_0_5_line_9 |  | 7 | 11 | 0.0064379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-3_0_5_line_10 |  | 7 | 12 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_136-3_0_5_line_11 |  | 8 | 16 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_136-3_0_5_line_12 |  | 8 | 14 | 0.037337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_136-3_0_5_line_13 |  | 9 | 13 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_136-3_0_5_line_14 |  | 10 | 28 | 0.020964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_136-3_0_5_line_15 |  | 12 | 30 | 0.020605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_136-3_0_5_line_16 |  | 14 | 15 | 0.038037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_136-3_0_5_line_17 |  | 15 | 17 | 0.0027304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_136-3_0_5_line_18 |  | 17 | 70 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_136-3_0_5_line_19 |  | 18 | 19 | 0.00059497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_136-3_0_5_line_20 |  | 18 | 20 | 0.021066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-3_0_5_line_21 |  | 20 | 21 | 0.0022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_136-3_0_5_line_22 |  | 21 | 22 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_136-3_0_5_line_23 |  | 22 | 23 | 0.00053625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-3_0_5_line_24 |  | 23 | 24 | 0.019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_136-3_0_5_line_25 |  | 24 | 25 | 0.0053362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_136-3_0_5_line_26 |  | 25 | 26 | 0.024039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-3_0_5_line_27 |  | 26 | 35 | 0.0015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-3_0_5_line_28 |  | 27 | 28 | 0.0074715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-3_0_5_line_29 |  | 27 | 29 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-3_0_5_line_30 |  | 30 | 31 | 0.0035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-3_0_5_line_31 |  | 30 | 32 | 0.026862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_136-3_0_5_line_32 |  | 31 | 33 | 0.02688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_136-3_0_5_line_33 |  | 32 | 34 | 0.0028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_136-3_0_5_line_34 |  | 33 | 35 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_136-3_0_5_line_35 |  | 34 | 36 | 0.027945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_136-3_0_5_line_36 |  | 36 | 49 | 0.0065893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_136-3_0_5_line_37 |  | 36 | 41 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_136-3_0_5_line_38 |  | 37 | 38 | 0.0099182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-3_0_5_line_39 |  | 37 | 39 | 0.017522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-3_0_5_line_40 |  | 38 | 40 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-3_0_5_line_41 |  | 39 | 41 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_136-3_0_5_line_42 |  | 40 | 42 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_136-3_0_5_line_43 |  | 42 | 43 | 0.011918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_136-3_0_5_line_44 |  | 43 | 51 | 0.009408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_136-3_0_5_line_45 |  | 44 | 45 | 0.042018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_136-3_0_5_line_46 |  | 44 | 46 | 0.041262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_136-3_0_5_line_47 |  | 44 | 47 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_136-3_0_5_line_48 |  | 45 | 49 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_136-3_0_5_line_49 |  | 46 | 48 | 0.020055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_136-3_0_5_line_50 |  | 47 | 54 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_136-3_0_5_line_51 |  | 48 | 58 | 0.029676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_136-3_0_5_line_52 |  | 50 | 51 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_136-3_0_5_line_53 |  | 52 | 53 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_136-3_0_5_line_54 |  | 53 | 65 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_136-3_0_5_line_55 |  | 54 | 55 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_136-3_0_5_line_56 |  | 55 | 56 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_136-3_0_5_line_57 |  | 56 | 57 | 0.036883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_136-3_0_5_line_58 |  | 57 | 59 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_136-3_0_5_line_59 |  | 58 | 64 | 0.0070633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_136-3_0_5_line_60 |  | 59 | 60 | 0.018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_136-3_0_5_line_61 |  | 60 | 61 | 0.032682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_136-3_0_5_line_62 |  | 60 | 62 | 0.034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_136-3_0_5_line_63 |  | 60 | 63 | 0.023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_136-3_0_5_line_64 |  | 61 | 66 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_136-3_0_5_line_65 |  | 62 | 67 | 0.028782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_136-3_0_5_line_66 |  | 62 | 68 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_136-3_0_5_line_67 |  | 64 | 65 | 0.015734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_136-3_0_5_line_68 |  | 67 | 69 | 0.031037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_136-3_0_5_line_69 |  | 68 | 70 | 0.0018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-3_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 71 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683385.2576 | 1238246.2266 | 2683388.3657 | 1238239.7801
1 | 2683376.1436 | 1238265.1297 | 2683385.2576 | 1238246.2266
2 | 2683376.1436 | 1238265.1297 | 2683353.3816 | 1238252.6014
3 | 2683353.3816 | 1238252.6014 | 2683347.1608 | 1238266.7575 | 2683346.532 | 1238267.8715
4 | 2683313.315 | 1238230.5569 | 2683353.3816 | 1238252.6014
5 | 2683374.2755 | 1238157.9161 | 2683365.6866 | 1238177.9987 | 2683374.1428 | 1238182.9765 | 2683379.5338 | 1238189.1232 | 2683380.4849 | 1238193.5842 | 2683377.5216 | 1238202.0375 | 2683377.5216 | 1238202.0375
6 | 2683353.5353 | 1238146.8393 | 2683374.2755 | 1238157.9161
7 | 2683374.2755 | 1238157.9161 | 2683379.7484 | 1238157.6927 | 2683392.3522 | 1238158.8105
8 | 2683346.532 | 1238267.8715 | 2683344.8438 | 1238270.8623
9 | 2683313.315 | 1238230.5569 | 2683316.1122 | 1238224.7584
10 | 2683313.315 | 1238230.5569 | 2683306.8055 | 1238240.4949 | 2683303.4605 | 1238245.602
11 | 2683353.5353 | 1238146.8393 | 2683346.4025 | 1238161.9169
12 | 2683353.5353 | 1238146.8393 | 2683366.9503 | 1238119.2635 | 2683367.1652 | 1238112.584
13 | 2683411.7924 | 1238162.2518 | 2683402.8396 | 1238159.7406 | 2683392.3522 | 1238158.8105
14 | 2683333.8835 | 1238288.7022 | 2683338.169 | 1238282.6871 | 2683344.8438 | 1238270.8623
15 | 2683292.1708 | 1238262.8389 | 2683303.4605 | 1238245.602
16 | 2683367.1652 | 1238112.584 | 2683347.2042 | 1238109.5795 | 2683329.3923 | 1238108.4036
17 | 2683326.6678 | 1238108.2238 | 2683329.3923 | 1238108.4036
18 | 2683326.6678 | 1238108.2238 | 2683315.9212 | 1238109.0407
19 | 2683209.4152 | 1238382.477 | 2683209.8025 | 1238382.0253
20 | 2683223.5156 | 1238366.0338 | 2683209.8025 | 1238382.0253
21 | 2683224.9905 | 1238364.3139 | 2683223.5156 | 1238366.0338
22 | 2683224.9905 | 1238364.3139 | 2683235.7525 | 1238349.3156
23 | 2683235.7525 | 1238349.3156 | 2683236.0652 | 1238348.8799
24 | 2683247.1587 | 1238333.1427 | 2683243.9718 | 1238337.861 | 2683236.0652 | 1238348.8799
25 | 2683250.1454 | 1238328.7206 | 2683247.1587 | 1238333.1427
26 | 2683250.1454 | 1238328.7206 | 2683263.6004 | 1238308.7999
27 | 2683264.4788 | 1238307.4995 | 2683263.6004 | 1238308.7999
28 | 2683333.8835 | 1238288.7022 | 2683329.5482 | 1238294.7872
29 | 2683323.2823 | 1238303.582 | 2683329.5482 | 1238294.7872
30 | 2683292.1708 | 1238262.8389 | 2683290.3427 | 1238265.9202
31 | 2683292.1708 | 1238262.8389 | 2683285.9375 | 1238259.5714 | 2683282.0239 | 1238265.1315 | 2683270.3177 | 1238259.422
32 | 2683290.3427 | 1238265.9202 | 2683276.6274 | 1238289.0379
33 | 2683267.7714 | 1238258.1801 | 2683270.3177 | 1238259.422
34 | 2683264.4788 | 1238307.4995 | 2683274.3105 | 1238292.9432 | 2683276.6274 | 1238289.0379
35 | 2683242.5589 | 1238247.1099 | 2683244.1163 | 1238246.6426 | 2683267.7714 | 1238258.1801
36 | 2683242.5589 | 1238247.1099 | 2683241.7206 | 1238242.1502 | 2683242.818 | 1238241.0426
37 | 2683230.7261 | 1238256.3285 | 2683242.5589 | 1238247.1099
38 | 2683212.1824 | 1238291.6553 | 2683206.5994 | 1238299.8528
39 | 2683212.1824 | 1238291.6553 | 2683217.0772 | 1238284.4684 | 2683221.7723 | 1238276.9945
40 | 2683194.854 | 1238317.0985 | 2683206.5994 | 1238299.8528
41 | 2683230.7261 | 1238256.3285 | 2683230.1776 | 1238263.6149 | 2683221.7723 | 1238276.9945
42 | 2683194.854 | 1238317.0985 | 2683189.1067 | 1238325.5371
43 | 2683182.3979 | 1238335.3876 | 2683189.1067 | 1238325.5371
44 | 2683177.1021 | 1238343.1635 | 2683182.3979 | 1238335.3876
45 | 2683213.8141 | 1238215.0288 | 2683215.3546 | 1238212.5375 | 2683219.8479 | 1238210.9549 | 2683231.1353 | 1238212.036 | 2683245.857 | 1238220.704 | 2683251.2242 | 1238223.1588
46 | 2683177.4969 | 1238225.5387 | 2683183.6507 | 1238229.0941 | 2683196.72 | 1238222.8727 | 2683211.6234 | 1238218.5784 | 2683213.8141 | 1238215.0288
47 | 2683213.8141 | 1238215.0288 | 2683212.8901 | 1238212.4029 | 2683215.467 | 1238208.2916 | 2683218.4062 | 1238199.9268 | 2683218.6551 | 1238199.5163
48 | 2683242.818 | 1238241.0426 | 2683242.818 | 1238241.0426 | 2683246.1809 | 1238239.1439 | 2683252.1203 | 1238228.8532 | 2683252.5303 | 1238224.9673 | 2683251.2242 | 1238223.1588
49 | 2683177.4969 | 1238225.5387 | 2683167.3777 | 1238242.8537
50 | 2683218.6551 | 1238199.5163 | 2683228.5592 | 1238183.1794 | 2683229.2913 | 1238180.0744
51 | 2683167.3777 | 1238242.8537 | 2683152.4039 | 1238268.4751
52 | 2683177.1021 | 1238343.1635 | 2683167.9796 | 1238356.558
53 | 2683132.2306 | 1238302.9934 | 2683137.9783 | 1238324.0496
54 | 2683132.2306 | 1238302.9934 | 2683140.9011 | 1238288.1574
55 | 2683210.8039 | 1238167.4861 | 2683227.8811 | 1238176.5096 | 2683229.3797 | 1238179.6995 | 2683229.2913 | 1238180.0744
56 | 2683210.8039 | 1238167.4861 | 2683219.3382 | 1238152.1717
57 | 2683219.3382 | 1238152.1717 | 2683237.2923 | 1238119.9542
58 | 2683242.1726 | 1238111.1967 | 2683237.2923 | 1238119.9542
59 | 2683148.8399 | 1238274.5734 | 2683152.4039 | 1238268.4751
60 | 2683242.1726 | 1238111.1967 | 2683251.1602 | 1238113.3687 | 2683260.534 | 1238114.4341
61 | 2683255.8926 | 1238138.9754 | 2683260.6532 | 1238127.5118 | 2683266.4732 | 1238114.4174 | 2683260.534 | 1238114.4341
62 | 2683260.534 | 1238114.4341 | 2683266.4732 | 1238114.4174 | 2683284.3195 | 1238112.8442 | 2683294.3848 | 1238111.54
63 | 2683260.534 | 1238114.4341 | 2683265.4937 | 1238091.0415
64 | 2683255.8926 | 1238138.9754 | 2683267.5701 | 1238144.0872
65 | 2683294.3848 | 1238111.54 | 2683295.9865 | 1238120.858 | 2683295.2212 | 1238127.9523 | 2683292.2834 | 1238134.5936 | 2683290.1606 | 1238139.0427
66 | 2683294.3848 | 1238111.54 | 2683311.9751 | 1238109.3407 | 2683314.0766 | 1238109.1809
67 | 2683148.8399 | 1238274.5734 | 2683140.9011 | 1238288.1574
68 | 2683276.7954 | 1238167.0551 | 2683290.1606 | 1238139.0427
69 | 2683314.0766 | 1238109.1809 | 2683315.9212 | 1238109.0407

## bus_geodata
| x | y | coords
0 | 2683385.2576 | 1238246.2266
1 | 2683388.3657 | 1238239.7801
2 | 2683376.1436 | 1238265.1297
3 | 2683353.3816 | 1238252.6014
4 | 2683377.5216 | 1238202.0375
5 | 2683374.2755 | 1238157.9161
6 | 2683346.532 | 1238267.8715
7 | 2683313.315 | 1238230.5569
8 | 2683353.5353 | 1238146.8393
9 | 2683392.3522 | 1238158.8105
10 | 2683344.8438 | 1238270.8623
11 | 2683316.1122 | 1238224.7584
12 | 2683303.4605 | 1238245.602
13 | 2683411.7924 | 1238162.2518
14 | 2683367.1652 | 1238112.584
15 | 2683329.3923 | 1238108.4036
16 | 2683346.4025 | 1238161.9169
17 | 2683326.6678 | 1238108.2238
18 | 2683209.8025 | 1238382.0253
19 | 2683209.4152 | 1238382.477
20 | 2683223.5156 | 1238366.0338
21 | 2683224.9905 | 1238364.3139
22 | 2683235.7525 | 1238349.3156
23 | 2683236.0652 | 1238348.8799
24 | 2683247.1587 | 1238333.1427
25 | 2683250.1454 | 1238328.7206
26 | 2683263.6004 | 1238308.7999
27 | 2683329.5482 | 1238294.7872
28 | 2683333.8835 | 1238288.7022
29 | 2683323.2823 | 1238303.582
30 | 2683292.1708 | 1238262.8389
31 | 2683290.3427 | 1238265.9202
32 | 2683270.3177 | 1238259.422
33 | 2683276.6274 | 1238289.0379
34 | 2683267.7714 | 1238258.1801
35 | 2683264.4788 | 1238307.4995
36 | 2683242.5589 | 1238247.1099
37 | 2683212.1824 | 1238291.6553
38 | 2683206.5994 | 1238299.8528
39 | 2683221.7723 | 1238276.9945
40 | 2683194.854 | 1238317.0985
41 | 2683230.7261 | 1238256.3285
42 | 2683189.1067 | 1238325.5371
43 | 2683182.3979 | 1238335.3876
44 | 2683213.8141 | 1238215.0288
45 | 2683251.2242 | 1238223.1588
46 | 2683177.4969 | 1238225.5387
47 | 2683218.6551 | 1238199.5163
48 | 2683167.3777 | 1238242.8537
49 | 2683242.818 | 1238241.0426
50 | 2683167.9796 | 1238356.558
51 | 2683177.1021 | 1238343.1635
52 | 2683137.9783 | 1238324.0496
53 | 2683132.2306 | 1238302.9934
54 | 2683229.2913 | 1238180.0744
55 | 2683210.8039 | 1238167.4861
56 | 2683219.3382 | 1238152.1717
57 | 2683237.2923 | 1238119.9542
58 | 2683152.4039 | 1238268.4751
59 | 2683242.1726 | 1238111.1967
60 | 2683260.534 | 1238114.4341
61 | 2683255.8926 | 1238138.9754
62 | 2683294.3848 | 1238111.54
63 | 2683265.4937 | 1238091.0415
64 | 2683148.8399 | 1238274.5734
65 | 2683140.9011 | 1238288.1574
66 | 2683267.5701 | 1238144.0872
67 | 2683290.1606 | 1238139.0427
68 | 2683314.0766 | 1238109.1809
69 | 2683276.7954 | 1238167.0551
70 | 2683315.9212 | 1238109.0407
71 | 2683292.1708 | 1238262.8389

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99305 | -0.13361 | 0.0041465 | 0.0010392
1 | 0.99278 | -0.13877 | 0.040781 | 0.010221
2 | 0.99391 | -0.11696 | 0 | 0
3 | 0.99497 | -0.096434 | 0 | 0
4 | 0.97144 | -0.55116 | 0.013879 | 0.0034783
5 | 0.97213 | -0.53749 | 0 | 0
6 | 0.99382 | -0.11878 | 0.013572 | 0.0034015
7 | 1 | 0 | -0.49487 | -0.12614
8 | 0.97356 | -0.50923 | 0 | 0
9 | 0.97125 | -0.55474 | 0.014147 | 0.0035455
10 | 0.99362 | -0.12255 | 0.035615 | 0.0089258
11 | 0.99994 | -0.0010786 | 0.0096121 | 0.002409
12 | 0.99802 | -0.03732 | 0.01358 | 0.0034035
13 | 0.97056 | -0.56845 | 0.037392 | 0.0093714
14 | 0.97489 | -0.48299 | 0 | 0
15 | 0.9758 | -0.4652 | 0.0052301 | 0.0013108
16 | 0.97339 | -0.51264 | 0.01113 | 0.0027894
17 | 0.97587 | -0.46384 | 0 | 0
18 | 0.99237 | -0.14569 | 0.0067418 | 0.0016897
19 | 0.99237 | -0.14572 | 0.0030129 | 0.00075511
20 | 0.99256 | -0.14205 | 0.0032081 | 0.00080403
21 | 0.99259 | -0.14153 | 0 | 0
22 | 0.99281 | -0.1373 | 0.0066591 | 0.0016689
23 | 0.99282 | -0.13711 | 0.0037484 | 0.00093944
24 | 0.99323 | -0.12916 | 0.0024811 | 0.00062183
25 | 0.99335 | -0.12672 | 0.0023219 | 0.00058191
26 | 0.99397 | -0.11477 | 0.0031147 | 0.00078061
27 | 0.99303 | -0.13408 | 0.0053236 | 0.0013342
28 | 0.99311 | -0.13237 | 0.01358 | 0.0034035
29 | 0.99295 | -0.13554 | 0.0076306 | 0.0019124
30 | 0.99585 | -0.078618 | 0 | 0
31 | 0.99568 | -0.081937 | 0.01357 | 0.003401
32 | 0.99344 | -0.12439 | 0.012579 | 0.0031527
33 | 0.99471 | -0.10045 | 0.004626 | 0.0011594
34 | 0.9932 | -0.12902 | 0.0092781 | 0.0023253
35 | 0.99402 | -0.1139 | 0.0032204 | 0.00080712
36 | 0.99088 | -0.17328 | 0 | 0
37 | 0.98918 | -0.20616 | 0.0080914 | 0.0020279
38 | 0.98905 | -0.20882 | 0.001546 | 0.00038745
39 | 0.98956 | -0.19894 | 0.014782 | 0.0037047
40 | 0.98879 | -0.21383 | 0.0022219 | 0.00055686
41 | 0.99036 | -0.18336 | 0 | 0
42 | 0.98868 | -0.21588 | 0.00142 | 0.00035587
43 | 0.98858 | -0.21798 | 0.0020835 | 0.00052218
44 | 0.98612 | -0.26453 | 0 | 0
45 | 0.9889 | -0.21109 | 0.0086175 | 0.0021597
46 | 0.98562 | -0.27437 | 0 | 0
47 | 0.98507 | -0.28486 | 0.015759 | 0.0039496
48 | 0.98537 | -0.27915 | 0.0037978 | 0.00095183
49 | 0.99041 | -0.18227 | 0.0082969 | 0.0020794
50 | 0.98846 | -0.22026 | 0.0033963 | 0.0008512
51 | 0.98851 | -0.21928 | 0.0043666 | 0.0010944
52 | 0.98483 | -0.28982 | 0.0042134 | 0.001056
53 | 0.98491 | -0.28817 | 0 | 0
54 | 0.98379 | -0.30951 | 0.0097706 | 0.0024487
55 | 0.98253 | -0.33389 | 0 | 0
56 | 0.98158 | -0.35233 | 0.010938 | 0.0027413
57 | 0.97971 | -0.3888 | 0.0032878 | 0.000824
58 | 0.98511 | -0.28421 | 0.0017159 | 0.00043004
59 | 0.97921 | -0.39854 | 0 | 0
60 | 0.97828 | -0.41666 | 0 | 0
61 | 0.97797 | -0.42268 | 0 | 0
62 | 0.97675 | -0.44665 | 0 | 0
63 | 0.97816 | -0.41896 | 0.0052829 | 0.001324
64 | 0.98506 | -0.2852 | 0.001865 | 0.00046742
65 | 0.98498 | -0.28687 | 0.0016963 | 0.00042513
66 | 0.97785 | -0.42502 | 0.010096 | 0.0025304
67 | 0.97527 | -0.47574 | 0.014289 | 0.0035811
68 | 0.97619 | -0.45749 | 0.0038111 | 0.00095516
69 | 0.97408 | -0.49907 | 0.040965 | 0.010267
70 | 0.97614 | -0.45846 | 0.0041572 | 0.0010419
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.040791 | 0.010227 | -0.040781 | -0.010221 | 1.0027e-05 | 6.3246e-06 | 0.061123 | 0.061123 | 0.061123 | 0.99305 | -0.13361 | 0.99278 | -0.13877 | 16.7922
1 | -0.044937 | -0.011266 | 0.044973 | 0.011289 | 3.5682e-05 | 2.2565e-05 | 0.067337 | 0.067337 | 0.067337 | 0.99305 | -0.13361 | 0.99391 | -0.11696 | 18.4991
2 | -0.044973 | -0.011289 | 0.045017 | 0.011317 | 4.4078e-05 | 2.7873e-05 | 0.067337 | 0.067337 | 0.067337 | 0.99391 | -0.11696 | 0.99497 | -0.096434 | 18.4991
3 | 0.075827 | 0.019044 | -0.075746 | -0.018993 | 8.0757e-05 | 5.1468e-05 | 0.11342 | 0.11342 | 0.11342 | 0.99497 | -0.096434 | 0.99382 | -0.11878 | 31.1582
4 | -0.12084 | -0.030361 | 0.1214 | 0.030718 | 0.00055901 | 0.00035717 | 0.18075 | 0.18075 | 0.18075 | 0.99497 | -0.096434 | 1 | 0 | 49.6572
5 | -0.013879 | -0.0034783 | 0.013888 | 0.0034834 | 9.0413e-06 | 5.1255e-06 | 0.021259 | 0.021259 | 0.021259 | 0.97144 | -0.55116 | 0.97213 | -0.53749 | 5.8403
6 | -0.065494 | -0.016443 | 0.065582 | 0.016499 | 8.8429e-05 | 5.6303e-05 | 0.10026 | 0.10026 | 0.10026 | 0.97213 | -0.53749 | 0.97356 | -0.50923 | 27.544
7 | 0.051606 | 0.012959 | -0.051564 | -0.012932 | 4.2435e-05 | 2.6933e-05 | 0.079002 | 0.079002 | 0.079002 | 0.97213 | -0.53749 | 0.97125 | -0.55474 | 21.7037
8 | 0.062174 | 0.015591 | -0.062163 | -0.015584 | 1.1162e-05 | 7.099e-06 | 0.093095 | 0.093095 | 0.093095 | 0.99382 | -0.11878 | 0.99362 | -0.12255 | 25.5754
9 | 0.0096126 | 0.0024093 | -0.0096121 | -0.002409 | 4.9395e-07 | 2.3167e-07 | 0.014304 | 0.014304 | 0.014304 | 1 | 0 | 0.99994 | -0.0010786 | 3.9296
10 | 0.3622 | 0.093016 | -0.36155 | -0.092598 | 0.00065498 | 0.00041848 | 0.53976 | 0.53976 | 0.53976 | 1 | 0 | 0.99802 | -0.03732 | 49.4287
11 | 0.011131 | 0.0027903 | -0.01113 | -0.0027894 | 1.8106e-06 | 9.5142e-07 | 0.017014 | 0.017014 | 0.017014 | 0.97356 | -0.50923 | 0.97339 | -0.51264 | 4.6741
12 | -0.076713 | -0.019289 | 0.07681 | 0.01935 | 9.6281e-05 | 6.069e-05 | 0.11727 | 0.11727 | 0.11727 | 0.97356 | -0.50923 | 0.97489 | -0.48299 | 16.109
13 | 0.037417 | 0.0093868 | -0.037392 | -0.0093714 | 2.4435e-05 | 1.5393e-05 | 0.057328 | 0.057328 | 0.057328 | 0.97125 | -0.55474 | 0.97056 | -0.56845 | 15.7494
14 | 0.026548 | 0.0066585 | -0.026536 | -0.0066509 | 1.2428e-05 | 7.6823e-06 | 0.039759 | 0.039759 | 0.039759 | 0.99362 | -0.12255 | 0.99311 | -0.13237 | 10.9229
15 | 0.34797 | 0.089194 | -0.34727 | -0.08875 | 0.00069515 | 0.00044409 | 0.51951 | 0.51951 | 0.51951 | 0.99802 | -0.03732 | 0.99585 | -0.078618 | 47.5746
16 | -0.07681 | -0.01935 | 0.076875 | 0.01939 | 6.539e-05 | 4.0425e-05 | 0.11727 | 0.11727 | 0.11727 | 0.97489 | -0.48299 | 0.9758 | -0.4652 | 10.7393
17 | -0.082105 | -0.020701 | 0.082111 | 0.020705 | 5.3539e-06 | 3.3242e-06 | 0.12525 | 0.12525 | 0.12525 | 0.9758 | -0.4652 | 0.97587 | -0.46384 | 11.4696
18 | -0.082111 | -0.020705 | 0.082132 | 0.020718 | 2.1134e-05 | 1.3122e-05 | 0.12525 | 0.12525 | 0.12525 | 0.97587 | -0.46384 | 0.97614 | -0.45846 | 11.4696
19 | 0.0030129 | 0.00075511 | -0.0030129 | -0.00075511 | 4.5536e-09 | -4.7727e-09 | 0.0045177 | 0.0045177 | 0.0045177 | 0.99237 | -0.14569 | 0.99237 | -0.14572 | 1.2411
20 | -0.0097548 | -0.0024448 | 0.0097564 | 0.0024456 | 1.6901e-06 | 8.0943e-07 | 0.014627 | 0.014627 | 0.014627 | 0.99237 | -0.14569 | 0.99256 | -0.14205 | 4.0183
21 | -0.012965 | -0.0032496 | 0.012965 | 0.0032498 | 3.2096e-07 | 1.7613e-07 | 0.019436 | 0.019436 | 0.019436 | 0.99256 | -0.14205 | 0.99259 | -0.14153 | 5.3396
22 | -0.012965 | -0.0032498 | 0.012968 | 0.0032512 | 2.6151e-06 | 1.435e-06 | 0.019436 | 0.019436 | 0.019436 | 0.99259 | -0.14153 | 0.99281 | -0.1373 | 5.3396
23 | -0.019627 | -0.0049201 | 0.019627 | 0.0049203 | 1.7402e-07 | 1.0444e-07 | 0.029417 | 0.029417 | 0.029417 | 0.99281 | -0.1373 | 0.99282 | -0.13711 | 8.0815
24 | -0.023375 | -0.0058597 | 0.023384 | 0.0058651 | 8.8632e-06 | 5.4233e-06 | 0.035035 | 0.035035 | 0.035035 | 0.99282 | -0.13711 | 0.99323 | -0.12916 | 9.6249
25 | -0.025865 | -0.0064869 | 0.025868 | 0.0064888 | 3.005e-06 | 1.8542e-06 | 0.038752 | 0.038752 | 0.038752 | 0.99323 | -0.12916 | 0.99335 | -0.12672 | 10.6461
26 | -0.02819 | -0.0070707 | 0.028206 | 0.0070807 | 1.6076e-05 | 9.9774e-06 | 0.04223 | 0.04223 | 0.04223 | 0.99335 | -0.12672 | 0.99397 | -0.11477 | 11.6016
27 | -0.031321 | -0.0078613 | 0.031322 | 0.0078621 | 1.294e-06 | 8.0783e-07 | 0.046893 | 0.046893 | 0.046893 | 0.99397 | -0.11477 | 0.99402 | -0.1139 | 12.8826
28 | -0.012955 | -0.0032468 | 0.012956 | 0.0032474 | 1.0558e-06 | 5.7905e-07 | 0.019412 | 0.019412 | 0.019412 | 0.99303 | -0.13408 | 0.99311 | -0.13237 | 5.333
29 | 0.0076311 | 0.0019126 | -0.0076306 | -0.0019124 | 5.295e-07 | 1.9919e-07 | 0.011435 | 0.011435 | 0.011435 | 0.99303 | -0.13408 | 0.99295 | -0.13554 | 3.1415
30 | 0.052804 | 0.013271 | -0.052795 | -0.013265 | 8.3667e-06 | 5.3081e-06 | 0.078913 | 0.078913 | 0.078913 | 0.99585 | -0.078618 | 0.99568 | -0.081937 | 21.6795
31 | 0.29447 | 0.07548 | -0.29382 | -0.075064 | 0.00065183 | 0.00041612 | 0.4406 | 0.4406 | 0.4406 | 0.99585 | -0.078618 | 0.99344 | -0.12439 | 40.3482
32 | 0.039225 | 0.0098643 | -0.039191 | -0.0098425 | 3.4654e-05 | 2.1829e-05 | 0.058633 | 0.058633 | 0.058633 | 0.99568 | -0.081937 | 0.99471 | -0.10045 | 16.1081
33 | 0.28124 | 0.071911 | -0.28118 | -0.071871 | 6.2994e-05 | 4.0206e-05 | 0.42176 | 0.42176 | 0.42176 | 0.99344 | -0.12439 | 0.9932 | -0.12902 | 38.6228
34 | 0.034565 | 0.0086831 | -0.034543 | -0.0086692 | 2.2169e-05 | 1.3902e-05 | 0.051713 | 0.051713 | 0.051713 | 0.99471 | -0.10045 | 0.99402 | -0.1139 | 14.207
35 | 0.2719 | 0.069545 | -0.27132 | -0.069175 | 0.00058108 | 0.00037081 | 0.40786 | 0.40786 | 0.40786 | 0.9932 | -0.12902 | 0.99088 | -0.17328 | 37.3499
36 | 0.23335 | 0.059636 | -0.23325 | -0.059571 | 0.00010138 | 6.4628e-05 | 0.35083 | 0.35083 | 0.35083 | 0.99088 | -0.17328 | 0.99041 | -0.18227 | 32.1276
37 | 0.03797 | 0.0095387 | -0.037952 | -0.0095272 | 1.8262e-05 | 1.1495e-05 | 0.057028 | 0.057028 | 0.057028 | 0.99088 | -0.17328 | 0.99036 | -0.18336 | 15.6671
38 | 0.015042 | 0.003772 | -0.01504 | -0.0037709 | 1.9045e-06 | 1.0915e-06 | 0.022628 | 0.022628 | 0.022628 | 0.98918 | -0.20616 | 0.98905 | -0.20882 | 6.2166
39 | -0.023134 | -0.0057999 | 0.023142 | 0.0058047 | 7.9574e-06 | 4.8677e-06 | 0.0348 | 0.0348 | 0.0348 | 0.98918 | -0.20616 | 0.98956 | -0.19894 | 9.5605
40 | 0.013494 | 0.0033834 | -0.013491 | -0.0033816 | 3.2252e-06 | 1.7964e-06 | 0.020303 | 0.020303 | 0.020303 | 0.98905 | -0.20882 | 0.98879 | -0.21383 | 5.5776
41 | -0.037924 | -0.0095095 | 0.037952 | 0.0095272 | 2.8182e-05 | 1.7739e-05 | 0.057028 | 0.057028 | 0.057028 | 0.98956 | -0.19894 | 0.99036 | -0.18336 | 15.6671
42 | 0.011269 | 0.0028248 | -0.011268 | -0.0028242 | 1.1012e-06 | 5.738e-07 | 0.016959 | 0.016959 | 0.016959 | 0.98879 | -0.21383 | 0.98868 | -0.21588 | 4.6591
43 | 0.0098481 | 0.0024683 | -0.0098471 | -0.0024678 | 9.8185e-07 | 4.7556e-07 | 0.014822 | 0.014822 | 0.014822 | 0.98868 | -0.21588 | 0.98858 | -0.21798 | 4.072
44 | 0.0077636 | 0.0019457 | -0.0077631 | -0.0019455 | 4.8178e-07 | 1.8772e-07 | 0.011686 | 0.011686 | 0.011686 | 0.98858 | -0.21798 | 0.98851 | -0.21928 | 3.2104
45 | -0.21546 | -0.054778 | 0.21602 | 0.055133 | 0.00055614 | 0.00035432 | 0.3254 | 0.3254 | 0.3254 | 0.98612 | -0.26453 | 0.9889 | -0.21109 | 29.7987
46 | 0.013301 | 0.0033368 | -0.013295 | -0.0033333 | 6.2343e-06 | 3.4638e-06 | 0.020072 | 0.020073 | 0.020073 | 0.98612 | -0.26453 | 0.98562 | -0.27437 | 5.5144
47 | 0.20216 | 0.051442 | -0.20196 | -0.051316 | 0.0001979 | 0.000126 | 0.30533 | 0.30533 | 0.30533 | 0.98612 | -0.26453 | 0.98507 | -0.28486 | 27.9606
48 | -0.22464 | -0.057292 | 0.22495 | 0.057492 | 0.00031317 | 0.00019958 | 0.33837 | 0.33837 | 0.33837 | 0.9889 | -0.21109 | 0.99041 | -0.18227 | 30.9861
49 | 0.013295 | 0.0033333 | -0.013292 | -0.0033316 | 3.0301e-06 | 1.6838e-06 | 0.020073 | 0.020073 | 0.020073 | 0.98562 | -0.27437 | 0.98537 | -0.27915 | 5.5145
50 | 0.1862 | 0.047366 | -0.18598 | -0.047225 | 0.00022087 | 0.00014051 | 0.28152 | 0.28153 | 0.28153 | 0.98507 | -0.28486 | 0.98379 | -0.30951 | 25.7807
51 | 0.0094943 | 0.0023798 | -0.009492 | -0.0023787 | 2.2876e-06 | 1.0862e-06 | 0.014337 | 0.014338 | 0.014338 | 0.98537 | -0.27915 | 0.98511 | -0.28421 | 3.9389
52 | -0.0033963 | -0.0008512 | 0.0033965 | 0.00085109 | 1.5886e-07 | -1.0607e-07 | 0.0051128 | 0.0051127 | 0.0051128 | 0.98846 | -0.22026 | 0.98851 | -0.21928 | 1.4046
53 | -0.0042134 | -0.001056 | 0.0042137 | 0.0010559 | 3.3172e-07 | -6.5448e-08 | 0.0063662 | 0.0063661 | 0.0063662 | 0.98483 | -0.28982 | 0.98491 | -0.28817 | 1.749
54 | -0.0042137 | -0.0010559 | 0.004214 | 0.0010559 | 2.6115e-07 | -5.1565e-08 | 0.0063661 | 0.006366 | 0.0063661 | 0.98491 | -0.28817 | 0.98498 | -0.28687 | 1.7489
55 | 0.17621 | 0.044777 | -0.17601 | -0.044645 | 0.00020656 | 0.00013132 | 0.26675 | 0.26675 | 0.26675 | 0.98379 | -0.30951 | 0.98253 | -0.33389 | 24.4274
56 | 0.17601 | 0.044645 | -0.17585 | -0.044546 | 0.00015593 | 9.9131e-05 | 0.26675 | 0.26675 | 0.26675 | 0.98253 | -0.33389 | 0.98158 | -0.35233 | 24.4274
57 | 0.16491 | 0.041805 | -0.16462 | -0.041622 | 0.00028853 | 0.00018326 | 0.25017 | 0.25017 | 0.25017 | 0.98158 | -0.35233 | 0.97971 | -0.3888 | 22.909
58 | 0.16134 | 0.040798 | -0.16126 | -0.04075 | 7.5329e-05 | 4.7832e-05 | 0.24517 | 0.24517 | 0.24517 | 0.97971 | -0.3888 | 0.97921 | -0.39854 | 22.4518
59 | 0.0077761 | 0.0019487 | -0.0077758 | -0.0019485 | 3.6543e-07 | 1.4395e-07 | 0.011746 | 0.011746 | 0.011746 | 0.98511 | -0.28421 | 0.98506 | -0.2852 | 3.2269
60 | 0.16126 | 0.04075 | -0.16112 | -0.040661 | 0.00013996 | 8.8871e-05 | 0.24517 | 0.24517 | 0.24517 | 0.97921 | -0.39854 | 0.97828 | -0.41666 | 22.4518
61 | 0.0101 | 0.0025324 | -0.010097 | -0.0025309 | 2.8928e-06 | 1.4412e-06 | 0.015364 | 0.015364 | 0.015364 | 0.97828 | -0.41666 | 0.97797 | -0.42268 | 4.2208
62 | 0.14574 | 0.036804 | -0.14553 | -0.036672 | 0.00020906 | 0.00013252 | 0.22177 | 0.22177 | 0.22177 | 0.97828 | -0.41666 | 0.97675 | -0.44665 | 20.309
63 | 0.0052835 | 0.0013241 | -0.0052829 | -0.001324 | 5.7915e-07 | 7.0454e-08 | 0.0080364 | 0.0080365 | 0.0080365 | 0.97828 | -0.41666 | 0.97816 | -0.41896 | 2.2078
64 | 0.010097 | 0.0025309 | -0.010096 | -0.0025304 | 1.1283e-06 | 5.6221e-07 | 0.015364 | 0.015364 | 0.015364 | 0.97797 | -0.42268 | 0.97785 | -0.42502 | 4.2208
65 | 0.055376 | 0.013926 | -0.0553 | -0.013877 | 7.6847e-05 | 4.8822e-05 | 0.08438 | 0.08438 | 0.08438 | 0.97675 | -0.44665 | 0.97527 | -0.47574 | 23.1813
66 | 0.090151 | 0.022746 | -0.090104 | -0.022717 | 4.6803e-05 | 2.921e-05 | 0.13739 | 0.13739 | 0.13739 | 0.97675 | -0.44665 | 0.97619 | -0.45749 | 12.5819
67 | 0.0059107 | 0.0014811 | -0.0059103 | -0.001481 | 4.7036e-07 | 1.0075e-07 | 0.0089285 | 0.0089286 | 0.0089286 | 0.98506 | -0.2852 | 0.98498 | -0.28687 | 2.4529
68 | 0.041011 | 0.010296 | -0.040965 | -0.010267 | 4.558e-05 | 2.8784e-05 | 0.062579 | 0.062579 | 0.062579 | 0.97527 | -0.47574 | 0.97408 | -0.49907 | 17.192
69 | 0.086293 | 0.021762 | -0.086289 | -0.02176 | 4.0037e-06 | 2.493e-06 | 0.13159 | 0.13159 | 0.13159 | 0.97619 | -0.45749 | 0.97614 | -0.45846 | 12.0499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49487 | 0.12614

## res_load
| p_mw | q_mvar
0 | 0.0041465 | 0.0010392
1 | 0.040781 | 0.010221
2 | 0.013879 | 0.0034783
3 | 0.013572 | 0.0034015
4 | 0.014147 | 0.0035455
5 | 0.035615 | 0.0089258
6 | 0.0096121 | 0.002409
7 | 0.01358 | 0.0034035
8 | 0.037392 | 0.0093714
9 | 0.0052301 | 0.0013108
10 | 0.01113 | 0.0027894
11 | 0.0067418 | 0.0016897
12 | 0.0030129 | 0.00075511
13 | 0.0032081 | 0.00080403
14 | 0.0066591 | 0.0016689
15 | 0.0037484 | 0.00093944
16 | 0.0024811 | 0.00062183
17 | 0.0023219 | 0.00058191
18 | 0.0031147 | 0.00078061
19 | 0.0053236 | 0.0013342
20 | 0.01358 | 0.0034035
21 | 0.0076306 | 0.0019124
22 | 0.01357 | 0.003401
23 | 0.012579 | 0.0031527
24 | 0.004626 | 0.0011594
25 | 0.0092781 | 0.0023253
26 | 0.0032204 | 0.00080712
27 | 0.0080914 | 0.0020279
28 | 0.001546 | 0.00038745
29 | 0.014782 | 0.0037047
30 | 0.0022219 | 0.00055686
31 | 0.00142 | 0.00035587
32 | 0.0020835 | 0.00052218
33 | 0.0086175 | 0.0021597
34 | 0.015759 | 0.0039496
35 | 0.0037978 | 0.00095183
36 | 0.0082969 | 0.0020794
37 | 0.0033963 | 0.0008512
38 | 0.0043666 | 0.0010944
39 | 0.0042134 | 0.001056
40 | 0.0097706 | 0.0024487
41 | 0.010938 | 0.0027413
42 | 0.0032878 | 0.000824
43 | 0.0017159 | 0.00043004
44 | 0.0052829 | 0.001324
45 | 0.001865 | 0.00046742
46 | 0.0016963 | 0.00042513
47 | 0.010096 | 0.0025304
48 | 0.014289 | 0.0035811
49 | 0.0038111 | 0.00095516
50 | 0.040965 | 0.010267
51 | 0.0041572 | 0.0010419

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1