## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_136-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_136-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_136-7_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_136-7_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_136-7_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_136-7_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_136-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_136-7_0_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_136-7_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_136-7_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_136-7_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_136-7_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_136-7_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_136-7_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_136-7_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_136-7_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_136-7_0_4_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_136-7_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_136-7_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_136-7_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_136-7_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_136-7_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_136-7_0_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_136-7_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_136-7_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_136-7_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_136-7_0_4_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_136-7_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_136-7_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_136-7_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_136-7_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_136-7_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_136-7_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_136-7_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_136-7_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_136-7_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_136-7_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_136-7_0_4_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_136-7_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_136-7_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_136-7_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_136-7_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_136-7_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_136-7_0_4_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_136-7_0_4_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_136-7_0_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_136-7_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_136-7_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_136-7_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_136-7_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_136-7_0_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_136-7_0_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_136-7_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_136-7_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_136-7_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_136-7_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_136-7_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_136-7_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_136-7_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_136-7_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_136-7_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_136-7_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_136-7_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_136-7_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_136-7_0_4_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_136-7_0_4_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_136-7_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_136-7_0_4_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_136-7_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_136-7_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_136-7_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_136-7_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_136-7_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_136-7_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_136-7_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_136-7_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_136-7_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_136-7_0_4_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_136-7_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_136-7_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_136-7_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_136-7_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_136-7_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_136-7_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_136-7_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_136-7_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_136-7_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_136-7_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_136-7_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_136-7_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_136-7_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_136-7_0_4_node_94 | 0.4 | n |  | TRUE
93 | bus_MV_349_2_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-7_0_4_load_0 | 0 | 0.0063427 | 0.0015896 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-7_0_4_load_1 | 1 | 0.020529 | 0.0051451 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-7_0_4_load_5 | 3 | 0.0026111 | 0.00065441 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-7_0_4_load_6 | 4 | 0.0049993 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-7_0_4_load_8 | 5 | 0.0067278 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-7_0_4_load_9 | 6 | 0.0093029 | 0.0023315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-7_0_4_load_10 | 10 | 0.0069224 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-7_0_4_load_16 | 11 | 0.0048248 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-7_0_4_load_15 | 12 | 0.0030202 | 0.00075694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-7_0_4_load_11 | 13 | 0.0070102 | 0.0017569 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-7_0_4_load_12 | 14 | 0.0028929 | 0.00072504 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-7_0_4_load_13 | 15 | 0.0025781 | 0.00064614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-7_0_4_load_41 | 19 | 0.0071319 | 0.0017874 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-7_0_4_load_37 | 20 | 0.0013291 | 0.0003331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-7_0_4_load_46 | 22 | 0.0039608 | 0.00099266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-7_0_4_load_97 | 23 | 0.001669 | 0.00041828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-7_0_4_load_56 | 26 | 0.0043879 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-7_0_4_load_91 | 27 | 0.0023253 | 0.00058278 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-7_0_4_load_17 | 28 | 0.0045599 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-7_0_4_load_18 | 29 | 0.0020032 | 0.00050204 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-7_0_4_load_19 | 30 | 0.0027326 | 0.00068485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-7_0_4_load_21 | 32 | 0.0015663 | 0.00039256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-7_0_4_load_22 | 34 | 0.0068959 | 0.0017283 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-7_0_4_load_29 | 35 | 0.0031738 | 0.00079543 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-7_0_4_load_24 | 36 | 0.005423 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-7_0_4_load_31 | 37 | 0.0034569 | 0.00086638 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-7_0_4_load_76 | 39 | 0.0017967 | 0.00045028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_136-7_0_4_load_32 | 41 | 0.0037923 | 0.00095044 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_136-7_0_4_load_84 | 42 | 0.0011259 | 0.00028218 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_136-7_0_4_load_85 | 44 | 0.011684 | 0.0029283 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_136-7_0_4_load_78 | 45 | 0.0035944 | 0.00090083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_136-7_0_4_load_26 | 48 | 0.0048233 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_136-7_0_4_load_27 | 49 | 0.011408 | 0.0028591 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_136-7_0_4_load_28 | 50 | 0.012192 | 0.0030557 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_136-7_0_4_load_72 | 51 | 0.021639 | 0.0054233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_136-7_0_4_load_80 | 54 | 0.0032327 | 0.00081019 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_136-7_0_4_load_50 | 56 | 0.0026046 | 0.00065279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_136-7_0_4_load_33 | 57 | 0.017971 | 0.0045039 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_136-7_0_4_load_35 | 58 | 0.0031467 | 0.00078864 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_136-7_0_4_load_48 | 59 | 0.0098366 | 0.0024653 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_136-7_0_4_load_38 | 60 | 0.0017665 | 0.00044273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_136-7_0_4_load_40 | 61 | 0.0018671 | 0.00046793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_136-7_0_4_load_53 | 62 | 0.0011152 | 0.00027949 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_136-7_0_4_load_52 | 63 | 0.019116 | 0.0047909 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_136-7_0_4_load_45 | 64 | 0.0037037 | 0.00092824 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_136-7_0_4_load_82 | 66 | 0.067392 | 0.01689 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_136-7_0_4_load_70 | 67 | 0.010404 | 0.0026076 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_136-7_0_4_load_96 | 68 | 0.0021423 | 0.00053692 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_136-7_0_4_load_49 | 69 | 0.0034805 | 0.00087229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_136-7_0_4_load_51 | 70 | 0.0020652 | 0.00051758 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_136-7_0_4_load_63 | 71 | 0.0025753 | 0.00064542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_136-7_0_4_load_54 | 72 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_136-7_0_4_load_55 | 73 | 0.0038103 | 0.00095495 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_136-7_0_4_load_60 | 75 | 0.0074018 | 0.0018551 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_136-7_0_4_load_95 | 78 | 0.0041042 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_136-7_0_4_load_74 | 79 | 0.0060332 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_136-7_0_4_load_77 | 80 | 0.0036392 | 0.00091206 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_136-7_0_4_load_66 | 81 | 0.010104 | 0.0025323 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_136-7_0_4_load_67 | 82 | 0.016371 | 0.0041029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_136-7_0_4_load_69 | 84 | 0.0031968 | 0.0008012 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_136-7_0_4_load_71 | 85 | 0.0027006 | 0.00067682 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_136-7_0_4_load_89 | 87 | 0.013083 | 0.003279 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_136-7_0_4_load_86 | 89 | 0.005426 | 0.0013599 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_136-7_0_4_load_94 | 92 | 0.016568 | 0.0041524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-7_0_4_line_0 |  | 0 | 1 | 0.034564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-7_0_4_line_1 |  | 1 | 2 | 0.05979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-7_0_4_line_2 |  | 2 | 3 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_136-7_0_4_line_3 |  | 3 | 4 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_136-7_0_4_line_4 |  | 4 | 7 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_136-7_0_4_line_5 |  | 5 | 6 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_136-7_0_4_line_6 |  | 6 | 10 | 0.017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_136-7_0_4_line_7 |  | 7 | 8 | 0.007347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_136-7_0_4_line_8 |  | 8 | 9 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_136-7_0_4_line_9 |  | 9 | 21 | 0.029423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-7_0_4_line_10 |  | 9 | 22 | 0.0053409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_136-7_0_4_line_11 |  | 9 | 19 | 0.026216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_136-7_0_4_line_12 |  | 10 | 11 | 0.043756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_136-7_0_4_line_13 |  | 11 | 12 | 0.0063346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_136-7_0_4_line_14 |  | 12 | 15 | 0.0055421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_136-7_0_4_line_15 |  | 13 | 14 | 0.005927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_136-7_0_4_line_16 |  | 13 | 15 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_136-7_0_4_line_17 |  | 14 | 16 | 0.068646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_136-7_0_4_line_18 |  | 16 | 17 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_136-7_0_4_line_19 |  | 17 | 27 | 0.027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_136-7_0_4_line_20 |  | 18 | 19 | 0.0073664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-7_0_4_line_21 |  | 18 | 20 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_136-7_0_4_line_22 |  | 20 | 60 | 0.0010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_136-7_0_4_line_23 |  | 21 | 23 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-7_0_4_line_24 |  | 22 | 64 | 0.037235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_136-7_0_4_line_25 |  | 23 | 68 | 0.0047505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_136-7_0_4_line_26 |  | 24 | 25 | 0.019569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-7_0_4_line_27 |  | 24 | 26 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-7_0_4_line_28 |  | 25 | 74 | 0.006124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-7_0_4_line_29 |  | 25 | 75 | 0.0067407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-7_0_4_line_30 |  | 26 | 73 | 0.019055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-7_0_4_line_31 |  | 27 | 91 | 0.0036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_136-7_0_4_line_32 |  | 28 | 29 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_136-7_0_4_line_33 |  | 28 | 30 | 0.024033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_136-7_0_4_line_34 |  | 29 | 31 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_136-7_0_4_line_35 |  | 30 | 32 | 0.047423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_136-7_0_4_line_36 |  | 31 | 33 | 0.040873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_136-7_0_4_line_37 |  | 31 | 34 | 0.067166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_136-7_0_4_line_38 |  | 32 | 35 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-7_0_4_line_39 |  | 33 | 38 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-7_0_4_line_40 |  | 33 | 39 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-7_0_4_line_41 |  | 35 | 40 | 0.0090966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_136-7_0_4_line_42 |  | 36 | 37 | 0.032339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_136-7_0_4_line_43 |  | 37 | 41 | 0.033199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_136-7_0_4_line_44 |  | 38 | 42 | 0.05391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_136-7_0_4_line_45 |  | 40 | 53 | 0.051006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_136-7_0_4_line_46 |  | 40 | 54 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_136-7_0_4_line_47 |  | 41 | 46 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_136-7_0_4_line_48 |  | 43 | 44 | 0.010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_136-7_0_4_line_49 |  | 43 | 45 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_136-7_0_4_line_50 |  | 43 | 46 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_136-7_0_4_line_51 |  | 44 | 74 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_136-7_0_4_line_52 |  | 45 | 80 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_136-7_0_4_line_53 |  | 46 | 47 | 0.005302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_136-7_0_4_line_54 |  | 47 | 71 | 0.0080313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_136-7_0_4_line_55 |  | 48 | 49 | 0.034859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_136-7_0_4_line_56 |  | 49 | 50 | 0.041487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_136-7_0_4_line_57 |  | 50 | 51 | 0.035521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_136-7_0_4_line_58 |  | 51 | 52 | 0.0022987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_136-7_0_4_line_59 |  | 52 | 79 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_136-7_0_4_line_60 |  | 52 | 77 | 0.046286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_136-7_0_4_line_61 |  | 53 | 57 | 0.031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_136-7_0_4_line_62 |  | 54 | 55 | 0.022723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_136-7_0_4_line_63 |  | 55 | 56 | 0.0057666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_136-7_0_4_line_64 |  | 56 | 59 | 0.0088024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_136-7_0_4_line_65 |  | 57 | 58 | 0.0031538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_136-7_0_4_line_66 |  | 59 | 69 | 0.0093763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_136-7_0_4_line_67 |  | 60 | 61 | 0.011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_136-7_0_4_line_68 |  | 61 | 62 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_136-7_0_4_line_69 |  | 62 | 63 | 0.00061788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_136-7_0_4_line_70 |  | 63 | 72 | 0.0093541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_136-7_0_4_line_71 |  | 65 | 66 | 0.03949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_136-7_0_4_line_72 |  | 65 | 67 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_136-7_0_4_line_73 |  | 66 | 89 | 0.026505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_136-7_0_4_line_74 |  | 67 | 83 | 0.019825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_136-7_0_4_line_75 |  | 69 | 70 | 0.00013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_136-7_0_4_line_76 |  | 70 | 71 | 0.037572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_136-7_0_4_line_77 |  | 72 | 73 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_136-7_0_4_line_78 |  | 74 | 76 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_136-7_0_4_line_79 |  | 76 | 77 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_136-7_0_4_line_80 |  | 77 | 78 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_136-7_0_4_line_81 |  | 78 | 90 | 0.025771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_136-7_0_4_line_82 |  | 79 | 88 | 0.034213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_136-7_0_4_line_83 |  | 81 | 82 | 0.031443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_136-7_0_4_line_84 |  | 81 | 83 | 0.0068504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_136-7_0_4_line_85 |  | 82 | 84 | 0.032888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_136-7_0_4_line_86 |  | 83 | 85 | 0.024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_136-7_0_4_line_87 |  | 85 | 86 | 0.045386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_136-7_0_4_line_88 |  | 86 | 87 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_136-7_0_4_line_89 |  | 88 | 89 | 0.051941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_136-7_0_4_line_90 |  | 90 | 91 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_136-7_0_4_line_91 |  | 91 | 92 | 0.005921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-7_0_4_trafo_93 | 0.63 MVA 20/0.4 kV | 93 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2683510.4867 | 1238170.7849 | 2683513.6541 | 1238144.9538 | 2683513.7743 | 1238136.4149
1 | 2683494.8478 | 1238080.8548 | 2683500.0121 | 1238088.0548 | 2683503.8532 | 1238095.2028 | 2683506.8241 | 1238101.2822 | 2683509.9192 | 1238109.8318 | 2683512.6475 | 1238121.3228 | 2683513.8074 | 1238134.0593 | 2683513.7743 | 1238136.4149
2 | 2683494.8478 | 1238080.8548 | 2683506.8003 | 1238070.9492
3 | 2683506.8003 | 1238070.9492 | 2683519.4921 | 1238060.4308
4 | 2683528.7289 | 1238051.6326 | 2683519.9402 | 1238060.0595 | 2683519.4921 | 1238060.4308
5 | 2683571.4813 | 1238170.4184 | 2683570.5575 | 1238186.4267
6 | 2683571.4813 | 1238170.4184 | 2683572.4686 | 1238153.3103
7 | 2683534.6388 | 1238047.2459 | 2683528.7289 | 1238051.6326
8 | 2683534.6388 | 1238047.2459 | 2683543.4242 | 1238035.2943 | 2683538.6826 | 1238033.5375
9 | 2683567.2076 | 1238035.4957 | 2683554.7811 | 1238035.7655 | 2683549.0997 | 1238037.3534 | 2683543.4242 | 1238035.2943 | 2683538.6826 | 1238033.5375
10 | 2683538.6826 | 1238033.5375 | 2683535.8608 | 1238038.072
11 | 2683538.6826 | 1238033.5375 | 2683542.7655 | 1238024.5774 | 2683546.7278 | 1238012.9026 | 2683548.414 | 1238009.2301
12 | 2683574.9894 | 1238109.6272 | 2683572.4686 | 1238153.3103
13 | 2683574.9894 | 1238109.6272 | 2683575.3543 | 1238103.3032
14 | 2683575.6736 | 1238097.7702 | 2683575.3543 | 1238103.3032
15 | 2683576.3464 | 1238083.4884 | 2683576.5175 | 1238077.5639
16 | 2683575.6736 | 1238097.7702 | 2683576.1948 | 1238088.7378 | 2683576.3464 | 1238083.4884
17 | 2683578.4986 | 1238008.9467 | 2683576.5175 | 1238077.5639
18 | 2683591.5119 | 1238004.6157 | 2683578.4986 | 1238008.9467
19 | 2683591.5119 | 1238004.6157 | 2683593.464 | 1237976.7911
20 | 2683553.6466 | 1238004.5718 | 2683549.5532 | 1238006.7491 | 2683548.414 | 1238009.2301
21 | 2683553.6466 | 1238004.5718 | 2683553.06 | 1237997.8699 | 2683554.2492 | 1237992.6696
22 | 2683554.2492 | 1237992.6696 | 2683554.4741 | 1237991.6857
23 | 2683567.2076 | 1238035.4957 | 2683565.6314 | 1238049.6502 | 2683565.7326 | 1238061.8048
24 | 2683502.6609 | 1238041.2575 | 2683513.081 | 1238043.1955 | 2683523.6774 | 1238046.091 | 2683526.8175 | 1238046.0684 | 2683530.3917 | 1238044.7622 | 2683533.6822 | 1238041.5729 | 2683535.8608 | 1238038.072
25 | 2683561.8687 | 1238059.0413 | 2683565.7326 | 1238061.8048
26 | 2683580.0153 | 1237895.8542 | 2683579.8016 | 1237906.7368 | 2683579.5053 | 1237915.4165
27 | 2683579.5053 | 1237915.4165 | 2683573.4155 | 1237915.3753 | 2683571.8264 | 1237915.3974 | 2683570.3356 | 1237915.9546 | 2683569.1258 | 1237916.9827 | 2683568.3273 | 1237918.3502 | 2683567.5166 | 1237924.0035
28 | 2683580.0153 | 1237895.8542 | 2683586.1457 | 1237896.2408
29 | 2683580.0153 | 1237895.8542 | 2683573.2748 | 1237895.8149
30 | 2683567.5166 | 1237924.0035 | 2683564.9967 | 1237941.5755 | 2683564.816 | 1237942.8664
31 | 2683593.7174 | 1237973.1799 | 2683593.464 | 1237976.7911
32 | 2683547.3257 | 1237729.6094 | 2683547.3257 | 1237729.6094 | 2683564.8911 | 1237727.2467
33 | 2683543.203 | 1237751.1342 | 2683542.28 | 1237733.8526 | 2683543.9767 | 1237731.5637 | 2683547.3257 | 1237729.6094
34 | 2683577.1088 | 1237725.6033 | 2683564.8911 | 1237727.2467
35 | 2683543.203 | 1237751.1342 | 2683544.1902 | 1237769.616 | 2683544.1813 | 1237798.5313
36 | 2683577.1088 | 1237725.6033 | 2683583.7719 | 1237724.7075 | 2683583.8215 | 1237753.9624 | 2683588.7157 | 1237754.0313
37 | 2683577.1088 | 1237725.6033 | 2683576.7342 | 1237719.427 | 2683575.9661 | 1237709.498 | 2683575.0759 | 1237700.1789 | 2683573.7444 | 1237690.4977 | 2683572.2346 | 1237682.1928 | 2683569.6479 | 1237671.382 | 2683568.1053 | 1237665.9453 | 2683566.0916 | 1237659.5791
38 | 2683544.1813 | 1237798.5313 | 2683544.1802 | 1237802.0389 | 2683540.6018 | 1237806.8587 | 2683535.5094 | 1237807.9768
39 | 2683610.1209 | 1237754.4884 | 2683606.1803 | 1237754.3996 | 2683588.7157 | 1237754.0313
40 | 2683588.7157 | 1237754.0313 | 2683588.1708 | 1237784.1781
41 | 2683526.4183 | 1237808.2936 | 2683535.5094 | 1237807.9768
42 | 2683578.0892 | 1237781.7146 | 2683577.7348 | 1237806.8811 | 2683577.6191 | 1237814.0504
43 | 2683576.694 | 1237847.2334 | 2683577.0681 | 1237840.2621 | 2683577.3789 | 1237828.9362 | 2683577.6191 | 1237814.0504
44 | 2683610.1209 | 1237754.4884 | 2683609.4947 | 1237769.4013 | 2683610.1245 | 1237785.3882 | 2683611.3559 | 1237808.3399
45 | 2683480.818 | 1237797.5894 | 2683484.2745 | 1237800.8959 | 2683489.2524 | 1237808.4601 | 2683514.1325 | 1237808.2097 | 2683526.4183 | 1237808.2936
46 | 2683526.4183 | 1237808.2936 | 2683520.1801 | 1237830.6633
47 | 2683574.4984 | 1237867.4786 | 2683575.719 | 1237860.3129 | 2683576.3091 | 1237854.4059 | 2683576.694 | 1237847.2334
48 | 2683586.6604 | 1237867.75 | 2683586.4698 | 1237878.3021
49 | 2683586.6604 | 1237867.75 | 2683586.9559 | 1237851.4016
50 | 2683574.4984 | 1237867.4786 | 2683580.6997 | 1237867.666 | 2683586.6604 | 1237867.75
51 | 2683586.1457 | 1237896.2408 | 2683586.4698 | 1237878.3021
52 | 2683586.9559 | 1237851.4016 | 2683587.2999 | 1237832.3657
53 | 2683574.1138 | 1237872.7659 | 2683574.4984 | 1237867.4786
54 | 2683574.1138 | 1237872.7659 | 2683566.2289 | 1237871.2395
55 | 2683639.2943 | 1237832.8825 | 2683642.7879 | 1237798.1991
56 | 2683639.2943 | 1237832.8825 | 2683638.7412 | 1237838.3733 | 2683635.7504 | 1237874.2173
57 | 2683632.7969 | 1237909.6152 | 2683635.7504 | 1237874.2173
58 | 2683632.6058 | 1237911.9059 | 2683632.7969 | 1237909.6152
59 | 2683632.6058 | 1237911.9059 | 2683632.2446 | 1237921.4298 | 2683632.1001 | 1237925.2416 | 2683633.0576 | 1237930.3142 | 2683637.0122 | 1237932.0823 | 2683637.081 | 1237932.0886
60 | 2683595.8424 | 1237919.5271 | 2683599.6781 | 1237919.5367 | 2683610.7427 | 1237920.3597 | 2683611.7127 | 1237910.0438 | 2683612.9244 | 1237909.9608 | 2683624.4702 | 1237911.0018 | 2683631.2541 | 1237911.72 | 2683632.6058 | 1237911.9059
61 | 2683480.818 | 1237797.5894 | 2683484.9544 | 1237792.8998 | 2683490.3671 | 1237768.3898
62 | 2683514.0761 | 1237852.5515 | 2683520.1801 | 1237830.6633
63 | 2683514.0761 | 1237852.5515 | 2683513.7001 | 1237858.3059
64 | 2683522.3785 | 1237859.7779 | 2683513.7001 | 1237858.3059
65 | 2683491.0472 | 1237765.3102 | 2683490.3671 | 1237768.3898
66 | 2683522.3785 | 1237859.7779 | 2683531.6228 | 1237861.3459
67 | 2683554.4741 | 1237991.6857 | 2683555.5108 | 1237987.1523 | 2683558.5968 | 1237980.6964
68 | 2683562.2802 | 1237962.7474 | 2683561.7215 | 1237970.0052 | 2683560.1568 | 1237977.4329 | 2683558.5968 | 1237980.6964
69 | 2683562.2802 | 1237962.7474 | 2683562.3277 | 1237962.1314
70 | 2683562.3277 | 1237962.1314 | 2683562.5826 | 1237958.8205 | 2683563.419 | 1237952.8453
71 | 2683629.8255 | 1238040.5027 | 2683627.9907 | 1238038.0974 | 2683627.162 | 1238035.1614 | 2683636.298 | 1238003.0204
72 | 2683629.8255 | 1238040.5027 | 2683645.63 | 1238044.6935
73 | 2683643.5449 | 1237977.5253 | 2683636.298 | 1238003.0204
74 | 2683661.0038 | 1238056.0306 | 2683652.2343 | 1238046.4447 | 2683645.63 | 1238044.6935
75 | 2683531.6228 | 1237861.3459 | 2683531.7521 | 1237861.3679
76 | 2683566.2289 | 1237871.2395 | 2683561.1058 | 1237870.2478 | 2683558.0722 | 1237865.3905 | 2683536.9322 | 1237862.2465 | 2683531.7521 | 1237861.3679
77 | 2683564.816 | 1237942.8664 | 2683563.419 | 1237952.8453
78 | 2683595.6438 | 1237907.3045 | 2683587.4685 | 1237896.3261 | 2683586.1457 | 1237896.2408
79 | 2683595.6438 | 1237907.3045 | 2683595.8424 | 1237919.5271
80 | 2683595.8424 | 1237919.5271 | 2683595.9237 | 1237934.4755
81 | 2683594.9139 | 1237960.2097 | 2683595.9795 | 1237944.7137 | 2683595.9237 | 1237934.4755
82 | 2683671.1499 | 1237935.2208 | 2683637.081 | 1237932.0886
83 | 2683662.5571 | 1238049.3586 | 2683669.1778 | 1238020.9208 | 2683669.4654 | 1238018.6943
84 | 2683661.0038 | 1238056.0306 | 2683662.5571 | 1238049.3586
85 | 2683669.4654 | 1238018.6943 | 2683672.1501 | 1237997.9129 | 2683673.1144 | 1237986.0176
86 | 2683661.0038 | 1238056.0306 | 2683654.5056 | 1238076.9207 | 2683653.9637 | 1238079.0932
87 | 2683671.0174 | 1238107.7863 | 2683670.7783 | 1238104.3472 | 2683669.6869 | 1238101.8078 | 2683667.5445 | 1238100.8324 | 2683650.6608 | 1238097.9704 | 2683649.6545 | 1238096.3662 | 2683653.9637 | 1238079.0932
88 | 2683671.0174 | 1238107.7863 | 2683673.4373 | 1238106.7864 | 2683675.7785 | 1238104.9291 | 2683678.9617 | 1238090.5555
89 | 2683671.1499 | 1237935.2208 | 2683664.3058 | 1237941.4622 | 2683650.6429 | 1237955.9023 | 2683647.8188 | 1237962.4894 | 2683643.5449 | 1237977.5253
90 | 2683593.7174 | 1237973.1799 | 2683594.9139 | 1237960.2097
91 | 2683596.3644 | 1237967.88 | 2683593.7174 | 1237973.1799

## bus_geodata
| x | y | coords
0 | 2683510.4867 | 1238170.7849
1 | 2683513.7743 | 1238136.4149
2 | 2683494.8478 | 1238080.8548
3 | 2683506.8003 | 1238070.9492
4 | 2683519.4921 | 1238060.4308
5 | 2683570.5575 | 1238186.4267
6 | 2683571.4813 | 1238170.4184
7 | 2683528.7289 | 1238051.6326
8 | 2683534.6388 | 1238047.2459
9 | 2683538.6826 | 1238033.5375
10 | 2683572.4686 | 1238153.3103
11 | 2683574.9894 | 1238109.6272
12 | 2683575.3543 | 1238103.3032
13 | 2683576.3464 | 1238083.4884
14 | 2683576.5175 | 1238077.5639
15 | 2683575.6736 | 1238097.7702
16 | 2683578.4986 | 1238008.9467
17 | 2683591.5119 | 1238004.6157
18 | 2683553.6466 | 1238004.5718
19 | 2683548.414 | 1238009.2301
20 | 2683554.2492 | 1237992.6696
21 | 2683567.2076 | 1238035.4957
22 | 2683535.8608 | 1238038.072
23 | 2683565.7326 | 1238061.8048
24 | 2683579.5053 | 1237915.4165
25 | 2683580.0153 | 1237895.8542
26 | 2683567.5166 | 1237924.0035
27 | 2683593.464 | 1237976.7911
28 | 2683547.3257 | 1237729.6094
29 | 2683564.8911 | 1237727.2467
30 | 2683543.203 | 1237751.1342
31 | 2683577.1088 | 1237725.6033
32 | 2683544.1813 | 1237798.5313
33 | 2683588.7157 | 1237754.0313
34 | 2683566.0916 | 1237659.5791
35 | 2683535.5094 | 1237807.9768
36 | 2683578.0892 | 1237781.7146
37 | 2683577.6191 | 1237814.0504
38 | 2683610.1209 | 1237754.4884
39 | 2683588.1708 | 1237784.1781
40 | 2683526.4183 | 1237808.2936
41 | 2683576.694 | 1237847.2334
42 | 2683611.3559 | 1237808.3399
43 | 2683586.6604 | 1237867.75
44 | 2683586.4698 | 1237878.3021
45 | 2683586.9559 | 1237851.4016
46 | 2683574.4984 | 1237867.4786
47 | 2683574.1138 | 1237872.7659
48 | 2683642.7879 | 1237798.1991
49 | 2683639.2943 | 1237832.8825
50 | 2683635.7504 | 1237874.2173
51 | 2683632.7969 | 1237909.6152
52 | 2683632.6058 | 1237911.9059
53 | 2683480.818 | 1237797.5894
54 | 2683520.1801 | 1237830.6633
55 | 2683514.0761 | 1237852.5515
56 | 2683513.7001 | 1237858.3059
57 | 2683490.3671 | 1237768.3898
58 | 2683491.0472 | 1237765.3102
59 | 2683522.3785 | 1237859.7779
60 | 2683554.4741 | 1237991.6857
61 | 2683558.5968 | 1237980.6964
62 | 2683562.2802 | 1237962.7474
63 | 2683562.3277 | 1237962.1314
64 | 2683502.6609 | 1238041.2575
65 | 2683629.8255 | 1238040.5027
66 | 2683636.298 | 1238003.0204
67 | 2683645.63 | 1238044.6935
68 | 2683561.8687 | 1238059.0413
69 | 2683531.6228 | 1237861.3459
70 | 2683531.7521 | 1237861.3679
71 | 2683566.2289 | 1237871.2395
72 | 2683563.419 | 1237952.8453
73 | 2683564.816 | 1237942.8664
74 | 2683586.1457 | 1237896.2408
75 | 2683573.2748 | 1237895.8149
76 | 2683595.6438 | 1237907.3045
77 | 2683595.8424 | 1237919.5271
78 | 2683595.9237 | 1237934.4755
79 | 2683637.081 | 1237932.0886
80 | 2683587.2999 | 1237832.3657
81 | 2683662.5571 | 1238049.3586
82 | 2683669.4654 | 1238018.6943
83 | 2683661.0038 | 1238056.0306
84 | 2683673.1144 | 1237986.0176
85 | 2683653.9637 | 1238079.0932
86 | 2683671.0174 | 1238107.7863
87 | 2683678.9617 | 1238090.5555
88 | 2683671.1499 | 1237935.2208
89 | 2683643.5449 | 1237977.5253
90 | 2683594.9139 | 1237960.2097
91 | 2683593.7174 | 1237973.1799
92 | 2683596.3644 | 1237967.88
93 | 2683597.8006 | 1237952.3892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97909 | -0.40291 | 0.0063427 | 0.0015896
1 | 0.97929 | -0.39893 | 0.020529 | 0.0051451
2 | 0.98078 | -0.36977 | 0 | 0
3 | 0.98117 | -0.36221 | 0.0026111 | 0.00065441
4 | 0.98162 | -0.35342 | 0.0049993 | 0.0012529
5 | 0.99252 | -0.14393 | 0.0067278 | 0.0016861
6 | 0.99262 | -0.14202 | 0.0093029 | 0.0023315
7 | 0.98202 | -0.34546 | 0 | 0
8 | 0.98226 | -0.34088 | 0 | 0
9 | 0.98289 | -0.3285 | 0 | 0
10 | 0.99287 | -0.13717 | 0.0069224 | 0.0017349
11 | 0.99379 | -0.11942 | 0.0048248 | 0.0012092
12 | 0.99395 | -0.11632 | 0.0030202 | 0.00075694
13 | 0.99454 | -0.10489 | 0.0070102 | 0.0017569
14 | 0.99476 | -0.10068 | 0.0028929 | 0.00072504
15 | 0.9941 | -0.11331 | 0.0025781 | 0.00064614
16 | 0.99747 | -0.048483 | 0 | 0
17 | 0.99801 | -0.038116 | 0 | 0
18 | 0.98437 | -0.29975 | 0 | 0
19 | 0.98401 | -0.30678 | 0.0071319 | 0.0017874
20 | 0.98496 | -0.28823 | 0.0013291 | 0.0003331
21 | 0.98279 | -0.33053 | 0 | 0
22 | 0.98285 | -0.32924 | 0.0039608 | 0.00099266
23 | 0.9827 | -0.33234 | 0.001669 | 0.00041828
24 | 0.99099 | -0.17152 | 0 | 0
25 | 0.99258 | -0.14115 | 0 | 0
26 | 0.98953 | -0.19978 | 0.0043879 | 0.0010997
27 | 0.99911 | -0.017011 | 0.0023253 | 0.00058278
28 | 0.98168 | -0.35252 | 0.0045599 | 0.0011428
29 | 0.98148 | -0.35631 | 0.0020032 | 0.00050204
30 | 0.98204 | -0.3454 | 0.0027326 | 0.00068485
31 | 0.98137 | -0.3585 | 0 | 0
32 | 0.98288 | -0.32902 | 0.0015663 | 0.00039256
33 | 0.98126 | -0.36067 | 0 | 0
34 | 0.98094 | -0.36689 | 0.0068959 | 0.0017283
35 | 0.98316 | -0.32352 | 0.0031738 | 0.00079543
36 | 0.98901 | -0.20995 | 0.005423 | 0.0013591
37 | 0.98917 | -0.20682 | 0.0034569 | 0.00086638
38 | 0.98124 | -0.3611 | 0 | 0
39 | 0.98121 | -0.36165 | 0.0017967 | 0.00045028
40 | 0.98336 | -0.31961 | 0 | 0
41 | 0.98944 | -0.20157 | 0.0037923 | 0.00095044
42 | 0.98118 | -0.3622 | 0.0011259 | 0.00028218
43 | 0.99059 | -0.17936 | 0 | 0
44 | 0.99145 | -0.16274 | 0.011684 | 0.0029283
45 | 0.99048 | -0.18146 | 0.0035944 | 0.00090083
46 | 0.98968 | -0.19697 | 0 | 0
47 | 0.98934 | -0.20347 | 0 | 0
48 | 0.98942 | -0.2015 | 0.0048233 | 0.0012088
49 | 0.98958 | -0.1985 | 0.011408 | 0.0028591
50 | 0.9902 | -0.18652 | 0.012192 | 0.0030557
51 | 0.99112 | -0.16859 | 0.021639 | 0.0054233
52 | 0.99123 | -0.16655 | 0 | 0
53 | 0.98237 | -0.33905 | 0 | 0
54 | 0.98432 | -0.3008 | 0.0032327 | 0.00081019
55 | 0.98534 | -0.28111 | 0 | 0
56 | 0.98559 | -0.27612 | 0.0026046 | 0.00065279
57 | 0.98175 | -0.35101 | 0.017971 | 0.0045039
58 | 0.98174 | -0.35119 | 0.0031467 | 0.00078864
59 | 0.98601 | -0.26809 | 0.0098366 | 0.0024653
60 | 0.98501 | -0.28724 | 0.0017665 | 0.00044273
61 | 0.98562 | -0.27533 | 0.0018671 | 0.00046793
62 | 0.98662 | -0.25609 | 0.0011152 | 0.00027949
63 | 0.98665 | -0.25544 | 0.019116 | 0.0047909
64 | 0.98273 | -0.33173 | 0.0037037 | 0.00092824
65 | 0.97291 | -0.52162 | 0 | 0
66 | 0.97497 | -0.48109 | 0.067392 | 0.01689
67 | 0.97205 | -0.53846 | 0.010404 | 0.0026076
68 | 0.98269 | -0.33252 | 0.0021423 | 0.00053692
69 | 0.98653 | -0.2579 | 0.0034805 | 0.00087229
70 | 0.98654 | -0.25775 | 0.0020652 | 0.00051758
71 | 0.98883 | -0.21331 | 0.0025753 | 0.00064542
72 | 0.98733 | -0.24234 | 0.001093 | 0.00027393
73 | 0.98806 | -0.22804 | 0.0038103 | 0.00095495
74 | 0.99311 | -0.13086 | 0 | 0
75 | 0.99253 | -0.14203 | 0.0074018 | 0.0018551
76 | 0.99446 | -0.10501 | 0 | 0
77 | 0.99519 | -0.090989 | 0 | 0
78 | 0.99695 | -0.057711 | 0.0041042 | 0.0010286
79 | 0.98835 | -0.22146 | 0.0060332 | 0.0015121
80 | 0.99042 | -0.18269 | 0.0036392 | 0.00091206
81 | 0.97102 | -0.55885 | 0.010104 | 0.0025323
82 | 0.97045 | -0.57024 | 0.016371 | 0.0041029
83 | 0.97121 | -0.5551 | 0 | 0
84 | 0.97035 | -0.57218 | 0.0031968 | 0.0008012
85 | 0.97085 | -0.56213 | 0.0027006 | 0.00067682
86 | 0.9703 | -0.57312 | 0 | 0
87 | 0.97005 | -0.57805 | 0.013083 | 0.003279
88 | 0.98424 | -0.30034 | 0 | 0
89 | 0.97801 | -0.42137 | 0.005426 | 0.0013599
90 | 1 | 0 | -0.45483 | -0.1162
91 | 0.99926 | -0.014129 | 0 | 0
92 | 0.99917 | -0.015841 | 0.016568 | 0.0041524
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0063427 | -0.0015896 | 0.0063439 | 0.00159 | 1.2044e-06 | 3.3602e-07 | 0.0096395 | 0.0096394 | 0.0096395 | 0.97909 | -0.40291 | 0.97929 | -0.39893 | 2.6482
1 | -0.026873 | -0.0067351 | 0.026911 | 0.0067583 | 3.7384e-05 | 2.3172e-05 | 0.040833 | 0.040833 | 0.040833 | 0.97929 | -0.39893 | 0.98078 | -0.36977 | 11.2179
2 | -0.026911 | -0.0067583 | 0.02692 | 0.0067643 | 9.7062e-06 | 6.016e-06 | 0.040833 | 0.040833 | 0.040833 | 0.98078 | -0.36977 | 0.98117 | -0.36221 | 11.2179
3 | -0.029531 | -0.0074187 | 0.029544 | 0.0074264 | 1.2402e-05 | 7.7293e-06 | 0.044793 | 0.044793 | 0.044793 | 0.98117 | -0.36221 | 0.98162 | -0.35342 | 12.3057
4 | -0.034543 | -0.0086793 | 0.034556 | 0.0086876 | 1.3122e-05 | 8.2366e-06 | 0.052371 | 0.052371 | 0.052371 | 0.98162 | -0.35342 | 0.98202 | -0.34546 | 14.3877
5 | -0.0067278 | -0.0016861 | 0.0067284 | 0.0016863 | 6.1176e-07 | 1.8427e-07 | 0.010087 | 0.010086 | 0.010087 | 0.99252 | -0.14393 | 0.99262 | -0.14202 | 2.771
6 | -0.016031 | -0.0040178 | 0.016035 | 0.00402 | 3.7114e-06 | 2.1537e-06 | 0.024032 | 0.024032 | 0.024032 | 0.99262 | -0.14202 | 0.99287 | -0.13717 | 6.6023
7 | -0.034556 | -0.0086876 | 0.034564 | 0.0086923 | 7.5566e-06 | 4.7432e-06 | 0.052371 | 0.052371 | 0.052371 | 0.98202 | -0.34546 | 0.98226 | -0.34088 | 14.3877
8 | -0.034564 | -0.0086923 | 0.034584 | 0.0087052 | 2.0457e-05 | 1.2841e-05 | 0.052371 | 0.052371 | 0.052371 | 0.98226 | -0.34088 | 0.98289 | -0.3285 | 14.3877
9 | 0.003812 | 0.00095489 | -0.0038116 | -0.00095502 | 3.6745e-07 | -1.377e-07 | 0.0057709 | 0.005771 | 0.005771 | 0.98289 | -0.3285 | 0.98279 | -0.33053 | 1.5854
10 | 0.0076652 | 0.0019208 | -0.0076649 | -0.0019207 | 2.697e-07 | 1.0492e-07 | 0.011604 | 0.011604 | 0.011604 | 0.98289 | -0.3285 | 0.98285 | -0.32924 | 3.188
11 | -0.046061 | -0.011581 | 0.046109 | 0.011611 | 4.7824e-05 | 3.0275e-05 | 0.069746 | 0.069746 | 0.069746 | 0.98289 | -0.3285 | 0.98401 | -0.30678 | 19.161
12 | -0.022957 | -0.0057549 | 0.022977 | 0.0057668 | 1.9425e-05 | 1.1865e-05 | 0.034407 | 0.034407 | 0.034407 | 0.99287 | -0.13717 | 0.99379 | -0.11942 | 9.4524
13 | -0.027802 | -0.006976 | 0.027806 | 0.0069786 | 4.117e-06 | 2.5528e-06 | 0.041631 | 0.041631 | 0.041631 | 0.99379 | -0.11942 | 0.99395 | -0.11632 | 11.4371
14 | -0.030826 | -0.0077355 | 0.03083 | 0.0077383 | 4.4269e-06 | 2.7614e-06 | 0.046152 | 0.046152 | 0.046152 | 0.99395 | -0.11632 | 0.9941 | -0.11331 | 12.6792
15 | -0.040432 | -0.01015 | 0.04044 | 0.010155 | 8.1353e-06 | 5.1297e-06 | 0.0605 | 0.0605 | 0.0605 | 0.99454 | -0.10489 | 0.99476 | -0.10068 | 16.6209
16 | 0.033422 | 0.0083928 | -0.033409 | -0.0083844 | 1.3411e-05 | 8.3979e-06 | 0.050011 | 0.050011 | 0.050011 | 0.99454 | -0.10489 | 0.9941 | -0.11331 | 13.7394
17 | -0.043333 | -0.01088 | 0.043441 | 0.010948 | 0.00010818 | 6.8344e-05 | 0.064827 | 0.064827 | 0.064827 | 0.99476 | -0.10068 | 0.99747 | -0.048483 | 17.8097
18 | -0.043441 | -0.010948 | 0.043463 | 0.010962 | 2.1557e-05 | 1.3618e-05 | 0.064827 | 0.064827 | 0.064827 | 0.99747 | -0.048483 | 0.99801 | -0.038116 | 17.8096
19 | -0.043463 | -0.010962 | 0.043507 | 0.01099 | 4.3958e-05 | 2.7768e-05 | 0.064827 | 0.064827 | 0.064827 | 0.99801 | -0.038116 | 0.99911 | -0.017011 | 17.8096
20 | 0.053259 | 0.01341 | -0.053241 | -0.013399 | 1.7915e-05 | 1.1372e-05 | 0.080531 | 0.080531 | 0.080531 | 0.98437 | -0.29975 | 0.98401 | -0.30678 | 22.1239
21 | -0.053259 | -0.01341 | 0.053288 | 0.013429 | 2.9334e-05 | 1.8621e-05 | 0.080531 | 0.080531 | 0.080531 | 0.98437 | -0.29975 | 0.98496 | -0.28823 | 22.1239
22 | -0.054617 | -0.013762 | 0.05462 | 0.013763 | 2.5783e-06 | 1.6372e-06 | 0.082539 | 0.082539 | 0.082539 | 0.98496 | -0.28823 | 0.98501 | -0.28724 | 22.6755
23 | 0.0038116 | 0.00095502 | -0.0038113 | -0.00095515 | 3.2968e-07 | -1.2346e-07 | 0.005771 | 0.0057711 | 0.0057711 | 0.98279 | -0.33053 | 0.9827 | -0.33234 | 1.5855
24 | 0.0037042 | 0.00092805 | -0.0037037 | -0.00092824 | 4.3914e-07 | -1.9078e-07 | 0.0056079 | 0.0056081 | 0.0056081 | 0.98285 | -0.32924 | 0.98273 | -0.33173 | 1.5407
25 | 0.0021423 | 0.00053687 | -0.0021423 | -0.00053692 | 1.8746e-08 | -4.8186e-08 | 0.0032439 | 0.003244 | 0.003244 | 0.9827 | -0.33234 | 0.98269 | -0.33252 | 0.8912
26 | -0.088201 | -0.022344 | 0.088329 | 0.022426 | 0.00012888 | 8.223e-05 | 0.13252 | 0.13252 | 0.13252 | 0.99099 | -0.17152 | 0.99258 | -0.14115 | 36.407
27 | 0.088201 | 0.022344 | -0.088081 | -0.022267 | 0.00011955 | 7.628e-05 | 0.13252 | 0.13252 | 0.13252 | 0.99099 | -0.17152 | 0.98953 | -0.19978 | 36.407
28 | -0.095732 | -0.024281 | 0.095779 | 0.024311 | 4.7368e-05 | 3.0236e-05 | 0.14362 | 0.14362 | 0.14362 | 0.99258 | -0.14115 | 0.99311 | -0.13086 | 39.4555
29 | 0.0074021 | 0.0018552 | -0.0074018 | -0.0018551 | 3.1127e-07 | 1.1209e-07 | 0.011097 | 0.011097 | 0.011097 | 0.99258 | -0.14115 | 0.99253 | -0.14203 | 3.0486
30 | 0.083693 | 0.021168 | -0.08358 | -0.021095 | 0.00011331 | 7.2272e-05 | 0.12592 | 0.12592 | 0.12592 | 0.98953 | -0.19978 | 0.98806 | -0.22804 | 34.5943
31 | -0.045832 | -0.011572 | 0.045839 | 0.011576 | 6.3309e-06 | 4.0044e-06 | 0.06829 | 0.06829 | 0.06829 | 0.99911 | -0.017011 | 0.99926 | -0.014129 | 18.761
32 | 0.011828 | 0.0029638 | -0.011826 | -0.0029627 | 2.1364e-06 | 1.1433e-06 | 0.017929 | 0.017929 | 0.017929 | 0.98168 | -0.35252 | 0.98148 | -0.35631 | 4.9255
33 | -0.016388 | -0.0041066 | 0.016394 | 0.0041099 | 5.5611e-06 | 3.2551e-06 | 0.024841 | 0.02484 | 0.024841 | 0.98168 | -0.35252 | 0.98204 | -0.3454 | 6.8243
34 | 0.0098227 | 0.0024606 | -0.0098217 | -0.0024601 | 1.0252e-06 | 5.0034e-07 | 0.014892 | 0.014892 | 0.014892 | 0.98148 | -0.35631 | 0.98137 | -0.3585 | 4.0911
35 | -0.019126 | -0.0047947 | 0.019141 | 0.0048037 | 1.4936e-05 | 8.9588e-06 | 0.028981 | 0.028981 | 0.028981 | 0.98204 | -0.3454 | 0.98288 | -0.32902 | 7.9618
36 | 0.002923 | 0.00073092 | -0.0029227 | -0.00073124 | 3.0101e-07 | -3.2372e-07 | 0.0044315 | 0.0044317 | 0.0044317 | 0.98137 | -0.3585 | 0.98126 | -0.36067 | 1.2175
37 | 0.0068987 | 0.0017292 | -0.0068959 | -0.0017283 | 2.756e-06 | 9.1556e-07 | 0.01046 | 0.010461 | 0.010461 | 0.98137 | -0.3585 | 0.98094 | -0.36689 | 2.8738
38 | -0.020707 | -0.0051963 | 0.020713 | 0.0051995 | 5.4275e-06 | 3.2869e-06 | 0.031352 | 0.031352 | 0.031352 | 0.98288 | -0.32902 | 0.98316 | -0.32352 | 8.6132
39 | 0.001126 | 0.00028129 | -0.001126 | -0.00028154 | 2.3332e-08 | -2.5472e-07 | 0.0017072 | 0.0017073 | 0.0017073 | 0.98126 | -0.36067 | 0.98124 | -0.3611 | 0.46903
40 | 0.0017967 | 0.00044996 | -0.0017967 | -0.00045028 | 8.3935e-08 | -3.2715e-07 | 0.0027245 | 0.0027246 | 0.0027246 | 0.98126 | -0.36067 | 0.98121 | -0.36165 | 0.74853
41 | -0.023887 | -0.005995 | 0.023891 | 0.0059977 | 4.4592e-06 | 2.7385e-06 | 0.036156 | 0.036156 | 0.036156 | 0.98316 | -0.32352 | 0.98336 | -0.31961 | 9.9328
42 | -0.005423 | -0.0013591 | 0.0054238 | 0.0013592 | 8.0732e-07 | 1.0162e-07 | 0.0081592 | 0.008159 | 0.0081592 | 0.98901 | -0.20995 | 0.98917 | -0.20682 | 2.2415
43 | -0.0088807 | -0.0022256 | 0.0088829 | 0.0022266 | 2.2219e-06 | 9.9571e-07 | 0.013359 | 0.013359 | 0.013359 | 0.98917 | -0.20682 | 0.98944 | -0.20157 | 3.6701
44 | 0.001126 | 0.00028154 | -0.0011259 | -0.00028218 | 5.8935e-08 | -6.4322e-07 | 0.0017073 | 0.0017075 | 0.0017075 | 0.98124 | -0.3611 | 0.98118 | -0.3622 | 0.4691
45 | 0.021149 | 0.0053117 | -0.02113 | -0.0052998 | 1.9595e-05 | 1.1894e-05 | 0.032007 | 0.032007 | 0.032007 | 0.98336 | -0.31961 | 0.98237 | -0.33905 | 8.7931
46 | -0.04504 | -0.011309 | 0.045081 | 0.011335 | 4.0462e-05 | 2.56e-05 | 0.068162 | 0.068162 | 0.068162 | 0.98336 | -0.31961 | 0.98432 | -0.3008 | 18.7259
47 | -0.012675 | -0.0031771 | 0.012678 | 0.0031786 | 2.7782e-06 | 1.5161e-06 | 0.019062 | 0.019062 | 0.019062 | 0.98944 | -0.20157 | 0.98968 | -0.19697 | 5.2369
48 | -0.089159 | -0.022526 | 0.08923 | 0.022572 | 7.1059e-05 | 4.5342e-05 | 0.134 | 0.134 | 0.134 | 0.99059 | -0.17936 | 0.99145 | -0.16274 | 36.8118
49 | 0.0072345 | 0.001813 | -0.0072337 | -0.0018128 | 7.2413e-07 | 2.5297e-07 | 0.010867 | 0.010867 | 0.010867 | 0.99059 | -0.17936 | 0.99048 | -0.18146 | 2.9855
50 | 0.081925 | 0.020713 | -0.081856 | -0.020669 | 6.9163e-05 | 4.4108e-05 | 0.12313 | 0.12313 | 0.12313 | 0.99059 | -0.17936 | 0.98968 | -0.19697 | 33.8264
51 | -0.10091 | -0.0255 | 0.10107 | 0.025599 | 0.00015449 | 9.8641e-05 | 0.15153 | 0.15153 | 0.15153 | 0.99145 | -0.16274 | 0.99311 | -0.13086 | 41.6294
52 | 0.0036394 | 0.00091195 | -0.0036392 | -0.00091206 | 2.1343e-07 | -1.0844e-07 | 0.0054674 | 0.0054675 | 0.0054675 | 0.99048 | -0.18146 | 0.99042 | -0.18269 | 1.5021
53 | 0.069178 | 0.017491 | -0.069156 | -0.017477 | 2.1532e-05 | 1.3712e-05 | 0.10407 | 0.10407 | 0.10407 | 0.98968 | -0.19697 | 0.98934 | -0.20347 | 28.5895
54 | 0.069156 | 0.017477 | -0.069124 | -0.017456 | 3.2616e-05 | 2.0771e-05 | 0.10407 | 0.10407 | 0.10407 | 0.98934 | -0.20347 | 0.98883 | -0.21331 | 28.5895
55 | -0.0048233 | -0.0012088 | 0.004824 | 0.0012088 | 6.8783e-07 | -7.5613e-09 | 0.0072539 | 0.0072538 | 0.0072539 | 0.98942 | -0.2015 | 0.98958 | -0.1985 | 1.9928
56 | -0.016232 | -0.0040679 | 0.016241 | 0.0040733 | 9.2682e-06 | 5.3983e-06 | 0.024408 | 0.024407 | 0.024408 | 0.98958 | -0.1985 | 0.9902 | -0.18652 | 6.7054
57 | -0.028434 | -0.007129 | 0.028458 | 0.0071441 | 2.432e-05 | 1.5108e-05 | 0.04273 | 0.042729 | 0.04273 | 0.9902 | -0.18652 | 0.99112 | -0.16859 | 11.7389
58 | -0.050097 | -0.012567 | 0.050102 | 0.012571 | 4.8769e-06 | 3.0916e-06 | 0.075217 | 0.075217 | 0.075217 | 0.99112 | -0.16859 | 0.99123 | -0.16655 | 20.6641
59 | 0.1369 | 0.035158 | -0.13654 | -0.034925 | 0.0003639 | 0.0002326 | 0.20581 | 0.20581 | 0.20581 | 0.99123 | -0.16655 | 0.98835 | -0.22146 | 56.5426
60 | -0.187 | -0.047728 | 0.18769 | 0.048166 | 0.00068542 | 0.00043747 | 0.28103 | 0.28103 | 0.28103 | 0.99123 | -0.16655 | 0.99519 | -0.090989 | 38.6032
61 | 0.02113 | 0.0052998 | -0.021118 | -0.0052925 | 1.2045e-05 | 7.3122e-06 | 0.032007 | 0.032007 | 0.032007 | 0.98237 | -0.33905 | 0.98175 | -0.35101 | 8.7932
62 | -0.048313 | -0.012145 | 0.048359 | 0.012174 | 4.5471e-05 | 2.8812e-05 | 0.073049 | 0.073049 | 0.073049 | 0.98432 | -0.3008 | 0.98534 | -0.28111 | 20.0684
63 | -0.048359 | -0.012174 | 0.04837 | 0.012181 | 1.1539e-05 | 7.3117e-06 | 0.073049 | 0.073049 | 0.073049 | 0.98534 | -0.28111 | 0.98559 | -0.27612 | 20.0684
64 | -0.050975 | -0.012834 | 0.050995 | 0.012847 | 1.9561e-05 | 1.2407e-05 | 0.076981 | 0.076981 | 0.076981 | 0.98559 | -0.27612 | 0.98601 | -0.26809 | 21.1487
65 | 0.0031467 | 0.00078862 | -0.0031467 | -0.00078864 | 2.6903e-08 | -2.2661e-08 | 0.0047694 | 0.0047694 | 0.0047694 | 0.98175 | -0.35101 | 0.98174 | -0.35119 | 1.3103
66 | -0.060831 | -0.015312 | 0.060861 | 0.015331 | 2.9648e-05 | 1.8855e-05 | 0.091826 | 0.091826 | 0.091826 | 0.98601 | -0.26809 | 0.98653 | -0.2579 | 25.2269
67 | -0.056387 | -0.014206 | 0.056419 | 0.014226 | 3.2143e-05 | 2.0421e-05 | 0.085207 | 0.085207 | 0.085207 | 0.98501 | -0.28724 | 0.98562 | -0.27533 | 23.4086
68 | -0.058286 | -0.014694 | 0.05834 | 0.014729 | 5.3719e-05 | 3.4144e-05 | 0.088026 | 0.088026 | 0.088026 | 0.98562 | -0.27533 | 0.98662 | -0.25609 | 24.183
69 | -0.059455 | -0.015008 | 0.059457 | 0.015009 | 1.8647e-06 | 1.1855e-06 | 0.089708 | 0.089708 | 0.089708 | 0.98662 | -0.25609 | 0.98665 | -0.25544 | 24.6451
70 | -0.078573 | -0.0198 | 0.078622 | 0.019832 | 4.9289e-05 | 3.1425e-05 | 0.11854 | 0.11854 | 0.11854 | 0.98665 | -0.25544 | 0.98733 | -0.24234 | 32.5653
71 | -0.055972 | -0.014069 | 0.056081 | 0.014138 | 0.00010857 | 6.8991e-05 | 0.085622 | 0.085622 | 0.085622 | 0.97291 | -0.52162 | 0.97497 | -0.48109 | 23.5226
72 | 0.055972 | 0.014069 | -0.055927 | -0.014041 | 4.4951e-05 | 2.8566e-05 | 0.085622 | 0.085622 | 0.085622 | 0.97291 | -0.52162 | 0.97205 | -0.53846 | 23.5226
73 | -0.12347 | -0.031028 | 0.12383 | 0.031254 | 0.00035308 | 0.00022564 | 0.18848 | 0.18848 | 0.18848 | 0.97497 | -0.48109 | 0.97801 | -0.42137 | 51.7793
74 | 0.045523 | 0.011433 | -0.045487 | -0.01141 | 3.6111e-05 | 2.2866e-05 | 0.069695 | 0.069696 | 0.069696 | 0.97205 | -0.53846 | 0.97121 | -0.5551 | 19.1471
75 | -0.064341 | -0.016203 | 0.064342 | 0.016203 | 4.635e-07 | 2.9496e-07 | 0.097076 | 0.097076 | 0.097076 | 0.98653 | -0.2579 | 0.98654 | -0.25775 | 26.6692
76 | -0.066407 | -0.016721 | 0.066548 | 0.016811 | 0.00014143 | 9.0035e-05 | 0.10019 | 0.10019 | 0.10019 | 0.98654 | -0.25775 | 0.98883 | -0.21331 | 27.5249
77 | -0.079715 | -0.020106 | 0.079769 | 0.02014 | 5.4579e-05 | 3.4802e-05 | 0.12018 | 0.12018 | 0.12018 | 0.98733 | -0.24234 | 0.98806 | -0.22804 | 33.0179
78 | -0.19685 | -0.04991 | 0.19709 | 0.050066 | 0.00024494 | 0.00015637 | 0.29515 | 0.29515 | 0.29515 | 0.99311 | -0.13086 | 0.99446 | -0.10501 | 40.5424
79 | -0.19709 | -0.050066 | 0.19723 | 0.050151 | 0.00013313 | 8.4727e-05 | 0.29515 | 0.29515 | 0.29515 | 0.99446 | -0.10501 | 0.99519 | -0.090989 | 27.0283
80 | -0.38491 | -0.098317 | 0.38553 | 0.098713 | 0.00062033 | 0.00039643 | 0.57618 | 0.57618 | 0.57618 | 0.99519 | -0.090989 | 0.99695 | -0.057711 | 52.7637
81 | -0.38964 | -0.099742 | 0.39073 | 0.10044 | 0.0010923 | 0.00069806 | 0.5823 | 0.5823 | 0.5823 | 0.99695 | -0.057711 | 1 | 0 | 53.3246
82 | 0.1305 | 0.033413 | -0.13001 | -0.033096 | 0.00049655 | 0.00031736 | 0.19673 | 0.19673 | 0.19673 | 0.98835 | -0.22146 | 0.98424 | -0.30034 | 54.0472
83 | 0.019578 | 0.0049103 | -0.019568 | -0.0049039 | 1.0615e-05 | 6.4048e-06 | 0.030004 | 0.030004 | 0.030004 | 0.97102 | -0.55885 | 0.97045 | -0.57024 | 8.2428
84 | -0.029683 | -0.0074426 | 0.029688 | 0.0074459 | 5.3154e-06 | 3.3171e-06 | 0.045488 | 0.045488 | 0.045488 | 0.97102 | -0.55885 | 0.97121 | -0.5551 | 12.4966
85 | 0.0031971 | 0.00080099 | -0.0031968 | -0.0008012 | 2.9639e-07 | -2.1661e-07 | 0.0049022 | 0.0049023 | 0.0049023 | 0.97045 | -0.57024 | 0.97035 | -0.57218 | 1.3468
86 | 0.015799 | 0.0039645 | -0.015794 | -0.0039614 | 5.2999e-06 | 3.0936e-06 | 0.024208 | 0.024208 | 0.024208 | 0.97121 | -0.5551 | 0.97085 | -0.56213 | 6.6506
87 | 0.013093 | 0.0032845 | -0.013086 | -0.0032807 | 6.8551e-06 | 3.8263e-06 | 0.020069 | 0.020069 | 0.020069 | 0.97085 | -0.56213 | 0.9703 | -0.57312 | 5.5135
88 | 0.013086 | 0.0032807 | -0.013083 | -0.003279 | 3.0705e-06 | 1.7141e-06 | 0.020069 | 0.020069 | 0.020069 | 0.9703 | -0.57312 | 0.97005 | -0.57805 | 5.5135
89 | 0.13001 | 0.033096 | -0.12925 | -0.032614 | 0.00075386 | 0.00048181 | 0.19673 | 0.19673 | 0.19673 | 0.98424 | -0.30034 | 0.97801 | -0.42137 | 54.0473
90 | 0.062451 | 0.015756 | -0.062408 | -0.01573 | 4.2219e-05 | 2.6849e-05 | 0.092964 | 0.092964 | 0.092964 | 1 | 0 | 0.99926 | -0.014129 | 25.5397
91 | 0.01657 | 0.0041532 | -0.016568 | -0.0041524 | 1.3518e-06 | 7.8761e-07 | 0.024674 | 0.024675 | 0.024675 | 0.99926 | -0.014129 | 0.99917 | -0.015841 | 6.7787

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45483 | 0.1162

## res_load
| p_mw | q_mvar
0 | 0.0063427 | 0.0015896
1 | 0.020529 | 0.0051451
2 | 0.0026111 | 0.00065441
3 | 0.0049993 | 0.0012529
4 | 0.0067278 | 0.0016861
5 | 0.0093029 | 0.0023315
6 | 0.0069224 | 0.0017349
7 | 0.0048248 | 0.0012092
8 | 0.0030202 | 0.00075694
9 | 0.0070102 | 0.0017569
10 | 0.0028929 | 0.00072504
11 | 0.0025781 | 0.00064614
12 | 0.0071319 | 0.0017874
13 | 0.0013291 | 0.0003331
14 | 0.0039608 | 0.00099266
15 | 0.001669 | 0.00041828
16 | 0.0043879 | 0.0010997
17 | 0.0023253 | 0.00058278
18 | 0.0045599 | 0.0011428
19 | 0.0020032 | 0.00050204
20 | 0.0027326 | 0.00068485
21 | 0.0015663 | 0.00039256
22 | 0.0068959 | 0.0017283
23 | 0.0031738 | 0.00079543
24 | 0.005423 | 0.0013591
25 | 0.0034569 | 0.00086638
26 | 0.0017967 | 0.00045028
27 | 0.0037923 | 0.00095044
28 | 0.0011259 | 0.00028218
29 | 0.011684 | 0.0029283
30 | 0.0035944 | 0.00090083
31 | 0.0048233 | 0.0012088
32 | 0.011408 | 0.0028591
33 | 0.012192 | 0.0030557
34 | 0.021639 | 0.0054233
35 | 0.0032327 | 0.00081019
36 | 0.0026046 | 0.00065279
37 | 0.017971 | 0.0045039
38 | 0.0031467 | 0.00078864
39 | 0.0098366 | 0.0024653
40 | 0.0017665 | 0.00044273
41 | 0.0018671 | 0.00046793
42 | 0.0011152 | 0.00027949
43 | 0.019116 | 0.0047909
44 | 0.0037037 | 0.00092824
45 | 0.067392 | 0.01689
46 | 0.010404 | 0.0026076
47 | 0.0021423 | 0.00053692
48 | 0.0034805 | 0.00087229
49 | 0.0020652 | 0.00051758
50 | 0.0025753 | 0.00064542
51 | 0.001093 | 0.00027393
52 | 0.0038103 | 0.00095495
53 | 0.0074018 | 0.0018551
54 | 0.0041042 | 0.0010286
55 | 0.0060332 | 0.0015121
56 | 0.0036392 | 0.00091206
57 | 0.010104 | 0.0025323
58 | 0.016371 | 0.0041029
59 | 0.0031968 | 0.0008012
60 | 0.0027006 | 0.00067682
61 | 0.013083 | 0.003279
62 | 0.005426 | 0.0013599
63 | 0.016568 | 0.0041524

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1