## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_136-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_136-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_136-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_136-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_136-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_136-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_136-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_136-9_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_136-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_136-9_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_136-9_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_136-9_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_136-9_0_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_136-9_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_136-9_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_136-9_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_136-9_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_136-9_0_3_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_136-9_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_136-9_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_136-9_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_136-9_0_3_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_136-9_0_3_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_136-9_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_136-9_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_136-9_0_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_136-9_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_136-9_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_136-9_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_136-9_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_136-9_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_136-9_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_136-9_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_136-9_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_136-9_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_136-9_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_136-9_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_136-9_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_136-9_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_136-9_0_3_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_136-9_0_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_136-9_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_136-9_0_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_136-9_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_136-9_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_136-9_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_136-9_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_136-9_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_136-9_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_136-9_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_136-9_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_136-9_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_136-9_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_136-9_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_136-9_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_136-9_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_136-9_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_136-9_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_136-9_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_136-9_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_136-9_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_136-9_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_136-9_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_136-9_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_136-9_0_3_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_136-9_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_136-9_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_136-9_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_136-9_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_136-9_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_136-9_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_136-9_0_3_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_136-9_0_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_136-9_0_3_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_136-9_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_136-9_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_136-9_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_136-9_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_136-9_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_136-9_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_136-9_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_136-9_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_136-9_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_136-9_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_136-9_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_136-9_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_136-9_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_MV_349_2_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_136-9_0_3_load_0 | 0 | 0.0026337 | 0.00066008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_136-9_0_3_load_1 | 1 | 0.0029755 | 0.00074573 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_136-9_0_3_load_2 | 2 | 0.011344 | 0.002843 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_136-9_0_3_load_3 | 3 | 0.0093408 | 0.002341 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_136-9_0_3_load_4 | 4 | 0.0026358 | 0.0006606 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_136-9_0_3_load_5 | 5 | 0.010543 | 0.0026424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_136-9_0_3_load_8 | 8 | 0.01217 | 0.0030502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_136-9_0_3_load_12 | 9 | 0.020207 | 0.0050643 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_136-9_0_3_load_9 | 10 | 0.0019101 | 0.00047871 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_136-9_0_3_load_16 | 11 | 0.015473 | 0.0038778 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_136-9_0_3_load_67 | 12 | 0.0078642 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_136-9_0_3_load_10 | 13 | 0.004232 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_136-9_0_3_load_17 | 14 | 0.0050335 | 0.0012615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_136-9_0_3_load_11 | 15 | 0.0016941 | 0.00042459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_136-9_0_3_load_13 | 16 | 0.0020164 | 0.00050535 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_136-9_0_3_load_19 | 19 | 0.0020811 | 0.00052158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_136-9_0_3_load_64 | 21 | 0.0015254 | 0.0003823 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_136-9_0_3_load_61 | 22 | 0.00063209 | 0.00015842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_136-9_0_3_load_27 | 23 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_136-9_0_3_load_65 | 24 | 0.0066646 | 0.0016703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_136-9_0_3_load_26 | 26 | 0.0010887 | 0.00027285 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_136-9_0_3_load_21 | 27 | 0.0012504 | 0.00031339 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_136-9_0_3_load_22 | 28 | 0.0010178 | 0.00025509 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_136-9_0_3_load_23 | 29 | 0.0013268 | 0.00033254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_136-9_0_3_load_24 | 30 | 0.0097806 | 0.0024512 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_136-9_0_3_load_25 | 31 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_136-9_0_3_load_28 | 32 | 0.0016113 | 0.00040383 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_136-9_0_3_load_29 | 33 | 0.0012613 | 0.00031611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_136-9_0_3_load_32 | 36 | 0.0009727 | 0.00024378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_136-9_0_3_load_33 | 37 | 0.00096845 | 0.00024272 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_136-9_0_3_load_87 | 39 | 0.00070728 | 0.00017726 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_136-9_0_3_load_91 | 40 | 0.0013313 | 0.00033365 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_136-9_0_3_load_89 | 41 | 0.0060582 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_136-9_0_3_load_88 | 42 | 0.00086683 | 0.00021725 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_136-9_0_3_load_34 | 43 | 0.0059746 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_136-9_0_3_load_35 | 44 | 0.0015029 | 0.00037667 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_136-9_0_3_load_36 | 45 | 0.0018588 | 0.00046586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_136-9_0_3_load_37 | 46 | 0.0059757 | 0.0014976 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_136-9_0_3_load_38 | 47 | 0.0033117 | 0.00082999 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_136-9_0_3_load_39 | 48 | 0.002076 | 0.00052029 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_136-9_0_3_load_43 | 50 | 0.0017983 | 0.00045068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_136-9_0_3_load_40 | 51 | 0.0017516 | 0.000439 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_136-9_0_3_load_42 | 52 | 0.0018832 | 0.00047198 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_136-9_0_3_load_44 | 55 | 0.0030695 | 0.00076929 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_136-9_0_3_load_45 | 56 | 0.0033397 | 0.00083701 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_136-9_0_3_load_46 | 57 | 0.0030751 | 0.00077069 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_136-9_0_3_load_47 | 58 | 0.0029363 | 0.0007359 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_136-9_0_3_load_55 | 59 | 0.0020627 | 0.00051697 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_136-9_0_3_load_48 | 61 | 0.0022597 | 0.00056633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_136-9_0_3_load_49 | 62 | 0.00033759 | 8.4609e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_136-9_0_3_load_90 | 64 | 0.0012736 | 0.00031919 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_136-9_0_3_load_63 | 65 | 0.001081 | 0.00027092 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_136-9_0_3_load_60 | 66 | 0.00030611 | 7.6718e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_136-9_0_3_load_56 | 67 | 0.0019606 | 0.00049137 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_136-9_0_3_load_57 | 68 | 0.0010652 | 0.00026697 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_136-9_0_3_load_62 | 69 | 0.0035675 | 0.00089409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_136-9_0_3_load_84 | 70 | 0.0010324 | 0.00025873 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_136-9_0_3_load_82 | 71 | 0.001695 | 0.00042481 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_136-9_0_3_load_80 | 72 | 0.0079605 | 0.0019951 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_136-9_0_3_load_79 | 73 | 0.0016798 | 0.00042101 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_136-9_0_3_load_69 | 74 | 0.0050292 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_136-9_0_3_load_73 | 77 | 0.0057216 | 0.001434 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_136-9_0_3_load_75 | 78 | 0.00146 | 0.00036591 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_136-9_0_3_load_74 | 79 | 0.001294 | 0.00032431 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_136-9_0_3_load_77 | 81 | 0.012507 | 0.0031346 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_136-9_0_3_load_78 | 82 | 0.0028515 | 0.00071466 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_136-9_0_3_load_81 | 83 | 0.0062179 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_136-9_0_3_load_85 | 85 | 0.0023662 | 0.00059304 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_136-9_0_3_load_86 | 86 | 0.0026236 | 0.00065754 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_136-9_0_3_line_0 |  | 0 | 1 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_136-9_0_3_line_1 |  | 0 | 2 | 0.012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_136-9_0_3_line_2 |  | 1 | 3 | 4.7624e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_136-9_0_3_line_3 |  | 2 | 4 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_136-9_0_3_line_4 |  | 3 | 5 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_136-9_0_3_line_5 |  | 4 | 6 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_136-9_0_3_line_6 |  | 6 | 7 | 0.056528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_136-9_0_3_line_7 |  | 6 | 8 | 0.031902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_136-9_0_3_line_8 |  | 7 | 9 | 0.031888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_136-9_0_3_line_9 |  | 7 | 10 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_136-9_0_3_line_10 |  | 8 | 11 | 0.0091055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_136-9_0_3_line_11 |  | 9 | 12 | 0.00661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_136-9_0_3_line_12 |  | 10 | 13 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_136-9_0_3_line_13 |  | 11 | 14 | 0.10747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_136-9_0_3_line_14 |  | 12 | 17 | 0.06781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_136-9_0_3_line_15 |  | 13 | 15 | 0.0073443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_136-9_0_3_line_16 |  | 14 | 18 | 0.063892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_136-9_0_3_line_17 |  | 15 | 16 | 0.027115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_136-9_0_3_line_18 |  | 17 | 72 | 0.007992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_136-9_0_3_line_19 |  | 18 | 19 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_136-9_0_3_line_20 |  | 18 | 20 | 0.055204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_136-9_0_3_line_21 |  | 19 | 21 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_136-9_0_3_line_22 |  | 20 | 22 | 0.052861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_136-9_0_3_line_23 |  | 20 | 23 | 0.02571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_136-9_0_3_line_24 |  | 21 | 24 | 0.039253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_136-9_0_3_line_25 |  | 22 | 25 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_136-9_0_3_line_26 |  | 23 | 26 | 0.019809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_136-9_0_3_line_27 |  | 25 | 66 | 0.028791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_136-9_0_3_line_28 |  | 25 | 69 | 0.035266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_136-9_0_3_line_29 |  | 25 | 67 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_136-9_0_3_line_30 |  | 26 | 31 | 0.0083715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_136-9_0_3_line_31 |  | 27 | 28 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_136-9_0_3_line_32 |  | 27 | 29 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_136-9_0_3_line_33 |  | 28 | 30 | 0.0083517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_136-9_0_3_line_34 |  | 29 | 31 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_136-9_0_3_line_35 |  | 32 | 33 | 0.040347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_136-9_0_3_line_36 |  | 32 | 34 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_136-9_0_3_line_37 |  | 33 | 35 | 0.0062229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_136-9_0_3_line_38 |  | 34 | 36 | 0.0037077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_136-9_0_3_line_39 |  | 34 | 37 | 0.021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_136-9_0_3_line_40 |  | 35 | 38 | 0.074831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_136-9_0_3_line_41 |  | 36 | 39 | 0.024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_136-9_0_3_line_42 |  | 37 | 40 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_136-9_0_3_line_43 |  | 38 | 41 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_136-9_0_3_line_44 |  | 39 | 42 | 0.011642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_136-9_0_3_line_45 |  | 42 | 85 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_136-9_0_3_line_46 |  | 43 | 44 | 0.0027535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_136-9_0_3_line_47 |  | 43 | 45 | 0.03057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_136-9_0_3_line_48 |  | 45 | 46 | 0.004767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_136-9_0_3_line_49 |  | 46 | 47 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_136-9_0_3_line_50 |  | 47 | 48 | 0.0076143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_136-9_0_3_line_51 |  | 48 | 49 | 0.024927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_136-9_0_3_line_52 |  | 49 | 50 | 0.0029381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_136-9_0_3_line_53 |  | 49 | 51 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_136-9_0_3_line_54 |  | 50 | 53 | 0.030083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_136-9_0_3_line_55 |  | 51 | 52 | 0.024148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_136-9_0_3_line_56 |  | 53 | 54 | 0.060189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_136-9_0_3_line_57 |  | 54 | 63 | 0.004753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_136-9_0_3_line_58 |  | 54 | 61 | 0.022533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_136-9_0_3_line_59 |  | 55 | 56 | 0.02821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_136-9_0_3_line_60 |  | 55 | 57 | 0.0031364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_136-9_0_3_line_61 |  | 56 | 58 | 0.0070142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_136-9_0_3_line_62 |  | 58 | 59 | 0.0088701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_136-9_0_3_line_63 |  | 59 | 60 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_136-9_0_3_line_64 |  | 60 | 64 | 0.0099076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_136-9_0_3_line_65 |  | 60 | 62 | 0.0067421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_136-9_0_3_line_66 |  | 61 | 62 | 0.035801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_136-9_0_3_line_67 |  | 63 | 65 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_136-9_0_3_line_68 |  | 64 | 66 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_136-9_0_3_line_69 |  | 67 | 68 | 0.0058019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_136-9_0_3_line_70 |  | 69 | 70 | 0.011674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_136-9_0_3_line_71 |  | 70 | 71 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_136-9_0_3_line_72 |  | 71 | 83 | 0.0028663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_136-9_0_3_line_73 |  | 72 | 73 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_136-9_0_3_line_74 |  | 73 | 82 | 0.025869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_136-9_0_3_line_75 |  | 74 | 75 | 0.026982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_136-9_0_3_line_76 |  | 75 | 76 | 0.002563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_136-9_0_3_line_77 |  | 75 | 77 | 0.051955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_136-9_0_3_line_78 |  | 76 | 78 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_136-9_0_3_line_79 |  | 78 | 79 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_136-9_0_3_line_80 |  | 79 | 80 | 0.054482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_136-9_0_3_line_81 |  | 80 | 81 | 0.0026571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_136-9_0_3_line_82 |  | 81 | 82 | 0.072449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_136-9_0_3_line_83 |  | 83 | 84 | 0.022389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_136-9_0_3_line_84 |  | 84 | 85 | 0.00017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_136-9_0_3_line_85 |  | 84 | 86 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_136-9_0_3_trafo_8 | 0.63 MVA 20/0.4 kV | 87 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682969.4734 | 1238282.6139 | 2682959.7593 | 1238307.3397
1 | 2682969.4734 | 1238282.6139 | 2682974.0166 | 1238271.0498
2 | 2682959.7418 | 1238307.384 | 2682959.7593 | 1238307.3397
3 | 2682978.9413 | 1238258.5147 | 2682974.0166 | 1238271.0498
4 | 2682952.0564 | 1238333.3627 | 2682954.0241 | 1238321.9376 | 2682959.7418 | 1238307.384
5 | 2682985.2525 | 1238242.4506 | 2682978.9413 | 1238258.5147
6 | 2682985.2525 | 1238242.4506 | 2683038.8127 | 1238260.9901
7 | 2682985.2525 | 1238242.4506 | 2682998.1004 | 1238213.2499
8 | 2683038.8127 | 1238260.9901 | 2683053.2677 | 1238232.5667
9 | 2683038.8127 | 1238260.9901 | 2683032.1803 | 1238274.9969
10 | 2683001.7674 | 1238204.9155 | 2682998.1004 | 1238213.2499
11 | 2683053.2677 | 1238232.5667 | 2683056.264 | 1238226.6748
12 | 2683032.1803 | 1238274.9969 | 2683026.1709 | 1238287.6879
13 | 2683001.7674 | 1238204.9155 | 2683037.8624 | 1238122.8786 | 2683040.8869 | 1238105.2981
14 | 2683099.4628 | 1238178.3685 | 2683089.9578 | 1238181.2709 | 2683077.621 | 1238189.2151 | 2683068.2731 | 1238203.0609 | 2683056.264 | 1238226.6748
15 | 2683023.0279 | 1238294.3256 | 2683026.1709 | 1238287.6879
16 | 2683007.7997 | 1238069.1536 | 2683045.0929 | 1238080.8498 | 2683040.8869 | 1238105.2981
17 | 2683023.0279 | 1238294.3256 | 2683011.4238 | 1238318.8321
18 | 2683099.4628 | 1238178.3685 | 2683103.1126 | 1238185.4783
19 | 2683007.7997 | 1238069.1536 | 2683004.2249 | 1238083.8957
20 | 2682967.1556 | 1238068.7632 | 2683009.6734 | 1238057.9718 | 2683007.7997 | 1238069.1536
21 | 2682998.6971 | 1238106.6919 | 2683004.2249 | 1238083.8957
22 | 2682967.1556 | 1238068.7632 | 2682915.8074 | 1238081.3179
23 | 2682967.1556 | 1238068.7632 | 2682963.6026 | 1238094.2263
24 | 2682989.4467 | 1238144.8398 | 2682998.6971 | 1238106.6919
25 | 2682895.6594 | 1238086.2441 | 2682915.8074 | 1238081.3179
26 | 2682963.6026 | 1238094.2263 | 2682960.8651 | 1238113.845
27 | 2682895.6594 | 1238086.2441 | 2682867.7818 | 1238093.4397
28 | 2682895.6594 | 1238086.2441 | 2682906.8819 | 1238108.7834 | 2682907.7761 | 1238118.8307
29 | 2682895.6594 | 1238086.2441 | 2682893.9941 | 1238067.3408 | 2682889.5418 | 1238064.7881
30 | 2682959.7082 | 1238122.1362 | 2682960.8651 | 1238113.845
31 | 2682946.633 | 1238169.2907 | 2682955.3765 | 1238153.1809 | 2682955.8443 | 1238149.8281
32 | 2682957.3592 | 1238138.971 | 2682955.8443 | 1238149.8281
33 | 2682942.6491 | 1238176.631 | 2682946.633 | 1238169.2907
34 | 2682959.7082 | 1238122.1362 | 2682957.3592 | 1238138.971
35 | 2682831.5621 | 1238236.4529 | 2682830.8858 | 1238237.3368 | 2682823.4023 | 1238249.908 | 2682810.6641 | 1238270.958
36 | 2682840.4488 | 1238224.839 | 2682831.5621 | 1238236.4529
37 | 2682807.4423 | 1238276.282 | 2682810.6641 | 1238270.958
38 | 2682840.4488 | 1238224.839 | 2682843.5354 | 1238222.7847
39 | 2682840.4488 | 1238224.839 | 2682849.6889 | 1238228.426 | 2682859.1228 | 1238234.5864
40 | 2682736.4012 | 1238300.4092 | 2682807.4423 | 1238276.282
41 | 2682863.5819 | 1238209.4424 | 2682843.5354 | 1238222.7847
42 | 2682880.5014 | 1238243.2468 | 2682878.8022 | 1238242.3754 | 2682865.4701 | 1238238.7312 | 2682859.1228 | 1238234.5864
43 | 2682736.4012 | 1238300.4092 | 2682712.7305 | 1238309.3054
44 | 2682863.5819 | 1238209.4424 | 2682868.871 | 1238205.922 | 2682871.9903 | 1238201.6515
45 | 2682871.9903 | 1238201.6515 | 2682887.5621 | 1238180.332
46 | 2682736.9335 | 1238210.2529 | 2682734.6331 | 1238211.7661
47 | 2682736.9335 | 1238210.2529 | 2682762.4731 | 1238193.4522
48 | 2682766.4557 | 1238190.8324 | 2682762.4731 | 1238193.4522
49 | 2682766.4557 | 1238190.8324 | 2682771.8253 | 1238187.3001 | 2682776.6049 | 1238182.5411
50 | 2682777.4065 | 1238174.9691 | 2682776.6049 | 1238182.5411 | 2682776.6049 | 1238182.5411
51 | 2682766.7661 | 1238152.4271 | 2682777.4065 | 1238174.9691 | 2682777.4065 | 1238174.9691
52 | 2682766.7661 | 1238152.4271 | 2682764.7544 | 1238150.2858
53 | 2682766.7661 | 1238152.4271 | 2682750.22 | 1238163.4051
54 | 2682744.1557 | 1238128.3616 | 2682764.7544 | 1238150.2858
55 | 2682730.0979 | 1238176.7557 | 2682750.22 | 1238163.4051
56 | 2682783.278 | 1238084.3199 | 2682770.8533 | 1238092.0745 | 2682765.8276 | 1238103.6238 | 2682757.1626 | 1238115.745 | 2682744.1557 | 1238128.3616
57 | 2682783.278 | 1238084.3199 | 2682785.583 | 1238080.1602
58 | 2682783.278 | 1238084.3199 | 2682802.2775 | 1238096.4338
59 | 2682822.8298 | 1238153.8939 | 2682838.5506 | 1238130.4702
60 | 2682821.0819 | 1238156.4982 | 2682822.8298 | 1238153.8939
61 | 2682838.5506 | 1238130.4702 | 2682842.4595 | 1238124.6462
62 | 2682842.4595 | 1238124.6462 | 2682846.3153 | 1238118.9011 | 2682845.9666 | 1238116.9815
63 | 2682842.8587 | 1238099.8727 | 2682845.9666 | 1238116.9815
64 | 2682842.8587 | 1238099.8727 | 2682852.4519 | 1238097.3966
65 | 2682842.8587 | 1238099.8727 | 2682836.2275 | 1238101.0904
66 | 2682802.2775 | 1238096.4338 | 2682808.9164 | 1238100.6667 | 2682821.6437 | 1238103.7685 | 2682836.2275 | 1238101.0904
67 | 2682785.583 | 1238080.1602 | 2682792.7007 | 1238067.333
68 | 2682867.7818 | 1238093.4397 | 2682852.4519 | 1238097.3966
69 | 2682889.5418 | 1238064.7881 | 2682884.5086 | 1238061.9022
70 | 2682908.811 | 1238130.4591 | 2682908.811 | 1238130.4591 | 2682907.7761 | 1238118.8307
71 | 2682899.9301 | 1238158.1097 | 2682904.0419 | 1238150.7069 | 2682908.811 | 1238130.4591
72 | 2682898.5384 | 1238160.6154 | 2682899.9301 | 1238158.1097
73 | 2683108.7079 | 1238204.7979 | 2683104.7579 | 1238188.6832 | 2683103.1126 | 1238185.4783
74 | 2683114.8665 | 1238229.9227 | 2683108.7079 | 1238204.7979
75 | 2683178.8064 | 1238223.3332 | 2683192.22 | 1238199.9216
76 | 2683177.4969 | 1238225.5387 | 2683178.8064 | 1238223.3332
77 | 2683178.8064 | 1238223.3332 | 2683151.6791 | 1238208.6096 | 2683161.2017 | 1238191.4863 | 2683159.942 | 1238190.6792
78 | 2683177.4969 | 1238225.5387 | 2683171.0983 | 1238236.4873
79 | 2683159.721 | 1238255.955 | 2683171.0983 | 1238236.4873
80 | 2683132.2306 | 1238302.9934 | 2683159.721 | 1238255.955
81 | 2683132.2306 | 1238302.9934 | 2683131.6195 | 1238300.4075
82 | 2683114.8665 | 1238229.9227 | 2683117.5681 | 1238240.9441 | 2683131.6195 | 1238300.4075
83 | 2682887.6671 | 1238180.1882 | 2682898.5384 | 1238160.6154
84 | 2682887.5621 | 1238180.332 | 2682887.6671 | 1238180.1882
85 | 2682887.6671 | 1238180.1882 | 2682900.6948 | 1238187.9089

## bus_geodata
| x | y | coords
0 | 2682969.4734 | 1238282.6139
1 | 2682959.7593 | 1238307.3397
2 | 2682974.0166 | 1238271.0498
3 | 2682959.7418 | 1238307.384
4 | 2682978.9413 | 1238258.5147
5 | 2682952.0564 | 1238333.3627
6 | 2682985.2525 | 1238242.4506
7 | 2683038.8127 | 1238260.9901
8 | 2682998.1004 | 1238213.2499
9 | 2683053.2677 | 1238232.5667
10 | 2683032.1803 | 1238274.9969
11 | 2683001.7674 | 1238204.9155
12 | 2683056.264 | 1238226.6748
13 | 2683026.1709 | 1238287.6879
14 | 2683040.8869 | 1238105.2981
15 | 2683023.0279 | 1238294.3256
16 | 2683011.4238 | 1238318.8321
17 | 2683099.4628 | 1238178.3685
18 | 2683007.7997 | 1238069.1536
19 | 2683004.2249 | 1238083.8957
20 | 2682967.1556 | 1238068.7632
21 | 2682998.6971 | 1238106.6919
22 | 2682915.8074 | 1238081.3179
23 | 2682963.6026 | 1238094.2263
24 | 2682989.4467 | 1238144.8398
25 | 2682895.6594 | 1238086.2441
26 | 2682960.8651 | 1238113.845
27 | 2682955.8443 | 1238149.8281
28 | 2682946.633 | 1238169.2907
29 | 2682957.3592 | 1238138.971
30 | 2682942.6491 | 1238176.631
31 | 2682959.7082 | 1238122.1362
32 | 2682831.5621 | 1238236.4529
33 | 2682810.6641 | 1238270.958
34 | 2682840.4488 | 1238224.839
35 | 2682807.4423 | 1238276.282
36 | 2682843.5354 | 1238222.7847
37 | 2682859.1228 | 1238234.5864
38 | 2682736.4012 | 1238300.4092
39 | 2682863.5819 | 1238209.4424
40 | 2682880.5014 | 1238243.2468
41 | 2682712.7305 | 1238309.3054
42 | 2682871.9903 | 1238201.6515
43 | 2682736.9335 | 1238210.2529
44 | 2682734.6331 | 1238211.7661
45 | 2682762.4731 | 1238193.4522
46 | 2682766.4557 | 1238190.8324
47 | 2682776.6049 | 1238182.5411
48 | 2682777.4065 | 1238174.9691
49 | 2682766.7661 | 1238152.4271
50 | 2682764.7544 | 1238150.2858
51 | 2682750.22 | 1238163.4051
52 | 2682730.0979 | 1238176.7557
53 | 2682744.1557 | 1238128.3616
54 | 2682783.278 | 1238084.3199
55 | 2682822.8298 | 1238153.8939
56 | 2682838.5506 | 1238130.4702
57 | 2682821.0819 | 1238156.4982
58 | 2682842.4595 | 1238124.6462
59 | 2682845.9666 | 1238116.9815
60 | 2682842.8587 | 1238099.8727
61 | 2682802.2775 | 1238096.4337
62 | 2682836.2275 | 1238101.0904
63 | 2682785.583 | 1238080.1602
64 | 2682852.4519 | 1238097.3966
65 | 2682792.7007 | 1238067.333
66 | 2682867.7818 | 1238093.4397
67 | 2682889.5418 | 1238064.7881
68 | 2682884.5086 | 1238061.9022
69 | 2682907.7761 | 1238118.8307
70 | 2682908.811 | 1238130.4591
71 | 2682899.9301 | 1238158.1097
72 | 2683103.1126 | 1238185.4783
73 | 2683108.7079 | 1238204.7979
74 | 2683192.22 | 1238199.9216
75 | 2683178.8064 | 1238223.3332
76 | 2683177.4969 | 1238225.5387
77 | 2683159.942 | 1238190.6792
78 | 2683171.0983 | 1238236.4873
79 | 2683159.721 | 1238255.955
80 | 2683132.2306 | 1238302.9934
81 | 2683131.6195 | 1238300.4075
82 | 2683114.8665 | 1238229.9227
83 | 2682898.5384 | 1238160.6154
84 | 2682887.6671 | 1238180.1882
85 | 2682887.5621 | 1238180.332
86 | 2682900.6948 | 1238187.9089
87 | 2682985.2525 | 1238242.4506

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99525 | -0.090933 | 0.0026337 | 0.00066008
1 | 0.9947 | -0.10163 | 0.0029755 | 0.00074573
2 | 0.99554 | -0.08536 | 0.011344 | 0.002843
3 | 0.9947 | -0.10164 | 0.0093408 | 0.002341
4 | 0.99599 | -0.076639 | 0.0026358 | 0.0006606
5 | 0.99443 | -0.1067 | 0.010543 | 0.0026424
6 | 0.99661 | -0.064676 | 0 | 0
7 | 0.99265 | -0.14081 | 0 | 0
8 | 1 | 0 | -0.24942 | -0.06332
9 | 0.9907 | -0.17844 | 0.020207 | 0.0050643
10 | 0.99251 | -0.14351 | 0.0019101 | 0.00047871
11 | 0.99946 | -0.010218 | 0.015473 | 0.0038778
12 | 0.99041 | -0.18389 | 0.0078642 | 0.0019709
13 | 0.9924 | -0.14548 | 0.004232 | 0.0010607
14 | 0.99382 | -0.11698 | 0.0050335 | 0.0012615
15 | 0.99238 | -0.14597 | 0.0016941 | 0.00042459
16 | 0.99233 | -0.14693 | 0.0020164 | 0.00050535
17 | 0.98801 | -0.2304 | 0 | 0
18 | 0.99061 | -0.17816 | 0 | 0
19 | 0.99047 | -0.18093 | 0.0020811 | 0.00052158
20 | 0.9856 | -0.27465 | 0 | 0
21 | 0.99029 | -0.18435 | 0.0015254 | 0.0003823
22 | 0.98163 | -0.35163 | 0.00063209 | 0.00015842
23 | 0.98519 | -0.28253 | 0.0013527 | 0.00033902
24 | 0.99006 | -0.189 | 0.0066646 | 0.0016703
25 | 0.98008 | -0.38177 | 0 | 0
26 | 0.98491 | -0.28812 | 0.0010887 | 0.00027285
27 | 0.98446 | -0.29678 | 0.0012504 | 0.00031339
28 | 0.98425 | -0.301 | 0.0010178 | 0.00025509
29 | 0.98458 | -0.29441 | 0.0013268 | 0.00033254
30 | 0.98417 | -0.30247 | 0.0097806 | 0.0024512
31 | 0.98479 | -0.29032 | 0.0012471 | 0.00031256
32 | 0.97666 | -0.44885 | 0.0016113 | 0.00040383
33 | 0.97639 | -0.45426 | 0.0012613 | 0.00031611
34 | 0.97678 | -0.44647 | 0 | 0
35 | 0.97635 | -0.45495 | 0 | 0
36 | 0.97682 | -0.44571 | 0.0009727 | 0.00024378
37 | 0.97674 | -0.44736 | 0.00096845 | 0.00024272
38 | 0.97593 | -0.46324 | 0 | 0
39 | 0.9771 | -0.44034 | 0.00070728 | 0.00017726
40 | 0.97671 | -0.44792 | 0.0013313 | 0.00033365
41 | 0.97579 | -0.46604 | 0.0060582 | 0.0015183
42 | 0.97724 | -0.43759 | 0.00086683 | 0.00021725
43 | 0.97271 | -0.52649 | 0.0059746 | 0.0014974
44 | 0.97271 | -0.52656 | 0.0015029 | 0.00037667
45 | 0.97292 | -0.52228 | 0.0018588 | 0.00046586
46 | 0.97297 | -0.52146 | 0.0059757 | 0.0014976
47 | 0.97315 | -0.51775 | 0.0033117 | 0.00082999
48 | 0.97329 | -0.51514 | 0.002076 | 0.00052029
49 | 0.97377 | -0.50565 | 0 | 0
50 | 0.97383 | -0.50433 | 0.0017983 | 0.00045068
51 | 0.9737 | -0.50697 | 0.0017516 | 0.000439
52 | 0.97366 | -0.50781 | 0.0018832 | 0.00047198
53 | 0.97457 | -0.48989 | 0 | 0
54 | 0.97603 | -0.46106 | 0 | 0
55 | 0.97721 | -0.43789 | 0.0030695 | 0.00076929
56 | 0.97738 | -0.43473 | 0.0033397 | 0.00083701
57 | 0.97721 | -0.43807 | 0.0030751 | 0.00077069
58 | 0.97744 | -0.43351 | 0.0029363 | 0.0007359
59 | 0.97754 | -0.4315 | 0.0020627 | 0.00051697
60 | 0.97777 | -0.42691 | 0 | 0
61 | 0.9766 | -0.44985 | 0.0022597 | 0.00056633
62 | 0.97759 | -0.43058 | 0.00033759 | 8.4609e-05
63 | 0.97603 | -0.46116 | 0 | 0
64 | 0.97818 | -0.41891 | 0.0012736 | 0.00031919
65 | 0.97601 | -0.46145 | 0.001081 | 0.00027092
66 | 0.97885 | -0.40578 | 0.00030611 | 7.6718e-05
67 | 0.98001 | -0.3831 | 0.0019606 | 0.00049137
68 | 0.98001 | -0.38321 | 0.0010652 | 0.00026697
69 | 0.97906 | -0.40182 | 0.0035675 | 0.00089409
70 | 0.97876 | -0.4077 | 0.0010324 | 0.00025873
71 | 0.97803 | -0.42193 | 0.001695 | 0.00042481
72 | 0.98773 | -0.2359 | 0.0079605 | 0.0019951
73 | 0.98716 | -0.24693 | 0.0016798 | 0.00042101
74 | 0.98349 | -0.31836 | 0.0050292 | 0.0012604
75 | 0.98362 | -0.31592 | 0 | 0
76 | 0.98364 | -0.31542 | 0 | 0
77 | 0.98335 | -0.32127 | 0.0057216 | 0.001434
78 | 0.98377 | -0.31296 | 0.00146 | 0.00036591
79 | 0.98402 | -0.30801 | 0.001294 | 0.00032431
80 | 0.9847 | -0.29477 | 0 | 0
81 | 0.98474 | -0.29412 | 0.012507 | 0.0031346
82 | 0.98647 | -0.2603 | 0.0028515 | 0.00071466
83 | 0.97797 | -0.42323 | 0.0062179 | 0.0015583
84 | 0.97758 | -0.4309 | 0 | 0
85 | 0.97757 | -0.43095 | 0.0023662 | 0.00059304
86 | 0.97754 | -0.43162 | 0.0026236 | 0.00065754
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022874 | 0.0057376 | -0.022862 | -0.0057304 | 1.1653e-05 | 7.1127e-06 | 0.034201 | 0.034201 | 0.034201 | 0.99525 | -0.090933 | 0.9947 | -0.10163 | 9.3958
1 | -0.025508 | -0.0063976 | 0.025514 | 0.0064018 | 6.777e-06 | 4.1758e-06 | 0.038138 | 0.038138 | 0.038138 | 0.99525 | -0.090933 | 0.99554 | -0.08536 | 10.4776
2 | 0.019887 | 0.0049847 | -0.019887 | -0.0049847 | 1.5805e-08 | 9.4952e-09 | 0.02975 | 0.02975 | 0.02975 | 0.9947 | -0.10163 | 0.9947 | -0.10164 | 8.173
3 | -0.036858 | -0.0092448 | 0.036873 | 0.0092545 | 1.533e-05 | 9.6358e-06 | 0.055094 | 0.055094 | 0.055094 | 0.99554 | -0.08536 | 0.99599 | -0.076639 | 15.1357
4 | 0.010546 | 0.0026437 | -0.010543 | -0.0026424 | 2.5415e-06 | 1.2732e-06 | 0.015776 | 0.015776 | 0.015776 | 0.9947 | -0.10164 | 0.99443 | -0.1067 | 4.3342
5 | -0.039509 | -0.0099151 | 0.039532 | 0.0099293 | 2.2554e-05 | 1.421e-05 | 0.059032 | 0.059032 | 0.059032 | 0.99599 | -0.076639 | 0.99661 | -0.064676 | 16.2175
6 | 0.077031 | 0.019534 | -0.076751 | -0.019355 | 0.0002808 | 0.00017898 | 0.11509 | 0.11509 | 0.11509 | 0.99661 | -0.064676 | 0.99265 | -0.14081 | 31.6194
7 | -0.11656 | -0.029463 | 0.11693 | 0.029695 | 0.00036272 | 0.00023173 | 0.17413 | 0.17413 | 0.17413 | 0.99661 | -0.064676 | 1 | 0 | 47.8367
8 | 0.066896 | 0.016885 | -0.066775 | -0.016809 | 0.00012035 | 7.6613e-05 | 0.10032 | 0.10032 | 0.10032 | 0.99265 | -0.14081 | 0.9907 | -0.17844 | 27.5609
9 | 0.0098548 | 0.0024699 | -0.0098536 | -0.0024693 | 1.2683e-06 | 6.1141e-07 | 0.014773 | 0.014773 | 0.014773 | 0.99265 | -0.14081 | 0.99251 | -0.14351 | 4.0585
10 | 0.13084 | 0.033625 | -0.13078 | -0.033584 | 6.4914e-05 | 4.1306e-05 | 0.19499 | 0.19499 | 0.19499 | 1 | 0 | 0.99946 | -0.010218 | 26.7845
11 | 0.046568 | 0.011744 | -0.046556 | -0.011737 | 1.2136e-05 | 7.6819e-06 | 0.069971 | 0.069971 | 0.069971 | 0.9907 | -0.17844 | 0.99041 | -0.18389 | 19.2229
12 | 0.0079435 | 0.0019906 | -0.0079427 | -0.0019903 | 7.4683e-07 | 2.9652e-07 | 0.011909 | 0.011909 | 0.011909 | 0.99251 | -0.14351 | 0.9924 | -0.14548 | 3.2718
13 | 0.1153 | 0.029706 | -0.11471 | -0.029327 | 0.00059581 | 0.00037851 | 0.17196 | 0.17196 | 0.17196 | 0.99946 | -0.010218 | 0.99382 | -0.11698 | 23.6204
14 | 0.038692 | 0.0097657 | -0.038606 | -0.0097115 | 8.6003e-05 | 5.4171e-05 | 0.058156 | 0.058156 | 0.058156 | 0.99041 | -0.18389 | 0.98801 | -0.2304 | 15.977
15 | 0.0037107 | 0.00092961 | -0.0037106 | -0.00092965 | 8.5253e-08 | -4.0329e-08 | 0.0055637 | 0.0055637 | 0.0055637 | 0.9924 | -0.14548 | 0.99238 | -0.14597 | 1.5285
16 | 0.10968 | 0.028066 | -0.10935 | -0.02786 | 0.00032386 | 0.00020562 | 0.16442 | 0.16442 | 0.16442 | 0.99382 | -0.11698 | 0.99061 | -0.17816 | 22.5853
17 | 0.0020165 | 0.00050506 | -0.0020164 | -0.00050535 | 9.2953e-08 | -2.9082e-07 | 0.0030235 | 0.0030236 | 0.0030236 | 0.99238 | -0.14597 | 0.99233 | -0.14693 | 0.83065
18 | 0.038606 | 0.0097115 | -0.038596 | -0.0097051 | 1.0136e-05 | 6.3849e-06 | 0.058156 | 0.058156 | 0.058156 | 0.98801 | -0.2304 | 0.98773 | -0.2359 | 15.977
19 | 0.010275 | 0.0025759 | -0.010274 | -0.0025752 | 1.3552e-06 | 6.7208e-07 | 0.015435 | 0.015435 | 0.015435 | 0.99061 | -0.17816 | 0.99047 | -0.18093 | 4.2404
20 | 0.099076 | 0.025284 | -0.098617 | -0.024991 | 0.00045951 | 0.00029338 | 0.14899 | 0.14899 | 0.14899 | 0.99061 | -0.17816 | 0.9856 | -0.27465 | 40.9303
21 | 0.0081928 | 0.0020536 | -0.0081915 | -0.0020531 | 1.3326e-06 | 5.5104e-07 | 0.012308 | 0.012309 | 0.012309 | 0.99047 | -0.18093 | 0.99029 | -0.18435 | 3.3815
22 | 0.081534 | 0.020704 | -0.081233 | -0.020512 | 0.00030084 | 0.00019187 | 0.12319 | 0.12319 | 0.12319 | 0.9856 | -0.27465 | 0.98163 | -0.35163 | 33.8442
23 | 0.017083 | 0.0042874 | -0.017077 | -0.0042836 | 6.4144e-06 | 3.7777e-06 | 0.025794 | 0.025794 | 0.025794 | 0.9856 | -0.27465 | 0.98519 | -0.28253 | 7.0862
24 | 0.0066661 | 0.0016708 | -0.0066646 | -0.0016703 | 1.4769e-06 | 4.403e-07 | 0.010016 | 0.010017 | 0.010017 | 0.99029 | -0.18435 | 0.99006 | -0.189 | 2.7518
25 | 0.080601 | 0.020353 | -0.080484 | -0.020279 | 0.00011621 | 7.4116e-05 | 0.12223 | 0.12223 | 0.12223 | 0.98163 | -0.35163 | 0.98008 | -0.38177 | 33.581
26 | 0.015724 | 0.0039446 | -0.01572 | -0.0039422 | 4.1903e-06 | 2.4296e-06 | 0.023751 | 0.023751 | 0.023751 | 0.98519 | -0.28253 | 0.98491 | -0.28812 | 6.5249
27 | 0.046098 | 0.011635 | -0.046045 | -0.011602 | 5.2931e-05 | 3.3514e-05 | 0.070018 | 0.070018 | 0.070018 | 0.98008 | -0.38177 | 0.97885 | -0.40578 | 19.2357
28 | 0.03136 | 0.0078861 | -0.03133 | -0.0078674 | 2.9993e-05 | 1.8751e-05 | 0.047623 | 0.047623 | 0.047623 | 0.98008 | -0.38177 | 0.97906 | -0.40182 | 13.0832
29 | 0.003026 | 0.00075809 | -0.0030258 | -0.00075827 | 1.9082e-07 | -1.8167e-07 | 0.0045942 | 0.0045943 | 0.0045943 | 0.98008 | -0.38177 | 0.98001 | -0.3831 | 1.2622
30 | 0.014631 | 0.0036693 | -0.01463 | -0.0036684 | 1.5341e-06 | 8.753e-07 | 0.022106 | 0.022106 | 0.022106 | 0.98491 | -0.28812 | 0.98479 | -0.29032 | 6.0731
31 | 0.010801 | 0.0027078 | -0.010799 | -0.0027067 | 2.1705e-06 | 1.1131e-06 | 0.016326 | 0.016326 | 0.016326 | 0.98446 | -0.29678 | 0.98425 | -0.301 | 4.4853
32 | -0.012052 | -0.0030212 | 0.012053 | 0.0030219 | 1.3641e-06 | 7.3365e-07 | 0.018216 | 0.018216 | 0.018216 | 0.98446 | -0.29678 | 0.98458 | -0.29441 | 5.0045
33 | 0.0097812 | 0.0024516 | -0.0097806 | -0.0024512 | 6.8487e-07 | 3.3218e-07 | 0.014788 | 0.014788 | 0.014788 | 0.98425 | -0.301 | 0.98417 | -0.30247 | 4.0626
34 | -0.01338 | -0.0033544 | 0.013382 | 0.0033559 | 2.6065e-06 | 1.4519e-06 | 0.020222 | 0.020222 | 0.020222 | 0.98458 | -0.29441 | 0.98479 | -0.29032 | 5.5554
35 | 0.0073248 | 0.001836 | -0.0073229 | -0.0018353 | 1.8844e-06 | 7.0125e-07 | 0.01116 | 0.01116 | 0.01116 | 0.97666 | -0.44885 | 0.97639 | -0.45426 | 3.066
36 | -0.0089361 | -0.0022398 | 0.0089371 | 0.0022403 | 1.0165e-06 | 4.6755e-07 | 0.013615 | 0.013615 | 0.013615 | 0.97666 | -0.44885 | 0.97678 | -0.44647 | 3.7404
37 | 0.0060616 | 0.0015192 | -0.0060614 | -0.0015191 | 1.9915e-07 | 4.9627e-08 | 0.0092379 | 0.0092379 | 0.0092379 | 0.97639 | -0.45426 | 0.97635 | -0.45495 | 2.5379
38 | -0.011237 | -0.0028162 | 0.011237 | 0.0028164 | 4.0744e-07 | 2.1435e-07 | 0.017118 | 0.017118 | 0.017118 | 0.97678 | -0.44647 | 0.97682 | -0.44571 | 4.7028
39 | 0.0022999 | 0.0005759 | -0.0022998 | -0.0005761 | 9.7484e-08 | -2.027e-07 | 0.0035034 | 0.0035035 | 0.0035035 | 0.97678 | -0.44647 | 0.97674 | -0.44736 | 0.9625
40 | 0.0060614 | 0.0015191 | -0.006059 | -0.0015185 | 2.3949e-06 | 5.9726e-07 | 0.0092379 | 0.0092383 | 0.0092383 | 0.97635 | -0.45495 | 0.97593 | -0.46324 | 2.538
41 | -0.01221 | -0.0030602 | 0.012213 | 0.0030619 | 3.1241e-06 | 1.6979e-06 | 0.0186 | 0.0186 | 0.0186 | 0.97682 | -0.44571 | 0.9771 | -0.44034 | 5.1099
42 | 0.0013313 | 0.00033339 | -0.0013313 | -0.00033365 | 3.596e-08 | -2.6875e-07 | 0.0020281 | 0.0020282 | 0.0020282 | 0.97674 | -0.44736 | 0.97671 | -0.44792 | 0.55721
43 | 0.006059 | 0.0015185 | -0.0060582 | -0.0015183 | 8.0932e-07 | 2.0204e-07 | 0.0092383 | 0.0092384 | 0.0092384 | 0.97593 | -0.46324 | 0.97579 | -0.46604 | 2.538
44 | -0.012921 | -0.0032391 | 0.012922 | 0.0032401 | 1.6903e-06 | 9.3598e-07 | 0.019677 | 0.019677 | 0.019677 | 0.9771 | -0.44034 | 0.97724 | -0.43759 | 5.4058
45 | -0.013789 | -0.0034573 | 0.013793 | 0.0034598 | 4.3647e-06 | 2.4625e-06 | 0.020997 | 0.020997 | 0.020997 | 0.97724 | -0.43759 | 0.97757 | -0.43095 | 5.7684
46 | 0.0015029 | 0.00037664 | -0.0015029 | -0.00037667 | 5.458e-09 | -3.0686e-08 | 0.0022991 | 0.0022991 | 0.0022991 | 0.97271 | -0.52649 | 0.97271 | -0.52656 | 0.63162
47 | -0.0074775 | -0.001874 | 0.007479 | 0.0018746 | 1.5e-06 | 5.8044e-07 | 0.011439 | 0.011439 | 0.011439 | 0.97271 | -0.52649 | 0.97292 | -0.52228 | 3.1425
48 | -0.0093379 | -0.0023405 | 0.0093382 | 0.0023406 | 3.6461e-07 | 1.7415e-07 | 0.014282 | 0.014282 | 0.014282 | 0.97292 | -0.52228 | 0.97297 | -0.52146 | 3.9235
49 | -0.015314 | -0.0038383 | 0.015317 | 0.0038399 | 2.7094e-06 | 1.5704e-06 | 0.023421 | 0.023421 | 0.023421 | 0.97297 | -0.52146 | 0.97315 | -0.51775 | 6.4342
50 | -0.018628 | -0.0046698 | 0.018631 | 0.0046712 | 2.3167e-06 | 1.3881e-06 | 0.028484 | 0.028484 | 0.028484 | 0.97315 | -0.51775 | 0.97329 | -0.51514 | 7.8254
51 | -0.020707 | -0.0051915 | 0.020716 | 0.0051972 | 9.3686e-06 | 5.686e-06 | 0.031658 | 0.031658 | 0.031658 | 0.97329 | -0.51514 | 0.97377 | -0.50565 | 8.6973
52 | -0.024351 | -0.0061078 | 0.024353 | 0.0061088 | 1.5257e-06 | 9.3991e-07 | 0.037213 | 0.037213 | 0.037213 | 0.97377 | -0.50565 | 0.97383 | -0.50433 | 10.2233
53 | 0.0036352 | 0.00091063 | -0.003635 | -0.00091073 | 2.2976e-07 | -9.9952e-08 | 0.0055548 | 0.0055549 | 0.0055549 | 0.97377 | -0.50565 | 0.9737 | -0.50697 | 1.5261
54 | -0.026151 | -0.0065595 | 0.026169 | 0.0065706 | 1.8014e-05 | 1.1154e-05 | 0.039961 | 0.03996 | 0.039961 | 0.97383 | -0.50433 | 0.97457 | -0.48989 | 10.9782
55 | 0.0018833 | 0.00047173 | -0.0018832 | -0.00047198 | 7.5009e-08 | -2.5234e-07 | 0.002878 | 0.0028781 | 0.0028781 | 0.9737 | -0.50697 | 0.97366 | -0.50781 | 0.79069
56 | -0.026169 | -0.0065706 | 0.026205 | 0.0065929 | 3.6042e-05 | 2.2316e-05 | 0.03996 | 0.03996 | 0.03996 | 0.97457 | -0.48989 | 0.97603 | -0.46106 | 10.9781
57 | 0.001081 | 0.00027069 | -0.001081 | -0.00027075 | 4.8408e-09 | -5.6304e-08 | 0.001648 | 0.001648 | 0.001648 | 0.97603 | -0.46106 | 0.97603 | -0.46116 | 0.45275
58 | -0.027286 | -0.0068636 | 0.027301 | 0.0068727 | 1.4629e-05 | 9.0805e-06 | 0.041608 | 0.041608 | 0.041608 | 0.97603 | -0.46106 | 0.9766 | -0.44985 | 11.4308
59 | -0.0061446 | -0.00154 | 0.0061455 | 0.0015402 | 9.261e-07 | 2.3922e-07 | 0.0093565 | 0.0093564 | 0.0093565 | 0.97721 | -0.43789 | 0.97738 | -0.43473 | 2.5705
60 | 0.0030751 | 0.00077067 | -0.0030751 | -0.00077069 | 2.5789e-08 | -2.2789e-08 | 0.0046825 | 0.0046825 | 0.0046825 | 0.97721 | -0.43789 | 0.97721 | -0.43807 | 1.2864
61 | -0.0094853 | -0.0023772 | 0.0094858 | 0.0023775 | 5.4853e-07 | 2.6315e-07 | 0.014441 | 0.014441 | 0.014441 | 0.97738 | -0.43473 | 0.97744 | -0.43351 | 3.9673
62 | -0.012422 | -0.0031134 | 0.012423 | 0.003114 | 1.1896e-06 | 6.5013e-07 | 0.018911 | 0.018911 | 0.018911 | 0.97744 | -0.43351 | 0.97754 | -0.4315 | 5.1953
63 | -0.014486 | -0.003631 | 0.014489 | 0.0036328 | 3.1707e-06 | 1.8112e-06 | 0.022051 | 0.022051 | 0.022051 | 0.97754 | -0.4315 | 0.97777 | -0.42691 | 6.0579
64 | -0.04442 | -0.011177 | 0.044437 | 0.011187 | 1.6986e-05 | 1.0747e-05 | 0.067615 | 0.067615 | 0.067615 | 0.97777 | -0.42691 | 0.97818 | -0.41891 | 18.5757
65 | 0.02993 | 0.0075439 | -0.029925 | -0.0075406 | 5.2491e-06 | 3.2749e-06 | 0.045565 | 0.045565 | 0.045565 | 0.97777 | -0.42691 | 0.97759 | -0.43058 | 12.5178
66 | -0.02956 | -0.007439 | 0.029588 | 0.007456 | 2.7248e-05 | 1.699e-05 | 0.045051 | 0.045051 | 0.045051 | 0.9766 | -0.44985 | 0.97759 | -0.43058 | 12.3767
67 | 0.001081 | 0.00027075 | -0.001081 | -0.00027092 | 1.4941e-08 | -1.7377e-07 | 0.001648 | 0.0016481 | 0.0016481 | 0.97603 | -0.46116 | 0.97601 | -0.46145 | 0.45277
68 | -0.04571 | -0.011507 | 0.045739 | 0.011525 | 2.8721e-05 | 1.8183e-05 | 0.069553 | 0.069553 | 0.069553 | 0.97818 | -0.41891 | 0.97885 | -0.40578 | 19.1079
69 | 0.0010652 | 0.00026691 | -0.0010652 | -0.00026697 | 5.6918e-09 | -6.9461e-08 | 0.0016174 | 0.0016174 | 0.0016174 | 0.98001 | -0.3831 | 0.98001 | -0.38321 | 0.44435
70 | 0.027763 | 0.0069733 | -0.027755 | -0.0069684 | 7.7967e-06 | 4.8431e-06 | 0.042201 | 0.042201 | 0.042201 | 0.97906 | -0.40182 | 0.97876 | -0.4077 | 11.5937
71 | 0.026723 | 0.0067097 | -0.026705 | -0.0066985 | 1.8121e-05 | 1.123e-05 | 0.040631 | 0.040632 | 0.040632 | 0.97876 | -0.4077 | 0.97803 | -0.42193 | 11.1625
72 | 0.02501 | 0.0062737 | -0.025008 | -0.0062727 | 1.5564e-06 | 9.6013e-07 | 0.038053 | 0.038053 | 0.038053 | 0.97803 | -0.42193 | 0.97797 | -0.42323 | 10.454
73 | 0.030635 | 0.0077101 | -0.030619 | -0.0077 | 1.6138e-05 | 1.007e-05 | 0.046164 | 0.046164 | 0.046164 | 0.98773 | -0.2359 | 0.98716 | -0.24693 | 12.6824
74 | 0.028939 | 0.007279 | -0.028921 | -0.0072675 | 1.8468e-05 | 1.1489e-05 | 0.043632 | 0.043632 | 0.043632 | 0.98716 | -0.24693 | 0.98647 | -0.2603 | 11.9868
75 | -0.0050292 | -0.0012604 | 0.0050298 | 0.0012605 | 5.8583e-07 | 3.249e-08 | 0.0076091 | 0.007609 | 0.0076091 | 0.98349 | -0.31836 | 0.98362 | -0.31592 | 2.0904
76 | -0.010753 | -0.0026947 | 0.010753 | 0.0026948 | 2.5432e-07 | 1.3023e-07 | 0.016267 | 0.016267 | 0.016267 | 0.98362 | -0.31592 | 0.98364 | -0.31542 | 4.4689
77 | 0.0057231 | 0.0014342 | -0.0057216 | -0.001434 | 1.4604e-06 | 2.7541e-07 | 0.0086578 | 0.0086581 | 0.0086581 | 0.98362 | -0.31592 | 0.98335 | -0.32127 | 2.3786
78 | -0.010753 | -0.0026948 | 0.010754 | 0.0026955 | 1.2583e-06 | 6.4435e-07 | 0.016267 | 0.016267 | 0.016267 | 0.98364 | -0.31542 | 0.98377 | -0.31296 | 4.4689
79 | -0.012214 | -0.0030614 | 0.012217 | 0.003063 | 2.8862e-06 | 1.5608e-06 | 0.018475 | 0.018475 | 0.018475 | 0.98377 | -0.31296 | 0.98402 | -0.30801 | 5.0756
80 | -0.013511 | -0.0033873 | 0.01352 | 0.003392 | 8.5289e-06 | 4.7659e-06 | 0.020432 | 0.020432 | 0.020432 | 0.98402 | -0.30801 | 0.9847 | -0.29477 | 5.6131
81 | -0.01352 | -0.003392 | 0.01352 | 0.0033923 | 4.1595e-07 | 2.3241e-07 | 0.020432 | 0.020432 | 0.020432 | 0.9847 | -0.29477 | 0.98474 | -0.29412 | 5.6131
82 | -0.026027 | -0.0065269 | 0.026069 | 0.0065528 | 4.2027e-05 | 2.5974e-05 | 0.039331 | 0.03933 | 0.039331 | 0.98474 | -0.29412 | 0.98647 | -0.2603 | 10.8052
83 | 0.01879 | 0.0047144 | -0.018783 | -0.0047103 | 6.8637e-06 | 4.112e-06 | 0.028592 | 0.028592 | 0.028592 | 0.97797 | -0.42323 | 0.97758 | -0.4309 | 7.855
84 | 0.01616 | 0.0040529 | -0.01616 | -0.0040528 | 4.0399e-08 | 2.3623e-08 | 0.024598 | 0.024598 | 0.024598 | 0.97758 | -0.4309 | 0.97757 | -0.43095 | 6.7578
85 | 0.0026237 | 0.00065741 | -0.0026236 | -0.00065754 | 9.0573e-08 | -1.3189e-07 | 0.0039936 | 0.0039937 | 0.0039937 | 0.97758 | -0.4309 | 0.97754 | -0.43162 | 1.0972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26159 | 0.066371

## res_load
| p_mw | q_mvar
0 | 0.0026337 | 0.00066008
1 | 0.0029755 | 0.00074573
2 | 0.011344 | 0.002843
3 | 0.0093408 | 0.002341
4 | 0.0026358 | 0.0006606
5 | 0.010543 | 0.0026424
6 | 0.01217 | 0.0030502
7 | 0.020207 | 0.0050643
8 | 0.0019101 | 0.00047871
9 | 0.015473 | 0.0038778
10 | 0.0078642 | 0.0019709
11 | 0.004232 | 0.0010607
12 | 0.0050335 | 0.0012615
13 | 0.0016941 | 0.00042459
14 | 0.0020164 | 0.00050535
15 | 0.0020811 | 0.00052158
16 | 0.0015254 | 0.0003823
17 | 0.00063209 | 0.00015842
18 | 0.0013527 | 0.00033902
19 | 0.0066646 | 0.0016703
20 | 0.0010887 | 0.00027285
21 | 0.0012504 | 0.00031339
22 | 0.0010178 | 0.00025509
23 | 0.0013268 | 0.00033254
24 | 0.0097806 | 0.0024512
25 | 0.0012471 | 0.00031256
26 | 0.0016113 | 0.00040383
27 | 0.0012613 | 0.00031611
28 | 0.0009727 | 0.00024378
29 | 0.00096845 | 0.00024272
30 | 0.00070728 | 0.00017726
31 | 0.0013313 | 0.00033365
32 | 0.0060582 | 0.0015183
33 | 0.00086683 | 0.00021725
34 | 0.0059746 | 0.0014974
35 | 0.0015029 | 0.00037667
36 | 0.0018588 | 0.00046586
37 | 0.0059757 | 0.0014976
38 | 0.0033117 | 0.00082999
39 | 0.002076 | 0.00052029
40 | 0.0017983 | 0.00045068
41 | 0.0017516 | 0.000439
42 | 0.0018832 | 0.00047198
43 | 0.0030695 | 0.00076929
44 | 0.0033397 | 0.00083701
45 | 0.0030751 | 0.00077069
46 | 0.0029363 | 0.0007359
47 | 0.0020627 | 0.00051697
48 | 0.0022597 | 0.00056633
49 | 0.00033759 | 8.4609e-05
50 | 0.0012736 | 0.00031919
51 | 0.001081 | 0.00027092
52 | 0.00030611 | 7.6718e-05
53 | 0.0019606 | 0.00049137
54 | 0.0010652 | 0.00026697
55 | 0.0035675 | 0.00089409
56 | 0.0010324 | 0.00025873
57 | 0.001695 | 0.00042481
58 | 0.0079605 | 0.0019951
59 | 0.0016798 | 0.00042101
60 | 0.0050292 | 0.0012604
61 | 0.0057216 | 0.001434
62 | 0.00146 | 0.00036591
63 | 0.001294 | 0.00032431
64 | 0.012507 | 0.0031346
65 | 0.0028515 | 0.00071466
66 | 0.0062179 | 0.0015583
67 | 0.0023662 | 0.00059304
68 | 0.0026236 | 0.00065754

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1