## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_137-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_137-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_137-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_137-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_137-9_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_137-9_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_137-9_0_5_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_137-9_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_137-9_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_137-9_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_137-9_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_137-9_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_137-9_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_137-9_0_5_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_137-9_0_5_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_137-9_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_137-9_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_137-9_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_137-9_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_137-9_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_137-9_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_137-9_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_137-9_0_5_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_137-9_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_137-9_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_137-9_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_137-9_0_5_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_137-9_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_137-9_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_137-9_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_137-9_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_137-9_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_137-9_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_137-9_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_137-9_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_137-9_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_137-9_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_137-9_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_137-9_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_137-9_0_5_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_137-9_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_137-9_0_5_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_137-9_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_137-9_0_5_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_137-9_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_137-9_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_137-9_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_137-9_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_137-9_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_137-9_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_137-9_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_137-9_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_137-9_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_137-9_0_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_137-9_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_137-9_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_MV_417_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_137-9_0_5_load_0 | 0 | 0.015727 | 0.0039415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_137-9_0_5_load_1 | 1 | 0.011519 | 0.0028868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_137-9_0_5_load_2 | 2 | 0.002706 | 0.00067819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_137-9_0_5_load_3 | 3 | 0.015517 | 0.0038888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_137-9_0_5_load_4 | 4 | 0.0026012 | 0.00065192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_137-9_0_5_load_5 | 5 | 0.014028 | 0.0035158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_137-9_0_5_load_46 | 6 | 0.0027455 | 0.00068809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_137-9_0_5_load_6 | 7 | 0.012677 | 0.0031772 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_137-9_0_5_load_8 | 10 | 0.013292 | 0.0033313 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_137-9_0_5_load_9 | 11 | 0.012805 | 0.0032092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_137-9_0_5_load_10 | 12 | 0.025272 | 0.0063337 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_137-9_0_5_load_12 | 15 | 0.0028151 | 0.00070553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_137-9_0_5_load_15 | 18 | 0.010938 | 0.0027413 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_137-9_0_5_load_38 | 20 | 0.0013458 | 0.00033729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_137-9_0_5_load_23 | 22 | 0.0071914 | 0.0018023 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_137-9_0_5_load_29 | 23 | 0.0094172 | 0.0023602 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_137-9_0_5_load_16 | 25 | 0.0060146 | 0.0015074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_137-9_0_5_load_31 | 26 | 0.0090344 | 0.0022642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_137-9_0_5_load_30 | 27 | 0.040791 | 0.010223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_137-9_0_5_load_20 | 28 | 0.003128 | 0.00078394 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_137-9_0_5_load_21 | 29 | 0.0072148 | 0.0018082 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_137-9_0_5_load_25 | 30 | 0.0035268 | 0.0008839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_137-9_0_5_load_26 | 31 | 0.009378 | 0.0023504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_137-9_0_5_load_27 | 32 | 0.0045168 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_137-9_0_5_load_36 | 34 | 0.005272 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_137-9_0_5_load_37 | 35 | 0.0056257 | 0.0014099 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_137-9_0_5_load_33 | 38 | 0.058668 | 0.014704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_137-9_0_5_load_56 | 39 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_137-9_0_5_load_54 | 40 | 0.056469 | 0.014153 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_137-9_0_5_load_60 | 41 | 0.014482 | 0.0036296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_137-9_0_5_load_47 | 43 | 0.002903 | 0.00072756 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_137-9_0_5_load_39 | 44 | 0.013289 | 0.0033305 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_137-9_0_5_load_41 | 46 | 0.012806 | 0.0032094 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_137-9_0_5_load_50 | 50 | 0.024154 | 0.0060536 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_137-9_0_5_load_58 | 51 | 0.0083987 | 0.0021049 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_137-9_0_5_load_57 | 52 | 0.018873 | 0.0047301 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_137-9_0_5_load_61 | 53 | 0.0051135 | 0.0012816 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_137-9_0_5_load_52 | 54 | 0.0012576 | 0.00031517 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_137-9_0_5_load_53 | 55 | 0.0045301 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_137-9_0_5_line_0 |  | 0 | 1 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_137-9_0_5_line_1 |  | 0 | 2 | 0.0018092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_137-9_0_5_line_2 |  | 1 | 3 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_137-9_0_5_line_3 |  | 2 | 4 | 0.016821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_137-9_0_5_line_4 |  | 3 | 5 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_137-9_0_5_line_5 |  | 4 | 6 | 0.006296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_137-9_0_5_line_6 |  | 5 | 7 | 0.023247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_137-9_0_5_line_7 |  | 6 | 8 | 0.00090524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_137-9_0_5_line_8 |  | 7 | 9 | 0.025829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_137-9_0_5_line_9 |  | 8 | 43 | 0.0059196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_137-9_0_5_line_10 |  | 8 | 34 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_137-9_0_5_line_11 |  | 9 | 10 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_137-9_0_5_line_12 |  | 9 | 11 | 0.0026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_137-9_0_5_line_13 |  | 10 | 12 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_137-9_0_5_line_14 |  | 11 | 13 | 0.045789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_137-9_0_5_line_15 |  | 13 | 14 | 0.004666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_137-9_0_5_line_16 |  | 14 | 42 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_137-9_0_5_line_17 |  | 14 | 50 | 0.026595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_137-9_0_5_line_18 |  | 15 | 16 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_137-9_0_5_line_19 |  | 16 | 17 | 0.05137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_137-9_0_5_line_20 |  | 16 | 18 | 0.0022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_137-9_0_5_line_21 |  | 17 | 19 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_137-9_0_5_line_22 |  | 17 | 20 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_137-9_0_5_line_23 |  | 18 | 21 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_137-9_0_5_line_24 |  | 19 | 22 | 0.019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_137-9_0_5_line_25 |  | 20 | 23 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_137-9_0_5_line_26 |  | 21 | 24 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_137-9_0_5_line_27 |  | 22 | 29 | 0.035764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_137-9_0_5_line_28 |  | 23 | 32 | 0.00028516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_137-9_0_5_line_29 |  | 24 | 25 | 0.0076255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_137-9_0_5_line_30 |  | 26 | 27 | 0.041184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_137-9_0_5_line_31 |  | 27 | 37 | 0.0048911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_137-9_0_5_line_32 |  | 28 | 29 | 0.0049887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_137-9_0_5_line_33 |  | 30 | 31 | 0.0086899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_137-9_0_5_line_34 |  | 30 | 32 | 0.034509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_137-9_0_5_line_35 |  | 31 | 33 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_137-9_0_5_line_36 |  | 33 | 34 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_137-9_0_5_line_37 |  | 33 | 35 | 0.019604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_137-9_0_5_line_38 |  | 35 | 36 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_137-9_0_5_line_39 |  | 36 | 37 | 0.057576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_137-9_0_5_line_40 |  | 37 | 38 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_137-9_0_5_line_41 |  | 38 | 39 | 0.046996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_137-9_0_5_line_42 |  | 39 | 40 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_137-9_0_5_line_43 |  | 40 | 54 | 0.035062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_137-9_0_5_line_44 |  | 41 | 42 | 0.052259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_137-9_0_5_line_45 |  | 43 | 53 | 0.0073091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_137-9_0_5_line_46 |  | 44 | 45 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_137-9_0_5_line_47 |  | 45 | 46 | 0.03285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_137-9_0_5_line_48 |  | 46 | 47 | 0.061412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_137-9_0_5_line_49 |  | 47 | 48 | 0.030922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_137-9_0_5_line_50 |  | 48 | 49 | 0.036499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_137-9_0_5_line_51 |  | 48 | 50 | 0.0046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_137-9_0_5_line_52 |  | 49 | 51 | 0.0086546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_137-9_0_5_line_53 |  | 51 | 52 | 0.031547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_137-9_0_5_line_54 |  | 54 | 55 | 0.010866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_137-9_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 56 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2686458.253 | 1236068.8497 | 2686464.0339 | 1236055.4792
1 | 2686458.253 | 1236068.8497 | 2686457.5349 | 1236070.5103
2 | 2686472.6979 | 1236035.4405 | 2686464.0339 | 1236055.4792
3 | 2686457.5349 | 1236070.5103 | 2686454.9695 | 1236076.4438 | 2686446.6685 | 1236082.6376
4 | 2686472.6979 | 1236035.4405 | 2686477.7159 | 1236023.8345
5 | 2686446.6685 | 1236082.6376 | 2686445.3518 | 1236083.6201 | 2686441.6239 | 1236086.4048
6 | 2686477.7159 | 1236023.8345 | 2686486.9418 | 1236002.4964
7 | 2686441.6239 | 1236086.4048 | 2686440.8987 | 1236086.9466
8 | 2686497.1922 | 1235978.7886 | 2686486.9418 | 1236002.4964
9 | 2686440.8987 | 1236086.9466 | 2686436.1566 | 1236090.4898
10 | 2686440.8987 | 1236086.9466 | 2686442.3275 | 1236099.4604
11 | 2686497.1922 | 1235978.7886 | 2686480.8371 | 1235969.3835
12 | 2686497.1922 | 1235978.7886 | 2686499.592 | 1235979.9864
13 | 2686480.8371 | 1235969.3835 | 2686469.3395 | 1235962.7718
14 | 2686540.5611 | 1236000.4355 | 2686499.592 | 1235979.9864
15 | 2686540.5611 | 1236000.4355 | 2686544.9576 | 1236002.034
16 | 2686544.9576 | 1236002.034 | 2686560.0091 | 1236008.3912
17 | 2686544.9576 | 1236002.034 | 2686547.6302 | 1235994.7011 | 2686557.6372 | 1235986.7968 | 2686562.2352 | 1235982.8832
18 | 2686427.182 | 1236203.1078 | 2686414.9407 | 1236218.386
19 | 2686427.182 | 1236203.1078 | 2686409.3972 | 1236188.5387 | 2686396.8983 | 1236178.4164 | 2686385.7304 | 1236173.039
20 | 2686427.182 | 1236203.1078 | 2686428.9106 | 1236204.5362
21 | 2686360.9965 | 1236172.6236 | 2686372.4847 | 1236172.1125 | 2686385.7304 | 1236173.039
22 | 2686385.7304 | 1236173.039 | 2686395.6953 | 1236164.6992
23 | 2686451.4408 | 1236223.1528 | 2686428.9106 | 1236204.5362
24 | 2686360.9965 | 1236172.6236 | 2686361.9929 | 1236192.1196
25 | 2686410.6023 | 1236152.2231 | 2686395.6953 | 1236164.6992
26 | 2686442.3127 | 1236234.6615 | 2686451.4408 | 1236223.1528
27 | 2686363.8184 | 1236227.8374 | 2686363.8184 | 1236227.8374 | 2686361.9929 | 1236192.1196
28 | 2686410.8209 | 1236152.0401 | 2686410.6023 | 1236152.2231
29 | 2686442.3127 | 1236234.6615 | 2686437.5067 | 1236240.5819
30 | 2686520.7244 | 1236143.6269 | 2686513.114 | 1236155.5244 | 2686495.7718 | 1236176.2976
31 | 2686523.36 | 1236139.5066 | 2686520.7244 | 1236143.6269
32 | 2686363.8184 | 1236227.8374 | 2686362.6264 | 1236232.6816
33 | 2686437.9163 | 1236130.6871 | 2686444.852 | 1236125.4517
34 | 2686437.9163 | 1236130.6871 | 2686421.7849 | 1236142.864 | 2686410.8209 | 1236152.0401
35 | 2686455.4853 | 1236117.425 | 2686444.852 | 1236125.4517
36 | 2686455.4853 | 1236117.425 | 2686443.0936 | 1236106.17 | 2686442.3275 | 1236099.4604
37 | 2686455.4853 | 1236117.425 | 2686459.6404 | 1236114.2944 | 2686472.3257 | 1236107.4759
38 | 2686503.6549 | 1236091.0406 | 2686496.155 | 1236094.6673 | 2686472.3257 | 1236107.4759
39 | 2686523.36 | 1236139.5066 | 2686527.7807 | 1236130.0976 | 2686520.9475 | 1236126.4065 | 2686513.9362 | 1236114.1624 | 2686503.6549 | 1236091.0406
40 | 2686523.36 | 1236139.5066 | 2686529.1909 | 1236141.871 | 2686536.9936 | 1236147.4318
41 | 2686536.9936 | 1236147.4318 | 2686543.1752 | 1236151.8373 | 2686554.6272 | 1236165.2359 | 2686565.9441 | 1236183.8447
42 | 2686572.2974 | 1236194.2917 | 2686565.9441 | 1236183.8447
43 | 2686593.2853 | 1236222.2955 | 2686577.5167 | 1236202.8741 | 2686572.2974 | 1236194.2917
44 | 2686560.0091 | 1236008.3912 | 2686546.8574 | 1236058.9685
45 | 2686430.3015 | 1236094.8647 | 2686436.1566 | 1236090.4898
46 | 2686528.9326 | 1235878.1122 | 2686527.9468 | 1235876.6857 | 2686514.6638 | 1235866.5263
47 | 2686528.9326 | 1235878.1122 | 2686547.6909 | 1235905.0803
48 | 2686582.7587 | 1235955.496 | 2686547.6909 | 1235905.0803
49 | 2686566.767 | 1235981.9596 | 2686571.1997 | 1235974.3299 | 2686582.7587 | 1235955.496
50 | 2686566.767 | 1235981.9596 | 2686571.1997 | 1235974.3299 | 2686596.1832 | 1235986.2358
51 | 2686566.767 | 1235981.9596 | 2686562.2352 | 1235982.8832
52 | 2686596.1832 | 1235986.2358 | 2686600.379 | 1235993.8053
53 | 2686614.8687 | 1236021.8035 | 2686609.9214 | 1236011.0204 | 2686600.379 | 1235993.8053
54 | 2686593.2853 | 1236222.2955 | 2686593.2853 | 1236222.2955 | 2686587.5208 | 1236231.5062

## bus_geodata
| x | y | coords
0 | 2686458.253 | 1236068.8497
1 | 2686464.0339 | 1236055.4792
2 | 2686457.5349 | 1236070.5103
3 | 2686472.6979 | 1236035.4405
4 | 2686446.6685 | 1236082.6376
5 | 2686477.7159 | 1236023.8345
6 | 2686441.6239 | 1236086.4048
7 | 2686486.9418 | 1236002.4964
8 | 2686440.8987 | 1236086.9466
9 | 2686497.1922 | 1235978.7886
10 | 2686480.8371 | 1235969.3835
11 | 2686499.592 | 1235979.9864
12 | 2686469.3395 | 1235962.7718
13 | 2686540.5611 | 1236000.4355
14 | 2686544.9576 | 1236002.034
15 | 2686414.9407 | 1236218.386
16 | 2686427.182 | 1236203.1078
17 | 2686385.7304 | 1236173.039
18 | 2686428.9106 | 1236204.5362
19 | 2686360.9965 | 1236172.6236
20 | 2686395.6953 | 1236164.6992
21 | 2686451.4408 | 1236223.1528
22 | 2686361.9929 | 1236192.1196
23 | 2686410.6023 | 1236152.2231
24 | 2686442.3127 | 1236234.6615
25 | 2686437.5067 | 1236240.5819
26 | 2686495.7718 | 1236176.2976
27 | 2686520.7244 | 1236143.6269
28 | 2686362.6264 | 1236232.6816
29 | 2686363.8184 | 1236227.8374
30 | 2686437.9163 | 1236130.6871
31 | 2686444.852 | 1236125.4517
32 | 2686410.8209 | 1236152.0401
33 | 2686455.4853 | 1236117.425
34 | 2686442.3275 | 1236099.4604
35 | 2686472.3257 | 1236107.4759
36 | 2686503.6549 | 1236091.0406
37 | 2686523.36 | 1236139.5066
38 | 2686536.9936 | 1236147.4318
39 | 2686565.9441 | 1236183.8447
40 | 2686572.2974 | 1236194.2917
41 | 2686546.8574 | 1236058.9685
42 | 2686560.0091 | 1236008.3912
43 | 2686436.1566 | 1236090.4898
44 | 2686514.6638 | 1235866.5263
45 | 2686528.9326 | 1235878.1122
46 | 2686547.6909 | 1235905.0803
47 | 2686582.7587 | 1235955.496
48 | 2686566.767 | 1235981.9596
49 | 2686596.1832 | 1235986.2358
50 | 2686562.2352 | 1235982.8832
51 | 2686600.379 | 1235993.8053
52 | 2686614.8687 | 1236021.8035
53 | 2686430.3015 | 1236094.8647
54 | 2686593.2853 | 1236222.2955
55 | 2686587.5208 | 1236231.5062
56 | 2686527.7807 | 1236130.0976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99058 | -0.17976 | 0.015727 | 0.0039415
1 | 0.9897 | -0.19678 | 0.011519 | 0.0028868
2 | 0.9907 | -0.17748 | 0.002706 | 0.00067819
3 | 0.98845 | -0.22085 | 0.015517 | 0.0038888
4 | 0.99181 | -0.15604 | 0.0026012 | 0.00065192
5 | 0.98778 | -0.23364 | 0.014028 | 0.0035158
6 | 0.99224 | -0.14793 | 0.0027455 | 0.00068809
7 | 0.98667 | -0.25527 | 0.012677 | 0.0031772
8 | 0.9923 | -0.14675 | 0 | 0
9 | 0.98495 | -0.28848 | 0 | 0
10 | 0.98428 | -0.30156 | 0.013292 | 0.0033313
11 | 0.98469 | -0.29353 | 0.012805 | 0.0032092
12 | 0.98397 | -0.3076 | 0.025272 | 0.0063337
13 | 0.98078 | -0.36957 | 0 | 0
14 | 0.98038 | -0.37735 | 0 | 0
15 | 0.98985 | -0.19467 | 0.0028151 | 0.00070553
16 | 0.9899 | -0.19369 | 0 | 0
17 | 0.99083 | -0.17564 | 0 | 0
18 | 0.98986 | -0.19437 | 0.010938 | 0.0027413
19 | 0.99043 | -0.18334 | 0 | 0
20 | 0.99127 | -0.16704 | 0.0013458 | 0.00033729
21 | 0.9897 | -0.1975 | 0 | 0
22 | 0.99012 | -0.18942 | 0.0071914 | 0.0018023
23 | 0.99196 | -0.15372 | 0.0094172 | 0.0023602
24 | 0.98962 | -0.19907 | 0 | 0
25 | 0.98958 | -0.19988 | 0.0060146 | 0.0015074
26 | 0.9949 | -0.097772 | 0.0090344 | 0.0022642
27 | 0.99524 | -0.091222 | 0.040791 | 0.010223
28 | 0.98976 | -0.19628 | 0.003128 | 0.00078394
29 | 0.98978 | -0.196 | 0.0072148 | 0.0018082
30 | 0.99363 | -0.12139 | 0.0035268 | 0.0008839
31 | 0.99408 | -0.11278 | 0.009378 | 0.0023504
32 | 0.99197 | -0.15348 | 0.0045168 | 0.001132
33 | 0.99488 | -0.097404 | 0 | 0
34 | 0.99319 | -0.12976 | 0.005272 | 0.0013213
35 | 0.99668 | -0.062978 | 0.0056257 | 0.0014099
36 | 1 | 0 | -0.48469 | -0.1231
37 | 0.99546 | -0.086934 | 0 | 0
38 | 0.99368 | -0.12124 | 0.058668 | 0.014704
39 | 0.99093 | -0.17446 | 0.0017151 | 0.00042984
40 | 0.99023 | -0.18798 | 0.056469 | 0.014153
41 | 0.97946 | -0.39538 | 0.014482 | 0.0036296
42 | 0.98016 | -0.38164 | 0 | 0
43 | 0.99226 | -0.14759 | 0.002903 | 0.00072756
44 | 0.97537 | -0.47579 | 0.013289 | 0.0033305
45 | 0.97559 | -0.47129 | 0 | 0
46 | 0.976 | -0.4633 | 0.012806 | 0.0032094
47 | 0.97749 | -0.43402 | 0 | 0
48 | 0.97824 | -0.41931 | 0 | 0
49 | 0.97732 | -0.43746 | 0 | 0
50 | 0.97847 | -0.41482 | 0.024154 | 0.0060536
51 | 0.9771 | -0.44177 | 0.0083987 | 0.0021049
52 | 0.97654 | -0.45264 | 0.018873 | 0.0047301
53 | 0.99222 | -0.14826 | 0.0051135 | 0.0012816
54 | 0.99005 | -0.19159 | 0.0012576 | 0.00031517
55 | 0.99 | -0.19246 | 0.0045301 | 0.0011353
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.19868 | 0.050397 | -0.19852 | -0.050293 | 0.00016242 | 0.00010339 | 0.29867 | 0.29867 | 0.29867 | 0.99058 | -0.17976 | 0.9897 | -0.19678 | 27.3505
1 | -0.21441 | -0.054338 | 0.21443 | 0.054353 | 2.3491e-05 | 1.4964e-05 | 0.32229 | 0.32229 | 0.32229 | 0.99058 | -0.17976 | 0.9907 | -0.17748 | 29.5138
2 | 0.187 | 0.047406 | -0.18678 | -0.047269 | 0.00021601 | 0.00013741 | 0.28135 | 0.28135 | 0.28135 | 0.9897 | -0.19678 | 0.98845 | -0.22085 | 25.7646
3 | -0.21714 | -0.055031 | 0.21736 | 0.055174 | 0.00022395 | 0.00014268 | 0.32636 | 0.32636 | 0.32636 | 0.9907 | -0.17748 | 0.99181 | -0.15604 | 29.886
4 | 0.17127 | 0.04338 | -0.17116 | -0.043313 | 0.0001052 | 6.6842e-05 | 0.25799 | 0.25799 | 0.25799 | 0.98845 | -0.22085 | 0.98778 | -0.23364 | 23.6255
5 | -0.21996 | -0.055826 | 0.22005 | 0.055881 | 8.5838e-05 | 5.4693e-05 | 0.33026 | 0.33026 | 0.33026 | 0.99181 | -0.15604 | 0.99224 | -0.14793 | 30.2434
6 | 0.15713 | 0.039798 | -0.15697 | -0.039694 | 0.00016303 | 0.00010345 | 0.23686 | 0.23686 | 0.23686 | 0.98778 | -0.23364 | 0.98667 | -0.25527 | 21.6904
7 | -0.22279 | -0.056569 | 0.22281 | 0.056577 | 1.2651e-05 | 8.0619e-06 | 0.33438 | 0.33438 | 0.33438 | 0.99224 | -0.14793 | 0.9923 | -0.14675 | 30.6204
8 | 0.14429 | 0.036517 | -0.14406 | -0.036371 | 0.00022961 | 0.00014629 | 0.21774 | 0.21774 | 0.21774 | 0.98667 | -0.25527 | 0.98495 | -0.28848 | 29.9094
9 | 0.008017 | 0.0020093 | -0.0080167 | -0.0020091 | 3.2084e-07 | 1.2887e-07 | 0.012022 | 0.012022 | 0.012022 | 0.9923 | -0.14675 | 0.99226 | -0.14759 | 3.3028
10 | -0.23082 | -0.058586 | 0.23101 | 0.058706 | 0.00018891 | 0.00012042 | 0.3464 | 0.3464 | 0.3464 | 0.9923 | -0.14675 | 0.99319 | -0.12976 | 31.7213
11 | 0.038595 | 0.0096847 | -0.038571 | -0.0096696 | 2.4057e-05 | 1.5157e-05 | 0.058312 | 0.058312 | 0.058312 | 0.98495 | -0.28848 | 0.98428 | -0.30156 | 16.0199
12 | 0.10547 | 0.026686 | -0.10544 | -0.02667 | 2.5565e-05 | 1.6327e-05 | 0.15943 | 0.15943 | 0.15943 | 0.98495 | -0.28848 | 0.98469 | -0.29353 | 43.799
13 | 0.025279 | 0.0063382 | -0.025272 | -0.0063337 | 7.2645e-06 | 4.4808e-06 | 0.038218 | 0.038218 | 0.038218 | 0.98428 | -0.30156 | 0.98397 | -0.3076 | 10.4993
14 | 0.092639 | 0.02346 | -0.092302 | -0.023245 | 0.00033692 | 0.00021505 | 0.14008 | 0.14008 | 0.14008 | 0.98469 | -0.29353 | 0.98078 | -0.36957 | 38.4831
15 | 0.092302 | 0.023245 | -0.092267 | -0.023223 | 3.4334e-05 | 2.1915e-05 | 0.14008 | 0.14008 | 0.14008 | 0.98078 | -0.36957 | 0.98038 | -0.37735 | 38.4831
16 | 0.014495 | 0.0036367 | -0.014492 | -0.003635 | 2.9584e-06 | 1.6879e-06 | 0.022001 | 0.022001 | 0.022001 | 0.98038 | -0.37735 | 0.98016 | -0.38164 | 6.0443
17 | 0.077773 | 0.019587 | -0.077634 | -0.019498 | 0.00013905 | 8.8656e-05 | 0.11808 | 0.11808 | 0.11808 | 0.98038 | -0.37735 | 0.97847 | -0.41482 | 32.4388
18 | -0.0028151 | -0.00070553 | 0.0028152 | 0.00070536 | 1.3147e-07 | -1.6752e-07 | 0.0042319 | 0.0042318 | 0.0042319 | 0.98985 | -0.19467 | 0.9899 | -0.19369 | 1.1626
19 | -0.01977 | -0.0049547 | 0.019787 | 0.004965 | 1.7013e-05 | 1.0227e-05 | 0.029718 | 0.029718 | 0.029718 | 0.9899 | -0.19369 | 0.99083 | -0.17564 | 8.1643
20 | 0.016955 | 0.0042494 | -0.016954 | -0.0042491 | 5.4622e-07 | 3.2076e-07 | 0.025486 | 0.025486 | 0.025486 | 0.9899 | -0.19369 | 0.98986 | -0.19437 | 7.0017
21 | 0.017549 | 0.0044029 | -0.017543 | -0.0043991 | 6.4357e-06 | 3.8008e-06 | 0.026357 | 0.026357 | 0.026357 | 0.99083 | -0.17564 | 0.99043 | -0.18334 | 7.2409
22 | -0.037336 | -0.0093678 | 0.037351 | 0.0093775 | 1.5322e-05 | 9.6386e-06 | 0.056074 | 0.056074 | 0.056074 | 0.99083 | -0.17564 | 0.99127 | -0.16704 | 15.4051
23 | 0.0060162 | 0.0015078 | -0.0060153 | -0.0015076 | 8.9645e-07 | 1.9809e-07 | 0.0090439 | 0.009044 | 0.009044 | 0.98986 | -0.19437 | 0.9897 | -0.1975 | 2.4846
24 | 0.017543 | 0.0043991 | -0.017537 | -0.0043961 | 5.0854e-06 | 3.0035e-06 | 0.026357 | 0.026357 | 0.026357 | 0.99043 | -0.18334 | 0.99012 | -0.18942 | 7.2409
25 | -0.038697 | -0.0097148 | 0.038722 | 0.0097303 | 2.4602e-05 | 1.5495e-05 | 0.058095 | 0.058095 | 0.058095 | 0.99127 | -0.16704 | 0.99196 | -0.15372 | 15.9601
26 | 0.0060153 | 0.0015076 | -0.0060149 | -0.0015075 | 4.501e-07 | 9.951e-08 | 0.009044 | 0.0090441 | 0.0090441 | 0.9897 | -0.1975 | 0.98962 | -0.19907 | 2.4846
27 | 0.010346 | 0.0025937 | -0.010343 | -0.0025921 | 3.2426e-06 | 1.6155e-06 | 0.015549 | 0.015549 | 0.015549 | 0.99012 | -0.18942 | 0.98978 | -0.196 | 4.2718
28 | -0.048139 | -0.01209 | 0.048139 | 0.012091 | 5.5776e-07 | 3.5328e-07 | 0.072221 | 0.072221 | 0.072221 | 0.99196 | -0.15372 | 0.99197 | -0.15348 | 19.8409
29 | 0.0060149 | 0.0015075 | -0.0060146 | -0.0015074 | 2.339e-07 | 5.1726e-08 | 0.0090441 | 0.0090441 | 0.0090441 | 0.98962 | -0.19907 | 0.98958 | -0.19988 | 2.4847
30 | -0.0090344 | -0.0022642 | 0.0090372 | 0.0022655 | 2.8197e-06 | 1.2696e-06 | 0.013512 | 0.013512 | 0.013512 | 0.9949 | -0.097772 | 0.99524 | -0.091222 | 3.7121
31 | -0.049828 | -0.012489 | 0.049838 | 0.012495 | 1.018e-05 | 6.4517e-06 | 0.0745 | 0.0745 | 0.0745 | 0.99524 | -0.091222 | 0.99546 | -0.086934 | 20.467
32 | -0.003128 | -0.00078394 | 0.003128 | 0.00078391 | 4.1371e-08 | -3.7639e-08 | 0.0047026 | 0.0047026 | 0.0047026 | 0.98976 | -0.19628 | 0.98978 | -0.196 | 1.2919
33 | -0.056264 | -0.014158 | 0.056287 | 0.014173 | 2.3146e-05 | 1.4701e-05 | 0.084278 | 0.084278 | 0.084278 | 0.99363 | -0.12139 | 0.99408 | -0.11278 | 23.1533
34 | 0.052737 | 0.013274 | -0.052656 | -0.013223 | 8.0755e-05 | 5.1237e-05 | 0.078996 | 0.078996 | 0.078996 | 0.99363 | -0.12139 | 0.99197 | -0.15348 | 21.7023
35 | -0.065665 | -0.016523 | 0.065713 | 0.016554 | 4.8291e-05 | 3.0733e-05 | 0.098316 | 0.098315 | 0.098316 | 0.99408 | -0.11278 | 0.99488 | -0.097404 | 27.0098
36 | 0.23665 | 0.060263 | -0.23628 | -0.060028 | 0.00036862 | 0.00023501 | 0.3543 | 0.3543 | 0.3543 | 0.99488 | -0.097404 | 0.99319 | -0.12976 | 32.4446
37 | -0.30237 | -0.076816 | 0.30287 | 0.077137 | 0.000502 | 0.00032052 | 0.45261 | 0.45261 | 0.45261 | 0.99488 | -0.097404 | 0.99668 | -0.062978 | 41.4478
38 | -0.30849 | -0.078547 | 0.30943 | 0.079147 | 0.00094003 | 0.00060023 | 0.46101 | 0.46101 | 0.46101 | 0.99668 | -0.062978 | 1 | 0 | 42.2169
39 | 0.17361 | 0.04395 | -0.17288 | -0.04349 | 0.00072129 | 0.00046012 | 0.25848 | 0.25848 | 0.25848 | 1 | 0 | 0.99546 | -0.086934 | 35.506
40 | 0.12305 | 0.030995 | -0.12284 | -0.030866 | 0.0002015 | 0.00012875 | 0.18398 | 0.18398 | 0.18398 | 0.99546 | -0.086934 | 0.99368 | -0.12124 | 50.5451
41 | 0.064176 | 0.016162 | -0.064013 | -0.016059 | 0.00016286 | 0.00010362 | 0.09613 | 0.09613 | 0.09613 | 0.99368 | -0.12124 | 0.99093 | -0.17446 | 26.4093
42 | 0.062298 | 0.015629 | -0.062258 | -0.015603 | 4.0131e-05 | 2.5527e-05 | 0.093554 | 0.093554 | 0.093554 | 0.99093 | -0.17446 | 0.99023 | -0.18798 | 25.7018
43 | 0.0057888 | 0.0014507 | -0.0057878 | -0.0014505 | 9.9492e-07 | 1.8579e-07 | 0.0086988 | 0.008699 | 0.008699 | 0.99023 | -0.18798 | 0.99005 | -0.19159 | 2.3898
44 | -0.014482 | -0.0036296 | 0.014492 | 0.003635 | 9.4862e-06 | 5.413e-06 | 0.022001 | 0.022001 | 0.022001 | 0.97946 | -0.39538 | 0.98016 | -0.38164 | 6.0443
45 | 0.0051137 | 0.0012816 | -0.0051135 | -0.0012816 | 1.6119e-07 | 8.7535e-09 | 0.0076687 | 0.0076687 | 0.0076687 | 0.99226 | -0.14759 | 0.99222 | -0.14826 | 2.1068
46 | -0.013289 | -0.0033305 | 0.013292 | 0.0033321 | 2.8447e-06 | 1.5902e-06 | 0.020273 | 0.020273 | 0.020273 | 0.97537 | -0.47579 | 0.97559 | -0.47129 | 5.5696
47 | -0.013292 | -0.0033321 | 0.013297 | 0.0033349 | 5.0632e-06 | 2.8301e-06 | 0.020273 | 0.020273 | 0.020273 | 0.97559 | -0.47129 | 0.976 | -0.4633 | 5.5696
48 | -0.026103 | -0.0065444 | 0.026139 | 0.006567 | 3.6474e-05 | 2.2575e-05 | 0.039797 | 0.039797 | 0.039797 | 0.976 | -0.4633 | 0.97749 | -0.43402 | 10.9333
49 | -0.026139 | -0.006567 | 0.026157 | 0.0065783 | 1.8365e-05 | 1.1366e-05 | 0.039797 | 0.039797 | 0.039797 | 0.97749 | -0.43402 | 0.97824 | -0.41931 | 10.9332
50 | 0.027311 | 0.006859 | -0.027287 | -0.0068443 | 2.3628e-05 | 1.4664e-05 | 0.041548 | 0.041548 | 0.041548 | 0.97824 | -0.41931 | 0.97732 | -0.43746 | 11.4144
51 | -0.053468 | -0.013437 | 0.05348 | 0.013445 | 1.1476e-05 | 7.2866e-06 | 0.081345 | 0.081345 | 0.081345 | 0.97824 | -0.41931 | 0.97847 | -0.41482 | 22.3475
52 | 0.027287 | 0.0068443 | -0.027282 | -0.0068409 | 5.6026e-06 | 3.4772e-06 | 0.041548 | 0.041548 | 0.041548 | 0.97732 | -0.43746 | 0.9771 | -0.44177 | 11.4144
53 | 0.018883 | 0.0047359 | -0.018873 | -0.0047301 | 9.7838e-06 | 5.8667e-06 | 0.028758 | 0.028758 | 0.028758 | 0.9771 | -0.44177 | 0.97654 | -0.45264 | 7.9006
54 | 0.0045303 | 0.0011353 | -0.0045301 | -0.0011353 | 1.8891e-07 | -1.8822e-08 | 0.0068089 | 0.0068089 | 0.0068089 | 0.99005 | -0.19159 | 0.99 | -0.19246 | 1.8706

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48469 | 0.1231

## res_load
| p_mw | q_mvar
0 | 0.015727 | 0.0039415
1 | 0.011519 | 0.0028868
2 | 0.002706 | 0.00067819
3 | 0.015517 | 0.0038888
4 | 0.0026012 | 0.00065192
5 | 0.014028 | 0.0035158
6 | 0.0027455 | 0.00068809
7 | 0.012677 | 0.0031772
8 | 0.013292 | 0.0033313
9 | 0.012805 | 0.0032092
10 | 0.025272 | 0.0063337
11 | 0.0028151 | 0.00070553
12 | 0.010938 | 0.0027413
13 | 0.0013458 | 0.00033729
14 | 0.0071914 | 0.0018023
15 | 0.0094172 | 0.0023602
16 | 0.0060146 | 0.0015074
17 | 0.0090344 | 0.0022642
18 | 0.040791 | 0.010223
19 | 0.003128 | 0.00078394
20 | 0.0072148 | 0.0018082
21 | 0.0035268 | 0.0008839
22 | 0.009378 | 0.0023504
23 | 0.0045168 | 0.001132
24 | 0.005272 | 0.0013213
25 | 0.0056257 | 0.0014099
26 | 0.058668 | 0.014704
27 | 0.0017151 | 0.00042984
28 | 0.056469 | 0.014153
29 | 0.014482 | 0.0036296
30 | 0.002903 | 0.00072756
31 | 0.013289 | 0.0033305
32 | 0.012806 | 0.0032094
33 | 0.024154 | 0.0060536
34 | 0.0083987 | 0.0021049
35 | 0.018873 | 0.0047301
36 | 0.0051135 | 0.0012816
37 | 0.0012576 | 0.00031517
38 | 0.0045301 | 0.0011353

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1