## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_138-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_138-12_0_4_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_138-12_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_138-12_0_4_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_138-12_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_138-12_0_4_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_138-12_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_138-12_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_138-12_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_138-12_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_138-12_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_138-12_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_138-12_0_4_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_138-12_0_4_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_138-12_0_4_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_138-12_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_138-12_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_138-12_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_138-12_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_138-12_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_138-12_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_138-12_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_138-12_0_4_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_138-12_0_4_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_138-12_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_138-12_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_138-12_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_138-12_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_138-12_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_138-12_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_138-12_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_138-12_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_138-12_0_4_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_138-12_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_138-12_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_138-12_0_4_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_138-12_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_138-12_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_138-12_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_138-12_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_138-12_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_138-12_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_138-12_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_138-12_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_138-12_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_138-12_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_138-12_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_138-12_0_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_138-12_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_138-12_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_138-12_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_138-12_0_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_138-12_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_138-12_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_138-12_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_138-12_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_138-12_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_138-12_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_138-12_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_138-12_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_138-12_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_138-12_0_4_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_138-12_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_138-12_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_138-12_0_4_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_138-12_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_138-12_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_138-12_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_138-12_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_138-12_0_4_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_138-12_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_138-12_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_138-12_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_138-12_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_138-12_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_138-12_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_138-12_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_138-12_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_138-12_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_138-12_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_MV_222_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-12_0_4_load_0 | 0 | 0.0077403 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-12_0_4_load_1 | 1 | 0.0056939 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-12_0_4_load_2 | 2 | 0.0071306 | 0.0017871 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-12_0_4_load_4 | 4 | 0.0049914 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-12_0_4_load_70 | 5 | 0.011411 | 0.00286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-12_0_4_load_83 | 9 | 0.0057497 | 0.001441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-12_0_4_load_12 | 13 | 0.0056957 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-12_0_4_load_35 | 14 | 0.0053704 | 0.0013459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-12_0_4_load_26 | 15 | 0.0049093 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-12_0_4_load_62 | 16 | 0.0024142 | 0.00060505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-12_0_4_load_60 | 17 | 0.0028414 | 0.00071213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-12_0_4_load_5 | 18 | 0.0034147 | 0.00085581 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-12_0_4_load_7 | 20 | 0.0050335 | 0.0012615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-12_0_4_load_9 | 22 | 0.0050334 | 0.0012615 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-12_0_4_load_71 | 24 | 0.0014006 | 0.00035103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-12_0_4_load_10 | 25 | 0.0036098 | 0.0009047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-12_0_4_load_68 | 26 | 0.0015802 | 0.00039604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-12_0_4_load_65 | 27 | 0.00086856 | 0.00021768 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-12_0_4_load_13 | 29 | 0.0056945 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-12_0_4_load_15 | 30 | 0.0040981 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-12_0_4_load_22 | 32 | 0.0039333 | 0.00098578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-12_0_4_load_19 | 33 | 0.018599 | 0.0046613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-12_0_4_load_34 | 34 | 0.033733 | 0.0084542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-12_0_4_load_90 | 36 | 0.015202 | 0.0038099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-12_0_4_load_25 | 38 | 0.0033775 | 0.00084647 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-12_0_4_load_84 | 39 | 0.0042109 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-12_0_4_load_23 | 41 | 0.010314 | 0.0025849 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-12_0_4_load_89 | 42 | 0.0031648 | 0.00079318 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-12_0_4_load_59 | 43 | 0.0055948 | 0.0014022 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-12_0_4_load_28 | 44 | 0.021546 | 0.0053999 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-12_0_4_load_29 | 45 | 0.017557 | 0.0044001 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-12_0_4_load_31 | 47 | 0.020223 | 0.0050684 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-12_0_4_load_32 | 48 | 0.001118 | 0.00028019 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-12_0_4_load_33 | 49 | 0.00085621 | 0.00021459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-12_0_4_load_79 | 51 | 0.0051403 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-12_0_4_load_38 | 52 | 0.0043473 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-12_0_4_load_39 | 53 | 0.011008 | 0.0027589 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-12_0_4_load_36 | 54 | 0.0025719 | 0.00064459 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-12_0_4_load_77 | 55 | 0.0012351 | 0.00030954 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-12_0_4_load_40 | 56 | 0.0074336 | 0.001863 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-12_0_4_load_50 | 57 | 0.011007 | 0.0027586 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_138-12_0_4_load_48 | 58 | 0.011142 | 0.0027924 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_138-12_0_4_load_42 | 60 | 0.0029579 | 0.00074133 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_138-12_0_4_load_43 | 61 | 0.002816 | 0.00070575 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_138-12_0_4_load_44 | 62 | 0.0064251 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_138-12_0_4_load_45 | 63 | 0.0018189 | 0.00045585 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_138-12_0_4_load_73 | 64 | 0.021263 | 0.0053291 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_138-12_0_4_load_85 | 65 | 0.0027838 | 0.00069768 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_138-12_0_4_load_46 | 66 | 0.0020981 | 0.00052584 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_138-12_0_4_load_72 | 67 | 0.011687 | 0.0029291 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_138-12_0_4_load_86 | 68 | 0.0031728 | 0.00079517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_138-12_0_4_load_52 | 70 | 0.0048671 | 0.0012198 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_138-12_0_4_load_47 | 72 | 0.0024308 | 0.00060922 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_138-12_0_4_load_53 | 73 | 0.0025058 | 0.00062802 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_138-12_0_4_load_54 | 74 | 0.0014495 | 0.00036327 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_138-12_0_4_load_58 | 76 | 0.0049795 | 0.001248 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_138-12_0_4_load_63 | 77 | 0.0064272 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_138-12_0_4_load_74 | 78 | 0.0033389 | 0.00083681 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_138-12_0_4_load_75 | 79 | 0.0035319 | 0.00088519 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_138-12_0_4_load_80 | 80 | 0.0047432 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_138-12_0_4_load_81 | 81 | 0.0015676 | 0.00039288 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_138-12_0_4_load_76 | 82 | 0.0081549 | 0.0020438 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_138-12_0_4_load_87 | 83 | 0.00095634 | 0.00023968 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-12_0_4_line_0 |  | 0 | 1 | 0.0059681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-12_0_4_line_1 |  | 0 | 2 | 0.041983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-12_0_4_line_2 |  | 1 | 3 | 0.013856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-12_0_4_line_3 |  | 2 | 4 | 0.023071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-12_0_4_line_4 |  | 3 | 5 | 0.035466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-12_0_4_line_5 |  | 4 | 6 | 0.0055711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-12_0_4_line_6 |  | 5 | 7 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-12_0_4_line_7 |  | 6 | 16 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-12_0_4_line_8 |  | 6 | 17 | 0.0035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-12_0_4_line_9 |  | 7 | 28 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-12_0_4_line_10 |  | 8 | 9 | 0.0022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-12_0_4_line_11 |  | 8 | 10 | 0.033715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-12_0_4_line_12 |  | 9 | 39 | 0.0022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-12_0_4_line_13 |  | 10 | 14 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-12_0_4_line_14 |  | 10 | 11 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-12_0_4_line_15 |  | 11 | 12 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-12_0_4_line_16 |  | 11 | 13 | 0.071007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-12_0_4_line_17 |  | 12 | 15 | 0.032847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-12_0_4_line_18 |  | 13 | 29 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-12_0_4_line_19 |  | 14 | 34 | 0.0092245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-12_0_4_line_20 |  | 15 | 38 | 0.054998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-12_0_4_line_21 |  | 16 | 77 | 0.035934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-12_0_4_line_22 |  | 17 | 75 | 0.0033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-12_0_4_line_23 |  | 18 | 19 | 0.057486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-12_0_4_line_24 |  | 19 | 20 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-12_0_4_line_25 |  | 19 | 21 | 0.009011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-12_0_4_line_26 |  | 20 | 22 | 0.04089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-12_0_4_line_27 |  | 21 | 23 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-12_0_4_line_28 |  | 21 | 24 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-12_0_4_line_29 |  | 22 | 25 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-12_0_4_line_30 |  | 23 | 26 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_138-12_0_4_line_31 |  | 23 | 27 | 0.0055498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-12_0_4_line_32 |  | 24 | 28 | 0.042646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-12_0_4_line_33 |  | 28 | 48 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-12_0_4_line_34 |  | 29 | 30 | 0.029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-12_0_4_line_35 |  | 30 | 31 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-12_0_4_line_36 |  | 31 | 32 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-12_0_4_line_37 |  | 31 | 33 | 0.022007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-12_0_4_line_38 |  | 33 | 40 | 0.075112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-12_0_4_line_39 |  | 34 | 54 | 0.0095863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-12_0_4_line_40 |  | 35 | 36 | 0.033672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_138-12_0_4_line_41 |  | 35 | 37 | 0.026916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_138-12_0_4_line_42 |  | 37 | 43 | 0.051417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_138-12_0_4_line_43 |  | 40 | 41 | 0.039021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_138-12_0_4_line_44 |  | 41 | 42 | 0.025365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_138-12_0_4_line_45 |  | 43 | 76 | 0.0028416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_138-12_0_4_line_46 |  | 44 | 45 | 0.0017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-12_0_4_line_47 |  | 44 | 46 | 0.03731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_138-12_0_4_line_48 |  | 45 | 47 | 0.033012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_138-12_0_4_line_49 |  | 46 | 48 | 0.024428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-12_0_4_line_50 |  | 46 | 49 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-12_0_4_line_51 |  | 47 | 50 | 0.030117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_138-12_0_4_line_52 |  | 49 | 51 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_138-12_0_4_line_53 |  | 50 | 52 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_138-12_0_4_line_54 |  | 50 | 53 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_138-12_0_4_line_55 |  | 50 | 54 | 0.03085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_138-12_0_4_line_56 |  | 51 | 55 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_138-12_0_4_line_57 |  | 52 | 56 | 0.0065637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_138-12_0_4_line_58 |  | 53 | 57 | 0.039781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_138-12_0_4_line_59 |  | 55 | 82 | 0.045769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_138-12_0_4_line_60 |  | 57 | 58 | 0.038533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_138-12_0_4_line_61 |  | 58 | 72 | 0.026373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_138-12_0_4_line_62 |  | 59 | 60 | 0.019067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_138-12_0_4_line_63 |  | 59 | 61 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_138-12_0_4_line_64 |  | 59 | 62 | 0.021666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_138-12_0_4_line_65 |  | 60 | 63 | 0.02959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_138-12_0_4_line_66 |  | 61 | 64 | 0.0042135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_138-12_0_4_line_67 |  | 62 | 65 | 0.034734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_138-12_0_4_line_68 |  | 63 | 66 | 0.01225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_138-12_0_4_line_69 |  | 64 | 67 | 0.029891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_138-12_0_4_line_70 |  | 65 | 68 | 0.03145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_138-12_0_4_line_71 |  | 66 | 69 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_138-12_0_4_line_72 |  | 67 | 78 | 0.0021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_138-12_0_4_line_73 |  | 68 | 83 | 0.034741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_138-12_0_4_line_74 |  | 69 | 70 | 0.034097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_138-12_0_4_line_75 |  | 69 | 71 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_138-12_0_4_line_76 |  | 71 | 72 | 0.0070738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_138-12_0_4_line_77 |  | 73 | 74 | 0.0032731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_138-12_0_4_line_78 |  | 74 | 75 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_138-12_0_4_line_79 |  | 75 | 76 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_138-12_0_4_line_80 |  | 78 | 79 | 0.033474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_138-12_0_4_line_81 |  | 79 | 80 | 0.0087352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_138-12_0_4_line_82 |  | 80 | 81 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-12_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 84 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2696032.1769 | 1229043.027 | 2696035.0424 | 1229037.7918
1 | 2696032.1769 | 1229043.027 | 2696028.2422 | 1229050.2155 | 2696008.7632 | 1229077.8237
2 | 2696041.6954 | 1229025.6371 | 2696035.0424 | 1229037.7918
3 | 2696008.7632 | 1229077.8237 | 2695995.4628 | 1229096.6748
4 | 2696041.6954 | 1229025.6371 | 2696036.2053 | 1229023.5359 | 2696026.2671 | 1229020.0285 | 2696008.8841 | 1229012.2378
5 | 2695992.2511 | 1229101.2269 | 2695995.4628 | 1229096.6748
6 | 2695997.2355 | 1229007.0171 | 2696008.8841 | 1229012.2378
7 | 2695992.2511 | 1229101.2269 | 2695992.7425 | 1229085.7926
8 | 2695992.2511 | 1229101.2269 | 2695991.4838 | 1229104.6617
9 | 2695982.6975 | 1229001.6453 | 2695997.2355 | 1229007.0171
10 | 2696077.4598 | 1229063.2418 | 2696075.6358 | 1229061.9504
11 | 2696077.4598 | 1229063.2418 | 2696079.873 | 1229051.7725 | 2696081.3191 | 1229043.8791 | 2696085.4696 | 1229044.0018 | 2696089.5846 | 1229042.5672 | 2696093.9344 | 1229039.2684
12 | 2696075.6358 | 1229061.9504 | 2696073.8127 | 1229060.6595
13 | 2696093.9344 | 1229039.2684 | 2696092.8652 | 1229025.9277
14 | 2696093.9344 | 1229039.2684 | 2696100.4886 | 1229037.8844 | 2696104.9594 | 1229036.9449 | 2696107.6295 | 1229035.3646 | 2696112.048 | 1229037.6599
15 | 2696109.528 | 1229051.5181 | 2696108.7857 | 1229050.0939 | 2696107.8365 | 1229048.811 | 2696106.7105 | 1229047.6809 | 2696112.048 | 1229037.6599
16 | 2696112.048 | 1229037.6599 | 2696120.8796 | 1229019.6229 | 2696147.4465 | 1228976.1786
17 | 2696109.528 | 1229051.5181 | 2696120.3748 | 1229047.0901 | 2696138.7549 | 1229036.6645
18 | 2696147.4465 | 1228976.1786 | 2696156.3896 | 1228961.5541
19 | 2696092.1282 | 1229016.7327 | 2696092.8652 | 1229025.9277
20 | 2696186.5932 | 1229009.5295 | 2696138.7549 | 1229036.6645
21 | 2695992.7425 | 1229085.7926 | 2695992.8353 | 1229082.8786 | 2695990.0265 | 1229055.5136 | 2695989.7258 | 1229050.0125
22 | 2695990.7563 | 1229107.9187 | 2695991.4838 | 1229104.6617
23 | 2695928.6706 | 1229001.0956 | 2695879.0792 | 1229030.171
24 | 2695928.6706 | 1229001.0956 | 2695933.1699 | 1229015.2896 | 2695936.0609 | 1229025.8438 | 2695936.3106 | 1229027.731
25 | 2695929.6411 | 1228992.1382 | 2695928.6706 | 1229001.0956
26 | 2695930.2156 | 1229067.2279 | 2695931.7382 | 1229064.0905 | 2695938.1883 | 1229041.923 | 2695936.3106 | 1229027.731
27 | 2695929.6411 | 1228992.1382 | 2695913.308 | 1228989.5285
28 | 2695929.6411 | 1228992.1382 | 2695938.8618 | 1228995.0334 | 2695940.5307 | 1228995.381
29 | 2695930.2156 | 1229067.2279 | 2695922.7742 | 1229082.561
30 | 2695913.308 | 1228989.5285 | 2695911.2939 | 1228976.6234
31 | 2695913.308 | 1228989.5285 | 2695907.8534 | 1228988.5051
32 | 2695982.6975 | 1229001.6453 | 2695969.7371 | 1228999.468 | 2695960.9489 | 1228998.4143 | 2695945.2283 | 1228996.3593 | 2695940.5307 | 1228995.381
33 | 2695982.6975 | 1229001.6453 | 2695987.604 | 1228988.2704 | 2695989.6257 | 1228980.3862 | 2695989.9266 | 1228975.6002
34 | 2696156.3896 | 1228961.5541 | 2696171.9973 | 1228936.0312
35 | 2696182.6341 | 1228918.6371 | 2696171.9973 | 1228936.0312
36 | 2696182.6341 | 1228918.6371 | 2696189.4954 | 1228907.4691
37 | 2696182.6341 | 1228918.6371 | 2696188.1581 | 1228921.4507 | 2696200.7033 | 1228911.8325
38 | 2696258.5117 | 1228924.124 | 2696257.4225 | 1228917.446 | 2696252.5682 | 1228910.707 | 2696247.3351 | 1228905.8411 | 2696241.2375 | 1228901.4726 | 2696233.0785 | 1228897.5934 | 2696225.5428 | 1228897.8049 | 2696217.7891 | 1228900.2479 | 2696210.1871 | 1228904.5614 | 2696200.7033 | 1228911.8325
39 | 2696092.1282 | 1229016.7327 | 2696091.3623 | 1229007.1771
40 | 2696035.5547 | 1229120.0839 | 2696061.902 | 1229141.1468
41 | 2696047.5759 | 1229163.9541 | 2696061.902 | 1229141.1468
42 | 2696047.5759 | 1229163.9541 | 2696029.4754 | 1229146.4826 | 2696022.7605 | 1229138.1237 | 2696011.4603 | 1229127.4588
43 | 2696258.5117 | 1228924.124 | 2696251.6216 | 1228926.581 | 2696226.9374 | 1228946.4798
44 | 2696207.1898 | 1228962.3991 | 2696226.9374 | 1228946.4798
45 | 2696009.3938 | 1229125.5084 | 2696011.4603 | 1229127.4588
46 | 2696024.9779 | 1228955.0839 | 2696026.5771 | 1228955.811
47 | 2695989.1422 | 1228951.2018 | 2696001.5554 | 1228948.3223 | 2696015.5944 | 1228950.8174 | 2696024.9779 | 1228955.0839
48 | 2696056.6281 | 1228969.4746 | 2696026.5771 | 1228955.811
49 | 2695989.1422 | 1228951.2018 | 2695990.1355 | 1228972.2775 | 2695989.9266 | 1228975.6002
50 | 2695989.1422 | 1228951.2018 | 2695984.819 | 1228942.0341
51 | 2696085.4415 | 1228977.2976 | 2696067.574 | 1228974.4514 | 2696056.6281 | 1228969.4746
52 | 2695975.9272 | 1228923.1784 | 2695984.819 | 1228942.0341
53 | 2696085.4415 | 1228977.2976 | 2696077.4555 | 1228965.9938 | 2696076.2472 | 1228953.4184
54 | 2696085.4415 | 1228977.2976 | 2696094.0461 | 1228969.5532 | 2696095.647 | 1228964.1613
55 | 2696085.4415 | 1228977.2976 | 2696089.7537 | 1228987.1077 | 2696091.3623 | 1229007.1771
56 | 2695970.8051 | 1228912.3165 | 2695975.9272 | 1228923.1784
57 | 2696075.6194 | 1228946.8847 | 2696076.2472 | 1228953.4184
58 | 2696095.647 | 1228964.1613 | 2696105.0894 | 1228932.3604 | 2696108.79 | 1228926.8857
59 | 2695951.2835 | 1228870.9193 | 2695970.8051 | 1228912.3165
60 | 2696108.79 | 1228926.8857 | 2696121.9437 | 1228907.4258 | 2696133.2562 | 1228897.508
61 | 2696151.0395 | 1228878.0749 | 2696136.4639 | 1228894.6957 | 2696133.2562 | 1228897.508
62 | 2696072.0795 | 1228889.7853 | 2696090.1804 | 1228883.793
63 | 2696072.0795 | 1228889.7853 | 2696065.5741 | 1228891.4259 | 2696054.6079 | 1228891.7468
64 | 2696072.0795 | 1228889.7853 | 2696068.3288 | 1228868.4467
65 | 2696090.1804 | 1228883.793 | 2696116.0155 | 1228875.2401 | 2696118.1954 | 1228874.2958
66 | 2696050.3963 | 1228891.87 | 2696054.6079 | 1228891.7468
67 | 2696062.3156 | 1228834.237 | 2696068.3288 | 1228868.4467
68 | 2696129.4365 | 1228869.4261 | 2696118.1954 | 1228874.2958
69 | 2696031.1874 | 1228870.6352 | 2696039.6731 | 1228886.2817 | 2696050.3963 | 1228891.87 | 2696050.3963 | 1228891.87
70 | 2696062.3156 | 1228834.237 | 2696060.6429 | 1228824.7204 | 2696055.4343 | 1228803.5641
71 | 2696140.4125 | 1228864.6712 | 2696129.4365 | 1228869.4261
72 | 2696031.1874 | 1228870.6352 | 2696030.1527 | 1228868.7273
73 | 2696055.4343 | 1228803.5641 | 2696048.3904 | 1228774.9533 | 2696047.6647 | 1228769.7275
74 | 2696140.4125 | 1228864.6712 | 2696134.1882 | 1228835.8054 | 2696134.268 | 1228831.2384
75 | 2696146.6431 | 1228872.5331 | 2696140.4125 | 1228864.6712
76 | 2696146.6431 | 1228872.5331 | 2696151.0395 | 1228878.0749 | 2696151.0395 | 1228878.0749
77 | 2695977.9605 | 1229121.1658 | 2695979.6761 | 1229118.3783
78 | 2695990.7563 | 1229107.9187 | 2695980.6097 | 1229116.8614 | 2695979.6761 | 1229118.3783
79 | 2695990.7563 | 1229107.9187 | 2696009.3938 | 1229125.5084
80 | 2696030.1527 | 1228868.7273 | 2696021.5196 | 1228852.809 | 2696013.9964 | 1228839.4109
81 | 2696009.7197 | 1228831.7943 | 2696013.9964 | 1228839.4109
82 | 2696009.7197 | 1228831.7943 | 2695996.7652 | 1228808.7234

## bus_geodata
| x | y | coords
0 | 2696032.1769 | 1229043.027
1 | 2696035.0424 | 1229037.7918
2 | 2696008.7632 | 1229077.8237
3 | 2696041.6954 | 1229025.6371
4 | 2695995.4628 | 1229096.6748
5 | 2696008.8841 | 1229012.2378
6 | 2695992.2511 | 1229101.2269
7 | 2695997.2354 | 1229007.0171
8 | 2696077.4598 | 1229063.2418
9 | 2696075.6358 | 1229061.9504
10 | 2696093.9344 | 1229039.2684
11 | 2696112.048 | 1229037.6599
12 | 2696109.528 | 1229051.5181
13 | 2696147.4465 | 1228976.1786
14 | 2696092.8652 | 1229025.9277
15 | 2696138.7549 | 1229036.6645
16 | 2695992.7425 | 1229085.7926
17 | 2695991.4838 | 1229104.6617
18 | 2695879.0793 | 1229030.171
19 | 2695928.6706 | 1229001.0956
20 | 2695936.3106 | 1229027.731
21 | 2695929.6411 | 1228992.1382
22 | 2695930.2156 | 1229067.2279
23 | 2695913.308 | 1228989.5285
24 | 2695940.5307 | 1228995.381
25 | 2695922.7742 | 1229082.561
26 | 2695911.2939 | 1228976.6234
27 | 2695907.8534 | 1228988.5051
28 | 2695982.6975 | 1229001.6453
29 | 2696156.3896 | 1228961.5541
30 | 2696171.9973 | 1228936.0312
31 | 2696182.6341 | 1228918.6371
32 | 2696189.4954 | 1228907.4691
33 | 2696200.7033 | 1228911.8325
34 | 2696092.1282 | 1229016.7327
35 | 2696061.902 | 1229141.1468
36 | 2696035.5547 | 1229120.0839
37 | 2696047.5759 | 1229163.9541
38 | 2696186.5932 | 1229009.5295
39 | 2696073.8127 | 1229060.6595
40 | 2696258.5117 | 1228924.124
41 | 2696226.9374 | 1228946.4798
42 | 2696207.1898 | 1228962.3991
43 | 2696011.4603 | 1229127.4588
44 | 2696024.9779 | 1228955.0839
45 | 2696026.5771 | 1228955.811
46 | 2695989.1422 | 1228951.2018
47 | 2696056.6281 | 1228969.4746
48 | 2695989.9266 | 1228975.6002
49 | 2695984.819 | 1228942.0341
50 | 2696085.4415 | 1228977.2976
51 | 2695975.9272 | 1228923.1784
52 | 2696076.2472 | 1228953.4184
53 | 2696095.647 | 1228964.1613
54 | 2696091.3623 | 1229007.1771
55 | 2695970.8051 | 1228912.3165
56 | 2696075.6194 | 1228946.8847
57 | 2696108.79 | 1228926.8857
58 | 2696133.2562 | 1228897.508
59 | 2696072.0795 | 1228889.7853
60 | 2696090.1804 | 1228883.793
61 | 2696054.6079 | 1228891.7468
62 | 2696068.3288 | 1228868.4467
63 | 2696118.1954 | 1228874.2958
64 | 2696050.3963 | 1228891.87
65 | 2696062.3156 | 1228834.237
66 | 2696129.4365 | 1228869.4261
67 | 2696031.1874 | 1228870.6352
68 | 2696055.4343 | 1228803.5641
69 | 2696140.4125 | 1228864.6712
70 | 2696134.268 | 1228831.2384
71 | 2696146.6431 | 1228872.5331
72 | 2696151.0395 | 1228878.0749
73 | 2695977.9605 | 1229121.1658
74 | 2695979.6761 | 1229118.3783
75 | 2695990.7563 | 1229107.9187
76 | 2696009.3938 | 1229125.5084
77 | 2695989.7258 | 1229050.0125
78 | 2696030.1527 | 1228868.7273
79 | 2696013.9964 | 1228839.4109
80 | 2696009.7197 | 1228831.7943
81 | 2695996.7652 | 1228808.7234
82 | 2695951.2835 | 1228870.9193
83 | 2696047.6647 | 1228769.7275
84 | 2696085.4415 | 1228977.2976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98324 | -0.32187 | 0.0077403 | 0.0019399
1 | 0.98358 | -0.31528 | 0.0056939 | 0.001427
2 | 0.98116 | -0.36248 | 0.0071306 | 0.0017871
3 | 0.98443 | -0.29857 | 0 | 0
4 | 0.98016 | -0.38189 | 0.0049914 | 0.001251
5 | 0.98663 | -0.25594 | 0.011411 | 0.00286
6 | 0.97995 | -0.38608 | 0 | 0
7 | 0.98756 | -0.23804 | 0 | 0
8 | 0.99086 | -0.17503 | 0 | 0
9 | 0.99084 | -0.17543 | 0.0057497 | 0.001441
10 | 0.99116 | -0.16907 | 0 | 0
11 | 0.9901 | -0.18957 | 0 | 0
12 | 0.98998 | -0.19195 | 0 | 0
13 | 0.98673 | -0.25482 | 0.0056957 | 0.0014275
14 | 0.99202 | -0.15252 | 0.0053704 | 0.0013459
15 | 0.98973 | -0.19679 | 0.0049093 | 0.0012304
16 | 0.97982 | -0.38856 | 0.0024142 | 0.00060505
17 | 0.97984 | -0.38816 | 0.0028414 | 0.00071213
18 | 0.98733 | -0.24258 | 0.0034147 | 0.00085581
19 | 0.98751 | -0.23907 | 0 | 0
20 | 0.98716 | -0.24586 | 0.0050335 | 0.0012615
21 | 0.98765 | -0.23632 | 0 | 0
22 | 0.98684 | -0.25218 | 0.0050334 | 0.0012615
23 | 0.98762 | -0.23704 | 0 | 0
24 | 0.98786 | -0.23235 | 0.0014006 | 0.00035103
25 | 0.98678 | -0.25328 | 0.0036098 | 0.0009047
26 | 0.9876 | -0.23741 | 0.0015802 | 0.00039604
27 | 0.98761 | -0.23713 | 0.00086856 | 0.00021768
28 | 0.98868 | -0.21641 | 0 | 0
29 | 0.98601 | -0.26889 | 0.0056945 | 0.0014272
30 | 0.9849 | -0.29043 | 0.0040981 | 0.0010271
31 | 0.98422 | -0.30363 | 0 | 0
32 | 0.98418 | -0.30456 | 0.0039333 | 0.00098578
33 | 0.98357 | -0.31634 | 0.018599 | 0.0046613
34 | 0.99266 | -0.14025 | 0.033733 | 0.0084542
35 | 0.97798 | -0.42472 | 0 | 0
36 | 0.97751 | -0.43405 | 0.015202 | 0.0038099
37 | 0.97836 | -0.41726 | 0 | 0
38 | 0.98956 | -0.2001 | 0.0033775 | 0.00084647
39 | 0.99083 | -0.17559 | 0.0042109 | 0.0010553
40 | 0.98264 | -0.3346 | 0 | 0
41 | 0.98215 | -0.3441 | 0.010314 | 0.0025849
42 | 0.98208 | -0.34555 | 0.0031648 | 0.00079318
43 | 0.97909 | -0.40304 | 0.0055948 | 0.0014022
44 | 0.99743 | -0.048911 | 0.021546 | 0.0053999
45 | 0.99765 | -0.044684 | 0.017557 | 0.0044001
46 | 0.99344 | -0.12494 | 0 | 0
47 | 1 | 0 | -0.39414 | -0.10019
48 | 0.99117 | -0.16838 | 0.001118 | 0.00028019
49 | 0.9933 | -0.1277 | 0.00085621 | 0.00021459
50 | 0.99677 | -0.061312 | 0 | 0
51 | 0.99302 | -0.13305 | 0.0051403 | 0.0012883
52 | 0.99649 | -0.066786 | 0.0043473 | 0.0010895
53 | 0.99503 | -0.094451 | 0.011008 | 0.0027589
54 | 0.99362 | -0.12181 | 0.0025719 | 0.00064459
55 | 0.99292 | -0.13504 | 0.0012351 | 0.00030954
56 | 0.99645 | -0.067642 | 0.0074336 | 0.001863
57 | 0.99141 | -0.16377 | 0.011007 | 0.0027586
58 | 0.98829 | -0.22382 | 0.011142 | 0.0027924
59 | 0.98084 | -0.36857 | 0 | 0
60 | 0.98194 | -0.34707 | 0.0029579 | 0.00074133
61 | 0.98004 | -0.38426 | 0.002816 | 0.00070575
62 | 0.98057 | -0.37381 | 0.0064251 | 0.0016103
63 | 0.98373 | -0.31223 | 0.0018189 | 0.00045585
64 | 0.97986 | -0.38779 | 0.021263 | 0.0053291
65 | 0.98035 | -0.37816 | 0.0027838 | 0.00069768
66 | 0.98449 | -0.29745 | 0.0020981 | 0.00052584
67 | 0.97917 | -0.40129 | 0.011687 | 0.0029291
68 | 0.98023 | -0.38052 | 0.0031728 | 0.00079517
69 | 0.98525 | -0.28258 | 0 | 0
70 | 0.9851 | -0.28556 | 0.0048671 | 0.0012198
71 | 0.98594 | -0.26927 | 0 | 0
72 | 0.98642 | -0.25988 | 0.0024308 | 0.00060922
73 | 0.97969 | -0.39121 | 0.0025058 | 0.00062802
74 | 0.9797 | -0.39106 | 0.0014495 | 0.00036327
75 | 0.97975 | -0.38996 | 0 | 0
76 | 0.97914 | -0.40196 | 0.0049795 | 0.001248
77 | 0.97961 | -0.39275 | 0.0064272 | 0.0016108
78 | 0.97915 | -0.40181 | 0.0033389 | 0.00083681
79 | 0.97884 | -0.40781 | 0.0035319 | 0.00088519
80 | 0.97879 | -0.40881 | 0.0047432 | 0.0011887
81 | 0.97875 | -0.40956 | 0.0015676 | 0.00039288
82 | 0.99258 | -0.14165 | 0.0081549 | 0.0020438
83 | 0.9802 | -0.38112 | 0.00095634 | 0.00023968
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.061479 | -0.015483 | 0.061498 | 0.015495 | 1.9385e-05 | 1.2331e-05 | 0.093068 | 0.093068 | 0.093068 | 0.98324 | -0.32187 | 0.98358 | -0.31528 | 25.5681
1 | 0.053738 | 0.013543 | -0.053634 | -0.013477 | 0.0001042 | 6.6156e-05 | 0.081354 | 0.081354 | 0.081354 | 0.98324 | -0.32187 | 0.98116 | -0.36248 | 22.3499
2 | -0.067192 | -0.016922 | 0.067246 | 0.016957 | 5.3723e-05 | 3.4207e-05 | 0.10168 | 0.10168 | 0.10168 | 0.98358 | -0.31528 | 0.98443 | -0.29857 | 27.9345
3 | 0.046504 | 0.01169 | -0.04646 | -0.011663 | 4.3049e-05 | 2.726e-05 | 0.07054 | 0.07054 | 0.07054 | 0.98116 | -0.36248 | 0.98016 | -0.38189 | 19.379
4 | -0.067246 | -0.016957 | 0.067383 | 0.017044 | 0.00013751 | 8.7554e-05 | 0.10168 | 0.10168 | 0.10168 | 0.98443 | -0.29857 | 0.98663 | -0.25594 | 27.9345
5 | 0.041469 | 0.010412 | -0.041461 | -0.010407 | 8.2819e-06 | 5.2302e-06 | 0.062962 | 0.062962 | 0.062962 | 0.98016 | -0.38189 | 0.97995 | -0.38608 | 17.2973
6 | -0.078794 | -0.019904 | 0.078862 | 0.019947 | 6.7664e-05 | 4.3142e-05 | 0.11889 | 0.11889 | 0.11889 | 0.98663 | -0.25594 | 0.98756 | -0.23804 | 32.6626
7 | 0.0088437 | 0.0022167 | -0.0088427 | -0.0022162 | 1.0443e-06 | 4.7383e-07 | 0.013429 | 0.013429 | 0.013429 | 0.97995 | -0.38608 | 0.97982 | -0.38856 | 3.6893
8 | 0.032617 | 0.0081898 | -0.032614 | -0.0081878 | 3.2382e-06 | 2.0281e-06 | 0.049533 | 0.049533 | 0.049533 | 0.97995 | -0.38608 | 0.97984 | -0.38816 | 13.608
9 | -0.078862 | -0.019947 | 0.078944 | 0.02 | 8.1938e-05 | 5.2243e-05 | 0.11889 | 0.11889 | 0.11889 | 0.98756 | -0.23804 | 0.98868 | -0.21641 | 32.6626
10 | 0.0099608 | 0.0024964 | -0.0099606 | -0.0024964 | 1.8753e-07 | 9.1235e-08 | 0.014959 | 0.014959 | 0.014959 | 0.99086 | -0.17503 | 0.99084 | -0.17543 | 4.1095
11 | -0.0099608 | -0.0024964 | 0.0099636 | 0.0024978 | 2.829e-06 | 1.3762e-06 | 0.014959 | 0.014958 | 0.014959 | 0.99086 | -0.17503 | 0.99116 | -0.16907 | 4.1095
12 | 0.0042109 | 0.0010553 | -0.0042109 | -0.0010553 | 3.35e-08 | -7.3312e-09 | 0.0063239 | 0.0063239 | 0.0063239 | 0.99084 | -0.17543 | 0.99083 | -0.17559 | 1.7373
13 | -0.070106 | -0.017704 | 0.070161 | 0.01774 | 5.5645e-05 | 3.544e-05 | 0.1053 | 0.1053 | 0.1053 | 0.99116 | -0.16907 | 0.99202 | -0.15252 | 28.9275
14 | 0.060142 | 0.015206 | -0.060083 | -0.015169 | 5.9064e-05 | 3.7553e-05 | 0.090337 | 0.090338 | 0.090338 | 0.99116 | -0.16907 | 0.9901 | -0.18957 | 24.818
15 | 0.0082901 | 0.0020777 | -0.0082892 | -0.0020773 | 9.4018e-07 | 3.9403e-07 | 0.012459 | 0.012459 | 0.012459 | 0.9901 | -0.18957 | 0.98998 | -0.19195 | 3.4229
16 | 0.051793 | 0.013091 | -0.051631 | -0.012989 | 0.0001615 | 0.00010245 | 0.077878 | 0.077879 | 0.077879 | 0.9901 | -0.18957 | 0.98673 | -0.25482 | 21.3953
17 | 0.0082892 | 0.0020773 | -0.0082873 | -0.0020765 | 1.9121e-06 | 8.0153e-07 | 0.012459 | 0.012459 | 0.012459 | 0.98998 | -0.19195 | 0.98973 | -0.19679 | 3.4229
18 | 0.045936 | 0.011561 | -0.045905 | -0.011542 | 3.0863e-05 | 1.9533e-05 | 0.069289 | 0.06929 | 0.06929 | 0.98673 | -0.25482 | 0.98601 | -0.26889 | 19.0356
19 | -0.075532 | -0.019085 | 0.075576 | 0.019114 | 4.4445e-05 | 2.8326e-05 | 0.11335 | 0.11335 | 0.11335 | 0.99202 | -0.15252 | 0.99266 | -0.14025 | 31.1405
20 | 0.003378 | 0.0008461 | -0.0033775 | -0.00084647 | 5.3195e-07 | -3.6623e-07 | 0.0050785 | 0.0050787 | 0.0050787 | 0.98973 | -0.19679 | 0.98956 | -0.2001 | 1.3953
21 | 0.0064285 | 0.0016112 | -0.0064272 | -0.0016108 | 1.2843e-06 | 3.6948e-07 | 0.0097627 | 0.0097629 | 0.0097629 | 0.97982 | -0.38856 | 0.97961 | -0.39275 | 2.6821
22 | 0.029772 | 0.0074756 | -0.02977 | -0.007474 | 2.5589e-06 | 1.5956e-06 | 0.045218 | 0.045218 | 0.045218 | 0.97984 | -0.38816 | 0.97975 | -0.38996 | 12.4226
23 | -0.0034147 | -0.00085581 | 0.0034153 | 0.00085544 | 5.7092e-07 | -3.6994e-07 | 0.0051464 | 0.0051461 | 0.0051464 | 0.98733 | -0.24258 | 0.98751 | -0.23907 | 1.4138
24 | 0.013684 | 0.0034312 | -0.013679 | -0.0034287 | 4.4224e-06 | 2.4756e-06 | 0.02062 | 0.02062 | 0.02062 | 0.98751 | -0.23907 | 0.98716 | -0.24586 | 5.6649
25 | -0.017099 | -0.0042867 | 0.017101 | 0.004288 | 2.2434e-06 | 1.3204e-06 | 0.025766 | 0.025766 | 0.025766 | 0.98751 | -0.23907 | 0.98765 | -0.23632 | 7.0786
26 | 0.008646 | 0.0021672 | -0.0086434 | -0.0021661 | 2.6045e-06 | 1.1443e-06 | 0.013033 | 0.013033 | 0.013033 | 0.98716 | -0.24586 | 0.98684 | -0.25218 | 3.5805
27 | 0.0024489 | 0.00061335 | -0.0024488 | -0.00061351 | 8.4189e-08 | -1.5718e-07 | 0.0036894 | 0.0036895 | 0.0036895 | 0.98765 | -0.23632 | 0.98762 | -0.23704 | 1.0136
28 | -0.01955 | -0.0049013 | 0.019554 | 0.0049036 | 3.6991e-06 | 2.2219e-06 | 0.029455 | 0.029455 | 0.029455 | 0.98765 | -0.23632 | 0.98786 | -0.23235 | 8.0921
29 | 0.00361 | 0.0009046 | -0.0036098 | -0.0009047 | 1.8937e-07 | -9.6541e-08 | 0.0054433 | 0.0054434 | 0.0054434 | 0.98684 | -0.25218 | 0.98678 | -0.25328 | 1.4954
30 | 0.0015803 | 0.00039589 | -0.0015802 | -0.00039604 | 2.7765e-08 | -1.4936e-07 | 0.0023809 | 0.0023809 | 0.0023809 | 0.98762 | -0.23704 | 0.9876 | -0.23741 | 0.6541
31 | 0.00086856 | 0.00021761 | -0.00086856 | -0.00021768 | 3.564e-09 | -6.8736e-08 | 0.0013086 | 0.0013086 | 0.0013086 | 0.98762 | -0.23704 | 0.98761 | -0.23713 | 0.35952
32 | -0.020955 | -0.0052546 | 0.020971 | 0.0052642 | 1.5934e-05 | 9.6512e-06 | 0.031565 | 0.031565 | 0.031565 | 0.98786 | -0.23235 | 0.98868 | -0.21641 | 8.6717
33 | -0.099915 | -0.025264 | 0.10015 | 0.025411 | 0.00023074 | 0.00014732 | 0.15046 | 0.15046 | 0.15046 | 0.98868 | -0.21641 | 0.99117 | -0.16838 | 41.3342
34 | 0.04021 | 0.010114 | -0.040169 | -0.010088 | 4.133e-05 | 2.607e-05 | 0.060696 | 0.060696 | 0.060696 | 0.98601 | -0.26889 | 0.9849 | -0.29043 | 16.6747
35 | 0.036071 | 0.0090613 | -0.036048 | -0.009047 | 2.2713e-05 | 1.4277e-05 | 0.054504 | 0.054505 | 0.054505 | 0.9849 | -0.29043 | 0.98422 | -0.30363 | 14.9738
36 | 0.0039335 | 0.00098572 | -0.0039333 | -0.00098578 | 1.7383e-07 | -5.5316e-08 | 0.0059469 | 0.0059469 | 0.0059469 | 0.98422 | -0.30363 | 0.98418 | -0.30456 | 1.6338
37 | 0.032115 | 0.0080613 | -0.032095 | -0.0080491 | 1.9459e-05 | 1.2174e-05 | 0.048558 | 0.048558 | 0.048558 | 0.98422 | -0.30363 | 0.98357 | -0.31634 | 13.34
38 | 0.013497 | 0.0033878 | -0.013485 | -0.0033813 | 1.1746e-05 | 6.5648e-06 | 0.02042 | 0.020421 | 0.020421 | 0.98357 | -0.31634 | 0.98264 | -0.3346 | 5.6101
39 | -0.10931 | -0.027568 | 0.10941 | 0.02763 | 9.6589e-05 | 6.1693e-05 | 0.16392 | 0.16392 | 0.16392 | 0.99266 | -0.14025 | 0.99362 | -0.12181 | 45.0321
40 | 0.015208 | 0.0038138 | -0.015202 | -0.0038099 | 6.7617e-06 | 3.9052e-06 | 0.023141 | 0.023141 | 0.023141 | 0.97798 | -0.42472 | 0.97751 | -0.43405 | 6.3574
41 | -0.015208 | -0.0038138 | 0.015214 | 0.0038169 | 5.405e-06 | 3.1213e-06 | 0.023141 | 0.023141 | 0.023141 | 0.97798 | -0.42472 | 0.97836 | -0.41726 | 6.3573
42 | -0.015214 | -0.0038169 | 0.015224 | 0.0038229 | 1.0325e-05 | 5.9617e-06 | 0.023141 | 0.02314 | 0.023141 | 0.97836 | -0.41726 | 0.97909 | -0.40304 | 6.3573
43 | 0.013485 | 0.0033813 | -0.013479 | -0.0033779 | 6.1021e-06 | 3.4113e-06 | 0.020421 | 0.020421 | 0.020421 | 0.98264 | -0.3346 | 0.98215 | -0.3441 | 5.6102
44 | 0.003165 | 0.000793 | -0.0031648 | -0.00079318 | 2.1872e-07 | -1.81e-07 | 0.0047951 | 0.0047952 | 0.0047952 | 0.98215 | -0.3441 | 0.98208 | -0.34555 | 1.3174
45 | -0.020819 | -0.0052251 | 0.02082 | 0.0052257 | 1.067e-06 | 6.4713e-07 | 0.031643 | 0.031643 | 0.031643 | 0.97909 | -0.40304 | 0.97914 | -0.40196 | 8.6932
46 | -0.13885 | -0.035362 | 0.13887 | 0.03538 | 2.8319e-05 | 1.8101e-05 | 0.20734 | 0.20734 | 0.20734 | 0.99743 | -0.048911 | 0.99765 | -0.044684 | 56.9612
47 | 0.1173 | 0.029962 | -0.11687 | -0.029688 | 0.00042944 | 0.00027436 | 0.1752 | 0.1752 | 0.1752 | 0.99743 | -0.048911 | 0.99344 | -0.12494 | 48.1307
48 | -0.15643 | -0.03978 | 0.15677 | 0.039995 | 0.00033754 | 0.00021516 | 0.23352 | 0.23352 | 0.23352 | 0.99765 | -0.044684 | 1 | 0 | 32.0775
49 | 0.10148 | 0.025827 | -0.10126 | -0.025691 | 0.00021202 | 0.00013538 | 0.15213 | 0.15213 | 0.15213 | 0.99344 | -0.12494 | 0.99117 | -0.16838 | 41.7953
50 | 0.015396 | 0.003861 | -0.015394 | -0.0038598 | 2.0215e-06 | 1.1625e-06 | 0.023061 | 0.023061 | 0.023061 | 0.99344 | -0.12494 | 0.9933 | -0.1277 | 6.3355
51 | 0.23572 | 0.060191 | -0.23502 | -0.059747 | 0.00069629 | 0.00044484 | 0.35115 | 0.35115 | 0.35115 | 1 | 0 | 0.99677 | -0.061312 | 48.2345
52 | 0.014537 | 0.0036452 | -0.014534 | -0.0036431 | 3.708e-06 | 2.1034e-06 | 0.021779 | 0.021779 | 0.021779 | 0.9933 | -0.1277 | 0.99302 | -0.13305 | 5.9832
53 | 0.011784 | 0.0029543 | -0.011781 | -0.0029527 | 3.0725e-06 | 1.6214e-06 | 0.017592 | 0.017592 | 0.017592 | 0.99677 | -0.061312 | 0.99649 | -0.066786 | 4.8331
54 | 0.11093 | 0.02831 | -0.11076 | -0.028197 | 0.00017729 | 0.00011324 | 0.16579 | 0.16579 | 0.16579 | 0.99677 | -0.061312 | 0.99503 | -0.094451 | 45.5457
55 | 0.1123 | 0.028482 | -0.11198 | -0.028274 | 0.00032562 | 0.00020799 | 0.16777 | 0.16777 | 0.16777 | 0.99677 | -0.061312 | 0.99362 | -0.12181 | 46.0903
56 | 0.0093935 | 0.0023548 | -0.0093926 | -0.0023544 | 8.9229e-07 | 4.1572e-07 | 0.014076 | 0.014076 | 0.014076 | 0.99302 | -0.13305 | 0.99292 | -0.13504 | 3.8671
57 | 0.0074339 | 0.0018631 | -0.0074336 | -0.001863 | 3.0331e-07 | 1.0861e-07 | 0.011101 | 0.011101 | 0.011101 | 0.99649 | -0.066786 | 0.99645 | -0.067642 | 3.0496
58 | 0.099749 | 0.025438 | -0.099416 | -0.025226 | 0.00033264 | 0.00021237 | 0.14932 | 0.14933 | 0.14933 | 0.99503 | -0.094451 | 0.99141 | -0.16377 | 41.0234
59 | 0.0081575 | 0.0020449 | -0.0081549 | -0.0020438 | 2.5652e-06 | 1.05e-06 | 0.012225 | 0.012225 | 0.012225 | 0.99292 | -0.13504 | 0.99258 | -0.14165 | 3.3586
60 | 0.08841 | 0.022467 | -0.088155 | -0.022304 | 0.00025485 | 0.00016261 | 0.1328 | 0.1328 | 0.1328 | 0.99141 | -0.16377 | 0.98829 | -0.22382 | 36.4849
61 | 0.077013 | 0.019512 | -0.07688 | -0.019427 | 0.00013314 | 8.4874e-05 | 0.11603 | 0.11603 | 0.11603 | 0.98829 | -0.22382 | 0.98642 | -0.25988 | 31.8762
62 | -0.062355 | -0.015652 | 0.062419 | 0.015692 | 6.3996e-05 | 4.0717e-05 | 0.094606 | 0.094606 | 0.094606 | 0.98084 | -0.36857 | 0.98194 | -0.34707 | 25.9908
63 | 0.049012 | 0.012307 | -0.048975 | -0.012284 | 3.6663e-05 | 2.3242e-05 | 0.074363 | 0.074364 | 0.074364 | 0.98084 | -0.36857 | 0.98004 | -0.38426 | 20.4295
64 | 0.013343 | 0.0033446 | -0.01334 | -0.0033428 | 3.3293e-06 | 1.8574e-06 | 0.020243 | 0.020243 | 0.020243 | 0.98084 | -0.36857 | 0.98057 | -0.37381 | 5.5613
65 | -0.065377 | -0.016434 | 0.065486 | 0.016503 | 0.00010895 | 6.9352e-05 | 0.099089 | 0.099089 | 0.099089 | 0.98194 | -0.34707 | 0.98373 | -0.31223 | 27.2222
66 | 0.046159 | 0.011578 | -0.046152 | -0.011573 | 7.7617e-06 | 4.9144e-06 | 0.070088 | 0.070088 | 0.070088 | 0.98004 | -0.38426 | 0.97986 | -0.38779 | 19.255
67 | 0.0069148 | 0.0017325 | -0.0069134 | -0.001732 | 1.4342e-06 | 4.798e-07 | 0.010493 | 0.010493 | 0.010493 | 0.98057 | -0.37381 | 0.98035 | -0.37816 | 2.8827
68 | -0.067305 | -0.016959 | 0.067353 | 0.016989 | 4.7645e-05 | 3.0337e-05 | 0.10184 | 0.10184 | 0.10184 | 0.98373 | -0.31223 | 0.98449 | -0.29745 | 27.978
69 | 0.024888 | 0.0062439 | -0.024872 | -0.006234 | 1.6014e-05 | 9.8728e-06 | 0.037798 | 0.037798 | 0.037798 | 0.97986 | -0.38779 | 0.97917 | -0.40129 | 10.384
70 | 0.0041296 | 0.0010343 | -0.0041292 | -0.0010344 | 4.6335e-07 | -9.9963e-08 | 0.0062679 | 0.006268 | 0.006268 | 0.98035 | -0.37816 | 0.98023 | -0.38052 | 1.722
71 | -0.069451 | -0.017515 | 0.0695 | 0.017546 | 4.9465e-05 | 3.1505e-05 | 0.10501 | 0.10501 | 0.10501 | 0.98449 | -0.29745 | 0.98525 | -0.28258 | 28.8492
72 | 0.013185 | 0.003305 | -0.013185 | -0.0033048 | 3.2678e-07 | 1.8184e-07 | 0.020037 | 0.020037 | 0.020037 | 0.97917 | -0.40129 | 0.97915 | -0.40181 | 5.5047
73 | 0.00095637 | 0.00023926 | -0.00095634 | -0.00023968 | 2.7456e-08 | -4.2035e-07 | 0.0014516 | 0.0014518 | 0.0014518 | 0.98023 | -0.38052 | 0.9802 | -0.38112 | 0.39885
74 | 0.0048678 | 0.0012198 | -0.0048671 | -0.0012198 | 6.9108e-07 | 8.1269e-09 | 0.0073517 | 0.0073518 | 0.0073518 | 0.98525 | -0.28258 | 0.9851 | -0.28556 | 2.0197
75 | -0.074368 | -0.018766 | 0.074415 | 0.018797 | 4.7445e-05 | 3.0237e-05 | 0.11236 | 0.11236 | 0.11236 | 0.98525 | -0.28258 | 0.98594 | -0.26927 | 30.8689
76 | -0.074415 | -0.018797 | 0.074449 | 0.018818 | 3.3491e-05 | 2.1344e-05 | 0.11236 | 0.11236 | 0.11236 | 0.98594 | -0.26927 | 0.98642 | -0.25988 | 30.8689
77 | -0.0025058 | -0.00062802 | 0.0025059 | 0.000628 | 1.778e-08 | -2.9835e-08 | 0.003806 | 0.003806 | 0.003806 | 0.97969 | -0.39121 | 0.9797 | -0.39106 | 1.0456
78 | -0.0039553 | -0.00099126 | 0.0039555 | 0.0009912 | 2.0715e-07 | -6.0169e-08 | 0.0060075 | 0.0060075 | 0.0060075 | 0.9797 | -0.39106 | 0.97975 | -0.38996 | 1.6504
79 | 0.025814 | 0.0064828 | -0.0258 | -0.0064737 | 1.4776e-05 | 9.1338e-06 | 0.039211 | 0.039211 | 0.039211 | 0.97975 | -0.38996 | 0.97914 | -0.40196 | 10.7722
80 | 0.0098459 | 0.002468 | -0.0098431 | -0.0024666 | 2.8105e-06 | 1.3778e-06 | 0.014963 | 0.014963 | 0.014963 | 0.97915 | -0.40181 | 0.97884 | -0.40781 | 4.1108
81 | 0.0063111 | 0.0015814 | -0.0063108 | -0.0015813 | 3.0151e-07 | 8.3171e-08 | 0.009594 | 0.009594 | 0.009594 | 0.97884 | -0.40781 | 0.97879 | -0.40881 | 2.6357
82 | 0.0015677 | 0.00039259 | -0.0015676 | -0.00039288 | 5.6356e-08 | -2.9648e-07 | 0.0023832 | 0.0023833 | 0.0023833 | 0.97879 | -0.40881 | 0.97875 | -0.40956 | 0.65475

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41436 | 0.10526

## res_load
| p_mw | q_mvar
0 | 0.0077403 | 0.0019399
1 | 0.0056939 | 0.001427
2 | 0.0071306 | 0.0017871
3 | 0.0049914 | 0.001251
4 | 0.011411 | 0.00286
5 | 0.0057497 | 0.001441
6 | 0.0056957 | 0.0014275
7 | 0.0053704 | 0.0013459
8 | 0.0049093 | 0.0012304
9 | 0.0024142 | 0.00060505
10 | 0.0028414 | 0.00071213
11 | 0.0034147 | 0.00085581
12 | 0.0050335 | 0.0012615
13 | 0.0050334 | 0.0012615
14 | 0.0014006 | 0.00035103
15 | 0.0036098 | 0.0009047
16 | 0.0015802 | 0.00039604
17 | 0.00086856 | 0.00021768
18 | 0.0056945 | 0.0014272
19 | 0.0040981 | 0.0010271
20 | 0.0039333 | 0.00098578
21 | 0.018599 | 0.0046613
22 | 0.033733 | 0.0084542
23 | 0.015202 | 0.0038099
24 | 0.0033775 | 0.00084647
25 | 0.0042109 | 0.0010553
26 | 0.010314 | 0.0025849
27 | 0.0031648 | 0.00079318
28 | 0.0055948 | 0.0014022
29 | 0.021546 | 0.0053999
30 | 0.017557 | 0.0044001
31 | 0.020223 | 0.0050684
32 | 0.001118 | 0.00028019
33 | 0.00085621 | 0.00021459
34 | 0.0051403 | 0.0012883
35 | 0.0043473 | 0.0010895
36 | 0.011008 | 0.0027589
37 | 0.0025719 | 0.00064459
38 | 0.0012351 | 0.00030954
39 | 0.0074336 | 0.001863
40 | 0.011007 | 0.0027586
41 | 0.011142 | 0.0027924
42 | 0.0029579 | 0.00074133
43 | 0.002816 | 0.00070575
44 | 0.0064251 | 0.0016103
45 | 0.0018189 | 0.00045585
46 | 0.021263 | 0.0053291
47 | 0.0027838 | 0.00069768
48 | 0.0020981 | 0.00052584
49 | 0.011687 | 0.0029291
50 | 0.0031728 | 0.00079517
51 | 0.0048671 | 0.0012198
52 | 0.0024308 | 0.00060922
53 | 0.0025058 | 0.00062802
54 | 0.0014495 | 0.00036327
55 | 0.0049795 | 0.001248
56 | 0.0064272 | 0.0016108
57 | 0.0033389 | 0.00083681
58 | 0.0035319 | 0.00088519
59 | 0.0047432 | 0.0011887
60 | 0.0015676 | 0.00039288
61 | 0.0081549 | 0.0020438
62 | 0.00095634 | 0.00023968

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1