## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-17_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_138-17_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_138-17_1_3_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_138-17_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_138-17_1_3_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_138-17_1_3_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_138-17_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_138-17_1_3_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_138-17_1_3_node_160 | 0.4 | n |  | TRUE
9 | bus_LV_138-17_1_3_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_138-17_1_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_138-17_1_3_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_138-17_1_3_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_138-17_1_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_138-17_1_3_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_138-17_1_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_138-17_1_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_138-17_1_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_138-17_1_3_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_138-17_1_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_138-17_1_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_138-17_1_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_138-17_1_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_138-17_1_3_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_138-17_1_3_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_138-17_1_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_138-17_1_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_138-17_1_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_138-17_1_3_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_138-17_1_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_138-17_1_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_138-17_1_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_138-17_1_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_138-17_1_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_138-17_1_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_138-17_1_3_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_138-17_1_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_138-17_1_3_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_138-17_1_3_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_138-17_1_3_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_138-17_1_3_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_138-17_1_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_138-17_1_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_138-17_1_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_138-17_1_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_138-17_1_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_138-17_1_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_138-17_1_3_node_118 | 0.4 | n |  | TRUE
48 | bus_LV_138-17_1_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_138-17_1_3_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_138-17_1_3_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_138-17_1_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_138-17_1_3_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_138-17_1_3_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_138-17_1_3_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_138-17_1_3_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_138-17_1_3_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_138-17_1_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_138-17_1_3_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_138-17_1_3_node_116 | 0.4 | n |  | TRUE
60 | bus_LV_138-17_1_3_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_138-17_1_3_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_138-17_1_3_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_138-17_1_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_138-17_1_3_node_125 | 0.4 | n |  | TRUE
65 | bus_LV_138-17_1_3_node_122 | 0.4 | n |  | TRUE
66 | bus_LV_138-17_1_3_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_138-17_1_3_node_126 | 0.4 | n |  | TRUE
68 | bus_MV_222_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-17_1_3_load_128 | 0 | 0.0011626 | 0.00029137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-17_1_3_load_127 | 1 | 0.0032953 | 0.00082588 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-17_1_3_load_130 | 2 | 0.001165 | 0.00029198 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-17_1_3_load_129 | 3 | 0.002093 | 0.00052456 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-17_1_3_load_66 | 4 | 0.0020887 | 0.00052347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-17_1_3_load_131 | 5 | 0.001165 | 0.00029198 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-17_1_3_load_132 | 6 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-17_1_3_load_95 | 7 | 0.0011637 | 0.00029164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-17_1_3_load_160 | 8 | 0.003631 | 0.00091002 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-17_1_3_load_72 | 11 | 0.00093178 | 0.00023353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-17_1_3_load_70 | 12 | 0.00093246 | 0.0002337 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-17_1_3_load_44 | 14 | 0.0064801 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-17_1_3_load_45 | 15 | 0.0072844 | 0.0018256 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-17_1_3_load_46 | 16 | 0.0018215 | 0.0004565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-17_1_3_load_89 | 18 | 0.00099704 | 0.00024988 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-17_1_3_load_62 | 20 | 0.0097408 | 0.0024413 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-17_1_3_load_56 | 21 | 0.0020893 | 0.00052362 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-17_1_3_load_57 | 22 | 0.00088686 | 0.00022227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-17_1_3_load_59 | 24 | 0.0019849 | 0.00049745 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-17_1_3_load_60 | 25 | 0.0040324 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-17_1_3_load_61 | 26 | 0.0027354 | 0.00068555 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-17_1_3_load_65 | 27 | 0.002093 | 0.00052456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-17_1_3_load_92 | 28 | 0.0033539 | 0.00084057 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-17_1_3_load_69 | 29 | 0.0089086 | 0.0022327 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-17_1_3_load_71 | 31 | 0.0030193 | 0.0007567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-17_1_3_load_73 | 32 | 0.0042934 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-17_1_3_load_74 | 33 | 0.0046781 | 0.0011725 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-17_1_3_load_75 | 34 | 0.0032143 | 0.00080558 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-17_1_3_load_77 | 35 | 0.0030461 | 0.00076341 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-17_1_3_load_79 | 36 | 0.0022527 | 0.00056457 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-17_1_3_load_78 | 37 | 0.0020702 | 0.00051885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-17_1_3_load_80 | 38 | 0.00061814 | 0.00015492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-17_1_3_load_81 | 39 | 0.0028465 | 0.00071339 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-17_1_3_load_88 | 40 | 0.0030014 | 0.00075223 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-17_1_3_load_82 | 41 | 0.00062133 | 0.00015572 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-17_1_3_load_83 | 42 | 0.0039568 | 0.00099168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-17_1_3_load_85 | 44 | 0.0011943 | 0.00029931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-17_1_3_load_86 | 45 | 0.0047998 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-17_1_3_load_97 | 51 | 0.0047998 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-17_1_3_load_103 | 55 | 0.004512 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-17_1_3_load_104 | 56 | 0.0045134 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_138-17_1_3_load_117 | 57 | 0.004799 | 0.0012027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_138-17_1_3_load_119 | 61 | 0.0045102 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_138-17_1_3_load_123 | 62 | 0.004512 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_138-17_1_3_load_120 | 63 | 0.0045151 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_138-17_1_3_load_125 | 64 | 0.0012906 | 0.00032345 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_138-17_1_3_load_122 | 65 | 0.0045147 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_138-17_1_3_load_126 | 67 | 0.0012906 | 0.00032345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-17_1_3_line_0 |  | 0 | 1 | 0.0034872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-17_1_3_line_1 |  | 0 | 2 | 0.0078575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-17_1_3_line_2 |  | 1 | 3 | 0.0029623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-17_1_3_line_3 |  | 2 | 5 | 0.00055261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-17_1_3_line_4 |  | 3 | 4 | 0.0062331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-17_1_3_line_5 |  | 4 | 27 | 0.0062331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-17_1_3_line_6 |  | 5 | 6 | 0.0056473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-17_1_3_line_7 |  | 6 | 7 | 0.0005526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-17_1_3_line_8 |  | 8 | 9 | 0.048953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-17_1_3_line_9 |  | 9 | 19 | 0.12704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-17_1_3_line_10 |  | 10 | 11 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-17_1_3_line_11 |  | 10 | 12 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-17_1_3_line_12 |  | 11 | 25 | 0.0061154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-17_1_3_line_13 |  | 12 | 31 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-17_1_3_line_14 |  | 13 | 14 | 0.0094145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-17_1_3_line_15 |  | 13 | 15 | 0.032132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-17_1_3_line_16 |  | 14 | 16 | 0.11514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-17_1_3_line_17 |  | 16 | 17 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-17_1_3_line_18 |  | 17 | 18 | 0.03827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-17_1_3_line_19 |  | 18 | 48 | 0.061934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-17_1_3_line_20 |  | 19 | 20 | 0.032764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-17_1_3_line_21 |  | 20 | 23 | 0.045997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-17_1_3_line_22 |  | 21 | 22 | 0.0024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-17_1_3_line_23 |  | 21 | 23 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-17_1_3_line_24 |  | 22 | 24 | 0.007141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-17_1_3_line_25 |  | 23 | 25 | 0.010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-17_1_3_line_26 |  | 23 | 26 | 0.018354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-17_1_3_line_27 |  | 24 | 27 | 0.006057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-17_1_3_line_28 |  | 26 | 28 | 0.022206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-17_1_3_line_29 |  | 28 | 49 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-17_1_3_line_30 |  | 29 | 30 | 0.12355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_138-17_1_3_line_31 |  | 30 | 50 | 0.051157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-17_1_3_line_32 |  | 30 | 49 | 0.013513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-17_1_3_line_33 |  | 32 | 33 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-17_1_3_line_34 |  | 33 | 34 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-17_1_3_line_35 |  | 34 | 35 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-17_1_3_line_36 |  | 35 | 36 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-17_1_3_line_37 |  | 36 | 37 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-17_1_3_line_38 |  | 37 | 38 | 0.0021294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-17_1_3_line_39 |  | 38 | 39 | 0.0096237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-17_1_3_line_40 |  | 39 | 40 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_138-17_1_3_line_41 |  | 40 | 44 | 0.0076483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_138-17_1_3_line_42 |  | 41 | 42 | 0.034677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_138-17_1_3_line_43 |  | 41 | 43 | 0.025616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_138-17_1_3_line_44 |  | 42 | 44 | 0.01128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_138-17_1_3_line_45 |  | 43 | 45 | 0.03588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_138-17_1_3_line_46 |  | 43 | 46 | 0.023496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-17_1_3_line_47 |  | 45 | 47 | 0.035683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_138-17_1_3_line_48 |  | 46 | 48 | 0.00806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_138-17_1_3_line_49 |  | 47 | 62 | 0.0086916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-17_1_3_line_50 |  | 50 | 57 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-17_1_3_line_51 |  | 51 | 52 | 0.028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_138-17_1_3_line_52 |  | 51 | 53 | 0.0097593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_138-17_1_3_line_53 |  | 52 | 54 | 0.007444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_138-17_1_3_line_54 |  | 53 | 55 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_138-17_1_3_line_55 |  | 53 | 56 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_138-17_1_3_line_56 |  | 54 | 57 | 0.0057349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_138-17_1_3_line_57 |  | 55 | 58 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_138-17_1_3_line_58 |  | 58 | 59 | 0.032599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_138-17_1_3_line_59 |  | 59 | 60 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_138-17_1_3_line_60 |  | 59 | 61 | 0.018142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_138-17_1_3_line_61 |  | 60 | 64 | 0.018541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_138-17_1_3_line_62 |  | 61 | 63 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_138-17_1_3_line_63 |  | 62 | 65 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_138-17_1_3_line_64 |  | 64 | 66 | 0.0072759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_138-17_1_3_line_65 |  | 65 | 66 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_138-17_1_3_line_66 |  | 66 | 67 | 0.015225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-17_1_3_trafo_94 | 0.63 MVA 20/0.4 kV | 68 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2694104.6062 | 1227889.7981 | 2694104.6062 | 1227889.7981 | 2694106.6961 | 1227887.0066
1 | 2694106.6961 | 1227887.0066 | 2694110.3899 | 1227882.073 | 2694111.5872 | 1227880.8742
2 | 2694104.6062 | 1227889.7981 | 2694102.2722 | 1227891.6223
3 | 2694111.5872 | 1227880.8742 | 2694111.9777 | 1227880.4832
4 | 2694097.3611 | 1227895.4606 | 2694102.2722 | 1227891.6223
5 | 2694092.45 | 1227899.2988 | 2694097.3611 | 1227895.4606
6 | 2694111.9777 | 1227880.4832 | 2694115.9686 | 1227876.4876
7 | 2694115.9686 | 1227876.4876 | 2694116.3591 | 1227876.0966
8 | 2693965.7953 | 1227804.6212 | 2693969.6826 | 1227808.9857 | 2693970.8676 | 1227812.6515 | 2693969.624 | 1227817.969 | 2693966.7898 | 1227826.0967 | 2693968.3451 | 1227830.3131 | 2693974.4279 | 1227834.8235 | 2693985.5717 | 1227841.849
9 | 2693965.7953 | 1227804.6212 | 2693943.5757 | 1227788.1808 | 2693948.9451 | 1227780.7714 | 2693952.9505 | 1227775.2641 | 2693959.8796 | 1227780.4216 | 2693983.0801 | 1227798.1007 | 2693993.1466 | 1227806.6324 | 2694000.5712 | 1227813.9994 | 2694006.5866 | 1227822.3004 | 2694012.436 | 1227832.4667
10 | 2694034.4285 | 1227900.1404 | 2694043.9483 | 1227895.232
11 | 2694034.4285 | 1227900.1404 | 2694035.5779 | 1227910.8439 | 2694037.1013 | 1227917.5506 | 2694039.256 | 1227920.0062
12 | 2694049.3237 | 1227892.3253 | 2694048.2591 | 1227893.0094 | 2694043.9483 | 1227895.232
13 | 2694054.6759 | 1227924.311 | 2694049.3882 | 1227924.6387 | 2694040.8906 | 1227921.8691 | 2694039.256 | 1227920.0062
14 | 2694310.7727 | 1227919.6172 | 2694306.732 | 1227911.1139
15 | 2694310.7727 | 1227919.6172 | 2694311.0958 | 1227910.2379 | 2694314.9975 | 1227898.8583 | 2694318.2097 | 1227892.2489 | 2694320.3195 | 1227889.6227
16 | 2694306.732 | 1227911.1139 | 2694302.7125 | 1227902.6551 | 2694297.089 | 1227854.8652 | 2694297.2639 | 1227804.6543 | 2694296.7067 | 1227797.2312
17 | 2694294.4045 | 1227766.5596 | 2694296.7067 | 1227797.2312
18 | 2694294.4045 | 1227766.5596 | 2694284.7671 | 1227752.975 | 2694274.8178 | 1227733.7867
19 | 2694246.3092 | 1227679.9135 | 2694252.9202 | 1227686.0115 | 2694255.9139 | 1227689.3613 | 2694261.2624 | 1227698.1189 | 2694264.7578 | 1227708.5484 | 2694273.449 | 1227731.1467 | 2694274.8178 | 1227733.7867
20 | 2694012.436 | 1227832.4667 | 2694022.8422 | 1227829.5736 | 2694036.6559 | 1227846.6489
21 | 2694058.121 | 1227886.6719 | 2694048.7559 | 1227861.606 | 2694036.6559 | 1227846.6489
22 | 2694078.6777 | 1227903.5402 | 2694080.9759 | 1227904.3213
23 | 2694058.121 | 1227886.6719 | 2694064.1372 | 1227892.0375 | 2694075.4244 | 1227902.4345 | 2694078.6777 | 1227903.5402
24 | 2694087.6777 | 1227903.0287 | 2694087.6777 | 1227903.0287 | 2694082.6989 | 1227904.9069 | 2694080.9759 | 1227904.3213
25 | 2694058.121 | 1227886.6719 | 2694049.3237 | 1227892.3253
26 | 2694058.121 | 1227886.6719 | 2694061.0521 | 1227881.0476 | 2694069.9916 | 1227873.0245
27 | 2694087.6777 | 1227903.0287 | 2694092.45 | 1227899.2988
28 | 2694088.5591 | 1227861.1235 | 2694075.698 | 1227867.9031 | 2694069.9916 | 1227873.0245
29 | 2694105.6942 | 1227847.3962 | 2694094.3538 | 1227858.0689 | 2694088.5591 | 1227861.1235
30 | 2694115.6242 | 1227838.2022 | 2694119.0016 | 1227840.2905 | 2694124.1072 | 1227840.9384 | 2694142.3694 | 1227840.6605 | 2694146.1393 | 1227841.8988 | 2694148.7612 | 1227843.3635 | 2694152.3871 | 1227847.4683 | 2694154.584 | 1227852.3176 | 2694158.4432 | 1227886.2029 | 2694162.7147 | 1227900.7475 | 2694163.9481 | 1227906.1376 | 2694163.7011 | 1227909.7696 | 2694162.8918 | 1227913.0146 | 2694157.1143 | 1227919.3833 | 2694152.2877 | 1227925.7914
31 | 2694092.0965 | 1227800.5254 | 2694114.8161 | 1227815.0396 | 2694117.9459 | 1227820.3262 | 2694117.2287 | 1227829.7216 | 2694115.6242 | 1227838.2022
32 | 2694105.6942 | 1227847.3962 | 2694115.6242 | 1227838.2022
33 | 2694210.2193 | 1227892.0992 | 2694209.9876 | 1227890.9778 | 2694209.0008 | 1227886.2922 | 2694205.3941 | 1227872.4922
34 | 2694205.3941 | 1227872.4922 | 2694201.3767 | 1227857.1205
35 | 2694195.2212 | 1227835.2802 | 2694198.5395 | 1227846.2646 | 2694201.3767 | 1227857.1205
36 | 2694195.2212 | 1227835.2802 | 2694194.1755 | 1227831.8185 | 2694191.6934 | 1227821.8012
37 | 2694188.5894 | 1227802.4145 | 2694189.6449 | 1227813.5338 | 2694191.6934 | 1227821.8012
38 | 2694188.5894 | 1227802.4145 | 2694188.3882 | 1227800.2946
39 | 2694188.3882 | 1227800.2946 | 2694187.9367 | 1227795.5383 | 2694188.1804 | 1227790.6984
40 | 2694188.1804 | 1227790.6984 | 2694188.3569 | 1227787.1946 | 2694191.1075 | 1227777.6647 | 2694191.907 | 1227775.751
41 | 2694195.5222 | 1227769.0406 | 2694193.1242 | 1227772.8376 | 2694191.907 | 1227775.751
42 | 2694220.4663 | 1227730.5933 | 2694219.6943 | 1227732.3183 | 2694213.1669 | 1227744.3902 | 2694208.8002 | 1227751.1592 | 2694202.0697 | 1227759.8706
43 | 2694230.9304 | 1227707.2116 | 2694220.4663 | 1227730.5933
44 | 2694195.5222 | 1227769.0406 | 2694197.9286 | 1227765.2304 | 2694202.0697 | 1227759.8706
45 | 2694230.9304 | 1227707.2116 | 2694226.5317 | 1227706.9084 | 2694220.3536 | 1227708.8898 | 2694198.8398 | 1227719.679 | 2694198.0715 | 1227720.1756
46 | 2694240.9611 | 1227685.9553 | 2694230.9304 | 1227707.2116
47 | 2694178.1182 | 1227743.6125 | 2694185.7061 | 1227737.317 | 2694191.4577 | 1227733.5498 | 2694188.7318 | 1227726.2126 | 2694198.0715 | 1227720.1756
48 | 2694240.9611 | 1227685.9553 | 2694246.3092 | 1227679.9135
49 | 2694178.1182 | 1227743.6125 | 2694176.2538 | 1227735.1233
50 | 2694092.0965 | 1227800.5254 | 2694088.8917 | 1227777.4554
51 | 2694086.5732 | 1227764.4902 | 2694115.0009 | 1227759.204
52 | 2694124.5957 | 1227757.4198 | 2694115.0009 | 1227759.204
53 | 2694088.1026 | 1227771.7751 | 2694086.5732 | 1227764.4902
54 | 2694124.5957 | 1227757.4198 | 2694113.733 | 1227750.3541 | 2694111.8272 | 1227739.6549
55 | 2694124.5957 | 1227757.4198 | 2694132.2442 | 1227762.6112 | 2694138.4656 | 1227762.1432
56 | 2694088.1026 | 1227771.7751 | 2694088.8917 | 1227777.4554
57 | 2694105.9372 | 1227706.5884 | 2694111.8272 | 1227739.6549
58 | 2694105.9372 | 1227706.5884 | 2694138.0415 | 1227700.4252
59 | 2694138.0415 | 1227700.4252 | 2694154.2033 | 1227697.3677
60 | 2694138.0415 | 1227700.4252 | 2694139.0631 | 1227704.3553 | 2694141.4282 | 1227708.6402 | 2694143.1079 | 1227717.6727
61 | 2694154.2033 | 1227697.3677 | 2694154.4577 | 1227694.7031 | 2694156.242 | 1227691.6292 | 2694159.7296 | 1227689.6385 | 2694164.2341 | 1227689.9656 | 2694167.2525 | 1227692.2372
62 | 2694143.1079 | 1227717.6727 | 2694146.0439 | 1227733.4605
63 | 2694172.8118 | 1227719.4511 | 2694176.2538 | 1227735.1233
64 | 2694168.3626 | 1227699.1931 | 2694168.6802 | 1227695.4065 | 2694167.2525 | 1227692.2372
65 | 2694168.3626 | 1227699.1931 | 2694172.8118 | 1227719.4511
66 | 2694168.3626 | 1227699.1931 | 2694183.341 | 1227696.4619

## bus_geodata
| x | y | coords
0 | 2694106.6961 | 1227887.0066
1 | 2694104.6062 | 1227889.7981
2 | 2694111.5872 | 1227880.8742
3 | 2694102.2722 | 1227891.6223
4 | 2694097.3611 | 1227895.4606
5 | 2694111.9777 | 1227880.4832
6 | 2694115.9686 | 1227876.4876
7 | 2694116.3591 | 1227876.0966
8 | 2693985.5717 | 1227841.849
9 | 2693965.7953 | 1227804.6212
10 | 2694034.4285 | 1227900.1404
11 | 2694043.9483 | 1227895.232
12 | 2694039.256 | 1227920.0062
13 | 2694310.7727 | 1227919.6172
14 | 2694306.732 | 1227911.1139
15 | 2694320.3195 | 1227889.6227
16 | 2694296.7067 | 1227797.2312
17 | 2694294.4045 | 1227766.5596
18 | 2694274.8178 | 1227733.7867
19 | 2694012.436 | 1227832.4667
20 | 2694036.6559 | 1227846.6489
21 | 2694078.6777 | 1227903.5402
22 | 2694080.9759 | 1227904.3213
23 | 2694058.121 | 1227886.6719
24 | 2694087.6777 | 1227903.0287
25 | 2694049.3237 | 1227892.3253
26 | 2694069.9916 | 1227873.0245
27 | 2694092.45 | 1227899.2988
28 | 2694088.5591 | 1227861.1235
29 | 2694152.2877 | 1227925.7914
30 | 2694115.6242 | 1227838.2022
31 | 2694054.6759 | 1227924.311
32 | 2694210.2193 | 1227892.0992
33 | 2694205.3941 | 1227872.4922
34 | 2694201.3767 | 1227857.1205
35 | 2694195.2212 | 1227835.2802
36 | 2694191.6934 | 1227821.8012
37 | 2694188.5894 | 1227802.4145
38 | 2694188.3882 | 1227800.2946
39 | 2694188.1804 | 1227790.6984
40 | 2694191.907 | 1227775.751
41 | 2694220.4663 | 1227730.5933
42 | 2694202.0697 | 1227759.8706
43 | 2694230.9304 | 1227707.2116
44 | 2694195.5222 | 1227769.0406
45 | 2694198.0715 | 1227720.1756
46 | 2694240.9611 | 1227685.9553
47 | 2694178.1182 | 1227743.6125
48 | 2694246.3092 | 1227679.9135
49 | 2694105.6942 | 1227847.3962
50 | 2694092.0965 | 1227800.5254
51 | 2694115.0009 | 1227759.204
52 | 2694086.5732 | 1227764.4902
53 | 2694124.5957 | 1227757.4198
54 | 2694088.1026 | 1227771.7751
55 | 2694111.8272 | 1227739.6549
56 | 2694138.4656 | 1227762.1432
57 | 2694088.8917 | 1227777.4554
58 | 2694105.9372 | 1227706.5884
59 | 2694138.0415 | 1227700.4252
60 | 2694154.2033 | 1227697.3677
61 | 2694143.1079 | 1227717.6727
62 | 2694176.2538 | 1227735.1233
63 | 2694146.0439 | 1227733.4605
64 | 2694167.2525 | 1227692.2372
65 | 2694172.8118 | 1227719.4511
66 | 2694168.3626 | 1227699.1931
67 | 2694183.341 | 1227696.4619
68 | 2694117.2287 | 1227829.7216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99587 | -0.079384 | 0.0011626 | 0.00029137
1 | 0.99589 | -0.079027 | 0.0032953 | 0.00082588
2 | 0.99584 | -0.080027 | 0.001165 | 0.00029198
3 | 0.99592 | -0.078553 | 0.002093 | 0.00052456
4 | 0.99598 | -0.077325 | 0.0020887 | 0.00052347
5 | 0.99584 | -0.080061 | 0.001165 | 0.00029198
6 | 0.99583 | -0.080292 | 0.0011637 | 0.00029165
7 | 0.99583 | -0.080303 | 0.0011637 | 0.00029164
8 | 0.99554 | -0.08582 | 0.003631 | 0.00091002
9 | 0.9957 | -0.082694 | 0 | 0
10 | 0.99664 | -0.064588 | 0 | 0
11 | 0.99668 | -0.063845 | 0.00093178 | 0.00023353
12 | 0.99656 | -0.066038 | 0.00093246 | 0.0002337
13 | 0.97071 | -0.5648 | 0 | 0
14 | 0.97077 | -0.56354 | 0.0064801 | 0.0016241
15 | 0.97049 | -0.56914 | 0.0072844 | 0.0018256
16 | 0.97225 | -0.53426 | 0.0018215 | 0.0004565
17 | 0.9727 | -0.52542 | 0 | 0
18 | 0.97326 | -0.51444 | 0.00099704 | 0.00024988
19 | 0.99612 | -0.07458 | 0 | 0
20 | 0.99623 | -0.072487 | 0.0097408 | 0.0024413
21 | 0.99629 | -0.071273 | 0.0020893 | 0.00052362
22 | 0.99625 | -0.072052 | 0.00088686 | 0.00022227
23 | 0.99679 | -0.061685 | 0 | 0
24 | 0.99614 | -0.074231 | 0.0019849 | 0.00049745
25 | 0.99671 | -0.063321 | 0.0040324 | 0.0010106
26 | 0.9975 | -0.047962 | 0.0027354 | 0.00068555
27 | 0.99605 | -0.075869 | 0.002093 | 0.00052456
28 | 0.99842 | -0.030323 | 0.0033539 | 0.00084057
29 | 0.999 | -0.019208 | 0.0089086 | 0.0022327
30 | 1 | 0 | -0.15383 | -0.038942
31 | 0.99652 | -0.066924 | 0.0030193 | 0.0007567
32 | 0.97092 | -0.56066 | 0.0042934 | 0.001076
33 | 0.971 | -0.55905 | 0.0046781 | 0.0011725
34 | 0.97113 | -0.55642 | 0.0032143 | 0.00080558
35 | 0.97139 | -0.55131 | 0.0030461 | 0.00076341
36 | 0.97159 | -0.54739 | 0.0022527 | 0.00056457
37 | 0.97191 | -0.54103 | 0.0020702 | 0.00051885
38 | 0.97195 | -0.54026 | 0.00061814 | 0.00015492
39 | 0.97213 | -0.53668 | 0.0028465 | 0.00071339
40 | 0.97246 | -0.5301 | 0.0030014 | 0.00075223
41 | 0.97395 | -0.5009 | 0.00062133 | 0.00015572
42 | 0.97294 | -0.52078 | 0.0039568 | 0.00099168
43 | 0.97471 | -0.48594 | 0 | 0
44 | 0.97265 | -0.52644 | 0.0011943 | 0.00029931
45 | 0.97633 | -0.45414 | 0.0047998 | 0.0012029
46 | 0.97434 | -0.49309 | 0 | 0
47 | 0.9781 | -0.41949 | 0 | 0
48 | 0.97422 | -0.49555 | 0 | 0
49 | 0.9994 | -0.011487 | 0 | 0
50 | 0.99561 | -0.082808 | 0 | 0
51 | 0.99018 | -0.18612 | 0.0047998 | 0.0012029
52 | 0.99253 | -0.14117 | 0 | 0
53 | 0.98942 | -0.20051 | 0 | 0
54 | 0.99314 | -0.12963 | 0 | 0
55 | 0.98769 | -0.2338 | 0.004512 | 0.0011308
56 | 0.98936 | -0.20175 | 0.0045134 | 0.0011312
57 | 0.99361 | -0.12075 | 0.004799 | 0.0012027
58 | 0.98538 | -0.27821 | 0 | 0
59 | 0.98314 | -0.32152 | 0 | 0
60 | 0.98215 | -0.3407 | 0 | 0
61 | 0.98298 | -0.32447 | 0.0045102 | 0.0011304
62 | 0.97853 | -0.41107 | 0.004512 | 0.0011308
63 | 0.98292 | -0.32578 | 0.0045151 | 0.0011316
64 | 0.98103 | -0.36244 | 0.0012906 | 0.00032345
65 | 0.97939 | -0.39423 | 0.0045147 | 0.0011315
66 | 0.98059 | -0.37081 | 0 | 0
67 | 0.98058 | -0.37117 | 0.0012906 | 0.00032345
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0058201 | -0.0014585 | 0.0058202 | 0.0014586 | 9.8895e-08 | 1.792e-08 | 0.0086963 | 0.0086963 | 0.0086963 | 0.99587 | -0.079384 | 0.99589 | -0.079027 | 2.3891
1 | 0.0046576 | 0.0011672 | -0.0046574 | -0.0011672 | 1.427e-07 | -1.0902e-08 | 0.0069592 | 0.0069592 | 0.0069592 | 0.99587 | -0.079384 | 0.99584 | -0.080027 | 1.9119
2 | -0.0091155 | -0.0022844 | 0.0091157 | 0.0022845 | 2.0607e-07 | 9.3338e-08 | 0.01362 | 0.01362 | 0.01362 | 0.99589 | -0.079027 | 0.99592 | -0.078553 | 3.7418
3 | 0.0034924 | 0.0008752 | -0.0034924 | -0.00087521 | 5.6432e-09 | -3.5781e-09 | 0.0052184 | 0.0052184 | 0.0052184 | 0.99584 | -0.080027 | 0.99584 | -0.080061 | 1.4336
4 | -0.011209 | -0.0028091 | 0.011209 | 0.0028094 | 6.5556e-07 | 3.3845e-07 | 0.016747 | 0.016747 | 0.016747 | 0.99592 | -0.078553 | 0.99598 | -0.077325 | 4.6009
5 | -0.013298 | -0.0033329 | 0.013299 | 0.0033334 | 9.2263e-07 | 5.0936e-07 | 0.019868 | 0.019868 | 0.019868 | 0.99598 | -0.077325 | 0.99605 | -0.075869 | 5.4582
6 | 0.0023274 | 0.00058323 | -0.0023274 | -0.00058328 | 2.5612e-08 | -5.7081e-08 | 0.0034776 | 0.0034777 | 0.0034777 | 0.99584 | -0.080061 | 0.99583 | -0.080292 | 0.9554
7 | 0.0011637 | 0.00029164 | -0.0011637 | -0.00029164 | 6.2644e-10 | -6.788e-09 | 0.0017388 | 0.0017388 | 0.0017388 | 0.99583 | -0.080292 | 0.99583 | -0.080303 | 0.4777
8 | -0.003631 | -0.00091002 | 0.0036316 | 0.00090973 | 5.4069e-07 | -2.9057e-07 | 0.0054272 | 0.005427 | 0.0054272 | 0.99554 | -0.08582 | 0.9957 | -0.082694 | 1.491
9 | -0.0036316 | -0.00090973 | 0.003633 | 0.00090898 | 1.403e-06 | -7.5519e-07 | 0.005427 | 0.0054264 | 0.005427 | 0.9957 | -0.082694 | 0.99612 | -0.07458 | 1.4909
10 | -0.0039521 | -0.00099016 | 0.0039523 | 0.00099011 | 1.3984e-07 | -5.0083e-08 | 0.0059005 | 0.0059005 | 0.0059005 | 0.99664 | -0.064588 | 0.99668 | -0.063845 | 1.621
11 | 0.0039521 | 0.00099016 | -0.0039518 | -0.00099026 | 2.73e-07 | -9.7737e-08 | 0.0059005 | 0.0059006 | 0.0059006 | 0.99664 | -0.064588 | 0.99656 | -0.066038 | 1.621
12 | -0.004884 | -0.0012236 | 0.0048842 | 0.0012236 | 1.2193e-07 | -1.6666e-09 | 0.0072916 | 0.0072916 | 0.0072916 | 0.99668 | -0.063845 | 0.99671 | -0.063321 | 2.0032
13 | 0.0030194 | 0.00075656 | -0.0030193 | -0.0007567 | 1.2739e-07 | -1.3623e-07 | 0.0045083 | 0.0045084 | 0.0045084 | 0.99656 | -0.066038 | 0.99652 | -0.066924 | 1.2386
14 | -0.0072859 | -0.0018262 | 0.0072863 | 0.0018264 | 4.4039e-07 | 1.6546e-07 | 0.011169 | 0.011169 | 0.011169 | 0.97071 | -0.5648 | 0.97077 | -0.56354 | 3.0683
15 | 0.0072859 | 0.0018262 | -0.0072844 | -0.0018256 | 1.5031e-06 | 5.6485e-07 | 0.011169 | 0.011169 | 0.011169 | 0.97071 | -0.5648 | 0.97049 | -0.56914 | 3.0684
16 | -0.013766 | -0.0034504 | 0.013786 | 0.0034613 | 1.9225e-05 | 1.0878e-05 | 0.021101 | 0.021101 | 0.021101 | 0.97077 | -0.56354 | 0.97225 | -0.53426 | 5.7971
17 | -0.015607 | -0.0039178 | 0.015614 | 0.0039216 | 6.5821e-06 | 3.831e-06 | 0.023889 | 0.023888 | 0.023889 | 0.97225 | -0.53426 | 0.9727 | -0.52542 | 6.5628
18 | -0.015614 | -0.0039216 | 0.015622 | 0.0039264 | 8.1897e-06 | 4.7661e-06 | 0.023888 | 0.023888 | 0.023888 | 0.9727 | -0.52542 | 0.97326 | -0.51444 | 6.5628
19 | -0.016619 | -0.0041763 | 0.016634 | 0.0041851 | 1.4999e-05 | 8.8288e-06 | 0.025413 | 0.025412 | 0.025413 | 0.97326 | -0.51444 | 0.97422 | -0.49555 | 6.9815
20 | -0.003633 | -0.00090898 | 0.0036333 | 0.00090878 | 3.6178e-07 | -1.9502e-07 | 0.0054264 | 0.0054263 | 0.0054264 | 0.99612 | -0.07458 | 0.99623 | -0.072487 | 1.4908
21 | -0.013374 | -0.0033501 | 0.013381 | 0.0033539 | 6.8827e-06 | 3.8057e-06 | 0.019976 | 0.019975 | 0.019976 | 0.99623 | -0.072487 | 0.99679 | -0.061685 | 5.4878
22 | 0.018267 | 0.0045798 | -0.018267 | -0.0045794 | 6.776e-07 | 4.0206e-07 | 0.027284 | 0.027284 | 0.027284 | 0.99629 | -0.071273 | 0.99625 | -0.072052 | 7.4956
23 | -0.020357 | -0.0051035 | 0.020366 | 0.0051091 | 9.3054e-06 | 5.6057e-06 | 0.030404 | 0.030404 | 0.030404 | 0.99629 | -0.071273 | 0.99679 | -0.061685 | 8.3528
24 | 0.01738 | 0.0043572 | -0.017378 | -0.0043561 | 1.8046e-06 | 1.062e-06 | 0.025959 | 0.025959 | 0.025959 | 0.99625 | -0.072052 | 0.99614 | -0.074231 | 7.1317
25 | 0.0089172 | 0.0022345 | -0.0089165 | -0.0022342 | 6.9488e-07 | 3.0842e-07 | 0.013312 | 0.013312 | 0.013312 | 0.99679 | -0.061685 | 0.99671 | -0.063321 | 3.657
26 | -0.042664 | -0.010697 | 0.042692 | 0.010715 | 2.7921e-05 | 1.763e-05 | 0.063691 | 0.063691 | 0.063691 | 0.99679 | -0.061685 | 0.9975 | -0.047962 | 17.4976
27 | 0.015393 | 0.0038587 | -0.015392 | -0.003858 | 1.201e-06 | 6.8978e-07 | 0.022994 | 0.022994 | 0.022994 | 0.99614 | -0.074231 | 0.99605 | -0.075869 | 6.3171
28 | -0.045428 | -0.011401 | 0.045466 | 0.011425 | 3.8247e-05 | 2.4188e-05 | 0.067772 | 0.067772 | 0.067772 | 0.9975 | -0.047962 | 0.99842 | -0.030323 | 18.6186
29 | -0.04882 | -0.012265 | 0.048864 | 0.012293 | 4.3932e-05 | 2.7827e-05 | 0.07277 | 0.07277 | 0.07277 | 0.99842 | -0.030323 | 0.9994 | -0.011487 | 19.9918
30 | -0.0089086 | -0.0022327 | 0.0089168 | 0.0022363 | 8.1577e-06 | 3.6016e-06 | 0.013269 | 0.013269 | 0.013269 | 0.999 | -0.019208 | 1 | 0 | 3.6455
31 | 0.094373 | 0.024395 | -0.093993 | -0.024153 | 0.00037974 | 0.00024237 | 0.14069 | 0.14069 | 0.14069 | 1 | 0 | 0.99561 | -0.082808 | 38.652
32 | 0.04889 | 0.01231 | -0.048864 | -0.012293 | 2.6834e-05 | 1.6997e-05 | 0.07277 | 0.07277 | 0.07277 | 1 | 0 | 0.9994 | -0.011487 | 19.9918
33 | -0.0042934 | -0.001076 | 0.0042937 | 0.001076 | 3.2792e-07 | -3.9936e-08 | 0.00658 | 0.0065799 | 0.00658 | 0.97092 | -0.56066 | 0.971 | -0.55905 | 1.8077
34 | -0.0089719 | -0.0022484 | 0.008973 | 0.002249 | 1.1263e-06 | 5.2425e-07 | 0.013749 | 0.013749 | 0.013749 | 0.971 | -0.55905 | 0.97113 | -0.55642 | 3.7772
35 | -0.012187 | -0.0030545 | 0.01219 | 0.0030562 | 2.9678e-06 | 1.6185e-06 | 0.018674 | 0.018674 | 0.018674 | 0.97113 | -0.55642 | 0.97139 | -0.55131 | 5.1302
36 | -0.015236 | -0.0038196 | 0.015239 | 0.0038212 | 2.847e-06 | 1.6495e-06 | 0.02334 | 0.02334 | 0.02334 | 0.97139 | -0.55131 | 0.97159 | -0.54739 | 6.4121
37 | -0.017492 | -0.0043858 | 0.017497 | 0.0043889 | 5.2984e-06 | 3.1471e-06 | 0.02679 | 0.02679 | 0.02679 | 0.97159 | -0.54739 | 0.97191 | -0.54103 | 7.3599
38 | -0.019567 | -0.0049078 | 0.019568 | 0.0049082 | 7.1674e-07 | 4.3232e-07 | 0.029959 | 0.029959 | 0.029959 | 0.97191 | -0.54103 | 0.97195 | -0.54026 | 8.2306
39 | -0.020186 | -0.0050632 | 0.02019 | 0.0050652 | 3.4471e-06 | 2.0868e-06 | 0.030906 | 0.030906 | 0.030906 | 0.97195 | -0.54026 | 0.97213 | -0.53668 | 8.4906
40 | -0.023036 | -0.0057786 | 0.023043 | 0.0057831 | 7.2282e-06 | 4.4338e-06 | 0.035263 | 0.035263 | 0.035263 | 0.97213 | -0.53668 | 0.97246 | -0.5301 | 9.6876
41 | -0.026045 | -0.0065353 | 0.026049 | 0.0065381 | 4.5558e-06 | 2.8208e-06 | 0.039855 | 0.039855 | 0.039855 | 0.97246 | -0.5301 | 0.97265 | -0.52644 | 10.9493
42 | 0.031237 | 0.0078522 | -0.031208 | -0.0078337 | 2.963e-05 | 1.8532e-05 | 0.047734 | 0.047734 | 0.047734 | 0.97395 | -0.5009 | 0.97294 | -0.52078 | 13.1137
43 | -0.031859 | -0.0080079 | 0.031882 | 0.0080222 | 2.2767e-05 | 1.4252e-05 | 0.048683 | 0.048683 | 0.048683 | 0.97395 | -0.5009 | 0.97471 | -0.48594 | 13.3744
44 | 0.027251 | 0.006842 | -0.027244 | -0.0068374 | 7.349e-06 | 4.5633e-06 | 0.041682 | 0.041682 | 0.041682 | 0.97294 | -0.52078 | 0.97265 | -0.52644 | 11.4512
45 | -0.048523 | -0.012212 | 0.048597 | 0.012259 | 7.3868e-05 | 4.6828e-05 | 0.074095 | 0.074095 | 0.074095 | 0.97471 | -0.48594 | 0.97633 | -0.45414 | 20.3558
46 | 0.016642 | 0.0041896 | -0.016636 | -0.0041863 | 5.69e-06 | 3.3489e-06 | 0.025412 | 0.025412 | 0.025412 | 0.97471 | -0.48594 | 0.97434 | -0.49309 | 6.9814
47 | -0.053397 | -0.013462 | 0.053485 | 0.013518 | 8.8686e-05 | 5.6312e-05 | 0.08141 | 0.08141 | 0.08141 | 0.97633 | -0.45414 | 0.9781 | -0.41949 | 22.3655
48 | 0.016636 | 0.0041863 | -0.016634 | -0.0041851 | 1.9519e-06 | 1.1488e-06 | 0.025412 | 0.025412 | 0.025412 | 0.97434 | -0.49309 | 0.97422 | -0.49555 | 6.9814
49 | -0.053485 | -0.013518 | 0.053507 | 0.013532 | 2.1602e-05 | 1.3716e-05 | 0.08141 | 0.08141 | 0.08141 | 0.9781 | -0.41949 | 0.97853 | -0.41107 | 22.3654
50 | 0.093993 | 0.024153 | -0.09382 | -0.024043 | 0.00017289 | 0.00011035 | 0.14069 | 0.14069 | 0.14069 | 0.99561 | -0.082808 | 0.99361 | -0.12075 | 38.652
51 | -0.08874 | -0.02266 | 0.088933 | 0.022784 | 0.00019327 | 0.00012332 | 0.13351 | 0.13351 | 0.13351 | 0.99018 | -0.18612 | 0.99253 | -0.14117 | 36.6777
52 | 0.08394 | 0.021457 | -0.083882 | -0.02142 | 5.8374e-05 | 3.7234e-05 | 0.12629 | 0.12629 | 0.12629 | 0.99018 | -0.18612 | 0.98942 | -0.20051 | 34.6961
53 | -0.088933 | -0.022784 | 0.088983 | 0.022815 | 4.9756e-05 | 3.1747e-05 | 0.13351 | 0.13351 | 0.13351 | 0.99253 | -0.14117 | 0.99314 | -0.12963 | 36.6777
54 | 0.079368 | 0.020289 | -0.079241 | -0.020208 | 0.0001276 | 8.1361e-05 | 0.11951 | 0.11951 | 0.11951 | 0.98942 | -0.20051 | 0.98769 | -0.2338 | 32.8313
55 | 0.0045137 | 0.0011311 | -0.0045134 | -0.0011312 | 2.6755e-07 | -2.7607e-08 | 0.0067882 | 0.0067883 | 0.0067883 | 0.98942 | -0.20051 | 0.98936 | -0.20175 | 1.8649
56 | -0.088983 | -0.022815 | 0.089021 | 0.02284 | 3.8332e-05 | 2.4458e-05 | 0.13351 | 0.13351 | 0.13351 | 0.99314 | -0.12963 | 0.99361 | -0.12075 | 36.6777
57 | 0.074729 | 0.019077 | -0.074569 | -0.018975 | 0.00016 | 0.00010197 | 0.11271 | 0.11271 | 0.11271 | 0.98769 | -0.2338 | 0.98538 | -0.27821 | 30.9639
58 | 0.074569 | 0.018975 | -0.074413 | -0.018876 | 0.00015529 | 9.8973e-05 | 0.11271 | 0.11271 | 0.11271 | 0.98538 | -0.27821 | 0.98314 | -0.32152 | 30.9639
59 | 0.065386 | 0.016613 | -0.065326 | -0.016575 | 6.034e-05 | 3.841e-05 | 0.099046 | 0.099046 | 0.099046 | 0.98314 | -0.32152 | 0.98215 | -0.3407 | 27.2105
60 | 0.0090268 | 0.0022625 | -0.0090255 | -0.0022619 | 1.2699e-06 | 5.8275e-07 | 0.013662 | 0.013663 | 0.013663 | 0.98314 | -0.32152 | 0.98298 | -0.32447 | 3.7535
61 | 0.065326 | 0.016575 | -0.065258 | -0.016532 | 6.8208e-05 | 4.3419e-05 | 0.099046 | 0.099046 | 0.099046 | 0.98215 | -0.3407 | 0.98103 | -0.36244 | 27.2105
62 | 0.0045154 | 0.0011316 | -0.0045151 | -0.0011316 | 2.8135e-07 | -2.3492e-08 | 0.0068352 | 0.0068353 | 0.0068353 | 0.98298 | -0.32447 | 0.98292 | -0.32578 | 1.8778
63 | -0.058019 | -0.014662 | 0.058066 | 0.014692 | 4.6885e-05 | 2.9804e-05 | 0.088271 | 0.088271 | 0.088271 | 0.97853 | -0.41107 | 0.97939 | -0.39423 | 24.2504
64 | 0.063967 | 0.016208 | -0.063942 | -0.016192 | 2.5719e-05 | 1.6368e-05 | 0.097089 | 0.097089 | 0.097089 | 0.98103 | -0.36244 | 0.98059 | -0.37081 | 26.6728
65 | -0.062581 | -0.015824 | 0.062651 | 0.015868 | 7.0388e-05 | 4.4787e-05 | 0.095131 | 0.09513 | 0.095131 | 0.97939 | -0.39423 | 0.98059 | -0.37081 | 26.1348
66 | 0.0012906 | 0.00032327 | -0.0012906 | -0.00032345 | 2.1898e-08 | -1.7805e-07 | 0.0019584 | 0.0019585 | 0.0019585 | 0.98059 | -0.37081 | 0.98058 | -0.37117 | 0.53804

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15383 | 0.038942

## res_load
| p_mw | q_mvar
0 | 0.0011626 | 0.00029137
1 | 0.0032953 | 0.00082588
2 | 0.001165 | 0.00029198
3 | 0.002093 | 0.00052456
4 | 0.0020887 | 0.00052347
5 | 0.001165 | 0.00029198
6 | 0.0011637 | 0.00029165
7 | 0.0011637 | 0.00029164
8 | 0.003631 | 0.00091002
9 | 0.00093178 | 0.00023353
10 | 0.00093246 | 0.0002337
11 | 0.0064801 | 0.0016241
12 | 0.0072844 | 0.0018256
13 | 0.0018215 | 0.0004565
14 | 0.00099704 | 0.00024988
15 | 0.0097408 | 0.0024413
16 | 0.0020893 | 0.00052362
17 | 0.00088686 | 0.00022227
18 | 0.0019849 | 0.00049745
19 | 0.0040324 | 0.0010106
20 | 0.0027354 | 0.00068555
21 | 0.002093 | 0.00052456
22 | 0.0033539 | 0.00084057
23 | 0.0089086 | 0.0022327
24 | 0.0030193 | 0.0007567
25 | 0.0042934 | 0.001076
26 | 0.0046781 | 0.0011725
27 | 0.0032143 | 0.00080558
28 | 0.0030461 | 0.00076341
29 | 0.0022527 | 0.00056457
30 | 0.0020702 | 0.00051885
31 | 0.00061814 | 0.00015492
32 | 0.0028465 | 0.00071339
33 | 0.0030014 | 0.00075223
34 | 0.00062133 | 0.00015572
35 | 0.0039568 | 0.00099168
36 | 0.0011943 | 0.00029931
37 | 0.0047998 | 0.0012029
38 | 0.0047998 | 0.0012029
39 | 0.004512 | 0.0011308
40 | 0.0045134 | 0.0011312
41 | 0.004799 | 0.0012027
42 | 0.0045102 | 0.0011304
43 | 0.004512 | 0.0011308
44 | 0.0045151 | 0.0011316
45 | 0.0012906 | 0.00032345
46 | 0.0045147 | 0.0011315
47 | 0.0012906 | 0.00032345

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1