## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-18_0_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_138-18_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_138-18_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_138-18_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_138-18_0_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_138-18_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_138-18_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_138-18_0_4_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_138-18_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_138-18_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_138-18_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_138-18_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_138-18_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_138-18_0_4_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_138-18_0_4_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_138-18_0_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_138-18_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_138-18_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_138-18_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_138-18_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_138-18_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_138-18_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_138-18_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_138-18_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_138-18_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_138-18_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_138-18_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_138-18_0_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_138-18_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_138-18_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_138-18_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_138-18_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_138-18_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_138-18_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_138-18_0_4_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_138-18_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_138-18_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_138-18_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_138-18_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_138-18_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_138-18_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_138-18_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_138-18_0_4_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_138-18_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_138-18_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_138-18_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_138-18_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_138-18_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_138-18_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_138-18_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_138-18_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_138-18_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_138-18_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_138-18_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_138-18_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_138-18_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_138-18_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_138-18_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_138-18_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_138-18_0_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_138-18_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_138-18_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_138-18_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_138-18_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_138-18_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_138-18_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_138-18_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_138-18_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_138-18_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_138-18_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_138-18_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_138-18_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_138-18_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_MV_222_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-18_0_4_load_0 | 0 | 0.003046 | 0.0007634 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-18_0_4_load_1 | 1 | 0.0021996 | 0.00055126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-18_0_4_load_18 | 3 | 0.0028761 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-18_0_4_load_19 | 4 | 0.00094938 | 0.00023794 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-18_0_4_load_51 | 7 | 0.00088344 | 0.00022141 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-18_0_4_load_16 | 8 | 0.0024411 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-18_0_4_load_50 | 9 | 0.00030121 | 7.549e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-18_0_4_load_3 | 10 | 0.0026747 | 0.00067036 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-18_0_4_load_4 | 11 | 0.0027369 | 0.00068592 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-18_0_4_load_5 | 12 | 0.0017375 | 0.00043546 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-18_0_4_load_6 | 13 | 0.0023495 | 0.00058885 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-18_0_4_load_7 | 14 | 0.0021573 | 0.00054066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-18_0_4_load_8 | 15 | 0.0053829 | 0.0013491 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-18_0_4_load_78 | 16 | 0.005512 | 0.0013814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-18_0_4_load_75 | 17 | 0.0052946 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-18_0_4_load_9 | 20 | 0.0029811 | 0.00074713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-18_0_4_load_10 | 21 | 0.0030226 | 0.00075754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-18_0_4_load_12 | 23 | 0.0036241 | 0.0009083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-18_0_4_load_42 | 26 | 0.0015058 | 0.00037739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-18_0_4_load_40 | 28 | 0.010849 | 0.0027191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-18_0_4_load_77 | 30 | 0.0054999 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-18_0_4_load_21 | 31 | 0.01275 | 0.0031955 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-18_0_4_load_41 | 32 | 0.011317 | 0.0028363 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-18_0_4_load_59 | 34 | 0.0035743 | 0.00089579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-18_0_4_load_26 | 35 | 0.013171 | 0.0033008 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-18_0_4_load_27 | 36 | 0.0092503 | 0.0023183 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-18_0_4_load_15 | 37 | 0.0017888 | 0.00044833 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-18_0_4_load_46 | 38 | 0.0025078 | 0.0006285 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-18_0_4_load_72 | 39 | 0.0044826 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-18_0_4_load_44 | 40 | 0.0029109 | 0.00072953 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-18_0_4_load_49 | 41 | 0.00075799 | 0.00018997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-18_0_4_load_53 | 42 | 0.0033507 | 0.00083976 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-18_0_4_load_65 | 43 | 0.0097474 | 0.0024429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-18_0_4_load_67 | 44 | 0.011119 | 0.0027867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-18_0_4_load_20 | 45 | 0.013779 | 0.0034534 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-18_0_4_load_31 | 49 | 0.010492 | 0.0026296 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-18_0_4_load_35 | 50 | 0.017938 | 0.0044957 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-18_0_4_load_29 | 51 | 0.0096037 | 0.0024069 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-18_0_4_load_30 | 52 | 0.01218 | 0.0030527 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-18_0_4_load_34 | 53 | 0.014296 | 0.0035828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-18_0_4_load_62 | 54 | 0.0051514 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_138-18_0_4_load_56 | 55 | 0.0024197 | 0.00060642 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_138-18_0_4_load_58 | 56 | 0.0035143 | 0.00088077 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_138-18_0_4_load_32 | 57 | 0.014257 | 0.0035731 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_138-18_0_4_load_37 | 59 | 0.010655 | 0.0026705 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_138-18_0_4_load_48 | 61 | 0.0016083 | 0.00040309 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_138-18_0_4_load_76 | 62 | 0.0055085 | 0.0013805 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_138-18_0_4_load_43 | 63 | 0.0021265 | 0.00053294 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_138-18_0_4_load_45 | 64 | 0.0022867 | 0.0005731 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_138-18_0_4_load_54 | 66 | 0.0025831 | 0.00064739 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_138-18_0_4_load_55 | 67 | 0.0056241 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_138-18_0_4_load_68 | 68 | 0.0094013 | 0.0023562 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_138-18_0_4_load_66 | 69 | 0.0097046 | 0.0024322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_138-18_0_4_load_63 | 70 | 0.0078722 | 0.001973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_138-18_0_4_load_60 | 71 | 0.0029329 | 0.00073506 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_138-18_0_4_load_61 | 72 | 0.0017702 | 0.00044364 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_138-18_0_4_load_69 | 73 | 0.0020316 | 0.00050916 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_138-18_0_4_load_70 | 74 | 0.0080283 | 0.0020121 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_138-18_0_4_load_71 | 75 | 0.00134 | 0.00033585 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-18_0_4_line_0 |  | 0 | 1 | 0.0852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-18_0_4_line_1 |  | 1 | 2 | 0.025101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-18_0_4_line_2 |  | 2 | 5 | 0.10043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-18_0_4_line_3 |  | 3 | 4 | 0.0032754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-18_0_4_line_4 |  | 4 | 42 | 0.0067598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-18_0_4_line_5 |  | 5 | 9 | 0.10489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-18_0_4_line_6 |  | 5 | 7 | 0.098773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-18_0_4_line_7 |  | 6 | 7 | 0.17816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-18_0_4_line_8 |  | 6 | 8 | 0.059561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-18_0_4_line_9 |  | 8 | 37 | 0.00061992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-18_0_4_line_10 |  | 9 | 41 | 0.029695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-18_0_4_line_11 |  | 10 | 11 | 0.0084318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-18_0_4_line_12 |  | 11 | 12 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-18_0_4_line_13 |  | 12 | 13 | 0.0012321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-18_0_4_line_14 |  | 13 | 14 | 0.008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-18_0_4_line_15 |  | 14 | 15 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-18_0_4_line_16 |  | 15 | 16 | 0.053119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-18_0_4_line_17 |  | 16 | 19 | 0.008779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-18_0_4_line_18 |  | 17 | 18 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-18_0_4_line_19 |  | 18 | 19 | 0.045347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-18_0_4_line_20 |  | 18 | 62 | 0.007397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-18_0_4_line_21 |  | 19 | 30 | 0.006756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-18_0_4_line_22 |  | 20 | 21 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-18_0_4_line_23 |  | 20 | 22 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-18_0_4_line_24 |  | 21 | 23 | 0.030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-18_0_4_line_25 |  | 22 | 24 | 0.030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_138-18_0_4_line_26 |  | 22 | 25 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_138-18_0_4_line_27 |  | 23 | 26 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-18_0_4_line_28 |  | 24 | 27 | 0.046909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-18_0_4_line_29 |  | 24 | 28 | 0.0304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_138-18_0_4_line_30 |  | 25 | 29 | 0.040571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_138-18_0_4_line_31 |  | 26 | 30 | 0.04223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-18_0_4_line_32 |  | 27 | 31 | 0.033124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-18_0_4_line_33 |  | 28 | 32 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_138-18_0_4_line_34 |  | 29 | 33 | 0.056116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-18_0_4_line_35 |  | 29 | 34 | 0.044883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-18_0_4_line_36 |  | 32 | 51 | 0.052685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_138-18_0_4_line_37 |  | 33 | 54 | 0.028364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-18_0_4_line_38 |  | 33 | 55 | 0.021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-18_0_4_line_39 |  | 34 | 56 | 0.0093311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-18_0_4_line_40 |  | 35 | 36 | 0.042422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_138-18_0_4_line_41 |  | 36 | 48 | 0.027689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_138-18_0_4_line_42 |  | 37 | 38 | 0.058788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_138-18_0_4_line_43 |  | 38 | 39 | 0.065854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_138-18_0_4_line_44 |  | 38 | 40 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_138-18_0_4_line_45 |  | 40 | 63 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_138-18_0_4_line_46 |  | 42 | 43 | 0.05261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-18_0_4_line_47 |  | 43 | 44 | 0.00049229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_138-18_0_4_line_48 |  | 44 | 69 | 0.039704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_138-18_0_4_line_49 |  | 45 | 46 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-18_0_4_line_50 |  | 46 | 47 | 0.063767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-18_0_4_line_51 |  | 46 | 48 | 0.033487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_138-18_0_4_line_52 |  | 47 | 49 | 0.039335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_138-18_0_4_line_53 |  | 47 | 50 | 0.022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_138-18_0_4_line_54 |  | 48 | 51 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_138-18_0_4_line_55 |  | 49 | 52 | 0.022128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_138-18_0_4_line_56 |  | 50 | 53 | 0.0024709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_138-18_0_4_line_57 |  | 52 | 57 | 0.03002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_138-18_0_4_line_58 |  | 53 | 58 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_138-18_0_4_line_59 |  | 54 | 70 | 0.037786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_138-18_0_4_line_60 |  | 55 | 66 | 0.02942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_138-18_0_4_line_61 |  | 56 | 71 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_138-18_0_4_line_62 |  | 58 | 59 | 0.05113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_138-18_0_4_line_63 |  | 58 | 60 | 0.0354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_138-18_0_4_line_64 |  | 60 | 61 | 0.09036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_138-18_0_4_line_65 |  | 63 | 64 | 0.0042845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_138-18_0_4_line_66 |  | 64 | 65 | 0.0077033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_138-18_0_4_line_67 |  | 65 | 66 | 0.021315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_138-18_0_4_line_68 |  | 65 | 67 | 0.027435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_138-18_0_4_line_69 |  | 67 | 68 | 0.044024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_138-18_0_4_line_70 |  | 68 | 69 | 0.0042729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_138-18_0_4_line_71 |  | 71 | 72 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_138-18_0_4_line_72 |  | 72 | 73 | 0.021742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_138-18_0_4_line_73 |  | 73 | 74 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_138-18_0_4_line_74 |  | 74 | 75 | 0.0020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-18_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 76 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2695538.5317 | 1228285.3242 | 2695557.7182 | 1228305.7359 | 2695557.5619 | 1228315.4626 | 2695528.4246 | 1228347.4176 | 2695524.9483 | 1228349.7992
1 | 2695504.241 | 1228363.9857 | 2695524.9483 | 1228349.7992
2 | 2695429.2804 | 1228360.8583 | 2695438.4022 | 1228348.2734 | 2695459.6519 | 1228333.6482 | 2695485.8005 | 1228337.7041 | 2695498.2426 | 1228349.6013 | 2695504.241 | 1228363.9857
3 | 2695668.893 | 1228550.2537 | 2695671.1574 | 1228552.6202
4 | 2695675.8308 | 1228557.5042 | 2695671.1574 | 1228552.6202
5 | 2695429.2804 | 1228360.8583 | 2695345.7147 | 1228297.4724
6 | 2695429.2804 | 1228360.8583 | 2695346.1983 | 1228414.2756
7 | 2695430.1823 | 1228571.4018 | 2695346.1983 | 1228414.2756
8 | 2695430.1823 | 1228571.4018 | 2695469.5614 | 1228583.9427 | 2695480.301 | 1228593.2884 | 2695483.929 | 1228594.9649
9 | 2695484.4918 | 1228595.2249 | 2695483.929 | 1228594.9649
10 | 2695327.2499 | 1228274.4474 | 2695333.0155 | 1228279.8456 | 2695342.6302 | 1228291.8083 | 2695345.7147 | 1228297.4724
11 | 2695439.9556 | 1228844.586 | 2695448.3528 | 1228843.8232
12 | 2695448.3528 | 1228843.8232 | 2695464.9667 | 1228842.3141
13 | 2695466.1937 | 1228842.2027 | 2695464.9667 | 1228842.3141
14 | 2695466.1937 | 1228842.2027 | 2695474.8501 | 1228841.4164
15 | 2695494.7511 | 1228839.6087 | 2695474.8501 | 1228841.4164
16 | 2695494.7511 | 1228839.6087 | 2695547.2167 | 1228831.3007
17 | 2695555.6605 | 1228828.8123 | 2695547.2167 | 1228831.3007
18 | 2695570.6947 | 1228867.4706 | 2695568.8933 | 1228868.7537 | 2695564.8065 | 1228862.7726 | 2695559.2647 | 1228866.6975
19 | 2695570.6947 | 1228867.4706 | 2695567.0986 | 1228862.0756 | 2695558.1921 | 1228848.1002 | 2695556.6227 | 1228843.4383 | 2695559.6544 | 1228842.453 | 2695555.6605 | 1228828.8123
20 | 2695570.6947 | 1228867.4706 | 2695576.7424 | 1228863.1869
21 | 2695555.6605 | 1228828.8123 | 2695562.1048 | 1228826.7255
22 | 2695635.5544 | 1228782.4758 | 2695643.6672 | 1228787.4747 | 2695647.6145 | 1228782.1566
23 | 2695657.9969 | 1228768.169 | 2695647.6145 | 1228782.1566
24 | 2695612.1308 | 1228795.7573 | 2695630.0484 | 1228779.083 | 2695635.5544 | 1228782.4758
25 | 2695686.7918 | 1228778.117 | 2695681.3859 | 1228774.5275 | 2695667.4547 | 1228770.9564 | 2695657.9969 | 1228768.169
26 | 2695649.0715 | 1228757.251 | 2695650.9953 | 1228762.4968 | 2695657.9969 | 1228768.169
27 | 2695612.1308 | 1228795.7573 | 2695599.6429 | 1228807.3788
28 | 2695686.7918 | 1228778.117 | 2695693.3372 | 1228782.4699 | 2695700.3005 | 1228795.2244 | 2695700.7363 | 1228801.1024 | 2695708.0443 | 1228791.0349 | 2695708.265 | 1228784.8562
29 | 2695686.7918 | 1228778.117 | 2695688.2737 | 1228766.0878 | 2695684.1331 | 1228756.392 | 2695688.0196 | 1228749.7026
30 | 2695649.0715 | 1228757.251 | 2695647.7213 | 1228753.571 | 2695647.9379 | 1228740.1093 | 2695650.4863 | 1228719.2463 | 2695650.7028 | 1228717.0927
31 | 2695599.6429 | 1228807.3788 | 2695562.1048 | 1228826.7255
32 | 2695708.265 | 1228784.8562 | 2695712.4541 | 1228776.4731 | 2695711.5373 | 1228766.5846 | 2695718.6773 | 1228754.7502
33 | 2695688.0196 | 1228749.7026 | 2695695.3016 | 1228737.1689 | 2695695.6715 | 1228736.2442
34 | 2695630.2676 | 1228669.3632 | 2695641.4118 | 1228677.5593 | 2695649.3732 | 1228689.0512 | 2695651.5046 | 1228702.5841 | 2695651.9172 | 1228705.2037 | 2695650.7028 | 1228717.0927
35 | 2695650.7028 | 1228717.0927 | 2695607.7266 | 1228730.0342
36 | 2695722.5071 | 1228691.515 | 2695711.2245 | 1228704.5905 | 2695703.3869 | 1228716.9511 | 2695695.6715 | 1228736.2442
37 | 2695630.2676 | 1228669.3632 | 2695632.5721 | 1228659.8934 | 2695649.2285 | 1228651.5744
38 | 2695630.2676 | 1228669.3632 | 2695618.843 | 1228665.41 | 2695609.644 | 1228664.5705
39 | 2695598.7918 | 1228732.7248 | 2695607.7266 | 1228730.0342
40 | 2695686.7183 | 1228714.6932 | 2695719.5024 | 1228687.7709
41 | 2695740.9005 | 1228670.1988 | 2695719.5024 | 1228687.7709
42 | 2695505.2449 | 1228650.2278 | 2695484.4918 | 1228595.2249
43 | 2695505.2449 | 1228650.2278 | 2695469.3306 | 1228705.4263
44 | 2695505.2449 | 1228650.2278 | 2695519.3006 | 1228654.4251 | 2695522.2999 | 1228654.7775
45 | 2695547.3009 | 1228657.715 | 2695522.2999 | 1228654.7775
46 | 2695663.5006 | 1228608.6489 | 2695675.8308 | 1228557.5042
47 | 2695663.5006 | 1228608.6489 | 2695663.0701 | 1228608.8876
48 | 2695628.045 | 1228627.5449 | 2695636.0158 | 1228623.8895 | 2695663.0701 | 1228608.8876
49 | 2695765.1934 | 1228683.0324 | 2695747.2531 | 1228705.457
50 | 2695765.1934 | 1228683.0324 | 2695773.3216 | 1228672.8671 | 2695779.0917 | 1228677.8413 | 2695786.9243 | 1228702.9522 | 2695788.0401 | 1228719.7712
51 | 2695740.9005 | 1228670.1988 | 2695757.4651 | 1228672.1335 | 2695760.1999 | 1228672.6557 | 2695761.3548 | 1228674.8203 | 2695759.2745 | 1228678.356 | 2695765.1934 | 1228683.0324
52 | 2695788.0401 | 1228719.7712 | 2695788.1745 | 1228721.7748 | 2695786.7878 | 1228733.5276 | 2695784.121 | 1228743.8365 | 2695779.1029 | 1228757.8072
53 | 2695788.0401 | 1228719.7712 | 2695809.7142 | 1228723.8159
54 | 2695740.9005 | 1228670.1988 | 2695722.5071 | 1228691.515
55 | 2695771.6225 | 1228778.6329 | 2695779.1029 | 1228757.8072
56 | 2695812.1432 | 1228724.2692 | 2695809.7142 | 1228723.8159
57 | 2695771.6225 | 1228778.6329 | 2695761.4744 | 1228806.8857
58 | 2695830.3644 | 1228727.6696 | 2695812.1432 | 1228724.2692
59 | 2695649.2285 | 1228651.5744 | 2695657.9578 | 1228647.2146 | 2695682.422 | 1228633.5351
60 | 2695580.3764 | 1228661.6007 | 2695591.7762 | 1228662.9399 | 2695609.644 | 1228664.5705
61 | 2695598.7918 | 1228732.7248 | 2695584.1466 | 1228737.1349
62 | 2695830.3644 | 1228727.6696 | 2695828.6623 | 1228742.5307 | 2695835.3313 | 1228746.73 | 2695839.4717 | 1228756.426 | 2695839.1856 | 1228774.1712
63 | 2695830.3644 | 1228727.6696 | 2695834.4139 | 1228706.8087 | 2695839.6994 | 1228705.6375 | 2695848.2321 | 1228703.7625
64 | 2695848.2321 | 1228703.7625 | 2695871.7235 | 1228698.6151 | 2695877.8417 | 1228697.5018 | 2695921.6845 | 1228735.7473 | 2695923.3383 | 1228736.7091
65 | 2695547.3009 | 1228657.715 | 2695551.5562 | 1228658.215
66 | 2695559.2068 | 1228659.1139 | 2695551.5562 | 1228658.215
67 | 2695559.2068 | 1228659.1139 | 2695580.3764 | 1228661.6007
68 | 2695559.2068 | 1228659.1139 | 2695584.1447 | 1228647.6774
69 | 2695624.1611 | 1228629.3261 | 2695584.1447 | 1228647.6774
70 | 2695628.045 | 1228627.5449 | 2695624.1611 | 1228629.3261
71 | 2695555.6959 | 1228745.7023 | 2695584.1466 | 1228737.1349
72 | 2695555.6959 | 1228745.7023 | 2695534.8777 | 1228751.9714
73 | 2695515.6737 | 1228757.7543 | 2695534.8777 | 1228751.9714
74 | 2695515.6737 | 1228757.7543 | 2695513.7214 | 1228758.3422

## bus_geodata
| x | y | coords
0 | 2695538.5317 | 1228285.3242
1 | 2695524.9483 | 1228349.7992
2 | 2695504.241 | 1228363.9857
3 | 2695668.893 | 1228550.2537
4 | 2695671.1574 | 1228552.6202
5 | 2695429.2804 | 1228360.8583
6 | 2695430.1823 | 1228571.4018
7 | 2695346.1983 | 1228414.2756
8 | 2695483.929 | 1228594.9649
9 | 2695345.7147 | 1228297.4724
10 | 2695439.9556 | 1228844.586
11 | 2695448.3528 | 1228843.8232
12 | 2695464.9667 | 1228842.3141
13 | 2695466.1937 | 1228842.2027
14 | 2695474.8501 | 1228841.4164
15 | 2695494.7511 | 1228839.6087
16 | 2695547.2167 | 1228831.3007
17 | 2695559.2647 | 1228866.6975
18 | 2695570.6947 | 1228867.4706
19 | 2695555.6605 | 1228828.8123
20 | 2695647.6145 | 1228782.1566
21 | 2695635.5544 | 1228782.4758
22 | 2695657.9969 | 1228768.169
23 | 2695612.1308 | 1228795.7573
24 | 2695686.7918 | 1228778.117
25 | 2695649.0715 | 1228757.251
26 | 2695599.6429 | 1228807.3788
27 | 2695708.265 | 1228784.8562
28 | 2695688.0196 | 1228749.7026
29 | 2695650.7028 | 1228717.0927
30 | 2695562.1048 | 1228826.7255
31 | 2695718.6773 | 1228754.7502
32 | 2695695.6715 | 1228736.2442
33 | 2695630.2676 | 1228669.3632
34 | 2695607.7266 | 1228730.0342
35 | 2695686.7183 | 1228714.6932
36 | 2695719.5024 | 1228687.7709
37 | 2695484.4918 | 1228595.2249
38 | 2695505.2449 | 1228650.2278
39 | 2695469.3306 | 1228705.4263
40 | 2695522.2999 | 1228654.7775
41 | 2695327.2499 | 1228274.4474
42 | 2695675.8308 | 1228557.5042
43 | 2695663.5006 | 1228608.6489
44 | 2695663.0701 | 1228608.8876
45 | 2695747.2531 | 1228705.457
46 | 2695765.1934 | 1228683.0324
47 | 2695788.0401 | 1228719.7712
48 | 2695740.9005 | 1228670.1988
49 | 2695779.1029 | 1228757.8072
50 | 2695809.7142 | 1228723.8159
51 | 2695722.5071 | 1228691.515
52 | 2695771.6225 | 1228778.6329
53 | 2695812.1432 | 1228724.2692
54 | 2695649.2285 | 1228651.5744
55 | 2695609.644 | 1228664.5705
56 | 2695598.7918 | 1228732.7248
57 | 2695761.4744 | 1228806.8857
58 | 2695830.3644 | 1228727.6696
59 | 2695839.1856 | 1228774.1712
60 | 2695848.2321 | 1228703.7625
61 | 2695923.3383 | 1228736.7091
62 | 2695576.7424 | 1228863.1869
63 | 2695547.3009 | 1228657.715
64 | 2695551.5562 | 1228658.215
65 | 2695559.2068 | 1228659.1139
66 | 2695580.3764 | 1228661.6007
67 | 2695584.1447 | 1228647.6774
68 | 2695624.1611 | 1228629.3261
69 | 2695628.045 | 1228627.5449
70 | 2695682.422 | 1228633.5351
71 | 2695584.1466 | 1228737.1349
72 | 2695555.6959 | 1228745.7023
73 | 2695534.8777 | 1228751.9714
74 | 2695515.6737 | 1228757.7543
75 | 2695513.7214 | 1228758.3422
76 | 2695651.5046 | 1228702.5841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98498 | -0.28947 | 0.003046 | 0.0007634
1 | 0.98522 | -0.28481 | 0.0021996 | 0.00055126
2 | 0.98534 | -0.28244 | 0 | 0
3 | 0.98485 | -0.29168 | 0.0028761 | 0.00072081
4 | 0.98486 | -0.29151 | 0.00094938 | 0.00023794
5 | 0.98582 | -0.27298 | 0 | 0
6 | 0.98757 | -0.23883 | 0 | 0
7 | 0.9864 | -0.2618 | 0.00088344 | 0.00022141
8 | 0.98797 | -0.23115 | 0.0024411 | 0.00061181
9 | 0.98572 | -0.27498 | 0.00030121 | 7.549e-05
10 | 0.98809 | -0.22823 | 0.0026747 | 0.00067036
11 | 0.98811 | -0.22782 | 0.0027369 | 0.00068592
12 | 0.9882 | -0.22621 | 0.0017375 | 0.00043546
13 | 0.9882 | -0.22605 | 0.0023495 | 0.00058885
14 | 0.98828 | -0.22458 | 0.0021573 | 0.00054066
15 | 0.98849 | -0.22043 | 0.0053829 | 0.0013491
16 | 0.98932 | -0.20429 | 0.005512 | 0.0013814
17 | 0.98898 | -0.21102 | 0.0052946 | 0.001327
18 | 0.98906 | -0.20949 | 0 | 0
19 | 0.98951 | -0.20077 | 0 | 0
20 | 0.99379 | -0.11789 | 0.0029811 | 0.00074713
21 | 0.9931 | -0.1313 | 0.0030226 | 0.00075754
22 | 0.99459 | -0.10253 | 0 | 0
23 | 0.99185 | -0.15539 | 0.0036241 | 0.0009083
24 | 0.99229 | -0.14643 | 0 | 0
25 | 0.99602 | -0.075317 | 0 | 0
26 | 0.99122 | -0.1676 | 0.0015058 | 0.00037739
27 | 0.99174 | -0.15702 | 0 | 0
28 | 0.99018 | -0.18671 | 0.010849 | 0.0027191
29 | 1 | 0 | -0.33819 | -0.086133
30 | 0.98971 | -0.19676 | 0.0054999 | 0.0013784
31 | 0.99135 | -0.16451 | 0.01275 | 0.0031955
32 | 0.98918 | -0.20581 | 0.011317 | 0.0028363
33 | 0.99502 | -0.094926 | 0 | 0
34 | 0.99905 | -0.018163 | 0.0035743 | 0.00089579
35 | 0.9819 | -0.34657 | 0.013171 | 0.0033008
36 | 0.98242 | -0.33648 | 0.0092503 | 0.0023183
37 | 0.98797 | -0.23105 | 0.0017888 | 0.00044833
38 | 0.98859 | -0.21904 | 0.0025078 | 0.0006285
39 | 0.98832 | -0.22431 | 0.0044826 | 0.0011234
40 | 0.98889 | -0.21323 | 0.0029109 | 0.00072953
41 | 0.9857 | -0.27538 | 0.00075799 | 0.00018997
42 | 0.98489 | -0.29104 | 0.0033507 | 0.00083976
43 | 0.98523 | -0.28426 | 0.0097474 | 0.0024429
44 | 0.98524 | -0.28411 | 0.011119 | 0.0027867
45 | 0.97966 | -0.39014 | 0.013779 | 0.0034534
46 | 0.98002 | -0.38296 | 0 | 0
47 | 0.97519 | -0.47767 | 0 | 0
48 | 0.98299 | -0.32527 | 0 | 0
49 | 0.97383 | -0.50433 | 0.010492 | 0.0026296
50 | 0.97427 | -0.49567 | 0.017938 | 0.0044957
51 | 0.98607 | -0.26571 | 0.0096037 | 0.0024069
52 | 0.97329 | -0.51509 | 0.01218 | 0.0030527
53 | 0.97421 | -0.49687 | 0.014296 | 0.0035828
54 | 0.99469 | -0.10143 | 0.0051514 | 0.0012911
55 | 0.99339 | -0.12634 | 0.0024197 | 0.00060642
56 | 0.99889 | -0.02136 | 0.0035143 | 0.00088077
57 | 0.97289 | -0.52297 | 0.014257 | 0.0035731
58 | 0.974 | -0.50105 | 0 | 0
59 | 0.97349 | -0.51107 | 0.010655 | 0.0026705
60 | 0.97395 | -0.5021 | 0 | 0
61 | 0.97381 | -0.50477 | 0.0016083 | 0.00040309
62 | 0.98902 | -0.21022 | 0.0055085 | 0.0013805
63 | 0.98938 | -0.20366 | 0.0021265 | 0.00053294
64 | 0.98947 | -0.20187 | 0.0022867 | 0.0005731
65 | 0.98966 | -0.19834 | 0 | 0
66 | 0.99119 | -0.16859 | 0.0025831 | 0.00064739
67 | 0.98832 | -0.22414 | 0.0056241 | 0.0014095
68 | 0.98641 | -0.26125 | 0.0094013 | 0.0023562
69 | 0.98627 | -0.26414 | 0.0097046 | 0.0024322
70 | 0.99442 | -0.10667 | 0.0078722 | 0.001973
71 | 0.99866 | -0.025664 | 0.0029329 | 0.00073506
72 | 0.99831 | -0.032506 | 0.0017702 | 0.00044364
73 | 0.99808 | -0.036842 | 0.0020316 | 0.00050916
74 | 0.99791 | -0.04013 | 0.0080283 | 0.0020121
75 | 0.99791 | -0.040178 | 0.00134 | 0.00033585
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.003046 | -0.0007634 | 0.0030467 | 0.00076275 | 6.7649e-07 | -6.5174e-07 | 0.0046017 | 0.0046013 | 0.0046017 | 0.98498 | -0.28947 | 0.98522 | -0.28481 | 1.2642
1 | -0.0052463 | -0.001314 | 0.0052469 | 0.0013141 | 5.9092e-07 | 5.8513e-08 | 0.0079234 | 0.0079233 | 0.0079234 | 0.98522 | -0.28481 | 0.98534 | -0.28244 | 2.1768
2 | -0.0052469 | -0.0013141 | 0.0052492 | 0.0013143 | 2.3642e-06 | 2.3322e-07 | 0.0079233 | 0.0079228 | 0.0079233 | 0.98534 | -0.28244 | 0.98582 | -0.27298 | 2.1767
3 | -0.0028761 | -0.00072081 | 0.0028761 | 0.00072079 | 2.3193e-08 | -2.6835e-08 | 0.0043455 | 0.0043454 | 0.0043455 | 0.98485 | -0.29168 | 0.98486 | -0.29151 | 1.1938
4 | -0.0038255 | -0.00095872 | 0.0038256 | 0.00095869 | 8.4683e-08 | -3.1824e-08 | 0.0057799 | 0.0057798 | 0.0057799 | 0.98486 | -0.29151 | 0.98489 | -0.29104 | 1.5879
5 | 0.0010593 | 0.00026382 | -0.0010592 | -0.00026509 | 1.0051e-07 | -1.2728e-06 | 0.0015983 | 0.0015988 | 0.0015988 | 0.98582 | -0.27298 | 0.98572 | -0.27498 | 0.43924
6 | -0.0063085 | -0.0015781 | 0.0063119 | 0.001579 | 3.3576e-06 | 8.8878e-07 | 0.0095212 | 0.0095207 | 0.0095212 | 0.98582 | -0.27298 | 0.9864 | -0.2618 | 2.6157
7 | 0.0072032 | 0.0018032 | -0.0071953 | -0.0018004 | 7.8695e-06 | 2.7596e-06 | 0.010853 | 0.010853 | 0.010853 | 0.98757 | -0.23883 | 0.9864 | -0.2618 | 2.9817
8 | -0.0072032 | -0.0018032 | 0.0072058 | 0.0018041 | 2.6306e-06 | 9.2116e-07 | 0.010853 | 0.010852 | 0.010853 | 0.98757 | -0.23883 | 0.98797 | -0.23115 | 2.9815
9 | -0.009647 | -0.0024159 | 0.009647 | 0.0024159 | 4.9073e-08 | 2.3468e-08 | 0.014529 | 0.014529 | 0.014529 | 0.98797 | -0.23115 | 0.98797 | -0.23105 | 3.9915
10 | 0.000758 | 0.0001896 | -0.00075799 | -0.00018997 | 1.4579e-08 | -3.692e-07 | 0.0011441 | 0.0011443 | 0.0011443 | 0.98572 | -0.27498 | 0.9857 | -0.27538 | 0.31436
11 | -0.0026747 | -0.00067036 | 0.0026748 | 0.00067028 | 5.1302e-08 | -7.517e-08 | 0.004028 | 0.004028 | 0.004028 | 0.98809 | -0.22823 | 0.98811 | -0.22782 | 1.1066
12 | -0.0054117 | -0.0013562 | 0.0054121 | 0.0013563 | 4.1547e-07 | 5.2196e-08 | 0.0081495 | 0.0081494 | 0.0081495 | 0.98811 | -0.22782 | 0.9882 | -0.22621 | 2.2389
13 | -0.0071496 | -0.0017917 | 0.0071496 | 0.0017917 | 5.3549e-08 | 1.8487e-08 | 0.010766 | 0.010766 | 0.010766 | 0.9882 | -0.22621 | 0.9882 | -0.22605 | 2.9576
14 | -0.0094992 | -0.0023806 | 0.0094998 | 0.0023809 | 6.6687e-07 | 3.1543e-07 | 0.014304 | 0.014304 | 0.014304 | 0.9882 | -0.22605 | 0.98828 | -0.22458 | 3.9296
15 | -0.011657 | -0.0029216 | 0.011659 | 0.0029228 | 2.3085e-06 | 1.2213e-06 | 0.017552 | 0.017552 | 0.017552 | 0.98828 | -0.22458 | 0.98849 | -0.22043 | 4.8219
16 | -0.017042 | -0.0042719 | 0.017055 | 0.0042796 | 1.311e-05 | 7.7091e-06 | 0.025655 | 0.025654 | 0.025655 | 0.98849 | -0.22043 | 0.98932 | -0.20429 | 7.048
17 | -0.022567 | -0.005661 | 0.022571 | 0.0056633 | 3.7934e-06 | 2.315e-06 | 0.033945 | 0.033945 | 0.033945 | 0.98932 | -0.20429 | 0.98951 | -0.20077 | 9.3255
18 | -0.0052946 | -0.001327 | 0.005295 | 0.001327 | 3.861e-07 | 3.8906e-08 | 0.0079663 | 0.0079662 | 0.0079663 | 0.98898 | -0.21102 | 0.98906 | -0.20949 | 2.1885
19 | -0.010804 | -0.0027076 | 0.010808 | 0.0027099 | 4.4925e-06 | 2.293e-06 | 0.016254 | 0.016254 | 0.016254 | 0.98906 | -0.20949 | 0.98951 | -0.20077 | 4.4654
20 | 0.0055086 | 0.0013806 | -0.0055085 | -0.0013805 | 1.9052e-07 | 2.7008e-08 | 0.0082876 | 0.0082877 | 0.0082877 | 0.98906 | -0.20949 | 0.98902 | -0.21022 | 2.2768
21 | -0.033379 | -0.0083732 | 0.033386 | 0.0083772 | 6.3841e-06 | 3.999e-06 | 0.050198 | 0.050198 | 0.050198 | 0.98951 | -0.20077 | 0.98971 | -0.19676 | 13.7908
22 | 0.047197 | 0.011899 | -0.047167 | -0.01188 | 3.0271e-05 | 1.9164e-05 | 0.070694 | 0.070694 | 0.070694 | 0.99379 | -0.11789 | 0.9931 | -0.1313 | 19.4213
23 | -0.050178 | -0.012646 | 0.050215 | 0.01267 | 3.6899e-05 | 2.3389e-05 | 0.075157 | 0.075157 | 0.075157 | 0.99379 | -0.11789 | 0.99459 | -0.10253 | 20.6476
24 | 0.044144 | 0.011122 | -0.044093 | -0.01109 | 5.0799e-05 | 3.2111e-05 | 0.066165 | 0.066165 | 0.066165 | 0.9931 | -0.1313 | 0.99185 | -0.15539 | 18.1772
25 | 0.16441 | 0.042077 | -0.16406 | -0.041855 | 0.00034861 | 0.00022232 | 0.24629 | 0.24629 | 0.24629 | 0.99459 | -0.10253 | 0.99229 | -0.14643 | 33.8311
26 | -0.21463 | -0.054746 | 0.21491 | 0.054927 | 0.00028249 | 0.00018042 | 0.32145 | 0.32145 | 0.32145 | 0.99459 | -0.10253 | 0.99602 | -0.075317 | 44.1547
27 | 0.040469 | 0.010182 | -0.040446 | -0.010167 | 2.3592e-05 | 1.4879e-05 | 0.060728 | 0.060728 | 0.060728 | 0.99185 | -0.15539 | 0.99122 | -0.1676 | 16.6835
28 | 0.012761 | 0.0032015 | -0.012755 | -0.0031979 | 6.4425e-06 | 3.5176e-06 | 0.019137 | 0.019138 | 0.019138 | 0.99229 | -0.14643 | 0.99174 | -0.15702 | 5.2576
29 | 0.1513 | 0.038653 | -0.15101 | -0.038466 | 0.00029411 | 0.00018744 | 0.22715 | 0.22715 | 0.22715 | 0.99229 | -0.14643 | 0.99018 | -0.18671 | 31.2024
30 | -0.21491 | -0.054927 | 0.2157 | 0.055429 | 0.00078602 | 0.00050199 | 0.32145 | 0.32145 | 0.32145 | 0.99602 | -0.075317 | 1 | 0 | 44.1547
31 | 0.03894 | 0.0097897 | -0.038886 | -0.0097556 | 5.4136e-05 | 3.4103e-05 | 0.058467 | 0.058467 | 0.058467 | 0.99122 | -0.1676 | 0.98971 | -0.19676 | 16.0625
32 | 0.012755 | 0.0031979 | -0.01275 | -0.0031955 | 4.5493e-06 | 2.4843e-06 | 0.019138 | 0.019138 | 0.019138 | 0.99174 | -0.15702 | 0.99135 | -0.16451 | 5.2576
33 | 0.14016 | 0.035747 | -0.14003 | -0.035664 | 0.00012913 | 8.2248e-05 | 0.21085 | 0.21085 | 0.21085 | 0.99018 | -0.18671 | 0.98918 | -0.20581 | 28.9629
34 | 0.097616 | 0.024871 | -0.097171 | -0.024587 | 0.00044488 | 0.00028399 | 0.1454 | 0.1454 | 0.1454 | 1 | 0 | 0.99502 | -0.094926 | 39.9446
35 | 0.023226 | 0.0058326 | -0.023206 | -0.0058203 | 2.0109e-05 | 1.2281e-05 | 0.034565 | 0.034565 | 0.034565 | 1 | 0 | 0.99905 | -0.018163 | 9.4959
36 | 0.12871 | 0.032828 | -0.12834 | -0.032592 | 0.00037112 | 0.00023617 | 0.19383 | 0.19383 | 0.19383 | 0.98918 | -0.20581 | 0.98607 | -0.26571 | 26.6244
37 | 0.01303 | 0.003267 | -0.013026 | -0.0032648 | 4.0387e-06 | 2.2165e-06 | 0.019486 | 0.019486 | 0.019486 | 0.99502 | -0.094926 | 0.99469 | -0.10143 | 5.3533
38 | 0.084142 | 0.02132 | -0.084015 | -0.02124 | 0.00012679 | 8.087e-05 | 0.12591 | 0.12591 | 0.12591 | 0.99502 | -0.094926 | 0.99339 | -0.12634 | 34.5914
39 | 0.019632 | 0.0049245 | -0.019629 | -0.0049227 | 2.992e-06 | 1.7927e-06 | 0.029241 | 0.029242 | 0.029242 | 0.99905 | -0.018163 | 0.99889 | -0.02136 | 8.0334
40 | -0.013171 | -0.0033008 | 0.013177 | 0.0033044 | 6.3372e-06 | 3.519e-06 | 0.019959 | 0.019959 | 0.019959 | 0.9819 | -0.34657 | 0.98242 | -0.33648 | 5.4833
41 | -0.022427 | -0.0056227 | 0.022439 | 0.00563 | 1.1982e-05 | 7.3175e-06 | 0.03397 | 0.03397 | 0.03397 | 0.98242 | -0.33648 | 0.98299 | -0.32527 | 9.3324
42 | -0.011436 | -0.0028643 | 0.011442 | 0.0028677 | 6.5395e-06 | 3.432e-06 | 0.017223 | 0.017223 | 0.017223 | 0.98797 | -0.23105 | 0.98859 | -0.21904 | 4.7317
43 | 0.0044837 | 0.0011233 | -0.0044826 | -0.0011234 | 1.1248e-06 | -1.2424e-07 | 0.0067487 | 0.006749 | 0.006749 | 0.98859 | -0.21904 | 0.98832 | -0.22431 | 1.8541
44 | -0.018434 | -0.0046195 | 0.018439 | 0.0046226 | 5.1067e-06 | 3.0415e-06 | 0.027746 | 0.027746 | 0.027746 | 0.98859 | -0.21904 | 0.98889 | -0.21323 | 7.6226
45 | -0.02135 | -0.0053521 | 0.02136 | 0.005358 | 9.7429e-06 | 5.9123e-06 | 0.032126 | 0.032126 | 0.032126 | 0.98889 | -0.21323 | 0.98938 | -0.20366 | 8.8259
46 | -0.0071762 | -0.0017984 | 0.0071786 | 0.0017993 | 2.3191e-06 | 8.145e-07 | 0.010842 | 0.010842 | 0.010842 | 0.98489 | -0.29104 | 0.98523 | -0.28426 | 2.9786
47 | -0.016926 | -0.0042422 | 0.016926 | 0.0042423 | 1.2064e-07 | 7.0941e-08 | 0.025564 | 0.025564 | 0.025564 | 0.98523 | -0.28426 | 0.98524 | -0.28411 | 7.023
48 | -0.028045 | -0.0070289 | 0.028072 | 0.0070455 | 2.6712e-05 | 1.659e-05 | 0.042357 | 0.042356 | 0.042357 | 0.98524 | -0.28411 | 0.98627 | -0.26414 | 11.6364
49 | -0.013779 | -0.0034534 | 0.013784 | 0.0034561 | 4.7173e-06 | 2.6574e-06 | 0.020929 | 0.020929 | 0.020929 | 0.97966 | -0.39014 | 0.98002 | -0.38296 | 5.7499
50 | 0.081911 | 0.020712 | -0.08154 | -0.020476 | 0.00037027 | 0.00023617 | 0.12443 | 0.12444 | 0.12444 | 0.98002 | -0.38296 | 0.97519 | -0.47767 | 34.1855
51 | -0.095695 | -0.024168 | 0.09596 | 0.024338 | 0.00026535 | 0.0001694 | 0.14536 | 0.14536 | 0.14536 | 0.98002 | -0.38296 | 0.98299 | -0.32527 | 39.9352
52 | 0.036995 | 0.0092964 | -0.036948 | -0.0092668 | 4.702e-05 | 2.9603e-05 | 0.056459 | 0.056459 | 0.056459 | 0.97519 | -0.47767 | 0.97383 | -0.50433 | 15.5108
53 | 0.044545 | 0.01118 | -0.044507 | -0.011156 | 3.8205e-05 | 2.4176e-05 | 0.067976 | 0.067976 | 0.067976 | 0.97519 | -0.47767 | 0.97427 | -0.49567 | 18.6747
54 | -0.1184 | -0.029968 | 0.11874 | 0.030185 | 0.00033955 | 0.00021696 | 0.17933 | 0.17933 | 0.17933 | 0.98299 | -0.32527 | 0.98607 | -0.26571 | 49.2675
55 | 0.026456 | 0.0066373 | -0.026443 | -0.0066289 | 1.3562e-05 | 8.4048e-06 | 0.040428 | 0.040428 | 0.040428 | 0.97383 | -0.50433 | 0.97329 | -0.51509 | 11.1065
56 | 0.026569 | 0.0066599 | -0.026567 | -0.006659 | 1.5258e-06 | 9.4574e-07 | 0.040579 | 0.040579 | 0.040579 | 0.97427 | -0.49567 | 0.97421 | -0.49687 | 11.1481
57 | 0.014262 | 0.0035762 | -0.014257 | -0.0035731 | 5.3528e-06 | 3.0529e-06 | 0.021806 | 0.021806 | 0.021806 | 0.97329 | -0.51509 | 0.97289 | -0.52297 | 5.9906
58 | 0.012271 | 0.0030761 | -0.012269 | -0.0030748 | 2.442e-06 | 1.3322e-06 | 0.018744 | 0.018744 | 0.018744 | 0.97421 | -0.49687 | 0.974 | -0.50105 | 5.1494
59 | 0.0078742 | 0.0019737 | -0.0078722 | -0.001973 | 1.9662e-06 | 7.6804e-07 | 0.01178 | 0.01178 | 0.01178 | 0.99469 | -0.10143 | 0.99442 | -0.10667 | 3.2362
60 | 0.081595 | 0.020633 | -0.08143 | -0.020528 | 0.00016499 | 0.00010521 | 0.12229 | 0.12229 | 0.12229 | 0.99339 | -0.12634 | 0.99119 | -0.16859 | 33.5957
61 | 0.016114 | 0.0040419 | -0.016111 | -0.00404 | 3.3054e-06 | 1.9153e-06 | 0.024006 | 0.024006 | 0.024006 | 0.99889 | -0.02136 | 0.99866 | -0.025664 | 6.5952
62 | 0.01066 | 0.0026731 | -0.010655 | -0.0026705 | 5.0861e-06 | 2.619e-06 | 0.016287 | 0.016287 | 0.016287 | 0.974 | -0.50105 | 0.97349 | -0.51107 | 4.4744
63 | 0.0016086 | 0.0004017 | -0.0016085 | -0.00040209 | 8.0147e-08 | -3.8927e-07 | 0.002457 | 0.0024572 | 0.0024572 | 0.974 | -0.50105 | 0.97395 | -0.5021 | 0.67505
64 | 0.0016085 | 0.00040209 | -0.0016083 | -0.00040309 | 2.0462e-07 | -9.9339e-07 | 0.0024572 | 0.0024576 | 0.0024576 | 0.97395 | -0.5021 | 0.97381 | -0.50477 | 0.67516
65 | -0.023486 | -0.005891 | 0.023488 | 0.0058922 | 2.0049e-06 | 1.2281e-06 | 0.035324 | 0.035324 | 0.035324 | 0.98938 | -0.20366 | 0.98947 | -0.20187 | 9.7045
66 | -0.025775 | -0.0064653 | 0.025779 | 0.006468 | 4.3406e-06 | 2.679e-06 | 0.038763 | 0.038763 | 0.038763 | 0.98947 | -0.20187 | 0.98966 | -0.19834 | 10.6492
67 | -0.078735 | -0.019809 | 0.078847 | 0.019881 | 0.00011207 | 7.1452e-05 | 0.11841 | 0.11841 | 0.11841 | 0.98966 | -0.19834 | 0.99119 | -0.16859 | 32.5304
68 | 0.052956 | 0.013341 | -0.052891 | -0.0133 | 6.5265e-05 | 4.1418e-05 | 0.079647 | 0.079647 | 0.079647 | 0.98966 | -0.19834 | 0.98832 | -0.22414 | 21.8812
69 | 0.047266 | 0.01189 | -0.047183 | -0.011837 | 8.3643e-05 | 5.2969e-05 | 0.07118 | 0.07118 | 0.07118 | 0.98832 | -0.22414 | 0.98641 | -0.26125 | 19.5549
70 | 0.037782 | 0.009481 | -0.037776 | -0.0094777 | 5.2057e-06 | 3.2771e-06 | 0.056998 | 0.056998 | 0.056998 | 0.98641 | -0.26125 | 0.98627 | -0.26414 | 15.6588
71 | 0.013178 | 0.003305 | -0.013174 | -0.0033026 | 4.2963e-06 | 2.361e-06 | 0.019636 | 0.019637 | 0.019637 | 0.99866 | -0.025664 | 0.99831 | -0.032506 | 5.3946
72 | 0.011404 | 0.002859 | -0.011401 | -0.0028577 | 2.3557e-06 | 1.2235e-06 | 0.016998 | 0.016998 | 0.016998 | 0.99831 | -0.032506 | 0.99808 | -0.036842 | 4.6698
73 | 0.0093698 | 0.0023486 | -0.0093684 | -0.0023479 | 1.4677e-06 | 6.7724e-07 | 0.013969 | 0.013969 | 0.013969 | 0.99808 | -0.036842 | 0.99791 | -0.04013 | 3.8378
74 | 0.00134 | 0.00033582 | -0.00134 | -0.00033585 | 3.0527e-09 | -2.4684e-08 | 0.0019982 | 0.0019982 | 0.0019982 | 0.99791 | -0.04013 | 0.99791 | -0.040178 | 0.54895

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33819 | 0.086133

## res_load
| p_mw | q_mvar
0 | 0.003046 | 0.0007634
1 | 0.0021996 | 0.00055126
2 | 0.0028761 | 0.00072081
3 | 0.00094938 | 0.00023794
4 | 0.00088344 | 0.00022141
5 | 0.0024411 | 0.00061181
6 | 0.00030121 | 7.549e-05
7 | 0.0026747 | 0.00067036
8 | 0.0027369 | 0.00068592
9 | 0.0017375 | 0.00043546
10 | 0.0023495 | 0.00058885
11 | 0.0021573 | 0.00054066
12 | 0.0053829 | 0.0013491
13 | 0.005512 | 0.0013814
14 | 0.0052946 | 0.001327
15 | 0.0029811 | 0.00074713
16 | 0.0030226 | 0.00075754
17 | 0.0036241 | 0.0009083
18 | 0.0015058 | 0.00037739
19 | 0.010849 | 0.0027191
20 | 0.0054999 | 0.0013784
21 | 0.01275 | 0.0031955
22 | 0.011317 | 0.0028363
23 | 0.0035743 | 0.00089579
24 | 0.013171 | 0.0033008
25 | 0.0092503 | 0.0023183
26 | 0.0017888 | 0.00044833
27 | 0.0025078 | 0.0006285
28 | 0.0044826 | 0.0011234
29 | 0.0029109 | 0.00072953
30 | 0.00075799 | 0.00018997
31 | 0.0033507 | 0.00083976
32 | 0.0097474 | 0.0024429
33 | 0.011119 | 0.0027867
34 | 0.013779 | 0.0034534
35 | 0.010492 | 0.0026296
36 | 0.017938 | 0.0044957
37 | 0.0096037 | 0.0024069
38 | 0.01218 | 0.0030527
39 | 0.014296 | 0.0035828
40 | 0.0051514 | 0.0012911
41 | 0.0024197 | 0.00060642
42 | 0.0035143 | 0.00088077
43 | 0.014257 | 0.0035731
44 | 0.010655 | 0.0026705
45 | 0.0016083 | 0.00040309
46 | 0.0055085 | 0.0013805
47 | 0.0021265 | 0.00053294
48 | 0.0022867 | 0.0005731
49 | 0.0025831 | 0.00064739
50 | 0.0056241 | 0.0014095
51 | 0.0094013 | 0.0023562
52 | 0.0097046 | 0.0024322
53 | 0.0078722 | 0.001973
54 | 0.0029329 | 0.00073506
55 | 0.0017702 | 0.00044364
56 | 0.0020316 | 0.00050916
57 | 0.0080283 | 0.0020121
58 | 0.00134 | 0.00033585

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1