## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_138-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_138-24_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_138-24_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_138-24_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_138-24_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_138-24_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_138-24_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_138-24_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_138-24_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_138-24_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_138-24_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_138-24_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_138-24_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_138-24_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_138-24_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_138-24_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_138-24_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_138-24_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_138-24_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_138-24_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_138-24_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_138-24_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_138-24_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_138-24_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_138-24_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_138-24_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_138-24_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_138-24_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_138-24_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_138-24_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_138-24_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_138-24_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_138-24_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_138-24_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_138-24_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_138-24_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_MV_222_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-24_0_4_load_0 | 0 | 0.018966 | 0.0047533 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-24_0_4_load_3 | 3 | 0.020329 | 0.005095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-24_0_4_load_6 | 6 | 0.006126 | 0.0015353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-24_0_4_load_16 | 7 | 0.0016919 | 0.00042403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-24_0_4_load_14 | 8 | 0.051818 | 0.012987 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-24_0_4_load_12 | 9 | 0.018306 | 0.0045878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-24_0_4_load_25 | 10 | 0.00565 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-24_0_4_load_15 | 11 | 0.032083 | 0.0080409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-24_0_4_load_13 | 12 | 0.026497 | 0.0066407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-24_0_4_load_7 | 13 | 0.019067 | 0.0047787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-24_0_4_load_8 | 14 | 0.016198 | 0.0040596 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-24_0_4_load_9 | 15 | 0.013168 | 0.0033001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-24_0_4_load_11 | 17 | 0.082372 | 0.020644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-24_0_4_load_21 | 19 | 0.011874 | 0.0029758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-24_0_4_load_24 | 21 | 0.088183 | 0.022101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-24_0_4_load_23 | 22 | 0.0018065 | 0.00045274 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-24_0_4_load_39 | 23 | 0.0020925 | 0.00052442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-24_0_4_load_40 | 24 | 0.0041317 | 0.0010355 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-24_0_4_load_17 | 25 | 0.039198 | 0.009824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-24_0_4_load_22 | 28 | 0.0015072 | 0.00037775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-24_0_4_load_31 | 29 | 0.00045919 | 0.00011508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-24_0_4_load_30 | 30 | 0.00097763 | 0.00024502 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-24_0_4_load_26 | 31 | 0.0065562 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-24_0_4_load_28 | 33 | 0.0020305 | 0.0005089 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-24_0_4_load_37 | 34 | 0.0011535 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-24_0_4_load_36 | 35 | 0.00049805 | 0.00012482 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-24_0_4_load_29 | 36 | 0.00091879 | 0.00023027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-24_0_4_load_34 | 37 | 0.0011212 | 0.00028099 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-24_0_4_load_33 | 38 | 0.00094043 | 0.00023569 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-24_0_4_line_0 |  | 0 | 1 | 0.030402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-24_0_4_line_1 |  | 1 | 2 | 0.030781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-24_0_4_line_2 |  | 2 | 3 | 0.072379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-24_0_4_line_3 |  | 3 | 4 | 0.10654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-24_0_4_line_4 |  | 4 | 5 | 0.038914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_138-24_0_4_line_5 |  | 4 | 6 | 0.0071332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_138-24_0_4_line_6 |  | 5 | 7 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_138-24_0_4_line_7 |  | 5 | 8 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-24_0_4_line_8 |  | 6 | 9 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_138-24_0_4_line_9 |  | 7 | 10 | 0.044057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_138-24_0_4_line_10 |  | 8 | 11 | 0.053666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-24_0_4_line_11 |  | 9 | 12 | 0.046133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_138-24_0_4_line_12 |  | 12 | 17 | 0.024262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_138-24_0_4_line_13 |  | 13 | 14 | 0.0084784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_138-24_0_4_line_14 |  | 13 | 15 | 0.034318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_138-24_0_4_line_15 |  | 14 | 16 | 0.030023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_138-24_0_4_line_16 |  | 15 | 17 | 0.032767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_138-24_0_4_line_17 |  | 16 | 18 | 0.057297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_138-24_0_4_line_18 |  | 16 | 19 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-24_0_4_line_19 |  | 17 | 20 | 0.056584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-24_0_4_line_20 |  | 18 | 21 | 0.051876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_138-24_0_4_line_21 |  | 19 | 22 | 0.062633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-24_0_4_line_22 |  | 20 | 23 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-24_0_4_line_23 |  | 21 | 27 | 0.02909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-24_0_4_line_24 |  | 22 | 28 | 0.028705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-24_0_4_line_25 |  | 23 | 24 | 0.10565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-24_0_4_line_26 |  | 25 | 26 | 0.01769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-24_0_4_line_27 |  | 26 | 27 | 0.030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-24_0_4_line_28 |  | 28 | 29 | 0.099055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-24_0_4_line_29 |  | 29 | 30 | 0.062033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-24_0_4_line_30 |  | 30 | 34 | 0.10884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_138-24_0_4_line_31 |  | 30 | 36 | 0.0064105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-24_0_4_line_32 |  | 31 | 32 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-24_0_4_line_33 |  | 32 | 33 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-24_0_4_line_34 |  | 33 | 36 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-24_0_4_line_35 |  | 34 | 35 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-24_0_4_line_36 |  | 35 | 39 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-24_0_4_line_37 |  | 37 | 38 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-24_0_4_line_38 |  | 38 | 39 | 0.0369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-24_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 40 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2694281.1706 | 1227270.9408 | 2694255.9547 | 1227287.9242
1 | 2694281.1706 | 1227270.9408 | 2694289.3459 | 1227251.5454 | 2694298.1961 | 1227247.4271
2 | 2694298.1961 | 1227247.4271 | 2694298.6693 | 1227240.5297 | 2694283.7979 | 1227218.5339 | 2694273.8681 | 1227208.5139 | 2694250.8021 | 1227217.6439
3 | 2694177.2013 | 1227181.3416 | 2694184.4114 | 1227183.1459 | 2694215.3188 | 1227165.1668 | 2694250.8021 | 1227217.6439
4 | 2694177.2013 | 1227181.3416 | 2694181.1004 | 1227197.8929 | 2694179.4236 | 1227209.9638 | 2694173.4877 | 1227217.6753
5 | 2694177.2013 | 1227181.3416 | 2694174.0854 | 1227174.9248
6 | 2694173.4877 | 1227217.6753 | 2694155.6279 | 1227220.6604
7 | 2694173.4877 | 1227217.6753 | 2694180.2785 | 1227223.9428 | 2694180.7319 | 1227235.0357 | 2694171.4253 | 1227247.8753
8 | 2694174.0854 | 1227174.9248 | 2694169.1268 | 1227164.713 | 2694163.736 | 1227156.6858
9 | 2694112.1733 | 1227227.9233 | 2694155.6279 | 1227220.6604
10 | 2694124.8686 | 1227274.5673 | 2694171.4253 | 1227247.8753 | 2694171.4253 | 1227247.8753
11 | 2694129.1489 | 1227129.6954 | 2694135.0365 | 1227129.9934 | 2694152.6131 | 1227140.1231 | 2694163.736 | 1227156.6858
12 | 2694129.1489 | 1227129.6954 | 2694114.572 | 1227128.9578 | 2694105.2362 | 1227131.4654
13 | 2694043.868 | 1227158.2278 | 2694043.5679 | 1227158.4006 | 2694037.3236 | 1227163.6101
14 | 2694043.868 | 1227158.2278 | 2694055.2257 | 1227151.6912 | 2694074.8053 | 1227143.5269
15 | 2694024.2642 | 1227189.8957 | 2694027.3087 | 1227178.0799 | 2694033.7974 | 1227166.552 | 2694037.3236 | 1227163.6101
16 | 2694105.2362 | 1227131.4654 | 2694101.007 | 1227132.6014 | 2694074.8053 | 1227143.5269
17 | 2694024.2642 | 1227189.8957 | 2694025.5942 | 1227203.5709 | 2694042.8422 | 1227243.5831
18 | 2694024.2642 | 1227189.8957 | 2694014.7295 | 1227190.3343 | 2694008.5589 | 1227189.4139
19 | 2694105.2362 | 1227131.4654 | 2694096.718 | 1227075.5263
20 | 2694042.8422 | 1227243.5831 | 2694004.8526 | 1227263.2301 | 2693997.3648 | 1227268.4139
21 | 2693963.7357 | 1227159.8697 | 2693979.2175 | 1227154.8814 | 2693984.1532 | 1227159.1179 | 2693988.5572 | 1227166.7818 | 2693993.8841 | 1227176.0059 | 2693998.3049 | 1227182.6026 | 2694003.1194 | 1227186.8372 | 2694008.5589 | 1227189.4139
22 | 2694095.9706 | 1227040.8453 | 2694096.718 | 1227075.5263
23 | 2693973.4473 | 1227284.9717 | 2693997.3648 | 1227268.4139
24 | 2693963.7357 | 1227159.8697 | 2693963.0659 | 1227160.0856 | 2693957.0777 | 1227162.4927 | 2693943.5366 | 1227179.2537
25 | 2694095.9706 | 1227040.8453 | 2694062.0868 | 1226940.7717
26 | 2693993.8925 | 1227308.2891 | 2694005.7879 | 1227321.3821
27 | 2693973.4473 | 1227284.9717 | 2693977.3106 | 1227288.9578 | 2693993.8925 | 1227308.2891
28 | 2693943.5366 | 1227179.2537 | 2693845.1007 | 1227190.307
29 | 2693830.1014 | 1227130.5037 | 2693832.6894 | 1227133.8651 | 2693845.1007 | 1227190.307
30 | 2693938.5676 | 1227139.473 | 2693830.1014 | 1227130.5037
31 | 2693826.1907 | 1227125.4243 | 2693830.1014 | 1227130.5037
32 | 2693808.3118 | 1227102.2026 | 2693783.8802 | 1227110.946
33 | 2693808.3118 | 1227102.2026 | 2693816.9276 | 1227113.3932
34 | 2693816.9276 | 1227113.3932 | 2693826.1907 | 1227125.4243
35 | 2693938.5676 | 1227139.473 | 2693950.3878 | 1227134.2323
36 | 2693962.7348 | 1227128.758 | 2693950.3878 | 1227134.2323
37 | 2693946.0973 | 1227095.822 | 2693941.4311 | 1227086.5848
38 | 2693962.7348 | 1227128.758 | 2693946.0973 | 1227095.822

## bus_geodata
| x | y | coords
0 | 2694255.9547 | 1227287.9242
1 | 2694281.1706 | 1227270.9408
2 | 2694298.1961 | 1227247.4271
3 | 2694250.8021 | 1227217.6439
4 | 2694177.2013 | 1227181.3416
5 | 2694173.4877 | 1227217.6753
6 | 2694174.0854 | 1227174.9248
7 | 2694155.6279 | 1227220.6604
8 | 2694171.4253 | 1227247.8753
9 | 2694163.736 | 1227156.6858
10 | 2694112.1733 | 1227227.9233
11 | 2694124.8686 | 1227274.5673
12 | 2694129.1489 | 1227129.6954
13 | 2694043.868 | 1227158.2278
14 | 2694037.3236 | 1227163.6101
15 | 2694074.8053 | 1227143.5269
16 | 2694024.2642 | 1227189.8957
17 | 2694105.2362 | 1227131.4654
18 | 2694042.8422 | 1227243.5831
19 | 2694008.5589 | 1227189.4139
20 | 2694096.718 | 1227075.5263
21 | 2693997.3648 | 1227268.4139
22 | 2693963.7357 | 1227159.8697
23 | 2694095.9706 | 1227040.8453
24 | 2694062.0868 | 1226940.7717
25 | 2694005.7879 | 1227321.3821
26 | 2693993.8925 | 1227308.2891
27 | 2693973.4473 | 1227284.9717
28 | 2693943.5366 | 1227179.2537
29 | 2693845.1007 | 1227190.307
30 | 2693830.1014 | 1227130.5037
31 | 2693783.8802 | 1227110.946
32 | 2693808.3118 | 1227102.2026
33 | 2693816.9276 | 1227113.3932
34 | 2693938.5676 | 1227139.473
35 | 2693950.3878 | 1227134.2323
36 | 2693826.1907 | 1227125.4243
37 | 2693941.4311 | 1227086.5848
38 | 2693946.0973 | 1227095.822
39 | 2693962.7348 | 1227128.758
40 | 2694064.4822 | 1227238.2519

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98359 | -0.31473 | 0.018966 | 0.0047533
1 | 0.98412 | -0.30435 | 0 | 0
2 | 0.98466 | -0.29384 | 0 | 0
3 | 0.98592 | -0.26919 | 0.020329 | 0.005095
4 | 0.98978 | -0.19441 | 0 | 0
5 | 0.99325 | -0.12808 | 0 | 0
6 | 0.98921 | -0.20537 | 0.006126 | 0.0015353
7 | 0.99521 | -0.090692 | 0.0016919 | 0.00042403
8 | 0.99046 | -0.1819 | 0.051818 | 0.012987
9 | 0.98755 | -0.23717 | 0.018306 | 0.0045878
10 | 1 | 0 | -0.47999 | -0.12307
11 | 0.98888 | -0.21254 | 0.032083 | 0.0080409
12 | 0.98412 | -0.30352 | 0.026497 | 0.0066407
13 | 0.97936 | -0.39615 | 0.019067 | 0.0047787
14 | 0.97902 | -0.40283 | 0.016198 | 0.0040596
15 | 0.9809 | -0.36618 | 0.013168 | 0.0033001
16 | 0.97792 | -0.42432 | 0 | 0
17 | 0.98246 | -0.3357 | 0.082372 | 0.020644
18 | 0.97622 | -0.45763 | 0 | 0
19 | 0.97748 | -0.43291 | 0.011874 | 0.0029758
20 | 0.98214 | -0.34207 | 0 | 0
21 | 0.97417 | -0.498 | 0.088183 | 0.022101
22 | 0.97643 | -0.45348 | 0.0018065 | 0.00045274
23 | 0.98194 | -0.34597 | 0.0020925 | 0.00052442
24 | 0.98154 | -0.35387 | 0.0041317 | 0.0010355
25 | 0.97132 | -0.55415 | 0.039198 | 0.009824
26 | 0.97197 | -0.54135 | 0 | 0
27 | 0.9731 | -0.51897 | 0 | 0
28 | 0.976 | -0.46197 | 0.0015072 | 0.00037775
29 | 0.97465 | -0.48859 | 0.00045919 | 0.00011508
30 | 0.97383 | -0.50477 | 0.00097763 | 0.00024502
31 | 0.97341 | -0.51312 | 0.0065562 | 0.0016431
32 | 0.97356 | -0.50999 | 0 | 0
33 | 0.97365 | -0.50829 | 0.0020305 | 0.0005089
34 | 0.97345 | -0.51221 | 0.0011535 | 0.00028908
35 | 0.97342 | -0.51282 | 0.00049805 | 0.00012482
36 | 0.97377 | -0.50589 | 0.00091879 | 0.00023027
37 | 0.97331 | -0.51495 | 0.0011212 | 0.00028099
38 | 0.97333 | -0.51473 | 0.00094043 | 0.00023569
39 | 0.9734 | -0.51333 | 0 | 0
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018966 | -0.0047533 | 0.018975 | 0.0047589 | 9.3857e-06 | 5.6208e-06 | 0.028693 | 0.028692 | 0.028693 | 0.98359 | -0.31473 | 0.98412 | -0.30435 | 7.8826
1 | -0.018975 | -0.0047589 | 0.018985 | 0.0047646 | 9.5027e-06 | 5.6904e-06 | 0.028692 | 0.028692 | 0.028692 | 0.98412 | -0.30435 | 0.98466 | -0.29384 | 7.8825
2 | -0.018985 | -0.0047646 | 0.019007 | 0.004778 | 2.2344e-05 | 1.3379e-05 | 0.028692 | 0.028692 | 0.028692 | 0.98466 | -0.29384 | 0.98592 | -0.26919 | 7.8825
3 | -0.039336 | -0.009873 | 0.039477 | 0.0099618 | 0.00014084 | 8.8773e-05 | 0.059374 | 0.059374 | 0.059374 | 0.98592 | -0.26919 | 0.98978 | -0.19441 | 16.3116
4 | -0.38828 | -0.098767 | 0.38953 | 0.099562 | 0.0012453 | 0.000795 | 0.58426 | 0.58426 | 0.58426 | 0.98978 | -0.19441 | 0.99325 | -0.12808 | 40.1275
5 | 0.34881 | 0.088805 | -0.34862 | -0.088687 | 0.00018424 | 0.00011755 | 0.52488 | 0.52488 | 0.52488 | 0.98978 | -0.19441 | 0.98921 | -0.20537 | 36.0497
6 | -0.47369 | -0.12076 | 0.47455 | 0.1213 | 0.00085667 | 0.00054733 | 0.71038 | 0.71038 | 0.71038 | 0.99325 | -0.12808 | 0.99521 | -0.090692 | 48.7899
7 | 0.084164 | 0.021195 | -0.083948 | -0.021057 | 0.00021595 | 0.00013774 | 0.12612 | 0.12613 | 0.12613 | 0.99325 | -0.12808 | 0.99046 | -0.1819 | 34.6498
8 | 0.34249 | 0.087152 | -0.34197 | -0.086818 | 0.00052405 | 0.00033432 | 0.51567 | 0.51567 | 0.51567 | 0.98921 | -0.20537 | 0.98755 | -0.23717 | 35.4168
9 | -0.47624 | -0.12173 | 0.47834 | 0.12307 | 0.0020992 | 0.0013412 | 0.71291 | 0.71291 | 0.71291 | 0.99521 | -0.090692 | 1 | 0 | 48.9636
10 | 0.03213 | 0.0080702 | -0.032083 | -0.0080409 | 4.6904e-05 | 2.9329e-05 | 0.048277 | 0.048277 | 0.048277 | 0.99046 | -0.1819 | 0.98888 | -0.21254 | 13.263
11 | 0.32367 | 0.08223 | -0.32263 | -0.081573 | 0.0010303 | 0.00065706 | 0.48809 | 0.48809 | 0.48809 | 0.98755 | -0.23717 | 0.98412 | -0.30352 | 33.5225
12 | 0.29614 | 0.074932 | -0.29568 | -0.074641 | 0.00045657 | 0.00029097 | 0.44802 | 0.44802 | 0.44802 | 0.98412 | -0.30352 | 0.98246 | -0.3357 | 30.7709
13 | 0.17427 | 0.04399 | -0.17421 | -0.043954 | 5.5772e-05 | 3.5267e-05 | 0.26489 | 0.26489 | 0.26489 | 0.97936 | -0.39615 | 0.97902 | -0.40283 | 18.1929
14 | -0.19333 | -0.048768 | 0.19361 | 0.048944 | 0.00027782 | 0.00017608 | 0.29386 | 0.29386 | 0.29386 | 0.97936 | -0.39615 | 0.9809 | -0.36618 | 20.1826
15 | 0.15801 | 0.039895 | -0.15785 | -0.039792 | 0.00016249 | 0.00010248 | 0.24027 | 0.24027 | 0.24027 | 0.97902 | -0.40283 | 0.97792 | -0.42432 | 16.502
16 | -0.20678 | -0.052244 | 0.20708 | 0.052436 | 0.00030256 | 0.00019198 | 0.31383 | 0.31383 | 0.31383 | 0.9809 | -0.36618 | 0.98246 | -0.3357 | 21.5545
17 | 0.12794 | 0.032274 | -0.12773 | -0.032147 | 0.00020372 | 0.00012751 | 0.19475 | 0.19475 | 0.19475 | 0.97792 | -0.42432 | 0.97622 | -0.45763 | 13.3754
18 | 0.029914 | 0.0075182 | -0.029901 | -0.0075105 | 1.2267e-05 | 7.6528e-06 | 0.045525 | 0.045525 | 0.045525 | 0.97792 | -0.42432 | 0.97748 | -0.43291 | 12.5068
19 | 0.0062288 | 0.0015604 | -0.0062269 | -0.0015599 | 1.8884e-06 | 4.9229e-07 | 0.0094337 | 0.0094339 | 0.0094339 | 0.98246 | -0.3357 | 0.98214 | -0.34207 | 2.5917
20 | 0.12773 | 0.032147 | -0.12749 | -0.031991 | 0.00024593 | 0.00015546 | 0.19475 | 0.19475 | 0.19475 | 0.97622 | -0.45763 | 0.97417 | -0.498 | 17.834
21 | 0.018028 | 0.0045347 | -0.01801 | -0.0045242 | 1.7697e-05 | 1.0542e-05 | 0.027449 | 0.02745 | 0.02745 | 0.97748 | -0.43291 | 0.97643 | -0.45348 | 7.5411
22 | 0.0062269 | 0.0015599 | -0.0062257 | -0.0015596 | 1.158e-06 | 3.0212e-07 | 0.0094339 | 0.0094341 | 0.0094341 | 0.98214 | -0.34207 | 0.98194 | -0.34597 | 2.5918
23 | 0.039303 | 0.0098904 | -0.039264 | -0.0098655 | 3.9336e-05 | 2.4813e-05 | 0.06005 | 0.06005 | 0.06005 | 0.97417 | -0.498 | 0.9731 | -0.51897 | 16.4972
24 | 0.016203 | 0.0040714 | -0.016197 | -0.0040676 | 6.5655e-06 | 3.8431e-06 | 0.024697 | 0.024697 | 0.024697 | 0.97643 | -0.45348 | 0.976 | -0.46197 | 6.7848
25 | 0.0041333 | 0.0010352 | -0.0041317 | -0.0010355 | 1.5543e-06 | -3.4117e-07 | 0.0062632 | 0.0062637 | 0.0062637 | 0.98194 | -0.34597 | 0.98154 | -0.35387 | 1.7208
26 | -0.039198 | -0.009824 | 0.039222 | 0.0098391 | 2.3921e-05 | 1.509e-05 | 0.06005 | 0.06005 | 0.06005 | 0.97132 | -0.55415 | 0.97197 | -0.54135 | 16.4972
27 | -0.039222 | -0.0098391 | 0.039264 | 0.0098655 | 4.1894e-05 | 2.6428e-05 | 0.06005 | 0.06005 | 0.06005 | 0.97197 | -0.54135 | 0.9731 | -0.51897 | 16.4972
28 | 0.01469 | 0.0036898 | -0.014671 | -0.0036791 | 1.8637e-05 | 1.0691e-05 | 0.022399 | 0.022399 | 0.022399 | 0.976 | -0.46197 | 0.97465 | -0.48859 | 6.1537
29 | 0.014212 | 0.0035641 | -0.014201 | -0.0035578 | 1.0952e-05 | 6.2371e-06 | 0.021698 | 0.021699 | 0.021699 | 0.97465 | -0.48859 | 0.97383 | -0.50477 | 5.9611
30 | 0.0037147 | 0.00092934 | -0.0037134 | -0.00092985 | 1.3148e-06 | -5.1212e-07 | 0.0056755 | 0.005676 | 0.005676 | 0.97383 | -0.50477 | 0.97345 | -0.51221 | 1.5593
31 | 0.0095086 | 0.0023835 | -0.009508 | -0.0023832 | 5.0747e-07 | 2.4503e-07 | 0.014529 | 0.014529 | 0.014529 | 0.97383 | -0.50477 | 0.97377 | -0.50589 | 3.9916
32 | -0.0065562 | -0.0016431 | 0.0065572 | 0.0016435 | 9.7742e-07 | 3.0293e-07 | 0.010022 | 0.010022 | 0.010022 | 0.97341 | -0.51312 | 0.97356 | -0.50999 | 2.7534
33 | -0.0065572 | -0.0016435 | 0.0065577 | 0.0016436 | 5.3197e-07 | 1.6482e-07 | 0.010022 | 0.010022 | 0.010022 | 0.97356 | -0.50999 | 0.97365 | -0.50829 | 2.7534
34 | -0.0085883 | -0.0021525 | 0.0085893 | 0.002153 | 9.8093e-07 | 4.3893e-07 | 0.013125 | 0.013125 | 0.013125 | 0.97365 | -0.50829 | 0.97377 | -0.50589 | 3.6059
35 | 0.0025599 | 0.00064077 | -0.0025599 | -0.00064088 | 7.4235e-08 | -1.1323e-07 | 0.0039128 | 0.0039129 | 0.0039129 | 0.97345 | -0.51221 | 0.97342 | -0.51282 | 1.075
36 | 0.0020618 | 0.00051606 | -0.0020618 | -0.00051619 | 5.0305e-08 | -1.357e-07 | 0.0031515 | 0.0031516 | 0.0031516 | 0.97342 | -0.51282 | 0.9734 | -0.51333 | 0.86582
37 | -0.0011212 | -0.00028099 | 0.0011212 | 0.00028087 | 1.1402e-08 | -1.2132e-07 | 0.0017141 | 0.001714 | 0.0017141 | 0.97331 | -0.51495 | 0.97333 | -0.51473 | 0.4709
38 | -0.0020616 | -0.00051656 | 0.0020618 | 0.00051619 | 1.3745e-07 | -3.7068e-07 | 0.0031517 | 0.0031516 | 0.0031517 | 0.97333 | -0.51473 | 0.9734 | -0.51333 | 0.86586

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48564 | 0.12449

## res_load
| p_mw | q_mvar
0 | 0.018966 | 0.0047533
1 | 0.020329 | 0.005095
2 | 0.006126 | 0.0015353
3 | 0.0016919 | 0.00042403
4 | 0.051818 | 0.012987
5 | 0.018306 | 0.0045878
6 | 0.00565 | 0.001416
7 | 0.032083 | 0.0080409
8 | 0.026497 | 0.0066407
9 | 0.019067 | 0.0047787
10 | 0.016198 | 0.0040596
11 | 0.013168 | 0.0033001
12 | 0.082372 | 0.020644
13 | 0.011874 | 0.0029758
14 | 0.088183 | 0.022101
15 | 0.0018065 | 0.00045274
16 | 0.0020925 | 0.00052442
17 | 0.0041317 | 0.0010355
18 | 0.039198 | 0.009824
19 | 0.0015072 | 0.00037775
20 | 0.00045919 | 0.00011508
21 | 0.00097763 | 0.00024502
22 | 0.0065562 | 0.0016431
23 | 0.0020305 | 0.0005089
24 | 0.0011535 | 0.00028908
25 | 0.00049805 | 0.00012482
26 | 0.00091879 | 0.00023027
27 | 0.0011212 | 0.00028099
28 | 0.00094043 | 0.00023569

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1