## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_138-27_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_138-27_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_138-27_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_138-27_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_138-27_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_138-27_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_138-27_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_138-27_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_138-27_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_138-27_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_138-27_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_138-27_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_138-27_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_138-27_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_138-27_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_138-27_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_138-27_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_138-27_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_138-27_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_138-27_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_138-27_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_138-27_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_138-27_0_4_node_122 | 0.4 | n |  | TRUE
27 | bus_LV_138-27_0_4_node_120 | 0.4 | n |  | TRUE
28 | bus_LV_138-27_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_138-27_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_138-27_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_138-27_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_138-27_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_138-27_0_4_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_138-27_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_138-27_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_138-27_0_4_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_138-27_0_4_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_138-27_0_4_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_138-27_0_4_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_138-27_0_4_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_138-27_0_4_node_121 | 0.4 | n |  | TRUE
42 | bus_MV_222_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-27_0_4_load_0 | 0 | 0.010162 | 0.0025469 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-27_0_4_load_2 | 2 | 0.0076965 | 0.0019289 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-27_0_4_load_5 | 5 | 0.0022097 | 0.00055381 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-27_0_4_load_34 | 6 | 0.0069901 | 0.0017519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-27_0_4_load_6 | 8 | 0.0057897 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-27_0_4_load_8 | 10 | 0.0022113 | 0.0005542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-27_0_4_load_10 | 11 | 0.023145 | 0.0058006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-27_0_4_load_12 | 12 | 0.0085999 | 0.0021554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-27_0_4_load_13 | 13 | 0.020501 | 0.0051381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-27_0_4_load_14 | 14 | 0.0079211 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-27_0_4_load_39 | 15 | 0.0053985 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-27_0_4_load_15 | 16 | 0.0086 | 0.0021554 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-27_0_4_load_16 | 17 | 0.0044569 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-27_0_4_load_17 | 18 | 0.0030605 | 0.00076704 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-27_0_4_load_24 | 19 | 0.0075815 | 0.0019001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-27_0_4_load_18 | 21 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-27_0_4_load_21 | 25 | 0.018631 | 0.0046693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-27_0_4_load_122 | 26 | 0.034731 | 0.0087044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-27_0_4_load_120 | 27 | 0.061635 | 0.015447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-27_0_4_load_32 | 28 | 0.0044969 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-27_0_4_load_33 | 29 | 0.020498 | 0.0051372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-27_0_4_load_35 | 30 | 0.0034836 | 0.00087308 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-27_0_4_load_36 | 31 | 0.0028898 | 0.00072426 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-27_0_4_load_37 | 32 | 0.0030839 | 0.0007729 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-27_0_4_load_79 | 33 | 0.004235 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-27_0_4_load_80 | 34 | 0.0071836 | 0.0018004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-27_0_4_load_82 | 36 | 0.0080682 | 0.0020221 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-27_0_4_load_118 | 37 | 0.0079487 | 0.0019921 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-27_0_4_load_97 | 38 | 0.0030582 | 0.00076646 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-27_0_4_load_98 | 39 | 0.0034923 | 0.00087525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-27_0_4_load_119 | 40 | 0.023564 | 0.0059058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-27_0_4_load_121 | 41 | 0.030521 | 0.0076493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-27_0_4_line_0 |  | 0 | 1 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-27_0_4_line_1 |  | 1 | 2 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-27_0_4_line_2 |  | 2 | 3 | 0.046904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-27_0_4_line_3 |  | 3 | 4 | 0.034731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-27_0_4_line_4 |  | 3 | 5 | 0.0041431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-27_0_4_line_5 |  | 4 | 6 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-27_0_4_line_6 |  | 5 | 7 | 0.03558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-27_0_4_line_7 |  | 6 | 29 | 0.0076017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-27_0_4_line_8 |  | 7 | 9 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-27_0_4_line_9 |  | 8 | 9 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-27_0_4_line_10 |  | 8 | 10 | 7.243e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-27_0_4_line_11 |  | 9 | 11 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-27_0_4_line_12 |  | 12 | 13 | 0.00053626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-27_0_4_line_13 |  | 12 | 14 | 0.031095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-27_0_4_line_14 |  | 12 | 15 | 0.071616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-27_0_4_line_15 |  | 13 | 16 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_138-27_0_4_line_16 |  | 14 | 17 | 0.01107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-27_0_4_line_17 |  | 15 | 32 | 0.0070046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-27_0_4_line_18 |  | 16 | 18 | 0.027027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_138-27_0_4_line_19 |  | 17 | 19 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-27_0_4_line_20 |  | 18 | 20 | 0.017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_138-27_0_4_line_21 |  | 19 | 28 | 0.0037625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-27_0_4_line_22 |  | 20 | 24 | 0.032743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_138-27_0_4_line_23 |  | 21 | 22 | 0.030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-27_0_4_line_24 |  | 21 | 23 | 0.02717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-27_0_4_line_25 |  | 22 | 24 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-27_0_4_line_26 |  | 23 | 25 | 0.044119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-27_0_4_line_27 |  | 24 | 26 | 0.036866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-27_0_4_line_28 |  | 24 | 27 | 0.046125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_138-27_0_4_line_29 |  | 27 | 37 | 0.043678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-27_0_4_line_30 |  | 28 | 29 | 0.024321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_138-27_0_4_line_31 |  | 30 | 31 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-27_0_4_line_32 |  | 31 | 32 | 0.0082051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-27_0_4_line_33 |  | 33 | 34 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-27_0_4_line_34 |  | 33 | 35 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-27_0_4_line_35 |  | 35 | 36 | 0.03651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-27_0_4_line_36 |  | 35 | 37 | 0.060706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-27_0_4_line_37 |  | 36 | 38 | 0.026799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-27_0_4_line_38 |  | 37 | 40 | 0.028075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-27_0_4_line_39 |  | 38 | 39 | 0.001654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-27_0_4_line_40 |  | 40 | 41 | 0.019475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-27_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 42 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2696386.8495 | 1228950.1765 | 2696385.9339 | 1228965.9922
1 | 2696386.8495 | 1228950.1765 | 2696367.9268 | 1228945.5522
2 | 2696323.28 | 1228931.967 | 2696333.147 | 1228937.0527 | 2696367.9268 | 1228945.5522
3 | 2696323.28 | 1228931.967 | 2696353.197 | 1228914.1831
4 | 2696323.28 | 1228931.967 | 2696319.6776 | 1228934.0135
5 | 2696353.197 | 1228914.1831 | 2696343.3129 | 1228899.8339
6 | 2696288.7413 | 1228951.5886 | 2696319.6776 | 1228934.0135
7 | 2696339.0006 | 1228893.5737 | 2696343.3129 | 1228899.8339
8 | 2696277.2207 | 1228933.9672 | 2696282.5891 | 1228939.3691 | 2696288.7413 | 1228951.5886
9 | 2696277.2207 | 1228933.9672 | 2696290.2865 | 1228925.8786
10 | 2696290.3481 | 1228925.8405 | 2696290.2865 | 1228925.8786
11 | 2696277.2207 | 1228933.9672 | 2696275.3417 | 1228932.0799 | 2696267.0411 | 1228926.6528
12 | 2696367.8244 | 1228836.2017 | 2696367.3776 | 1228836.4982
13 | 2696367.3776 | 1228836.4982 | 2696341.4702 | 1228853.6937
14 | 2696325.9249 | 1228778.0987 | 2696367.3776 | 1228836.4982
15 | 2696367.8244 | 1228836.2017 | 2696384.1754 | 1228825.3491
16 | 2696332.2467 | 1228859.8157 | 2696341.4702 | 1228853.6937
17 | 2696325.9249 | 1228778.0987 | 2696319.5978 | 1228781.1042
18 | 2696406.6935 | 1228810.4031 | 2696384.1754 | 1228825.3491
19 | 2696332.2467 | 1228859.8157 | 2696332.2467 | 1228859.8157 | 2696326.9214 | 1228870.1971
20 | 2696422.2034 | 1228802.7652 | 2696408.7955 | 1228809.008 | 2696406.6935 | 1228810.4031
21 | 2696325.2042 | 1228873.5449 | 2696326.9214 | 1228870.1971
22 | 2696422.2034 | 1228802.7652 | 2696452.9151 | 1228791.177
23 | 2696457.9494 | 1228800.3541 | 2696464.1723 | 1228797.9311 | 2696466.3345 | 1228800.1121 | 2696452.9017 | 1228811.1467 | 2696453.9346 | 1228814.2769
24 | 2696453.9346 | 1228814.2769 | 2696469.2336 | 1228836.7301
25 | 2696452.9151 | 1228791.177 | 2696454.7465 | 1228794.131 | 2696457.9494 | 1228800.3541
26 | 2696469.2336 | 1228836.7301 | 2696442.0805 | 1228858.7946 | 2696435.2208 | 1228864.8221
27 | 2696452.9151 | 1228791.177 | 2696464.6494 | 1228783.9398 | 2696485.2364 | 1228773.3327
28 | 2696452.9151 | 1228791.177 | 2696423.26 | 1228755.8485
29 | 2696423.26 | 1228755.8485 | 2696402.0169 | 1228766.7343 | 2696407.4937 | 1228747.6982
30 | 2696325.2042 | 1228873.5449 | 2696325.2042 | 1228873.5449 | 2696339.0006 | 1228893.5737
31 | 2696287.685 | 1228795.0586 | 2696310.1705 | 1228785.5824 | 2696312.1863 | 1228784.6248
32 | 2696319.5978 | 1228781.1042 | 2696312.1863 | 1228784.6248
33 | 2696356.7147 | 1228709.3083 | 2696348.1798 | 1228715.1531
34 | 2696380.2669 | 1228693.4401 | 2696359.9258 | 1228707.1093 | 2696356.7147 | 1228709.3083
35 | 2696380.2669 | 1228693.4401 | 2696412.2259 | 1228675.7877
36 | 2696380.2669 | 1228693.4401 | 2696407.4937 | 1228747.6982
37 | 2696435.6845 | 1228662.8305 | 2696412.2259 | 1228675.7877
38 | 2696407.4937 | 1228747.6982 | 2696432.1248 | 1228734.2253
39 | 2696435.6845 | 1228662.8305 | 2696437.1324 | 1228662.0308
40 | 2696432.1248 | 1228734.2253 | 2696443.3066 | 1228728.109 | 2696450.029 | 1228728.4329

## bus_geodata
| x | y | coords
0 | 2696385.9339 | 1228965.9922
1 | 2696386.8495 | 1228950.1765
2 | 2696367.9268 | 1228945.5522
3 | 2696323.28 | 1228931.967
4 | 2696353.197 | 1228914.1831
5 | 2696319.6776 | 1228934.0135
6 | 2696343.3129 | 1228899.8339
7 | 2696288.7413 | 1228951.5886
8 | 2696290.2865 | 1228925.8786
9 | 2696277.2207 | 1228933.9672
10 | 2696290.3481 | 1228925.8405
11 | 2696267.0411 | 1228926.6528
12 | 2696367.3776 | 1228836.4982
13 | 2696367.8244 | 1228836.2017
14 | 2696341.4702 | 1228853.6937
15 | 2696325.9249 | 1228778.0987
16 | 2696384.1754 | 1228825.3491
17 | 2696332.2467 | 1228859.8157
18 | 2696406.6935 | 1228810.4032
19 | 2696326.9214 | 1228870.1971
20 | 2696422.2034 | 1228802.7652
21 | 2696453.9346 | 1228814.2769
22 | 2696457.9494 | 1228800.3541
23 | 2696469.2336 | 1228836.7301
24 | 2696452.9151 | 1228791.177
25 | 2696435.2208 | 1228864.8221
26 | 2696485.2364 | 1228773.3327
27 | 2696423.26 | 1228755.8485
28 | 2696325.2042 | 1228873.5449
29 | 2696339.0006 | 1228893.5737
30 | 2696287.685 | 1228795.0586
31 | 2696312.1863 | 1228784.6248
32 | 2696319.5978 | 1228781.1042
33 | 2696356.7147 | 1228709.3083
34 | 2696348.1798 | 1228715.1531
35 | 2696380.2669 | 1228693.4401
36 | 2696412.2259 | 1228675.7877
37 | 2696407.4937 | 1228747.6982
38 | 2696435.6845 | 1228662.8305
39 | 2696437.1324 | 1228662.0308
40 | 2696432.1248 | 1228734.2253
41 | 2696450.029 | 1228728.4329
42 | 2696422.2034 | 1228802.7652

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98579 | -0.27362 | 0.010162 | 0.0025469
1 | 0.98594 | -0.27073 | 0 | 0
2 | 0.98612 | -0.26718 | 0.0076965 | 0.0019289
3 | 0.98689 | -0.25218 | 0 | 0
4 | 0.98853 | -0.2204 | 0 | 0
5 | 0.98676 | -0.25465 | 0.0022097 | 0.00055381
6 | 0.98935 | -0.20449 | 0.0069901 | 0.0017519
7 | 0.98574 | -0.27451 | 0 | 0
8 | 0.98502 | -0.28861 | 0.0057897 | 0.001451
9 | 0.98513 | -0.2864 | 0 | 0
10 | 0.98502 | -0.28862 | 0.0022113 | 0.0005542
11 | 0.98487 | -0.29164 | 0.023145 | 0.0058006
12 | 0.99669 | -0.063235 | 0.0085999 | 0.0021554
13 | 0.99675 | -0.062044 | 0.020501 | 0.0051381
14 | 0.99374 | -0.11969 | 0.0079211 | 0.0019852
15 | 0.99572 | -0.081923 | 0.0053985 | 0.001353
16 | 0.99807 | -0.03675 | 0.0086 | 0.0021554
17 | 0.99278 | -0.13832 | 0.0044569 | 0.001117
18 | 1 | 0 | -0.37614 | -0.095099
19 | 0.9918 | -0.15707 | 0.0075815 | 0.0019001
20 | 0.99829 | -0.032581 | 0 | 0
21 | 0.9939 | -0.11693 | 0.012486 | 0.0031292
22 | 0.99476 | -0.10024 | 0 | 0
23 | 0.99343 | -0.12587 | 0 | 0
24 | 0.99506 | -0.094504 | 0 | 0
25 | 0.99268 | -0.1404 | 0.018631 | 0.0046693
26 | 0.99389 | -0.11707 | 0.034731 | 0.0087044
27 | 0.99189 | -0.15548 | 0.061635 | 0.015447
28 | 0.99152 | -0.16261 | 0.0044969 | 0.001127
29 | 0.98976 | -0.19661 | 0.020498 | 0.0051372
30 | 0.99553 | -0.08564 | 0.0034836 | 0.00087308
31 | 0.99561 | -0.084008 | 0.0028898 | 0.00072426
32 | 0.99566 | -0.083088 | 0.0030839 | 0.0007729
33 | 0.9866 | -0.25793 | 0.004235 | 0.0010614
34 | 0.98654 | -0.25926 | 0.0071836 | 0.0018004
35 | 0.9869 | -0.25212 | 0 | 0
36 | 0.98641 | -0.26168 | 0.0080682 | 0.0020221
37 | 0.98835 | -0.22388 | 0.0079487 | 0.0019921
38 | 0.98625 | -0.26483 | 0.0030582 | 0.00076646
39 | 0.98624 | -0.26493 | 0.0034923 | 0.00087525
40 | 0.98696 | -0.25101 | 0.023564 | 0.0059058
41 | 0.98641 | -0.26165 | 0.030521 | 0.0076493
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010162 | -0.0025469 | 0.010164 | 0.0025476 | 1.3979e-06 | 6.9266e-07 | 0.01534 | 0.01534 | 0.01534 | 0.98579 | -0.27362 | 0.98594 | -0.27073 | 4.2142
1 | -0.010164 | -0.0025476 | 0.010166 | 0.0025485 | 1.7189e-06 | 8.516e-07 | 0.01534 | 0.01534 | 0.01534 | 0.98594 | -0.27073 | 0.98612 | -0.26718 | 4.2142
2 | -0.017862 | -0.0044774 | 0.017875 | 0.004485 | 1.2778e-05 | 7.579e-06 | 0.026953 | 0.026953 | 0.026953 | 0.98612 | -0.26718 | 0.98689 | -0.25218 | 7.4048
3 | -0.051288 | -0.01288 | 0.051366 | 0.01293 | 7.7904e-05 | 4.9414e-05 | 0.07734 | 0.07734 | 0.07734 | 0.98689 | -0.25218 | 0.98853 | -0.2204 | 21.2473
4 | 0.033413 | 0.0083955 | -0.033409 | -0.008393 | 3.9445e-06 | 2.4716e-06 | 0.050387 | 0.050387 | 0.050387 | 0.98689 | -0.25218 | 0.98676 | -0.25465 | 13.8427
5 | -0.051366 | -0.01293 | 0.051405 | 0.012955 | 3.9083e-05 | 2.479e-05 | 0.07734 | 0.07734 | 0.07734 | 0.98853 | -0.2204 | 0.98935 | -0.20449 | 21.2473
6 | 0.031199 | 0.0078392 | -0.03117 | -0.0078207 | 2.9543e-05 | 1.8453e-05 | 0.047055 | 0.047055 | 0.047055 | 0.98676 | -0.25465 | 0.98574 | -0.27451 | 12.9272
7 | -0.058395 | -0.014707 | 0.058417 | 0.014721 | 2.2002e-05 | 1.3984e-05 | 0.087853 | 0.087853 | 0.087853 | 0.98935 | -0.20449 | 0.98976 | -0.19661 | 24.1356
8 | 0.03117 | 0.0078207 | -0.031152 | -0.0078097 | 1.7668e-05 | 1.1037e-05 | 0.047055 | 0.047055 | 0.047055 | 0.98574 | -0.27451 | 0.98513 | -0.2864 | 12.9273
9 | -0.008001 | -0.0020052 | 0.0080018 | 0.0020056 | 8.4183e-07 | 3.4314e-07 | 0.012087 | 0.012087 | 0.012087 | 0.98502 | -0.28861 | 0.98513 | -0.2864 | 3.3205
10 | 0.0022113 | 0.0005542 | -0.0022113 | -0.0005542 | 3.0382e-10 | -7.2789e-10 | 0.0033405 | 0.0033405 | 0.0033405 | 0.98502 | -0.28861 | 0.98502 | -0.28862 | 0.91772
11 | 0.02315 | 0.0058041 | -0.023145 | -0.0058006 | 5.7689e-06 | 3.5319e-06 | 0.034969 | 0.034969 | 0.034969 | 0.98513 | -0.2864 | 0.98487 | -0.29164 | 9.6068
12 | -0.12744 | -0.032256 | 0.12745 | 0.032261 | 7.2883e-06 | 4.6576e-06 | 0.19038 | 0.19038 | 0.19038 | 0.99669 | -0.063235 | 0.99675 | -0.062044 | 52.301
13 | 0.10397 | 0.02637 | -0.10369 | -0.02619 | 0.00028135 | 0.00017966 | 0.15533 | 0.15533 | 0.15533 | 0.99669 | -0.063235 | 0.99374 | -0.11969 | 42.6742
14 | 0.01487 | 0.0037309 | -0.014857 | -0.0037234 | 1.3238e-05 | 7.5401e-06 | 0.022202 | 0.022202 | 0.022202 | 0.99669 | -0.063235 | 0.99572 | -0.081923 | 6.0996
15 | -0.14795 | -0.037399 | 0.14813 | 0.037513 | 0.00017969 | 0.00011449 | 0.22098 | 0.22098 | 0.22098 | 0.99675 | -0.062044 | 0.99807 | -0.03675 | 30.3545
16 | 0.095768 | 0.024205 | -0.095683 | -0.02415 | 8.5454e-05 | 5.4547e-05 | 0.14347 | 0.14347 | 0.14347 | 0.99374 | -0.11969 | 0.99278 | -0.13832 | 39.4158
17 | 0.0094584 | 0.0023704 | -0.0094579 | -0.0023701 | 5.248e-07 | 2.4477e-07 | 0.014135 | 0.014135 | 0.014135 | 0.99572 | -0.081923 | 0.99566 | -0.083088 | 3.8832
18 | -0.15673 | -0.039668 | 0.15701 | 0.039845 | 0.00027701 | 0.00017658 | 0.2338 | 0.2338 | 0.2338 | 0.99807 | -0.03675 | 1 | 0 | 32.1157
19 | 0.091226 | 0.023033 | -0.091144 | -0.022981 | 8.1873e-05 | 5.2248e-05 | 0.13679 | 0.13679 | 0.13679 | 0.99278 | -0.13832 | 0.9918 | -0.15707 | 37.5806
20 | 0.21749 | 0.055254 | -0.21715 | -0.055036 | 0.00034054 | 0.00021749 | 0.32389 | 0.32389 | 0.32389 | 1 | 0 | 0.99829 | -0.032581 | 44.4905
21 | 0.083562 | 0.021081 | -0.08354 | -0.021067 | 2.2194e-05 | 1.4155e-05 | 0.12542 | 0.12542 | 0.12542 | 0.9918 | -0.15707 | 0.99152 | -0.16261 | 34.4557
22 | 0.21715 | 0.055036 | -0.2165 | -0.054625 | 0.00064405 | 0.00041134 | 0.32389 | 0.32389 | 0.32389 | 0.99829 | -0.032581 | 0.99506 | -0.094504 | 44.4905
23 | -0.031137 | -0.0078109 | 0.031162 | 0.0078264 | 2.4801e-05 | 1.5478e-05 | 0.04662 | 0.04662 | 0.04662 | 0.9939 | -0.11693 | 0.99476 | -0.10024 | 12.8077
24 | 0.018652 | 0.0046818 | -0.018644 | -0.004677 | 7.9464e-06 | 4.7338e-06 | 0.027927 | 0.027927 | 0.027927 | 0.9939 | -0.11693 | 0.99343 | -0.12587 | 7.6723
25 | -0.031162 | -0.0078264 | 0.031171 | 0.0078317 | 8.5317e-06 | 5.3243e-06 | 0.04662 | 0.04662 | 0.04662 | 0.99476 | -0.10024 | 0.99506 | -0.094504 | 12.8076
26 | 0.018644 | 0.004677 | -0.018631 | -0.0046693 | 1.2904e-05 | 7.6876e-06 | 0.027927 | 0.027927 | 0.027927 | 0.99343 | -0.12587 | 0.99268 | -0.1404 | 7.6724
27 | 0.034768 | 0.0087279 | -0.034731 | -0.0087044 | 3.7379e-05 | 2.3444e-05 | 0.051998 | 0.051998 | 0.051998 | 0.99506 | -0.094504 | 0.99389 | -0.11707 | 14.2852
28 | 0.15057 | 0.038066 | -0.15013 | -0.037786 | 0.00043889 | 0.0002797 | 0.22527 | 0.22527 | 0.22527 | 0.99506 | -0.094504 | 0.99189 | -0.15548 | 30.9442
29 | 0.088492 | 0.022339 | -0.088203 | -0.022154 | 0.00028891 | 0.00018434 | 0.13281 | 0.13281 | 0.13281 | 0.99189 | -0.15548 | 0.98835 | -0.22388 | 36.4866
30 | 0.079043 | 0.01994 | -0.078915 | -0.019858 | 0.00012844 | 8.1886e-05 | 0.11867 | 0.11867 | 0.11867 | 0.99152 | -0.16261 | 0.98976 | -0.19661 | 32.6017
31 | -0.0034836 | -0.00087308 | 0.0034839 | 0.00087291 | 2.7077e-07 | -1.7302e-07 | 0.005207 | 0.0052069 | 0.005207 | 0.99553 | -0.08564 | 0.99561 | -0.084008 | 1.4305
32 | -0.0063737 | -0.0015972 | 0.006374 | 0.0015972 | 2.7921e-07 | 7.1986e-08 | 0.0095259 | 0.0095259 | 0.0095259 | 0.99561 | -0.084008 | 0.99566 | -0.083088 | 2.617
33 | 0.007184 | 0.0018005 | -0.0071836 | -0.0018004 | 4.5541e-07 | 1.5937e-07 | 0.010835 | 0.010835 | 0.010835 | 0.9866 | -0.25793 | 0.98654 | -0.25926 | 2.9767
34 | -0.011419 | -0.0028619 | 0.011422 | 0.0028636 | 3.1588e-06 | 1.6589e-06 | 0.017222 | 0.017222 | 0.017222 | 0.9866 | -0.25793 | 0.9869 | -0.25212 | 4.7314
35 | 0.014626 | 0.0036678 | -0.01462 | -0.0036641 | 6.6591e-06 | 3.7955e-06 | 0.022054 | 0.022054 | 0.022054 | 0.9869 | -0.25212 | 0.98641 | -0.26168 | 6.0588
36 | -0.026049 | -0.0065314 | 0.026084 | 0.0065531 | 3.5117e-05 | 2.1698e-05 | 0.039276 | 0.039276 | 0.039276 | 0.9869 | -0.25212 | 0.98835 | -0.22388 | 10.7901
37 | 0.0065515 | 0.001642 | -0.0065505 | -0.0016417 | 9.816e-07 | 2.8619e-07 | 0.009883 | 0.0098831 | 0.0098831 | 0.98641 | -0.26168 | 0.98625 | -0.26483 | 2.7151
38 | 0.054171 | 0.013609 | -0.054101 | -0.013565 | 7.0048e-05 | 4.4471e-05 | 0.081568 | 0.081568 | 0.081568 | 0.98835 | -0.22388 | 0.98696 | -0.25101 | 22.4089
39 | 0.0034923 | 0.00087524 | -0.0034923 | -0.00087525 | 1.722e-08 | -1.0086e-08 | 0.005269 | 0.005269 | 0.005269 | 0.98625 | -0.26483 | 0.98624 | -0.26493 | 1.4475
40 | 0.030536 | 0.0076589 | -0.030521 | -0.0076493 | 1.5481e-05 | 9.6593e-06 | 0.046041 | 0.046041 | 0.046041 | 0.98696 | -0.25101 | 0.98641 | -0.26165 | 12.6487

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37921 | 0.095866

## res_load
| p_mw | q_mvar
0 | 0.010162 | 0.0025469
1 | 0.0076965 | 0.0019289
2 | 0.0022097 | 0.00055381
3 | 0.0069901 | 0.0017519
4 | 0.0057897 | 0.001451
5 | 0.0022113 | 0.0005542
6 | 0.023145 | 0.0058006
7 | 0.0085999 | 0.0021554
8 | 0.020501 | 0.0051381
9 | 0.0079211 | 0.0019852
10 | 0.0053985 | 0.001353
11 | 0.0086 | 0.0021554
12 | 0.0044569 | 0.001117
13 | 0.0030605 | 0.00076704
14 | 0.0075815 | 0.0019001
15 | 0.012486 | 0.0031292
16 | 0.018631 | 0.0046693
17 | 0.034731 | 0.0087044
18 | 0.061635 | 0.015447
19 | 0.0044969 | 0.001127
20 | 0.020498 | 0.0051372
21 | 0.0034836 | 0.00087308
22 | 0.0028898 | 0.00072426
23 | 0.0030839 | 0.0007729
24 | 0.004235 | 0.0010614
25 | 0.0071836 | 0.0018004
26 | 0.0080682 | 0.0020221
27 | 0.0079487 | 0.0019921
28 | 0.0030582 | 0.00076646
29 | 0.0034923 | 0.00087525
30 | 0.023564 | 0.0059058
31 | 0.030521 | 0.0076493

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1