## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-27_1_3_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_138-27_1_3_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_138-27_1_3_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_138-27_1_3_node_41 | 0.4 | n |  | TRUE
4 | bus_LV_138-27_1_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_138-27_1_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_138-27_1_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_138-27_1_3_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_138-27_1_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_138-27_1_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_138-27_1_3_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_138-27_1_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_138-27_1_3_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_138-27_1_3_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_138-27_1_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_138-27_1_3_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_138-27_1_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_138-27_1_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_138-27_1_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_138-27_1_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_138-27_1_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_138-27_1_3_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_138-27_1_3_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_138-27_1_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_138-27_1_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_138-27_1_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_138-27_1_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_138-27_1_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_138-27_1_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_138-27_1_3_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_138-27_1_3_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_138-27_1_3_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_138-27_1_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_138-27_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_138-27_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_138-27_1_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_138-27_1_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_138-27_1_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_138-27_1_3_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_138-27_1_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_138-27_1_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_138-27_1_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_138-27_1_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_138-27_1_3_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_138-27_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_138-27_1_3_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_138-27_1_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_138-27_1_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_138-27_1_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_138-27_1_3_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_138-27_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_138-27_1_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_138-27_1_3_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_138-27_1_3_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_138-27_1_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_138-27_1_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_138-27_1_3_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_138-27_1_3_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_138-27_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_138-27_1_3_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_138-27_1_3_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_138-27_1_3_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_138-27_1_3_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_138-27_1_3_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_138-27_1_3_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_138-27_1_3_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_138-27_1_3_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_138-27_1_3_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_138-27_1_3_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_138-27_1_3_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_138-27_1_3_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_138-27_1_3_node_106 | 0.4 | n |  | TRUE
72 | bus_LV_138-27_1_3_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_138-27_1_3_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_138-27_1_3_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_138-27_1_3_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_138-27_1_3_node_117 | 0.4 | n |  | TRUE
77 | bus_MV_222_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-27_1_3_load_25 | 0 | 0.0061006 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-27_1_3_load_26 | 2 | 0.0017152 | 0.00042987 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-27_1_3_load_41 | 3 | 0.0023437 | 0.00058738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-27_1_3_load_30 | 5 | 0.0016547 | 0.00041472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-27_1_3_load_40 | 6 | 0.0077086 | 0.001932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-27_1_3_load_43 | 7 | 0.0040188 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-27_1_3_load_38 | 9 | 0.001465 | 0.00036716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-27_1_3_load_44 | 10 | 0.0075197 | 0.0018846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-27_1_3_load_89 | 12 | 0.0014567 | 0.00036509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-27_1_3_load_75 | 13 | 0.005143 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-27_1_3_load_83 | 15 | 0.0033874 | 0.00084897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-27_1_3_load_74 | 16 | 0.0029538 | 0.0007403 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-27_1_3_load_46 | 17 | 0.0025333 | 0.0006349 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-27_1_3_load_47 | 18 | 0.00074431 | 0.00018654 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-27_1_3_load_48 | 19 | 0.0015956 | 0.0003999 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-27_1_3_load_50 | 21 | 0.0008815 | 0.00022093 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-27_1_3_load_66 | 22 | 0.00084619 | 0.00021208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-27_1_3_load_51 | 24 | 0.0043776 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-27_1_3_load_52 | 25 | 0.0075547 | 0.0018934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-27_1_3_load_53 | 26 | 0.0030101 | 0.00075441 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-27_1_3_load_55 | 28 | 0.0028576 | 0.00071617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-27_1_3_load_77 | 29 | 0.0065025 | 0.0016297 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-27_1_3_load_78 | 30 | 0.0030148 | 0.00075557 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-27_1_3_load_72 | 31 | 0.003436 | 0.00086114 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-27_1_3_load_90 | 32 | 0.0027887 | 0.0006989 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-27_1_3_load_73 | 34 | 0.0025043 | 0.00062763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-27_1_3_load_56 | 35 | 0.0016046 | 0.00040215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-27_1_3_load_57 | 36 | 0.003466 | 0.00086867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-27_1_3_load_58 | 37 | 0.001868 | 0.00046816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-27_1_3_load_76 | 38 | 0.0036981 | 0.00092684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-27_1_3_load_61 | 39 | 0.0023421 | 0.00058698 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-27_1_3_load_62 | 40 | 0.0013451 | 0.00033712 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-27_1_3_load_63 | 41 | 0.0042077 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-27_1_3_load_65 | 43 | 0.0066392 | 0.0016639 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-27_1_3_load_99 | 44 | 0.0020609 | 0.00051652 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-27_1_3_load_100 | 45 | 0.002157 | 0.00054059 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-27_1_3_load_68 | 46 | 0.0014859 | 0.0003724 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-27_1_3_load_69 | 47 | 0.0022347 | 0.00056007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-27_1_3_load_70 | 48 | 0.0029459 | 0.00073831 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-27_1_3_load_91 | 49 | 0.0015451 | 0.00038724 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-27_1_3_load_88 | 51 | 0.0017278 | 0.00043302 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_138-27_1_3_load_84 | 52 | 0.0018464 | 0.00046276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_138-27_1_3_load_92 | 53 | 0.0012794 | 0.00032065 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_138-27_1_3_load_85 | 54 | 0.0023469 | 0.00058818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_138-27_1_3_load_94 | 56 | 0.0018296 | 0.00045854 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_138-27_1_3_load_93 | 57 | 0.0019751 | 0.00049502 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_138-27_1_3_load_110 | 58 | 0.0018721 | 0.0004692 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_138-27_1_3_load_95 | 59 | 0.0026604 | 0.00066677 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_138-27_1_3_load_108 | 60 | 0.0013794 | 0.0003457 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_138-27_1_3_load_96 | 61 | 0.0025882 | 0.00064867 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_138-27_1_3_load_114 | 62 | 0.0014788 | 0.00037062 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_138-27_1_3_load_113 | 63 | 0.0033803 | 0.00084718 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_138-27_1_3_load_101 | 64 | 0.0039624 | 0.00099307 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_138-27_1_3_load_102 | 65 | 0.0038296 | 0.0009598 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_138-27_1_3_load_111 | 66 | 0.0034932 | 0.00087549 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_138-27_1_3_load_116 | 67 | 0.0029435 | 0.0007377 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_138-27_1_3_load_103 | 68 | 0.009378 | 0.0023504 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_138-27_1_3_load_104 | 69 | 0.0033917 | 0.00085003 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_138-27_1_3_load_105 | 70 | 0.0048461 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_138-27_1_3_load_106 | 71 | 0.0081381 | 0.0020396 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_138-27_1_3_load_107 | 72 | 0.004994 | 0.0012516 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_138-27_1_3_load_112 | 73 | 0.0015772 | 0.00039527 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_138-27_1_3_load_109 | 74 | 0.0049338 | 0.0012365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_138-27_1_3_load_115 | 75 | 0.0033165 | 0.0008312 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_138-27_1_3_load_117 | 76 | 0.0099392 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-27_1_3_line_0 |  | 0 | 1 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-27_1_3_line_1 |  | 1 | 4 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-27_1_3_line_2 |  | 1 | 5 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-27_1_3_line_3 |  | 2 | 3 | 0.042439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-27_1_3_line_4 |  | 3 | 8 | 0.037255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-27_1_3_line_5 |  | 3 | 6 | 0.030054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-27_1_3_line_6 |  | 4 | 9 | 9.6834e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-27_1_3_line_7 |  | 5 | 10 | 0.0060043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-27_1_3_line_8 |  | 6 | 7 | 0.04394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-27_1_3_line_9 |  | 7 | 10 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-27_1_3_line_10 |  | 8 | 11 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-27_1_3_line_11 |  | 9 | 12 | 0.024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-27_1_3_line_12 |  | 11 | 15 | 0.049947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-27_1_3_line_13 |  | 12 | 13 | 0.030703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-27_1_3_line_14 |  | 13 | 14 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-27_1_3_line_15 |  | 14 | 38 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-27_1_3_line_16 |  | 14 | 36 | 0.0041293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-27_1_3_line_17 |  | 15 | 16 | 0.0084108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-27_1_3_line_18 |  | 16 | 34 | 0.028828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-27_1_3_line_19 |  | 17 | 18 | 0.0089106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-27_1_3_line_20 |  | 17 | 19 | 0.033989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-27_1_3_line_21 |  | 18 | 20 | 0.03557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_138-27_1_3_line_22 |  | 19 | 21 | 0.0097911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-27_1_3_line_23 |  | 20 | 22 | 0.0089408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-27_1_3_line_24 |  | 22 | 23 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-27_1_3_line_25 |  | 23 | 46 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-27_1_3_line_26 |  | 24 | 25 | 0.034928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-27_1_3_line_27 |  | 24 | 26 | 0.0010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-27_1_3_line_28 |  | 25 | 27 | 0.033968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-27_1_3_line_29 |  | 26 | 28 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-27_1_3_line_30 |  | 27 | 29 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_138-27_1_3_line_31 |  | 27 | 30 | 0.04299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-27_1_3_line_32 |  | 28 | 31 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-27_1_3_line_33 |  | 29 | 32 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_138-27_1_3_line_34 |  | 30 | 33 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-27_1_3_line_35 |  | 31 | 34 | 0.0033485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-27_1_3_line_36 |  | 32 | 42 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-27_1_3_line_37 |  | 33 | 49 | 0.031476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-27_1_3_line_38 |  | 33 | 48 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-27_1_3_line_39 |  | 35 | 36 | 0.0077544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-27_1_3_line_40 |  | 35 | 37 | 0.028999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_138-27_1_3_line_41 |  | 39 | 40 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_138-27_1_3_line_42 |  | 39 | 41 | 0.0054521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_138-27_1_3_line_43 |  | 40 | 42 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_138-27_1_3_line_44 |  | 41 | 43 | 0.053858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_138-27_1_3_line_45 |  | 42 | 44 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_138-27_1_3_line_46 |  | 44 | 45 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-27_1_3_line_47 |  | 45 | 64 | 0.023512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_138-27_1_3_line_48 |  | 46 | 47 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_138-27_1_3_line_49 |  | 47 | 48 | 0.03487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-27_1_3_line_50 |  | 49 | 53 | 0.0017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-27_1_3_line_51 |  | 50 | 51 | 0.0093839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_138-27_1_3_line_52 |  | 50 | 52 | 0.028268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_138-27_1_3_line_53 |  | 52 | 54 | 0.03132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_138-27_1_3_line_54 |  | 53 | 57 | 0.029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_138-27_1_3_line_55 |  | 54 | 55 | 0.0067994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_138-27_1_3_line_56 |  | 54 | 56 | 0.064072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_138-27_1_3_line_57 |  | 55 | 58 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_138-27_1_3_line_58 |  | 56 | 59 | 0.023324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_138-27_1_3_line_59 |  | 56 | 57 | 0.0021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_138-27_1_3_line_60 |  | 58 | 60 | 0.033535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_138-27_1_3_line_61 |  | 59 | 61 | 0.0073694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_138-27_1_3_line_62 |  | 60 | 74 | 0.042258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_138-27_1_3_line_63 |  | 61 | 62 | 0.031475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_138-27_1_3_line_64 |  | 62 | 63 | 0.00042024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_138-27_1_3_line_65 |  | 63 | 73 | 0.01654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_138-27_1_3_line_66 |  | 64 | 65 | 0.031901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_138-27_1_3_line_67 |  | 65 | 66 | 0.00019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_138-27_1_3_line_68 |  | 66 | 67 | 0.025642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_138-27_1_3_line_69 |  | 67 | 75 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_138-27_1_3_line_70 |  | 68 | 69 | 0.0065811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_138-27_1_3_line_71 |  | 68 | 70 | 0.021848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_138-27_1_3_line_72 |  | 69 | 71 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_138-27_1_3_line_73 |  | 70 | 72 | 0.0022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_138-27_1_3_line_74 |  | 71 | 73 | 0.015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_138-27_1_3_line_75 |  | 75 | 76 | 0.00057362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-27_1_3_trafo_90 | 0.63 MVA 20/0.4 kV | 77 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2696262.8001 | 1228808.5767 | 2696247.1452 | 1228828.0744
1 | 2696276.7017 | 1228791.5004 | 2696262.8001 | 1228808.5767
2 | 2696262.8001 | 1228808.5767 | 2696248.4002 | 1228798.403 | 2696248.4002 | 1228798.403
3 | 2696176.7499 | 1228850.775 | 2696210.3868 | 1228876.6529
4 | 2696146.6431 | 1228872.5331 | 2696171.14 | 1228856.2618 | 2696176.7499 | 1228850.775
5 | 2696196.9303 | 1228828.5847 | 2696188.3179 | 1228839.4608 | 2696176.7499 | 1228850.775
6 | 2696276.7017 | 1228791.5004 | 2696276.7614 | 1228791.4242
7 | 2696248.4002 | 1228798.403 | 2696243.8285 | 1228802.2953
8 | 2696196.9303 | 1228828.5847 | 2696236.1717 | 1228808.8142
9 | 2696236.1717 | 1228808.8142 | 2696243.8285 | 1228802.2953
10 | 2696146.6431 | 1228872.5331 | 2696140.4125 | 1228864.6712
11 | 2696291.7273 | 1228772.3135 | 2696276.7614 | 1228791.4242
12 | 2696140.4125 | 1228864.6712 | 2696134.1882 | 1228835.8054 | 2696134.5452 | 1228815.3911
13 | 2696286.3378 | 1228742.0874 | 2696291.7273 | 1228772.3135
14 | 2696295.4822 | 1228731.9281 | 2696286.3378 | 1228742.0874
15 | 2696281.1561 | 1228723.7459 | 2696295.4822 | 1228731.9281
16 | 2696295.4822 | 1228731.9281 | 2696298.2453 | 1228728.8594
17 | 2696134.5452 | 1228815.3911 | 2696134.6922 | 1228806.9816 | 2696134.6922 | 1228806.9816
18 | 2696142.846 | 1228779.5176 | 2696140.0659 | 1228784.43 | 2696134.6922 | 1228806.9816
19 | 2696044.5033 | 1228746.964 | 2696043.2776 | 1228738.1381
20 | 2696044.5033 | 1228746.964 | 2696048.3904 | 1228774.9533 | 2696049.7605 | 1228780.5182
21 | 2696038.3846 | 1228702.9065 | 2696043.2776 | 1228738.1381
22 | 2696052.1011 | 1228790.0254 | 2696049.7605 | 1228780.5182
23 | 2696038.3846 | 1228702.9065 | 2696045.4717 | 1228697.4558
24 | 2696060.2613 | 1228686.0809 | 2696045.4717 | 1228697.4558
25 | 2696060.2613 | 1228686.0809 | 2696062.7198 | 1228690.1013 | 2696065.4416 | 1228693.3031 | 2696069.4926 | 1228696.3152 | 2696074.54 | 1228698.6317 | 2696079.5671 | 1228699.3912 | 2696085.0447 | 1228698.7458
26 | 2696162.6046 | 1228748.5458 | 2696170.9925 | 1228737.5071 | 2696185.6659 | 1228722.394
27 | 2696162.6046 | 1228748.5458 | 2696161.9926 | 1228749.3511
28 | 2696210.9934 | 1228699.7712 | 2696187.7539 | 1228720.2435 | 2696185.6659 | 1228722.394
29 | 2696153.8656 | 1228760.0465 | 2696161.9926 | 1228749.3511
30 | 2696210.9934 | 1228699.7712 | 2696226.8483 | 1228699.7351
31 | 2696210.9934 | 1228699.7712 | 2696177.2376 | 1228695.2999 | 2696168.4698 | 1228693.5562
32 | 2696144.4953 | 1228776.6035 | 2696153.8656 | 1228760.0465 | 2696153.8656 | 1228760.0465
33 | 2696226.8483 | 1228699.7351 | 2696234.4784 | 1228699.7177 | 2696249.8132 | 1228696.4173
34 | 2696153.8665 | 1228690.652 | 2696168.4698 | 1228693.5562
35 | 2696144.4953 | 1228776.6035 | 2696142.846 | 1228779.5176
36 | 2696273.4847 | 1228690.2086 | 2696254.9953 | 1228695.302 | 2696249.8132 | 1228696.4173
37 | 2696153.8665 | 1228690.652 | 2696160.9782 | 1228674.9779 | 2696170.8936 | 1228664.7239
38 | 2696153.8665 | 1228690.652 | 2696146.1994 | 1228690.5392 | 2696131.8076 | 1228690.7267
39 | 2696303.4341 | 1228723.0968 | 2696298.2453 | 1228728.8594
40 | 2696303.4341 | 1228723.0968 | 2696314.5273 | 1228710.7767 | 2696326.6114 | 1228713.6483
41 | 2696308.6844 | 1228680.2921 | 2696293.7268 | 1228684.506
42 | 2696308.6844 | 1228680.2921 | 2696313.9322 | 1228678.8137
43 | 2696273.4847 | 1228690.2086 | 2696293.7268 | 1228684.506
44 | 2696313.9322 | 1228678.8137 | 2696324.8403 | 1228675.7407 | 2696332.9766 | 1228674.0267 | 2696341.3453 | 1228672.9281 | 2696347.1675 | 1228673.256 | 2696354.0801 | 1228674.1019 | 2696360.1172 | 1228676.1345 | 2696365.2265 | 1228678.3633 | 2696366.1146 | 1228678.8853
45 | 2696273.4847 | 1228690.2086 | 2696271.1655 | 1228677.1283 | 2696272.5918 | 1228666.2658
46 | 2696284.2642 | 1228654.51 | 2696278.9463 | 1228656.6506 | 2696272.5918 | 1228666.2658 | 2696272.5918 | 1228666.2658
47 | 2696284.2642 | 1228654.51 | 2696306.0753 | 1228645.7304
48 | 2696097.432 | 1228696.2539 | 2696097.426 | 1228696.2552 | 2696087.8656 | 1228698.4134 | 2696085.0447 | 1228698.7458
49 | 2696097.432 | 1228696.2539 | 2696115.0674 | 1228692.5153 | 2696130.2065 | 1228690.7475 | 2696131.8076 | 1228690.7267
50 | 2696170.8936 | 1228664.7239 | 2696172.0973 | 1228663.4791
51 | 2696113.5422 | 1228622.34 | 2696106.5634 | 1228628.6134
52 | 2696113.5422 | 1228622.34 | 2696126.6462 | 1228611.9332 | 2696135.9453 | 1228605.11
53 | 2696135.9453 | 1228605.11 | 2696161.197 | 1228586.5814
54 | 2696172.0973 | 1228663.4791 | 2696178.1493 | 1228657.2205 | 2696193.0366 | 1228642.7712
55 | 2696166.679 | 1228582.559 | 2696161.197 | 1228586.5814
56 | 2696194.5915 | 1228641.2621 | 2696161.197 | 1228586.5814
57 | 2696166.679 | 1228582.559 | 2696172.2188 | 1228578.3344 | 2696187.1664 | 1228567.8129 | 2696187.8926 | 1228567.3096
58 | 2696194.5915 | 1228641.2621 | 2696198.9056 | 1228637.0749 | 2696213.2953 | 1228627.4506
59 | 2696194.5915 | 1228641.2621 | 2696193.0366 | 1228642.7712
60 | 2696216.0225 | 1228549.0921 | 2696203.2993 | 1228556.6324 | 2696187.8926 | 1228567.3096
61 | 2696213.2953 | 1228627.4506 | 2696219.4208 | 1228623.3536
62 | 2696216.0225 | 1228549.0921 | 2696216.613 | 1228548.742 | 2696232.0012 | 1228540.9742 | 2696254.1776 | 1228530.9564
63 | 2696219.4208 | 1228623.3536 | 2696222.9612 | 1228620.9857 | 2696246.9201 | 1228608.0757
64 | 2696246.9201 | 1228608.0757 | 2696247.29 | 1228607.8763
65 | 2696247.29 | 1228607.8763 | 2696256.5371 | 1228602.8936 | 2696262.2628 | 1228600.9833
66 | 2696306.0753 | 1228645.7304 | 2696333.569 | 1228634.6635 | 2696335.6113 | 1228633.6872
67 | 2696335.7889 | 1228633.6023 | 2696335.6113 | 1228633.6872
68 | 2696358.9237 | 1228622.5431 | 2696335.7889 | 1228633.6023
69 | 2696371.612 | 1228616.4777 | 2696358.9237 | 1228622.5431
70 | 2696314.0834 | 1228583.3848 | 2696309.4821 | 1228586.2497 | 2696308.3692 | 1228586.5797
71 | 2696314.0834 | 1228583.3848 | 2696332.6307 | 1228571.8369
72 | 2696308.3692 | 1228586.5797 | 2696281.9321 | 1228594.4207 | 2696277.3857 | 1228595.9376
73 | 2696334.4993 | 1228570.6735 | 2696332.6307 | 1228571.8369
74 | 2696262.2628 | 1228600.9833 | 2696277.3857 | 1228595.9376
75 | 2696372.1295 | 1228616.2303 | 2696371.612 | 1228616.4777

## bus_geodata
| x | y | coords
0 | 2696247.1452 | 1228828.0744
1 | 2696262.8001 | 1228808.5767
2 | 2696210.3868 | 1228876.6529
3 | 2696176.7499 | 1228850.775
4 | 2696276.7017 | 1228791.5004
5 | 2696248.4002 | 1228798.403
6 | 2696196.9303 | 1228828.5847
7 | 2696236.1717 | 1228808.8142
8 | 2696146.6431 | 1228872.5331
9 | 2696276.7614 | 1228791.4242
10 | 2696243.8285 | 1228802.2953
11 | 2696140.4125 | 1228864.6712
12 | 2696291.7273 | 1228772.3135
13 | 2696286.3378 | 1228742.0874
14 | 2696295.4822 | 1228731.9281
15 | 2696134.5452 | 1228815.3911
16 | 2696134.6922 | 1228806.9816
17 | 2696044.5033 | 1228746.964
18 | 2696043.2776 | 1228738.1381
19 | 2696049.7605 | 1228780.5182
20 | 2696038.3846 | 1228702.9065
21 | 2696052.1011 | 1228790.0254
22 | 2696045.4717 | 1228697.4558
23 | 2696060.2613 | 1228686.0809
24 | 2696162.6046 | 1228748.5458
25 | 2696185.6659 | 1228722.394
26 | 2696161.9926 | 1228749.3511
27 | 2696210.9934 | 1228699.7712
28 | 2696153.8656 | 1228760.0465
29 | 2696226.8483 | 1228699.7351
30 | 2696168.4698 | 1228693.5562
31 | 2696144.4953 | 1228776.6035
32 | 2696249.8132 | 1228696.4173
33 | 2696153.8665 | 1228690.6521
34 | 2696142.846 | 1228779.5176
35 | 2696303.4341 | 1228723.0968
36 | 2696298.2453 | 1228728.8594
37 | 2696326.6114 | 1228713.6483
38 | 2696281.1561 | 1228723.7459
39 | 2696308.6844 | 1228680.2921
40 | 2696293.7268 | 1228684.506
41 | 2696313.9322 | 1228678.8137
42 | 2696273.4847 | 1228690.2086
43 | 2696366.1146 | 1228678.8853
44 | 2696272.5918 | 1228666.2658
45 | 2696284.2642 | 1228654.51
46 | 2696085.0447 | 1228698.7458
47 | 2696097.4321 | 1228696.2539
48 | 2696131.8076 | 1228690.7267
49 | 2696170.8936 | 1228664.7239
50 | 2696113.5422 | 1228622.34
51 | 2696106.5634 | 1228628.6134
52 | 2696135.9453 | 1228605.11
53 | 2696172.0973 | 1228663.4791
54 | 2696161.197 | 1228586.5814
55 | 2696166.679 | 1228582.559
56 | 2696194.5915 | 1228641.2621
57 | 2696193.0366 | 1228642.7712
58 | 2696187.8926 | 1228567.3096
59 | 2696213.2953 | 1228627.4506
60 | 2696216.0225 | 1228549.0921
61 | 2696219.4208 | 1228623.3536
62 | 2696246.9201 | 1228608.0757
63 | 2696247.29 | 1228607.8763
64 | 2696306.0753 | 1228645.7304
65 | 2696335.6113 | 1228633.6872
66 | 2696335.7889 | 1228633.6023
67 | 2696358.9237 | 1228622.5431
68 | 2696314.0834 | 1228583.3848
69 | 2696308.3692 | 1228586.5797
70 | 2696332.6307 | 1228571.8369
71 | 2696277.3857 | 1228595.9376
72 | 2696334.4993 | 1228570.6735
73 | 2696262.2628 | 1228600.9833
74 | 2696254.1776 | 1228530.9564
75 | 2696371.612 | 1228616.4777
76 | 2696372.1295 | 1228616.2303
77 | 2696273.4847 | 1228690.2086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97988 | -0.3876 | 0.0061006 | 0.001529
1 | 0.98002 | -0.38483 | 0 | 0
2 | 0.98364 | -0.31415 | 0.0017152 | 0.00042987
3 | 0.9837 | -0.31284 | 0.0023437 | 0.00058738
4 | 0.97964 | -0.3923 | 0 | 0
5 | 0.98042 | -0.37689 | 0.0016547 | 0.00041472
6 | 0.98243 | -0.33762 | 0.0077086 | 0.001932
7 | 0.98089 | -0.36782 | 0.0040188 | 0.0010072
8 | 0.98542 | -0.2795 | 0 | 0
9 | 0.97964 | -0.39233 | 0.001465 | 0.00036716
10 | 0.98057 | -0.37401 | 0.0075197 | 0.0018846
11 | 0.98588 | -0.27055 | 0 | 0
12 | 0.97925 | -0.39993 | 0.0014567 | 0.00036509
13 | 0.9788 | -0.40874 | 0.005143 | 0.001289
14 | 0.97867 | -0.41139 | 0 | 0
15 | 0.98818 | -0.22607 | 0.0033874 | 0.00084897
16 | 0.98859 | -0.21809 | 0.0029538 | 0.0007403
17 | 0.99162 | -0.16048 | 0.0025333 | 0.0006349
18 | 0.99166 | -0.15968 | 0.00074431 | 0.00018654
19 | 0.99154 | -0.16197 | 0.0015956 | 0.0003999
20 | 0.99185 | -0.15606 | 0 | 0
21 | 0.99153 | -0.16212 | 0.0008815 | 0.00022093
22 | 0.99189 | -0.15514 | 0.00084619 | 0.00021208
23 | 0.99201 | -0.15296 | 0 | 0
24 | 0.99223 | -0.14817 | 0.0043776 | 0.0010971
25 | 0.99456 | -0.10356 | 0.0075547 | 0.0018934
26 | 0.99217 | -0.14938 | 0.0030101 | 0.00075441
27 | 0.99706 | -0.055878 | 0 | 0
28 | 0.99136 | -0.16483 | 0.0028576 | 0.00071617
29 | 0.99822 | -0.033758 | 0.0065025 | 0.0016297
30 | 0.99392 | -0.11597 | 0.0030148 | 0.00075557
31 | 0.99027 | -0.1858 | 0.003436 | 0.00086114
32 | 1 | 0 | -0.21585 | -0.054507
33 | 0.99288 | -0.13607 | 0 | 0
34 | 0.99009 | -0.18929 | 0.0025043 | 0.00062763
35 | 0.97861 | -0.4124 | 0.0016046 | 0.00040215
36 | 0.97864 | -0.41191 | 0.003466 | 0.00086867
37 | 0.97856 | -0.41338 | 0.001868 | 0.00046816
38 | 0.97861 | -0.4125 | 0.0036981 | 0.00092684
39 | 0.99851 | -0.028674 | 0.0023421 | 0.00058698
40 | 0.99869 | -0.025092 | 0.0013451 | 0.00033712
41 | 0.99845 | -0.029709 | 0.0042077 | 0.0010546
42 | 0.99897 | -0.019751 | 0 | 0
43 | 0.99813 | -0.035963 | 0.0066392 | 0.0016639
44 | 0.99827 | -0.033183 | 0.0020609 | 0.00051652
45 | 0.99781 | -0.042135 | 0.002157 | 0.00054059
46 | 0.99219 | -0.14944 | 0.0014859 | 0.0003724
47 | 0.99228 | -0.14763 | 0.0022347 | 0.00056007
48 | 0.99261 | -0.14125 | 0.0029459 | 0.00073831
49 | 0.99105 | -0.1713 | 0.0015451 | 0.00038724
50 | 0.98823 | -0.22604 | 0 | 0
51 | 0.98821 | -0.22633 | 0.0017278 | 0.00043302
52 | 0.98827 | -0.22517 | 0.0018464 | 0.00046276
53 | 0.99095 | -0.1732 | 0.0012794 | 0.00032065
54 | 0.98837 | -0.22317 | 0.0023469 | 0.00058818
55 | 0.98832 | -0.22417 | 0 | 0
56 | 0.9892 | -0.20705 | 0.0018296 | 0.00045854
57 | 0.98932 | -0.2048 | 0.0019751 | 0.00049502
58 | 0.98813 | -0.22799 | 0.0018721 | 0.0004692
59 | 0.98829 | -0.2247 | 0.0026604 | 0.00066677
60 | 0.98793 | -0.23177 | 0.0013794 | 0.0003457
61 | 0.98802 | -0.22993 | 0.0025882 | 0.00064867
62 | 0.98695 | -0.25085 | 0.0014788 | 0.00037062
63 | 0.98693 | -0.25112 | 0.0033803 | 0.00084718
64 | 0.99722 | -0.053456 | 0.0039624 | 0.00099307
65 | 0.99654 | -0.066618 | 0.0038296 | 0.0009598
66 | 0.99653 | -0.066686 | 0.0034932 | 0.00087549
67 | 0.99615 | -0.073979 | 0.0029435 | 0.0007377
68 | 0.9852 | -0.28488 | 0.009378 | 0.0023504
69 | 0.98532 | -0.28261 | 0.0033917 | 0.00085003
70 | 0.985 | -0.28874 | 0.0048461 | 0.0012146
71 | 0.98599 | -0.26948 | 0.0081381 | 0.0020396
72 | 0.98499 | -0.28894 | 0.004994 | 0.0012516
73 | 0.98644 | -0.26069 | 0.0015772 | 0.00039527
74 | 0.98774 | -0.23549 | 0.0049338 | 0.0012365
75 | 0.99598 | -0.077254 | 0.0033165 | 0.0008312
76 | 0.99598 | -0.077354 | 0.0099392 | 0.002491
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0061006 | -0.001529 | 0.0061014 | 0.0015292 | 8.0475e-07 | 2.0002e-07 | 0.0092642 | 0.0092641 | 0.0092642 | 0.97988 | -0.3876 | 0.98002 | -0.38483 | 2.5451
1 | 0.018723 | 0.0046989 | -0.018716 | -0.0046949 | 6.6675e-06 | 3.9902e-06 | 0.02843 | 0.028431 | 0.028431 | 0.98002 | -0.38483 | 0.97964 | -0.3923 | 7.8106
2 | -0.024824 | -0.0062281 | 0.024834 | 0.0062339 | 9.3944e-06 | 5.7902e-06 | 0.037695 | 0.037694 | 0.037695 | 0.98002 | -0.38483 | 0.98042 | -0.37689 | 10.3556
3 | -0.0017152 | -0.00042987 | 0.0017153 | 0.0004294 | 1.0714e-07 | -4.7017e-07 | 0.0025947 | 0.0025945 | 0.0025947 | 0.98364 | -0.31415 | 0.9837 | -0.31284 | 0.71284
4 | -0.049917 | -0.012567 | 0.049997 | 0.012617 | 7.9697e-05 | 5.0532e-05 | 0.075529 | 0.075528 | 0.075529 | 0.9837 | -0.31284 | 0.98542 | -0.2795 | 20.7496
5 | 0.045858 | 0.01155 | -0.045804 | -0.011515 | 5.4265e-05 | 3.4348e-05 | 0.069389 | 0.069389 | 0.069389 | 0.9837 | -0.31284 | 0.98243 | -0.33762 | 19.0629
6 | 0.018716 | 0.0046949 | -0.018716 | -0.0046949 | 2.935e-08 | 1.7566e-08 | 0.028431 | 0.028431 | 0.028431 | 0.97964 | -0.3923 | 0.97964 | -0.39233 | 7.8106
7 | -0.026489 | -0.0066486 | 0.026492 | 0.0066508 | 3.6397e-06 | 2.2537e-06 | 0.040206 | 0.040206 | 0.040206 | 0.98042 | -0.37689 | 0.98057 | -0.37401 | 11.0456
8 | 0.038096 | 0.0095835 | -0.038041 | -0.009549 | 5.4885e-05 | 3.4571e-05 | 0.057713 | 0.057714 | 0.057714 | 0.98243 | -0.33762 | 0.98089 | -0.36782 | 15.8554
9 | 0.034022 | 0.0085417 | -0.034012 | -0.0085354 | 1.0047e-05 | 6.3033e-06 | 0.051617 | 0.051617 | 0.051617 | 0.98089 | -0.36782 | 0.98057 | -0.37401 | 14.1805
10 | -0.049997 | -0.012617 | 0.050019 | 0.012631 | 2.1437e-05 | 1.3592e-05 | 0.075528 | 0.075528 | 0.075528 | 0.98542 | -0.2795 | 0.98588 | -0.27055 | 20.7496
11 | 0.017251 | 0.0043277 | -0.017245 | -0.0043241 | 6.2509e-06 | 3.6951e-06 | 0.026205 | 0.026205 | 0.026205 | 0.97964 | -0.39233 | 0.97925 | -0.39993 | 7.1993
12 | -0.050019 | -0.012631 | 0.050125 | 0.012698 | 0.00010685 | 6.7743e-05 | 0.075528 | 0.075528 | 0.075528 | 0.98588 | -0.27055 | 0.98818 | -0.22607 | 20.7496
13 | 0.015788 | 0.003959 | -0.015782 | -0.0039551 | 6.6274e-06 | 3.8554e-06 | 0.023992 | 0.023992 | 0.023992 | 0.97925 | -0.39993 | 0.9788 | -0.40874 | 6.5912
14 | 0.010639 | 0.0026661 | -0.010637 | -0.0026655 | 1.3392e-06 | 6.8554e-07 | 0.016173 | 0.016173 | 0.016173 | 0.9788 | -0.40874 | 0.97867 | -0.41139 | 4.4432
15 | 0.0036983 | 0.00092676 | -0.0036981 | -0.00092684 | 1.952e-07 | -8.1915e-08 | 0.0056231 | 0.0056232 | 0.0056232 | 0.97867 | -0.41139 | 0.97861 | -0.4125 | 1.5448
16 | 0.006939 | 0.0017387 | -0.0069388 | -0.0017386 | 1.7236e-07 | 5.8426e-08 | 0.01055 | 0.01055 | 0.01055 | 0.97867 | -0.41139 | 0.97864 | -0.41191 | 2.8984
17 | -0.053513 | -0.013547 | 0.053533 | 0.01356 | 2.0505e-05 | 1.3015e-05 | 0.080629 | 0.080629 | 0.080629 | 0.98818 | -0.22607 | 0.98859 | -0.21809 | 22.1508
18 | -0.056487 | -0.014301 | 0.056565 | 0.01435 | 7.8242e-05 | 4.9705e-05 | 0.085075 | 0.085075 | 0.085075 | 0.98859 | -0.21809 | 0.99009 | -0.18929 | 23.3723
19 | -0.0050106 | -0.0012553 | 0.0050108 | 0.0012553 | 1.8889e-07 | 5.9383e-09 | 0.0075187 | 0.0075186 | 0.0075187 | 0.99162 | -0.16048 | 0.99166 | -0.15968 | 2.0656
20 | 0.0024773 | 0.00062038 | -0.0024771 | -0.00062071 | 1.7613e-07 | -3.2571e-07 | 0.0037173 | 0.0037174 | 0.0037174 | 0.99162 | -0.16048 | 0.99154 | -0.16197 | 1.0213
21 | -0.0057551 | -0.0014418 | 0.0057561 | 0.001442 | 9.9467e-07 | 1.776e-07 | 0.0086355 | 0.0086353 | 0.0086355 | 0.99166 | -0.15968 | 0.99185 | -0.15606 | 2.3724
22 | 0.00088151 | 0.0002208 | -0.0008815 | -0.00022093 | 6.4254e-09 | -1.2218e-07 | 0.0013228 | 0.0013229 | 0.0013229 | 0.99154 | -0.16197 | 0.99153 | -0.16212 | 0.36343
23 | -0.0057561 | -0.001442 | 0.0057563 | 0.001442 | 2.5001e-07 | 4.4611e-08 | 0.0086353 | 0.0086353 | 0.0086353 | 0.99185 | -0.15606 | 0.99189 | -0.15514 | 2.3723
24 | -0.0066025 | -0.0016541 | 0.0066032 | 0.0016543 | 6.864e-07 | 1.9844e-07 | 0.0099047 | 0.0099046 | 0.0099047 | 0.99189 | -0.15514 | 0.99201 | -0.15296 | 2.7211
25 | -0.0066032 | -0.0016543 | 0.0066043 | 0.0016546 | 1.1079e-06 | 3.2018e-07 | 0.0099046 | 0.0099045 | 0.0099046 | 0.99201 | -0.15296 | 0.99219 | -0.14944 | 2.7211
26 | -0.072877 | -0.018487 | 0.073033 | 0.018587 | 0.00015668 | 9.9821e-05 | 0.10937 | 0.10937 | 0.10937 | 0.99223 | -0.14817 | 0.99456 | -0.10356 | 30.0467
27 | 0.068499 | 0.01739 | -0.068495 | -0.017387 | 4.009e-06 | 2.5527e-06 | 0.10281 | 0.10281 | 0.10281 | 0.99223 | -0.14817 | 0.99217 | -0.14938 | 28.2431
28 | -0.080588 | -0.02048 | 0.080774 | 0.020598 | 0.00018549 | 0.00011827 | 0.12067 | 0.12067 | 0.12067 | 0.99456 | -0.10356 | 0.99706 | -0.055878 | 33.1519
29 | 0.065485 | 0.016633 | -0.065436 | -0.016602 | 4.8666e-05 | 3.0973e-05 | 0.098291 | 0.098291 | 0.098291 | 0.99217 | -0.14938 | 0.99136 | -0.16483 | 27.0029
30 | -0.16089 | -0.04093 | 0.16107 | 0.04104 | 0.00017171 | 0.00010948 | 0.24033 | 0.24033 | 0.24033 | 0.99706 | -0.055878 | 0.99822 | -0.033758 | 33.013
31 | 0.080121 | 0.020332 | -0.07989 | -0.020185 | 0.00023084 | 0.00014718 | 0.11966 | 0.11966 | 0.11966 | 0.99706 | -0.055878 | 0.99392 | -0.11597 | 32.8742
32 | 0.062579 | 0.015886 | -0.062516 | -0.015846 | 6.304e-05 | 4.0101e-05 | 0.094001 | 0.094002 | 0.094002 | 0.99136 | -0.16483 | 0.99027 | -0.1858 | 25.8246
33 | -0.16757 | -0.042669 | 0.16784 | 0.042844 | 0.00027329 | 0.0001743 | 0.25003 | 0.25003 | 0.25003 | 0.99822 | -0.033758 | 1 | 0 | 34.3444
34 | 0.076875 | 0.019429 | -0.076801 | -0.019382 | 7.4033e-05 | 4.7188e-05 | 0.11515 | 0.11515 | 0.11515 | 0.99392 | -0.11597 | 0.99288 | -0.13607 | 31.6343
35 | 0.05908 | 0.014984 | -0.05907 | -0.014978 | 9.9101e-06 | 6.2994e-06 | 0.088839 | 0.088839 | 0.088839 | 0.99027 | -0.1858 | 0.99009 | -0.18929 | 24.4062
36 | 0.046359 | 0.011663 | -0.046315 | -0.011635 | 4.3702e-05 | 2.7649e-05 | 0.068999 | 0.068999 | 0.068999 | 1 | 0 | 0.99897 | -0.019751 | 18.9557
37 | 0.063523 | 0.016053 | -0.063416 | -0.015985 | 0.00010709 | 6.8128e-05 | 0.095249 | 0.095249 | 0.095249 | 0.99288 | -0.13607 | 0.99105 | -0.1713 | 26.1673
38 | 0.013278 | 0.0033291 | -0.013275 | -0.0033273 | 3.2761e-06 | 1.8115e-06 | 0.0199 | 0.0199 | 0.0199 | 0.99288 | -0.13607 | 0.99261 | -0.14125 | 5.467
39 | -0.0034727 | -0.00087001 | 0.0034728 | 0.00086996 | 8.1075e-08 | -4.5542e-08 | 0.0052802 | 0.0052802 | 0.0052802 | 0.97861 | -0.4124 | 0.97864 | -0.41191 | 1.4506
40 | 0.0018681 | 0.00046786 | -0.001868 | -0.00046816 | 8.7738e-08 | -3.0818e-07 | 0.0028404 | 0.0028405 | 0.0028405 | 0.97861 | -0.4124 | 0.97856 | -0.41338 | 0.78036
41 | -0.013192 | -0.0033063 | 0.013194 | 0.0033076 | 2.2521e-06 | 1.238e-06 | 0.019659 | 0.019659 | 0.019659 | 0.99851 | -0.028674 | 0.99869 | -0.025092 | 5.4007
42 | 0.010849 | 0.0027193 | -0.010849 | -0.0027191 | 5.3448e-07 | 2.7075e-07 | 0.016168 | 0.016168 | 0.016168 | 0.99851 | -0.028674 | 0.99845 | -0.029709 | 4.4419
43 | -0.014539 | -0.0036447 | 0.014543 | 0.0036468 | 3.7008e-06 | 2.0933e-06 | 0.021663 | 0.021663 | 0.021663 | 0.99869 | -0.025092 | 0.99897 | -0.019751 | 5.9513
44 | 0.0066412 | 0.0016645 | -0.0066392 | -0.0016639 | 1.9785e-06 | 5.621e-07 | 0.0098975 | 0.0098978 | 0.0098978 | 0.99845 | -0.029709 | 0.99813 | -0.035963 | 2.7192
45 | 0.031773 | 0.0079887 | -0.031752 | -0.007976 | 2.0368e-05 | 1.2719e-05 | 0.047336 | 0.047336 | 0.047336 | 0.99897 | -0.019751 | 0.99827 | -0.033183 | 13.0045
46 | 0.029692 | 0.0074594 | -0.029679 | -0.0074515 | 1.268e-05 | 7.8898e-06 | 0.044264 | 0.044264 | 0.044264 | 0.99827 | -0.033183 | 0.99781 | -0.042135 | 12.1605
47 | 0.027522 | 0.006911 | -0.027507 | -0.0069018 | 1.4856e-05 | 9.2008e-06 | 0.041048 | 0.041048 | 0.041048 | 0.99781 | -0.042135 | 0.99722 | -0.053456 | 11.2769
48 | -0.0080902 | -0.002027 | 0.0080909 | 0.0020273 | 6.9818e-07 | 2.8348e-07 | 0.012133 | 0.012133 | 0.012133 | 0.99219 | -0.14944 | 0.99228 | -0.14763 | 3.3332
49 | -0.010326 | -0.0025874 | 0.010329 | 0.0025889 | 3.1351e-06 | 1.5559e-06 | 0.015484 | 0.015484 | 0.015484 | 0.99228 | -0.14763 | 0.99261 | -0.14125 | 4.2539
50 | 0.061871 | 0.015597 | -0.061866 | -0.015594 | 5.6076e-06 | 3.5665e-06 | 0.092929 | 0.092929 | 0.092929 | 0.99105 | -0.1713 | 0.99095 | -0.1732 | 25.53
51 | 0.0017278 | 0.00043292 | -0.0017278 | -0.00043302 | 2.3818e-08 | -1.0498e-07 | 0.0026016 | 0.0026016 | 0.0026016 | 0.98823 | -0.22604 | 0.98821 | -0.22633 | 0.71474
52 | -0.0017278 | -0.00043292 | 0.0017279 | 0.0004326 | 7.1743e-08 | -3.1627e-07 | 0.0026016 | 0.0026015 | 0.0026016 | 0.98823 | -0.22604 | 0.98827 | -0.22517 | 0.71473
53 | -0.0035743 | -0.00089537 | 0.0035747 | 0.00089518 | 3.4015e-07 | -1.8366e-07 | 0.0053816 | 0.0053815 | 0.0053816 | 0.98827 | -0.22517 | 0.98837 | -0.22317 | 1.4785
54 | 0.060586 | 0.015273 | -0.060495 | -0.015215 | 9.1477e-05 | 5.8167e-05 | 0.091008 | 0.091008 | 0.091008 | 0.99095 | -0.1732 | 0.98932 | -0.2048 | 25.0022
55 | 0.0081892 | 0.0020525 | -0.0081888 | -0.0020524 | 3.8758e-07 | 1.6092e-07 | 0.012329 | 0.012329 | 0.012329 | 0.98837 | -0.22317 | 0.98832 | -0.22417 | 3.3871
56 | -0.014111 | -0.0035359 | 0.014122 | 0.003542 | 1.0843e-05 | 6.1178e-06 | 0.021244 | 0.021244 | 0.021244 | 0.98837 | -0.22317 | 0.9892 | -0.20705 | 5.8362
57 | 0.0081888 | 0.0020524 | -0.0081873 | -0.0020518 | 1.4895e-06 | 6.1849e-07 | 0.012329 | 0.012329 | 0.012329 | 0.98832 | -0.22417 | 0.98813 | -0.22799 | 3.3872
58 | 0.042562 | 0.010715 | -0.042526 | -0.010693 | 3.5872e-05 | 2.2659e-05 | 0.064042 | 0.064042 | 0.064042 | 0.9892 | -0.20705 | 0.98829 | -0.2247 | 17.5939
59 | -0.058513 | -0.014716 | 0.05852 | 0.01472 | 6.2979e-06 | 4.0029e-06 | 0.088037 | 0.088037 | 0.088037 | 0.9892 | -0.20705 | 0.98932 | -0.2048 | 24.1861
60 | 0.0063152 | 0.0015826 | -0.0063141 | -0.0015823 | 1.1373e-06 | 2.9842e-07 | 0.00951 | 0.0095101 | 0.0095101 | 0.98813 | -0.22799 | 0.98793 | -0.23177 | 2.6127
61 | 0.039866 | 0.010026 | -0.039856 | -0.01002 | 9.9606e-06 | 6.2804e-06 | 0.060036 | 0.060036 | 0.060036 | 0.98829 | -0.2247 | 0.98802 | -0.22993 | 16.4934
62 | 0.0049347 | 0.0012366 | -0.0049338 | -0.0012365 | 8.7545e-07 | 1.9295e-08 | 0.0074326 | 0.0074328 | 0.0074328 | 0.98793 | -0.23177 | 0.98774 | -0.23549 | 2.042
63 | 0.037268 | 0.009371 | -0.03723 | -0.0093476 | 3.7197e-05 | 2.3404e-05 | 0.056138 | 0.056138 | 0.056138 | 0.98802 | -0.22993 | 0.98695 | -0.25085 | 15.4226
64 | 0.035752 | 0.008977 | -0.035751 | -0.0089767 | 4.5798e-07 | 2.8774e-07 | 0.053909 | 0.053909 | 0.053909 | 0.98695 | -0.25085 | 0.98693 | -0.25112 | 14.8101
65 | 0.032371 | 0.0081295 | -0.032356 | -0.0081203 | 1.4778e-05 | 9.2468e-06 | 0.048812 | 0.048812 | 0.048812 | 0.98693 | -0.25112 | 0.98644 | -0.26069 | 13.4099
66 | 0.023545 | 0.0059087 | -0.02353 | -0.0058997 | 1.4768e-05 | 9.0357e-06 | 0.035135 | 0.035135 | 0.035135 | 0.99722 | -0.053456 | 0.99654 | -0.066618 | 9.6526
67 | 0.0197 | 0.0049399 | -0.0197 | -0.0049398 | 6.3869e-08 | 3.8312e-08 | 0.029417 | 0.029417 | 0.029417 | 0.99654 | -0.066618 | 0.99653 | -0.066686 | 8.0816
68 | 0.016207 | 0.0040643 | -0.016201 | -0.0040611 | 5.6319e-06 | 3.2705e-06 | 0.024201 | 0.024201 | 0.024201 | 0.99653 | -0.066686 | 0.99615 | -0.073979 | 6.6487
69 | 0.013258 | 0.0033234 | -0.013256 | -0.0033222 | 2.0684e-06 | 1.1407e-06 | 0.019804 | 0.019804 | 0.019804 | 0.99615 | -0.073979 | 0.99598 | -0.077254 | 5.4407
70 | -0.01922 | -0.0048174 | 0.019222 | 0.0048187 | 2.0798e-06 | 1.2472e-06 | 0.02903 | 0.029029 | 0.02903 | 0.9852 | -0.28488 | 0.98532 | -0.28261 | 7.9751
71 | 0.009842 | 0.0024671 | -0.0098402 | -0.0024662 | 1.8105e-06 | 8.8056e-07 | 0.014865 | 0.014865 | 0.014865 | 0.9852 | -0.28488 | 0.985 | -0.28874 | 4.0839
72 | -0.022614 | -0.0056687 | 0.022628 | 0.0056773 | 1.4157e-05 | 8.6478e-06 | 0.034152 | 0.034151 | 0.034152 | 0.98532 | -0.28261 | 0.98599 | -0.26948 | 9.3823
73 | 0.0049941 | 0.0012516 | -0.004994 | -0.0012516 | 4.6983e-08 | 2.051e-09 | 0.0075444 | 0.0075444 | 0.0075444 | 0.985 | -0.28874 | 0.98499 | -0.28894 | 2.0726
74 | -0.030766 | -0.0077169 | 0.030779 | 0.007725 | 1.289e-05 | 8.046e-06 | 0.046433 | 0.046433 | 0.046433 | 0.98599 | -0.26948 | 0.98644 | -0.26069 | 12.7564
75 | 0.0099392 | 0.002491 | -0.0099392 | -0.002491 | 4.7433e-08 | 2.2892e-08 | 0.014849 | 0.014849 | 0.014849 | 0.99598 | -0.077254 | 0.99598 | -0.077354 | 4.0795

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21864 | 0.055206

## res_load
| p_mw | q_mvar
0 | 0.0061006 | 0.001529
1 | 0.0017152 | 0.00042987
2 | 0.0023437 | 0.00058738
3 | 0.0016547 | 0.00041472
4 | 0.0077086 | 0.001932
5 | 0.0040188 | 0.0010072
6 | 0.001465 | 0.00036716
7 | 0.0075197 | 0.0018846
8 | 0.0014567 | 0.00036509
9 | 0.005143 | 0.001289
10 | 0.0033874 | 0.00084897
11 | 0.0029538 | 0.0007403
12 | 0.0025333 | 0.0006349
13 | 0.00074431 | 0.00018654
14 | 0.0015956 | 0.0003999
15 | 0.0008815 | 0.00022093
16 | 0.00084619 | 0.00021208
17 | 0.0043776 | 0.0010971
18 | 0.0075547 | 0.0018934
19 | 0.0030101 | 0.00075441
20 | 0.0028576 | 0.00071617
21 | 0.0065025 | 0.0016297
22 | 0.0030148 | 0.00075557
23 | 0.003436 | 0.00086114
24 | 0.0027887 | 0.0006989
25 | 0.0025043 | 0.00062763
26 | 0.0016046 | 0.00040215
27 | 0.003466 | 0.00086867
28 | 0.001868 | 0.00046816
29 | 0.0036981 | 0.00092684
30 | 0.0023421 | 0.00058698
31 | 0.0013451 | 0.00033712
32 | 0.0042077 | 0.0010546
33 | 0.0066392 | 0.0016639
34 | 0.0020609 | 0.00051652
35 | 0.002157 | 0.00054059
36 | 0.0014859 | 0.0003724
37 | 0.0022347 | 0.00056007
38 | 0.0029459 | 0.00073831
39 | 0.0015451 | 0.00038724
40 | 0.0017278 | 0.00043302
41 | 0.0018464 | 0.00046276
42 | 0.0012794 | 0.00032065
43 | 0.0023469 | 0.00058818
44 | 0.0018296 | 0.00045854
45 | 0.0019751 | 0.00049502
46 | 0.0018721 | 0.0004692
47 | 0.0026604 | 0.00066677
48 | 0.0013794 | 0.0003457
49 | 0.0025882 | 0.00064867
50 | 0.0014788 | 0.00037062
51 | 0.0033803 | 0.00084718
52 | 0.0039624 | 0.00099307
53 | 0.0038296 | 0.0009598
54 | 0.0034932 | 0.00087549
55 | 0.0029435 | 0.0007377
56 | 0.009378 | 0.0023504
57 | 0.0033917 | 0.00085003
58 | 0.0048461 | 0.0012146
59 | 0.0081381 | 0.0020396
60 | 0.004994 | 0.0012516
61 | 0.0015772 | 0.00039527
62 | 0.0049338 | 0.0012365
63 | 0.0033165 | 0.0008312
64 | 0.0099392 | 0.002491

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1