## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_138-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_138-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_138-6_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_138-6_0_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_138-6_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_138-6_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_138-6_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_138-6_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_138-6_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_138-6_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_138-6_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_138-6_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_138-6_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_138-6_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_138-6_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_138-6_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_138-6_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_138-6_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_138-6_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_138-6_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_138-6_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_138-6_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_138-6_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_138-6_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_138-6_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_138-6_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_138-6_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_138-6_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_138-6_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_138-6_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_138-6_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_138-6_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_138-6_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_138-6_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_138-6_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_138-6_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_138-6_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_138-6_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_138-6_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_138-6_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_138-6_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_138-6_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_138-6_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_138-6_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_138-6_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_138-6_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_138-6_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_138-6_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_138-6_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_MV_222_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-6_0_3_load_0 | 0 | 0.019827 | 0.0049691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-6_0_3_load_3 | 3 | 0.075497 | 0.018921 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-6_0_3_load_4 | 4 | 0.003352 | 0.00084008 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-6_0_3_load_54 | 6 | 0.075442 | 0.018908 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-6_0_3_load_55 | 7 | 0.0039909 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-6_0_3_load_14 | 9 | 0.0034847 | 0.00087335 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-6_0_3_load_11 | 10 | 0.0066848 | 0.0016754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-6_0_3_load_6 | 11 | 0.016449 | 0.0041226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-6_0_3_load_7 | 12 | 0.0011983 | 0.00030032 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-6_0_3_load_9 | 14 | 0.0067496 | 0.0016916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-6_0_3_load_33 | 17 | 0.0031119 | 0.00077993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-6_0_3_load_32 | 19 | 0.01988 | 0.0049824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-6_0_3_load_12 | 20 | 0.016452 | 0.0041234 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-6_0_3_load_29 | 22 | 0.0020113 | 0.00050408 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-6_0_3_load_28 | 23 | 0.0055929 | 0.0014017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-6_0_3_load_25 | 24 | 0.0025651 | 0.00064287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-6_0_3_load_17 | 25 | 0.025939 | 0.0065009 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-6_0_3_load_18 | 26 | 0.0029869 | 0.00074859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-6_0_3_load_47 | 27 | 0.0010474 | 0.0002625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-6_0_3_load_19 | 28 | 0.0028393 | 0.00071159 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-6_0_3_load_46 | 29 | 0.0026078 | 0.00065357 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-6_0_3_load_49 | 31 | 0.0024887 | 0.00062373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-6_0_3_load_20 | 32 | 0.0078513 | 0.0019677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-6_0_3_load_21 | 33 | 0.00085175 | 0.00021347 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-6_0_3_load_22 | 34 | 0.003791 | 0.00095011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-6_0_3_load_23 | 35 | 0.0023074 | 0.00057828 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-6_0_3_load_24 | 36 | 0.0019025 | 0.00047682 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-6_0_3_load_26 | 37 | 0.0018943 | 0.00047476 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-6_0_3_load_38 | 38 | 0.0017646 | 0.00044224 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-6_0_3_load_35 | 39 | 0.0064985 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-6_0_3_load_36 | 40 | 0.0017639 | 0.00044206 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-6_0_3_load_37 | 41 | 0.0014608 | 0.00036611 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-6_0_3_load_39 | 42 | 0.0014609 | 0.00036613 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-6_0_3_load_50 | 43 | 0.0085453 | 0.0021416 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-6_0_3_load_51 | 44 | 0.0014603 | 0.00036598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-6_0_3_load_52 | 45 | 0.0022054 | 0.00055272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-6_0_3_load_53 | 48 | 0.0022044 | 0.00055247 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-6_0_3_load_40 | 49 | 0.0040669 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-6_0_3_load_41 | 50 | 0.0023992 | 0.0006013 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-6_0_3_load_42 | 51 | 0.00275 | 0.00068921 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-6_0_3_load_44 | 52 | 0.0042905 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-6_0_3_line_0 |  | 0 | 1 | 0.006221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_138-6_0_3_line_1 |  | 0 | 2 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_138-6_0_3_line_2 |  | 1 | 3 | 0.016913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_138-6_0_3_line_3 |  | 2 | 4 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-6_0_3_line_4 |  | 2 | 5 | 0.024563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_138-6_0_3_line_5 |  | 3 | 6 | 0.00084361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-6_0_3_line_6 |  | 5 | 7 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-6_0_3_line_7 |  | 5 | 8 | 0.007228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_138-6_0_3_line_8 |  | 8 | 9 | 0.0056218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_138-6_0_3_line_9 |  | 8 | 10 | 0.028932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-6_0_3_line_10 |  | 9 | 16 | 0.020051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_138-6_0_3_line_11 |  | 10 | 20 | 0.035146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-6_0_3_line_12 |  | 11 | 12 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-6_0_3_line_13 |  | 11 | 13 | 0.056651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-6_0_3_line_14 |  | 12 | 14 | 0.016565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-6_0_3_line_15 |  | 13 | 15 | 0.004616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-6_0_3_line_16 |  | 14 | 16 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-6_0_3_line_17 |  | 15 | 17 | 0.07143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-6_0_3_line_18 |  | 16 | 18 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_138-6_0_3_line_19 |  | 17 | 19 | 0.099125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-6_0_3_line_20 |  | 18 | 21 | 0.031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-6_0_3_line_21 |  | 18 | 22 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_138-6_0_3_line_22 |  | 21 | 23 | 0.009525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_138-6_0_3_line_23 |  | 21 | 24 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-6_0_3_line_24 |  | 23 | 34 | 0.0081382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-6_0_3_line_25 |  | 24 | 35 | 0.040058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-6_0_3_line_26 |  | 25 | 26 | 0.074133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-6_0_3_line_27 |  | 25 | 27 | 0.1025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-6_0_3_line_28 |  | 26 | 28 | 0.044559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_138-6_0_3_line_29 |  | 27 | 29 | 0.0028798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_138-6_0_3_line_30 |  | 28 | 32 | 0.038222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_138-6_0_3_line_31 |  | 29 | 30 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-6_0_3_line_32 |  | 30 | 31 | 0.051848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_138-6_0_3_line_33 |  | 32 | 33 | 0.0077385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-6_0_3_line_34 |  | 33 | 34 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_138-6_0_3_line_35 |  | 35 | 36 | 0.038124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_138-6_0_3_line_36 |  | 36 | 37 | 0.034743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_138-6_0_3_line_37 |  | 36 | 38 | 0.091053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-6_0_3_line_38 |  | 38 | 43 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_138-6_0_3_line_39 |  | 38 | 40 | 0.0086193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_138-6_0_3_line_40 |  | 39 | 40 | 0.0085839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_138-6_0_3_line_41 |  | 39 | 41 | 0.012375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_138-6_0_3_line_42 |  | 41 | 42 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_138-6_0_3_line_43 |  | 42 | 44 | 0.0063051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_138-6_0_3_line_44 |  | 44 | 45 | 0.026429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_138-6_0_3_line_45 |  | 45 | 48 | 0.0051612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_138-6_0_3_line_46 |  | 46 | 47 | 0.010148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-6_0_3_line_47 |  | 46 | 48 | 0.040887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_138-6_0_3_line_48 |  | 47 | 50 | 0.080416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_138-6_0_3_line_49 |  | 49 | 50 | 0.020284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-6_0_3_line_50 |  | 49 | 51 | 0.001602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-6_0_3_line_51 |  | 51 | 52 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-6_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 53 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2694628.4785 | 1228931.8871 | 2694629.0725 | 1228925.6945
1 | 2694630.9407 | 1228906.2189 | 2694629.0725 | 1228925.6945
2 | 2694628.4785 | 1228931.8871 | 2694645.2718 | 1228933.8949
3 | 2694630.9407 | 1228906.2189 | 2694646.8462 | 1228908.2046
4 | 2694633.2849 | 1228881.772 | 2694630.9407 | 1228906.2189
5 | 2694646.1095 | 1228933.9951 | 2694645.2718 | 1228933.8949
6 | 2694633.2849 | 1228881.772 | 2694657.2262 | 1228884.8885
7 | 2694633.9753 | 1228874.5778 | 2694633.2849 | 1228881.772
8 | 2694633.9753 | 1228874.5778 | 2694634.5919 | 1228868.99
9 | 2694633.9753 | 1228874.5778 | 2694605.0758 | 1228873.2042
10 | 2694636.7913 | 1228849.0599 | 2694634.5919 | 1228868.99
11 | 2694569.9695 | 1228871.5355 | 2694605.0758 | 1228873.2042
12 | 2694597.1665 | 1228826.0225 | 2694592.883 | 1228823.5321 | 2694577.7733 | 1228818.3503
13 | 2694528.2108 | 1228829.475 | 2694530.0335 | 1228832.0836 | 2694535.0083 | 1228829.9389 | 2694543.0465 | 1228825.2855 | 2694554.3942 | 1228817.4269 | 2694560.5518 | 1228813.8111 | 2694574.7951 | 1228817.3289 | 2694577.7733 | 1228818.3503
14 | 2694597.1665 | 1228826.0225 | 2694611.4872 | 1228834.3484
15 | 2694526.0097 | 1228825.4149 | 2694528.2108 | 1228829.475
16 | 2694636.7913 | 1228849.0599 | 2694611.4872 | 1228834.3484
17 | 2694526.0097 | 1228825.4149 | 2694549.1425 | 1228808.8706 | 2694560.5981 | 1228795.6544 | 2694569.2477 | 1228774.0097 | 2694569.8586 | 1228771.9058
18 | 2694642.6784 | 1228829.117 | 2694636.7913 | 1228849.0599
19 | 2694634.7194 | 1228704.5566 | 2694614.9441 | 1228711.5026 | 2694603.3727 | 1228718.1678 | 2694590.8595 | 1228728.7764 | 2694582.1889 | 1228741.2586 | 2694574.5951 | 1228755.5926 | 2694569.8586 | 1228771.9058
20 | 2694642.6784 | 1228829.117 | 2694653.9107 | 1228799.4856
21 | 2694642.6784 | 1228829.117 | 2694648.5224 | 1228831.8786 | 2694656.2268 | 1228837.2495 | 2694658.1888 | 1228838.3726
22 | 2694653.9107 | 1228799.4856 | 2694657.4361 | 1228790.637
23 | 2694653.9107 | 1228799.4856 | 2694670.051 | 1228804.3297
24 | 2694660.4483 | 1228783.0768 | 2694657.4361 | 1228790.637
25 | 2694670.051 | 1228804.3297 | 2694687.675 | 1228809.6191 | 2694702.7377 | 1228810.693 | 2694709.0349 | 1228808.8674
26 | 2694778.5361 | 1228674.3997 | 2694739.115 | 1228690.6194 | 2694709.3003 | 1228700.8031
27 | 2694778.5361 | 1228674.3997 | 2694859.5096 | 1228737.2408
28 | 2694709.3003 | 1228700.8031 | 2694694.3588 | 1228705.9066 | 2694689.115 | 1228711.1269 | 2694681.2049 | 1228730.9803
29 | 2694861.596 | 1228735.2558 | 2694859.5096 | 1228737.2408
30 | 2694681.2049 | 1228730.9803 | 2694667.058 | 1228766.4874
31 | 2694870.7077 | 1228726.5868 | 2694861.596 | 1228735.2558
32 | 2694870.7077 | 1228726.5868 | 2694892.3608 | 1228746.8134 | 2694908.141 | 1228762.4537
33 | 2694664.1938 | 1228773.6763 | 2694667.058 | 1228766.4874
34 | 2694660.4483 | 1228783.0768 | 2694664.1938 | 1228773.6763
35 | 2694736.5649 | 1228784.7092 | 2694728.5759 | 1228797.506 | 2694717.6438 | 1228806.3716 | 2694709.0349 | 1228808.8674
36 | 2694736.5649 | 1228784.7092 | 2694754.9642 | 1228755.2377
37 | 2694736.5649 | 1228784.7092 | 2694808.4886 | 1228840.5451
38 | 2694814.5672 | 1228832.2787 | 2694808.4886 | 1228840.5451
39 | 2694803.3824 | 1228847.4892 | 2694803.3824 | 1228847.4892 | 2694808.4886 | 1228840.5451
40 | 2694801.3708 | 1228855.7853 | 2694801.89 | 1228851.7351 | 2694803.3824 | 1228847.4892
41 | 2694801.3708 | 1228855.7853 | 2694801.3708 | 1228855.7853 | 2694810.8451 | 1228863.7457
42 | 2694810.8451 | 1228863.7457 | 2694812.7291 | 1228865.3287 | 2694817.7183 | 1228869.8893 | 2694824.5324 | 1228868.8305 | 2694831.0476 | 1228861.1477
43 | 2694831.0476 | 1228861.1477 | 2694835.1256 | 1228856.3389
44 | 2694835.1256 | 1228856.3389 | 2694852.2194 | 1228836.1818 | 2694852.2194 | 1228836.1818
45 | 2694852.2194 | 1228836.1818 | 2694857.1685 | 1228834.7172
46 | 2694888.0621 | 1228856.1233 | 2694897.9087 | 1228853.5563
47 | 2694888.0621 | 1228856.1233 | 2694877.739 | 1228841.5481 | 2694868.6602 | 1228834.9431 | 2694861.2036 | 1228833.5231 | 2694857.1685 | 1228834.7172
48 | 2694897.9087 | 1228853.5563 | 2694910.5562 | 1228837.402 | 2694912.6214 | 1228832.8762 | 2694908.7183 | 1228823.8963 | 2694896.5851 | 1228809.7259 | 2694877.046 | 1228791.8558
49 | 2694862.0777 | 1228778.1662 | 2694877.046 | 1228791.8558
50 | 2694862.0777 | 1228778.1662 | 2694860.8956 | 1228777.085
51 | 2694847.3508 | 1228764.6973 | 2694860.8956 | 1228777.085

## bus_geodata
| x | y | coords
0 | 2694629.0725 | 1228925.6945
1 | 2694628.4785 | 1228931.8871
2 | 2694630.9407 | 1228906.2189
3 | 2694645.2718 | 1228933.8949
4 | 2694646.8462 | 1228908.2046
5 | 2694633.2849 | 1228881.772
6 | 2694646.1095 | 1228933.9951
7 | 2694657.2262 | 1228884.8885
8 | 2694633.9753 | 1228874.5778
9 | 2694634.5919 | 1228868.99
10 | 2694605.0758 | 1228873.2042
11 | 2694577.7733 | 1228818.3503
12 | 2694597.1665 | 1228826.0225
13 | 2694528.2108 | 1228829.475
14 | 2694611.4872 | 1228834.3484
15 | 2694526.0097 | 1228825.4149
16 | 2694636.7913 | 1228849.0599
17 | 2694569.8586 | 1228771.9058
18 | 2694642.6784 | 1228829.117
19 | 2694634.7194 | 1228704.5566
20 | 2694569.9695 | 1228871.5355
21 | 2694653.9107 | 1228799.4856
22 | 2694658.1888 | 1228838.3726
23 | 2694657.4361 | 1228790.637
24 | 2694670.051 | 1228804.3297
25 | 2694778.5361 | 1228674.3997
26 | 2694709.3003 | 1228700.8031
27 | 2694859.5096 | 1228737.2408
28 | 2694681.2049 | 1228730.9803
29 | 2694861.596 | 1228735.2558
30 | 2694870.7077 | 1228726.5868
31 | 2694908.141 | 1228762.4537
32 | 2694667.058 | 1228766.4874
33 | 2694664.1938 | 1228773.6763
34 | 2694660.4483 | 1228783.0768
35 | 2694709.0349 | 1228808.8674
36 | 2694736.5649 | 1228784.7092
37 | 2694754.9642 | 1228755.2377
38 | 2694808.4886 | 1228840.5451
39 | 2694801.3708 | 1228855.7853
40 | 2694803.3824 | 1228847.4892
41 | 2694810.8451 | 1228863.7457
42 | 2694831.0476 | 1228861.1477
43 | 2694814.5672 | 1228832.2787
44 | 2694835.1256 | 1228856.3389
45 | 2694852.2194 | 1228836.1818
46 | 2694888.0621 | 1228856.1233
47 | 2694897.9087 | 1228853.5563
48 | 2694857.1685 | 1228834.7172
49 | 2694862.0777 | 1228778.1662
50 | 2694877.046 | 1228791.8558
51 | 2694860.8956 | 1228777.085
52 | 2694847.3508 | 1228764.6973
53 | 2694642.6784 | 1228829.117

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99211 | -0.15147 | 0.019827 | 0.0049691
1 | 0.99182 | -0.15701 | 0 | 0
2 | 0.99313 | -0.13177 | 0 | 0
3 | 0.99065 | -0.17965 | 0.075497 | 0.018921
4 | 0.99308 | -0.13272 | 0.003352 | 0.00084008
5 | 0.99443 | -0.10661 | 0 | 0
6 | 0.9906 | -0.18078 | 0.075442 | 0.018908
7 | 0.99435 | -0.1083 | 0.0039909 | 0.0010002
8 | 0.99483 | -0.099044 | 0 | 0
9 | 0.99517 | -0.092405 | 0.0034847 | 0.00087335
10 | 0.99422 | -0.11084 | 0.0066848 | 0.0016754
11 | 0.99378 | -0.11915 | 0.016449 | 0.0041226
12 | 0.99454 | -0.1046 | 0.0011983 | 0.00030032
13 | 0.99259 | -0.14218 | 0 | 0
14 | 0.99515 | -0.092738 | 0.0067496 | 0.0016916
15 | 0.99249 | -0.14405 | 0 | 0
16 | 0.99642 | -0.068352 | 0 | 0
17 | 0.99099 | -0.17316 | 0.0031119 | 0.00077993
18 | 0.99802 | -0.037724 | 0 | 0
19 | 0.98918 | -0.2082 | 0.01988 | 0.0049824
20 | 0.99369 | -0.12104 | 0.016452 | 0.0041234
21 | 0.99495 | -0.09643 | 0 | 0
22 | 1 | 0 | -0.3624 | -0.091595
23 | 0.99447 | -0.10583 | 0.0055929 | 0.0014017
24 | 0.99419 | -0.11114 | 0.0025651 | 0.00064287
25 | 0.98839 | -0.22335 | 0.025939 | 0.0065009
26 | 0.99057 | -0.181 | 0.0029869 | 0.00074859
27 | 0.98781 | -0.2346 | 0.0010474 | 0.0002625
28 | 0.992 | -0.15328 | 0.0028393 | 0.00071159
29 | 0.9878 | -0.23486 | 0.0026078 | 0.00065357
30 | 0.98777 | -0.23542 | 0 | 0
31 | 0.98765 | -0.23773 | 0.0024887 | 0.00062373
32 | 0.99333 | -0.12764 | 0.0078513 | 0.0019677
33 | 0.99366 | -0.12139 | 0.00085175 | 0.00021347
34 | 0.99409 | -0.11306 | 0.003791 | 0.00095011
35 | 0.99246 | -0.1444 | 0.0023074 | 0.00057828
36 | 0.99089 | -0.17459 | 0.0019025 | 0.00047682
37 | 0.99083 | -0.17575 | 0.0018943 | 0.00047476
38 | 0.98747 | -0.24089 | 0.0017646 | 0.00044224
39 | 0.987 | -0.25003 | 0.0064985 | 0.0016287
40 | 0.98722 | -0.2456 | 0.0017639 | 0.00044206
41 | 0.98674 | -0.25497 | 0.0014608 | 0.00036611
42 | 0.98624 | -0.26474 | 0.0014609 | 0.00036613
43 | 0.98739 | -0.24246 | 0.0085453 | 0.0021416
44 | 0.98613 | -0.26693 | 0.0014603 | 0.00036598
45 | 0.98569 | -0.27543 | 0.0022054 | 0.00055272
46 | 0.98511 | -0.2868 | 0 | 0
47 | 0.98498 | -0.28926 | 0 | 0
48 | 0.98562 | -0.27688 | 0.0022044 | 0.00055247
49 | 0.98377 | -0.31285 | 0.0040669 | 0.0010193
50 | 0.98398 | -0.3088 | 0.0023992 | 0.0006013
51 | 0.98376 | -0.31306 | 0.00275 | 0.00068921
52 | 0.98369 | -0.31448 | 0.0042905 | 0.0010753
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.15115 | 0.037961 | -0.15111 | -0.037935 | 3.9973e-05 | 2.5342e-05 | 0.22672 | 0.22672 | 0.22672 | 0.99211 | -0.15147 | 0.99182 | -0.15701 | 20.7623
1 | -0.17097 | -0.04293 | 0.17113 | 0.043032 | 0.00016085 | 0.00010219 | 0.25646 | 0.25646 | 0.25646 | 0.99211 | -0.15147 | 0.99313 | -0.13177 | 23.4855
2 | 0.15111 | 0.037935 | -0.15094 | -0.037831 | 0.00016301 | 0.00010389 | 0.22672 | 0.22672 | 0.22672 | 0.99182 | -0.15701 | 0.99065 | -0.17965 | 31.1435
3 | 0.0033521 | 0.00083997 | -0.003352 | -0.00084008 | 1.5163e-07 | -1.1036e-07 | 0.0050225 | 0.0050226 | 0.0050226 | 0.99313 | -0.13177 | 0.99308 | -0.13272 | 1.3798
4 | -0.17449 | -0.043872 | 0.1747 | 0.044005 | 0.00020993 | 0.0001334 | 0.26148 | 0.26148 | 0.26148 | 0.99313 | -0.13177 | 0.99443 | -0.10661 | 23.9454
5 | 0.075446 | 0.01891 | -0.075442 | -0.018908 | 4.0628e-06 | 2.5893e-06 | 0.11332 | 0.11332 | 0.11332 | 0.99065 | -0.17965 | 0.9906 | -0.18078 | 31.1332
6 | 0.0039912 | 0.0010001 | -0.0039909 | -0.0010002 | 3.2198e-07 | -1.0622e-07 | 0.0059721 | 0.0059722 | 0.0059722 | 0.99443 | -0.10661 | 0.99435 | -0.1083 | 1.6407
7 | -0.17869 | -0.045005 | 0.17875 | 0.045046 | 6.463e-05 | 4.1082e-05 | 0.26746 | 0.26746 | 0.26746 | 0.99443 | -0.10661 | 0.99483 | -0.099044 | 24.4923
8 | -0.20191 | -0.050858 | 0.20197 | 0.050899 | 6.4132e-05 | 4.0826e-05 | 0.3021 | 0.3021 | 0.3021 | 0.99483 | -0.099044 | 0.99517 | -0.092405 | 27.6646
9 | 0.023158 | 0.0058113 | -0.023145 | -0.0058034 | 1.302e-05 | 7.9574e-06 | 0.034642 | 0.034642 | 0.034642 | 0.99483 | -0.099044 | 0.99422 | -0.11084 | 9.517
10 | -0.20546 | -0.051772 | 0.2057 | 0.051923 | 0.0002367 | 0.0001507 | 0.30731 | 0.30731 | 0.30731 | 0.99517 | -0.092405 | 0.99642 | -0.068352 | 28.1417
11 | 0.01646 | 0.004128 | -0.016452 | -0.0041234 | 7.9998e-06 | 4.6643e-06 | 0.024637 | 0.024637 | 0.024637 | 0.99422 | -0.11084 | 0.99369 | -0.12104 | 6.7684
12 | -0.039534 | -0.0099412 | 0.039561 | 0.0099586 | 2.7511e-05 | 1.7336e-05 | 0.059207 | 0.059207 | 0.059207 | 0.99378 | -0.11915 | 0.99454 | -0.1046 | 16.2656
13 | 0.023085 | 0.0058187 | -0.023059 | -0.0058032 | 2.5399e-05 | 1.5522e-05 | 0.034577 | 0.034577 | 0.034577 | 0.99378 | -0.11915 | 0.99259 | -0.14218 | 9.4992
14 | -0.04076 | -0.010259 | 0.040783 | 0.010273 | 2.3114e-05 | 1.4578e-05 | 0.060999 | 0.060999 | 0.060999 | 0.99454 | -0.1046 | 0.99515 | -0.092738 | 16.7581
15 | 0.023059 | 0.0058032 | -0.023057 | -0.0058019 | 2.0695e-06 | 1.2649e-06 | 0.034577 | 0.034577 | 0.034577 | 0.99259 | -0.14218 | 0.99249 | -0.14405 | 9.4992
16 | -0.047532 | -0.011965 | 0.047588 | 0.012 | 5.5474e-05 | 3.5123e-05 | 0.071092 | 0.071092 | 0.071092 | 0.99515 | -0.092738 | 0.99642 | -0.068352 | 19.5307
17 | 0.023057 | 0.0058019 | -0.023025 | -0.0057823 | 3.2025e-05 | 1.9575e-05 | 0.034577 | 0.034577 | 0.034577 | 0.99249 | -0.14405 | 0.99099 | -0.17316 | 9.4993
18 | -0.25328 | -0.063923 | 0.25366 | 0.06416 | 0.00037214 | 0.00023736 | 0.3784 | 0.3784 | 0.3784 | 0.99642 | -0.068352 | 0.99802 | -0.037724 | 34.6519
19 | 0.019913 | 0.0050024 | -0.01988 | -0.0049824 | 3.3243e-05 | 2.0001e-05 | 0.029905 | 0.029905 | 0.029905 | 0.99099 | -0.17316 | 0.98918 | -0.2082 | 8.2157
20 | 0.10644 | 0.027017 | -0.10614 | -0.026826 | 0.00029968 | 0.00019139 | 0.15882 | 0.15882 | 0.15882 | 0.99802 | -0.037724 | 0.99495 | -0.09643 | 43.6317
21 | -0.3601 | -0.091177 | 0.36075 | 0.091595 | 0.00065354 | 0.00041756 | 0.53722 | 0.53722 | 0.53722 | 0.99802 | -0.037724 | 1 | 0 | 49.1958
22 | 0.056233 | 0.014181 | -0.056208 | -0.014165 | 2.5282e-05 | 1.6057e-05 | 0.084131 | 0.084131 | 0.084131 | 0.99495 | -0.09643 | 0.99447 | -0.10583 | 23.1129
23 | 0.049908 | 0.012645 | -0.049872 | -0.012622 | 3.5252e-05 | 2.2342e-05 | 0.074688 | 0.074688 | 0.074688 | 0.99495 | -0.09643 | 0.99419 | -0.11114 | 20.5188
24 | 0.050615 | 0.012763 | -0.050597 | -0.012752 | 1.7517e-05 | 1.1106e-05 | 0.075762 | 0.075762 | 0.075762 | 0.99447 | -0.10583 | 0.99409 | -0.11306 | 20.8138
25 | 0.047307 | 0.01198 | -0.047232 | -0.011932 | 7.5404e-05 | 4.774e-05 | 0.070849 | 0.070849 | 0.070849 | 0.99419 | -0.11114 | 0.99246 | -0.1444 | 19.4641
26 | -0.032087 | -0.0080409 | 0.032151 | 0.0080815 | 6.487e-05 | 4.0564e-05 | 0.048306 | 0.048306 | 0.048306 | 0.98839 | -0.22335 | 0.99057 | -0.181 | 13.2709
27 | 0.0061476 | 0.00154 | -0.0061443 | -0.0015392 | 3.2924e-06 | 7.9425e-07 | 0.0092549 | 0.0092554 | 0.0092554 | 0.98839 | -0.22335 | 0.98781 | -0.2346 | 2.5427
28 | -0.035138 | -0.0088301 | 0.035185 | 0.0088593 | 4.6571e-05 | 2.9231e-05 | 0.052792 | 0.052792 | 0.052792 | 0.99057 | -0.181 | 0.992 | -0.15328 | 14.5034
29 | 0.0050969 | 0.0012767 | -0.0050969 | -0.0012767 | 6.3657e-08 | 3.8758e-09 | 0.0076776 | 0.0076776 | 0.0076776 | 0.98781 | -0.2346 | 0.9878 | -0.23486 | 2.1092
30 | -0.038024 | -0.0095709 | 0.038071 | 0.0096002 | 4.6652e-05 | 2.9363e-05 | 0.057051 | 0.057051 | 0.057051 | 0.992 | -0.15328 | 0.99333 | -0.12764 | 15.6734
31 | 0.0024891 | 0.00062313 | -0.002489 | -0.00062324 | 6.6298e-08 | -1.1856e-07 | 0.0037493 | 0.0037493 | 0.0037493 | 0.9878 | -0.23486 | 0.98777 | -0.23542 | 1.03
32 | 0.002489 | 0.00062324 | -0.0024887 | -0.00062373 | 2.7334e-07 | -4.8866e-07 | 0.0037493 | 0.0037496 | 0.0037496 | 0.98777 | -0.23542 | 0.98765 | -0.23773 | 1.0301
33 | -0.045922 | -0.011568 | 0.045936 | 0.011577 | 1.3741e-05 | 8.694e-06 | 0.068812 | 0.068812 | 0.068812 | 0.99333 | -0.12764 | 0.99366 | -0.12139 | 18.9045
34 | -0.046788 | -0.01179 | 0.046806 | 0.011802 | 1.8641e-05 | 1.1799e-05 | 0.070088 | 0.070088 | 0.070088 | 0.99366 | -0.12139 | 0.99409 | -0.11306 | 19.2549
35 | 0.044924 | 0.011354 | -0.044859 | -0.011313 | 6.4927e-05 | 4.1061e-05 | 0.06739 | 0.06739 | 0.06739 | 0.99246 | -0.1444 | 0.99089 | -0.17459 | 18.5138
36 | 0.0018944 | 0.00047438 | -0.0018943 | -0.00047476 | 1.0544e-07 | -3.8003e-07 | 0.0028447 | 0.0028449 | 0.0028449 | 0.99089 | -0.17459 | 0.99083 | -0.17575 | 0.78156
37 | 0.041063 | 0.010361 | -0.040933 | -0.010279 | 0.00012994 | 8.1991e-05 | 0.061688 | 0.061689 | 0.061689 | 0.99089 | -0.17459 | 0.98747 | -0.24089 | 16.9475
38 | 0.0085459 | 0.0021419 | -0.0085453 | -0.0021416 | 6.3812e-07 | 2.7715e-07 | 0.012878 | 0.012878 | 0.012878 | 0.98747 | -0.24089 | 0.98739 | -0.24246 | 3.5379
39 | 0.030622 | 0.0076952 | -0.030615 | -0.0076909 | 6.8847e-06 | 4.296e-06 | 0.046152 | 0.046152 | 0.046152 | 0.98747 | -0.24089 | 0.98722 | -0.2456 | 12.6791
40 | -0.028845 | -0.007245 | 0.028851 | 0.0072488 | 6.0892e-06 | 3.7874e-06 | 0.043493 | 0.043493 | 0.043493 | 0.987 | -0.25003 | 0.98722 | -0.2456 | 11.9487
41 | 0.022347 | 0.0056164 | -0.022342 | -0.0056131 | 5.2689e-06 | 3.214e-06 | 0.033696 | 0.033696 | 0.033696 | 0.987 | -0.25003 | 0.98674 | -0.25497 | 9.2572
42 | 0.020881 | 0.005247 | -0.020871 | -0.0052411 | 9.7408e-06 | 5.8997e-06 | 0.031493 | 0.031493 | 0.031493 | 0.98674 | -0.25497 | 0.98624 | -0.26474 | 8.652
43 | 0.01941 | 0.004875 | -0.019408 | -0.0048738 | 2.0283e-06 | 1.2177e-06 | 0.029289 | 0.029289 | 0.029289 | 0.98624 | -0.26474 | 0.98613 | -0.26693 | 8.0465
44 | 0.017948 | 0.0045078 | -0.017941 | -0.0045035 | 7.2711e-06 | 4.3165e-06 | 0.027086 | 0.027086 | 0.027086 | 0.98613 | -0.26693 | 0.98569 | -0.27543 | 7.4412
45 | 0.015735 | 0.0039508 | -0.015734 | -0.0039501 | 1.0923e-06 | 6.3331e-07 | 0.023757 | 0.023757 | 0.023757 | 0.98569 | -0.27543 | 0.98562 | -0.27688 | 6.5265
46 | 0.013523 | 0.0033941 | -0.013522 | -0.0033932 | 1.5882e-06 | 8.8725e-07 | 0.020429 | 0.020429 | 0.020429 | 0.98511 | -0.2868 | 0.98498 | -0.28926 | 5.6123
47 | -0.013523 | -0.0033941 | 0.01353 | 0.0033977 | 6.3987e-06 | 3.5744e-06 | 0.020429 | 0.020429 | 0.020429 | 0.98511 | -0.2868 | 0.98562 | -0.27688 | 5.6123
48 | 0.013522 | 0.0033932 | -0.013509 | -0.0033862 | 1.2585e-05 | 7.0322e-06 | 0.020429 | 0.020429 | 0.020429 | 0.98498 | -0.28926 | 0.98398 | -0.3088 | 5.6124
49 | -0.011108 | -0.0027837 | 0.01111 | 0.0027849 | 2.1472e-06 | 1.1166e-06 | 0.016801 | 0.016801 | 0.016801 | 0.98377 | -0.31285 | 0.98398 | -0.3088 | 4.6157
50 | 0.0070408 | 0.0017645 | -0.0070408 | -0.0017645 | 6.8133e-08 | 2.3265e-08 | 0.01065 | 0.01065 | 0.01065 | 0.98377 | -0.31285 | 0.98376 | -0.31306 | 2.9257
51 | 0.0042908 | 0.0010753 | -0.0042905 | -0.0010753 | 2.8994e-07 | -4.7475e-08 | 0.0064901 | 0.0064902 | 0.0064902 | 0.98376 | -0.31306 | 0.98369 | -0.31448 | 1.783

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36441 | 0.092099

## res_load
| p_mw | q_mvar
0 | 0.019827 | 0.0049691
1 | 0.075497 | 0.018921
2 | 0.003352 | 0.00084008
3 | 0.075442 | 0.018908
4 | 0.0039909 | 0.0010002
5 | 0.0034847 | 0.00087335
6 | 0.0066848 | 0.0016754
7 | 0.016449 | 0.0041226
8 | 0.0011983 | 0.00030032
9 | 0.0067496 | 0.0016916
10 | 0.0031119 | 0.00077993
11 | 0.01988 | 0.0049824
12 | 0.016452 | 0.0041234
13 | 0.0020113 | 0.00050408
14 | 0.0055929 | 0.0014017
15 | 0.0025651 | 0.00064287
16 | 0.025939 | 0.0065009
17 | 0.0029869 | 0.00074859
18 | 0.0010474 | 0.0002625
19 | 0.0028393 | 0.00071159
20 | 0.0026078 | 0.00065357
21 | 0.0024887 | 0.00062373
22 | 0.0078513 | 0.0019677
23 | 0.00085175 | 0.00021347
24 | 0.003791 | 0.00095011
25 | 0.0023074 | 0.00057828
26 | 0.0019025 | 0.00047682
27 | 0.0018943 | 0.00047476
28 | 0.0017646 | 0.00044224
29 | 0.0064985 | 0.0016287
30 | 0.0017639 | 0.00044206
31 | 0.0014608 | 0.00036611
32 | 0.0014609 | 0.00036613
33 | 0.0085453 | 0.0021416
34 | 0.0014603 | 0.00036598
35 | 0.0022054 | 0.00055272
36 | 0.0022044 | 0.00055247
37 | 0.0040669 | 0.0010193
38 | 0.0023992 | 0.0006013
39 | 0.00275 | 0.00068921
40 | 0.0042905 | 0.0010753

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1