## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_138-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_138-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_138-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_138-7_0_5_node_93 | 0.4 | n |  | TRUE
4 | bus_LV_138-7_0_5_node_92 | 0.4 | n |  | TRUE
5 | bus_LV_138-7_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_138-7_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_138-7_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_138-7_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_138-7_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_138-7_0_5_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_138-7_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_138-7_0_5_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_138-7_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_138-7_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_138-7_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_138-7_0_5_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_138-7_0_5_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_138-7_0_5_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_138-7_0_5_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_138-7_0_5_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_138-7_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_138-7_0_5_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_138-7_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_138-7_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_138-7_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_138-7_0_5_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_138-7_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_138-7_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_138-7_0_5_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_138-7_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_138-7_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_138-7_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_138-7_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_138-7_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_138-7_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_138-7_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_138-7_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_138-7_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_138-7_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_138-7_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_138-7_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_138-7_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_138-7_0_5_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_138-7_0_5_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_138-7_0_5_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_138-7_0_5_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_138-7_0_5_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_138-7_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_138-7_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_138-7_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_138-7_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_138-7_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_138-7_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_138-7_0_5_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_138-7_0_5_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_138-7_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_138-7_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_138-7_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_138-7_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_138-7_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_138-7_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_138-7_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_138-7_0_5_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_138-7_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_138-7_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_138-7_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_138-7_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_138-7_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_138-7_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_138-7_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_138-7_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_138-7_0_5_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_138-7_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_138-7_0_5_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_138-7_0_5_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_138-7_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_138-7_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_138-7_0_5_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_138-7_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_138-7_0_5_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_138-7_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_138-7_0_5_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_138-7_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_138-7_0_5_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_138-7_0_5_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_138-7_0_5_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_138-7_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_138-7_0_5_node_88 | 0.4 | n |  | TRUE
89 | bus_MV_222_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_138-7_0_5_load_0 | 0 | 0.0038947 | 0.0009761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_138-7_0_5_load_93 | 3 | 0.00021674 | 5.4321e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_138-7_0_5_load_92 | 4 | 0.00020547 | 5.1495e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_138-7_0_5_load_3 | 6 | 0.010029 | 0.0025136 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_138-7_0_5_load_94 | 10 | 0.00081182 | 0.00020346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_138-7_0_5_load_12 | 11 | 0.004807 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_138-7_0_5_load_9 | 13 | 0.0048567 | 0.0012172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_138-7_0_5_load_10 | 14 | 0.0094486 | 0.002368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_138-7_0_5_load_87 | 17 | 0.0094542 | 0.0023695 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_138-7_0_5_load_61 | 20 | 0.025361 | 0.0063562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_138-7_0_5_load_58 | 21 | 0.024974 | 0.0062592 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_138-7_0_5_load_50 | 22 | 0.00073645 | 0.00018457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_138-7_0_5_load_14 | 23 | 0.00021884 | 5.4846e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_138-7_0_5_load_17 | 25 | 0.0019205 | 0.00048133 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_138-7_0_5_load_23 | 27 | 0.011536 | 0.0028912 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_138-7_0_5_load_81 | 29 | 0.0018825 | 0.0004718 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_138-7_0_5_load_18 | 30 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_138-7_0_5_load_22 | 32 | 0.0099233 | 0.002487 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_138-7_0_5_load_27 | 33 | 0.005458 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_138-7_0_5_load_24 | 34 | 0.018403 | 0.0046122 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_138-7_0_5_load_26 | 36 | 0.0052867 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_138-7_0_5_load_28 | 37 | 0.0018932 | 0.00047449 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_138-7_0_5_load_29 | 38 | 0.0046765 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_138-7_0_5_load_30 | 39 | 0.0022232 | 0.00055717 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_138-7_0_5_load_31 | 40 | 0.0030751 | 0.00077068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_138-7_0_5_load_86 | 44 | 0.0049004 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_138-7_0_5_load_75 | 46 | 0.0090376 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_138-7_0_5_load_85 | 47 | 0.0069292 | 0.0017366 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_138-7_0_5_load_34 | 48 | 0.011454 | 0.0028707 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_138-7_0_5_load_38 | 51 | 0.0090976 | 0.0022801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_138-7_0_5_load_39 | 53 | 0.0080387 | 0.0020147 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_138-7_0_5_load_66 | 54 | 0.017182 | 0.0043063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_138-7_0_5_load_63 | 55 | 0.015801 | 0.00396 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_138-7_0_5_load_42 | 56 | 0.0029652 | 0.00074315 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_138-7_0_5_load_64 | 58 | 0.0030656 | 0.00076831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_138-7_0_5_load_41 | 59 | 0.0034226 | 0.00085778 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_138-7_0_5_load_46 | 60 | 0.010228 | 0.0025635 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_138-7_0_5_load_43 | 61 | 0.0039058 | 0.0009789 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_138-7_0_5_load_44 | 62 | 0.0040667 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_138-7_0_5_load_84 | 63 | 0.0042867 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_138-7_0_5_load_83 | 64 | 0.0049022 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_138-7_0_5_load_49 | 65 | 0.00040576 | 0.00010169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_138-7_0_5_load_53 | 67 | 0.0027123 | 0.00067978 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_138-7_0_5_load_55 | 69 | 0.0052594 | 0.0013181 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_138-7_0_5_load_67 | 70 | 0.0040229 | 0.0010082 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_138-7_0_5_load_78 | 72 | 0.0034761 | 0.0008712 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_138-7_0_5_load_68 | 73 | 0.0047779 | 0.0011975 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_138-7_0_5_load_56 | 74 | 0.0039102 | 0.00097998 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_138-7_0_5_load_79 | 75 | 0.0084076 | 0.0021071 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_138-7_0_5_load_59 | 76 | 0.011392 | 0.0028552 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_138-7_0_5_load_65 | 77 | 0.0031993 | 0.00080183 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_138-7_0_5_load_69 | 78 | 0.01749 | 0.0043835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_138-7_0_5_load_70 | 79 | 0.0034867 | 0.00087386 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_138-7_0_5_load_71 | 80 | 0.0033628 | 0.00084279 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_138-7_0_5_load_72 | 81 | 0.0039913 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_138-7_0_5_load_73 | 82 | 0.0026744 | 0.00067026 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_138-7_0_5_load_74 | 83 | 0.0048347 | 0.0012117 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_138-7_0_5_load_91 | 84 | 0.0077411 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_138-7_0_5_load_90 | 85 | 0.0068403 | 0.0017143 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_138-7_0_5_load_89 | 86 | 0.0064937 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_138-7_0_5_load_80 | 87 | 0.006286 | 0.0015754 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_138-7_0_5_load_88 | 88 | 0.0065681 | 0.0016461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_138-7_0_5_line_0 |  | 0 | 1 | 0.06072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_138-7_0_5_line_1 |  | 1 | 2 | 0.057871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_138-7_0_5_line_2 |  | 2 | 3 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_138-7_0_5_line_3 |  | 2 | 4 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_138-7_0_5_line_4 |  | 4 | 5 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_138-7_0_5_line_5 |  | 5 | 12 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_138-7_0_5_line_6 |  | 5 | 9 | 0.077459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_138-7_0_5_line_7 |  | 6 | 7 | 0.0072429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_138-7_0_5_line_8 |  | 7 | 8 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_138-7_0_5_line_9 |  | 7 | 9 | 0.044716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_138-7_0_5_line_10 |  | 8 | 10 | 0.0070569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_138-7_0_5_line_11 |  | 9 | 11 | 0.047357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_138-7_0_5_line_12 |  | 12 | 22 | 0.075653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_138-7_0_5_line_13 |  | 13 | 14 | 0.00053765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_138-7_0_5_line_14 |  | 14 | 15 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_138-7_0_5_line_15 |  | 15 | 16 | 0.063096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_138-7_0_5_line_16 |  | 16 | 17 | 0.026108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_138-7_0_5_line_17 |  | 16 | 18 | 0.066603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_138-7_0_5_line_18 |  | 16 | 19 | 0.040574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_138-7_0_5_line_19 |  | 18 | 20 | 0.030014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_138-7_0_5_line_20 |  | 18 | 21 | 0.055687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_138-7_0_5_line_21 |  | 19 | 54 | 0.0011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_138-7_0_5_line_22 |  | 19 | 57 | 0.039891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_138-7_0_5_line_23 |  | 21 | 76 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_138-7_0_5_line_24 |  | 22 | 65 | 0.023734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_138-7_0_5_line_25 |  | 23 | 24 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_138-7_0_5_line_26 |  | 24 | 25 | 0.12546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_138-7_0_5_line_27 |  | 25 | 30 | 0.031127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_138-7_0_5_line_28 |  | 26 | 27 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_138-7_0_5_line_29 |  | 26 | 28 | 0.040596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_138-7_0_5_line_30 |  | 27 | 31 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_138-7_0_5_line_31 |  | 28 | 29 | 0.037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_138-7_0_5_line_32 |  | 28 | 52 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_138-7_0_5_line_33 |  | 30 | 31 | 0.034001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_138-7_0_5_line_34 |  | 31 | 32 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_138-7_0_5_line_35 |  | 32 | 33 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_138-7_0_5_line_36 |  | 33 | 35 | 0.0068743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_138-7_0_5_line_37 |  | 34 | 35 | 0.039167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_138-7_0_5_line_38 |  | 35 | 36 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_138-7_0_5_line_39 |  | 36 | 37 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_138-7_0_5_line_40 |  | 37 | 38 | 0.0040349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_138-7_0_5_line_41 |  | 38 | 39 | 0.016133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_138-7_0_5_line_42 |  | 39 | 40 | 0.041946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_138-7_0_5_line_43 |  | 40 | 41 | 0.037037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_138-7_0_5_line_44 |  | 41 | 42 | 0.02853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_138-7_0_5_line_45 |  | 42 | 43 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_138-7_0_5_line_46 |  | 42 | 44 | 0.024256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_138-7_0_5_line_47 |  | 43 | 45 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_138-7_0_5_line_48 |  | 43 | 46 | 0.054531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_138-7_0_5_line_49 |  | 44 | 47 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_138-7_0_5_line_50 |  | 45 | 84 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_138-7_0_5_line_51 |  | 45 | 85 | 0.0049103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_138-7_0_5_line_52 |  | 47 | 64 | 0.0026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_138-7_0_5_line_53 |  | 48 | 49 | 0.037718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_138-7_0_5_line_54 |  | 49 | 50 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_138-7_0_5_line_55 |  | 49 | 51 | 0.021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_138-7_0_5_line_56 |  | 50 | 54 | 0.018314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_138-7_0_5_line_57 |  | 50 | 55 | 0.045565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_138-7_0_5_line_58 |  | 51 | 56 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_138-7_0_5_line_59 |  | 52 | 53 | 0.0099474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_138-7_0_5_line_60 |  | 53 | 57 | 0.017596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_138-7_0_5_line_61 |  | 55 | 58 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_138-7_0_5_line_62 |  | 56 | 59 | 0.010901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_138-7_0_5_line_63 |  | 57 | 60 | 0.008148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_138-7_0_5_line_64 |  | 58 | 77 | 0.021649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_138-7_0_5_line_65 |  | 61 | 62 | 0.0094738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_138-7_0_5_line_66 |  | 62 | 63 | 0.011915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_138-7_0_5_line_67 |  | 63 | 64 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_138-7_0_5_line_68 |  | 65 | 66 | 0.090461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_138-7_0_5_line_69 |  | 66 | 67 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_138-7_0_5_line_70 |  | 66 | 68 | 0.085646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_138-7_0_5_line_71 |  | 67 | 69 | 0.0042593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_138-7_0_5_line_72 |  | 68 | 70 | 0.10296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_138-7_0_5_line_73 |  | 69 | 74 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_138-7_0_5_line_74 |  | 70 | 73 | 0.044841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_138-7_0_5_line_75 |  | 71 | 72 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_138-7_0_5_line_76 |  | 71 | 73 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_138-7_0_5_line_77 |  | 72 | 75 | 0.0056603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_138-7_0_5_line_78 |  | 75 | 87 | 0.0049171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_138-7_0_5_line_79 |  | 77 | 78 | 0.00014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_138-7_0_5_line_80 |  | 78 | 79 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_138-7_0_5_line_81 |  | 79 | 80 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_138-7_0_5_line_82 |  | 80 | 81 | 0.0025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_138-7_0_5_line_83 |  | 81 | 82 | 0.016681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_138-7_0_5_line_84 |  | 82 | 83 | 0.015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_138-7_0_5_line_85 |  | 85 | 86 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_138-7_0_5_line_86 |  | 86 | 88 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_138-7_0_5_line_87 |  | 87 | 88 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_138-7_0_5_trafo_64 | 0.63 MVA 20/0.4 kV | 89 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2695924.2331 | 1229765.7317 | 2695924.3531 | 1229764.3994 | 2695891.9439 | 1229757.6052 | 2695896.9229 | 1229731.8124
1 | 2695891.2753 | 1229737.5243 | 2695887.5203 | 1229757.5338 | 2695924.2331 | 1229765.7317
2 | 2695891.2753 | 1229737.5243 | 2695875.8713 | 1229737.0979
3 | 2695891.2753 | 1229737.5243 | 2695893.3482 | 1229726.9168 | 2695895.9014 | 1229714.7158
4 | 2695897.9254 | 1229701.5055 | 2695898.0029 | 1229710.7913 | 2695895.9014 | 1229714.7158
5 | 2695865.7211 | 1229690.9121 | 2695871.1142 | 1229695.7024 | 2695884.0298 | 1229703.3829 | 2695889.3787 | 1229704.8035 | 2695894.043 | 1229704.0448 | 2695897.9254 | 1229701.5055
6 | 2695897.9254 | 1229701.5055 | 2695902.8795 | 1229692.1787 | 2695914.2374 | 1229668.6782 | 2695920.3603 | 1229657.8246 | 2695924.4146 | 1229651.6744 | 2695929.2201 | 1229645.9256 | 2695932.4811 | 1229641.9864 | 2695937.207 | 1229639.294 | 2695940.0587 | 1229638.6507
7 | 2695970.3599 | 1229661.0669 | 2695977.3511 | 1229662.9598
8 | 2695970.3599 | 1229661.0669 | 2695965.3349 | 1229676.1856
9 | 2695940.0587 | 1229638.6507 | 2695943.5426 | 1229639.2073 | 2695946.4639 | 1229640.8223 | 2695948.7017 | 1229643.4714 | 2695950.1735 | 1229647.1089 | 2695950.3298 | 1229651.0364 | 2695948.9752 | 1229655.162 | 2695970.3599 | 1229661.0669
10 | 2695965.3349 | 1229676.1856 | 2695958.4562 | 1229677.7617
11 | 2695940.0587 | 1229638.6507 | 2695944.9795 | 1229633.2706 | 2695980.9488 | 1229615.6221
12 | 2695865.7211 | 1229690.9121 | 2695862.9891 | 1229696.8167 | 2695859.5181 | 1229700.1632 | 2695856.0744 | 1229701.8089 | 2695848.0768 | 1229703.9482 | 2695841.6308 | 1229703.8443 | 2695833.024 | 1229708.0531 | 2695824.5241 | 1229717.3784 | 2695810.1475 | 1229736.075
13 | 2695909.9508 | 1229566.2791 | 2695909.6081 | 1229566.6934
14 | 2695898.4509 | 1229580.1819 | 2695909.6081 | 1229566.6934
15 | 2695851.9728 | 1229537.5352 | 2695874.1771 | 1229558.8974 | 2695898.4509 | 1229580.1819
16 | 2695851.9728 | 1229537.5352 | 2695857.0053 | 1229532.2792 | 2695875.3458 | 1229528.0075
17 | 2695850.6254 | 1229585.8484 | 2695874.1771 | 1229558.8974 | 2695851.9728 | 1229537.5352
18 | 2695821.6541 | 1229547.1537 | 2695827.0401 | 1229538.7677 | 2695835.7782 | 1229532.0703 | 2695837.1227 | 1229533.2706 | 2695838.7699 | 1229534.0199 | 2695840.5618 | 1229534.2601 | 2695842.3397 | 1229533.9552 | 2695843.9515 | 1229533.1472 | 2695845.2596 | 1229531.9008 | 2695851.9728 | 1229537.5352
19 | 2695850.6254 | 1229585.8484 | 2695872.4127 | 1229606.4922
20 | 2695850.6254 | 1229585.8484 | 2695836.9242 | 1229601.0275 | 2695837.6471 | 1229608.3555 | 2695856.455 | 1229628.9294
21 | 2695821.6541 | 1229547.1537 | 2695821.1027 | 1229548.1356
22 | 2695793.5183 | 1229530.8776 | 2695793.8685 | 1229534.0633 | 2695795.527 | 1229536.9365 | 2695799.3286 | 1229538.9437 | 2695804.8059 | 1229538.0535 | 2695809.7654 | 1229535.4426 | 2695813.2728 | 1229543.4715 | 2695821.6541 | 1229547.1537
23 | 2695856.455 | 1229628.9294 | 2695863.5974 | 1229636.7423
24 | 2695795.9378 | 1229755.083 | 2695803.9851 | 1229744.0891 | 2695810.1475 | 1229736.075
25 | 2695639.6342 | 1229410.1586 | 2695652.3519 | 1229400.5339
26 | 2695661.0139 | 1229533.7823 | 2695639.6342 | 1229410.1586
27 | 2695661.0139 | 1229533.7823 | 2695672.3366 | 1229531.6166 | 2695691.801 | 1229533.9059
28 | 2695725.9427 | 1229507.6507 | 2695726.2057 | 1229518.1402 | 2695726.0281 | 1229523.6502
29 | 2695725.9427 | 1229507.6507 | 2695736.8864 | 1229505.1361 | 2695765.5758 | 1229498.3597
30 | 2695725.5696 | 1229537.8776 | 2695726.0281 | 1229523.6502
31 | 2695765.5758 | 1229498.3597 | 2695774.5747 | 1229462.4709
32 | 2695769.6964 | 1229520.5421 | 2695767.1558 | 1229519.745 | 2695764.3939 | 1229503.0552 | 2695765.5758 | 1229498.3597
33 | 2695725.5696 | 1229537.8776 | 2695691.801 | 1229533.9059
34 | 2695725.5696 | 1229537.8776 | 2695724.3694 | 1229552.255
35 | 2695721.9716 | 1229574.7978 | 2695723.8797 | 1229558.1206 | 2695724.3694 | 1229552.255
36 | 2695721.1902 | 1229581.6276 | 2695721.9716 | 1229574.7978
37 | 2695721.1902 | 1229581.6276 | 2695682.0242 | 1229581.9073
38 | 2695721.1902 | 1229581.6276 | 2695719.0299 | 1229592.8048
39 | 2695719.0299 | 1229592.8048 | 2695716.297 | 1229606.9449 | 2695714.3096 | 1229611.5018
40 | 2695712.6966 | 1229615.2002 | 2695714.3096 | 1229611.5018
41 | 2695712.6966 | 1229615.2002 | 2695706.2472 | 1229629.9882
42 | 2695682.129 | 1229663.8613 | 2695701.4121 | 1229641.0745 | 2695706.2472 | 1229629.9882
43 | 2695663.8158 | 1229694.297 | 2695664.1223 | 1229685.1397 | 2695682.129 | 1229663.8613
44 | 2695663.8158 | 1229694.297 | 2695692.4216 | 1229695.0021
45 | 2695702.0554 | 1229709.8233 | 2695694.9493 | 1229705.0611 | 2695692.4216 | 1229695.0021
46 | 2695692.4216 | 1229695.0021 | 2695714.5037 | 1229684.9664
47 | 2695709.9462 | 1229717.6004 | 2695705.1886 | 1229711.9197 | 2695702.0554 | 1229709.8233
48 | 2695702.0554 | 1229709.8233 | 2695701.8412 | 1229741.9431 | 2695707.7742 | 1229763.5542
49 | 2695714.5037 | 1229684.9664 | 2695727.9359 | 1229678.8619 | 2695731.5294 | 1229674.7958
50 | 2695709.9462 | 1229717.6004 | 2695710.3202 | 1229721.6649 | 2695708.9244 | 1229733.0618
51 | 2695709.9462 | 1229717.6004 | 2695714.5469 | 1229719.3165
52 | 2695733.2623 | 1229672.8351 | 2695731.5294 | 1229674.7958
53 | 2695800.5251 | 1229571.8867 | 2695781.0528 | 1229566.7027 | 2695763.5522 | 1229565.1754
54 | 2695814.5071 | 1229565.1404 | 2695804.779 | 1229566.985 | 2695800.5251 | 1229571.8867
55 | 2695800.5251 | 1229571.8867 | 2695796.3099 | 1229576.7446 | 2695790.3152 | 1229590.2837
56 | 2695814.5071 | 1229565.1404 | 2695818.5104 | 1229552.7515 | 2695821.1027 | 1229548.1356
57 | 2695814.5071 | 1229565.1404 | 2695814.0486 | 1229579.0097 | 2695810.4249 | 1229610.49
58 | 2695784.7566 | 1229602.8379 | 2695790.3152 | 1229590.2837
59 | 2695769.6964 | 1229520.5421 | 2695773.0359 | 1229521.5966 | 2695779.2277 | 1229523.3865
60 | 2695793.5183 | 1229530.8776 | 2695781.2307 | 1229527.922 | 2695779.2277 | 1229523.3865
61 | 2695810.4249 | 1229610.49 | 2695808.2617 | 1229629.2826
62 | 2695780.3434 | 1229612.8053 | 2695784.7566 | 1229602.8379
63 | 2695793.5183 | 1229530.8776 | 2695795.751 | 1229523.0412
64 | 2695805.7859 | 1229650.79 | 2695808.2617 | 1229629.2826
65 | 2695749.4267 | 1229654.5449 | 2695755.7005 | 1229647.446
66 | 2695741.536 | 1229663.4732 | 2695749.4267 | 1229654.5449
67 | 2695733.2623 | 1229672.8351 | 2695741.536 | 1229663.4732
68 | 2695754.9024 | 1229835.398 | 2695773.2246 | 1229792.9512 | 2695788.6611 | 1229765.0241 | 2695795.9378 | 1229755.083
69 | 2695754.9024 | 1229835.398 | 2695757.4744 | 1229840.3541 | 2695766.3342 | 1229845.5016
70 | 2695709.2018 | 1229893.2153 | 2695718.4994 | 1229899.247 | 2695721.2383 | 1229890.5404 | 2695724.6879 | 1229885.2254 | 2695741.305 | 1229863.466 | 2695744.172 | 1229851.0477 | 2695751.0916 | 1229841.0296 | 2695754.9024 | 1229835.398
71 | 2695766.3342 | 1229845.5016 | 2695770.017 | 1229847.6413
72 | 2695709.2018 | 1229893.2153 | 2695723.7979 | 1229872.7465 | 2695746.3656 | 1229835.7497 | 2695760.2492 | 1229804.1902
73 | 2695783.7309 | 1229833.5791 | 2695774.2058 | 1229850.0749 | 2695770.017 | 1229847.6413
74 | 2695760.2492 | 1229804.1902 | 2695770.6121 | 1229780.6336 | 2695773.6569 | 1229773.6442 | 2695778.2397 | 1229763.1165
75 | 2695786.6308 | 1229743.8538 | 2695772.3454 | 1229737.5709
76 | 2695786.6308 | 1229743.8538 | 2695780.1794 | 1229758.6606 | 2695778.2397 | 1229763.1165
77 | 2695772.3454 | 1229737.5709 | 2695767.1641 | 1229735.2921
78 | 2695762.6631 | 1229733.3125 | 2695767.1641 | 1229735.2921
79 | 2695805.7859 | 1229650.79 | 2695805.7691 | 1229650.9365
80 | 2695805.7691 | 1229650.9365 | 2695804.6918 | 1229660.2955 | 2695804.389 | 1229664.1203
81 | 2695804.389 | 1229664.1203 | 2695803.1976 | 1229679.17
82 | 2695802.9974 | 1229681.6979 | 2695803.1976 | 1229679.17
83 | 2695802.9974 | 1229681.6979 | 2695801.9137 | 1229695.3872 | 2695800.801 | 1229698.1176
84 | 2695800.801 | 1229698.1176 | 2695794.9382 | 1229712.5045
85 | 2695729.8284 | 1229724.1909 | 2695723.1865 | 1229722.5392 | 2695714.5469 | 1229719.3165
86 | 2695742.9313 | 1229727.4492 | 2695729.8284 | 1229724.1909
87 | 2695742.9313 | 1229727.4492 | 2695757.6585 | 1229731.1114 | 2695762.6631 | 1229733.3125

## bus_geodata
| x | y | coords
0 | 2695896.9229 | 1229731.8124
1 | 2695924.2331 | 1229765.7317
2 | 2695891.2753 | 1229737.5243
3 | 2695875.8713 | 1229737.0979
4 | 2695895.9014 | 1229714.7158
5 | 2695897.9254 | 1229701.5055
6 | 2695977.3511 | 1229662.9598
7 | 2695970.3599 | 1229661.0669
8 | 2695965.3349 | 1229676.1856
9 | 2695940.0587 | 1229638.6507
10 | 2695958.4562 | 1229677.7617
11 | 2695980.9488 | 1229615.6221
12 | 2695865.7211 | 1229690.9121
13 | 2695909.9508 | 1229566.2791
14 | 2695909.6081 | 1229566.6934
15 | 2695898.4509 | 1229580.1819
16 | 2695851.9728 | 1229537.5352
17 | 2695875.3458 | 1229528.0075
18 | 2695850.6254 | 1229585.8484
19 | 2695821.6541 | 1229547.1537
20 | 2695872.4127 | 1229606.4922
21 | 2695856.455 | 1229628.9294
22 | 2695810.1475 | 1229736.075
23 | 2695652.3519 | 1229400.5339
24 | 2695639.6342 | 1229410.1586
25 | 2695661.0139 | 1229533.7823
26 | 2695725.9427 | 1229507.6507
27 | 2695726.0281 | 1229523.6502
28 | 2695765.5758 | 1229498.3597
29 | 2695774.5747 | 1229462.4709
30 | 2695691.801 | 1229533.9059
31 | 2695725.5696 | 1229537.8776
32 | 2695724.3694 | 1229552.255
33 | 2695721.9716 | 1229574.7978
34 | 2695682.0242 | 1229581.9073
35 | 2695721.1902 | 1229581.6276
36 | 2695719.0299 | 1229592.8048
37 | 2695714.3096 | 1229611.5018
38 | 2695712.6966 | 1229615.2002
39 | 2695706.2472 | 1229629.9882
40 | 2695682.129 | 1229663.8613
41 | 2695663.8158 | 1229694.297
42 | 2695692.4216 | 1229695.0021
43 | 2695702.0554 | 1229709.8233
44 | 2695714.5037 | 1229684.9664
45 | 2695709.9462 | 1229717.6004
46 | 2695707.7742 | 1229763.5542
47 | 2695731.5294 | 1229674.7958
48 | 2695763.5522 | 1229565.1754
49 | 2695800.5251 | 1229571.8867
50 | 2695814.5071 | 1229565.1404
51 | 2695790.3152 | 1229590.2837
52 | 2695769.6964 | 1229520.5421
53 | 2695779.2277 | 1229523.3865
54 | 2695821.1027 | 1229548.1356
55 | 2695810.4249 | 1229610.49
56 | 2695784.7566 | 1229602.8379
57 | 2695793.5183 | 1229530.8776
58 | 2695808.2617 | 1229629.2826
59 | 2695780.3434 | 1229612.8053
60 | 2695795.751 | 1229523.0412
61 | 2695755.7005 | 1229647.446
62 | 2695749.4267 | 1229654.5449
63 | 2695741.536 | 1229663.4732
64 | 2695733.2623 | 1229672.8351
65 | 2695795.9378 | 1229755.083
66 | 2695754.9024 | 1229835.398
67 | 2695766.3342 | 1229845.5016
68 | 2695709.2018 | 1229893.2153
69 | 2695770.017 | 1229847.6413
70 | 2695760.2492 | 1229804.1902
71 | 2695786.6308 | 1229743.8538
72 | 2695772.3454 | 1229737.5709
73 | 2695778.2397 | 1229763.1165
74 | 2695783.7309 | 1229833.5791
75 | 2695767.1641 | 1229735.2921
76 | 2695863.5974 | 1229636.7423
77 | 2695805.7859 | 1229650.79
78 | 2695805.7691 | 1229650.9365
79 | 2695804.389 | 1229664.1203
80 | 2695803.1976 | 1229679.17
81 | 2695802.9974 | 1229681.6979
82 | 2695800.801 | 1229698.1176
83 | 2695794.9382 | 1229712.5045
84 | 2695708.9244 | 1229733.0618
85 | 2695714.5469 | 1229719.3165
86 | 2695729.8284 | 1229724.1909
87 | 2695762.6631 | 1229733.3125
88 | 2695742.9313 | 1229727.4492
89 | 2695814.5071 | 1229565.1404

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97175 | -0.5467 | 0.0038947 | 0.0009761
1 | 0.97197 | -0.54233 | 0 | 0
2 | 0.97218 | -0.53817 | 0 | 0
3 | 0.97217 | -0.53823 | 0.00021674 | 5.4321e-05
4 | 0.97227 | -0.53641 | 0.00020547 | 5.1495e-05
5 | 0.97232 | -0.53531 | 0 | 0
6 | 0.97067 | -0.568 | 0.010029 | 0.0025136
7 | 0.97074 | -0.56665 | 0 | 0
8 | 0.97073 | -0.56689 | 0 | 0
9 | 0.97119 | -0.55769 | 0 | 0
10 | 0.97072 | -0.567 | 0.00081182 | 0.00020346
11 | 0.97098 | -0.5619 | 0.004807 | 0.0012047
12 | 0.97301 | -0.52164 | 0 | 0
13 | 0.9892 | -0.20667 | 0.0048567 | 0.0012172
14 | 0.9892 | -0.20663 | 0.0094486 | 0.002368
15 | 0.98943 | -0.20217 | 0 | 0
16 | 0.99026 | -0.18611 | 0 | 0
17 | 0.99003 | -0.1905 | 0.0094542 | 0.0023695
18 | 0.98647 | -0.25947 | 0 | 0
19 | 0.99345 | -0.12465 | 0 | 0
20 | 0.98577 | -0.27311 | 0.025361 | 0.0063562
21 | 0.98461 | -0.29581 | 0.024974 | 0.0062592
22 | 0.97442 | -0.49386 | 0.00073645 | 0.00018457
23 | 0.98582 | -0.27125 | 0.00021884 | 5.4846e-05
24 | 0.98583 | -0.27119 | 0 | 0
25 | 0.98585 | -0.27069 | 0.0019205 | 0.00048133
26 | 0.98733 | -0.24211 | 0 | 0
27 | 0.98662 | -0.25584 | 0.011536 | 0.0028912
28 | 0.98913 | -0.20738 | 0 | 0
29 | 0.98907 | -0.20862 | 0.0018825 | 0.0004718
30 | 0.98591 | -0.26949 | 0.0013949 | 0.0003496
31 | 0.98602 | -0.26733 | 0 | 0
32 | 0.98543 | -0.27876 | 0.0099233 | 0.002487
33 | 0.98456 | -0.29574 | 0.005458 | 0.0013679
34 | 0.98364 | -0.3137 | 0.018403 | 0.0046122
35 | 0.9843 | -0.30073 | 0 | 0
36 | 0.98392 | -0.30805 | 0.0052867 | 0.001325
37 | 0.9833 | -0.32005 | 0.0018932 | 0.00047449
38 | 0.98318 | -0.32252 | 0.0046765 | 0.001172
39 | 0.98269 | -0.33205 | 0.0022232 | 0.00055717
40 | 0.98143 | -0.35646 | 0.0030751 | 0.00077068
41 | 0.98035 | -0.37755 | 0 | 0
42 | 0.97952 | -0.39382 | 0 | 0
43 | 0.9791 | -0.40213 | 0 | 0
44 | 0.97887 | -0.4066 | 0.0049004 | 0.0012282
45 | 0.97887 | -0.40658 | 0 | 0
46 | 0.97864 | -0.41109 | 0.0090376 | 0.002265
47 | 0.97842 | -0.41545 | 0.0069292 | 0.0017366
48 | 0.99406 | -0.11315 | 0.011454 | 0.0028707
49 | 0.99445 | -0.10554 | 0 | 0
50 | 0.99485 | -0.097772 | 0 | 0
51 | 0.99415 | -0.11133 | 0.0090976 | 0.0022801
52 | 0.99022 | -0.18635 | 0 | 0
53 | 0.99067 | -0.17779 | 0.0080387 | 0.0020147
54 | 0.99352 | -0.12317 | 0.017182 | 0.0043063
55 | 0.99844 | -0.029502 | 0.015801 | 0.00396
56 | 0.99407 | -0.11288 | 0.0029652 | 0.00074315
57 | 0.99149 | -0.16205 | 0 | 0
58 | 1 | 0 | -0.40314 | -0.1026
59 | 0.99404 | -0.11354 | 0.0034226 | 0.00085778
60 | 0.99141 | -0.16352 | 0.010228 | 0.0025635
61 | 0.97811 | -0.42146 | 0.0039058 | 0.0009789
62 | 0.97815 | -0.42079 | 0.0040667 | 0.0010192
63 | 0.97824 | -0.41906 | 0.0042867 | 0.0010744
64 | 0.97838 | -0.41627 | 0.0049022 | 0.0012286
65 | 0.97488 | -0.48484 | 0.00040576 | 0.00010169
66 | 0.97548 | -0.47316 | 0 | 0
67 | 0.9753 | -0.47661 | 0.0027123 | 0.00067978
68 | 0.97636 | -0.45591 | 0 | 0
69 | 0.97527 | -0.47732 | 0.0052594 | 0.0013181
70 | 0.97715 | -0.44038 | 0.0040229 | 0.0010082
71 | 0.97774 | -0.42879 | 0 | 0
72 | 0.97789 | -0.42581 | 0.0034761 | 0.0008712
73 | 0.97753 | -0.4328 | 0.0047779 | 0.0011975
74 | 0.97518 | -0.47903 | 0.0039102 | 0.00097998
75 | 0.97795 | -0.42464 | 0.0084076 | 0.0021071
76 | 0.98449 | -0.29798 | 0.011392 | 0.0028552
77 | 0.99923 | -0.014743 | 0.0031993 | 0.00080183
78 | 0.99923 | -0.014835 | 0.01749 | 0.0043835
79 | 0.99901 | -0.019084 | 0.0034867 | 0.00087386
80 | 0.9988 | -0.023003 | 0.0033628 | 0.00084279
81 | 0.99878 | -0.023513 | 0.0039913 | 0.0010003
82 | 0.99866 | -0.025702 | 0.0026744 | 0.00067026
83 | 0.9986 | -0.027015 | 0.0048347 | 0.0012117
84 | 0.97876 | -0.40877 | 0.0077411 | 0.0019401
85 | 0.97878 | -0.40836 | 0.0068403 | 0.0017143
86 | 0.97851 | -0.4137 | 0.0064937 | 0.0016275
87 | 0.97801 | -0.42344 | 0.006286 | 0.0015754
88 | 0.9783 | -0.4178 | 0.0065681 | 0.0016461
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038947 | -0.0009761 | 0.0038955 | 0.00097587 | 8.0984e-07 | -2.341e-07 | 0.0059639 | 0.0059636 | 0.0059639 | 0.97175 | -0.5467 | 0.97197 | -0.54233 | 1.6384
1 | -0.0038955 | -0.00097587 | 0.0038963 | 0.00097564 | 7.7177e-07 | -2.2348e-07 | 0.0059636 | 0.0059633 | 0.0059636 | 0.97197 | -0.54233 | 0.97218 | -0.53817 | 1.6383
2 | 0.00021674 | 5.4131e-05 | -0.00021674 | -5.4321e-05 | 6.34e-10 | -1.9011e-07 | 0.00033168 | 0.00033175 | 0.00033175 | 0.97218 | -0.53817 | 0.97217 | -0.53823 | 0.09114
3 | -0.004113 | -0.0010298 | 0.0041134 | 0.0010297 | 3.4584e-07 | -6.7265e-08 | 0.006295 | 0.0062949 | 0.006295 | 0.97218 | -0.53817 | 0.97227 | -0.53641 | 1.7294
4 | -0.0043188 | -0.0010812 | 0.0043191 | 0.0010812 | 2.2504e-07 | -2.6354e-08 | 0.0066094 | 0.0066093 | 0.0066094 | 0.97227 | -0.53641 | 0.97232 | -0.53531 | 1.8158
5 | -0.01999 | -0.0050152 | 0.020003 | 0.0050231 | 1.3036e-05 | 7.8819e-06 | 0.030594 | 0.030594 | 0.030594 | 0.97232 | -0.53531 | 0.97301 | -0.52164 | 8.405
6 | 0.015671 | 0.003934 | -0.015654 | -0.0039243 | 1.671e-05 | 9.7349e-06 | 0.023985 | 0.023985 | 0.023985 | 0.97232 | -0.53531 | 0.97119 | -0.55769 | 6.5893
7 | -0.010029 | -0.0025136 | 0.01003 | 0.0025139 | 6.4202e-07 | 3.2136e-07 | 0.015375 | 0.015375 | 0.015375 | 0.97067 | -0.568 | 0.97074 | -0.56665 | 4.2238
8 | 0.00081183 | 0.00020319 | -0.00081182 | -0.00020338 | 9.2501e-09 | -1.9102e-07 | 0.0012443 | 0.0012444 | 0.0012444 | 0.97074 | -0.56665 | 0.97073 | -0.56689 | 0.34187
9 | -0.010842 | -0.0027171 | 0.010846 | 0.0027195 | 4.6312e-06 | 2.4109e-06 | 0.016619 | 0.016619 | 0.016619 | 0.97074 | -0.56665 | 0.97119 | -0.55769 | 4.5656
10 | 0.00081182 | 0.00020338 | -0.00081182 | -0.00020346 | 4.0981e-09 | -8.4617e-08 | 0.0012444 | 0.0012444 | 0.0012444 | 0.97073 | -0.56689 | 0.97072 | -0.567 | 0.34188
11 | 0.004808 | 0.0012048 | -0.004807 | -0.0012047 | 9.6371e-07 | 3.09e-08 | 0.0073665 | 0.0073667 | 0.0073667 | 0.97119 | -0.55769 | 0.97098 | -0.5619 | 2.0238
12 | -0.020003 | -0.0050231 | 0.02003 | 0.0050391 | 2.6554e-05 | 1.6053e-05 | 0.030594 | 0.030594 | 0.030594 | 0.97301 | -0.52164 | 0.97442 | -0.49386 | 8.4049
13 | -0.0048567 | -0.0012172 | 0.0048567 | 0.0012172 | 1.0761e-08 | -1.4605e-11 | 0.0073058 | 0.0073058 | 0.0073058 | 0.9892 | -0.20667 | 0.9892 | -0.20663 | 2.0071
14 | -0.014305 | -0.0035853 | 0.014308 | 0.003587 | 3.0397e-06 | 1.7207e-06 | 0.021519 | 0.021519 | 0.021519 | 0.9892 | -0.20663 | 0.98943 | -0.20217 | 5.9118
15 | -0.014308 | -0.003587 | 0.014319 | 0.0035932 | 1.0956e-05 | 6.2011e-06 | 0.021519 | 0.021519 | 0.021519 | 0.98943 | -0.20217 | 0.99026 | -0.18611 | 5.9118
16 | 0.0094562 | 0.0023704 | -0.0094542 | -0.0023695 | 1.9769e-06 | 9.2939e-07 | 0.01421 | 0.01421 | 0.01421 | 0.99026 | -0.18611 | 0.99003 | -0.1905 | 3.9038
17 | 0.062026 | 0.015659 | -0.061809 | -0.015521 | 0.00021716 | 0.00013813 | 0.093245 | 0.093245 | 0.093245 | 0.99026 | -0.18611 | 0.98647 | -0.25947 | 25.6167
18 | -0.085802 | -0.021623 | 0.086055 | 0.021784 | 0.00025309 | 0.00016145 | 0.12897 | 0.12897 | 0.12897 | 0.99026 | -0.18611 | 0.99345 | -0.12465 | 35.4321
19 | 0.025378 | 0.0063663 | -0.025361 | -0.0063562 | 1.6496e-05 | 1.0174e-05 | 0.038283 | 0.038283 | 0.038283 | 0.98647 | -0.25947 | 0.98577 | -0.27311 | 10.5173
20 | 0.036431 | 0.0091547 | -0.036368 | -0.009115 | 6.3083e-05 | 3.9664e-05 | 0.054962 | 0.054962 | 0.054962 | 0.98647 | -0.25947 | 0.98461 | -0.29581 | 15.0995
21 | -0.3004 | -0.076449 | 0.30042 | 0.076462 | 2.1415e-05 | 1.3647e-05 | 0.45037 | 0.45037 | 0.45037 | 0.99345 | -0.12465 | 0.99352 | -0.12317 | 30.9317
22 | 0.21435 | 0.054665 | -0.21396 | -0.054419 | 0.0003863 | 0.00024517 | 0.32139 | 0.32139 | 0.32139 | 0.99345 | -0.12465 | 0.99149 | -0.16205 | 22.0738
23 | 0.011394 | 0.0028558 | -0.011392 | -0.0028552 | 1.177e-06 | 6.1864e-07 | 0.017219 | 0.017219 | 0.017219 | 0.98461 | -0.29581 | 0.98449 | -0.29798 | 4.7305
24 | -0.020766 | -0.0052237 | 0.020775 | 0.0052291 | 8.954e-06 | 5.4348e-06 | 0.031718 | 0.031718 | 0.031718 | 0.97442 | -0.49386 | 0.97488 | -0.48484 | 8.7138
25 | -0.00021884 | -5.4846e-05 | 0.00021884 | 5.4643e-05 | 6.5244e-10 | -2.0293e-07 | 0.00033032 | 0.00033025 | 0.00033032 | 0.98582 | -0.27125 | 0.98583 | -0.27119 | 0.090747
26 | -0.00021884 | -5.4643e-05 | 0.00021884 | 5.3047e-05 | 5.1223e-09 | -1.5964e-06 | 0.00033025 | 0.00032969 | 0.00033025 | 0.98583 | -0.27119 | 0.98585 | -0.27069 | 0.090727
27 | -0.0021394 | -0.00053438 | 0.0021395 | 0.00053406 | 1.2166e-07 | -3.1905e-07 | 0.0032285 | 0.0032283 | 0.0032285 | 0.98585 | -0.27069 | 0.98591 | -0.26949 | 0.88694
28 | 0.19306 | 0.048891 | -0.19293 | -0.04881 | 0.00012719 | 8.0582e-05 | 0.29114 | 0.29114 | 0.29114 | 0.98733 | -0.24211 | 0.98662 | -0.25584 | 19.9957
29 | -0.19306 | -0.048891 | 0.19338 | 0.049095 | 0.00032259 | 0.00020438 | 0.29114 | 0.29114 | 0.29114 | 0.98733 | -0.24211 | 0.98913 | -0.20738 | 19.9957
30 | 0.18139 | 0.045919 | -0.18129 | -0.045856 | 9.9999e-05 | 6.3273e-05 | 0.27374 | 0.27374 | 0.27374 | 0.98662 | -0.25584 | 0.98602 | -0.26733 | 18.8008
31 | 0.0018826 | 0.0004714 | -0.0018825 | -0.0004718 | 1.1129e-07 | -4.0366e-07 | 0.002832 | 0.0028322 | 0.0028322 | 0.98913 | -0.20738 | 0.98907 | -0.20862 | 0.77808
32 | -0.19526 | -0.049567 | 0.19546 | 0.049692 | 0.00019781 | 0.00012534 | 0.29397 | 0.29397 | 0.29397 | 0.98913 | -0.20738 | 0.99022 | -0.18635 | 20.1902
33 | -0.0035344 | -0.00088366 | 0.0035348 | 0.00088346 | 3.6271e-07 | -2.015e-07 | 0.0053337 | 0.0053335 | 0.0053337 | 0.98591 | -0.26949 | 0.98602 | -0.26733 | 1.4653
34 | 0.17776 | 0.044972 | -0.17766 | -0.044911 | 9.7442e-05 | 6.1627e-05 | 0.26841 | 0.26841 | 0.26841 | 0.98602 | -0.26733 | 0.98543 | -0.27876 | 18.4345
35 | 0.16774 | 0.042424 | -0.1676 | -0.042337 | 0.00013651 | 8.6209e-05 | 0.25342 | 0.25342 | 0.25342 | 0.98543 | -0.27876 | 0.98456 | -0.29574 | 17.4054
36 | 0.16214 | 0.04097 | -0.1621 | -0.040945 | 3.8739e-05 | 2.4443e-05 | 0.24517 | 0.24517 | 0.24517 | 0.98456 | -0.29574 | 0.9843 | -0.30073 | 16.8389
37 | -0.018403 | -0.0046122 | 0.018414 | 0.004619 | 1.1383e-05 | 6.7879e-06 | 0.02784 | 0.027839 | 0.02784 | 0.98364 | -0.3137 | 0.9843 | -0.30073 | 7.6482
38 | 0.14369 | 0.036326 | -0.14364 | -0.036294 | 5.0411e-05 | 3.1684e-05 | 0.21733 | 0.21733 | 0.21733 | 0.9843 | -0.30073 | 0.98392 | -0.30805 | 14.9268
39 | 0.13835 | 0.034969 | -0.13827 | -0.034919 | 7.9593e-05 | 4.9956e-05 | 0.20934 | 0.20934 | 0.20934 | 0.98392 | -0.30805 | 0.9833 | -0.32005 | 14.3777
40 | 0.13638 | 0.034445 | -0.13636 | -0.034435 | 1.6126e-05 | 1.0116e-05 | 0.20647 | 0.20647 | 0.20647 | 0.9833 | -0.32005 | 0.98318 | -0.32252 | 14.181
41 | 0.13169 | 0.033263 | -0.13163 | -0.033225 | 6.0135e-05 | 3.7669e-05 | 0.1994 | 0.1994 | 0.1994 | 0.98318 | -0.32252 | 0.98269 | -0.33205 | 13.6949
42 | 0.1294 | 0.032668 | -0.12925 | -0.032573 | 0.00015112 | 9.4591e-05 | 0.19603 | 0.19603 | 0.19603 | 0.98269 | -0.33205 | 0.98143 | -0.35646 | 13.4637
43 | 0.12618 | 0.031803 | -0.12605 | -0.031723 | 0.00012716 | 7.9514e-05 | 0.19137 | 0.19137 | 0.19137 | 0.98143 | -0.35646 | 0.98035 | -0.37755 | 13.1436
44 | 0.12605 | 0.031723 | -0.12595 | -0.031662 | 9.7954e-05 | 6.1253e-05 | 0.19137 | 0.19137 | 0.19137 | 0.98035 | -0.37755 | 0.97952 | -0.39382 | 13.1436
45 | 0.09693 | 0.024377 | -0.096891 | -0.024354 | 3.845e-05 | 2.3656e-05 | 0.14728 | 0.14728 | 0.14728 | 0.97952 | -0.39382 | 0.9791 | -0.40213 | 10.1153
46 | 0.029022 | 0.0072846 | -0.029004 | -0.0072736 | 1.7683e-05 | 1.1012e-05 | 0.044092 | 0.044092 | 0.044092 | 0.97952 | -0.39382 | 0.97887 | -0.4066 | 12.1132
47 | 0.08785 | 0.022087 | -0.087831 | -0.022075 | 1.8662e-05 | 1.1382e-05 | 0.13354 | 0.13354 | 0.13354 | 0.9791 | -0.40213 | 0.97887 | -0.40658 | 9.1716
48 | 0.0090415 | 0.0022668 | -0.0090376 | -0.002265 | 3.8614e-06 | 1.7858e-06 | 0.013741 | 0.013742 | 0.013742 | 0.9791 | -0.40213 | 0.97864 | -0.41109 | 3.7752
49 | 0.024104 | 0.0060455 | -0.024094 | -0.0060392 | 1.0161e-05 | 6.2496e-06 | 0.036643 | 0.036643 | 0.036643 | 0.97887 | -0.4066 | 0.97842 | -0.41545 | 10.0667
50 | 0.0077419 | 0.0019404 | -0.0077411 | -0.0019401 | 8.0849e-07 | 3.2178e-07 | 0.011769 | 0.011769 | 0.011769 | 0.97887 | -0.40658 | 0.97876 | -0.40877 | 3.2332
51 | 0.080089 | 0.020135 | -0.080083 | -0.020131 | 6.8258e-06 | 4.1217e-06 | 0.12177 | 0.12177 | 0.12177 | 0.97887 | -0.40658 | 0.97878 | -0.40836 | 8.3633
52 | 0.017165 | 0.0043026 | -0.017164 | -0.0043022 | 6.6871e-07 | 3.9511e-07 | 0.026105 | 0.026105 | 0.026105 | 0.97842 | -0.41545 | 0.97838 | -0.41627 | 7.1716
53 | -0.011454 | -0.0028707 | 0.011458 | 0.0028728 | 4.158e-06 | 2.172e-06 | 0.017146 | 0.017146 | 0.017146 | 0.99406 | -0.11315 | 0.99445 | -0.10554 | 4.7104
54 | -0.026948 | -0.0067563 | 0.026958 | 0.0067625 | 9.974e-06 | 6.171e-06 | 0.040324 | 0.040324 | 0.040324 | 0.99445 | -0.10554 | 0.99485 | -0.097772 | 11.0781
55 | 0.01549 | 0.0038835 | -0.015486 | -0.003881 | 4.279e-06 | 2.4631e-06 | 0.023179 | 0.023179 | 0.023179 | 0.99445 | -0.10554 | 0.99415 | -0.11133 | 6.3678
56 | 0.318 | 0.081017 | -0.31761 | -0.080769 | 0.00038917 | 0.00024812 | 0.4761 | 0.4761 | 0.4761 | 0.99485 | -0.097772 | 0.99352 | -0.12317 | 32.6992
57 | -0.34495 | -0.087779 | 0.34609 | 0.088506 | 0.0011392 | 0.00072674 | 0.51642 | 0.51642 | 0.51642 | 0.99485 | -0.097772 | 0.99844 | -0.029502 | 35.4686
58 | 0.0063883 | 0.001601 | -0.0063879 | -0.0016008 | 4.7074e-07 | 1.2326e-07 | 0.0095618 | 0.0095619 | 0.0095619 | 0.99415 | -0.11133 | 0.99407 | -0.11288 | 2.6269
59 | -0.19546 | -0.049692 | 0.19554 | 0.049743 | 8.059e-05 | 5.1066e-05 | 0.29397 | 0.29397 | 0.29397 | 0.99022 | -0.18635 | 0.99067 | -0.17779 | 20.1901
60 | -0.20358 | -0.051758 | 0.20373 | 0.051856 | 0.00015451 | 9.7978e-05 | 0.30604 | 0.30604 | 0.30604 | 0.99067 | -0.17779 | 0.99149 | -0.16205 | 21.0194
61 | -0.36189 | -0.092466 | 0.36241 | 0.092796 | 0.00051708 | 0.00032994 | 0.53997 | 0.53997 | 0.53997 | 0.99844 | -0.029502 | 1 | 0 | 37.0859
62 | 0.0034227 | 0.0008577 | -0.0034226 | -0.00085778 | 1.073e-07 | -7.2643e-08 | 0.0051233 | 0.0051234 | 0.0051234 | 0.99407 | -0.11288 | 0.99404 | -0.11354 | 1.4075
63 | 0.010229 | 0.0025638 | -0.010228 | -0.0025635 | 7.2011e-07 | 3.5579e-07 | 0.015352 | 0.015352 | 0.015352 | 0.99149 | -0.16205 | 0.99141 | -0.16352 | 4.2175
64 | 0.039075 | 0.0098058 | -0.039047 | -0.0097885 | 2.7451e-05 | 1.7285e-05 | 0.058148 | 0.058149 | 0.058149 | 1 | 0 | 0.99923 | -0.014743 | 15.9749
65 | -0.0039058 | -0.0009789 | 0.003906 | 0.00097886 | 1.2544e-07 | -3.8635e-08 | 0.005942 | 0.005942 | 0.005942 | 0.97811 | -0.42146 | 0.97815 | -0.42079 | 1.6324
66 | -0.0079727 | -0.0019981 | 0.0079733 | 0.0019983 | 6.5728e-07 | 2.7108e-07 | 0.012128 | 0.012128 | 0.012128 | 0.97815 | -0.42079 | 0.97824 | -0.41906 | 3.332
67 | -0.01226 | -0.0030727 | 0.012262 | 0.0030736 | 1.6295e-06 | 8.8597e-07 | 0.018649 | 0.018649 | 0.018649 | 0.97824 | -0.41906 | 0.97838 | -0.41627 | 5.1234
68 | -0.021181 | -0.0053308 | 0.021193 | 0.005335 | 1.1824e-05 | 4.1816e-06 | 0.032337 | 0.032336 | 0.032337 | 0.97488 | -0.48484 | 0.97548 | -0.47316 | 2.9613
69 | 0.011884 | 0.002979 | -0.011883 | -0.0029779 | 1.9511e-06 | 1.0511e-06 | 0.018129 | 0.018129 | 0.018129 | 0.97548 | -0.47316 | 0.9753 | -0.47661 | 4.9805
70 | -0.033077 | -0.008314 | 0.033104 | 0.0083282 | 2.7264e-05 | 1.4239e-05 | 0.050465 | 0.050464 | 0.050465 | 0.97548 | -0.47316 | 0.97636 | -0.45591 | 4.6214
71 | 0.0091702 | 0.0022982 | -0.0091699 | -0.002298 | 3.1265e-07 | 1.4695e-07 | 0.013991 | 0.013991 | 0.013991 | 0.9753 | -0.47661 | 0.97527 | -0.47732 | 3.8437
72 | -0.033104 | -0.0083282 | 0.033129 | 0.0083388 | 2.4579e-05 | 1.0576e-05 | 0.050464 | 0.050462 | 0.050464 | 0.97636 | -0.45591 | 0.97715 | -0.44038 | 3.4659
73 | 0.0039105 | 0.00097989 | -0.0039102 | -0.00097998 | 3.1896e-07 | -9.3985e-08 | 0.0059664 | 0.0059665 | 0.0059665 | 0.97527 | -0.47732 | 0.97518 | -0.47903 | 1.6391
74 | -0.037152 | -0.009347 | 0.037165 | 0.0093534 | 1.3462e-05 | 6.3677e-06 | 0.056588 | 0.056588 | 0.056588 | 0.97715 | -0.44038 | 0.97753 | -0.4328 | 3.8866
75 | -0.041951 | -0.010555 | 0.041957 | 0.010558 | 5.9666e-06 | 3.0356e-06 | 0.06386 | 0.06386 | 0.06386 | 0.97774 | -0.42879 | 0.97789 | -0.42581 | 4.386
76 | 0.041951 | 0.010555 | -0.041943 | -0.010551 | 8.0331e-06 | 4.0873e-06 | 0.06386 | 0.063861 | 0.063861 | 0.97774 | -0.42879 | 0.97753 | -0.4328 | 4.386
77 | -0.045433 | -0.011429 | 0.045436 | 0.011431 | 2.5374e-06 | 1.3399e-06 | 0.069149 | 0.069149 | 0.069149 | 0.97789 | -0.42581 | 0.97795 | -0.42464 | 4.7493
78 | -0.053844 | -0.013538 | 0.053847 | 0.013539 | 3.0952e-06 | 1.7342e-06 | 0.081942 | 0.081942 | 0.081942 | 0.97795 | -0.42464 | 0.97801 | -0.42344 | 5.6279
79 | 0.035848 | 0.0089867 | -0.035848 | -0.0089866 | 1.5756e-07 | 9.8908e-08 | 0.053384 | 0.053384 | 0.053384 | 0.99923 | -0.014743 | 0.99923 | -0.014835 | 14.666
80 | 0.018358 | 0.0046031 | -0.018354 | -0.0046009 | 3.7157e-06 | 2.2045e-06 | 0.027338 | 0.027339 | 0.027339 | 0.99923 | -0.014835 | 0.99901 | -0.019084 | 7.5106
81 | 0.014867 | 0.003727 | -0.014864 | -0.0037255 | 2.7763e-06 | 1.5792e-06 | 0.022145 | 0.022145 | 0.022145 | 0.99901 | -0.019084 | 0.9988 | -0.023003 | 6.0838
82 | 0.011502 | 0.0028827 | -0.011501 | -0.0028825 | 2.7921e-07 | 1.455e-07 | 0.017135 | 0.017135 | 0.017135 | 0.9988 | -0.023003 | 0.99878 | -0.023513 | 4.7075
83 | 0.0075102 | 0.0018822 | -0.0075094 | -0.0018819 | 7.8311e-07 | 2.8291e-07 | 0.011189 | 0.011189 | 0.011189 | 0.99878 | -0.023513 | 0.99866 | -0.025702 | 3.0739
84 | 0.004835 | 0.0012117 | -0.0048347 | -0.0012117 | 3.0237e-07 | -9.7414e-09 | 0.0072042 | 0.0072043 | 0.0072043 | 0.99866 | -0.025702 | 0.9986 | -0.027015 | 1.9792
85 | 0.073242 | 0.018417 | -0.073224 | -0.018405 | 1.8681e-05 | 1.1148e-05 | 0.11137 | 0.11137 | 0.11137 | 0.97878 | -0.40836 | 0.97851 | -0.4137 | 7.6491
86 | 0.06673 | 0.016778 | -0.066717 | -0.01677 | 1.3039e-05 | 7.667e-06 | 0.1015 | 0.1015 | 0.1015 | 0.97851 | -0.4137 | 0.9783 | -0.4178 | 6.9709
87 | -0.060133 | -0.015115 | 0.060149 | 0.015124 | 1.6205e-05 | 9.3345e-06 | 0.091506 | 0.091506 | 0.091506 | 0.97801 | -0.42344 | 0.9783 | -0.4178 | 6.2847

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4062 | 0.10337

## res_load
| p_mw | q_mvar
0 | 0.0038947 | 0.0009761
1 | 0.00021674 | 5.4321e-05
2 | 0.00020547 | 5.1495e-05
3 | 0.010029 | 0.0025136
4 | 0.00081182 | 0.00020346
5 | 0.004807 | 0.0012047
6 | 0.0048567 | 0.0012172
7 | 0.0094486 | 0.002368
8 | 0.0094542 | 0.0023695
9 | 0.025361 | 0.0063562
10 | 0.024974 | 0.0062592
11 | 0.00073645 | 0.00018457
12 | 0.00021884 | 5.4846e-05
13 | 0.0019205 | 0.00048133
14 | 0.011536 | 0.0028912
15 | 0.0018825 | 0.0004718
16 | 0.0013949 | 0.0003496
17 | 0.0099233 | 0.002487
18 | 0.005458 | 0.0013679
19 | 0.018403 | 0.0046122
20 | 0.0052867 | 0.001325
21 | 0.0018932 | 0.00047449
22 | 0.0046765 | 0.001172
23 | 0.0022232 | 0.00055717
24 | 0.0030751 | 0.00077068
25 | 0.0049004 | 0.0012282
26 | 0.0090376 | 0.002265
27 | 0.0069292 | 0.0017366
28 | 0.011454 | 0.0028707
29 | 0.0090976 | 0.0022801
30 | 0.0080387 | 0.0020147
31 | 0.017182 | 0.0043063
32 | 0.015801 | 0.00396
33 | 0.0029652 | 0.00074315
34 | 0.0030656 | 0.00076831
35 | 0.0034226 | 0.00085778
36 | 0.010228 | 0.0025635
37 | 0.0039058 | 0.0009789
38 | 0.0040667 | 0.0010192
39 | 0.0042867 | 0.0010744
40 | 0.0049022 | 0.0012286
41 | 0.00040576 | 0.00010169
42 | 0.0027123 | 0.00067978
43 | 0.0052594 | 0.0013181
44 | 0.0040229 | 0.0010082
45 | 0.0034761 | 0.0008712
46 | 0.0047779 | 0.0011975
47 | 0.0039102 | 0.00097998
48 | 0.0084076 | 0.0021071
49 | 0.011392 | 0.0028552
50 | 0.0031993 | 0.00080183
51 | 0.01749 | 0.0043835
52 | 0.0034867 | 0.00087386
53 | 0.0033628 | 0.00084279
54 | 0.0039913 | 0.0010003
55 | 0.0026744 | 0.00067026
56 | 0.0048347 | 0.0012117
57 | 0.0077411 | 0.0019401
58 | 0.0068403 | 0.0017143
59 | 0.0064937 | 0.0016275
60 | 0.006286 | 0.0015754
61 | 0.0065681 | 0.0016461

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1