## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_139-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_139-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_139-11_0_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_139-11_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_139-11_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_139-11_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_139-11_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_139-11_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_139-11_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_139-11_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_139-11_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_139-11_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_139-11_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_139-11_0_4_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_139-11_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_139-11_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_139-11_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_139-11_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_139-11_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_139-11_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_139-11_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_139-11_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_139-11_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_139-11_0_4_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_139-11_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_139-11_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_139-11_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_139-11_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_139-11_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_139-11_0_4_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_139-11_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_139-11_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_139-11_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_139-11_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_139-11_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_139-11_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_139-11_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_139-11_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_139-11_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_139-11_0_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_139-11_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_139-11_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_139-11_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_139-11_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_139-11_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_139-11_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_139-11_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_139-11_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_139-11_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_139-11_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_139-11_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_139-11_0_4_node_16 | 0.4 | n |  | TRUE
52 | bus_LV_139-11_0_4_node_13 | 0.4 | n |  | TRUE
53 | bus_LV_139-11_0_4_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_139-11_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_139-11_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_139-11_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_139-11_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_139-11_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_139-11_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_139-11_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_139-11_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_139-11_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_139-11_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_139-11_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_139-11_0_4_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_139-11_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_139-11_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_139-11_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_139-11_0_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_139-11_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_139-11_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_139-11_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_139-11_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_139-11_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_MV_360_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_139-11_0_4_load_0 | 0 | 0.0017264 | 0.00043267 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_139-11_0_4_load_10 | 4 | 0.0014168 | 0.00035509 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_139-11_0_4_load_11 | 5 | 0.0032374 | 0.00081138 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_139-11_0_4_load_46 | 8 | 0.0011404 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_139-11_0_4_load_43 | 9 | 0.0011784 | 0.00029533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_139-11_0_4_load_20 | 11 | 0.0052868 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_139-11_0_4_load_52 | 13 | 0.012283 | 0.0030785 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_139-11_0_4_load_17 | 15 | 0.0072613 | 0.0018198 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_139-11_0_4_load_18 | 18 | 0.011348 | 0.0028442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_139-11_0_4_load_15 | 19 | 0.010155 | 0.0025452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_139-11_0_4_load_51 | 20 | 0.0014385 | 0.00036052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_139-11_0_4_load_14 | 21 | 0.0008666 | 0.00021719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_139-11_0_4_load_12 | 22 | 0.0015196 | 0.00038084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_139-11_0_4_load_44 | 23 | 0.0012456 | 0.00031217 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_139-11_0_4_load_19 | 24 | 0.0037226 | 0.00093298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_139-11_0_4_load_50 | 25 | 0.012283 | 0.0030785 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_139-11_0_4_load_48 | 26 | 0.012283 | 0.0030785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_139-11_0_4_load_74 | 29 | 0.0089302 | 0.0022381 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_139-11_0_4_load_68 | 33 | 0.0048442 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_139-11_0_4_load_58 | 34 | 0.0058556 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_139-11_0_4_load_56 | 35 | 0.0084832 | 0.0021261 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_139-11_0_4_load_53 | 37 | 0.0074676 | 0.0018716 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_139-11_0_4_load_79 | 39 | 0.010794 | 0.0027053 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_139-11_0_4_load_72 | 41 | 0.012839 | 0.0032178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_139-11_0_4_load_64 | 42 | 0.011536 | 0.0028911 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_139-11_0_4_load_67 | 43 | 0.019482 | 0.0048827 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_139-11_0_4_load_55 | 44 | 0.0079115 | 0.0019828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_139-11_0_4_load_24 | 47 | 0.003774 | 0.00094587 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_139-11_0_4_load_31 | 48 | 0.012747 | 0.0031948 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_139-11_0_4_load_29 | 49 | 0.0016141 | 0.00040452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_139-11_0_4_load_28 | 50 | 0.0018736 | 0.00046956 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_139-11_0_4_load_16 | 51 | 0.0077408 | 0.00194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_139-11_0_4_load_13 | 52 | 0.0014833 | 0.00037174 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_139-11_0_4_load_23 | 53 | 0.0056225 | 0.0014091 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_139-11_0_4_load_47 | 55 | 0.02815 | 0.0070551 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_139-11_0_4_load_32 | 57 | 0.0044673 | 0.0011196 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_139-11_0_4_load_61 | 61 | 0.011773 | 0.0029505 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_139-11_0_4_load_73 | 62 | 0.0076287 | 0.0019119 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_139-11_0_4_load_71 | 63 | 0.0075359 | 0.0018887 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_139-11_0_4_load_63 | 64 | 0.017769 | 0.0044534 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_139-11_0_4_load_78 | 65 | 0.010449 | 0.0026189 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_139-11_0_4_load_75 | 69 | 0.025881 | 0.0064864 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_139-11_0_4_load_70 | 70 | 0.0086293 | 0.0021627 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_139-11_0_4_load_77 | 72 | 0.03098 | 0.0077643 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_139-11_0_4_load_66 | 74 | 0.011536 | 0.0028911 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_139-11_0_4_line_0 |  | 0 | 1 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_139-11_0_4_line_1 |  | 1 | 2 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_139-11_0_4_line_2 |  | 2 | 20 | 0.027652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_139-11_0_4_line_3 |  | 3 | 4 | 0.004821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_139-11_0_4_line_4 |  | 3 | 5 | 0.043681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_139-11_0_4_line_5 |  | 3 | 6 | 0.028712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_139-11_0_4_line_6 |  | 4 | 21 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_139-11_0_4_line_7 |  | 4 | 22 | 0.0057352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_139-11_0_4_line_8 |  | 5 | 17 | 0.040846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_139-11_0_4_line_9 |  | 6 | 7 | 0.009222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_139-11_0_4_line_10 |  | 6 | 8 | 0.043243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_139-11_0_4_line_11 |  | 6 | 9 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_139-11_0_4_line_12 |  | 7 | 13 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_139-11_0_4_line_13 |  | 8 | 20 | 0.024124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_139-11_0_4_line_14 |  | 9 | 23 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_139-11_0_4_line_15 |  | 10 | 11 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_139-11_0_4_line_16 |  | 10 | 12 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_139-11_0_4_line_17 |  | 11 | 24 | 0.027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_139-11_0_4_line_18 |  | 12 | 25 | 0.043352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_139-11_0_4_line_19 |  | 12 | 26 | 0.023536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_139-11_0_4_line_20 |  | 13 | 25 | 0.034888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_139-11_0_4_line_21 |  | 14 | 15 | 0.005814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_139-11_0_4_line_22 |  | 14 | 16 | 0.006115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_139-11_0_4_line_23 |  | 15 | 51 | 0.03184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_139-11_0_4_line_24 |  | 16 | 24 | 0.031885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_139-11_0_4_line_25 |  | 16 | 46 | 0.006133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_139-11_0_4_line_26 |  | 17 | 18 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_139-11_0_4_line_27 |  | 17 | 19 | 0.041279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_139-11_0_4_line_28 |  | 22 | 52 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_139-11_0_4_line_29 |  | 23 | 58 | 0.0091024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_139-11_0_4_line_30 |  | 26 | 54 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_139-11_0_4_line_31 |  | 27 | 28 | 0.039579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_139-11_0_4_line_32 |  | 27 | 29 | 0.084296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_139-11_0_4_line_33 |  | 27 | 30 | 0.02328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_139-11_0_4_line_34 |  | 28 | 31 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_139-11_0_4_line_35 |  | 28 | 32 | 0.041417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_139-11_0_4_line_36 |  | 28 | 33 | 0.017168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_139-11_0_4_line_37 |  | 29 | 62 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_139-11_0_4_line_38 |  | 30 | 48 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_139-11_0_4_line_39 |  | 31 | 34 | 0.025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_139-11_0_4_line_40 |  | 31 | 35 | 0.043857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_139-11_0_4_line_41 |  | 32 | 43 | 0.010876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_139-11_0_4_line_42 |  | 32 | 44 | 0.030046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_139-11_0_4_line_43 |  | 35 | 60 | 0.0342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_139-11_0_4_line_44 |  | 36 | 37 | 0.00016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_139-11_0_4_line_45 |  | 36 | 38 | 0.074898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_139-11_0_4_line_46 |  | 37 | 45 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_139-11_0_4_line_47 |  | 38 | 39 | 0.025868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_139-11_0_4_line_48 |  | 40 | 41 | 0.041463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_139-11_0_4_line_49 |  | 40 | 42 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_139-11_0_4_line_50 |  | 41 | 63 | 0.036497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_139-11_0_4_line_51 |  | 42 | 64 | 0.036763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_139-11_0_4_line_52 |  | 43 | 65 | 0.0066146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_139-11_0_4_line_53 |  | 44 | 45 | 0.0096615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_139-11_0_4_line_54 |  | 46 | 47 | 0.037051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_139-11_0_4_line_55 |  | 47 | 53 | 0.032075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_139-11_0_4_line_56 |  | 48 | 56 | 0.038764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_139-11_0_4_line_57 |  | 49 | 50 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_139-11_0_4_line_58 |  | 50 | 56 | 0.048064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_139-11_0_4_line_59 |  | 54 | 55 | 0.033047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_139-11_0_4_line_60 |  | 56 | 57 | 0.022581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_139-11_0_4_line_61 |  | 57 | 58 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_139-11_0_4_line_62 |  | 59 | 60 | 0.046442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_139-11_0_4_line_63 |  | 59 | 61 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_139-11_0_4_line_64 |  | 60 | 68 | 0.005252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_139-11_0_4_line_65 |  | 61 | 66 | 0.037075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_139-11_0_4_line_66 |  | 63 | 71 | 0.01942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_139-11_0_4_line_67 |  | 64 | 73 | 0.0027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_139-11_0_4_line_68 |  | 66 | 67 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_139-11_0_4_line_69 |  | 67 | 72 | 0.036794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_139-11_0_4_line_70 |  | 68 | 69 | 0.046639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_139-11_0_4_line_71 |  | 68 | 70 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_139-11_0_4_line_72 |  | 70 | 71 | 0.029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_139-11_0_4_line_73 |  | 73 | 74 | 0.034325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_139-11_0_4_trafo_71 | 0.63 MVA 20/0.4 kV | 75 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2684484.1224 | 1240802.3633 | 2684477.5016 | 1240826.5421 | 2684476.3889 | 1240831.4671
1 | 2684472.6662 | 1240798.6198 | 2684478.3943 | 1240800.4916 | 2684484.1224 | 1240802.3633
2 | 2684472.6662 | 1240798.6198 | 2684465.6605 | 1240825.37
3 | 2684470.7602 | 1240878.3169 | 2684466.0655 | 1240877.1604
4 | 2684466.0655 | 1240877.1604 | 2684459.6173 | 1240905.6892 | 2684456.5086 | 1240919.7828
5 | 2684450.5929 | 1240891.028 | 2684456.0669 | 1240892.1512 | 2684460.0825 | 1240875.6742 | 2684466.0655 | 1240877.1604
6 | 2684470.7602 | 1240878.3169 | 2684468.8988 | 1240888.3349
7 | 2684470.7602 | 1240878.3169 | 2684471.9833 | 1240872.7136
8 | 2684447.7102 | 1240959.6699 | 2684456.5086 | 1240919.7828
9 | 2684448.6346 | 1240900.04 | 2684450.5929 | 1240891.028
10 | 2684450.5929 | 1240891.028 | 2684460.1706 | 1240848.859
11 | 2684450.5929 | 1240891.028 | 2684439.5821 | 1240888.8238
12 | 2684448.6346 | 1240900.04 | 2684440.5421 | 1240902.7825 | 2684438.8318 | 1240910.371
13 | 2684465.6605 | 1240825.37 | 2684464.4935 | 1240829.8261 | 2684460.1706 | 1240848.859
14 | 2684439.5821 | 1240888.8238 | 2684431.0404 | 1240887.1138 | 2684414.6175 | 1240878.8277
15 | 2684428.4925 | 1240992.2868 | 2684423.1634 | 1241016.5329
16 | 2684421.6303 | 1240986.6963 | 2684420.6701 | 1240990.9412 | 2684428.4925 | 1240992.2868
17 | 2684423.1634 | 1241016.5329 | 2684417.2407 | 1241043.479
18 | 2684421.6303 | 1240986.6963 | 2684431.1615 | 1240944.4051
19 | 2684421.6303 | 1240986.6963 | 2684415.616 | 1240985.8212 | 2684409.2962 | 1240984.6194 | 2684409.7389 | 1240982.7355 | 2684400.9213 | 1240980.5254
20 | 2684438.8318 | 1240910.371 | 2684431.1615 | 1240944.4051
21 | 2684416.088 | 1241075.9374 | 2684421.763 | 1241077.2747
22 | 2684416.088 | 1241075.9374 | 2684410.1192 | 1241074.5293
23 | 2684421.763 | 1241077.2747 | 2684428.6229 | 1241046.1824
24 | 2684410.1192 | 1241074.5293 | 2684410.705 | 1241073.2145 | 2684417.2407 | 1241043.479
25 | 2684410.1192 | 1241074.5293 | 2684408.8937 | 1241075.6238 | 2684407.0259 | 1241076.1643 | 2684404.4727 | 1241075.9723
26 | 2684447.7102 | 1240959.6699 | 2684454.0722 | 1240961.0948 | 2684456.4765 | 1240959.5278 | 2684458.119 | 1240951.7928
27 | 2684447.7102 | 1240959.6699 | 2684438.8166 | 1240999.9798
28 | 2684471.9833 | 1240872.7136 | 2684476.2787 | 1240853.036
29 | 2684406.1117 | 1240875.7289 | 2684411.0389 | 1240877.0221 | 2684414.6175 | 1240878.8277
30 | 2684377.9675 | 1240976.1124 | 2684384.0597 | 1240976.2991 | 2684400.9213 | 1240980.5254
31 | 2684291.1609 | 1240874.7284 | 2684296.0323 | 1240872.496 | 2684302.0914 | 1240869.7022 | 2684303.4183 | 1240872.1117 | 2684306.0094 | 1240880.8103 | 2684312.6049 | 1240895.0809
32 | 2684312.6049 | 1240895.0809 | 2684323.549 | 1240896.5374 | 2684338.6774 | 1240878.6727 | 2684355.784 | 1240856.2329 | 2684367.6972 | 1240840.602 | 2684368.8447 | 1240838.9931
33 | 2684312.6049 | 1240895.0809 | 2684314.9569 | 1240900.3848 | 2684318.5491 | 1240907.2852 | 2684324.9258 | 1240914.5922
34 | 2684284.2766 | 1240860.5649 | 2684291.1609 | 1240874.7284
35 | 2684291.1609 | 1240874.7284 | 2684296.0323 | 1240872.496 | 2684302.0914 | 1240869.7022 | 2684297.9851 | 1240862.2607 | 2684295.7788 | 1240858.9381 | 2684311.0143 | 1240851.627
36 | 2684291.1609 | 1240874.7284 | 2684293.3202 | 1240879.7627 | 2684295.4537 | 1240891.2561
37 | 2684388.8089 | 1240809.3435 | 2684384.6919 | 1240815.948 | 2684379.3636 | 1240824.2449 | 2684368.8447 | 1240838.9931
38 | 2684324.9258 | 1240914.5922 | 2684325.6525 | 1240909.2208 | 2684328.7834 | 1240902.8163 | 2684339.2424 | 1240889.7627
39 | 2684284.2766 | 1240860.5649 | 2684271.9959 | 1240838.7359
40 | 2684284.2766 | 1240860.5649 | 2684279.4847 | 1240863.5879 | 2684273.0746 | 1240868.734 | 2684267.1273 | 1240878.0341 | 2684262.4985 | 1240886.619 | 2684261.2963 | 1240895.7182
41 | 2684311.0143 | 1240851.627 | 2684319.3084 | 1240858.6617
42 | 2684311.0143 | 1240851.627 | 2684301.916 | 1240845.3266 | 2684298.6437 | 1240841.4551 | 2684292.6355 | 1240828.9099
43 | 2684271.3055 | 1240928.3296 | 2684263.8319 | 1240907.2083 | 2684261.236 | 1240896.1746 | 2684261.2963 | 1240895.7182
44 | 2684284.6199 | 1240804.4627 | 2684284.6252 | 1240804.6233
45 | 2684268.0588 | 1240752.8237 | 2684272.1639 | 1240754.5054 | 2684283.9104 | 1240757.5188 | 2684278.4792 | 1240775.7326 | 2684276.0235 | 1240791.0309 | 2684274.4544 | 1240804.6073 | 2684279.7724 | 1240804.4716 | 2684284.6199 | 1240804.4627
46 | 2684285.6989 | 1240822.7245 | 2684285.1008 | 1240819.0467 | 2684284.6252 | 1240804.6233
47 | 2684268.0588 | 1240752.8237 | 2684262.4648 | 1240764.3971 | 2684260.2439 | 1240777.2194
48 | 2684362.2753 | 1241023.001 | 2684344.2607 | 1240985.6562
49 | 2684362.2753 | 1241023.001 | 2684356.6466 | 1241032.7614 | 2684353.8237 | 1241041.4813
50 | 2684344.2607 | 1240985.6562 | 2684328.4035 | 1240952.7837
51 | 2684342.5008 | 1241076.4567 | 2684353.8237 | 1241041.4813
52 | 2684322.5673 | 1240863.9889 | 2684321.9607 | 1240860.9113 | 2684319.3084 | 1240858.6617
53 | 2684285.6989 | 1240822.7245 | 2684287.8292 | 1240823.4108 | 2684291.652 | 1240826.8564 | 2684292.6355 | 1240828.9099
54 | 2684404.4727 | 1241075.9723 | 2684402.7085 | 1241074.0125 | 2684390.984 | 1241057.8008 | 2684384.3994 | 1241044.987
55 | 2684384.3994 | 1241044.987 | 2684380.8077 | 1241037.9974 | 2684370.2886 | 1241016.1842
56 | 2684363.4809 | 1240859.5113 | 2684339.2424 | 1240889.7627
57 | 2684406.3849 | 1240794.8647 | 2684401.3582 | 1240804.2876 | 2684391.372 | 1240820.3794
58 | 2684363.4809 | 1240859.5113 | 2684389.1763 | 1240823.9175 | 2684391.372 | 1240820.3794
59 | 2684377.9675 | 1240976.1124 | 2684386.1026 | 1240944.0819
60 | 2684363.4809 | 1240859.5113 | 2684383.6086 | 1240869.7477
61 | 2684406.1117 | 1240875.7289 | 2684385.3884 | 1240870.6529 | 2684383.6086 | 1240869.7477
62 | 2684226.0068 | 1240921.6042 | 2684234.5739 | 1240924.8392 | 2684252.0558 | 1240929.1904 | 2684271.3055 | 1240928.3296
63 | 2684226.0068 | 1240921.6042 | 2684219.4492 | 1240950.3187
64 | 2684273.5825 | 1240933.0654 | 2684271.3055 | 1240928.3296
65 | 2684211.1949 | 1240986.4631 | 2684219.4492 | 1240950.3187
66 | 2684319.9659 | 1240935.2922 | 2684328.4035 | 1240952.7837
67 | 2684341.651 | 1241079.0818 | 2684342.5008 | 1241076.4567
68 | 2684206.6078 | 1241001.1753 | 2684211.1949 | 1240986.4631
69 | 2684206.6078 | 1241001.1753 | 2684215.3244 | 1241009.8496 | 2684231.0027 | 1241020.3129 | 2684235.7381 | 1241023.3904
70 | 2684273.5825 | 1240933.0654 | 2684283.6991 | 1240961.8964 | 2684286.4699 | 1240977.7408
71 | 2684273.5825 | 1240933.0654 | 2684291.3608 | 1240936.8095
72 | 2684319.9659 | 1240935.2922 | 2684306.3636 | 1240939.9691 | 2684291.3608 | 1240936.8095
73 | 2684341.651 | 1241079.0818 | 2684334.9513 | 1241079.0755 | 2684331.1081 | 1241082.9348 | 2684328.6737 | 1241082.9002 | 2684323.0707 | 1241077.5612 | 2684312.7526 | 1241071.4243

## bus_geodata
| x | y | coords
0 | 2684476.3889 | 1240831.4671
1 | 2684484.1224 | 1240802.3633
2 | 2684472.6662 | 1240798.6198
3 | 2684466.0655 | 1240877.1604
4 | 2684470.7602 | 1240878.3169
5 | 2684456.5086 | 1240919.7828
6 | 2684450.5929 | 1240891.028
7 | 2684448.6346 | 1240900.04
8 | 2684460.1706 | 1240848.859
9 | 2684439.5821 | 1240888.8238
10 | 2684428.4925 | 1240992.2868
11 | 2684423.1634 | 1241016.5329
12 | 2684421.6303 | 1240986.6963
13 | 2684438.8318 | 1240910.371
14 | 2684416.088 | 1241075.9374
15 | 2684421.763 | 1241077.2747
16 | 2684410.1192 | 1241074.5293
17 | 2684447.7102 | 1240959.6699
18 | 2684458.119 | 1240951.7928
19 | 2684438.8166 | 1240999.9798
20 | 2684465.6605 | 1240825.37
21 | 2684468.8988 | 1240888.3349
22 | 2684471.9833 | 1240872.7136
23 | 2684414.6175 | 1240878.8277
24 | 2684417.2407 | 1241043.479
25 | 2684431.1615 | 1240944.4051
26 | 2684400.9213 | 1240980.5254
27 | 2684312.6049 | 1240895.0809
28 | 2684291.1609 | 1240874.7284
29 | 2684368.8447 | 1240838.9931
30 | 2684324.9258 | 1240914.5922
31 | 2684284.2766 | 1240860.5649
32 | 2684311.0143 | 1240851.627
33 | 2684295.4537 | 1240891.2561
34 | 2684271.9959 | 1240838.7359
35 | 2684261.2963 | 1240895.7182
36 | 2684284.6199 | 1240804.4627
37 | 2684284.6252 | 1240804.6233
38 | 2684268.0588 | 1240752.8237
39 | 2684260.2439 | 1240777.2194
40 | 2684362.2753 | 1241023.001
41 | 2684344.2607 | 1240985.6562
42 | 2684353.8237 | 1241041.4813
43 | 2684319.3084 | 1240858.6617
44 | 2684292.6355 | 1240828.9099
45 | 2684285.6989 | 1240822.7245
46 | 2684404.4727 | 1241075.9723
47 | 2684384.3994 | 1241044.987
48 | 2684339.2424 | 1240889.7627
49 | 2684406.3849 | 1240794.8647
50 | 2684391.372 | 1240820.3794
51 | 2684428.6229 | 1241046.1824
52 | 2684476.2787 | 1240853.036
53 | 2684370.2886 | 1241016.1842
54 | 2684377.9675 | 1240976.1124
55 | 2684386.1026 | 1240944.0819
56 | 2684363.4809 | 1240859.5113
57 | 2684383.6086 | 1240869.7477
58 | 2684406.1117 | 1240875.7289
59 | 2684226.0068 | 1240921.6042
60 | 2684271.3055 | 1240928.3296
61 | 2684219.4492 | 1240950.3187
62 | 2684388.8089 | 1240809.3435
63 | 2684328.4035 | 1240952.7837
64 | 2684342.5008 | 1241076.4567
65 | 2684322.5673 | 1240863.9889
66 | 2684211.1949 | 1240986.4631
67 | 2684206.6078 | 1241001.1753
68 | 2684273.5825 | 1240933.0654
69 | 2684286.4699 | 1240977.7408
70 | 2684291.3608 | 1240936.8095
71 | 2684319.9659 | 1240935.2922
72 | 2684235.7381 | 1241023.3904
73 | 2684341.651 | 1241079.0818
74 | 2684312.7526 | 1241071.4243
75 | 2684319.9659 | 1240935.2922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97513 | -0.47825 | 0.0017264 | 0.00043267
1 | 0.97518 | -0.4773 | 0 | 0
2 | 0.9752 | -0.47692 | 0 | 0
3 | 0.97468 | -0.48704 | 0 | 0
4 | 0.97466 | -0.48751 | 0.0014168 | 0.00035509
5 | 0.97368 | -0.50689 | 0.0032374 | 0.00081138
6 | 0.97549 | -0.47123 | 0 | 0
7 | 0.9752 | -0.47677 | 0 | 0
8 | 0.97531 | -0.47464 | 0.0011404 | 0.0002858
9 | 0.97595 | -0.46213 | 0.0011784 | 0.00029533
10 | 0.97265 | -0.52715 | 0 | 0
11 | 0.97239 | -0.53224 | 0.0052868 | 0.001325
12 | 0.97277 | -0.52463 | 0 | 0
13 | 0.9747 | -0.48659 | 0.012283 | 0.0030785
14 | 0.97121 | -0.55546 | 0 | 0
15 | 0.97113 | -0.55707 | 0.0072613 | 0.0018198
16 | 0.9713 | -0.55376 | 0 | 0
17 | 0.97286 | -0.52305 | 0 | 0
18 | 0.97267 | -0.52667 | 0.011348 | 0.0028442
19 | 0.97247 | -0.53078 | 0.010155 | 0.0025452
20 | 0.97524 | -0.47604 | 0.0014385 | 0.00036052
21 | 0.97465 | -0.48767 | 0.0008666 | 0.00021719
22 | 0.97464 | -0.48782 | 0.0015196 | 0.00038084
23 | 0.97708 | -0.44001 | 0.0012456 | 0.00031217
24 | 0.97203 | -0.5394 | 0.0037226 | 0.00093298
25 | 0.97377 | -0.50499 | 0.012283 | 0.0030785
26 | 0.97233 | -0.5334 | 0.012283 | 0.0030785
27 | 0.98369 | -0.31136 | 0 | 0
28 | 0.98581 | -0.27046 | 0 | 0
29 | 0.9824 | -0.33654 | 0.0089302 | 0.0022381
30 | 0.98256 | -0.33318 | 0 | 0
31 | 0.98695 | -0.24852 | 0 | 0
32 | 0.98367 | -0.31223 | 0 | 0
33 | 0.98573 | -0.27195 | 0.0048442 | 0.0012141
34 | 0.98681 | -0.25114 | 0.0058556 | 0.0014676
35 | 0.9902 | -0.18612 | 0.0084832 | 0.0021261
36 | 0.98247 | -0.33561 | 0 | 0
37 | 0.98247 | -0.33558 | 0.0074676 | 0.0018716
38 | 0.98172 | -0.35022 | 0 | 0
39 | 0.98147 | -0.35527 | 0.010794 | 0.0027053
40 | 0.99667 | -0.06388 | 0 | 0
41 | 0.99822 | -0.034211 | 0.012839 | 0.0032178
42 | 0.99591 | -0.078534 | 0.011536 | 0.0028911
43 | 0.98337 | -0.31809 | 0.019482 | 0.0048827
44 | 0.98294 | -0.32641 | 0.0079115 | 0.0019828
45 | 0.98278 | -0.32959 | 0 | 0
46 | 0.97125 | -0.55483 | 0 | 0
47 | 0.97092 | -0.56126 | 0.003774 | 0.00094587
48 | 0.98115 | -0.36068 | 0.012747 | 0.0031948
49 | 0.97922 | -0.39815 | 0.0016141 | 0.00040452
50 | 0.97927 | -0.39729 | 0.0018736 | 0.00046956
51 | 0.9709 | -0.56162 | 0.0077408 | 0.00194
52 | 0.97462 | -0.48837 | 0.0014833 | 0.00037174
53 | 0.97075 | -0.5646 | 0.0056225 | 0.0014091
54 | 0.97171 | -0.54559 | 0 | 0
55 | 0.97084 | -0.56278 | 0.02815 | 0.0070551
56 | 0.97942 | -0.39424 | 0 | 0
57 | 0.97844 | -0.41336 | 0.0044673 | 0.0011196
58 | 0.97746 | -0.43252 | 0 | 0
59 | 0.991 | -0.17122 | 0 | 0
60 | 0.99282 | -0.13604 | 0 | 0
61 | 0.98984 | -0.19359 | 0.011773 | 0.0029505
62 | 0.98215 | -0.34146 | 0.0076287 | 0.0019119
63 | 1 | 0 | -0.38648 | -0.098813
64 | 0.99493 | -0.097485 | 0.017769 | 0.0044534
65 | 0.9833 | -0.31934 | 0.010449 | 0.0026189
66 | 0.98879 | -0.21405 | 0 | 0
67 | 0.98835 | -0.22256 | 0 | 0
68 | 0.99329 | -0.12705 | 0 | 0
69 | 0.99219 | -0.1484 | 0.025881 | 0.0064864
70 | 0.99507 | -0.093257 | 0.0086293 | 0.0021627
71 | 0.99805 | -0.036749 | 0 | 0
72 | 0.9873 | -0.24292 | 0.03098 | 0.0077643
73 | 0.9949 | -0.098046 | 0 | 0
74 | 0.99454 | -0.10502 | 0.011536 | 0.0028911
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017264 | -0.00043267 | 0.0017264 | 0.00043234 | 7.8377e-08 | -3.2558e-07 | 0.0026344 | 0.0026342 | 0.0026344 | 0.97513 | -0.47825 | 0.97518 | -0.4773 | 0.72373
1 | -0.0017264 | -0.00043234 | 0.0017265 | 0.00043221 | 3.1362e-08 | -1.303e-07 | 0.0026342 | 0.0026342 | 0.0026342 | 0.97518 | -0.4773 | 0.9752 | -0.47692 | 0.72369
2 | -0.0017265 | -0.00043221 | 0.0017265 | 0.00043191 | 7.195e-08 | -2.9897e-07 | 0.0026342 | 0.0026341 | 0.0026342 | 0.9752 | -0.47692 | 0.97524 | -0.47604 | 0.72367
3 | 0.0052864 | 0.0013245 | -0.0052863 | -0.0013245 | 1.1775e-07 | 1.5277e-08 | 0.0080705 | 0.0080705 | 0.0080705 | 0.97468 | -0.48704 | 0.97466 | -0.48751 | 2.2172
4 | 0.024787 | 0.0062283 | -0.024764 | -0.0062138 | 2.3464e-05 | 1.4473e-05 | 0.037847 | 0.037848 | 0.037848 | 0.97468 | -0.48704 | 0.97368 | -0.50689 | 10.3977
5 | -0.030074 | -0.0075527 | 0.030096 | 0.0075669 | 2.2702e-05 | 1.4171e-05 | 0.045918 | 0.045918 | 0.045918 | 0.97468 | -0.48704 | 0.97549 | -0.47123 | 12.6148
6 | 0.0008666 | 0.00021707 | -0.0008666 | -0.00021719 | 6.6883e-09 | -1.2271e-07 | 0.001323 | 0.001323 | 0.001323 | 0.97466 | -0.48751 | 0.97465 | -0.48767 | 0.36347
7 | 0.0030029 | 0.00075231 | -0.0030029 | -0.00075235 | 4.5202e-08 | -4.2546e-08 | 0.0045844 | 0.0045845 | 0.0045845 | 0.97466 | -0.48751 | 0.97464 | -0.48782 | 1.2595
8 | 0.021526 | 0.0054024 | -0.02151 | -0.0053923 | 1.658e-05 | 1.0103e-05 | 0.0329 | 0.0329 | 0.0329 | 0.97368 | -0.50689 | 0.97286 | -0.52305 | 9.0385
9 | 0.098729 | 0.02486 | -0.098703 | -0.024843 | 2.616e-05 | 1.6397e-05 | 0.15064 | 0.15064 | 0.15064 | 0.97549 | -0.47123 | 0.9752 | -0.47677 | 13.7952
10 | 0.0043063 | 0.001078 | -0.0043056 | -0.0010781 | 6.9965e-07 | -9.1972e-08 | 0.0065684 | 0.0065686 | 0.0065686 | 0.97549 | -0.47123 | 0.97531 | -0.47464 | 1.8046
11 | -0.13313 | -0.033505 | 0.13319 | 0.033541 | 5.7917e-05 | 3.6646e-05 | 0.20313 | 0.20313 | 0.20313 | 0.97549 | -0.47123 | 0.97595 | -0.46213 | 18.6017
12 | 0.098703 | 0.024843 | -0.098657 | -0.024814 | 4.6305e-05 | 2.9024e-05 | 0.15064 | 0.15064 | 0.15064 | 0.9752 | -0.47677 | 0.9747 | -0.48659 | 13.7953
13 | 0.0031652 | 0.00079226 | -0.003165 | -0.00079243 | 2.1094e-07 | -1.6603e-07 | 0.0048288 | 0.0048289 | 0.0048289 | 0.97531 | -0.47464 | 0.97524 | -0.47604 | 1.3266
14 | -0.13437 | -0.033837 | 0.13451 | 0.033927 | 0.00014229 | 9.0048e-05 | 0.20493 | 0.20493 | 0.20493 | 0.97595 | -0.46213 | 0.97708 | -0.44001 | 18.7662
15 | 0.033451 | 0.0083967 | -0.033443 | -0.0083925 | 8.1283e-06 | 4.278e-06 | 0.05118 | 0.05118 | 0.05118 | 0.97265 | -0.52715 | 0.97239 | -0.53224 | 4.6868
16 | -0.033451 | -0.0083967 | 0.033455 | 0.0083988 | 4.0165e-06 | 2.1137e-06 | 0.05118 | 0.05118 | 0.05118 | 0.97265 | -0.52715 | 0.97277 | -0.52463 | 4.6868
17 | 0.028156 | 0.0070675 | -0.028146 | -0.007062 | 9.605e-06 | 5.463e-06 | 0.04309 | 0.04309 | 0.04309 | 0.97239 | -0.53224 | 0.97203 | -0.5394 | 5.919
18 | -0.073945 | -0.018567 | 0.074014 | 0.01861 | 6.9345e-05 | 4.2765e-05 | 0.11312 | 0.11312 | 0.11312 | 0.97277 | -0.52463 | 0.97377 | -0.50499 | 10.3592
19 | 0.04049 | 0.010168 | -0.040473 | -0.010158 | 1.6933e-05 | 1.0253e-05 | 0.061943 | 0.061943 | 0.061943 | 0.97277 | -0.52463 | 0.97233 | -0.5334 | 8.5087
20 | 0.086373 | 0.021736 | -0.086297 | -0.021688 | 7.5861e-05 | 4.7248e-05 | 0.13189 | 0.13189 | 0.13189 | 0.9747 | -0.48659 | 0.97377 | -0.50499 | 12.0781
21 | 0.015005 | 0.0037612 | -0.015004 | -0.0037606 | 1.1523e-06 | 6.6554e-07 | 0.02299 | 0.02299 | 0.02299 | 0.97121 | -0.55546 | 0.97113 | -0.55707 | 6.3158
22 | -0.015005 | -0.0037612 | 0.015006 | 0.0037619 | 1.212e-06 | 6.9998e-07 | 0.02299 | 0.02299 | 0.02299 | 0.97121 | -0.55546 | 0.9713 | -0.55376 | 6.3158
23 | 0.0077425 | 0.0019407 | -0.0077408 | -0.00194 | 1.6805e-06 | 6.8167e-07 | 0.011864 | 0.011864 | 0.011864 | 0.97113 | -0.55707 | 0.9709 | -0.56162 | 3.2593
24 | -0.024407 | -0.0061187 | 0.024424 | 0.006129 | 1.6717e-05 | 1.0304e-05 | 0.037392 | 0.037392 | 0.037392 | 0.9713 | -0.55376 | 0.97203 | -0.5394 | 10.2725
25 | 0.0094008 | 0.0023568 | -0.0094004 | -0.0023566 | 4.7705e-07 | 2.2941e-07 | 0.014402 | 0.014402 | 0.014402 | 0.9713 | -0.55376 | 0.97125 | -0.55483 | 3.9567
26 | 0.01135 | 0.0028452 | -0.011348 | -0.0028442 | 1.955e-06 | 1.0365e-06 | 0.017361 | 0.017361 | 0.017361 | 0.97286 | -0.52305 | 0.97267 | -0.52667 | 4.7695
27 | 0.010159 | 0.0025471 | -0.010155 | -0.0025452 | 3.7379e-06 | 1.8799e-06 | 0.015539 | 0.015539 | 0.015539 | 0.97286 | -0.52305 | 0.97247 | -0.53078 | 4.2691
28 | 0.0014833 | 0.00037151 | -0.0014833 | -0.00037174 | 3.8733e-08 | -2.2621e-07 | 0.0022645 | 0.0022646 | 0.0022646 | 0.97464 | -0.48782 | 0.97462 | -0.48837 | 0.62214
29 | -0.13576 | -0.034239 | 0.1358 | 0.03427 | 4.867e-05 | 3.0807e-05 | 0.20682 | 0.20682 | 0.20682 | 0.97708 | -0.44001 | 0.97746 | -0.43252 | 18.9399
30 | 0.02819 | 0.0070796 | -0.028173 | -0.0070694 | 1.639e-05 | 1.0198e-05 | 0.043145 | 0.043146 | 0.043146 | 0.97233 | -0.5334 | 0.97171 | -0.54559 | 11.8532
31 | -0.17395 | -0.044164 | 0.17429 | 0.044382 | 0.00034306 | 0.00021805 | 0.26333 | 0.26333 | 0.26333 | 0.98369 | -0.31136 | 0.98581 | -0.27046 | 24.1145
32 | 0.016581 | 0.0041624 | -0.016561 | -0.0041507 | 1.989e-05 | 1.1661e-05 | 0.025084 | 0.025084 | 0.025084 | 0.98369 | -0.31136 | 0.9824 | -0.33654 | 6.8912
33 | 0.15737 | 0.040002 | -0.1572 | -0.039897 | 0.00016517 | 0.00010483 | 0.23825 | 0.23825 | 0.23825 | 0.98369 | -0.31136 | 0.98256 | -0.33318 | 21.8175
34 | -0.2354 | -0.059755 | 0.23564 | 0.059914 | 0.00024877 | 0.00015861 | 0.35559 | 0.35559 | 0.35559 | 0.98581 | -0.27046 | 0.98695 | -0.24852 | 32.5629
35 | 0.056262 | 0.014159 | -0.05615 | -0.014088 | 0.00011207 | 7.1197e-05 | 0.084944 | 0.084945 | 0.084945 | 0.98581 | -0.27046 | 0.98367 | -0.31223 | 23.3364
36 | 0.0048446 | 0.0012141 | -0.0048442 | -0.0012141 | 3.4425e-07 | 1.4602e-09 | 0.0073125 | 0.0073126 | 0.0073126 | 0.98581 | -0.27046 | 0.98573 | -0.27195 | 2.009
37 | 0.0076305 | 0.0019126 | -0.0076287 | -0.0019119 | 1.7913e-06 | 6.9378e-07 | 0.011558 | 0.011558 | 0.011558 | 0.9824 | -0.33654 | 0.98215 | -0.34146 | 3.1753
38 | 0.1572 | 0.039897 | -0.15699 | -0.039765 | 0.00020772 | 0.00013183 | 0.23825 | 0.23825 | 0.23825 | 0.98256 | -0.33318 | 0.98115 | -0.36068 | 21.8176
39 | 0.0058563 | 0.0014677 | -0.0058556 | -0.0014676 | 7.3225e-07 | 1.4861e-07 | 0.0088296 | 0.0088297 | 0.0088297 | 0.98695 | -0.24852 | 0.98681 | -0.25114 | 2.4257
40 | -0.2415 | -0.061381 | 0.24223 | 0.061846 | 0.00072801 | 0.00046424 | 0.36442 | 0.36442 | 0.36442 | 0.98695 | -0.24852 | 0.9902 | -0.18612 | 33.3714
41 | 0.02994 | 0.0075071 | -0.029932 | -0.0075019 | 8.3665e-06 | 5.2166e-06 | 0.045293 | 0.045293 | 0.045293 | 0.98367 | -0.31223 | 0.98337 | -0.31809 | 12.4431
42 | 0.026209 | 0.0065806 | -0.026192 | -0.0065697 | 1.7715e-05 | 1.0956e-05 | 0.039652 | 0.039652 | 0.039652 | 0.98367 | -0.31223 | 0.98294 | -0.32641 | 10.8934
43 | -0.25071 | -0.063972 | 0.25132 | 0.06436 | 0.00060813 | 0.00038788 | 0.37716 | 0.37716 | 0.37716 | 0.9902 | -0.18612 | 0.99282 | -0.13604 | 34.5388
44 | -0.010804 | -0.0027105 | 0.010804 | 0.0027105 | 1.6143e-08 | 8.2954e-09 | 0.016365 | 0.016365 | 0.016365 | 0.98247 | -0.33561 | 0.98247 | -0.33558 | 4.4959
45 | 0.010804 | 0.0027105 | -0.010797 | -0.0027066 | 7.5221e-06 | 3.8664e-06 | 0.016365 | 0.016365 | 0.016365 | 0.98247 | -0.33561 | 0.98172 | -0.35022 | 4.496
46 | -0.018272 | -0.0045821 | 0.018277 | 0.0045852 | 5.2151e-06 | 3.1076e-06 | 0.027675 | 0.027675 | 0.027675 | 0.98247 | -0.33558 | 0.98278 | -0.32959 | 7.6031
47 | 0.010797 | 0.0027066 | -0.010794 | -0.0027053 | 2.598e-06 | 1.3357e-06 | 0.016365 | 0.016365 | 0.016365 | 0.98172 | -0.35022 | 0.98147 | -0.35527 | 4.496
48 | -0.0409 | -0.010272 | 0.040958 | 0.010309 | 5.7989e-05 | 3.6572e-05 | 0.06107 | 0.06107 | 0.06107 | 0.99667 | -0.06388 | 0.99822 | -0.034211 | 16.7775
49 | 0.0409 | 0.010272 | -0.040871 | -0.010254 | 2.8577e-05 | 1.8023e-05 | 0.06107 | 0.06107 | 0.06107 | 0.99667 | -0.06388 | 0.99591 | -0.078534 | 16.7776
50 | -0.053797 | -0.013527 | 0.053885 | 0.013583 | 8.8052e-05 | 5.5876e-05 | 0.080209 | 0.080209 | 0.080209 | 0.99822 | -0.034211 | 1 | 0 | 22.0355
51 | 0.029335 | 0.0073631 | -0.029309 | -0.0073466 | 2.6489e-05 | 1.6475e-05 | 0.043835 | 0.043835 | 0.043835 | 0.99591 | -0.078534 | 0.99493 | -0.097485 | 12.0425
52 | 0.01045 | 0.0026192 | -0.010449 | -0.0026189 | 6.2023e-07 | 3.1304e-07 | 0.015813 | 0.015813 | 0.015813 | 0.98337 | -0.31809 | 0.9833 | -0.31934 | 4.3442
53 | 0.01828 | 0.0045868 | -0.018277 | -0.0045852 | 2.7749e-06 | 1.6535e-06 | 0.027675 | 0.027675 | 0.027675 | 0.98294 | -0.32641 | 0.98278 | -0.32959 | 7.603
54 | 0.0094004 | 0.0023566 | -0.0093975 | -0.0023552 | 2.882e-06 | 1.3861e-06 | 0.014402 | 0.014402 | 0.014402 | 0.97125 | -0.55483 | 0.97092 | -0.56126 | 3.9567
55 | 0.0056234 | 0.0014093 | -0.0056225 | -0.0014091 | 8.9343e-07 | 1.7518e-07 | 0.0086184 | 0.0086185 | 0.0086185 | 0.97092 | -0.56126 | 0.97075 | -0.5646 | 2.3677
56 | 0.14425 | 0.03657 | -0.14401 | -0.036423 | 0.00023222 | 0.00014715 | 0.21892 | 0.21892 | 0.21892 | 0.98115 | -0.36068 | 0.97942 | -0.39424 | 20.0472
57 | -0.0016141 | -0.00040452 | 0.0016141 | 0.00040419 | 6.6814e-08 | -3.2985e-07 | 0.0024527 | 0.0024526 | 0.0024527 | 0.97922 | -0.39815 | 0.97927 | -0.39729 | 0.67383
58 | -0.0034877 | -0.00087375 | 0.0034882 | 0.00087347 | 5.0617e-07 | -2.8083e-07 | 0.0052995 | 0.0052993 | 0.0052995 | 0.97927 | -0.39729 | 0.97942 | -0.39424 | 1.4559
59 | 0.028173 | 0.0070694 | -0.02815 | -0.0070551 | 2.307e-05 | 1.4356e-05 | 0.043146 | 0.043146 | 0.043146 | 0.97171 | -0.54559 | 0.97084 | -0.56278 | 11.8532
60 | 0.14053 | 0.03555 | -0.1404 | -0.035468 | 0.0001288 | 8.1582e-05 | 0.21362 | 0.21362 | 0.21362 | 0.97942 | -0.39424 | 0.97844 | -0.41336 | 19.562
61 | 0.13593 | 0.034349 | -0.1358 | -0.03427 | 0.00012476 | 7.8968e-05 | 0.20682 | 0.20682 | 0.20682 | 0.97844 | -0.41336 | 0.97746 | -0.43252 | 18.9398
62 | -0.042871 | -0.010789 | 0.042943 | 0.010835 | 7.2203e-05 | 4.561e-05 | 0.064388 | 0.064388 | 0.064388 | 0.991 | -0.17122 | 0.99282 | -0.13604 | 17.6891
63 | 0.042871 | 0.010789 | -0.042825 | -0.01076 | 4.5792e-05 | 2.8928e-05 | 0.064388 | 0.064388 | 0.064388 | 0.991 | -0.17122 | 0.98984 | -0.19359 | 17.6891
64 | -0.29426 | -0.075195 | 0.29439 | 0.075276 | 0.000128 | 8.1713e-05 | 0.44155 | 0.44155 | 0.44155 | 0.99282 | -0.13604 | 0.99329 | -0.12705 | 40.435
65 | 0.031053 | 0.0078098 | -0.031022 | -0.0077909 | 3.0309e-05 | 1.8922e-05 | 0.046691 | 0.046691 | 0.046691 | 0.98984 | -0.19359 | 0.98879 | -0.21405 | 12.8272
66 | 0.33095 | 0.085231 | -0.33036 | -0.084854 | 0.00059065 | 0.00037725 | 0.49327 | 0.49327 | 0.49327 | 1 | 0 | 0.99805 | -0.036749 | 45.171
67 | 0.01154 | 0.0028933 | -0.011539 | -0.0028931 | 3.0821e-07 | 1.6142e-07 | 0.017259 | 0.017259 | 0.017259 | 0.99493 | -0.097485 | 0.9949 | -0.098046 | 4.7415
68 | 0.031022 | 0.0077909 | -0.03101 | -0.007783 | 1.2597e-05 | 7.8646e-06 | 0.046691 | 0.046691 | 0.046691 | 0.98879 | -0.21405 | 0.98835 | -0.22256 | 12.8272
69 | 0.03101 | 0.007783 | -0.03098 | -0.0077643 | 3.008e-05 | 1.878e-05 | 0.046691 | 0.046691 | 0.046691 | 0.98835 | -0.22256 | 0.9873 | -0.24292 | 12.8273
70 | 0.025907 | 0.0065026 | -0.025881 | -0.0064864 | 2.6349e-05 | 1.626e-05 | 0.038814 | 0.038814 | 0.038814 | 0.99329 | -0.12705 | 0.99219 | -0.1484 | 10.6633
71 | -0.3203 | -0.081779 | 0.32082 | 0.082114 | 0.00052404 | 0.00033468 | 0.48036 | 0.48036 | 0.48036 | 0.99329 | -0.12705 | 0.99507 | -0.093257 | 43.9894
72 | -0.32945 | -0.084276 | 0.33036 | 0.084854 | 0.00090378 | 0.00057726 | 0.49327 | 0.49327 | 0.49327 | 0.99507 | -0.093257 | 0.99805 | -0.036749 | 45.1711
73 | 0.011539 | 0.0028931 | -0.011536 | -0.0028911 | 3.8343e-06 | 2.0084e-06 | 0.017259 | 0.017259 | 0.017259 | 0.9949 | -0.098046 | 0.99454 | -0.10502 | 4.7416

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39402 | 0.1007

## res_load
| p_mw | q_mvar
0 | 0.0017264 | 0.00043267
1 | 0.0014168 | 0.00035509
2 | 0.0032374 | 0.00081138
3 | 0.0011404 | 0.0002858
4 | 0.0011784 | 0.00029533
5 | 0.0052868 | 0.001325
6 | 0.012283 | 0.0030785
7 | 0.0072613 | 0.0018198
8 | 0.011348 | 0.0028442
9 | 0.010155 | 0.0025452
10 | 0.0014385 | 0.00036052
11 | 0.0008666 | 0.00021719
12 | 0.0015196 | 0.00038084
13 | 0.0012456 | 0.00031217
14 | 0.0037226 | 0.00093298
15 | 0.012283 | 0.0030785
16 | 0.012283 | 0.0030785
17 | 0.0089302 | 0.0022381
18 | 0.0048442 | 0.0012141
19 | 0.0058556 | 0.0014676
20 | 0.0084832 | 0.0021261
21 | 0.0074676 | 0.0018716
22 | 0.010794 | 0.0027053
23 | 0.012839 | 0.0032178
24 | 0.011536 | 0.0028911
25 | 0.019482 | 0.0048827
26 | 0.0079115 | 0.0019828
27 | 0.003774 | 0.00094587
28 | 0.012747 | 0.0031948
29 | 0.0016141 | 0.00040452
30 | 0.0018736 | 0.00046956
31 | 0.0077408 | 0.00194
32 | 0.0014833 | 0.00037174
33 | 0.0056225 | 0.0014091
34 | 0.02815 | 0.0070551
35 | 0.0044673 | 0.0011196
36 | 0.011773 | 0.0029505
37 | 0.0076287 | 0.0019119
38 | 0.0075359 | 0.0018887
39 | 0.017769 | 0.0044534
40 | 0.010449 | 0.0026189
41 | 0.025881 | 0.0064864
42 | 0.0086293 | 0.0021627
43 | 0.03098 | 0.0077643
44 | 0.011536 | 0.0028911

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1