## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_139-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_139-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_139-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_139-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_139-3_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_139-3_0_5_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_139-3_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_139-3_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_139-3_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_139-3_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_139-3_0_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_139-3_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_139-3_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_139-3_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_139-3_0_5_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_139-3_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_139-3_0_5_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_139-3_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_139-3_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_139-3_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_139-3_0_5_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_139-3_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_139-3_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_139-3_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_139-3_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_139-3_0_5_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_139-3_0_5_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_139-3_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_139-3_0_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_139-3_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_139-3_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_139-3_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_139-3_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_139-3_0_5_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_139-3_0_5_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_139-3_0_5_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_139-3_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_139-3_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_139-3_0_5_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_139-3_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_139-3_0_5_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_139-3_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_139-3_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_139-3_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_139-3_0_5_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_139-3_0_5_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_139-3_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_139-3_0_5_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_139-3_0_5_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_139-3_0_5_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_139-3_0_5_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_139-3_0_5_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_139-3_0_5_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_139-3_0_5_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_139-3_0_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_139-3_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_139-3_0_5_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_139-3_0_5_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_139-3_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_139-3_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_139-3_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_139-3_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_139-3_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_139-3_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_139-3_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_139-3_0_5_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_139-3_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_139-3_0_5_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_139-3_0_5_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_139-3_0_5_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_139-3_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_139-3_0_5_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_139-3_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_139-3_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_139-3_0_5_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_139-3_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_139-3_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_139-3_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_139-3_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_139-3_0_5_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_139-3_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_139-3_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_139-3_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_139-3_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_139-3_0_5_node_88 | 0.4 | n |  | TRUE
85 | bus_MV_491_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_139-3_0_5_load_0 | 0 | 0.01909 | 0.0047844 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_139-3_0_5_load_91 | 5 | 0.013371 | 0.0033512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_139-3_0_5_load_36 | 8 | 0.012186 | 0.0030541 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_139-3_0_5_load_32 | 9 | 0.0039902 | 0.001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_139-3_0_5_load_33 | 10 | 0.0047918 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_139-3_0_5_load_31 | 11 | 0.018757 | 0.004701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_139-3_0_5_load_34 | 14 | 0.0061049 | 0.00153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_139-3_0_5_load_35 | 16 | 0.0081149 | 0.0020338 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_139-3_0_5_load_37 | 17 | 0.045702 | 0.011454 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_139-3_0_5_load_89 | 20 | 0.0030445 | 0.00076301 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_139-3_0_5_load_54 | 23 | 0.030616 | 0.007673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_139-3_0_5_load_39 | 25 | 0.0076514 | 0.0019176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_139-3_0_5_load_38 | 26 | 0.024017 | 0.0060193 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_139-3_0_5_load_40 | 27 | 0.030776 | 0.0077131 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_139-3_0_5_load_49 | 28 | 0.046385 | 0.011625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_139-3_0_5_load_55 | 31 | 0.017605 | 0.0044121 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_139-3_0_5_load_77 | 33 | 0.0012004 | 0.00030085 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_139-3_0_5_load_65 | 34 | 0.0071294 | 0.0017868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_139-3_0_5_load_74 | 35 | 0.0023024 | 0.00057704 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_139-3_0_5_load_61 | 38 | 0.0009145 | 0.0002292 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_139-3_0_5_load_51 | 40 | 0.013122 | 0.0032888 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_139-3_0_5_load_83 | 43 | 0.003553 | 0.00089045 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_139-3_0_5_load_85 | 44 | 0.0022113 | 0.00055422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_139-3_0_5_load_87 | 45 | 0.0028621 | 0.00071731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_139-3_0_5_load_76 | 46 | 0.010581 | 0.0026519 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_139-3_0_5_load_82 | 47 | 0.0045973 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_139-3_0_5_load_48 | 49 | 0.024086 | 0.0060365 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_139-3_0_5_load_79 | 50 | 0.0023067 | 0.00057811 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_139-3_0_5_load_80 | 51 | 0.0031636 | 0.00079288 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_139-3_0_5_load_63 | 52 | 0.00191 | 0.00047868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_139-3_0_5_load_75 | 53 | 0.0020027 | 0.00050192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_139-3_0_5_load_59 | 54 | 0.006356 | 0.001593 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_139-3_0_5_load_52 | 55 | 0.010013 | 0.0025095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_139-3_0_5_load_84 | 56 | 0.0018952 | 0.00047497 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_139-3_0_5_load_86 | 57 | 0.0025447 | 0.00063776 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_139-3_0_5_load_50 | 59 | 0.03124 | 0.0078294 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_139-3_0_5_load_72 | 60 | 0.0046437 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_139-3_0_5_load_41 | 62 | 0.0071646 | 0.0017956 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_139-3_0_5_load_94 | 65 | 0.0062864 | 0.0015755 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_139-3_0_5_load_92 | 69 | 0.0060744 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_139-3_0_5_load_70 | 70 | 0.0025315 | 0.00063445 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_139-3_0_5_load_93 | 71 | 0.0060571 | 0.0015181 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_139-3_0_5_load_47 | 72 | 0.021938 | 0.0054982 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_139-3_0_5_load_73 | 73 | 0.0039387 | 0.00098714 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_139-3_0_5_load_56 | 74 | 0.0020931 | 0.00052458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_139-3_0_5_load_57 | 75 | 0.0020686 | 0.00051844 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_139-3_0_5_load_58 | 76 | 0.0025313 | 0.0006344 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_139-3_0_5_load_60 | 77 | 0.00314 | 0.00078696 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_139-3_0_5_load_67 | 78 | 0.0018083 | 0.00045321 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_139-3_0_5_load_68 | 79 | 0.0037852 | 0.00094866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_139-3_0_5_load_62 | 80 | 0.0014194 | 0.00035574 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_139-3_0_5_load_64 | 81 | 0.0037342 | 0.00093587 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_139-3_0_5_load_69 | 82 | 0.0021432 | 0.00053714 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_139-3_0_5_load_81 | 83 | 0.0021538 | 0.0005398 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_139-3_0_5_load_88 | 84 | 0.001718 | 0.00043057 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_139-3_0_5_line_0 |  | 0 | 1 | 0.011947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_139-3_0_5_line_1 |  | 0 | 2 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_139-3_0_5_line_2 |  | 1 | 3 | 0.006496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_139-3_0_5_line_3 |  | 2 | 4 | 0.033498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_139-3_0_5_line_4 |  | 3 | 5 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_139-3_0_5_line_5 |  | 4 | 12 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_139-3_0_5_line_6 |  | 4 | 8 | 0.0029571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_139-3_0_5_line_7 |  | 5 | 48 | 0.009793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_139-3_0_5_line_8 |  | 6 | 7 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_139-3_0_5_line_9 |  | 6 | 8 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_139-3_0_5_line_10 |  | 7 | 9 | 0.042932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_139-3_0_5_line_11 |  | 7 | 10 | 0.02625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_139-3_0_5_line_12 |  | 7 | 11 | 0.018922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_139-3_0_5_line_13 |  | 9 | 13 | 0.0038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_139-3_0_5_line_14 |  | 12 | 17 | 0.058361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_139-3_0_5_line_15 |  | 12 | 15 | 0.033321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_139-3_0_5_line_16 |  | 13 | 14 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_139-3_0_5_line_17 |  | 15 | 16 | 0.013955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_139-3_0_5_line_18 |  | 18 | 19 | 0.077092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_139-3_0_5_line_19 |  | 18 | 20 | 0.048391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_139-3_0_5_line_20 |  | 19 | 27 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_139-3_0_5_line_21 |  | 19 | 28 | 0.023208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_139-3_0_5_line_22 |  | 20 | 48 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_139-3_0_5_line_23 |  | 21 | 22 | 0.004739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_139-3_0_5_line_24 |  | 21 | 23 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_139-3_0_5_line_25 |  | 22 | 30 | 0.0168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_139-3_0_5_line_26 |  | 22 | 31 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_139-3_0_5_line_27 |  | 23 | 25 | 0.044681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_139-3_0_5_line_28 |  | 24 | 25 | 0.044064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_139-3_0_5_line_29 |  | 24 | 26 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_139-3_0_5_line_30 |  | 26 | 29 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_139-3_0_5_line_31 |  | 27 | 29 | 0.018524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_139-3_0_5_line_32 |  | 28 | 49 | 0.046017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_139-3_0_5_line_33 |  | 30 | 39 | 0.016634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_139-3_0_5_line_34 |  | 30 | 40 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_139-3_0_5_line_35 |  | 32 | 33 | 0.04436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_139-3_0_5_line_36 |  | 32 | 34 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_139-3_0_5_line_37 |  | 32 | 35 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_139-3_0_5_line_38 |  | 33 | 51 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_139-3_0_5_line_39 |  | 34 | 52 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_139-3_0_5_line_40 |  | 35 | 53 | 0.0055791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_139-3_0_5_line_41 |  | 36 | 37 | 0.038905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_139-3_0_5_line_42 |  | 36 | 38 | 0.0029058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_139-3_0_5_line_43 |  | 37 | 47 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_139-3_0_5_line_44 |  | 38 | 54 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_139-3_0_5_line_45 |  | 39 | 46 | 0.041563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_139-3_0_5_line_46 |  | 39 | 41 | 0.052916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_139-3_0_5_line_47 |  | 40 | 55 | 0.024878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_139-3_0_5_line_48 |  | 41 | 42 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_139-3_0_5_line_49 |  | 41 | 43 | 0.04885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_139-3_0_5_line_50 |  | 42 | 44 | 0.022384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_139-3_0_5_line_51 |  | 42 | 45 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_139-3_0_5_line_52 |  | 44 | 56 | 0.026582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_139-3_0_5_line_53 |  | 45 | 57 | 0.0095892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_139-3_0_5_line_54 |  | 46 | 53 | 0.061604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_139-3_0_5_line_55 |  | 49 | 72 | 0.029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_139-3_0_5_line_56 |  | 50 | 51 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_139-3_0_5_line_57 |  | 52 | 80 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_139-3_0_5_line_58 |  | 54 | 75 | 0.14612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_139-3_0_5_line_59 |  | 55 | 58 | 0.0087262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_139-3_0_5_line_60 |  | 57 | 84 | 0.00036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_139-3_0_5_line_61 |  | 58 | 59 | 0.026052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_139-3_0_5_line_62 |  | 59 | 66 | 0.020087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_139-3_0_5_line_63 |  | 60 | 61 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_139-3_0_5_line_64 |  | 61 | 70 | 0.0055228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_139-3_0_5_line_65 |  | 61 | 66 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_139-3_0_5_line_66 |  | 62 | 63 | 0.050958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_139-3_0_5_line_67 |  | 63 | 64 | 0.041958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_139-3_0_5_line_68 |  | 64 | 65 | 0.016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_139-3_0_5_line_69 |  | 65 | 71 | 0.017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_139-3_0_5_line_70 |  | 67 | 68 | 0.003372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_139-3_0_5_line_71 |  | 67 | 69 | 0.017587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_139-3_0_5_line_72 |  | 68 | 73 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_139-3_0_5_line_73 |  | 68 | 70 | 0.023009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_139-3_0_5_line_74 |  | 69 | 71 | 0.016783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_139-3_0_5_line_75 |  | 74 | 75 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_139-3_0_5_line_76 |  | 74 | 76 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_139-3_0_5_line_77 |  | 76 | 77 | 0.028539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_139-3_0_5_line_78 |  | 77 | 78 | 0.024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_139-3_0_5_line_79 |  | 78 | 79 | 0.02496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_139-3_0_5_line_80 |  | 79 | 82 | 0.022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_139-3_0_5_line_81 |  | 80 | 81 | 0.024148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_139-3_0_5_line_82 |  | 82 | 83 | 0.0038481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_139-3_0_5_line_83 |  | 83 | 84 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_139-3_0_5_trafo_49 | 0.63 MVA 20/0.4 kV | 85 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2684449.4673 | 1240161.453 | 2684446.0147 | 1240172.8899
1 | 2684441.247 | 1240197.0173 | 2684447.8925 | 1240180.1774 | 2684446.0147 | 1240172.8899
2 | 2684443.2875 | 1240159.397 | 2684448.4061 | 1240161.0932 | 2684449.4673 | 1240161.453
3 | 2684440.4525 | 1240223.0914 | 2684436.0302 | 1240220.8269 | 2684431.7041 | 1240218.7083 | 2684436.753 | 1240208.2948 | 2684441.247 | 1240197.0173
4 | 2684423.925 | 1240152.5834 | 2684436.996 | 1240157.2059 | 2684443.2875 | 1240159.397
5 | 2684433.085 | 1240238.0641 | 2684440.4525 | 1240223.0914
6 | 2684440.4525 | 1240223.0914 | 2684441.756 | 1240220.4372
7 | 2684423.925 | 1240152.5834 | 2684420.8056 | 1240161.868
8 | 2684453.7709 | 1240195.9724 | 2684457.3975 | 1240196.2242 | 2684464.2645 | 1240181.3556 | 2684470.1771 | 1240183.5858
9 | 2684453.7709 | 1240195.9724 | 2684441.756 | 1240220.4372
10 | 2684470.1771 | 1240183.5858 | 2684511.5512 | 1240195.0473
11 | 2684470.1771 | 1240183.5858 | 2684464.5333 | 1240201.7852 | 2684462.8891 | 1240208.7906
12 | 2684470.1771 | 1240183.5858 | 2684475.7605 | 1240165.5062
13 | 2684515.2405 | 1240196.0693 | 2684511.5512 | 1240195.0473
14 | 2684433.085 | 1240238.0641 | 2684422.5081 | 1240260.1407 | 2684424.7015 | 1240264.9086 | 2684412.8728 | 1240290.9846
15 | 2684433.085 | 1240238.0641 | 2684433.7139 | 1240238.5067 | 2684432.8301 | 1240243.7534 | 2684431.6041 | 1240248.595 | 2684432.7934 | 1240250.58 | 2684441.1363 | 1240253.6898 | 2684451.4575 | 1240257.5505
16 | 2684515.2405 | 1240196.0693 | 2684510.561 | 1240214.8863
17 | 2684451.4575 | 1240257.5505 | 2684454.6419 | 1240243.9634
18 | 2684373.5414 | 1240221.6837 | 2684380.1217 | 1240223.7676 | 2684386.9478 | 1240202.7161 | 2684391.3814 | 1240204.1913 | 2684404.5512 | 1240203.4557 | 2684396.2973 | 1240228.6454 | 2684399.7345 | 1240229.9841
19 | 2684399.7345 | 1240229.9841 | 2684402.694 | 1240220.7751 | 2684412.3922 | 1240189.2236 | 2684414.0706 | 1240183.7663
20 | 2684373.5414 | 1240221.6837 | 2684365.7527 | 1240245.5762
21 | 2684373.5414 | 1240221.6837 | 2684380.7647 | 1240199.6282
22 | 2684420.8056 | 1240161.868 | 2684414.0706 | 1240183.7663
23 | 2684310.3834 | 1240210.0337 | 2684310.2995 | 1240205.2958
24 | 2684310.3834 | 1240210.0337 | 2684313.2844 | 1240214.5115 | 2684313.401 | 1240219.0831 | 2684313.4494 | 1240228.4461 | 2684313.9661 | 1240233.0678 | 2684314.2172 | 1240234.1332
25 | 2684310.2995 | 1240205.2958 | 2684310.0629 | 1240202.2569 | 2684312.3052 | 1240188.6901
26 | 2684310.2995 | 1240205.2958 | 2684312.0243 | 1240205.2647 | 2684324.0843 | 1240208.7993
27 | 2684314.2172 | 1240234.1332 | 2684319.0518 | 1240254.6445 | 2684319.0713 | 1240259.6594 | 2684319.8589 | 1240264.374 | 2684324.1689 | 1240277.2 | 2684324.2672 | 1240277.4648
28 | 2684347.0802 | 1240314.708 | 2684341.9627 | 1240308.6865 | 2684336.7917 | 1240302.6976 | 2684331.4787 | 1240293.927 | 2684326.9805 | 1240284.7676 | 2684324.2672 | 1240277.4648
29 | 2684347.0802 | 1240314.708 | 2684348.3321 | 1240311.2344 | 2684347.5253 | 1240308.9324 | 2684353.3729 | 1240290.492
30 | 2684360.0114 | 1240263.188 | 2684361.0732 | 1240264.5707 | 2684361.1834 | 1240265.8621 | 2684353.3729 | 1240290.492
31 | 2684360.0114 | 1240263.188 | 2684365.7527 | 1240245.5762
32 | 2684380.7647 | 1240199.6282 | 2684395.087 | 1240155.8967
33 | 2684304.4591 | 1240174.0237 | 2684307.9125 | 1240180.6108 | 2684312.3052 | 1240188.6901
34 | 2684312.3052 | 1240188.6901 | 2684318.9733 | 1240174.4857 | 2684323.1187 | 1240160.3098
35 | 2684268.6183 | 1240051.0265 | 2684268.8661 | 1240045.8263 | 2684270.5594 | 1240038.4339 | 2684271.3212 | 1240032.7184 | 2684271.399 | 1240013.9282 | 2684270.4445 | 1240006.9802
36 | 2684268.6183 | 1240051.0265 | 2684270.8604 | 1240048.6566 | 2684276.7828 | 1240040.6349
37 | 2684268.6183 | 1240051.0265 | 2684268.3203 | 1240077.838
38 | 2684270.9621 | 1239977.4948 | 2684269.9255 | 1239997.8624 | 2684269.924 | 1240003.2885 | 2684270.4394 | 1240006.9429 | 2684270.4445 | 1240006.9802
39 | 2684280.9788 | 1240030.0662 | 2684276.7828 | 1240040.6349
40 | 2684268.3203 | 1240077.838 | 2684268.2583 | 1240083.4167
41 | 2684171.5027 | 1240035.4712 | 2684165.4315 | 1240040.6667 | 2684155.1932 | 1240048.5161 | 2684141.3469 | 1240060.1393
42 | 2684171.5027 | 1240035.4712 | 2684173.6746 | 1240033.5408
43 | 2684141.3469 | 1240060.1393 | 2684142.2516 | 1240067.2684 | 2684141.1054 | 1240074.5018 | 2684137.7443 | 1240081.368
44 | 2684184.6543 | 1240023.7826 | 2684184.6543 | 1240023.7826 | 2684173.6746 | 1240033.5408
45 | 2684304.4591 | 1240174.0237 | 2684302.3312 | 1240174.2158 | 2684299.7493 | 1240173.3563 | 2684295.8884 | 1240170.4328 | 2684291.0767 | 1240163.1036 | 2684280.1794 | 1240142.7419
46 | 2684278.5506 | 1240162.7033 | 2684284.0759 | 1240173.5785 | 2684285.6353 | 1240172.9446 | 2684296.9487 | 1240167.1343 | 2684304.7634 | 1240163.2536 | 2684307.5636 | 1240164.1829 | 2684311.1263 | 1240167.3358 | 2684307.9212 | 1240172.5496 | 2684304.4591 | 1240174.0237
47 | 2684323.1187 | 1240160.3098 | 2684330.1014 | 1240136.4316
48 | 2684278.5506 | 1240162.7033 | 2684280.5333 | 1240161.5529 | 2684276.7902 | 1240154.5947
49 | 2684278.5506 | 1240162.7033 | 2684277.339 | 1240164.4096 | 2684277.5374 | 1240166.4138 | 2684285.0036 | 1240184.9331 | 2684277.8893 | 1240208.6648
50 | 2684276.7902 | 1240154.5947 | 2684270.9928 | 1240159.6828 | 2684269.16 | 1240163.0592 | 2684267.8738 | 1240167.3551 | 2684266.4828 | 1240173.545
51 | 2684276.7902 | 1240154.5947 | 2684267.6347 | 1240136.7964 | 2684267.2236 | 1240135.774
52 | 2684259.527 | 1240199.1307 | 2684262.2872 | 1240192.216 | 2684266.4828 | 1240173.545
53 | 2684263.6462 | 1240126.8771 | 2684263.6462 | 1240126.8771 | 2684267.2236 | 1240135.774
54 | 2684268.2583 | 1240083.4167 | 2684268.0461 | 1240102.4998 | 2684268.7661 | 1240110.3824 | 2684270.5999 | 1240120.7825 | 2684272.4909 | 1240127.1584 | 2684275.0305 | 1240133.121 | 2684280.1794 | 1240142.7419
55 | 2684404.3469 | 1240127.6226 | 2684395.087 | 1240155.8967
56 | 2684271.9451 | 1239958.1824 | 2684270.9621 | 1239977.4948
57 | 2684286.6129 | 1240015.8757 | 2684280.9788 | 1240030.0662
58 | 2684264.078 | 1239953.0016 | 2684264.5606 | 1239942.6577 | 2684264.1921 | 1239938.2493 | 2684262.7607 | 1239935.7272 | 2684261.0657 | 1239933.6572 | 2684258.6545 | 1239931.9551 | 2684255.0446 | 1239931.0477 | 2684252.1042 | 1239930.9281 | 2684248.4848 | 1239932.2888 | 2684246.6114 | 1239933.7299 | 2684240.83 | 1239944.6002 | 2684231.7233 | 1239962.2281 | 2684227.7468 | 1239969.0321 | 2684221.8857 | 1239978.6003 | 2684211.37 | 1239993.7287 | 2684199.8402 | 1240007.842 | 2684184.6543 | 1240023.7826
59 | 2684332.5506 | 1240128.0562 | 2684330.1014 | 1240136.4316
60 | 2684263.5658 | 1240126.5261 | 2684263.6462 | 1240126.8771
61 | 2684332.5506 | 1240128.0562 | 2684338.1629 | 1240108.8554 | 2684340.2098 | 1240103.1646
62 | 2684348.9734 | 1240085.2365 | 2684343.7693 | 1240093.2683 | 2684340.2098 | 1240103.1646
63 | 2684347.5301 | 1240075.5757 | 2684342.062 | 1240085.6831 | 2684338.8134 | 1240094.1067
64 | 2684347.5301 | 1240075.5757 | 2684349.9662 | 1240070.6192
65 | 2684347.5301 | 1240075.5757 | 2684350.1672 | 1240076.8029 | 2684352.1735 | 1240077.721 | 2684348.9734 | 1240085.2365
66 | 2684409.9397 | 1240113.3453 | 2684411.3004 | 1240117.1118 | 2684410.6283 | 1240126.609 | 2684399.5087 | 1240162.3512
67 | 2684409.9397 | 1240113.3453 | 2684408.6301 | 1240109.7129 | 2684416.502 | 1240099.1617 | 2684426.0114 | 1240076.1136
68 | 2684426.0114 | 1240076.1136 | 2684411.0962 | 1240070.1896
69 | 2684411.0962 | 1240070.1896 | 2684395.2104 | 1240063.88
70 | 2684360.1159 | 1240049.9694 | 2684363.2675 | 1240051.1928
71 | 2684363.2675 | 1240051.1928 | 2684379.6127 | 1240057.6849
72 | 2684360.1159 | 1240049.9694 | 2684366.0547 | 1240037.5993
73 | 2684360.1159 | 1240049.9694 | 2684349.9662 | 1240070.6192
74 | 2684379.6127 | 1240057.6849 | 2684395.2104 | 1240063.88
75 | 2684262.9429 | 1239977.3324 | 2684264.078 | 1239953.0016
76 | 2684262.9429 | 1239977.3324 | 2684261.9126 | 1239999.415
77 | 2684260.5825 | 1240027.9235 | 2684261.9126 | 1239999.415
78 | 2684260.1752 | 1240052.8322 | 2684260.266 | 1240034.7074 | 2684260.5825 | 1240027.9235
79 | 2684260.1752 | 1240052.8322 | 2684260.0501 | 1240077.7918
80 | 2684260.0501 | 1240077.7918 | 2684260.0473 | 1240078.3356 | 2684260.2406 | 1240099.8761 | 2684260.2432 | 1240100.167
81 | 2684286.6129 | 1240015.8757 | 2684295.5235 | 1239993.4323
82 | 2684260.2432 | 1240100.167 | 2684260.2777 | 1240104.0149
83 | 2684260.2777 | 1240104.0149 | 2684260.305 | 1240107.0599 | 2684261.3745 | 1240116.96 | 2684263.5658 | 1240126.5261

## bus_geodata
| x | y | coords
0 | 2684446.0147 | 1240172.8899
1 | 2684449.4673 | 1240161.453
2 | 2684441.247 | 1240197.0173
3 | 2684443.2874 | 1240159.397
4 | 2684440.4525 | 1240223.0914
5 | 2684423.925 | 1240152.5834
6 | 2684453.7709 | 1240195.9724
7 | 2684470.1771 | 1240183.5858
8 | 2684441.756 | 1240220.4372
9 | 2684511.5512 | 1240195.0473
10 | 2684462.8891 | 1240208.7906
11 | 2684475.7605 | 1240165.5062
12 | 2684433.085 | 1240238.0641
13 | 2684515.2405 | 1240196.0693
14 | 2684510.561 | 1240214.8863
15 | 2684451.4575 | 1240257.5505
16 | 2684454.6419 | 1240243.9634
17 | 2684412.8728 | 1240290.9846
18 | 2684399.7345 | 1240229.9841
19 | 2684373.5414 | 1240221.6837
20 | 2684414.0706 | 1240183.7663
21 | 2684310.3834 | 1240210.0337
22 | 2684310.2995 | 1240205.2958
23 | 2684314.2172 | 1240234.1332
24 | 2684347.0802 | 1240314.708
25 | 2684324.2672 | 1240277.4648
26 | 2684353.3729 | 1240290.492
27 | 2684365.7527 | 1240245.5762
28 | 2684380.7647 | 1240199.6282
29 | 2684360.0114 | 1240263.188
30 | 2684312.3052 | 1240188.6901
31 | 2684324.0843 | 1240208.7993
32 | 2684268.6183 | 1240051.0265
33 | 2684270.4445 | 1240006.9802
34 | 2684276.7828 | 1240040.6349
35 | 2684268.3203 | 1240077.838
36 | 2684171.5027 | 1240035.4712
37 | 2684141.3469 | 1240060.1393
38 | 2684173.6746 | 1240033.5408
39 | 2684304.4591 | 1240174.0237
40 | 2684323.1187 | 1240160.3098
41 | 2684278.5506 | 1240162.7033
42 | 2684276.7902 | 1240154.5947
43 | 2684277.8893 | 1240208.6648
44 | 2684266.4828 | 1240173.545
45 | 2684267.2236 | 1240135.774
46 | 2684280.1794 | 1240142.7419
47 | 2684137.7443 | 1240081.368
48 | 2684420.8056 | 1240161.868
49 | 2684395.087 | 1240155.8967
50 | 2684271.9451 | 1239958.1824
51 | 2684270.9621 | 1239977.4948
52 | 2684280.9788 | 1240030.0662
53 | 2684268.2583 | 1240083.4167
54 | 2684184.6543 | 1240023.7826
55 | 2684330.1014 | 1240136.4316
56 | 2684259.527 | 1240199.1307
57 | 2684263.6462 | 1240126.8771
58 | 2684332.5506 | 1240128.0562
59 | 2684340.2098 | 1240103.1646
60 | 2684338.8134 | 1240094.1067
61 | 2684347.5301 | 1240075.5757
62 | 2684399.5087 | 1240162.3512
63 | 2684409.9397 | 1240113.3453
64 | 2684426.0114 | 1240076.1136
65 | 2684411.0962 | 1240070.1896
66 | 2684348.9734 | 1240085.2365
67 | 2684363.2675 | 1240051.1928
68 | 2684360.1159 | 1240049.9694
69 | 2684379.6127 | 1240057.6849
70 | 2684349.9662 | 1240070.6193
71 | 2684395.2104 | 1240063.88
72 | 2684404.3469 | 1240127.6226
73 | 2684366.0547 | 1240037.5993
74 | 2684262.9429 | 1239977.3324
75 | 2684264.078 | 1239953.0016
76 | 2684261.9126 | 1239999.415
77 | 2684260.5825 | 1240027.9235
78 | 2684260.1752 | 1240052.8322
79 | 2684260.0501 | 1240077.7918
80 | 2684286.6129 | 1240015.8757
81 | 2684295.5235 | 1239993.4323
82 | 2684260.2432 | 1240100.167
83 | 2684260.2777 | 1240104.0149
84 | 2684263.5658 | 1240126.5261
85 | 2684373.5414 | 1240221.6837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98154 | -0.35255 | 0.01909 | 0.0047844
1 | 0.98286 | -0.32692 | 0 | 0
2 | 0.97916 | -0.39887 | 0 | 0
3 | 0.98358 | -0.31302 | 0 | 0
4 | 0.97605 | -0.45976 | 0 | 0
5 | 0.98584 | -0.26932 | 0.013371 | 0.0033512
6 | 0.97507 | -0.47903 | 0 | 0
7 | 0.97425 | -0.49529 | 0 | 0
8 | 0.97593 | -0.46224 | 0.012186 | 0.0030541
9 | 0.97384 | -0.50325 | 0.0039902 | 0.001
10 | 0.97413 | -0.4976 | 0.0047918 | 0.0012009
11 | 0.97392 | -0.50181 | 0.018757 | 0.004701
12 | 0.97522 | -0.47619 | 0 | 0
13 | 0.97382 | -0.50368 | 0 | 0
14 | 0.97371 | -0.50586 | 0.0061049 | 0.00153
15 | 0.97496 | -0.48115 | 0 | 0
16 | 0.97486 | -0.48323 | 0.0081149 | 0.0020338
17 | 0.97273 | -0.5252 | 0.045702 | 0.011454
18 | 0.9929 | -0.13415 | 0 | 0
19 | 0.99775 | -0.042479 | 0 | 0
20 | 0.98986 | -0.19214 | 0.0030445 | 0.00076301
21 | 0.98625 | -0.26272 | 0 | 0
22 | 0.98604 | -0.26677 | 0 | 0
23 | 0.98735 | -0.24136 | 0.030616 | 0.007673
24 | 0.99198 | -0.15242 | 0 | 0
25 | 0.98964 | -0.19723 | 0.0076514 | 0.0019176
26 | 0.99333 | -0.12661 | 0.024017 | 0.0060193
27 | 0.9961 | -0.073761 | 0.030776 | 0.0077131
28 | 1 | 0 | -0.4742 | -0.12132
29 | 0.99502 | -0.094377 | 0 | 0
30 | 0.98469 | -0.2929 | 0 | 0
31 | 0.98581 | -0.27129 | 0.017605 | 0.0044121
32 | 0.97998 | -0.38488 | 0 | 0
33 | 0.9797 | -0.39025 | 0.0012004 | 0.00030085
34 | 0.9798 | -0.38829 | 0.0071294 | 0.0017868
35 | 0.98049 | -0.37473 | 0.0023024 | 0.00057704
36 | 0.97442 | -0.49378 | 0 | 0
37 | 0.97426 | -0.49706 | 0 | 0
38 | 0.97443 | -0.49353 | 0.0009145 | 0.0002292
39 | 0.98342 | -0.31749 | 0 | 0
40 | 0.98211 | -0.3429 | 0.013122 | 0.0032888
41 | 0.98115 | -0.36184 | 0 | 0
42 | 0.98074 | -0.36975 | 0 | 0
43 | 0.98099 | -0.36498 | 0.003553 | 0.00089045
44 | 0.98066 | -0.37141 | 0.0022113 | 0.00055422
45 | 0.97998 | -0.38458 | 0.0028621 | 0.00071731
46 | 0.98205 | -0.34432 | 0.010581 | 0.0026519
47 | 0.97416 | -0.49893 | 0.0045973 | 0.0011522
48 | 0.98705 | -0.24614 | 0 | 0
49 | 0.99808 | -0.036986 | 0.024086 | 0.0060365
50 | 0.97951 | -0.394 | 0.0023067 | 0.00057811
51 | 0.97955 | -0.39319 | 0.0031636 | 0.00079288
52 | 0.97973 | -0.38975 | 0.00191 | 0.00047868
53 | 0.98061 | -0.37239 | 0.0020027 | 0.00050192
54 | 0.97451 | -0.49205 | 0.006356 | 0.001593
55 | 0.98032 | -0.37801 | 0.010013 | 0.0025095
56 | 0.98061 | -0.37233 | 0.0018952 | 0.00047497
57 | 0.97966 | -0.39082 | 0.0025447 | 0.00063776
58 | 0.97976 | -0.38877 | 0 | 0
59 | 0.97812 | -0.42096 | 0.03124 | 0.0078294
60 | 0.9769 | -0.44504 | 0.0046437 | 0.0011638
61 | 0.97698 | -0.4433 | 0 | 0
62 | 0.97444 | -0.49331 | 0.0071646 | 0.0017956
63 | 0.97478 | -0.48661 | 0 | 0
64 | 0.97506 | -0.48109 | 0 | 0
65 | 0.97517 | -0.47898 | 0.0062864 | 0.0015755
66 | 0.97744 | -0.43441 | 0 | 0
67 | 0.97611 | -0.46053 | 0 | 0
68 | 0.97619 | -0.45896 | 0 | 0
69 | 0.97569 | -0.46877 | 0.0060744 | 0.0015224
70 | 0.97682 | -0.44654 | 0.0025315 | 0.00063445
71 | 0.97538 | -0.47477 | 0.0060571 | 0.0015181
72 | 0.99748 | -0.048413 | 0.021938 | 0.0054982
73 | 0.97614 | -0.45995 | 0.0039387 | 0.00098714
74 | 0.97644 | -0.45405 | 0.0020931 | 0.00052458
75 | 0.97612 | -0.46026 | 0.0020686 | 0.00051844
76 | 0.97677 | -0.44757 | 0.0025313 | 0.0006344
77 | 0.97726 | -0.43789 | 0.00314 | 0.00078696
78 | 0.97776 | -0.42802 | 0.0018083 | 0.00045321
79 | 0.97831 | -0.41733 | 0.0037852 | 0.00094866
80 | 0.97966 | -0.39118 | 0.0014194 | 0.00035574
81 | 0.97957 | -0.39281 | 0.0037342 | 0.00093587
82 | 0.97888 | -0.40621 | 0.0021432 | 0.00053714
83 | 0.97898 | -0.40415 | 0.0021538 | 0.0005398
84 | 0.97965 | -0.39104 | 0.001718 | 0.00043057
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11947 | -0.030225 | 0.11962 | 0.030319 | 0.00014713 | 9.4012e-05 | 0.18122 | 0.18122 | 0.18122 | 0.98154 | -0.35255 | 0.98286 | -0.32692 | 49.7863
1 | 0.10038 | 0.02544 | -0.10016 | -0.025298 | 0.00022287 | 0.00014232 | 0.15228 | 0.15228 | 0.15228 | 0.98154 | -0.35255 | 0.97916 | -0.39887 | 41.8357
2 | -0.11962 | -0.030319 | 0.1197 | 0.03037 | 8.0002e-05 | 5.1119e-05 | 0.18122 | 0.18122 | 0.18122 | 0.98286 | -0.32692 | 0.98358 | -0.31302 | 49.7863
3 | 0.10016 | 0.025298 | -0.099869 | -0.025112 | 0.00029131 | 0.00018602 | 0.15228 | 0.15228 | 0.15228 | 0.97916 | -0.39887 | 0.97605 | -0.45976 | 41.8357
4 | -0.1197 | -0.03037 | 0.11995 | 0.030531 | 0.00025212 | 0.0001611 | 0.18122 | 0.18122 | 0.18122 | 0.98358 | -0.31302 | 0.98584 | -0.26932 | 49.7863
5 | 0.053969 | 0.013584 | -0.053926 | -0.013557 | 4.2365e-05 | 2.6905e-05 | 0.082298 | 0.082298 | 0.082298 | 0.97605 | -0.45976 | 0.97522 | -0.47619 | 22.6093
6 | 0.0459 | 0.011529 | -0.045894 | -0.011525 | 5.4311e-06 | 3.439e-06 | 0.069984 | 0.069984 | 0.069984 | 0.97605 | -0.45976 | 0.97593 | -0.46224 | 19.2265
7 | -0.13332 | -0.033882 | 0.13347 | 0.033977 | 0.00014897 | 9.5213e-05 | 0.2014 | 0.2014 | 0.2014 | 0.98584 | -0.26932 | 0.98705 | -0.24614 | 55.3309
8 | 0.033681 | 0.008454 | -0.033655 | -0.0084376 | 2.6092e-05 | 1.6371e-05 | 0.051404 | 0.051404 | 0.051404 | 0.97507 | -0.47903 | 0.97425 | -0.49529 | 14.122
9 | -0.033681 | -0.008454 | 0.033708 | 0.008471 | 2.7007e-05 | 1.6945e-05 | 0.051404 | 0.051404 | 0.051404 | 0.97507 | -0.47903 | 0.97593 | -0.46224 | 14.122
10 | 0.0101 | 0.0025322 | -0.010096 | -0.0025303 | 3.8311e-06 | 1.9175e-06 | 0.015426 | 0.015426 | 0.015426 | 0.97425 | -0.49529 | 0.97384 | -0.50325 | 4.238
11 | 0.0047924 | 0.001201 | -0.0047918 | -0.0012009 | 5.274e-07 | 1.07e-08 | 0.0073196 | 0.0073197 | 0.0073197 | 0.97425 | -0.49529 | 0.97413 | -0.4976 | 2.0109
12 | 0.018763 | 0.0047045 | -0.018757 | -0.004701 | 5.8278e-06 | 3.4943e-06 | 0.028659 | 0.028659 | 0.028659 | 0.97425 | -0.49529 | 0.97392 | -0.50181 | 7.8733
13 | 0.0061057 | 0.0015302 | -0.0061055 | -0.0015302 | 1.2495e-07 | 3.2337e-08 | 0.0093293 | 0.0093294 | 0.0093294 | 0.97384 | -0.50325 | 0.97382 | -0.50368 | 2.563
14 | 0.045809 | 0.011522 | -0.045702 | -0.011454 | 0.00010697 | 6.7733e-05 | 0.069911 | 0.069912 | 0.069912 | 0.97522 | -0.47619 | 0.97273 | -0.5252 | 19.2065
15 | 0.0081176 | 0.0020349 | -0.0081157 | -0.0020341 | 1.9171e-06 | 8.113e-07 | 0.012386 | 0.012386 | 0.012386 | 0.97522 | -0.47619 | 0.97496 | -0.48115 | 3.4029
16 | 0.0061055 | 0.0015302 | -0.0061049 | -0.00153 | 6.3288e-07 | 1.6383e-07 | 0.0093294 | 0.0093294 | 0.0093294 | 0.97382 | -0.50368 | 0.97371 | -0.50586 | 2.563
17 | 0.0081157 | 0.0020341 | -0.0081149 | -0.0020338 | 8.0291e-07 | 3.3985e-07 | 0.012386 | 0.012387 | 0.012387 | 0.97496 | -0.48115 | 0.97486 | -0.48323 | 3.4029
18 | -0.13725 | -0.035208 | 0.13786 | 0.035599 | 0.00061328 | 0.0003905 | 0.20598 | 0.20598 | 0.20598 | 0.9929 | -0.13415 | 0.99775 | -0.042479 | 28.294
19 | 0.13725 | 0.035208 | -0.13687 | -0.034963 | 0.00038496 | 0.00024513 | 0.20598 | 0.20598 | 0.20598 | 0.9929 | -0.13415 | 0.98986 | -0.19214 | 28.2941
20 | 0.28769 | 0.073567 | -0.28726 | -0.07329 | 0.00043476 | 0.00027693 | 0.42958 | 0.42958 | 0.42958 | 0.99775 | -0.042479 | 0.9961 | -0.073761 | 29.504
21 | -0.42556 | -0.10917 | 0.42644 | 0.10973 | 0.00087886 | 0.00056126 | 0.63556 | 0.63556 | 0.63556 | 0.99775 | -0.042479 | 1 | 0 | 43.6509
22 | 0.13382 | 0.0342 | -0.13347 | -0.033977 | 0.0003485 | 0.00022275 | 0.2014 | 0.2014 | 0.2014 | 0.98986 | -0.19214 | 0.98705 | -0.24614 | 55.3309
23 | 0.19209 | 0.048625 | -0.19205 | -0.048601 | 3.736e-05 | 2.3669e-05 | 0.28999 | 0.28999 | 0.28999 | 0.98625 | -0.26272 | 0.98604 | -0.26677 | 19.9166
24 | -0.19209 | -0.048625 | 0.19228 | 0.04875 | 0.00019722 | 0.00012494 | 0.28999 | 0.28999 | 0.28999 | 0.98625 | -0.26272 | 0.98735 | -0.24136 | 19.9166
25 | 0.17444 | 0.044187 | -0.17422 | -0.044047 | 0.00021857 | 0.00013946 | 0.26341 | 0.26341 | 0.26341 | 0.98604 | -0.26677 | 0.98469 | -0.2929 | 36.1832
26 | 0.017608 | 0.0044144 | -0.017605 | -0.0044121 | 3.7846e-06 | 2.2399e-06 | 0.026573 | 0.026573 | 0.026573 | 0.98604 | -0.26677 | 0.98581 | -0.27129 | 7.3003
27 | -0.2229 | -0.056423 | 0.22337 | 0.056724 | 0.00047326 | 0.0003006 | 0.33613 | 0.33612 | 0.33613 | 0.98735 | -0.24136 | 0.98964 | -0.19723 | 23.0856
28 | 0.23152 | 0.058958 | -0.23102 | -0.058641 | 0.00049921 | 0.00031723 | 0.34763 | 0.34763 | 0.34763 | 0.99198 | -0.15242 | 0.98964 | -0.19723 | 23.8756
29 | -0.23152 | -0.058958 | 0.23181 | 0.059142 | 0.00028863 | 0.00018341 | 0.34763 | 0.34763 | 0.34763 | 0.99198 | -0.15242 | 0.99333 | -0.12661 | 23.8756
30 | -0.25583 | -0.065161 | 0.25623 | 0.065415 | 0.00039839 | 0.00025347 | 0.38361 | 0.38361 | 0.38361 | 0.99333 | -0.12661 | 0.99502 | -0.094377 | 26.3466
31 | 0.25648 | 0.065577 | -0.25623 | -0.065415 | 0.00025555 | 0.00016259 | 0.38361 | 0.38361 | 0.38361 | 0.9961 | -0.073761 | 0.99502 | -0.094377 | 26.3465
32 | 0.046117 | 0.011593 | -0.046036 | -0.011542 | 8.1293e-05 | 5.1425e-05 | 0.068636 | 0.068636 | 0.068636 | 1 | 0 | 0.99808 | -0.036986 | 18.856
33 | 0.082573 | 0.020857 | -0.082475 | -0.020795 | 9.7211e-05 | 6.2004e-05 | 0.12484 | 0.12484 | 0.12484 | 0.98469 | -0.2929 | 0.98342 | -0.31749 | 34.2962
34 | 0.091649 | 0.02319 | -0.09143 | -0.02305 | 0.00021936 | 0.00014 | 0.13858 | 0.13858 | 0.13858 | 0.98469 | -0.2929 | 0.98211 | -0.3429 | 38.0702
35 | 0.0066733 | 0.0016723 | -0.0066715 | -0.0016718 | 1.708e-06 | 5.3437e-07 | 0.010133 | 0.010133 | 0.010133 | 0.97998 | -0.38488 | 0.9797 | -0.39025 | 2.7838
36 | 0.014196 | 0.0035585 | -0.014194 | -0.0035572 | 2.306e-06 | 1.3091e-06 | 0.021556 | 0.021556 | 0.021556 | 0.97998 | -0.38488 | 0.9798 | -0.38829 | 5.9221
37 | -0.02087 | -0.0052308 | 0.02088 | 0.0052369 | 1.0097e-05 | 6.1241e-06 | 0.031689 | 0.031689 | 0.031689 | 0.97998 | -0.38488 | 0.98049 | -0.37473 | 8.7058
38 | 0.0054711 | 0.0013709 | -0.0054704 | -0.0013708 | 7.6515e-07 | 1.1767e-07 | 0.0083097 | 0.0083099 | 0.0083099 | 0.9797 | -0.39025 | 0.97955 | -0.39319 | 2.2829
39 | 0.0070647 | 0.0017704 | -0.0070642 | -0.0017702 | 4.9086e-07 | 1.7094e-07 | 0.010729 | 0.010729 | 0.010729 | 0.9798 | -0.38829 | 0.97973 | -0.38975 | 2.9475
40 | -0.023182 | -0.005814 | 0.023185 | 0.0058155 | 2.5898e-06 | 1.5871e-06 | 0.035183 | 0.035183 | 0.035183 | 0.98049 | -0.37473 | 0.98061 | -0.37239 | 9.6657
41 | 0.0045984 | 0.0011521 | -0.0045977 | -0.0011522 | 7.194e-07 | -2.4134e-08 | 0.007022 | 0.0070222 | 0.0070222 | 0.97442 | -0.49378 | 0.97426 | -0.49706 | 1.9292
42 | -0.0045984 | -0.0011521 | 0.0045985 | 0.0011521 | 5.3731e-08 | -1.8101e-09 | 0.007022 | 0.007022 | 0.007022 | 0.97442 | -0.49378 | 0.97443 | -0.49353 | 1.9291
43 | 0.0045977 | 0.0011522 | -0.0045973 | -0.0011522 | 4.0968e-07 | -1.3659e-08 | 0.0070222 | 0.0070223 | 0.0070223 | 0.97426 | -0.49706 | 0.97416 | -0.49893 | 1.9292
44 | -0.005513 | -0.0013813 | 0.0055134 | 0.0013814 | 3.9039e-07 | 6.6848e-08 | 0.0084185 | 0.0084184 | 0.0084185 | 0.97443 | -0.49353 | 0.97451 | -0.49205 | 2.3128
45 | 0.035848 | 0.009019 | -0.035803 | -0.0089902 | 4.5878e-05 | 2.8836e-05 | 0.054255 | 0.054255 | 0.054255 | 0.98342 | -0.31749 | 0.98205 | -0.34432 | 14.9052
46 | 0.046627 | 0.011776 | -0.046528 | -0.011714 | 9.8861e-05 | 6.2601e-05 | 0.070584 | 0.070584 | 0.070584 | 0.98342 | -0.31749 | 0.98115 | -0.36184 | 19.3912
47 | 0.078308 | 0.019761 | -0.078176 | -0.019678 | 0.00013143 | 8.3803e-05 | 0.11869 | 0.11869 | 0.11869 | 0.98211 | -0.3429 | 0.98032 | -0.37801 | 32.6082
48 | 0.042975 | 0.010824 | -0.042958 | -0.010813 | 1.6247e-05 | 1.0269e-05 | 0.065195 | 0.065195 | 0.065195 | 0.98115 | -0.36184 | 0.98074 | -0.36975 | 17.9107
49 | 0.0035535 | 0.00089018 | -0.003553 | -0.00089045 | 5.3204e-07 | -2.7633e-07 | 0.0053891 | 0.0053893 | 0.0053893 | 0.98115 | -0.36184 | 0.98099 | -0.36498 | 1.4806
50 | 0.0041069 | 0.0010288 | -0.0041066 | -0.0010289 | 3.259e-07 | -7.3855e-08 | 0.006231 | 0.0062311 | 0.0062311 | 0.98074 | -0.36975 | 0.98066 | -0.37141 | 1.7118
51 | 0.038851 | 0.0097844 | -0.038824 | -0.0097671 | 2.7532e-05 | 1.7354e-05 | 0.058964 | 0.058964 | 0.058964 | 0.98074 | -0.36975 | 0.97998 | -0.38458 | 16.1989
52 | 0.0018952 | 0.00047469 | -0.0018952 | -0.00047497 | 8.2435e-08 | -2.826e-07 | 0.0028757 | 0.0028758 | 0.0028758 | 0.98066 | -0.37141 | 0.98061 | -0.37233 | 0.79005
53 | 0.035962 | 0.0090498 | -0.035951 | -0.009043 | 1.0727e-05 | 6.7446e-06 | 0.054618 | 0.054618 | 0.054618 | 0.97998 | -0.38458 | 0.97966 | -0.39082 | 15.005
54 | 0.025221 | 0.0063383 | -0.025187 | -0.0063175 | 3.3749e-05 | 2.0821e-05 | 0.038222 | 0.038222 | 0.038222 | 0.98205 | -0.34432 | 0.98061 | -0.37239 | 10.5006
55 | 0.02195 | 0.0055055 | -0.021938 | -0.0054982 | 1.1949e-05 | 7.2591e-06 | 0.032727 | 0.032727 | 0.032727 | 0.99808 | -0.036986 | 0.99748 | -0.048413 | 8.9909
56 | -0.0023067 | -0.00057811 | 0.0023068 | 0.00057792 | 8.9041e-08 | -1.8643e-07 | 0.0035042 | 0.0035041 | 0.0035042 | 0.97951 | -0.394 | 0.97955 | -0.39319 | 0.96268
57 | 0.0051542 | 0.0012915 | -0.0051539 | -0.0012915 | 3.5087e-07 | 3.2301e-08 | 0.0078282 | 0.0078283 | 0.0078283 | 0.97973 | -0.38975 | 0.97966 | -0.39118 | 2.1506
58 | -0.011869 | -0.0029744 | 0.011887 | 0.0029841 | 1.7998e-05 | 9.6949e-06 | 0.018124 | 0.018123 | 0.018124 | 0.97451 | -0.49205 | 0.97612 | -0.46026 | 4.979
59 | 0.068163 | 0.017168 | -0.068128 | -0.017146 | 3.505e-05 | 2.2322e-05 | 0.10349 | 0.1035 | 0.1035 | 0.98032 | -0.37801 | 0.97976 | -0.38877 | 28.4327
60 | 0.033406 | 0.0084053 | -0.033406 | -0.008405 | 3.479e-07 | 2.1812e-07 | 0.050753 | 0.050753 | 0.050753 | 0.97966 | -0.39082 | 0.97965 | -0.39104 | 13.9431
61 | 0.068128 | 0.017146 | -0.068023 | -0.017079 | 0.00010464 | 6.6644e-05 | 0.1035 | 0.1035 | 0.1035 | 0.97976 | -0.38877 | 0.97812 | -0.42096 | 28.4327
62 | 0.036784 | 0.0092497 | -0.03676 | -0.0092348 | 2.3598e-05 | 1.4851e-05 | 0.05597 | 0.05597 | 0.05597 | 0.97812 | -0.42096 | 0.97744 | -0.43441 | 15.3765
63 | -0.0046437 | -0.0011638 | 0.0046441 | 0.0011638 | 3.8499e-07 | -1.0541e-08 | 0.0070733 | 0.0070732 | 0.0070733 | 0.9769 | -0.44504 | 0.97698 | -0.4433 | 1.9432
64 | 0.032101 | 0.0080612 | -0.032096 | -0.0080581 | 4.9517e-06 | 3.1e-06 | 0.048897 | 0.048897 | 0.048897 | 0.97698 | -0.4433 | 0.97682 | -0.44654 | 13.4333
65 | -0.036745 | -0.009225 | 0.03676 | 0.0092348 | 1.5605e-05 | 9.8208e-06 | 0.05597 | 0.05597 | 0.05597 | 0.97698 | -0.4433 | 0.97744 | -0.43441 | 15.3765
66 | -0.0071646 | -0.0017956 | 0.0071669 | 0.0017965 | 2.2873e-06 | 8.2885e-07 | 0.010941 | 0.01094 | 0.010941 | 0.97444 | -0.49331 | 0.97478 | -0.48661 | 3.0057
67 | -0.0071669 | -0.0017965 | 0.0071688 | 0.0017971 | 1.8833e-06 | 6.8209e-07 | 0.01094 | 0.01094 | 0.01094 | 0.97478 | -0.48661 | 0.97506 | -0.48109 | 3.0056
68 | -0.0071688 | -0.0017971 | 0.0071695 | 0.0017974 | 7.2031e-07 | 2.608e-07 | 0.01094 | 0.01094 | 0.01094 | 0.97506 | -0.48109 | 0.97517 | -0.47898 | 3.0056
69 | -0.013456 | -0.0033729 | 0.013459 | 0.0033744 | 2.7023e-06 | 1.5162e-06 | 0.020533 | 0.020533 | 0.020533 | 0.97517 | -0.47898 | 0.97538 | -0.47477 | 5.6409
70 | -0.025606 | -0.0064245 | 0.025608 | 0.0064256 | 1.927e-06 | 1.1911e-06 | 0.039037 | 0.039037 | 0.039037 | 0.97611 | -0.46053 | 0.97619 | -0.45896 | 10.7244
71 | 0.025606 | 0.0064245 | -0.025596 | -0.0064182 | 1.005e-05 | 6.2125e-06 | 0.039037 | 0.039037 | 0.039037 | 0.97611 | -0.46053 | 0.97569 | -0.46877 | 10.7245
72 | 0.0039389 | 0.00098709 | -0.0039387 | -0.00098714 | 1.855e-07 | -5.2819e-08 | 0.0060041 | 0.0060042 | 0.0060042 | 0.97619 | -0.45896 | 0.97614 | -0.45995 | 1.6495
73 | -0.029547 | -0.0074127 | 0.029564 | 0.0074236 | 1.7505e-05 | 1.0915e-05 | 0.045041 | 0.045041 | 0.045041 | 0.97619 | -0.45896 | 0.97682 | -0.44654 | 12.3739
74 | 0.019521 | 0.0048959 | -0.019516 | -0.0048925 | 5.5789e-06 | 3.361e-06 | 0.029773 | 0.029773 | 0.029773 | 0.97569 | -0.46877 | 0.97538 | -0.47477 | 8.1794
75 | 0.01396 | 0.0035048 | -0.013956 | -0.0035025 | 4.1348e-06 | 2.3417e-06 | 0.021276 | 0.021276 | 0.021276 | 0.97644 | -0.45405 | 0.97612 | -0.46026 | 5.8451
76 | -0.016053 | -0.0040294 | 0.016058 | 0.0040323 | 4.9622e-06 | 2.8992e-06 | 0.024466 | 0.024466 | 0.024466 | 0.97644 | -0.45405 | 0.97677 | -0.44757 | 6.7214
77 | -0.018589 | -0.0046667 | 0.018598 | 0.0046718 | 8.5846e-06 | 5.1368e-06 | 0.028322 | 0.028322 | 0.028322 | 0.97677 | -0.44757 | 0.97726 | -0.43789 | 7.7808
78 | -0.021738 | -0.0054588 | 0.021748 | 0.0054651 | 1.0239e-05 | 6.2404e-06 | 0.033103 | 0.033103 | 0.033103 | 0.97726 | -0.43789 | 0.97776 | -0.42802 | 9.0942
79 | -0.023557 | -0.0059183 | 0.023569 | 0.0059257 | 1.2033e-05 | 7.3878e-06 | 0.035855 | 0.035855 | 0.035855 | 0.97776 | -0.42802 | 0.97831 | -0.41733 | 9.8502
80 | -0.027354 | -0.0068743 | 0.027368 | 0.0068833 | 1.453e-05 | 9.0178e-06 | 0.041612 | 0.041612 | 0.041612 | 0.97831 | -0.41733 | 0.97888 | -0.40621 | 11.4319
81 | 0.0037345 | 0.00093576 | -0.0037342 | -0.00093587 | 2.9136e-07 | -1.1754e-07 | 0.0056723 | 0.0056724 | 0.0056724 | 0.97966 | -0.39118 | 0.97957 | -0.39281 | 1.5584
82 | -0.029512 | -0.0074205 | 0.029514 | 0.0074223 | 2.9053e-06 | 1.811e-06 | 0.04487 | 0.04487 | 0.04487 | 0.97888 | -0.40621 | 0.97898 | -0.40415 | 12.3269
83 | -0.031668 | -0.0079621 | 0.031688 | 0.0079745 | 1.9832e-05 | 1.2405e-05 | 0.048144 | 0.048143 | 0.048144 | 0.97898 | -0.40415 | 0.97965 | -0.39104 | 13.2263

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52059 | 0.13295

## res_load
| p_mw | q_mvar
0 | 0.01909 | 0.0047844
1 | 0.013371 | 0.0033512
2 | 0.012186 | 0.0030541
3 | 0.0039902 | 0.001
4 | 0.0047918 | 0.0012009
5 | 0.018757 | 0.004701
6 | 0.0061049 | 0.00153
7 | 0.0081149 | 0.0020338
8 | 0.045702 | 0.011454
9 | 0.0030445 | 0.00076301
10 | 0.030616 | 0.007673
11 | 0.0076514 | 0.0019176
12 | 0.024017 | 0.0060193
13 | 0.030776 | 0.0077131
14 | 0.046385 | 0.011625
15 | 0.017605 | 0.0044121
16 | 0.0012004 | 0.00030085
17 | 0.0071294 | 0.0017868
18 | 0.0023024 | 0.00057704
19 | 0.0009145 | 0.0002292
20 | 0.013122 | 0.0032888
21 | 0.003553 | 0.00089045
22 | 0.0022113 | 0.00055422
23 | 0.0028621 | 0.00071731
24 | 0.010581 | 0.0026519
25 | 0.0045973 | 0.0011522
26 | 0.024086 | 0.0060365
27 | 0.0023067 | 0.00057811
28 | 0.0031636 | 0.00079288
29 | 0.00191 | 0.00047868
30 | 0.0020027 | 0.00050192
31 | 0.006356 | 0.001593
32 | 0.010013 | 0.0025095
33 | 0.0018952 | 0.00047497
34 | 0.0025447 | 0.00063776
35 | 0.03124 | 0.0078294
36 | 0.0046437 | 0.0011638
37 | 0.0071646 | 0.0017956
38 | 0.0062864 | 0.0015755
39 | 0.0060744 | 0.0015224
40 | 0.0025315 | 0.00063445
41 | 0.0060571 | 0.0015181
42 | 0.021938 | 0.0054982
43 | 0.0039387 | 0.00098714
44 | 0.0020931 | 0.00052458
45 | 0.0020686 | 0.00051844
46 | 0.0025313 | 0.0006344
47 | 0.00314 | 0.00078696
48 | 0.0018083 | 0.00045321
49 | 0.0037852 | 0.00094866
50 | 0.0014194 | 0.00035574
51 | 0.0037342 | 0.00093587
52 | 0.0021432 | 0.00053714
53 | 0.0021538 | 0.0005398
54 | 0.001718 | 0.00043057

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1