## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_139-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_139-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_139-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_139-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_139-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_139-8_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_139-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_139-8_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_139-8_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_139-8_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_139-8_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_139-8_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_139-8_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_139-8_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_139-8_0_4_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_139-8_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_139-8_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_139-8_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_139-8_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_139-8_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_139-8_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_139-8_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_139-8_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_139-8_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_139-8_0_4_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_139-8_0_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_139-8_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_139-8_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_139-8_0_4_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_139-8_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_139-8_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_139-8_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_139-8_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_139-8_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_139-8_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_139-8_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_139-8_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_139-8_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_139-8_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_139-8_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_139-8_0_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_139-8_0_4_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_139-8_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_139-8_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_139-8_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_139-8_0_4_node_124 | 0.4 | n |  | TRUE
46 | bus_LV_139-8_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_139-8_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_139-8_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_139-8_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_139-8_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_139-8_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_139-8_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_139-8_0_4_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_139-8_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_139-8_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_139-8_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_139-8_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_139-8_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_139-8_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_139-8_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_139-8_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_139-8_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_139-8_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_139-8_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_139-8_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_139-8_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_139-8_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_139-8_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_139-8_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_139-8_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_139-8_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_139-8_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_139-8_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_139-8_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_139-8_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_MV_491_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_139-8_0_4_load_0 | 0 | 0.0041246 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_139-8_0_4_load_2 | 2 | 0.010339 | 0.0025913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_139-8_0_4_load_4 | 4 | 0.0085504 | 0.0021429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_139-8_0_4_load_35 | 5 | 0.0048935 | 0.0012264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_139-8_0_4_load_45 | 7 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_139-8_0_4_load_46 | 8 | 0.001154 | 0.00028923 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_139-8_0_4_load_43 | 10 | 0.0011304 | 0.00028331 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_139-8_0_4_load_24 | 11 | 0.0037903 | 0.00094993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_139-8_0_4_load_53 | 12 | 0.0014874 | 0.00037277 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_139-8_0_4_load_47 | 14 | 0.0011926 | 0.00029889 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_139-8_0_4_load_48 | 15 | 0.0028227 | 0.00070743 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_139-8_0_4_load_44 | 16 | 0.001106 | 0.00027719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_139-8_0_4_load_28 | 18 | 0.019517 | 0.0048914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_139-8_0_4_load_25 | 20 | 0.034974 | 0.0087653 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_139-8_0_4_load_54 | 23 | 0.016631 | 0.0041682 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_139-8_0_4_load_96 | 24 | 0.024626 | 0.0061719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_139-8_0_4_load_61 | 25 | 0.0071841 | 0.0018005 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_139-8_0_4_load_74 | 28 | 0.0022591 | 0.00056618 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_139-8_0_4_load_36 | 29 | 0.0036144 | 0.00090584 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_139-8_0_4_load_22 | 30 | 0.0050703 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_139-8_0_4_load_20 | 31 | 0.0029344 | 0.00073543 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_139-8_0_4_load_37 | 32 | 0.00351 | 0.00087969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_139-8_0_4_load_23 | 33 | 0.0036423 | 0.00091284 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_139-8_0_4_load_52 | 34 | 0.0087321 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_139-8_0_4_load_56 | 35 | 0.0042627 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_139-8_0_4_load_55 | 36 | 0.0029738 | 0.0007453 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_139-8_0_4_load_31 | 37 | 0.014244 | 0.0035698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_139-8_0_4_load_26 | 38 | 0.011945 | 0.0029937 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_139-8_0_4_load_34 | 39 | 0.0056008 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_139-8_0_4_load_59 | 40 | 0.011747 | 0.002944 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_139-8_0_4_load_85 | 41 | 0.0019854 | 0.00049758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_139-8_0_4_load_84 | 42 | 0.0030715 | 0.00076979 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_139-8_0_4_load_60 | 43 | 0.011997 | 0.0030066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_139-8_0_4_load_58 | 44 | 0.0047779 | 0.0011975 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_139-8_0_4_load_124 | 45 | 0.0028372 | 0.00071107 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_139-8_0_4_load_21 | 46 | 0.0023327 | 0.00058463 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_139-8_0_4_load_27 | 47 | 0.0032906 | 0.00082471 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_139-8_0_4_load_30 | 48 | 0.0033537 | 0.00084051 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_139-8_0_4_load_32 | 49 | 0.0031691 | 0.00079424 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_139-8_0_4_load_33 | 50 | 0.01641 | 0.0041129 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_139-8_0_4_load_38 | 51 | 0.0013963 | 0.00034994 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_139-8_0_4_load_39 | 52 | 0.0060482 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_139-8_0_4_load_81 | 53 | 0.0038027 | 0.00095304 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_139-8_0_4_load_80 | 54 | 0.002685 | 0.00067292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_139-8_0_4_load_40 | 55 | 0.0032859 | 0.00082353 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_139-8_0_4_load_41 | 56 | 0.0043093 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_139-8_0_4_load_68 | 58 | 0.0030419 | 0.00076236 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_139-8_0_4_load_69 | 61 | 0.0019955 | 0.00050013 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_139-8_0_4_load_70 | 62 | 0.0038436 | 0.00096329 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_139-8_0_4_load_71 | 63 | 0.0039565 | 0.00099159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_139-8_0_4_load_67 | 65 | 0.0042003 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_139-8_0_4_load_72 | 66 | 0.0024883 | 0.00062363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_139-8_0_4_load_73 | 67 | 0.0014456 | 0.00036229 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_139-8_0_4_load_50 | 68 | 0.0057612 | 0.0014439 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_139-8_0_4_load_51 | 69 | 0.0038 | 0.00095237 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_139-8_0_4_load_64 | 70 | 0.0022371 | 0.00056066 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_139-8_0_4_load_62 | 71 | 0.0036435 | 0.00091316 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_139-8_0_4_load_57 | 72 | 0.011968 | 0.0029996 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_139-8_0_4_load_82 | 73 | 0.0027912 | 0.00069953 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_139-8_0_4_load_83 | 74 | 0.002234 | 0.00055989 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_139-8_0_4_load_79 | 75 | 0.0027919 | 0.00069971 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_139-8_0_4_line_0 |  | 0 | 1 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_139-8_0_4_line_1 |  | 1 | 2 | 0.006656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_139-8_0_4_line_2 |  | 1 | 3 | 0.0098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_139-8_0_4_line_3 |  | 3 | 4 | 0.041335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_139-8_0_4_line_4 |  | 4 | 5 | 0.027343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_139-8_0_4_line_5 |  | 5 | 29 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_139-8_0_4_line_6 |  | 6 | 7 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_139-8_0_4_line_7 |  | 6 | 8 | 0.03145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_139-8_0_4_line_8 |  | 6 | 9 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_139-8_0_4_line_9 |  | 6 | 10 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_139-8_0_4_line_10 |  | 7 | 32 | 0.050051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_139-8_0_4_line_11 |  | 9 | 11 | 0.067415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_139-8_0_4_line_12 |  | 9 | 12 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_139-8_0_4_line_13 |  | 10 | 16 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_139-8_0_4_line_14 |  | 11 | 33 | 0.027926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_139-8_0_4_line_15 |  | 12 | 34 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_139-8_0_4_line_16 |  | 13 | 14 | 0.024456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_139-8_0_4_line_17 |  | 13 | 15 | 0.023771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_139-8_0_4_line_18 |  | 13 | 16 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_139-8_0_4_line_19 |  | 14 | 35 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_139-8_0_4_line_20 |  | 15 | 36 | 0.029839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_139-8_0_4_line_21 |  | 17 | 18 | 0.049132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_139-8_0_4_line_22 |  | 17 | 19 | 0.032859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_139-8_0_4_line_23 |  | 17 | 20 | 0.04695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_139-8_0_4_line_24 |  | 18 | 37 | 0.023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_139-8_0_4_line_25 |  | 19 | 26 | 0.069035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_139-8_0_4_line_26 |  | 20 | 38 | 0.045493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_139-8_0_4_line_27 |  | 21 | 22 | 0.0091193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_139-8_0_4_line_28 |  | 21 | 23 | 0.036486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_139-8_0_4_line_29 |  | 21 | 24 | 0.0059548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_139-8_0_4_line_30 |  | 22 | 25 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_139-8_0_4_line_31 |  | 23 | 39 | 0.028757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_139-8_0_4_line_32 |  | 25 | 40 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_139-8_0_4_line_33 |  | 26 | 27 | 0.025063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_139-8_0_4_line_34 |  | 26 | 28 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_139-8_0_4_line_35 |  | 27 | 45 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_139-8_0_4_line_36 |  | 29 | 32 | 0.00076672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_139-8_0_4_line_37 |  | 30 | 31 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_139-8_0_4_line_38 |  | 31 | 46 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_139-8_0_4_line_39 |  | 33 | 46 | 0.027149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_139-8_0_4_line_40 |  | 34 | 69 | 0.055178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_139-8_0_4_line_41 |  | 35 | 64 | 0.00502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_139-8_0_4_line_42 |  | 37 | 50 | 0.017615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_139-8_0_4_line_43 |  | 38 | 47 | 0.0067034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_139-8_0_4_line_44 |  | 39 | 50 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_139-8_0_4_line_45 |  | 40 | 72 | 0.028091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_139-8_0_4_line_46 |  | 41 | 42 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_139-8_0_4_line_47 |  | 42 | 74 | 0.0073364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_139-8_0_4_line_48 |  | 43 | 44 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_139-8_0_4_line_49 |  | 44 | 72 | 0.029905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_139-8_0_4_line_50 |  | 47 | 48 | 0.034103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_139-8_0_4_line_51 |  | 48 | 49 | 0.0023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_139-8_0_4_line_52 |  | 49 | 53 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_139-8_0_4_line_53 |  | 51 | 52 | 0.00038889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_139-8_0_4_line_54 |  | 52 | 55 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_139-8_0_4_line_55 |  | 53 | 54 | 0.0044783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_139-8_0_4_line_56 |  | 54 | 75 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_139-8_0_4_line_57 |  | 55 | 56 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_139-8_0_4_line_58 |  | 56 | 57 | 0.0090021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_139-8_0_4_line_59 |  | 57 | 58 | 0.014198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_139-8_0_4_line_60 |  | 57 | 59 | 0.012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_139-8_0_4_line_61 |  | 58 | 73 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_139-8_0_4_line_62 |  | 59 | 65 | 0.024967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_139-8_0_4_line_63 |  | 59 | 70 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_139-8_0_4_line_64 |  | 60 | 61 | 0.025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_139-8_0_4_line_65 |  | 60 | 62 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_139-8_0_4_line_66 |  | 60 | 63 | 0.034097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_139-8_0_4_line_67 |  | 61 | 65 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_139-8_0_4_line_68 |  | 62 | 66 | 0.0084128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_139-8_0_4_line_69 |  | 63 | 67 | 0.0013196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_139-8_0_4_line_70 |  | 64 | 70 | 0.018415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_139-8_0_4_line_71 |  | 64 | 71 | 0.029145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_139-8_0_4_line_72 |  | 66 | 74 | 0.018605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_139-8_0_4_line_73 |  | 67 | 75 | 0.018955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_139-8_0_4_line_74 |  | 68 | 69 | 0.028066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_139-8_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 76 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2684716.5143 | 1239902.3817 | 2684721.3279 | 1239880.6289
1 | 2684716.5143 | 1239902.3817 | 2684709.9598 | 1239901.1206
2 | 2684726.169 | 1239904.2208 | 2684716.5143 | 1239902.3817
3 | 2684726.169 | 1239904.2208 | 2684717.3516 | 1239944.6047
4 | 2684711.7177 | 1239971.3606 | 2684714.9853 | 1239955.4425 | 2684717.3516 | 1239944.6047
5 | 2684707.4384 | 1239992.2071 | 2684711.7177 | 1239971.3606
6 | 2684692.9653 | 1240060.0815 | 2684696.8873 | 1240041.9172
7 | 2684692.9653 | 1240060.0815 | 2684688.3287 | 1240059.0479 | 2684662.0902 | 1240054.108
8 | 2684692.9653 | 1240060.0815 | 2684698.5542 | 1240061.1509 | 2684703.7434 | 1240062.1478
9 | 2684692.9653 | 1240060.0815 | 2684690.2852 | 1240072.7931
10 | 2684707.2842 | 1239992.9582 | 2684703.9225 | 1240009.3346 | 2684696.8873 | 1240041.9172
11 | 2684703.7434 | 1240062.1478 | 2684707.783 | 1240044.0702 | 2684708.9586 | 1240043.8313 | 2684713.1141 | 1240022.4084 | 2684713.1106 | 1240019.473 | 2684716.9799 | 1240000.6146 | 2684717.7247 | 1239997.0078
12 | 2684703.7434 | 1240062.1478 | 2684701.7413 | 1240069.4134 | 2684700.9473 | 1240073.3663
13 | 2684686.2431 | 1240091.9655 | 2684690.2852 | 1240072.7931
14 | 2684717.7247 | 1239997.0078 | 2684721.6111 | 1239978.1867 | 2684723.2709 | 1239969.6385
15 | 2684696.919 | 1240093.422 | 2684700.9473 | 1240073.3663
16 | 2684683.0927 | 1240106.9077 | 2684662.8757 | 1240103.2835 | 2684658.9959 | 1240102.75
17 | 2684683.0927 | 1240106.9077 | 2684678.3258 | 1240130.1959
18 | 2684683.0927 | 1240106.9077 | 2684686.2431 | 1240091.9655
19 | 2684658.9959 | 1240102.75 | 2684658.2828 | 1240106.6093 | 2684645.8731 | 1240113.4262 | 2684641.595 | 1240118.2293
20 | 2684678.3258 | 1240130.1959 | 2684672.3419 | 1240159.429
21 | 2684667.9032 | 1239822.4864 | 2684662.7469 | 1239821.8236 | 2684661.0342 | 1239819.9422 | 2684658.3856 | 1239818.9816 | 2684639.3432 | 1239834.7437 | 2684630.2268 | 1239845.1723
22 | 2684646.7963 | 1239815.9586 | 2684649.7768 | 1239818.5697 | 2684661.4216 | 1239809.7515 | 2684663.4154 | 1239813.6717 | 2684667.9032 | 1239822.4864
23 | 2684667.9032 | 1239822.4864 | 2684657.8672 | 1239868.3512
24 | 2684617.0707 | 1239864.3448 | 2684621.8506 | 1239856.3877 | 2684628.9941 | 1239846.5825 | 2684630.2268 | 1239845.1723
25 | 2684585.0249 | 1239805.4486 | 2684588.5379 | 1239801.4847 | 2684603.9837 | 1239796.6124 | 2684616.2243 | 1239799.5778 | 2684633.6651 | 1239806.498 | 2684646.7963 | 1239815.9586
26 | 2684657.8672 | 1239868.3512 | 2684648.1426 | 1239912.7923
27 | 2684551.6882 | 1239955.4817 | 2684554.8207 | 1239957.5056 | 2684559.4323 | 1239960.2955
28 | 2684559.4323 | 1239960.2955 | 2684578.2203 | 1239929.0192
29 | 2684559.4323 | 1239960.2955 | 2684556.3435 | 1239965.3865
30 | 2684551.6882 | 1239955.4817 | 2684558.3749 | 1239944.3484
31 | 2684593.0286 | 1239904.3678 | 2684578.2203 | 1239929.0192
32 | 2684572.3724 | 1239920.4161 | 2684564.1763 | 1239934.6891 | 2684558.3749 | 1239944.3484
33 | 2684576.2168 | 1239788.7778 | 2684578.2277 | 1239789.9073 | 2684573.7349 | 1239797.8713 | 2684581.5363 | 1239803.4642 | 2684585.0249 | 1239805.4486
34 | 2684585.0249 | 1239805.4486 | 2684576.9695 | 1239819.3499
35 | 2684576.2168 | 1239788.7778 | 2684555.7485 | 1239777.2998
36 | 2684707.4384 | 1239992.2071 | 2684707.2842 | 1239992.9582
37 | 2684731.8837 | 1239930.1787 | 2684735.1737 | 1239916.0911 | 2684735.5738 | 1239914.5372
38 | 2684731.8837 | 1239930.1787 | 2684730.5255 | 1239935.9947 | 2684728.896 | 1239943.0824
39 | 2684723.2709 | 1239969.6385 | 2684725.8806 | 1239956.1985 | 2684728.896 | 1239943.0824
40 | 2684696.919 | 1240093.422 | 2684693.1764 | 1240112.0552 | 2684693.7915 | 1240115.0551 | 2684689.5887 | 1240135.5654 | 2684687.1105 | 1240147.4844
41 | 2684636.8859 | 1240119.4246 | 2684641.0616 | 1240118.8281 | 2684641.595 | 1240118.2293
42 | 2684617.0707 | 1239864.3448 | 2684607.9999 | 1239879.445
43 | 2684648.1426 | 1239912.7923 | 2684646.7097 | 1239919.3408
44 | 2684607.9999 | 1239879.445 | 2684593.0286 | 1239904.3678
45 | 2684584.9791 | 1239895.8054 | 2684576.1453 | 1239910.531 | 2684573.4957 | 1239914.952 | 2684573.4957 | 1239916.5421 | 2684573.4987 | 1239918.4546 | 2684572.3724 | 1239920.4161
46 | 2684556.9703 | 1240025.7856 | 2684568.389 | 1240029.506
47 | 2684575.3645 | 1240031.7788 | 2684568.389 | 1240029.506
48 | 2684601.6612 | 1239871.4751 | 2684610.7157 | 1239856.4616
49 | 2684584.9791 | 1239895.8054 | 2684590.292 | 1239886.9489 | 2684593.3954 | 1239885.1808 | 2684601.6612 | 1239871.4751
50 | 2684639.4198 | 1239952.6553 | 2684646.7097 | 1239919.3408
51 | 2684639.4198 | 1239952.6553 | 2684638.912 | 1239954.9758
52 | 2684634.8792 | 1239973.4056 | 2684638.912 | 1239954.9758
53 | 2684593.5733 | 1240168.8758 | 2684593.6496 | 1240168.4945
54 | 2684593.6496 | 1240168.4945 | 2684598.469 | 1240144.3981
55 | 2684633.922 | 1239977.7804 | 2684634.8792 | 1239973.4056
56 | 2684633.922 | 1239977.7804 | 2684630.6178 | 1239992.8801
57 | 2684600.5515 | 1240133.9856 | 2684598.469 | 1240144.3981
58 | 2684602.317 | 1240125.1583 | 2684600.5515 | 1240133.9856
59 | 2684602.317 | 1240125.1583 | 2684588.3277 | 1240122.7318
60 | 2684602.317 | 1240125.1583 | 2684605.0942 | 1240112.8446
61 | 2684588.3277 | 1240122.7318 | 2684569.6693 | 1240119.4955
62 | 2684605.0942 | 1240112.8446 | 2684610.1772 | 1240088.4005
63 | 2684605.0942 | 1240112.8446 | 2684618.8532 | 1240115.6923
64 | 2684618.9954 | 1240045.9945 | 2684613.8915 | 1240070.5387
65 | 2684618.9954 | 1240045.9945 | 2684601.0533 | 1240040.1487
66 | 2684618.9954 | 1240045.9945 | 2684626.284 | 1240012.6858
67 | 2684610.1772 | 1240088.4005 | 2684613.8915 | 1240070.5387
68 | 2684593.0545 | 1240037.5425 | 2684601.0533 | 1240040.1487
69 | 2684626.284 | 1240012.6858 | 2684626.5661 | 1240011.3967
70 | 2684636.8859 | 1240119.4246 | 2684618.8532 | 1240115.6923
71 | 2684636.8859 | 1240119.4246 | 2684630.5199 | 1240147.8654
72 | 2684593.0545 | 1240037.5425 | 2684575.3645 | 1240031.7788
73 | 2684630.6178 | 1239992.8801 | 2684626.5661 | 1240011.3967
74 | 2684681.3971 | 1240174.9626 | 2684687.1105 | 1240147.4844

## bus_geodata
| x | y | coords
0 | 2684721.3279 | 1239880.6289
1 | 2684716.5143 | 1239902.3817
2 | 2684709.9598 | 1239901.1206
3 | 2684726.169 | 1239904.2208
4 | 2684717.3516 | 1239944.6047
5 | 2684711.7177 | 1239971.3606
6 | 2684692.9653 | 1240060.0815
7 | 2684696.8873 | 1240041.9172
8 | 2684662.0902 | 1240054.108
9 | 2684703.7434 | 1240062.1478
10 | 2684690.2852 | 1240072.7931
11 | 2684717.7247 | 1239997.0078
12 | 2684700.9473 | 1240073.3663
13 | 2684683.0927 | 1240106.9077
14 | 2684658.9959 | 1240102.75
15 | 2684678.3258 | 1240130.1959
16 | 2684686.2431 | 1240091.9655
17 | 2684667.9032 | 1239822.4864
18 | 2684630.2268 | 1239845.1723
19 | 2684646.7963 | 1239815.9586
20 | 2684657.8672 | 1239868.3512
21 | 2684559.4323 | 1239960.2955
22 | 2684551.6882 | 1239955.4817
23 | 2684578.2203 | 1239929.0192
24 | 2684556.3435 | 1239965.3865
25 | 2684558.3749 | 1239944.3484
26 | 2684585.0249 | 1239805.4486
27 | 2684576.2168 | 1239788.7778
28 | 2684576.9695 | 1239819.3499
29 | 2684707.4384 | 1239992.2071
30 | 2684735.5738 | 1239914.5372
31 | 2684731.8837 | 1239930.1787
32 | 2684707.2842 | 1239992.9582
33 | 2684723.2709 | 1239969.6385
34 | 2684696.919 | 1240093.422
35 | 2684641.595 | 1240118.2293
36 | 2684672.3419 | 1240159.429
37 | 2684617.0707 | 1239864.3448
38 | 2684648.1426 | 1239912.7923
39 | 2684593.0286 | 1239904.3678
40 | 2684572.3724 | 1239920.4161
41 | 2684556.9703 | 1240025.7856
42 | 2684568.389 | 1240029.506
43 | 2684610.7157 | 1239856.4616
44 | 2684601.6612 | 1239871.4751
45 | 2684555.7485 | 1239777.2998
46 | 2684728.896 | 1239943.0824
47 | 2684646.7097 | 1239919.3408
48 | 2684639.4198 | 1239952.6553
49 | 2684638.912 | 1239954.9758
50 | 2684607.9999 | 1239879.445
51 | 2684593.5733 | 1240168.8758
52 | 2684593.6496 | 1240168.4945
53 | 2684634.8792 | 1239973.4056
54 | 2684633.922 | 1239977.7804
55 | 2684598.469 | 1240144.3981
56 | 2684600.5515 | 1240133.9856
57 | 2684602.317 | 1240125.1583
58 | 2684588.3277 | 1240122.7318
59 | 2684605.0942 | 1240112.8446
60 | 2684618.9954 | 1240045.9945
61 | 2684613.8915 | 1240070.5387
62 | 2684601.0533 | 1240040.1487
63 | 2684626.284 | 1240012.6858
64 | 2684636.8859 | 1240119.4246
65 | 2684610.1772 | 1240088.4005
66 | 2684593.0545 | 1240037.5425
67 | 2684626.5661 | 1240011.3967
68 | 2684681.3971 | 1240174.9626
69 | 2684687.1105 | 1240147.4844
70 | 2684618.8532 | 1240115.6923
71 | 2684630.5199 | 1240147.8654
72 | 2684584.9791 | 1239895.8054
73 | 2684569.6693 | 1240119.4955
74 | 2684575.3645 | 1240031.7788
75 | 2684630.6178 | 1239992.8801
76 | 2684618.9954 | 1240045.9945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97168 | -0.54645 | 0.0041246 | 0.0010337
1 | 0.97176 | -0.54475 | 0 | 0
2 | 0.9717 | -0.54602 | 0.010339 | 0.0025913
3 | 0.9719 | -0.54214 | 0 | 0
4 | 0.97245 | -0.53111 | 0.0085504 | 0.0021429
5 | 0.97304 | -0.51952 | 0.0048935 | 0.0012264
6 | 0.97589 | -0.46351 | 0 | 0
7 | 0.97525 | -0.47595 | 0.00153 | 0.00038346
8 | 0.97585 | -0.46417 | 0.001154 | 0.00028923
9 | 0.9755 | -0.47105 | 0 | 0
10 | 0.9768 | -0.44563 | 0.0011304 | 0.00028331
11 | 0.97439 | -0.49303 | 0.0037903 | 0.00094993
12 | 0.97529 | -0.47525 | 0.0014874 | 0.00037277
13 | 0.97929 | -0.39677 | 0 | 0
14 | 0.98119 | -0.35981 | 0.0011926 | 0.00029889
15 | 0.97917 | -0.39928 | 0.0028227 | 0.00070743
16 | 0.97819 | -0.41831 | 0.001106 | 0.00027719
17 | 0.98885 | -0.21208 | 0 | 0
18 | 0.98554 | -0.27566 | 0.019517 | 0.0048914
19 | 0.98869 | -0.21507 | 0 | 0
20 | 0.99211 | -0.1496 | 0.034974 | 0.0087653
21 | 0.9736 | -0.50842 | 0 | 0
22 | 0.97319 | -0.51642 | 0 | 0
23 | 0.97606 | -0.46003 | 0.016631 | 0.0041682
24 | 0.97346 | -0.51112 | 0.024626 | 0.0061719
25 | 0.97261 | -0.52782 | 0.0071841 | 0.0018005
26 | 0.98837 | -0.22135 | 0 | 0
27 | 0.9883 | -0.22262 | 0 | 0
28 | 0.98834 | -0.22199 | 0.0022591 | 0.00056618
29 | 0.97359 | -0.50859 | 0.0036144 | 0.00090584
30 | 0.97359 | -0.5088 | 0.0050703 | 0.0012707
31 | 0.97366 | -0.5073 | 0.0029344 | 0.00073543
32 | 0.97362 | -0.50814 | 0.00351 | 0.00087969
33 | 0.97402 | -0.5002 | 0.0036423 | 0.00091284
34 | 0.97494 | -0.48211 | 0.0087321 | 0.0021885
35 | 0.98312 | -0.32238 | 0.0042627 | 0.0010683
36 | 0.97908 | -0.40089 | 0.0029738 | 0.0007453
37 | 0.98283 | -0.32812 | 0.014244 | 0.0035698
38 | 0.99601 | -0.075454 | 0.011945 | 0.0029937
39 | 0.97845 | -0.41336 | 0.0056008 | 0.0014037
40 | 0.97157 | -0.54853 | 0.011747 | 0.002944
41 | 0.99341 | -0.12496 | 0.0019854 | 0.00049758
42 | 0.99343 | -0.12453 | 0.0030715 | 0.00076979
43 | 0.97015 | -0.57662 | 0.011997 | 0.0030066
44 | 0.97034 | -0.57273 | 0.0047779 | 0.0011975
45 | 0.98824 | -0.2238 | 0.0028372 | 0.00071107
46 | 0.97376 | -0.50535 | 0.0023327 | 0.00058463
47 | 0.99662 | -0.063876 | 0.0032906 | 0.00082471
48 | 0.99978 | -0.0042113 | 0.0033537 | 0.00084051
49 | 1 | 0 | -0.36122 | -0.092509
50 | 0.98101 | -0.36345 | 0.01641 | 0.0041129
51 | 0.98572 | -0.27236 | 0.0013963 | 0.00034994
52 | 0.98572 | -0.27235 | 0.0060482 | 0.0015158
53 | 0.99869 | -0.024701 | 0.0038027 | 0.00095304
54 | 0.99839 | -0.030425 | 0.002685 | 0.00067292
55 | 0.98589 | -0.26906 | 0.0032859 | 0.00082353
56 | 0.98599 | -0.26702 | 0.0043093 | 0.00108
57 | 0.98611 | -0.26459 | 0 | 0
58 | 0.98604 | -0.26608 | 0.0030419 | 0.00076236
59 | 0.98636 | -0.25987 | 0 | 0
60 | 0.9939 | -0.11549 | 0 | 0
61 | 0.99106 | -0.16949 | 0.0019955 | 0.00050013
62 | 0.99366 | -0.12003 | 0.0038436 | 0.00096329
63 | 0.99604 | -0.074864 | 0.0039565 | 0.00099159
64 | 0.98354 | -0.31434 | 0 | 0
65 | 0.98904 | -0.20834 | 0.0042003 | 0.0010527
66 | 0.99359 | -0.12148 | 0.0024883 | 0.00062363
67 | 0.99612 | -0.07325 | 0.0014456 | 0.00036229
68 | 0.9743 | -0.49476 | 0.0057612 | 0.0014439
69 | 0.97445 | -0.49179 | 0.0038 | 0.00095237
70 | 0.98512 | -0.28373 | 0.0022371 | 0.00056066
71 | 0.98344 | -0.31626 | 0.0036435 | 0.00091316
72 | 0.97081 | -0.56345 | 0.011968 | 0.0029996
73 | 0.98599 | -0.26703 | 0.0027912 | 0.00069953
74 | 0.99346 | -0.12388 | 0.002234 | 0.00055989
75 | 0.99736 | -0.049845 | 0.0027919 | 0.00069971
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0041246 | -0.0010337 | 0.0041249 | 0.0010337 | 3.3331e-07 | -6.2666e-08 | 0.0063164 | 0.0063163 | 0.0063164 | 0.97168 | -0.54645 | 0.97176 | -0.54475 | 1.7353
1 | 0.01034 | 0.0025916 | -0.010339 | -0.0025913 | 6.2573e-07 | 3.1802e-07 | 0.015833 | 0.015833 | 0.015833 | 0.97176 | -0.54475 | 0.9717 | -0.54602 | 4.3498
2 | -0.014465 | -0.0036253 | 0.014467 | 0.0036263 | 1.803e-06 | 1.0325e-06 | 0.02215 | 0.02215 | 0.02215 | 0.97176 | -0.54475 | 0.9719 | -0.54214 | 6.0851
3 | -0.014467 | -0.0036263 | 0.014474 | 0.0036307 | 7.6046e-06 | 4.3544e-06 | 0.02215 | 0.022149 | 0.02215 | 0.9719 | -0.54214 | 0.97245 | -0.53111 | 6.085
4 | -0.023025 | -0.0057736 | 0.023038 | 0.0057814 | 1.2728e-05 | 7.8068e-06 | 0.035233 | 0.035233 | 0.035233 | 0.97245 | -0.53111 | 0.97304 | -0.51952 | 9.6794
5 | -0.027931 | -0.0070078 | 0.027946 | 0.0070169 | 1.4562e-05 | 9.055e-06 | 0.042716 | 0.042716 | 0.042716 | 0.97304 | -0.51952 | 0.97359 | -0.50859 | 11.7352
6 | 0.036676 | 0.0092339 | -0.036655 | -0.0092202 | 2.1806e-05 | 1.3724e-05 | 0.055939 | 0.055939 | 0.055939 | 0.97589 | -0.46351 | 0.97525 | -0.47595 | 15.3678
7 | 0.0011541 | 0.00028886 | -0.001154 | -0.00028923 | 3.6517e-08 | -3.6956e-07 | 0.0017596 | 0.0017597 | 0.0017597 | 0.97589 | -0.46351 | 0.97585 | -0.46417 | 0.48344
8 | 0.037606 | 0.0094433 | -0.037593 | -0.0094348 | 1.3535e-05 | 8.5252e-06 | 0.057348 | 0.057348 | 0.057348 | 0.97589 | -0.46351 | 0.9755 | -0.47105 | 15.7551
9 | -0.075437 | -0.018966 | 0.075501 | 0.019007 | 6.448e-05 | 4.1105e-05 | 0.11505 | 0.11505 | 0.11505 | 0.97589 | -0.46351 | 0.9768 | -0.44563 | 31.6062
10 | 0.035125 | 0.0088368 | -0.035071 | -0.0088029 | 5.3932e-05 | 3.3893e-05 | 0.053604 | 0.053605 | 0.053605 | 0.97525 | -0.47595 | 0.97362 | -0.50814 | 14.7266
11 | 0.017797 | 0.004469 | -0.017778 | -0.0044579 | 1.8636e-05 | 1.1086e-05 | 0.02715 | 0.027151 | 0.027151 | 0.9755 | -0.47105 | 0.97439 | -0.49303 | 7.459
12 | 0.019796 | 0.0049658 | -0.019792 | -0.0049634 | 3.956e-06 | 2.3874e-06 | 0.030198 | 0.030198 | 0.030198 | 0.9755 | -0.47105 | 0.97529 | -0.47525 | 8.2962
13 | -0.076632 | -0.019291 | 0.076732 | 0.019354 | 0.00010019 | 6.3873e-05 | 0.11677 | 0.11677 | 0.11677 | 0.9768 | -0.44563 | 0.97819 | -0.41831 | 32.0793
14 | 0.013988 | 0.003508 | -0.013983 | -0.0035053 | 4.7791e-06 | 2.7109e-06 | 0.021363 | 0.021363 | 0.021363 | 0.97439 | -0.49303 | 0.97402 | -0.5002 | 5.8689
15 | 0.018305 | 0.0045906 | -0.018299 | -0.0045871 | 5.9836e-06 | 3.5743e-06 | 0.027929 | 0.027929 | 0.027929 | 0.97529 | -0.47525 | 0.97494 | -0.48211 | 7.6727
16 | -0.083716 | -0.021135 | 0.083864 | 0.02123 | 0.00014852 | 9.4746e-05 | 0.12726 | 0.12726 | 0.12726 | 0.97929 | -0.39677 | 0.98119 | -0.35981 | 34.9615
17 | 0.0057974 | 0.0014526 | -0.0057967 | -0.0014525 | 6.9172e-07 | 1.4366e-07 | 0.0088089 | 0.008809 | 0.008809 | 0.97929 | -0.39677 | 0.97917 | -0.39928 | 2.4201
18 | 0.077918 | 0.019683 | -0.077838 | -0.019632 | 8.0347e-05 | 5.123e-05 | 0.11845 | 0.11845 | 0.11845 | 0.97929 | -0.39677 | 0.97819 | -0.41831 | 32.5415
19 | -0.085057 | -0.021529 | 0.08521 | 0.021627 | 0.00015315 | 9.7705e-05 | 0.12907 | 0.12907 | 0.12907 | 0.98119 | -0.35981 | 0.98312 | -0.32238 | 35.4583
20 | 0.002974 | 0.00074507 | -0.0029738 | -0.0007453 | 2.2856e-07 | -2.2902e-07 | 0.0045194 | 0.0045196 | 0.0045196 | 0.97917 | -0.39928 | 0.97908 | -0.40089 | 1.2416
21 | 0.14637 | 0.03733 | -0.14592 | -0.037044 | 0.00044787 | 0.00028538 | 0.22049 | 0.22049 | 0.22049 | 0.98885 | -0.21208 | 0.98554 | -0.27566 | 30.2875
22 | 0.0050989 | 0.0012768 | -0.0050982 | -0.0012768 | 7.2538e-07 | 4.2789e-08 | 0.0076725 | 0.0076727 | 0.0076727 | 0.98885 | -0.21208 | 0.98869 | -0.21507 | 2.1079
23 | -0.15147 | -0.038606 | 0.15193 | 0.038899 | 0.00045828 | 0.00029209 | 0.22816 | 0.22816 | 0.22816 | 0.98885 | -0.21208 | 0.99211 | -0.1496 | 31.3413
24 | 0.12641 | 0.032153 | -0.12609 | -0.031949 | 0.00031866 | 0.00020364 | 0.19103 | 0.19103 | 0.19103 | 0.98554 | -0.27566 | 0.98283 | -0.32812 | 52.4795
25 | 0.0050982 | 0.0012768 | -0.0050967 | -0.0012767 | 1.5241e-06 | 9.0383e-08 | 0.0076727 | 0.007673 | 0.007673 | 0.98869 | -0.21507 | 0.98837 | -0.22135 | 2.108
26 | -0.1869 | -0.047664 | 0.18758 | 0.048093 | 0.0006717 | 0.00042871 | 0.28062 | 0.28062 | 0.28062 | 0.99211 | -0.1496 | 0.99601 | -0.075454 | 38.5466
27 | 0.047788 | 0.01202 | -0.04777 | -0.012008 | 1.8251e-05 | 1.1567e-05 | 0.073054 | 0.073054 | 0.073054 | 0.9736 | -0.50842 | 0.97319 | -0.51642 | 20.0697
28 | -0.072418 | -0.018194 | 0.072585 | 0.018301 | 0.00016766 | 0.00010685 | 0.1107 | 0.1107 | 0.1107 | 0.9736 | -0.50842 | 0.97606 | -0.46003 | 30.4111
29 | 0.024629 | 0.0061738 | -0.024626 | -0.0061719 | 3.1642e-06 | 1.951e-06 | 0.037643 | 0.037643 | 0.037643 | 0.9736 | -0.50842 | 0.97346 | -0.51112 | 10.3415
30 | 0.04777 | 0.012008 | -0.047744 | -0.011992 | 2.5991e-05 | 1.6473e-05 | 0.073054 | 0.073054 | 0.073054 | 0.97319 | -0.51642 | 0.97261 | -0.52782 | 20.0697
31 | -0.089217 | -0.022469 | 0.089416 | 0.022596 | 0.00019961 | 0.00012739 | 0.13605 | 0.13605 | 0.13605 | 0.97606 | -0.46003 | 0.97845 | -0.41336 | 37.3766
32 | 0.04056 | 0.010191 | -0.04052 | -0.010166 | 4.0048e-05 | 2.5287e-05 | 0.062063 | 0.062063 | 0.062063 | 0.97261 | -0.52782 | 0.97157 | -0.54853 | 17.0502
33 | 0.0028375 | 0.00071066 | -0.0028374 | -0.00071087 | 1.7151e-07 | -2.1141e-07 | 0.0042718 | 0.0042719 | 0.0042719 | 0.98837 | -0.22135 | 0.9883 | -0.22262 | 1.1736
34 | 0.0022592 | 0.00056602 | -0.0022591 | -0.00056618 | 6.9697e-08 | -1.6129e-07 | 0.0034012 | 0.0034012 | 0.0034012 | 0.98837 | -0.22135 | 0.98834 | -0.22199 | 0.9344
35 | 0.0028374 | 0.00071087 | -0.0028372 | -0.00071107 | 1.606e-07 | -1.9791e-07 | 0.0042719 | 0.004272 | 0.004272 | 0.9883 | -0.22262 | 0.98824 | -0.2238 | 1.1736
36 | -0.03156 | -0.0079227 | 0.031561 | 0.0079232 | 6.6909e-07 | 4.1868e-07 | 0.04824 | 0.04824 | 0.04824 | 0.97359 | -0.50859 | 0.97362 | -0.50814 | 13.2528
37 | -0.0050703 | -0.0012707 | 0.0050707 | 0.0012708 | 3.6192e-07 | 3.176e-08 | 0.0077494 | 0.0077493 | 0.0077494 | 0.97359 | -0.5088 | 0.97366 | -0.5073 | 2.129
38 | -0.0080051 | -0.0020062 | 0.0080058 | 0.0020065 | 7.4338e-07 | 3.1101e-07 | 0.012234 | 0.012234 | 0.012234 | 0.97366 | -0.5073 | 0.97376 | -0.50535 | 3.361
39 | 0.010341 | 0.0025924 | -0.010339 | -0.0025911 | 2.5411e-06 | 1.2885e-06 | 0.015798 | 0.015798 | 0.015798 | 0.97402 | -0.5002 | 0.97376 | -0.50535 | 4.3402
40 | 0.0095664 | 0.0023986 | -0.009562 | -0.0023964 | 4.4115e-06 | 2.1356e-06 | 0.014601 | 0.014601 | 0.014601 | 0.97494 | -0.48211 | 0.97445 | -0.49179 | 4.0114
41 | -0.089473 | -0.022695 | 0.089507 | 0.022717 | 3.4574e-05 | 2.2064e-05 | 0.13552 | 0.13552 | 0.13552 | 0.98312 | -0.32238 | 0.98354 | -0.31434 | 37.2308
42 | 0.11185 | 0.028379 | -0.11166 | -0.028258 | 0.00018969 | 0.00012118 | 0.16946 | 0.16946 | 0.16946 | 0.98283 | -0.32812 | 0.98101 | -0.36345 | 46.555
43 | -0.19952 | -0.051086 | 0.19963 | 0.051158 | 0.00011196 | 7.1483e-05 | 0.29846 | 0.29846 | 0.29846 | 0.99601 | -0.075454 | 0.99662 | -0.063876 | 40.9978
44 | -0.095017 | -0.024 | 0.095245 | 0.024145 | 0.00022787 | 0.00014547 | 0.14457 | 0.14457 | 0.14457 | 0.97845 | -0.41336 | 0.98101 | -0.36345 | 39.7166
45 | 0.028773 | 0.007222 | -0.028753 | -0.0072092 | 2.046e-05 | 1.2747e-05 | 0.044072 | 0.044072 | 0.044072 | 0.97157 | -0.54853 | 0.97081 | -0.56345 | 12.1076
46 | -0.0019854 | -0.00049758 | 0.0019854 | 0.00049745 | 3.9828e-08 | -1.3e-07 | 0.0029739 | 0.0029738 | 0.0029739 | 0.99341 | -0.12496 | 0.99343 | -0.12453 | 0.81699
47 | -0.0050569 | -0.0012672 | 0.0050571 | 0.0012672 | 1.5784e-07 | 6.0269e-09 | 0.0075745 | 0.0075745 | 0.0075745 | 0.99343 | -0.12453 | 0.99346 | -0.12388 | 2.0809
48 | -0.011997 | -0.0030066 | 0.011999 | 0.0030078 | 2.226e-06 | 1.2081e-06 | 0.0184 | 0.0184 | 0.0184 | 0.97015 | -0.57662 | 0.97034 | -0.57273 | 5.055
49 | -0.016777 | -0.0042053 | 0.016784 | 0.0042097 | 7.4226e-06 | 4.3809e-06 | 0.025727 | 0.025727 | 0.025727 | 0.97034 | -0.57273 | 0.97081 | -0.56345 | 7.0679
50 | -0.20292 | -0.051982 | 0.20351 | 0.052358 | 0.00058851 | 0.00037576 | 0.30338 | 0.30338 | 0.30338 | 0.99662 | -0.063876 | 0.99978 | -0.0042113 | 41.6727
51 | -0.20686 | -0.053199 | 0.20691 | 0.053226 | 4.2352e-05 | 2.7043e-05 | 0.30837 | 0.30837 | 0.30837 | 0.99978 | -0.0042113 | 1 | 0 | 42.3582
52 | 0.15267 | 0.039283 | -0.15248 | -0.039166 | 0.00018314 | 0.00011671 | 0.22753 | 0.22753 | 0.22753 | 1 | 0 | 0.99869 | -0.024701 | 31.2547
53 | -0.0013963 | -0.00034994 | 0.0013963 | 0.00034994 | 6.4766e-10 | -4.5424e-09 | 0.0021078 | 0.0021078 | 0.0021078 | 0.98572 | -0.27236 | 0.98572 | -0.27235 | 0.57907
54 | -0.0074445 | -0.0018658 | 0.0074457 | 0.0018662 | 1.1638e-06 | 4.3153e-07 | 0.011238 | 0.011238 | 0.011238 | 0.98572 | -0.27235 | 0.98589 | -0.26906 | 3.0874
55 | 0.14868 | 0.038213 | -0.14864 | -0.038187 | 4.1334e-05 | 2.6336e-05 | 0.22187 | 0.22187 | 0.22187 | 0.99869 | -0.024701 | 0.99839 | -0.030425 | 30.4765
56 | 0.14596 | 0.037514 | -0.14582 | -0.037426 | 0.00013757 | 8.7638e-05 | 0.21787 | 0.21787 | 0.21787 | 0.99839 | -0.030425 | 0.99736 | -0.049845 | 29.9268
57 | -0.010732 | -0.0026897 | 0.010733 | 0.0026903 | 1.0447e-06 | 5.3319e-07 | 0.016197 | 0.016197 | 0.016197 | 0.98589 | -0.26906 | 0.98599 | -0.26702 | 4.4499
58 | -0.015042 | -0.0037703 | 0.015044 | 0.0037713 | 1.7396e-06 | 9.9854e-07 | 0.022701 | 0.022701 | 0.022701 | 0.98599 | -0.26702 | 0.98611 | -0.26459 | 6.2365
59 | 0.0058335 | 0.0014618 | -0.0058331 | -0.0014617 | 4.1256e-07 | 8.2919e-08 | 0.0088026 | 0.0088026 | 0.0088026 | 0.98611 | -0.26459 | 0.98604 | -0.26608 | 2.4183
60 | -0.020877 | -0.0052331 | 0.020882 | 0.0052359 | 4.6979e-06 | 2.8456e-06 | 0.031503 | 0.031503 | 0.031503 | 0.98611 | -0.26459 | 0.98636 | -0.25987 | 8.6548
61 | 0.0027913 | 0.00069937 | -0.0027912 | -0.00069953 | 1.26e-07 | -1.609e-07 | 0.0042122 | 0.0042123 | 0.0042123 | 0.98604 | -0.26608 | 0.98599 | -0.26703 | 1.1572
62 | -0.11652 | -0.029585 | 0.11681 | 0.02977 | 0.00028974 | 0.00018511 | 0.17591 | 0.17591 | 0.17591 | 0.98636 | -0.25987 | 0.98904 | -0.20834 | 48.3283
63 | 0.095636 | 0.024349 | -0.095526 | -0.024279 | 0.00010988 | 7.0146e-05 | 0.14441 | 0.14441 | 0.14441 | 0.98636 | -0.25987 | 0.98512 | -0.28373 | 39.6736
64 | 0.12355 | 0.031674 | -0.12323 | -0.031468 | 0.00032255 | 0.00020611 | 0.18523 | 0.18523 | 0.18523 | 0.9939 | -0.11549 | 0.99106 | -0.16949 | 50.8874
65 | 0.013627 | 0.0034163 | -0.013624 | -0.0034147 | 2.9457e-06 | 1.6407e-06 | 0.020403 | 0.020403 | 0.020403 | 0.9939 | -0.11549 | 0.99366 | -0.12003 | 5.6051
66 | -0.13718 | -0.03509 | 0.13745 | 0.035262 | 0.00027033 | 0.00017213 | 0.20563 | 0.20563 | 0.20563 | 0.9939 | -0.11549 | 0.99604 | -0.074864 | 28.2462
67 | 0.12123 | 0.030968 | -0.12101 | -0.030822 | 0.0002272 | 0.00014517 | 0.18223 | 0.18223 | 0.18223 | 0.99106 | -0.16949 | 0.98904 | -0.20834 | 50.0643
68 | 0.0097809 | 0.0024514 | -0.0097802 | -0.0024511 | 6.7681e-07 | 3.2419e-07 | 0.014647 | 0.014647 | 0.014647 | 0.99366 | -0.12003 | 0.99359 | -0.12148 | 4.0239
69 | -0.14141 | -0.036254 | 0.14142 | 0.036261 | 1.1073e-05 | 7.0521e-06 | 0.21154 | 0.21154 | 0.21154 | 0.99604 | -0.074864 | 0.99612 | -0.07325 | 29.0581
70 | -0.093151 | -0.02363 | 0.093289 | 0.023718 | 0.00013735 | 8.7672e-05 | 0.14103 | 0.14103 | 0.14103 | 0.98354 | -0.31434 | 0.98512 | -0.28373 | 38.7453
71 | 0.0036439 | 0.000913 | -0.0036435 | -0.00091316 | 3.3216e-07 | -1.5725e-07 | 0.0055128 | 0.005513 | 0.005513 | 0.98354 | -0.31434 | 0.98344 | -0.31626 | 1.5146
72 | 0.0072919 | 0.0018274 | -0.0072911 | -0.0018271 | 8.3205e-07 | 2.9158e-07 | 0.01092 | 0.010921 | 0.010921 | 0.99359 | -0.12148 | 0.99346 | -0.12388 | 3.0001
73 | -0.14286 | -0.036623 | 0.14303 | 0.036727 | 0.00016231 | 0.00010338 | 0.2137 | 0.2137 | 0.2137 | 0.99612 | -0.07325 | 0.99736 | -0.049845 | 29.3547
74 | -0.0057612 | -0.0014439 | 0.005762 | 0.0014441 | 8.1481e-07 | 1.719e-07 | 0.0087989 | 0.0087987 | 0.0087989 | 0.9743 | -0.49476 | 0.97445 | -0.49179 | 2.4173

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36439 | 0.093303

## res_load
| p_mw | q_mvar
0 | 0.0041246 | 0.0010337
1 | 0.010339 | 0.0025913
2 | 0.0085504 | 0.0021429
3 | 0.0048935 | 0.0012264
4 | 0.00153 | 0.00038346
5 | 0.001154 | 0.00028923
6 | 0.0011304 | 0.00028331
7 | 0.0037903 | 0.00094993
8 | 0.0014874 | 0.00037277
9 | 0.0011926 | 0.00029889
10 | 0.0028227 | 0.00070743
11 | 0.001106 | 0.00027719
12 | 0.019517 | 0.0048914
13 | 0.034974 | 0.0087653
14 | 0.016631 | 0.0041682
15 | 0.024626 | 0.0061719
16 | 0.0071841 | 0.0018005
17 | 0.0022591 | 0.00056618
18 | 0.0036144 | 0.00090584
19 | 0.0050703 | 0.0012707
20 | 0.0029344 | 0.00073543
21 | 0.00351 | 0.00087969
22 | 0.0036423 | 0.00091284
23 | 0.0087321 | 0.0021885
24 | 0.0042627 | 0.0010683
25 | 0.0029738 | 0.0007453
26 | 0.014244 | 0.0035698
27 | 0.011945 | 0.0029937
28 | 0.0056008 | 0.0014037
29 | 0.011747 | 0.002944
30 | 0.0019854 | 0.00049758
31 | 0.0030715 | 0.00076979
32 | 0.011997 | 0.0030066
33 | 0.0047779 | 0.0011975
34 | 0.0028372 | 0.00071107
35 | 0.0023327 | 0.00058463
36 | 0.0032906 | 0.00082471
37 | 0.0033537 | 0.00084051
38 | 0.0031691 | 0.00079424
39 | 0.01641 | 0.0041129
40 | 0.0013963 | 0.00034994
41 | 0.0060482 | 0.0015158
42 | 0.0038027 | 0.00095304
43 | 0.002685 | 0.00067292
44 | 0.0032859 | 0.00082353
45 | 0.0043093 | 0.00108
46 | 0.0030419 | 0.00076236
47 | 0.0019955 | 0.00050013
48 | 0.0038436 | 0.00096329
49 | 0.0039565 | 0.00099159
50 | 0.0042003 | 0.0010527
51 | 0.0024883 | 0.00062363
52 | 0.0014456 | 0.00036229
53 | 0.0057612 | 0.0014439
54 | 0.0038 | 0.00095237
55 | 0.0022371 | 0.00056066
56 | 0.0036435 | 0.00091316
57 | 0.011968 | 0.0029996
58 | 0.0027912 | 0.00069953
59 | 0.002234 | 0.00055989
60 | 0.0027919 | 0.00069971

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1