## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_139-8_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_139-8_1_2_node_119 | 0.4 | n |  | TRUE
2 | bus_LV_139-8_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_139-8_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_139-8_1_2_node_110 | 0.4 | n |  | TRUE
5 | bus_LV_139-8_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_139-8_1_2_node_126 | 0.4 | n |  | TRUE
7 | bus_LV_139-8_1_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_139-8_1_2_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_139-8_1_2_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_139-8_1_2_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_139-8_1_2_node_108 | 0.4 | n |  | TRUE
12 | bus_LV_139-8_1_2_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_139-8_1_2_node_135 | 0.4 | n |  | TRUE
14 | bus_LV_139-8_1_2_node_107 | 0.4 | n |  | TRUE
15 | bus_LV_139-8_1_2_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_139-8_1_2_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_139-8_1_2_node_144 | 0.4 | n |  | TRUE
18 | bus_LV_139-8_1_2_node_137 | 0.4 | n |  | TRUE
19 | bus_LV_139-8_1_2_node_138 | 0.4 | n |  | TRUE
20 | bus_LV_139-8_1_2_node_140 | 0.4 | n |  | TRUE
21 | bus_LV_139-8_1_2_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_139-8_1_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_139-8_1_2_node_94 | 0.4 | n |  | TRUE
24 | bus_LV_139-8_1_2_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_139-8_1_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_139-8_1_2_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_139-8_1_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_139-8_1_2_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_139-8_1_2_node_143 | 0.4 | n |  | TRUE
30 | bus_LV_139-8_1_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_139-8_1_2_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_139-8_1_2_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_139-8_1_2_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_139-8_1_2_node_145 | 0.4 | n |  | TRUE
35 | bus_LV_139-8_1_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_139-8_1_2_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_139-8_1_2_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_139-8_1_2_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_139-8_1_2_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_139-8_1_2_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_139-8_1_2_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_139-8_1_2_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_139-8_1_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_139-8_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_139-8_1_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_139-8_1_2_node_122 | 0.4 | n |  | TRUE
47 | bus_LV_139-8_1_2_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_139-8_1_2_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_139-8_1_2_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_139-8_1_2_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_139-8_1_2_node_112 | 0.4 | n |  | TRUE
52 | bus_LV_139-8_1_2_node_113 | 0.4 | n |  | TRUE
53 | bus_LV_139-8_1_2_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_139-8_1_2_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_139-8_1_2_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_139-8_1_2_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_139-8_1_2_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_139-8_1_2_node_125 | 0.4 | n |  | TRUE
59 | bus_LV_139-8_1_2_node_127 | 0.4 | n |  | TRUE
60 | bus_LV_139-8_1_2_node_120 | 0.4 | n |  | TRUE
61 | bus_MV_491_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_139-8_1_2_load_128 | 0 | 0.0010683 | 0.00026773 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_139-8_1_2_load_130 | 2 | 0.0017454 | 0.00043743 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_139-8_1_2_load_129 | 3 | 0.0017573 | 0.00044042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_139-8_1_2_load_110 | 4 | 0.0062199 | 0.0015588 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_139-8_1_2_load_131 | 5 | 0.011734 | 0.0029408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_139-8_1_2_load_132 | 7 | 0.0051105 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_139-8_1_2_load_133 | 8 | 0.0061632 | 0.0015446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_139-8_1_2_load_134 | 10 | 0.0031545 | 0.0007906 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_139-8_1_2_load_142 | 12 | 0.001795 | 0.00044987 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_139-8_1_2_load_135 | 13 | 0.0040294 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_139-8_1_2_load_136 | 15 | 0.0024205 | 0.00060663 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_139-8_1_2_load_144 | 17 | 0.0022297 | 0.00055881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_139-8_1_2_load_137 | 18 | 0.0044006 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_139-8_1_2_load_138 | 19 | 0.0057267 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_139-8_1_2_load_140 | 20 | 0.0050011 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_139-8_1_2_load_141 | 21 | 0.0036651 | 0.00091857 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_139-8_1_2_load_94 | 23 | 0.0023528 | 0.00058966 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_139-8_1_2_load_95 | 24 | 0.0015519 | 0.00038893 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_139-8_1_2_load_89 | 26 | 0.0034344 | 0.00086074 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_139-8_1_2_load_87 | 28 | 0.0036979 | 0.00092679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_139-8_1_2_load_143 | 29 | 0.005146 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_139-8_1_2_load_88 | 31 | 0.00454 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_139-8_1_2_load_86 | 32 | 0.0024291 | 0.00060879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_139-8_1_2_load_99 | 33 | 0.016133 | 0.0040434 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_139-8_1_2_load_145 | 34 | 0.0027648 | 0.00069294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_139-8_1_2_load_42 | 35 | 0.0028318 | 0.0007097 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_139-8_1_2_load_91 | 36 | 0.003195 | 0.00080074 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_139-8_1_2_load_75 | 37 | 0.010182 | 0.0025518 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_139-8_1_2_load_76 | 38 | 0.0054878 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_139-8_1_2_load_104 | 39 | 0.0059421 | 0.0014892 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_139-8_1_2_load_123 | 40 | 0.0047866 | 0.0011996 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_139-8_1_2_load_90 | 41 | 0.0027854 | 0.00069808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_139-8_1_2_load_97 | 42 | 0.0023318 | 0.00058439 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_139-8_1_2_load_93 | 43 | 0.011796 | 0.0029564 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_139-8_1_2_load_92 | 44 | 0.0014538 | 0.00036437 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_139-8_1_2_load_98 | 45 | 0.0018651 | 0.00046745 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_139-8_1_2_load_122 | 46 | 0.0038519 | 0.00096538 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_139-8_1_2_load_100 | 47 | 0.0055345 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_139-8_1_2_load_101 | 48 | 0.0027056 | 0.0006781 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_139-8_1_2_load_102 | 49 | 0.010631 | 0.0026643 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_139-8_1_2_load_111 | 50 | 0.0074519 | 0.0018676 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_139-8_1_2_load_112 | 51 | 0.0093197 | 0.0023357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_139-8_1_2_load_117 | 55 | 0.004385 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_139-8_1_2_load_121 | 57 | 0.0035104 | 0.0008798 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_139-8_1_2_load_125 | 58 | 0.0045873 | 0.0011497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_139-8_1_2_load_127 | 59 | 0.011747 | 0.0029441 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_139-8_1_2_load_120 | 60 | 0.0048699 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_139-8_1_2_line_0 |  | 0 | 1 | 0.052295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_139-8_1_2_line_1 |  | 0 | 2 | 0.010943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_139-8_1_2_line_2 |  | 1 | 6 | 0.003953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_139-8_1_2_line_3 |  | 2 | 3 | 0.0028181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_139-8_1_2_line_4 |  | 3 | 4 | 0.028581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_139-8_1_2_line_5 |  | 4 | 39 | 0.026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_139-8_1_2_line_6 |  | 5 | 6 | 0.033941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_139-8_1_2_line_7 |  | 5 | 7 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_139-8_1_2_line_8 |  | 6 | 11 | 0.066376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_139-8_1_2_line_9 |  | 6 | 56 | 0.006417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_139-8_1_2_line_10 |  | 7 | 8 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_139-8_1_2_line_11 |  | 8 | 9 | 0.033049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_139-8_1_2_line_12 |  | 9 | 19 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_139-8_1_2_line_13 |  | 10 | 11 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_139-8_1_2_line_14 |  | 10 | 12 | 0.0093192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_139-8_1_2_line_15 |  | 11 | 16 | 0.035648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_139-8_1_2_line_16 |  | 12 | 20 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_139-8_1_2_line_17 |  | 13 | 14 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_139-8_1_2_line_18 |  | 14 | 16 | 0.051696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_139-8_1_2_line_19 |  | 15 | 16 | 0.010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_139-8_1_2_line_20 |  | 15 | 17 | 0.0077355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_139-8_1_2_line_21 |  | 17 | 34 | 0.0030927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_139-8_1_2_line_22 |  | 18 | 19 | 0.039234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_139-8_1_2_line_23 |  | 20 | 21 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_139-8_1_2_line_24 |  | 21 | 29 | 0.0064785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_139-8_1_2_line_25 |  | 22 | 23 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_139-8_1_2_line_26 |  | 22 | 24 | 0.0076735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_139-8_1_2_line_27 |  | 24 | 42 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_139-8_1_2_line_28 |  | 25 | 26 | 0.024268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_139-8_1_2_line_29 |  | 25 | 27 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_139-8_1_2_line_30 |  | 25 | 28 | 0.0084497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_139-8_1_2_line_31 |  | 26 | 42 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_139-8_1_2_line_32 |  | 27 | 33 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_139-8_1_2_line_33 |  | 28 | 32 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_139-8_1_2_line_34 |  | 30 | 31 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_139-8_1_2_line_35 |  | 30 | 32 | 0.010873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_139-8_1_2_line_36 |  | 31 | 41 | 0.043538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_139-8_1_2_line_37 |  | 33 | 45 | 0.052531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_139-8_1_2_line_38 |  | 35 | 36 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_139-8_1_2_line_39 |  | 36 | 44 | 0.0034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_139-8_1_2_line_40 |  | 37 | 38 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_139-8_1_2_line_41 |  | 37 | 39 | 0.061063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_139-8_1_2_line_42 |  | 38 | 40 | 0.06235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_139-8_1_2_line_43 |  | 39 | 49 | 0.031535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_139-8_1_2_line_44 |  | 40 | 46 | 0.028691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_139-8_1_2_line_45 |  | 41 | 43 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_139-8_1_2_line_46 |  | 41 | 44 | 0.009761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_139-8_1_2_line_47 |  | 45 | 46 | 0.046993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_139-8_1_2_line_48 |  | 46 | 60 | 0.03154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_139-8_1_2_line_49 |  | 47 | 48 | 0.030027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_139-8_1_2_line_50 |  | 47 | 49 | 0.027222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_139-8_1_2_line_51 |  | 50 | 51 | 0.032452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_139-8_1_2_line_52 |  | 50 | 52 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_139-8_1_2_line_53 |  | 52 | 53 | 0.003372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_139-8_1_2_line_54 |  | 53 | 57 | 0.04084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_139-8_1_2_line_55 |  | 54 | 55 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_139-8_1_2_line_56 |  | 54 | 56 | 0.003691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_139-8_1_2_line_57 |  | 55 | 58 | 0.029094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_139-8_1_2_line_58 |  | 56 | 59 | 0.02947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_139-8_1_2_line_59 |  | 57 | 59 | 0.032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_139-8_1_2_trafo_125 | 0.63 MVA 20/0.4 kV | 61 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2684413.5067 | 1239955.1155 | 2684413.97 | 1239954.4438 | 2684445.7 | 1239913.9066
1 | 2684452.4449 | 1239905.2896 | 2684445.7 | 1239913.9066
2 | 2684410.1792 | 1239952.9667 | 2684413.5067 | 1239955.1155
3 | 2684452.4449 | 1239905.2896 | 2684454.1819 | 1239903.0705
4 | 2684454.1819 | 1239903.0705 | 2684471.7985 | 1239880.564
5 | 2684471.7985 | 1239880.564 | 2684480.85 | 1239869.0002 | 2684487.5921 | 1239859.439
6 | 2684410.1792 | 1239952.9667 | 2684406.6195 | 1239950.6588 | 2684410.0025 | 1239945.7145 | 2684389.8903 | 1239936.2663 | 2684388.5889 | 1239935.5468
7 | 2684388.5889 | 1239935.5468 | 2684372.6236 | 1239926.7205
8 | 2684450.7033 | 1239900.3161 | 2684410.1792 | 1239952.9667
9 | 2684406.774 | 1239958.4111 | 2684410.1792 | 1239952.9667
10 | 2684372.6236 | 1239926.7205 | 2684367.5953 | 1239923.9406 | 2684361.9714 | 1239922.644
11 | 2684329.767 | 1239915.2192 | 2684361.9714 | 1239922.644
12 | 2684329.767 | 1239915.2192 | 2684323.7362 | 1239926.7695
13 | 2684450.7033 | 1239900.3161 | 2684438.9774 | 1239896.0807
14 | 2684430.2124 | 1239892.9148 | 2684438.9774 | 1239896.0807
15 | 2684450.7033 | 1239900.3161 | 2684470.0449 | 1239874.6394 | 2684467.2 | 1239872.5975
16 | 2684430.2124 | 1239892.9148 | 2684411.0168 | 1239885.9813
17 | 2684495.5704 | 1239829.5368 | 2684476.1217 | 1239822.7475
18 | 2684467.2 | 1239872.5975 | 2684476.2989 | 1239861.4189 | 2684485.2315 | 1239848.6479 | 2684493.2241 | 1239834.4292 | 2684495.5704 | 1239829.5368
19 | 2684467.2 | 1239872.5975 | 2684462.5563 | 1239869.9295 | 2684457.6075 | 1239868.0798
20 | 2684450.3616 | 1239865.3714 | 2684457.6075 | 1239868.0798
21 | 2684447.4646 | 1239864.2886 | 2684450.3616 | 1239865.3714
22 | 2684307.6175 | 1239962.469 | 2684314.6451 | 1239944.1808 | 2684323.7362 | 1239926.7695
23 | 2684411.0168 | 1239885.9813 | 2684409.1074 | 1239885.2917 | 2684400.8754 | 1239897.6629
24 | 2684400.8754 | 1239897.6629 | 2684397.2865 | 1239903.0564
25 | 2684525.85 | 1240015.6461 | 2684534.137 | 1240001.9874
26 | 2684525.85 | 1240015.6461 | 2684522.2436 | 1240022.4193
27 | 2684522.2436 | 1240022.4193 | 2684517.9002 | 1240030.577 | 2684514.2829 | 1240039.6079
28 | 2684499.0692 | 1240082.0238 | 2684505.5492 | 1240061.4123 | 2684506.539 | 1240058.9413
29 | 2684488.4347 | 1240084.2073 | 2684492.4663 | 1240085.7658 | 2684496.2714 | 1240087.2988 | 2684499.0692 | 1240082.0238
30 | 2684499.0692 | 1240082.0238 | 2684498.9564 | 1240090.4727
31 | 2684506.539 | 1240058.9413 | 2684514.2829 | 1240039.6079
32 | 2684488.4347 | 1240084.2073 | 2684492.6705 | 1240072.8102
33 | 2684493.9923 | 1240106.4997 | 2684498.9564 | 1240090.4727 | 2684498.9564 | 1240090.4727
34 | 2684490.7753 | 1240116.8864 | 2684506.0105 | 1240121.0147
35 | 2684490.7753 | 1240116.8864 | 2684493.9923 | 1240106.4997
36 | 2684548.0327 | 1240132.4014 | 2684506.0105 | 1240121.0147
37 | 2684492.6705 | 1240072.8102 | 2684506.9946 | 1240034.2689 | 2684511.3597 | 1240023.7226
38 | 2684543.8844 | 1240144.9195 | 2684537.084 | 1240165.4402
39 | 2684543.8844 | 1240144.9195 | 2684544.9623 | 1240141.6669
40 | 2684528.4302 | 1239904.836 | 2684517.5712 | 1239927.4353
41 | 2684487.5921 | 1239859.439 | 2684528.4302 | 1239904.836
42 | 2684475.7893 | 1239973.7146 | 2684517.5712 | 1239927.4353
43 | 2684487.5921 | 1239859.439 | 2684493.216 | 1239851.4635 | 2684502.4514 | 1239835.4946 | 2684503.8333 | 1239832.4658
44 | 2684475.7893 | 1239973.7146 | 2684473.1231 | 1239981.9604 | 2684474.1312 | 1239988.7129 | 2684470.0769 | 1240001.2721
45 | 2684548.0327 | 1240132.4014 | 2684553.2865 | 1240116.6538
46 | 2684548.0327 | 1240132.4014 | 2684544.9623 | 1240141.6669
47 | 2684470.0769 | 1240001.2721 | 2684511.3597 | 1240023.7226
48 | 2684470.0769 | 1240001.2721 | 2684460.3877 | 1240031.2866
49 | 2684514.0743 | 1239807.2984 | 2684521.1551 | 1239781.8889 | 2684522.152 | 1239778.3785
50 | 2684514.0743 | 1239807.2984 | 2684513.4394 | 1239809.5768 | 2684511.4841 | 1239815.6978 | 2684503.8333 | 1239832.4658
51 | 2684372.0138 | 1240033.4258 | 2684386.3464 | 1240004.3109
52 | 2684363.2675 | 1240051.1928 | 2684372.0138 | 1240033.4258
53 | 2684360.1159 | 1240049.9694 | 2684363.2675 | 1240051.1928
54 | 2684360.1159 | 1240049.9694 | 2684377.7915 | 1240013.1523
55 | 2684409.7298 | 1239960.6324 | 2684417.7665 | 1239966.6844 | 2684425.8012 | 1239969.0351
56 | 2684406.774 | 1239958.4111 | 2684409.7298 | 1239960.6324
57 | 2684425.8012 | 1239969.0351 | 2684438.9384 | 1239972.8788 | 2684443.3192 | 1239969.572 | 2684446.1438 | 1239960.0653
58 | 2684406.774 | 1239958.4111 | 2684399.1898 | 1239970.5231 | 2684392.3079 | 1239984.0527
59 | 2684377.7915 | 1240013.1523 | 2684382.5858 | 1240003.1661 | 2684392.3079 | 1239984.0527

## bus_geodata
| x | y | coords
0 | 2684445.7 | 1239913.9066
1 | 2684413.5067 | 1239955.1155
2 | 2684452.4449 | 1239905.2896
3 | 2684454.1819 | 1239903.0705
4 | 2684471.7985 | 1239880.564
5 | 2684388.5889 | 1239935.5468
6 | 2684410.1792 | 1239952.9667
7 | 2684372.6236 | 1239926.7205
8 | 2684361.9714 | 1239922.644
9 | 2684329.767 | 1239915.2192
10 | 2684438.9774 | 1239896.0807
11 | 2684450.7033 | 1239900.3161
12 | 2684430.2124 | 1239892.9148
13 | 2684476.1217 | 1239822.7475
14 | 2684495.5704 | 1239829.5368
15 | 2684457.6075 | 1239868.0798
16 | 2684467.2 | 1239872.5975
17 | 2684450.3616 | 1239865.3714
18 | 2684307.6175 | 1239962.469
19 | 2684323.7362 | 1239926.7695
20 | 2684411.0168 | 1239885.9813
21 | 2684400.8754 | 1239897.6629
22 | 2684525.85 | 1240015.6461
23 | 2684534.137 | 1240001.9874
24 | 2684522.2436 | 1240022.4193
25 | 2684499.0692 | 1240082.0238
26 | 2684506.539 | 1240058.9413
27 | 2684488.4347 | 1240084.2073
28 | 2684498.9564 | 1240090.4727
29 | 2684397.2865 | 1239903.0564
30 | 2684490.7753 | 1240116.8864
31 | 2684506.0105 | 1240121.0147
32 | 2684493.9923 | 1240106.4997
33 | 2684492.6705 | 1240072.8102
34 | 2684447.4646 | 1239864.2886
35 | 2684537.084 | 1240165.4402
36 | 2684543.8844 | 1240144.9195
37 | 2684528.4302 | 1239904.836
38 | 2684517.5712 | 1239927.4353
39 | 2684487.5921 | 1239859.439
40 | 2684475.7893 | 1239973.7146
41 | 2684548.0327 | 1240132.4014
42 | 2684514.2829 | 1240039.6079
43 | 2684553.2865 | 1240116.6538
44 | 2684544.9623 | 1240141.6669
45 | 2684511.3597 | 1240023.7226
46 | 2684470.0769 | 1240001.2721
47 | 2684514.0743 | 1239807.2984
48 | 2684522.152 | 1239778.3785
49 | 2684503.8333 | 1239832.4658
50 | 2684372.0138 | 1240033.4258
51 | 2684386.3464 | 1240004.3109
52 | 2684363.2675 | 1240051.1928
53 | 2684360.1159 | 1240049.9694
54 | 2684409.7298 | 1239960.6324
55 | 2684425.8012 | 1239969.0351
56 | 2684406.774 | 1239958.4111
57 | 2684377.7915 | 1240013.1523
58 | 2684446.1438 | 1239960.0653
59 | 2684392.3079 | 1239984.0527
60 | 2684460.3877 | 1240031.2866
61 | 2684447.8788 | 1239954.2258

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99091 | -0.17307 | 0.0010683 | 0.00026773
1 | 0.99395 | -0.11513 | 0 | 0
2 | 0.99028 | -0.18513 | 0.0017454 | 0.00043743
3 | 0.99012 | -0.1882 | 0.0017573 | 0.00044042
4 | 0.98852 | -0.2189 | 0.0062199 | 0.0015588
5 | 0.99315 | -0.13062 | 0.011734 | 0.0029408
6 | 0.99418 | -0.11077 | 0 | 0
7 | 0.99279 | -0.13752 | 0.0051105 | 0.0012808
8 | 0.99262 | -0.14084 | 0.0061632 | 0.0015446
9 | 0.99232 | -0.14677 | 0 | 0
10 | 0.99213 | -0.15034 | 0.0031545 | 0.0007906
11 | 0.99234 | -0.1462 | 0 | 0
12 | 0.992 | -0.15291 | 0.001795 | 0.00044987
13 | 0.99171 | -0.15859 | 0.0040294 | 0.0010099
14 | 0.99178 | -0.15711 | 0 | 0
15 | 0.9919 | -0.15482 | 0.0024205 | 0.00060663
16 | 0.99197 | -0.15342 | 0 | 0
17 | 0.99186 | -0.15551 | 0.0022297 | 0.00055881
18 | 0.99204 | -0.15216 | 0.0044006 | 0.0011029
19 | 0.9922 | -0.1491 | 0.0057267 | 0.0014352
20 | 0.99174 | -0.15791 | 0.0050011 | 0.0012534
21 | 0.9916 | -0.16055 | 0.0036651 | 0.00091857
22 | 0.97267 | -0.52752 | 0 | 0
23 | 0.97263 | -0.52821 | 0.0023528 | 0.00058966
24 | 0.97268 | -0.52719 | 0.0015519 | 0.00038893
25 | 0.97309 | -0.51911 | 0 | 0
26 | 0.97287 | -0.52343 | 0.0034344 | 0.00086074
27 | 0.97366 | -0.50788 | 0 | 0
28 | 0.97283 | -0.5242 | 0.0036979 | 0.00092679
29 | 0.99157 | -0.16114 | 0.005146 | 0.0012897
30 | 0.97211 | -0.53851 | 0 | 0
31 | 0.97172 | -0.54626 | 0.00454 | 0.0011378
32 | 0.97238 | -0.53318 | 0.0024291 | 0.00060879
33 | 0.97414 | -0.4984 | 0.016133 | 0.0040434
34 | 0.99186 | -0.15566 | 0.0027648 | 0.00069294
35 | 0.97067 | -0.56687 | 0.0028318 | 0.0007097
36 | 0.97073 | -0.56574 | 0.003195 | 0.00080074
37 | 0.98458 | -0.29492 | 0.010182 | 0.0025518
38 | 0.98365 | -0.31283 | 0.0054878 | 0.0013754
39 | 0.98712 | -0.24586 | 0.0059421 | 0.0014892
40 | 0.98151 | -0.35444 | 0.0047866 | 0.0011996
41 | 0.97082 | -0.56401 | 0.0027854 | 0.00069808
42 | 0.97275 | -0.52582 | 0.0023318 | 0.00058439
43 | 0.97064 | -0.56763 | 0.011796 | 0.0029564
44 | 0.97075 | -0.56536 | 0.0014538 | 0.00036437
45 | 0.97701 | -0.44209 | 0.0018651 | 0.00046745
46 | 0.97966 | -0.39039 | 0.0038519 | 0.00096538
47 | 0.98637 | -0.26053 | 0.0055345 | 0.0013871
48 | 0.9863 | -0.26199 | 0.0027056 | 0.0006781
49 | 0.98658 | -0.25651 | 0.010631 | 0.0026643
50 | 0.99229 | -0.14738 | 0.0074519 | 0.0018676
51 | 0.99201 | -0.15274 | 0.0093197 | 0.0023357
52 | 0.99259 | -0.14151 | 0 | 0
53 | 0.99264 | -0.1405 | 0 | 0
54 | 0.99511 | -0.092936 | 0 | 0
55 | 0.99698 | -0.057218 | 0.004385 | 0.001099
56 | 0.99474 | -0.1001 | 0 | 0
57 | 0.99327 | -0.12839 | 0.0035104 | 0.0008798
58 | 1 | 0 | -0.22972 | -0.058358
59 | 0.99387 | -0.11675 | 0.011747 | 0.0029441
60 | 0.97952 | -0.39318 | 0.0048699 | 0.0012205
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12658 | -0.032256 | 0.12693 | 0.032481 | 0.00035496 | 0.00022583 | 0.19027 | 0.19027 | 0.19027 | 0.99091 | -0.17307 | 0.99395 | -0.11513 | 26.1356
1 | 0.12551 | 0.031988 | -0.12544 | -0.031941 | 7.303e-05 | 4.6458e-05 | 0.18866 | 0.18866 | 0.18866 | 0.99091 | -0.17307 | 0.99028 | -0.18513 | 25.9152
2 | -0.12693 | -0.032481 | 0.12696 | 0.032498 | 2.6832e-05 | 1.707e-05 | 0.19027 | 0.19027 | 0.19027 | 0.99395 | -0.11513 | 0.99418 | -0.11077 | 26.1355
3 | 0.12369 | 0.031504 | -0.12367 | -0.031492 | 1.8288e-05 | 1.1632e-05 | 0.18604 | 0.18604 | 0.18604 | 0.99028 | -0.18513 | 0.99012 | -0.1882 | 25.555
4 | 0.12192 | 0.031052 | -0.12174 | -0.030937 | 0.00018025 | 0.00011463 | 0.1834 | 0.1834 | 0.1834 | 0.99012 | -0.1882 | 0.98852 | -0.2189 | 25.1922
5 | 0.11552 | 0.029378 | -0.11537 | -0.029283 | 0.00014984 | 9.5222e-05 | 0.17404 | 0.17404 | 0.17404 | 0.98852 | -0.2189 | 0.98712 | -0.24586 | 23.9062
6 | -0.033149 | -0.008312 | 0.033181 | 0.0083317 | 3.1399e-05 | 1.9656e-05 | 0.049668 | 0.049668 | 0.049668 | 0.99315 | -0.13062 | 0.99418 | -0.11077 | 13.6451
7 | 0.021415 | 0.0053712 | -0.021408 | -0.0053669 | 7.0435e-06 | 4.2719e-06 | 0.032087 | 0.032087 | 0.032087 | 0.99315 | -0.13062 | 0.99279 | -0.13752 | 8.8152
8 | 0.030273 | 0.0076098 | -0.030222 | -0.007578 | 5.1121e-05 | 3.1858e-05 | 0.045319 | 0.045319 | 0.045319 | 0.99418 | -0.11077 | 0.99234 | -0.1462 | 12.4503
9 | -0.19041 | -0.04844 | 0.19051 | 0.048502 | 9.7902e-05 | 6.2491e-05 | 0.28525 | 0.28525 | 0.28525 | 0.99418 | -0.11077 | 0.99474 | -0.1001 | 39.183
10 | 0.016298 | 0.0040861 | -0.016295 | -0.0040846 | 2.5772e-06 | 1.5005e-06 | 0.024428 | 0.024428 | 0.024428 | 0.99279 | -0.13752 | 0.99262 | -0.14084 | 6.711
11 | 0.010132 | 0.00254 | -0.010129 | -0.0025386 | 2.8592e-06 | 1.4028e-06 | 0.015189 | 0.015189 | 0.015189 | 0.99262 | -0.14084 | 0.99232 | -0.14677 | 4.1728
12 | 0.010129 | 0.0025386 | -0.010128 | -0.002538 | 1.1273e-06 | 5.5315e-07 | 0.015189 | 0.015189 | 0.015189 | 0.99232 | -0.14677 | 0.9922 | -0.1491 | 4.1728
13 | -0.018768 | -0.0047056 | 0.018772 | 0.0047078 | 3.7047e-06 | 2.21e-06 | 0.02815 | 0.02815 | 0.02815 | 0.99213 | -0.15034 | 0.99234 | -0.1462 | 7.7334
14 | 0.015614 | 0.003915 | -0.015612 | -0.0039139 | 1.9166e-06 | 1.1063e-06 | 0.023418 | 0.023418 | 0.023418 | 0.99213 | -0.15034 | 0.992 | -0.15291 | 6.4336
15 | 0.01145 | 0.0028701 | -0.011446 | -0.0028681 | 3.9408e-06 | 2.0617e-06 | 0.017169 | 0.01717 | 0.01717 | 0.99234 | -0.1462 | 0.99197 | -0.15342 | 4.7169
16 | 0.013817 | 0.003464 | -0.013814 | -0.0034622 | 3.2877e-06 | 1.8407e-06 | 0.020726 | 0.020726 | 0.020726 | 0.992 | -0.15291 | 0.99174 | -0.15791 | 5.694
17 | -0.0040294 | -0.0010099 | 0.0040297 | 0.0010098 | 2.8236e-07 | -8.5096e-08 | 0.0060459 | 0.0060458 | 0.0060459 | 0.99171 | -0.15859 | 0.99178 | -0.15711 | 1.661
18 | -0.0040297 | -0.0010098 | 0.0040304 | 0.0010096 | 7.0857e-07 | -2.1376e-07 | 0.0060458 | 0.0060456 | 0.0060458 | 0.99178 | -0.15711 | 0.99197 | -0.15342 | 1.6609
19 | -0.0074152 | -0.0018584 | 0.0074157 | 0.0018585 | 4.9368e-07 | 1.7862e-07 | 0.011124 | 0.011124 | 0.011124 | 0.9919 | -0.15482 | 0.99197 | -0.15342 | 3.056
20 | 0.0049947 | 0.0012517 | -0.0049945 | -0.0012517 | 1.6286e-07 | 4.3885e-09 | 0.0074929 | 0.0074929 | 0.0074929 | 0.9919 | -0.15482 | 0.99186 | -0.15551 | 2.0585
21 | 0.0027649 | 0.00069291 | -0.0027648 | -0.00069294 | 1.9954e-08 | -2.7146e-08 | 0.0041479 | 0.0041479 | 0.0041479 | 0.99186 | -0.15551 | 0.99186 | -0.15566 | 1.1395
22 | -0.0044006 | -0.0011029 | 0.0044013 | 0.0011028 | 6.4101e-07 | -9.639e-08 | 0.0066007 | 0.0066006 | 0.0066007 | 0.99204 | -0.15216 | 0.9922 | -0.1491 | 1.8134
23 | 0.0088124 | 0.0022088 | -0.0088113 | -0.0022083 | 1.1073e-06 | 4.9077e-07 | 0.013222 | 0.013222 | 0.013222 | 0.99174 | -0.15791 | 0.9916 | -0.16055 | 3.6325
24 | 0.0051461 | 0.0012897 | -0.005146 | -0.0012897 | 1.4488e-07 | 9.1533e-09 | 0.0077224 | 0.0077224 | 0.0077224 | 0.9916 | -0.16055 | 0.99157 | -0.16114 | 2.1215
25 | 0.0023528 | 0.00058951 | -0.0023528 | -0.00058966 | 7.7618e-08 | -1.4861e-07 | 0.0035994 | 0.0035995 | 0.0035995 | 0.97267 | -0.52752 | 0.97263 | -0.52821 | 0.98886
26 | -0.0023528 | -0.00058951 | 0.0023529 | 0.00058944 | 3.728e-08 | -7.1385e-08 | 0.0035994 | 0.0035993 | 0.0035994 | 0.97267 | -0.52752 | 0.97268 | -0.52719 | 0.98884
27 | -0.0039047 | -0.00097837 | 0.003905 | 0.00097829 | 2.5383e-07 | -7.3032e-08 | 0.0059734 | 0.0059733 | 0.0059734 | 0.97268 | -0.52719 | 0.97275 | -0.52582 | 1.641
28 | 0.0096738 | 0.0024246 | -0.0096718 | -0.0024236 | 1.9915e-06 | 9.7314e-07 | 0.014793 | 0.014793 | 0.014793 | 0.97309 | -0.51911 | 0.97287 | -0.52343 | 4.064
29 | -0.042462 | -0.010663 | 0.042484 | 0.010677 | 2.2765e-05 | 1.4391e-05 | 0.064938 | 0.064938 | 0.064938 | 0.97309 | -0.51911 | 0.97366 | -0.50788 | 17.8402
30 | 0.032788 | 0.0082383 | -0.03278 | -0.0082333 | 7.9677e-06 | 4.9944e-06 | 0.050145 | 0.050145 | 0.050145 | 0.97309 | -0.51911 | 0.97283 | -0.5242 | 13.7762
31 | 0.0062374 | 0.0015629 | -0.0062367 | -0.0015627 | 7.1082e-07 | 1.9635e-07 | 0.0095401 | 0.0095402 | 0.0095402 | 0.97287 | -0.52343 | 0.97275 | -0.52582 | 2.6209
32 | -0.042484 | -0.010677 | 0.042503 | 0.010689 | 1.9228e-05 | 1.2154e-05 | 0.064938 | 0.064938 | 0.064938 | 0.97366 | -0.50788 | 0.97414 | -0.4984 | 17.8402
33 | 0.029082 | 0.0073065 | -0.029069 | -0.0072988 | 1.2453e-05 | 7.7619e-06 | 0.044489 | 0.044489 | 0.044489 | 0.97283 | -0.5242 | 0.97238 | -0.53318 | 12.2223
34 | 0.026633 | 0.0066858 | -0.026624 | -0.0066797 | 9.84e-06 | 6.102e-06 | 0.040772 | 0.040772 | 0.040772 | 0.97211 | -0.53851 | 0.97172 | -0.54626 | 11.2011
35 | -0.026633 | -0.0066858 | 0.02664 | 0.00669 | 6.7784e-06 | 4.2033e-06 | 0.040772 | 0.040772 | 0.040772 | 0.97211 | -0.53851 | 0.97238 | -0.53318 | 11.2011
36 | 0.022084 | 0.0055418 | -0.022065 | -0.0055304 | 1.8674e-05 | 1.1413e-05 | 0.03382 | 0.03382 | 0.03382 | 0.97172 | -0.54626 | 0.97082 | -0.56401 | 9.2912
37 | -0.058637 | -0.014733 | 0.058795 | 0.014833 | 0.00015808 | 0.00010052 | 0.089582 | 0.089582 | 0.089582 | 0.97414 | -0.4984 | 0.97701 | -0.44209 | 24.6105
38 | -0.0028318 | -0.0007097 | 0.0028319 | 0.00070953 | 1.5276e-07 | -1.6947e-07 | 0.004341 | 0.0043409 | 0.004341 | 0.97067 | -0.56687 | 0.97073 | -0.56574 | 1.1926
39 | -0.0060269 | -0.0015103 | 0.006027 | 0.0015103 | 1.0967e-07 | 2.7827e-08 | 0.0092384 | 0.0092384 | 0.0092384 | 0.97073 | -0.56574 | 0.97075 | -0.56536 | 2.538
40 | 0.080146 | 0.020371 | -0.080077 | -0.020328 | 6.909e-05 | 4.358e-05 | 0.12123 | 0.12123 | 0.12123 | 0.98458 | -0.29492 | 0.98365 | -0.31283 | 16.6523
41 | -0.090327 | -0.022923 | 0.090541 | 0.023058 | 0.00021369 | 0.0001352 | 0.13662 | 0.13662 | 0.13662 | 0.98458 | -0.29492 | 0.98712 | -0.24586 | 18.7659
42 | 0.074589 | 0.018952 | -0.07444 | -0.018859 | 0.00014909 | 9.3835e-05 | 0.11293 | 0.11293 | 0.11293 | 0.98365 | -0.31283 | 0.98151 | -0.35444 | 15.512
43 | 0.018882 | 0.0047356 | -0.018873 | -0.0047299 | 9.5816e-06 | 5.7293e-06 | 0.028465 | 0.028465 | 0.028465 | 0.98712 | -0.24586 | 0.98658 | -0.25651 | 7.82
44 | 0.069653 | 0.017659 | -0.069533 | -0.017582 | 0.00012014 | 7.6527e-05 | 0.10567 | 0.10567 | 0.10567 | 0.98151 | -0.35444 | 0.97966 | -0.39039 | 29.0305
45 | 0.011798 | 0.0029575 | -0.011796 | -0.0029564 | 2.0359e-06 | 1.0977e-06 | 0.018084 | 0.018084 | 0.018084 | 0.97082 | -0.56401 | 0.97064 | -0.56763 | 4.9681
46 | 0.0074813 | 0.0018749 | -0.0074808 | -0.0018747 | 4.813e-07 | 1.8735e-07 | 0.011467 | 0.011467 | 0.011467 | 0.97082 | -0.56401 | 0.97075 | -0.56536 | 3.1503
47 | -0.06066 | -0.015301 | 0.060811 | 0.015397 | 0.00015053 | 9.5747e-05 | 0.092423 | 0.092422 | 0.092423 | 0.97701 | -0.44209 | 0.97966 | -0.39039 | 25.3908
48 | 0.0048706 | 0.0012205 | -0.0048699 | -0.0012205 | 6.4732e-07 | 1.7227e-08 | 0.0073979 | 0.0073981 | 0.0073981 | 0.97966 | -0.39039 | 0.97952 | -0.39318 | 2.0324
49 | 0.0027058 | 0.00067784 | -0.0027056 | -0.0006781 | 1.8762e-07 | -2.6316e-07 | 0.0040818 | 0.004082 | 0.004082 | 0.98637 | -0.26053 | 0.9863 | -0.26199 | 1.1214
50 | -0.0082404 | -0.0020649 | 0.0082419 | 0.0020656 | 1.5775e-06 | 6.6206e-07 | 0.012431 | 0.012431 | 0.012431 | 0.98637 | -0.26053 | 0.98658 | -0.25651 | 3.4151
51 | 0.0093221 | 0.0023368 | -0.0093197 | -0.0023357 | 2.3782e-06 | 1.103e-06 | 0.013979 | 0.01398 | 0.01398 | 0.99229 | -0.14738 | 0.99201 | -0.15274 | 3.8405
52 | -0.016774 | -0.0042045 | 0.016779 | 0.0042072 | 4.6987e-06 | 2.7513e-06 | 0.025154 | 0.025154 | 0.025154 | 0.99229 | -0.14738 | 0.99259 | -0.14151 | 6.9104
53 | -0.016779 | -0.0042072 | 0.016779 | 0.0042077 | 8.0007e-07 | 4.6846e-07 | 0.025154 | 0.025154 | 0.025154 | 0.99259 | -0.14151 | 0.99264 | -0.1405 | 6.9104
54 | -0.016779 | -0.0042077 | 0.016789 | 0.0042133 | 9.6901e-06 | 5.6734e-06 | 0.025154 | 0.025154 | 0.025154 | 0.99264 | -0.1405 | 0.99327 | -0.12839 | 6.9104
55 | -0.22267 | -0.056611 | 0.22305 | 0.056857 | 0.00038381 | 0.00024516 | 0.33325 | 0.33325 | 0.33325 | 0.99511 | -0.092936 | 0.99698 | -0.057218 | 45.7763
56 | 0.22267 | 0.056611 | -0.22259 | -0.056562 | 7.6858e-05 | 4.9093e-05 | 0.33325 | 0.33325 | 0.33325 | 0.99511 | -0.092936 | 0.99474 | -0.1001 | 45.7764
57 | -0.22744 | -0.057956 | 0.22807 | 0.058358 | 0.00062986 | 0.00040235 | 0.3398 | 0.3398 | 0.3398 | 0.99698 | -0.057218 | 1 | 0 | 46.6753
58 | 0.032083 | 0.0080599 | -0.032058 | -0.008044 | 2.5462e-05 | 1.5913e-05 | 0.048 | 0.048 | 0.048 | 0.99474 | -0.1001 | 0.99387 | -0.11675 | 13.1868
59 | -0.0203 | -0.0050931 | 0.020311 | 0.0050999 | 1.128e-05 | 6.798e-06 | 0.030413 | 0.030413 | 0.030413 | 0.99327 | -0.12839 | 0.99387 | -0.11675 | 8.3551

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23431 | 0.059508

## res_load
| p_mw | q_mvar
0 | 0.0010683 | 0.00026773
1 | 0.0017454 | 0.00043743
2 | 0.0017573 | 0.00044042
3 | 0.0062199 | 0.0015588
4 | 0.011734 | 0.0029408
5 | 0.0051105 | 0.0012808
6 | 0.0061632 | 0.0015446
7 | 0.0031545 | 0.0007906
8 | 0.001795 | 0.00044987
9 | 0.0040294 | 0.0010099
10 | 0.0024205 | 0.00060663
11 | 0.0022297 | 0.00055881
12 | 0.0044006 | 0.0011029
13 | 0.0057267 | 0.0014352
14 | 0.0050011 | 0.0012534
15 | 0.0036651 | 0.00091857
16 | 0.0023528 | 0.00058966
17 | 0.0015519 | 0.00038893
18 | 0.0034344 | 0.00086074
19 | 0.0036979 | 0.00092679
20 | 0.005146 | 0.0012897
21 | 0.00454 | 0.0011378
22 | 0.0024291 | 0.00060879
23 | 0.016133 | 0.0040434
24 | 0.0027648 | 0.00069294
25 | 0.0028318 | 0.0007097
26 | 0.003195 | 0.00080074
27 | 0.010182 | 0.0025518
28 | 0.0054878 | 0.0013754
29 | 0.0059421 | 0.0014892
30 | 0.0047866 | 0.0011996
31 | 0.0027854 | 0.00069808
32 | 0.0023318 | 0.00058439
33 | 0.011796 | 0.0029564
34 | 0.0014538 | 0.00036437
35 | 0.0018651 | 0.00046745
36 | 0.0038519 | 0.00096538
37 | 0.0055345 | 0.0013871
38 | 0.0027056 | 0.0006781
39 | 0.010631 | 0.0026643
40 | 0.0074519 | 0.0018676
41 | 0.0093197 | 0.0023357
42 | 0.004385 | 0.001099
43 | 0.0035104 | 0.0008798
44 | 0.0045873 | 0.0011497
45 | 0.011747 | 0.0029441
46 | 0.0048699 | 0.0012205

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1