## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-16_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_141-16_0_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_141-16_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_141-16_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_141-16_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_141-16_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_141-16_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_141-16_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_141-16_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_141-16_0_4_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_141-16_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_141-16_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_141-16_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_141-16_0_4_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_141-16_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_141-16_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_141-16_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_141-16_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_141-16_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_141-16_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_141-16_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_141-16_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_141-16_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_141-16_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_141-16_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_141-16_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_141-16_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_141-16_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_141-16_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_141-16_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_141-16_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_141-16_0_4_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_141-16_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_141-16_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_141-16_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_141-16_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_141-16_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_141-16_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_141-16_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_141-16_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_141-16_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_MV_491_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-16_0_4_load_0 | 0 | 0.012157 | 0.0030468 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-16_0_4_load_1 | 1 | 0.0061044 | 0.0015299 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-16_0_4_load_3 | 2 | 0.0067109 | 0.0016819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-16_0_4_load_28 | 3 | 0.0069253 | 0.0017356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-16_0_4_load_44 | 7 | 0.006348 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-16_0_4_load_38 | 11 | 0.015337 | 0.0038437 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-16_0_4_load_49 | 15 | 0.035465 | 0.0088883 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-16_0_4_load_48 | 18 | 0.034342 | 0.0086068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-16_0_4_load_45 | 21 | 0.022918 | 0.0057438 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-16_0_4_load_25 | 25 | 0.0099554 | 0.0024951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-16_0_4_load_36 | 28 | 0.010283 | 0.0025772 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-16_0_4_load_47 | 29 | 0.067074 | 0.01681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-16_0_4_load_39 | 30 | 0.013012 | 0.003261 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-16_0_4_load_37 | 31 | 0.057165 | 0.014327 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-16_0_4_load_42 | 33 | 0.0039247 | 0.00098363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-16_0_4_load_40 | 34 | 0.0048815 | 0.0012234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-16_0_4_load_41 | 35 | 0.0090856 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-16_0_4_load_46 | 36 | 0.013634 | 0.003417 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-16_0_4_load_33 | 37 | 0.0064275 | 0.0016109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-16_0_4_load_31 | 38 | 0.0073224 | 0.0018352 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-16_0_4_load_30 | 39 | 0.0090228 | 0.0022613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-16_0_4_load_34 | 40 | 0.026899 | 0.0067416 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-16_0_4_load_26 | 41 | 0.015644 | 0.0039208 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-16_0_4_load_35 | 42 | 0.024863 | 0.0062312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-16_0_4_line_0 |  | 0 | 1 | 0.018436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-16_0_4_line_1 |  | 1 | 2 | 0.017127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-16_0_4_line_2 |  | 2 | 3 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-16_0_4_line_3 |  | 3 | 27 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-16_0_4_line_4 |  | 4 | 5 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_141-16_0_4_line_5 |  | 4 | 6 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_141-16_0_4_line_6 |  | 4 | 7 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-16_0_4_line_7 |  | 5 | 29 | 0.033014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_141-16_0_4_line_8 |  | 6 | 31 | 0.049883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-16_0_4_line_9 |  | 6 | 17 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_141-16_0_4_line_10 |  | 7 | 32 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-16_0_4_line_11 |  | 8 | 9 | 0.011983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-16_0_4_line_12 |  | 8 | 10 | 0.0099054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-16_0_4_line_13 |  | 8 | 11 | 0.0033992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-16_0_4_line_14 |  | 9 | 15 | 0.019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-16_0_4_line_15 |  | 10 | 29 | 0.031788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-16_0_4_line_16 |  | 12 | 13 | 0.016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-16_0_4_line_17 |  | 12 | 14 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-16_0_4_line_18 |  | 12 | 15 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-16_0_4_line_19 |  | 13 | 16 | 0.033312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-16_0_4_line_20 |  | 14 | 21 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-16_0_4_line_21 |  | 16 | 30 | 0.067694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-16_0_4_line_22 |  | 17 | 18 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_141-16_0_4_line_23 |  | 18 | 26 | 0.03314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-16_0_4_line_24 |  | 19 | 20 | 0.031581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-16_0_4_line_25 |  | 19 | 21 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-16_0_4_line_26 |  | 20 | 39 | 0.0030269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-16_0_4_line_27 |  | 22 | 23 | 0.00197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-16_0_4_line_28 |  | 22 | 24 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-16_0_4_line_29 |  | 22 | 25 | 0.032458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-16_0_4_line_30 |  | 23 | 40 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-16_0_4_line_31 |  | 23 | 26 | 0.003254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-16_0_4_line_32 |  | 24 | 27 | 0.002159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-16_0_4_line_33 |  | 24 | 28 | 0.010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-16_0_4_line_34 |  | 25 | 41 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-16_0_4_line_35 |  | 28 | 42 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-16_0_4_line_36 |  | 31 | 36 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-16_0_4_line_37 |  | 32 | 35 | 0.013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-16_0_4_line_38 |  | 33 | 34 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-16_0_4_line_39 |  | 34 | 35 | 0.024321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-16_0_4_line_40 |  | 37 | 38 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-16_0_4_line_41 |  | 38 | 39 | 0.01148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-16_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 43 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2685102.369 | 1238920.9394 | 2685092.0736 | 1238936.2323
1 | 2685082.5093 | 1238950.4394 | 2685092.0736 | 1238936.2323
2 | 2685082.5093 | 1238950.4394 | 2685072.2389 | 1238965.6953
3 | 2685065.345 | 1238975.9357 | 2685072.2389 | 1238965.6953
4 | 2685015.621 | 1239029.9958 | 2685014.3405 | 1239026.9753 | 2685012.4367 | 1239025.2246 | 2685005.5041 | 1239020.7221 | 2685001.6775 | 1239018.5436 | 2684999.3038 | 1239017.9091 | 2684995.5601 | 1239016.8103
5 | 2685015.621 | 1239029.9958 | 2685016.3591 | 1239029.6951 | 2685018.3069 | 1239028.9001 | 2685020.6886 | 1239027.9224 | 2685024.1507 | 1239026.5043 | 2685025.1913 | 1239027.2642 | 2685026.3292 | 1239028.0922 | 2685028.1633 | 1239029.4305 | 2685028.5825 | 1239029.7367
6 | 2685015.621 | 1239029.9958 | 2685015.4851 | 1239032.0954 | 2685014.6379 | 1239034.207 | 2685010.7646 | 1239039.5109 | 2685009.5332 | 1239041.3727
7 | 2684995.5601 | 1239016.8103 | 2684991.2136 | 1239016.0698 | 2684986.9238 | 1239014.5407 | 2684972.5016 | 1239005.3388 | 2684966.5879 | 1239001.7011
8 | 2685028.5825 | 1239029.7367 | 2685024.4672 | 1239036.0935 | 2685013.0913 | 1239053.4542 | 2685010.0381 | 1239058.0138 | 2685001.0893 | 1239071.3579
9 | 2685022.6263 | 1239017.2759 | 2685022.8636 | 1239018.6691 | 2685023.1001 | 1239020.1069 | 2685023.6357 | 1239023.3836 | 2685024.1507 | 1239026.5043 | 2685025.1913 | 1239027.2642 | 2685026.3292 | 1239028.0922 | 2685028.1633 | 1239029.4305 | 2685028.5825 | 1239029.7367
10 | 2685002.0663 | 1239052.6625 | 2685009.5332 | 1239041.3727
11 | 2684940.7363 | 1238977.4977 | 2684941.8079 | 1238978.2025 | 2684943.2553 | 1238979.0793 | 2684944.7536 | 1238978.5115 | 2684946.905 | 1238977.7639 | 2684948.776 | 1238977.0569 | 2684951.6676 | 1238975.864
12 | 2684940.7363 | 1238977.4977 | 2684941.8079 | 1238978.2025 | 2684943.2553 | 1238979.0793 | 2684943.4131 | 1238980.7384 | 2684943.6769 | 1238982.9215 | 2684943.8439 | 1238984.992 | 2684943.966 | 1238985.9722
13 | 2684940.7363 | 1238977.4977 | 2684938.5996 | 1238976.1551 | 2684937.8729 | 1238975.6666
14 | 2684951.6676 | 1238975.864 | 2684951.3621 | 1238972.3683 | 2684950.815 | 1238968.3131 | 2684953.1522 | 1238964.099 | 2684956.6569 | 1238958.5135
15 | 2684943.966 | 1238985.9722 | 2684947.7158 | 1238986.126 | 2684952.1025 | 1238987.7566 | 2684957.3755 | 1238991.4124 | 2684955.5035 | 1238994.8325 | 2684958.2697 | 1238996.5845 | 2684966.5879 | 1239001.7011
16 | 2684951.5839 | 1238943.6619 | 2684952.61 | 1238941.7308 | 2684953.0066 | 1238940.9804 | 2684954.9526 | 1238941.3752 | 2684957.0346 | 1238941.2493 | 2684958.8597 | 1238940.5749 | 2684959.7226 | 1238941.0654 | 2684962.3039 | 1238942.5256 | 2684964.3224 | 1238943.6664 | 2684965.3955 | 1238944.2711
17 | 2684965.3955 | 1238944.2711 | 2684969.3164 | 1238937.7558 | 2684971.4862 | 1238934.1398
18 | 2684965.3955 | 1238944.2711 | 2684959.6934 | 1238953.674 | 2684956.6569 | 1238958.5135
19 | 2684922.7157 | 1238926.8926 | 2684951.5839 | 1238943.6619
20 | 2684971.4862 | 1238934.1398 | 2684987.7622 | 1238943.8464 | 2684990.9411 | 1238945.8266 | 2684992.0571 | 1238946.5723
21 | 2684922.7157 | 1238926.8926 | 2684916.2573 | 1238941.0549 | 2684910.2937 | 1238955.5244 | 2684908.3696 | 1238959.4108 | 2684904.0272 | 1238963.1403 | 2684893.2431 | 1238974.0495 | 2684888.3414 | 1238983.9839
22 | 2685022.6263 | 1239017.2759 | 2685025.9605 | 1239015.8114 | 2685029.1637 | 1239012.933 | 2685034.2991 | 1239005.0676 | 2685034.814 | 1239004.3092
23 | 2685052.4418 | 1238976.3401 | 2685050.9896 | 1238980.0219 | 2685044.2135 | 1238990.4657 | 2685034.814 | 1239004.3092
24 | 2685012.5731 | 1238953.9198 | 2685017.0184 | 1238952.5158 | 2685019.4224 | 1238948.9254 | 2685031.789 | 1238930.0111
25 | 2685012.5731 | 1238953.9198 | 2685009.6898 | 1238954.5345 | 2685007.9367 | 1238954.9319 | 2685006.3681 | 1238955.1207 | 2685004.3023 | 1238954.6464 | 2685002.9216 | 1238954.3931 | 2685000.5822 | 1238952.9475 | 2684996.808 | 1238949.7467 | 2684992.0571 | 1238946.5723
26 | 2685031.789 | 1238930.0111 | 2685033.4258 | 1238927.4649
27 | 2685054.4324 | 1238971.5095 | 2685053.6876 | 1238973.3335
28 | 2685054.4324 | 1238971.5095 | 2685056.816 | 1238973.0337 | 2685059.8442 | 1238974.9784 | 2685061.7707 | 1238976.2069 | 2685064.1767 | 1238977.7536
29 | 2685054.4324 | 1238971.5095 | 2685064.2298 | 1238956.6281 | 2685072.579 | 1238944.6011
30 | 2685053.6876 | 1238973.3335 | 2685048.6373 | 1238971.5599 | 2685036.3787 | 1238963.2012
31 | 2685052.4418 | 1238976.3401 | 2685053.6876 | 1238973.3335
32 | 2685064.1767 | 1238977.7536 | 2685065.345 | 1238975.9357
33 | 2685064.1767 | 1238977.7536 | 2685058.3218 | 1238986.3042
34 | 2685072.579 | 1238944.6011 | 2685074.4255 | 1238941.9413 | 2685081.2766 | 1238932.0769 | 2685086.6483 | 1238924.2208
35 | 2685050.0428 | 1238998.3953 | 2685058.3218 | 1238986.3042
36 | 2684986.7648 | 1239092.6847 | 2684991.4334 | 1239085.7563 | 2685001.0893 | 1239071.3579
37 | 2685002.0663 | 1239052.6625 | 2684995.0537 | 1239063.2586 | 2684994.5162 | 1239064.0471
38 | 2684980.9053 | 1239084.2025 | 2684975.5144 | 1239092.3555 | 2684970.6028 | 1239099.4791
39 | 2684980.9053 | 1239084.2025 | 2684985.0554 | 1239077.9261 | 2684994.5162 | 1239064.0471
40 | 2685039.6337 | 1238917.8079 | 2685053.2839 | 1238896.5738
41 | 2685039.6337 | 1238917.8079 | 2685033.4258 | 1238927.4649

## bus_geodata
| x | y | coords
0 | 2685102.369 | 1238920.9394
1 | 2685092.0736 | 1238936.2323
2 | 2685082.5093 | 1238950.4394
3 | 2685072.2389 | 1238965.6953
4 | 2685015.621 | 1239029.9958
5 | 2684995.5601 | 1239016.8103
6 | 2685028.5825 | 1239029.7367
7 | 2685009.5332 | 1239041.3727
8 | 2684940.7363 | 1238977.4977
9 | 2684951.6676 | 1238975.864
10 | 2684943.966 | 1238985.9722
11 | 2684937.8729 | 1238975.6666
12 | 2684965.3955 | 1238944.2711
13 | 2684951.5839 | 1238943.6619
14 | 2684971.4862 | 1238934.1398
15 | 2684956.6569 | 1238958.5135
16 | 2684922.7157 | 1238926.8926
17 | 2685022.6263 | 1239017.2759
18 | 2685034.814 | 1239004.3092
19 | 2685012.5731 | 1238953.9198
20 | 2685031.789 | 1238930.0111
21 | 2684992.0571 | 1238946.5723
22 | 2685054.4324 | 1238971.5095
23 | 2685053.6876 | 1238973.3335
24 | 2685064.1767 | 1238977.7536
25 | 2685072.579 | 1238944.6011
26 | 2685052.4418 | 1238976.3401
27 | 2685065.345 | 1238975.9357
28 | 2685058.3218 | 1238986.3042
29 | 2684966.5879 | 1239001.7011
30 | 2684888.3414 | 1238983.9839
31 | 2685001.0893 | 1239071.3579
32 | 2685002.0663 | 1239052.6625
33 | 2684970.6028 | 1239099.4791
34 | 2684980.9053 | 1239084.2025
35 | 2684994.5162 | 1239064.0471
36 | 2684986.7648 | 1239092.6847
37 | 2685053.2839 | 1238896.5738
38 | 2685039.6337 | 1238917.8079
39 | 2685033.4258 | 1238927.4649
40 | 2685036.3787 | 1238963.2012
41 | 2685086.6483 | 1238924.2208
42 | 2685050.0428 | 1238998.3953
43 | 2684999.3038 | 1239017.9091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9871 | -0.24835 | 0.012157 | 0.0030468
1 | 0.98731 | -0.24434 | 0.0061044 | 0.0015299
2 | 0.98759 | -0.23875 | 0.0067109 | 0.0016819
3 | 0.98802 | -0.23055 | 0.0069253 | 0.0017356
4 | 0.99716 | -0.054163 | 0 | 0
5 | 1 | 0 | -0.43052 | -0.10878
6 | 0.99565 | -0.08316 | 0 | 0
7 | 0.99687 | -0.059765 | 0.006348 | 0.001591
8 | 0.99315 | -0.13129 | 0 | 0
9 | 0.99211 | -0.15125 | 0 | 0
10 | 0.99414 | -0.11214 | 0 | 0
11 | 0.9931 | -0.13221 | 0.015337 | 0.0038437
12 | 0.98957 | -0.20046 | 0 | 0
13 | 0.98937 | -0.20429 | 0 | 0
14 | 0.98907 | -0.21008 | 0 | 0
15 | 0.99047 | -0.18301 | 0.035465 | 0.0088883
16 | 0.98898 | -0.21202 | 0 | 0
17 | 0.9946 | -0.10326 | 0 | 0
18 | 0.99331 | -0.12804 | 0.034342 | 0.0086068
19 | 0.98758 | -0.23913 | 0 | 0
20 | 0.98692 | -0.25199 | 0 | 0
21 | 0.98807 | -0.22967 | 0.022918 | 0.0057438
22 | 0.98915 | -0.20846 | 0 | 0
23 | 0.98932 | -0.20521 | 0 | 0
24 | 0.98844 | -0.22229 | 0 | 0
25 | 0.98839 | -0.22327 | 0.0099554 | 0.0024951
26 | 0.98968 | -0.19828 | 0 | 0
27 | 0.98838 | -0.22352 | 0 | 0
28 | 0.98811 | -0.22879 | 0.010283 | 0.0025772
29 | 0.99734 | -0.050942 | 0.067074 | 0.01681
30 | 0.98817 | -0.22773 | 0.013012 | 0.003261
31 | 0.99242 | -0.14546 | 0.057165 | 0.014327
32 | 0.99665 | -0.064014 | 0 | 0
33 | 0.99617 | -0.073335 | 0.0039247 | 0.00098363
34 | 0.99623 | -0.072065 | 0.0048815 | 0.0012234
35 | 0.99643 | -0.068304 | 0.0090856 | 0.0022771
36 | 0.9921 | -0.15166 | 0.013634 | 0.003417
37 | 0.98656 | -0.25896 | 0.0064275 | 0.0016109
38 | 0.98671 | -0.25605 | 0.0073224 | 0.0018352
39 | 0.98686 | -0.25322 | 0.0090228 | 0.0022613
40 | 0.98882 | -0.21489 | 0.026899 | 0.0067416
41 | 0.98804 | -0.23019 | 0.015644 | 0.0039208
42 | 0.98777 | -0.2353 | 0.024863 | 0.0062312
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012157 | -0.0030468 | 0.012159 | 0.0030481 | 2.3218e-06 | 1.2502e-06 | 0.018326 | 0.018326 | 0.018326 | 0.9871 | -0.24835 | 0.98731 | -0.24434 | 5.0346
1 | -0.018264 | -0.004578 | 0.018268 | 0.0045809 | 4.8662e-06 | 2.8953e-06 | 0.027526 | 0.027526 | 0.027526 | 0.98731 | -0.24434 | 0.98759 | -0.23875 | 7.5621
2 | -0.024979 | -0.0062628 | 0.024989 | 0.0062688 | 9.7695e-06 | 6.0171e-06 | 0.037637 | 0.037637 | 0.037637 | 0.98759 | -0.23875 | 0.98802 | -0.23055 | 10.34
3 | -0.031914 | -0.0080044 | 0.031925 | 0.0080111 | 1.0696e-05 | 6.6871e-06 | 0.048067 | 0.048067 | 0.048067 | 0.98802 | -0.23055 | 0.98838 | -0.22352 | 13.2053
4 | -0.25038 | -0.063315 | 0.25104 | 0.063732 | 0.00065235 | 0.00041685 | 0.37384 | 0.37384 | 0.37384 | 0.99716 | -0.054163 | 1 | 0 | 51.351
5 | 0.22613 | 0.057231 | -0.22581 | -0.057031 | 0.00031425 | 0.00020074 | 0.33764 | 0.33764 | 0.33764 | 0.99716 | -0.054163 | 0.99565 | -0.08316 | 46.3789
6 | 0.024255 | 0.006084 | -0.024249 | -0.00608 | 6.4753e-06 | 3.9723e-06 | 0.036197 | 0.036197 | 0.036197 | 0.99716 | -0.054163 | 0.99687 | -0.059765 | 9.9442
7 | 0.17783 | 0.04505 | -0.17739 | -0.044773 | 0.00043399 | 0.00027689 | 0.26478 | 0.26478 | 0.26478 | 1 | 0 | 0.99734 | -0.050942 | 36.3712
8 | 0.071014 | 0.01788 | -0.070803 | -0.017746 | 0.00021082 | 0.00013428 | 0.10616 | 0.10616 | 0.10616 | 0.99565 | -0.08316 | 0.99242 | -0.14546 | 29.165
9 | 0.1548 | 0.03915 | -0.15465 | -0.039055 | 0.00014908 | 9.5027e-05 | 0.23148 | 0.23148 | 0.23148 | 0.99565 | -0.08316 | 0.9946 | -0.10326 | 31.7965
10 | 0.017901 | 0.004489 | -0.017897 | -0.0044869 | 3.6244e-06 | 2.1432e-06 | 0.026721 | 0.026722 | 0.026722 | 0.99687 | -0.059765 | 0.99665 | -0.064014 | 7.3411
11 | 0.094559 | 0.023847 | -0.094468 | -0.02379 | 9.0262e-05 | 5.7613e-05 | 0.14173 | 0.14173 | 0.14173 | 0.99315 | -0.13129 | 0.99211 | -0.15125 | 38.9363
12 | -0.1099 | -0.027691 | 0.11 | 0.027756 | 0.00010077 | 6.4365e-05 | 0.16471 | 0.16471 | 0.16471 | 0.99315 | -0.13129 | 0.99414 | -0.11214 | 45.2494
13 | 0.015337 | 0.0038441 | -0.015337 | -0.0038437 | 6.7312e-07 | 3.8681e-07 | 0.02298 | 0.02298 | 0.02298 | 0.99315 | -0.13129 | 0.9931 | -0.13221 | 6.3131
14 | 0.094468 | 0.02379 | -0.094325 | -0.023698 | 0.00014322 | 9.1418e-05 | 0.14173 | 0.14173 | 0.14173 | 0.99211 | -0.15125 | 0.99047 | -0.18301 | 38.9364
15 | -0.11 | -0.027756 | 0.11032 | 0.027962 | 0.00032339 | 0.00020656 | 0.16471 | 0.16471 | 0.16471 | 0.99414 | -0.11214 | 0.99734 | -0.050942 | 45.2494
16 | 0.013029 | 0.0032704 | -0.013026 | -0.003269 | 2.3841e-06 | 1.3131e-06 | 0.019593 | 0.019593 | 0.019593 | 0.98957 | -0.20046 | 0.98937 | -0.20429 | 5.3827
17 | 0.045783 | 0.011508 | -0.045762 | -0.011495 | 2.1017e-05 | 1.3299e-05 | 0.068856 | 0.068856 | 0.068856 | 0.98957 | -0.20046 | 0.98907 | -0.21008 | 18.9164
18 | -0.058811 | -0.014779 | 0.05886 | 0.01481 | 4.9022e-05 | 3.1159e-05 | 0.088449 | 0.088449 | 0.088449 | 0.98957 | -0.20046 | 0.99047 | -0.18301 | 24.2991
19 | 0.013026 | 0.003269 | -0.013021 | -0.0032664 | 4.7955e-06 | 2.6415e-06 | 0.019593 | 0.019593 | 0.019593 | 0.98937 | -0.20429 | 0.98898 | -0.21202 | 5.3827
20 | 0.045762 | 0.011495 | -0.045719 | -0.011468 | 4.2738e-05 | 2.7044e-05 | 0.068856 | 0.068856 | 0.068856 | 0.98907 | -0.21008 | 0.98807 | -0.22967 | 18.9164
21 | 0.013021 | 0.0032664 | -0.013012 | -0.003261 | 9.7453e-06 | 5.3691e-06 | 0.019593 | 0.019593 | 0.019593 | 0.98898 | -0.21202 | 0.98817 | -0.22773 | 5.3828
22 | 0.15465 | 0.039055 | -0.15447 | -0.038938 | 0.00018343 | 0.00011692 | 0.23148 | 0.23148 | 0.23148 | 0.9946 | -0.10326 | 0.99331 | -0.12804 | 31.7965
23 | 0.12013 | 0.030332 | -0.11972 | -0.030074 | 0.00040281 | 0.00025737 | 0.18003 | 0.18003 | 0.18003 | 0.99331 | -0.12804 | 0.98968 | -0.19828 | 49.4599
24 | 0.022791 | 0.005718 | -0.022777 | -0.0057095 | 1.3967e-05 | 8.535e-06 | 0.034342 | 0.034342 | 0.034342 | 0.98758 | -0.23913 | 0.98692 | -0.25199 | 9.4346
25 | -0.022791 | -0.005718 | 0.022801 | 0.0057243 | 1.0287e-05 | 6.2862e-06 | 0.034342 | 0.034342 | 0.034342 | 0.98758 | -0.23913 | 0.98807 | -0.22967 | 9.4345
26 | 0.022777 | 0.0057095 | -0.022775 | -0.0057086 | 1.3387e-06 | 8.1807e-07 | 0.034342 | 0.034342 | 0.034342 | 0.98692 | -0.25199 | 0.98686 | -0.25322 | 9.4346
27 | -0.092759 | -0.02329 | 0.092773 | 0.0233 | 1.4388e-05 | 9.1828e-06 | 0.13956 | 0.13956 | 0.13956 | 0.98915 | -0.20846 | 0.98932 | -0.20521 | 38.3394
28 | 0.067136 | 0.01686 | -0.067091 | -0.016832 | 4.4278e-05 | 2.8189e-05 | 0.10101 | 0.10101 | 0.10101 | 0.98915 | -0.20846 | 0.98844 | -0.22229 | 27.7491
29 | 0.025623 | 0.00643 | -0.025605 | -0.0064189 | 1.8087e-05 | 1.1159e-05 | 0.038548 | 0.038549 | 0.038549 | 0.98915 | -0.20846 | 0.98839 | -0.22327 | 10.5903
30 | 0.026912 | 0.0067492 | -0.026899 | -0.0067416 | 1.2406e-05 | 7.6805e-06 | 0.040479 | 0.040479 | 0.040479 | 0.98932 | -0.20521 | 0.98882 | -0.21489 | 11.1205
31 | -0.11968 | -0.030049 | 0.11972 | 0.030074 | 3.9551e-05 | 2.5271e-05 | 0.18003 | 0.18003 | 0.18003 | 0.98932 | -0.20521 | 0.98968 | -0.19828 | 49.4599
32 | 0.031927 | 0.0080123 | -0.031925 | -0.0080111 | 1.8706e-06 | 1.1695e-06 | 0.048067 | 0.048067 | 0.048067 | 0.98844 | -0.22229 | 0.98838 | -0.22352 | 13.2053
33 | 0.035164 | 0.00882 | -0.035154 | -0.0088131 | 1.0891e-05 | 6.8377e-06 | 0.05294 | 0.05294 | 0.05294 | 0.98844 | -0.22229 | 0.98811 | -0.22879 | 14.5439
34 | 0.01565 | 0.0039238 | -0.015644 | -0.0039208 | 5.1553e-06 | 2.9821e-06 | 0.023561 | 0.023561 | 0.023561 | 0.98839 | -0.22327 | 0.98804 | -0.23019 | 6.4728
35 | 0.02487 | 0.0062359 | -0.024863 | -0.0062312 | 7.7087e-06 | 4.7459e-06 | 0.037454 | 0.037454 | 0.037454 | 0.98811 | -0.22879 | 0.98777 | -0.2353 | 10.2895
36 | 0.013638 | 0.0034193 | -0.013634 | -0.003417 | 4.0287e-06 | 2.2465e-06 | 0.020449 | 0.020449 | 0.020449 | 0.99242 | -0.14546 | 0.9921 | -0.15166 | 5.6179
37 | 0.017897 | 0.0044869 | -0.017894 | -0.0044847 | 3.6579e-06 | 2.1631e-06 | 0.026722 | 0.026722 | 0.026722 | 0.99665 | -0.064014 | 0.99643 | -0.068304 | 7.3411
38 | -0.0039247 | -0.00098363 | 0.003925 | 0.00098354 | 2.3749e-07 | -8.7921e-08 | 0.0058625 | 0.0058624 | 0.0058625 | 0.99617 | -0.073335 | 0.99623 | -0.072065 | 1.6106
39 | -0.0088065 | -0.002207 | 0.0088081 | 0.0022077 | 1.578e-06 | 6.9318e-07 | 0.013154 | 0.013154 | 0.013154 | 0.99623 | -0.072065 | 0.99643 | -0.068304 | 3.6136
40 | -0.0064275 | -0.0016109 | 0.0064283 | 0.0016111 | 8.8964e-07 | 2.4699e-07 | 0.0096944 | 0.0096943 | 0.0096944 | 0.98656 | -0.25896 | 0.98671 | -0.25605 | 2.6633
41 | -0.013751 | -0.0034463 | 0.013753 | 0.0034473 | 1.8513e-06 | 1.0382e-06 | 0.020737 | 0.020737 | 0.020737 | 0.98671 | -0.25605 | 0.98686 | -0.25322 | 5.6969

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43052 | 0.10878

## res_load
| p_mw | q_mvar
0 | 0.012157 | 0.0030468
1 | 0.0061044 | 0.0015299
2 | 0.0067109 | 0.0016819
3 | 0.0069253 | 0.0017356
4 | 0.006348 | 0.001591
5 | 0.015337 | 0.0038437
6 | 0.035465 | 0.0088883
7 | 0.034342 | 0.0086068
8 | 0.022918 | 0.0057438
9 | 0.0099554 | 0.0024951
10 | 0.010283 | 0.0025772
11 | 0.067074 | 0.01681
12 | 0.013012 | 0.003261
13 | 0.057165 | 0.014327
14 | 0.0039247 | 0.00098363
15 | 0.0048815 | 0.0012234
16 | 0.0090856 | 0.0022771
17 | 0.013634 | 0.003417
18 | 0.0064275 | 0.0016109
19 | 0.0073224 | 0.0018352
20 | 0.0090228 | 0.0022613
21 | 0.026899 | 0.0067416
22 | 0.015644 | 0.0039208
23 | 0.024863 | 0.0062312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1