## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-17_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_141-17_0_5_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_141-17_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_141-17_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_141-17_0_5_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_141-17_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_141-17_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_141-17_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_141-17_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_141-17_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_141-17_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_141-17_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_141-17_0_5_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_141-17_0_5_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_141-17_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_141-17_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_141-17_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_141-17_0_5_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_141-17_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_141-17_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_141-17_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_141-17_0_5_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_141-17_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_141-17_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_141-17_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_141-17_0_5_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_141-17_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_141-17_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_141-17_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_141-17_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_141-17_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_141-17_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_141-17_0_5_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_141-17_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_141-17_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_141-17_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_141-17_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_141-17_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_141-17_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_141-17_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_141-17_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_141-17_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_MV_491_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-17_0_5_load_0 | 0 | 0.025619 | 0.0064208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-17_0_5_load_1 | 1 | 0.011344 | 0.0028431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-17_0_5_load_44 | 6 | 0.006552 | 0.0016421 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-17_0_5_load_42 | 8 | 0.020317 | 0.0050918 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-17_0_5_load_47 | 12 | 0.036732 | 0.009206 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-17_0_5_load_43 | 14 | 0.084448 | 0.021165 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-17_0_5_load_37 | 15 | 0.015547 | 0.0038966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-17_0_5_load_41 | 17 | 0.0073592 | 0.0018444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-17_0_5_load_36 | 18 | 0.025106 | 0.0062922 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-17_0_5_load_45 | 19 | 0.023841 | 0.005975 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-17_0_5_load_24 | 23 | 0.014594 | 0.0036577 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-17_0_5_load_35 | 25 | 0.035178 | 0.0088165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-17_0_5_load_46 | 27 | 0.031795 | 0.0079685 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-17_0_5_load_25 | 29 | 0.013814 | 0.0034621 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-17_0_5_load_22 | 30 | 0.019082 | 0.0047825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-17_0_5_load_30 | 32 | 0.021872 | 0.0054815 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-17_0_5_load_26 | 33 | 0.013526 | 0.0033899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-17_0_5_load_40 | 34 | 0.0053257 | 0.0013348 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-17_0_5_load_27 | 35 | 0.025535 | 0.0063998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-17_0_5_load_23 | 36 | 0.021019 | 0.005268 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-17_0_5_load_31 | 38 | 0.029323 | 0.007349 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-17_0_5_load_32 | 39 | 0.038601 | 0.0096742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-17_0_5_load_48 | 40 | 0.0050838 | 0.0012741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-17_0_5_load_49 | 41 | 0.017197 | 0.0043101 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-17_0_5_load_38 | 42 | 0.0092023 | 0.0023063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-17_0_5_load_39 | 43 | 0.0053283 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-17_0_5_line_0 |  | 0 | 1 | 0.031356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-17_0_5_line_1 |  | 1 | 2 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-17_0_5_line_2 |  | 2 | 3 | 0.0096642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-17_0_5_line_3 |  | 2 | 4 | 0.0078137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-17_0_5_line_4 |  | 3 | 19 | 0.041238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-17_0_5_line_5 |  | 3 | 5 | 0.004435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-17_0_5_line_6 |  | 4 | 18 | 0.030062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_141-17_0_5_line_7 |  | 4 | 13 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-17_0_5_line_8 |  | 5 | 6 | 0.0080893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-17_0_5_line_9 |  | 6 | 7 | 0.040206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-17_0_5_line_10 |  | 7 | 8 | 0.0034194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-17_0_5_line_11 |  | 7 | 9 | 0.025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-17_0_5_line_12 |  | 8 | 16 | 0.035473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-17_0_5_line_13 |  | 9 | 15 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-17_0_5_line_14 |  | 10 | 11 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-17_0_5_line_15 |  | 10 | 12 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-17_0_5_line_16 |  | 11 | 14 | 0.028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-17_0_5_line_17 |  | 13 | 14 | 0.021666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-17_0_5_line_18 |  | 16 | 17 | 0.029897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-17_0_5_line_19 |  | 17 | 34 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-17_0_5_line_20 |  | 18 | 21 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_141-17_0_5_line_21 |  | 20 | 21 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_141-17_0_5_line_22 |  | 20 | 22 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_141-17_0_5_line_23 |  | 20 | 23 | 0.028994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-17_0_5_line_24 |  | 21 | 35 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_141-17_0_5_line_25 |  | 22 | 26 | 0.008339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-17_0_5_line_26 |  | 22 | 27 | 0.0061935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-17_0_5_line_27 |  | 22 | 24 | 0.027719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-17_0_5_line_28 |  | 23 | 36 | 0.024135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-17_0_5_line_29 |  | 24 | 25 | 0.0066924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-17_0_5_line_30 |  | 26 | 37 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-17_0_5_line_31 |  | 26 | 38 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-17_0_5_line_32 |  | 28 | 29 | 0.027901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-17_0_5_line_33 |  | 28 | 30 | 0.017831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-17_0_5_line_34 |  | 30 | 36 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-17_0_5_line_35 |  | 31 | 32 | 0.031593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-17_0_5_line_36 |  | 31 | 33 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_141-17_0_5_line_37 |  | 33 | 35 | 0.0084506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_141-17_0_5_line_38 |  | 34 | 42 | 0.0083128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-17_0_5_line_39 |  | 37 | 40 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-17_0_5_line_40 |  | 38 | 39 | 0.033871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-17_0_5_line_41 |  | 40 | 41 | 0.0082216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-17_0_5_line_42 |  | 42 | 43 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-17_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 44 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2685050.6788 | 1238821.391 | 2685066.2525 | 1238804.9593 | 2685071.9449 | 1238798.3583 | 2685071.9449 | 1238798.3583
1 | 2685082.3553 | 1238785.5983 | 2685078.001 | 1238790.1392 | 2685071.9449 | 1238798.3583
2 | 2685075.5278 | 1238779.0291 | 2685077.506 | 1238780.3473 | 2685079.8966 | 1238781.916 | 2685082.3553 | 1238785.5983
3 | 2685089.3683 | 1238783.9754 | 2685087.4807 | 1238783.2033 | 2685085.2194 | 1238783.6935 | 2685083.4966 | 1238784.6139 | 2685082.3553 | 1238785.5983
4 | 2685075.5278 | 1238779.0291 | 2685071.5654 | 1238784.732 | 2685064.0084 | 1238794.2194 | 2685056.6493 | 1238802.5756 | 2685049.3253 | 1238810.823
5 | 2685073.8647 | 1238775.2581 | 2685075.4755 | 1238776.8712 | 2685075.5278 | 1238779.0291
6 | 2685089.3683 | 1238783.9754 | 2685096.69 | 1238787.7385 | 2685109.735 | 1238795.9313 | 2685114.8451 | 1238799.8274
7 | 2685089.3683 | 1238783.9754 | 2685090.606 | 1238782.0695 | 2685092.4588 | 1238779.472 | 2685094.2448 | 1238776.7845 | 2685095.4107 | 1238775.1334 | 2685094.9047 | 1238773.4916 | 2685095.1462 | 1238771.9495 | 2685096.8195 | 1238769.2049
8 | 2685073.8647 | 1238775.2581 | 2685071.4129 | 1238773.733 | 2685067.3827 | 1238770.4441
9 | 2685039.1893 | 1238741.9154 | 2685041.6188 | 1238744.9968 | 2685055.1801 | 1238759.9351 | 2685063.7711 | 1238767.4969 | 2685067.3827 | 1238770.4441
10 | 2685039.1893 | 1238741.9154 | 2685036.378 | 1238739.9688
11 | 2685039.1893 | 1238741.9154 | 2685041.9298 | 1238737.0178 | 2685043.1267 | 1238734.7889 | 2685048.155 | 1238737.5851 | 2685051.3973 | 1238737.2646 | 2685053.9927 | 1238734.5777 | 2685055.573 | 1238730.4084
12 | 2685005.8573 | 1238721.9684 | 2685028.0814 | 1238734.1953 | 2685034.3355 | 1238738.5546 | 2685036.378 | 1238739.9688
13 | 2685055.573 | 1238730.4084 | 2685055.2534 | 1238716.9509
14 | 2685112.0326 | 1238720.6436 | 2685115.3797 | 1238722.5151 | 2685118.4864 | 1238724.2609 | 2685121.4051 | 1238725.9372 | 2685123.3639 | 1238727.0217
15 | 2685112.0326 | 1238720.6436 | 2685103.1132 | 1238733.3471 | 2685101.1309 | 1238736.1068
16 | 2685123.3639 | 1238727.0217 | 2685120.3066 | 1238732.9043 | 2685110.1219 | 1238748.3805 | 2685108.4828 | 1238750.9465
17 | 2685096.8195 | 1238769.2049 | 2685108.4828 | 1238750.9465
18 | 2685005.8573 | 1238721.9684 | 2685005.2901 | 1238723.5391 | 2685003.6284 | 1238751.7174
19 | 2685003.6284 | 1238751.7174 | 2685003.132 | 1238760.1345 | 2685001.2416 | 1238770.1146 | 2685001.2416 | 1238770.1146
20 | 2685135.1166 | 1238820.5684 | 2685127.179 | 1238811.2368 | 2685117.3301 | 1238801.7221 | 2685114.8451 | 1238799.8274
21 | 2685135.1166 | 1238820.5684 | 2685144.0884 | 1238831.1045 | 2685147.0339 | 1238836.7063
22 | 2685147.0339 | 1238836.7063 | 2685148.2472 | 1238836.5014 | 2685150.8691 | 1238836.1832 | 2685153.161 | 1238835.6712 | 2685154.8983 | 1238835.3181 | 2685156.1111 | 1238836.2028 | 2685157.8777 | 1238837.5068 | 2685159.4496 | 1238838.6635 | 2685160.4376 | 1238839.4004
23 | 2685147.0339 | 1238836.7063 | 2685146.8334 | 1238841.7182 | 2685137.1978 | 1238854.2557 | 2685133.0057 | 1238855.9301 | 2685130.8326 | 1238858.8644
24 | 2685135.1166 | 1238820.5684 | 2685125.4128 | 1238830.1026
25 | 2685155.5371 | 1238846.1573 | 2685160.4376 | 1238839.4004
26 | 2685160.4376 | 1238839.4004 | 2685164.09 | 1238834.3985
27 | 2685145.6441 | 1238819.6853 | 2685148.2921 | 1238822.8255 | 2685150.8233 | 1238825.1412 | 2685153.626 | 1238826.4602 | 2685155.3889 | 1238826.9636 | 2685155.3198 | 1238828.0856 | 2685155.1847 | 1238830.6522 | 2685155.0215 | 1238833.0627 | 2685154.8983 | 1238835.3181 | 2685156.1111 | 1238836.2028 | 2685157.8777 | 1238837.5068 | 2685159.4496 | 1238838.6635 | 2685160.4376 | 1238839.4004
28 | 2685130.8326 | 1238858.8644 | 2685121.1338 | 1238871.9604 | 2685116.6808 | 1238878.4117
29 | 2685145.6441 | 1238819.6853 | 2685148.7217 | 1238816.0824 | 2685147.1407 | 1238814.934
30 | 2685163.0977 | 1238868.048 | 2685160.9664 | 1238860.0117 | 2685155.5371 | 1238846.1573
31 | 2685155.5371 | 1238846.1573 | 2685147.5247 | 1238856.8056 | 2685140.6647 | 1238866.2235
32 | 2685095.1834 | 1238910.7497 | 2685093.4 | 1238909.5677 | 2685091.6079 | 1238908.4635 | 2685072.2884 | 1238894.8114
33 | 2685095.1834 | 1238910.7497 | 2685098.1981 | 1238905.1889 | 2685104.7341 | 1238895.7198
34 | 2685104.7341 | 1238895.7198 | 2685116.6808 | 1238878.4117
35 | 2685094.7718 | 1238820.2232 | 2685093.0953 | 1238829.517 | 2685089.7947 | 1238838.654 | 2685085.5592 | 1238846.5212 | 2685083.6613 | 1238849.4609
36 | 2685094.7718 | 1238820.2232 | 2685115.5849 | 1238822.6677 | 2685118.7121 | 1238825.0646
37 | 2685125.4128 | 1238830.1026 | 2685125.3569 | 1238830.1576 | 2685118.7121 | 1238825.0646
38 | 2684998.4006 | 1238777.9268 | 2685001.2416 | 1238770.1146
39 | 2685163.0977 | 1238868.048 | 2685163.5903 | 1238876.9504 | 2685161.7786 | 1238879.4731
40 | 2685140.6647 | 1238866.2235 | 2685134.2753 | 1238874.9954 | 2685129.4311 | 1238880.9969 | 2685120.824 | 1238893.6538
41 | 2685156.983 | 1238886.1511 | 2685161.7786 | 1238879.4731
42 | 2684998.4006 | 1238777.9268 | 2684997.1546 | 1238781.3531 | 2684991.9285 | 1238791.5254

## bus_geodata
| x | y | coords
0 | 2685050.6789 | 1238821.391
1 | 2685071.945 | 1238798.3583
2 | 2685082.3553 | 1238785.5983
3 | 2685075.5278 | 1238779.0291
4 | 2685089.3683 | 1238783.9754
5 | 2685073.8647 | 1238775.2581
6 | 2685067.3827 | 1238770.4441
7 | 2685039.1893 | 1238741.9154
8 | 2685036.378 | 1238739.9688
9 | 2685055.573 | 1238730.4084
10 | 2685112.0326 | 1238720.6436
11 | 2685123.3639 | 1238727.0216
12 | 2685101.1309 | 1238736.1068
13 | 2685096.8195 | 1238769.2049
14 | 2685108.4828 | 1238750.9465
15 | 2685055.2534 | 1238716.9509
16 | 2685005.8573 | 1238721.9684
17 | 2685003.6284 | 1238751.7174
18 | 2685114.8451 | 1238799.8274
19 | 2685049.3253 | 1238810.823
20 | 2685147.0339 | 1238836.7063
21 | 2685135.1166 | 1238820.5684
22 | 2685160.4376 | 1238839.4004
23 | 2685130.8326 | 1238858.8644
24 | 2685145.6441 | 1238819.6853
25 | 2685147.1407 | 1238814.934
26 | 2685155.5371 | 1238846.1573
27 | 2685164.09 | 1238834.3985
28 | 2685095.1834 | 1238910.7497
29 | 2685072.2884 | 1238894.8114
30 | 2685104.7341 | 1238895.7198
31 | 2685094.7718 | 1238820.2232
32 | 2685083.6613 | 1238849.4609
33 | 2685118.7121 | 1238825.0646
34 | 2685001.2416 | 1238770.1146
35 | 2685125.4128 | 1238830.1026
36 | 2685116.6808 | 1238878.4117
37 | 2685163.0977 | 1238868.048
38 | 2685140.6647 | 1238866.2235
39 | 2685120.824 | 1238893.6538
40 | 2685161.7786 | 1238879.4731
41 | 2685156.983 | 1238886.1511
42 | 2684998.4006 | 1238777.9268
43 | 2684991.9285 | 1238791.5254
44 | 2685082.3553 | 1238785.5983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98673 | -0.25472 | 0.025619 | 0.0064208
1 | 0.98747 | -0.24035 | 0.011344 | 0.0028431
2 | 0.98803 | -0.22945 | 0 | 0
3 | 0.9872 | -0.2456 | 0 | 0
4 | 0.98897 | -0.21127 | 0 | 0
5 | 0.98691 | -0.25112 | 0 | 0
6 | 0.98639 | -0.26121 | 0.006552 | 0.0016421
7 | 0.98405 | -0.30675 | 0 | 0
8 | 0.9839 | -0.30968 | 0.020317 | 0.0050918
9 | 0.98369 | -0.31385 | 0 | 0
10 | 0.98323 | -0.32283 | 0 | 0
11 | 0.98367 | -0.31423 | 0 | 0
12 | 0.98259 | -0.33537 | 0.036732 | 0.009206
13 | 0.98705 | -0.2485 | 0 | 0
14 | 0.98463 | -0.29558 | 0.084448 | 0.021165
15 | 0.9835 | -0.31762 | 0.015547 | 0.0038966
16 | 0.98301 | -0.32708 | 0 | 0
17 | 0.98226 | -0.34177 | 0.0073592 | 0.0018444
18 | 0.99245 | -0.14411 | 0.025106 | 0.0062922
19 | 0.98629 | -0.2632 | 0.023841 | 0.005975
20 | 0.99222 | -0.14875 | 0 | 0
21 | 0.99431 | -0.10859 | 0 | 0
22 | 0.99115 | -0.16947 | 0 | 0
23 | 0.9904 | -0.18398 | 0.014594 | 0.0036577
24 | 0.99026 | -0.18679 | 0 | 0
25 | 0.99004 | -0.19097 | 0.035178 | 0.0088165
26 | 0.99046 | -0.18283 | 0 | 0
27 | 0.99097 | -0.17296 | 0.031795 | 0.0079685
28 | 0.98835 | -0.22386 | 0 | 0
29 | 0.98799 | -0.23074 | 0.013814 | 0.0034621
30 | 0.98857 | -0.21947 | 0.019082 | 0.0047825
31 | 1 | 0 | -0.57119 | -0.14514
32 | 0.99937 | -0.012051 | 0.021872 | 0.0054815
33 | 0.9969 | -0.058926 | 0.013526 | 0.0033899
34 | 0.98192 | -0.34844 | 0.0053257 | 0.0013348
35 | 0.99588 | -0.078508 | 0.025535 | 0.0063998
36 | 0.98921 | -0.20714 | 0.021019 | 0.005268
37 | 0.98999 | -0.19201 | 0 | 0
38 | 0.9889 | -0.21302 | 0.029323 | 0.007349
39 | 0.9877 | -0.23635 | 0.038601 | 0.0096742
40 | 0.98974 | -0.19677 | 0.0050838 | 0.0012741
41 | 0.98961 | -0.19929 | 0.017197 | 0.0043101
42 | 0.98181 | -0.35062 | 0.0092023 | 0.0023063
43 | 0.98174 | -0.35207 | 0.0053283 | 0.0013354
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025619 | -0.0064208 | 0.025637 | 0.0064316 | 1.7551e-05 | 1.0832e-05 | 0.038634 | 0.038634 | 0.038634 | 0.98673 | -0.25472 | 0.98747 | -0.24035 | 10.6139
1 | -0.036981 | -0.0092747 | 0.037 | 0.0092868 | 1.9217e-05 | 1.2088e-05 | 0.055729 | 0.055729 | 0.055729 | 0.98747 | -0.24035 | 0.98803 | -0.22945 | 15.3101
2 | 0.093819 | 0.023645 | -0.093746 | -0.023599 | 7.24e-05 | 4.6212e-05 | 0.14134 | 0.14134 | 0.14134 | 0.98803 | -0.22945 | 0.9872 | -0.2456 | 38.8302
3 | -0.13082 | -0.032932 | 0.13093 | 0.033004 | 0.0001138 | 7.273e-05 | 0.19707 | 0.19707 | 0.19707 | 0.98803 | -0.22945 | 0.98897 | -0.21127 | 54.1402
4 | 0.023861 | 0.0059873 | -0.023841 | -0.005975 | 2.0006e-05 | 1.2277e-05 | 0.035968 | 0.035968 | 0.035968 | 0.9872 | -0.2456 | 0.98629 | -0.2632 | 9.8813
5 | 0.069886 | 0.017611 | -0.069867 | -0.0176 | 1.8467e-05 | 1.1762e-05 | 0.10537 | 0.10537 | 0.10537 | 0.9872 | -0.2456 | 0.98691 | -0.25112 | 28.9489
6 | -0.25267 | -0.063732 | 0.25349 | 0.064253 | 0.0008153 | 0.00052102 | 0.38032 | 0.38032 | 0.38032 | 0.98897 | -0.21127 | 0.99245 | -0.14411 | 52.2415
7 | 0.12174 | 0.030727 | -0.12152 | -0.030589 | 0.00021665 | 0.00013843 | 0.18325 | 0.18325 | 0.18325 | 0.98897 | -0.21127 | 0.98705 | -0.2485 | 50.3428
8 | 0.069867 | 0.0176 | -0.069834 | -0.017578 | 3.3683e-05 | 2.1454e-05 | 0.10537 | 0.10537 | 0.10537 | 0.98691 | -0.25112 | 0.98639 | -0.26121 | 28.9489
9 | 0.063282 | 0.015936 | -0.063144 | -0.015849 | 0.00013748 | 8.7476e-05 | 0.09549 | 0.09549 | 0.09549 | 0.98639 | -0.26121 | 0.98405 | -0.30675 | 26.2336
10 | 0.047589 | 0.011947 | -0.047582 | -0.011943 | 6.6413e-06 | 4.207e-06 | 0.071967 | 0.071967 | 0.071967 | 0.98405 | -0.30675 | 0.9839 | -0.30968 | 19.7713
11 | 0.015555 | 0.0039012 | -0.01555 | -0.0038982 | 5.2597e-06 | 3.0443e-06 | 0.023523 | 0.023523 | 0.023523 | 0.98405 | -0.30675 | 0.98369 | -0.31385 | 6.4623
12 | 0.027265 | 0.0068514 | -0.027243 | -0.0068374 | 2.2626e-05 | 1.403e-05 | 0.041242 | 0.041242 | 0.041242 | 0.9839 | -0.30968 | 0.98301 | -0.32708 | 11.3301
13 | 0.01555 | 0.0038982 | -0.015547 | -0.0038966 | 2.7932e-06 | 1.6168e-06 | 0.023523 | 0.023523 | 0.023523 | 0.98369 | -0.31385 | 0.9835 | -0.31762 | 6.4624
14 | -0.036754 | -0.0092198 | 0.036769 | 0.0092293 | 1.5089e-05 | 9.4917e-06 | 0.055627 | 0.055627 | 0.055627 | 0.98323 | -0.32283 | 0.98367 | -0.31423 | 15.282
15 | 0.036754 | 0.0092198 | -0.036732 | -0.009206 | 2.1954e-05 | 1.3811e-05 | 0.055627 | 0.055627 | 0.055627 | 0.98323 | -0.32283 | 0.98259 | -0.33537 | 15.2821
16 | -0.036769 | -0.0092293 | 0.036802 | 0.0092499 | 3.2724e-05 | 2.0585e-05 | 0.055627 | 0.055626 | 0.055627 | 0.98367 | -0.31423 | 0.98463 | -0.29558 | 15.282
17 | 0.12152 | 0.030589 | -0.12125 | -0.030415 | 0.00027282 | 0.00017433 | 0.18325 | 0.18325 | 0.18325 | 0.98705 | -0.2485 | 0.98463 | -0.29558 | 50.3429
18 | 0.027243 | 0.0068374 | -0.027224 | -0.0068256 | 1.9069e-05 | 1.1826e-05 | 0.041242 | 0.041242 | 0.041242 | 0.98301 | -0.32708 | 0.98226 | -0.34177 | 11.3302
19 | 0.019865 | 0.0049812 | -0.019858 | -0.0049774 | 6.3131e-06 | 3.8051e-06 | 0.030093 | 0.030094 | 0.030094 | 0.98226 | -0.34177 | 0.98192 | -0.34844 | 8.2675
20 | -0.27859 | -0.070545 | 0.27907 | 0.070848 | 0.00047609 | 0.00030319 | 0.41796 | 0.41796 | 0.41796 | 0.99245 | -0.14411 | 0.99431 | -0.10859 | 28.7061
21 | -0.2263 | -0.056952 | 0.22674 | 0.05723 | 0.00043531 | 0.00027808 | 0.33946 | 0.33946 | 0.33946 | 0.99222 | -0.14875 | 0.99431 | -0.10859 | 46.6297
22 | 0.15759 | 0.039654 | -0.15743 | -0.039555 | 0.00015584 | 9.9356e-05 | 0.23639 | 0.23639 | 0.23639 | 0.99222 | -0.14875 | 0.99115 | -0.16947 | 32.4713
23 | 0.068712 | 0.017298 | -0.068597 | -0.017224 | 0.00011551 | 7.3554e-05 | 0.10307 | 0.10307 | 0.10307 | 0.99222 | -0.14875 | 0.9904 | -0.18398 | 28.3169
24 | -0.50581 | -0.12808 | 0.50654 | 0.12855 | 0.00073166 | 0.00046756 | 0.75742 | 0.75742 | 0.75742 | 0.99431 | -0.10859 | 0.99588 | -0.078508 | 52.0208
25 | 0.09042 | 0.022744 | -0.090362 | -0.022707 | 5.765e-05 | 3.6788e-05 | 0.13578 | 0.13578 | 0.13578 | 0.99115 | -0.16947 | 0.99046 | -0.18283 | 37.3014
26 | 0.0318 | 0.0079718 | -0.031795 | -0.0079685 | 5.2938e-06 | 3.3082e-06 | 0.047742 | 0.047742 | 0.047742 | 0.99115 | -0.16947 | 0.99097 | -0.17296 | 13.1159
27 | 0.035214 | 0.0088392 | -0.035185 | -0.0088209 | 2.9058e-05 | 1.824e-05 | 0.052872 | 0.052872 | 0.052872 | 0.99115 | -0.16947 | 0.99026 | -0.18679 | 14.5253
28 | 0.054002 | 0.013567 | -0.053943 | -0.013529 | 5.9597e-05 | 3.7832e-05 | 0.081147 | 0.081147 | 0.081147 | 0.9904 | -0.18398 | 0.98921 | -0.20714 | 22.2931
29 | 0.035185 | 0.0088209 | -0.035178 | -0.0088165 | 7.0157e-06 | 4.404e-06 | 0.052872 | 0.052872 | 0.052872 | 0.99026 | -0.18679 | 0.99004 | -0.19097 | 14.5254
30 | 0.022298 | 0.0055944 | -0.022288 | -0.0055885 | 9.7598e-06 | 5.948e-06 | 0.033501 | 0.033502 | 0.033502 | 0.99046 | -0.18283 | 0.98999 | -0.19201 | 9.2037
31 | 0.068064 | 0.017113 | -0.067966 | -0.01705 | 9.7977e-05 | 6.2385e-05 | 0.10228 | 0.10228 | 0.10228 | 0.99046 | -0.18283 | 0.9889 | -0.21302 | 28.0977
32 | 0.013819 | 0.0034647 | -0.013814 | -0.0034621 | 4.529e-06 | 2.5411e-06 | 0.020805 | 0.020805 | 0.020805 | 0.98835 | -0.22386 | 0.98799 | -0.23074 | 5.7158
33 | -0.013819 | -0.0034647 | 0.013822 | 0.0034663 | 2.8944e-06 | 1.6238e-06 | 0.020805 | 0.020805 | 0.020805 | 0.98835 | -0.22386 | 0.98857 | -0.21947 | 5.7157
34 | -0.032904 | -0.0082488 | 0.032923 | 0.0082609 | 1.9346e-05 | 1.2112e-05 | 0.049528 | 0.049528 | 0.049528 | 0.98857 | -0.21947 | 0.98921 | -0.20714 | 13.6067
35 | 0.021884 | 0.0054892 | -0.021872 | -0.0054815 | 1.2564e-05 | 7.6269e-06 | 0.032565 | 0.032566 | 0.032566 | 1 | 0 | 0.99937 | -0.012051 | 8.9466
36 | 0.54765 | 0.13965 | -0.5461 | -0.13866 | 0.0015532 | 0.00099277 | 0.81577 | 0.81577 | 0.81577 | 1 | 0 | 0.9969 | -0.058926 | 56.0279
37 | 0.53258 | 0.13527 | -0.53207 | -0.13495 | 0.00050144 | 0.00032048 | 0.79558 | 0.79558 | 0.79558 | 0.9969 | -0.058926 | 0.99588 | -0.078508 | 54.6413
38 | 0.014532 | 0.0036426 | -0.014531 | -0.0036418 | 1.5119e-06 | 8.6248e-07 | 0.022023 | 0.022023 | 0.022023 | 0.98192 | -0.34844 | 0.98181 | -0.35062 | 6.0503
39 | 0.022288 | 0.0055885 | -0.022283 | -0.0055854 | 5.0598e-06 | 3.0837e-06 | 0.033502 | 0.033502 | 0.033502 | 0.98999 | -0.19201 | 0.98974 | -0.19677 | 9.2037
40 | 0.038644 | 0.0097013 | -0.038601 | -0.0096742 | 4.2954e-05 | 2.7057e-05 | 0.058153 | 0.058153 | 0.058153 | 0.9889 | -0.21302 | 0.9877 | -0.23635 | 15.9762
41 | 0.017199 | 0.0043113 | -0.017197 | -0.0043101 | 2.0615e-06 | 1.2137e-06 | 0.025858 | 0.025858 | 0.025858 | 0.98974 | -0.19677 | 0.98961 | -0.19929 | 7.104
42 | 0.0053287 | 0.0013355 | -0.0053283 | -0.0013354 | 3.6889e-07 | 4.5372e-08 | 0.0080761 | 0.0080762 | 0.0080762 | 0.98181 | -0.35062 | 0.98174 | -0.35207 | 2.2187

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57119 | 0.14514

## res_load
| p_mw | q_mvar
0 | 0.025619 | 0.0064208
1 | 0.011344 | 0.0028431
2 | 0.006552 | 0.0016421
3 | 0.020317 | 0.0050918
4 | 0.036732 | 0.009206
5 | 0.084448 | 0.021165
6 | 0.015547 | 0.0038966
7 | 0.0073592 | 0.0018444
8 | 0.025106 | 0.0062922
9 | 0.023841 | 0.005975
10 | 0.014594 | 0.0036577
11 | 0.035178 | 0.0088165
12 | 0.031795 | 0.0079685
13 | 0.013814 | 0.0034621
14 | 0.019082 | 0.0047825
15 | 0.021872 | 0.0054815
16 | 0.013526 | 0.0033899
17 | 0.0053257 | 0.0013348
18 | 0.025535 | 0.0063998
19 | 0.021019 | 0.005268
20 | 0.029323 | 0.007349
21 | 0.038601 | 0.0096742
22 | 0.0050838 | 0.0012741
23 | 0.017197 | 0.0043101
24 | 0.0092023 | 0.0023063
25 | 0.0053283 | 0.0013354

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1