## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_141-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-1_0_5_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_141-1_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_141-1_0_5_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_141-1_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_141-1_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_141-1_0_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_141-1_0_5_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_141-1_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_141-1_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_141-1_0_5_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_141-1_0_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_141-1_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_141-1_0_5_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_141-1_0_5_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_141-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_141-1_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_141-1_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_141-1_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_141-1_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_141-1_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_141-1_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_141-1_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_141-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_141-1_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_141-1_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_141-1_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_141-1_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_141-1_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_141-1_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_141-1_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_141-1_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_141-1_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_141-1_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_141-1_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_141-1_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_141-1_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_141-1_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_141-1_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_MV_491_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-1_0_5_load_0 | 0 | 0.026515 | 0.0066453 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-1_0_5_load_20 | 4 | 0.024335 | 0.0060989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-1_0_5_load_35 | 6 | 0.026259 | 0.0065811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-1_0_5_load_37 | 9 | 0.024177 | 0.0060594 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-1_0_5_load_40 | 10 | 0.025796 | 0.0064652 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-1_0_5_load_38 | 13 | 0.012811 | 0.0032107 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-1_0_5_load_39 | 14 | 0.026601 | 0.0066669 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-1_0_5_load_34 | 16 | 0.011705 | 0.0029337 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-1_0_5_load_36 | 19 | 0.0070764 | 0.0017735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-1_0_5_load_25 | 21 | 0.090132 | 0.022589 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-1_0_5_load_33 | 23 | 0.011978 | 0.0030021 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-1_0_5_load_30 | 27 | 0.0047541 | 0.0011915 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-1_0_5_load_31 | 29 | 0.0106 | 0.0026567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-1_0_5_load_42 | 30 | 0.015315 | 0.0038382 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-1_0_5_load_29 | 33 | 0.0019491 | 0.00048849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-1_0_5_load_28 | 34 | 0.0023223 | 0.00058202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-1_0_5_load_41 | 35 | 0.010485 | 0.0026278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-1_0_5_load_27 | 37 | 0.0028396 | 0.00071168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-1_0_5_load_26 | 38 | 0.0076637 | 0.0019207 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-1_0_5_load_23 | 40 | 0.034075 | 0.0085399 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-1_0_5_load_24 | 41 | 0.034353 | 0.0086097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-1_0_5_line_0 |  | 0 | 1 | 0.059632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-1_0_5_line_1 |  | 0 | 2 | 0.066506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-1_0_5_line_2 |  | 1 | 3 | 0.031865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_141-1_0_5_line_3 |  | 2 | 4 | 0.0031396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-1_0_5_line_4 |  | 3 | 5 | 0.04009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_141-1_0_5_line_5 |  | 3 | 6 | 0.061072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_141-1_0_5_line_6 |  | 4 | 36 | 0.043854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-1_0_5_line_7 |  | 5 | 13 | 0.007446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-1_0_5_line_8 |  | 5 | 12 | 0.044931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-1_0_5_line_9 |  | 6 | 26 | 0.020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_141-1_0_5_line_10 |  | 7 | 8 | 0.031275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-1_0_5_line_11 |  | 7 | 9 | 0.005499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-1_0_5_line_12 |  | 8 | 10 | 0.018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-1_0_5_line_13 |  | 8 | 11 | 0.067616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-1_0_5_line_14 |  | 8 | 12 | 0.077385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-1_0_5_line_15 |  | 11 | 30 | 0.00409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-1_0_5_line_16 |  | 11 | 31 | 0.062241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-1_0_5_line_17 |  | 12 | 14 | 0.006661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-1_0_5_line_18 |  | 15 | 16 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-1_0_5_line_19 |  | 15 | 17 | 0.023329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-1_0_5_line_20 |  | 17 | 29 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-1_0_5_line_21 |  | 18 | 19 | 0.068586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-1_0_5_line_22 |  | 18 | 20 | 0.2621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-1_0_5_line_23 |  | 20 | 21 | 0.050345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-1_0_5_line_24 |  | 21 | 28 | 0.032652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-1_0_5_line_25 |  | 22 | 23 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-1_0_5_line_26 |  | 22 | 24 | 0.03471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-1_0_5_line_27 |  | 22 | 25 | 0.035916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-1_0_5_line_28 |  | 24 | 26 | 0.040708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_141-1_0_5_line_29 |  | 24 | 27 | 0.051252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-1_0_5_line_30 |  | 25 | 29 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-1_0_5_line_31 |  | 26 | 28 | 0.0061538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-1_0_5_line_32 |  | 31 | 35 | 0.003446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-1_0_5_line_33 |  | 31 | 32 | 0.059958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-1_0_5_line_34 |  | 32 | 33 | 0.017774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-1_0_5_line_35 |  | 32 | 34 | 0.0091725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-1_0_5_line_36 |  | 34 | 37 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-1_0_5_line_37 |  | 36 | 39 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-1_0_5_line_38 |  | 36 | 40 | 0.0089404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-1_0_5_line_39 |  | 37 | 38 | 0.026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-1_0_5_line_40 |  | 39 | 41 | 0.009788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-1_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 42 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2685105.6919 | 1239067.8464 | 2685142.2643 | 1239020.7465
1 | 2685183.0526 | 1238968.2173 | 2685142.2643 | 1239020.7465
2 | 2685105.6919 | 1239067.8464 | 2685108.6204 | 1239070.4013 | 2685101.4376 | 1239080.1943 | 2685104.3832 | 1239082.616 | 2685105.2505 | 1239083.329 | 2685110.7547 | 1239076.1249 | 2685112.5733 | 1239075.9064
3 | 2685183.0526 | 1238968.2173 | 2685181.6369 | 1238967.2407 | 2685180.4607 | 1238966.4455
4 | 2685112.5733 | 1239075.9064 | 2685102.8119 | 1239095.6584 | 2685107.5288 | 1239099.5733 | 2685116.7009 | 1239107.1991
5 | 2685112.5733 | 1239075.9064 | 2685114.1818 | 1239075.0399 | 2685129.987 | 1239054.2404 | 2685129.6419 | 1239051.4001 | 2685138.2265 | 1239039.3367 | 2685142.8181 | 1239034.0654 | 2685148.8083 | 1239028.0864
6 | 2685147.9666 | 1238959.3967 | 2685171.1795 | 1238977.487 | 2685180.4607 | 1238966.4455
7 | 2685116.7009 | 1239107.1991 | 2685110.4844 | 1239111.3241
8 | 2685116.7009 | 1239107.1991 | 2685117.5834 | 1239107.9011 | 2685119.8498 | 1239109.6794 | 2685121.3387 | 1239110.8237 | 2685126.6712 | 1239115.5925 | 2685127.7224 | 1239114.5513 | 2685142.2775 | 1239125.5233 | 2685150.0894 | 1239116.1731
9 | 2685163.3706 | 1239014.5572 | 2685161.6286 | 1239014.7101 | 2685159.0144 | 1239016.0736 | 2685152.4493 | 1239024.4521 | 2685148.8083 | 1239028.0864
10 | 2685189.8895 | 1239167.503 | 2685188.7685 | 1239166.5529 | 2685185.2324 | 1239163.6445 | 2685182.4656 | 1239161.4143 | 2685183.8284 | 1239159.7438 | 2685195.4472 | 1239145.5113 | 2685194.5882 | 1239144.754
11 | 2685198.0834 | 1239140.5011 | 2685194.5882 | 1239144.754
12 | 2685189.8895 | 1239167.503 | 2685188.766 | 1239168.8323 | 2685184.5365 | 1239165.7471 | 2685177.7473 | 1239174.4671
13 | 2685189.8895 | 1239167.503 | 2685194.7643 | 1239171.4758 | 2685198.3908 | 1239174.4077 | 2685199.6546 | 1239175.4265 | 2685202.5806 | 1239177.6256 | 2685210.7817 | 1239184.3704 | 2685211.5517 | 1239185.0041 | 2685215.753 | 1239188.4669 | 2685220.3964 | 1239192.2251 | 2685214.7227 | 1239199.1153 | 2685208.79 | 1239206.6578 | 2685202.711 | 1239214.3762
14 | 2685150.0894 | 1239116.1731 | 2685151.7946 | 1239117.5318 | 2685142.9414 | 1239128.813 | 2685149.9875 | 1239134.8739 | 2685150.3993 | 1239135.1689 | 2685153.5681 | 1239137.8496 | 2685154.9483 | 1239138.6589 | 2685159.5362 | 1239142.5942 | 2685160.9785 | 1239143.8269 | 2685164.401 | 1239146.7447 | 2685165.7388 | 1239147.8758 | 2685170.3672 | 1239151.6227 | 2685173.0584 | 1239153.8517 | 2685174.6132 | 1239155.1416 | 2685178.0835 | 1239157.8934 | 2685182.4656 | 1239161.4143 | 2685185.2324 | 1239163.6445 | 2685188.7685 | 1239166.5529 | 2685189.8895 | 1239167.503
15 | 2685199.4178 | 1239211.9383 | 2685202.711 | 1239214.3762
16 | 2685202.711 | 1239214.3762 | 2685208.79 | 1239206.6578 | 2685214.7227 | 1239199.1153 | 2685220.3964 | 1239192.2251 | 2685222.7386 | 1239193.9933 | 2685225.1871 | 1239190.993 | 2685229.445 | 1239185.7725 | 2685232.8954 | 1239182.0082 | 2685236.8183 | 1239180.1076 | 2685243.6494 | 1239171.6329
17 | 2685154.361 | 1239111.0529 | 2685150.0894 | 1239116.1731
18 | 2685192.1275 | 1239076.9367 | 2685192.4793 | 1239079.8327 | 2685190.8941 | 1239087.5043
19 | 2685212.9939 | 1239091.9357 | 2685203.7165 | 1239092.7142 | 2685197.59 | 1239091.6145 | 2685190.8941 | 1239087.5043
20 | 2685212.9939 | 1239091.9357 | 2685217.2088 | 1239093.4083 | 2685223.2746 | 1239091.8832 | 2685226.784 | 1239089.4886
21 | 2685288.1479 | 1239058.5905 | 2685295.7336 | 1239066.0493 | 2685271.1421 | 1239091.8369 | 2685267.3185 | 1239093.6722 | 2685262.1696 | 1239092.9756 | 2685257.0661 | 1239089.1218 | 2685255.8721 | 1239086.9364 | 2685256.0738 | 1239085.0045 | 2685257.1445 | 1239083.1408
22 | 2685216.7199 | 1238943.6048 | 2685218.5316 | 1238944.9206 | 2685220.9914 | 1238943.2436 | 2685230.7383 | 1238936.6565 | 2685251.3691 | 1238920.163 | 2685264.8378 | 1238926.2163 | 2685307.4894 | 1238955.4831 | 2685321.4339 | 1238967.8924 | 2685347.9647 | 1238990.3564 | 2685343.0549 | 1238993.0211 | 2685342.7026 | 1238997.5304 | 2685341.2295 | 1239001.601 | 2685331.8803 | 1239012.619 | 2685331.5282 | 1239015.5383 | 2685333.4552 | 1239020.4028 | 2685332.9928 | 1239023.6318 | 2685320.751 | 1239038.5444 | 2685316.4514 | 1239042.441 | 2685311.1936 | 1239044.0555 | 2685306.6352 | 1239045.9581 | 2685303.3405 | 1239048.8795 | 2685299.9259 | 1239052.7777 | 2685296.5122 | 1239055.564 | 2685292.377 | 1239057.4949 | 2685288.1479 | 1239058.5905
23 | 2685216.7199 | 1238943.6048 | 2685216.2216 | 1238946.6999 | 2685187.145 | 1238983.893
24 | 2685167.0345 | 1239009.6173 | 2685187.145 | 1238983.893
25 | 2685213.0397 | 1239053.9757 | 2685225.83 | 1239052.4693
26 | 2685196.2608 | 1239030.874 | 2685192.8632 | 1239032.0149 | 2685194.7296 | 1239036.3671 | 2685195.4582 | 1239039.3574 | 2685201.4039 | 1239043.568 | 2685204.746 | 1239048.9309 | 2685213.0397 | 1239053.9757
27 | 2685213.0397 | 1239053.9757 | 2685215.2832 | 1239058.9337 | 2685223.4784 | 1239063.4657 | 2685231.005 | 1239072.4135 | 2685233.2037 | 1239073.6459 | 2685235.9191 | 1239074.1852 | 2685240.0584 | 1239073.5442
28 | 2685163.3706 | 1239014.5572 | 2685163.6486 | 1239014.1609 | 2685165.0922 | 1239012.1357 | 2685178.8093 | 1239021.9506 | 2685192.8632 | 1239032.0149 | 2685196.2608 | 1239030.874
29 | 2685196.2608 | 1239030.874 | 2685199.0878 | 1239031.5483 | 2685201.3022 | 1239031.1576 | 2685229.2648 | 1238994.51
30 | 2685240.0584 | 1239073.5442 | 2685228.4615 | 1239088.344 | 2685226.784 | 1239089.4886
31 | 2685163.3706 | 1239014.5572 | 2685163.6486 | 1239014.1609 | 2685165.0922 | 1239012.1357 | 2685166.4423 | 1239010.2982 | 2685167.0345 | 1239009.6173
32 | 2685241.0036 | 1239169.4156 | 2685243.6494 | 1239171.6329
33 | 2685243.6494 | 1239171.6329 | 2685236.8183 | 1239180.1076 | 2685239.9083 | 1239182.9985 | 2685246.6285 | 1239176.4569 | 2685254.2503 | 1239169.8171 | 2685258.7781 | 1239165.8237 | 2685266.6735 | 1239158.0426 | 2685272.2595 | 1239151.9962
34 | 2685272.2595 | 1239151.9962 | 2685258.2712 | 1239141.0299
35 | 2685272.2595 | 1239151.9962 | 2685278.4855 | 1239145.2603
36 | 2685288.0211 | 1239134.9437 | 2685278.4855 | 1239145.2603
37 | 2685147.9666 | 1238959.3967 | 2685136.0122 | 1238950.0853
38 | 2685147.9666 | 1238959.3967 | 2685153.5947 | 1238952.4501
39 | 2685288.0211 | 1239134.9437 | 2685291.561 | 1239131.1139 | 2685306.334 | 1239115.6315
40 | 2685142.3002 | 1238942.57 | 2685136.0122 | 1238950.0853

## bus_geodata
| x | y | coords
0 | 2685142.2643 | 1239020.7465
1 | 2685105.6919 | 1239067.8464
2 | 2685183.0526 | 1238968.2173
3 | 2685112.5733 | 1239075.9064
4 | 2685180.4607 | 1238966.4455
5 | 2685116.7009 | 1239107.1991
6 | 2685148.8083 | 1239028.0864
7 | 2685194.5882 | 1239144.754
8 | 2685189.8895 | 1239167.503
9 | 2685198.0834 | 1239140.5011
10 | 2685177.7473 | 1239174.4671
11 | 2685202.711 | 1239214.3762
12 | 2685150.0894 | 1239116.1731
13 | 2685110.4844 | 1239111.3241
14 | 2685154.361 | 1239111.0529
15 | 2685190.8941 | 1239087.5043
16 | 2685192.1275 | 1239076.9367
17 | 2685212.9939 | 1239091.9357
18 | 2685288.1479 | 1239058.5905
19 | 2685257.1445 | 1239083.1408
20 | 2685216.7199 | 1238943.6048
21 | 2685187.145 | 1238983.893
22 | 2685213.0397 | 1239053.9757
23 | 2685225.83 | 1239052.4693
24 | 2685196.2608 | 1239030.874
25 | 2685240.0584 | 1239073.5442
26 | 2685163.3706 | 1239014.5572
27 | 2685229.2648 | 1238994.51
28 | 2685167.0345 | 1239009.6173
29 | 2685226.784 | 1239089.4886
30 | 2685199.4178 | 1239211.9383
31 | 2685243.6494 | 1239171.6329
32 | 2685272.2595 | 1239151.9962
33 | 2685258.2712 | 1239141.0299
34 | 2685278.4855 | 1239145.2603
35 | 2685241.0036 | 1239169.4156
36 | 2685147.9666 | 1238959.3967
37 | 2685288.0211 | 1239134.9437
38 | 2685306.334 | 1239115.6315
39 | 2685136.0122 | 1238950.0853
40 | 2685153.5947 | 1238952.4501
41 | 2685142.3002 | 1238942.57
42 | 2685192.8632 | 1239032.0149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98044 | -0.3738 | 0.026515 | 0.0066453
1 | 0.98707 | -0.24569 | 0 | 0
2 | 0.97468 | -0.48632 | 0 | 0
3 | 0.98884 | -0.21176 | 0 | 0
4 | 0.97441 | -0.49167 | 0.024335 | 0.0060989
5 | 0.98723 | -0.24277 | 0 | 0
6 | 0.99357 | -0.12173 | 0.026259 | 0.0065811
7 | 0.9751 | -0.47865 | 0 | 0
8 | 0.97581 | -0.4648 | 0 | 0
9 | 0.97498 | -0.48109 | 0.024177 | 0.0060594
10 | 0.97537 | -0.47331 | 0.025796 | 0.0064652
11 | 0.97325 | -0.51516 | 0 | 0
12 | 0.98233 | -0.33738 | 0 | 0
13 | 0.98714 | -0.24447 | 0.012811 | 0.0032107
14 | 0.98217 | -0.34058 | 0.026601 | 0.0066669
15 | 0.99736 | -0.050757 | 0 | 0
16 | 0.99725 | -0.052962 | 0.011705 | 0.0029337
17 | 0.99761 | -0.045973 | 0 | 0
18 | 0.98984 | -0.19447 | 0 | 0
19 | 0.9894 | -0.20311 | 0.0070764 | 0.0017735
20 | 0.99154 | -0.16151 | 0 | 0
21 | 0.99187 | -0.15518 | 0.090132 | 0.022589
22 | 0.99892 | -0.020766 | 0 | 0
23 | 0.99878 | -0.023453 | 0.011978 | 0.0030021
24 | 1 | 0 | -0.42012 | -0.10748
25 | 0.99819 | -0.034772 | 0 | 0
26 | 0.99532 | -0.088574 | 0 | 0
27 | 0.99978 | -0.0042485 | 0.0047541 | 0.0011915
28 | 0.99477 | -0.099106 | 0 | 0
29 | 0.99777 | -0.042905 | 0.0106 | 0.0026567
30 | 0.97319 | -0.51631 | 0.015315 | 0.0038382
31 | 0.97178 | -0.54414 | 0 | 0
32 | 0.97095 | -0.56051 | 0 | 0
33 | 0.97092 | -0.56115 | 0.0019491 | 0.00048849
34 | 0.97084 | -0.56268 | 0.0023223 | 0.00058202
35 | 0.97174 | -0.54481 | 0.010485 | 0.0026278
36 | 0.97161 | -0.54691 | 0 | 0
37 | 0.9707 | -0.56541 | 0.0028396 | 0.00071168
38 | 0.97051 | -0.56919 | 0.0076637 | 0.0019207
39 | 0.97113 | -0.55651 | 0 | 0
40 | 0.97133 | -0.55254 | 0.034075 | 0.0085399
41 | 0.97081 | -0.56273 | 0.034353 | 0.0086097
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12002 | -0.030367 | 0.12076 | 0.030842 | 0.00074282 | 0.00047465 | 0.18226 | 0.18226 | 0.18226 | 0.98044 | -0.3738 | 0.98707 | -0.24569 | 50.071
1 | 0.093505 | 0.023722 | -0.093002 | -0.023401 | 0.000503 | 0.00032109 | 0.14202 | 0.14202 | 0.14202 | 0.98044 | -0.3738 | 0.97468 | -0.48632 | 39.0156
2 | -0.12076 | -0.030842 | 0.12096 | 0.030968 | 0.00019847 | 0.0001262 | 0.18226 | 0.18226 | 0.18226 | 0.98707 | -0.24569 | 0.98884 | -0.21176 | 25.0354
3 | 0.093002 | 0.023401 | -0.092979 | -0.023386 | 2.3746e-05 | 1.5158e-05 | 0.14202 | 0.14202 | 0.14202 | 0.97468 | -0.48632 | 0.97441 | -0.49167 | 39.0156
4 | 0.13143 | 0.033507 | -0.13124 | -0.033383 | 0.00019643 | 0.00012418 | 0.19799 | 0.19799 | 0.19799 | 0.98884 | -0.21176 | 0.98723 | -0.24277 | 18.1306
5 | -0.2524 | -0.064475 | 0.2535 | 0.065179 | 0.0011038 | 0.00070404 | 0.38024 | 0.38024 | 0.38024 | 0.98884 | -0.21176 | 0.99357 | -0.12173 | 34.8208
6 | 0.068644 | 0.017287 | -0.068463 | -0.017172 | 0.00018081 | 0.00011517 | 0.10486 | 0.10486 | 0.10486 | 0.97441 | -0.49167 | 0.97161 | -0.54691 | 28.8064
7 | 0.012812 | 0.0032112 | -0.012811 | -0.0032107 | 1.0413e-06 | 5.712e-07 | 0.019311 | 0.019311 | 0.019311 | 0.98723 | -0.24277 | 0.98714 | -0.24447 | 5.3052
8 | 0.11843 | 0.030172 | -0.11789 | -0.029828 | 0.00053791 | 0.00034369 | 0.17868 | 0.17868 | 0.17868 | 0.98723 | -0.24277 | 0.98233 | -0.33738 | 49.0867
9 | -0.27976 | -0.07176 | 0.28021 | 0.072048 | 0.00045078 | 0.0002877 | 0.41957 | 0.41957 | 0.41957 | 0.99357 | -0.12173 | 0.99532 | -0.088574 | 38.422
10 | -0.02418 | -0.0060612 | 0.024196 | 0.006071 | 1.5969e-05 | 9.8297e-06 | 0.0369 | 0.036899 | 0.0369 | 0.9751 | -0.47865 | 0.97581 | -0.4648 | 10.1372
11 | 0.02418 | 0.0060612 | -0.024177 | -0.0060594 | 2.8077e-06 | 1.7284e-06 | 0.0369 | 0.0369 | 0.0369 | 0.9751 | -0.47865 | 0.97498 | -0.48109 | 10.1373
12 | 0.025807 | 0.0064717 | -0.025796 | -0.0064652 | 1.0457e-05 | 6.4674e-06 | 0.039355 | 0.039355 | 0.039355 | 0.97581 | -0.4648 | 0.97537 | -0.47331 | 10.8117
13 | 0.040724 | 0.010261 | -0.040626 | -0.0102 | 9.7848e-05 | 6.178e-05 | 0.06212 | 0.062121 | 0.062121 | 0.97581 | -0.4648 | 0.97325 | -0.51516 | 17.0662
14 | -0.090727 | -0.022804 | 0.091283 | 0.023159 | 0.00055564 | 0.00035464 | 0.13837 | 0.13837 | 0.13837 | 0.97581 | -0.4648 | 0.98233 | -0.33738 | 38.015
15 | 0.015315 | 0.0038387 | -0.015315 | -0.0038382 | 8.4099e-07 | 4.8741e-07 | 0.023416 | 0.023416 | 0.023416 | 0.97325 | -0.51516 | 0.97319 | -0.51631 | 6.433
16 | 0.025311 | 0.0063609 | -0.025276 | -0.0063393 | 3.4965e-05 | 2.1605e-05 | 0.038705 | 0.038705 | 0.038705 | 0.97325 | -0.51516 | 0.97178 | -0.54414 | 10.6332
17 | 0.026605 | 0.0066694 | -0.026601 | -0.0066669 | 4.0571e-06 | 2.5122e-06 | 0.040302 | 0.040302 | 0.040302 | 0.98233 | -0.33738 | 0.98217 | -0.34058 | 11.0719
18 | 0.011707 | 0.0029343 | -0.011705 | -0.0029337 | 1.23e-06 | 6.4691e-07 | 0.017466 | 0.017466 | 0.017466 | 0.99736 | -0.050757 | 0.99725 | -0.052962 | 4.7984
19 | -0.011707 | -0.0029343 | 0.011709 | 0.0029357 | 2.6688e-06 | 1.4035e-06 | 0.017466 | 0.017466 | 0.017466 | 0.99736 | -0.050757 | 0.99761 | -0.045973 | 4.7984
20 | -0.011709 | -0.0029357 | 0.011711 | 0.0029366 | 1.7123e-06 | 9.0039e-07 | 0.017466 | 0.017466 | 0.017466 | 0.99761 | -0.045973 | 0.99777 | -0.042905 | 4.7983
21 | 0.0070793 | 0.0017745 | -0.0070764 | -0.0017735 | 2.9131e-06 | 9.8315e-07 | 0.010642 | 0.010643 | 0.010643 | 0.98984 | -0.19447 | 0.9894 | -0.20311 | 2.9238
22 | -0.0070793 | -0.0017745 | 0.0070904 | 0.0017782 | 1.1131e-05 | 3.7488e-06 | 0.010642 | 0.010641 | 0.010642 | 0.98984 | -0.19447 | 0.99154 | -0.16151 | 2.9237
23 | -0.0070904 | -0.0017782 | 0.0070926 | 0.001779 | 2.1377e-06 | 7.1857e-07 | 0.010641 | 0.010641 | 0.010641 | 0.99154 | -0.16151 | 0.99187 | -0.15518 | 2.9234
24 | -0.097225 | -0.024368 | 0.097485 | 0.024535 | 0.0002605 | 0.0001663 | 0.14586 | 0.14586 | 0.14586 | 0.99187 | -0.15518 | 0.99477 | -0.099106 | 40.0711
25 | 0.01198 | 0.0030029 | -0.011978 | -0.0030021 | 1.5336e-06 | 8.134e-07 | 0.017846 | 0.017846 | 0.017846 | 0.99892 | -0.020766 | 0.99878 | -0.023453 | 4.9027
26 | -0.034315 | -0.0086106 | 0.034349 | 0.0086319 | 3.4015e-05 | 2.1314e-05 | 0.05112 | 0.05112 | 0.05112 | 0.99892 | -0.020766 | 1 | 0 | 14.044
27 | 0.022335 | 0.0056077 | -0.02232 | -0.0055986 | 1.4912e-05 | 9.074e-06 | 0.033274 | 0.033275 | 0.033275 | 0.99892 | -0.020766 | 0.99819 | -0.034772 | 9.1414
28 | 0.37937 | 0.097654 | -0.37774 | -0.096614 | 0.0016268 | 0.0010396 | 0.56542 | 0.56542 | 0.56542 | 1 | 0 | 0.99532 | -0.088574 | 51.7788
29 | 0.004755 | 0.0011914 | -0.0047541 | -0.0011915 | 9.622e-07 | -5.6438e-08 | 0.0070754 | 0.0070757 | 0.0070757 | 1 | 0 | 0.99978 | -0.0042485 | 1.9439
30 | 0.02232 | 0.0055986 | -0.022312 | -0.0055933 | 8.6499e-06 | 5.2637e-06 | 0.033275 | 0.033275 | 0.033275 | 0.99819 | -0.034772 | 0.99777 | -0.042905 | 9.1414
31 | 0.097534 | 0.024566 | -0.097485 | -0.024535 | 4.9095e-05 | 3.1341e-05 | 0.14586 | 0.14586 | 0.14586 | 0.99532 | -0.088574 | 0.99477 | -0.099106 | 40.071
32 | 0.010486 | 0.002628 | -0.010485 | -0.0026278 | 3.3313e-07 | 1.7051e-07 | 0.016056 | 0.016056 | 0.016056 | 0.97178 | -0.54414 | 0.97174 | -0.54481 | 4.4109
33 | 0.01479 | 0.0037113 | -0.014779 | -0.0037047 | 1.1534e-05 | 6.6396e-06 | 0.022649 | 0.022649 | 0.022649 | 0.97178 | -0.54414 | 0.97095 | -0.56051 | 6.2223
34 | 0.0019492 | 0.00048831 | -0.0019491 | -0.00048849 | 5.9475e-08 | -1.8177e-07 | 0.0029871 | 0.0029872 | 0.0029872 | 0.97095 | -0.56051 | 0.97092 | -0.56115 | 0.82065
35 | 0.01283 | 0.0032164 | -0.012828 | -0.0032156 | 1.3298e-06 | 7.3764e-07 | 0.019662 | 0.019662 | 0.019662 | 0.97095 | -0.56051 | 0.97084 | -0.56268 | 5.4017
36 | 0.010506 | 0.0026336 | -0.010505 | -0.0026329 | 1.3661e-06 | 7.0059e-07 | 0.016103 | 0.016103 | 0.016103 | 0.97084 | -0.56268 | 0.9707 | -0.56541 | 4.4239
37 | 0.034379 | 0.008626 | -0.034363 | -0.0086161 | 1.5725e-05 | 9.8771e-06 | 0.052655 | 0.052655 | 0.052655 | 0.97161 | -0.54691 | 0.97113 | -0.55651 | 14.4656
38 | 0.034084 | 0.0085457 | -0.034075 | -0.0085399 | 9.1356e-06 | 5.7361e-06 | 0.0522 | 0.0522 | 0.0522 | 0.97161 | -0.54691 | 0.97133 | -0.55254 | 14.3408
39 | 0.007665 | 0.0019212 | -0.0076637 | -0.0019207 | 1.378e-06 | 5.5295e-07 | 0.01175 | 0.01175 | 0.01175 | 0.9707 | -0.56541 | 0.97051 | -0.56919 | 3.2281
40 | 0.034363 | 0.0086161 | -0.034353 | -0.0086097 | 1.0177e-05 | 6.392e-06 | 0.052655 | 0.052655 | 0.052655 | 0.97113 | -0.55651 | 0.97081 | -0.56273 | 14.4656

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42012 | 0.10748

## res_load
| p_mw | q_mvar
0 | 0.026515 | 0.0066453
1 | 0.024335 | 0.0060989
2 | 0.026259 | 0.0065811
3 | 0.024177 | 0.0060594
4 | 0.025796 | 0.0064652
5 | 0.012811 | 0.0032107
6 | 0.026601 | 0.0066669
7 | 0.011705 | 0.0029337
8 | 0.0070764 | 0.0017735
9 | 0.090132 | 0.022589
10 | 0.011978 | 0.0030021
11 | 0.0047541 | 0.0011915
12 | 0.0106 | 0.0026567
13 | 0.015315 | 0.0038382
14 | 0.0019491 | 0.00048849
15 | 0.0023223 | 0.00058202
16 | 0.010485 | 0.0026278
17 | 0.0028396 | 0.00071168
18 | 0.0076637 | 0.0019207
19 | 0.034075 | 0.0085399
20 | 0.034353 | 0.0086097

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1