## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_141-21_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-21_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_141-21_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_141-21_0_3_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_141-21_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_141-21_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_141-21_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_141-21_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_141-21_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_141-21_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_141-21_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_141-21_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_141-21_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_141-21_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_141-21_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_141-21_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_141-21_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_141-21_0_3_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_141-21_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_141-21_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_141-21_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_141-21_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_141-21_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_141-21_0_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_141-21_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_141-21_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_141-21_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_141-21_0_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_141-21_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_141-21_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_141-21_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_141-21_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_141-21_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_141-21_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_141-21_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_141-21_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_141-21_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_141-21_0_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_141-21_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_141-21_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_141-21_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_141-21_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_141-21_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_141-21_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_141-21_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_141-21_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_141-21_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_141-21_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_141-21_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_141-21_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_141-21_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_141-21_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_141-21_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_141-21_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_141-21_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_141-21_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_141-21_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_MV_491_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-21_0_3_load_0 | 0 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-21_0_3_load_3 | 3 | 0.0045943 | 0.0011514 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-21_0_3_load_61 | 6 | 0.021691 | 0.0054362 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-21_0_3_load_32 | 10 | 0.0071815 | 0.0017998 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-21_0_3_load_56 | 15 | 0.013877 | 0.003478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-21_0_3_load_36 | 17 | 0.016855 | 0.0042243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-21_0_3_load_33 | 18 | 0.0027886 | 0.00069888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-21_0_3_load_44 | 20 | 0.0062006 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-21_0_3_load_45 | 21 | 0.004803 | 0.0012037 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-21_0_3_load_42 | 23 | 0.0044088 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-21_0_3_load_54 | 26 | 0.0037885 | 0.00094949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-21_0_3_load_35 | 27 | 0.0091527 | 0.0022939 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-21_0_3_load_62 | 30 | 0.014504 | 0.0036351 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-21_0_3_load_34 | 32 | 0.01397 | 0.0035012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-21_0_3_load_43 | 33 | 0.0036481 | 0.00091429 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-21_0_3_load_55 | 34 | 0.011417 | 0.0028613 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-21_0_3_load_53 | 37 | 0.0064789 | 0.0016238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-21_0_3_load_31 | 39 | 0.021294 | 0.0053369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-21_0_3_load_57 | 40 | 0.010249 | 0.0025686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-21_0_3_load_63 | 42 | 0.0096372 | 0.0024153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-21_0_3_load_59 | 44 | 0.010123 | 0.002537 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-21_0_3_load_60 | 45 | 0.0077381 | 0.0019393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-21_0_3_load_58 | 47 | 0.0086024 | 0.002156 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-21_0_3_load_39 | 48 | 0.0058235 | 0.0014595 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-21_0_3_load_38 | 49 | 0.0092151 | 0.0023095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-21_0_3_load_37 | 50 | 0.0058235 | 0.0014595 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-21_0_3_load_46 | 51 | 0.0030143 | 0.00075546 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-21_0_3_load_52 | 52 | 0.0037972 | 0.00095166 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-21_0_3_load_51 | 53 | 0.0064292 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-21_0_3_load_40 | 54 | 0.0047862 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-21_0_3_load_41 | 55 | 0.015299 | 0.0038342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-21_0_3_load_47 | 56 | 0.0078936 | 0.0019783 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-21_0_3_load_48 | 57 | 0.0071983 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_141-21_0_3_load_49 | 58 | 0.0099608 | 0.0024964 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_141-21_0_3_load_50 | 59 | 0.0059933 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-21_0_3_line_0 |  | 0 | 1 | 0.037698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-21_0_3_line_1 |  | 0 | 2 | 0.03021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-21_0_3_line_2 |  | 1 | 3 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-21_0_3_line_3 |  | 2 | 4 | 0.061289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-21_0_3_line_4 |  | 3 | 5 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-21_0_3_line_5 |  | 4 | 6 | 0.003728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-21_0_3_line_6 |  | 4 | 7 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-21_0_3_line_7 |  | 5 | 11 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-21_0_3_line_8 |  | 5 | 12 | 0.037358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-21_0_3_line_9 |  | 7 | 34 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-21_0_3_line_10 |  | 8 | 9 | 0.004106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-21_0_3_line_11 |  | 8 | 10 | 0.0053702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-21_0_3_line_12 |  | 9 | 45 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-21_0_3_line_13 |  | 9 | 46 | 0.032442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_141-21_0_3_line_14 |  | 9 | 12 | 0.043069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_141-21_0_3_line_15 |  | 10 | 39 | 0.039359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-21_0_3_line_16 |  | 11 | 13 | 0.036983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-21_0_3_line_17 |  | 11 | 14 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-21_0_3_line_18 |  | 11 | 15 | 0.032708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-21_0_3_line_19 |  | 12 | 33 | 0.041896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-21_0_3_line_20 |  | 12 | 16 | 0.034566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-21_0_3_line_21 |  | 12 | 31 | 0.057937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-21_0_3_line_22 |  | 13 | 40 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-21_0_3_line_23 |  | 14 | 18 | 0.041223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-21_0_3_line_24 |  | 16 | 17 | 0.0035508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-21_0_3_line_25 |  | 18 | 43 | 0.036119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-21_0_3_line_26 |  | 19 | 20 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-21_0_3_line_27 |  | 19 | 21 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-21_0_3_line_28 |  | 19 | 22 | 0.054988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-21_0_3_line_29 |  | 19 | 23 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-21_0_3_line_30 |  | 20 | 51 | 0.042676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-21_0_3_line_31 |  | 22 | 27 | 0.021788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-21_0_3_line_32 |  | 23 | 33 | 0.028715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-21_0_3_line_33 |  | 24 | 25 | 0.12621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-21_0_3_line_34 |  | 24 | 26 | 0.06436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-21_0_3_line_35 |  | 25 | 47 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-21_0_3_line_36 |  | 26 | 52 | 0.0083169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-21_0_3_line_37 |  | 28 | 29 | 0.038427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-21_0_3_line_38 |  | 28 | 30 | 0.023081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-21_0_3_line_39 |  | 29 | 44 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-21_0_3_line_40 |  | 29 | 35 | 0.11933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-21_0_3_line_41 |  | 31 | 32 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-21_0_3_line_42 |  | 35 | 36 | 0.087724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-21_0_3_line_43 |  | 35 | 37 | 0.03156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_141-21_0_3_line_44 |  | 36 | 49 | 0.051986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_141-21_0_3_line_45 |  | 36 | 50 | 0.0092409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-21_0_3_line_46 |  | 36 | 38 | 0.055274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_141-21_0_3_line_47 |  | 37 | 53 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_141-21_0_3_line_48 |  | 38 | 39 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_141-21_0_3_line_49 |  | 41 | 42 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_141-21_0_3_line_50 |  | 41 | 43 | 0.043337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_141-21_0_3_line_51 |  | 46 | 48 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_141-21_0_3_line_52 |  | 48 | 54 | 0.0050336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_141-21_0_3_line_53 |  | 49 | 55 | 0.025146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_141-21_0_3_line_54 |  | 51 | 56 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_141-21_0_3_line_55 |  | 52 | 56 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_141-21_0_3_line_56 |  | 53 | 59 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_141-21_0_3_line_57 |  | 57 | 58 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_141-21_0_3_line_58 |  | 58 | 59 | 0.0013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-21_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 60 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2684772.4415 | 1238567.6771 | 2684772.5268 | 1238530.9854 | 2684772.4379 | 1238529.9829
1 | 2684769.7709 | 1238499.8905 | 2684772.4379 | 1238529.9829
2 | 2684772.4415 | 1238567.6771 | 2684762.6146 | 1238572.2859
3 | 2684769.7709 | 1238499.8905 | 2684791.7157 | 1238496.2789 | 2684796.5673 | 1238502.4637 | 2684798.7242 | 1238515.1147 | 2684801.0512 | 1238530.6813 | 2684798.4659 | 1238531.078
4 | 2684746.8425 | 1238579.8094 | 2684753.5296 | 1238576.647 | 2684762.5712 | 1238572.3063 | 2684762.6146 | 1238572.2859
5 | 2684798.4659 | 1238531.078 | 2684794.7803 | 1238531.7036
6 | 2684798.4659 | 1238531.078 | 2684801.0512 | 1238530.6813 | 2684820.8395 | 1238527.6283
7 | 2684734.6817 | 1238575.3105 | 2684739.0197 | 1238576.6733 | 2684746.8425 | 1238579.8094
8 | 2684746.8425 | 1238579.8094 | 2684747.6648 | 1238581.022 | 2684749.4653 | 1238583.6718 | 2684751.8977 | 1238587.0979 | 2684752.4166 | 1238587.8391 | 2684751.8732 | 1238590.3999 | 2684754.0093 | 1238600.2708 | 2684757.8309 | 1238605.4735 | 2684755.7179 | 1238609.8798 | 2684756.1445 | 1238613.3773
9 | 2684820.8395 | 1238527.6283 | 2684821.4866 | 1238531.5737 | 2684822.7939 | 1238532.204 | 2684823.8035 | 1238538.6185
10 | 2684792.6821 | 1238602.8468 | 2684792.4571 | 1238606.9466
11 | 2684792.6821 | 1238602.8468 | 2684798.0479 | 1238603.0639
12 | 2684782.3269 | 1238621.8348 | 2684784.9993 | 1238621.1614 | 2684787.7084 | 1238619.51 | 2684790.3435 | 1238616.69 | 2684791.714 | 1238614.4858 | 2684792.1985 | 1238611.813 | 2684792.4571 | 1238606.9466
13 | 2684792.4571 | 1238606.9466 | 2684824.9669 | 1238608.3006
14 | 2684756.1445 | 1238613.3773 | 2684755.7179 | 1238609.8798 | 2684757.8309 | 1238605.4735 | 2684775.5093 | 1238606.0595 | 2684792.4571 | 1238606.9466
15 | 2684837.3743 | 1238604.655 | 2684798.0479 | 1238603.0639
16 | 2684702.0787 | 1238557.6883 | 2684722.0155 | 1238568.069 | 2684734.6817 | 1238575.3105
17 | 2684727.2382 | 1238588.0022 | 2684729.0703 | 1238586.3161 | 2684732.1213 | 1238583.502 | 2684732.9186 | 1238582.7684 | 2684729.9831 | 1238580.1358 | 2684734.6817 | 1238575.3105
18 | 2684734.6817 | 1238575.3105 | 2684736.4544 | 1238572.4893 | 2684737.0852 | 1238570.1633 | 2684737.6243 | 1238560.4863 | 2684736.4976 | 1238555.1553 | 2684736.8338 | 1238543.3347
19 | 2684756.1445 | 1238613.3773 | 2684759.9678 | 1238626.4079 | 2684762.0877 | 1238634.7663 | 2684765.0869 | 1238646.1729 | 2684767.3859 | 1238653.7296
20 | 2684729.6313 | 1238629.1547 | 2684734.8427 | 1238630.7969 | 2684746.0867 | 1238622.1401 | 2684745.234 | 1238620.4044 | 2684746.3868 | 1238619.6648 | 2684751.5177 | 1238616.3579 | 2684755.4651 | 1238613.8124 | 2684756.1445 | 1238613.3773
21 | 2684756.1445 | 1238613.3773 | 2684755.4651 | 1238613.8124 | 2684751.5177 | 1238616.3579 | 2684746.3868 | 1238619.6648 | 2684745.234 | 1238620.4044 | 2684746.0867 | 1238622.1401 | 2684754.2697 | 1238645.607 | 2684759.726 | 1238662.9417
22 | 2684702.0787 | 1238557.6883 | 2684703.245 | 1238553.3574 | 2684704.4706 | 1238542.2225 | 2684705.247 | 1238527.2101
23 | 2684727.2382 | 1238588.0022 | 2684720.2197 | 1238581.5197 | 2684711.2198 | 1238574.9978 | 2684701.741 | 1238569.6921 | 2684693.1392 | 1238565.2271
24 | 2684729.6313 | 1238629.1547 | 2684726.1864 | 1238628.2939
25 | 2684664.9511 | 1238562.9072 | 2684673.0161 | 1238565.5018 | 2684676.2213 | 1238557.186 | 2684689.5383 | 1238563.358 | 2684693.1392 | 1238565.2271
26 | 2684781.2753 | 1238701.7993 | 2684783.6786 | 1238713.0862 | 2684785.2556 | 1238721.7967
27 | 2684781.2753 | 1238701.7993 | 2684795.0148 | 1238703.0599
28 | 2684781.2753 | 1238701.7993 | 2684776.1002 | 1238701.3251 | 2684780.7413 | 1238721.706 | 2684783.167 | 1238746.2471 | 2684778.9623 | 1238746.6874
29 | 2684781.2753 | 1238701.7993 | 2684778.7792 | 1238692.7795 | 2684775.2227 | 1238681.35
30 | 2684785.2556 | 1238721.7967 | 2684785.4244 | 1238722.7291 | 2684787.2305 | 1238736.0978 | 2684788.2859 | 1238748.5329 | 2684788.6385 | 1238758.8009 | 2684788.6015 | 1238764.2855
31 | 2684778.9623 | 1238746.6874 | 2684778.4194 | 1238739.152 | 2684776.3102 | 1238725.0757
32 | 2684775.2227 | 1238681.35 | 2684772.7181 | 1238673.3012 | 2684767.7098 | 1238654.7942 | 2684767.3859 | 1238653.7296
33 | 2684837.2522 | 1238759.6624 | 2684831.923 | 1238780.0231 | 2684806.5287 | 1238837.7017 | 2684794.8801 | 1238860.4072 | 2684788.5886 | 1238868.7234 | 2684784.6539 | 1238873.5707
34 | 2684784.6539 | 1238873.5707 | 2684784.5966 | 1238871.2237 | 2684784.6171 | 1238860.2606 | 2684784.0875 | 1238843.3187 | 2684784.0177 | 1238832.3209 | 2684784.3266 | 1238821.2841 | 2684785.4951 | 1238809.2807
35 | 2684837.2522 | 1238759.6624 | 2684825.0209 | 1238757.4861
36 | 2684785.4951 | 1238809.2807 | 2684785.8161 | 1238805.9833 | 2684786.3568 | 1238801.0087
37 | 2684879.3576 | 1238805.1299 | 2684887.6527 | 1238788.9702 | 2684894.5585 | 1238775.8039 | 2684897.0626 | 1238771.0252
38 | 2684859.0536 | 1238794.054 | 2684869.7911 | 1238800.1785 | 2684879.3576 | 1238805.1299
39 | 2684882.3732 | 1238763.0095 | 2684897.0626 | 1238771.0252
40 | 2684925.3426 | 1238669.8347 | 2684929.699 | 1238674.656 | 2684933.4882 | 1238678.4129 | 2684937.7242 | 1238682.1317 | 2684940.0255 | 1238684.6664 | 2684940.8278 | 1238687.2798 | 2684940.5417 | 1238690.3557 | 2684934.7559 | 1238700.836 | 2684925.3215 | 1238718.3581 | 2684916.2106 | 1238734.9508 | 2684915.0434 | 1238736.1683 | 2684913.0392 | 1238737.196 | 2684905.9771 | 1238749.6484 | 2684899.6621 | 1238761.7001 | 2684899.3313 | 1238763.6745 | 2684899.4655 | 1238766.4562 | 2684897.0626 | 1238771.0252
41 | 2684759.726 | 1238662.9417 | 2684757.5183 | 1238662.8546 | 2684751.8645 | 1238658.8154 | 2684751.017 | 1238657.4434
42 | 2684871.6109 | 1238647.5284 | 2684884.3865 | 1238628.5863 | 2684884.8913 | 1238624.5017 | 2684888.2225 | 1238628.0185 | 2684896.4531 | 1238637.5319 | 2684917.3177 | 1238660.7468 | 2684925.3426 | 1238669.8347
43 | 2684925.3426 | 1238669.8347 | 2684920.3543 | 1238679.0366 | 2684912.3436 | 1238679.5336 | 2684903.5811 | 1238689.2264 | 2684903.5811 | 1238689.2264
44 | 2684871.6109 | 1238647.5284 | 2684863.9703 | 1238661.8184 | 2684858.9724 | 1238674.3448 | 2684852.4871 | 1238695.6754
45 | 2684871.6109 | 1238647.5284 | 2684869.7718 | 1238647.0574 | 2684862.6244 | 1238645.3762
46 | 2684867.0476 | 1238605.8556 | 2684867.0014 | 1238612.2595 | 2684872.5787 | 1238614.7632 | 2684877.2587 | 1238617.5988 | 2684881.3214 | 1238620.748 | 2684884.8913 | 1238624.5017 | 2684884.3865 | 1238628.5863 | 2684871.6109 | 1238647.5284
47 | 2684899.0562 | 1238699.1825 | 2684903.5811 | 1238689.2264
48 | 2684867.0476 | 1238605.8556 | 2684837.3743 | 1238604.655
49 | 2684675.8862 | 1238521.8114 | 2684657.6743 | 1238509.821
50 | 2684664.9511 | 1238562.9072 | 2684665.8369 | 1238561.2631 | 2684672.7382 | 1238548.3967 | 2684673.6742 | 1238544.8297 | 2684674.6264 | 1238541.1851 | 2684675.8862 | 1238521.8114
51 | 2684824.9669 | 1238608.3006 | 2684821.8407 | 1238626.7282
52 | 2684821.8407 | 1238626.7282 | 2684820.9989 | 1238631.6909
53 | 2684852.4871 | 1238695.6754 | 2684845.1724 | 1238719.734
54 | 2684788.6015 | 1238764.2855 | 2684788.5368 | 1238773.8658 | 2684787.5841 | 1238789.7191
55 | 2684786.3568 | 1238801.0087 | 2684787.5841 | 1238789.7191 | 2684787.5841 | 1238789.7191
56 | 2684892.0715 | 1238712.9062 | 2684896.2859 | 1238705.278 | 2684899.0562 | 1238699.1825
57 | 2684885.0737 | 1238723.7597 | 2684885.7334 | 1238723.2401 | 2684888.8929 | 1238718.6597 | 2684891.4051 | 1238714.1126
58 | 2684891.4051 | 1238714.1126 | 2684892.0715 | 1238712.9062

## bus_geodata
| x | y | coords
0 | 2684772.4379 | 1238529.9829
1 | 2684772.4415 | 1238567.6771
2 | 2684769.7709 | 1238499.8905
3 | 2684762.6146 | 1238572.2859
4 | 2684798.4659 | 1238531.078
5 | 2684746.8425 | 1238579.8094
6 | 2684794.7803 | 1238531.7036
7 | 2684820.8395 | 1238527.6283
8 | 2684792.6821 | 1238602.8468
9 | 2684792.4571 | 1238606.9466
10 | 2684798.0479 | 1238603.0639
11 | 2684734.6817 | 1238575.3105
12 | 2684756.1445 | 1238613.3773
13 | 2684702.0787 | 1238557.6883
14 | 2684727.2382 | 1238588.0022
15 | 2684736.8338 | 1238543.3347
16 | 2684729.6313 | 1238629.1547
17 | 2684726.1864 | 1238628.2939
18 | 2684693.1392 | 1238565.2271
19 | 2684781.2753 | 1238701.7993
20 | 2684785.2556 | 1238721.7967
21 | 2684795.0148 | 1238703.0599
22 | 2684778.9623 | 1238746.6874
23 | 2684775.2227 | 1238681.35
24 | 2684784.6539 | 1238873.5707
25 | 2684837.2522 | 1238759.6624
26 | 2684785.4951 | 1238809.2807
27 | 2684776.3102 | 1238725.0757
28 | 2684879.3576 | 1238805.1299
29 | 2684897.0626 | 1238771.0252
30 | 2684859.0536 | 1238794.054
31 | 2684759.726 | 1238662.9417
32 | 2684751.017 | 1238657.4434
33 | 2684767.3859 | 1238653.7296
34 | 2684823.8035 | 1238538.6185
35 | 2684925.3426 | 1238669.8347
36 | 2684871.6109 | 1238647.5284
37 | 2684903.5811 | 1238689.2264
38 | 2684867.0476 | 1238605.8556
39 | 2684837.3743 | 1238604.655
40 | 2684705.247 | 1238527.2101
41 | 2684675.8862 | 1238521.8114
42 | 2684657.6743 | 1238509.821
43 | 2684664.9511 | 1238562.9072
44 | 2684882.3732 | 1238763.0095
45 | 2684782.3269 | 1238621.8348
46 | 2684824.9669 | 1238608.3006
47 | 2684825.0209 | 1238757.4861
48 | 2684821.8407 | 1238626.7282
49 | 2684852.4871 | 1238695.6754
50 | 2684862.6244 | 1238645.3762
51 | 2684788.6015 | 1238764.2855
52 | 2684786.3568 | 1238801.0087
53 | 2684899.0562 | 1238699.1825
54 | 2684820.9989 | 1238631.6909
55 | 2684845.1724 | 1238719.734
56 | 2684787.5841 | 1238789.7191
57 | 2684885.0737 | 1238723.7597
58 | 2684891.4051 | 1238714.1126
59 | 2684892.0715 | 1238712.9062
60 | 2684824.9669 | 1238608.3006

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9866 | -0.25712 | 0.0046104 | 0.0011555
1 | 0.98791 | -0.23169 | 0 | 0
2 | 0.98568 | -0.27504 | 0 | 0
3 | 0.98829 | -0.22438 | 0.0045943 | 0.0011514
4 | 0.98381 | -0.31152 | 0 | 0
5 | 0.98897 | -0.21119 | 0 | 0
6 | 0.98373 | -0.31297 | 0.021691 | 0.0054362
7 | 0.98357 | -0.31617 | 0 | 0
8 | 0.99449 | -0.10468 | 0 | 0
9 | 0.99495 | -0.096037 | 0 | 0
10 | 0.9939 | -0.116 | 0.0071815 | 0.0017998
11 | 0.98853 | -0.21965 | 0 | 0
12 | 0.99168 | -0.15882 | 0 | 0
13 | 0.98819 | -0.22641 | 0 | 0
14 | 0.98832 | -0.22373 | 0 | 0
15 | 0.98812 | -0.22775 | 0.013877 | 0.003478
16 | 0.99115 | -0.16915 | 0 | 0
17 | 0.99109 | -0.17021 | 0.016855 | 0.0042243
18 | 0.98785 | -0.23287 | 0.0027886 | 0.00069888
19 | 0.98726 | -0.24445 | 0 | 0
20 | 0.98663 | -0.2566 | 0.0062006 | 0.001554
21 | 0.98719 | -0.24563 | 0.004803 | 0.0012037
22 | 0.98679 | -0.25345 | 0 | 0
23 | 0.98818 | -0.22644 | 0.0044088 | 0.001105
24 | 0.98423 | -0.30347 | 0 | 0
25 | 0.98322 | -0.32303 | 0 | 0
26 | 0.98474 | -0.2935 | 0.0037885 | 0.00094949
27 | 0.98661 | -0.25702 | 0.0091527 | 0.0022939
28 | 0.97442 | -0.49354 | 0 | 0
29 | 0.97494 | -0.48331 | 0 | 0
30 | 0.97411 | -0.49969 | 0.014504 | 0.0036351
31 | 0.99094 | -0.17318 | 0 | 0
32 | 0.9908 | -0.17585 | 0.01397 | 0.0035012
33 | 0.98955 | -0.19999 | 0.0036481 | 0.00091429
34 | 0.98344 | -0.31863 | 0.011417 | 0.0028613
35 | 0.97767 | -0.42957 | 0 | 0
36 | 0.98262 | -0.33296 | 0 | 0
37 | 0.97661 | -0.45034 | 0.0064789 | 0.0016238
38 | 0.98729 | -0.24256 | 0 | 0
39 | 0.9898 | -0.19433 | 0.021294 | 0.0053369
40 | 0.9879 | -0.23203 | 0.010249 | 0.0025686
41 | 0.98715 | -0.24656 | 0 | 0
42 | 0.98696 | -0.25031 | 0.0096372 | 0.0024153
43 | 0.98753 | -0.23909 | 0 | 0
44 | 0.97478 | -0.48641 | 0.010123 | 0.002537
45 | 0.99481 | -0.098756 | 0.0077381 | 0.0019393
46 | 0.99786 | -0.040546 | 0 | 0
47 | 0.98313 | -0.32495 | 0.0086024 | 0.002156
48 | 0.99954 | -0.0087224 | 0.0058235 | 0.0014595
49 | 0.98144 | -0.356 | 0.0092151 | 0.0023095
50 | 0.98257 | -0.33393 | 0.0058235 | 0.0014595
51 | 0.98557 | -0.27733 | 0.0030143 | 0.00075546
52 | 0.98483 | -0.29165 | 0.0037972 | 0.00095166
53 | 0.97631 | -0.45626 | 0.0064292 | 0.0016113
54 | 1 | 0 | -0.30392 | -0.077371
55 | 0.98109 | -0.36296 | 0.015299 | 0.0038342
56 | 0.985 | -0.28835 | 0.0078936 | 0.0019783
57 | 0.97588 | -0.46474 | 0.0071983 | 0.0018041
58 | 0.97596 | -0.46322 | 0.0099608 | 0.0024964
59 | 0.97598 | -0.46278 | 0.0059933 | 0.0015021
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.037809 | -0.0095099 | 0.037855 | 0.0095388 | 4.5991e-05 | 2.8952e-05 | 0.057037 | 0.057037 | 0.057037 | 0.9866 | -0.25712 | 0.98791 | -0.23169 | 15.6696
1 | 0.033199 | 0.0083544 | -0.033171 | -0.0083366 | 2.8417e-05 | 1.7802e-05 | 0.050084 | 0.050084 | 0.050084 | 0.9866 | -0.25712 | 0.98568 | -0.27504 | 13.7593
2 | -0.037855 | -0.0095388 | 0.037869 | 0.0095472 | 1.3241e-05 | 8.3354e-06 | 0.057037 | 0.057037 | 0.057037 | 0.98791 | -0.23169 | 0.98829 | -0.22438 | 15.6695
3 | 0.033171 | 0.0083366 | -0.033113 | -0.0083005 | 5.7652e-05 | 3.6118e-05 | 0.050084 | 0.050084 | 0.050084 | 0.98568 | -0.27504 | 0.98381 | -0.31152 | 13.7594
4 | -0.042463 | -0.010699 | 0.04249 | 0.010716 | 2.6803e-05 | 1.693e-05 | 0.063954 | 0.063954 | 0.063954 | 0.98829 | -0.22438 | 0.98897 | -0.21119 | 17.5699
5 | 0.021692 | 0.0054372 | -0.021691 | -0.0054362 | 1.5049e-06 | 9.1583e-07 | 0.03281 | 0.03281 | 0.03281 | 0.98381 | -0.31152 | 0.98373 | -0.31297 | 9.0138
6 | 0.011421 | 0.0028633 | -0.011418 | -0.002862 | 2.5332e-06 | 1.3338e-06 | 0.017274 | 0.017274 | 0.017274 | 0.98381 | -0.31152 | 0.98357 | -0.31617 | 4.7457
7 | 0.036594 | 0.0091842 | -0.036579 | -0.0091749 | 1.4753e-05 | 9.2755e-06 | 0.055065 | 0.055065 | 0.055065 | 0.98897 | -0.21119 | 0.98853 | -0.21965 | 15.1276
8 | -0.079084 | -0.0199 | 0.079282 | 0.020026 | 0.00019845 | 0.00012653 | 0.11902 | 0.11902 | 0.11902 | 0.98897 | -0.21119 | 0.99168 | -0.15882 | 32.6975
9 | 0.011418 | 0.002862 | -0.011417 | -0.0028613 | 1.3364e-06 | 7.0375e-07 | 0.017274 | 0.017274 | 0.017274 | 0.98357 | -0.31617 | 0.98344 | -0.31863 | 4.7457
10 | -0.12105 | -0.030934 | 0.1211 | 0.030967 | 5.0631e-05 | 3.235e-05 | 0.18134 | 0.18134 | 0.18134 | 0.99449 | -0.10468 | 0.99495 | -0.096037 | 49.8174
11 | 0.12105 | 0.030934 | -0.12098 | -0.030892 | 6.6219e-05 | 4.2311e-05 | 0.18134 | 0.18134 | 0.18134 | 0.99449 | -0.10468 | 0.9939 | -0.116 | 49.8174
12 | 0.0077391 | 0.0019397 | -0.0077381 | -0.0019393 | 1.0024e-06 | 3.8245e-07 | 0.011574 | 0.011575 | 0.011575 | 0.99495 | -0.096037 | 0.99481 | -0.098756 | 3.1798
13 | -0.29507 | -0.075034 | 0.29587 | 0.075539 | 0.00079114 | 0.00050506 | 0.44169 | 0.44169 | 0.44169 | 0.99495 | -0.096037 | 0.99786 | -0.040546 | 40.4478
14 | 0.16623 | 0.042128 | -0.16573 | -0.041809 | 0.00049981 | 0.00031876 | 0.24878 | 0.24878 | 0.24878 | 0.99495 | -0.096037 | 0.99168 | -0.15882 | 34.1732
15 | 0.1138 | 0.029092 | -0.11337 | -0.028818 | 0.00042948 | 0.00027436 | 0.17058 | 0.17058 | 0.17058 | 0.9939 | -0.116 | 0.9898 | -0.19433 | 46.8637
16 | 0.010255 | 0.0025716 | -0.010252 | -0.00257 | 3.305e-06 | 1.6412e-06 | 0.015437 | 0.015437 | 0.015437 | 0.98853 | -0.21965 | 0.98819 | -0.22641 | 4.241
17 | 0.012442 | 0.0031223 | -0.012439 | -0.003121 | 2.4208e-06 | 1.3134e-06 | 0.01873 | 0.01873 | 0.01873 | 0.98853 | -0.21965 | 0.98832 | -0.22373 | 5.1455
18 | 0.013883 | 0.003481 | -0.013877 | -0.003478 | 5.3567e-06 | 3.0091e-06 | 0.020898 | 0.020898 | 0.020898 | 0.98853 | -0.21965 | 0.98812 | -0.22775 | 5.7412
19 | 0.055606 | 0.014045 | -0.055497 | -0.013976 | 0.00010948 | 6.9526e-05 | 0.083476 | 0.083476 | 0.083476 | 0.99168 | -0.15882 | 0.98955 | -0.19999 | 22.933
20 | 0.016864 | 0.0042296 | -0.016856 | -0.0042248 | 8.3009e-06 | 4.8669e-06 | 0.025306 | 0.025306 | 0.025306 | 0.99168 | -0.15882 | 0.99115 | -0.16915 | 6.9522
21 | 0.013981 | 0.0035076 | -0.013972 | -0.0035022 | 9.5636e-06 | 5.3737e-06 | 0.02098 | 0.020981 | 0.020981 | 0.99168 | -0.15882 | 0.99094 | -0.17318 | 5.7639
22 | 0.010252 | 0.00257 | -0.010249 | -0.0025686 | 2.7454e-06 | 1.3636e-06 | 0.015437 | 0.015437 | 0.015437 | 0.98819 | -0.22641 | 0.9879 | -0.23203 | 4.2411
23 | 0.012439 | 0.003121 | -0.012434 | -0.003118 | 5.4229e-06 | 2.9427e-06 | 0.01873 | 0.01873 | 0.01873 | 0.98832 | -0.22373 | 0.98785 | -0.23287 | 5.1455
24 | 0.016856 | 0.0042248 | -0.016855 | -0.0042243 | 8.5272e-07 | 4.9998e-07 | 0.025306 | 0.025306 | 0.025306 | 0.99115 | -0.16915 | 0.99109 | -0.17021 | 6.9522
25 | 0.0096452 | 0.0024191 | -0.0096423 | -0.0024178 | 2.8593e-06 | 1.3677e-06 | 0.014529 | 0.014529 | 0.014529 | 0.98785 | -0.23287 | 0.98753 | -0.23909 | 3.9916
26 | 0.033372 | 0.0083892 | -0.033353 | -0.0083771 | 1.9354e-05 | 1.2126e-05 | 0.050308 | 0.050308 | 0.050308 | 0.98726 | -0.24445 | 0.98663 | -0.2566 | 13.821
27 | 0.0048032 | 0.0012037 | -0.004803 | -0.0012037 | 2.7117e-07 | -2.8626e-09 | 0.0072395 | 0.0072396 | 0.0072396 | 0.98726 | -0.24445 | 0.98719 | -0.24563 | 1.9889
28 | 0.0091582 | 0.0022964 | -0.0091543 | -0.0022946 | 3.9292e-06 | 1.8119e-06 | 0.013804 | 0.013804 | 0.013804 | 0.98726 | -0.24445 | 0.98679 | -0.25345 | 3.7924
29 | -0.047334 | -0.011889 | 0.047374 | 0.011915 | 4.072e-05 | 2.5788e-05 | 0.071352 | 0.071352 | 0.071352 | 0.98726 | -0.24445 | 0.98818 | -0.22644 | 19.6021
30 | 0.027152 | 0.0068231 | -0.027125 | -0.0068064 | 2.6845e-05 | 1.6637e-05 | 0.040957 | 0.040957 | 0.040957 | 0.98663 | -0.2566 | 0.98557 | -0.27733 | 11.2519
31 | 0.0091543 | 0.0022946 | -0.0091527 | -0.0022939 | 1.557e-06 | 7.1816e-07 | 0.013804 | 0.013804 | 0.013804 | 0.98679 | -0.25345 | 0.98661 | -0.25702 | 3.7924
32 | -0.051783 | -0.01302 | 0.051849 | 0.013062 | 6.5497e-05 | 4.155e-05 | 0.07799 | 0.07799 | 0.07799 | 0.98818 | -0.22644 | 0.98955 | -0.19999 | 21.4259
33 | 0.0086112 | 0.0021599 | -0.0086032 | -0.0021563 | 8.023e-06 | 3.5324e-06 | 0.01302 | 0.01302 | 0.01302 | 0.98423 | -0.30347 | 0.98322 | -0.32303 | 3.577
34 | -0.0086112 | -0.0021599 | 0.0086153 | 0.0021617 | 4.0911e-06 | 1.7999e-06 | 0.01302 | 0.013019 | 0.01302 | 0.98423 | -0.30347 | 0.98474 | -0.2935 | 3.5768
35 | 0.0086032 | 0.0021563 | -0.0086024 | -0.002156 | 7.8753e-07 | 3.4692e-07 | 0.01302 | 0.01302 | 0.01302 | 0.98322 | -0.32303 | 0.98313 | -0.32495 | 3.577
36 | -0.012404 | -0.0031111 | 0.012405 | 0.0031117 | 1.0958e-06 | 5.9548e-07 | 0.018744 | 0.018744 | 0.018744 | 0.98474 | -0.2935 | 0.98483 | -0.29165 | 5.1495
37 | -0.014508 | -0.0036375 | 0.014515 | 0.0036415 | 7.0736e-06 | 4.0482e-06 | 0.022156 | 0.022156 | 0.022156 | 0.97442 | -0.49354 | 0.97494 | -0.48331 | 6.0868
38 | 0.014508 | 0.0036375 | -0.014504 | -0.0036351 | 4.2488e-06 | 2.4318e-06 | 0.022156 | 0.022156 | 0.022156 | 0.97442 | -0.49354 | 0.97411 | -0.49969 | 6.0868
39 | 0.010124 | 0.0025377 | -0.010123 | -0.002537 | 1.495e-06 | 7.4863e-07 | 0.015452 | 0.015453 | 0.015453 | 0.97494 | -0.48331 | 0.97478 | -0.48641 | 4.2452
40 | -0.02464 | -0.0061793 | 0.024703 | 0.0062183 | 6.3289e-05 | 3.9013e-05 | 0.037608 | 0.037608 | 0.037608 | 0.97494 | -0.48331 | 0.97767 | -0.42957 | 10.3319
41 | 0.013972 | 0.0035022 | -0.01397 | -0.0035012 | 1.7779e-06 | 9.991e-07 | 0.020981 | 0.020981 | 0.020981 | 0.99094 | -0.17318 | 0.9908 | -0.17585 | 5.7639
42 | -0.060816 | -0.015288 | 0.061098 | 0.015468 | 0.00028195 | 0.00017934 | 0.092578 | 0.092578 | 0.092578 | 0.97767 | -0.42957 | 0.98262 | -0.33296 | 25.4336
43 | 0.036113 | 0.0090701 | -0.036077 | -0.0090476 | 3.5762e-05 | 2.2492e-05 | 0.054971 | 0.054971 | 0.054971 | 0.97767 | -0.42957 | 0.97661 | -0.45034 | 15.1018
44 | 0.024546 | 0.0061633 | -0.024519 | -0.0061467 | 2.6941e-05 | 1.6585e-05 | 0.037175 | 0.037175 | 0.037175 | 0.98262 | -0.33296 | 0.98144 | -0.356 | 10.2129
45 | 0.0058238 | 0.0014596 | -0.0058235 | -0.0014595 | 2.6953e-07 | 5.5445e-08 | 0.0088191 | 0.0088192 | 0.0088192 | 0.98262 | -0.33296 | 0.98257 | -0.33393 | 2.4228
46 | -0.091467 | -0.023091 | 0.091865 | 0.023345 | 0.00039801 | 0.00025402 | 0.13857 | 0.13857 | 0.13857 | 0.98262 | -0.33296 | 0.98729 | -0.24256 | 38.0691
47 | 0.029598 | 0.0074239 | -0.02959 | -0.0074187 | 8.3412e-06 | 5.2016e-06 | 0.045099 | 0.045099 | 0.045099 | 0.97661 | -0.45034 | 0.97631 | -0.45626 | 12.3899
48 | -0.091865 | -0.023345 | 0.092079 | 0.023481 | 0.00021384 | 0.00013648 | 0.13857 | 0.13857 | 0.13857 | 0.98729 | -0.24256 | 0.9898 | -0.19433 | 38.0691
49 | 0.0096389 | 0.0024161 | -0.0096372 | -0.0024153 | 1.7227e-06 | 8.2439e-07 | 0.01453 | 0.01453 | 0.01453 | 0.98715 | -0.24656 | 0.98696 | -0.25031 | 3.9917
50 | -0.0096389 | -0.0024161 | 0.0096423 | 0.0024178 | 3.4308e-06 | 1.6415e-06 | 0.01453 | 0.014529 | 0.01453 | 0.98715 | -0.24656 | 0.98753 | -0.23909 | 3.9917
51 | -0.29587 | -0.075539 | 0.29632 | 0.07583 | 0.0004558 | 0.00029098 | 0.44169 | 0.44169 | 0.44169 | 0.99786 | -0.040546 | 0.99954 | -0.0087224 | 40.4477
52 | -0.30214 | -0.07729 | 0.30227 | 0.077371 | 0.00012762 | 8.1476e-05 | 0.45036 | 0.45036 | 0.45036 | 0.99954 | -0.0087224 | 1 | 0 | 41.2416
53 | 0.015304 | 0.0038372 | -0.015299 | -0.0038342 | 5.0771e-06 | 2.9317e-06 | 0.023204 | 0.023204 | 0.023204 | 0.98144 | -0.356 | 0.98109 | -0.36296 | 6.3746
54 | 0.024111 | 0.006051 | -0.024098 | -0.0060432 | 1.2655e-05 | 7.7751e-06 | 0.036406 | 0.036406 | 0.036406 | 0.98557 | -0.27733 | 0.985 | -0.28835 | 10.0016
55 | -0.016202 | -0.0040634 | 0.016205 | 0.0040649 | 2.5523e-06 | 1.4889e-06 | 0.024481 | 0.024481 | 0.024481 | 0.98483 | -0.29165 | 0.985 | -0.28835 | 6.7256
56 | 0.02316 | 0.0058073 | -0.023153 | -0.0058029 | 7.2012e-06 | 4.4161e-06 | 0.0353 | 0.0353 | 0.0353 | 0.97631 | -0.45626 | 0.97598 | -0.46278 | 9.6979
57 | -0.0071983 | -0.0018041 | 0.0071988 | 0.0018043 | 5.2401e-07 | 1.9043e-07 | 0.010976 | 0.010976 | 0.010976 | 0.97588 | -0.46474 | 0.97596 | -0.46322 | 3.0154
58 | -0.01716 | -0.0043007 | 0.01716 | 0.0043009 | 3.5377e-07 | 2.0919e-07 | 0.026163 | 0.026163 | 0.026163 | 0.97596 | -0.46322 | 0.97598 | -0.46278 | 7.1876

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30871 | 0.078571

## res_load
| p_mw | q_mvar
0 | 0.0046104 | 0.0011555
1 | 0.0045943 | 0.0011514
2 | 0.021691 | 0.0054362
3 | 0.0071815 | 0.0017998
4 | 0.013877 | 0.003478
5 | 0.016855 | 0.0042243
6 | 0.0027886 | 0.00069888
7 | 0.0062006 | 0.001554
8 | 0.004803 | 0.0012037
9 | 0.0044088 | 0.001105
10 | 0.0037885 | 0.00094949
11 | 0.0091527 | 0.0022939
12 | 0.014504 | 0.0036351
13 | 0.01397 | 0.0035012
14 | 0.0036481 | 0.00091429
15 | 0.011417 | 0.0028613
16 | 0.0064789 | 0.0016238
17 | 0.021294 | 0.0053369
18 | 0.010249 | 0.0025686
19 | 0.0096372 | 0.0024153
20 | 0.010123 | 0.002537
21 | 0.0077381 | 0.0019393
22 | 0.0086024 | 0.002156
23 | 0.0058235 | 0.0014595
24 | 0.0092151 | 0.0023095
25 | 0.0058235 | 0.0014595
26 | 0.0030143 | 0.00075546
27 | 0.0037972 | 0.00095166
28 | 0.0064292 | 0.0016113
29 | 0.0047862 | 0.0011995
30 | 0.015299 | 0.0038342
31 | 0.0078936 | 0.0019783
32 | 0.0071983 | 0.0018041
33 | 0.0099608 | 0.0024964
34 | 0.0059933 | 0.0015021

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1