## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_141-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-26_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_141-26_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_141-26_0_4_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_141-26_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_141-26_0_4_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_141-26_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_141-26_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_141-26_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_141-26_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_141-26_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_141-26_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_141-26_0_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_141-26_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_141-26_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_141-26_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_141-26_0_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_141-26_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_141-26_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_141-26_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_141-26_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_141-26_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_141-26_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_141-26_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_141-26_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_141-26_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_141-26_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_141-26_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_141-26_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_141-26_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_141-26_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_141-26_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_141-26_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_141-26_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_141-26_0_4_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_141-26_0_4_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_141-26_0_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_141-26_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_141-26_0_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_141-26_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_141-26_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_141-26_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_141-26_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_141-26_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_141-26_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_141-26_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_141-26_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_141-26_0_4_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_141-26_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_141-26_0_4_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_141-26_0_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_141-26_0_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_141-26_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_141-26_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_141-26_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_141-26_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_141-26_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_141-26_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_141-26_0_4_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_141-26_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_141-26_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_141-26_0_4_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_141-26_0_4_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_141-26_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_141-26_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_141-26_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_141-26_0_4_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_141-26_0_4_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_141-26_0_4_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_141-26_0_4_node_31 | 0.4 | n |  | TRUE
73 | bus_LV_141-26_0_4_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_141-26_0_4_node_39 | 0.4 | n |  | TRUE
75 | bus_LV_141-26_0_4_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_141-26_0_4_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_141-26_0_4_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_141-26_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_141-26_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_141-26_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_141-26_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_141-26_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_141-26_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_141-26_0_4_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_141-26_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_141-26_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_141-26_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_141-26_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_491_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-26_0_4_load_0 | 0 | 0.0014492 | 0.00036319 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-26_0_4_load_28 | 4 | 0.0060481 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-26_0_4_load_100 | 6 | 0.0025038 | 0.00062751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-26_0_4_load_77 | 7 | 0.0085092 | 0.0021326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-26_0_4_load_34 | 11 | 0.0063323 | 0.001587 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-26_0_4_load_36 | 15 | 0.0062689 | 0.0015711 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-26_0_4_load_71 | 16 | 0.012804 | 0.003209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-26_0_4_load_88 | 17 | 0.0074818 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-26_0_4_load_52 | 19 | 0.0045315 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-26_0_4_load_51 | 21 | 0.013775 | 0.0034523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-26_0_4_load_65 | 24 | 0.0048112 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-26_0_4_load_69 | 28 | 0.0066539 | 0.0016676 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-26_0_4_load_53 | 30 | 0.01134 | 0.0028421 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-26_0_4_load_50 | 33 | 0.0027925 | 0.00069986 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-26_0_4_load_58 | 35 | 0.0041183 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-26_0_4_load_95 | 37 | 0.012152 | 0.0030455 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-26_0_4_load_89 | 38 | 0.010497 | 0.0026307 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-26_0_4_load_90 | 39 | 0.0094104 | 0.0023585 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-26_0_4_load_67 | 40 | 0.0024389 | 0.00061124 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-26_0_4_load_54 | 42 | 0.012692 | 0.003181 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-26_0_4_load_55 | 43 | 0.0062511 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-26_0_4_load_56 | 44 | 0.0040387 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-26_0_4_load_33 | 46 | 0.0040548 | 0.0010162 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-26_0_4_load_32 | 47 | 0.0040843 | 0.0010236 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-26_0_4_load_73 | 50 | 0.014633 | 0.0036673 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-26_0_4_load_96 | 52 | 0.0034222 | 0.00085768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-26_0_4_load_99 | 53 | 0.0027576 | 0.00069111 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-26_0_4_load_75 | 54 | 0.0087501 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-26_0_4_load_35 | 55 | 0.0035418 | 0.00088766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-26_0_4_load_30 | 56 | 0.0013384 | 0.00033544 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-26_0_4_load_57 | 57 | 0.0055851 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-26_0_4_load_45 | 59 | 0.0023675 | 0.00059334 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-26_0_4_load_38 | 60 | 0.0049641 | 0.0012441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_141-26_0_4_load_64 | 61 | 0.0022007 | 0.00055154 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_141-26_0_4_load_68 | 62 | 0.013125 | 0.0032894 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_141-26_0_4_load_49 | 63 | 0.0039411 | 0.00098773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_141-26_0_4_load_93 | 64 | 0.0079057 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_141-26_0_4_load_70 | 65 | 0.010939 | 0.0027416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_141-26_0_4_load_66 | 66 | 0.0015882 | 0.00039804 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_141-26_0_4_load_59 | 67 | 0.0076978 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_141-26_0_4_load_61 | 68 | 0.0024866 | 0.00062321 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_141-26_0_4_load_85 | 69 | 0.0086912 | 0.0021782 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_141-26_0_4_load_94 | 70 | 0.046193 | 0.011577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_141-26_0_4_load_92 | 71 | 0.040847 | 0.010237 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_141-26_0_4_load_31 | 72 | 0.0028188 | 0.00070646 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_141-26_0_4_load_37 | 73 | 0.0019213 | 0.00048153 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_141-26_0_4_load_41 | 75 | 0.0079914 | 0.0020028 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_141-26_0_4_load_63 | 78 | 0.010568 | 0.0026485 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_141-26_0_4_load_62 | 79 | 0.0055324 | 0.0013865 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_141-26_0_4_load_86 | 80 | 0.0041724 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_141-26_0_4_load_74 | 81 | 0.0050749 | 0.0012719 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_141-26_0_4_load_82 | 82 | 0.012422 | 0.0031132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_141-26_0_4_load_81 | 83 | 0.0021212 | 0.00053163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_141-26_0_4_load_97 | 84 | 0.0031917 | 0.00079991 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_141-26_0_4_load_83 | 85 | 0.0071651 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_141-26_0_4_load_84 | 86 | 0.0067698 | 0.0016967 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_141-26_0_4_load_91 | 87 | 0.0045501 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_141-26_0_4_load_87 | 88 | 0.0033223 | 0.00083266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-26_0_4_line_0 |  | 0 | 1 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-26_0_4_line_1 |  | 0 | 2 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-26_0_4_line_2 |  | 1 | 3 | 0.029671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-26_0_4_line_3 |  | 2 | 4 | 0.0082527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-26_0_4_line_4 |  | 3 | 5 | 0.032618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-26_0_4_line_5 |  | 3 | 6 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-26_0_4_line_6 |  | 4 | 51 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-26_0_4_line_7 |  | 5 | 7 | 0.009364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-26_0_4_line_8 |  | 5 | 8 | 0.024151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-26_0_4_line_9 |  | 6 | 53 | 0.0035821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-26_0_4_line_10 |  | 7 | 17 | 0.015515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-26_0_4_line_11 |  | 7 | 54 | 0.029235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-26_0_4_line_12 |  | 8 | 52 | 0.019995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-26_0_4_line_13 |  | 9 | 10 | 0.012473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-26_0_4_line_14 |  | 9 | 11 | 0.022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-26_0_4_line_15 |  | 10 | 17 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-26_0_4_line_16 |  | 11 | 12 | 0.02797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-26_0_4_line_17 |  | 12 | 13 | 0.028698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-26_0_4_line_18 |  | 13 | 14 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-26_0_4_line_19 |  | 13 | 15 | 0.026032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-26_0_4_line_20 |  | 14 | 16 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-26_0_4_line_21 |  | 15 | 55 | 0.0099045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-26_0_4_line_22 |  | 16 | 48 | 0.024362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-26_0_4_line_23 |  | 18 | 19 | 0.038709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-26_0_4_line_24 |  | 18 | 20 | 0.0090825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-26_0_4_line_25 |  | 18 | 21 | 0.0015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-26_0_4_line_26 |  | 19 | 57 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-26_0_4_line_27 |  | 20 | 43 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-26_0_4_line_28 |  | 20 | 44 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-26_0_4_line_29 |  | 22 | 23 | 0.004048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-26_0_4_line_30 |  | 22 | 24 | 0.0048902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-26_0_4_line_31 |  | 23 | 40 | 0.0086931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-26_0_4_line_32 |  | 23 | 29 | 0.020622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-26_0_4_line_33 |  | 24 | 34 | 0.009391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-26_0_4_line_34 |  | 25 | 26 | 0.007677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_141-26_0_4_line_35 |  | 25 | 27 | 0.0089576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_141-26_0_4_line_36 |  | 25 | 28 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-26_0_4_line_37 |  | 26 | 39 | 0.0084519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_141-26_0_4_line_38 |  | 27 | 41 | 0.003373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_141-26_0_4_line_39 |  | 27 | 42 | 0.043833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-26_0_4_line_40 |  | 28 | 62 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-26_0_4_line_41 |  | 29 | 30 | 0.022849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-26_0_4_line_42 |  | 31 | 32 | 0.049514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-26_0_4_line_43 |  | 31 | 33 | 0.014405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_141-26_0_4_line_44 |  | 32 | 61 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_141-26_0_4_line_45 |  | 33 | 63 | 0.023728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-26_0_4_line_46 |  | 34 | 35 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_141-26_0_4_line_47 |  | 35 | 57 | 0.022114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_141-26_0_4_line_48 |  | 36 | 37 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_141-26_0_4_line_49 |  | 36 | 38 | 0.0063873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_141-26_0_4_line_50 |  | 37 | 64 | 0.020461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_141-26_0_4_line_51 |  | 38 | 41 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_141-26_0_4_line_52 |  | 39 | 50 | 0.03289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_141-26_0_4_line_53 |  | 40 | 66 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_141-26_0_4_line_54 |  | 41 | 67 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_141-26_0_4_line_55 |  | 43 | 67 | 0.03526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_141-26_0_4_line_56 |  | 44 | 68 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_141-26_0_4_line_57 |  | 45 | 46 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_141-26_0_4_line_58 |  | 45 | 47 | 0.026935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_141-26_0_4_line_59 |  | 46 | 55 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_141-26_0_4_line_60 |  | 48 | 49 | 0.031855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_141-26_0_4_line_61 |  | 48 | 50 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_141-26_0_4_line_62 |  | 49 | 69 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_141-26_0_4_line_63 |  | 51 | 72 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_141-26_0_4_line_64 |  | 51 | 56 | 0.023364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_141-26_0_4_line_65 |  | 52 | 84 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_141-26_0_4_line_66 |  | 54 | 81 | 0.027219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_141-26_0_4_line_67 |  | 58 | 59 | 0.0024937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_141-26_0_4_line_68 |  | 58 | 60 | 0.039169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_141-26_0_4_line_69 |  | 59 | 61 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_141-26_0_4_line_70 |  | 60 | 73 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_141-26_0_4_line_71 |  | 62 | 65 | 0.018864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_141-26_0_4_line_72 |  | 63 | 77 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_141-26_0_4_line_73 |  | 64 | 71 | 0.027901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_141-26_0_4_line_74 |  | 68 | 79 | 0.0052756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_141-26_0_4_line_75 |  | 69 | 80 | 0.0073394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_141-26_0_4_line_76 |  | 70 | 71 | 0.029271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_141-26_0_4_line_77 |  | 73 | 74 | 0.055284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_141-26_0_4_line_78 |  | 74 | 75 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_141-26_0_4_line_79 |  | 76 | 77 | 0.004425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_141-26_0_4_line_80 |  | 76 | 78 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_141-26_0_4_line_81 |  | 78 | 79 | 0.019506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_141-26_0_4_line_82 |  | 80 | 88 | 0.00066857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_141-26_0_4_line_83 |  | 82 | 83 | 0.034933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_141-26_0_4_line_84 |  | 83 | 85 | 0.017831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_141-26_0_4_line_85 |  | 85 | 86 | 0.0097444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_141-26_0_4_line_86 |  | 86 | 87 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_141-26_0_4_line_87 |  | 87 | 88 | 0.00083354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-26_0_4_trafo_90 | 0.63 MVA 20/0.4 kV | 89 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684780.2614 | 1239119.6178 | 2684760.7262 | 1239119.7576
1 | 2684750.1828 | 1239119.8331 | 2684760.7262 | 1239119.7576
2 | 2684780.2614 | 1239119.6178 | 2684779.1393 | 1239124.5609 | 2684778.8814 | 1239130.4392 | 2684778.7432 | 1239134.8182 | 2684778.9655 | 1239140.4365 | 2684776.6144 | 1239145.1063 | 2684775.5533 | 1239148.4268
3 | 2684750.1828 | 1239119.8331 | 2684742.0397 | 1239121.1734
4 | 2684786.4301 | 1239173.8782 | 2684785.1242 | 1239173.6927 | 2684780.9947 | 1239173.1223 | 2684779.6963 | 1239172.9369 | 2684780.6124 | 1239167.0569 | 2684780.27 | 1239162.9602 | 2684777.0875 | 1239158.0557 | 2684775.4796 | 1239153.5851 | 2684775.5533 | 1239148.4268
5 | 2684775.5533 | 1239148.4268 | 2684764.2593 | 1239150.6941
6 | 2684729.2567 | 1239125.3718 | 2684742.0397 | 1239121.1734
7 | 2684795.7306 | 1239175.1786 | 2684791.3974 | 1239174.5718 | 2684790.6651 | 1239174.4724 | 2684786.9434 | 1239173.9522 | 2684786.4301 | 1239173.8782
8 | 2684776.8352 | 1239190.0083 | 2684778.0591 | 1239185.8784 | 2684779.6963 | 1239172.9369 | 2684780.9947 | 1239173.1223 | 2684785.1242 | 1239173.6927 | 2684786.4301 | 1239173.8782
9 | 2684760.7472 | 1239151.3992 | 2684764.2593 | 1239150.6941
10 | 2684795.7306 | 1239175.1786 | 2684799.9402 | 1239165.3761 | 2684802.1045 | 1239161.0398
11 | 2684795.7306 | 1239175.1786 | 2684794.1081 | 1239179.1471 | 2684791.7033 | 1239188.1081 | 2684788.5625 | 1239198.2817 | 2684786.8367 | 1239202.9984
12 | 2684776.8352 | 1239190.0083 | 2684776.2412 | 1239193.469 | 2684774.0584 | 1239193.2377 | 2684773.1076 | 1239200.496 | 2684766.6168 | 1239197.9603
13 | 2684803.9043 | 1239136.7566 | 2684804.4886 | 1239137.6878 | 2684806.8406 | 1239141.4241 | 2684807.3068 | 1239142.1535 | 2684807.6543 | 1239142.7144 | 2684809.8288 | 1239146.1702 | 2684810.5461 | 1239147.3146
14 | 2684803.9043 | 1239136.7566 | 2684808.147 | 1239134.1709 | 2684816.6691 | 1239126.9541 | 2684821.5727 | 1239122.6726
15 | 2684810.5461 | 1239147.3146 | 2684807.7012 | 1239151.0766 | 2684804.4256 | 1239156.3892 | 2684802.1045 | 1239161.0398
16 | 2684842.8446 | 1239104.5118 | 2684841.6267 | 1239105.573 | 2684832.6444 | 1239113.2279 | 2684823.9613 | 1239120.587 | 2684821.5727 | 1239122.6726
17 | 2684842.8446 | 1239104.5118 | 2684845.0147 | 1239107.2114 | 2684849.7917 | 1239103.2324 | 2684851.7396 | 1239105.6064 | 2684852.4532 | 1239106.4839 | 2684847.6709 | 1239111.3635 | 2684846.0042 | 1239114.7199 | 2684845.5129 | 1239118.927
18 | 2684835.0393 | 1239128.2507 | 2684835.6445 | 1239127.7145 | 2684839.46 | 1239124.3222 | 2684840.1956 | 1239123.6655 | 2684840.7167 | 1239123.1948 | 2684844.7313 | 1239119.6274 | 2684845.5129 | 1239118.927
19 | 2684845.5129 | 1239118.927 | 2684846.739 | 1239123.6368 | 2684850.7052 | 1239129.809 | 2684858.2663 | 1239140.0799 | 2684858.9321 | 1239140.9238
20 | 2684835.0393 | 1239128.2507 | 2684837.8885 | 1239129.4812 | 2684842.3867 | 1239133.8931 | 2684850.2686 | 1239143.7642
21 | 2684858.9321 | 1239140.9238 | 2684865.0665 | 1239148.6999
22 | 2684865.9809 | 1239162.3617 | 2684859.8276 | 1239155.7357 | 2684850.2686 | 1239143.7642
23 | 2684965.9645 | 1239256.9259 | 2684943.9428 | 1239288.7604
24 | 2684958.242 | 1239252.1454 | 2684959.2316 | 1239252.76 | 2684962.1858 | 1239254.5813 | 2684965.0573 | 1239256.3681 | 2684965.9645 | 1239256.9259
25 | 2684965.9645 | 1239256.9259 | 2684966.8397 | 1239255.6056
26 | 2684943.9428 | 1239288.7604 | 2684940.2671 | 1239294.0739 | 2684937.9124 | 1239297.4093 | 2684935.4881 | 1239300.8746
27 | 2684958.242 | 1239252.1454 | 2684949.3555 | 1239245.9127
28 | 2684958.242 | 1239252.1454 | 2684969.2335 | 1239236.2356 | 2684974.2518 | 1239231.5282
29 | 2684901.6421 | 1239328.6575 | 2684898.2164 | 1239326.4848
30 | 2684901.6421 | 1239328.6575 | 2684905.6564 | 1239331.4503
31 | 2684898.2164 | 1239326.4848 | 2684897.1952 | 1239329.6614 | 2684894.4888 | 1239334.2838
32 | 2684906.4221 | 1239309.123 | 2684905.1092 | 1239311.0167 | 2684900.6653 | 1239315.5119 | 2684897.8182 | 1239319.9522 | 2684897.4082 | 1239320.5912 | 2684898.0506 | 1239323.8027 | 2684898.2164 | 1239326.4848
33 | 2684911.7193 | 1239324.2874 | 2684909.3226 | 1239326.855 | 2684905.6564 | 1239331.4503
34 | 2684902.9888 | 1239209.1465 | 2684903.2965 | 1239212.4866 | 2684902.095 | 1239216.6391
35 | 2684902.095 | 1239216.6391 | 2684902.6408 | 1239217.0806 | 2684905.6775 | 1239219.4813 | 2684908.2879 | 1239221.5423 | 2684909.1181 | 1239222.1991
36 | 2684902.095 | 1239216.6391 | 2684890.5226 | 1239229.8054 | 2684883.6273 | 1239237.999
37 | 2684902.9888 | 1239209.1465 | 2684901.2133 | 1239205.8299 | 2684898.4413 | 1239202.3766 | 2684898.2762 | 1239202.1736
38 | 2684911.6538 | 1239219.9671 | 2684909.1181 | 1239222.1991
39 | 2684909.1181 | 1239222.1991 | 2684899.4978 | 1239233.2139 | 2684891.9178 | 1239242.2565 | 2684881.4495 | 1239254.3933 | 2684880.5478 | 1239255.44
40 | 2684868.2052 | 1239256.1584 | 2684871.287 | 1239252.0242 | 2684881.0271 | 1239241.0888 | 2684883.6273 | 1239237.999
41 | 2684906.4221 | 1239309.123 | 2684910.6487 | 1239308.1827 | 2684915.6462 | 1239306.7643 | 2684920.3923 | 1239304.4082 | 2684925.5328 | 1239299.3336 | 2684926.0407 | 1239298.7121
42 | 2685007.6442 | 1239266.8518 | 2685002.5977 | 1239267.9915 | 2684999.1096 | 1239267.5412 | 2685000.6835 | 1239252.186 | 2684998.7854 | 1239245.2873 | 2684993.4822 | 1239237.4168 | 2684986.2996 | 1239232.4327
43 | 2684986.2996 | 1239232.4327 | 2684989.2178 | 1239228.3159 | 2684994.6303 | 1239220.6804
44 | 2685007.6442 | 1239266.8518 | 2685011.6721 | 1239263.9407 | 2685021.0468 | 1239253.0776
45 | 2684994.6303 | 1239220.6804 | 2685008.3522 | 1239201.3226
46 | 2684911.7193 | 1239324.2874 | 2684915.0374 | 1239320.7656 | 2684919.8463 | 1239316.3881
47 | 2684935.4881 | 1239300.8746 | 2684934.9857 | 1239301.5927 | 2684932.3027 | 1239305.1346 | 2684927.7235 | 1239309.5723 | 2684921.8198 | 1239314.5915 | 2684919.8463 | 1239316.3881
48 | 2684924.398 | 1239203.1483 | 2684924.6848 | 1239202.6632 | 2684926.9264 | 1239198.2476 | 2684930.3939 | 1239189.1084
49 | 2684924.398 | 1239203.1483 | 2684921.1047 | 1239208.6211
50 | 2684930.3939 | 1239189.1084 | 2684930.7782 | 1239188.0954 | 2684935.9927 | 1239174.16 | 2684937.9617 | 1239170.115
51 | 2684911.6538 | 1239219.9671 | 2684920.5238 | 1239209.5864 | 2684921.1047 | 1239208.6211
52 | 2684898.2762 | 1239202.1736 | 2684889.2164 | 1239191.0366 | 2684882.626 | 1239182.7142 | 2684877.586 | 1239176.6083
53 | 2684883.6529 | 1239352.7906 | 2684894.4888 | 1239334.2838
54 | 2684911.6538 | 1239219.9671 | 2684920.2322 | 1239226.0446
55 | 2684949.3555 | 1239245.9127 | 2684943.369 | 1239241.714 | 2684929.3485 | 1239232.4957 | 2684923.8596 | 1239228.6145 | 2684920.2322 | 1239226.0446
56 | 2684989.0325 | 1239218.5564 | 2684984.8947 | 1239223.8397 | 2684975.1295 | 1239230.7049 | 2684974.2518 | 1239231.5282
57 | 2684887.4747 | 1239176.3679 | 2684878.3205 | 1239165.1725
58 | 2684887.4747 | 1239176.3679 | 2684888.0306 | 1239175.5752 | 2684902.6107 | 1239154.0875
59 | 2684878.3205 | 1239165.1725 | 2684870.9708 | 1239156.1842 | 2684865.0665 | 1239148.6999
60 | 2684840.307 | 1239180.9527 | 2684844.1542 | 1239176.3933 | 2684865.9809 | 1239162.3617
61 | 2684865.9809 | 1239162.3617 | 2684872.1496 | 1239170.022 | 2684877.586 | 1239176.6083
62 | 2684840.307 | 1239180.9527 | 2684835.0717 | 1239190.7279
63 | 2684729.2567 | 1239125.3718 | 2684732.216 | 1239133.7312 | 2684728.9943 | 1239139.5541
64 | 2684729.2567 | 1239125.3718 | 2684707.2119 | 1239133.1101
65 | 2684766.6168 | 1239197.9603 | 2684756.4705 | 1239193.9964
66 | 2684777.7429 | 1239228.6529 | 2684783.2807 | 1239212.7166 | 2684786.8367 | 1239202.9984
67 | 2685033.463 | 1239238.6901 | 2685031.8337 | 1239240.578
68 | 2685033.463 | 1239238.6901 | 2685058.247 | 1239208.3598
69 | 2685031.8337 | 1239240.578 | 2685021.0468 | 1239253.0776
70 | 2685071.7736 | 1239191.8063 | 2685058.247 | 1239208.3598
71 | 2684868.2052 | 1239256.1584 | 2684867.9245 | 1239256.5349 | 2684865.4665 | 1239261.8036 | 2684863.4991 | 1239268.2023 | 2684862.8557 | 1239274.0528
72 | 2685021.3491 | 1239182.9877 | 2685008.3522 | 1239201.3226
73 | 2684951.1227 | 1239145.5413 | 2684944.6199 | 1239156.4373 | 2684937.9617 | 1239170.115
74 | 2684989.0325 | 1239218.5564 | 2684992.2853 | 1239214.403
75 | 2684835.0717 | 1239190.7279 | 2684831.6067 | 1239197.1978
76 | 2684951.1227 | 1239145.5413 | 2684952.463 | 1239143.2956 | 2684964.3225 | 1239126.4754 | 2684967.6655 | 1239121.4032
77 | 2685098.2115 | 1239146.9182 | 2685099.5893 | 1239148.9505 | 2685100.0577 | 1239155.8511 | 2685099.453 | 1239157.9328 | 2685071.7736 | 1239191.8063
78 | 2685098.2115 | 1239146.9182 | 2685087.0653 | 1239138.1766
79 | 2685021.3491 | 1239182.9877 | 2685020.2456 | 1239178.7022
80 | 2685020.2456 | 1239178.7022 | 2685004.3128 | 1239199.0458
81 | 2684992.2853 | 1239214.403 | 2685004.3128 | 1239199.0458
82 | 2684831.291 | 1239197.7872 | 2684831.6067 | 1239197.1978
83 | 2684810.1032 | 1239241.7416 | 2684803.6052 | 1239253.5028 | 2684793.0646 | 1239272.2371
84 | 2684810.1032 | 1239241.7416 | 2684814.0645 | 1239234.5719 | 2684817.9254 | 1239225.7389
85 | 2684817.9254 | 1239225.7389 | 2684821.7827 | 1239216.9139 | 2684821.832 | 1239216.812
86 | 2684830.8975 | 1239198.522 | 2684828.6884 | 1239202.6467 | 2684821.832 | 1239216.812
87 | 2684830.8975 | 1239198.522 | 2684831.291 | 1239197.7872

## bus_geodata
| x | y | coords
0 | 2684760.7262 | 1239119.7576
1 | 2684780.2614 | 1239119.6178
2 | 2684750.1828 | 1239119.8331
3 | 2684775.5533 | 1239148.4268
4 | 2684742.0397 | 1239121.1734
5 | 2684786.4301 | 1239173.8782
6 | 2684764.2593 | 1239150.6941
7 | 2684795.7306 | 1239175.1786
8 | 2684776.8352 | 1239190.0083
9 | 2684803.9043 | 1239136.7566
10 | 2684810.5461 | 1239147.3146
11 | 2684821.5727 | 1239122.6726
12 | 2684842.8446 | 1239104.5118
13 | 2684845.5129 | 1239118.927
14 | 2684835.0393 | 1239128.2507
15 | 2684858.9321 | 1239140.9238
16 | 2684850.2686 | 1239143.7642
17 | 2684802.1045 | 1239161.0398
18 | 2684965.9645 | 1239256.9259
19 | 2684943.9428 | 1239288.7604
20 | 2684958.242 | 1239252.1454
21 | 2684966.8397 | 1239255.6056
22 | 2684901.6421 | 1239328.6575
23 | 2684898.2164 | 1239326.4848
24 | 2684905.6564 | 1239331.4503
25 | 2684902.095 | 1239216.6391
26 | 2684902.9888 | 1239209.1465
27 | 2684909.1181 | 1239222.1991
28 | 2684883.6273 | 1239237.999
29 | 2684906.4221 | 1239309.123
30 | 2684926.0407 | 1239298.7121
31 | 2684986.2996 | 1239232.4327
32 | 2685007.6442 | 1239266.8518
33 | 2684994.6303 | 1239220.6804
34 | 2684911.7193 | 1239324.2874
35 | 2684919.8463 | 1239316.3881
36 | 2684924.398 | 1239203.1483
37 | 2684930.3939 | 1239189.1084
38 | 2684921.1047 | 1239208.6211
39 | 2684898.2762 | 1239202.1736
40 | 2684894.4888 | 1239334.2838
41 | 2684911.6538 | 1239219.9671
42 | 2684880.5478 | 1239255.44
43 | 2684949.3555 | 1239245.9127
44 | 2684974.2518 | 1239231.5282
45 | 2684887.4747 | 1239176.3679
46 | 2684878.3205 | 1239165.1725
47 | 2684902.6107 | 1239154.0875
48 | 2684865.9809 | 1239162.3617
49 | 2684840.307 | 1239180.9527
50 | 2684877.586 | 1239176.6083
51 | 2684729.2567 | 1239125.3718
52 | 2684766.6168 | 1239197.9603
53 | 2684760.7472 | 1239151.3992
54 | 2684786.8367 | 1239202.9984
55 | 2684865.0665 | 1239148.6999
56 | 2684707.2119 | 1239133.1101
57 | 2684935.4881 | 1239300.8746
58 | 2685033.463 | 1239238.6901
59 | 2685031.8337 | 1239240.578
60 | 2685058.247 | 1239208.3598
61 | 2685021.0468 | 1239253.0776
62 | 2684868.2052 | 1239256.1584
63 | 2685008.3522 | 1239201.3226
64 | 2684937.9617 | 1239170.115
65 | 2684862.8557 | 1239274.0528
66 | 2684883.6529 | 1239352.7906
67 | 2684920.2322 | 1239226.0446
68 | 2684989.0325 | 1239218.5564
69 | 2684835.0717 | 1239190.7279
70 | 2684967.6655 | 1239121.4032
71 | 2684951.1227 | 1239145.5413
72 | 2684728.9943 | 1239139.5541
73 | 2685071.7736 | 1239191.8063
74 | 2685098.2115 | 1239146.9182
75 | 2685087.0653 | 1239138.1766
76 | 2685020.2456 | 1239178.7022
77 | 2685021.3491 | 1239182.9877
78 | 2685004.3128 | 1239199.0458
79 | 2684992.2853 | 1239214.403
80 | 2684831.6067 | 1239197.1978
81 | 2684777.7429 | 1239228.6529
82 | 2684793.0646 | 1239272.2371
83 | 2684810.1032 | 1239241.7416
84 | 2684756.4705 | 1239193.9964
85 | 2684817.9254 | 1239225.7389
86 | 2684821.832 | 1239216.812
87 | 2684830.8975 | 1239198.522
88 | 2684831.291 | 1239197.7872
89 | 2684898.2762 | 1239202.1736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98318 | -0.32411 | 0.0014492 | 0.00036319
1 | 0.98339 | -0.32001 | 0 | 0
2 | 0.98308 | -0.32605 | 0 | 0
3 | 0.98371 | -0.31378 | 0 | 0
4 | 0.98301 | -0.32757 | 0.0060481 | 0.0015158
5 | 0.98422 | -0.30384 | 0 | 0
6 | 0.98366 | -0.31487 | 0.0025038 | 0.00062751
7 | 0.98442 | -0.29987 | 0.0085092 | 0.0021326
8 | 0.98407 | -0.30671 | 0 | 0
9 | 0.98649 | -0.25969 | 0 | 0
10 | 0.98587 | -0.27161 | 0 | 0
11 | 0.9876 | -0.23807 | 0.0063323 | 0.001587
12 | 0.98914 | -0.20828 | 0 | 0
13 | 0.99072 | -0.17781 | 0 | 0
14 | 0.99172 | -0.1585 | 0 | 0
15 | 0.99029 | -0.18612 | 0.0062689 | 0.0015711
16 | 0.99329 | -0.12823 | 0.012804 | 0.003209
17 | 0.98508 | -0.28708 | 0.0074818 | 0.0018751
18 | 0.99087 | -0.17515 | 0 | 0
19 | 0.98965 | -0.19883 | 0.0045315 | 0.0011357
20 | 0.99127 | -0.16739 | 0 | 0
21 | 0.99085 | -0.17554 | 0.013775 | 0.0034523
22 | 0.98829 | -0.22507 | 0 | 0
23 | 0.98824 | -0.22618 | 0 | 0
24 | 0.98836 | -0.22373 | 0.0048112 | 0.0012058
25 | 0.99799 | -0.038305 | 0 | 0
26 | 0.99895 | -0.020054 | 0 | 0
27 | 0.997 | -0.057233 | 0 | 0
28 | 0.9972 | -0.053498 | 0.0066539 | 0.0016676
29 | 0.98802 | -0.23036 | 0 | 0
30 | 0.98778 | -0.23499 | 0.01134 | 0.0028421
31 | 0.9864 | -0.26183 | 0 | 0
32 | 0.98551 | -0.27909 | 0 | 0
33 | 0.98665 | -0.25681 | 0.0027925 | 0.00069986
34 | 0.98854 | -0.22035 | 0 | 0
35 | 0.98875 | -0.21627 | 0.0041183 | 0.0010321
36 | 0.99443 | -0.10659 | 0 | 0
37 | 0.99292 | -0.1355 | 0.012152 | 0.0030455
38 | 0.99505 | -0.094543 | 0.010497 | 0.0026307
39 | 1 | 0 | -0.43178 | -0.1093
40 | 0.98821 | -0.22681 | 0.0024389 | 0.00061124
41 | 0.99665 | -0.063994 | 0 | 0
42 | 0.99649 | -0.066993 | 0.012692 | 0.003181
43 | 0.99223 | -0.14873 | 0.0062511 | 0.0015667
44 | 0.99009 | -0.19012 | 0.0040387 | 0.0010122
45 | 0.98997 | -0.19228 | 0 | 0
46 | 0.99003 | -0.19123 | 0.0040548 | 0.0010162
47 | 0.98987 | -0.19424 | 0.0040843 | 0.0010236
48 | 0.99532 | -0.089378 | 0 | 0
49 | 0.99389 | -0.117 | 0 | 0
50 | 0.99767 | -0.04433 | 0.014633 | 0.0036673
51 | 0.98296 | -0.32858 | 0 | 0
52 | 0.98395 | -0.3091 | 0.0034222 | 0.00085768
53 | 0.98365 | -0.31505 | 0.0027576 | 0.00069111
54 | 0.98405 | -0.30715 | 0.0087501 | 0.002193
55 | 0.99018 | -0.18817 | 0.0035418 | 0.00088766
56 | 0.98293 | -0.32915 | 0.0013384 | 0.00033544
57 | 0.98924 | -0.20669 | 0.0055851 | 0.0013997
58 | 0.98487 | -0.29162 | 0 | 0
59 | 0.9849 | -0.29095 | 0.0023675 | 0.00059334
60 | 0.98433 | -0.3021 | 0.0049641 | 0.0012441
61 | 0.98516 | -0.28584 | 0.0022007 | 0.00055154
62 | 0.99668 | -0.063558 | 0.013125 | 0.0032894
63 | 0.98714 | -0.24736 | 0.0039411 | 0.00098773
64 | 0.99114 | -0.16991 | 0.0079057 | 0.0019814
65 | 0.99649 | -0.06718 | 0.010939 | 0.0027416
66 | 0.98817 | -0.22742 | 0.0015882 | 0.00039804
67 | 0.99558 | -0.084485 | 0.0076978 | 0.0019292
68 | 0.98928 | -0.20593 | 0.0024866 | 0.00062321
69 | 0.99339 | -0.12664 | 0.0086912 | 0.0021782
70 | 0.98767 | -0.23722 | 0.046193 | 0.011577
71 | 0.98891 | -0.21309 | 0.040847 | 0.010237
72 | 0.98291 | -0.32937 | 0.0028188 | 0.00070646
73 | 0.98413 | -0.30591 | 0.0019213 | 0.00048153
74 | 0.98373 | -0.31387 | 0 | 0
75 | 0.98362 | -0.31591 | 0.0079914 | 0.0020028
76 | 0.98779 | -0.23477 | 0 | 0
77 | 0.98768 | -0.23684 | 0 | 0
78 | 0.98841 | -0.22269 | 0.010568 | 0.0026485
79 | 0.98907 | -0.20991 | 0.0055324 | 0.0013865
80 | 0.99312 | -0.13189 | 0.0041724 | 0.0010457
81 | 0.98392 | -0.30963 | 0.0050749 | 0.0012719
82 | 0.99171 | -0.15911 | 0.012422 | 0.0031132
83 | 0.99211 | -0.15142 | 0.0021212 | 0.00053163
84 | 0.98392 | -0.30972 | 0.0031917 | 0.00079991
85 | 0.99234 | -0.14683 | 0.0071651 | 0.0017957
86 | 0.99254 | -0.14309 | 0.0067698 | 0.0016967
87 | 0.99307 | -0.13281 | 0.0045501 | 0.0011404
88 | 0.99309 | -0.13232 | 0.0033223 | 0.00083266
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011657 | -0.0029213 | 0.011659 | 0.0029225 | 2.28e-06 | 1.2114e-06 | 0.017642 | 0.017642 | 0.017642 | 0.98318 | -0.32411 | 0.98339 | -0.32001 | 4.8466
1 | 0.010207 | 0.0025581 | -0.010206 | -0.0025576 | 9.4362e-07 | 4.7022e-07 | 0.015449 | 0.015449 | 0.015449 | 0.98318 | -0.32411 | 0.98308 | -0.32605 | 4.2441
2 | -0.011659 | -0.0029225 | 0.011662 | 0.0029243 | 3.4629e-06 | 1.8397e-06 | 0.017642 | 0.017642 | 0.017642 | 0.98339 | -0.32001 | 0.98371 | -0.31378 | 4.8466
3 | 0.010206 | 0.0025576 | -0.010206 | -0.0025573 | 7.3859e-07 | 3.6807e-07 | 0.015449 | 0.015449 | 0.015449 | 0.98308 | -0.32605 | 0.98301 | -0.32757 | 4.2441
4 | -0.016924 | -0.004243 | 0.016932 | 0.0042477 | 8.0164e-06 | 4.7162e-06 | 0.025601 | 0.0256 | 0.025601 | 0.98371 | -0.31378 | 0.98422 | -0.30384 | 7.0331
5 | 0.0052617 | 0.0013186 | -0.0052614 | -0.0013186 | 2.7364e-07 | 2.8896e-08 | 0.007959 | 0.0079591 | 0.0079591 | 0.98371 | -0.31378 | 0.98366 | -0.31487 | 2.1866
6 | 0.0041576 | 0.0010415 | -0.0041574 | -0.0010415 | 1.9984e-07 | -4.2666e-08 | 0.0062933 | 0.0062934 | 0.0062934 | 0.98301 | -0.32757 | 0.98296 | -0.32858 | 1.729
7 | -0.023548 | -0.0059057 | 0.023552 | 0.0059084 | 4.4509e-06 | 2.7296e-06 | 0.035602 | 0.035602 | 0.035602 | 0.98422 | -0.30384 | 0.98442 | -0.29987 | 9.7809
8 | 0.0066156 | 0.001658 | -0.0066147 | -0.0016577 | 9.0604e-07 | 2.7298e-07 | 0.010002 | 0.010002 | 0.010002 | 0.98422 | -0.30384 | 0.98407 | -0.30671 | 2.7478
9 | 0.0027576 | 0.00069108 | -0.0027576 | -0.00069111 | 2.3376e-08 | -3.0511e-08 | 0.0041715 | 0.0041715 | 0.0041715 | 0.98366 | -0.31487 | 0.98365 | -0.31505 | 1.146
10 | -0.045892 | -0.011509 | 0.04592 | 0.011526 | 2.7997e-05 | 1.7721e-05 | 0.06937 | 0.06937 | 0.06937 | 0.98442 | -0.29987 | 0.98508 | -0.28708 | 19.0578
11 | 0.01383 | 0.0034676 | -0.013826 | -0.0034649 | 4.7916e-06 | 2.6951e-06 | 0.020906 | 0.020906 | 0.020906 | 0.98442 | -0.29987 | 0.98405 | -0.30715 | 5.7434
12 | 0.0066147 | 0.0016577 | -0.006614 | -0.0016575 | 7.5013e-07 | 2.2608e-07 | 0.010002 | 0.010002 | 0.010002 | 0.98407 | -0.30671 | 0.98395 | -0.3091 | 2.7478
13 | 0.053471 | 0.013446 | -0.053441 | -0.013426 | 3.0441e-05 | 1.9323e-05 | 0.080672 | 0.080672 | 0.080672 | 0.98649 | -0.25969 | 0.98587 | -0.27161 | 22.1626
14 | -0.053471 | -0.013446 | 0.053527 | 0.013481 | 5.5266e-05 | 3.5081e-05 | 0.080672 | 0.080672 | 0.080672 | 0.98649 | -0.25969 | 0.9876 | -0.23807 | 22.1626
15 | 0.053441 | 0.013426 | -0.053401 | -0.013401 | 3.9427e-05 | 2.5028e-05 | 0.080672 | 0.080672 | 0.080672 | 0.98587 | -0.27161 | 0.98508 | -0.28708 | 22.1626
16 | -0.059859 | -0.015068 | 0.059944 | 0.015122 | 8.5361e-05 | 5.4273e-05 | 0.090213 | 0.090213 | 0.090213 | 0.9876 | -0.23807 | 0.98914 | -0.20828 | 24.7837
17 | -0.059944 | -0.015122 | 0.060032 | 0.015178 | 8.7583e-05 | 5.5684e-05 | 0.090213 | 0.090212 | 0.090213 | 0.98914 | -0.20828 | 0.99072 | -0.17781 | 24.7837
18 | -0.077992 | -0.019682 | 0.078064 | 0.019728 | 7.2214e-05 | 4.6036e-05 | 0.11719 | 0.11719 | 0.11719 | 0.99072 | -0.17781 | 0.99172 | -0.1585 | 32.1946
19 | 0.01796 | 0.0045038 | -0.017953 | -0.0044996 | 7.1038e-06 | 4.2114e-06 | 0.026976 | 0.026976 | 0.026976 | 0.99072 | -0.17781 | 0.99029 | -0.18612 | 7.411
20 | -0.078064 | -0.019728 | 0.078177 | 0.0198 | 0.00011348 | 7.2345e-05 | 0.11719 | 0.11719 | 0.11719 | 0.99172 | -0.1585 | 0.99329 | -0.12823 | 32.1945
21 | 0.011684 | 0.0029284 | -0.011683 | -0.0029278 | 1.1448e-06 | 6.0524e-07 | 0.017556 | 0.017556 | 0.017556 | 0.99029 | -0.18612 | 0.99018 | -0.18817 | 4.8231
22 | -0.090981 | -0.023009 | 0.091151 | 0.023117 | 0.00016989 | 0.00010842 | 0.13637 | 0.13637 | 0.13637 | 0.99329 | -0.12823 | 0.99532 | -0.089378 | 37.4641
23 | 0.034488 | 0.0086706 | -0.034449 | -0.0086461 | 3.8952e-05 | 2.4431e-05 | 0.051802 | 0.051802 | 0.051802 | 0.99087 | -0.17515 | 0.98965 | -0.19883 | 14.2313
24 | -0.048263 | -0.012123 | 0.048281 | 0.012134 | 1.7897e-05 | 1.1337e-05 | 0.072488 | 0.072488 | 0.072488 | 0.99087 | -0.17515 | 0.99127 | -0.16739 | 19.9143
25 | 0.013775 | 0.0034524 | -0.013775 | -0.0034523 | 2.5419e-07 | 1.4228e-07 | 0.020686 | 0.020686 | 0.020686 | 0.99087 | -0.17515 | 0.99085 | -0.17554 | 5.683
26 | 0.029918 | 0.0075104 | -0.029907 | -0.0075034 | 1.1212e-05 | 6.9862e-06 | 0.044988 | 0.044988 | 0.044988 | 0.98965 | -0.19883 | 0.98924 | -0.20669 | 12.3595
27 | -0.097289 | -0.024491 | 0.097375 | 0.024547 | 8.686e-05 | 5.545e-05 | 0.14608 | 0.14608 | 0.14608 | 0.99127 | -0.16739 | 0.99223 | -0.14873 | 40.1321
28 | 0.049008 | 0.012357 | -0.048954 | -0.012323 | 5.3248e-05 | 3.3741e-05 | 0.073593 | 0.073593 | 0.073593 | 0.99127 | -0.16739 | 0.99009 | -0.19012 | 20.2178
29 | 0.015373 | 0.003854 | -0.015372 | -0.0038535 | 8.1327e-07 | 4.6862e-07 | 0.023146 | 0.023146 | 0.023146 | 0.98829 | -0.22507 | 0.98824 | -0.22618 | 6.3589
30 | -0.015373 | -0.003854 | 0.015374 | 0.0038546 | 9.8247e-07 | 5.6612e-07 | 0.023146 | 0.023146 | 0.023146 | 0.98829 | -0.22507 | 0.98836 | -0.22373 | 6.3589
31 | 0.0040272 | 0.001009 | -0.0040271 | -0.001009 | 1.1987e-07 | -3.4662e-08 | 0.0060638 | 0.0060638 | 0.0060638 | 0.98824 | -0.22618 | 0.98821 | -0.22681 | 1.6659
32 | 0.011345 | 0.0028445 | -0.011342 | -0.0028434 | 2.2566e-06 | 1.1801e-06 | 0.017082 | 0.017083 | 0.017083 | 0.98824 | -0.22618 | 0.98802 | -0.23036 | 4.693
33 | -0.020185 | -0.0050604 | 0.020188 | 0.0050623 | 3.2523e-06 | 1.9611e-06 | 0.03039 | 0.03039 | 0.03039 | 0.98836 | -0.22373 | 0.98854 | -0.22035 | 8.3488
34 | -0.27387 | -0.069376 | 0.27411 | 0.06953 | 0.00024032 | 0.00015361 | 0.4086 | 0.4086 | 0.4086 | 0.99799 | -0.038305 | 0.99895 | -0.020054 | 56.1269
35 | 0.24312 | 0.061656 | -0.24289 | -0.061514 | 0.000221 | 0.00014121 | 0.36275 | 0.36275 | 0.36275 | 0.99799 | -0.038305 | 0.997 | -0.057233 | 49.8277
36 | 0.030754 | 0.0077206 | -0.030731 | -0.0077067 | 2.2269e-05 | 1.3884e-05 | 0.045859 | 0.045859 | 0.045859 | 0.99799 | -0.038305 | 0.9972 | -0.053498 | 12.5986
37 | -0.27411 | -0.06953 | 0.27437 | 0.069699 | 0.00026458 | 0.00016911 | 0.4086 | 0.4086 | 0.4086 | 0.99895 | -0.020054 | 1 | 0 | 56.1269
38 | 0.2302 | 0.05833 | -0.23012 | -0.058283 | 7.475e-05 | 4.7752e-05 | 0.34379 | 0.34379 | 0.34379 | 0.997 | -0.057233 | 0.99665 | -0.063994 | 47.2243
39 | 0.012698 | 0.0031842 | -0.012692 | -0.003181 | 5.9043e-06 | 3.2074e-06 | 0.018952 | 0.018953 | 0.018953 | 0.997 | -0.057233 | 0.99649 | -0.066993 | 5.2068
40 | 0.024078 | 0.0060391 | -0.024066 | -0.006032 | 1.1541e-05 | 7.0752e-06 | 0.03593 | 0.03593 | 0.03593 | 0.9972 | -0.053498 | 0.99668 | -0.063558 | 9.8709
41 | 0.011342 | 0.0028434 | -0.01134 | -0.0028421 | 2.5004e-06 | 1.3077e-06 | 0.017083 | 0.017083 | 0.017083 | 0.98802 | -0.23036 | 0.98778 | -0.23499 | 4.693
42 | 0.019485 | 0.0048962 | -0.019469 | -0.0048866 | 1.6048e-05 | 9.6391e-06 | 0.029398 | 0.029399 | 0.029399 | 0.9864 | -0.26183 | 0.98551 | -0.27909 | 8.0766
43 | -0.019485 | -0.0048962 | 0.01949 | 0.004899 | 4.6688e-06 | 2.8041e-06 | 0.029398 | 0.029398 | 0.029398 | 0.9864 | -0.26183 | 0.98665 | -0.25681 | 8.0765
44 | 0.019469 | 0.0048866 | -0.019463 | -0.0048828 | 6.2613e-06 | 3.7612e-06 | 0.029399 | 0.029399 | 0.029399 | 0.98551 | -0.27909 | 0.98516 | -0.28584 | 8.0766
45 | -0.022282 | -0.0055989 | 0.022292 | 0.005605 | 1.0051e-05 | 6.1296e-06 | 0.03361 | 0.03361 | 0.03361 | 0.98665 | -0.25681 | 0.98714 | -0.24736 | 9.2335
46 | -0.020188 | -0.0050623 | 0.020192 | 0.0050647 | 3.9279e-06 | 2.3684e-06 | 0.03039 | 0.03039 | 0.03039 | 0.98854 | -0.22035 | 0.98875 | -0.21627 | 8.3488
47 | -0.02431 | -0.0060969 | 0.024322 | 0.0061037 | 1.1101e-05 | 6.8209e-06 | 0.036587 | 0.036587 | 0.036587 | 0.98875 | -0.21627 | 0.98924 | -0.20669 | 10.0515
48 | 0.10764 | 0.027185 | -0.10749 | -0.02709 | 0.00014888 | 9.5085e-05 | 0.16114 | 0.16114 | 0.16114 | 0.99443 | -0.10659 | 0.99292 | -0.1355 | 44.2681
49 | -0.10764 | -0.027185 | 0.1077 | 0.027224 | 6.2192e-05 | 3.972e-05 | 0.16114 | 0.16114 | 0.16114 | 0.99443 | -0.10659 | 0.99505 | -0.094543 | 44.2681
50 | 0.095335 | 0.024044 | -0.095179 | -0.023944 | 0.00015674 | 0.00010005 | 0.14293 | 0.14293 | 0.14293 | 0.99292 | -0.1355 | 0.99114 | -0.16991 | 39.2652
51 | -0.1182 | -0.029855 | 0.11837 | 0.029966 | 0.00017332 | 0.00011073 | 0.17683 | 0.17683 | 0.17683 | 0.99505 | -0.094543 | 0.99665 | -0.063994 | 48.5805
52 | 0.15576 | 0.039603 | -0.15543 | -0.039392 | 0.00033184 | 0.00021152 | 0.23197 | 0.23197 | 0.23197 | 1 | 0 | 0.99767 | -0.04433 | 31.8643
53 | 0.0015882 | 0.00039779 | -0.0015882 | -0.00039804 | 4.5994e-08 | -2.4531e-07 | 0.0023914 | 0.0023915 | 0.0023915 | 0.98821 | -0.22681 | 0.98817 | -0.22742 | 0.65701
54 | 0.11175 | 0.028317 | -0.11164 | -0.028247 | 0.0001099 | 7.0197e-05 | 0.16696 | 0.16696 | 0.16696 | 0.99665 | -0.063994 | 0.99558 | -0.084485 | 45.8682
55 | -0.10363 | -0.026113 | 0.10395 | 0.026317 | 0.00031954 | 0.00020405 | 0.15546 | 0.15545 | 0.15546 | 0.99223 | -0.14873 | 0.99558 | -0.084485 | 42.7075
56 | 0.044916 | 0.011311 | -0.044882 | -0.011289 | 3.3941e-05 | 2.1467e-05 | 0.067523 | 0.067523 | 0.067523 | 0.99009 | -0.19012 | 0.98928 | -0.20593 | 18.5503
57 | -0.0040847 | -0.0010235 | 0.0040849 | 0.0010235 | 2.0441e-07 | -5.5123e-08 | 0.0061395 | 0.0061395 | 0.0061395 | 0.98997 | -0.19228 | 0.99003 | -0.19123 | 1.6867
58 | 0.0040847 | 0.0010235 | -0.0040843 | -0.0010236 | 3.8075e-07 | -1.0261e-07 | 0.0061395 | 0.0061397 | 0.0061397 | 0.98997 | -0.19228 | 0.98987 | -0.19424 | 1.6867
59 | -0.0081396 | -0.0020397 | 0.0081408 | 0.0020402 | 1.1867e-06 | 4.8754e-07 | 0.012234 | 0.012234 | 0.012234 | 0.99003 | -0.19123 | 0.99018 | -0.18817 | 3.3609
60 | 0.049339 | 0.012412 | -0.049274 | -0.012371 | 6.5024e-05 | 4.1202e-05 | 0.073779 | 0.073779 | 0.073779 | 0.99532 | -0.089378 | 0.99389 | -0.117 | 20.269
61 | -0.14049 | -0.03553 | 0.14079 | 0.035724 | 0.00030431 | 0.00019452 | 0.21015 | 0.21015 | 0.21015 | 0.99532 | -0.089378 | 0.99767 | -0.04433 | 57.733
62 | 0.049274 | 0.012371 | -0.049251 | -0.012357 | 2.2635e-05 | 1.4343e-05 | 0.073779 | 0.073779 | 0.073779 | 0.99389 | -0.117 | 0.99339 | -0.12664 | 20.269
63 | 0.0028189 | 0.00070633 | -0.0028188 | -0.00070646 | 1.06e-07 | -1.2891e-07 | 0.0042673 | 0.0042673 | 0.0042673 | 0.98296 | -0.32858 | 0.98291 | -0.32937 | 1.1723
64 | 0.0013385 | 0.00033517 | -0.0013384 | -0.00033544 | 3.5968e-08 | -2.7312e-07 | 0.0020261 | 0.0020262 | 0.0020262 | 0.98296 | -0.32858 | 0.98293 | -0.32915 | 0.55665
65 | 0.0031918 | 0.00079983 | -0.0031917 | -0.00079991 | 9.5173e-08 | -7.7445e-08 | 0.0048268 | 0.0048269 | 0.0048269 | 0.98395 | -0.3091 | 0.98392 | -0.30972 | 1.3261
66 | 0.0050755 | 0.0012719 | -0.0050749 | -0.0012719 | 6.0124e-07 | 3.9038e-08 | 0.0076748 | 0.0076749 | 0.0076749 | 0.98405 | -0.30715 | 0.98392 | -0.30963 | 2.1085
67 | -0.01489 | -0.0037352 | 0.01489 | 0.0037355 | 4.7334e-07 | 2.712e-07 | 0.022498 | 0.022498 | 0.022498 | 0.98487 | -0.29162 | 0.9849 | -0.29095 | 6.1808
68 | 0.01489 | 0.0037352 | -0.014882 | -0.0037309 | 7.4347e-06 | 4.26e-06 | 0.022498 | 0.022498 | 0.022498 | 0.98487 | -0.29162 | 0.98433 | -0.3021 | 6.1808
69 | -0.017258 | -0.0043288 | 0.017262 | 0.0043313 | 4.2096e-06 | 2.4839e-06 | 0.026075 | 0.026075 | 0.026075 | 0.9849 | -0.29095 | 0.98516 | -0.28584 | 7.1634
70 | 0.0099184 | 0.0024868 | -0.0099166 | -0.0024859 | 1.8023e-06 | 8.8178e-07 | 0.014994 | 0.014994 | 0.014994 | 0.98433 | -0.3021 | 0.98413 | -0.30591 | 4.1193
71 | 0.010941 | 0.0027426 | -0.010939 | -0.0027416 | 1.8875e-06 | 9.6221e-07 | 0.016335 | 0.016335 | 0.016335 | 0.99668 | -0.063558 | 0.99649 | -0.06718 | 4.4876
72 | -0.026233 | -0.0065927 | 0.026246 | 0.0066009 | 1.3183e-05 | 8.1497e-06 | 0.039551 | 0.03955 | 0.039551 | 0.98714 | -0.24736 | 0.98768 | -0.23684 | 10.8655
73 | 0.087273 | 0.021963 | -0.087093 | -0.021848 | 0.00017971 | 0.00011465 | 0.13106 | 0.13106 | 0.13106 | 0.99114 | -0.16991 | 0.98891 | -0.21309 | 36.0045
74 | 0.042395 | 0.010666 | -0.042387 | -0.010661 | 8.0484e-06 | 5.0832e-06 | 0.063783 | 0.063783 | 0.063783 | 0.98928 | -0.20593 | 0.98907 | -0.20991 | 17.5228
75 | 0.04056 | 0.010179 | -0.04055 | -0.010172 | 1.0161e-05 | 6.408e-06 | 0.06076 | 0.06076 | 0.06076 | 0.99339 | -0.12664 | 0.99312 | -0.13189 | 16.6924
76 | -0.046193 | -0.011577 | 0.046246 | 0.011611 | 5.3163e-05 | 3.3649e-05 | 0.069594 | 0.069594 | 0.069594 | 0.98767 | -0.23722 | 0.98891 | -0.21309 | 19.1193
77 | 0.0079952 | 0.0020044 | -0.0079922 | -0.0020032 | 3.0299e-06 | 1.237e-06 | 0.012089 | 0.012089 | 0.012089 | 0.98413 | -0.30591 | 0.98373 | -0.31387 | 3.3212
78 | 0.0079922 | 0.0020032 | -0.0079914 | -0.0020028 | 7.7636e-07 | 3.1705e-07 | 0.012089 | 0.012089 | 0.012089 | 0.98373 | -0.31387 | 0.98362 | -0.31591 | 3.3213
79 | 0.026249 | 0.0066025 | -0.026246 | -0.0066009 | 2.5957e-06 | 1.6046e-06 | 0.03955 | 0.03955 | 0.03955 | 0.98779 | -0.23477 | 0.98768 | -0.23684 | 10.8655
80 | -0.026249 | -0.0066025 | 0.026264 | 0.0066119 | 1.5158e-05 | 9.3698e-06 | 0.03955 | 0.03955 | 0.03955 | 0.98779 | -0.23477 | 0.98841 | -0.22269 | 10.8655
81 | -0.036832 | -0.0092604 | 0.036855 | 0.0092746 | 2.2499e-05 | 1.4149e-05 | 0.05546 | 0.05546 | 0.05546 | 0.98841 | -0.22269 | 0.98907 | -0.20991 | 15.2362
82 | 0.036377 | 0.0091265 | -0.036377 | -0.009126 | 7.4492e-07 | 4.681e-07 | 0.054509 | 0.054509 | 0.054509 | 0.99312 | -0.13189 | 0.99309 | -0.13232 | 14.9749
83 | -0.012422 | -0.0031132 | 0.012426 | 0.0031157 | 4.5507e-06 | 2.4615e-06 | 0.018638 | 0.018638 | 0.018638 | 0.99171 | -0.15911 | 0.99211 | -0.15142 | 5.1204
84 | -0.014548 | -0.0036473 | 0.014551 | 0.0036491 | 3.1835e-06 | 1.8072e-06 | 0.02182 | 0.02182 | 0.02182 | 0.99211 | -0.15142 | 0.99234 | -0.14683 | 5.9944
85 | -0.021716 | -0.0054448 | 0.02172 | 0.0054472 | 3.8748e-06 | 2.354e-06 | 0.032564 | 0.032564 | 0.032564 | 0.99234 | -0.14683 | 0.99254 | -0.14309 | 8.9461
86 | -0.02849 | -0.0071439 | 0.028503 | 0.0071525 | 1.3968e-05 | 8.6754e-06 | 0.042713 | 0.042713 | 0.042713 | 0.99254 | -0.14309 | 0.99307 | -0.13281 | 11.7343
87 | -0.033054 | -0.0082929 | 0.033054 | 0.0082934 | 7.6684e-07 | 4.7999e-07 | 0.049531 | 0.049531 | 0.049531 | 0.99307 | -0.13281 | 0.99309 | -0.13232 | 13.6073

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44119 | 0.11166

## res_load
| p_mw | q_mvar
0 | 0.0014492 | 0.00036319
1 | 0.0060481 | 0.0015158
2 | 0.0025038 | 0.00062751
3 | 0.0085092 | 0.0021326
4 | 0.0063323 | 0.001587
5 | 0.0062689 | 0.0015711
6 | 0.012804 | 0.003209
7 | 0.0074818 | 0.0018751
8 | 0.0045315 | 0.0011357
9 | 0.013775 | 0.0034523
10 | 0.0048112 | 0.0012058
11 | 0.0066539 | 0.0016676
12 | 0.01134 | 0.0028421
13 | 0.0027925 | 0.00069986
14 | 0.0041183 | 0.0010321
15 | 0.012152 | 0.0030455
16 | 0.010497 | 0.0026307
17 | 0.0094104 | 0.0023585
18 | 0.0024389 | 0.00061124
19 | 0.012692 | 0.003181
20 | 0.0062511 | 0.0015667
21 | 0.0040387 | 0.0010122
22 | 0.0040548 | 0.0010162
23 | 0.0040843 | 0.0010236
24 | 0.014633 | 0.0036673
25 | 0.0034222 | 0.00085768
26 | 0.0027576 | 0.00069111
27 | 0.0087501 | 0.002193
28 | 0.0035418 | 0.00088766
29 | 0.0013384 | 0.00033544
30 | 0.0055851 | 0.0013997
31 | 0.0023675 | 0.00059334
32 | 0.0049641 | 0.0012441
33 | 0.0022007 | 0.00055154
34 | 0.013125 | 0.0032894
35 | 0.0039411 | 0.00098773
36 | 0.0079057 | 0.0019814
37 | 0.010939 | 0.0027416
38 | 0.0015882 | 0.00039804
39 | 0.0076978 | 0.0019292
40 | 0.0024866 | 0.00062321
41 | 0.0086912 | 0.0021782
42 | 0.046193 | 0.011577
43 | 0.040847 | 0.010237
44 | 0.0028188 | 0.00070646
45 | 0.0019213 | 0.00048153
46 | 0.0079914 | 0.0020028
47 | 0.010568 | 0.0026485
48 | 0.0055324 | 0.0013865
49 | 0.0041724 | 0.0010457
50 | 0.0050749 | 0.0012719
51 | 0.012422 | 0.0031132
52 | 0.0021212 | 0.00053163
53 | 0.0031917 | 0.00079991
54 | 0.0071651 | 0.0017957
55 | 0.0067698 | 0.0016967
56 | 0.0045501 | 0.0011404
57 | 0.0033223 | 0.00083266

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1