## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-28_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-28_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-28_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_141-28_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-28_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_141-28_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_141-28_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_141-28_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_141-28_0_2_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_141-28_0_2_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_141-28_0_2_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_141-28_0_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_141-28_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_141-28_0_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_141-28_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_141-28_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_141-28_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_141-28_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_141-28_0_2_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_141-28_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_141-28_0_2_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_141-28_0_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_141-28_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_141-28_0_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_141-28_0_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_141-28_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_141-28_0_2_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_141-28_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_141-28_0_2_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_141-28_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_141-28_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_141-28_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_141-28_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_141-28_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_141-28_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_141-28_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_141-28_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_141-28_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_141-28_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_141-28_0_2_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_141-28_0_2_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_141-28_0_2_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_141-28_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_141-28_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_141-28_0_2_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_141-28_0_2_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_141-28_0_2_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_141-28_0_2_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_141-28_0_2_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_141-28_0_2_node_98 | 0.4 | n |  | TRUE
50 | bus_MV_491_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-28_0_2_load_0 | 0 | 0.0066301 | 0.0016617 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-28_0_2_load_4 | 4 | 0.0042078 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-28_0_2_load_5 | 5 | 0.0024533 | 0.00061486 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-28_0_2_load_24 | 8 | 0.026001 | 0.0065166 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-28_0_2_load_27 | 9 | 0.0042709 | 0.0010704 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-28_0_2_load_50 | 10 | 0.007416 | 0.0018586 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-28_0_2_load_47 | 11 | 0.020972 | 0.0052561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-28_0_2_load_35 | 13 | 0.0063566 | 0.0015931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-28_0_2_load_100 | 18 | 0.0090562 | 0.0022697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-28_0_2_load_46 | 20 | 0.0083194 | 0.002085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-28_0_2_load_44 | 21 | 0.029592 | 0.0074165 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-28_0_2_load_40 | 23 | 0.0080166 | 0.0020092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-28_0_2_load_39 | 24 | 0.0063182 | 0.0015835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-28_0_2_load_45 | 26 | 0.041692 | 0.010449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-28_0_2_load_37 | 27 | 0.014468 | 0.0036261 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-28_0_2_load_43 | 28 | 0.0015493 | 0.00038829 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-28_0_2_load_34 | 35 | 0.0039004 | 0.00097754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-28_0_2_load_33 | 36 | 0.0044223 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-28_0_2_load_28 | 37 | 0.0010606 | 0.0002658 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-28_0_2_load_49 | 39 | 0.011731 | 0.0029401 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-28_0_2_load_97 | 40 | 0.0052753 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-28_0_2_load_94 | 41 | 0.0030757 | 0.00077084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-28_0_2_load_36 | 42 | 0.013544 | 0.0033943 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-28_0_2_load_38 | 43 | 0.0033745 | 0.00084573 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-28_0_2_load_48 | 44 | 0.01675 | 0.004198 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-28_0_2_load_99 | 45 | 0.0064263 | 0.0016106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-28_0_2_load_93 | 46 | 0.004654 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-28_0_2_load_95 | 47 | 0.0065787 | 0.0016488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-28_0_2_load_96 | 48 | 0.012095 | 0.0030312 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-28_0_2_load_98 | 49 | 0.0049732 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-28_0_2_line_0 |  | 0 | 1 | 0.035345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-28_0_2_line_1 |  | 0 | 2 | 0.031982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-28_0_2_line_2 |  | 1 | 3 | 0.004636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-28_0_2_line_3 |  | 1 | 4 | 0.030789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-28_0_2_line_4 |  | 1 | 5 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-28_0_2_line_5 |  | 2 | 6 | 0.05012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-28_0_2_line_6 |  | 3 | 7 | 0.003389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-28_0_2_line_7 |  | 3 | 8 | 0.04779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-28_0_2_line_8 |  | 4 | 9 | 0.0093181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-28_0_2_line_9 |  | 6 | 10 | 0.042249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-28_0_2_line_10 |  | 6 | 11 | 0.051604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-28_0_2_line_11 |  | 7 | 35 | 0.036661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-28_0_2_line_12 |  | 7 | 36 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-28_0_2_line_13 |  | 8 | 34 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-28_0_2_line_14 |  | 9 | 37 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-28_0_2_line_15 |  | 10 | 26 | 0.0099335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-28_0_2_line_16 |  | 12 | 13 | 0.087306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-28_0_2_line_17 |  | 12 | 14 | 0.036736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-28_0_2_line_18 |  | 12 | 15 | 0.044402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-28_0_2_line_19 |  | 14 | 16 | 0.004004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-28_0_2_line_20 |  | 15 | 27 | 0.02141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-28_0_2_line_21 |  | 16 | 17 | 0.10372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-28_0_2_line_22 |  | 16 | 18 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-28_0_2_line_23 |  | 17 | 28 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-28_0_2_line_24 |  | 19 | 20 | 0.032393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-28_0_2_line_25 |  | 19 | 21 | 0.03116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-28_0_2_line_26 |  | 20 | 30 | 0.026181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-28_0_2_line_27 |  | 21 | 25 | 0.027089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-28_0_2_line_28 |  | 22 | 23 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-28_0_2_line_29 |  | 22 | 24 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-28_0_2_line_30 |  | 23 | 29 | 0.036879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-28_0_2_line_31 |  | 25 | 26 | 0.029562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-28_0_2_line_32 |  | 27 | 32 | 0.031368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-28_0_2_line_33 |  | 29 | 30 | 0.036303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-28_0_2_line_34 |  | 30 | 31 | 0.046332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-28_0_2_line_35 |  | 31 | 38 | 0.1733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-28_0_2_line_36 |  | 31 | 39 | 0.039773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-28_0_2_line_37 |  | 32 | 33 | 0.029262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-28_0_2_line_38 |  | 33 | 42 | 0.026759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-28_0_2_line_39 |  | 33 | 34 | 0.041889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-28_0_2_line_40 |  | 35 | 43 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-28_0_2_line_41 |  | 38 | 40 | 0.032043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-28_0_2_line_42 |  | 38 | 41 | 0.098537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-28_0_2_line_43 |  | 39 | 44 | 0.033229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_141-28_0_2_line_44 |  | 40 | 45 | 0.023868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_141-28_0_2_line_45 |  | 41 | 46 | 0.0031843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-28_0_2_line_46 |  | 46 | 47 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_141-28_0_2_line_47 |  | 47 | 48 | 0.02837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_141-28_0_2_line_48 |  | 48 | 49 | 0.030071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-28_0_2_trafo_45 | 0.63 MVA 20/0.4 kV | 50 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2685836.2284 | 1237712.809 | 2685834.8339 | 1237746.98 | 2685834.9516 | 1237748.1192
1 | 2685839.247 | 1237779.8007 | 2685838.9436 | 1237778.2841 | 2685836.1348 | 1237759.5745 | 2685834.9516 | 1237748.1192
2 | 2685836.2284 | 1237712.809 | 2685836.9302 | 1237708.227
3 | 2685836.2284 | 1237712.809 | 2685866.9401 | 1237710.6301
4 | 2685836.2284 | 1237712.809 | 2685817.6543 | 1237718.7853
5 | 2685844.5015 | 1237810.4097 | 2685850.2332 | 1237800.1741 | 2685846.0856 | 1237794.5212 | 2685830.1621 | 1237788.5646 | 2685829.9089 | 1237787.2377 | 2685832.6412 | 1237785.0757 | 2685839.2652 | 1237782.2027 | 2685839.247 | 1237779.8007
6 | 2685837.4402 | 1237704.8764 | 2685836.9302 | 1237708.227
7 | 2685836.9302 | 1237708.227 | 2685831.2561 | 1237710.2909 | 2685824.5348 | 1237712.5621 | 2685815.1717 | 1237716.4963 | 2685805.6474 | 1237721.1065 | 2685799.2909 | 1237724.317 | 2685793.2589 | 1237727.453
8 | 2685876.2348 | 1237709.9707 | 2685866.9401 | 1237710.6301
9 | 2685844.5015 | 1237810.4097 | 2685843.0493 | 1237812.9905 | 2685838.6328 | 1237821.2215 | 2685822.7366 | 1237828.0411 | 2685810.9628 | 1237823.4179
10 | 2685844.5015 | 1237810.4097 | 2685859.5049 | 1237813.5399 | 2685865.1409 | 1237816.7236 | 2685867.6406 | 1237821.7522 | 2685867.1908 | 1237825.1259 | 2685859.5865 | 1237844.4701
11 | 2685837.4402 | 1237704.8764 | 2685850.1388 | 1237675.917 | 2685850.8096 | 1237670.9218
12 | 2685837.4402 | 1237704.8764 | 2685828.7998 | 1237697.0237 | 2685824.9913 | 1237693.9511
13 | 2685781.2076 | 1237733.7737 | 2685787.8254 | 1237730.2779 | 2685793.2589 | 1237727.453
14 | 2685876.2348 | 1237709.9707 | 2685886.2982 | 1237709.2567
15 | 2685810.9628 | 1237823.4179 | 2685801.7166 | 1237819.7871
16 | 2685731.2097 | 1237778.395 | 2685742.6117 | 1237777.8703 | 2685770.3349 | 1237775.1575 | 2685810.8965 | 1237769.9062 | 2685817.9509 | 1237768.8277
17 | 2685723.541 | 1237814.3212 | 2685729.7301 | 1237785.5009 | 2685731.2097 | 1237778.395
18 | 2685704.6948 | 1237755.0734 | 2685704.5842 | 1237758.541 | 2685710.8941 | 1237768.5058 | 2685716.5832 | 1237769.5887 | 2685716.409 | 1237771.6988 | 2685716.0229 | 1237776.43 | 2685715.9228 | 1237777.596 | 2685724.6902 | 1237778.2341 | 2685731.2097 | 1237778.395
19 | 2685723.541 | 1237814.3212 | 2685719.5615 | 1237813.7856
20 | 2685704.6948 | 1237755.0734 | 2685711.858 | 1237734.8977
21 | 2685666.846 | 1237847.06 | 2685669.6787 | 1237838.4614 | 2685673.025 | 1237829.9258 | 2685676.0713 | 1237822.2531 | 2685678.0845 | 1237816.4446 | 2685679.823 | 1237813.412 | 2685682.1026 | 1237810.1092 | 2685685.4654 | 1237806.1993 | 2685689.2241 | 1237802.6399 | 2685693.3742 | 1237799.7421 | 2685697.2941 | 1237797.5971 | 2685702.1163 | 1237795.8432 | 2685706.7707 | 1237794.6984 | 2685710.6665 | 1237794.221 | 2685714.3969 | 1237794.197 | 2685719.4844 | 1237795.0266 | 2685721.4426 | 1237795.6442 | 2685722.1006 | 1237796.1874 | 2685722.6802 | 1237796.9185 | 2685721.1423 | 1237805.4357 | 2685719.5615 | 1237813.7856
22 | 2685719.5615 | 1237813.7856 | 2685718.4645 | 1237818.4953 | 2685715.7377 | 1237831.81 | 2685715.5443 | 1237833.0724
23 | 2685666.846 | 1237847.06 | 2685666.4028 | 1237848.4102 | 2685662.7259 | 1237860.9884 | 2685661.2539 | 1237866.8066
24 | 2685762.204 | 1237887.5651 | 2685765.094 | 1237898.5703 | 2685757.7585 | 1237918.2633
25 | 2685762.204 | 1237887.5651 | 2685765.4965 | 1237856.5793
26 | 2685748.6198 | 1237942.7975 | 2685757.7585 | 1237918.2633
27 | 2685774.3919 | 1237831.0672 | 2685773.6488 | 1237835.3707 | 2685765.4965 | 1237856.5793
28 | 2685714.497 | 1237885.7641 | 2685714.6177 | 1237895.824
29 | 2685714.497 | 1237885.7641 | 2685714.9962 | 1237870.4717
30 | 2685715.7036 | 1237932.6707 | 2685714.9468 | 1237923.253 | 2685714.6177 | 1237895.824
31 | 2685774.3919 | 1237831.0672 | 2685801.7166 | 1237819.7871
32 | 2685722.3533 | 1237705.337 | 2685711.858 | 1237734.8977
33 | 2685715.7036 | 1237932.6707 | 2685718.8949 | 1237932.7723 | 2685719.5064 | 1237934.9605 | 2685720.7449 | 1237936.6907 | 2685722.5614 | 1237937.6843 | 2685726.9656 | 1237938.1482 | 2685734.7677 | 1237939.0726 | 2685740.2281 | 1237940.2634 | 2685748.6198 | 1237942.7975
34 | 2685748.6198 | 1237942.7975 | 2685765.5069 | 1237947.4891 | 2685774.5342 | 1237951.0664 | 2685782.419 | 1237956.7399 | 2685789.3463 | 1237963.2224
35 | 2685789.3463 | 1237963.2224 | 2685796.0509 | 1237971.5029 | 2685802.0652 | 1237983.5762 | 2685805.1372 | 1237997.6863 | 2685801.3142 | 1237998.8875 | 2685801.4933 | 1238004.8166 | 2685793.4658 | 1238037.2906 | 2685794.9222 | 1238048.0193 | 2685804.6423 | 1238061.2247 | 2685813.311 | 1238068.1327 | 2685818.6274 | 1238060.4373 | 2685831.1858 | 1238018.6221
36 | 2685789.3463 | 1237963.2224 | 2685802.0622 | 1237948.7179 | 2685810.744 | 1237930.1644
37 | 2685749.8679 | 1237715.5192 | 2685722.3533 | 1237705.337
38 | 2685749.8679 | 1237715.5192 | 2685759.0762 | 1237690.3948
39 | 2685781.2076 | 1237733.7737 | 2685747.7096 | 1237721.4145 | 2685749.8679 | 1237715.5192
40 | 2685850.8096 | 1237670.9218 | 2685854.0444 | 1237646.8339
41 | 2685831.1858 | 1238018.6221 | 2685844.0918 | 1238005.0989 | 2685851.2779 | 1237993.8479
42 | 2685831.1858 | 1238018.6221 | 2685844.8661 | 1237966.2044 | 2685859.9618 | 1237924.4879
43 | 2685824.8274 | 1237900.0674 | 2685824.8274 | 1237900.0674 | 2685810.744 | 1237930.1644
44 | 2685864.1256 | 1237973.7326 | 2685851.2779 | 1237993.8479
45 | 2685861.0453 | 1237921.4936 | 2685859.9618 | 1237924.4879
46 | 2685861.0453 | 1237921.4936 | 2685867.8872 | 1237902.5861
47 | 2685867.8872 | 1237902.5861 | 2685874.7818 | 1237883.5331 | 2685877.5511 | 1237875.9129
48 | 2685877.5511 | 1237875.9129 | 2685887.8222 | 1237847.6502

## bus_geodata
| x | y | coords
0 | 2685834.9516 | 1237748.1192
1 | 2685836.2284 | 1237712.809
2 | 2685839.247 | 1237779.8007
3 | 2685836.9302 | 1237708.227
4 | 2685866.9401 | 1237710.6301
5 | 2685817.6543 | 1237718.7853
6 | 2685844.5015 | 1237810.4097
7 | 2685837.4402 | 1237704.8764
8 | 2685793.2589 | 1237727.453
9 | 2685876.2348 | 1237709.9707
10 | 2685810.9628 | 1237823.4179
11 | 2685859.5865 | 1237844.4701
12 | 2685731.2097 | 1237778.395
13 | 2685817.9509 | 1237768.8277
14 | 2685723.541 | 1237814.3212
15 | 2685704.6948 | 1237755.0734
16 | 2685719.5615 | 1237813.7856
17 | 2685666.846 | 1237847.06
18 | 2685715.5443 | 1237833.0724
19 | 2685762.204 | 1237887.5651
20 | 2685757.7585 | 1237918.2633
21 | 2685765.4965 | 1237856.5793
22 | 2685714.497 | 1237885.7641
23 | 2685714.6177 | 1237895.824
24 | 2685714.9962 | 1237870.4717
25 | 2685774.3919 | 1237831.0672
26 | 2685801.7166 | 1237819.7871
27 | 2685711.858 | 1237734.8977
28 | 2685661.2539 | 1237866.8066
29 | 2685715.7036 | 1237932.6707
30 | 2685748.6198 | 1237942.7975
31 | 2685789.3463 | 1237963.2224
32 | 2685722.3534 | 1237705.337
33 | 2685749.8679 | 1237715.5192
34 | 2685781.2076 | 1237733.7737
35 | 2685850.8096 | 1237670.9218
36 | 2685824.9913 | 1237693.9511
37 | 2685886.2982 | 1237709.2567
38 | 2685831.1858 | 1238018.6221
39 | 2685810.744 | 1237930.1644
40 | 2685851.2779 | 1237993.8479
41 | 2685859.9618 | 1237924.4879
42 | 2685759.0762 | 1237690.3948
43 | 2685854.0444 | 1237646.8339
44 | 2685824.8274 | 1237900.0674
45 | 2685864.1256 | 1237973.7326
46 | 2685861.0453 | 1237921.4936
47 | 2685867.8872 | 1237902.5861
48 | 2685877.5511 | 1237875.9129
49 | 2685887.8222 | 1237847.6502
50 | 2685774.3919 | 1237831.0672

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98632 | -0.26107 | 0.0066301 | 0.0016617
1 | 0.98322 | -0.32122 | 0 | 0
2 | 0.98932 | -0.20319 | 0 | 0
3 | 0.98286 | -0.32813 | 0 | 0
4 | 0.98295 | -0.32652 | 0.0042078 | 0.0010546
5 | 0.98317 | -0.32208 | 0.0024533 | 0.00061486
6 | 0.99403 | -0.11319 | 0 | 0
7 | 0.98282 | -0.32885 | 0 | 0
8 | 0.97971 | -0.38954 | 0.026001 | 0.0065166
9 | 0.9829 | -0.32741 | 0.0042709 | 0.0010704
10 | 0.99881 | -0.022485 | 0.007416 | 0.0018586
11 | 0.99304 | -0.1323 | 0.020972 | 0.0052561
12 | 0.97458 | -0.49031 | 0 | 0
13 | 0.97406 | -0.5005 | 0.0063566 | 0.0015931
14 | 0.97422 | -0.49746 | 0 | 0
15 | 0.97528 | -0.47649 | 0 | 0
16 | 0.97418 | -0.49824 | 0 | 0
17 | 0.97403 | -0.5012 | 0 | 0
18 | 0.97401 | -0.50152 | 0.0090562 | 0.0022697
19 | 0.99079 | -0.17506 | 0 | 0
20 | 0.98796 | -0.22941 | 0.0083194 | 0.002085
21 | 0.99352 | -0.12306 | 0.029592 | 0.0074165
22 | 0.98485 | -0.28964 | 0 | 0
23 | 0.98491 | -0.28849 | 0.0080166 | 0.0020092
24 | 0.98476 | -0.29137 | 0.0063182 | 0.0015835
25 | 0.99662 | -0.064019 | 0 | 0
26 | 1 | 0 | -0.25933 | -0.066188
27 | 0.97562 | -0.46983 | 0.014468 | 0.0036261
28 | 0.974 | -0.50178 | 0.0015493 | 0.00038829
29 | 0.9854 | -0.279 | 0 | 0
30 | 0.98588 | -0.26966 | 0 | 0
31 | 0.98279 | -0.32932 | 0 | 0
32 | 0.97654 | -0.45179 | 0 | 0
33 | 0.97739 | -0.43499 | 0 | 0
34 | 0.97914 | -0.40067 | 0 | 0
35 | 0.98258 | -0.33366 | 0.0039004 | 0.00097754
36 | 0.98276 | -0.33017 | 0.0044223 | 0.0011083
37 | 0.98289 | -0.32761 | 0.0010606 | 0.0002658
38 | 0.97584 | -0.46502 | 0 | 0
39 | 0.98175 | -0.34978 | 0.011731 | 0.0029401
40 | 0.97549 | -0.47189 | 0.0052753 | 0.0013221
41 | 0.97295 | -0.52178 | 0.0030757 | 0.00077084
42 | 0.97706 | -0.4416 | 0.013544 | 0.0033943
43 | 0.9825 | -0.33515 | 0.0033745 | 0.00084573
44 | 0.98123 | -0.35985 | 0.01675 | 0.004198
45 | 0.97534 | -0.4747 | 0.0064263 | 0.0016106
46 | 0.97287 | -0.52344 | 0.004654 | 0.0011664
47 | 0.97242 | -0.5322 | 0.0065787 | 0.0016488
48 | 0.97197 | -0.54113 | 0.012095 | 0.0030312
49 | 0.97183 | -0.54389 | 0.0049732 | 0.0012464
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.095362 | 0.024162 | -0.095087 | -0.023987 | 0.0002747 | 0.00017536 | 0.14396 | 0.14396 | 0.14396 | 0.98632 | -0.26107 | 0.98322 | -0.32122 | 39.5501
1 | -0.10199 | -0.025824 | 0.10228 | 0.026005 | 0.0002843 | 0.00018154 | 0.15396 | 0.15396 | 0.15396 | 0.98632 | -0.26107 | 0.98932 | -0.20319 | 42.298
2 | 0.083092 | 0.02098 | -0.083065 | -0.020963 | 2.7517e-05 | 1.7552e-05 | 0.12581 | 0.12581 | 0.12581 | 0.98322 | -0.32122 | 0.98286 | -0.32813 | 34.5628
3 | 0.0095419 | 0.0023918 | -0.0095395 | -0.0023907 | 2.4078e-06 | 1.1506e-06 | 0.014441 | 0.014441 | 0.014441 | 0.98322 | -0.32122 | 0.98295 | -0.32652 | 3.9673
4 | 0.0024534 | 0.00061467 | -0.0024533 | -0.00061486 | 1.0087e-07 | -1.8289e-07 | 0.003713 | 0.003713 | 0.003713 | 0.98322 | -0.32122 | 0.98317 | -0.32208 | 1.0201
5 | -0.10228 | -0.026005 | 0.10272 | 0.02629 | 0.00044554 | 0.0002845 | 0.15396 | 0.15396 | 0.15396 | 0.98932 | -0.20319 | 0.99403 | -0.11319 | 42.298
6 | 0.0117 | 0.0029322 | -0.011699 | -0.002932 | 3.9874e-07 | 2.1225e-07 | 0.017713 | 0.017713 | 0.017713 | 0.98286 | -0.32813 | 0.98282 | -0.32885 | 4.8662
7 | 0.071365 | 0.018031 | -0.071155 | -0.017897 | 0.0002094 | 0.00013341 | 0.1081 | 0.1081 | 0.1081 | 0.98286 | -0.32813 | 0.97971 | -0.38954 | 29.6966
8 | 0.0053317 | 0.0013361 | -0.0053315 | -0.0013361 | 2.2764e-07 | 2.7581e-08 | 0.0080713 | 0.0080713 | 0.0080713 | 0.98295 | -0.32652 | 0.9829 | -0.32741 | 2.2174
9 | -0.12371 | -0.031558 | 0.12426 | 0.031906 | 0.00054452 | 0.00034794 | 0.18539 | 0.18539 | 0.18539 | 0.99403 | -0.11319 | 0.99881 | -0.022485 | 50.9312
10 | 0.020991 | 0.0052677 | -0.020972 | -0.0052561 | 1.9111e-05 | 1.1563e-05 | 0.031425 | 0.031426 | 0.031426 | 0.99403 | -0.11319 | 0.99304 | -0.1323 | 8.6334
11 | 0.0072768 | 0.0018237 | -0.0072752 | -0.0018231 | 1.6688e-06 | 6.0354e-07 | 0.011017 | 0.011017 | 0.011017 | 0.98282 | -0.32885 | 0.98258 | -0.33366 | 3.0268
12 | 0.0044226 | 0.0011083 | -0.0044223 | -0.0011083 | 2.7858e-07 | -3.1668e-08 | 0.0066958 | 0.0066959 | 0.0066959 | 0.98282 | -0.32885 | 0.98276 | -0.33017 | 1.8395
13 | 0.045154 | 0.011381 | -0.04513 | -0.011365 | 2.4018e-05 | 1.52e-05 | 0.068604 | 0.068604 | 0.068604 | 0.97971 | -0.38954 | 0.97914 | -0.40067 | 18.8473
14 | 0.0010606 | 0.00026568 | -0.0010606 | -0.0002658 | 9.7527e-09 | -1.2163e-07 | 0.0016055 | 0.0016056 | 0.0016056 | 0.9829 | -0.32741 | 0.98289 | -0.32761 | 0.4411
15 | -0.13167 | -0.033764 | 0.13182 | 0.033856 | 0.00014374 | 9.1864e-05 | 0.19644 | 0.19644 | 0.19644 | 0.99881 | -0.022485 | 1 | 0 | 53.9663
16 | 0.0063597 | 0.001594 | -0.0063566 | -0.0015931 | 3.0871e-06 | 8.8839e-07 | 0.0097101 | 0.0097105 | 0.0097105 | 0.97458 | -0.49031 | 0.97406 | -0.5005 | 2.6677
17 | 0.010611 | 0.0026593 | -0.010608 | -0.0026575 | 3.616e-06 | 1.8567e-06 | 0.016201 | 0.016202 | 0.016202 | 0.97458 | -0.49031 | 0.97422 | -0.49746 | 4.451
18 | -0.016971 | -0.0042533 | 0.016982 | 0.0042599 | 1.1179e-05 | 6.6011e-06 | 0.025912 | 0.025911 | 0.025912 | 0.97458 | -0.49031 | 0.97528 | -0.47649 | 7.1186
19 | 0.010608 | 0.0026575 | -0.010607 | -0.0026573 | 3.9413e-07 | 2.0239e-07 | 0.016202 | 0.016202 | 0.016202 | 0.97422 | -0.49746 | 0.97418 | -0.49824 | 4.451
20 | -0.016982 | -0.0042599 | 0.016987 | 0.0042631 | 5.3904e-06 | 3.1826e-06 | 0.025911 | 0.025911 | 0.025911 | 0.97528 | -0.47649 | 0.97562 | -0.46983 | 7.1185
21 | 0.0015496 | 0.00038691 | -0.0015493 | -0.00038806 | 2.1785e-07 | -1.1518e-06 | 0.0023664 | 0.0023668 | 0.0023668 | 0.97418 | -0.49824 | 0.97403 | -0.5012 | 0.65023
22 | 0.0090576 | 0.0022704 | -0.0090562 | -0.0022697 | 1.4144e-06 | 6.5991e-07 | 0.013835 | 0.013835 | 0.013835 | 0.97418 | -0.49824 | 0.97401 | -0.50152 | 3.8009
23 | 0.0015493 | 0.00038806 | -0.0015493 | -0.00038829 | 4.3124e-08 | -2.2789e-07 | 0.0023668 | 0.0023669 | 0.0023669 | 0.97403 | -0.5012 | 0.974 | -0.50178 | 0.65026
24 | 0.095279 | 0.024285 | -0.095029 | -0.024126 | 0.00024923 | 0.00015909 | 0.14324 | 0.14324 | 0.14324 | 0.99079 | -0.17506 | 0.98796 | -0.22941 | 39.3513
25 | -0.095279 | -0.024285 | 0.095518 | 0.024438 | 0.00023975 | 0.00015303 | 0.14324 | 0.14324 | 0.14324 | 0.99079 | -0.17506 | 0.99352 | -0.12306 | 39.3512
26 | 0.08671 | 0.022041 | -0.086542 | -0.021934 | 0.00016773 | 0.00010702 | 0.13071 | 0.13071 | 0.13071 | 0.98796 | -0.22941 | 0.98588 | -0.26966 | 35.909
27 | -0.12511 | -0.031855 | 0.12547 | 0.032083 | 0.00035735 | 0.00022835 | 0.18756 | 0.18756 | 0.18756 | 0.99352 | -0.12306 | 0.99662 | -0.064019 | 51.5272
28 | -0.0063187 | -0.0015836 | 0.0063191 | 0.0015837 | 3.4387e-07 | 9.2047e-08 | 0.009547 | 0.009547 | 0.009547 | 0.98485 | -0.28964 | 0.98491 | -0.28849 | 2.6228
29 | 0.0063187 | 0.0015836 | -0.0063182 | -0.0015835 | 5.2297e-07 | 1.4002e-07 | 0.009547 | 0.0095471 | 0.0095471 | 0.98485 | -0.28964 | 0.98476 | -0.29137 | 2.6228
30 | -0.014336 | -0.0035929 | 0.014342 | 0.0035966 | 6.4874e-06 | 3.6823e-06 | 0.021659 | 0.021658 | 0.021659 | 0.98491 | -0.28849 | 0.9854 | -0.279 | 5.9502
31 | -0.12547 | -0.032083 | 0.12586 | 0.032332 | 0.00038997 | 0.0002492 | 0.18756 | 0.18756 | 0.18756 | 0.99662 | -0.064019 | 1 | 0 | 51.5272
32 | -0.031456 | -0.0078892 | 0.031483 | 0.0079061 | 2.7078e-05 | 1.6938e-05 | 0.047978 | 0.047978 | 0.047978 | 0.97562 | -0.46983 | 0.97654 | -0.45179 | 13.1809
33 | -0.014342 | -0.0035966 | 0.014349 | 0.0036002 | 6.386e-06 | 3.6243e-06 | 0.021658 | 0.021658 | 0.021658 | 0.9854 | -0.279 | 0.98588 | -0.26966 | 5.9501
34 | 0.072194 | 0.018334 | -0.071987 | -0.018202 | 0.00020662 | 0.00013165 | 0.10905 | 0.10905 | 0.10905 | 0.98588 | -0.26966 | 0.98279 | -0.32932 | 29.959
35 | 0.04347 | 0.011042 | -0.043188 | -0.010864 | 0.00028196 | 0.00017827 | 0.065869 | 0.06587 | 0.06587 | 0.98279 | -0.32932 | 0.97584 | -0.46502 | 18.0961
36 | 0.028517 | 0.0071602 | -0.02849 | -0.0071429 | 2.7812e-05 | 1.7296e-05 | 0.043182 | 0.043182 | 0.043182 | 0.98279 | -0.32932 | 0.98175 | -0.34978 | 11.8632
37 | -0.031483 | -0.0079061 | 0.031508 | 0.0079219 | 2.5259e-05 | 1.58e-05 | 0.047978 | 0.047978 | 0.047978 | 0.97654 | -0.45179 | 0.97739 | -0.43499 | 13.1808
38 | 0.013548 | 0.0033967 | -0.013544 | -0.0033943 | 4.2691e-06 | 2.397e-06 | 0.020626 | 0.020626 | 0.020626 | 0.97739 | -0.43499 | 0.97706 | -0.4416 | 5.6666
39 | -0.045056 | -0.011319 | 0.04513 | 0.011365 | 7.3932e-05 | 4.6791e-05 | 0.068604 | 0.068604 | 0.068604 | 0.97739 | -0.43499 | 0.97914 | -0.40067 | 18.8473
40 | 0.0033747 | 0.00084557 | -0.0033745 | -0.00084573 | 2.3805e-07 | -1.5546e-07 | 0.0051106 | 0.0051107 | 0.0051107 | 0.98258 | -0.33366 | 0.9825 | -0.33515 | 1.404
41 | 0.011706 | 0.002935 | -0.011702 | -0.002933 | 3.8291e-06 | 2.0505e-06 | 0.017851 | 0.017851 | 0.017851 | 0.97584 | -0.46502 | 0.97549 | -0.47189 | 4.9041
42 | 0.031481 | 0.0079287 | -0.031396 | -0.0078754 | 8.5204e-05 | 5.3303e-05 | 0.048019 | 0.048019 | 0.048019 | 0.97584 | -0.46502 | 0.97295 | -0.52178 | 13.1921
43 | 0.016758 | 0.0042028 | -0.01675 | -0.004198 | 8.0401e-06 | 4.7257e-06 | 0.025401 | 0.025401 | 0.025401 | 0.98175 | -0.34978 | 0.98123 | -0.35985 | 6.9784
44 | 0.0064272 | 0.0016108 | -0.0064263 | -0.0016106 | 8.6033e-07 | 2.5269e-07 | 0.0098041 | 0.0098042 | 0.0098042 | 0.97549 | -0.47189 | 0.97534 | -0.4747 | 2.6935
45 | 0.028321 | 0.0071046 | -0.028318 | -0.0071032 | 2.2404e-06 | 1.3943e-06 | 0.043315 | 0.043315 | 0.043315 | 0.97295 | -0.52178 | 0.97287 | -0.52344 | 11.8998
46 | 0.023664 | 0.0059368 | -0.023654 | -0.0059307 | 9.8795e-06 | 6.0733e-06 | 0.036197 | 0.036197 | 0.036197 | 0.97287 | -0.52344 | 0.97242 | -0.5322 | 9.9443
47 | 0.017076 | 0.0042819 | -0.017068 | -0.0042776 | 7.2641e-06 | 4.2972e-06 | 0.02613 | 0.02613 | 0.02613 | 0.97242 | -0.5322 | 0.97197 | -0.54113 | 7.1787
48 | 0.0049738 | 0.0012464 | -0.0049732 | -0.0012464 | 6.5384e-07 | 4.5802e-08 | 0.0076145 | 0.0076146 | 0.0076146 | 0.97197 | -0.54113 | 0.97183 | -0.54389 | 2.0919

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30102 | 0.076637

## res_load
| p_mw | q_mvar
0 | 0.0066301 | 0.0016617
1 | 0.0042078 | 0.0010546
2 | 0.0024533 | 0.00061486
3 | 0.026001 | 0.0065166
4 | 0.0042709 | 0.0010704
5 | 0.007416 | 0.0018586
6 | 0.020972 | 0.0052561
7 | 0.0063566 | 0.0015931
8 | 0.0090562 | 0.0022697
9 | 0.0083194 | 0.002085
10 | 0.029592 | 0.0074165
11 | 0.0080166 | 0.0020092
12 | 0.0063182 | 0.0015835
13 | 0.041692 | 0.010449
14 | 0.014468 | 0.0036261
15 | 0.0015493 | 0.00038829
16 | 0.0039004 | 0.00097754
17 | 0.0044223 | 0.0011083
18 | 0.0010606 | 0.0002658
19 | 0.011731 | 0.0029401
20 | 0.0052753 | 0.0013221
21 | 0.0030757 | 0.00077084
22 | 0.013544 | 0.0033943
23 | 0.0033745 | 0.00084573
24 | 0.01675 | 0.004198
25 | 0.0064263 | 0.0016106
26 | 0.004654 | 0.0011664
27 | 0.0065787 | 0.0016488
28 | 0.012095 | 0.0030312
29 | 0.0049732 | 0.0012464

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1