## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-28_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_141-28_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_141-28_1_3_node_30 | 0.4 | n |  | TRUE
3 | bus_LV_141-28_1_3_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_141-28_1_3_node_80 | 0.4 | n |  | TRUE
5 | bus_LV_141-28_1_3_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_141-28_1_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_141-28_1_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_141-28_1_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_141-28_1_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_141-28_1_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_141-28_1_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_141-28_1_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_141-28_1_3_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_141-28_1_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_141-28_1_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_141-28_1_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_141-28_1_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_141-28_1_3_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_141-28_1_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_141-28_1_3_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_141-28_1_3_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_141-28_1_3_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_141-28_1_3_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_141-28_1_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_141-28_1_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_141-28_1_3_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_141-28_1_3_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_141-28_1_3_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_141-28_1_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_141-28_1_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_141-28_1_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_141-28_1_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_141-28_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_141-28_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_141-28_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_141-28_1_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_141-28_1_3_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_141-28_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_141-28_1_3_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_141-28_1_3_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_141-28_1_3_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_141-28_1_3_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_141-28_1_3_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_141-28_1_3_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_141-28_1_3_node_88 | 0.4 | n |  | TRUE
46 | bus_MV_491_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-28_1_3_load_30 | 2 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-28_1_3_load_80 | 4 | 0.0045528 | 0.001141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-28_1_3_load_51 | 5 | 0.0013418 | 0.00033629 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-28_1_3_load_29 | 6 | 0.0036144 | 0.00090587 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-28_1_3_load_31 | 7 | 0.010483 | 0.0026272 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-28_1_3_load_52 | 8 | 0.0063009 | 0.0015792 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-28_1_3_load_55 | 11 | 0.0013539 | 0.00033933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-28_1_3_load_56 | 12 | 0.0066134 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-28_1_3_load_58 | 14 | 0.0056685 | 0.0014207 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-28_1_3_load_72 | 15 | 0.0022555 | 0.00056527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-28_1_3_load_66 | 16 | 0.001525 | 0.00038221 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-28_1_3_load_87 | 18 | 0.0018504 | 0.00046375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-28_1_3_load_89 | 21 | 0.0027493 | 0.00068905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-28_1_3_load_77 | 22 | 0.0090376 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-28_1_3_load_74 | 23 | 0.0066619 | 0.0016696 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-28_1_3_load_92 | 26 | 0.011986 | 0.0030041 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-28_1_3_load_91 | 27 | 0.00032931 | 8.2533e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-28_1_3_load_64 | 28 | 0.0024405 | 0.00061164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-28_1_3_load_65 | 29 | 0.0018634 | 0.000467 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-28_1_3_load_67 | 30 | 0.0015679 | 0.00039297 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-28_1_3_load_68 | 31 | 0.0035809 | 0.00089745 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-28_1_3_load_73 | 34 | 0.0020353 | 0.00051008 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-28_1_3_load_78 | 35 | 0.002912 | 0.00072982 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-28_1_3_load_75 | 36 | 0.032163 | 0.0080608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-28_1_3_load_76 | 37 | 0.0040887 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-28_1_3_load_81 | 38 | 0.004773 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-28_1_3_load_83 | 39 | 0.0037412 | 0.00093764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-28_1_3_load_79 | 40 | 0.0016903 | 0.00042362 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-28_1_3_load_84 | 41 | 0.0020281 | 0.0005083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-28_1_3_load_90 | 42 | 0.0014142 | 0.00035442 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-28_1_3_load_82 | 43 | 0.0020073 | 0.00050309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-28_1_3_load_86 | 44 | 0.0079828 | 0.0020007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-28_1_3_load_88 | 45 | 0.0016313 | 0.00040883 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-28_1_3_line_0 |  | 0 | 1 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-28_1_3_line_1 |  | 0 | 2 | 0.077271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-28_1_3_line_2 |  | 1 | 3 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-28_1_3_line_3 |  | 1 | 4 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-28_1_3_line_4 |  | 2 | 6 | 0.0021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-28_1_3_line_5 |  | 3 | 5 | 0.015863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-28_1_3_line_6 |  | 4 | 33 | 0.13372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-28_1_3_line_7 |  | 6 | 7 | 0.032929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-28_1_3_line_8 |  | 8 | 9 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-28_1_3_line_9 |  | 8 | 10 | 0.035287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-28_1_3_line_10 |  | 9 | 11 | 0.0081461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_141-28_1_3_line_11 |  | 9 | 12 | 0.009177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-28_1_3_line_12 |  | 10 | 13 | 0.006183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-28_1_3_line_13 |  | 10 | 14 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-28_1_3_line_14 |  | 11 | 15 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-28_1_3_line_15 |  | 12 | 16 | 0.023116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-28_1_3_line_16 |  | 13 | 17 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-28_1_3_line_17 |  | 13 | 18 | 0.03849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-28_1_3_line_18 |  | 15 | 34 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-28_1_3_line_19 |  | 16 | 28 | 0.0036782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-28_1_3_line_20 |  | 17 | 22 | 0.033449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-28_1_3_line_21 |  | 17 | 23 | 0.0021298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-28_1_3_line_22 |  | 18 | 45 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-28_1_3_line_23 |  | 19 | 20 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-28_1_3_line_24 |  | 19 | 21 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-28_1_3_line_25 |  | 20 | 44 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-28_1_3_line_26 |  | 20 | 41 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-28_1_3_line_27 |  | 22 | 39 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-28_1_3_line_28 |  | 23 | 36 | 0.023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-28_1_3_line_29 |  | 24 | 25 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-28_1_3_line_30 |  | 24 | 26 | 0.11452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-28_1_3_line_31 |  | 25 | 27 | 0.12746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-28_1_3_line_32 |  | 27 | 42 | 0.031815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-28_1_3_line_33 |  | 28 | 29 | 0.013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-28_1_3_line_34 |  | 29 | 30 | 0.031722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-28_1_3_line_35 |  | 30 | 31 | 0.0057281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-28_1_3_line_36 |  | 31 | 32 | 0.038668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-28_1_3_line_37 |  | 32 | 33 | 0.020956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-28_1_3_line_38 |  | 34 | 35 | 0.00081705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-28_1_3_line_39 |  | 35 | 40 | 0.0093986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-28_1_3_line_40 |  | 36 | 37 | 0.033068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-28_1_3_line_41 |  | 37 | 38 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-28_1_3_line_42 |  | 38 | 42 | 0.089515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-28_1_3_line_43 |  | 39 | 43 | 0.025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_141-28_1_3_line_44 |  | 40 | 41 | 0.0085699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-28_1_3_trafo_55 | 0.63 MVA 20/0.4 kV | 46 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2685940.4542 | 1237738.212 | 2685931.9713 | 1237744.049 | 2685930.7377 | 1237742.5079
1 | 2685930.7377 | 1237742.5079 | 2685941.3165 | 1237735.0889 | 2685932.7971 | 1237722.5456 | 2685928.9806 | 1237715.4519 | 2685914.0066 | 1237703.4823 | 2685916.4906 | 1237681.6613
2 | 2685934.2381 | 1237730.1496 | 2685937.6543 | 1237734.58 | 2685940.4542 | 1237738.212
3 | 2685940.4542 | 1237738.212 | 2685955.2451 | 1237744.5306 | 2685961.3206 | 1237746.8372
4 | 2685916.4906 | 1237681.6613 | 2685916.7348 | 1237679.5161
5 | 2685934.2381 | 1237730.1496 | 2685920.3779 | 1237737.866
6 | 2686052.7332 | 1237679.8401 | 2686051.491 | 1237675.7636 | 2686044.8452 | 1237671.253 | 2686038.4435 | 1237669.737 | 2686034.4458 | 1237672.014 | 2685976.2376 | 1237746.3245 | 2685967.6984 | 1237749.2586 | 2685961.3206 | 1237746.8372
7 | 2685920.4594 | 1237646.7983 | 2685916.7348 | 1237679.5161
8 | 2686008.8138 | 1237818.6035 | 2686021.9147 | 1237825.7322
9 | 2686052.8695 | 1237842.67 | 2686051.1368 | 1237841.633 | 2686021.9147 | 1237825.7322
10 | 2686008.8138 | 1237818.6035 | 2686005.1931 | 1237825.9008
11 | 2686008.8138 | 1237818.6035 | 2686012.8135 | 1237810.344
12 | 2686056.2584 | 1237837.4931 | 2686052.8695 | 1237842.67
13 | 2686052.8695 | 1237842.67 | 2686042.1629 | 1237856.696
14 | 2686005.1931 | 1237825.9008 | 2686003.0076 | 1237830.3056 | 2686001.7329 | 1237838.7761
15 | 2686012.8135 | 1237810.344 | 2686022.8887 | 1237789.5388
16 | 2686056.2584 | 1237837.4931 | 2686061.0509 | 1237839.8754 | 2686066.0784 | 1237842.7503
17 | 2686056.2584 | 1237837.4931 | 2686061.9787 | 1237826.5015 | 2686068.8011 | 1237810.4666 | 2686071.2572 | 1237802.1488
18 | 2686001.7329 | 1237838.7761 | 2685998.951 | 1237857.2623
19 | 2686024.2251 | 1237786.1245 | 2686023.7106 | 1237787.8416 | 2686022.8887 | 1237789.5388
20 | 2686066.0784 | 1237842.7503 | 2686075.1621 | 1237825.7364 | 2686080.1272 | 1237812.4734
21 | 2686066.0784 | 1237842.7503 | 2686064.8301 | 1237844.4759
22 | 2686071.2572 | 1237802.1488 | 2686073.973 | 1237792.9512 | 2686076.8575 | 1237781.7438
23 | 2685996.1916 | 1237893.9526 | 2686005.8446 | 1237901.8536
24 | 2686005.8446 | 1237901.8536 | 2686008.6547 | 1237897.9804 | 2686011.0661 | 1237897.6039 | 2686013.5905 | 1237894.1269 | 2686020.4753 | 1237885.1075
25 | 2685996.1916 | 1237893.9526 | 2685991.4221 | 1237893.6389 | 2685985.5611 | 1237895.5554 | 2685981.6754 | 1237900.0357 | 2685977.8282 | 1237907.6077
26 | 2685996.1916 | 1237893.9526 | 2685995.3473 | 1237881.209 | 2685996.1554 | 1237875.8387
27 | 2686080.1272 | 1237812.4734 | 2686082.0098 | 1237807.4447 | 2686085.3999 | 1237794.2644
28 | 2686064.8301 | 1237844.4759 | 2686051.1495 | 1237863.3878
29 | 2685905.6899 | 1238121.7954 | 2685906.9626 | 1238122.203 | 2685910.6603 | 1238123.3796 | 2685911.5414 | 1238123.6592 | 2685912.3697 | 1238123.9269 | 2685915.9694 | 1238125.0798 | 2685916.8882 | 1238125.3711
30 | 2685905.6899 | 1238121.7954 | 2685929.6214 | 1238051.6579 | 2685938.7048 | 1238028.873 | 2685945.3203 | 1238014.4312
31 | 2685916.8882 | 1238125.3711 | 2685942.7605 | 1238049.2129 | 2685955.9421 | 1238017.7144 | 2685961.5418 | 1238006.116
32 | 2685976.1014 | 1237977.841 | 2685968.8272 | 1237991.0262 | 2685961.5418 | 1238006.116
33 | 2686024.2251 | 1237786.1245 | 2686027.9687 | 1237773.6323
34 | 2686036.7503 | 1237743.154 | 2686034.3802 | 1237752.2373 | 2686027.9687 | 1237773.6323
35 | 2686038.1964 | 1237737.6115 | 2686036.7503 | 1237743.154
36 | 2686047.959 | 1237700.1966 | 2686038.1964 | 1237737.6115
37 | 2686052.7332 | 1237679.8401 | 2686050.5818 | 1237692.0288 | 2686047.959 | 1237700.1966
38 | 2685998.8294 | 1237858.0702 | 2685998.951 | 1237857.2623
39 | 2685997.4307 | 1237867.3642 | 2685998.8294 | 1237858.0702
40 | 2686051.1495 | 1237863.3878 | 2686047.8422 | 1237867.9597 | 2686031.3749 | 1237889.8905
41 | 2686022.6892 | 1237901.4578 | 2686031.3749 | 1237889.8905
42 | 2685976.1014 | 1237977.841 | 2685981.9114 | 1237967.3096 | 2686018.3486 | 1237907.2385 | 2686022.6892 | 1237901.4578
43 | 2686091.8321 | 1237769.2565 | 2686085.3999 | 1237794.2644
44 | 2685997.4307 | 1237867.3642 | 2685996.1554 | 1237875.8387

## bus_geodata
| x | y | coords
0 | 2685930.7377 | 1237742.5079
1 | 2685940.4542 | 1237738.212
2 | 2685916.4906 | 1237681.6613
3 | 2685934.2381 | 1237730.1496
4 | 2685961.3206 | 1237746.8372
5 | 2685920.3779 | 1237737.866
6 | 2685916.7348 | 1237679.5161
7 | 2685920.4594 | 1237646.7983
8 | 2686021.9147 | 1237825.7322
9 | 2686008.8138 | 1237818.6035
10 | 2686052.8695 | 1237842.67
11 | 2686005.1931 | 1237825.9008
12 | 2686012.8135 | 1237810.344
13 | 2686056.2584 | 1237837.4931
14 | 2686042.1629 | 1237856.696
15 | 2686001.7329 | 1237838.7761
16 | 2686022.8887 | 1237789.5388
17 | 2686066.0784 | 1237842.7503
18 | 2686071.2572 | 1237802.1488
19 | 2686005.8446 | 1237901.8536
20 | 2685996.1916 | 1237893.9526
21 | 2686020.4753 | 1237885.1075
22 | 2686080.1272 | 1237812.4734
23 | 2686064.8301 | 1237844.4759
24 | 2685905.6899 | 1238121.7954
25 | 2685916.8882 | 1238125.3711
26 | 2685945.3203 | 1238014.4312
27 | 2685961.5418 | 1238006.116
28 | 2686024.2251 | 1237786.1245
29 | 2686027.9687 | 1237773.6323
30 | 2686036.7502 | 1237743.154
31 | 2686038.1964 | 1237737.6115
32 | 2686047.959 | 1237700.1966
33 | 2686052.7332 | 1237679.8401
34 | 2685998.951 | 1237857.2623
35 | 2685998.8294 | 1237858.0702
36 | 2686051.1495 | 1237863.3878
37 | 2686031.3749 | 1237889.8905
38 | 2686022.6892 | 1237901.4578
39 | 2686085.3999 | 1237794.2644
40 | 2685997.4307 | 1237867.3642
41 | 2685996.1554 | 1237875.8387
42 | 2685976.1014 | 1237977.841
43 | 2686091.8321 | 1237769.2565
44 | 2685977.8282 | 1237907.6077
45 | 2686076.8575 | 1237781.7438
46 | 2686008.8138 | 1237818.6035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98982 | -0.19549 | 0 | 0
1 | 0.99011 | -0.18986 | 0 | 0
2 | 0.98799 | -0.23103 | 0.011709 | 0.0029346
3 | 0.9901 | -0.19011 | 0 | 0
4 | 0.99067 | -0.17897 | 0.0045528 | 0.001141
5 | 0.99008 | -0.19049 | 0.0013418 | 0.00033629
6 | 0.98796 | -0.23157 | 0.0036144 | 0.00090587
7 | 0.98765 | -0.23774 | 0.010483 | 0.0026272
8 | 0.99823 | -0.0339 | 0.0063009 | 0.0015792
9 | 0.99948 | -0.010014 | 0 | 0
10 | 0.99547 | -0.086741 | 0 | 0
11 | 1 | 0 | -0.16524 | -0.041368
12 | 0.99906 | -0.017912 | 0.0066134 | 0.0016575
13 | 0.99502 | -0.095412 | 0 | 0
14 | 0.99538 | -0.0885 | 0.0056685 | 0.0014207
15 | 0.99974 | -0.0050909 | 0.0022555 | 0.00056527
16 | 0.99816 | -0.035161 | 0.001525 | 0.00038221
17 | 0.99425 | -0.11038 | 0 | 0
18 | 0.9949 | -0.097773 | 0.0018504 | 0.00046375
19 | 0.99896 | -0.019956 | 0 | 0
20 | 0.99899 | -0.019358 | 0 | 0
21 | 0.99891 | -0.021054 | 0.0027493 | 0.00068905
22 | 0.9938 | -0.1191 | 0.0090376 | 0.002265
23 | 0.99413 | -0.11268 | 0.0066619 | 0.0016696
24 | 0.98901 | -0.21169 | 0 | 0
25 | 0.98914 | -0.20918 | 0 | 0
26 | 0.98775 | -0.23619 | 0.011986 | 0.0030041
27 | 0.99054 | -0.18199 | 0.00032931 | 8.2533e-05
28 | 0.99802 | -0.037811 | 0.0024405 | 0.00061164
29 | 0.99756 | -0.046652 | 0.0018634 | 0.000467
30 | 0.99648 | -0.067156 | 0.0015679 | 0.00039297
31 | 0.9963 | -0.070705 | 0.0035809 | 0.00089745
32 | 0.99517 | -0.092261 | 0 | 0
33 | 0.99456 | -0.10396 | 0 | 0
34 | 0.99941 | -0.011418 | 0.0020353 | 0.00051008
35 | 0.99939 | -0.011665 | 0.002912 | 0.00072982
36 | 0.99296 | -0.13526 | 0.032163 | 0.0080608
37 | 0.99228 | -0.14848 | 0.0040887 | 0.0010247
38 | 0.99203 | -0.15322 | 0.004773 | 0.0011962
39 | 0.9937 | -0.12103 | 0.0037412 | 0.00093764
40 | 0.99927 | -0.014036 | 0.0016903 | 0.00042362
41 | 0.99917 | -0.015946 | 0.0020281 | 0.0005083
42 | 0.9909 | -0.17503 | 0.0014142 | 0.00035442
43 | 0.99365 | -0.12194 | 0.0020073 | 0.00050309
44 | 0.99881 | -0.02289 | 0.0079828 | 0.0020007
45 | 0.99487 | -0.098381 | 0.0016313 | 0.00040883
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025854 | -0.0064965 | 0.025861 | 0.0065008 | 6.9409e-06 | 4.2847e-06 | 0.038872 | 0.038872 | 0.038872 | 0.98982 | -0.19549 | 0.99011 | -0.18986 | 10.6792
1 | 0.025854 | 0.0064965 | -0.02581 | -0.0064695 | 4.3786e-05 | 2.7032e-05 | 0.038872 | 0.038873 | 0.038873 | 0.98982 | -0.19549 | 0.98799 | -0.23103 | 10.6793
2 | 0.0013418 | 0.00033598 | -0.0013418 | -0.0003361 | 1.5524e-08 | -1.2099e-07 | 0.0020165 | 0.0020166 | 0.0020166 | 0.99011 | -0.18986 | 0.9901 | -0.19011 | 0.554
3 | -0.027203 | -0.0068368 | 0.027217 | 0.0068455 | 1.4158e-05 | 8.7708e-06 | 0.040889 | 0.040889 | 0.040889 | 0.99011 | -0.18986 | 0.99067 | -0.17897 | 11.2332
4 | 0.014101 | 0.0035349 | -0.0141 | -0.0035347 | 3.6519e-07 | 2.0607e-07 | 0.021237 | 0.021237 | 0.021237 | 0.98799 | -0.23103 | 0.98796 | -0.23157 | 5.8345
5 | 0.0013418 | 0.0003361 | -0.0013418 | -0.00033629 | 2.4192e-08 | -1.8853e-07 | 0.0020166 | 0.0020166 | 0.0020166 | 0.9901 | -0.19011 | 0.99008 | -0.19049 | 0.55402
6 | -0.031769 | -0.0079866 | 0.031884 | 0.0080579 | 0.00011422 | 7.1373e-05 | 0.047727 | 0.047726 | 0.047727 | 0.99067 | -0.17897 | 0.99456 | -0.10396 | 13.1118
7 | 0.010486 | 0.0026288 | -0.010483 | -0.0026272 | 3.0802e-06 | 1.5498e-06 | 0.015794 | 0.015794 | 0.015794 | 0.98796 | -0.23157 | 0.98765 | -0.23774 | 4.3389
8 | -0.092099 | -0.023247 | 0.092205 | 0.023315 | 0.00010551 | 6.733e-05 | 0.13735 | 0.13735 | 0.13735 | 0.99823 | -0.0339 | 0.99948 | -0.010014 | 37.7327
9 | 0.085798 | 0.021668 | -0.085582 | -0.02153 | 0.00021665 | 0.0001382 | 0.12795 | 0.12795 | 0.12795 | 0.99823 | -0.0339 | 0.99547 | -0.086741 | 35.1524
10 | -0.14185 | -0.035888 | 0.14192 | 0.035932 | 6.8197e-05 | 4.3433e-05 | 0.2113 | 0.2113 | 0.2113 | 0.99948 | -0.010014 | 1 | 0 | 29.0253
11 | 0.049645 | 0.012573 | -0.049626 | -0.012562 | 1.8823e-05 | 1.1927e-05 | 0.073957 | 0.073957 | 0.073957 | 0.99948 | -0.010014 | 0.99906 | -0.017912 | 20.3179
12 | 0.079913 | 0.020109 | -0.07988 | -0.020088 | 3.31e-05 | 2.1104e-05 | 0.11948 | 0.11948 | 0.11948 | 0.99547 | -0.086741 | 0.99502 | -0.095412 | 32.8244
13 | 0.005669 | 0.0014207 | -0.0056685 | -0.0014207 | 4.7515e-07 | 7.4712e-08 | 0.0084739 | 0.008474 | 0.008474 | 0.99547 | -0.086741 | 0.99538 | -0.0885 | 2.328
14 | 0.021671 | 0.0054363 | -0.021665 | -0.0054331 | 5.2581e-06 | 3.1884e-06 | 0.032248 | 0.032248 | 0.032248 | 1 | 0 | 0.99974 | -0.0050909 | 8.8594
15 | 0.043012 | 0.010904 | -0.042977 | -0.010882 | 3.5626e-05 | 2.2498e-05 | 0.064107 | 0.064107 | 0.064107 | 0.99906 | -0.017912 | 0.99816 | -0.035161 | 17.6118
16 | 0.076398 | 0.019216 | -0.076343 | -0.019181 | 5.4569e-05 | 3.4779e-05 | 0.11427 | 0.11427 | 0.11427 | 0.99502 | -0.095412 | 0.99425 | -0.11038 | 31.3939
17 | 0.0034821 | 0.00087209 | -0.0034817 | -0.00087234 | 3.9137e-07 | -2.4941e-07 | 0.0052071 | 0.0052073 | 0.0052073 | 0.99502 | -0.095412 | 0.9949 | -0.097773 | 1.4306
18 | 0.01941 | 0.0048678 | -0.019404 | -0.0048643 | 5.8515e-06 | 3.4999e-06 | 0.028891 | 0.028891 | 0.028891 | 0.99974 | -0.0050909 | 0.99941 | -0.011418 | 7.9372
19 | 0.041452 | 0.010499 | -0.041446 | -0.010496 | 5.2737e-06 | 3.3271e-06 | 0.061834 | 0.061834 | 0.061834 | 0.99816 | -0.035161 | 0.99802 | -0.037811 | 16.9873
20 | 0.014793 | 0.0037091 | -0.014787 | -0.0037056 | 6.1485e-06 | 3.5015e-06 | 0.02214 | 0.02214 | 0.02214 | 0.99425 | -0.11038 | 0.9938 | -0.1191 | 6.0825
21 | 0.06155 | 0.015472 | -0.061543 | -0.015468 | 6.7797e-06 | 4.3114e-06 | 0.092134 | 0.092134 | 0.092134 | 0.99425 | -0.11038 | 0.99413 | -0.11268 | 25.3115
22 | 0.0016313 | 0.00040859 | -0.0016313 | -0.00040883 | 4.7241e-08 | -2.4458e-07 | 0.0024398 | 0.0024399 | 0.0024399 | 0.9949 | -0.097773 | 0.99487 | -0.098381 | 0.67029
23 | -0.0027495 | -0.00068884 | 0.0027496 | 0.00068873 | 7.8318e-08 | -1.129e-07 | 0.0040954 | 0.0040954 | 0.0040954 | 0.99896 | -0.019956 | 0.99899 | -0.019358 | 1.1251
24 | 0.0027495 | 0.00068884 | -0.0027493 | -0.00068905 | 1.4385e-07 | -2.0733e-07 | 0.0040954 | 0.0040955 | 0.0040955 | 0.99896 | -0.019956 | 0.99891 | -0.021054 | 1.1251
25 | 0.0079842 | 0.0020012 | -0.0079828 | -0.0020007 | 1.3434e-06 | 5.2821e-07 | 0.011893 | 0.011893 | 0.011893 | 0.99899 | -0.019358 | 0.99881 | -0.02289 | 3.2672
26 | -0.010734 | -0.0026899 | 0.010735 | 0.0026908 | 1.7448e-06 | 8.783e-07 | 0.015988 | 0.015988 | 0.015988 | 0.99899 | -0.019358 | 0.99917 | -0.015946 | 4.3923
27 | 0.0057492 | 0.0014405 | -0.0057487 | -0.0014405 | 5.2738e-07 | 9.1641e-08 | 0.0086082 | 0.0086083 | 0.0086083 | 0.9938 | -0.1191 | 0.9937 | -0.12103 | 2.3649
28 | 0.054881 | 0.013798 | -0.054822 | -0.013761 | 5.9088e-05 | 3.7514e-05 | 0.082162 | 0.082162 | 0.082162 | 0.99413 | -0.11268 | 0.99296 | -0.13526 | 22.5721
29 | -0.012 | -0.0030116 | 0.012002 | 0.0030123 | 1.4373e-06 | 7.6898e-07 | 0.018057 | 0.018057 | 0.018057 | 0.98901 | -0.21169 | 0.98914 | -0.20918 | 4.9606
30 | 0.012 | 0.0030116 | -0.011986 | -0.0030041 | 1.4002e-05 | 7.4939e-06 | 0.018057 | 0.018057 | 0.018057 | 0.98901 | -0.21169 | 0.98775 | -0.23619 | 4.9608
31 | -0.012002 | -0.0030123 | 0.012017 | 0.0030207 | 1.5583e-05 | 8.3349e-06 | 0.018057 | 0.018056 | 0.018057 | 0.98914 | -0.20918 | 0.99054 | -0.18199 | 4.9606
32 | -0.012347 | -0.0031032 | 0.012351 | 0.0031054 | 4.1057e-06 | 2.2179e-06 | 0.018551 | 0.018551 | 0.018551 | 0.99054 | -0.18199 | 0.9909 | -0.17503 | 5.0963
33 | 0.039006 | 0.0098844 | -0.038989 | -0.0098739 | 1.6562e-05 | 1.0429e-05 | 0.058195 | 0.058195 | 0.058195 | 0.99802 | -0.037811 | 0.99756 | -0.046652 | 15.9877
34 | 0.037126 | 0.0094069 | -0.037089 | -0.009384 | 3.6531e-05 | 2.2966e-05 | 0.055416 | 0.055416 | 0.055416 | 0.99756 | -0.046652 | 0.99648 | -0.067156 | 15.2241
35 | 0.035522 | 0.008991 | -0.035515 | -0.0089872 | 6.0507e-06 | 3.7979e-06 | 0.053074 | 0.053074 | 0.053074 | 0.99648 | -0.067156 | 0.9963 | -0.070705 | 14.5809
36 | 0.031935 | 0.0080898 | -0.031902 | -0.0080691 | 3.3029e-05 | 2.0635e-05 | 0.047726 | 0.047726 | 0.047726 | 0.9963 | -0.070705 | 0.99517 | -0.092261 | 13.1116
37 | 0.031902 | 0.0080691 | -0.031884 | -0.0080579 | 1.79e-05 | 1.1184e-05 | 0.047726 | 0.047726 | 0.047726 | 0.99517 | -0.092261 | 0.99456 | -0.10396 | 13.1117
38 | 0.017369 | 0.0043542 | -0.017369 | -0.0043541 | 2.0491e-07 | 1.2044e-07 | 0.025861 | 0.025861 | 0.025861 | 0.99941 | -0.011418 | 0.99939 | -0.011665 | 7.1047
39 | 0.014457 | 0.0036243 | -0.014455 | -0.0036234 | 1.633e-06 | 9.2199e-07 | 0.021525 | 0.021525 | 0.021525 | 0.99939 | -0.011665 | 0.99927 | -0.014036 | 5.9135
40 | 0.02266 | 0.0057001 | -0.022645 | -0.0056913 | 1.4305e-05 | 8.7277e-06 | 0.033964 | 0.033965 | 0.033965 | 0.99296 | -0.13526 | 0.99228 | -0.14848 | 9.3309
41 | 0.018557 | 0.0046666 | -0.018552 | -0.0046641 | 4.2022e-06 | 2.5026e-06 | 0.027833 | 0.027833 | 0.027833 | 0.99228 | -0.14848 | 0.99203 | -0.15322 | 7.6465
42 | 0.013779 | 0.0034679 | -0.013765 | -0.0034599 | 1.4347e-05 | 8.0279e-06 | 0.020674 | 0.020674 | 0.020674 | 0.99203 | -0.15322 | 0.9909 | -0.17503 | 5.6797
43 | 0.0020074 | 0.00050281 | -0.0020073 | -0.00050309 | 8.7497e-08 | -2.7849e-07 | 0.0030059 | 0.003006 | 0.003006 | 0.9937 | -0.12103 | 0.99365 | -0.12194 | 0.82584
44 | 0.012765 | 0.0031997 | -0.012764 | -0.0031991 | 1.1612e-06 | 6.3089e-07 | 0.019008 | 0.019008 | 0.019008 | 0.99927 | -0.014036 | 0.99917 | -0.015946 | 5.2221

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16659 | 0.041707

## res_load
| p_mw | q_mvar
0 | 0.011709 | 0.0029346
1 | 0.0045528 | 0.001141
2 | 0.0013418 | 0.00033629
3 | 0.0036144 | 0.00090587
4 | 0.010483 | 0.0026272
5 | 0.0063009 | 0.0015792
6 | 0.0013539 | 0.00033933
7 | 0.0066134 | 0.0016575
8 | 0.0056685 | 0.0014207
9 | 0.0022555 | 0.00056527
10 | 0.001525 | 0.00038221
11 | 0.0018504 | 0.00046375
12 | 0.0027493 | 0.00068905
13 | 0.0090376 | 0.002265
14 | 0.0066619 | 0.0016696
15 | 0.011986 | 0.0030041
16 | 0.00032931 | 8.2533e-05
17 | 0.0024405 | 0.00061164
18 | 0.0018634 | 0.000467
19 | 0.0015679 | 0.00039297
20 | 0.0035809 | 0.00089745
21 | 0.0020353 | 0.00051008
22 | 0.002912 | 0.00072982
23 | 0.032163 | 0.0080608
24 | 0.0040887 | 0.0010247
25 | 0.004773 | 0.0011962
26 | 0.0037412 | 0.00093764
27 | 0.0016903 | 0.00042362
28 | 0.0020281 | 0.0005083
29 | 0.0014142 | 0.00035442
30 | 0.0020073 | 0.00050309
31 | 0.0079828 | 0.0020007
32 | 0.0016313 | 0.00040883

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1