## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-2_1_5_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_141-2_1_5_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_141-2_1_5_node_79 | 0.4 | n |  | TRUE
3 | bus_LV_141-2_1_5_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_141-2_1_5_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_141-2_1_5_node_74 | 0.4 | n |  | TRUE
6 | bus_LV_141-2_1_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_141-2_1_5_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_141-2_1_5_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_141-2_1_5_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_141-2_1_5_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_141-2_1_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_141-2_1_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_141-2_1_5_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_141-2_1_5_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_141-2_1_5_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_141-2_1_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_141-2_1_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_141-2_1_5_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_141-2_1_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_141-2_1_5_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_141-2_1_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_141-2_1_5_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_141-2_1_5_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_141-2_1_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_141-2_1_5_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_141-2_1_5_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_141-2_1_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_141-2_1_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_141-2_1_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_141-2_1_5_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_141-2_1_5_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_141-2_1_5_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_141-2_1_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_141-2_1_5_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_141-2_1_5_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_141-2_1_5_node_78 | 0.4 | n |  | TRUE
37 | bus_MV_491_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-2_1_5_load_79 | 2 | 0.01024 | 0.0025663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-2_1_5_load_74 | 5 | 0.0048877 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-2_1_5_load_45 | 7 | 0.0045052 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-2_1_5_load_44 | 9 | 0.0052638 | 0.0013192 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-2_1_5_load_47 | 10 | 0.0060076 | 0.0015056 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-2_1_5_load_37 | 11 | 0.015556 | 0.0038987 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-2_1_5_load_36 | 12 | 0.018691 | 0.0046844 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-2_1_5_load_82 | 14 | 0.0156 | 0.0039098 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-2_1_5_load_42 | 18 | 0.013638 | 0.003418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-2_1_5_load_46 | 21 | 0.0055665 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-2_1_5_load_43 | 24 | 0.009058 | 0.0022702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-2_1_5_load_38 | 25 | 0.024781 | 0.0062106 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-2_1_5_load_39 | 26 | 0.024515 | 0.006144 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-2_1_5_load_41 | 27 | 0.038171 | 0.0095666 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-2_1_5_load_49 | 29 | 0.0047809 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-2_1_5_load_51 | 30 | 0.0052719 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-2_1_5_load_84 | 31 | 0.018035 | 0.00452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-2_1_5_load_85 | 32 | 0.016839 | 0.0042202 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-2_1_5_load_73 | 33 | 0.0070038 | 0.0017553 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-2_1_5_load_75 | 34 | 0.003726 | 0.00093383 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-2_1_5_load_76 | 35 | 0.0057897 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-2_1_5_load_78 | 36 | 0.0045477 | 0.0011398 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-2_1_5_line_0 |  | 0 | 1 | 0.10674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-2_1_5_line_1 |  | 0 | 2 | 0.0878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-2_1_5_line_2 |  | 1 | 10 | 0.036476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-2_1_5_line_3 |  | 1 | 3 | 0.041768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-2_1_5_line_4 |  | 3 | 4 | 0.009579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-2_1_5_line_5 |  | 3 | 5 | 0.050243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-2_1_5_line_6 |  | 4 | 36 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-2_1_5_line_7 |  | 4 | 35 | 0.033609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-2_1_5_line_8 |  | 5 | 33 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-2_1_5_line_9 |  | 6 | 7 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-2_1_5_line_10 |  | 6 | 8 | 0.039317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-2_1_5_line_11 |  | 6 | 9 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-2_1_5_line_12 |  | 7 | 21 | 0.029089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-2_1_5_line_13 |  | 8 | 11 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-2_1_5_line_14 |  | 8 | 12 | 0.050888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-2_1_5_line_15 |  | 10 | 28 | 0.043851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-2_1_5_line_16 |  | 13 | 14 | 0.007894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-2_1_5_line_17 |  | 13 | 15 | 0.0417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_141-2_1_5_line_18 |  | 13 | 16 | 0.031529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_141-2_1_5_line_19 |  | 15 | 31 | 0.007441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-2_1_5_line_20 |  | 15 | 32 | 0.006653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-2_1_5_line_21 |  | 15 | 28 | 0.049758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-2_1_5_line_22 |  | 16 | 17 | 0.013275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-2_1_5_line_23 |  | 16 | 18 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-2_1_5_line_24 |  | 17 | 22 | 0.031155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-2_1_5_line_25 |  | 18 | 23 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-2_1_5_line_26 |  | 19 | 20 | 0.026905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-2_1_5_line_27 |  | 19 | 21 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-2_1_5_line_28 |  | 20 | 25 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-2_1_5_line_29 |  | 22 | 27 | 0.008913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-2_1_5_line_30 |  | 22 | 26 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-2_1_5_line_31 |  | 23 | 24 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-2_1_5_line_32 |  | 24 | 25 | 0.037266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-2_1_5_line_33 |  | 28 | 29 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-2_1_5_line_34 |  | 29 | 30 | 0.043594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-2_1_5_line_35 |  | 34 | 35 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-2_1_5_trafo_50 | 0.63 MVA 20/0.4 kV | 37 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2685270.0044 | 1238646.6342 | 2685270.9187 | 1238647.2366 | 2685273.7439 | 1238649.1007 | 2685276.734 | 1238651.0673 | 2685277.1912 | 1238651.363 | 2685284.0637 | 1238645.324 | 2685287.5897 | 1238651.0565 | 2685289.8808 | 1238656.3932 | 2685296.7617 | 1238678.1966 | 2685306.5896 | 1238700.7428 | 2685313.9667 | 1238715.3815 | 2685318.7236 | 1238727.0471
1 | 2685318.7236 | 1238727.0471 | 2685312.2837 | 1238729.3118 | 2685306.034 | 1238732.5577 | 2685299.6761 | 1238737.5366 | 2685290.2771 | 1238746.2078 | 2685275.8774 | 1238762.2793 | 2685264.4139 | 1238775.1239 | 2685262.8065 | 1238775.9014 | 2685261.4754 | 1238775.8823 | 2685259.7927 | 1238775.5912 | 2685251.7075 | 1238770.7024
2 | 2685270.0044 | 1238646.6342 | 2685251.2969 | 1238677.9475
3 | 2685258.8116 | 1238680.6423 | 2685256.3418 | 1238677.2155 | 2685273.7439 | 1238649.1007 | 2685270.9187 | 1238647.2366 | 2685270.0044 | 1238646.6342
4 | 2685263.9455 | 1238688.7218 | 2685261.5113 | 1238684.3949 | 2685258.8116 | 1238680.6423
5 | 2685258.8116 | 1238680.6423 | 2685232.9021 | 1238723.6899
6 | 2685263.9455 | 1238688.7218 | 2685265.3559 | 1238692.7005 | 2685266.088 | 1238695.98 | 2685266.0324 | 1238699.8487 | 2685265.7419 | 1238702.1684 | 2685265.1811 | 1238703.8171 | 2685263.4265 | 1238706.9497
7 | 2685263.9455 | 1238688.7218 | 2685268.0322 | 1238694.3957 | 2685269.8615 | 1238698.1802 | 2685272.165 | 1238705.2851 | 2685272.8575 | 1238711.3215 | 2685273.0271 | 1238720.1881
8 | 2685221.3137 | 1238742.9434 | 2685232.9021 | 1238723.6899
9 | 2685156.0274 | 1238648.0221 | 2685148.9659 | 1238662.4979 | 2685146.884 | 1238666.6857
10 | 2685156.0274 | 1238648.0221 | 2685158.428 | 1238643.0974 | 2685160.1272 | 1238639.6082 | 2685171.6237 | 1238616.0339 | 2685175.0054 | 1238617.6057
11 | 2685156.0274 | 1238648.0221 | 2685140.3745 | 1238640.3977
12 | 2685146.884 | 1238666.6857 | 2685133.9348 | 1238692.733
13 | 2685175.0054 | 1238617.6057 | 2685190.4444 | 1238624.7878
14 | 2685175.0054 | 1238617.6057 | 2685169.8239 | 1238628.1168 | 2685162.7263 | 1238643.526 | 2685154.3255 | 1238660.6623 | 2685152.9317 | 1238663.4533
15 | 2685228.8069 | 1238715.5923 | 2685251.2969 | 1238677.9475
16 | 2685192.6061 | 1238753.767 | 2685199.5801 | 1238757.5031
17 | 2685190.6841 | 1238726.9313 | 2685205.4754 | 1238735.205 | 2685203.5953 | 1238739.1808 | 2685202.095 | 1238743.5625 | 2685202.2969 | 1238749.5252 | 2685203.623 | 1238750.4226 | 2685200.4511 | 1238755.8477 | 2685199.5801 | 1238757.5031
18 | 2685185.8679 | 1238785.7822 | 2685193.2497 | 1238773.2235 | 2685197.4399 | 1238761.6753 | 2685199.5801 | 1238757.5031
19 | 2685190.6841 | 1238726.9313 | 2685189.3139 | 1238719.6175
20 | 2685190.6841 | 1238726.9313 | 2685184.2298 | 1238728.6177
21 | 2685190.6841 | 1238726.9313 | 2685205.4754 | 1238735.205 | 2685208.2439 | 1238731.0083 | 2685212.55 | 1238726.667 | 2685215.8536 | 1238724.713 | 2685219.2352 | 1238724.7059 | 2685220.852 | 1238725.3741 | 2685223.6624 | 1238723.0016 | 2685228.8069 | 1238715.5923
22 | 2685185.8679 | 1238785.7822 | 2685189.3122 | 1238787.7219 | 2685186.7034 | 1238791.8652 | 2685190.4907 | 1238794.1545
23 | 2685185.8679 | 1238785.7822 | 2685170.4788 | 1238775.4878
24 | 2685217.2118 | 1238810.305 | 2685190.4907 | 1238794.1545
25 | 2685159.1486 | 1238767.9084 | 2685170.4788 | 1238775.4878
26 | 2685123.1201 | 1238714.4869 | 2685118.4864 | 1238724.2609 | 2685121.4051 | 1238725.9372 | 2685123.3639 | 1238727.0217 | 2685127.5715 | 1238717.4195
27 | 2685123.1201 | 1238714.4869 | 2685133.9348 | 1238692.733
28 | 2685127.5715 | 1238717.4195 | 2685141.0439 | 1238726.3055
29 | 2685217.2118 | 1238810.305 | 2685219.4422 | 1238811.4378 | 2685221.4948 | 1238811.7898 | 2685223.6083 | 1238811.0529 | 2685225.2463 | 1238809.7199
30 | 2685217.2118 | 1238810.305 | 2685217.8244 | 1238811.3701 | 2685217.9518 | 1238812.5061 | 2685217.5966 | 1238813.5351 | 2685207.196 | 1238824.9513
31 | 2685159.1486 | 1238767.9084 | 2685161.0885 | 1238751.944
32 | 2685161.0885 | 1238751.944 | 2685162.4854 | 1238740.4477 | 2685141.0439 | 1238726.3055
33 | 2685228.8069 | 1238715.5923 | 2685226.5941 | 1238714.2818 | 2685231.773 | 1238704.3879
34 | 2685213.6559 | 1238674.9346 | 2685236.1416 | 1238688.9451 | 2685237.1406 | 1238690.4939 | 2685237.4447 | 1238692.4997 | 2685237.0558 | 1238694.2954 | 2685231.773 | 1238704.3879
35 | 2685268.7836 | 1238746.0521 | 2685270.5953 | 1238741.8777 | 2685272.2353 | 1238736.7197 | 2685272.9575 | 1238731.7376 | 2685273.1167 | 1238724.8683 | 2685273.0271 | 1238720.1881

## bus_geodata
| x | y | coords
0 | 2685318.7236 | 1238727.0471
1 | 2685270.0044 | 1238646.6342
2 | 2685251.7076 | 1238770.7024
3 | 2685258.8116 | 1238680.6423
4 | 2685263.9455 | 1238688.7218
5 | 2685232.9021 | 1238723.6899
6 | 2685156.0274 | 1238648.0221
7 | 2685146.884 | 1238666.6857
8 | 2685175.0054 | 1238617.6057
9 | 2685140.3745 | 1238640.3977
10 | 2685251.297 | 1238677.9475
11 | 2685190.4444 | 1238624.7878
12 | 2685152.9317 | 1238663.4533
13 | 2685199.5801 | 1238757.5031
14 | 2685192.6061 | 1238753.767
15 | 2685190.6841 | 1238726.9313
16 | 2685185.8679 | 1238785.7822
17 | 2685190.4907 | 1238794.1545
18 | 2685170.4788 | 1238775.4878
19 | 2685123.1201 | 1238714.4869
20 | 2685127.5715 | 1238717.4195
21 | 2685133.9348 | 1238692.733
22 | 2685217.2118 | 1238810.305
23 | 2685159.1486 | 1238767.9084
24 | 2685161.0885 | 1238751.944
25 | 2685141.0439 | 1238726.3055
26 | 2685207.196 | 1238824.9513
27 | 2685225.2463 | 1238809.7199
28 | 2685228.8069 | 1238715.5923
29 | 2685231.773 | 1238704.3878
30 | 2685213.6559 | 1238674.9346
31 | 2685189.3139 | 1238719.6175
32 | 2685184.2298 | 1238728.6177
33 | 2685221.3137 | 1238742.9434
34 | 2685268.7836 | 1238746.0521
35 | 2685273.0271 | 1238720.1881
36 | 2685263.4265 | 1238706.9497
37 | 2685184.2298 | 1238728.6177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99374 | -0.12043 | 0 | 0
1 | 0.99473 | -0.10115 | 0 | 0
2 | 0.99292 | -0.13632 | 0.01024 | 0.0025663
3 | 0.99374 | -0.12027 | 0 | 0
4 | 0.99362 | -0.12265 | 0 | 0
5 | 0.9932 | -0.13082 | 0.0048877 | 0.001225
6 | 0.98281 | -0.33098 | 0 | 0
7 | 0.98357 | -0.31617 | 0.0045052 | 0.0011291
8 | 0.98157 | -0.3553 | 0 | 0
9 | 0.98273 | -0.33263 | 0.0052638 | 0.0013192
10 | 0.99594 | -0.077917 | 0.0060076 | 0.0015056
11 | 0.98132 | -0.3601 | 0.015556 | 0.0038987
12 | 0.98069 | -0.37253 | 0.018691 | 0.0046844
13 | 0.99664 | -0.063941 | 0 | 0
14 | 0.99653 | -0.066102 | 0.0156 | 0.0039098
15 | 1 | 0 | -0.26624 | -0.067122
16 | 0.99433 | -0.10824 | 0 | 0
17 | 0.99357 | -0.12292 | 0 | 0
18 | 0.99268 | -0.13997 | 0.013638 | 0.003418
19 | 0.98587 | -0.2715 | 0 | 0
20 | 0.9871 | -0.2476 | 0 | 0
21 | 0.98475 | -0.29313 | 0.0055665 | 0.0013951
22 | 0.99178 | -0.15746 | 0 | 0
23 | 0.99163 | -0.16011 | 0 | 0
24 | 0.99039 | -0.18392 | 0.009058 | 0.0022702
25 | 0.98784 | -0.2333 | 0.024781 | 0.0062106
26 | 0.99136 | -0.16568 | 0.024515 | 0.006144
27 | 0.99147 | -0.16349 | 0.038171 | 0.0095666
28 | 0.99763 | -0.045442 | 0 | 0
29 | 0.9975 | -0.047861 | 0.0047809 | 0.0011982
30 | 0.99729 | -0.051888 | 0.0052719 | 0.0013213
31 | 0.99988 | -0.0023393 | 0.018035 | 0.00452
32 | 0.9999 | -0.0019528 | 0.016839 | 0.0042202
33 | 0.99306 | -0.13361 | 0.0070038 | 0.0017553
34 | 0.99324 | -0.13005 | 0.003726 | 0.00093383
35 | 0.99333 | -0.1283 | 0.0057897 | 0.001451
36 | 0.99354 | -0.12419 | 0.0045477 | 0.0011398
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010247 | -0.0025701 | 0.010257 | 0.0025748 | 9.4249e-06 | 4.6477e-06 | 0.015345 | 0.015345 | 0.015345 | 0.99374 | -0.12043 | 0.99473 | -0.10115 | 4.2157
1 | 0.010247 | 0.0025701 | -0.01024 | -0.0025663 | 7.7531e-06 | 3.8254e-06 | 0.015345 | 0.015345 | 0.015345 | 0.99374 | -0.12043 | 0.99292 | -0.13632 | 4.2158
2 | -0.036247 | -0.0090997 | 0.036287 | 0.009125 | 4.0223e-05 | 2.5268e-05 | 0.054227 | 0.054227 | 0.054227 | 0.99473 | -0.10115 | 0.99594 | -0.077917 | 14.8976
3 | 0.02599 | 0.0065249 | -0.025967 | -0.0065103 | 2.3681e-05 | 1.4614e-05 | 0.038883 | 0.038883 | 0.038883 | 0.99473 | -0.10115 | 0.99374 | -0.12027 | 10.6821
4 | 0.014068 | 0.0035265 | -0.014067 | -0.0035256 | 1.5941e-06 | 8.9611e-07 | 0.021066 | 0.021066 | 0.021066 | 0.99374 | -0.12027 | 0.99362 | -0.12265 | 5.7873
5 | 0.011898 | 0.0029838 | -0.011892 | -0.0029806 | 5.9813e-06 | 3.1774e-06 | 0.017817 | 0.017817 | 0.017817 | 0.99374 | -0.12027 | 0.9932 | -0.13082 | 4.8949
6 | 0.004548 | 0.0011397 | -0.0045477 | -0.0011398 | 3.3258e-07 | -3.4756e-08 | 0.0068109 | 0.006811 | 0.006811 | 0.99362 | -0.12265 | 0.99354 | -0.12419 | 1.8712
7 | 0.0095186 | 0.0023859 | -0.009516 | -0.0023847 | 2.561e-06 | 1.2039e-06 | 0.014255 | 0.014255 | 0.014255 | 0.99362 | -0.12265 | 0.99333 | -0.1283 | 3.9162
8 | 0.0070047 | 0.0017556 | -0.0070038 | -0.0017553 | 9.2811e-07 | 3.0322e-07 | 0.010495 | 0.010495 | 0.010495 | 0.9932 | -0.13082 | 0.99306 | -0.13361 | 2.8831
9 | -0.03957 | -0.0099385 | 0.039598 | 0.0099562 | 2.798e-05 | 1.7644e-05 | 0.059918 | 0.059918 | 0.059918 | 0.98281 | -0.33098 | 0.98357 | -0.31617 | 16.4609
10 | 0.034305 | 0.0086193 | -0.034266 | -0.0085943 | 3.9787e-05 | 2.4966e-05 | 0.051948 | 0.051948 | 0.051948 | 0.98281 | -0.33098 | 0.98157 | -0.3553 | 14.2713
11 | 0.0052642 | 0.0013193 | -0.0052638 | -0.0013192 | 4.1476e-07 | 4.4833e-08 | 0.0079702 | 0.0079703 | 0.0079703 | 0.98281 | -0.33098 | 0.98273 | -0.33263 | 2.1896
12 | -0.044103 | -0.011085 | 0.044151 | 0.011116 | 4.8578e-05 | 3.072e-05 | 0.066733 | 0.066733 | 0.066733 | 0.98357 | -0.31617 | 0.98475 | -0.29313 | 18.3334
13 | 0.01556 | 0.0039008 | -0.015556 | -0.0038987 | 3.5528e-06 | 2.0586e-06 | 0.023588 | 0.023588 | 0.023588 | 0.98157 | -0.3553 | 0.98132 | -0.3601 | 6.4803
14 | 0.018706 | 0.0046935 | -0.018691 | -0.0046844 | 1.5348e-05 | 9.1802e-06 | 0.02836 | 0.02836 | 0.02836 | 0.98157 | -0.3553 | 0.98069 | -0.37253 | 7.7912
15 | -0.042295 | -0.010631 | 0.042361 | 0.010672 | 6.5688e-05 | 4.1469e-05 | 0.063203 | 0.063203 | 0.063203 | 0.99594 | -0.077917 | 0.99763 | -0.045442 | 17.3634
16 | 0.015602 | 0.0039108 | -0.0156 | -0.0039098 | 1.6063e-06 | 9.252e-07 | 0.023295 | 0.023295 | 0.023295 | 0.99664 | -0.063941 | 0.99653 | -0.066102 | 6.3996
17 | -0.17664 | -0.044767 | 0.17718 | 0.045115 | 0.00054453 | 0.00034741 | 0.2639 | 0.2639 | 0.2639 | 0.99664 | -0.063941 | 1 | 0 | 36.2503
18 | 0.16104 | 0.040857 | -0.16069 | -0.040638 | 0.00034224 | 0.00021821 | 0.24061 | 0.24061 | 0.24061 | 0.99664 | -0.063941 | 0.99433 | -0.10824 | 33.0506
19 | 0.018037 | 0.0045212 | -0.018035 | -0.00452 | 2.0101e-06 | 1.1888e-06 | 0.026839 | 0.026839 | 0.026839 | 1 | 0 | 0.99988 | -0.0023393 | 7.3735
20 | 0.01684 | 0.0042211 | -0.016839 | -0.0042202 | 1.5666e-06 | 9.1538e-07 | 0.025059 | 0.025059 | 0.025059 | 1 | 0 | 0.9999 | -0.0019528 | 6.8843
21 | 0.05253 | 0.013265 | -0.052416 | -0.013192 | 0.00011411 | 7.2376e-05 | 0.0782 | 0.0782 | 0.0782 | 1 | 0 | 0.99763 | -0.045442 | 21.4836
22 | 0.062854 | 0.015817 | -0.06281 | -0.015789 | 4.4064e-05 | 2.8029e-05 | 0.094084 | 0.094084 | 0.094084 | 0.99433 | -0.10824 | 0.99357 | -0.12292 | 25.8472
23 | 0.097841 | 0.024821 | -0.097691 | -0.024726 | 0.00014906 | 9.5161e-05 | 0.14652 | 0.14652 | 0.14652 | 0.99433 | -0.10824 | 0.99268 | -0.13997 | 40.2541
24 | 0.06281 | 0.015789 | -0.062706 | -0.015723 | 0.00010342 | 6.5784e-05 | 0.094084 | 0.094084 | 0.094084 | 0.99357 | -0.12292 | 0.99178 | -0.15746 | 25.8472
25 | 0.084053 | 0.021308 | -0.083972 | -0.021256 | 8.126e-05 | 5.1831e-05 | 0.12608 | 0.12608 | 0.12608 | 0.99268 | -0.13997 | 0.99163 | -0.16011 | 34.6378
26 | -0.049769 | -0.012544 | 0.049826 | 0.01258 | 5.6972e-05 | 3.6118e-05 | 0.075145 | 0.075144 | 0.075145 | 0.98587 | -0.2715 | 0.9871 | -0.2476 | 20.6441
27 | 0.049769 | 0.012544 | -0.049718 | -0.012511 | 5.1443e-05 | 3.2614e-05 | 0.075145 | 0.075145 | 0.075145 | 0.98587 | -0.2715 | 0.98475 | -0.29313 | 20.6441
28 | -0.049826 | -0.01258 | 0.049861 | 0.012602 | 3.4174e-05 | 2.1665e-05 | 0.075144 | 0.075144 | 0.075144 | 0.9871 | -0.2476 | 0.98784 | -0.2333 | 20.6441
29 | 0.038182 | 0.0095735 | -0.038171 | -0.0095666 | 1.0969e-05 | 6.9054e-06 | 0.057288 | 0.057288 | 0.057288 | 0.99178 | -0.15746 | 0.99147 | -0.16349 | 15.7384
30 | 0.024524 | 0.0061498 | -0.024515 | -0.006144 | 9.598e-06 | 5.8989e-06 | 0.036796 | 0.036796 | 0.036796 | 0.99178 | -0.15746 | 0.99136 | -0.16568 | 10.1088
31 | 0.083972 | 0.021256 | -0.083876 | -0.021195 | 9.5867e-05 | 6.1148e-05 | 0.12608 | 0.12608 | 0.12608 | 0.99163 | -0.16011 | 0.99039 | -0.18392 | 34.6378
32 | 0.074818 | 0.018925 | -0.074641 | -0.018812 | 0.00017678 | 0.00011266 | 0.11247 | 0.11247 | 0.11247 | 0.99039 | -0.18392 | 0.98784 | -0.2333 | 30.899
33 | 0.010055 | 0.0025201 | -0.010054 | -0.0025195 | 1.1589e-06 | 5.6229e-07 | 0.014997 | 0.014998 | 0.014998 | 0.99763 | -0.045442 | 0.9975 | -0.047861 | 4.1202
34 | 0.0052729 | 0.0013213 | -0.0052719 | -0.0013213 | 1.0114e-06 | 7.8374e-08 | 0.0078657 | 0.0078659 | 0.0078659 | 0.9975 | -0.047861 | 0.99729 | -0.051888 | 2.161
35 | -0.003726 | -0.00093383 | 0.0037264 | 0.00093369 | 3.1023e-07 | -1.451e-07 | 0.0055821 | 0.005582 | 0.0055821 | 0.99324 | -0.13005 | 0.99333 | -0.1283 | 1.5336

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26624 | 0.067122

## res_load
| p_mw | q_mvar
0 | 0.01024 | 0.0025663
1 | 0.0048877 | 0.001225
2 | 0.0045052 | 0.0011291
3 | 0.0052638 | 0.0013192
4 | 0.0060076 | 0.0015056
5 | 0.015556 | 0.0038987
6 | 0.018691 | 0.0046844
7 | 0.0156 | 0.0039098
8 | 0.013638 | 0.003418
9 | 0.0055665 | 0.0013951
10 | 0.009058 | 0.0022702
11 | 0.024781 | 0.0062106
12 | 0.024515 | 0.006144
13 | 0.038171 | 0.0095666
14 | 0.0047809 | 0.0011982
15 | 0.0052719 | 0.0013213
16 | 0.018035 | 0.00452
17 | 0.016839 | 0.0042202
18 | 0.0070038 | 0.0017553
19 | 0.003726 | 0.00093383
20 | 0.0057897 | 0.001451
21 | 0.0045477 | 0.0011398

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1