## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-31_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_141-31_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_141-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-31_0_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_141-31_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_141-31_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_141-31_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_141-31_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_141-31_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_141-31_0_3_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_141-31_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_141-31_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_141-31_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_141-31_0_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_141-31_0_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_141-31_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_141-31_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_141-31_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_141-31_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_141-31_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_141-31_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_141-31_0_3_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_141-31_0_3_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_141-31_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_141-31_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_141-31_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_141-31_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_141-31_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_141-31_0_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_141-31_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_141-31_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_141-31_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_141-31_0_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_141-31_0_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_141-31_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_141-31_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_141-31_0_3_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_141-31_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_141-31_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_141-31_0_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_141-31_0_3_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_141-31_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_141-31_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_141-31_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_141-31_0_3_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_141-31_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_141-31_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_141-31_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_141-31_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_141-31_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_141-31_0_3_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_141-31_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_141-31_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_141-31_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_141-31_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_141-31_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_141-31_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_141-31_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_141-31_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_141-31_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_141-31_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_141-31_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_141-31_0_3_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_141-31_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_141-31_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_141-31_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_141-31_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_141-31_0_3_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_141-31_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_141-31_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_141-31_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_MV_491_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-31_0_3_load_0 | 0 | 0.0025156 | 0.00063046 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-31_0_3_load_21 | 4 | 0.011802 | 0.0029578 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-31_0_3_load_20 | 5 | 0.020406 | 0.0051142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-31_0_3_load_22 | 8 | 0.0075143 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-31_0_3_load_76 | 10 | 0.032041 | 0.0080303 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-31_0_3_load_63 | 11 | 0.0097886 | 0.0024533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-31_0_3_load_23 | 12 | 0.0083028 | 0.0020809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-31_0_3_load_72 | 15 | 0.004794 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-31_0_3_load_51 | 18 | 0.0089024 | 0.0022311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-31_0_3_load_26 | 21 | 0.0032297 | 0.00080944 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-31_0_3_load_77 | 23 | 0.007898 | 0.0019794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-31_0_3_load_27 | 25 | 0.0030087 | 0.00075406 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-31_0_3_load_30 | 26 | 0.0033977 | 0.00085154 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-31_0_3_load_39 | 27 | 0.011357 | 0.0028464 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-31_0_3_load_28 | 28 | 0.011253 | 0.0028202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-31_0_3_load_69 | 29 | 0.0035911 | 0.00090003 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-31_0_3_load_54 | 30 | 0.0077129 | 0.001933 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-31_0_3_load_24 | 32 | 0.011038 | 0.0027663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-31_0_3_load_65 | 33 | 0.0029416 | 0.00073724 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-31_0_3_load_71 | 34 | 0.0063186 | 0.0015836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-31_0_3_load_43 | 35 | 0.0023505 | 0.0005891 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-31_0_3_load_44 | 36 | 0.0027838 | 0.00069769 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-31_0_3_load_79 | 37 | 0.0078975 | 0.0019793 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-31_0_3_load_31 | 38 | 0.0018682 | 0.00046821 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-31_0_3_load_74 | 41 | 0.0035925 | 0.00090037 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-31_0_3_load_70 | 45 | 0.0071489 | 0.0017917 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-31_0_3_load_60 | 46 | 0.0035354 | 0.00088606 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-31_0_3_load_59 | 47 | 0.0039899 | 0.00099997 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-31_0_3_load_36 | 48 | 0.0026878 | 0.00067363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-31_0_3_load_37 | 49 | 0.0017408 | 0.00043628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-31_0_3_load_29 | 50 | 0.022855 | 0.005728 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-31_0_3_load_40 | 53 | 0.012438 | 0.0031172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-31_0_3_load_33 | 54 | 0.0046945 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_141-31_0_3_load_53 | 55 | 0.010282 | 0.0025768 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_141-31_0_3_load_35 | 56 | 0.011003 | 0.0027576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_141-31_0_3_load_38 | 57 | 0.0058796 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_141-31_0_3_load_41 | 58 | 0.0044656 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_141-31_0_3_load_52 | 60 | 0.0086497 | 0.0021678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_141-31_0_3_load_75 | 63 | 0.0029683 | 0.00074394 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_141-31_0_3_load_46 | 64 | 0.0052517 | 0.0013162 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_141-31_0_3_load_47 | 65 | 0.0064327 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_141-31_0_3_load_55 | 66 | 0.0056535 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_141-31_0_3_load_50 | 67 | 0.0082743 | 0.0020737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_141-31_0_3_load_73 | 68 | 0.010577 | 0.0026509 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_141-31_0_3_load_68 | 70 | 0.0070132 | 0.0017577 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_141-31_0_3_load_66 | 71 | 0.0028218 | 0.00070722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-31_0_3_line_0 |  | 0 | 1 | 0.011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-31_0_3_line_1 |  | 1 | 2 | 0.06209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-31_0_3_line_2 |  | 2 | 11 | 0.0038004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-31_0_3_line_3 |  | 2 | 9 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-31_0_3_line_4 |  | 3 | 4 | 0.038586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-31_0_3_line_5 |  | 3 | 5 | 0.036834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-31_0_3_line_6 |  | 5 | 6 | 0.030467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-31_0_3_line_7 |  | 6 | 7 | 0.056122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-31_0_3_line_8 |  | 6 | 8 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-31_0_3_line_9 |  | 7 | 12 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-31_0_3_line_10 |  | 7 | 9 | 0.016306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-31_0_3_line_11 |  | 8 | 28 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-31_0_3_line_12 |  | 9 | 10 | 0.0043114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-31_0_3_line_13 |  | 12 | 32 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_141-31_0_3_line_14 |  | 13 | 14 | 0.006417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_141-31_0_3_line_15 |  | 13 | 15 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-31_0_3_line_16 |  | 14 | 33 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-31_0_3_line_17 |  | 14 | 29 | 0.03723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-31_0_3_line_18 |  | 15 | 34 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-31_0_3_line_19 |  | 16 | 17 | 0.004194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-31_0_3_line_20 |  | 16 | 18 | 0.020171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-31_0_3_line_21 |  | 17 | 27 | 0.020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-31_0_3_line_22 |  | 19 | 20 | 0.057127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-31_0_3_line_23 |  | 19 | 21 | 0.075852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-31_0_3_line_24 |  | 20 | 22 | 0.003384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-31_0_3_line_25 |  | 20 | 23 | 0.008384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-31_0_3_line_26 |  | 21 | 25 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-31_0_3_line_27 |  | 22 | 37 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-31_0_3_line_28 |  | 24 | 25 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-31_0_3_line_29 |  | 24 | 26 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-31_0_3_line_30 |  | 26 | 38 | 0.0027886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-31_0_3_line_31 |  | 27 | 39 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-31_0_3_line_32 |  | 28 | 50 | 0.032261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-31_0_3_line_33 |  | 30 | 31 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-31_0_3_line_34 |  | 31 | 66 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-31_0_3_line_35 |  | 31 | 60 | 0.011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-31_0_3_line_36 |  | 31 | 65 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-31_0_3_line_37 |  | 32 | 51 | 0.0205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_141-31_0_3_line_38 |  | 33 | 71 | 0.027915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-31_0_3_line_39 |  | 34 | 69 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_141-31_0_3_line_40 |  | 35 | 36 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-31_0_3_line_41 |  | 36 | 42 | 0.0086946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-31_0_3_line_42 |  | 38 | 39 | 0.067299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-31_0_3_line_43 |  | 39 | 53 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_141-31_0_3_line_44 |  | 39 | 51 | 0.00464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_141-31_0_3_line_45 |  | 40 | 41 | 0.0062394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-31_0_3_line_46 |  | 40 | 42 | 0.033569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_141-31_0_3_line_47 |  | 41 | 63 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_141-31_0_3_line_48 |  | 42 | 47 | 0.016732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_141-31_0_3_line_49 |  | 43 | 44 | 0.008477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_141-31_0_3_line_50 |  | 43 | 45 | 0.0061676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_141-31_0_3_line_51 |  | 44 | 63 | 0.0040175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_141-31_0_3_line_52 |  | 45 | 61 | 0.021512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_141-31_0_3_line_53 |  | 46 | 47 | 0.00039582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_141-31_0_3_line_54 |  | 48 | 49 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_141-31_0_3_line_55 |  | 49 | 57 | 0.016675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_141-31_0_3_line_56 |  | 51 | 52 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_141-31_0_3_line_57 |  | 52 | 54 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_141-31_0_3_line_58 |  | 53 | 55 | 0.0029709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_141-31_0_3_line_59 |  | 54 | 56 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_141-31_0_3_line_60 |  | 55 | 60 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_141-31_0_3_line_61 |  | 57 | 58 | 0.038972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_141-31_0_3_line_62 |  | 58 | 59 | 0.0042706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_141-31_0_3_line_63 |  | 59 | 61 | 0.00504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_141-31_0_3_line_64 |  | 61 | 62 | 0.003016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_141-31_0_3_line_65 |  | 62 | 69 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_141-31_0_3_line_66 |  | 62 | 67 | 0.006206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_141-31_0_3_line_67 |  | 64 | 65 | 0.016677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_141-31_0_3_line_68 |  | 66 | 68 | 0.00058151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_141-31_0_3_line_69 |  | 68 | 69 | 0.016113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_141-31_0_3_line_70 |  | 70 | 71 | 0.0039599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-31_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 72 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2685128.3205 | 1239320.6969 | 2685137.9915 | 1239326.5065
1 | 2685097.2175 | 1239373.9561 | 2685100.6393 | 1239365.8437 | 2685104.1523 | 1239355.5867 | 2685116.0476 | 1239336.7992 | 2685128.3205 | 1239320.6969
2 | 2685097.2175 | 1239373.9561 | 2685095.3001 | 1239377.2373
3 | 2685086.7501 | 1239368.0796 | 2685087.6806 | 1239368.5933 | 2685091.1697 | 1239370.5559 | 2685091.9576 | 1239371.0008 | 2685092.933 | 1239371.5485 | 2685096.3997 | 1239373.4885 | 2685097.2175 | 1239373.9561
4 | 2685171.9419 | 1239258.5221 | 2685167.7508 | 1239254.8705 | 2685164.2357 | 1239253.6636 | 2685156.6695 | 1239252.2319 | 2685154.3586 | 1239250.92 | 2685153.518 | 1239248.3506 | 2685154.5164 | 1239245.7185 | 2685163.9119 | 1239236.1152
5 | 2685171.9419 | 1239258.5221 | 2685146.7424 | 1239285.387
6 | 2685125.8986 | 1239307.6083 | 2685146.7424 | 1239285.387
7 | 2685093.874 | 1239353.4045 | 2685103.196 | 1239336.3036 | 2685114.7528 | 1239319.4904 | 2685125.8986 | 1239307.6083
8 | 2685125.8986 | 1239307.6083 | 2685121.7637 | 1239304.7915 | 2685117.591 | 1239304.6093 | 2685111.2923 | 1239311.1188
9 | 2685093.874 | 1239353.4045 | 2685077.8711 | 1239344.1029
10 | 2685086.7501 | 1239368.0796 | 2685093.874 | 1239353.4045
11 | 2685111.2923 | 1239311.1188 | 2685104.7613 | 1239317.8683 | 2685102.3731 | 1239319.3129 | 2685099.6791 | 1239319.3966 | 2685097.1934 | 1239317.916
12 | 2685086.7501 | 1239368.0796 | 2685084.8786 | 1239371.9636
13 | 2685077.8711 | 1239344.1029 | 2685053.8364 | 1239330.1327
14 | 2685054.6625 | 1239427.8074 | 2685050.7171 | 1239432.8767
15 | 2685054.6625 | 1239427.8074 | 2685041.7403 | 1239419.6865
16 | 2685050.7171 | 1239432.8767 | 2685046.9459 | 1239426.8517 | 2685037.1133 | 1239420.8133
17 | 2685050.7171 | 1239432.8767 | 2685041.9478 | 1239444.1593 | 2685026.1021 | 1239460.747
18 | 2685020.0277 | 1239406.0414 | 2685041.7403 | 1239419.6865
19 | 2684990.0472 | 1239289.2382 | 2684992.6391 | 1239290.4762 | 2684993.7402 | 1239291.2258
20 | 2684990.0472 | 1239289.2382 | 2684981.9901 | 1239307.73
21 | 2684993.7402 | 1239291.2258 | 2685010.9048 | 1239302.9822
22 | 2685098.2115 | 1239146.9182 | 2685106.5133 | 1239153.5086 | 2685123.2519 | 1239167.8143 | 2685125.3293 | 1239169.5898 | 2685126.9957 | 1239171.0147 | 2685128.1317 | 1239171.9762 | 2685124.3194 | 1239176.7138 | 2685122.5943 | 1239178.8573 | 2685120.5918 | 1239181.3526 | 2685118.8128 | 1239183.562 | 2685116.7949 | 1239186.0794
23 | 2685098.2115 | 1239146.9182 | 2685099.5893 | 1239148.9505 | 2685100.0577 | 1239155.8511 | 2685099.453 | 1239157.9328 | 2685058.7591 | 1239207.7331
24 | 2685116.7949 | 1239186.0794 | 2685114.6693 | 1239188.7175
25 | 2685110.1978 | 1239180.8811 | 2685116.7949 | 1239186.0794
26 | 2685048.1507 | 1239220.7155 | 2685058.7591 | 1239207.7331
27 | 2685114.6693 | 1239188.7175 | 2685124.0517 | 1239195.3789
28 | 2685033.463 | 1239238.6901 | 2685048.1507 | 1239220.7155
29 | 2685033.463 | 1239238.6901 | 2685042.0469 | 1239253.7059
30 | 2685043.4309 | 1239256.1268 | 2685042.0469 | 1239253.7059
31 | 2685032.0917 | 1239317.4937 | 2685010.9048 | 1239302.9822
32 | 2685072.5085 | 1239321.0469 | 2685078.5936 | 1239312.3338 | 2685081.1156 | 1239310.0016 | 2685084.3192 | 1239310.2477 | 2685097.1934 | 1239317.916
33 | 2685013.775 | 1239361.085 | 2685033.8903 | 1239371.1904
34 | 2685013.775 | 1239361.085 | 2685008.422 | 1239375.1852 | 2685007.9319 | 1239377.3171
35 | 2685013.775 | 1239361.085 | 2685018.1069 | 1239350.7759
36 | 2685013.775 | 1239361.085 | 2685000.8503 | 1239354.7774
37 | 2685036.1126 | 1239319.8308 | 2685053.8364 | 1239330.1327
38 | 2685037.1133 | 1239420.8133 | 2685013.3263 | 1239406.2051
39 | 2685001.9752 | 1239392.7722 | 2685012.9826 | 1239401.6139 | 2685020.0277 | 1239406.0414
40 | 2684928.4511 | 1239337.1223 | 2684928.994 | 1239338.1332 | 2684928.2454 | 1239343.4041 | 2684926.4634 | 1239346.7976
41 | 2684922.4212 | 1239354.4954 | 2684926.4634 | 1239346.7976
42 | 2685032.0917 | 1239317.4937 | 2685045.9595 | 1239282.9786 | 2685046.0425 | 1239277.7205 | 2685050.5876 | 1239271.4477 | 2685049.8889 | 1239267.4237 | 2685043.4309 | 1239256.1268
43 | 2685032.0917 | 1239317.4937 | 2685027.248 | 1239329.0212
44 | 2685032.0917 | 1239317.4937 | 2685036.1126 | 1239319.8308
45 | 2684935.986 | 1239383.3769 | 2684941.3971 | 1239386.4834
46 | 2684922.4212 | 1239354.4954 | 2684930.0755 | 1239360.3424 | 2684932.8399 | 1239366.4308 | 2684934.8287 | 1239379.6799 | 2684935.986 | 1239383.3769
47 | 2684941.3971 | 1239386.4834 | 2684958.8198 | 1239396.4861
48 | 2684922.4212 | 1239354.4954 | 2684913.8641 | 1239368.8737
49 | 2684969.6711 | 1239402.7171 | 2684962.3039 | 1239398.4864
50 | 2684969.6711 | 1239402.7171 | 2684972.1607 | 1239397.0743
51 | 2684962.3039 | 1239398.4864 | 2684958.8198 | 1239396.4861
52 | 2684980.8426 | 1239377.3921 | 2684980.3031 | 1239378.6186 | 2684972.1607 | 1239397.0743
53 | 2684913.6617 | 1239369.2138 | 2684913.8641 | 1239368.8737
54 | 2684979.2649 | 1239305.4646 | 2684974.532 | 1239316.8056
55 | 2684969.0446 | 1239332.5279 | 2684971.7748 | 1239323.4124 | 2684974.532 | 1239316.8056
56 | 2685036.1126 | 1239319.8308 | 2685045.7289 | 1239296.9631
57 | 2685045.7289 | 1239296.9631 | 2685045.5428 | 1239293.0577 | 2685048.4431 | 1239283.8593 | 2685049.832 | 1239279.3092 | 2685053.8942 | 1239274.4001
58 | 2685027.248 | 1239329.0212 | 2685026.0971 | 1239331.7601
59 | 2685070.5457 | 1239254.2768 | 2685053.8942 | 1239274.4001
60 | 2685018.1069 | 1239350.7759 | 2685026.0971 | 1239331.7601
61 | 2684969.0446 | 1239332.5279 | 2684968.5814 | 1239334.0744 | 2684967.3756 | 1239343.2749 | 2684968.5915 | 1239353.444 | 2684971.7335 | 1239363.2738 | 2684975.4843 | 1239369.7881
62 | 2684977.8143 | 1239373.3569 | 2684976.6784 | 1239371.8618 | 2684975.4843 | 1239369.7881
63 | 2684980.8426 | 1239377.3921 | 2684977.8143 | 1239373.3569
64 | 2684982.0545 | 1239374.6297 | 2684980.8426 | 1239377.3921
65 | 2685001.9752 | 1239392.7722 | 2684982.0545 | 1239374.6297
66 | 2684982.0545 | 1239374.6297 | 2684978.8478 | 1239369.847 | 2684978.6253 | 1239369.4583
67 | 2684985.8627 | 1239347.463 | 2685000.8503 | 1239354.7774
68 | 2685007.9319 | 1239377.3171 | 2685007.8016 | 1239377.8838
69 | 2685001.9752 | 1239392.7722 | 2685004.7102 | 1239388.2415 | 2685006.962 | 1239381.5355 | 2685007.8016 | 1239377.8838
70 | 2685013.3263 | 1239406.2051 | 2685010.6111 | 1239404.5376 | 2685009.9914 | 1239404.0746

## bus_geodata
| x | y | coords
0 | 2685137.9915 | 1239326.5065
1 | 2685128.3205 | 1239320.6969
2 | 2685097.2175 | 1239373.9561
3 | 2685171.9419 | 1239258.5221
4 | 2685163.9119 | 1239236.1152
5 | 2685146.7424 | 1239285.387
6 | 2685125.8986 | 1239307.6083
7 | 2685093.874 | 1239353.4045
8 | 2685111.2923 | 1239311.1188
9 | 2685086.7501 | 1239368.0796
10 | 2685084.8786 | 1239371.9636
11 | 2685095.3001 | 1239377.2373
12 | 2685077.8711 | 1239344.1029
13 | 2685054.6625 | 1239427.8074
14 | 2685050.7171 | 1239432.8767
15 | 2685041.7403 | 1239419.6865
16 | 2684990.0472 | 1239289.2382
17 | 2684993.7402 | 1239291.2258
18 | 2684981.9902 | 1239307.73
19 | 2685098.2115 | 1239146.9182
20 | 2685116.7949 | 1239186.0794
21 | 2685058.7591 | 1239207.7331
22 | 2685114.6693 | 1239188.7175
23 | 2685110.1978 | 1239180.8811
24 | 2685033.463 | 1239238.6901
25 | 2685048.1507 | 1239220.7155
26 | 2685042.0469 | 1239253.7059
27 | 2685010.9048 | 1239302.9822
28 | 2685097.1934 | 1239317.916
29 | 2685026.1021 | 1239460.747
30 | 2685033.8903 | 1239371.1904
31 | 2685013.775 | 1239361.085
32 | 2685053.8364 | 1239330.1327
33 | 2685037.1133 | 1239420.8133
34 | 2685020.0277 | 1239406.0414
35 | 2684928.4511 | 1239337.1223
36 | 2684926.4634 | 1239346.7976
37 | 2685124.0517 | 1239195.3789
38 | 2685043.4309 | 1239256.1268
39 | 2685032.0917 | 1239317.4937
40 | 2684935.986 | 1239383.3769
41 | 2684941.3971 | 1239386.4834
42 | 2684922.4212 | 1239354.4954
43 | 2684969.6711 | 1239402.7171
44 | 2684962.3039 | 1239398.4864
45 | 2684972.1607 | 1239397.0743
46 | 2684913.6617 | 1239369.2138
47 | 2684913.8641 | 1239368.8737
48 | 2684979.2649 | 1239305.4646
49 | 2684974.532 | 1239316.8056
50 | 2685072.5085 | 1239321.0469
51 | 2685036.1126 | 1239319.8308
52 | 2685045.7289 | 1239296.9631
53 | 2685027.248 | 1239329.0212
54 | 2685053.8942 | 1239274.4001
55 | 2685026.0971 | 1239331.7601
56 | 2685070.5457 | 1239254.2768
57 | 2684969.0446 | 1239332.5279
58 | 2684975.4843 | 1239369.7881
59 | 2684977.8143 | 1239373.3569
60 | 2685018.1069 | 1239350.7759
61 | 2684980.8426 | 1239377.3921
62 | 2684982.0545 | 1239374.6296
63 | 2684958.8198 | 1239396.4861
64 | 2684985.8627 | 1239347.463
65 | 2685000.8503 | 1239354.7774
66 | 2685007.9319 | 1239377.3171
67 | 2684978.6253 | 1239369.4583
68 | 2685007.8016 | 1239377.8838
69 | 2685001.9752 | 1239392.7722
70 | 2685009.9914 | 1239404.0746
71 | 2685013.3263 | 1239406.2051
72 | 2685036.1126 | 1239319.8308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99382 | -0.11855 | 0.0025156 | 0.00063046
1 | 0.99384 | -0.11805 | 0 | 0
2 | 0.99399 | -0.11529 | 0 | 0
3 | 0.98969 | -0.19837 | 0 | 0
4 | 0.98927 | -0.20648 | 0.011802 | 0.0029578
5 | 0.99009 | -0.19064 | 0.020406 | 0.0051142
6 | 0.99098 | -0.1732 | 0 | 0
7 | 0.99478 | -0.099939 | 0 | 0
8 | 0.99029 | -0.18669 | 0.0075143 | 0.0018833
9 | 0.99412 | -0.11268 | 0 | 0
10 | 0.994 | -0.11512 | 0.032041 | 0.0080303
11 | 0.99395 | -0.11595 | 0.0097886 | 0.0024533
12 | 0.99678 | -0.061487 | 0.0083028 | 0.0020809
13 | 0.98908 | -0.21013 | 0 | 0
14 | 0.98898 | -0.212 | 0 | 0
15 | 0.98931 | -0.20568 | 0.004794 | 0.0012015
16 | 0.99698 | -0.057881 | 0 | 0
17 | 0.99701 | -0.057226 | 0 | 0
18 | 0.99681 | -0.061031 | 0.0089024 | 0.0022311
19 | 0.99371 | -0.1208 | 0 | 0
20 | 0.99289 | -0.13674 | 0 | 0
21 | 0.99481 | -0.099666 | 0.0032297 | 0.00080944
22 | 0.99286 | -0.13721 | 0 | 0
23 | 0.99283 | -0.13791 | 0.007898 | 0.0019794
24 | 0.99556 | -0.085048 | 0 | 0
25 | 0.9951 | -0.094049 | 0.0030087 | 0.00075406
26 | 0.99591 | -0.078347 | 0.0033977 | 0.00085154
27 | 0.99718 | -0.053979 | 0.011357 | 0.0028464
28 | 0.98973 | -0.19747 | 0.011253 | 0.0028202
29 | 0.98886 | -0.21439 | 0.0035911 | 0.00090003
30 | 0.99287 | -0.13675 | 0.0077129 | 0.001933
31 | 0.99303 | -0.13368 | 0 | 0
32 | 1 | 0 | -0.3377 | -0.085144
33 | 0.98876 | -0.21625 | 0.0029416 | 0.00073724
34 | 0.98981 | -0.19602 | 0.0063186 | 0.0015836
35 | 0.98736 | -0.24351 | 0.0023505 | 0.0005891
36 | 0.98738 | -0.24307 | 0.0027838 | 0.00069769
37 | 0.99278 | -0.13881 | 0.0078975 | 0.0019793
38 | 0.99598 | -0.0771 | 0.0018682 | 0.00046821
39 | 0.99765 | -0.044863 | 0 | 0
40 | 0.98782 | -0.23468 | 0 | 0
41 | 0.98789 | -0.23327 | 0.0035925 | 0.00090037
42 | 0.98743 | -0.24227 | 0 | 0
43 | 0.98841 | -0.22315 | 0 | 0
44 | 0.98826 | -0.22606 | 0 | 0
45 | 0.98852 | -0.22104 | 0.0071489 | 0.0017917
46 | 0.98731 | -0.24455 | 0.0035354 | 0.00088606
47 | 0.98731 | -0.24453 | 0.0039899 | 0.00099997
48 | 0.98844 | -0.22244 | 0.0026878 | 0.00067363
49 | 0.98848 | -0.22185 | 0.0017408 | 0.00043628
50 | 0.98906 | -0.21059 | 0.022855 | 0.005728
51 | 0.99806 | -0.037087 | 0 | 0
52 | 0.99771 | -0.043902 | 0 | 0
53 | 0.99683 | -0.060632 | 0.012438 | 0.0031172
54 | 0.99735 | -0.050689 | 0.0046945 | 0.0011765
55 | 0.99647 | -0.067485 | 0.010282 | 0.0025768
56 | 0.99709 | -0.055727 | 0.011003 | 0.0027576
57 | 0.98854 | -0.22054 | 0.0058796 | 0.0014736
58 | 0.98891 | -0.21337 | 0.0044656 | 0.0011192
59 | 0.98897 | -0.21225 | 0 | 0
60 | 0.99418 | -0.11146 | 0.0086497 | 0.0021678
61 | 0.98904 | -0.21092 | 0 | 0
62 | 0.98915 | -0.20871 | 0 | 0
63 | 0.98819 | -0.22744 | 0.0029683 | 0.00074394
64 | 0.9928 | -0.1382 | 0.0052517 | 0.0013162
65 | 0.99288 | -0.13665 | 0.0064327 | 0.0016122
66 | 0.99155 | -0.16216 | 0.0056535 | 0.0014169
67 | 0.9891 | -0.20963 | 0.0082743 | 0.0020737
68 | 0.99151 | -0.16306 | 0.010577 | 0.0026509
69 | 0.99037 | -0.18505 | 0 | 0
70 | 0.98849 | -0.22164 | 0.0070132 | 0.0017577
71 | 0.98851 | -0.22115 | 0.0028218 | 0.00070722
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025156 | -0.00063046 | 0.0025156 | 0.00063035 | 6.0018e-08 | -1.0778e-07 | 0.0037665 | 0.0037664 | 0.0037665 | 0.99382 | -0.11855 | 0.99384 | -0.11805 | 1.0347
1 | -0.0025156 | -0.00063035 | 0.002516 | 0.00062976 | 3.3028e-07 | -5.9332e-07 | 0.0037664 | 0.0037661 | 0.0037664 | 0.99384 | -0.11805 | 0.99399 | -0.11529 | 1.0347
2 | 0.0097889 | 0.0024534 | -0.0097886 | -0.0024533 | 3.0604e-07 | 1.4661e-07 | 0.014654 | 0.014654 | 0.014654 | 0.99399 | -0.11529 | 0.99395 | -0.11595 | 4.0259
3 | -0.012305 | -0.0030832 | 0.012306 | 0.003084 | 1.5274e-06 | 8.2193e-07 | 0.01842 | 0.01842 | 0.01842 | 0.99399 | -0.11529 | 0.99412 | -0.11268 | 5.0605
4 | 0.011807 | 0.0029603 | -0.011802 | -0.0029578 | 4.5599e-06 | 2.4227e-06 | 0.017752 | 0.017752 | 0.017752 | 0.98969 | -0.19837 | 0.98927 | -0.20648 | 4.8769
5 | -0.011807 | -0.0029603 | 0.011811 | 0.0029626 | 4.3527e-06 | 2.3122e-06 | 0.017752 | 0.017752 | 0.017752 | 0.98969 | -0.19837 | 0.99009 | -0.19064 | 4.8769
6 | -0.032217 | -0.0080768 | 0.032244 | 0.0080936 | 2.6786e-05 | 1.6751e-05 | 0.04842 | 0.04842 | 0.04842 | 0.99009 | -0.19064 | 0.99098 | -0.1732 | 13.3023
7 | -0.073924 | -0.018562 | 0.074184 | 0.018727 | 0.00025937 | 0.00016527 | 0.11101 | 0.11101 | 0.11101 | 0.99098 | -0.1732 | 0.99478 | -0.099939 | 30.4982
8 | 0.041681 | 0.010468 | -0.041654 | -0.010451 | 2.6796e-05 | 1.6914e-05 | 0.062593 | 0.062593 | 0.062593 | 0.99098 | -0.1732 | 0.99029 | -0.18669 | 17.196
9 | -0.11856 | -0.029861 | 0.11878 | 0.03 | 0.00021844 | 0.00013956 | 0.1774 | 0.1774 | 0.1774 | 0.99478 | -0.099939 | 0.99678 | -0.061487 | 48.7361
10 | 0.044379 | 0.011134 | -0.044352 | -0.011117 | 2.6949e-05 | 1.7036e-05 | 0.066386 | 0.066386 | 0.066386 | 0.99478 | -0.099939 | 0.99412 | -0.11268 | 18.238
11 | 0.034139 | 0.0085679 | -0.034122 | -0.0085569 | 1.754e-05 | 1.0997e-05 | 0.051302 | 0.051302 | 0.051302 | 0.99029 | -0.18669 | 0.98973 | -0.19747 | 14.0941
12 | 0.032045 | 0.0080327 | -0.032041 | -0.0080303 | 3.7198e-06 | 2.3248e-06 | 0.047966 | 0.047966 | 0.047966 | 0.99412 | -0.11268 | 0.994 | -0.11512 | 13.1775
13 | -0.12708 | -0.032081 | 0.12746 | 0.032321 | 0.00037552 | 0.00023997 | 0.18979 | 0.18979 | 0.18979 | 0.99678 | -0.061487 | 1 | 0 | 52.1412
14 | 0.016375 | 0.0041054 | -0.016373 | -0.0041045 | 1.4604e-06 | 8.5233e-07 | 0.024635 | 0.024635 | 0.024635 | 0.98908 | -0.21013 | 0.98898 | -0.212 | 6.768
15 | -0.016375 | -0.0041054 | 0.016378 | 0.0041074 | 3.4735e-06 | 2.0271e-06 | 0.024635 | 0.024635 | 0.024635 | 0.98908 | -0.21013 | 0.98931 | -0.20568 | 6.768
16 | 0.012782 | 0.0032047 | -0.012779 | -0.0032033 | 2.5863e-06 | 1.416e-06 | 0.019232 | 0.019232 | 0.019232 | 0.98898 | -0.212 | 0.98876 | -0.21625 | 5.2835
17 | 0.0035916 | 0.00089981 | -0.0035911 | -0.00090003 | 4.0768e-07 | -2.1675e-07 | 0.0054037 | 0.0054039 | 0.0054039 | 0.98898 | -0.212 | 0.98886 | -0.21439 | 1.4846
18 | -0.021172 | -0.0053089 | 0.021182 | 0.0053148 | 9.7528e-06 | 5.9123e-06 | 0.031846 | 0.031846 | 0.031846 | 0.98931 | -0.20568 | 0.98981 | -0.19602 | 8.7489
19 | -0.0089037 | -0.0022317 | 0.008904 | 0.0022319 | 2.7775e-07 | 1.2307e-07 | 0.013289 | 0.013289 | 0.013289 | 0.99698 | -0.057881 | 0.99701 | -0.057226 | 3.6509
20 | 0.0089037 | 0.0022317 | -0.0089024 | -0.0022311 | 1.3358e-06 | 5.9194e-07 | 0.013289 | 0.013289 | 0.013289 | 0.99698 | -0.057881 | 0.99681 | -0.061031 | 3.6509
21 | -0.008904 | -0.0022319 | 0.0089054 | 0.0022325 | 1.3778e-06 | 6.1042e-07 | 0.013289 | 0.013289 | 0.013289 | 0.99701 | -0.057226 | 0.99718 | -0.053979 | 3.6508
22 | 0.015809 | 0.0039662 | -0.015797 | -0.0039592 | 1.2007e-05 | 6.9448e-06 | 0.023674 | 0.023674 | 0.023674 | 0.99371 | -0.1208 | 0.99289 | -0.13674 | 6.5039
23 | -0.015809 | -0.0039662 | 0.015825 | 0.0039754 | 1.5942e-05 | 9.219e-06 | 0.023674 | 0.023674 | 0.023674 | 0.99371 | -0.1208 | 0.99481 | -0.099666 | 6.5039
24 | 0.0078983 | 0.0019796 | -0.0078981 | -0.0019795 | 1.7781e-07 | 7.003e-08 | 0.011837 | 0.011837 | 0.011837 | 0.99289 | -0.13674 | 0.99286 | -0.13721 | 3.2519
25 | 0.0078985 | 0.0019796 | -0.007898 | -0.0019794 | 4.4054e-07 | 1.7352e-07 | 0.011837 | 0.011837 | 0.011837 | 0.99289 | -0.13674 | 0.99283 | -0.13791 | 3.252
26 | -0.019054 | -0.0047848 | 0.01906 | 0.0047879 | 5.1083e-06 | 3.0516e-06 | 0.028505 | 0.028505 | 0.028505 | 0.99481 | -0.099666 | 0.9951 | -0.094049 | 7.8309
27 | 0.0078981 | 0.0019795 | -0.0078975 | -0.0019793 | 6.0341e-07 | 2.3767e-07 | 0.011837 | 0.011837 | 0.011837 | 0.99286 | -0.13721 | 0.99278 | -0.13881 | 3.2519
28 | 0.022078 | 0.0055477 | -0.022068 | -0.0055419 | 9.4814e-06 | 5.7664e-06 | 0.033004 | 0.033004 | 0.033004 | 0.99556 | -0.085048 | 0.9951 | -0.094049 | 9.0669
29 | -0.022078 | -0.0055477 | 0.022085 | 0.005552 | 7.0648e-06 | 4.2965e-06 | 0.033004 | 0.033003 | 0.033004 | 0.99556 | -0.085048 | 0.99591 | -0.078347 | 9.0669
30 | -0.025482 | -0.0064035 | 0.025484 | 0.0064045 | 1.5164e-06 | 9.342e-07 | 0.03808 | 0.03808 | 0.03808 | 0.99591 | -0.078347 | 0.99598 | -0.0771 | 10.4615
31 | -0.020263 | -0.0050789 | 0.020272 | 0.0050842 | 8.8044e-06 | 5.2997e-06 | 0.030237 | 0.030237 | 0.030237 | 0.99718 | -0.053979 | 0.99765 | -0.044863 | 8.3068
32 | 0.022869 | 0.0057367 | -0.022855 | -0.005728 | 1.4303e-05 | 8.7398e-06 | 0.034385 | 0.034385 | 0.034385 | 0.98973 | -0.19747 | 0.98906 | -0.21059 | 9.4464
33 | -0.0077129 | -0.001933 | 0.007714 | 0.0019335 | 1.1279e-06 | 4.307e-07 | 0.011559 | 0.011559 | 0.011559 | 0.99287 | -0.13675 | 0.99303 | -0.13368 | 3.1756
34 | 0.093471 | 0.023554 | -0.093344 | -0.023472 | 0.00012713 | 8.1139e-05 | 0.14011 | 0.14011 | 0.14011 | 0.99303 | -0.13368 | 0.99155 | -0.16216 | 38.4912
35 | -0.11287 | -0.028416 | 0.11299 | 0.028493 | 0.00012002 | 7.6668e-05 | 0.16918 | 0.16918 | 0.16918 | 0.99303 | -0.13368 | 0.99418 | -0.11146 | 46.4778
36 | 0.011686 | 0.0029293 | -0.011685 | -0.0029284 | 1.6539e-06 | 8.7247e-07 | 0.017512 | 0.017512 | 0.017512 | 0.99303 | -0.13368 | 0.99288 | -0.13665 | 4.811
37 | 0.20859 | 0.052823 | -0.20822 | -0.052587 | 0.00037077 | 0.00023675 | 0.31058 | 0.31058 | 0.31058 | 1 | 0 | 0.99806 | -0.037087 | 42.6616
38 | 0.0098375 | 0.0024661 | -0.0098352 | -0.002465 | 2.2944e-06 | 1.1105e-06 | 0.014805 | 0.014805 | 0.014805 | 0.98876 | -0.21625 | 0.98851 | -0.22115 | 4.0673
39 | -0.027501 | -0.0068984 | 0.027515 | 0.0069073 | 1.4384e-05 | 8.9173e-06 | 0.041345 | 0.041345 | 0.041345 | 0.98981 | -0.19602 | 0.99037 | -0.18505 | 11.3585
40 | -0.0023505 | -0.0005891 | 0.0023506 | 0.000589 | 4.8489e-08 | -1.0076e-07 | 0.0035424 | 0.0035424 | 0.0035424 | 0.98736 | -0.24351 | 0.98738 | -0.24307 | 0.97319
41 | -0.0051344 | -0.0012867 | 0.0051346 | 0.0012867 | 1.9521e-07 | 1.3721e-08 | 0.0077377 | 0.0077376 | 0.0077377 | 0.98738 | -0.24307 | 0.98743 | -0.24227 | 2.1257
42 | -0.027352 | -0.0068727 | 0.027394 | 0.0068988 | 4.2157e-05 | 2.6103e-05 | 0.040871 | 0.040871 | 0.040871 | 0.99598 | -0.0771 | 0.99765 | -0.044863 | 11.2283
43 | 0.14477 | 0.036616 | -0.14466 | -0.036547 | 0.00010943 | 6.9708e-05 | 0.21605 | 0.21605 | 0.21605 | 0.99765 | -0.044863 | 0.99683 | -0.060632 | 29.6765
44 | -0.19244 | -0.048599 | 0.19251 | 0.048645 | 7.1737e-05 | 4.5791e-05 | 0.28715 | 0.28715 | 0.28715 | 0.99765 | -0.044863 | 0.99806 | -0.037087 | 39.444
45 | -0.012665 | -0.0031755 | 0.012666 | 0.003176 | 8.5171e-07 | 4.6521e-07 | 0.019079 | 0.019079 | 0.019079 | 0.98782 | -0.23468 | 0.98789 | -0.23327 | 5.2415
46 | 0.012665 | 0.0031755 | -0.012661 | -0.003173 | 4.5824e-06 | 2.5032e-06 | 0.019079 | 0.019079 | 0.019079 | 0.98782 | -0.23468 | 0.98743 | -0.24227 | 5.2416
47 | -0.016259 | -0.0040764 | 0.016263 | 0.004079 | 4.5186e-06 | 2.6346e-06 | 0.02449 | 0.02449 | 0.02449 | 0.98789 | -0.23327 | 0.98819 | -0.22744 | 6.7281
48 | 0.0075261 | 0.0018863 | -0.0075253 | -0.001886 | 8.0711e-07 | 3.0255e-07 | 0.011342 | 0.011342 | 0.011342 | 0.98743 | -0.24227 | 0.98731 | -0.24453 | 3.1159
49 | 0.019235 | 0.0048253 | -0.019233 | -0.0048237 | 2.6661e-06 | 1.5976e-06 | 0.02896 | 0.02896 | 0.02896 | 0.98841 | -0.22315 | 0.98826 | -0.22606 | 7.9561
50 | -0.019235 | -0.0048253 | 0.019237 | 0.0048265 | 1.9397e-06 | 1.1624e-06 | 0.02896 | 0.02896 | 0.02896 | 0.98841 | -0.22315 | 0.98852 | -0.22104 | 7.956
51 | 0.019233 | 0.0048237 | -0.019232 | -0.0048229 | 1.2635e-06 | 7.5718e-07 | 0.02896 | 0.02896 | 0.02896 | 0.98826 | -0.22606 | 0.98819 | -0.22744 | 7.9561
52 | -0.026386 | -0.0066182 | 0.026399 | 0.006626 | 1.2728e-05 | 7.8699e-06 | 0.039721 | 0.039721 | 0.039721 | 0.98852 | -0.22104 | 0.98904 | -0.21092 | 10.9124
53 | -0.0035354 | -0.00088606 | 0.0035354 | 0.00088605 | 4.2142e-09 | -2.3647e-09 | 0.0053284 | 0.0053284 | 0.0053284 | 0.98731 | -0.24455 | 0.98731 | -0.24453 | 1.4638
54 | -0.0026878 | -0.00067363 | 0.0026879 | 0.00067352 | 7.5448e-08 | -1.0924e-07 | 0.0040463 | 0.0040462 | 0.0040463 | 0.98844 | -0.22244 | 0.98848 | -0.22185 | 1.1116
55 | -0.0044286 | -0.0011098 | 0.0044289 | 0.0011098 | 2.7791e-07 | -3.5899e-08 | 0.0066667 | 0.0066666 | 0.0066667 | 0.98848 | -0.22185 | 0.98854 | -0.22054 | 1.8315
56 | 0.01571 | 0.0039414 | -0.015705 | -0.0039385 | 5.1029e-06 | 2.9419e-06 | 0.023424 | 0.023424 | 0.023424 | 0.99806 | -0.037087 | 0.99771 | -0.043902 | 6.4353
57 | 0.015705 | 0.0039385 | -0.0157 | -0.0039355 | 5.0791e-06 | 2.9284e-06 | 0.023424 | 0.023425 | 0.023425 | 0.99771 | -0.043902 | 0.99735 | -0.050689 | 6.4353
58 | 0.13222 | 0.033429 | -0.13218 | -0.033402 | 4.3446e-05 | 2.7767e-05 | 0.19748 | 0.19748 | 0.19748 | 0.99683 | -0.060632 | 0.99647 | -0.067485 | 54.2524
59 | 0.011006 | 0.002759 | -0.011003 | -0.0027576 | 2.641e-06 | 1.3495e-06 | 0.01642 | 0.016421 | 0.016421 | 0.99735 | -0.050689 | 0.99709 | -0.055727 | 4.5112
60 | 0.1219 | 0.030825 | -0.12164 | -0.030661 | 0.00025656 | 0.00016393 | 0.18213 | 0.18213 | 0.18213 | 0.99647 | -0.067485 | 0.99418 | -0.11146 | 50.0344
61 | -0.010309 | -0.0025833 | 0.010312 | 0.0025851 | 3.5188e-06 | 1.7522e-06 | 0.015517 | 0.015517 | 0.015517 | 0.98854 | -0.22054 | 0.98891 | -0.21337 | 4.2629
62 | -0.014778 | -0.0037043 | 0.014778 | 0.0037047 | 7.9185e-07 | 4.5199e-07 | 0.022236 | 0.022236 | 0.022236 | 0.98891 | -0.21337 | 0.98897 | -0.21225 | 6.1089
63 | -0.014778 | -0.0037047 | 0.014779 | 0.0037053 | 9.3451e-07 | 5.3341e-07 | 0.022236 | 0.022236 | 0.022236 | 0.98897 | -0.21225 | 0.98904 | -0.21092 | 6.1089
64 | -0.041179 | -0.010331 | 0.041183 | 0.010334 | 4.3416e-06 | 2.7399e-06 | 0.061957 | 0.061957 | 0.061957 | 0.98904 | -0.21092 | 0.98915 | -0.20871 | 17.0213
65 | -0.049458 | -0.012408 | 0.049513 | 0.012443 | 5.5848e-05 | 3.5397e-05 | 0.074405 | 0.074405 | 0.074405 | 0.98915 | -0.20871 | 0.99037 | -0.18505 | 20.441
66 | 0.0082747 | 0.0020739 | -0.0082743 | -0.0020737 | 3.6061e-07 | 1.5114e-07 | 0.012448 | 0.012448 | 0.012448 | 0.98915 | -0.20871 | 0.9891 | -0.20963 | 3.4198
67 | -0.0052517 | -0.0013162 | 0.0052521 | 0.0013162 | 3.8748e-07 | 3.2317e-08 | 0.0078713 | 0.0078713 | 0.0078713 | 0.9928 | -0.1382 | 0.99288 | -0.13665 | 2.1625
68 | 0.08769 | 0.022056 | -0.087687 | -0.022053 | 3.778e-06 | 2.4104e-06 | 0.13162 | 0.13162 | 0.13162 | 0.99155 | -0.16216 | 0.99151 | -0.16306 | 36.1604
69 | 0.077109 | 0.019402 | -0.077028 | -0.019351 | 8.0957e-05 | 5.1605e-05 | 0.11575 | 0.11575 | 0.11575 | 0.99151 | -0.16306 | 0.99037 | -0.18505 | 31.7994
70 | -0.0070132 | -0.0017577 | 0.0070134 | 0.0017577 | 1.6551e-07 | 5.5163e-08 | 0.010557 | 0.010557 | 0.010557 | 0.98849 | -0.22164 | 0.98851 | -0.22115 | 2.9004

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34874 | 0.087911

## res_load
| p_mw | q_mvar
0 | 0.0025156 | 0.00063046
1 | 0.011802 | 0.0029578
2 | 0.020406 | 0.0051142
3 | 0.0075143 | 0.0018833
4 | 0.032041 | 0.0080303
5 | 0.0097886 | 0.0024533
6 | 0.0083028 | 0.0020809
7 | 0.004794 | 0.0012015
8 | 0.0089024 | 0.0022311
9 | 0.0032297 | 0.00080944
10 | 0.007898 | 0.0019794
11 | 0.0030087 | 0.00075406
12 | 0.0033977 | 0.00085154
13 | 0.011357 | 0.0028464
14 | 0.011253 | 0.0028202
15 | 0.0035911 | 0.00090003
16 | 0.0077129 | 0.001933
17 | 0.011038 | 0.0027663
18 | 0.0029416 | 0.00073724
19 | 0.0063186 | 0.0015836
20 | 0.0023505 | 0.0005891
21 | 0.0027838 | 0.00069769
22 | 0.0078975 | 0.0019793
23 | 0.0018682 | 0.00046821
24 | 0.0035925 | 0.00090037
25 | 0.0071489 | 0.0017917
26 | 0.0035354 | 0.00088606
27 | 0.0039899 | 0.00099997
28 | 0.0026878 | 0.00067363
29 | 0.0017408 | 0.00043628
30 | 0.022855 | 0.005728
31 | 0.012438 | 0.0031172
32 | 0.0046945 | 0.0011765
33 | 0.010282 | 0.0025768
34 | 0.011003 | 0.0027576
35 | 0.0058796 | 0.0014736
36 | 0.0044656 | 0.0011192
37 | 0.0086497 | 0.0021678
38 | 0.0029683 | 0.00074394
39 | 0.0052517 | 0.0013162
40 | 0.0064327 | 0.0016122
41 | 0.0056535 | 0.0014169
42 | 0.0082743 | 0.0020737
43 | 0.010577 | 0.0026509
44 | 0.0070132 | 0.0017577
45 | 0.0028218 | 0.00070722

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1