## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-7_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_141-7_0_5_node_48 | 0.4 | n |  | TRUE
3 | bus_LV_141-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-7_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_141-7_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_141-7_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_141-7_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_141-7_0_5_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_141-7_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_141-7_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_141-7_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_141-7_0_5_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_141-7_0_5_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_141-7_0_5_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_141-7_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_141-7_0_5_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_141-7_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_141-7_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_141-7_0_5_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_141-7_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_141-7_0_5_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_141-7_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_141-7_0_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_141-7_0_5_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_141-7_0_5_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_141-7_0_5_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_141-7_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_141-7_0_5_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_141-7_0_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_141-7_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_141-7_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_141-7_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_141-7_0_5_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_141-7_0_5_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_141-7_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_141-7_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_141-7_0_5_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_141-7_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_141-7_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_141-7_0_5_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_141-7_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_141-7_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_141-7_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_141-7_0_5_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_141-7_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_141-7_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_141-7_0_5_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_141-7_0_5_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_141-7_0_5_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_141-7_0_5_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_141-7_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_141-7_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_141-7_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_141-7_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_141-7_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_141-7_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_141-7_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_141-7_0_5_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_141-7_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_141-7_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_141-7_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_141-7_0_5_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_141-7_0_5_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_141-7_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_141-7_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_141-7_0_5_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_141-7_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_141-7_0_5_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_141-7_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_141-7_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_141-7_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_141-7_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_141-7_0_5_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_141-7_0_5_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_141-7_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_141-7_0_5_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_141-7_0_5_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_141-7_0_5_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_141-7_0_5_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_141-7_0_5_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_141-7_0_5_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_141-7_0_5_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_141-7_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_141-7_0_5_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_141-7_0_5_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_141-7_0_5_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_141-7_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_141-7_0_5_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_141-7_0_5_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_141-7_0_5_node_96 | 0.4 | n |  | TRUE
91 | bus_MV_491_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-7_0_5_load_0 | 0 | 0.031898 | 0.0079944 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-7_0_5_load_48 | 2 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-7_0_5_load_3 | 3 | 0.012499 | 0.0031326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-7_0_5_load_98 | 8 | 0.0047674 | 0.0011948 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-7_0_5_load_62 | 12 | 0.0056643 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-7_0_5_load_60 | 13 | 0.0023938 | 0.00059995 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-7_0_5_load_97 | 14 | 0.0018549 | 0.00046488 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-7_0_5_load_93 | 16 | 0.013815 | 0.0034624 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-7_0_5_load_67 | 21 | 0.0013704 | 0.00034345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-7_0_5_load_66 | 23 | 0.010351 | 0.0025943 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-7_0_5_load_58 | 24 | 0.013786 | 0.003455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-7_0_5_load_84 | 25 | 0.002466 | 0.00061804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-7_0_5_load_85 | 26 | 0.0015683 | 0.00039306 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-7_0_5_load_83 | 28 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-7_0_5_load_54 | 29 | 0.0021332 | 0.00053462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-7_0_5_load_59 | 32 | 0.0037822 | 0.0009479 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-7_0_5_load_63 | 34 | 0.0086373 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-7_0_5_load_68 | 37 | 0.0077263 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-7_0_5_load_101 | 40 | 0.011132 | 0.0027901 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-7_0_5_load_92 | 44 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-7_0_5_load_86 | 47 | 0.011423 | 0.0028629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-7_0_5_load_87 | 48 | 0.009326 | 0.0023373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-7_0_5_load_91 | 49 | 0.0018376 | 0.00046055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-7_0_5_load_78 | 50 | 0.0076938 | 0.0019282 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-7_0_5_load_49 | 51 | 0.016222 | 0.0040657 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-7_0_5_load_65 | 55 | 0.0052842 | 0.0013244 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-7_0_5_load_61 | 57 | 0.0063564 | 0.0015931 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-7_0_5_load_95 | 58 | 0.0052866 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-7_0_5_load_77 | 60 | 0.0042052 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-7_0_5_load_72 | 61 | 0.007143 | 0.0017902 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-7_0_5_load_75 | 63 | 0.0035259 | 0.00088367 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-7_0_5_load_99 | 66 | 0.016341 | 0.0040954 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-7_0_5_load_102 | 68 | 0.014739 | 0.0036939 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_141-7_0_5_load_70 | 71 | 0.0048544 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_141-7_0_5_load_69 | 72 | 0.0039264 | 0.00098404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_141-7_0_5_load_82 | 73 | 0.0021948 | 0.00055007 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_141-7_0_5_load_79 | 74 | 0.0061062 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_141-7_0_5_load_57 | 75 | 0.0013022 | 0.00032636 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_141-7_0_5_load_100 | 77 | 0.0099918 | 0.0025042 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_141-7_0_5_load_76 | 78 | 0.021196 | 0.0053123 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_141-7_0_5_load_94 | 79 | 0.0039641 | 0.0009935 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_141-7_0_5_load_89 | 81 | 0.00090035 | 0.00022565 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_141-7_0_5_load_53 | 82 | 0.0075086 | 0.0018818 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_141-7_0_5_load_50 | 83 | 0.014859 | 0.0037239 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_141-7_0_5_load_71 | 84 | 0.0058761 | 0.0014727 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_141-7_0_5_load_73 | 85 | 0.01742 | 0.004366 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_141-7_0_5_load_55 | 86 | 0.0036372 | 0.00091157 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_141-7_0_5_load_74 | 87 | 0.021181 | 0.0053083 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_141-7_0_5_load_80 | 88 | 0.002195 | 0.00055011 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_141-7_0_5_load_90 | 89 | 0.0053486 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_141-7_0_5_load_96 | 90 | 0.0066514 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-7_0_5_line_0 |  | 0 | 1 | 0.012005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_141-7_0_5_line_1 |  | 1 | 2 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_141-7_0_5_line_2 |  | 2 | 9 | 0.0097255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-7_0_5_line_3 |  | 3 | 4 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_141-7_0_5_line_4 |  | 4 | 11 | 0.020796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-7_0_5_line_5 |  | 4 | 15 | 0.021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_141-7_0_5_line_6 |  | 5 | 6 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-7_0_5_line_7 |  | 5 | 7 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_141-7_0_5_line_8 |  | 5 | 8 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_141-7_0_5_line_9 |  | 6 | 12 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-7_0_5_line_10 |  | 6 | 13 | 0.023113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-7_0_5_line_11 |  | 7 | 32 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_141-7_0_5_line_12 |  | 8 | 14 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_141-7_0_5_line_13 |  | 9 | 10 | 0.024087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_141-7_0_5_line_14 |  | 9 | 11 | 0.036204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_141-7_0_5_line_15 |  | 10 | 14 | 0.0017185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_141-7_0_5_line_16 |  | 11 | 16 | 0.0051048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_141-7_0_5_line_17 |  | 12 | 30 | 0.016653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_141-7_0_5_line_18 |  | 13 | 57 | 0.00055079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-7_0_5_line_19 |  | 15 | 18 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_141-7_0_5_line_20 |  | 15 | 24 | 0.016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-7_0_5_line_21 |  | 17 | 18 | 0.0077752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-7_0_5_line_22 |  | 17 | 19 | 0.012903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-7_0_5_line_23 |  | 18 | 23 | 0.0037647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-7_0_5_line_24 |  | 19 | 73 | 0.052804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-7_0_5_line_25 |  | 19 | 74 | 0.034965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-7_0_5_line_26 |  | 20 | 21 | 0.008959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-7_0_5_line_27 |  | 20 | 22 | 0.034971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-7_0_5_line_28 |  | 20 | 23 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_141-7_0_5_line_29 |  | 22 | 25 | 0.028837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-7_0_5_line_30 |  | 22 | 26 | 0.028332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_141-7_0_5_line_31 |  | 22 | 27 | 0.039173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-7_0_5_line_32 |  | 22 | 28 | 0.0068434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_141-7_0_5_line_33 |  | 24 | 75 | 0.033221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_141-7_0_5_line_34 |  | 25 | 76 | 0.027213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-7_0_5_line_35 |  | 27 | 29 | 0.0042841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_141-7_0_5_line_36 |  | 30 | 31 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-7_0_5_line_37 |  | 31 | 33 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-7_0_5_line_38 |  | 31 | 34 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_141-7_0_5_line_39 |  | 32 | 39 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_141-7_0_5_line_40 |  | 33 | 77 | 0.0094927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_141-7_0_5_line_41 |  | 35 | 36 | 0.016769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_141-7_0_5_line_42 |  | 35 | 37 | 0.041973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-7_0_5_line_43 |  | 36 | 51 | 0.0017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_141-7_0_5_line_44 |  | 37 | 52 | 0.045684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_141-7_0_5_line_45 |  | 38 | 39 | 0.022849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-7_0_5_line_46 |  | 38 | 40 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_141-7_0_5_line_47 |  | 39 | 41 | 0.040592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_141-7_0_5_line_48 |  | 41 | 48 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_141-7_0_5_line_49 |  | 42 | 43 | 0.011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_141-7_0_5_line_50 |  | 42 | 44 | 0.042846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_141-7_0_5_line_51 |  | 43 | 49 | 0.040533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_141-7_0_5_line_52 |  | 43 | 45 | 0.010717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_141-7_0_5_line_53 |  | 45 | 46 | 0.044733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_141-7_0_5_line_54 |  | 45 | 47 | 0.022771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_141-7_0_5_line_55 |  | 46 | 50 | 0.0026835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_141-7_0_5_line_56 |  | 47 | 48 | 0.0011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_141-7_0_5_line_57 |  | 50 | 78 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_141-7_0_5_line_58 |  | 52 | 53 | 0.015548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_141-7_0_5_line_59 |  | 53 | 66 | 0.034508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_141-7_0_5_line_60 |  | 54 | 55 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_141-7_0_5_line_61 |  | 54 | 56 | 0.02083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_141-7_0_5_line_62 |  | 54 | 57 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_141-7_0_5_line_63 |  | 55 | 79 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_141-7_0_5_line_64 |  | 56 | 58 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_141-7_0_5_line_65 |  | 58 | 64 | 0.0052396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_141-7_0_5_line_66 |  | 59 | 60 | 0.0072887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_141-7_0_5_line_67 |  | 59 | 61 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_141-7_0_5_line_68 |  | 60 | 62 | 0.01472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_141-7_0_5_line_69 |  | 61 | 84 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_141-7_0_5_line_70 |  | 62 | 63 | 0.0091837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_141-7_0_5_line_71 |  | 63 | 85 | 0.023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_141-7_0_5_line_72 |  | 64 | 65 | 0.003461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_141-7_0_5_line_73 |  | 65 | 66 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_141-7_0_5_line_74 |  | 65 | 80 | 0.026912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_141-7_0_5_line_75 |  | 67 | 68 | 0.007976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_141-7_0_5_line_76 |  | 67 | 69 | 0.042101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_141-7_0_5_line_77 |  | 69 | 75 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_141-7_0_5_line_78 |  | 69 | 86 | 0.019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_141-7_0_5_line_79 |  | 70 | 71 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_141-7_0_5_line_80 |  | 70 | 72 | 0.0055903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_141-7_0_5_line_81 |  | 71 | 84 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_141-7_0_5_line_82 |  | 74 | 88 | 0.014936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_141-7_0_5_line_83 |  | 76 | 89 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_141-7_0_5_line_84 |  | 76 | 81 | 0.0028682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_141-7_0_5_line_85 |  | 78 | 87 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_141-7_0_5_line_86 |  | 80 | 82 | 0.010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_141-7_0_5_line_87 |  | 80 | 83 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_141-7_0_5_line_88 |  | 85 | 87 | 0.027968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_141-7_0_5_line_89 |  | 89 | 90 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-7_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 91 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2685494.0366 | 1238294.869 | 2685504.9136 | 1238299.9494
1 | 2685494.0366 | 1238294.869 | 2685486.3254 | 1238293.9685 | 2685483.6518 | 1238293.652 | 2685481.6229 | 1238293.0442
2 | 2685472.7402 | 1238295.3962 | 2685479.0568 | 1238292.2738 | 2685480.7668 | 1238292.7876 | 2685481.6229 | 1238293.0442
3 | 2685452.7662 | 1238329.133 | 2685464.6864 | 1238337.9103
4 | 2685457.135 | 1238314.6966 | 2685460.0551 | 1238317.852 | 2685462.4208 | 1238320.1099 | 2685457.2621 | 1238325.3061 | 2685452.7662 | 1238329.133
5 | 2685435.6905 | 1238332.3452 | 2685438.1929 | 1238335.0943 | 2685449.3675 | 1238326.6379 | 2685452.7662 | 1238329.133
6 | 2685471.6225 | 1238248.5021 | 2685472.6626 | 1238248.7728 | 2685476.1981 | 1238249.6576 | 2685480.5625 | 1238250.7657 | 2685481.4822 | 1238250.9902
7 | 2685481.4822 | 1238250.9902 | 2685485.7304 | 1238249.1389 | 2685487.725 | 1238247.2218
8 | 2685481.4822 | 1238250.9902 | 2685473.7815 | 1238258.2846 | 2685472.8115 | 1238259.6829
9 | 2685471.6225 | 1238248.5021 | 2685477.6262 | 1238243.4737 | 2685479.3828 | 1238241.9299
10 | 2685471.6225 | 1238248.5021 | 2685470.7288 | 1238248.0444 | 2685464.455 | 1238242.9394 | 2685462.3943 | 1238242.0869 | 2685450.7569 | 1238240.1928
11 | 2685487.725 | 1238247.2218 | 2685504.1445 | 1238255.8968
12 | 2685467.2002 | 1238271.6629 | 2685470.4594 | 1238263.0736 | 2685472.8115 | 1238259.6829
13 | 2685472.7402 | 1238295.3962 | 2685465.8555 | 1238280.1751 | 2685464.9076 | 1238277.7042 | 2685466.5905 | 1238273.2696
14 | 2685457.135 | 1238314.6966 | 2685460.0551 | 1238317.852 | 2685462.4208 | 1238320.1099 | 2685470.552 | 1238312.3324 | 2685471.5448 | 1238308.5329 | 2685472.7615 | 1238304.9478 | 2685473.3689 | 1238301.1205 | 2685473.3259 | 1238297.8064 | 2685472.7402 | 1238295.3962
15 | 2685466.5905 | 1238273.2696 | 2685467.2002 | 1238271.6629
16 | 2685457.135 | 1238314.6966 | 2685453.4152 | 1238318.1926
17 | 2685491.9307 | 1238230.9818 | 2685487.4724 | 1238234.8204 | 2685479.3828 | 1238241.9299
18 | 2685450.7569 | 1238240.1928 | 2685450.2132 | 1238240.1044
19 | 2685435.6905 | 1238332.3452 | 2685424.5084 | 1238340.8016
20 | 2685435.6905 | 1238332.3452 | 2685424.5392 | 1238320.0791
21 | 2685424.5084 | 1238340.8016 | 2685427.1051 | 1238343.83 | 2685429.5984 | 1238346.679
22 | 2685437.983 | 1238356.5067 | 2685430.8855 | 1238348.1875 | 2685429.5984 | 1238346.679
23 | 2685424.5084 | 1238340.8016 | 2685421.6382 | 1238343.2378
24 | 2685437.983 | 1238356.5067 | 2685448.1764 | 1238347.8916 | 2685452.3952 | 1238352.2776 | 2685469.8732 | 1238371.554 | 2685470.2206 | 1238372.6487 | 2685470.2432 | 1238373.7054 | 2685469.5063 | 1238375.496 | 2685468.3476 | 1238377.1583 | 2685467.4196 | 1238377.8926
25 | 2685437.983 | 1238356.5067 | 2685427.6349 | 1238365.3642 | 2685442.2531 | 1238380.9164
26 | 2685405.6398 | 1238345.0666 | 2685411.7947 | 1238351.5932
27 | 2685394.7164 | 1238376.5544 | 2685394.6266 | 1238371.227 | 2685414.2966 | 1238354.3756 | 2685411.7947 | 1238351.5932
28 | 2685411.7947 | 1238351.5932 | 2685421.6382 | 1238343.2378
29 | 2685394.7164 | 1238376.5544 | 2685394.8075 | 1238381.7928 | 2685393.9201 | 1238405.3742
30 | 2685394.7164 | 1238376.5544 | 2685389.7764 | 1238380.753 | 2685384.817 | 1238384.729 | 2685378.1643 | 1238389.6592 | 2685372.3754 | 1238393.4453 | 2685372.125 | 1238393.6019
31 | 2685382.2671 | 1238355.3046 | 2685385.7712 | 1238358.8909 | 2685381.3997 | 1238369.3244 | 2685385.9882 | 1238373.2599 | 2685389.2015 | 1238376.0192 | 2685394.6266 | 1238371.227 | 2685394.7164 | 1238376.5544
32 | 2685394.7164 | 1238376.5544 | 2685399.9004 | 1238372.0869
33 | 2685424.5392 | 1238320.0791 | 2685407.5543 | 1238301.3962 | 2685402.0095 | 1238295.6692
34 | 2685392.8968 | 1238432.5684 | 2685393.9201 | 1238405.3742
35 | 2685382.2671 | 1238355.3046 | 2685381.7966 | 1238351.0464
36 | 2685491.9307 | 1238230.9818 | 2685499.4388 | 1238223.9292
37 | 2685478.3926 | 1238209.1713 | 2685481.2283 | 1238210.8355 | 2685499.4388 | 1238223.9292
38 | 2685499.4388 | 1238223.9292 | 2685503.8347 | 1238219.7006 | 2685507.1212 | 1238216.3344 | 2685508.7871 | 1238214.3224
39 | 2685511.8882 | 1238262.4917 | 2685511.2858 | 1238259.6699 | 2685504.1445 | 1238255.8968
40 | 2685478.3926 | 1238209.1713 | 2685485.0732 | 1238202.4274
41 | 2685417.603 | 1238157.2151 | 2685419.5567 | 1238158.6664 | 2685430.1839 | 1238166.1913 | 2685431.2548 | 1238166.9517
42 | 2685417.603 | 1238157.2151 | 2685411.0515 | 1238166.1384 | 2685406.5081 | 1238172.2107 | 2685403.9298 | 1238175.2536 | 2685400.3518 | 1238178.9048 | 2685397.7843 | 1238181.2029 | 2685395.5478 | 1238183.1054 | 2685391.9964 | 1238185.4338 | 2685388.9167 | 1238187.2789
43 | 2685431.2548 | 1238166.9517 | 2685430.416 | 1238168.463
44 | 2685351.8599 | 1238207.6506 | 2685351.7628 | 1238205.9814 | 2685352.6888 | 1238203.6708 | 2685355.0945 | 1238199.469 | 2685356.1459 | 1238198.4278 | 2685357.5312 | 1238197.8473 | 2685362.0838 | 1238196.3895 | 2685364.0779 | 1238197.1409 | 2685370.7855 | 1238194.7133 | 2685377.8163 | 1238192.435 | 2685382.3424 | 1238190.721 | 2685387.5016 | 1238188.1267 | 2685388.9167 | 1238187.2789
45 | 2685511.8882 | 1238262.4917 | 2685513.2424 | 1238259.8648 | 2685521.5964 | 1238246.0863 | 2685524.8366 | 1238248.0344
46 | 2685524.8366 | 1238248.0344 | 2685538.5476 | 1238224.3961
47 | 2685547.0647 | 1238282.6126 | 2685543.8565 | 1238279.4975 | 2685511.8882 | 1238262.4917
48 | 2685547.0647 | 1238282.6126 | 2685549.9275 | 1238288.169 | 2685563.5917 | 1238299.6296 | 2685572.4733 | 1238304.6074
49 | 2685599.0793 | 1238307.0685 | 2685599.5281 | 1238310.5663 | 2685602.0294 | 1238314.4385 | 2685604.8366 | 1238315.98
50 | 2685604.8366 | 1238315.98 | 2685611.5208 | 1238304.1568 | 2685620.5578 | 1238287.097 | 2685624.9292 | 1238278.1489
51 | 2685599.0793 | 1238307.0685 | 2685603.7561 | 1238294.9049 | 2685613.6283 | 1238269.2365
52 | 2685599.0793 | 1238307.0685 | 2685596.0434 | 1238311.4167 | 2685593.4404 | 1238316.1715
53 | 2685578.9602 | 1238351.3436 | 2685599.2648 | 1238318.8574 | 2685597.1632 | 1238317.704 | 2685593.4404 | 1238316.1715
54 | 2685593.4404 | 1238316.1715 | 2685592.222 | 1238315.6758 | 2685573.5056 | 1238305.1859
55 | 2685578.9602 | 1238351.3436 | 2685577.4106 | 1238353.5346
56 | 2685573.5056 | 1238305.1859 | 2685572.4733 | 1238304.6074
57 | 2685564.1271 | 1238372.3158 | 2685577.4106 | 1238353.5346
58 | 2685351.8599 | 1238207.6506 | 2685352.7833 | 1238209.1983 | 2685357.383 | 1238211.833 | 2685357.2031 | 1238212.2418 | 2685355.559 | 1238215.565 | 2685354.2731 | 1238218.1817 | 2685353.6728 | 1238219.4184
59 | 2685353.6728 | 1238219.4184 | 2685357.4505 | 1238221.3408 | 2685373.3258 | 1238229.0189 | 2685384.7634 | 1238234.3876
60 | 2685429.7124 | 1238239.9486 | 2685432.6137 | 1238227.9094
61 | 2685415.8275 | 1238243.7961 | 2685426.274 | 1238248.6164 | 2685427.5838 | 1238245.3885 | 2685429.7124 | 1238239.9486
62 | 2685429.7124 | 1238239.9486 | 2685439.9852 | 1238238.4397 | 2685450.2132 | 1238240.1044
63 | 2685441.1226 | 1238211.7337 | 2685435.3783 | 1238220.0158 | 2685433.3974 | 1238224.6573 | 2685432.6137 | 1238227.9094
64 | 2685415.8275 | 1238243.7961 | 2685404.5641 | 1238239.5836
65 | 2685399.6565 | 1238237.7481 | 2685404.5641 | 1238239.5836
66 | 2685493.5747 | 1238450.3628 | 2685498.9149 | 1238445.4023
67 | 2685493.5747 | 1238450.3628 | 2685479.7827 | 1238463.0178 | 2685478.947 | 1238463.6781
68 | 2685509.6999 | 1238435.3842 | 2685498.9149 | 1238445.4023
69 | 2685478.947 | 1238463.6781 | 2685461.0534 | 1238477.8139
70 | 2685509.6999 | 1238435.3842 | 2685515.8735 | 1238428.5851
71 | 2685531.8704 | 1238410.9672 | 2685515.8735 | 1238428.5851
72 | 2685399.6565 | 1238237.7481 | 2685398.2417 | 1238240.9078
73 | 2685398.2417 | 1238240.9078 | 2685392.1425 | 1238237.8512 | 2685384.7634 | 1238234.3876
74 | 2685410.1662 | 1238261.305 | 2685397.3551 | 1238249.946 | 2685396.1664 | 1238247.9052 | 2685396.0925 | 1238245.6803 | 2685398.2417 | 1238240.9078
75 | 2685357.3737 | 1238260.8791 | 2685353.9383 | 1238266.1891 | 2685353.1082 | 1238267.6226
76 | 2685357.3737 | 1238260.8791 | 2685374.9572 | 1238272.34 | 2685372.5198 | 1238275.5851 | 2685386.1238 | 1238285.9992
77 | 2685386.1238 | 1238285.9992 | 2685390.7502 | 1238285.1985 | 2685392.6303 | 1238285.9817 | 2685402.0095 | 1238295.6692
78 | 2685386.1238 | 1238285.9992 | 2685381.7553 | 1238286.7592 | 2685372.1566 | 1238290.8464 | 2685367.7313 | 1238293.3519
79 | 2685429.7991 | 1238502.5048 | 2685443.3531 | 1238491.7972
80 | 2685429.7991 | 1238502.5048 | 2685425.488 | 1238506.0637
81 | 2685443.3531 | 1238491.7972 | 2685461.0534 | 1238477.8139
82 | 2685442.2531 | 1238380.9164 | 2685449.407 | 1238388.5273 | 2685450.9416 | 1238388.605 | 2685452.0768 | 1238388.5769 | 2685453.6717 | 1238388.1439 | 2685453.8159 | 1238388.0613
83 | 2685392.8968 | 1238432.5684 | 2685400.5484 | 1238429.1871 | 2685404.2812 | 1238427.4958
84 | 2685392.8968 | 1238432.5684 | 2685392.0963 | 1238435.3226
85 | 2685550.0909 | 1238389.7525 | 2685560.6034 | 1238377.2978 | 2685564.1271 | 1238372.3158
86 | 2685410.1662 | 1238261.305 | 2685418.1891 | 1238267.8495
87 | 2685410.1662 | 1238261.305 | 2685398.8226 | 1238275.1399
88 | 2685531.8704 | 1238410.9672 | 2685536.3282 | 1238406.0577 | 2685550.0909 | 1238389.7525
89 | 2685420.1461 | 1238421.0297 | 2685414.2246 | 1238422.9904 | 2685404.2812 | 1238427.4958

## bus_geodata
| x | y | coords
0 | 2685504.9136 | 1238299.9494
1 | 2685494.0366 | 1238294.869
2 | 2685481.6229 | 1238293.0442
3 | 2685464.6864 | 1238337.9103
4 | 2685452.7662 | 1238329.133
5 | 2685481.4822 | 1238250.9902
6 | 2685471.6225 | 1238248.5021
7 | 2685487.725 | 1238247.2218
8 | 2685472.8115 | 1238259.6829
9 | 2685472.7402 | 1238295.3962
10 | 2685466.5905 | 1238273.2696
11 | 2685457.135 | 1238314.6966
12 | 2685479.3828 | 1238241.9299
13 | 2685450.7569 | 1238240.1928
14 | 2685467.2002 | 1238271.6629
15 | 2685435.6905 | 1238332.3452
16 | 2685453.4152 | 1238318.1926
17 | 2685429.5984 | 1238346.679
18 | 2685424.5084 | 1238340.8016
19 | 2685437.983 | 1238356.5067
20 | 2685411.7947 | 1238351.5932
21 | 2685405.6398 | 1238345.0666
22 | 2685394.7164 | 1238376.5544
23 | 2685421.6382 | 1238343.2378
24 | 2685424.5392 | 1238320.0791
25 | 2685393.9201 | 1238405.3742
26 | 2685372.125 | 1238393.6019
27 | 2685382.2671 | 1238355.3046
28 | 2685399.9004 | 1238372.0869
29 | 2685381.7966 | 1238351.0464
30 | 2685491.9307 | 1238230.9818
31 | 2685499.4388 | 1238223.9292
32 | 2685504.1445 | 1238255.8968
33 | 2685478.3926 | 1238209.1713
34 | 2685508.7871 | 1238214.3224
35 | 2685417.603 | 1238157.2151
36 | 2685431.2548 | 1238166.9517
37 | 2685388.9167 | 1238187.2789
38 | 2685524.8366 | 1238248.0344
39 | 2685511.8882 | 1238262.4917
40 | 2685538.5476 | 1238224.3961
41 | 2685547.0647 | 1238282.6126
42 | 2685604.8366 | 1238315.98
43 | 2685599.0793 | 1238307.0685
44 | 2685624.9292 | 1238278.1489
45 | 2685593.4404 | 1238316.1715
46 | 2685578.9602 | 1238351.3436
47 | 2685573.5056 | 1238305.1859
48 | 2685572.4733 | 1238304.6074
49 | 2685613.6283 | 1238269.2365
50 | 2685577.4106 | 1238353.5346
51 | 2685430.416 | 1238168.463
52 | 2685351.8599 | 1238207.6506
53 | 2685353.6728 | 1238219.4184
54 | 2685429.7124 | 1238239.9486
55 | 2685432.6137 | 1238227.9094
56 | 2685415.8275 | 1238243.7961
57 | 2685450.2132 | 1238240.1044
58 | 2685404.5641 | 1238239.5836
59 | 2685493.5747 | 1238450.3628
60 | 2685498.9149 | 1238445.4023
61 | 2685478.947 | 1238463.6781
62 | 2685509.6999 | 1238435.3842
63 | 2685515.8735 | 1238428.5851
64 | 2685399.6565 | 1238237.7481
65 | 2685398.2417 | 1238240.9078
66 | 2685384.7634 | 1238234.3876
67 | 2685357.3737 | 1238260.8791
68 | 2685353.1082 | 1238267.6226
69 | 2685386.1238 | 1238285.9992
70 | 2685429.7991 | 1238502.5048
71 | 2685443.3531 | 1238491.7972
72 | 2685425.488 | 1238506.0637
73 | 2685467.4196 | 1238377.8926
74 | 2685442.2531 | 1238380.9164
75 | 2685402.0095 | 1238295.6692
76 | 2685392.8968 | 1238432.5684
77 | 2685485.0732 | 1238202.4274
78 | 2685564.1271 | 1238372.3158
79 | 2685441.1226 | 1238211.7337
80 | 2685410.1662 | 1238261.305
81 | 2685392.0963 | 1238435.3226
82 | 2685418.1891 | 1238267.8495
83 | 2685398.8226 | 1238275.1399
84 | 2685461.0534 | 1238477.8139
85 | 2685531.8704 | 1238410.9672
86 | 2685367.7313 | 1238293.3519
87 | 2685550.0909 | 1238389.7525
88 | 2685453.8159 | 1238388.0613
89 | 2685404.2812 | 1238427.4958
90 | 2685420.1461 | 1238421.0297
91 | 2685460.0551 | 1238317.852

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99574 | -0.081008 | 0.031898 | 0.0079944
1 | 0.99609 | -0.074279 | 0 | 0
2 | 0.99646 | -0.067236 | 0.0041462 | 0.0010391
3 | 0.99808 | -0.036805 | 0.012499 | 0.0031326
4 | 0.99825 | -0.033568 | 0 | 0
5 | 0.99279 | -0.13698 | 0 | 0
6 | 0.99176 | -0.15682 | 0 | 0
7 | 0.99248 | -0.14292 | 0 | 0
8 | 0.99373 | -0.11909 | 0.0047674 | 0.0011948
9 | 0.99678 | -0.061085 | 0 | 0
10 | 0.9949 | -0.096846 | 0 | 0
11 | 1 | 0 | -0.40204 | -0.10216
12 | 0.99154 | -0.1612 | 0.0056643 | 0.0014196
13 | 0.98994 | -0.19209 | 0.0023938 | 0.00059995
14 | 0.99476 | -0.099403 | 0.0018549 | 0.00046488
15 | 0.99665 | -0.064308 | 0 | 0
16 | 0.99994 | -0.0012293 | 0.013815 | 0.0034624
17 | 0.99598 | -0.077163 | 0 | 0
18 | 0.99606 | -0.075729 | 0 | 0
19 | 0.99586 | -0.079544 | 0 | 0
20 | 0.99563 | -0.083925 | 0 | 0
21 | 0.99562 | -0.084141 | 0.0013704 | 0.00034345
22 | 0.99486 | -0.098852 | 0 | 0
23 | 0.99593 | -0.078109 | 0.010351 | 0.0025943
24 | 0.99615 | -0.074048 | 0.013786 | 0.003455
25 | 0.99446 | -0.10666 | 0.002466 | 0.00061804
26 | 0.99482 | -0.099635 | 0.0015683 | 0.00039306
27 | 0.99478 | -0.10032 | 0 | 0
28 | 0.99483 | -0.099477 | 0.005183 | 0.001299
29 | 0.99478 | -0.10049 | 0.0021332 | 0.00053462
30 | 0.99125 | -0.1667 | 0 | 0
31 | 0.99108 | -0.1701 | 0 | 0
32 | 0.9917 | -0.15789 | 0.0037822 | 0.0009479
33 | 0.99084 | -0.17466 | 0 | 0
34 | 0.99097 | -0.17216 | 0.0086373 | 0.0021647
35 | 0.98256 | -0.3355 | 0 | 0
36 | 0.98231 | -0.34041 | 0 | 0
37 | 0.98319 | -0.32321 | 0.0077263 | 0.0019364
38 | 0.99101 | -0.17101 | 0 | 0
39 | 0.99125 | -0.16649 | 0 | 0
40 | 0.99074 | -0.17641 | 0.011132 | 0.0027901
41 | 0.98895 | -0.21038 | 0 | 0
42 | 0.98276 | -0.32984 | 0 | 0
43 | 0.98278 | -0.32943 | 0 | 0
44 | 0.98268 | -0.33139 | 0.0020028 | 0.00050195
45 | 0.98282 | -0.32869 | 0 | 0
46 | 0.97878 | -0.40733 | 0 | 0
47 | 0.98496 | -0.28733 | 0.011423 | 0.0028629
48 | 0.98508 | -0.28494 | 0.009326 | 0.0023373
49 | 0.98271 | -0.33078 | 0.0018376 | 0.00046055
50 | 0.97854 | -0.41207 | 0.0076938 | 0.0019282
51 | 0.98228 | -0.34092 | 0.016222 | 0.0040657
52 | 0.9842 | -0.3035 | 0 | 0
53 | 0.98454 | -0.2968 | 0 | 0
54 | 0.98842 | -0.22144 | 0 | 0
55 | 0.98831 | -0.22348 | 0.0052842 | 0.0013244
56 | 0.98711 | -0.24672 | 0 | 0
57 | 0.98989 | -0.19291 | 0.0063564 | 0.0015931
58 | 0.98636 | -0.26135 | 0.0052866 | 0.001325
59 | 0.9726 | -0.52888 | 0 | 0
60 | 0.97274 | -0.52595 | 0.0042052 | 0.0010539
61 | 0.97219 | -0.53683 | 0.007143 | 0.0017902
62 | 0.9731 | -0.5189 | 0 | 0
63 | 0.97332 | -0.5145 | 0.0035259 | 0.00088367
64 | 0.98606 | -0.26724 | 0 | 0
65 | 0.98586 | -0.27112 | 0 | 0
66 | 0.9853 | -0.28195 | 0.016341 | 0.0040954
67 | 0.99465 | -0.103 | 0 | 0
68 | 0.99454 | -0.10507 | 0.014739 | 0.0036939
69 | 0.99521 | -0.092076 | 0 | 0
70 | 0.97163 | -0.5479 | 0 | 0
71 | 0.9717 | -0.54665 | 0.0048544 | 0.0012166
72 | 0.97161 | -0.54831 | 0.0039264 | 0.00098404
73 | 0.99575 | -0.081582 | 0.0021948 | 0.00055007
74 | 0.9956 | -0.084647 | 0.0061062 | 0.0015304
75 | 0.99555 | -0.08554 | 0.0013022 | 0.00032636
76 | 0.99414 | -0.11285 | 0 | 0
77 | 0.99076 | -0.17634 | 0.0099918 | 0.0025042
78 | 0.97662 | -0.44955 | 0.021196 | 0.0053123
79 | 0.98825 | -0.22479 | 0.0039641 | 0.0009935
80 | 0.98531 | -0.28193 | 0 | 0
81 | 0.99413 | -0.1129 | 0.00090035 | 0.00022565
82 | 0.98523 | -0.28332 | 0.0075086 | 0.0018818
83 | 0.98506 | -0.2867 | 0.014859 | 0.0037239
84 | 0.97188 | -0.54299 | 0.0058761 | 0.0014727
85 | 0.97398 | -0.50158 | 0.01742 | 0.004366
86 | 0.99514 | -0.093353 | 0.0036372 | 0.00091157
87 | 0.9752 | -0.47748 | 0.021181 | 0.0053083
88 | 0.99557 | -0.085223 | 0.002195 | 0.00055011
89 | 0.994 | -0.11549 | 0.0053486 | 0.0013405
90 | 0.99389 | -0.1175 | 0.0066514 | 0.001667
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031898 | -0.0079944 | 0.031908 | 0.0080008 | 1.0229e-05 | 6.3904e-06 | 0.047668 | 0.047668 | 0.047668 | 0.99574 | -0.081008 | 0.99609 | -0.074279 | 13.0955
1 | -0.031908 | -0.0080008 | 0.031919 | 0.0080075 | 1.0714e-05 | 6.6931e-06 | 0.047668 | 0.047667 | 0.047668 | 0.99609 | -0.074279 | 0.99646 | -0.067236 | 13.0955
2 | -0.036065 | -0.0090466 | 0.036076 | 0.0090532 | 1.0579e-05 | 6.644e-06 | 0.053859 | 0.053859 | 0.053859 | 0.99646 | -0.067236 | 0.99678 | -0.061085 | 14.7964
3 | -0.012499 | -0.0031326 | 0.012501 | 0.0031337 | 1.9277e-06 | 1.0402e-06 | 0.018635 | 0.018635 | 0.018635 | 0.99808 | -0.036805 | 0.99825 | -0.033568 | 5.1195
4 | -0.092663 | -0.023306 | 0.092812 | 0.023401 | 0.00014885 | 9.499e-05 | 0.13816 | 0.13816 | 0.13816 | 0.99825 | -0.033568 | 1 | 0 | 37.9547
5 | 0.080162 | 0.020173 | -0.080044 | -0.020098 | 0.00011757 | 7.4958e-05 | 0.11952 | 0.11952 | 0.11952 | 0.99825 | -0.033568 | 0.99665 | -0.064308 | 32.8353
6 | 0.11087 | 0.028028 | -0.11077 | -0.027961 | 0.00010541 | 6.7331e-05 | 0.16626 | 0.16626 | 0.16626 | 0.99279 | -0.13698 | 0.99176 | -0.15682 | 45.6759
7 | 0.13839 | 0.035402 | -0.13835 | -0.035377 | 3.982e-05 | 2.5199e-05 | 0.20768 | 0.20768 | 0.20768 | 0.99279 | -0.13698 | 0.99248 | -0.14292 | 19.0183
8 | -0.24926 | -0.06343 | 0.24948 | 0.063567 | 0.00021514 | 0.00013721 | 0.37394 | 0.37394 | 0.37394 | 0.99279 | -0.13698 | 0.99373 | -0.11909 | 34.2435
9 | 0.02431 | 0.0060981 | -0.024305 | -0.006095 | 5.0742e-06 | 3.1163e-06 | 0.036476 | 0.036476 | 0.036476 | 0.99176 | -0.15682 | 0.99154 | -0.1612 | 10.021
10 | 0.086455 | 0.021863 | -0.086309 | -0.02177 | 0.00014599 | 9.3138e-05 | 0.12978 | 0.12978 | 0.12978 | 0.99176 | -0.15682 | 0.98994 | -0.19209 | 35.655
11 | 0.13835 | 0.035377 | -0.13825 | -0.035313 | 0.00010012 | 6.3357e-05 | 0.20768 | 0.20768 | 0.20768 | 0.99248 | -0.14292 | 0.9917 | -0.15789 | 19.0183
12 | -0.25424 | -0.064762 | 0.25449 | 0.064916 | 0.00024167 | 0.00015415 | 0.38108 | 0.38108 | 0.38108 | 0.99373 | -0.11909 | 0.99476 | -0.099403 | 34.8972
13 | 0.25682 | 0.065684 | -0.25637 | -0.065401 | 0.00044363 | 0.00028298 | 0.38385 | 0.38385 | 0.38385 | 0.99678 | -0.061085 | 0.9949 | -0.096846 | 35.1513
14 | -0.29289 | -0.074738 | 0.29376 | 0.075291 | 0.00086705 | 0.00055349 | 0.43771 | 0.43771 | 0.43771 | 0.99678 | -0.061085 | 1 | 0 | 40.0833
15 | 0.25637 | 0.065401 | -0.25634 | -0.065381 | 3.1651e-05 | 2.019e-05 | 0.38385 | 0.38385 | 0.38385 | 0.9949 | -0.096846 | 0.99476 | -0.099403 | 35.1513
16 | 0.013816 | 0.0034628 | -0.013815 | -0.0034624 | 8.0908e-07 | 4.5084e-07 | 0.020558 | 0.020558 | 0.020558 | 1 | 0 | 0.99994 | -0.0012293 | 5.6479
17 | 0.018641 | 0.0046754 | -0.018636 | -0.0046725 | 4.8875e-06 | 2.9133e-06 | 0.027976 | 0.027976 | 0.027976 | 0.99154 | -0.1612 | 0.99125 | -0.1667 | 7.6857
18 | 0.083915 | 0.02117 | -0.083912 | -0.021168 | 3.2888e-06 | 2.0978e-06 | 0.12619 | 0.12619 | 0.12619 | 0.98994 | -0.19209 | 0.98989 | -0.19291 | 34.6664
19 | 0.046539 | 0.011686 | -0.046513 | -0.01167 | 2.5343e-05 | 1.6037e-05 | 0.069491 | 0.069491 | 0.069491 | 0.99665 | -0.064308 | 0.99606 | -0.075729 | 19.091
20 | 0.033505 | 0.0084116 | -0.03349 | -0.0084018 | 1.556e-05 | 9.7422e-06 | 0.050029 | 0.050029 | 0.050029 | 0.99665 | -0.064308 | 0.99615 | -0.074048 | 13.7443
21 | -0.010499 | -0.0026313 | 0.0105 | 0.0026316 | 7.1744e-07 | 3.5797e-07 | 0.015686 | 0.015686 | 0.015686 | 0.99598 | -0.077163 | 0.99606 | -0.075729 | 4.3094
22 | 0.010499 | 0.0026313 | -0.010498 | -0.0026307 | 1.1906e-06 | 5.9409e-07 | 0.015686 | 0.015686 | 0.015686 | 0.99598 | -0.077163 | 0.99586 | -0.079544 | 4.3094
23 | 0.036013 | 0.0090386 | -0.036009 | -0.009036 | 4.087e-06 | 2.5667e-06 | 0.053805 | 0.053805 | 0.053805 | 0.99606 | -0.075729 | 0.99593 | -0.078109 | 14.7816
24 | 0.002195 | 0.00054952 | -0.0021948 | -0.00055007 | 2.1299e-07 | -5.5064e-07 | 0.0032796 | 0.0032798 | 0.0032798 | 0.99586 | -0.079544 | 0.99575 | -0.081582 | 0.90105
25 | 0.0083033 | 0.0020812 | -0.0083012 | -0.0020803 | 2.0183e-06 | 8.3693e-07 | 0.012407 | 0.012407 | 0.012407 | 0.99586 | -0.079544 | 0.9956 | -0.084647 | 3.4085
26 | 0.0013704 | 0.00034334 | -0.0013704 | -0.00034345 | 1.4092e-08 | -1.0749e-07 | 0.002048 | 0.0020481 | 0.0020481 | 0.99563 | -0.083925 | 0.99562 | -0.084141 | 0.56266
27 | 0.02428 | 0.006094 | -0.024263 | -0.0060834 | 1.7272e-05 | 1.06e-05 | 0.036291 | 0.036291 | 0.036291 | 0.99563 | -0.083925 | 0.99486 | -0.098852 | 9.9701
28 | -0.025651 | -0.0064373 | 0.025658 | 0.0064417 | 7.1168e-06 | 4.3868e-06 | 0.038339 | 0.038339 | 0.038339 | 0.99563 | -0.083925 | 0.99593 | -0.078109 | 10.5327
29 | 0.015378 | 0.0038575 | -0.015372 | -0.0038542 | 5.7217e-06 | 3.2876e-06 | 0.023002 | 0.023002 | 0.023002 | 0.99486 | -0.098852 | 0.99446 | -0.10666 | 6.3193
30 | 0.0015684 | 0.00039273 | -0.0015683 | -0.00039306 | 5.8465e-08 | -3.3046e-07 | 0.0023457 | 0.0023459 | 0.0023459 | 0.99486 | -0.098852 | 0.99482 | -0.099635 | 0.64447
31 | 0.0021333 | 0.00053416 | -0.0021332 | -0.00053458 | 1.4956e-07 | -4.129e-07 | 0.0031907 | 0.0031908 | 0.0031908 | 0.99486 | -0.098852 | 0.99478 | -0.10032 | 0.8766
32 | 0.0051831 | 0.001299 | -0.005183 | -0.001299 | 1.5423e-07 | 9.8524e-09 | 0.0077524 | 0.0077524 | 0.0077524 | 0.99486 | -0.098852 | 0.99483 | -0.099477 | 2.1298
33 | 0.019704 | 0.0049468 | -0.019693 | -0.0049403 | 1.0795e-05 | 6.4765e-06 | 0.029437 | 0.029437 | 0.029437 | 0.99615 | -0.074048 | 0.99555 | -0.08554 | 8.087
34 | 0.012906 | 0.0032362 | -0.012902 | -0.0032341 | 3.8062e-06 | 2.083e-06 | 0.019312 | 0.019313 | 0.019313 | 0.99446 | -0.10666 | 0.99414 | -0.11285 | 5.3056
35 | 0.0021332 | 0.00053458 | -0.0021332 | -0.00053462 | 1.6357e-08 | -4.5151e-08 | 0.0031908 | 0.0031909 | 0.0031909 | 0.99478 | -0.10032 | 0.99478 | -0.10049 | 0.87661
36 | 0.018636 | 0.0046725 | -0.018633 | -0.0046707 | 3.0189e-06 | 1.7995e-06 | 0.027976 | 0.027976 | 0.027976 | 0.99125 | -0.1667 | 0.99108 | -0.1701 | 7.6857
37 | 0.0099948 | 0.0025056 | -0.0099926 | -0.0025046 | 2.1676e-06 | 1.0566e-06 | 0.015007 | 0.015007 | 0.015007 | 0.99108 | -0.1701 | 0.99084 | -0.17466 | 4.1227
38 | 0.0086381 | 0.0021651 | -0.0086373 | -0.0021647 | 8.4626e-07 | 3.6874e-07 | 0.012969 | 0.012969 | 0.012969 | 0.99108 | -0.1701 | 0.99097 | -0.17216 | 3.563
39 | 0.13447 | 0.034365 | -0.13441 | -0.03433 | 5.5915e-05 | 3.5362e-05 | 0.202 | 0.202 | 0.202 | 0.9917 | -0.15789 | 0.99125 | -0.16649 | 18.4986
40 | 0.0099926 | 0.0025046 | -0.0099918 | -0.0025042 | 8.0166e-07 | 3.9081e-07 | 0.015007 | 0.015007 | 0.015007 | 0.99084 | -0.17466 | 0.99076 | -0.17634 | 4.1227
41 | 0.016227 | 0.0040682 | -0.016223 | -0.004066 | 3.7976e-06 | 2.2181e-06 | 0.024575 | 0.024575 | 0.024575 | 0.98256 | -0.3355 | 0.98231 | -0.34041 | 6.7513
42 | -0.016227 | -0.0040682 | 0.016236 | 0.0040737 | 9.5055e-06 | 5.5516e-06 | 0.024575 | 0.024574 | 0.024575 | 0.98256 | -0.3355 | 0.98319 | -0.32321 | 6.7513
43 | 0.016223 | 0.004066 | -0.016222 | -0.0040657 | 3.9144e-07 | 2.2864e-07 | 0.024575 | 0.024575 | 0.024575 | 0.98231 | -0.34041 | 0.98228 | -0.34092 | 6.7513
44 | -0.023962 | -0.0060101 | 0.023985 | 0.006024 | 2.2534e-05 | 1.3842e-05 | 0.036268 | 0.036268 | 0.036268 | 0.98319 | -0.32321 | 0.9842 | -0.3035 | 9.9637
45 | -0.011135 | -0.0027915 | 0.011138 | 0.0027928 | 2.3954e-06 | 1.2386e-06 | 0.01672 | 0.01672 | 0.01672 | 0.99101 | -0.17101 | 0.99125 | -0.16649 | 4.5934
46 | 0.011135 | 0.0027915 | -0.011132 | -0.0027901 | 2.8648e-06 | 1.4815e-06 | 0.01672 | 0.01672 | 0.01672 | 0.99101 | -0.17101 | 0.99074 | -0.17641 | 4.5935
47 | 0.12328 | 0.031537 | -0.12301 | -0.031371 | 0.00026129 | 0.00016618 | 0.18529 | 0.18529 | 0.18529 | 0.99125 | -0.16649 | 0.98895 | -0.21038 | 25.4513
48 | 0.12301 | 0.031371 | -0.12257 | -0.031089 | 0.00044114 | 0.00028189 | 0.18529 | 0.18529 | 0.18529 | 0.98895 | -0.21038 | 0.98508 | -0.28494 | 50.9026
49 | -0.002003 | -0.0005015 | 0.002003 | 0.00050139 | 3.9103e-08 | -1.1865e-07 | 0.0030326 | 0.0030325 | 0.0030326 | 0.98276 | -0.32984 | 0.98278 | -0.32943 | 0.83312
50 | 0.002003 | 0.0005015 | -0.0020028 | -0.00050195 | 1.4777e-07 | -4.4828e-07 | 0.0030326 | 0.0030327 | 0.0030327 | 0.98276 | -0.32984 | 0.98268 | -0.33139 | 0.83317
51 | 0.0018377 | 0.00046011 | -0.0018376 | -0.00046055 | 1.1767e-07 | -4.3826e-07 | 0.0027823 | 0.0027825 | 0.0027825 | 0.98278 | -0.32943 | 0.98271 | -0.33078 | 0.76442
52 | -0.0038407 | -0.0009615 | 0.0038409 | 0.00096145 | 1.3589e-07 | -4.8838e-08 | 0.0058148 | 0.0058148 | 0.0058148 | 0.98278 | -0.32943 | 0.98282 | -0.32869 | 1.5975
53 | 0.097768 | 0.02479 | -0.0974 | -0.024555 | 0.00036806 | 0.000235 | 0.14813 | 0.14813 | 0.14813 | 0.98282 | -0.32869 | 0.97878 | -0.40733 | 40.6941
54 | -0.10161 | -0.025751 | 0.10181 | 0.025881 | 0.00020236 | 0.00012922 | 0.15394 | 0.15394 | 0.15394 | 0.98282 | -0.32869 | 0.98496 | -0.28733 | 42.2915
55 | 0.0974 | 0.024555 | -0.097378 | -0.024541 | 2.208e-05 | 1.4098e-05 | 0.14813 | 0.14813 | 0.14813 | 0.97878 | -0.40733 | 0.97854 | -0.41207 | 40.6941
56 | -0.11323 | -0.028744 | 0.11325 | 0.028752 | 1.3006e-05 | 8.3088e-06 | 0.1712 | 0.1712 | 0.1712 | 0.98496 | -0.28733 | 0.98508 | -0.28494 | 47.0325
57 | 0.089684 | 0.022613 | -0.089523 | -0.02251 | 0.00016056 | 0.00010247 | 0.13643 | 0.13643 | 0.13643 | 0.97854 | -0.41207 | 0.97662 | -0.44955 | 37.4799
58 | -0.023985 | -0.006024 | 0.023993 | 0.0060287 | 7.669e-06 | 4.7105e-06 | 0.036268 | 0.036268 | 0.036268 | 0.9842 | -0.3035 | 0.98454 | -0.2968 | 9.9637
59 | -0.023993 | -0.0060287 | 0.02401 | 0.0060391 | 1.7021e-05 | 1.0454e-05 | 0.036268 | 0.036267 | 0.036268 | 0.98454 | -0.2968 | 0.9853 | -0.28195 | 9.9636
60 | 0.0092495 | 0.0023182 | -0.0092486 | -0.0023178 | 9.0045e-07 | 4.1758e-07 | 0.013925 | 0.013925 | 0.013925 | 0.98842 | -0.22144 | 0.98831 | -0.22348 | 3.8255
61 | 0.0682 | 0.017189 | -0.068118 | -0.017136 | 8.2398e-05 | 5.2468e-05 | 0.10271 | 0.10271 | 0.10271 | 0.98842 | -0.22144 | 0.98711 | -0.24672 | 28.216
62 | -0.077449 | -0.019507 | 0.077555 | 0.019575 | 0.00010582 | 6.7461e-05 | 0.11663 | 0.11663 | 0.11663 | 0.98842 | -0.22144 | 0.98989 | -0.19291 | 32.0414
63 | 0.0039644 | 0.00099342 | -0.0039641 | -0.0009935 | 2.4677e-07 | -7.8746e-08 | 0.0059687 | 0.0059688 | 0.0059688 | 0.98831 | -0.22348 | 0.98825 | -0.22479 | 1.6398
64 | 0.068118 | 0.017136 | -0.06807 | -0.017106 | 4.7569e-05 | 3.029e-05 | 0.10271 | 0.10271 | 0.10271 | 0.98711 | -0.24672 | 0.98636 | -0.26135 | 28.216
65 | 0.062783 | 0.015781 | -0.062766 | -0.01577 | 1.7633e-05 | 1.1218e-05 | 0.094731 | 0.094731 | 0.094731 | 0.98636 | -0.26135 | 0.98606 | -0.26724 | 26.025
66 | -0.021814 | -0.0054717 | 0.021817 | 0.0054736 | 3.0448e-06 | 1.8582e-06 | 0.033376 | 0.033376 | 0.033376 | 0.9726 | -0.52888 | 0.97274 | -0.52595 | 9.1693
67 | 0.021814 | 0.0054717 | -0.021806 | -0.0054667 | 8.2643e-06 | 5.0437e-06 | 0.033376 | 0.033376 | 0.033376 | 0.9726 | -0.52888 | 0.97219 | -0.53683 | 9.1693
68 | -0.026023 | -0.0065275 | 0.026031 | 0.0065329 | 8.7479e-06 | 5.4158e-06 | 0.039809 | 0.039809 | 0.039809 | 0.97274 | -0.52595 | 0.9731 | -0.5189 | 10.9366
69 | 0.014663 | 0.0036764 | -0.014659 | -0.003674 | 4.3074e-06 | 2.4741e-06 | 0.022443 | 0.022444 | 0.022444 | 0.97219 | -0.53683 | 0.97188 | -0.54299 | 6.1658
70 | -0.026031 | -0.0065329 | 0.026037 | 0.0065363 | 5.4577e-06 | 3.3788e-06 | 0.039809 | 0.039809 | 0.039809 | 0.9731 | -0.5189 | 0.97332 | -0.5145 | 10.9365
71 | -0.029563 | -0.00742 | 0.029581 | 0.0074313 | 1.8231e-05 | 1.1372e-05 | 0.045199 | 0.045199 | 0.045199 | 0.97332 | -0.5145 | 0.97398 | -0.50158 | 12.4174
72 | 0.062766 | 0.01577 | -0.062754 | -0.015763 | 1.1647e-05 | 7.41e-06 | 0.094731 | 0.094731 | 0.094731 | 0.98606 | -0.26724 | 0.98586 | -0.27112 | 26.025
73 | 0.040371 | 0.010148 | -0.040351 | -0.010135 | 2.0857e-05 | 1.3158e-05 | 0.060946 | 0.060946 | 0.060946 | 0.98586 | -0.27112 | 0.9853 | -0.28195 | 16.7433
74 | 0.022383 | 0.0056149 | -0.022371 | -0.0056079 | 1.152e-05 | 7.0295e-06 | 0.033785 | 0.033785 | 0.033785 | 0.98586 | -0.27112 | 0.98531 | -0.28193 | 9.2817
75 | 0.01474 | 0.0036947 | -0.014739 | -0.0036939 | 1.4545e-06 | 8.2738e-07 | 0.022052 | 0.022052 | 0.022052 | 0.99465 | -0.103 | 0.99454 | -0.10507 | 6.0583
76 | -0.01474 | -0.0036947 | 0.014748 | 0.0036991 | 7.6775e-06 | 4.3669e-06 | 0.022052 | 0.022052 | 0.022052 | 0.99465 | -0.103 | 0.99521 | -0.092076 | 6.0583
77 | -0.018385 | -0.0046106 | 0.018391 | 0.004614 | 5.7291e-06 | 3.4038e-06 | 0.02749 | 0.02749 | 0.02749 | 0.99521 | -0.092076 | 0.99555 | -0.08554 | 7.5523
78 | 0.0036374 | 0.00091146 | -0.0036372 | -0.00091157 | 2.2131e-07 | -1.176e-07 | 0.0054386 | 0.0054387 | 0.0054387 | 0.99521 | -0.092076 | 0.99514 | -0.093353 | 1.4941
79 | -0.0039265 | -0.00098402 | 0.0039267 | 0.00098396 | 2.3421e-07 | -6.4057e-08 | 0.0060132 | 0.0060131 | 0.0060132 | 0.97163 | -0.5479 | 0.9717 | -0.54665 | 1.652
80 | 0.0039265 | 0.00098402 | -0.0039264 | -0.00098404 | 7.5801e-08 | -2.0724e-08 | 0.0060132 | 0.0060132 | 0.0060132 | 0.97163 | -0.5479 | 0.97161 | -0.54831 | 1.652
81 | -0.0087811 | -0.0022006 | 0.0087827 | 0.0022013 | 1.5296e-06 | 6.9944e-07 | 0.013447 | 0.013447 | 0.013447 | 0.9717 | -0.54665 | 0.97188 | -0.54299 | 3.6942
82 | 0.002195 | 0.00054995 | -0.002195 | -0.00055011 | 6.0282e-08 | -1.5564e-07 | 0.0032806 | 0.0032807 | 0.0032807 | 0.9956 | -0.084647 | 0.99557 | -0.085223 | 0.90129
83 | 0.012002 | 0.0030085 | -0.012001 | -0.0030077 | 1.5084e-06 | 8.0381e-07 | 0.017965 | 0.017965 | 0.017965 | 0.99414 | -0.11285 | 0.994 | -0.11549 | 4.9354
84 | 0.00090036 | 0.00022561 | -0.00090035 | -0.00022565 | 1.9533e-09 | -3.5938e-08 | 0.0013476 | 0.0013476 | 0.0013476 | 0.99414 | -0.11285 | 0.99413 | -0.1129 | 0.37023
85 | 0.068327 | 0.017198 | -0.068236 | -0.01714 | 9.1087e-05 | 5.8015e-05 | 0.10413 | 0.10413 | 0.10413 | 0.97662 | -0.44955 | 0.9752 | -0.47748 | 28.6077
86 | 0.0075091 | 0.001882 | -0.0075086 | -0.0018818 | 4.9931e-07 | 1.877e-07 | 0.01134 | 0.01134 | 0.01134 | 0.98531 | -0.28193 | 0.98523 | -0.28332 | 3.1155
87 | 0.014862 | 0.0037259 | -0.014859 | -0.0037239 | 3.3799e-06 | 1.9353e-06 | 0.022445 | 0.022445 | 0.022445 | 0.98531 | -0.28193 | 0.98506 | -0.2867 | 6.1663
88 | -0.047001 | -0.011797 | 0.047055 | 0.011832 | 5.4089e-05 | 3.4269e-05 | 0.071814 | 0.071813 | 0.071814 | 0.97398 | -0.50158 | 0.9752 | -0.47748 | 19.729
89 | 0.006652 | 0.0016672 | -0.0066514 | -0.001667 | 6.3791e-07 | 1.8593e-07 | 0.0099581 | 0.0099582 | 0.0099582 | 0.994 | -0.11549 | 0.99389 | -0.1175 | 2.7358

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40204 | 0.10216

## res_load
| p_mw | q_mvar
0 | 0.031898 | 0.0079944
1 | 0.0041462 | 0.0010391
2 | 0.012499 | 0.0031326
3 | 0.0047674 | 0.0011948
4 | 0.0056643 | 0.0014196
5 | 0.0023938 | 0.00059995
6 | 0.0018549 | 0.00046488
7 | 0.013815 | 0.0034624
8 | 0.0013704 | 0.00034345
9 | 0.010351 | 0.0025943
10 | 0.013786 | 0.003455
11 | 0.002466 | 0.00061804
12 | 0.0015683 | 0.00039306
13 | 0.005183 | 0.001299
14 | 0.0021332 | 0.00053462
15 | 0.0037822 | 0.0009479
16 | 0.0086373 | 0.0021647
17 | 0.0077263 | 0.0019364
18 | 0.011132 | 0.0027901
19 | 0.0020028 | 0.00050195
20 | 0.011423 | 0.0028629
21 | 0.009326 | 0.0023373
22 | 0.0018376 | 0.00046055
23 | 0.0076938 | 0.0019282
24 | 0.016222 | 0.0040657
25 | 0.0052842 | 0.0013244
26 | 0.0063564 | 0.0015931
27 | 0.0052866 | 0.001325
28 | 0.0042052 | 0.0010539
29 | 0.007143 | 0.0017902
30 | 0.0035259 | 0.00088367
31 | 0.016341 | 0.0040954
32 | 0.014739 | 0.0036939
33 | 0.0048544 | 0.0012166
34 | 0.0039264 | 0.00098404
35 | 0.0021948 | 0.00055007
36 | 0.0061062 | 0.0015304
37 | 0.0013022 | 0.00032636
38 | 0.0099918 | 0.0025042
39 | 0.021196 | 0.0053123
40 | 0.0039641 | 0.0009935
41 | 0.00090035 | 0.00022565
42 | 0.0075086 | 0.0018818
43 | 0.014859 | 0.0037239
44 | 0.0058761 | 0.0014727
45 | 0.01742 | 0.004366
46 | 0.0036372 | 0.00091157
47 | 0.021181 | 0.0053083
48 | 0.002195 | 0.00055011
49 | 0.0053486 | 0.0013405
50 | 0.0066514 | 0.001667

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1