## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_141-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_141-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_141-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_141-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_141-9_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_141-9_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_141-9_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_141-9_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_141-9_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_141-9_0_4_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_141-9_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_141-9_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_141-9_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_141-9_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_141-9_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_141-9_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_141-9_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_141-9_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_141-9_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_141-9_0_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_141-9_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_141-9_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_141-9_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_141-9_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_141-9_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_141-9_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_141-9_0_4_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_141-9_0_4_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_141-9_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_141-9_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_141-9_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_141-9_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_141-9_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_141-9_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_141-9_0_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_141-9_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_141-9_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_141-9_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_141-9_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_141-9_0_4_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_141-9_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_141-9_0_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_141-9_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_141-9_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_141-9_0_4_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_141-9_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_141-9_0_4_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_141-9_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_141-9_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_141-9_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_141-9_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_141-9_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_141-9_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_141-9_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_141-9_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_141-9_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_141-9_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_141-9_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_141-9_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_141-9_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_141-9_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_141-9_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_141-9_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_141-9_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_141-9_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_141-9_0_4_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_141-9_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_141-9_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_141-9_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_141-9_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_141-9_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_141-9_0_4_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_141-9_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_141-9_0_4_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_141-9_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_141-9_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_MV_491_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_141-9_0_4_load_0 | 0 | 0.044983 | 0.011274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_141-9_0_4_load_1 | 1 | 0.0058562 | 0.0014677 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_141-9_0_4_load_4 | 6 | 0.0071352 | 0.0017883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_141-9_0_4_load_50 | 7 | 0.0027453 | 0.00068803 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_141-9_0_4_load_80 | 9 | 0.021227 | 0.0053199 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_141-9_0_4_load_58 | 12 | 0.017442 | 0.0043713 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_141-9_0_4_load_40 | 15 | 0.01233 | 0.0030901 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_141-9_0_4_load_81 | 17 | 0.014421 | 0.0036142 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_141-9_0_4_load_67 | 19 | 0.021131 | 0.0052959 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_141-9_0_4_load_78 | 22 | 0.021319 | 0.0053431 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_141-9_0_4_load_73 | 26 | 0.0078355 | 0.0019638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_141-9_0_4_load_75 | 27 | 0.001904 | 0.00047718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_141-9_0_4_load_37 | 31 | 0.0054119 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_141-9_0_4_load_64 | 32 | 0.0041626 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_141-9_0_4_load_79 | 34 | 0.010927 | 0.0027386 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_141-9_0_4_load_60 | 41 | 0.015865 | 0.003976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_141-9_0_4_load_59 | 44 | 0.0071129 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_141-9_0_4_load_66 | 46 | 0.0058041 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_141-9_0_4_load_49 | 48 | 0.012575 | 0.0031516 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_141-9_0_4_load_52 | 51 | 0.011049 | 0.0027692 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_141-9_0_4_load_57 | 52 | 0.0068214 | 0.0017096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_141-9_0_4_load_77 | 53 | 0.0051954 | 0.0013021 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_141-9_0_4_load_53 | 54 | 0.0091445 | 0.0022918 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_141-9_0_4_load_68 | 56 | 0.012915 | 0.0032368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_141-9_0_4_load_35 | 58 | 0.0057474 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_141-9_0_4_load_70 | 59 | 0.014396 | 0.0036081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_141-9_0_4_load_48 | 60 | 0.0056616 | 0.0014189 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_141-9_0_4_load_47 | 61 | 0.003749 | 0.00093958 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_141-9_0_4_load_74 | 63 | 0.0065953 | 0.0016529 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_141-9_0_4_load_41 | 64 | 0.0054114 | 0.0013562 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_141-9_0_4_load_36 | 65 | 0.0055422 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_141-9_0_4_load_65 | 66 | 0.044484 | 0.011149 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_141-9_0_4_load_69 | 68 | 0.016606 | 0.0041619 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_141-9_0_4_load_55 | 69 | 0.0080373 | 0.0020143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_141-9_0_4_load_76 | 70 | 0.0051974 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_141-9_0_4_load_42 | 71 | 0.0045699 | 0.0011453 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_141-9_0_4_load_43 | 72 | 0.0077633 | 0.0019457 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_141-9_0_4_load_63 | 74 | 0.0037563 | 0.00094143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_141-9_0_4_load_54 | 75 | 0.0024749 | 0.00062026 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_141-9_0_4_line_0 |  | 0 | 1 | 0.047648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_141-9_0_4_line_1 |  | 0 | 2 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_141-9_0_4_line_2 |  | 1 | 3 | 0.034611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_141-9_0_4_line_3 |  | 2 | 4 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_141-9_0_4_line_4 |  | 3 | 5 | 0.13219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_141-9_0_4_line_5 |  | 4 | 11 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_141-9_0_4_line_6 |  | 4 | 12 | 0.03667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_141-9_0_4_line_7 |  | 5 | 19 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_141-9_0_4_line_8 |  | 6 | 7 | 0.021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_141-9_0_4_line_9 |  | 7 | 43 | 0.023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_141-9_0_4_line_10 |  | 8 | 9 | 0.006017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_141-9_0_4_line_11 |  | 8 | 10 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_141-9_0_4_line_12 |  | 10 | 32 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_141-9_0_4_line_13 |  | 10 | 14 | 0.091126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_141-9_0_4_line_14 |  | 11 | 24 | 0.004008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_141-9_0_4_line_15 |  | 12 | 44 | 0.037935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_141-9_0_4_line_16 |  | 13 | 14 | 0.076316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_141-9_0_4_line_17 |  | 13 | 15 | 0.079092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_141-9_0_4_line_18 |  | 14 | 16 | 0.091713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_141-9_0_4_line_19 |  | 15 | 30 | 0.055074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_141-9_0_4_line_20 |  | 16 | 17 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_141-9_0_4_line_21 |  | 16 | 18 | 0.026762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_141-9_0_4_line_22 |  | 18 | 59 | 0.043222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_141-9_0_4_line_23 |  | 19 | 20 | 0.0038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_141-9_0_4_line_24 |  | 20 | 21 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_141-9_0_4_line_25 |  | 21 | 22 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_141-9_0_4_line_26 |  | 23 | 24 | 0.004832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_141-9_0_4_line_27 |  | 23 | 25 | 0.033877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_141-9_0_4_line_28 |  | 24 | 27 | 0.039893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_141-9_0_4_line_29 |  | 25 | 26 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_141-9_0_4_line_30 |  | 27 | 63 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_141-9_0_4_line_31 |  | 28 | 29 | 0.043174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_141-9_0_4_line_32 |  | 28 | 30 | 0.055716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_141-9_0_4_line_33 |  | 28 | 31 | 0.013895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_141-9_0_4_line_34 |  | 29 | 64 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_141-9_0_4_line_35 |  | 31 | 65 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_141-9_0_4_line_36 |  | 32 | 66 | 0.0046906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_141-9_0_4_line_37 |  | 33 | 34 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_141-9_0_4_line_38 |  | 33 | 35 | 0.058243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_141-9_0_4_line_39 |  | 33 | 36 | 0.039654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_141-9_0_4_line_40 |  | 33 | 37 | 0.008207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_141-9_0_4_line_41 |  | 35 | 45 | 0.036349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_141-9_0_4_line_42 |  | 35 | 46 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_141-9_0_4_line_43 |  | 36 | 41 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_141-9_0_4_line_44 |  | 37 | 67 | 0.026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_141-9_0_4_line_45 |  | 37 | 68 | 0.027466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_141-9_0_4_line_46 |  | 38 | 39 | 0.006237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_141-9_0_4_line_47 |  | 38 | 40 | 0.0066883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_141-9_0_4_line_48 |  | 38 | 41 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_141-9_0_4_line_49 |  | 39 | 63 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_141-9_0_4_line_50 |  | 39 | 50 | 0.003947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_141-9_0_4_line_51 |  | 40 | 54 | 0.0086707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_141-9_0_4_line_52 |  | 42 | 43 | 0.005536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_141-9_0_4_line_53 |  | 42 | 44 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_141-9_0_4_line_54 |  | 45 | 47 | 0.005779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_141-9_0_4_line_55 |  | 45 | 48 | 0.031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_141-9_0_4_line_56 |  | 47 | 55 | 0.0082163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_141-9_0_4_line_57 |  | 47 | 56 | 0.017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_141-9_0_4_line_58 |  | 49 | 50 | 0.009615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_141-9_0_4_line_59 |  | 49 | 51 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_141-9_0_4_line_60 |  | 50 | 52 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_141-9_0_4_line_61 |  | 50 | 53 | 0.047902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_141-9_0_4_line_62 |  | 52 | 69 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_141-9_0_4_line_63 |  | 53 | 70 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_141-9_0_4_line_64 |  | 55 | 57 | 0.032208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_141-9_0_4_line_65 |  | 55 | 58 | 0.0089877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_141-9_0_4_line_66 |  | 57 | 60 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_141-9_0_4_line_67 |  | 58 | 65 | 0.018118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_141-9_0_4_line_68 |  | 61 | 62 | 0.039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_141-9_0_4_line_69 |  | 62 | 73 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_141-9_0_4_line_70 |  | 62 | 71 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_141-9_0_4_line_71 |  | 67 | 73 | 0.033132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_141-9_0_4_line_72 |  | 69 | 75 | 0.029328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_141-9_0_4_line_73 |  | 71 | 72 | 0.034928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_141-9_0_4_line_74 |  | 73 | 74 | 0.0061037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_141-9_0_4_trafo_47 | 0.63 MVA 20/0.4 kV | 76 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684985.0752 | 1238448.0682 | 2684997.2092 | 1238432.6038 | 2685008.8385 | 1238419.8055 | 2685016.8127 | 1238412.6729
1 | 2684969.877 | 1238467.4377 | 2684985.0752 | 1238448.0682
2 | 2685045.2755 | 1238393.1859 | 2685037.0075 | 1238397.882 | 2685023.7284 | 1238406.4869 | 2685016.8127 | 1238412.6729
3 | 2684968.2461 | 1238477.2547 | 2684974.0792 | 1238470.3555 | 2684971.4199 | 1238468.5161 | 2684969.877 | 1238467.4377
4 | 2685003.4052 | 1238323.2475 | 2685004.3032 | 1238304.3913 | 2685008.4008 | 1238304.5834 | 2685020.2381 | 1238303.6967 | 2685023.0188 | 1238316.6013 | 2685038.9754 | 1238346.073 | 2685048.6119 | 1238359.9098 | 2685046.7837 | 1238363.4306 | 2685046.7206 | 1238364.6639 | 2685045.3702 | 1238391.3303 | 2685045.2755 | 1238393.1859
5 | 2684959.9416 | 1238487.6879 | 2684968.2461 | 1238477.2547
6 | 2684968.2461 | 1238477.2547 | 2684965.1342 | 1238475.8537 | 2684934.8323 | 1238462.1485
7 | 2685003.4052 | 1238323.2475 | 2685002.8657 | 1238334.5421
8 | 2684909.0282 | 1238444.8188 | 2684899.3933 | 1238438.3312 | 2684891.656 | 1238431.5875
9 | 2684875.1361 | 1238414.7676 | 2684879.5572 | 1238418.7892 | 2684880.5864 | 1238421.9395 | 2684891.656 | 1238431.5875
10 | 2685076.5432 | 1238443.2695 | 2685077.8861 | 1238444.056 | 2685081.742 | 1238446.324
11 | 2685066.566 | 1238471.1577 | 2685081.742 | 1238446.324
12 | 2685066.566 | 1238471.1577 | 2685062.9152 | 1238469.3597 | 2685058.1876 | 1238468.2579 | 2685051.4676 | 1238467.8836 | 2685043.2004 | 1238464.6211
13 | 2685032.7649 | 1238546.1608 | 2685047.6164 | 1238521.7782 | 2685046.3118 | 1238520.9589 | 2685043.4702 | 1238519.1725 | 2685040.3213 | 1238517.1927 | 2685039.4741 | 1238516.6579 | 2685041.6969 | 1238513.0539 | 2685043.9415 | 1238509.5168 | 2685050.8639 | 1238497.8742 | 2685066.566 | 1238471.1577
14 | 2684959.9416 | 1238487.6879 | 2684963.276 | 1238489.9261
15 | 2684934.8323 | 1238462.1485 | 2684931.1149 | 1238460.4672 | 2684910.5194 | 1238451.1772 | 2684905.073 | 1238447.4411 | 2684901.2352 | 1238444.8033
16 | 2685032.7649 | 1238546.1608 | 2685053.4593 | 1238556.9538 | 2685048.5579 | 1238565.8789 | 2685042.7012 | 1238577.5923 | 2685041.4938 | 1238586.359 | 2685043.3002 | 1238590.6991 | 2685050.3641 | 1238593.4578 | 2685058.1581 | 1238597.0053
17 | 2685058.1581 | 1238597.0053 | 2685053.8291 | 1238610.3306 | 2685052.9312 | 1238619.1463 | 2685054.2657 | 1238675.3499
18 | 2685012.2424 | 1238562.968 | 2685016.6559 | 1238555.359 | 2685021.328 | 1238547.12 | 2685026.1388 | 1238549.2682 | 2685029.9271 | 1238542.5287 | 2685043.4702 | 1238519.1725 | 2685046.3118 | 1238520.9589 | 2685047.6164 | 1238521.7782 | 2685032.7649 | 1238546.1608
19 | 2685055.573 | 1238730.4084 | 2685054.2657 | 1238675.3499
20 | 2685000.0269 | 1238557.0222 | 2685001.8004 | 1238557.8482 | 2685003.9191 | 1238558.8681 | 2685006.6459 | 1238560.2192 | 2685007.938 | 1238560.8493 | 2685012.2424 | 1238562.968
21 | 2684998.8156 | 1238586.1368 | 2685012.2424 | 1238562.968
22 | 2684998.8156 | 1238586.1368 | 2684985.5187 | 1238609.7524 | 2684977.7608 | 1238623.8835
23 | 2685002.6813 | 1238338.4036 | 2685002.8657 | 1238334.5421
24 | 2685002.6813 | 1238338.4036 | 2685001.9885 | 1238352.9707
25 | 2685001.9885 | 1238352.9707 | 2685001.1222 | 1238371.1325
26 | 2684967.2999 | 1238492.6189 | 2684963.276 | 1238489.9261
27 | 2684967.2999 | 1238492.6189 | 2684969.7468 | 1238489.7407 | 2684973.0954 | 1238487.2869 | 2684977.7119 | 1238486.1076 | 2684982.2001 | 1238487.0169 | 2684994.0041 | 1238492.1228 | 2684992.495 | 1238495.5481
28 | 2684963.276 | 1238489.9261 | 2684959.781 | 1238493.6232 | 2684953.035 | 1238500.3537 | 2684946.6107 | 1238506.2772 | 2684939.7823 | 1238511.8947 | 2684933.7477 | 1238516.67
29 | 2684992.495 | 1238495.5481 | 2684985.218 | 1238512.0371
30 | 2684910.3114 | 1238532.5268 | 2684918.8623 | 1238527.4178 | 2684924.8052 | 1238523.411 | 2684931.6256 | 1238518.3493 | 2684933.7477 | 1238516.67
31 | 2685016.8189 | 1238673.8908 | 2685017.5027 | 1238683.7187 | 2685017.8088 | 1238692.4516 | 2685015.8033 | 1238702.5412 | 2685012.7028 | 1238711.4477 | 2685009.8548 | 1238715.3986
32 | 2685009.8548 | 1238715.3986 | 2685043.1267 | 1238734.7889 | 2685048.155 | 1238737.5851 | 2685051.3973 | 1238737.2646 | 2685053.9927 | 1238734.5777 | 2685055.573 | 1238730.4084
33 | 2685009.8548 | 1238715.3986 | 2684997.8319 | 1238708.4326
34 | 2685016.8189 | 1238673.8908 | 2685016.7273 | 1238668.1409 | 2685018.546 | 1238663.1647
35 | 2684997.8319 | 1238708.4326 | 2684982.0879 | 1238699.3107
36 | 2685038.8373 | 1238462.8992 | 2685043.2004 | 1238464.6211
37 | 2684897.1396 | 1238627.0897 | 2684901.8727 | 1238623.566 | 2684905.222 | 1238620.0002 | 2684908.1665 | 1238615.1166
38 | 2684897.1396 | 1238627.0897 | 2684894.3515 | 1238628.9735 | 2684899.2716 | 1238634.5811 | 2684896.4531 | 1238637.5319 | 2684917.3177 | 1238660.7468 | 2684925.3426 | 1238669.8347
39 | 2684876.5383 | 1238593.916 | 2684877.6653 | 1238598.1573 | 2684879.8004 | 1238603.8475 | 2684884.5106 | 1238613.0325 | 2684897.1396 | 1238627.0897
40 | 2684902.6274 | 1238633.2059 | 2684897.1396 | 1238627.0897
41 | 2684925.3426 | 1238669.8347 | 2684929.699 | 1238674.656 | 2684933.4882 | 1238678.4129 | 2684937.7242 | 1238682.1317 | 2684940.0255 | 1238684.6664 | 2684940.8278 | 1238687.2798 | 2684940.5417 | 1238690.3557 | 2684941.5032 | 1238690.8253 | 2684944.7633 | 1238692.4397 | 2684947.7531 | 1238693.9058 | 2684949.1802 | 1238694.6156
42 | 2684925.3426 | 1238669.8347 | 2684920.3543 | 1238679.0366 | 2684912.3436 | 1238679.5336
43 | 2684876.5383 | 1238593.916 | 2684873.0892 | 1238572.199
44 | 2684914.3539 | 1238609.3453 | 2684904.8444 | 1238628.9457 | 2684902.6274 | 1238633.2059
45 | 2684902.6274 | 1238633.2059 | 2684920.7615 | 1238653.8351
46 | 2684869.74 | 1238549.298 | 2684869.0088 | 1238550.6996 | 2684869.7829 | 1238555.2918
47 | 2684869.7829 | 1238555.2918 | 2684867.5934 | 1238555.5162 | 2684863.1581 | 1238556.1978
48 | 2684869.7829 | 1238555.2918 | 2684870.6462 | 1238556.8163 | 2684873.0892 | 1238572.199
49 | 2684869.74 | 1238549.298 | 2684871.7904 | 1238548.7491 | 2684879.176 | 1238546.4752 | 2684888.0525 | 1238543.1108 | 2684899.9968 | 1238537.8778 | 2684910.0112 | 1238532.7061 | 2684910.3114 | 1238532.5268
50 | 2684869.74 | 1238549.298 | 2684868.819 | 1238545.4598
51 | 2684863.1581 | 1238556.1978 | 2684864.4199 | 1238564.2438 | 2684864.5016 | 1238564.7637
52 | 2684871.7672 | 1238419.1671 | 2684875.1361 | 1238414.7676
53 | 2684871.7672 | 1238419.1671 | 2684880.3436 | 1238427.2732 | 2684892.6822 | 1238438.9246 | 2684901.2352 | 1238444.8033
54 | 2684949.1802 | 1238694.6156 | 2684950.7268 | 1238693.3257 | 2684953.5175 | 1238692.843 | 2684954.4637 | 1238692.801
55 | 2684949.1802 | 1238694.6156 | 2684942.444 | 1238706.4944 | 2684941.7532 | 1238708.7751 | 2684941.5691 | 1238712.1193 | 2684935.7672 | 1238722.9001
56 | 2684958.6349 | 1238685.7222 | 2684957.9758 | 1238686.8469 | 2684956.3709 | 1238689.5704 | 2684955.7506 | 1238690.6289 | 2684954.4637 | 1238692.801
57 | 2684954.4637 | 1238692.801 | 2684957.8701 | 1238694.2285 | 2684969.9539 | 1238701.199
58 | 2684859.6185 | 1238548.2081 | 2684866.2629 | 1238546.4574 | 2684868.819 | 1238545.4598
59 | 2684859.6185 | 1238548.2081 | 2684859.7898 | 1238545.2195 | 2684861.0916 | 1238544.1151 | 2684861.4213 | 1238542.7522 | 2684859.4665 | 1238530.7935 | 2684859.105 | 1238528.4235
60 | 2684868.819 | 1238545.4598 | 2684885.771 | 1238538.7573
61 | 2684868.819 | 1238545.4598 | 2684866.482 | 1238530.6047 | 2684864.0291 | 1238512.212 | 2684861.8548 | 1238498.0694
62 | 2684902.0125 | 1238532.3357 | 2684885.771 | 1238538.7573
63 | 2684858.9862 | 1238479.4104 | 2684861.8548 | 1238498.0694
64 | 2684958.6349 | 1238685.7222 | 2684957.8696 | 1238684.755 | 2684957.0447 | 1238681.6076 | 2684958.0853 | 1238678.1423 | 2684965.2625 | 1238665.0578 | 2684969.6973 | 1238657.0043
65 | 2684958.6349 | 1238685.7222 | 2684966.4116 | 1238690.228
66 | 2684969.6973 | 1238657.0043 | 2684977.5353 | 1238642.7883
67 | 2684966.4116 | 1238690.228 | 2684982.0879 | 1238699.3107
68 | 2684933.2079 | 1238569.5419 | 2684949.6624 | 1238533.2749
69 | 2684933.2079 | 1238569.5419 | 2684928.8136 | 1238579.5196
70 | 2684933.2079 | 1238569.5419 | 2684944.8785 | 1238574.9427
71 | 2684914.3539 | 1238609.3453 | 2684928.8136 | 1238579.5196
72 | 2684926.8429 | 1238516.7729 | 2684903.2605 | 1238531.8423 | 2684902.0125 | 1238532.3357
73 | 2684947.168 | 1238601.9218 | 2684955.2839 | 1238584.7686 | 2684955.6706 | 1238582.5948 | 2684954.719 | 1238580.3685 | 2684952.5971 | 1238578.5146 | 2684944.8785 | 1238574.9427
74 | 2684928.8136 | 1238579.5196 | 2684923.1576 | 1238581.814

## bus_geodata
| x | y | coords
0 | 2684985.0752 | 1238448.0682
1 | 2685016.8127 | 1238412.6729
2 | 2684969.877 | 1238467.4377
3 | 2685045.2755 | 1238393.1859
4 | 2684968.2461 | 1238477.2547
5 | 2685003.4052 | 1238323.2475
6 | 2684909.0282 | 1238444.8188
7 | 2684891.656 | 1238431.5875
8 | 2685081.742 | 1238446.324
9 | 2685076.5432 | 1238443.2695
10 | 2685066.566 | 1238471.1577
11 | 2684959.9416 | 1238487.6879
12 | 2684934.8323 | 1238462.1485
13 | 2685058.1581 | 1238597.0053
14 | 2685032.7649 | 1238546.1608
15 | 2685054.2657 | 1238675.3499
16 | 2685012.2424 | 1238562.968
17 | 2685000.0269 | 1238557.0222
18 | 2684998.8156 | 1238586.1368
19 | 2685002.8657 | 1238334.5421
20 | 2685002.6813 | 1238338.4036
21 | 2685001.9885 | 1238352.9707
22 | 2685001.1222 | 1238371.1325
23 | 2684967.2999 | 1238492.6189
24 | 2684963.276 | 1238489.9261
25 | 2684992.495 | 1238495.5481
26 | 2684985.218 | 1238512.0371
27 | 2684933.7477 | 1238516.67
28 | 2685009.8548 | 1238715.3986
29 | 2685016.8189 | 1238673.8908
30 | 2685055.573 | 1238730.4084
31 | 2684997.8319 | 1238708.4326
32 | 2685043.2004 | 1238464.6211
33 | 2684897.1396 | 1238627.0897
34 | 2684908.1665 | 1238615.1166
35 | 2684925.3426 | 1238669.8347
36 | 2684876.5383 | 1238593.916
37 | 2684902.6274 | 1238633.2059
38 | 2684869.7829 | 1238555.2918
39 | 2684869.74 | 1238549.298
40 | 2684863.1581 | 1238556.1978
41 | 2684873.0892 | 1238572.199
42 | 2684871.7672 | 1238419.1671
43 | 2684875.1361 | 1238414.7676
44 | 2684901.2352 | 1238444.8033
45 | 2684949.1802 | 1238694.6156
46 | 2684912.3436 | 1238679.5336
47 | 2684954.4637 | 1238692.801
48 | 2684935.7672 | 1238722.9001
49 | 2684859.6185 | 1238548.2081
50 | 2684868.819 | 1238545.4598
51 | 2684859.105 | 1238528.4235
52 | 2684885.771 | 1238538.7573
53 | 2684861.8548 | 1238498.0694
54 | 2684864.5016 | 1238564.7637
55 | 2684958.6349 | 1238685.7222
56 | 2684969.9539 | 1238701.199
57 | 2684969.6973 | 1238657.0043
58 | 2684966.4116 | 1238690.228
59 | 2684977.7608 | 1238623.8835
60 | 2684977.5353 | 1238642.7883
61 | 2684949.6624 | 1238533.2749
62 | 2684933.2079 | 1238569.5419
63 | 2684910.3114 | 1238532.5268
64 | 2685018.546 | 1238663.1647
65 | 2684982.0879 | 1238699.3107
66 | 2685038.8373 | 1238462.8992
67 | 2684914.3539 | 1238609.3453
68 | 2684920.7615 | 1238653.8351
69 | 2684902.0125 | 1238532.3357
70 | 2684858.9862 | 1238479.4104
71 | 2684944.8785 | 1238574.9427
72 | 2684947.168 | 1238601.9218
73 | 2684928.8136 | 1238579.5196
74 | 2684923.1575 | 1238581.814
75 | 2684926.8429 | 1238516.7728
76 | 2684933.2079 | 1238569.5419

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97974 | -0.38882 | 0.044983 | 0.011274
1 | 0.97902 | -0.40277 | 0.0058562 | 0.0014677
2 | 0.98027 | -0.3784 | 0 | 0
3 | 0.97765 | -0.42952 | 0 | 0
4 | 0.98058 | -0.37242 | 0 | 0
5 | 0.97241 | -0.53241 | 0 | 0
6 | 0.97804 | -0.42225 | 0.0071352 | 0.0017883
7 | 0.97818 | -0.41941 | 0.0027453 | 0.00068803
8 | 0.97287 | -0.52294 | 0 | 0
9 | 0.97275 | -0.52529 | 0.021227 | 0.0053199
10 | 0.97345 | -0.51157 | 0 | 0
11 | 0.98097 | -0.36471 | 0 | 0
12 | 0.97941 | -0.39533 | 0.017442 | 0.0043713
13 | 0.97817 | -0.41882 | 0 | 0
14 | 0.97642 | -0.45319 | 0 | 0
15 | 0.97999 | -0.38333 | 0.01233 | 0.0030901
16 | 0.97396 | -0.50164 | 0 | 0
17 | 0.97377 | -0.50523 | 0.014421 | 0.0036142
18 | 0.9736 | -0.50872 | 0 | 0
19 | 0.97197 | -0.54126 | 0.021131 | 0.0052959
20 | 0.97189 | -0.54278 | 0 | 0
21 | 0.9716 | -0.54852 | 0 | 0
22 | 0.97124 | -0.55568 | 0.021319 | 0.0053431
23 | 0.98106 | -0.36307 | 0 | 0
24 | 0.98109 | -0.36239 | 0 | 0
25 | 0.98081 | -0.36788 | 0 | 0
26 | 0.98068 | -0.37044 | 0.0078355 | 0.0019638
27 | 0.98235 | -0.33793 | 0.001904 | 0.00047718
28 | 0.98286 | -0.32767 | 0 | 0
29 | 0.98264 | -0.33189 | 0 | 0
30 | 0.98142 | -0.35562 | 0 | 0
31 | 0.98324 | -0.32037 | 0.0054119 | 0.0013563
32 | 0.97234 | -0.53356 | 0.0041626 | 0.0010432
33 | 0.98872 | -0.21448 | 0 | 0
34 | 0.98856 | -0.21769 | 0.010927 | 0.0027386
35 | 0.98642 | -0.25875 | 0 | 0
36 | 0.98682 | -0.25129 | 0 | 0
37 | 0.98946 | -0.20026 | 0 | 0
38 | 0.98499 | -0.2867 | 0 | 0
39 | 0.98472 | -0.29183 | 0 | 0
40 | 0.98493 | -0.2878 | 0 | 0
41 | 0.98576 | -0.27177 | 0.015865 | 0.003976
42 | 0.97845 | -0.4141 | 0 | 0
43 | 0.9784 | -0.41509 | 0 | 0
44 | 0.97881 | -0.40706 | 0.0071129 | 0.0017827
45 | 0.98504 | -0.28554 | 0 | 0
46 | 0.98633 | -0.26068 | 0.0058041 | 0.0014547
47 | 0.98483 | -0.28948 | 0 | 0
48 | 0.98467 | -0.29269 | 0.012575 | 0.0031516
49 | 0.98448 | -0.29649 | 0 | 0
50 | 0.98458 | -0.29458 | 0 | 0
51 | 0.98427 | -0.30059 | 0.011049 | 0.0027692
52 | 0.98429 | -0.30026 | 0.0068214 | 0.0017096
53 | 0.98412 | -0.30353 | 0.0051954 | 0.0013021
54 | 0.98486 | -0.28923 | 0.0091445 | 0.0022918
55 | 0.98457 | -0.29461 | 0 | 0
56 | 0.98462 | -0.29358 | 0.012915 | 0.0032368
57 | 0.9844 | -0.29789 | 0 | 0
58 | 0.98429 | -0.29999 | 0.0057474 | 0.0014404
59 | 0.97302 | -0.52017 | 0.014396 | 0.0036081
60 | 0.98432 | -0.29954 | 0.0056616 | 0.0014189
61 | 1 | 0 | -0.43115 | -0.11067
62 | 0.99611 | -0.073465 | 0 | 0
63 | 0.98325 | -0.32036 | 0.0065953 | 0.0016529
64 | 0.98259 | -0.33297 | 0.0054114 | 0.0013562
65 | 0.98375 | -0.31038 | 0.0055422 | 0.001389
66 | 0.97214 | -0.53741 | 0.044484 | 0.011149
67 | 0.99196 | -0.1524 | 0 | 0
68 | 0.98905 | -0.20838 | 0.016606 | 0.0041619
69 | 0.98412 | -0.30357 | 0.0080373 | 0.0020143
70 | 0.98403 | -0.3053 | 0.0051974 | 0.0013026
71 | 0.99596 | -0.076252 | 0.0045699 | 0.0011453
72 | 0.99572 | -0.081018 | 0.0077633 | 0.0019457
73 | 0.99508 | -0.093079 | 0 | 0
74 | 0.99505 | -0.093483 | 0.0037563 | 0.00094143
75 | 0.98405 | -0.30487 | 0.0024749 | 0.00062026
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048636 | 0.012313 | -0.048603 | -0.012294 | 3.2538e-05 | 1.9025e-05 | 0.073912 | 0.073913 | 0.073913 | 0.97974 | -0.38882 | 0.97902 | -0.40277 | 6.7686
1 | -0.093619 | -0.023587 | 0.093666 | 0.023616 | 4.6694e-05 | 2.8643e-05 | 0.14223 | 0.14223 | 0.14223 | 0.97974 | -0.38882 | 0.98027 | -0.3784 | 9.7687
2 | 0.042747 | 0.010826 | -0.042692 | -0.010792 | 5.4856e-05 | 3.4673e-05 | 0.065012 | 0.065012 | 0.065012 | 0.97902 | -0.40277 | 0.97765 | -0.42952 | 17.8604
3 | -0.093666 | -0.023616 | 0.093693 | 0.023632 | 2.6837e-05 | 1.6462e-05 | 0.14223 | 0.14223 | 0.14223 | 0.98027 | -0.3784 | 0.98058 | -0.37242 | 9.7687
4 | 0.042692 | 0.010792 | -0.042483 | -0.010659 | 0.00020951 | 0.00013244 | 0.065012 | 0.065013 | 0.065013 | 0.97765 | -0.42952 | 0.97241 | -0.53241 | 17.8606
5 | -0.12818 | -0.032295 | 0.12823 | 0.032324 | 4.728e-05 | 2.9587e-05 | 0.19458 | 0.19457 | 0.19458 | 0.98058 | -0.37242 | 0.98097 | -0.36471 | 13.3637
6 | 0.034489 | 0.0086627 | -0.034451 | -0.0086391 | 3.7676e-05 | 2.3651e-05 | 0.052344 | 0.052344 | 0.052344 | 0.98058 | -0.37242 | 0.97941 | -0.39533 | 14.3802
7 | 0.042483 | 0.010659 | -0.042465 | -0.010648 | 1.7922e-05 | 1.133e-05 | 0.065013 | 0.065013 | 0.065013 | 0.97241 | -0.53241 | 0.97197 | -0.54126 | 17.8606
8 | -0.0071352 | -0.0017883 | 0.0071362 | 0.0017886 | 9.6689e-07 | 3.442e-07 | 0.010856 | 0.010856 | 0.010856 | 0.97804 | -0.42225 | 0.97818 | -0.41941 | 2.9824
9 | -0.0098815 | -0.0024766 | 0.0098835 | 0.0024776 | 2.0314e-06 | 9.9909e-07 | 0.015032 | 0.015032 | 0.015032 | 0.97818 | -0.41941 | 0.9784 | -0.41509 | 4.1296
10 | 0.021229 | 0.0053214 | -0.021227 | -0.0053199 | 2.379e-06 | 1.4478e-06 | 0.03247 | 0.03247 | 0.03247 | 0.97287 | -0.52294 | 0.97275 | -0.52529 | 8.9205
11 | -0.021229 | -0.0053214 | 0.021241 | 0.0053284 | 1.1499e-05 | 6.9982e-06 | 0.03247 | 0.03247 | 0.03247 | 0.97287 | -0.52294 | 0.97345 | -0.51157 | 8.9204
12 | 0.048705 | 0.012229 | -0.048654 | -0.012197 | 5.1025e-05 | 3.2351e-05 | 0.074459 | 0.074459 | 0.074459 | 0.97345 | -0.51157 | 0.97234 | -0.53356 | 20.4559
13 | -0.069946 | -0.017558 | 0.070141 | 0.017681 | 0.00019536 | 0.00012276 | 0.10693 | 0.10693 | 0.10693 | 0.97345 | -0.51157 | 0.97642 | -0.45319 | 14.6881
14 | -0.12823 | -0.032324 | 0.12824 | 0.032333 | 1.4226e-05 | 8.902e-06 | 0.19457 | 0.19457 | 0.19457 | 0.98097 | -0.36471 | 0.98109 | -0.36239 | 13.3637
15 | 0.01701 | 0.0042678 | -0.017 | -0.0042622 | 9.5021e-06 | 5.6042e-06 | 0.025845 | 0.025845 | 0.025845 | 0.97941 | -0.39533 | 0.97881 | -0.40706 | 7.1002
16 | 0.099203 | 0.025054 | -0.09904 | -0.024953 | 0.00016309 | 0.00010055 | 0.15098 | 0.15098 | 0.15098 | 0.97817 | -0.41882 | 0.97642 | -0.45319 | 10.3695
17 | -0.099203 | -0.025054 | 0.099373 | 0.025158 | 0.00016902 | 0.00010419 | 0.15098 | 0.15098 | 0.15098 | 0.97817 | -0.41882 | 0.97999 | -0.38333 | 10.3694
18 | 0.028899 | 0.0072725 | -0.028832 | -0.0072309 | 6.674e-05 | 4.1569e-05 | 0.044051 | 0.044052 | 0.044052 | 0.97642 | -0.45319 | 0.97396 | -0.50164 | 12.1022
19 | -0.1117 | -0.028248 | 0.11185 | 0.02834 | 0.00014869 | 9.238e-05 | 0.1697 | 0.1697 | 0.1697 | 0.97999 | -0.38333 | 0.98142 | -0.35562 | 11.6551
20 | 0.014423 | 0.0036156 | -0.014421 | -0.0036142 | 2.4682e-06 | 1.411e-06 | 0.022036 | 0.022036 | 0.022036 | 0.97396 | -0.50164 | 0.97377 | -0.50523 | 6.0539
21 | 0.014409 | 0.0036153 | -0.014404 | -0.0036126 | 4.8643e-06 | 2.7802e-06 | 0.022016 | 0.022016 | 0.022016 | 0.97396 | -0.50164 | 0.9736 | -0.50872 | 6.0483
22 | 0.014404 | 0.0036126 | -0.014396 | -0.0036081 | 7.8562e-06 | 4.4908e-06 | 0.022016 | 0.022016 | 0.022016 | 0.9736 | -0.50872 | 0.97302 | -0.52017 | 6.0484
23 | 0.021334 | 0.005352 | -0.021332 | -0.0053511 | 1.5466e-06 | 9.4192e-07 | 0.032663 | 0.032663 | 0.032663 | 0.97197 | -0.54126 | 0.97189 | -0.54278 | 8.9732
24 | 0.021332 | 0.0053511 | -0.021326 | -0.0053475 | 5.8354e-06 | 3.5539e-06 | 0.032663 | 0.032663 | 0.032663 | 0.97189 | -0.54278 | 0.9716 | -0.54852 | 8.9732
25 | 0.021326 | 0.0053475 | -0.021319 | -0.0053431 | 7.2742e-06 | 4.4304e-06 | 0.032663 | 0.032663 | 0.032663 | 0.9716 | -0.54852 | 0.97124 | -0.55568 | 8.9733
26 | -0.0078383 | -0.0019649 | 0.0078385 | 0.001965 | 2.5612e-07 | 1.029e-07 | 0.011889 | 0.011889 | 0.011889 | 0.98106 | -0.36307 | 0.98109 | -0.36239 | 3.2662
27 | 0.0078383 | 0.0019649 | -0.0078365 | -0.0019642 | 1.7957e-06 | 7.2156e-07 | 0.011889 | 0.011889 | 0.011889 | 0.98106 | -0.36307 | 0.98081 | -0.36788 | 3.2662
28 | -0.13608 | -0.034298 | 0.13624 | 0.034398 | 0.00015942 | 0.00010001 | 0.20646 | 0.20646 | 0.20646 | 0.98109 | -0.36239 | 0.98235 | -0.33793 | 14.1802
29 | 0.0078365 | 0.0019642 | -0.0078355 | -0.0019638 | 9.5534e-07 | 3.8398e-07 | 0.011889 | 0.011889 | 0.011889 | 0.98081 | -0.36788 | 0.98068 | -0.37044 | 3.2662
30 | -0.13815 | -0.034875 | 0.13826 | 0.034949 | 0.00011639 | 7.3054e-05 | 0.20935 | 0.20935 | 0.20935 | 0.98235 | -0.33793 | 0.98325 | -0.32036 | 14.3782
31 | 0.0054128 | 0.0013564 | -0.0054117 | -0.0013563 | 1.0873e-06 | 1.4881e-07 | 0.0081948 | 0.0081949 | 0.0081949 | 0.98286 | -0.32767 | 0.98264 | -0.33189 | 2.2514
32 | 0.112 | 0.028434 | -0.11185 | -0.02834 | 0.00015042 | 9.3447e-05 | 0.1697 | 0.1697 | 0.1697 | 0.98286 | -0.32767 | 0.98142 | -0.35562 | 11.6551
33 | -0.11741 | -0.02979 | 0.11746 | 0.029816 | 4.1224e-05 | 2.5678e-05 | 0.17789 | 0.17789 | 0.17789 | 0.98286 | -0.32767 | 0.98324 | -0.32037 | 12.2178
34 | 0.0054117 | 0.0013563 | -0.0054114 | -0.0013562 | 2.7825e-07 | 3.8126e-08 | 0.0081949 | 0.008195 | 0.008195 | 0.98264 | -0.33189 | 0.98259 | -0.33297 | 2.2514
35 | -0.12287 | -0.031172 | 0.12293 | 0.031209 | 5.9067e-05 | 3.6879e-05 | 0.18608 | 0.18608 | 0.18608 | 0.98324 | -0.32037 | 0.98375 | -0.31038 | 12.7803
36 | 0.044492 | 0.011154 | -0.044484 | -0.011149 | 8.1549e-06 | 5.161e-06 | 0.068089 | 0.068089 | 0.068089 | 0.97234 | -0.53356 | 0.97214 | -0.53741 | 18.7058
37 | 0.010929 | 0.0027395 | -0.010927 | -0.0027386 | 1.6714e-06 | 8.5843e-07 | 0.016448 | 0.016448 | 0.016448 | 0.98872 | -0.21448 | 0.98856 | -0.21769 | 4.5187
38 | 0.17192 | 0.043773 | -0.17156 | -0.043541 | 0.00036624 | 0.00023141 | 0.25899 | 0.25899 | 0.25899 | 0.98872 | -0.21448 | 0.98642 | -0.25875 | 17.7876
39 | 0.20962 | 0.053205 | -0.20925 | -0.05297 | 0.00037055 | 0.00023512 | 0.31571 | 0.31572 | 0.31572 | 0.98872 | -0.21448 | 0.98682 | -0.25129 | 21.6837
40 | -0.39247 | -0.099717 | 0.39274 | 0.099889 | 0.00026887 | 0.00017166 | 0.59115 | 0.59115 | 0.59115 | 0.98872 | -0.21448 | 0.98946 | -0.20026 | 40.6008
41 | 0.16575 | 0.042086 | -0.16554 | -0.041952 | 0.00021338 | 0.00013471 | 0.25023 | 0.25023 | 0.25023 | 0.98642 | -0.25875 | 0.98504 | -0.28554 | 17.1862
42 | 0.0058047 | 0.0014548 | -0.0058041 | -0.0014547 | 5.3172e-07 | 1.0425e-07 | 0.0087563 | 0.0087564 | 0.0087564 | 0.98642 | -0.25875 | 0.98633 | -0.26068 | 2.4056
43 | 0.20925 | 0.05297 | -0.20904 | -0.052839 | 0.00020548 | 0.00013039 | 0.31572 | 0.31572 | 0.31572 | 0.98682 | -0.25129 | 0.98576 | -0.27177 | 21.6838
44 | -0.40935 | -0.10405 | 0.4103 | 0.10466 | 0.00094582 | 0.00060395 | 0.61613 | 0.61613 | 0.61613 | 0.98946 | -0.20026 | 0.99196 | -0.1524 | 42.3167
45 | 0.016613 | 0.0041657 | -0.016606 | -0.0041619 | 6.4291e-06 | 3.762e-06 | 0.024984 | 0.024984 | 0.024984 | 0.98946 | -0.20026 | 0.98905 | -0.20838 | 6.8637
46 | 0.1839 | 0.046483 | -0.18385 | -0.046455 | 4.5174e-05 | 2.8594e-05 | 0.27795 | 0.27795 | 0.27795 | 0.98499 | -0.2867 | 0.98472 | -0.29183 | 19.0901
47 | 0.0091456 | 0.0022923 | -0.0091451 | -0.0022921 | 4.7877e-07 | 2.2129e-07 | 0.013816 | 0.013816 | 0.013816 | 0.98499 | -0.2867 | 0.98493 | -0.2878 | 3.7957
48 | -0.19304 | -0.048776 | 0.19318 | 0.048863 | 0.00013829 | 8.7621e-05 | 0.29177 | 0.29177 | 0.29177 | 0.98499 | -0.2867 | 0.98576 | -0.27177 | 20.039
49 | 0.14506 | 0.036726 | -0.14486 | -0.036601 | 0.00019845 | 0.00012477 | 0.21933 | 0.21933 | 0.21933 | 0.98472 | -0.29183 | 0.98325 | -0.32036 | 15.0637
50 | 0.038795 | 0.0097285 | -0.03879 | -0.0097253 | 5.0871e-06 | 3.2055e-06 | 0.058625 | 0.058625 | 0.058625 | 0.98472 | -0.29183 | 0.98458 | -0.29458 | 16.1059
51 | 0.0091451 | 0.0022921 | -0.0091445 | -0.0022918 | 6.2069e-07 | 2.869e-07 | 0.013816 | 0.013816 | 0.013816 | 0.98493 | -0.2878 | 0.98486 | -0.28923 | 3.7957
52 | 0.009884 | 0.0024779 | -0.0098835 | -0.0024776 | 4.6907e-07 | 2.3068e-07 | 0.015032 | 0.015032 | 0.015032 | 0.97845 | -0.4141 | 0.9784 | -0.41509 | 4.1296
53 | -0.009884 | -0.0024779 | 0.0098873 | 0.0024795 | 3.3172e-06 | 1.6311e-06 | 0.015032 | 0.015031 | 0.015032 | 0.97845 | -0.4141 | 0.97881 | -0.40706 | 4.1296
54 | 0.15296 | 0.038798 | -0.15293 | -0.03878 | 2.8967e-05 | 1.8245e-05 | 0.23123 | 0.23123 | 0.23123 | 0.98504 | -0.28554 | 0.98483 | -0.28948 | 15.8811
55 | 0.012579 | 0.0031539 | -0.012575 | -0.0031516 | 4.2834e-06 | 2.3389e-06 | 0.019003 | 0.019003 | 0.019003 | 0.98504 | -0.28554 | 0.98467 | -0.29269 | 5.2207
56 | 0.14001 | 0.035541 | -0.13998 | -0.03552 | 3.4525e-05 | 2.1678e-05 | 0.21171 | 0.21171 | 0.21171 | 0.98483 | -0.28948 | 0.98457 | -0.29461 | 14.5406
57 | 0.012918 | 0.0032382 | -0.012915 | -0.0032368 | 2.5205e-06 | 1.3887e-06 | 0.019518 | 0.019518 | 0.019518 | 0.98483 | -0.28948 | 0.98462 | -0.29358 | 5.3621
58 | -0.011051 | -0.0027703 | 0.011052 | 0.0027708 | 1.006e-06 | 5.216e-07 | 0.016704 | 0.016704 | 0.016704 | 0.98448 | -0.29649 | 0.98458 | -0.29458 | 4.589
59 | 0.011051 | 0.0027703 | -0.011049 | -0.0027692 | 2.1573e-06 | 1.1186e-06 | 0.016704 | 0.016704 | 0.016704 | 0.98448 | -0.29649 | 0.98427 | -0.30059 | 4.589
60 | 0.01734 | 0.0043475 | -0.017335 | -0.0043448 | 4.6949e-06 | 2.773e-06 | 0.026207 | 0.026207 | 0.026207 | 0.98458 | -0.29458 | 0.98429 | -0.30026 | 7.1997
61 | 0.010398 | 0.002607 | -0.010393 | -0.0026047 | 4.4361e-06 | 2.2302e-06 | 0.015715 | 0.015715 | 0.015715 | 0.98458 | -0.29458 | 0.98412 | -0.30353 | 4.3173
62 | 0.010514 | 0.0026352 | -0.010512 | -0.0026343 | 1.6546e-06 | 8.3702e-07 | 0.015895 | 0.015895 | 0.015895 | 0.98429 | -0.30026 | 0.98412 | -0.30357 | 4.3667
63 | 0.0051979 | 0.0013026 | -0.0051974 | -0.0013026 | 4.3728e-07 | 4.0014e-08 | 0.0078592 | 0.0078593 | 0.0078593 | 0.98412 | -0.30353 | 0.98403 | -0.3053 | 2.1592
64 | 0.0056629 | 0.0014192 | -0.005662 | -0.001419 | 8.8471e-07 | 1.5668e-07 | 0.0085585 | 0.0085587 | 0.0085587 | 0.98457 | -0.29461 | 0.9844 | -0.29789 | 2.3513
65 | 0.13431 | 0.0341 | -0.13428 | -0.034079 | 3.4775e-05 | 2.1799e-05 | 0.20315 | 0.20315 | 0.20315 | 0.98457 | -0.29461 | 0.98429 | -0.29999 | 13.9528
66 | 0.005662 | 0.001419 | -0.0056616 | -0.0014189 | 4.4592e-07 | 7.9029e-08 | 0.0085587 | 0.0085587 | 0.0085587 | 0.9844 | -0.29789 | 0.98432 | -0.29954 | 2.3513
67 | 0.12853 | 0.032638 | -0.12847 | -0.032598 | 6.4232e-05 | 4.0188e-05 | 0.19446 | 0.19446 | 0.19446 | 0.98429 | -0.29999 | 0.98375 | -0.31038 | 13.3561
68 | 0.4295 | 0.11067 | -0.42797 | -0.1097 | 0.0015301 | 0.0009772 | 0.64018 | 0.64018 | 0.64018 | 1 | 0 | 0.99611 | -0.073465 | 43.9681
69 | 0.41563 | 0.1066 | -0.41523 | -0.10635 | 0.00039499 | 0.00025223 | 0.62175 | 0.62175 | 0.62175 | 0.99611 | -0.073465 | 0.99508 | -0.093079 | 42.7024
70 | 0.012337 | 0.0030926 | -0.012335 | -0.0030917 | 1.6378e-06 | 8.8084e-07 | 0.018429 | 0.018429 | 0.018429 | 0.99611 | -0.073465 | 0.99596 | -0.076252 | 5.063
71 | -0.4103 | -0.10466 | 0.41148 | 0.10541 | 0.0011791 | 0.00075293 | 0.61613 | 0.61613 | 0.61613 | 0.99196 | -0.1524 | 0.99508 | -0.093079 | 42.3167
72 | 0.002475 | 0.00061999 | -0.0024749 | -0.00062026 | 1.5402e-07 | -2.7404e-07 | 0.0037422 | 0.0037423 | 0.0037423 | 0.98412 | -0.30357 | 0.98405 | -0.30487 | 1.0281
73 | 0.0077651 | 0.0019464 | -0.0077633 | -0.0019457 | 1.7629e-06 | 6.7386e-07 | 0.011601 | 0.011602 | 0.011602 | 0.99596 | -0.076252 | 0.99572 | -0.081018 | 3.1873
74 | 0.0037564 | 0.00094139 | -0.0037563 | -0.00094143 | 7.2223e-08 | -3.3065e-08 | 0.0056172 | 0.0056173 | 0.0056173 | 0.99508 | -0.093079 | 0.99505 | -0.093483 | 1.5432

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4349 | 0.11161

## res_load
| p_mw | q_mvar
0 | 0.044983 | 0.011274
1 | 0.0058562 | 0.0014677
2 | 0.0071352 | 0.0017883
3 | 0.0027453 | 0.00068803
4 | 0.021227 | 0.0053199
5 | 0.017442 | 0.0043713
6 | 0.01233 | 0.0030901
7 | 0.014421 | 0.0036142
8 | 0.021131 | 0.0052959
9 | 0.021319 | 0.0053431
10 | 0.0078355 | 0.0019638
11 | 0.001904 | 0.00047718
12 | 0.0054119 | 0.0013563
13 | 0.0041626 | 0.0010432
14 | 0.010927 | 0.0027386
15 | 0.015865 | 0.003976
16 | 0.0071129 | 0.0017827
17 | 0.0058041 | 0.0014547
18 | 0.012575 | 0.0031516
19 | 0.011049 | 0.0027692
20 | 0.0068214 | 0.0017096
21 | 0.0051954 | 0.0013021
22 | 0.0091445 | 0.0022918
23 | 0.012915 | 0.0032368
24 | 0.0057474 | 0.0014404
25 | 0.014396 | 0.0036081
26 | 0.0056616 | 0.0014189
27 | 0.003749 | 0.00093958
28 | 0.0065953 | 0.0016529
29 | 0.0054114 | 0.0013562
30 | 0.0055422 | 0.001389
31 | 0.044484 | 0.011149
32 | 0.016606 | 0.0041619
33 | 0.0080373 | 0.0020143
34 | 0.0051974 | 0.0013026
35 | 0.0045699 | 0.0011453
36 | 0.0077633 | 0.0019457
37 | 0.0037563 | 0.00094143
38 | 0.0024749 | 0.00062026

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1