## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_151-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_151-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_151-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_151-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_151-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_151-13_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_151-13_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_151-13_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_151-13_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_151-13_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_151-13_0_3_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_151-13_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_151-13_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_151-13_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_151-13_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_151-13_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_151-13_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_151-13_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_151-13_0_3_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_151-13_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_151-13_0_3_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_151-13_0_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_151-13_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_151-13_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_151-13_0_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_151-13_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_151-13_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_151-13_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_151-13_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_151-13_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_151-13_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_151-13_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_151-13_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_151-13_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_151-13_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_151-13_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_151-13_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_151-13_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_151-13_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_151-13_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_151-13_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_151-13_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_151-13_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_151-13_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_151-13_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_151-13_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_151-13_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_151-13_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_151-13_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_151-13_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_151-13_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_151-13_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_151-13_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_151-13_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_151-13_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_151-13_0_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_151-13_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_151-13_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_151-13_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_151-13_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_151-13_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_151-13_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_151-13_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_151-13_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_151-13_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_151-13_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_151-13_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_151-13_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_151-13_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_151-13_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_151-13_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_151-13_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_151-13_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_151-13_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_MV_492_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_151-13_0_3_load_0 | 0 | 0.0057828 | 0.0014493 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_151-13_0_3_load_1 | 1 | 0.0017055 | 0.00042745 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_151-13_0_3_load_2 | 2 | 0.0017963 | 0.00045019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_151-13_0_3_load_16 | 5 | 0.0041382 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_151-13_0_3_load_15 | 7 | 0.0063051 | 0.0015802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_151-13_0_3_load_11 | 9 | 0.0044468 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_151-13_0_3_load_55 | 10 | 0.0029273 | 0.00073366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_151-13_0_3_load_51 | 11 | 0.0011963 | 0.00029983 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_151-13_0_3_load_5 | 12 | 0.001141 | 0.00028595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_151-13_0_3_load_6 | 13 | 0.0016736 | 0.00041944 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_151-13_0_3_load_9 | 16 | 0.0019915 | 0.00049913 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_151-13_0_3_load_64 | 18 | 0.002436 | 0.00061051 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_151-13_0_3_load_28 | 19 | 0.0019339 | 0.00048468 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_151-13_0_3_load_65 | 20 | 0.0028534 | 0.00071514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_151-13_0_3_load_62 | 21 | 0.005676 | 0.0014225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_151-13_0_3_load_26 | 22 | 0.0035272 | 0.00088399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_151-13_0_3_load_67 | 23 | 0.0054324 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_151-13_0_3_load_74 | 25 | 0.0031013 | 0.00077726 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_151-13_0_3_load_14 | 26 | 0.0032554 | 0.00081587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_151-13_0_3_load_54 | 28 | 0.0010861 | 0.0002722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_151-13_0_3_load_50 | 29 | 0.00084872 | 0.00021271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_151-13_0_3_load_56 | 30 | 0.0023766 | 0.00059564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_151-13_0_3_load_17 | 32 | 0.0048511 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_151-13_0_3_load_18 | 33 | 0.0025409 | 0.00063681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_151-13_0_3_load_20 | 35 | 0.0024303 | 0.00060908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_151-13_0_3_load_21 | 36 | 0.0059761 | 0.0014978 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_151-13_0_3_load_23 | 37 | 0.004651 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_151-13_0_3_load_35 | 38 | 0.0031102 | 0.0007795 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_151-13_0_3_load_24 | 39 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_151-13_0_3_load_34 | 40 | 0.0031111 | 0.00077971 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_151-13_0_3_load_25 | 41 | 0.0042384 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_151-13_0_3_load_27 | 43 | 0.0062418 | 0.0015643 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_151-13_0_3_load_29 | 44 | 0.0042937 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_151-13_0_3_load_30 | 45 | 0.003109 | 0.00077919 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_151-13_0_3_load_31 | 46 | 0.0031112 | 0.00077973 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_151-13_0_3_load_32 | 47 | 0.0031446 | 0.0007881 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_151-13_0_3_load_37 | 49 | 0.0071355 | 0.0017883 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_151-13_0_3_load_40 | 51 | 0.003025 | 0.00075813 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_151-13_0_3_load_41 | 54 | 0.0022775 | 0.0005708 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_151-13_0_3_load_72 | 55 | 0.0074555 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_151-13_0_3_load_73 | 56 | 0.0014284 | 0.000358 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_151-13_0_3_load_43 | 57 | 0.0043187 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_151-13_0_3_load_44 | 58 | 0.0036344 | 0.00091087 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_151-13_0_3_load_47 | 61 | 0.0066957 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_151-13_0_3_load_48 | 62 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_151-13_0_3_load_53 | 64 | 0.0075215 | 0.0018851 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_151-13_0_3_load_58 | 65 | 0.0063656 | 0.0015954 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_151-13_0_3_load_61 | 66 | 0.0092606 | 0.0023209 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_151-13_0_3_load_60 | 67 | 0.012377 | 0.0031019 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_151-13_0_3_load_52 | 68 | 0.0007822 | 0.00019604 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_151-13_0_3_load_59 | 69 | 0.0045289 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_151-13_0_3_load_71 | 70 | 0.0075935 | 0.0019031 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_151-13_0_3_load_68 | 71 | 0.0047121 | 0.001181 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_151-13_0_3_load_69 | 72 | 0.0059261 | 0.0014852 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_151-13_0_3_load_70 | 73 | 0.0074385 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_151-13_0_3_line_0 |  | 0 | 1 | 0.064884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_151-13_0_3_line_1 |  | 0 | 2 | 0.031304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_151-13_0_3_line_2 |  | 1 | 3 | 0.037028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_151-13_0_3_line_3 |  | 2 | 4 | 0.037194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_151-13_0_3_line_4 |  | 3 | 5 | 0.029827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_151-13_0_3_line_5 |  | 4 | 6 | 0.014247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_151-13_0_3_line_6 |  | 5 | 7 | 0.029395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_151-13_0_3_line_7 |  | 6 | 8 | 0.025693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_151-13_0_3_line_8 |  | 6 | 9 | 0.027405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_151-13_0_3_line_9 |  | 8 | 10 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_151-13_0_3_line_10 |  | 8 | 11 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_151-13_0_3_line_11 |  | 9 | 25 | 0.024748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_151-13_0_3_line_12 |  | 10 | 28 | 0.047869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_151-13_0_3_line_13 |  | 11 | 29 | 0.0025797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_151-13_0_3_line_14 |  | 12 | 13 | 0.0021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_151-13_0_3_line_15 |  | 12 | 14 | 0.055653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_151-13_0_3_line_16 |  | 13 | 15 | 0.031298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_151-13_0_3_line_17 |  | 14 | 16 | 0.041679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_151-13_0_3_line_18 |  | 14 | 17 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_151-13_0_3_line_19 |  | 15 | 18 | 0.041114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_151-13_0_3_line_20 |  | 16 | 19 | 0.0099184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_151-13_0_3_line_21 |  | 17 | 20 | 0.038099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_151-13_0_3_line_22 |  | 17 | 21 | 0.026467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_151-13_0_3_line_23 |  | 19 | 22 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_151-13_0_3_line_24 |  | 20 | 23 | 0.0062667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_151-13_0_3_line_25 |  | 21 | 24 | 0.038329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_151-13_0_3_line_26 |  | 22 | 43 | 0.01935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_151-13_0_3_line_27 |  | 23 | 71 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_151-13_0_3_line_28 |  | 24 | 42 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_151-13_0_3_line_29 |  | 24 | 41 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_151-13_0_3_line_30 |  | 26 | 27 | 0.043691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_151-13_0_3_line_31 |  | 27 | 30 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_151-13_0_3_line_32 |  | 27 | 31 | 0.03605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_151-13_0_3_line_33 |  | 28 | 64 | 0.0014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_151-13_0_3_line_34 |  | 29 | 68 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_151-13_0_3_line_35 |  | 30 | 52 | 0.031707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_151-13_0_3_line_36 |  | 31 | 38 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_151-13_0_3_line_37 |  | 31 | 34 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_151-13_0_3_line_38 |  | 32 | 33 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_151-13_0_3_line_39 |  | 32 | 34 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_151-13_0_3_line_40 |  | 33 | 35 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_151-13_0_3_line_41 |  | 34 | 36 | 0.019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_151-13_0_3_line_42 |  | 36 | 37 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_151-13_0_3_line_43 |  | 37 | 39 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_151-13_0_3_line_44 |  | 38 | 40 | 0.019922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_151-13_0_3_line_45 |  | 39 | 41 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_151-13_0_3_line_46 |  | 40 | 47 | 0.023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_151-13_0_3_line_47 |  | 42 | 56 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_151-13_0_3_line_48 |  | 43 | 44 | 0.0024697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_151-13_0_3_line_49 |  | 45 | 46 | 0.030657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_151-13_0_3_line_50 |  | 45 | 47 | 0.0075657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_151-13_0_3_line_51 |  | 46 | 48 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_151-13_0_3_line_52 |  | 48 | 49 | 0.012657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_151-13_0_3_line_53 |  | 49 | 50 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_151-13_0_3_line_54 |  | 50 | 53 | 0.0329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_151-13_0_3_line_55 |  | 50 | 54 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_151-13_0_3_line_56 |  | 50 | 51 | 0.053228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_151-13_0_3_line_57 |  | 52 | 69 | 0.026217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_151-13_0_3_line_58 |  | 52 | 65 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_151-13_0_3_line_59 |  | 53 | 55 | 0.02352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_151-13_0_3_line_60 |  | 56 | 70 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_151-13_0_3_line_61 |  | 57 | 58 | 0.0031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_151-13_0_3_line_62 |  | 58 | 59 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_151-13_0_3_line_63 |  | 59 | 63 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_151-13_0_3_line_64 |  | 60 | 61 | 0.0042358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_151-13_0_3_line_65 |  | 60 | 62 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_151-13_0_3_line_66 |  | 61 | 64 | 0.041023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_151-13_0_3_line_67 |  | 62 | 65 | 0.0033062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_151-13_0_3_line_68 |  | 63 | 66 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_151-13_0_3_line_69 |  | 66 | 67 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_151-13_0_3_line_70 |  | 67 | 69 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_151-13_0_3_line_71 |  | 70 | 73 | 0.0064108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_151-13_0_3_line_72 |  | 72 | 73 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_151-13_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 74 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2688205.942 | 1239305.8455 | 2688257.3222 | 1239266.2216
1 | 2688281.7074 | 1239246.6617 | 2688279.2015 | 1239249.3486 | 2688257.3222 | 1239266.2216
2 | 2688205.942 | 1239305.8455 | 2688197.9685 | 1239290.1267 | 2688191.2956 | 1239271.8922
3 | 2688299.3356 | 1239213.8888 | 2688281.7074 | 1239246.6617
4 | 2688191.2956 | 1239271.8922 | 2688193.2992 | 1239264.8279 | 2688204.5941 | 1239245.3868
5 | 2688299.3356 | 1239213.8888 | 2688303.2233 | 1239200.1811
6 | 2688219.361 | 1239219.9696 | 2688204.5941 | 1239245.3868
7 | 2688303.2233 | 1239200.1811 | 2688326.2747 | 1239211.6656
8 | 2688303.2233 | 1239200.1811 | 2688280.162 | 1239185.3753
9 | 2688326.2747 | 1239211.6656 | 2688339.5146 | 1239201.4903
10 | 2688326.2747 | 1239211.6656 | 2688346.7678 | 1239222.5323
11 | 2688280.162 | 1239185.3753 | 2688263.5714 | 1239203.7387
12 | 2688339.5146 | 1239201.4903 | 2688377.4691 | 1239172.3209
13 | 2688349.0469 | 1239223.7408 | 2688346.7678 | 1239222.5323
14 | 2688212.5915 | 1238932.6837 | 2688210.417 | 1238932.4739
15 | 2688263.6123 | 1238949.7438 | 2688260.6801 | 1238947.5208 | 2688252.9167 | 1238947.6611 | 2688247.9331 | 1238947.0532 | 2688236.8533 | 1238944.3533 | 2688233.8417 | 1238942.8853 | 2688230.7324 | 1238940.871 | 2688221.4537 | 1238933.5389 | 2688212.5915 | 1238932.6837
16 | 2688179.2662 | 1238929.4427 | 2688185.9056 | 1238930.1085 | 2688210.417 | 1238932.4739
17 | 2688263.6123 | 1238949.7438 | 2688257.5874 | 1238958.1159 | 2688252.6358 | 1238969.0947 | 2688246.9802 | 1238984.1771 | 2688245.5668 | 1238987.0625
18 | 2688263.6123 | 1238949.7438 | 2688267.2953 | 1238946.2515 | 2688269.5143 | 1238944.5499 | 2688272.0043 | 1238943.4528
19 | 2688179.2662 | 1238929.4427 | 2688179.6371 | 1238927.3912 | 2688190.0829 | 1238889.7857
20 | 2688240.9675 | 1238995.8371 | 2688242.2759 | 1238993.7809 | 2688245.5668 | 1238987.0625
21 | 2688272.0043 | 1238943.4528 | 2688273.1892 | 1238937.5328 | 2688276.1432 | 1238931.6836 | 2688284.9164 | 1238908.4082 | 2688285.0838 | 1238907.7961
22 | 2688272.0043 | 1238943.4528 | 2688275.1104 | 1238943.1432 | 2688278.4079 | 1238943.6926 | 2688284.1919 | 1238946.4361 | 2688296.0907 | 1238953.0238
23 | 2688240.9675 | 1238995.8371 | 2688236.4513 | 1239002.9343 | 2688234.5576 | 1239005.0386
24 | 2688285.0838 | 1238907.7961 | 2688286.7367 | 1238901.7513
25 | 2688323.2496 | 1238978.34 | 2688322.7016 | 1238975.5187 | 2688321.252 | 1238971.7722 | 2688311.7439 | 1238963.6027 | 2688298.0195 | 1238954.0917 | 2688296.0907 | 1238953.0238
26 | 2688221.6134 | 1239019.422 | 2688234.5576 | 1239005.0386
27 | 2688286.7367 | 1238901.7513 | 2688289.6891 | 1238890.9538
28 | 2688333.3543 | 1238967.7715 | 2688326.7228 | 1238974.7113 | 2688323.2496 | 1238978.34
29 | 2688323.2496 | 1238978.34 | 2688320.9298 | 1238983.2536 | 2688316.4339 | 1238990.7927
30 | 2688330.9576 | 1239103.8903 | 2688326.8045 | 1239112.0344 | 2688322.0662 | 1239123.9282 | 2688318.2145 | 1239136.2242 | 2688316.1924 | 1239144.8511
31 | 2688330.9576 | 1239103.8903 | 2688338.5614 | 1239107.8507 | 2688358.6927 | 1239108.9886
32 | 2688330.9576 | 1239103.8903 | 2688296.7749 | 1239092.1401
33 | 2688378.6436 | 1239171.4183 | 2688377.4691 | 1239172.3209
34 | 2688370.5467 | 1239235.1413 | 2688349.0469 | 1239223.7408
35 | 2688390.34 | 1239110.3674 | 2688387.7037 | 1239110.6284 | 2688358.6927 | 1239108.9886
36 | 2688296.7749 | 1239092.1401 | 2688305.7794 | 1239076.1842
37 | 2688269.8569 | 1239082.7331 | 2688296.7749 | 1239092.1401
38 | 2688258.7532 | 1239079.5105 | 2688250.1911 | 1239077.0256 | 2688238.3705 | 1239078.6508
39 | 2688269.8569 | 1239082.7331 | 2688258.7532 | 1239079.5105
40 | 2688238.3705 | 1239078.6508 | 2688225.177 | 1239080.4648
41 | 2688269.8569 | 1239082.7331 | 2688275.531 | 1239063.5823
42 | 2688275.531 | 1239063.5823 | 2688278.0044 | 1239055.2342 | 2688284.8383 | 1239043.7746
43 | 2688299.2995 | 1239019.525 | 2688284.8383 | 1239043.7746
44 | 2688305.7794 | 1239076.1842 | 2688315.5709 | 1239058.834
45 | 2688299.2995 | 1239019.525 | 2688316.4339 | 1238990.7927
46 | 2688315.5709 | 1239058.834 | 2688323.3149 | 1239045.1117 | 2688329.3768 | 1239040.354
47 | 2688333.3543 | 1238967.7715 | 2688328.1543 | 1238959.3436 | 2688332.0626 | 1238949.037
48 | 2688221.6134 | 1239019.422 | 2688220.2374 | 1239020.951 | 2688219.9243 | 1239021.2198
49 | 2688333.1682 | 1239033.8068 | 2688348.5312 | 1239007.2774
50 | 2688333.1682 | 1239033.8068 | 2688329.3768 | 1239040.354 | 2688329.3768 | 1239040.354
51 | 2688356.3492 | 1238993.7769 | 2688348.5312 | 1239007.2774
52 | 2688356.3492 | 1238993.7769 | 2688360.0301 | 1238998.0459 | 2688366.2015 | 1239001.3931
53 | 2688385.1156 | 1239009.6276 | 2688381.4712 | 1239007.4829 | 2688367.8717 | 1239002.299 | 2688366.2015 | 1239001.3931
54 | 2688385.1156 | 1239009.6276 | 2688398.4462 | 1238979.5375
55 | 2688385.1156 | 1239009.6276 | 2688389.3514 | 1239011.681 | 2688389.8148 | 1239014.0897 | 2688392.7292 | 1239013.9552 | 2688395.9745 | 1239015.4713 | 2688402.8397 | 1239018.8277
56 | 2688385.1156 | 1239009.6276 | 2688358.0062 | 1239055.4347
57 | 2688390.34 | 1239110.3674 | 2688401.1372 | 1239106.1139 | 2688409.9718 | 1239094.4744
58 | 2688390.34 | 1239110.3674 | 2688403.0237 | 1239127.9205
59 | 2688398.4462 | 1238979.5375 | 2688376.2633 | 1238971.7214
60 | 2688343.1427 | 1238930.8205 | 2688332.5399 | 1238947.7783 | 2688332.0626 | 1238949.037
61 | 2688450.4615 | 1239114.4571 | 2688452.7547 | 1239112.3603
62 | 2688469.3286 | 1239105.2176 | 2688466.9556 | 1239105.5714 | 2688463.9737 | 1239106.183 | 2688461.418 | 1239107.1234 | 2688457.3815 | 1239108.9646 | 2688453.1685 | 1239111.9818 | 2688452.7547 | 1239112.3603
63 | 2688469.3286 | 1239105.2176 | 2688468.2034 | 1239101.0312 | 2688464.737 | 1239088.4704
64 | 2688414.4869 | 1239143.7845 | 2688411.1357 | 1239146.3751
65 | 2688414.4869 | 1239143.7845 | 2688404.9602 | 1239130.6003
66 | 2688378.6436 | 1239171.4183 | 2688395.2104 | 1239158.6861 | 2688411.1357 | 1239146.3751
67 | 2688403.0237 | 1239127.9205 | 2688404.9602 | 1239130.6003
68 | 2688464.737 | 1239088.4704 | 2688461.2085 | 1239086.6721 | 2688455.1989 | 1239082.8465 | 2688452.5954 | 1239082.1162
69 | 2688452.5954 | 1239082.1162 | 2688447.2441 | 1239080.6153 | 2688436.9779 | 1239078.1606 | 2688425.1799 | 1239074.4378 | 2688425.1799 | 1239074.4378
70 | 2688409.9718 | 1239094.4744 | 2688425.1799 | 1239074.4378
71 | 2688343.1427 | 1238930.8205 | 2688346.5414 | 1238925.3847
72 | 2688352.7496 | 1238915.4554 | 2688346.5414 | 1238925.3847

## bus_geodata
| x | y | coords
0 | 2688257.3222 | 1239266.2216
1 | 2688205.942 | 1239305.8455
2 | 2688281.7074 | 1239246.6617
3 | 2688191.2956 | 1239271.8922
4 | 2688299.3356 | 1239213.8888
5 | 2688204.5941 | 1239245.3868
6 | 2688303.2233 | 1239200.1811
7 | 2688219.361 | 1239219.9696
8 | 2688326.2747 | 1239211.6656
9 | 2688280.162 | 1239185.3753
10 | 2688339.5146 | 1239201.4903
11 | 2688346.7678 | 1239222.5323
12 | 2688212.5915 | 1238932.6837
13 | 2688210.417 | 1238932.4739
14 | 2688263.6123 | 1238949.7438
15 | 2688179.2662 | 1238929.4427
16 | 2688245.5668 | 1238987.0625
17 | 2688272.0043 | 1238943.4528
18 | 2688190.0829 | 1238889.7857
19 | 2688240.9675 | 1238995.8371
20 | 2688285.0838 | 1238907.7961
21 | 2688296.0907 | 1238953.0238
22 | 2688234.5576 | 1239005.0386
23 | 2688286.7367 | 1238901.7513
24 | 2688323.2496 | 1238978.34
25 | 2688263.5714 | 1239203.7387
26 | 2688316.1924 | 1239144.8511
27 | 2688330.9576 | 1239103.8903
28 | 2688377.4691 | 1239172.3209
29 | 2688349.0469 | 1239223.7408
30 | 2688358.6927 | 1239108.9886
31 | 2688296.7749 | 1239092.1401
32 | 2688258.7532 | 1239079.5105
33 | 2688238.3705 | 1239078.6508
34 | 2688269.8569 | 1239082.7331
35 | 2688225.177 | 1239080.4648
36 | 2688275.531 | 1239063.5823
37 | 2688284.8383 | 1239043.7746
38 | 2688305.7794 | 1239076.1842
39 | 2688299.2995 | 1239019.525
40 | 2688315.5709 | 1239058.834
41 | 2688316.4339 | 1238990.7927
42 | 2688333.3543 | 1238967.7715
43 | 2688221.6134 | 1239019.422
44 | 2688219.9243 | 1239021.2198
45 | 2688333.1682 | 1239033.8068
46 | 2688348.5312 | 1239007.2774
47 | 2688329.3768 | 1239040.354
48 | 2688356.3493 | 1238993.7769
49 | 2688366.2015 | 1239001.3931
50 | 2688385.1156 | 1239009.6276
51 | 2688358.0062 | 1239055.4347
52 | 2688390.34 | 1239110.3674
53 | 2688398.4462 | 1238979.5375
54 | 2688402.8397 | 1239018.8277
55 | 2688376.2633 | 1238971.7214
56 | 2688332.0626 | 1238949.037
57 | 2688450.4615 | 1239114.4571
58 | 2688452.7547 | 1239112.3603
59 | 2688469.3286 | 1239105.2176
60 | 2688414.4869 | 1239143.7845
61 | 2688411.1357 | 1239146.3751
62 | 2688404.9602 | 1239130.6003
63 | 2688464.737 | 1239088.4704
64 | 2688378.6436 | 1239171.4183
65 | 2688403.0237 | 1239127.9205
66 | 2688452.5954 | 1239082.1162
67 | 2688425.1799 | 1239074.4378
68 | 2688370.5467 | 1239235.1413
69 | 2688409.9718 | 1239094.4744
70 | 2688343.1427 | 1238930.8205
71 | 2688289.6891 | 1238890.9538
72 | 2688352.7496 | 1238915.4554
73 | 2688346.5414 | 1238925.3847
74 | 2688296.7749 | 1239092.1401

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98013 | -0.38304 | 0.0057828 | 0.0014493
1 | 0.9794 | -0.39736 | 0.0017055 | 0.00042745
2 | 0.98065 | -0.37286 | 0.0017963 | 0.00045019
3 | 0.97904 | -0.40439 | 0 | 0
4 | 0.98133 | -0.35957 | 0 | 0
5 | 0.97875 | -0.41006 | 0.0041382 | 0.0010371
6 | 0.98159 | -0.35448 | 0 | 0
7 | 0.97858 | -0.41343 | 0.0063051 | 0.0015802
8 | 0.98223 | -0.34181 | 0 | 0
9 | 0.9814 | -0.35822 | 0.0044468 | 0.0011145
10 | 0.9827 | -0.33272 | 0.0029273 | 0.00073366
11 | 0.98217 | -0.34299 | 0.0011963 | 0.00029983
12 | 0.98318 | -0.32369 | 0.001141 | 0.00028595
13 | 0.98317 | -0.32385 | 0.0016736 | 0.00041944
14 | 0.98345 | -0.31842 | 0 | 0
15 | 0.9831 | -0.32523 | 0 | 0
16 | 0.98276 | -0.33194 | 0.0019915 | 0.00049913
17 | 0.98367 | -0.31399 | 0 | 0
18 | 0.98301 | -0.32704 | 0.002436 | 0.00061051
19 | 0.98261 | -0.33481 | 0.0019339 | 0.00048468
20 | 0.98322 | -0.32292 | 0.0028534 | 0.00071514
21 | 0.98456 | -0.29673 | 0.005676 | 0.0014225
22 | 0.98246 | -0.33766 | 0.0035272 | 0.00088399
23 | 0.98316 | -0.32407 | 0.0054324 | 0.0013615
24 | 0.98604 | -0.26788 | 0 | 0
25 | 0.98132 | -0.35961 | 0.0031013 | 0.00077726
26 | 0.99316 | -0.13035 | 0.0032554 | 0.00081587
27 | 0.99329 | -0.12784 | 0 | 0
28 | 0.98416 | -0.30422 | 0.0010861 | 0.0002722
29 | 0.98217 | -0.34307 | 0.00084872 | 0.00021271
30 | 0.99076 | -0.1764 | 0.0023766 | 0.00059564
31 | 0.99657 | -0.065199 | 0 | 0
32 | 0.99399 | -0.11456 | 0.0048511 | 0.0012158
33 | 0.99389 | -0.11639 | 0.0025409 | 0.00063681
34 | 0.99409 | -0.11256 | 0 | 0
35 | 0.99386 | -0.11696 | 0.0024303 | 0.00060908
36 | 0.99253 | -0.14249 | 0.0059761 | 0.0014978
37 | 0.99093 | -0.1733 | 0.004651 | 0.0011656
38 | 0.9982 | -0.034168 | 0.0031102 | 0.0007795
39 | 0.989 | -0.21056 | 0.0056462 | 0.0014151
40 | 1 | 0 | -0.23001 | -0.058262
41 | 0.98688 | -0.25151 | 0.0042384 | 0.0010622
42 | 0.98574 | -0.27374 | 0 | 0
43 | 0.98228 | -0.34134 | 0.0062418 | 0.0015643
44 | 0.98227 | -0.34154 | 0.0042937 | 0.0010761
45 | 0.9992 | -0.015425 | 0.003109 | 0.00077919
46 | 0.99856 | -0.027748 | 0.0031112 | 0.00077973
47 | 0.99938 | -0.011975 | 0.0031446 | 0.0007881
48 | 0.99827 | -0.033176 | 0 | 0
49 | 0.99805 | -0.037582 | 0.0071355 | 0.0017883
50 | 0.99781 | -0.042202 | 0 | 0
51 | 0.99766 | -0.045022 | 0.003025 | 0.00075813
52 | 0.98804 | -0.22893 | 0 | 0
53 | 0.99758 | -0.046498 | 0 | 0
54 | 0.99776 | -0.043052 | 0.0022775 | 0.0005708
55 | 0.99742 | -0.04957 | 0.0074555 | 0.0018685
56 | 0.98531 | -0.28215 | 0.0014284 | 0.000358
57 | 0.98571 | -0.27433 | 0.0043187 | 0.0010824
58 | 0.98572 | -0.27408 | 0.0036344 | 0.00091087
59 | 0.98586 | -0.27147 | 0 | 0
60 | 0.98598 | -0.26894 | 0 | 0
61 | 0.98579 | -0.27261 | 0.0066957 | 0.0016781
62 | 0.9867 | -0.25485 | 0.004205 | 0.0010539
63 | 0.98598 | -0.26899 | 0 | 0
64 | 0.98421 | -0.30331 | 0.0075215 | 0.0018851
65 | 0.98686 | -0.25174 | 0.0063656 | 0.0015954
66 | 0.98608 | -0.26703 | 0.0092606 | 0.0023209
67 | 0.98653 | -0.25824 | 0.012377 | 0.0031019
68 | 0.98215 | -0.34341 | 0.0007822 | 0.00019604
69 | 0.98722 | -0.24492 | 0.0045289 | 0.0011351
70 | 0.9849 | -0.29019 | 0.0075935 | 0.0019031
71 | 0.98311 | -0.32502 | 0.0047121 | 0.001181
72 | 0.98475 | -0.29297 | 0.0059261 | 0.0014852
73 | 0.98482 | -0.29173 | 0.0074385 | 0.0018643
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012165 | 0.0030528 | -0.012156 | -0.0030483 | 8.3001e-06 | 4.495e-06 | 0.018469 | 0.01847 | 0.01847 | 0.98013 | -0.38304 | 0.9794 | -0.39736 | 5.0741
1 | -0.017947 | -0.0045021 | 0.017956 | 0.0045073 | 8.7161e-06 | 5.1836e-06 | 0.027249 | 0.027249 | 0.027249 | 0.98013 | -0.38304 | 0.98065 | -0.37286 | 7.4859
2 | 0.010451 | 0.0026208 | -0.010447 | -0.0026191 | 3.5009e-06 | 1.7748e-06 | 0.015878 | 0.015879 | 0.015879 | 0.9794 | -0.39736 | 0.97904 | -0.40439 | 4.3623
3 | -0.019752 | -0.0049574 | 0.019765 | 0.004965 | 1.2531e-05 | 7.5505e-06 | 0.029974 | 0.029974 | 0.029974 | 0.98065 | -0.37286 | 0.98133 | -0.35957 | 8.2347
4 | 0.010447 | 0.0026191 | -0.010444 | -0.0026176 | 2.8201e-06 | 1.4299e-06 | 0.015879 | 0.015879 | 0.015879 | 0.97904 | -0.40439 | 0.97875 | -0.41006 | 4.3623
5 | -0.019765 | -0.004965 | 0.01977 | 0.0049679 | 4.8001e-06 | 2.892e-06 | 0.029974 | 0.029974 | 0.029974 | 0.98133 | -0.35957 | 0.98159 | -0.35448 | 8.2347
6 | 0.0063061 | 0.0015805 | -0.0063051 | -0.0015802 | 1.0133e-06 | 2.7911e-07 | 0.0095874 | 0.0095875 | 0.0095875 | 0.97875 | -0.41006 | 0.97858 | -0.41343 | 2.6339
7 | -0.027319 | -0.00686 | 0.027336 | 0.0068702 | 1.6529e-05 | 1.0253e-05 | 0.041419 | 0.041419 | 0.041419 | 0.98159 | -0.35448 | 0.98223 | -0.34181 | 11.3788
8 | 0.0075497 | 0.0018921 | -0.0075483 | -0.0018916 | 1.3461e-06 | 5.1516e-07 | 0.011445 | 0.011445 | 0.011445 | 0.98159 | -0.35448 | 0.9814 | -0.35822 | 3.1442
9 | -0.030163 | -0.0075783 | 0.030176 | 0.0075864 | 1.3079e-05 | 8.159e-06 | 0.045702 | 0.045702 | 0.045702 | 0.98223 | -0.34181 | 0.9827 | -0.33272 | 12.5555
10 | 0.0028274 | 0.00070806 | -0.0028273 | -0.00070825 | 1.5958e-07 | -1.9145e-07 | 0.0042832 | 0.0042833 | 0.0042833 | 0.98223 | -0.34181 | 0.98217 | -0.34299 | 1.1767
11 | 0.0031015 | 0.00077708 | -0.0031013 | -0.00077726 | 2.0523e-07 | -1.8134e-07 | 0.0047025 | 0.0047026 | 0.0047026 | 0.9814 | -0.35822 | 0.98132 | -0.35961 | 1.2919
12 | -0.033104 | -0.0083201 | 0.033149 | 0.0083484 | 4.5118e-05 | 2.8268e-05 | 0.050134 | 0.050134 | 0.050134 | 0.9827 | -0.33272 | 0.98416 | -0.30422 | 13.7732
13 | 0.0016309 | 0.00040842 | -0.0016309 | -0.00040845 | 5.9058e-09 | -2.8868e-08 | 0.0024708 | 0.0024708 | 0.0024708 | 0.98217 | -0.34299 | 0.98217 | -0.34307 | 0.67879
14 | 0.00411 | 0.0010293 | -0.0041099 | -0.0010293 | 3.1694e-08 | -7.4193e-09 | 0.00622 | 0.00622 | 0.00622 | 0.98318 | -0.32369 | 0.98317 | -0.32385 | 1.7088
15 | -0.0052509 | -0.0013152 | 0.0052522 | 0.0013154 | 1.318e-06 | 1.3752e-07 | 0.0079469 | 0.0079466 | 0.0079469 | 0.98318 | -0.32369 | 0.98345 | -0.31842 | 2.1832
16 | 0.0024363 | 0.00060983 | -0.0024362 | -0.00061013 | 1.5956e-07 | -2.9475e-07 | 0.0036871 | 0.0036872 | 0.0036872 | 0.98317 | -0.32385 | 0.9831 | -0.32523 | 1.013
17 | 0.018006 | 0.0045184 | -0.017994 | -0.0045115 | 1.1602e-05 | 6.8971e-06 | 0.027246 | 0.027246 | 0.027246 | 0.98345 | -0.31842 | 0.98276 | -0.33194 | 7.4851
18 | -0.023258 | -0.0058338 | 0.023263 | 0.0058368 | 4.9105e-06 | 3.0085e-06 | 0.035192 | 0.035192 | 0.035192 | 0.98345 | -0.31842 | 0.98367 | -0.31399 | 9.6682
19 | 0.0024362 | 0.00061013 | -0.002436 | -0.00061051 | 2.0963e-07 | -3.871e-07 | 0.0036872 | 0.0036874 | 0.0036874 | 0.9831 | -0.32523 | 0.98301 | -0.32704 | 1.013
20 | 0.016002 | 0.0040124 | -0.016 | -0.0040111 | 2.1837e-06 | 1.2719e-06 | 0.02423 | 0.02423 | 0.02423 | 0.98276 | -0.33194 | 0.98261 | -0.33481 | 6.6567
21 | 0.013004 | 0.0032609 | -0.012999 | -0.0032579 | 5.5291e-06 | 3.0552e-06 | 0.019672 | 0.019672 | 0.019672 | 0.98367 | -0.31399 | 0.98322 | -0.32292 | 5.4045
22 | -0.036267 | -0.0090977 | 0.036297 | 0.0091165 | 2.9875e-05 | 1.8784e-05 | 0.054864 | 0.054864 | 0.054864 | 0.98367 | -0.31399 | 0.98456 | -0.29673 | 15.0727
23 | 0.014066 | 0.0035264 | -0.014064 | -0.0035253 | 1.9132e-06 | 1.082e-06 | 0.021302 | 0.021302 | 0.021302 | 0.98261 | -0.33481 | 0.98246 | -0.33766 | 5.8522
24 | 0.010145 | 0.0025427 | -0.010145 | -0.0025424 | 5.54e-07 | 2.7509e-07 | 0.015354 | 0.015354 | 0.015354 | 0.98322 | -0.32292 | 0.98316 | -0.32407 | 4.2181
25 | -0.041973 | -0.010539 | 0.042031 | 0.010576 | 5.7853e-05 | 3.6538e-05 | 0.063443 | 0.063443 | 0.063443 | 0.98456 | -0.29673 | 0.98604 | -0.26788 | 17.4293
26 | 0.010537 | 0.0026414 | -0.010535 | -0.0026404 | 1.8483e-06 | 9.3792e-07 | 0.01596 | 0.01596 | 0.01596 | 0.98246 | -0.33766 | 0.98228 | -0.34134 | 4.3846
27 | 0.0047123 | 0.001181 | -0.0047121 | -0.001181 | 2.1352e-07 | -5.2891e-09 | 0.0071321 | 0.0071321 | 0.0071321 | 0.98316 | -0.32407 | 0.98311 | -0.32502 | 1.9594
28 | 0.022411 | 0.0056254 | -0.022405 | -0.0056216 | 6.2648e-06 | 3.8233e-06 | 0.033823 | 0.033823 | 0.033823 | 0.98604 | -0.26788 | 0.98574 | -0.27374 | 9.2921
29 | -0.064442 | -0.016201 | 0.064492 | 0.016233 | 5.0419e-05 | 3.2087e-05 | 0.097266 | 0.097266 | 0.097266 | 0.98604 | -0.26788 | 0.98688 | -0.25151 | 26.7214
30 | -0.0032554 | -0.00081587 | 0.0032558 | 0.00081556 | 3.8975e-07 | -3.1601e-07 | 0.0048774 | 0.0048772 | 0.0048774 | 0.99316 | -0.13035 | 0.99329 | -0.12784 | 1.3399
31 | 0.096209 | 0.024418 | -0.095985 | -0.024275 | 0.00022419 | 0.00014311 | 0.14424 | 0.14424 | 0.14424 | 0.99329 | -0.12784 | 0.99076 | -0.1764 | 39.6257
32 | -0.099465 | -0.025234 | 0.099766 | 0.025426 | 0.00030059 | 0.00019191 | 0.14911 | 0.14911 | 0.14911 | 0.99329 | -0.12784 | 0.99657 | -0.065199 | 40.9655
33 | -0.034235 | -0.0086206 | 0.034236 | 0.0086215 | 1.4891e-06 | 9.3421e-07 | 0.051776 | 0.051776 | 0.051776 | 0.98416 | -0.30422 | 0.98421 | -0.30331 | 14.2243
34 | 0.00078221 | 0.00019574 | -0.0007822 | -0.00019604 | 1.2815e-08 | -2.9977e-07 | 0.001185 | 0.0011851 | 0.0011851 | 0.98217 | -0.34307 | 0.98215 | -0.34341 | 0.32557
35 | 0.093609 | 0.023679 | -0.093373 | -0.023529 | 0.00023527 | 0.00015017 | 0.14067 | 0.14067 | 0.14067 | 0.99076 | -0.1764 | 0.98804 | -0.22893 | 38.6451
36 | -0.19532 | -0.049724 | 0.19561 | 0.049911 | 0.00029273 | 0.00018687 | 0.29191 | 0.29191 | 0.29191 | 0.99657 | -0.065199 | 0.9982 | -0.034168 | 40.098
37 | 0.095553 | 0.024298 | -0.095336 | -0.02416 | 0.00021747 | 0.00013881 | 0.1428 | 0.1428 | 0.1428 | 0.99657 | -0.065199 | 0.99409 | -0.11256 | 39.2306
38 | 0.0049717 | 0.0012458 | -0.0049712 | -0.0012458 | 4.3304e-07 | 6.9526e-09 | 0.0074426 | 0.0074427 | 0.0074427 | 0.99399 | -0.11456 | 0.99389 | -0.11639 | 2.0447
39 | -0.0098228 | -0.0024616 | 0.0098237 | 0.002462 | 9.3751e-07 | 4.5013e-07 | 0.014705 | 0.014705 | 0.014705 | 0.99399 | -0.11456 | 0.99409 | -0.11256 | 4.0398
40 | 0.0024303 | 0.00060895 | -0.0024303 | -0.00060908 | 6.6119e-08 | -1.3027e-07 | 0.0036386 | 0.0036386 | 0.0036386 | 0.99389 | -0.11639 | 0.99386 | -0.11696 | 0.99962
41 | 0.085512 | 0.021698 | -0.085389 | -0.021619 | 0.0001229 | 7.8397e-05 | 0.12809 | 0.12809 | 0.12809 | 0.99409 | -0.11256 | 0.99253 | -0.14249 | 35.1908
42 | 0.079413 | 0.020122 | -0.079296 | -0.020047 | 0.00011736 | 7.4824e-05 | 0.11914 | 0.11914 | 0.11914 | 0.99253 | -0.14249 | 0.99093 | -0.1733 | 32.7295
43 | 0.074645 | 0.018881 | -0.074512 | -0.018796 | 0.00013317 | 8.4868e-05 | 0.11215 | 0.11215 | 0.11215 | 0.99093 | -0.1733 | 0.989 | -0.21056 | 30.8108
44 | -0.19872 | -0.050691 | 0.19905 | 0.0509 | 0.0003285 | 0.00020972 | 0.29655 | 0.29655 | 0.29655 | 0.9982 | -0.034168 | 1 | 0 | 40.7349
45 | 0.068866 | 0.017381 | -0.068731 | -0.017295 | 0.00013479 | 8.5839e-05 | 0.10366 | 0.10366 | 0.10366 | 0.989 | -0.21056 | 0.98688 | -0.25151 | 28.4771
46 | 0.029308 | 0.0073615 | -0.029291 | -0.0073511 | 1.6738e-05 | 1.0405e-05 | 0.043617 | 0.043617 | 0.043617 | 1 | 0 | 0.99938 | -0.011975 | 11.9826
47 | 0.022405 | 0.0056216 | -0.022396 | -0.0056161 | 8.9774e-06 | 5.4789e-06 | 0.033823 | 0.033824 | 0.033824 | 0.98574 | -0.27374 | 0.98531 | -0.28215 | 9.2922
48 | 0.0042937 | 0.0010761 | -0.0042937 | -0.0010761 | 3.9181e-08 | -6.1856e-09 | 0.0065044 | 0.0065044 | 0.0065044 | 0.98228 | -0.34134 | 0.98227 | -0.34154 | 1.7869
49 | 0.023033 | 0.0057812 | -0.02302 | -0.0057729 | 1.3529e-05 | 8.2573e-06 | 0.034305 | 0.034305 | 0.034305 | 0.9992 | -0.015425 | 0.99856 | -0.027748 | 9.4244
50 | -0.026143 | -0.0065604 | 0.026147 | 0.006563 | 4.3008e-06 | 2.6534e-06 | 0.038935 | 0.038935 | 0.038935 | 0.9992 | -0.015425 | 0.99938 | -0.011975 | 10.6963
51 | 0.019909 | 0.0049932 | -0.019904 | -0.0049901 | 5.1496e-06 | 3.0917e-06 | 0.029669 | 0.029669 | 0.029669 | 0.99856 | -0.027748 | 0.99827 | -0.033176 | 8.1508
52 | 0.019904 | 0.0049901 | -0.019899 | -0.0049876 | 4.1781e-06 | 2.5085e-06 | 0.029669 | 0.029669 | 0.029669 | 0.99827 | -0.033176 | 0.99805 | -0.037582 | 8.1508
53 | 0.012764 | 0.0031993 | -0.012761 | -0.0031977 | 2.8089e-06 | 1.5275e-06 | 0.01903 | 0.01903 | 0.01903 | 0.99805 | -0.037582 | 0.99781 | -0.042202 | 5.2281
54 | 0.0074581 | 0.0018695 | -0.0074566 | -0.0018689 | 1.5262e-06 | 5.4716e-07 | 0.011122 | 0.011122 | 0.011122 | 0.99781 | -0.042202 | 0.99758 | -0.046498 | 3.0556
55 | 0.0022776 | 0.00057058 | -0.0022775 | -0.0005708 | 9.2155e-08 | -2.1924e-07 | 0.0033965 | 0.0033966 | 0.0033966 | 0.99781 | -0.042202 | 0.99776 | -0.043052 | 0.93313
56 | 0.0030254 | 0.00075769 | -0.003025 | -0.00075813 | 4.0629e-07 | -4.3512e-07 | 0.0045115 | 0.0045118 | 0.0045118 | 0.99781 | -0.042202 | 0.99766 | -0.045022 | 1.2395
57 | 0.034174 | 0.0085845 | -0.034148 | -0.0085681 | 2.605e-05 | 1.6336e-05 | 0.051474 | 0.051474 | 0.051474 | 0.98804 | -0.22893 | 0.98722 | -0.24492 | 14.1413
58 | 0.059199 | 0.014945 | -0.059135 | -0.014904 | 6.4608e-05 | 4.1072e-05 | 0.089194 | 0.089194 | 0.089194 | 0.98804 | -0.22893 | 0.98686 | -0.25174 | 24.5039
59 | 0.0074566 | 0.0018689 | -0.0074555 | -0.0018685 | 1.0911e-06 | 3.9129e-07 | 0.011122 | 0.011123 | 0.011123 | 0.99758 | -0.046498 | 0.99742 | -0.04957 | 3.0556
60 | 0.020967 | 0.0052581 | -0.020959 | -0.0052532 | 8.0267e-06 | 4.8653e-06 | 0.031666 | 0.031666 | 0.031666 | 0.98531 | -0.28215 | 0.9849 | -0.29019 | 8.6996
61 | -0.0043187 | -0.0010824 | 0.0043188 | 0.0010824 | 4.9527e-08 | -7.9119e-09 | 0.0065195 | 0.0065195 | 0.0065195 | 0.98571 | -0.27433 | 0.98572 | -0.27408 | 1.7911
62 | -0.0079532 | -0.0019932 | 0.0079542 | 0.0019936 | 9.9163e-07 | 4.0075e-07 | 0.012006 | 0.012006 | 0.012006 | 0.98572 | -0.27408 | 0.98586 | -0.27147 | 3.2983
63 | -0.0079542 | -0.0019936 | 0.0079551 | 0.001994 | 9.3855e-07 | 3.7924e-07 | 0.012006 | 0.012006 | 0.012006 | 0.98586 | -0.27147 | 0.98598 | -0.26899 | 3.2983
64 | 0.048523 | 0.012229 | -0.048515 | -0.012223 | 8.5239e-06 | 5.4013e-06 | 0.073255 | 0.073255 | 0.073255 | 0.98598 | -0.26894 | 0.98579 | -0.27261 | 20.1249
65 | -0.048523 | -0.012229 | 0.048556 | 0.01225 | 3.2733e-05 | 2.0741e-05 | 0.073255 | 0.073255 | 0.073255 | 0.98598 | -0.26894 | 0.9867 | -0.25485 | 20.1249
66 | 0.041819 | 0.010545 | -0.041758 | -0.010507 | 6.1345e-05 | 3.8739e-05 | 0.063148 | 0.063148 | 0.063148 | 0.98579 | -0.27261 | 0.98421 | -0.30331 | 17.3483
67 | -0.052761 | -0.013303 | 0.052769 | 0.013308 | 7.855e-06 | 4.985e-06 | 0.079596 | 0.079596 | 0.079596 | 0.9867 | -0.25485 | 0.98686 | -0.25174 | 21.8671
68 | -0.0079551 | -0.001994 | 0.0079559 | 0.0019943 | 7.4527e-07 | 3.011e-07 | 0.012006 | 0.012006 | 0.012006 | 0.98598 | -0.26899 | 0.98608 | -0.26703 | 3.2983
69 | -0.017216 | -0.0043153 | 0.017224 | 0.0043195 | 7.2098e-06 | 4.2507e-06 | 0.02598 | 0.02598 | 0.02598 | 0.98608 | -0.26703 | 0.98653 | -0.25824 | 7.1374
70 | -0.0296 | -0.0074214 | 0.029619 | 0.0074331 | 1.8804e-05 | 1.1713e-05 | 0.044648 | 0.044648 | 0.044648 | 0.98653 | -0.25824 | 0.98722 | -0.24492 | 12.2659
71 | 0.013366 | 0.0033501 | -0.013365 | -0.0033496 | 9.8036e-07 | 5.4585e-07 | 0.020194 | 0.020194 | 0.020194 | 0.9849 | -0.29019 | 0.98482 | -0.29173 | 5.5478
72 | -0.0059261 | -0.0014852 | 0.0059265 | 0.0014853 | 3.5213e-07 | 7.6368e-08 | 0.0089547 | 0.0089546 | 0.0089547 | 0.98475 | -0.29297 | 0.98482 | -0.29173 | 2.4601

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23312 | 0.059042

## res_load
| p_mw | q_mvar
0 | 0.0057828 | 0.0014493
1 | 0.0017055 | 0.00042745
2 | 0.0017963 | 0.00045019
3 | 0.0041382 | 0.0010371
4 | 0.0063051 | 0.0015802
5 | 0.0044468 | 0.0011145
6 | 0.0029273 | 0.00073366
7 | 0.0011963 | 0.00029983
8 | 0.001141 | 0.00028595
9 | 0.0016736 | 0.00041944
10 | 0.0019915 | 0.00049913
11 | 0.002436 | 0.00061051
12 | 0.0019339 | 0.00048468
13 | 0.0028534 | 0.00071514
14 | 0.005676 | 0.0014225
15 | 0.0035272 | 0.00088399
16 | 0.0054324 | 0.0013615
17 | 0.0031013 | 0.00077726
18 | 0.0032554 | 0.00081587
19 | 0.0010861 | 0.0002722
20 | 0.00084872 | 0.00021271
21 | 0.0023766 | 0.00059564
22 | 0.0048511 | 0.0012158
23 | 0.0025409 | 0.00063681
24 | 0.0024303 | 0.00060908
25 | 0.0059761 | 0.0014978
26 | 0.004651 | 0.0011656
27 | 0.0031102 | 0.0007795
28 | 0.0056462 | 0.0014151
29 | 0.0031111 | 0.00077971
30 | 0.0042384 | 0.0010622
31 | 0.0062418 | 0.0015643
32 | 0.0042937 | 0.0010761
33 | 0.003109 | 0.00077919
34 | 0.0031112 | 0.00077973
35 | 0.0031446 | 0.0007881
36 | 0.0071355 | 0.0017883
37 | 0.003025 | 0.00075813
38 | 0.0022775 | 0.0005708
39 | 0.0074555 | 0.0018685
40 | 0.0014284 | 0.000358
41 | 0.0043187 | 0.0010824
42 | 0.0036344 | 0.00091087
43 | 0.0066957 | 0.0016781
44 | 0.004205 | 0.0010539
45 | 0.0075215 | 0.0018851
46 | 0.0063656 | 0.0015954
47 | 0.0092606 | 0.0023209
48 | 0.012377 | 0.0031019
49 | 0.0007822 | 0.00019604
50 | 0.0045289 | 0.0011351
51 | 0.0075935 | 0.0019031
52 | 0.0047121 | 0.001181
53 | 0.0059261 | 0.0014852
54 | 0.0074385 | 0.0018643

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1