## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_151-3_1_3_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_151-3_1_3_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_151-3_1_3_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_151-3_1_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_151-3_1_3_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_151-3_1_3_node_103 | 0.4 | n |  | TRUE
6 | bus_LV_151-3_1_3_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_151-3_1_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_151-3_1_3_node_117 | 0.4 | n |  | TRUE
9 | bus_LV_151-3_1_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_151-3_1_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_151-3_1_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_151-3_1_3_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_151-3_1_3_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_151-3_1_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_151-3_1_3_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_151-3_1_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_151-3_1_3_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_151-3_1_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_151-3_1_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_151-3_1_3_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_151-3_1_3_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_151-3_1_3_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_151-3_1_3_node_113 | 0.4 | n |  | TRUE
24 | bus_LV_151-3_1_3_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_151-3_1_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_151-3_1_3_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_151-3_1_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_151-3_1_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_151-3_1_3_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_151-3_1_3_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_151-3_1_3_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_151-3_1_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_151-3_1_3_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_151-3_1_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_151-3_1_3_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_151-3_1_3_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_151-3_1_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_151-3_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_151-3_1_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_151-3_1_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_151-3_1_3_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_151-3_1_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_151-3_1_3_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_151-3_1_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_151-3_1_3_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_151-3_1_3_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_151-3_1_3_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_151-3_1_3_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_151-3_1_3_node_114 | 0.4 | n |  | TRUE
50 | bus_MV_492_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_151-3_1_3_load_41 | 2 | 0.0029917 | 0.00074978 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_151-3_1_3_load_42 | 3 | 0.0051407 | 0.0012884 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_151-3_1_3_load_74 | 4 | 0.001237 | 0.00031003 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_151-3_1_3_load_103 | 5 | 0.0015514 | 0.00038881 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_151-3_1_3_load_45 | 7 | 0.0096298 | 0.0024134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_151-3_1_3_load_55 | 9 | 0.0063244 | 0.0015851 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_151-3_1_3_load_56 | 10 | 0.0038316 | 0.0009603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_151-3_1_3_load_57 | 11 | 0.0033233 | 0.00083291 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_151-3_1_3_load_60 | 13 | 0.023867 | 0.0059816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_151-3_1_3_load_59 | 14 | 0.0028062 | 0.00070331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_151-3_1_3_load_71 | 15 | 0.013977 | 0.0035031 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_151-3_1_3_load_61 | 16 | 0.0087839 | 0.0022015 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_151-3_1_3_load_98 | 20 | 0.010155 | 0.0025451 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_151-3_1_3_load_66 | 22 | 0.0094193 | 0.0023607 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_151-3_1_3_load_113 | 23 | 0.0051384 | 0.0012878 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_151-3_1_3_load_67 | 24 | 0.0093714 | 0.0023487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_151-3_1_3_load_72 | 27 | 0.0028008 | 0.00070194 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_151-3_1_3_load_73 | 28 | 0.0012045 | 0.00030187 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_151-3_1_3_load_75 | 29 | 0.010626 | 0.0026631 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_151-3_1_3_load_76 | 30 | 0.013346 | 0.0033448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_151-3_1_3_load_78 | 32 | 0.003683 | 0.00092304 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_151-3_1_3_load_79 | 33 | 0.0063819 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_151-3_1_3_load_80 | 34 | 0.0067238 | 0.0016851 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_151-3_1_3_load_86 | 37 | 0.0022338 | 0.00055984 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_151-3_1_3_load_81 | 38 | 0.0070644 | 0.0017705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_151-3_1_3_load_84 | 41 | 0.016615 | 0.004164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_151-3_1_3_load_87 | 42 | 0.01346 | 0.0033734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_151-3_1_3_load_93 | 43 | 0.008949 | 0.0022428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_151-3_1_3_load_94 | 44 | 0.0073565 | 0.0018437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_151-3_1_3_load_97 | 45 | 0.038793 | 0.0097225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_151-3_1_3_load_101 | 46 | 0.0085418 | 0.0021408 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_151-3_1_3_load_102 | 47 | 0.0066011 | 0.0016544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_151-3_1_3_load_115 | 48 | 0.0051671 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_151-3_1_3_load_114 | 49 | 0.011527 | 0.0028889 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_151-3_1_3_line_0 |  | 0 | 1 | 0.054582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_151-3_1_3_line_1 |  | 0 | 2 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_151-3_1_3_line_2 |  | 0 | 3 | 0.022986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_151-3_1_3_line_3 |  | 1 | 4 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_151-3_1_3_line_4 |  | 1 | 5 | 0.039587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_151-3_1_3_line_5 |  | 3 | 6 | 0.034819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_151-3_1_3_line_6 |  | 4 | 28 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_151-3_1_3_line_7 |  | 5 | 47 | 0.0072836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_151-3_1_3_line_8 |  | 6 | 13 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_151-3_1_3_line_9 |  | 6 | 10 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_151-3_1_3_line_10 |  | 7 | 8 | 0.0062099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_151-3_1_3_line_11 |  | 8 | 45 | 0.014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_151-3_1_3_line_12 |  | 9 | 10 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_151-3_1_3_line_13 |  | 9 | 11 | 0.0086781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_151-3_1_3_line_14 |  | 11 | 12 | 0.043542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_151-3_1_3_line_15 |  | 12 | 15 | 0.0067208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_151-3_1_3_line_16 |  | 12 | 21 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_151-3_1_3_line_17 |  | 14 | 15 | 0.04356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_151-3_1_3_line_18 |  | 16 | 17 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_151-3_1_3_line_19 |  | 17 | 18 | 0.028007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_151-3_1_3_line_20 |  | 18 | 19 | 0.008581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_151-3_1_3_line_21 |  | 18 | 20 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_151-3_1_3_line_22 |  | 19 | 23 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_151-3_1_3_line_23 |  | 21 | 22 | 0.0082827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_151-3_1_3_line_24 |  | 22 | 24 | 0.0017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_151-3_1_3_line_25 |  | 23 | 25 | 0.0031902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_151-3_1_3_line_26 |  | 24 | 25 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_151-3_1_3_line_27 |  | 25 | 26 | 0.021653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_151-3_1_3_line_28 |  | 26 | 45 | 0.029084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_151-3_1_3_line_29 |  | 26 | 43 | 0.040091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_151-3_1_3_line_30 |  | 27 | 28 | 0.033266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_151-3_1_3_line_31 |  | 29 | 30 | 0.033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_151-3_1_3_line_32 |  | 29 | 31 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_151-3_1_3_line_33 |  | 30 | 32 | 0.00069256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_151-3_1_3_line_34 |  | 31 | 33 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_151-3_1_3_line_35 |  | 31 | 34 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_151-3_1_3_line_36 |  | 32 | 35 | 0.0046903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_151-3_1_3_line_37 |  | 33 | 36 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_151-3_1_3_line_38 |  | 34 | 37 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_151-3_1_3_line_39 |  | 35 | 48 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_151-3_1_3_line_40 |  | 36 | 46 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_151-3_1_3_line_41 |  | 36 | 44 | 0.0099741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_151-3_1_3_line_42 |  | 37 | 40 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_151-3_1_3_line_43 |  | 38 | 39 | 0.0011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_151-3_1_3_line_44 |  | 38 | 40 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_151-3_1_3_line_45 |  | 39 | 41 | 0.037855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_151-3_1_3_line_46 |  | 40 | 42 | 0.043615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_151-3_1_3_line_47 |  | 43 | 44 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_151-3_1_3_line_48 |  | 48 | 49 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_151-3_1_3_trafo_95 | 0.63 MVA 20/0.4 kV | 50 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687183.6996 | 1240209.5941 | 2687190.9598 | 1240211.6689 | 2687220.6197 | 1240225.181 | 2687234.9825 | 1240227.6938
1 | 2687183.6996 | 1240209.5941 | 2687177.21 | 1240208.0866 | 2687169.5435 | 1240204.8383
2 | 2687183.6996 | 1240209.5941 | 2687191.0124 | 1240187.8019
3 | 2687234.9825 | 1240227.6938 | 2687239.4371 | 1240218.2634
4 | 2687234.9825 | 1240227.6938 | 2687274.5472 | 1240229.0317
5 | 2687198.9338 | 1240154.8781 | 2687200.51 | 1240157.7588 | 2687199.4945 | 1240162.5252 | 2687191.0124 | 1240187.8019
6 | 2687248.8652 | 1240199.0697 | 2687242.8275 | 1240211.0859 | 2687239.4371 | 1240218.2634
7 | 2687281.607 | 1240230.8234 | 2687274.5472 | 1240229.0317 | 2687274.5472 | 1240229.0317
8 | 2687198.9338 | 1240154.8781 | 2687195.9914 | 1240155.9356 | 2687193.237 | 1240159.1197 | 2687186.0238 | 1240173.2394
9 | 2687198.9338 | 1240154.8781 | 2687204.1154 | 1240143.513
10 | 2687137.0651 | 1240118.0208 | 2687134.0855 | 1240123.4692
11 | 2687137.0651 | 1240118.0208 | 2687144.0856 | 1240105.1843
12 | 2687214.6178 | 1240120.4785 | 2687205.1076 | 1240141.3367 | 2687204.1154 | 1240143.513
13 | 2687214.6178 | 1240120.4785 | 2687215.8141 | 1240117.8546 | 2687218.5876 | 1240112.7671
14 | 2687197.4728 | 1240074.6873 | 2687218.5876 | 1240112.7671
15 | 2687197.4728 | 1240074.6873 | 2687200.4357 | 1240068.6548
16 | 2687197.4728 | 1240074.6873 | 2687187.6802 | 1240069.94
17 | 2687200.4357 | 1240068.6548 | 2687243.9303 | 1240066.2786
18 | 2687195.6597 | 1240040.5803 | 2687197.491 | 1240038.4501 | 2687199.415 | 1240035.1649 | 2687201.5881 | 1240030.3985
19 | 2687168.9059 | 1240035.1169 | 2687176.8655 | 1240038.5029 | 2687184.8911 | 1240041.0003 | 2687190.8924 | 1240041.7779 | 2687193.5511 | 1240041.5056 | 2687195.6597 | 1240040.5803
20 | 2687167.7373 | 1240043.617 | 2687168.9059 | 1240035.1169
21 | 2687168.9059 | 1240035.1169 | 2687170.5868 | 1240014.3047
22 | 2687167.7373 | 1240043.617 | 2687166.6516 | 1240053.1635 | 2687166.0743 | 1240056.2055
23 | 2687187.6802 | 1240069.94 | 2687180.2276 | 1240066.3261
24 | 2687180.2276 | 1240066.3261 | 2687178.6305 | 1240065.5516
25 | 2687165.4794 | 1240059.3397 | 2687166.0743 | 1240056.2055
26 | 2687165.4794 | 1240059.3397 | 2687175.0194 | 1240063.7719 | 2687178.6236 | 1240065.5483 | 2687178.6305 | 1240065.5516
27 | 2687165.4794 | 1240059.3397 | 2687162.5092 | 1240068.4583 | 2687158.0412 | 1240079.6675
28 | 2687158.0412 | 1240079.6675 | 2687144.0856 | 1240105.1843
29 | 2687158.0412 | 1240079.6675 | 2687155.5891 | 1240076.6849 | 2687152.2319 | 1240073.5445 | 2687142.6351 | 1240068.8558 | 2687126.6379 | 1240061.7269 | 2687123.3837 | 1240060.6172
30 | 2687264.5569 | 1240169.7504 | 2687256.5318 | 1240183.8119 | 2687248.8652 | 1240199.0697
31 | 2687050.5617 | 1240051.1199 | 2687040.2093 | 1240083.2751
32 | 2687054.7964 | 1240037.9671 | 2687050.5617 | 1240051.1199
33 | 2687039.997 | 1240083.9343 | 2687040.0098 | 1240083.8948 | 2687040.2093 | 1240083.2751
34 | 2687054.7964 | 1240037.9671 | 2687070.1727 | 1240042.9076
35 | 2687054.7964 | 1240037.9671 | 2687058.3561 | 1240026.8001 | 2687059.0653 | 1240024.5456
36 | 2687038.5596 | 1240088.399 | 2687039.997 | 1240083.9343
37 | 2687092.2916 | 1240050.0146 | 2687070.1727 | 1240042.9076
38 | 2687059.0653 | 1240024.5456 | 2687063.0237 | 1240011.963
39 | 2687038.5596 | 1240088.399 | 2687025.4628 | 1240084.5515
40 | 2687092.2916 | 1240050.0146 | 2687097.8183 | 1240033.4631
41 | 2687092.2916 | 1240050.0146 | 2687101.7319 | 1240053.2338
42 | 2687066.3924 | 1240001.2549 | 2687063.0237 | 1240011.963
43 | 2687073.0598 | 1239980.3486 | 2687072.717 | 1239981.4235
44 | 2687066.3924 | 1240001.2549 | 2687072.717 | 1239981.4235
45 | 2687109.3355 | 1239991.5221 | 2687073.0598 | 1239980.3486
46 | 2687087.2328 | 1240025.7339 | 2687092.1382 | 1240009.9722 | 2687066.3924 | 1240001.2549
47 | 2687123.3837 | 1240060.6172 | 2687101.7319 | 1240053.2338
48 | 2687009.0763 | 1240079.7376 | 2687025.4628 | 1240084.5515

## bus_geodata
| x | y | coords
0 | 2687183.6996 | 1240209.5941
1 | 2687234.9825 | 1240227.6938
2 | 2687169.5435 | 1240204.8383
3 | 2687191.0124 | 1240187.8019
4 | 2687239.4371 | 1240218.2634
5 | 2687274.5472 | 1240229.0317
6 | 2687198.9338 | 1240154.8781
7 | 2687134.0855 | 1240123.4692
8 | 2687137.0651 | 1240118.0208
9 | 2687214.6178 | 1240120.4785
10 | 2687204.1154 | 1240143.513
11 | 2687218.5876 | 1240112.7671
12 | 2687197.4728 | 1240074.6873
13 | 2687186.0238 | 1240173.2394
14 | 2687243.9303 | 1240066.2786
15 | 2687200.4357 | 1240068.6548
16 | 2687201.5881 | 1240030.3985
17 | 2687195.6597 | 1240040.5803
18 | 2687168.9059 | 1240035.1169
19 | 2687167.7373 | 1240043.617
20 | 2687170.5868 | 1240014.3047
21 | 2687187.6802 | 1240069.94
22 | 2687180.2276 | 1240066.3261
23 | 2687166.0743 | 1240056.2055
24 | 2687178.6305 | 1240065.5516
25 | 2687165.4794 | 1240059.3397
26 | 2687158.0412 | 1240079.6675
27 | 2687264.5569 | 1240169.7504
28 | 2687248.8652 | 1240199.0697
29 | 2687050.5617 | 1240051.1199
30 | 2687040.2093 | 1240083.2751
31 | 2687054.7964 | 1240037.9671
32 | 2687039.997 | 1240083.9343
33 | 2687070.1727 | 1240042.9076
34 | 2687059.0653 | 1240024.5456
35 | 2687038.5596 | 1240088.399
36 | 2687092.2916 | 1240050.0146
37 | 2687063.0237 | 1240011.963
38 | 2687072.717 | 1239981.4235
39 | 2687073.0598 | 1239980.3486
40 | 2687066.3924 | 1240001.2549
41 | 2687109.3355 | 1239991.5221
42 | 2687087.2328 | 1240025.7339
43 | 2687123.3837 | 1240060.6172
44 | 2687101.7319 | 1240053.2338
45 | 2687144.0856 | 1240105.1843
46 | 2687097.8183 | 1240033.4631
47 | 2687281.607 | 1240230.8234
48 | 2687025.4628 | 1240084.5515
49 | 2687009.0763 | 1240079.7376
50 | 2687165.4794 | 1240059.3397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98945 | -0.20304 | 0 | 0
1 | 0.98878 | -0.21607 | 0 | 0
2 | 0.98941 | -0.20383 | 0.0029917 | 0.00074978
3 | 0.9898 | -0.19633 | 0.0051407 | 0.0012884
4 | 0.98873 | -0.21704 | 0.001237 | 0.00031003
5 | 0.98849 | -0.22182 | 0.0015514 | 0.00038881
6 | 0.99049 | -0.183 | 0 | 0
7 | 0.99854 | -0.028086 | 0.0096298 | 0.0024134
8 | 0.99859 | -0.027041 | 0 | 0
9 | 0.99215 | -0.15083 | 0.0063244 | 0.0015851
10 | 0.99101 | -0.17293 | 0.0038316 | 0.0009603
11 | 0.99259 | -0.1423 | 0.0033233 | 0.00083291
12 | 0.99494 | -0.097051 | 0 | 0
13 | 0.98998 | -0.19284 | 0.023867 | 0.0059816
14 | 0.99472 | -0.10119 | 0.0028062 | 0.00070331
15 | 0.99483 | -0.099037 | 0.013977 | 0.0035031
16 | 0.9969 | -0.059391 | 0.0087839 | 0.0022015
17 | 0.997 | -0.057565 | 0 | 0
18 | 0.99722 | -0.053252 | 0 | 0
19 | 0.99737 | -0.050404 | 0 | 0
20 | 0.99703 | -0.056969 | 0.010155 | 0.0025451
21 | 0.99569 | -0.082598 | 0 | 0
22 | 0.99626 | -0.071585 | 0.0094193 | 0.0023607
23 | 0.99759 | -0.046188 | 0.0051384 | 0.0012878
24 | 0.9964 | -0.068934 | 0.0093714 | 0.0023487
25 | 0.99766 | -0.044843 | 0 | 0
26 | 1 | 0 | -0.29237 | -0.073666
27 | 0.98857 | -0.22023 | 0.0028008 | 0.00070194
28 | 0.98865 | -0.21857 | 0.0012045 | 0.00030187
29 | 0.98822 | -0.22632 | 0.010626 | 0.0026631
30 | 0.98717 | -0.24667 | 0.013346 | 0.0033448
31 | 0.98878 | -0.21539 | 0 | 0
32 | 0.98716 | -0.24693 | 0.003683 | 0.00092304
33 | 0.99012 | -0.18938 | 0.0063819 | 0.0015995
34 | 0.98818 | -0.22697 | 0.0067238 | 0.0016851
35 | 0.98709 | -0.24833 | 0 | 0
36 | 0.99219 | -0.14947 | 0 | 0
37 | 0.98771 | -0.23625 | 0.0022338 | 0.00055984
38 | 0.98687 | -0.25252 | 0.0070644 | 0.0017705
39 | 0.98685 | -0.25285 | 0 | 0
40 | 0.98732 | -0.2437 | 0 | 0
41 | 0.98628 | -0.26411 | 0.016615 | 0.004164
42 | 0.98678 | -0.2542 | 0.01346 | 0.0033734
43 | 0.99552 | -0.085412 | 0.008949 | 0.0022428
44 | 0.99315 | -0.13088 | 0.0073565 | 0.0018437
45 | 0.99872 | -0.024578 | 0.038793 | 0.0097225
46 | 0.99205 | -0.15211 | 0.0085418 | 0.0021408
47 | 0.98844 | -0.22268 | 0.0066011 | 0.0016544
48 | 0.98688 | -0.25241 | 0.0051671 | 0.001295
49 | 0.9867 | -0.25593 | 0.011527 | 0.0028889
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013406 | 0.0033623 | -0.013398 | -0.0033577 | 8.3208e-06 | 4.6247e-06 | 0.020162 | 0.020162 | 0.020162 | 0.98945 | -0.20304 | 0.98878 | -0.21607 | 5.5391
1 | 0.0029918 | 0.00074966 | -0.0029917 | -0.00074978 | 1.1378e-07 | -1.1969e-07 | 0.0044992 | 0.0044993 | 0.0044993 | 0.98945 | -0.20304 | 0.98941 | -0.20383 | 1.2361
2 | -0.016398 | -0.004112 | 0.016403 | 0.004115 | 5.2425e-06 | 3.0599e-06 | 0.024661 | 0.024661 | 0.024661 | 0.98945 | -0.20304 | 0.9898 | -0.19633 | 6.7751
3 | 0.005243 | 0.0013135 | -0.0052428 | -0.0013135 | 2.4347e-07 | 2.2055e-08 | 0.00789 | 0.0078901 | 0.0078901 | 0.98878 | -0.21607 | 0.98873 | -0.21704 | 2.1676
4 | 0.0081549 | 0.0020442 | -0.0081527 | -0.0020433 | 2.2359e-06 | 9.2338e-07 | 0.012272 | 0.012273 | 0.012273 | 0.98878 | -0.21607 | 0.98849 | -0.22182 | 3.3716
5 | -0.021544 | -0.0054034 | 0.021558 | 0.0054117 | 1.3698e-05 | 8.3189e-06 | 0.03239 | 0.032389 | 0.03239 | 0.9898 | -0.19633 | 0.99049 | -0.183 | 8.8982
6 | 0.0040058 | 0.0010034 | -0.0040055 | -0.0010035 | 2.9145e-07 | -8.7729e-08 | 0.0060284 | 0.0060285 | 0.0060285 | 0.98873 | -0.21704 | 0.98865 | -0.21857 | 1.6562
7 | 0.0066013 | 0.0016545 | -0.0066011 | -0.0016544 | 2.6972e-07 | 7.9258e-08 | 0.0099373 | 0.0099373 | 0.0099373 | 0.98849 | -0.22182 | 0.98844 | -0.22268 | 2.73
8 | 0.023878 | 0.0059885 | -0.023867 | -0.0059816 | 1.1193e-05 | 6.8649e-06 | 0.035874 | 0.035874 | 0.035874 | 0.99049 | -0.183 | 0.98998 | -0.19284 | 9.8554
9 | -0.045436 | -0.0114 | 0.045458 | 0.011414 | 2.1826e-05 | 1.3808e-05 | 0.068263 | 0.068263 | 0.068263 | 0.99049 | -0.183 | 0.99101 | -0.17293 | 18.7536
10 | -0.0096298 | -0.0024134 | 0.0096302 | 0.0024137 | 4.7955e-07 | 2.2567e-07 | 0.01435 | 0.01435 | 0.01435 | 0.99854 | -0.028086 | 0.99859 | -0.027041 | 3.9424
11 | -0.0096302 | -0.0024137 | 0.0096314 | 0.0024142 | 1.1298e-06 | 5.3166e-07 | 0.01435 | 0.01435 | 0.01435 | 0.99859 | -0.027041 | 0.99872 | -0.024578 | 3.9424
12 | 0.049341 | 0.012407 | -0.049289 | -0.012374 | 5.2009e-05 | 3.2959e-05 | 0.074016 | 0.074016 | 0.074016 | 0.99215 | -0.15083 | 0.99101 | -0.17293 | 20.3342
13 | -0.055666 | -0.013992 | 0.055688 | 0.014007 | 2.2691e-05 | 1.441e-05 | 0.083502 | 0.083502 | 0.083502 | 0.99215 | -0.15083 | 0.99259 | -0.1423 | 22.94
14 | -0.059012 | -0.01484 | 0.05914 | 0.014921 | 0.00012784 | 8.1253e-05 | 0.088484 | 0.088483 | 0.088484 | 0.99259 | -0.1423 | 0.99494 | -0.097051 | 24.3087
15 | 0.016786 | 0.0042069 | -0.016784 | -0.004206 | 1.5884e-06 | 9.2928e-07 | 0.025104 | 0.025104 | 0.025104 | 0.99494 | -0.097051 | 0.99483 | -0.099037 | 6.8968
16 | -0.075925 | -0.019128 | 0.075978 | 0.019161 | 5.2525e-05 | 3.3475e-05 | 0.11359 | 0.11359 | 0.11359 | 0.99494 | -0.097051 | 0.99569 | -0.082598 | 31.2054
17 | -0.0028062 | -0.00070331 | 0.0028065 | 0.00070293 | 2.8784e-07 | -3.813e-07 | 0.0041979 | 0.0041977 | 0.0041979 | 0.99472 | -0.10119 | 0.99483 | -0.099037 | 1.1533
18 | -0.0087839 | -0.0022015 | 0.0087847 | 0.0022018 | 7.642e-07 | 3.3451e-07 | 0.013111 | 0.013111 | 0.013111 | 0.9969 | -0.059391 | 0.997 | -0.057565 | 3.602
19 | -0.0087847 | -0.0022018 | 0.0087865 | 0.0022026 | 1.8054e-06 | 7.9015e-07 | 0.013111 | 0.013111 | 0.013111 | 0.997 | -0.057565 | 0.99722 | -0.053252 | 3.602
20 | -0.018943 | -0.0047486 | 0.018946 | 0.0047501 | 2.5712e-06 | 1.5336e-06 | 0.028267 | 0.028267 | 0.028267 | 0.99722 | -0.053252 | 0.99737 | -0.050404 | 7.7657
21 | 0.010157 | 0.002546 | -0.010155 | -0.0025451 | 1.7986e-06 | 8.7874e-07 | 0.015156 | 0.015156 | 0.015156 | 0.99722 | -0.053252 | 0.99703 | -0.056969 | 4.1638
22 | -0.018946 | -0.0047501 | 0.01895 | 0.0047524 | 3.8066e-06 | 2.2704e-06 | 0.028267 | 0.028267 | 0.028267 | 0.99737 | -0.050404 | 0.99759 | -0.046188 | 7.7657
23 | -0.075978 | -0.019161 | 0.076018 | 0.019187 | 4.0074e-05 | 2.554e-05 | 0.11359 | 0.11359 | 0.11359 | 0.99569 | -0.082598 | 0.99626 | -0.071585 | 31.2054
24 | -0.085437 | -0.021548 | 0.085448 | 0.021554 | 1.0846e-05 | 6.9186e-06 | 0.12766 | 0.12766 | 0.12766 | 0.99626 | -0.071585 | 0.9964 | -0.068934 | 35.0704
25 | -0.024088 | -0.0060402 | 0.02409 | 0.0060411 | 1.5446e-06 | 9.4686e-07 | 0.035932 | 0.035932 | 0.035932 | 0.99759 | -0.046188 | 0.99766 | -0.044843 | 9.8713
26 | -0.094819 | -0.023903 | 0.094929 | 0.023973 | 0.00010944 | 6.9855e-05 | 0.14165 | 0.14165 | 0.14165 | 0.9964 | -0.068934 | 0.99766 | -0.044843 | 38.9152
27 | -0.11902 | -0.030014 | 0.11927 | 0.030178 | 0.00025607 | 0.0001636 | 0.17758 | 0.17758 | 0.17758 | 0.99766 | -0.044843 | 1 | 0 | 48.7865
28 | 0.048481 | 0.012173 | -0.048425 | -0.012137 | 5.6773e-05 | 3.5954e-05 | 0.072149 | 0.072149 | 0.072149 | 1 | 0 | 0.99872 | -0.024578 | 19.8212
29 | 0.12296 | 0.031315 | -0.12246 | -0.030993 | 0.0005043 | 0.00032223 | 0.18315 | 0.18315 | 0.18315 | 1 | 0 | 0.99552 | -0.085412 | 50.3158
30 | -0.0028008 | -0.00070194 | 0.002801 | 0.00070165 | 2.217e-07 | -2.8465e-07 | 0.0042158 | 0.0042156 | 0.0042158 | 0.98857 | -0.22023 | 0.98865 | -0.21857 | 1.1582
31 | 0.033762 | 0.0084761 | -0.03373 | -0.0084555 | 3.2746e-05 | 2.0525e-05 | 0.050843 | 0.050843 | 0.050843 | 0.98822 | -0.22632 | 0.98717 | -0.24667 | 13.9679
32 | -0.044388 | -0.011139 | 0.044412 | 0.011154 | 2.3152e-05 | 1.464e-05 | 0.066843 | 0.066843 | 0.066843 | 0.98822 | -0.22632 | 0.98878 | -0.21539 | 18.3636
33 | 0.020384 | 0.0051107 | -0.020383 | -0.0051105 | 2.4519e-07 | 1.4807e-07 | 0.030726 | 0.030726 | 0.030726 | 0.98717 | -0.24667 | 0.98716 | -0.24693 | 8.4412
34 | -0.09059 | -0.022757 | 0.090703 | 0.022829 | 0.0001126 | 7.1854e-05 | 0.13635 | 0.13635 | 0.13635 | 0.98878 | -0.21539 | 0.99012 | -0.18938 | 37.4583
35 | 0.046179 | 0.011604 | -0.046153 | -0.011587 | 2.5515e-05 | 1.6149e-05 | 0.069505 | 0.069505 | 0.069505 | 0.98878 | -0.21539 | 0.98818 | -0.22697 | 19.0948
36 | 0.0167 | 0.0041875 | -0.016699 | -0.0041869 | 1.1147e-06 | 6.5344e-07 | 0.025174 | 0.025174 | 0.025174 | 0.98716 | -0.24693 | 0.98709 | -0.24833 | 6.9161
37 | -0.097085 | -0.024429 | 0.09727 | 0.024547 | 0.00018556 | 0.00011846 | 0.14594 | 0.14594 | 0.14594 | 0.99012 | -0.18938 | 0.99219 | -0.14947 | 40.0932
38 | 0.039429 | 0.0099023 | -0.039412 | -0.0098913 | 1.7441e-05 | 1.0994e-05 | 0.05938 | 0.05938 | 0.05938 | 0.98818 | -0.22697 | 0.98771 | -0.23625 | 16.3133
39 | 0.016699 | 0.0041869 | -0.016696 | -0.004185 | 3.2441e-06 | 1.9018e-06 | 0.025174 | 0.025175 | 0.025175 | 0.98709 | -0.24833 | 0.98688 | -0.25241 | 6.9161
40 | 0.0085429 | 0.0021412 | -0.0085418 | -0.0021408 | 1.0741e-06 | 4.6212e-07 | 0.012812 | 0.012812 | 0.012812 | 0.99219 | -0.14947 | 0.99205 | -0.15211 | 3.5198
41 | -0.10581 | -0.026688 | 0.10591 | 0.026749 | 9.4263e-05 | 6.0199e-05 | 0.15875 | 0.15875 | 0.15875 | 0.99219 | -0.14947 | 0.99315 | -0.13088 | 43.613
42 | 0.037178 | 0.0093315 | -0.037165 | -0.0093232 | 1.3208e-05 | 8.3097e-06 | 0.056015 | 0.056015 | 0.056015 | 0.98771 | -0.23625 | 0.98732 | -0.2437 | 15.3888
43 | 0.016624 | 0.0041694 | -0.016623 | -0.0041692 | 2.6584e-07 | 1.5572e-07 | 0.025067 | 0.025067 | 0.025067 | 0.98687 | -0.25252 | 0.98685 | -0.25285 | 6.8864
44 | -0.023688 | -0.0059399 | 0.023698 | 0.005946 | 9.9586e-06 | 6.1074e-06 | 0.035718 | 0.035718 | 0.035718 | 0.98687 | -0.25252 | 0.98732 | -0.2437 | 9.8127
45 | 0.016623 | 0.0041692 | -0.016615 | -0.004164 | 8.9197e-06 | 5.2252e-06 | 0.025067 | 0.025067 | 0.025067 | 0.98685 | -0.25285 | 0.98628 | -0.26411 | 6.8865
46 | 0.013467 | 0.0033772 | -0.01346 | -0.0033734 | 6.7381e-06 | 3.7549e-06 | 0.020297 | 0.020297 | 0.020297 | 0.98732 | -0.2437 | 0.98678 | -0.2542 | 5.5762
47 | 0.11351 | 0.02875 | -0.11326 | -0.028592 | 0.00024726 | 0.00015795 | 0.16977 | 0.16977 | 0.16977 | 0.99552 | -0.085412 | 0.99315 | -0.13088 | 46.6411
48 | 0.011529 | 0.00289 | -0.011527 | -0.0028889 | 1.9354e-06 | 1.0205e-06 | 0.017384 | 0.017384 | 0.017384 | 0.98688 | -0.25241 | 0.9867 | -0.25593 | 4.7757

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29237 | 0.073666

## res_load
| p_mw | q_mvar
0 | 0.0029917 | 0.00074978
1 | 0.0051407 | 0.0012884
2 | 0.001237 | 0.00031003
3 | 0.0015514 | 0.00038881
4 | 0.0096298 | 0.0024134
5 | 0.0063244 | 0.0015851
6 | 0.0038316 | 0.0009603
7 | 0.0033233 | 0.00083291
8 | 0.023867 | 0.0059816
9 | 0.0028062 | 0.00070331
10 | 0.013977 | 0.0035031
11 | 0.0087839 | 0.0022015
12 | 0.010155 | 0.0025451
13 | 0.0094193 | 0.0023607
14 | 0.0051384 | 0.0012878
15 | 0.0093714 | 0.0023487
16 | 0.0028008 | 0.00070194
17 | 0.0012045 | 0.00030187
18 | 0.010626 | 0.0026631
19 | 0.013346 | 0.0033448
20 | 0.003683 | 0.00092304
21 | 0.0063819 | 0.0015995
22 | 0.0067238 | 0.0016851
23 | 0.0022338 | 0.00055984
24 | 0.0070644 | 0.0017705
25 | 0.016615 | 0.004164
26 | 0.01346 | 0.0033734
27 | 0.008949 | 0.0022428
28 | 0.0073565 | 0.0018437
29 | 0.038793 | 0.0097225
30 | 0.0085418 | 0.0021408
31 | 0.0066011 | 0.0016544
32 | 0.0051671 | 0.001295
33 | 0.011527 | 0.0028889

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1