## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_151-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_151-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_151-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_151-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_151-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_151-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_151-5_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_151-5_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_151-5_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_151-5_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_151-5_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_151-5_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_151-5_0_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_151-5_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_151-5_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_151-5_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_151-5_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_151-5_0_3_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_151-5_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_151-5_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_151-5_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_151-5_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_151-5_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_151-5_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_151-5_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_151-5_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_151-5_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_151-5_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_151-5_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_151-5_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_151-5_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_151-5_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_151-5_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_151-5_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_151-5_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_151-5_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_151-5_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_151-5_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_151-5_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_151-5_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_151-5_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_151-5_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_151-5_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_151-5_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_151-5_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_151-5_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_151-5_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_151-5_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_151-5_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_151-5_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_151-5_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_MV_492_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_151-5_0_3_load_0 | 0 | 0.0023565 | 0.00059059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_151-5_0_3_load_3 | 3 | 0.011584 | 0.0029033 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_151-5_0_3_load_5 | 5 | 0.012617 | 0.0031622 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_151-5_0_3_load_13 | 6 | 0.0048934 | 0.0012264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_151-5_0_3_load_14 | 8 | 0.0027377 | 0.00068613 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_151-5_0_3_load_19 | 9 | 0.0072915 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_151-5_0_3_load_16 | 10 | 0.013242 | 0.0033186 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_151-5_0_3_load_11 | 13 | 0.010113 | 0.0025347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_151-5_0_3_load_23 | 15 | 0.0054635 | 0.0013693 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_151-5_0_3_load_22 | 16 | 0.010876 | 0.0027257 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_151-5_0_3_load_53 | 17 | 0.014178 | 0.0035534 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_151-5_0_3_load_9 | 19 | 0.0046731 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_151-5_0_3_load_10 | 21 | 0.0081478 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_151-5_0_3_load_21 | 22 | 0.028319 | 0.0070975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_151-5_0_3_load_20 | 24 | 0.012899 | 0.0032329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_151-5_0_3_load_30 | 26 | 0.018112 | 0.0045394 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_151-5_0_3_load_24 | 30 | 0.012346 | 0.0030943 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_151-5_0_3_load_25 | 31 | 0.031976 | 0.0080139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_151-5_0_3_load_28 | 32 | 0.01045 | 0.002619 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_151-5_0_3_load_39 | 33 | 0.017009 | 0.0042628 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_151-5_0_3_load_40 | 35 | 0.004383 | 0.0010985 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_151-5_0_3_load_37 | 36 | 0.019289 | 0.0048342 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_151-5_0_3_load_44 | 39 | 0.010997 | 0.0027562 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_151-5_0_3_load_51 | 40 | 0.0018898 | 0.00047363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_151-5_0_3_load_38 | 41 | 0.0034416 | 0.00086255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_151-5_0_3_load_43 | 42 | 0.0051266 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_151-5_0_3_load_41 | 43 | 0.0092611 | 0.0023211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_151-5_0_3_load_45 | 46 | 0.0096142 | 0.0024095 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_151-5_0_3_load_48 | 48 | 0.0085103 | 0.0021329 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_151-5_0_3_load_49 | 49 | 0.0086327 | 0.0021636 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_151-5_0_3_load_54 | 50 | 0.013474 | 0.003377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_151-5_0_3_line_0 |  | 0 | 1 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_151-5_0_3_line_1 |  | 0 | 2 | 0.05818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_151-5_0_3_line_2 |  | 1 | 3 | 0.058061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_151-5_0_3_line_3 |  | 1 | 4 | 0.094142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_151-5_0_3_line_4 |  | 2 | 5 | 0.0048756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_151-5_0_3_line_5 |  | 4 | 6 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_151-5_0_3_line_6 |  | 5 | 7 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_151-5_0_3_line_7 |  | 6 | 8 | 0.014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_151-5_0_3_line_8 |  | 7 | 9 | 0.026324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_151-5_0_3_line_9 |  | 7 | 10 | 0.029505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_151-5_0_3_line_10 |  | 9 | 25 | 0.040666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_151-5_0_3_line_11 |  | 10 | 23 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_151-5_0_3_line_12 |  | 11 | 12 | 0.011935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_151-5_0_3_line_13 |  | 11 | 13 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_151-5_0_3_line_14 |  | 12 | 17 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_151-5_0_3_line_15 |  | 12 | 18 | 0.007252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_151-5_0_3_line_16 |  | 13 | 19 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_151-5_0_3_line_17 |  | 14 | 15 | 0.030462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_151-5_0_3_line_18 |  | 14 | 16 | 0.029133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_151-5_0_3_line_19 |  | 15 | 20 | 0.043692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_151-5_0_3_line_20 |  | 17 | 50 | 0.029954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_151-5_0_3_line_21 |  | 18 | 22 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_151-5_0_3_line_22 |  | 18 | 21 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_151-5_0_3_line_23 |  | 20 | 28 | 0.022739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_151-5_0_3_line_24 |  | 20 | 29 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_151-5_0_3_line_25 |  | 22 | 23 | 0.029326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_151-5_0_3_line_26 |  | 23 | 24 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_151-5_0_3_line_27 |  | 24 | 26 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_151-5_0_3_line_28 |  | 25 | 27 | 0.075085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_151-5_0_3_line_29 |  | 27 | 31 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_151-5_0_3_line_30 |  | 28 | 33 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_151-5_0_3_line_31 |  | 29 | 32 | 0.003204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_151-5_0_3_line_32 |  | 29 | 30 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_151-5_0_3_line_33 |  | 30 | 31 | 0.03117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_151-5_0_3_line_34 |  | 33 | 41 | 0.0051233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_151-5_0_3_line_35 |  | 34 | 35 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_151-5_0_3_line_36 |  | 34 | 36 | 0.054635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_151-5_0_3_line_37 |  | 35 | 40 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_151-5_0_3_line_38 |  | 36 | 41 | 0.0028098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_151-5_0_3_line_39 |  | 37 | 38 | 0.000769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_151-5_0_3_line_40 |  | 37 | 39 | 0.026628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_151-5_0_3_line_41 |  | 38 | 42 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_151-5_0_3_line_42 |  | 38 | 43 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_151-5_0_3_line_43 |  | 40 | 44 | 0.0069196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_151-5_0_3_line_44 |  | 42 | 45 | 0.02679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_151-5_0_3_line_45 |  | 44 | 45 | 0.009667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_151-5_0_3_line_46 |  | 45 | 46 | 0.0078595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_151-5_0_3_line_47 |  | 46 | 47 | 0.0083308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_151-5_0_3_line_48 |  | 47 | 48 | 0.028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_151-5_0_3_line_49 |  | 47 | 49 | 0.0026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_151-5_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 51 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2687267.628 | 1239910.6655 | 2687257.0052 | 1239907.5983
1 | 2687200.9832 | 1239891.9173 | 2687218.0038 | 1239896.3371 | 2687257.0052 | 1239907.5983
2 | 2687267.628 | 1239910.6655 | 2687265.6136 | 1239918.0413 | 2687262.6838 | 1239925.4258 | 2687251.0484 | 1239945.1803 | 2687240.6057 | 1239961.7002
3 | 2687267.628 | 1239910.6655 | 2687277.1056 | 1239894.1595 | 2687279.9975 | 1239889.8656 | 2687286.0293 | 1239881.8929 | 2687292.3438 | 1239890.6921 | 2687302.464 | 1239901.4598 | 2687310.3428 | 1239909.8373 | 2687316.6056 | 1239916.4898 | 2687325.751 | 1239926.6761
4 | 2687200.9832 | 1239891.9173 | 2687196.2636 | 1239890.6935
5 | 2687325.751 | 1239926.6761 | 2687318.8664 | 1239935.5479 | 2687309.8014 | 1239951.2218
6 | 2687170.7542 | 1239884.0789 | 2687196.2636 | 1239890.6935
7 | 2687309.8014 | 1239951.2218 | 2687302.5582 | 1239963.7456
8 | 2687170.7542 | 1239884.0789 | 2687171.9868 | 1239862.4702 | 2687172.2537 | 1239857.7977
9 | 2687170.7542 | 1239884.0789 | 2687171.3167 | 1239913.5786
10 | 2687174.573 | 1239817.1975 | 2687172.2537 | 1239857.7977
11 | 2687171.5317 | 1239924.8532 | 2687171.3167 | 1239913.5786
12 | 2687172.1978 | 1239987.6196 | 2687172.0857 | 1239975.6871
13 | 2687172.1978 | 1239987.6196 | 2687197.3307 | 1239994.9323
14 | 2687172.0857 | 1239975.6871 | 2687159.3325 | 1239975.3214
15 | 2687172.0183 | 1239968.4364 | 2687172.0857 | 1239975.6871
16 | 2687197.3307 | 1239994.9323 | 2687205.2816 | 1239997.2457 | 2687207.9114 | 1239989.1006
17 | 2687073.0598 | 1239980.3486 | 2687074.4311 | 1239976.0656 | 2687083.6422 | 1239951.7897
18 | 2687073.0598 | 1239980.3486 | 2687100.9023 | 1239988.9246
19 | 2687099.9855 | 1239911.2712 | 2687085.2726 | 1239947.4928 | 2687083.6422 | 1239951.7897
20 | 2687137.0446 | 1239962.3409 | 2687143.4558 | 1239974.8663 | 2687159.3325 | 1239975.3214
21 | 2687172.0183 | 1239968.4364 | 2687171.8828 | 1239954.1764
22 | 2687172.0183 | 1239968.4364 | 2687192.5596 | 1239974.7487
23 | 2687109.1853 | 1239890.4689 | 2687103.1958 | 1239903.824 | 2687099.9855 | 1239911.2712
24 | 2687099.9855 | 1239911.2712 | 2687107.3363 | 1239913.3806 | 2687115.3048 | 1239915.6658
25 | 2687171.5317 | 1239924.8532 | 2687171.6737 | 1239932.1717 | 2687171.8828 | 1239954.1764
26 | 2687171.5317 | 1239924.8532 | 2687187.9309 | 1239930.0772
27 | 2687199.2751 | 1239946.3873 | 2687202.1431 | 1239937.5341 | 2687199.1597 | 1239933.6541 | 2687187.9309 | 1239930.0772
28 | 2687131.1403 | 1239859.146 | 2687138.7947 | 1239843.6805 | 2687147.4869 | 1239826.5623 | 2687154.6856 | 1239812.2576 | 2687155.5533 | 1239810.8582 | 2687160.6095 | 1239810.5989 | 2687165.8577 | 1239812.1993 | 2687168.3254 | 1239815.1488 | 2687174.573 | 1239817.1975
29 | 2687131.1403 | 1239859.146 | 2687138.7179 | 1239862.304 | 2687135.5068 | 1239873.7893
30 | 2687109.1853 | 1239890.4689 | 2687095.7974 | 1239885.3688 | 2687094.7127 | 1239883.0714
31 | 2687118.4007 | 1239916.5229 | 2687115.3048 | 1239915.6658
32 | 2687115.3048 | 1239915.6658 | 2687122.4024 | 1239901.9529
33 | 2687122.4024 | 1239901.9529 | 2687133.7766 | 1239879.9776 | 2687135.5068 | 1239873.7893
34 | 2687096.1507 | 1239878.3855 | 2687094.3964 | 1239882.4016 | 2687094.7127 | 1239883.0714
35 | 2687119.474 | 1239825.9063 | 2687105.9025 | 1239827.2632
36 | 2687119.474 | 1239825.9063 | 2687117.6487 | 1239829.1708 | 2687097.2755 | 1239875.8106
37 | 2687105.9025 | 1239827.2632 | 2687092.1698 | 1239828.6361
38 | 2687097.2755 | 1239875.8106 | 2687096.1507 | 1239878.3855
39 | 2687063.953 | 1239788.1313 | 2687064.0172 | 1239787.365
40 | 2687064.0172 | 1239787.365 | 2687039.0727 | 1239778.0475
41 | 2687063.953 | 1239788.1313 | 2687058.1047 | 1239809.7201
42 | 2687063.953 | 1239788.1313 | 2687069.1829 | 1239796.136 | 2687075.714 | 1239798.9671 | 2687081.1902 | 1239800.0896
43 | 2687085.2725 | 1239828.9735 | 2687087.9563 | 1239829.0574 | 2687092.1698 | 1239828.6361
44 | 2687075.5917 | 1239828.4311 | 2687061.2818 | 1239811.9316 | 2687057.7636 | 1239810.9793 | 2687058.1047 | 1239809.7201
45 | 2687085.2725 | 1239828.9735 | 2687075.5917 | 1239828.4311
46 | 2687075.5917 | 1239828.4311 | 2687073.7234 | 1239828.9597 | 2687072.5892 | 1239829.966 | 2687070.911 | 1239834.0351
47 | 2687067.7347 | 1239841.7367 | 2687070.911 | 1239834.0351
48 | 2687039.1474 | 1239841.0615 | 2687067.7347 | 1239841.7367
49 | 2687067.7347 | 1239841.7367 | 2687069.7592 | 1239842.4224 | 2687070.2658 | 1239842.6095

## bus_geodata
| x | y | coords
0 | 2687257.0052 | 1239907.5983
1 | 2687267.628 | 1239910.6655
2 | 2687200.9832 | 1239891.9173
3 | 2687240.6057 | 1239961.7002
4 | 2687325.751 | 1239926.6761
5 | 2687196.2636 | 1239890.6935
6 | 2687309.8014 | 1239951.2218
7 | 2687170.7542 | 1239884.0789
8 | 2687302.5582 | 1239963.7456
9 | 2687172.2537 | 1239857.7977
10 | 2687171.3167 | 1239913.5786
11 | 2687172.1978 | 1239987.6196
12 | 2687172.0857 | 1239975.6871
13 | 2687197.3307 | 1239994.9323
14 | 2687073.0598 | 1239980.3486
15 | 2687083.6422 | 1239951.7897
16 | 2687100.9023 | 1239988.9246
17 | 2687159.3325 | 1239975.3215
18 | 2687172.0183 | 1239968.4364
19 | 2687207.9114 | 1239989.1006
20 | 2687099.9855 | 1239911.2712
21 | 2687192.5596 | 1239974.7487
22 | 2687171.8828 | 1239954.1764
23 | 2687171.5317 | 1239924.8532
24 | 2687187.9309 | 1239930.0772
25 | 2687174.573 | 1239817.1975
26 | 2687199.2751 | 1239946.3873
27 | 2687131.1403 | 1239859.146
28 | 2687109.1853 | 1239890.4689
29 | 2687115.3048 | 1239915.6658
30 | 2687122.4024 | 1239901.9529
31 | 2687135.5067 | 1239873.7893
32 | 2687118.4007 | 1239916.5229
33 | 2687094.7127 | 1239883.0714
34 | 2687119.474 | 1239825.9063
35 | 2687105.9025 | 1239827.2632
36 | 2687097.2755 | 1239875.8106
37 | 2687064.0172 | 1239787.365
38 | 2687063.953 | 1239788.1313
39 | 2687039.0727 | 1239778.0475
40 | 2687092.1698 | 1239828.6361
41 | 2687096.1507 | 1239878.3855
42 | 2687058.1047 | 1239809.7201
43 | 2687081.1902 | 1239800.0896
44 | 2687085.2725 | 1239828.9735
45 | 2687075.5917 | 1239828.4311
46 | 2687070.911 | 1239834.0351
47 | 2687067.7347 | 1239841.7367
48 | 2687039.1474 | 1239841.0615
49 | 2687070.2658 | 1239842.6095
50 | 2687137.0446 | 1239962.3409
51 | 2687115.3048 | 1239915.6658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9828 | -0.32961 | 0.0023565 | 0.00059059
1 | 0.9826 | -0.33345 | 0 | 0
2 | 0.98395 | -0.30698 | 0 | 0
3 | 0.98198 | -0.3456 | 0.011584 | 0.0029033
4 | 0.98194 | -0.34643 | 0 | 0
5 | 0.98405 | -0.30509 | 0.012617 | 0.0031622
6 | 0.98173 | -0.35048 | 0.0048934 | 0.0012264
7 | 0.98488 | -0.28888 | 0 | 0
8 | 0.98169 | -0.35119 | 0.0027377 | 0.00068613
9 | 0.9868 | -0.25174 | 0.0072915 | 0.0018274
10 | 0.98151 | -0.3544 | 0.013242 | 0.0033186
11 | 0.9771 | -0.4409 | 0 | 0
12 | 0.97726 | -0.43768 | 0 | 0
13 | 0.97674 | -0.44797 | 0.010113 | 0.0025347
14 | 0.99561 | -0.084025 | 0 | 0
15 | 0.99591 | -0.078201 | 0.0054635 | 0.0013693
16 | 0.99532 | -0.089598 | 0.010876 | 0.0027257
17 | 0.97694 | -0.44412 | 0.014178 | 0.0035534
18 | 0.97755 | -0.43206 | 0 | 0
19 | 0.97667 | -0.44941 | 0.0046731 | 0.0011712
20 | 0.99656 | -0.065662 | 0 | 0
21 | 0.97739 | -0.43526 | 0.0081478 | 0.002042
22 | 0.97822 | -0.41891 | 0.028319 | 0.0070975
23 | 0.98036 | -0.37686 | 0 | 0
24 | 0.97987 | -0.38654 | 0.012899 | 0.0032329
25 | 0.9899 | -0.192 | 0 | 0
26 | 0.97944 | -0.39509 | 0.018112 | 0.0045394
27 | 0.99563 | -0.082672 | 0 | 0
28 | 0.99451 | -0.10492 | 0 | 0
29 | 0.99823 | -0.033688 | 0 | 0
30 | 1 | 0 | -0.32749 | -0.083316
31 | 0.99717 | -0.053568 | 0.031976 | 0.0080139
32 | 0.9982 | -0.034274 | 0.01045 | 0.002619
33 | 0.993 | -0.13414 | 0.017009 | 0.0042628
34 | 0.98948 | -0.20201 | 0 | 0
35 | 0.98875 | -0.2162 | 0.004383 | 0.0010985
36 | 0.99241 | -0.14535 | 0.019289 | 0.0048342
37 | 0.98622 | -0.2654 | 0 | 0
38 | 0.98623 | -0.26525 | 0 | 0
39 | 0.98595 | -0.27065 | 0.010997 | 0.0027562
40 | 0.98806 | -0.22951 | 0.0018898 | 0.00047363
41 | 0.99261 | -0.14149 | 0.0034416 | 0.00086255
42 | 0.98664 | -0.25713 | 0.0051266 | 0.0012848
43 | 0.98604 | -0.26895 | 0.0092611 | 0.0023211
44 | 0.98773 | -0.23595 | 0 | 0
45 | 0.98727 | -0.24496 | 0 | 0
46 | 0.98707 | -0.24872 | 0.0096142 | 0.0024095
47 | 0.98694 | -0.25128 | 0 | 0
48 | 0.98672 | -0.25562 | 0.0085103 | 0.0021329
49 | 0.98692 | -0.25169 | 0.0086327 | 0.0021636
50 | 0.97656 | -0.45149 | 0.013474 | 0.003377
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019232 | 0.0048238 | -0.019228 | -0.0048217 | 3.5159e-06 | 2.1101e-06 | 0.02912 | 0.02912 | 0.02912 | 0.9828 | -0.32961 | 0.9826 | -0.33345 | 7.9999
1 | -0.021588 | -0.0054144 | 0.021612 | 0.0054286 | 2.3311e-05 | 1.4181e-05 | 0.032688 | 0.032687 | 0.032688 | 0.9828 | -0.32961 | 0.98395 | -0.30698 | 8.9801
2 | 0.011591 | 0.0029069 | -0.011584 | -0.0029033 | 6.709e-06 | 3.5588e-06 | 0.017554 | 0.017554 | 0.017554 | 0.9826 | -0.33345 | 0.98198 | -0.3456 | 4.8225
3 | 0.0076374 | 0.0019148 | -0.0076327 | -0.001913 | 4.7228e-06 | 1.8309e-06 | 0.011566 | 0.011566 | 0.011566 | 0.9826 | -0.33345 | 0.98194 | -0.34643 | 3.1776
4 | -0.021612 | -0.0054286 | 0.021614 | 0.0054298 | 1.9535e-06 | 1.1883e-06 | 0.032687 | 0.032687 | 0.032687 | 0.98395 | -0.30698 | 0.98405 | -0.30509 | 8.98
5 | 0.0076327 | 0.001913 | -0.0076312 | -0.0019124 | 1.4718e-06 | 5.7093e-07 | 0.011566 | 0.011567 | 0.011567 | 0.98194 | -0.34643 | 0.98173 | -0.35048 | 3.1776
6 | -0.034231 | -0.008592 | 0.034258 | 0.0086086 | 2.6483e-05 | 1.6614e-05 | 0.051766 | 0.051766 | 0.051766 | 0.98405 | -0.30509 | 0.98488 | -0.28888 | 14.2216
7 | 0.0027378 | 0.00068601 | -0.0027377 | -0.00068613 | 9.3423e-08 | -1.2313e-07 | 0.0041496 | 0.0041497 | 0.0041497 | 0.98173 | -0.35048 | 0.98169 | -0.35119 | 1.14
8 | -0.15817 | -0.039953 | 0.15845 | 0.040133 | 0.00028213 | 0.00017989 | 0.23908 | 0.23908 | 0.23908 | 0.98488 | -0.28888 | 0.9868 | -0.25174 | 32.841
9 | 0.12391 | 0.031345 | -0.12352 | -0.031097 | 0.00038822 | 0.00024809 | 0.18732 | 0.18732 | 0.18732 | 0.98488 | -0.28888 | 0.98151 | -0.3544 | 51.4606
10 | -0.16574 | -0.041961 | 0.16622 | 0.042265 | 0.00047685 | 0.00030414 | 0.25008 | 0.25008 | 0.25008 | 0.9868 | -0.25174 | 0.9899 | -0.192 | 34.3513
11 | 0.11028 | 0.027778 | -0.11016 | -0.027703 | 0.00011828 | 7.5555e-05 | 0.16724 | 0.16724 | 0.16724 | 0.98151 | -0.3544 | 0.98036 | -0.37686 | 45.9456
12 | -0.014792 | -0.0037087 | 0.014794 | 0.00371 | 2.2712e-06 | 1.3041e-06 | 0.022527 | 0.022527 | 0.022527 | 0.9771 | -0.4409 | 0.97726 | -0.43768 | 6.1887
13 | 0.014792 | 0.0037087 | -0.014787 | -0.0037059 | 4.9811e-06 | 2.8602e-06 | 0.022527 | 0.022527 | 0.022527 | 0.9771 | -0.4409 | 0.97674 | -0.44797 | 6.1888
14 | 0.027666 | 0.0069383 | -0.027657 | -0.006933 | 8.4906e-06 | 5.2742e-06 | 0.042126 | 0.042126 | 0.042126 | 0.97726 | -0.43768 | 0.97694 | -0.44412 | 11.5732
15 | -0.04246 | -0.010648 | 0.042471 | 0.010655 | 1.1368e-05 | 7.1844e-06 | 0.064653 | 0.064653 | 0.064653 | 0.97726 | -0.43768 | 0.97755 | -0.43206 | 17.7619
16 | 0.0046735 | 0.0011712 | -0.0046731 | -0.0011712 | 3.2011e-07 | -5.8803e-09 | 0.0071198 | 0.0071198 | 0.0071198 | 0.97674 | -0.44797 | 0.97667 | -0.44941 | 1.956
17 | -0.010879 | -0.0027272 | 0.010882 | 0.0027287 | 3.0198e-06 | 1.5364e-06 | 0.016259 | 0.016259 | 0.016259 | 0.99561 | -0.084025 | 0.99591 | -0.078201 | 4.4668
18 | 0.010879 | 0.0027272 | -0.010876 | -0.0027257 | 2.8882e-06 | 1.4697e-06 | 0.016259 | 0.016259 | 0.016259 | 0.99561 | -0.084025 | 0.99532 | -0.089598 | 4.4669
19 | -0.016345 | -0.004098 | 0.016355 | 0.0041037 | 9.7724e-06 | 5.6854e-06 | 0.024422 | 0.024422 | 0.024422 | 0.99591 | -0.078201 | 0.99656 | -0.065662 | 6.7094
20 | 0.013479 | 0.0033796 | -0.013474 | -0.003377 | 4.7349e-06 | 2.6554e-06 | 0.020531 | 0.020531 | 0.020531 | 0.97694 | -0.44412 | 0.97656 | -0.45149 | 5.6404
21 | -0.05062 | -0.012698 | 0.050652 | 0.012718 | 3.1754e-05 | 2.0144e-05 | 0.077058 | 0.077058 | 0.077058 | 0.97755 | -0.43206 | 0.97822 | -0.41891 | 21.1697
22 | 0.0081491 | 0.0020426 | -0.0081478 | -0.002042 | 1.24e-06 | 5.2423e-07 | 0.012405 | 0.012405 | 0.012405 | 0.97755 | -0.43206 | 0.97739 | -0.43526 | 3.4079
23 | 0.098828 | 0.025027 | -0.098642 | -0.024909 | 0.00018591 | 0.00011869 | 0.14766 | 0.14766 | 0.14766 | 0.99656 | -0.065662 | 0.99451 | -0.10492 | 40.5651
24 | -0.11518 | -0.029131 | 0.11536 | 0.029244 | 0.00017697 | 0.00011305 | 0.17208 | 0.17208 | 0.17208 | 0.99656 | -0.065662 | 0.99823 | -0.033688 | 47.2744
25 | -0.078971 | -0.019816 | 0.07913 | 0.019917 | 0.00015872 | 0.00010121 | 0.12014 | 0.12014 | 0.12014 | 0.97822 | -0.41891 | 0.98036 | -0.37686 | 33.0044
26 | 0.031034 | 0.0077856 | -0.031019 | -0.0077767 | 1.4322e-05 | 8.949e-06 | 0.047106 | 0.047106 | 0.047106 | 0.98036 | -0.37686 | 0.97987 | -0.38654 | 12.9413
27 | 0.01812 | 0.0045438 | -0.018112 | -0.0045394 | 7.3786e-06 | 4.3951e-06 | 0.027517 | 0.027517 | 0.027517 | 0.97987 | -0.38654 | 0.97944 | -0.39509 | 7.5597
28 | -0.16622 | -0.042265 | 0.1671 | 0.042826 | 0.00088045 | 0.00056154 | 0.25008 | 0.25008 | 0.25008 | 0.9899 | -0.192 | 0.99563 | -0.082672 | 34.3512
29 | -0.1671 | -0.042826 | 0.16734 | 0.042977 | 0.0002361 | 0.00015058 | 0.25008 | 0.25008 | 0.25008 | 0.99563 | -0.082672 | 0.99717 | -0.053568 | 34.3511
30 | 0.098642 | 0.024909 | -0.098504 | -0.024821 | 0.0001379 | 8.804e-05 | 0.14766 | 0.14766 | 0.14766 | 0.99451 | -0.10492 | 0.993 | -0.13414 | 40.5651
31 | 0.01045 | 0.0026192 | -0.01045 | -0.002619 | 2.9157e-07 | 1.4472e-07 | 0.015578 | 0.015578 | 0.015578 | 0.99823 | -0.033688 | 0.9982 | -0.034274 | 4.2796
32 | -0.12581 | -0.031863 | 0.12601 | 0.031994 | 0.00020391 | 0.0001303 | 0.18766 | 0.18766 | 0.18766 | 0.99823 | -0.033688 | 1 | 0 | 51.5541
33 | 0.19983 | 0.051322 | -0.19931 | -0.050991 | 0.00051828 | 0.00033088 | 0.29779 | 0.29779 | 0.29779 | 1 | 0 | 0.99717 | -0.053568 | 40.9054
34 | 0.081496 | 0.020558 | -0.081467 | -0.02054 | 2.8675e-05 | 1.8286e-05 | 0.12217 | 0.12217 | 0.12217 | 0.993 | -0.13414 | 0.99261 | -0.14149 | 33.5631
35 | 0.058563 | 0.014733 | -0.058524 | -0.014707 | 3.9689e-05 | 2.5226e-05 | 0.088089 | 0.088089 | 0.088089 | 0.98948 | -0.20201 | 0.98875 | -0.2162 | 24.2004
36 | -0.058563 | -0.014733 | 0.058722 | 0.014834 | 0.00015898 | 0.00010105 | 0.088089 | 0.088089 | 0.088089 | 0.98948 | -0.20201 | 0.99241 | -0.14535 | 24.2003
37 | 0.054141 | 0.013609 | -0.054106 | -0.013587 | 3.4371e-05 | 2.182e-05 | 0.081493 | 0.081493 | 0.081493 | 0.98875 | -0.2162 | 0.98806 | -0.22951 | 22.3882
38 | -0.078011 | -0.019668 | 0.078025 | 0.019677 | 1.4426e-05 | 9.1966e-06 | 0.11701 | 0.11701 | 0.11701 | 0.99241 | -0.14535 | 0.99261 | -0.14149 | 32.1457
39 | -0.011 | -0.0027576 | 0.011 | 0.0027576 | 7.9437e-08 | 4.1027e-08 | 0.016597 | 0.016597 | 0.016597 | 0.98622 | -0.2654 | 0.98623 | -0.26525 | 4.5596
40 | 0.011 | 0.0027576 | -0.010997 | -0.0027562 | 2.7506e-06 | 1.4207e-06 | 0.016597 | 0.016597 | 0.016597 | 0.98622 | -0.2654 | 0.98595 | -0.27065 | 4.5597
41 | -0.020263 | -0.0050794 | 0.020271 | 0.0050842 | 7.8399e-06 | 4.732e-06 | 0.030573 | 0.030573 | 0.030573 | 0.98623 | -0.26525 | 0.98664 | -0.25713 | 8.3991
42 | 0.0092628 | 0.0023218 | -0.0092611 | -0.0023211 | 1.6312e-06 | 7.5985e-07 | 0.013976 | 0.013976 | 0.013976 | 0.98623 | -0.26525 | 0.98604 | -0.26895 | 3.8395
43 | 0.052216 | 0.013114 | -0.0522 | -0.013103 | 1.605e-05 | 1.0183e-05 | 0.078647 | 0.078647 | 0.078647 | 0.98806 | -0.22951 | 0.98773 | -0.23595 | 21.6063
44 | -0.025397 | -0.006369 | 0.025412 | 0.0063781 | 1.474e-05 | 9.0913e-06 | 0.038304 | 0.038304 | 0.038304 | 0.98664 | -0.25713 | 0.98727 | -0.24496 | 10.5232
45 | 0.0522 | 0.013103 | -0.052178 | -0.013089 | 2.2423e-05 | 1.4227e-05 | 0.078647 | 0.078647 | 0.078647 | 0.98773 | -0.23595 | 0.98727 | -0.24496 | 21.6064
46 | 0.026766 | 0.006711 | -0.026761 | -0.006708 | 4.7969e-06 | 2.9695e-06 | 0.040343 | 0.040343 | 0.040343 | 0.98727 | -0.24496 | 0.98707 | -0.24872 | 11.0832
47 | 0.017147 | 0.0042985 | -0.017145 | -0.0042973 | 2.0875e-06 | 1.2295e-06 | 0.025849 | 0.02585 | 0.02585 | 0.98707 | -0.24872 | 0.98694 | -0.25128 | 7.1015
48 | 0.0085121 | 0.0021336 | -0.0085103 | -0.0021329 | 1.761e-06 | 7.6277e-07 | 0.012834 | 0.012834 | 0.012834 | 0.98694 | -0.25128 | 0.98672 | -0.25562 | 3.5258
49 | 0.0086328 | 0.0021636 | -0.0086327 | -0.0021636 | 1.701e-07 | 7.4648e-08 | 0.013016 | 0.013016 | 0.013016 | 0.98694 | -0.25128 | 0.98692 | -0.25169 | 3.5758

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33984 | 0.08641

## res_load
| p_mw | q_mvar
0 | 0.0023565 | 0.00059059
1 | 0.011584 | 0.0029033
2 | 0.012617 | 0.0031622
3 | 0.0048934 | 0.0012264
4 | 0.0027377 | 0.00068613
5 | 0.0072915 | 0.0018274
6 | 0.013242 | 0.0033186
7 | 0.010113 | 0.0025347
8 | 0.0054635 | 0.0013693
9 | 0.010876 | 0.0027257
10 | 0.014178 | 0.0035534
11 | 0.0046731 | 0.0011712
12 | 0.0081478 | 0.002042
13 | 0.028319 | 0.0070975
14 | 0.012899 | 0.0032329
15 | 0.018112 | 0.0045394
16 | 0.012346 | 0.0030943
17 | 0.031976 | 0.0080139
18 | 0.01045 | 0.002619
19 | 0.017009 | 0.0042628
20 | 0.004383 | 0.0010985
21 | 0.019289 | 0.0048342
22 | 0.010997 | 0.0027562
23 | 0.0018898 | 0.00047363
24 | 0.0034416 | 0.00086255
25 | 0.0051266 | 0.0012848
26 | 0.0092611 | 0.0023211
27 | 0.0096142 | 0.0024095
28 | 0.0085103 | 0.0021329
29 | 0.0086327 | 0.0021636
30 | 0.013474 | 0.003377

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1