## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_152-12_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_152-12_1_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_152-12_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_152-12_1_2_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_152-12_1_2_node_126 | 0.4 | n |  | TRUE
5 | bus_LV_152-12_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_152-12_1_2_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_152-12_1_2_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_152-12_1_2_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_152-12_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_152-12_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_152-12_1_2_node_141 | 0.4 | n |  | TRUE
12 | bus_LV_152-12_1_2_node_143 | 0.4 | n |  | TRUE
13 | bus_LV_152-12_1_2_node_140 | 0.4 | n |  | TRUE
14 | bus_LV_152-12_1_2_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_152-12_1_2_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_152-12_1_2_node_139 | 0.4 | n |  | TRUE
17 | bus_LV_152-12_1_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_152-12_1_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_152-12_1_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_152-12_1_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_152-12_1_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_152-12_1_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_152-12_1_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_152-12_1_2_node_148 | 0.4 | n |  | TRUE
25 | bus_LV_152-12_1_2_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_152-12_1_2_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_152-12_1_2_node_144 | 0.4 | n |  | TRUE
28 | bus_LV_152-12_1_2_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_152-12_1_2_node_153 | 0.4 | n |  | TRUE
30 | bus_LV_152-12_1_2_node_145 | 0.4 | n |  | TRUE
31 | bus_LV_152-12_1_2_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_152-12_1_2_node_146 | 0.4 | n |  | TRUE
33 | bus_LV_152-12_1_2_node_147 | 0.4 | n |  | TRUE
34 | bus_LV_152-12_1_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_152-12_1_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_152-12_1_2_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_152-12_1_2_node_121 | 0.4 | n |  | TRUE
38 | bus_LV_152-12_1_2_node_150 | 0.4 | n |  | TRUE
39 | bus_LV_152-12_1_2_node_154 | 0.4 | n |  | TRUE
40 | bus_LV_152-12_1_2_node_151 | 0.4 | n |  | TRUE
41 | bus_LV_152-12_1_2_node_122 | 0.4 | n |  | TRUE
42 | bus_LV_152-12_1_2_node_159 | 0.4 | n |  | TRUE
43 | bus_LV_152-12_1_2_node_160 | 0.4 | n |  | TRUE
44 | bus_LV_152-12_1_2_node_156 | 0.4 | n |  | TRUE
45 | bus_LV_152-12_1_2_node_127 | 0.4 | n |  | TRUE
46 | bus_LV_152-12_1_2_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_152-12_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_152-12_1_2_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_152-12_1_2_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_152-12_1_2_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_152-12_1_2_node_120 | 0.4 | n |  | TRUE
52 | bus_LV_152-12_1_2_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_152-12_1_2_node_124 | 0.4 | n |  | TRUE
54 | bus_LV_152-12_1_2_node_125 | 0.4 | n |  | TRUE
55 | bus_MV_492_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_152-12_1_2_load_128 | 0 | 0.0036925 | 0.00092544 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_152-12_1_2_load_129 | 1 | 0.0030937 | 0.00077535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_152-12_1_2_load_130 | 2 | 0.001705 | 0.00042731 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_152-12_1_2_load_86 | 3 | 0.0043386 | 0.0010874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_152-12_1_2_load_131 | 5 | 0.005055 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_152-12_1_2_load_132 | 6 | 0.0017212 | 0.00043138 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_152-12_1_2_load_134 | 8 | 0.0026864 | 0.00067327 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_152-12_1_2_load_135 | 9 | 0.0037772 | 0.00094666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_152-12_1_2_load_136 | 10 | 0.0035096 | 0.0008796 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_152-12_1_2_load_141 | 11 | 0.0033815 | 0.00084748 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_152-12_1_2_load_143 | 12 | 0.0017057 | 0.00042749 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_152-12_1_2_load_140 | 13 | 0.0059345 | 0.0014873 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_152-12_1_2_load_137 | 14 | 0.0017015 | 0.00042644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_152-12_1_2_load_138 | 15 | 0.0024968 | 0.00062576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_152-12_1_2_load_139 | 16 | 0.0078988 | 0.0019796 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_152-12_1_2_load_10 | 17 | 0.0026774 | 0.00067103 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_152-12_1_2_load_11 | 18 | 0.0011062 | 0.00027725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_152-12_1_2_load_13 | 20 | 0.0067035 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_152-12_1_2_load_14 | 21 | 0.0010537 | 0.00026408 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_152-12_1_2_load_15 | 22 | 0.0065232 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_152-12_1_2_load_16 | 23 | 0.0028195 | 0.00070662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_152-12_1_2_load_148 | 24 | 0.0027103 | 0.00067926 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_152-12_1_2_load_142 | 25 | 0.00049627 | 0.00012438 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_152-12_1_2_load_149 | 26 | 0.003044 | 0.00076289 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_152-12_1_2_load_152 | 28 | 0.0098649 | 0.0024724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_152-12_1_2_load_153 | 29 | 0.011177 | 0.0028012 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_152-12_1_2_load_145 | 30 | 0.0012717 | 0.00031873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_152-12_1_2_load_116 | 31 | 0.0047495 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_152-12_1_2_load_146 | 32 | 0.0023247 | 0.00058261 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_152-12_1_2_load_147 | 33 | 0.0014406 | 0.00036104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_152-12_1_2_load_26 | 34 | 0.00099046 | 0.00024823 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_152-12_1_2_load_27 | 35 | 0.0013111 | 0.00032858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_152-12_1_2_load_155 | 36 | 0.0013808 | 0.00034607 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_152-12_1_2_load_121 | 37 | 0.0011022 | 0.00027624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_152-12_1_2_load_150 | 38 | 0.00073763 | 0.00018487 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_152-12_1_2_load_154 | 39 | 0.0019159 | 0.00048017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_152-12_1_2_load_159 | 42 | 0.0031922 | 0.00080004 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_152-12_1_2_load_160 | 43 | 0.0077698 | 0.0019473 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_152-12_1_2_load_156 | 44 | 0.0015178 | 0.00038039 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_152-12_1_2_load_127 | 45 | 0.0066231 | 0.0016599 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_152-12_1_2_load_80 | 46 | 0.0023768 | 0.00059569 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_152-12_1_2_load_84 | 48 | 0.0032396 | 0.00081192 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_152-12_1_2_load_118 | 49 | 0.0076662 | 0.0019213 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_152-12_1_2_load_119 | 50 | 0.0097288 | 0.0024383 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_152-12_1_2_load_120 | 51 | 0.0037542 | 0.0009409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_152-12_1_2_load_123 | 52 | 0.0014554 | 0.00036475 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_152-12_1_2_load_124 | 53 | 0.0013894 | 0.00034821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_152-12_1_2_line_0 |  | 0 | 1 | 0.0033161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_152-12_1_2_line_1 |  | 0 | 2 | 0.030879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_152-12_1_2_line_2 |  | 1 | 3 | 0.025279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_152-12_1_2_line_3 |  | 2 | 4 | 0.0036849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_152-12_1_2_line_4 |  | 3 | 46 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_152-12_1_2_line_5 |  | 4 | 44 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_152-12_1_2_line_6 |  | 4 | 53 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_152-12_1_2_line_7 |  | 5 | 6 | 0.023671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_152-12_1_2_line_8 |  | 5 | 7 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_152-12_1_2_line_9 |  | 6 | 8 | 0.0092264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_152-12_1_2_line_10 |  | 7 | 9 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_152-12_1_2_line_11 |  | 7 | 10 | 0.035658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_152-12_1_2_line_12 |  | 8 | 11 | 0.0029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_152-12_1_2_line_13 |  | 9 | 12 | 0.031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_152-12_1_2_line_14 |  | 10 | 13 | 0.0084714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_152-12_1_2_line_15 |  | 11 | 25 | 0.0015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_152-12_1_2_line_16 |  | 12 | 27 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_152-12_1_2_line_17 |  | 13 | 15 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_152-12_1_2_line_18 |  | 14 | 15 | 0.0099862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_152-12_1_2_line_19 |  | 14 | 16 | 0.0092413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_152-12_1_2_line_20 |  | 17 | 18 | 0.0083992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_152-12_1_2_line_21 |  | 17 | 19 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_152-12_1_2_line_22 |  | 18 | 20 | 0.0071926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_152-12_1_2_line_23 |  | 19 | 21 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_152-12_1_2_line_24 |  | 21 | 22 | 0.056644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_152-12_1_2_line_25 |  | 22 | 23 | 0.072231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_152-12_1_2_line_26 |  | 23 | 24 | 0.015228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_152-12_1_2_line_27 |  | 24 | 37 | 0.0021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_152-12_1_2_line_28 |  | 25 | 26 | 0.0059426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_152-12_1_2_line_29 |  | 26 | 38 | 0.009199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_152-12_1_2_line_30 |  | 27 | 28 | 0.024931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_152-12_1_2_line_31 |  | 27 | 29 | 0.019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_152-12_1_2_line_32 |  | 28 | 42 | 0.035412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_152-12_1_2_line_33 |  | 29 | 43 | 0.03902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_152-12_1_2_line_34 |  | 30 | 31 | 0.0030536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_152-12_1_2_line_35 |  | 30 | 32 | 0.02272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_152-12_1_2_line_36 |  | 31 | 35 | 0.0094116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_152-12_1_2_line_37 |  | 32 | 33 | 0.0020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_152-12_1_2_line_38 |  | 33 | 36 | 0.0020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_152-12_1_2_line_39 |  | 34 | 35 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_152-12_1_2_line_40 |  | 36 | 39 | 0.01162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_152-12_1_2_line_41 |  | 37 | 50 | 0.058234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_152-12_1_2_line_42 |  | 38 | 39 | 0.0072779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_152-12_1_2_line_43 |  | 40 | 41 | 0.072057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_152-12_1_2_line_44 |  | 40 | 42 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_152-12_1_2_line_45 |  | 41 | 51 | 0.0473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_152-12_1_2_line_46 |  | 43 | 45 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_152-12_1_2_line_47 |  | 45 | 54 | 0.047372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_152-12_1_2_line_48 |  | 46 | 47 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_152-12_1_2_line_49 |  | 47 | 48 | 0.005885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_152-12_1_2_line_50 |  | 49 | 50 | 0.00051267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_152-12_1_2_line_51 |  | 49 | 51 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_152-12_1_2_line_52 |  | 52 | 53 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_152-12_1_2_line_53 |  | 52 | 54 | 0.043663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_152-12_1_2_trafo_131 | 0.63 MVA 20/0.4 kV | 55 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2688685.747 | 1237986.4653 | 2688687.4965 | 1237983.6483
1 | 2688669.4556 | 1238012.6969 | 2688685.747 | 1237986.4653
2 | 2688700.8332 | 1237962.1742 | 2688687.4965 | 1237983.6483
3 | 2688667.5115 | 1238015.8272 | 2688669.4556 | 1238012.6969
4 | 2688700.8332 | 1237962.1742 | 2688684.0106 | 1237928.802
5 | 2688667.5115 | 1238015.8272 | 2688681.5661 | 1238023.4993
6 | 2688667.5115 | 1238015.8272 | 2688658.5354 | 1238030.2794
7 | 2688580.6385 | 1237922.0786 | 2688568.7406 | 1237942.5419
8 | 2688557.407 | 1237962.0345 | 2688568.7406 | 1237942.5419
9 | 2688580.6385 | 1237922.0786 | 2688585.2761 | 1237914.1024
10 | 2688557.407 | 1237962.0345 | 2688548.5858 | 1237977.1398
11 | 2688557.407 | 1237962.0345 | 2688563.2803 | 1237978.1115 | 2688567.2529 | 1237985.1758 | 2688575.9624 | 1237990.9278
12 | 2688585.2761 | 1237914.1024 | 2688586.7652 | 1237911.5413
13 | 2688548.5858 | 1237977.1398 | 2688532.9271 | 1238003.9535
14 | 2688575.9624 | 1237990.9278 | 2688583.0313 | 1237995.5963
15 | 2688587.5592 | 1237910.1758 | 2688586.7652 | 1237911.5413
16 | 2688524.6733 | 1238018.0871 | 2688532.9271 | 1238003.9535
17 | 2688599.9972 | 1237998.193 | 2688595.9981 | 1237999.7039 | 2688588.9572 | 1237999.5099 | 2688583.0313 | 1237995.5963
18 | 2688599.9972 | 1237998.193 | 2688602.0851 | 1237997.4042 | 2688607.4841 | 1237991.8384
19 | 2688613.9186 | 1237985.2052 | 2688607.4841 | 1237991.8384
20 | 2688552.5851 | 1237727.1567 | 2688559.3774 | 1237732.0975
21 | 2688542.8506 | 1237720.0758 | 2688552.5851 | 1237727.1567
22 | 2688566.0412 | 1237733.6442 | 2688564.2489 | 1237732.1702 | 2688559.3774 | 1237732.0975 | 2688559.3774 | 1237732.0975
23 | 2688542.8506 | 1237720.0758 | 2688535.5505 | 1237731.6642
24 | 2688508.8877 | 1237781.6403 | 2688535.5505 | 1237731.6642
25 | 2688508.8877 | 1237781.6403 | 2688489.6035 | 1237817.7863 | 2688473.3475 | 1237844.49
26 | 2688465.2762 | 1237857.3999 | 2688468.0575 | 1237853.1799 | 2688473.3475 | 1237844.49
27 | 2688464.0695 | 1237859.2309 | 2688465.2762 | 1237857.3999
28 | 2688590.5461 | 1237905.0384 | 2688587.5592 | 1237910.1758
29 | 2688590.5461 | 1237905.0384 | 2688595.17 | 1237897.0859
30 | 2688524.6733 | 1238018.0871 | 2688512.9598 | 1238011.0964 | 2688505.6925 | 1238008.3306 | 2688502.2568 | 1238007.5917
31 | 2688524.6733 | 1238018.0871 | 2688541.2171 | 1238027.5049
32 | 2688467.3722 | 1238001.526 | 2688498.4148 | 1238006.7654 | 2688502.2568 | 1238007.5917
33 | 2688541.2171 | 1238027.5049 | 2688575.1272 | 1238046.8087
34 | 2688619.9488 | 1237855.0597 | 2688618.3751 | 1237857.6765
35 | 2688606.7384 | 1237877.1893 | 2688609.605 | 1237872.2591 | 2688618.3751 | 1237857.6765
36 | 2688619.9488 | 1237855.0597 | 2688624.7994 | 1237846.9943
37 | 2688606.7384 | 1237877.1893 | 2688605.6891 | 1237878.994
38 | 2688605.6891 | 1237878.994 | 2688604.6688 | 1237880.7489
39 | 2688634.2394 | 1237831.2978 | 2688624.7994 | 1237846.9943
40 | 2688598.8281 | 1237890.7942 | 2688604.6688 | 1237880.7489
41 | 2688464.0695 | 1237859.2309 | 2688432.0235 | 1237907.8548
42 | 2688598.8281 | 1237890.7942 | 2688595.17 | 1237897.0859
43 | 2688393.6596 | 1237966.065 | 2688412.9008 | 1237980.7064 | 2688431.9002 | 1237993.2984 | 2688446.2867 | 1238001.1627 | 2688453.8726 | 1238005.401
44 | 2688453.8726 | 1238005.401 | 2688463.224 | 1238000.8258 | 2688467.3722 | 1238001.526
45 | 2688393.6596 | 1237966.065 | 2688419.6887 | 1237926.5706
46 | 2688585.8021 | 1238052.8855 | 2688575.1272 | 1238046.8087
47 | 2688626.9709 | 1238076.3215 | 2688585.8021 | 1238052.8855
48 | 2688671.1274 | 1237922.1689 | 2688682.6684 | 1237928.0454 | 2688684.0106 | 1237928.802
49 | 2688671.1274 | 1237922.1689 | 2688668.0563 | 1237927.1933
50 | 2688432.0235 | 1237907.8548 | 2688431.7414 | 1237908.2829
51 | 2688419.6887 | 1237926.5706 | 2688431.7414 | 1237908.2829
52 | 2688658.5354 | 1238030.2794 | 2688652.0334 | 1238040.748
53 | 2688626.9709 | 1238076.3215 | 2688636.6655 | 1238065.4916 | 2688652.0334 | 1238040.748

## bus_geodata
| x | y | coords
0 | 2688685.747 | 1237986.4653
1 | 2688687.4965 | 1237983.6483
2 | 2688669.4556 | 1238012.6969
3 | 2688700.8332 | 1237962.1742
4 | 2688667.5115 | 1238015.8272
5 | 2688568.7406 | 1237942.5419
6 | 2688580.6385 | 1237922.0786
7 | 2688557.407 | 1237962.0345
8 | 2688585.2761 | 1237914.1024
9 | 2688548.5858 | 1237977.1398
10 | 2688575.9624 | 1237990.9278
11 | 2688586.7652 | 1237911.5413
12 | 2688532.9271 | 1238003.9535
13 | 2688583.0313 | 1237995.5963
14 | 2688607.4841 | 1237991.8384
15 | 2688599.9972 | 1237998.193
16 | 2688613.9186 | 1237985.2052
17 | 2688552.5851 | 1237727.1567
18 | 2688559.3774 | 1237732.0975
19 | 2688542.8506 | 1237720.0758
20 | 2688566.0412 | 1237733.6442
21 | 2688535.5505 | 1237731.6642
22 | 2688508.8877 | 1237781.6403
23 | 2688473.3475 | 1237844.49
24 | 2688465.2762 | 1237857.3999
25 | 2688587.5592 | 1237910.1758
26 | 2688590.5461 | 1237905.0384
27 | 2688524.6733 | 1238018.0871
28 | 2688502.2568 | 1238007.5917
29 | 2688541.2171 | 1238027.5049
30 | 2688618.3751 | 1237857.6765
31 | 2688619.9488 | 1237855.0597
32 | 2688606.7384 | 1237877.1893
33 | 2688605.6891 | 1237878.994
34 | 2688634.2394 | 1237831.2978
35 | 2688624.7994 | 1237846.9943
36 | 2688604.6688 | 1237880.7489
37 | 2688464.0695 | 1237859.2309
38 | 2688595.17 | 1237897.0859
39 | 2688598.8281 | 1237890.7942
40 | 2688453.8726 | 1238005.401
41 | 2688393.6596 | 1237966.065
42 | 2688467.3722 | 1238001.526
43 | 2688575.1272 | 1238046.8087
44 | 2688681.5661 | 1238023.4993
45 | 2688585.8021 | 1238052.8855
46 | 2688684.0106 | 1237928.802
47 | 2688671.1274 | 1237922.1689
48 | 2688668.0563 | 1237927.1933
49 | 2688431.7414 | 1237908.2829
50 | 2688432.0235 | 1237907.8548
51 | 2688419.6887 | 1237926.5706
52 | 2688652.0334 | 1238040.748
53 | 2688658.5354 | 1238030.2794
54 | 2688626.9709 | 1238076.3215
55 | 2688557.407 | 1237962.0345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98514 | -0.28561 | 0.0036925 | 0.00092544
1 | 0.9851 | -0.28639 | 0.0030937 | 0.00077535
2 | 0.98561 | -0.27633 | 0.001705 | 0.00042731
3 | 0.98487 | -0.29091 | 0.0043386 | 0.0010874
4 | 0.98568 | -0.27511 | 0 | 0
5 | 1 | 0 | -0.16512 | -0.041624
6 | 0.99941 | -0.011334 | 0.0017212 | 0.00043138
7 | 0.99721 | -0.052941 | 0 | 0
8 | 0.99919 | -0.015478 | 0.0026864 | 0.00067327
9 | 0.99539 | -0.087585 | 0.0037772 | 0.00094666
10 | 0.99651 | -0.066415 | 0.0035096 | 0.0008796
11 | 0.99913 | -0.01667 | 0.0033815 | 0.00084748
12 | 0.99227 | -0.14732 | 0.0017057 | 0.00042749
13 | 0.99638 | -0.069097 | 0.0059345 | 0.0014873
14 | 0.99609 | -0.074694 | 0.0017015 | 0.00042644
15 | 0.99617 | -0.07301 | 0.0024968 | 0.00062576
16 | 0.99602 | -0.075976 | 0.0078988 | 0.0019796
17 | 0.97739 | -0.43634 | 0.0026774 | 0.00067103
18 | 0.97733 | -0.43754 | 0.0011062 | 0.00027725
19 | 0.97751 | -0.43404 | 0 | 0
20 | 0.97729 | -0.43842 | 0.0067035 | 0.0016801
21 | 0.97764 | -0.43142 | 0.0010537 | 0.00026408
22 | 0.97825 | -0.4195 | 0.0065232 | 0.0016349
23 | 0.97946 | -0.39576 | 0.0028195 | 0.00070662
24 | 0.97975 | -0.38999 | 0.0027103 | 0.00067926
25 | 0.9991 | -0.017212 | 0.00049627 | 0.00012438
26 | 0.999 | -0.019202 | 0.003044 | 0.00076289
27 | 0.99066 | -0.17846 | 0 | 0
28 | 0.9893 | -0.20458 | 0.0098649 | 0.0024724
29 | 0.98981 | -0.19483 | 0.011177 | 0.0028012
30 | 0.99841 | -0.030608 | 0.0012717 | 0.00031873
31 | 0.99839 | -0.030985 | 0.0047495 | 0.0011903
32 | 0.99858 | -0.027302 | 0.0023247 | 0.00058261
33 | 0.9986 | -0.026913 | 0.0014406 | 0.00036104
34 | 0.99835 | -0.031681 | 0.00099046 | 0.00024823
35 | 0.99837 | -0.031364 | 0.0013111 | 0.00032858
36 | 0.99862 | -0.026484 | 0.0013808 | 0.00034607
37 | 0.9798 | -0.38905 | 0.0011022 | 0.00027624
38 | 0.99887 | -0.021793 | 0.00073763 | 0.00018487
39 | 0.99876 | -0.023749 | 0.0019159 | 0.00048017
40 | 0.98707 | -0.24755 | 0 | 0
41 | 0.98401 | -0.30684 | 0 | 0
42 | 0.98769 | -0.23556 | 0.0031922 | 0.00080004
43 | 0.98848 | -0.2207 | 0.0077698 | 0.0019473
44 | 0.98565 | -0.27554 | 0.0015178 | 0.00038039
45 | 0.98814 | -0.22715 | 0.0066231 | 0.0016599
46 | 0.98467 | -0.29468 | 0.0023768 | 0.00059569
47 | 0.98463 | -0.29553 | 0 | 0
48 | 0.98461 | -0.29587 | 0.0032396 | 0.00081192
49 | 0.98115 | -0.36264 | 0.0076662 | 0.0019213
50 | 0.98113 | -0.36296 | 0.0097288 | 0.0024383
51 | 0.982 | -0.34596 | 0.0037542 | 0.0009409
52 | 0.98623 | -0.2643 | 0.0014554 | 0.00036475
53 | 0.98599 | -0.26902 | 0.0013894 | 0.00034821
54 | 0.98715 | -0.24646 | 0 | 0
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013053 | 0.0032717 | -0.013052 | -0.0032714 | 4.8336e-07 | 2.6713e-07 | 0.019716 | 0.019716 | 0.019716 | 0.98514 | -0.28561 | 0.9851 | -0.28639 | 5.4164
1 | -0.016745 | -0.0041971 | 0.016753 | 0.0042015 | 7.4078e-06 | 4.3477e-06 | 0.025293 | 0.025293 | 0.025293 | 0.98514 | -0.28561 | 0.98561 | -0.27633 | 6.9486
2 | 0.0099584 | 0.0024961 | -0.0099562 | -0.002495 | 2.145e-06 | 1.051e-06 | 0.015042 | 0.015043 | 0.015043 | 0.9851 | -0.28639 | 0.98487 | -0.29091 | 4.1326
3 | -0.018457 | -0.0046288 | 0.018459 | 0.0046294 | 1.0731e-06 | 6.3981e-07 | 0.027867 | 0.027867 | 0.027867 | 0.98561 | -0.27633 | 0.98568 | -0.27511 | 7.6558
4 | 0.0056176 | 0.0014076 | -0.0056166 | -0.0014075 | 1.0096e-06 | 1.7066e-07 | 0.0084874 | 0.0084876 | 0.0084876 | 0.98487 | -0.29091 | 0.98467 | -0.29468 | 2.3318
5 | 0.0015178 | 0.0003802 | -0.0015178 | -0.00038039 | 3.1524e-08 | -1.8392e-07 | 0.0022913 | 0.0022913 | 0.0022913 | 0.98568 | -0.27511 | 0.98565 | -0.27554 | 0.62949
6 | -0.019976 | -0.0050096 | 0.019982 | 0.0050131 | 5.8025e-06 | 3.4967e-06 | 0.030158 | 0.030158 | 0.030158 | 0.98568 | -0.27511 | 0.98599 | -0.26902 | 8.2852
7 | 0.027482 | 0.006898 | -0.027467 | -0.0068888 | 1.4847e-05 | 9.1918e-06 | 0.040898 | 0.040898 | 0.040898 | 1 | 0 | 0.99941 | -0.011334 | 11.2357
8 | 0.13599 | 0.034726 | -0.13564 | -0.034504 | 0.00034701 | 0.00022179 | 0.20258 | 0.20258 | 0.20258 | 1 | 0 | 0.99721 | -0.052941 | 55.6547
9 | 0.025746 | 0.0064574 | -0.025741 | -0.0064543 | 5.0846e-06 | 3.1333e-06 | 0.038335 | 0.038335 | 0.038335 | 0.99941 | -0.011334 | 0.99919 | -0.015478 | 10.5316
10 | 0.11408 | 0.029094 | -0.11389 | -0.028972 | 0.00019049 | 0.00012168 | 0.17041 | 0.17041 | 0.17041 | 0.99721 | -0.052941 | 0.99539 | -0.087585 | 46.8156
11 | 0.021561 | 0.0054103 | -0.021547 | -0.0054019 | 1.3843e-05 | 8.3946e-06 | 0.032175 | 0.032175 | 0.032175 | 0.99721 | -0.052941 | 0.99651 | -0.066415 | 8.8393
12 | 0.023055 | 0.005781 | -0.023053 | -0.0057802 | 1.3096e-06 | 7.9937e-07 | 0.034335 | 0.034335 | 0.034335 | 0.99919 | -0.015478 | 0.99913 | -0.01667 | 9.4326
13 | 0.11011 | 0.028026 | -0.1098 | -0.027824 | 0.0003161 | 0.0002019 | 0.16476 | 0.16476 | 0.16476 | 0.99539 | -0.087585 | 0.99227 | -0.14732 | 45.2644
14 | 0.018037 | 0.0045223 | -0.018035 | -0.0045209 | 2.3046e-06 | 1.3646e-06 | 0.026934 | 0.026934 | 0.026934 | 0.99651 | -0.066415 | 0.99638 | -0.069097 | 7.3996
15 | 0.019672 | 0.0049327 | -0.019672 | -0.0049324 | 5.0848e-07 | 3.0474e-07 | 0.029299 | 0.029299 | 0.029299 | 0.99913 | -0.01667 | 0.9991 | -0.017212 | 8.0491
16 | 0.10809 | 0.027396 | -0.10793 | -0.027293 | 0.00016148 | 0.00010314 | 0.1622 | 0.1622 | 0.1622 | 0.99227 | -0.14732 | 0.99066 | -0.17846 | 44.5617
17 | 0.012101 | 0.0030336 | -0.012098 | -0.0030324 | 2.2559e-06 | 1.2039e-06 | 0.018072 | 0.018072 | 0.018072 | 0.99638 | -0.069097 | 0.99617 | -0.07301 | 4.9648
18 | -0.0096008 | -0.0024063 | 0.0096016 | 0.0024066 | 7.7031e-07 | 3.63e-07 | 0.014342 | 0.014342 | 0.014342 | 0.99609 | -0.074694 | 0.99617 | -0.07301 | 3.9402
19 | 0.0078993 | 0.0019798 | -0.0078988 | -0.0019796 | 4.8257e-07 | 1.8856e-07 | 0.0118 | 0.0118 | 0.0118 | 0.99609 | -0.074694 | 0.99602 | -0.075976 | 3.2419
20 | 0.0078105 | 0.0019576 | -0.00781 | -0.0019574 | 4.4536e-07 | 1.7977e-07 | 0.011891 | 0.011891 | 0.011891 | 0.97739 | -0.43634 | 0.97733 | -0.43754 | 3.2668
21 | -0.010488 | -0.0026286 | 0.010489 | 0.0026292 | 1.1509e-06 | 5.8567e-07 | 0.015967 | 0.015967 | 0.015967 | 0.97739 | -0.43634 | 0.97751 | -0.43404 | 4.3866
22 | 0.0067038 | 0.0016801 | -0.0067035 | -0.0016801 | 2.8099e-07 | 8.9706e-08 | 0.010207 | 0.010207 | 0.010207 | 0.97733 | -0.43754 | 0.97729 | -0.43842 | 2.8041
23 | -0.010489 | -0.0026292 | 0.01049 | 0.0026299 | 1.3094e-06 | 6.6633e-07 | 0.015967 | 0.015967 | 0.015967 | 0.97751 | -0.43404 | 0.97764 | -0.43142 | 4.3866
24 | -0.011544 | -0.0028939 | 0.011551 | 0.0028974 | 6.5579e-06 | 3.4864e-06 | 0.017571 | 0.017571 | 0.017571 | 0.97764 | -0.43142 | 0.97825 | -0.4195 | 4.8272
25 | -0.018074 | -0.0045323 | 0.018094 | 0.0045445 | 2.0474e-05 | 1.2195e-05 | 0.027493 | 0.027493 | 0.027493 | 0.97825 | -0.4195 | 0.97946 | -0.39576 | 7.5531
26 | -0.020914 | -0.0052511 | 0.02092 | 0.0052546 | 5.7659e-06 | 3.4984e-06 | 0.031776 | 0.031776 | 0.031776 | 0.97946 | -0.39576 | 0.97975 | -0.38999 | 8.7297
27 | -0.02363 | -0.0059339 | 0.023631 | 0.0059345 | 1.0594e-06 | 6.5037e-07 | 0.035892 | 0.035892 | 0.035892 | 0.97975 | -0.38999 | 0.9798 | -0.38905 | 9.8606
28 | 0.019175 | 0.004808 | -0.019173 | -0.004807 | 1.8176e-06 | 1.0855e-06 | 0.028559 | 0.028559 | 0.028559 | 0.9991 | -0.017212 | 0.999 | -0.019202 | 7.846
29 | 0.016129 | 0.0040441 | -0.016127 | -0.0040429 | 1.9912e-06 | 1.1539e-06 | 0.024025 | 0.024025 | 0.024025 | 0.999 | -0.019202 | 0.99887 | -0.021793 | 6.6004
30 | 0.059396 | 0.015072 | -0.059322 | -0.015025 | 7.4525e-05 | 4.7376e-05 | 0.089282 | 0.089282 | 0.089282 | 0.99066 | -0.17846 | 0.9893 | -0.20458 | 24.5281
31 | 0.048535 | 0.012221 | -0.048497 | -0.012197 | 3.7961e-05 | 2.405e-05 | 0.072922 | 0.072922 | 0.072922 | 0.99066 | -0.17846 | 0.98981 | -0.19483 | 20.0336
32 | 0.049457 | 0.012553 | -0.049383 | -0.012506 | 7.3594e-05 | 4.6646e-05 | 0.074445 | 0.074445 | 0.074445 | 0.9893 | -0.20458 | 0.98769 | -0.23556 | 20.4519
33 | 0.03732 | 0.0093956 | -0.037274 | -0.0093666 | 4.6084e-05 | 2.8993e-05 | 0.05612 | 0.05612 | 0.05612 | 0.98981 | -0.19483 | 0.98848 | -0.2207 | 15.4176
34 | 0.0070512 | 0.0017669 | -0.0070511 | -0.0017668 | 1.2646e-07 | 4.1003e-08 | 0.010509 | 0.010509 | 0.010509 | 0.99841 | -0.030608 | 0.99839 | -0.030985 | 2.8871
35 | -0.0083229 | -0.0020856 | 0.0083242 | 0.0020861 | 1.3109e-06 | 5.4181e-07 | 0.012404 | 0.012404 | 0.012404 | 0.99841 | -0.030608 | 0.99858 | -0.027302 | 3.4078
36 | 0.0023016 | 0.00057649 | -0.0023015 | -0.00057658 | 4.1527e-08 | -9.6496e-08 | 0.0034302 | 0.0034302 | 0.0034302 | 0.99839 | -0.030985 | 0.99837 | -0.031364 | 0.94237
37 | -0.010649 | -0.0026687 | 0.010649 | 0.0026688 | 1.9711e-07 | 9.8843e-08 | 0.015868 | 0.015868 | 0.015868 | 0.99858 | -0.027302 | 0.9986 | -0.026913 | 4.3594
38 | -0.01209 | -0.0030299 | 0.01209 | 0.00303 | 2.4704e-07 | 1.3155e-07 | 0.018015 | 0.018015 | 0.018015 | 0.9986 | -0.026913 | 0.99862 | -0.026484 | 4.9491
39 | -0.00099046 | -0.00024823 | 0.00099048 | 0.000248 | 1.4968e-08 | -2.2993e-07 | 0.0014763 | 0.0014762 | 0.0014763 | 0.99835 | -0.031681 | 0.99837 | -0.031364 | 0.40556
40 | -0.013471 | -0.0033761 | 0.013472 | 0.0033771 | 1.7556e-06 | 9.7154e-07 | 0.020072 | 0.020072 | 0.020072 | 0.99862 | -0.026484 | 0.99876 | -0.023749 | 5.5144
41 | -0.024733 | -0.0062108 | 0.024764 | 0.0062298 | 3.0818e-05 | 1.8989e-05 | 0.037566 | 0.037566 | 0.037566 | 0.9798 | -0.38905 | 0.98113 | -0.36296 | 10.3204
42 | 0.01539 | 0.0038581 | -0.015388 | -0.0038572 | 1.4346e-06 | 8.2287e-07 | 0.022927 | 0.022927 | 0.022927 | 0.99887 | -0.021793 | 0.99876 | -0.023749 | 6.2985
43 | 0.046164 | 0.011689 | -0.046033 | -0.011606 | 0.00013103 | 8.2941e-05 | 0.069636 | 0.069636 | 0.069636 | 0.98707 | -0.24755 | 0.98401 | -0.30684 | 19.1308
44 | -0.046164 | -0.011689 | 0.046191 | 0.011706 | 2.6581e-05 | 1.6825e-05 | 0.069636 | 0.069636 | 0.069636 | 0.98707 | -0.24755 | 0.98769 | -0.23556 | 19.1307
45 | 0.046033 | 0.011606 | -0.045947 | -0.011552 | 8.6013e-05 | 5.4449e-05 | 0.069636 | 0.069636 | 0.069636 | 0.98401 | -0.30684 | 0.982 | -0.34596 | 19.1308
46 | 0.029504 | 0.0074193 | -0.029495 | -0.0074136 | 9.0902e-06 | 5.6604e-06 | 0.044424 | 0.044424 | 0.044424 | 0.98848 | -0.2207 | 0.98814 | -0.22715 | 12.2043
47 | 0.022872 | 0.0057538 | -0.022851 | -0.0057409 | 2.1083e-05 | 1.2887e-05 | 0.03445 | 0.03445 | 0.03445 | 0.98814 | -0.22715 | 0.98715 | -0.24646 | 9.4644
48 | 0.0032398 | 0.00081178 | -0.0032396 | -0.00081188 | 1.3026e-07 | -1.0097e-07 | 0.0048958 | 0.0048959 | 0.0048959 | 0.98467 | -0.29468 | 0.98463 | -0.29553 | 1.345
49 | 0.0032396 | 0.00081188 | -0.0032396 | -0.00081192 | 5.2898e-08 | -4.0996e-08 | 0.0048959 | 0.0048959 | 0.0048959 | 0.98463 | -0.29553 | 0.98461 | -0.29587 | 1.345
50 | 0.034493 | 0.0086684 | -0.034493 | -0.008668 | 5.2629e-07 | 3.3035e-07 | 0.052321 | 0.052321 | 0.052321 | 0.98115 | -0.36264 | 0.98113 | -0.36296 | 14.3739
51 | -0.042159 | -0.01059 | 0.042193 | 0.010611 | 3.3587e-05 | 2.1219e-05 | 0.063948 | 0.063947 | 0.063948 | 0.98115 | -0.36264 | 0.982 | -0.34596 | 17.568
52 | 0.021376 | 0.0053642 | -0.021372 | -0.0053613 | 4.8079e-06 | 2.9198e-06 | 0.032255 | 0.032255 | 0.032255 | 0.98623 | -0.2643 | 0.98599 | -0.26902 | 8.8612
53 | -0.022832 | -0.005729 | 0.022851 | 0.0057409 | 1.9433e-05 | 1.1879e-05 | 0.034451 | 0.03445 | 0.034451 | 0.98623 | -0.2643 | 0.98715 | -0.24646 | 9.4645

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17018 | 0.042891

## res_load
| p_mw | q_mvar
0 | 0.0036925 | 0.00092544
1 | 0.0030937 | 0.00077535
2 | 0.001705 | 0.00042731
3 | 0.0043386 | 0.0010874
4 | 0.005055 | 0.0012669
5 | 0.0017212 | 0.00043138
6 | 0.0026864 | 0.00067327
7 | 0.0037772 | 0.00094666
8 | 0.0035096 | 0.0008796
9 | 0.0033815 | 0.00084748
10 | 0.0017057 | 0.00042749
11 | 0.0059345 | 0.0014873
12 | 0.0017015 | 0.00042644
13 | 0.0024968 | 0.00062576
14 | 0.0078988 | 0.0019796
15 | 0.0026774 | 0.00067103
16 | 0.0011062 | 0.00027725
17 | 0.0067035 | 0.0016801
18 | 0.0010537 | 0.00026408
19 | 0.0065232 | 0.0016349
20 | 0.0028195 | 0.00070662
21 | 0.0027103 | 0.00067926
22 | 0.00049627 | 0.00012438
23 | 0.003044 | 0.00076289
24 | 0.0098649 | 0.0024724
25 | 0.011177 | 0.0028012
26 | 0.0012717 | 0.00031873
27 | 0.0047495 | 0.0011903
28 | 0.0023247 | 0.00058261
29 | 0.0014406 | 0.00036104
30 | 0.00099046 | 0.00024823
31 | 0.0013111 | 0.00032858
32 | 0.0013808 | 0.00034607
33 | 0.0011022 | 0.00027624
34 | 0.00073763 | 0.00018487
35 | 0.0019159 | 0.00048017
36 | 0.0031922 | 0.00080004
37 | 0.0077698 | 0.0019473
38 | 0.0015178 | 0.00038039
39 | 0.0066231 | 0.0016599
40 | 0.0023768 | 0.00059569
41 | 0.0032396 | 0.00081192
42 | 0.0076662 | 0.0019213
43 | 0.0097288 | 0.0024383
44 | 0.0037542 | 0.0009409
45 | 0.0014554 | 0.00036475
46 | 0.0013894 | 0.00034821

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1