## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_152-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_152-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_152-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_152-5_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_152-5_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_152-5_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_152-5_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_152-5_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_152-5_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_152-5_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_152-5_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_152-5_0_2_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_152-5_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_152-5_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_152-5_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_152-5_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_152-5_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_152-5_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_152-5_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_152-5_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_152-5_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_152-5_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_152-5_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_152-5_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_152-5_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_152-5_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_152-5_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_152-5_0_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_152-5_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_152-5_0_2_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_152-5_0_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_152-5_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_152-5_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_152-5_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_152-5_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_152-5_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_152-5_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_152-5_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_152-5_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_152-5_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_152-5_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_152-5_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_152-5_0_2_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_152-5_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_152-5_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_152-5_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_152-5_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_152-5_0_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_152-5_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_152-5_0_2_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_152-5_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_152-5_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_152-5_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_152-5_0_2_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_152-5_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_152-5_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_152-5_0_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_152-5_0_2_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_152-5_0_2_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_152-5_0_2_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_152-5_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_152-5_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_152-5_0_2_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_152-5_0_2_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_152-5_0_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_152-5_0_2_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_152-5_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_152-5_0_2_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_152-5_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_152-5_0_2_node_68 | 0.4 | n |  | TRUE
70 | bus_MV_492_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_152-5_0_2_load_0 | 0 | 0.00026786 | 6.7132e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_152-5_0_2_load_4 | 3 | 0.00050459 | 0.00012646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_152-5_0_2_load_5 | 4 | 0.00096662 | 0.00024226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_152-5_0_2_load_8 | 7 | 0.00044589 | 0.00011175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_152-5_0_2_load_11 | 8 | 0.00014464 | 3.6251e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_152-5_0_2_load_9 | 9 | 0.00037899 | 9.4984e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_152-5_0_2_load_14 | 10 | 0.00060133 | 0.00015071 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_152-5_0_2_load_69 | 11 | 0.00042286 | 0.00010598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_152-5_0_2_load_15 | 15 | 0.00046083 | 0.00011549 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_152-5_0_2_load_20 | 16 | 0.00042435 | 0.00010635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_152-5_0_2_load_17 | 17 | 0.00026376 | 6.6104e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_152-5_0_2_load_16 | 18 | 0.0010896 | 0.00027309 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_152-5_0_2_load_18 | 19 | 0.00016926 | 4.2421e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_152-5_0_2_load_19 | 20 | 0.00080052 | 0.00020063 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_152-5_0_2_load_21 | 21 | 0.00050454 | 0.00012645 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_152-5_0_2_load_23 | 23 | 0.00036535 | 9.1566e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_152-5_0_2_load_24 | 24 | 0.00078904 | 0.00019775 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_152-5_0_2_load_26 | 26 | 0.0023436 | 0.00058737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_152-5_0_2_load_71 | 27 | 0.0022778 | 0.00057088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_152-5_0_2_load_27 | 28 | 0.0011253 | 0.00028203 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_152-5_0_2_load_72 | 29 | 0.0011862 | 0.00029728 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_152-5_0_2_load_66 | 30 | 0.0020565 | 0.00051542 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_152-5_0_2_load_28 | 31 | 0.00034061 | 8.5365e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_152-5_0_2_load_29 | 32 | 0.00016184 | 4.0561e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_152-5_0_2_load_30 | 33 | 0.001217 | 0.000305 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_152-5_0_2_load_31 | 34 | 0.00032114 | 8.0485e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_152-5_0_2_load_32 | 35 | 0.0050944 | 0.0012768 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_152-5_0_2_load_33 | 36 | 0.00089216 | 0.0002236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_152-5_0_2_load_34 | 37 | 0.0030017 | 0.00075229 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_152-5_0_2_load_39 | 40 | 0.0033193 | 0.0008319 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_152-5_0_2_load_36 | 41 | 0.0026508 | 0.00066435 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_152-5_0_2_load_40 | 43 | 0.0028587 | 0.00071646 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_152-5_0_2_load_41 | 44 | 0.019959 | 0.0050023 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_152-5_0_2_load_48 | 47 | 0.0046189 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_152-5_0_2_load_51 | 49 | 0.0023854 | 0.00059783 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_152-5_0_2_load_43 | 50 | 0.005085 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_152-5_0_2_load_44 | 51 | 0.0014381 | 0.00036041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_152-5_0_2_load_73 | 53 | 0.00277 | 0.00069423 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_152-5_0_2_load_54 | 54 | 0.0036004 | 0.00090235 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_152-5_0_2_load_55 | 55 | 0.00068033 | 0.00017051 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_152-5_0_2_load_57 | 57 | 0.0006804 | 0.00017052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_152-5_0_2_load_59 | 59 | 0.0035129 | 0.00088041 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_152-5_0_2_load_63 | 60 | 0.00098851 | 0.00024775 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_152-5_0_2_load_60 | 61 | 0.012566 | 0.0031493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_152-5_0_2_load_62 | 63 | 0.0019897 | 0.00049867 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_152-5_0_2_load_70 | 64 | 0.003136 | 0.00078597 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_152-5_0_2_load_50 | 66 | 0.0042124 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_152-5_0_2_load_52 | 67 | 0.0048552 | 0.0012168 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_152-5_0_2_load_65 | 68 | 0.0020995 | 0.00052618 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_152-5_0_2_load_68 | 69 | 0.0017764 | 0.00044521 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_152-5_0_2_line_0 |  | 0 | 1 | 0.045992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_152-5_0_2_line_1 |  | 1 | 2 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_152-5_0_2_line_2 |  | 2 | 3 | 0.23333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_152-5_0_2_line_3 |  | 3 | 4 | 0.025819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_152-5_0_2_line_4 |  | 4 | 5 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_152-5_0_2_line_5 |  | 5 | 6 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_152-5_0_2_line_6 |  | 5 | 7 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_152-5_0_2_line_7 |  | 6 | 8 | 0.015108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_152-5_0_2_line_8 |  | 6 | 9 | 0.0076025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_152-5_0_2_line_9 |  | 7 | 10 | 0.0082991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_152-5_0_2_line_10 |  | 8 | 11 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_152-5_0_2_line_11 |  | 9 | 12 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_152-5_0_2_line_12 |  | 10 | 13 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_152-5_0_2_line_13 |  | 12 | 14 | 0.17246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_152-5_0_2_line_14 |  | 13 | 15 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_152-5_0_2_line_15 |  | 14 | 16 | 0.074297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_152-5_0_2_line_16 |  | 14 | 17 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_152-5_0_2_line_17 |  | 15 | 18 | 0.010306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_152-5_0_2_line_18 |  | 17 | 19 | 0.057345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_152-5_0_2_line_19 |  | 19 | 20 | 0.0075456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_152-5_0_2_line_20 |  | 20 | 21 | 0.0084368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_152-5_0_2_line_21 |  | 21 | 22 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_152-5_0_2_line_22 |  | 22 | 23 | 0.0014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_152-5_0_2_line_23 |  | 22 | 24 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_152-5_0_2_line_24 |  | 23 | 25 | 0.058765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_152-5_0_2_line_25 |  | 24 | 26 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_152-5_0_2_line_26 |  | 25 | 27 | 0.27421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_152-5_0_2_line_27 |  | 26 | 28 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_152-5_0_2_line_28 |  | 27 | 29 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_152-5_0_2_line_29 |  | 28 | 31 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_152-5_0_2_line_30 |  | 29 | 30 | 0.1549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_152-5_0_2_line_31 |  | 30 | 69 | 0.13673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_152-5_0_2_line_32 |  | 30 | 53 | 0.23797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_152-5_0_2_line_33 |  | 30 | 68 | 0.037715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_152-5_0_2_line_34 |  | 31 | 32 | 0.0070115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_152-5_0_2_line_35 |  | 32 | 33 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_152-5_0_2_line_36 |  | 33 | 34 | 0.050605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_152-5_0_2_line_37 |  | 35 | 36 | 0.11325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_152-5_0_2_line_38 |  | 35 | 37 | 0.030106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_152-5_0_2_line_39 |  | 37 | 38 | 0.059637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_152-5_0_2_line_40 |  | 38 | 39 | 0.022584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_152-5_0_2_line_41 |  | 39 | 40 | 0.074852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_152-5_0_2_line_42 |  | 39 | 41 | 0.037519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_152-5_0_2_line_43 |  | 40 | 45 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_152-5_0_2_line_44 |  | 41 | 42 | 0.031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_152-5_0_2_line_45 |  | 42 | 43 | 0.0080918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_152-5_0_2_line_46 |  | 42 | 44 | 0.04002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_152-5_0_2_line_47 |  | 44 | 46 | 0.012477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_152-5_0_2_line_48 |  | 45 | 47 | 0.067033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_152-5_0_2_line_49 |  | 45 | 48 | 0.062347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_152-5_0_2_line_50 |  | 46 | 49 | 0.025962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_152-5_0_2_line_51 |  | 47 | 66 | 0.19867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_152-5_0_2_line_52 |  | 48 | 50 | 0.082281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_152-5_0_2_line_53 |  | 49 | 67 | 0.0003887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_152-5_0_2_line_54 |  | 50 | 51 | 0.064133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_152-5_0_2_line_55 |  | 51 | 52 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_152-5_0_2_line_56 |  | 52 | 53 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_152-5_0_2_line_57 |  | 54 | 55 | 0.0043682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_152-5_0_2_line_58 |  | 54 | 56 | 0.025982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_152-5_0_2_line_59 |  | 55 | 57 | 0.00072821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_152-5_0_2_line_60 |  | 56 | 58 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_152-5_0_2_line_61 |  | 56 | 59 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_152-5_0_2_line_62 |  | 57 | 60 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_152-5_0_2_line_63 |  | 58 | 61 | 0.03628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_152-5_0_2_line_64 |  | 59 | 62 | 0.043599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_152-5_0_2_line_65 |  | 60 | 65 | 0.072671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_152-5_0_2_line_66 |  | 62 | 63 | 0.032949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_152-5_0_2_line_67 |  | 63 | 64 | 0.029585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_152-5_0_2_line_68 |  | 65 | 66 | 0.073808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_152-5_0_2_trafo_43 | 0.63 MVA 20/0.4 kV | 70 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689238.0285 | 1239277.5111 | 2689237.436 | 1239265.6046 | 2689238.3256 | 1239256.7449 | 2689241.8816 | 1239246.6354 | 2689248.9848 | 1239234.0516
1 | 2689238.0285 | 1239277.5111 | 2689239.0574 | 1239289.0683 | 2689241.7163 | 1239297.3588
2 | 2689426.5986 | 1239439.7059 | 2689241.7163 | 1239297.3588
3 | 2689426.5986 | 1239439.7059 | 2689429.2389 | 1239441.496 | 2689448.6375 | 1239453.1476
4 | 2689470.4632 | 1239464.545 | 2689450.7154 | 1239454.3956 | 2689448.6375 | 1239453.1476
5 | 2689485.0258 | 1239469.935 | 2689478.6057 | 1239467.8145 | 2689470.4632 | 1239464.545
6 | 2689470.4632 | 1239464.545 | 2689481.0536 | 1239450.8667
7 | 2689485.0258 | 1239469.935 | 2689478.0209 | 1239478.002 | 2689474.4861 | 1239480.6623
8 | 2689485.0258 | 1239469.935 | 2689492.6282 | 1239469.894
9 | 2689481.0536 | 1239450.8667 | 2689486.1344 | 1239444.3046
10 | 2689458.3762 | 1239492.7864 | 2689474.4861 | 1239480.6623
11 | 2689509.3369 | 1239463.8859 | 2689501.7613 | 1239468.1637 | 2689492.6282 | 1239469.894
12 | 2689494.8371 | 1239432.2665 | 2689492.0014 | 1239436.727 | 2689486.1344 | 1239444.3046
13 | 2689509.3369 | 1239463.8859 | 2689533.1039 | 1239486.8832 | 2689540.6383 | 1239495.8589 | 2689542.7697 | 1239500.9837 | 2689542.6046 | 1239507.4081 | 2689530.2153 | 1239550.9975 | 2689508.7579 | 1239618.1009
14 | 2689494.8371 | 1239432.2665 | 2689500.0393 | 1239422.3598 | 2689501.506 | 1239418.9027
15 | 2689508.7579 | 1239618.1009 | 2689517.774 | 1239619.6045 | 2689525.4781 | 1239618.3198 | 2689557.4521 | 1239605.1701 | 2689568.9717 | 1239604.6768 | 2689579.6752 | 1239601.2337
16 | 2689508.7579 | 1239618.1009 | 2689506.946 | 1239626.9022 | 2689505.8459 | 1239636.1479 | 2689505.5953 | 1239643.3087
17 | 2689501.506 | 1239418.9027 | 2689505.5312 | 1239409.4149
18 | 2689503.7281 | 1239700.6074 | 2689504.2746 | 1239695.1896 | 2689504.8623 | 1239664.2536 | 2689505.5953 | 1239643.3087
19 | 2689503.7281 | 1239700.6074 | 2689502.9708 | 1239708.1149
20 | 2689502.6248 | 1239716.5209 | 2689502.4514 | 1239713.2642 | 2689502.9708 | 1239708.1149
21 | 2689503.583 | 1239734.519 | 2689502.6248 | 1239716.5209
22 | 2689503.583 | 1239734.519 | 2689503.6085 | 1239735.9621
23 | 2689503.583 | 1239734.519 | 2689524.8788 | 1239731.2377 | 2689524.8788 | 1239731.2377
24 | 2689509.892 | 1239794.1244 | 2689504.1537 | 1239766.8846 | 2689503.6085 | 1239735.9621
25 | 2689524.8788 | 1239731.2377 | 2689542.8424 | 1239732.2426
26 | 2689509.892 | 1239794.1244 | 2689238.2773 | 1239831.7882
27 | 2689554.9768 | 1239722.1316 | 2689542.8424 | 1239732.2426 | 2689542.8424 | 1239732.2426
28 | 2689223.5513 | 1239832.821 | 2689238.2773 | 1239831.7882
29 | 2689554.9768 | 1239722.1316 | 2689569.7903 | 1239709.7882 | 2689570.0577 | 1239709.9056
30 | 2689088.1238 | 1239757.6226 | 2689223.5513 | 1239832.821
31 | 2689088.1238 | 1239757.6226 | 2689150.1781 | 1239737.6494 | 2689164.3146 | 1239729.0888 | 2689167.4934 | 1239719.385 | 2689153.9241 | 1239686.1681 | 2689153.362 | 1239677.2643 | 2689153.362 | 1239677.2643
32 | 2688926.215 | 1239583.2232 | 2689088.1238 | 1239757.6226
33 | 2689068.947 | 1239782.21 | 2689078.2654 | 1239778.311 | 2689081.531 | 1239774.4016 | 2689079.4525 | 1239764.2296 | 2689080.8325 | 1239759.9695 | 2689088.1238 | 1239757.6226
34 | 2689570.0577 | 1239709.9056 | 2689576.4776 | 1239712.7245 | 2689576.4776 | 1239712.7245
35 | 2689581.9262 | 1239724.2784 | 2689576.4776 | 1239712.7245
36 | 2689581.9262 | 1239724.2784 | 2689587.4785 | 1239736.052 | 2689595.4271 | 1239739.1075 | 2689617.273 | 1239758.289
37 | 2688571.6076 | 1239666.822 | 2688561.396 | 1239670.768 | 2688552.9702 | 1239677.3472 | 2688540.6574 | 1239690.4731 | 2688506.1951 | 1239728.6539 | 2688490.332 | 1239744.158
38 | 2688571.6076 | 1239666.822 | 2688579.4868 | 1239663.7772 | 2688597.9545 | 1239656.8811 | 2688599.6601 | 1239655.9447
39 | 2688650.225 | 1239624.6266 | 2688639.4473 | 1239629.6471 | 2688629.405 | 1239636.58 | 2688610.1793 | 1239650.1697 | 2688599.6601 | 1239655.9447
40 | 2688650.225 | 1239624.6266 | 2688663.9309 | 1239619.5386 | 2688671.9414 | 1239620.0141
41 | 2688671.9414 | 1239620.0141 | 2688715.6906 | 1239559.2789
42 | 2688671.9414 | 1239620.0141 | 2688669.1033 | 1239625.1866 | 2688664.6584 | 1239636.6619 | 2688656.5381 | 1239654.1847
43 | 2688725.4373 | 1239547.8495 | 2688715.6906 | 1239559.2789
44 | 2688645.9693 | 1239683.6838 | 2688652.4893 | 1239662.9216 | 2688656.5381 | 1239654.1847
45 | 2688645.9693 | 1239683.6838 | 2688644.7623 | 1239687.5242 | 2688643.7992 | 1239691.4747
46 | 2688645.9693 | 1239683.6838 | 2688626.3051 | 1239681.0662 | 2688608.3455 | 1239690.2734
47 | 2688597.2423 | 1239695.9656 | 2688608.3455 | 1239690.2734
48 | 2688725.4373 | 1239547.8495 | 2688714.4273 | 1239536.5212 | 2688690.1328 | 1239515.2206 | 2688676.9691 | 1239504.7608 | 2688675.4447 | 1239503.2986
49 | 2688775.3064 | 1239510.3898 | 2688754.654 | 1239524.2467 | 2688740.4657 | 1239534.7645 | 2688725.4373 | 1239547.8495
50 | 2688597.2423 | 1239695.9656 | 2688595.9077 | 1239696.7017 | 2688590.5831 | 1239710.3656 | 2688583.5565 | 1239717.1583
51 | 2688675.4447 | 1239503.2986 | 2688625.1054 | 1239311.1084
52 | 2688775.3064 | 1239510.3898 | 2688824.0361 | 1239542.0193 | 2688844.2343 | 1239555.3239
53 | 2688583.2771 | 1239717.4284 | 2688583.5565 | 1239717.1583
54 | 2688844.2343 | 1239555.3239 | 2688894.614 | 1239588.5093 | 2688898.2482 | 1239589.6394
55 | 2688909.0007 | 1239589.4921 | 2688902.1276 | 1239590.8457 | 2688898.2482 | 1239589.6394
56 | 2688909.0007 | 1239589.4921 | 2688924.6505 | 1239583.9223 | 2688926.215 | 1239583.2232
57 | 2688786.5587 | 1239242.6157 | 2688782.9736 | 1239245.1114
58 | 2688804.3968 | 1239223.8272 | 2688789.1503 | 1239240.8116 | 2688786.5587 | 1239242.6157
59 | 2688782.3759 | 1239245.5274 | 2688782.9736 | 1239245.1114
60 | 2688817.7533 | 1239241.651 | 2688812.7921 | 1239232.9927 | 2688804.3968 | 1239223.8272
61 | 2688804.3968 | 1239223.8272 | 2688796.3555 | 1239215.9503
62 | 2688760.8772 | 1239257.163 | 2688768.477 | 1239253.4673 | 2688776.1405 | 1239249.8681 | 2688782.3759 | 1239245.5274
63 | 2688817.7533 | 1239241.651 | 2688850.2485 | 1239225.5169
64 | 2688773.4223 | 1239179.2539 | 2688778.7634 | 1239191.3425 | 2688785.5393 | 1239203.0857 | 2688794.1835 | 1239213.8227 | 2688796.3555 | 1239215.9503
65 | 2688694.9493 | 1239287.6046 | 2688701.4025 | 1239285.5217 | 2688750.2204 | 1239262.3453 | 2688760.8772 | 1239257.163
66 | 2688773.4223 | 1239179.2539 | 2688781.044 | 1239173.3969 | 2688797.5869 | 1239156.9368
67 | 2688818.5592 | 1239136.0696 | 2688797.5869 | 1239156.9368
68 | 2688694.9493 | 1239287.6046 | 2688639.1667 | 1239304.6063 | 2688625.1054 | 1239311.1084

## bus_geodata
| x | y | coords
0 | 2689248.9848 | 1239234.0516
1 | 2689238.0285 | 1239277.5111
2 | 2689241.7163 | 1239297.3588
3 | 2689426.5986 | 1239439.7059
4 | 2689448.6375 | 1239453.1476
5 | 2689470.4632 | 1239464.545
6 | 2689485.0258 | 1239469.935
7 | 2689481.0536 | 1239450.8667
8 | 2689474.4861 | 1239480.6623
9 | 2689492.6282 | 1239469.894
10 | 2689486.1344 | 1239444.3046
11 | 2689458.3762 | 1239492.7864
12 | 2689509.3369 | 1239463.8859
13 | 2689494.8371 | 1239432.2665
14 | 2689508.7579 | 1239618.1009
15 | 2689501.506 | 1239418.9027
16 | 2689579.6752 | 1239601.2337
17 | 2689505.5953 | 1239643.3087
18 | 2689505.5312 | 1239409.4149
19 | 2689503.7281 | 1239700.6074
20 | 2689502.9708 | 1239708.1149
21 | 2689502.6248 | 1239716.5209
22 | 2689503.583 | 1239734.519
23 | 2689503.6085 | 1239735.9621
24 | 2689524.8788 | 1239731.2377
25 | 2689509.892 | 1239794.1244
26 | 2689542.8424 | 1239732.2426
27 | 2689238.2773 | 1239831.7882
28 | 2689554.9768 | 1239722.1316
29 | 2689223.5513 | 1239832.821
30 | 2689088.1238 | 1239757.6226
31 | 2689570.0577 | 1239709.9056
32 | 2689576.4776 | 1239712.7245
33 | 2689581.9262 | 1239724.2784
34 | 2689617.273 | 1239758.289
35 | 2688571.6076 | 1239666.822
36 | 2688490.332 | 1239744.158
37 | 2688599.6601 | 1239655.9447
38 | 2688650.225 | 1239624.6266
39 | 2688671.9414 | 1239620.0141
40 | 2688715.6906 | 1239559.2789
41 | 2688656.5381 | 1239654.1847
42 | 2688645.9693 | 1239683.6838
43 | 2688643.7992 | 1239691.4747
44 | 2688608.3455 | 1239690.2734
45 | 2688725.4373 | 1239547.8495
46 | 2688597.2423 | 1239695.9656
47 | 2688675.4447 | 1239503.2986
48 | 2688775.3064 | 1239510.3898
49 | 2688583.5565 | 1239717.1583
50 | 2688844.2343 | 1239555.3239
51 | 2688898.2482 | 1239589.6394
52 | 2688909.0007 | 1239589.4921
53 | 2688926.215 | 1239583.2232
54 | 2688786.5587 | 1239242.6157
55 | 2688782.9736 | 1239245.1114
56 | 2688804.3968 | 1239223.8272
57 | 2688782.3759 | 1239245.5274
58 | 2688817.7533 | 1239241.651
59 | 2688796.3555 | 1239215.9503
60 | 2688760.8772 | 1239257.163
61 | 2688850.2485 | 1239225.5169
62 | 2688773.4223 | 1239179.2539
63 | 2688797.5869 | 1239156.9368
64 | 2688818.5592 | 1239136.0696
65 | 2688694.9493 | 1239287.6046
66 | 2688625.1054 | 1239311.1084
67 | 2688583.2771 | 1239717.4284
68 | 2689068.947 | 1239782.21
69 | 2689153.362 | 1239677.2643
70 | 2688909.0007 | 1239589.4921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98363 | -0.31639 | 0.00026786 | 6.7132e-05
1 | 0.98364 | -0.31617 | 0 | 0
2 | 0.98365 | -0.31607 | 0 | 0
3 | 0.9837 | -0.31492 | 0.00050459 | 0.00012646
4 | 0.98372 | -0.31456 | 0.00096662 | 0.00024226
5 | 0.98376 | -0.31378 | 0 | 0
6 | 0.98382 | -0.31257 | 0 | 0
7 | 0.98372 | -0.31459 | 0.00044589 | 0.00011175
8 | 0.98382 | -0.31272 | 0.00014464 | 3.6251e-05
9 | 0.98386 | -0.31189 | 0.00037899 | 9.4984e-05
10 | 0.9837 | -0.31491 | 0.00060133 | 0.00015071
11 | 0.98381 | -0.31287 | 0.00042286 | 0.00010598
12 | 0.98395 | -0.31018 | 0 | 0
13 | 0.98368 | -0.31533 | 0 | 0
14 | 0.98478 | -0.29373 | 0 | 0
15 | 0.98366 | -0.31574 | 0.00046083 | 0.00011549
16 | 0.98476 | -0.2943 | 0.00042435 | 0.00010635
17 | 0.98492 | -0.29111 | 0.00026376 | 6.6104e-05
18 | 0.98365 | -0.31595 | 0.0010896 | 0.00027309
19 | 0.98523 | -0.28493 | 0.00016926 | 4.2421e-05
20 | 0.98528 | -0.28409 | 0.00080052 | 0.00020063
21 | 0.98533 | -0.28304 | 0.00050454 | 0.00012645
22 | 0.98545 | -0.28062 | 0 | 0
23 | 0.98547 | -0.28026 | 0.00036535 | 9.1566e-05
24 | 0.98533 | -0.28306 | 0.00078904 | 0.00019775
25 | 0.98624 | -0.26536 | 0 | 0
26 | 0.98524 | -0.28484 | 0.0023436 | 0.00058737
27 | 0.9898 | -0.19609 | 0.0022778 | 0.00057088
28 | 0.98519 | -0.28574 | 0.0011253 | 0.00028203
29 | 0.99002 | -0.19177 | 0.0011862 | 0.00029728
30 | 0.99252 | -0.14336 | 0.0020565 | 0.00051542
31 | 0.98516 | -0.28645 | 0.00034061 | 8.5365e-05
32 | 0.98514 | -0.28667 | 0.00016184 | 4.0561e-05
33 | 0.98513 | -0.28702 | 0.001217 | 0.000305
34 | 0.98511 | -0.28732 | 0.00032114 | 8.0485e-05
35 | 0.98481 | -0.29095 | 0.0050944 | 0.0012768
36 | 0.98472 | -0.29277 | 0.00089216 | 0.0002236
37 | 0.98498 | -0.28771 | 0.0030017 | 0.00075229
38 | 0.98547 | -0.27808 | 0 | 0
39 | 0.98566 | -0.27443 | 0 | 0
40 | 0.98854 | -0.21858 | 0.0033193 | 0.0008319
41 | 0.98453 | -0.29648 | 0.0026508 | 0.00066435
42 | 0.98365 | -0.31346 | 0 | 0
43 | 0.98363 | -0.31388 | 0.0028587 | 0.00071646
44 | 0.98265 | -0.33309 | 0.019959 | 0.0050023
45 | 0.98916 | -0.20653 | 0 | 0
46 | 0.98257 | -0.33472 | 0 | 0
47 | 0.98692 | -0.24962 | 0.0046189 | 0.0011576
48 | 0.99383 | -0.11694 | 0 | 0
49 | 0.98239 | -0.33812 | 0.0023854 | 0.00059783
50 | 1 | 0 | -0.11208 | -0.0283
51 | 0.99837 | -0.031102 | 0.0014381 | 0.00036041
52 | 0.9981 | -0.036201 | 0 | 0
53 | 0.99766 | -0.04465 | 0.00277 | 0.00069423
54 | 0.97672 | -0.44819 | 0.0036004 | 0.00090235
55 | 0.97682 | -0.44621 | 0.00068033 | 0.00017051
56 | 0.97621 | -0.45826 | 0 | 0
57 | 0.97684 | -0.44587 | 0.0006804 | 0.00017052
58 | 0.97595 | -0.46341 | 0 | 0
59 | 0.97612 | -0.46004 | 0.0035129 | 0.00088041
60 | 0.97744 | -0.43416 | 0.00098851 | 0.00024775
61 | 0.97553 | -0.47176 | 0.012566 | 0.0031493
62 | 0.97591 | -0.46413 | 0 | 0
63 | 0.97576 | -0.46722 | 0.0019897 | 0.00049867
64 | 0.97567 | -0.46892 | 0.003136 | 0.00078597
65 | 0.97927 | -0.39821 | 0 | 0
66 | 0.98113 | -0.36184 | 0.0042124 | 0.0010557
67 | 0.98239 | -0.33815 | 0.0048552 | 0.0012168
68 | 0.99245 | -0.14476 | 0.0020995 | 0.00052618
69 | 0.9923 | -0.14766 | 0.0017764 | 0.00044521
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00026786 | -6.7132e-05 | 0.00026786 | 6.655e-05 | 2.8305e-09 | -5.8199e-07 | 0.00040521 | 0.00040501 | 0.00040521 | 0.98363 | -0.31639 | 0.98364 | -0.31617 | 0.11132
1 | -0.00026786 | -6.655e-05 | 0.00026786 | 6.6293e-05 | 1.2489e-09 | -2.57e-07 | 0.00040501 | 0.00040491 | 0.00040501 | 0.98364 | -0.31617 | 0.98365 | -0.31607 | 0.11127
2 | -0.00026786 | -6.6293e-05 | 0.00026788 | 6.334e-05 | 1.4309e-08 | -2.9529e-06 | 0.00040491 | 0.00040389 | 0.00040491 | 0.98365 | -0.31607 | 0.9837 | -0.31492 | 0.11124
3 | -0.00077247 | -0.0001898 | 0.00077248 | 0.00018948 | 1.3188e-08 | -3.1934e-07 | 0.0011671 | 0.001167 | 0.0011671 | 0.9837 | -0.31492 | 0.98372 | -0.31456 | 0.32064
4 | -0.0017391 | -0.00043174 | 0.0017392 | 0.00043147 | 6.3835e-08 | -2.7182e-07 | 0.0026292 | 0.0026291 | 0.0026292 | 0.98372 | -0.31456 | 0.98376 | -0.31378 | 0.7223
5 | -0.0043371 | -0.0010818 | 0.0043373 | 0.0010818 | 2.4992e-07 | -3.6799e-08 | 0.0065583 | 0.0065582 | 0.0065583 | 0.98376 | -0.31378 | 0.98382 | -0.31257 | 1.8017
6 | 0.0025979 | 0.00065034 | -0.0025978 | -0.00065049 | 1.0016e-07 | -1.5553e-07 | 0.0039292 | 0.0039293 | 0.0039293 | 0.98376 | -0.31378 | 0.98372 | -0.31459 | 1.0795
7 | 0.00056751 | 0.00014179 | -0.00056751 | -0.00014198 | 4.1729e-09 | -1.8917e-07 | 0.00085819 | 0.00085826 | 0.00085826 | 0.98382 | -0.31257 | 0.98382 | -0.31272 | 0.23579
8 | -0.0049048 | -0.0012236 | 0.004905 | 0.0012236 | 1.5681e-07 | 3.8163e-09 | 0.0074164 | 0.0074164 | 0.0074164 | 0.98382 | -0.31257 | 0.98386 | -0.31189 | 2.0375
9 | 0.0021519 | 0.00053874 | -0.0021519 | -0.00053883 | 3.2971e-08 | -8.426e-08 | 0.0032548 | 0.0032549 | 0.0032549 | 0.98372 | -0.31459 | 0.9837 | -0.31491 | 0.8942
10 | 0.00042286 | 0.00010572 | -0.00042286 | -0.00010598 | 3.0925e-09 | -2.5404e-07 | 0.00063949 | 0.00063958 | 0.00063958 | 0.98382 | -0.31272 | 0.98381 | -0.31287 | 0.17571
11 | -0.005284 | -0.0013185 | 0.0052844 | 0.0013186 | 4.3076e-07 | 4.714e-08 | 0.0079896 | 0.0079895 | 0.0079896 | 0.98386 | -0.31189 | 0.98395 | -0.31018 | 2.1949
12 | 0.0015505 | 0.00038812 | -0.0015505 | -0.00038829 | 3.067e-08 | -1.6913e-07 | 0.0023453 | 0.0023453 | 0.0023453 | 0.9837 | -0.31491 | 0.98368 | -0.31533 | 0.64432
13 | -0.0052844 | -0.0013186 | 0.0052885 | 0.001319 | 4.1277e-06 | 4.4941e-07 | 0.0079895 | 0.0079887 | 0.0079895 | 0.98395 | -0.31018 | 0.98478 | -0.29373 | 2.1949
14 | 0.0015505 | 0.00038829 | -0.0015505 | -0.00038846 | 3.0828e-08 | -1.6999e-07 | 0.0023453 | 0.0023454 | 0.0023454 | 0.98368 | -0.31533 | 0.98366 | -0.31574 | 0.64434
15 | 0.00042436 | 0.00010541 | -0.00042435 | -0.00010635 | 1.1449e-08 | -9.3794e-07 | 0.00064088 | 0.00064121 | 0.00064121 | 0.98478 | -0.29373 | 0.98476 | -0.2943 | 0.17616
16 | -0.0057129 | -0.0014245 | 0.0057136 | 0.0014246 | 7.1105e-07 | 1.3107e-07 | 0.0086296 | 0.0086295 | 0.0086296 | 0.98478 | -0.29373 | 0.98492 | -0.29111 | 2.3708
17 | 0.0010896 | 0.00027296 | -0.0010896 | -0.00027309 | 1.0501e-08 | -1.2411e-07 | 0.0016483 | 0.0016483 | 0.0016483 | 0.98366 | -0.31574 | 0.98365 | -0.31595 | 0.45284
18 | -0.0059773 | -0.0014907 | 0.0059791 | 0.0014911 | 1.7526e-06 | 3.9165e-07 | 0.009028 | 0.0090277 | 0.009028 | 0.98492 | -0.29111 | 0.98523 | -0.28493 | 2.4802
19 | -0.0061484 | -0.0015335 | 0.0061486 | 0.0015336 | 2.4385e-07 | 5.9972e-08 | 0.0092833 | 0.0092833 | 0.0092833 | 0.98523 | -0.28493 | 0.98528 | -0.28409 | 2.5504
20 | -0.0069491 | -0.0017342 | 0.0069495 | 0.0017343 | 3.4829e-07 | 1.1545e-07 | 0.010492 | 0.010492 | 0.010492 | 0.98528 | -0.28409 | 0.98533 | -0.28304 | 2.8825
21 | -0.007454 | -0.0018608 | 0.0074549 | 0.0018611 | 8.5605e-07 | 3.1827e-07 | 0.011254 | 0.011254 | 0.011254 | 0.98533 | -0.28304 | 0.98545 | -0.28062 | 3.0918
22 | -0.013755 | -0.0034387 | 0.013755 | 0.0034388 | 2.334e-07 | 1.3099e-07 | 0.020766 | 0.020766 | 0.020766 | 0.98545 | -0.28062 | 0.98547 | -0.28026 | 5.7051
23 | 0.0062999 | 0.0015776 | -0.0062992 | -0.0015774 | 7.3114e-07 | 1.9344e-07 | 0.0095123 | 0.0095124 | 0.0095124 | 0.98545 | -0.28062 | 0.98533 | -0.28306 | 2.6133
24 | -0.01412 | -0.0035304 | 0.01413 | 0.0035361 | 1.0015e-05 | 5.6602e-06 | 0.021318 | 0.021318 | 0.021318 | 0.98547 | -0.28026 | 0.98624 | -0.26536 | 5.8566
25 | 0.0055102 | 0.0013797 | -0.0055097 | -0.0013796 | 4.6714e-07 | 6.9825e-08 | 0.0083209 | 0.0083209 | 0.0083209 | 0.98533 | -0.28306 | 0.98524 | -0.28484 | 2.286
26 | -0.01413 | -0.0035361 | 0.014177 | 0.0035625 | 4.6728e-05 | 2.6394e-05 | 0.021318 | 0.021317 | 0.021318 | 0.98624 | -0.26536 | 0.9898 | -0.19609 | 5.8566
27 | 0.0031661 | 0.00079225 | -0.003166 | -0.00079237 | 1.3541e-07 | -1.1447e-07 | 0.0047813 | 0.0047814 | 0.0047814 | 0.98524 | -0.28484 | 0.98519 | -0.28574 | 1.3136
28 | -0.016455 | -0.0041333 | 0.016458 | 0.0041353 | 3.3886e-06 | 1.9789e-06 | 0.024741 | 0.024741 | 0.024741 | 0.9898 | -0.19609 | 0.99002 | -0.19177 | 6.797
29 | 0.0020407 | 0.00051034 | -0.0020406 | -0.00051054 | 6.9716e-08 | -2.0462e-07 | 0.0030818 | 0.0030819 | 0.0030819 | 0.98519 | -0.28574 | 0.98516 | -0.28645 | 0.84667
30 | -0.017645 | -0.0044326 | 0.017685 | 0.0044568 | 4.0865e-05 | 2.4157e-05 | 0.026524 | 0.026523 | 0.026524 | 0.99002 | -0.19177 | 0.99252 | -0.14336 | 7.2868
31 | 0.0017768 | 0.00044368 | -0.0017764 | -0.00044521 | 3.6375e-07 | -1.5339e-06 | 0.0026632 | 0.0026638 | 0.0026638 | 0.99252 | -0.14336 | 0.9923 | -0.14766 | 0.73182
32 | -0.023618 | -0.0059416 | 0.02373 | 0.0060102 | 0.00011194 | 6.8547e-05 | 0.035417 | 0.035416 | 0.035417 | 0.99252 | -0.14336 | 0.99766 | -0.04465 | 9.73
33 | 0.0020996 | 0.00052578 | -0.0020995 | -0.00052618 | 1.4013e-07 | -3.977e-07 | 0.0031477 | 0.0031478 | 0.0031478 | 0.99252 | -0.14336 | 0.99245 | -0.14476 | 0.86479
34 | 0.0017 | 0.00042518 | -0.0017 | -0.00042526 | 1.7331e-08 | -7.8182e-08 | 0.0025674 | 0.0025674 | 0.0025674 | 0.98516 | -0.28645 | 0.98514 | -0.28667 | 0.70534
35 | 0.0015381 | 0.00038469 | -0.0015381 | -0.00038484 | 2.585e-08 | -1.461e-07 | 0.002323 | 0.002323 | 0.002323 | 0.98514 | -0.28667 | 0.98513 | -0.28702 | 0.6382
36 | 0.00032114 | 7.9844e-05 | -0.00032114 | -8.0485e-05 | 4.4632e-09 | -6.4143e-07 | 0.00048486 | 0.00048508 | 0.00048508 | 0.98513 | -0.28702 | 0.98511 | -0.28732 | 0.13326
37 | 0.00089224 | 0.00022221 | -0.00089216 | -0.0002236 | 7.7159e-08 | -1.3914e-06 | 0.0013476 | 0.0013482 | 0.0013482 | 0.98481 | -0.29095 | 0.98472 | -0.29277 | 0.37037
38 | -0.0059867 | -0.001499 | 0.0059876 | 0.0014992 | 9.2366e-07 | 2.0801e-07 | 0.0090452 | 0.009045 | 0.0090452 | 0.98481 | -0.29095 | 0.98498 | -0.28771 | 2.4849
39 | -0.0089893 | -0.0022515 | 0.0089934 | 0.0022534 | 4.124e-06 | 1.8799e-06 | 0.01358 | 0.013579 | 0.01358 | 0.98498 | -0.28771 | 0.98547 | -0.27808 | 3.7307
40 | -0.0089934 | -0.0022534 | 0.008995 | 0.0022541 | 1.5617e-06 | 7.1168e-07 | 0.013579 | 0.013579 | 0.013579 | 0.98547 | -0.27808 | 0.98566 | -0.27443 | 3.7306
41 | -0.041791 | -0.010505 | 0.041902 | 0.010576 | 0.00011176 | 7.0573e-05 | 0.063101 | 0.063101 | 0.063101 | 0.98566 | -0.27443 | 0.98854 | -0.21858 | 17.3355
42 | 0.032796 | 0.0082509 | -0.032761 | -0.0082293 | 3.4505e-05 | 2.1605e-05 | 0.049522 | 0.049522 | 0.049522 | 0.98566 | -0.27443 | 0.98453 | -0.29648 | 13.605
43 | -0.045222 | -0.011407 | 0.045248 | 0.011424 | 2.6121e-05 | 1.6525e-05 | 0.068097 | 0.068097 | 0.068097 | 0.98854 | -0.21858 | 0.98916 | -0.20653 | 18.708
44 | 0.03011 | 0.007565 | -0.030086 | -0.0075498 | 2.4387e-05 | 1.5209e-05 | 0.045516 | 0.045516 | 0.045516 | 0.98453 | -0.29648 | 0.98365 | -0.31346 | 12.5043
45 | 0.0028588 | 0.00071639 | -0.0028587 | -0.00071646 | 5.6749e-08 | -6.6394e-08 | 0.0043245 | 0.0043246 | 0.0043246 | 0.98365 | -0.31346 | 0.98363 | -0.31388 | 1.1881
46 | 0.027227 | 0.0068334 | -0.027202 | -0.0068176 | 2.5463e-05 | 1.5789e-05 | 0.041191 | 0.041191 | 0.041191 | 0.98365 | -0.31346 | 0.98265 | -0.33309 | 11.3163
47 | 0.0072423 | 0.0018153 | -0.0072417 | -0.0018151 | 5.6276e-07 | 2.0212e-07 | 0.010967 | 0.010967 | 0.010967 | 0.98265 | -0.33309 | 0.98257 | -0.33472 | 3.0129
48 | 0.036363 | 0.0092526 | -0.036288 | -0.0092052 | 7.5356e-05 | 4.737e-05 | 0.054752 | 0.054752 | 0.054752 | 0.98916 | -0.20653 | 0.98692 | -0.24962 | 15.0418
49 | -0.081611 | -0.020677 | 0.081964 | 0.020902 | 0.00035285 | 0.00022502 | 0.12285 | 0.12285 | 0.12285 | 0.98916 | -0.20653 | 0.99383 | -0.11694 | 33.7498
50 | 0.0072417 | 0.0018151 | -0.0072405 | -0.0018146 | 1.171e-06 | 4.2066e-07 | 0.010967 | 0.010967 | 0.010967 | 0.98257 | -0.33472 | 0.98239 | -0.33812 | 3.0129
51 | 0.031669 | 0.0080476 | -0.031499 | -0.0079413 | 0.00017015 | 0.00010637 | 0.047788 | 0.047789 | 0.047789 | 0.98692 | -0.24962 | 0.98113 | -0.36184 | 13.1289
52 | -0.081964 | -0.020902 | 0.08243 | 0.021199 | 0.00046566 | 0.00029695 | 0.12285 | 0.12285 | 0.12285 | 0.99383 | -0.11694 | 1 | 0 | 33.7497
53 | 0.0048552 | 0.0012168 | -0.0048552 | -0.0012168 | 7.883e-09 | 1.2332e-10 | 0.007354 | 0.007354 | 0.007354 | 0.98239 | -0.33812 | 0.98239 | -0.33815 | 2.0203
54 | 0.027997 | 0.0071014 | -0.027956 | -0.0070755 | 4.1801e-05 | 2.5913e-05 | 0.04169 | 0.041691 | 0.041691 | 1 | 0 | 0.99837 | -0.031102 | 11.4535
55 | 0.026518 | 0.0067151 | -0.026511 | -0.0067111 | 6.4912e-06 | 4.0097e-06 | 0.039547 | 0.039547 | 0.039547 | 0.99837 | -0.031102 | 0.9981 | -0.036201 | 10.8647
56 | 0.026511 | 0.0067111 | -0.0265 | -0.0067044 | 1.0748e-05 | 6.6391e-06 | 0.039547 | 0.039548 | 0.039548 | 0.9981 | -0.036201 | 0.99766 | -0.04465 | 10.8647
57 | -0.024826 | -0.0062276 | 0.024828 | 0.006229 | 2.3435e-06 | 1.4451e-06 | 0.037824 | 0.037823 | 0.037824 | 0.97672 | -0.44819 | 0.97682 | -0.44621 | 10.3911
58 | 0.021225 | 0.0053252 | -0.021215 | -0.005319 | 1.0189e-05 | 6.196e-06 | 0.032338 | 0.032338 | 0.032338 | 0.97672 | -0.44819 | 0.97621 | -0.45826 | 8.8842
59 | -0.025508 | -0.0063995 | 0.025509 | 0.0063998 | 4.1237e-07 | 2.548e-07 | 0.03886 | 0.03886 | 0.03886 | 0.97682 | -0.44621 | 0.97684 | -0.44587 | 10.6758
60 | 0.012574 | 0.0031537 | -0.012571 | -0.003152 | 3.0838e-06 | 1.6939e-06 | 0.019167 | 0.019167 | 0.019167 | 0.97621 | -0.45826 | 0.97595 | -0.46341 | 5.2656
61 | 0.0086414 | 0.0021653 | -0.0086406 | -0.002165 | 7.3235e-07 | 3.2798e-07 | 0.013172 | 0.013172 | 0.013172 | 0.97621 | -0.45826 | 0.97612 | -0.46004 | 3.6186
62 | -0.026189 | -0.0065703 | 0.026204 | 0.0065794 | 1.4633e-05 | 9.0578e-06 | 0.039896 | 0.039896 | 0.039896 | 0.97684 | -0.44587 | 0.97744 | -0.43416 | 10.9605
63 | 0.012571 | 0.003152 | -0.012566 | -0.0031493 | 4.9981e-06 | 2.7457e-06 | 0.019167 | 0.019167 | 0.019167 | 0.97595 | -0.46341 | 0.97553 | -0.47176 | 5.2657
64 | 0.0051278 | 0.0012846 | -0.0051268 | -0.0012845 | 9.9898e-07 | 9.4474e-08 | 0.0078167 | 0.0078169 | 0.0078169 | 0.97612 | -0.46004 | 0.97591 | -0.46413 | 2.1475
65 | -0.027192 | -0.0068271 | 0.027239 | 0.0068561 | 4.671e-05 | 2.8982e-05 | 0.041401 | 0.041401 | 0.041401 | 0.97744 | -0.43416 | 0.97927 | -0.39821 | 11.3739
66 | 0.0051268 | 0.0012845 | -0.005126 | -0.0012844 | 7.55e-07 | 7.1572e-08 | 0.0078169 | 0.007817 | 0.007817 | 0.97591 | -0.46413 | 0.97576 | -0.46722 | 2.1475
67 | 0.0031363 | 0.00078576 | -0.003136 | -0.00078597 | 2.5379e-07 | -2.0709e-07 | 0.0047827 | 0.0047829 | 0.0047829 | 0.97576 | -0.46722 | 0.97567 | -0.46892 | 1.314
68 | -0.027239 | -0.0068561 | 0.027287 | 0.0068855 | 4.744e-05 | 2.9431e-05 | 0.041401 | 0.0414 | 0.041401 | 0.97927 | -0.39821 | 0.98113 | -0.36184 | 11.3738

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11716 | 0.029575

## res_load
| p_mw | q_mvar
0 | 0.00026786 | 6.7132e-05
1 | 0.00050459 | 0.00012646
2 | 0.00096662 | 0.00024226
3 | 0.00044589 | 0.00011175
4 | 0.00014464 | 3.6251e-05
5 | 0.00037899 | 9.4984e-05
6 | 0.00060133 | 0.00015071
7 | 0.00042286 | 0.00010598
8 | 0.00046083 | 0.00011549
9 | 0.00042435 | 0.00010635
10 | 0.00026376 | 6.6104e-05
11 | 0.0010896 | 0.00027309
12 | 0.00016926 | 4.2421e-05
13 | 0.00080052 | 0.00020063
14 | 0.00050454 | 0.00012645
15 | 0.00036535 | 9.1566e-05
16 | 0.00078904 | 0.00019775
17 | 0.0023436 | 0.00058737
18 | 0.0022778 | 0.00057088
19 | 0.0011253 | 0.00028203
20 | 0.0011862 | 0.00029728
21 | 0.0020565 | 0.00051542
22 | 0.00034061 | 8.5365e-05
23 | 0.00016184 | 4.0561e-05
24 | 0.001217 | 0.000305
25 | 0.00032114 | 8.0485e-05
26 | 0.0050944 | 0.0012768
27 | 0.00089216 | 0.0002236
28 | 0.0030017 | 0.00075229
29 | 0.0033193 | 0.0008319
30 | 0.0026508 | 0.00066435
31 | 0.0028587 | 0.00071646
32 | 0.019959 | 0.0050023
33 | 0.0046189 | 0.0011576
34 | 0.0023854 | 0.00059783
35 | 0.005085 | 0.0012744
36 | 0.0014381 | 0.00036041
37 | 0.00277 | 0.00069423
38 | 0.0036004 | 0.00090235
39 | 0.00068033 | 0.00017051
40 | 0.0006804 | 0.00017052
41 | 0.0035129 | 0.00088041
42 | 0.00098851 | 0.00024775
43 | 0.012566 | 0.0031493
44 | 0.0019897 | 0.00049867
45 | 0.003136 | 0.00078597
46 | 0.0042124 | 0.0010557
47 | 0.0048552 | 0.0012168
48 | 0.0020995 | 0.00052618
49 | 0.0017764 | 0.00044521

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1