## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-13_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_154-13_0_5_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_154-13_0_5_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_154-13_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_154-13_0_5_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_154-13_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_154-13_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_154-13_0_5_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_154-13_0_5_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_154-13_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_154-13_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_154-13_0_5_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_154-13_0_5_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_154-13_0_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_154-13_0_5_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_154-13_0_5_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_154-13_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_154-13_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_154-13_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_154-13_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_154-13_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_154-13_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_154-13_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_154-13_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_154-13_0_5_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_154-13_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_154-13_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_154-13_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_154-13_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_154-13_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_154-13_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_154-13_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_154-13_0_5_node_5 | 0.4 | n |  | TRUE
36 | bus_LV_154-13_0_5_node_6 | 0.4 | n |  | TRUE
37 | bus_LV_154-13_0_5_node_7 | 0.4 | n |  | TRUE
38 | bus_LV_154-13_0_5_node_8 | 0.4 | n |  | TRUE
39 | bus_LV_154-13_0_5_node_9 | 0.4 | n |  | TRUE
40 | bus_LV_154-13_0_5_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_154-13_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_154-13_0_5_node_11 | 0.4 | n |  | TRUE
43 | bus_LV_154-13_0_5_node_13 | 0.4 | n |  | TRUE
44 | bus_LV_154-13_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_154-13_0_5_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_154-13_0_5_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_154-13_0_5_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_154-13_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_154-13_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_154-13_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_154-13_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_154-13_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_154-13_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_154-13_0_5_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_154-13_0_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_154-13_0_5_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_154-13_0_5_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_154-13_0_5_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_154-13_0_5_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_154-13_0_5_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_154-13_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_154-13_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_154-13_0_5_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_154-13_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_154-13_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_154-13_0_5_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_154-13_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_154-13_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_154-13_0_5_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_154-13_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_154-13_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_154-13_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_154-13_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_154-13_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_154-13_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_154-13_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_154-13_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_154-13_0_5_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_154-13_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_154-13_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_154-13_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_154-13_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_492_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-13_0_5_load_0 | 0 | 0.020028 | 0.0050196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-13_0_5_load_1 | 1 | 0.0099748 | 0.0024999 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-13_0_5_load_50 | 5 | 0.0056991 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-13_0_5_load_86 | 7 | 0.02098 | 0.005258 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-13_0_5_load_87 | 10 | 0.03622 | 0.0090776 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-13_0_5_load_78 | 14 | 0.0089753 | 0.0022494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-13_0_5_load_85 | 15 | 0.0017813 | 0.00044643 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-13_0_5_load_84 | 18 | 0.013266 | 0.0033247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-13_0_5_load_10 | 21 | 0.0088167 | 0.0022097 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-13_0_5_load_33 | 24 | 0.02047 | 0.0051303 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-13_0_5_load_29 | 25 | 0.012604 | 0.003159 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-13_0_5_load_48 | 27 | 0.0032767 | 0.00082123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-13_0_5_load_45 | 28 | 0.0073979 | 0.0018541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-13_0_5_load_34 | 29 | 0.015877 | 0.0039791 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-13_0_5_load_53 | 32 | 0.0074167 | 0.0018588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-13_0_5_load_52 | 33 | 0.016706 | 0.004187 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-13_0_5_load_58 | 34 | 0.0034577 | 0.00086658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-13_0_5_load_5 | 35 | 0.0029005 | 0.00072693 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-13_0_5_load_6 | 36 | 0.0079 | 0.0019799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-13_0_5_load_7 | 37 | 0.0077408 | 0.00194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-13_0_5_load_8 | 38 | 0.0074266 | 0.0018613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-13_0_5_load_9 | 39 | 0.0061525 | 0.001542 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-13_0_5_load_39 | 40 | 0.0090952 | 0.0022795 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-13_0_5_load_37 | 41 | 0.0047721 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-13_0_5_load_11 | 42 | 0.013753 | 0.0034469 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-13_0_5_load_13 | 43 | 0.010409 | 0.0026086 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-13_0_5_load_66 | 46 | 0.00045077 | 0.00011297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-13_0_5_load_77 | 47 | 0.0029558 | 0.00074081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-13_0_5_load_54 | 49 | 0.0097996 | 0.002456 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-13_0_5_load_49 | 50 | 0.026876 | 0.0067358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-13_0_5_load_35 | 51 | 0.010116 | 0.0025354 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-13_0_5_load_30 | 52 | 0.027558 | 0.0069067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-13_0_5_load_46 | 53 | 0.0072475 | 0.0018164 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-13_0_5_load_81 | 56 | 0.0065137 | 0.0016325 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-13_0_5_load_83 | 58 | 0.00365 | 0.00091478 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-13_0_5_load_80 | 59 | 0.0022165 | 0.00055552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-13_0_5_load_79 | 60 | 0.002164 | 0.00054235 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-13_0_5_load_36 | 61 | 0.0047166 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-13_0_5_load_62 | 62 | 0.0030472 | 0.0007637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-13_0_5_load_31 | 63 | 0.012404 | 0.0031086 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-13_0_5_load_41 | 64 | 0.0092928 | 0.002329 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-13_0_5_load_42 | 65 | 0.0044141 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-13_0_5_load_68 | 66 | 0.0063627 | 0.0015946 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-13_0_5_load_67 | 67 | 0.010291 | 0.0025793 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-13_0_5_load_70 | 69 | 0.00075896 | 0.00019021 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-13_0_5_load_43 | 70 | 0.013781 | 0.0034538 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-13_0_5_load_47 | 71 | 0.0057779 | 0.0014481 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-13_0_5_load_55 | 72 | 0.0055939 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-13_0_5_load_57 | 73 | 0.0029031 | 0.00072758 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-13_0_5_load_59 | 74 | 0.0012709 | 0.00031851 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-13_0_5_load_60 | 75 | 0.0041392 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-13_0_5_load_88 | 78 | 0.0057194 | 0.0014334 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-13_0_5_load_74 | 80 | 0.0022104 | 0.00055398 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-13_0_5_load_82 | 82 | 0.0066212 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-13_0_5_line_0 |  | 0 | 1 | 0.020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-13_0_5_line_1 |  | 0 | 2 | 0.008347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-13_0_5_line_2 |  | 2 | 3 | 0.043007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-13_0_5_line_3 |  | 3 | 4 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-13_0_5_line_4 |  | 3 | 5 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-13_0_5_line_5 |  | 4 | 34 | 0.018863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-13_0_5_line_6 |  | 4 | 11 | 0.048666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-13_0_5_line_7 |  | 5 | 13 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-13_0_5_line_8 |  | 6 | 7 | 0.004779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-13_0_5_line_9 |  | 6 | 8 | 0.075217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-13_0_5_line_10 |  | 8 | 19 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-13_0_5_line_11 |  | 8 | 20 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_154-13_0_5_line_12 |  | 8 | 21 | 0.020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-13_0_5_line_13 |  | 9 | 10 | 0.058326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-13_0_5_line_14 |  | 9 | 11 | 0.062738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-13_0_5_line_15 |  | 11 | 15 | 0.020636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-13_0_5_line_16 |  | 12 | 13 | 0.11196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-13_0_5_line_17 |  | 12 | 14 | 0.019838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-13_0_5_line_18 |  | 13 | 33 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-13_0_5_line_19 |  | 16 | 17 | 0.002279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-13_0_5_line_20 |  | 16 | 18 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-13_0_5_line_21 |  | 17 | 62 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-13_0_5_line_22 |  | 17 | 46 | 0.0056273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-13_0_5_line_23 |  | 19 | 45 | 0.006285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-13_0_5_line_24 |  | 19 | 46 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-13_0_5_line_25 |  | 20 | 29 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_154-13_0_5_line_26 |  | 22 | 23 | 0.011202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_154-13_0_5_line_27 |  | 22 | 24 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-13_0_5_line_28 |  | 22 | 25 | 0.035759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_154-13_0_5_line_29 |  | 23 | 51 | 0.0047514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_154-13_0_5_line_30 |  | 23 | 50 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-13_0_5_line_31 |  | 24 | 34 | 0.0018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-13_0_5_line_32 |  | 25 | 52 | 0.0083295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_154-13_0_5_line_33 |  | 26 | 27 | 0.024005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-13_0_5_line_34 |  | 26 | 28 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-13_0_5_line_35 |  | 27 | 32 | 0.0042075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-13_0_5_line_36 |  | 28 | 53 | 0.0067052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-13_0_5_line_37 |  | 29 | 51 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_154-13_0_5_line_38 |  | 30 | 31 | 0.0058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-13_0_5_line_39 |  | 30 | 32 | 0.008247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-13_0_5_line_40 |  | 31 | 61 | 0.0036725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-13_0_5_line_41 |  | 35 | 36 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-13_0_5_line_42 |  | 35 | 37 | 0.0050114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-13_0_5_line_43 |  | 36 | 38 | 0.0062543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-13_0_5_line_44 |  | 37 | 39 | 0.0066838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-13_0_5_line_45 |  | 38 | 40 | 0.018606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-13_0_5_line_46 |  | 40 | 41 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-13_0_5_line_47 |  | 41 | 61 | 0.0083989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-13_0_5_line_48 |  | 42 | 43 | 0.032991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-13_0_5_line_49 |  | 43 | 44 | 0.037966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-13_0_5_line_50 |  | 44 | 47 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-13_0_5_line_51 |  | 44 | 48 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_154-13_0_5_line_52 |  | 45 | 49 | 0.015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-13_0_5_line_53 |  | 47 | 60 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-13_0_5_line_54 |  | 48 | 66 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-13_0_5_line_55 |  | 49 | 72 | 0.00031584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-13_0_5_line_56 |  | 52 | 63 | 0.032334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-13_0_5_line_57 |  | 53 | 71 | 0.0022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_154-13_0_5_line_58 |  | 54 | 55 | 0.038368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-13_0_5_line_59 |  | 54 | 56 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_154-13_0_5_line_60 |  | 54 | 57 | 0.015724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_154-13_0_5_line_61 |  | 55 | 58 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_154-13_0_5_line_62 |  | 56 | 82 | 0.0059313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-13_0_5_line_63 |  | 57 | 69 | 0.010302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-13_0_5_line_64 |  | 57 | 81 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_154-13_0_5_line_65 |  | 59 | 60 | 0.0084026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_154-13_0_5_line_66 |  | 62 | 75 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-13_0_5_line_67 |  | 63 | 64 | 0.0022881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_154-13_0_5_line_68 |  | 64 | 65 | 0.0032944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_154-13_0_5_line_69 |  | 65 | 70 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-13_0_5_line_70 |  | 66 | 67 | 0.0052856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-13_0_5_line_71 |  | 67 | 68 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-13_0_5_line_72 |  | 68 | 69 | 0.035513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-13_0_5_line_73 |  | 70 | 71 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_154-13_0_5_line_74 |  | 72 | 73 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_154-13_0_5_line_75 |  | 74 | 75 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_154-13_0_5_line_76 |  | 74 | 76 | 0.023694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_154-13_0_5_line_77 |  | 76 | 77 | 0.003681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_154-13_0_5_line_78 |  | 77 | 78 | 0.060558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_154-13_0_5_line_79 |  | 77 | 79 | 0.031749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_154-13_0_5_line_80 |  | 79 | 80 | 0.0093542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_154-13_0_5_line_81 |  | 80 | 81 | 0.030513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-13_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 83 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2686355.7724 | 1241472.7852 | 2686360.5404 | 1241460.6838 | 2686362.9951 | 1241453.1627
1 | 2686352.7126 | 1241480.5511 | 2686355.7724 | 1241472.7852
2 | 2686326.5909 | 1241514.6626 | 2686331.602 | 1241507.0077 | 2686332.7622 | 1241505.2233 | 2686347.8553 | 1241486.4625 | 2686352.7126 | 1241480.5511
3 | 2686318.5856 | 1241521.7959 | 2686324.8547 | 1241517.0614 | 2686326.5909 | 1241514.6626
4 | 2686326.5909 | 1241514.6626 | 2686335.3037 | 1241520.2267 | 2686338.4699 | 1241521.1042
5 | 2686318.5856 | 1241521.7959 | 2686299.9704 | 1241518.7465
6 | 2686318.5856 | 1241521.7959 | 2686312.9206 | 1241544.7747 | 2686305.6917 | 1241568.7092
7 | 2686362.091 | 1241527.644 | 2686344.4085 | 1241522.7499 | 2686338.4699 | 1241521.1042
8 | 2686238.9448 | 1241564.3249 | 2686239.7995 | 1241559.6228
9 | 2686225.6064 | 1241514.417 | 2686231.0875 | 1241514.9971 | 2686229.9591 | 1241522.3972 | 2686222.3151 | 1241567.1076 | 2686238.9448 | 1241564.3249
10 | 2686225.6064 | 1241514.417 | 2686208.2119 | 1241512.5853
11 | 2686225.6064 | 1241514.417 | 2686231.0875 | 1241514.9971 | 2686232.495 | 1241506.6003
12 | 2686225.6064 | 1241514.417 | 2686229.3702 | 1241494.1699
13 | 2686284.7884 | 1241622.5334 | 2686295.8328 | 1241583.7212 | 2686292.4981 | 1241580.615 | 2686295.0942 | 1241567.4431
14 | 2686284.7884 | 1241622.5334 | 2686289.3766 | 1241624.1902 | 2686299.6301 | 1241591.9269 | 2686303.0066 | 1241577.5989 | 2686305.6917 | 1241568.7092
15 | 2686305.6917 | 1241568.7092 | 2686325.6972 | 1241573.7727
16 | 2686362.091 | 1241527.644 | 2686371.6432 | 1241530.0847 | 2686373.2176 | 1241530.4857 | 2686369.4685 | 1241544.4191 | 2686379.6764 | 1241547.0028 | 2686390.7656 | 1241549.8107 | 2686396.7547 | 1241551.3212 | 2686395.2241 | 1241573.3483 | 2686401.4153 | 1241575.0062 | 2686396.6784 | 1241593.94 | 2686406.4977 | 1241595.1616
17 | 2686406.4977 | 1241595.1616 | 2686406.8706 | 1241591.3642 | 2686404.8997 | 1241587.0324 | 2686402.1837 | 1241585.5807 | 2686404.039 | 1241577.6098
18 | 2686362.091 | 1241527.644 | 2686359.2941 | 1241539.0227
19 | 2686180.8172 | 1241522.4947 | 2686180.4643 | 1241520.2435
20 | 2686180.8172 | 1241522.4947 | 2686169.5515 | 1241523.7741
21 | 2686180.4643 | 1241520.2435 | 2686177.259 | 1241497.7764
22 | 2686180.4643 | 1241520.2435 | 2686186.0253 | 1241519.3821
23 | 2686210.1965 | 1241506.6209 | 2686208.2119 | 1241512.5853
24 | 2686208.2119 | 1241512.5853 | 2686189.9145 | 1241518.7797 | 2686186.0253 | 1241519.3821
25 | 2686232.495 | 1241506.6003 | 2686251.2679 | 1241509.4435
26 | 2686286.1212 | 1241517.91 | 2686279.0193 | 1241514.4042 | 2686275.9445 | 1241513.1808
27 | 2686286.1212 | 1241517.91 | 2686292.8103 | 1241517.5736 | 2686298.1101 | 1241518.4418
28 | 2686286.1212 | 1241517.91 | 2686287.338 | 1241505.9968 | 2686293.7157 | 1241483.0835
29 | 2686275.9445 | 1241513.1808 | 2686271.2467 | 1241512.4693
30 | 2686275.9445 | 1241513.1808 | 2686272.9136 | 1241517.262 | 2686262.0626 | 1241515.6449
31 | 2686299.9704 | 1241518.7465 | 2686298.1101 | 1241518.4418
32 | 2686295.9493 | 1241475.059 | 2686293.7157 | 1241483.0835
33 | 2686311.8522 | 1241390.0688 | 2686301.7842 | 1241390.8452 | 2686287.89 | 1241391.435
34 | 2686311.8522 | 1241390.0688 | 2686311.7098 | 1241408.6451
35 | 2686283.6863 | 1241391.6135 | 2686287.89 | 1241391.435
36 | 2686311.6584 | 1241415.3501 | 2686311.7098 | 1241408.6451
37 | 2686271.2467 | 1241512.4693 | 2686251.2679 | 1241509.4435
38 | 2686275.4467 | 1241391.9632 | 2686273.7855 | 1241397.5209
39 | 2686275.4467 | 1241391.9632 | 2686283.6863 | 1241391.6135
40 | 2686273.7855 | 1241397.5209 | 2686272.7335 | 1241401.0395
41 | 2686255.6193 | 1241452.9033 | 2686259.3538 | 1241444.6343 | 2686259.6711 | 1241443.6992
42 | 2686255.6193 | 1241452.9033 | 2686253.5567 | 1241457.4705 | 2686253.5567 | 1241457.4705
43 | 2686259.6711 | 1241443.6992 | 2686261.6809 | 1241437.7766
44 | 2686248.0593 | 1241461.2722 | 2686253.5567 | 1241457.4705
45 | 2686261.6809 | 1241437.7766 | 2686263.0746 | 1241433.6693 | 2686265.9011 | 1241423.8922 | 2686267.0731 | 1241419.9723
46 | 2686270.3277 | 1241409.0864 | 2686267.0731 | 1241419.9723
47 | 2686270.3277 | 1241409.0864 | 2686272.7335 | 1241401.0395
48 | 2686243.6287 | 1241420.9252 | 2686241.65 | 1241430.7781 | 2686237.2575 | 1241453.295
49 | 2686249.0677 | 1241383.4515 | 2686248.432 | 1241397.0077 | 2686243.6287 | 1241420.9252
50 | 2686249.0677 | 1241383.4515 | 2686249.1795 | 1241380.4398 | 2686251.1455 | 1241370.5612 | 2686251.1455 | 1241370.5612
51 | 2686249.0677 | 1241383.4515 | 2686243.7876 | 1241383.0856 | 2686242.2548 | 1241400.098
52 | 2686210.1965 | 1241506.6209 | 2686207.0445 | 1241503.4283 | 2686207.1539 | 1241492.4405
53 | 2686251.1455 | 1241370.5612 | 2686253.6062 | 1241368.7734 | 2686255.5165 | 1241359.4053
54 | 2686242.2548 | 1241400.098 | 2686234.3206 | 1241399.738 | 2686222.8639 | 1241401.5113
55 | 2686207.1571 | 1241492.1247 | 2686207.1539 | 1241492.4405
56 | 2686295.9493 | 1241475.059 | 2686298.7708 | 1241464.922 | 2686304.737 | 1241443.9419
57 | 2686311.6411 | 1241417.6038 | 2686311.6584 | 1241415.3501
58 | 2686157.4807 | 1241342.5363 | 2686152.5617 | 1241367.8055 | 2686164.9417 | 1241370.2758
59 | 2686164.9417 | 1241370.2758 | 2686175.513 | 1241371.8082 | 2686187.3506 | 1241371.5505
60 | 2686164.9417 | 1241370.2758 | 2686159.6228 | 1241385.0761
61 | 2686157.4807 | 1241342.5363 | 2686146.769 | 1241337.7246
62 | 2686193.2805 | 1241371.4214 | 2686187.3506 | 1241371.5505
63 | 2686159.6228 | 1241385.0761 | 2686169.9202 | 1241385.3807
64 | 2686159.6228 | 1241385.0761 | 2686132.3793 | 1241384.5359
65 | 2686257.1953 | 1241351.1721 | 2686255.5165 | 1241359.4053
66 | 2686177.259 | 1241497.7764 | 2686175.7224 | 1241487.0061 | 2686174.0788 | 1241484.5916 | 2686172.006 | 1241481.537 | 2686171.86 | 1241481.3382
67 | 2686304.737 | 1241443.9419 | 2686305.3628 | 1241441.741
68 | 2686306.2639 | 1241438.5723 | 2686305.3628 | 1241441.741
69 | 2686306.2639 | 1241438.5723 | 2686309.379 | 1241427.6182
70 | 2686217.6404 | 1241402.3198 | 2686217.6404 | 1241402.3198 | 2686222.8639 | 1241401.5113
71 | 2686205.4177 | 1241386.4308 | 2686206.4315 | 1241396.7975 | 2686209.3035 | 1241401.0534 | 2686212.8123 | 1241402.5943 | 2686217.6404 | 1241402.3198
72 | 2686205.4177 | 1241386.4308 | 2686169.9202 | 1241385.3807
73 | 2686311.6411 | 1241417.6038 | 2686311.6249 | 1241419.7204 | 2686309.379 | 1241427.6182
74 | 2686207.2587 | 1241481.9269 | 2686207.1571 | 1241492.1247
75 | 2686165.708 | 1241472.9607 | 2686171.86 | 1241481.3382
76 | 2686150.5413 | 1241454.8617 | 2686156.9766 | 1241461.0707 | 2686165.708 | 1241472.9607
77 | 2686150.2998 | 1241451.1888 | 2686150.5413 | 1241454.8617
78 | 2686150.2998 | 1241451.1888 | 2686210.9326 | 1241447.6442
79 | 2686134.2661 | 1241424.3589 | 2686144.7076 | 1241439.5103 | 2686150.0468 | 1241447.2601 | 2686150.2998 | 1241451.1888
80 | 2686134.2661 | 1241424.3589 | 2686133.8234 | 1241415.0151
81 | 2686132.3793 | 1241384.5359 | 2686133.8234 | 1241415.0151

## bus_geodata
| x | y | coords
0 | 2686355.7724 | 1241472.7852
1 | 2686362.9951 | 1241453.1627
2 | 2686352.7126 | 1241480.5511
3 | 2686326.5909 | 1241514.6626
4 | 2686318.5856 | 1241521.7959
5 | 2686338.4699 | 1241521.1042
6 | 2686238.9448 | 1241564.3249
7 | 2686239.7995 | 1241559.6228
8 | 2686225.6064 | 1241514.417
9 | 2686284.7884 | 1241622.5334
10 | 2686295.0942 | 1241567.4431
11 | 2686305.6917 | 1241568.7092
12 | 2686406.4977 | 1241595.1616
13 | 2686362.091 | 1241527.644
14 | 2686404.039 | 1241577.6098
15 | 2686325.6972 | 1241573.7727
16 | 2686180.8172 | 1241522.4947
17 | 2686180.4643 | 1241520.2435
18 | 2686169.5515 | 1241523.7741
19 | 2686208.212 | 1241512.5853
20 | 2686232.495 | 1241506.6003
21 | 2686229.3702 | 1241494.1699
22 | 2686286.1212 | 1241517.91
23 | 2686275.9445 | 1241513.1808
24 | 2686298.1101 | 1241518.4418
25 | 2686293.7157 | 1241483.0835
26 | 2686311.8522 | 1241390.0688
27 | 2686287.89 | 1241391.435
28 | 2686311.7098 | 1241408.6451
29 | 2686251.2679 | 1241509.4435
30 | 2686275.4467 | 1241391.9632
31 | 2686273.7855 | 1241397.5209
32 | 2686283.6863 | 1241391.6135
33 | 2686359.2941 | 1241539.0227
34 | 2686299.9704 | 1241518.7465
35 | 2686255.6193 | 1241452.9033
36 | 2686259.6711 | 1241443.6992
37 | 2686253.5567 | 1241457.4705
38 | 2686261.6809 | 1241437.7767
39 | 2686248.0593 | 1241461.2722
40 | 2686267.0731 | 1241419.9723
41 | 2686270.3277 | 1241409.0864
42 | 2686237.2575 | 1241453.295
43 | 2686243.6287 | 1241420.9252
44 | 2686249.0677 | 1241383.4515
45 | 2686210.1965 | 1241506.6209
46 | 2686186.0253 | 1241519.3821
47 | 2686251.1455 | 1241370.5612
48 | 2686242.2548 | 1241400.098
49 | 2686207.1539 | 1241492.4405
50 | 2686262.0626 | 1241515.6449
51 | 2686271.2467 | 1241512.4693
52 | 2686295.9493 | 1241475.059
53 | 2686311.6584 | 1241415.3501
54 | 2686164.9417 | 1241370.2758
55 | 2686157.4807 | 1241342.5363
56 | 2686187.3506 | 1241371.5505
57 | 2686159.6228 | 1241385.0761
58 | 2686146.769 | 1241337.7246
59 | 2686257.1953 | 1241351.1721
60 | 2686255.5165 | 1241359.4053
61 | 2686272.7335 | 1241401.0395
62 | 2686177.2589 | 1241497.7764
63 | 2686304.737 | 1241443.9419
64 | 2686305.3628 | 1241441.741
65 | 2686306.2639 | 1241438.5723
66 | 2686222.8639 | 1241401.5113
67 | 2686217.6404 | 1241402.3198
68 | 2686205.4177 | 1241386.4308
69 | 2686169.9202 | 1241385.3807
70 | 2686309.379 | 1241427.6182
71 | 2686311.6411 | 1241417.6038
72 | 2686207.1571 | 1241492.1247
73 | 2686207.2587 | 1241481.9269
74 | 2686165.708 | 1241472.9607
75 | 2686171.86 | 1241481.3382
76 | 2686150.5413 | 1241454.8617
77 | 2686150.2998 | 1241451.1888
78 | 2686210.9326 | 1241447.6442
79 | 2686134.2661 | 1241424.3589
80 | 2686133.8234 | 1241415.0151
81 | 2686132.3793 | 1241384.5359
82 | 2686193.2805 | 1241371.4214
83 | 2686286.1212 | 1241517.91

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99122 | -0.1684 | 0.020028 | 0.0050196
1 | 0.99103 | -0.1721 | 0.0099748 | 0.0024999
2 | 0.99145 | -0.16396 | 0 | 0
3 | 0.99263 | -0.14111 | 0 | 0
4 | 0.99324 | -0.12938 | 0 | 0
5 | 0.99224 | -0.14867 | 0.0056991 | 0.0014283
6 | 0.99136 | -0.16517 | 0 | 0
7 | 0.99126 | -0.16694 | 0.02098 | 0.005258
8 | 0.9928 | -0.13722 | 0 | 0
9 | 0.98945 | -0.20249 | 0 | 0
10 | 0.98751 | -0.24018 | 0.03622 | 0.0090776
11 | 0.99154 | -0.16212 | 0 | 0
12 | 0.99074 | -0.17766 | 0 | 0
13 | 0.99166 | -0.15982 | 0 | 0
14 | 0.99058 | -0.18082 | 0.0089753 | 0.0022494
15 | 0.9915 | -0.16277 | 0.0017813 | 0.00044643
16 | 0.98836 | -0.22221 | 0 | 0
17 | 0.98839 | -0.22167 | 0 | 0
18 | 0.98822 | -0.2249 | 0.013266 | 0.0033247
19 | 0.99095 | -0.17247 | 0 | 0
20 | 0.99373 | -0.11939 | 0 | 0
21 | 0.99263 | -0.14043 | 0.0088167 | 0.0022097
22 | 0.99649 | -0.066742 | 0 | 0
23 | 0.99582 | -0.079648 | 0 | 0
24 | 0.99513 | -0.092901 | 0.02047 | 0.0051303
25 | 1 | 0 | -0.47567 | -0.1206
26 | 0.9919 | -0.15541 | 0 | 0
27 | 0.99055 | -0.18155 | 0.0032767 | 0.00082123
28 | 0.99295 | -0.13522 | 0.0073979 | 0.0018541
29 | 0.99457 | -0.10333 | 0.015877 | 0.0039791
30 | 0.98994 | -0.19333 | 0 | 0
31 | 0.98967 | -0.19857 | 0 | 0
32 | 0.99033 | -0.1859 | 0.0074167 | 0.0018588
33 | 0.99148 | -0.16329 | 0.016706 | 0.004187
34 | 0.99495 | -0.096314 | 0.0034577 | 0.00086658
35 | 0.98787 | -0.23354 | 0.0029005 | 0.00072693
36 | 0.98803 | -0.23052 | 0.0079 | 0.0019799
37 | 0.98781 | -0.23478 | 0.0077408 | 0.00194
38 | 0.98817 | -0.22777 | 0.0074266 | 0.0018613
39 | 0.98777 | -0.23552 | 0.0061525 | 0.001542
40 | 0.98872 | -0.2171 | 0.0090952 | 0.0022795
41 | 0.98915 | -0.20876 | 0.0047721 | 0.001196
42 | 0.97076 | -0.56525 | 0.013753 | 0.0034469
43 | 0.97118 | -0.55686 | 0.010409 | 0.0026086
44 | 0.97204 | -0.53992 | 0 | 0
45 | 0.99085 | -0.17452 | 0 | 0
46 | 0.98888 | -0.2121 | 0.00045077 | 0.00011297
47 | 0.97195 | -0.54169 | 0.0029558 | 0.00074081
48 | 0.97269 | -0.52693 | 0 | 0
49 | 0.99059 | -0.17954 | 0.0097996 | 0.002456
50 | 0.99542 | -0.087235 | 0.026876 | 0.0067358
51 | 0.99557 | -0.084379 | 0.010116 | 0.0025354
52 | 0.99943 | -0.010842 | 0.027558 | 0.0069067
53 | 0.99337 | -0.12707 | 0.0072475 | 0.0018164
54 | 0.97636 | -0.45477 | 0 | 0
55 | 0.97623 | -0.45733 | 0 | 0
56 | 0.97609 | -0.46018 | 0.0065137 | 0.0016325
57 | 0.97661 | -0.44994 | 0 | 0
58 | 0.97619 | -0.45811 | 0.00365 | 0.00091478
59 | 0.97188 | -0.54306 | 0.0022165 | 0.00055552
60 | 0.97189 | -0.54271 | 0.002164 | 0.00054235
61 | 0.9895 | -0.20188 | 0.0047166 | 0.0011821
62 | 0.98665 | -0.25498 | 0.0030472 | 0.0007637
63 | 0.99583 | -0.079765 | 0.012404 | 0.0031086
64 | 0.9956 | -0.084162 | 0.0092928 | 0.002329
65 | 0.9953 | -0.089958 | 0.0044141 | 0.0011063
66 | 0.97327 | -0.5156 | 0.0063627 | 0.0015946
67 | 0.97345 | -0.51192 | 0.010291 | 0.0025793
68 | 0.97454 | -0.49049 | 0 | 0
69 | 0.97614 | -0.45915 | 0.00075896 | 0.00019021
70 | 0.9943 | -0.10913 | 0.013781 | 0.0034538
71 | 0.99353 | -0.12404 | 0.0057779 | 0.0014481
72 | 0.99059 | -0.17959 | 0.0055939 | 0.001402
73 | 0.99056 | -0.18012 | 0.0029031 | 0.00072758
74 | 0.98462 | -0.2941 | 0.0012709 | 0.00031851
75 | 0.98535 | -0.28011 | 0.0041392 | 0.0010374
76 | 0.983 | -0.32552 | 0 | 0
77 | 0.98274 | -0.33041 | 0 | 0
78 | 0.98242 | -0.33667 | 0.0057194 | 0.0014334
79 | 0.98073 | -0.36941 | 0 | 0
80 | 0.98014 | -0.38093 | 0.0022104 | 0.00055398
81 | 0.97827 | -0.41737 | 0 | 0
82 | 0.97605 | -0.46089 | 0.0066212 | 0.0016594
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0099765 | 0.0025008 | -0.0099748 | -0.0024999 | 1.7596e-06 | 8.5654e-07 | 0.014977 | 0.014977 | 0.014977 | 0.99122 | -0.1684 | 0.99103 | -0.1721 | 4.1146
1 | -0.030005 | -0.0075204 | 0.030011 | 0.0075243 | 6.3508e-06 | 3.9569e-06 | 0.045044 | 0.045044 | 0.045044 | 0.99122 | -0.1684 | 0.99145 | -0.16396 | 12.3746
2 | -0.030011 | -0.0075243 | 0.030044 | 0.0075447 | 3.2722e-05 | 2.0387e-05 | 0.045044 | 0.045043 | 0.045044 | 0.99145 | -0.16396 | 0.99263 | -0.14111 | 12.3746
3 | -0.061462 | -0.015431 | 0.061496 | 0.015453 | 3.4387e-05 | 2.1868e-05 | 0.092144 | 0.092144 | 0.092144 | 0.99263 | -0.14111 | 0.99324 | -0.12938 | 25.3144
4 | 0.031417 | 0.0078859 | -0.031406 | -0.0078789 | 1.1334e-05 | 7.0776e-06 | 0.047101 | 0.047101 | 0.047101 | 0.99263 | -0.14111 | 0.99224 | -0.14867 | 12.9399
5 | -0.099692 | -0.025099 | 0.09985 | 0.0252 | 0.00015788 | 0.0001008 | 0.14939 | 0.14939 | 0.14939 | 0.99324 | -0.12938 | 0.99495 | -0.096314 | 41.0424
6 | 0.038196 | 0.0096464 | -0.038137 | -0.0096088 | 5.9815e-05 | 3.7653e-05 | 0.05725 | 0.05725 | 0.05725 | 0.99324 | -0.12938 | 0.99154 | -0.16212 | 15.7281
7 | 0.025707 | 0.0064505 | -0.025693 | -0.0064421 | 1.3662e-05 | 8.4274e-06 | 0.038554 | 0.038555 | 0.038555 | 0.99224 | -0.14867 | 0.99166 | -0.15982 | 10.5919
8 | 0.020982 | 0.0052591 | -0.02098 | -0.005258 | 1.7775e-06 | 1.076e-06 | 0.031493 | 0.031493 | 0.031493 | 0.99136 | -0.16517 | 0.99126 | -0.16694 | 8.652
9 | -0.020982 | -0.0052591 | 0.021009 | 0.005276 | 2.7976e-05 | 1.6933e-05 | 0.031493 | 0.031493 | 0.031493 | 0.99136 | -0.16517 | 0.9928 | -0.13722 | 8.652
10 | 0.11555 | 0.029517 | -0.11535 | -0.029391 | 0.0001966 | 0.0001256 | 0.17339 | 0.17339 | 0.17339 | 0.9928 | -0.13722 | 0.99095 | -0.17247 | 47.6334
11 | -0.14538 | -0.037003 | 0.1455 | 0.037083 | 0.00012509 | 7.9692e-05 | 0.21809 | 0.21809 | 0.21809 | 0.9928 | -0.13722 | 0.99373 | -0.11939 | 29.958
12 | 0.008818 | 0.0022103 | -0.0088167 | -0.0022097 | 1.349e-06 | 5.9711e-07 | 0.013217 | 0.013217 | 0.013217 | 0.9928 | -0.13722 | 0.99263 | -0.14043 | 3.631
13 | 0.036285 | 0.0091185 | -0.03622 | -0.0090776 | 6.5151e-05 | 4.0949e-05 | 0.054577 | 0.054578 | 0.054578 | 0.98945 | -0.20249 | 0.98751 | -0.24018 | 14.9938
14 | -0.036285 | -0.0091185 | 0.036355 | 0.0091626 | 7.0079e-05 | 4.4043e-05 | 0.054577 | 0.054577 | 0.054577 | 0.98945 | -0.20249 | 0.99154 | -0.16212 | 14.9938
15 | 0.0017813 | 0.00044619 | -0.0017813 | -0.00044643 | 5.53e-08 | -2.3077e-07 | 0.0026732 | 0.0026733 | 0.0026733 | 0.99154 | -0.16212 | 0.9915 | -0.16277 | 0.73441
16 | -0.0089767 | -0.00225 | 0.0089843 | 0.0022535 | 7.6315e-06 | 3.4411e-06 | 0.013482 | 0.013482 | 0.013482 | 0.99074 | -0.17766 | 0.99166 | -0.15982 | 3.7039
17 | 0.0089767 | 0.00225 | -0.0089753 | -0.0022494 | 1.3523e-06 | 6.1004e-07 | 0.013482 | 0.013482 | 0.013482 | 0.99074 | -0.17766 | 0.99058 | -0.18082 | 3.704
18 | 0.016709 | 0.0041886 | -0.016706 | -0.004187 | 2.7622e-06 | 1.6167e-06 | 0.025073 | 0.025073 | 0.025073 | 0.99166 | -0.15982 | 0.99148 | -0.16329 | 6.8881
19 | -0.013268 | -0.0033257 | 0.013268 | 0.0033259 | 3.41e-07 | 1.8903e-07 | 0.019975 | 0.019975 | 0.019975 | 0.98836 | -0.22221 | 0.98839 | -0.22167 | 5.4877
20 | 0.013268 | 0.0033257 | -0.013266 | -0.0033247 | 1.6965e-06 | 9.4047e-07 | 0.019975 | 0.019975 | 0.019975 | 0.98836 | -0.22221 | 0.98822 | -0.2249 | 5.4877
21 | 0.083101 | 0.021217 | -0.082968 | -0.021131 | 0.00013351 | 8.5153e-05 | 0.12525 | 0.12525 | 0.12525 | 0.98839 | -0.22167 | 0.98665 | -0.25498 | 34.4089
22 | -0.096369 | -0.024542 | 0.096414 | 0.024571 | 4.4504e-05 | 2.8411e-05 | 0.14522 | 0.14522 | 0.14522 | 0.98839 | -0.22167 | 0.98888 | -0.2121 | 39.8965
23 | 0.018303 | 0.0045891 | -0.018301 | -0.0045881 | 1.7803e-06 | 1.0585e-06 | 0.027484 | 0.027484 | 0.027484 | 0.99095 | -0.17247 | 0.99085 | -0.17452 | 7.5506
24 | 0.09705 | 0.024802 | -0.096864 | -0.024684 | 0.00018562 | 0.0001185 | 0.1459 | 0.1459 | 0.1459 | 0.99095 | -0.17247 | 0.98888 | -0.2121 | 40.0828
25 | -0.1455 | -0.037083 | 0.14561 | 0.037155 | 0.00011289 | 7.1511e-05 | 0.21809 | 0.21809 | 0.21809 | 0.99373 | -0.11939 | 0.99457 | -0.10333 | 19.972
26 | 0.1988 | 0.050608 | -0.19868 | -0.05053 | 0.00012363 | 7.8688e-05 | 0.29714 | 0.29714 | 0.29714 | 0.99649 | -0.066742 | 0.99582 | -0.079648 | 27.2109
27 | 0.12395 | 0.031307 | -0.12379 | -0.031207 | 0.00015518 | 9.9156e-05 | 0.18517 | 0.18517 | 0.18517 | 0.99649 | -0.066742 | 0.99513 | -0.092901 | 50.872
28 | -0.32275 | -0.081915 | 0.32379 | 0.082579 | 0.0010398 | 0.00066409 | 0.48232 | 0.48232 | 0.48232 | 0.99649 | -0.066742 | 1 | 0 | 44.1682
29 | 0.17179 | 0.043788 | -0.17176 | -0.043763 | 3.9218e-05 | 2.4914e-05 | 0.25697 | 0.25697 | 0.25697 | 0.99582 | -0.079648 | 0.99557 | -0.084379 | 23.5318
30 | 0.026886 | 0.0067418 | -0.026876 | -0.0067358 | 9.7176e-06 | 6.0105e-06 | 0.040176 | 0.040176 | 0.040176 | 0.99582 | -0.079648 | 0.99542 | -0.087235 | 11.0374
31 | 0.10332 | 0.026077 | -0.10331 | -0.026066 | 1.6888e-05 | 1.0784e-05 | 0.15457 | 0.15457 | 0.15457 | 0.99513 | -0.092901 | 0.99495 | -0.096314 | 42.463
32 | 0.15023 | 0.038022 | -0.15015 | -0.037972 | 7.8138e-05 | 4.979e-05 | 0.22368 | 0.22368 | 0.22368 | 1 | 0 | 0.99943 | -0.010842 | 30.7247
33 | 0.06158 | 0.015503 | -0.061503 | -0.015454 | 7.6862e-05 | 4.8882e-05 | 0.092404 | 0.092405 | 0.092405 | 0.9919 | -0.15541 | 0.99055 | -0.18155 | 25.3859
34 | -0.06158 | -0.015503 | 0.061639 | 0.015541 | 5.9482e-05 | 3.7829e-05 | 0.092404 | 0.092404 | 0.092404 | 0.9919 | -0.15541 | 0.99295 | -0.13522 | 25.3858
35 | 0.058226 | 0.014633 | -0.058214 | -0.014625 | 1.2075e-05 | 7.674e-06 | 0.087482 | 0.087482 | 0.087482 | 0.99055 | -0.18155 | 0.99033 | -0.1859 | 24.0336
36 | -0.069037 | -0.017395 | 0.069064 | 0.017412 | 2.693e-05 | 1.7149e-05 | 0.10349 | 0.10349 | 0.10349 | 0.99295 | -0.13522 | 0.99337 | -0.12707 | 28.4315
37 | -0.16149 | -0.041134 | 0.16164 | 0.041227 | 0.00014774 | 9.3764e-05 | 0.24185 | 0.24185 | 0.24185 | 0.99457 | -0.10333 | 0.99557 | -0.084379 | 22.1472
38 | 0.05078 | 0.012755 | -0.050767 | -0.012747 | 1.2675e-05 | 8.0374e-06 | 0.076338 | 0.076338 | 0.076338 | 0.98994 | -0.19333 | 0.98967 | -0.19857 | 20.9721
39 | -0.05078 | -0.012755 | 0.050798 | 0.012766 | 1.8022e-05 | 1.1428e-05 | 0.076338 | 0.076338 | 0.076338 | 0.98994 | -0.19333 | 0.99033 | -0.1859 | 20.9721
40 | 0.050767 | 0.012747 | -0.050759 | -0.012742 | 8.0256e-06 | 5.0892e-06 | 0.076338 | 0.076338 | 0.076338 | 0.98967 | -0.19857 | 0.9895 | -0.20188 | 20.9721
41 | -0.016795 | -0.0042094 | 0.016797 | 0.0042108 | 2.4145e-06 | 1.4164e-06 | 0.025298 | 0.025298 | 0.025298 | 0.98787 | -0.23354 | 0.98803 | -0.23052 | 6.9499
42 | 0.013894 | 0.0034825 | -0.013894 | -0.003482 | 8.2315e-07 | 4.6266e-07 | 0.020929 | 0.020929 | 0.020929 | 0.98787 | -0.23354 | 0.98781 | -0.23478 | 5.7497
43 | -0.024697 | -0.0061908 | 0.0247 | 0.0061928 | 3.2448e-06 | 1.9966e-06 | 0.037196 | 0.037195 | 0.037196 | 0.98803 | -0.23052 | 0.98817 | -0.22777 | 10.2185
44 | 0.0061527 | 0.001542 | -0.0061525 | -0.001542 | 2.1531e-07 | 5.2238e-08 | 0.0092683 | 0.0092683 | 0.0092683 | 0.98781 | -0.23478 | 0.98777 | -0.23552 | 2.5462
45 | -0.032127 | -0.008054 | 0.032143 | 0.0080643 | 1.633e-05 | 1.0213e-05 | 0.048379 | 0.048379 | 0.048379 | 0.98817 | -0.22777 | 0.98872 | -0.2171 | 13.2908
46 | -0.041239 | -0.010344 | 0.041255 | 0.010354 | 1.6414e-05 | 1.0359e-05 | 0.062067 | 0.062067 | 0.062067 | 0.98872 | -0.2171 | 0.98915 | -0.20876 | 17.0513
47 | -0.046027 | -0.01155 | 0.046042 | 0.01156 | 1.5102e-05 | 9.5575e-06 | 0.069246 | 0.069246 | 0.069246 | 0.98915 | -0.20876 | 0.9895 | -0.20188 | 19.0235
48 | -0.013753 | -0.0034469 | 0.013759 | 0.00345 | 5.4983e-06 | 3.1108e-06 | 0.021081 | 0.021081 | 0.021081 | 0.97076 | -0.56525 | 0.97118 | -0.55686 | 5.7916
49 | -0.024167 | -0.0060586 | 0.024187 | 0.0060706 | 1.9521e-05 | 1.2023e-05 | 0.037029 | 0.037029 | 0.037029 | 0.97118 | -0.55686 | 0.97204 | -0.53992 | 10.1728
50 | 0.0073373 | 0.0018388 | -0.0073366 | -0.0018386 | 6.191e-07 | 2.3403e-07 | 0.011232 | 0.011232 | 0.011232 | 0.97204 | -0.53992 | 0.97195 | -0.54169 | 3.0857
51 | -0.031524 | -0.0079094 | 0.031544 | 0.0079217 | 1.9542e-05 | 1.2229e-05 | 0.048261 | 0.048261 | 0.048261 | 0.97204 | -0.53992 | 0.97269 | -0.52693 | 13.2585
52 | 0.018301 | 0.0045881 | -0.018297 | -0.0045855 | 4.3835e-06 | 2.6062e-06 | 0.027484 | 0.027484 | 0.027484 | 0.99085 | -0.17452 | 0.99059 | -0.17954 | 7.5506
53 | 0.0043808 | 0.0010978 | -0.0043806 | -0.0010978 | 2.1258e-07 | -2.0131e-08 | 0.0067068 | 0.0067068 | 0.0067068 | 0.97195 | -0.54169 | 0.97189 | -0.54271 | 1.8425
54 | -0.031544 | -0.0079217 | 0.031561 | 0.0079323 | 1.7063e-05 | 1.0677e-05 | 0.048261 | 0.048261 | 0.048261 | 0.97269 | -0.52693 | 0.97327 | -0.5156 | 13.2585
55 | 0.0084971 | 0.0021295 | -0.008497 | -0.0021295 | 1.9295e-08 | 8.2831e-09 | 0.012764 | 0.012764 | 0.012764 | 0.99059 | -0.17954 | 0.99059 | -0.17959 | 3.5065
56 | 0.12259 | 0.031066 | -0.12219 | -0.030807 | 0.0004045 | 0.00025846 | 0.18265 | 0.18265 | 0.18265 | 0.99943 | -0.010842 | 0.99583 | -0.079765 | 50.1775
57 | -0.076312 | -0.019228 | 0.076323 | 0.019235 | 1.1051e-05 | 7.0433e-06 | 0.11435 | 0.11435 | 0.11435 | 0.99337 | -0.12707 | 0.99353 | -0.12404 | 31.414
58 | 0.0036506 | 0.00091453 | -0.0036502 | -0.00091472 | 4.4536e-07 | -1.9475e-07 | 0.0055635 | 0.0055637 | 0.0055637 | 0.97636 | -0.45477 | 0.97623 | -0.45733 | 1.5285
59 | 0.013138 | 0.0032939 | -0.013135 | -0.003292 | 3.3864e-06 | 1.8857e-06 | 0.020024 | 0.020024 | 0.020024 | 0.97636 | -0.45477 | 0.97609 | -0.46018 | 5.5011
60 | -0.016789 | -0.0042084 | 0.016793 | 0.0042107 | 3.8605e-06 | 2.274e-06 | 0.025587 | 0.025587 | 0.025587 | 0.97636 | -0.45477 | 0.97661 | -0.44994 | 7.0295
61 | 0.0036502 | 0.00091472 | -0.00365 | -0.00091478 | 1.3631e-07 | -5.9576e-08 | 0.0055637 | 0.0055637 | 0.0055637 | 0.97623 | -0.45733 | 0.97619 | -0.45811 | 1.5285
62 | 0.0066214 | 0.0016595 | -0.0066212 | -0.0016594 | 2.2663e-07 | 7.0908e-08 | 0.010094 | 0.010094 | 0.010094 | 0.97609 | -0.46018 | 0.97605 | -0.46089 | 2.7731
63 | 0.049124 | 0.012392 | -0.049102 | -0.012378 | 2.1659e-05 | 1.3733e-05 | 0.074876 | 0.074877 | 0.074877 | 0.97661 | -0.44994 | 0.97614 | -0.45915 | 20.5705
64 | -0.065917 | -0.016602 | 0.066019 | 0.016668 | 0.00010283 | 6.5469e-05 | 0.10046 | 0.10046 | 0.10046 | 0.97661 | -0.44994 | 0.97827 | -0.41737 | 27.6
65 | -0.0022165 | -0.00055552 | 0.0022166 | 0.00055544 | 3.629e-08 | -8.0899e-08 | 0.0033937 | 0.0033937 | 0.0033937 | 0.97188 | -0.54306 | 0.97189 | -0.54271 | 0.93233
66 | 0.07992 | 0.020368 | -0.079824 | -0.020306 | 9.6832e-05 | 6.1746e-05 | 0.12065 | 0.12065 | 0.12065 | 0.98665 | -0.25498 | 0.98535 | -0.28011 | 33.1464
67 | 0.10979 | 0.027699 | -0.10976 | -0.027684 | 2.3109e-05 | 1.476e-05 | 0.16411 | 0.16411 | 0.16411 | 0.99583 | -0.079765 | 0.9956 | -0.084162 | 45.0858
68 | 0.10047 | 0.025355 | -0.10044 | -0.025337 | 2.7879e-05 | 1.78e-05 | 0.15022 | 0.15022 | 0.15022 | 0.9956 | -0.084162 | 0.9953 | -0.089958 | 41.2702
69 | 0.096028 | 0.024231 | -0.09594 | -0.024175 | 8.8094e-05 | 5.6232e-05 | 0.14362 | 0.14362 | 0.14362 | 0.9953 | -0.089958 | 0.9943 | -0.10913 | 39.4572
70 | -0.037923 | -0.009527 | 0.03793 | 0.0095312 | 6.6652e-06 | 4.2e-06 | 0.057989 | 0.057989 | 0.057989 | 0.97327 | -0.5156 | 0.97345 | -0.51192 | 15.9309
71 | -0.048221 | -0.01211 | 0.048271 | 0.012142 | 4.9357e-05 | 3.1287e-05 | 0.07372 | 0.07372 | 0.07372 | 0.97345 | -0.51192 | 0.97454 | -0.49049 | 20.2527
72 | -0.048271 | -0.012142 | 0.048343 | 0.012188 | 7.2375e-05 | 4.5877e-05 | 0.07372 | 0.07372 | 0.07372 | 0.97454 | -0.49049 | 0.97614 | -0.45915 | 20.2527
73 | 0.082159 | 0.020721 | -0.082101 | -0.020683 | 5.8593e-05 | 3.7366e-05 | 0.123 | 0.123 | 0.123 | 0.9943 | -0.10913 | 0.99353 | -0.12404 | 33.7913
74 | 0.0029031 | 0.00072749 | -0.0029031 | -0.00072758 | 7.2731e-08 | -8.4736e-08 | 0.0043609 | 0.004361 | 0.004361 | 0.99059 | -0.17959 | 0.99056 | -0.18012 | 1.1981
75 | -0.075633 | -0.019236 | 0.075684 | 0.019269 | 5.1011e-05 | 3.2515e-05 | 0.1144 | 0.1144 | 0.1144 | 0.98462 | -0.2941 | 0.98535 | -0.28011 | 31.4292
76 | 0.074363 | 0.018918 | -0.07425 | -0.018846 | 0.00011242 | 7.1646e-05 | 0.11248 | 0.11248 | 0.11248 | 0.98462 | -0.2941 | 0.983 | -0.32552 | 30.9016
77 | 0.07425 | 0.018846 | -0.074233 | -0.018835 | 1.7465e-05 | 1.1131e-05 | 0.11248 | 0.11248 | 0.11248 | 0.983 | -0.32552 | 0.98274 | -0.33041 | 30.9016
78 | 0.0057211 | 0.0014337 | -0.0057194 | -0.0014334 | 1.7042e-06 | 3.2362e-07 | 0.0086626 | 0.0086629 | 0.0086629 | 0.98274 | -0.33041 | 0.98242 | -0.33667 | 2.3799
79 | 0.068511 | 0.017401 | -0.068383 | -0.017319 | 0.00012833 | 8.1727e-05 | 0.10382 | 0.10382 | 0.10382 | 0.98274 | -0.33041 | 0.98073 | -0.36941 | 28.5218
80 | 0.068383 | 0.017319 | -0.068345 | -0.017295 | 3.7809e-05 | 2.408e-05 | 0.10382 | 0.10382 | 0.10382 | 0.98073 | -0.36941 | 0.98014 | -0.38093 | 28.5218
81 | 0.066135 | 0.016741 | -0.066019 | -0.016668 | 0.00011549 | 7.3529e-05 | 0.10046 | 0.10046 | 0.10046 | 0.98014 | -0.38093 | 0.97827 | -0.41737 | 27.5999

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48828 | 0.12376

## res_load
| p_mw | q_mvar
0 | 0.020028 | 0.0050196
1 | 0.0099748 | 0.0024999
2 | 0.0056991 | 0.0014283
3 | 0.02098 | 0.005258
4 | 0.03622 | 0.0090776
5 | 0.0089753 | 0.0022494
6 | 0.0017813 | 0.00044643
7 | 0.013266 | 0.0033247
8 | 0.0088167 | 0.0022097
9 | 0.02047 | 0.0051303
10 | 0.012604 | 0.003159
11 | 0.0032767 | 0.00082123
12 | 0.0073979 | 0.0018541
13 | 0.015877 | 0.0039791
14 | 0.0074167 | 0.0018588
15 | 0.016706 | 0.004187
16 | 0.0034577 | 0.00086658
17 | 0.0029005 | 0.00072693
18 | 0.0079 | 0.0019799
19 | 0.0077408 | 0.00194
20 | 0.0074266 | 0.0018613
21 | 0.0061525 | 0.001542
22 | 0.0090952 | 0.0022795
23 | 0.0047721 | 0.001196
24 | 0.013753 | 0.0034469
25 | 0.010409 | 0.0026086
26 | 0.00045077 | 0.00011297
27 | 0.0029558 | 0.00074081
28 | 0.0097996 | 0.002456
29 | 0.026876 | 0.0067358
30 | 0.010116 | 0.0025354
31 | 0.027558 | 0.0069067
32 | 0.0072475 | 0.0018164
33 | 0.0065137 | 0.0016325
34 | 0.00365 | 0.00091478
35 | 0.0022165 | 0.00055552
36 | 0.002164 | 0.00054235
37 | 0.0047166 | 0.0011821
38 | 0.0030472 | 0.0007637
39 | 0.012404 | 0.0031086
40 | 0.0092928 | 0.002329
41 | 0.0044141 | 0.0011063
42 | 0.0063627 | 0.0015946
43 | 0.010291 | 0.0025793
44 | 0.00075896 | 0.00019021
45 | 0.013781 | 0.0034538
46 | 0.0057779 | 0.0014481
47 | 0.0055939 | 0.001402
48 | 0.0029031 | 0.00072758
49 | 0.0012709 | 0.00031851
50 | 0.0041392 | 0.0010374
51 | 0.0057194 | 0.0014334
52 | 0.0022104 | 0.00055398
53 | 0.0066212 | 0.0016594

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1