## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-15_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-15_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-15_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-15_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_154-15_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_154-15_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_154-15_0_6_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_154-15_0_6_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_154-15_0_6_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_154-15_0_6_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_154-15_0_6_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_154-15_0_6_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_154-15_0_6_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_154-15_0_6_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_154-15_0_6_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_154-15_0_6_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_154-15_0_6_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_154-15_0_6_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_154-15_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_154-15_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_154-15_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_154-15_0_6_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_154-15_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_154-15_0_6_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_154-15_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_154-15_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_154-15_0_6_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_154-15_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_154-15_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_154-15_0_6_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_154-15_0_6_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_154-15_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_154-15_0_6_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_154-15_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_154-15_0_6_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_154-15_0_6_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_154-15_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_154-15_0_6_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_154-15_0_6_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_154-15_0_6_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_154-15_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_154-15_0_6_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_154-15_0_6_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_154-15_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_154-15_0_6_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_154-15_0_6_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_154-15_0_6_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_154-15_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_154-15_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_154-15_0_6_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_154-15_0_6_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_154-15_0_6_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_154-15_0_6_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_154-15_0_6_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_154-15_0_6_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_154-15_0_6_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_154-15_0_6_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_154-15_0_6_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_154-15_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_154-15_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_154-15_0_6_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_154-15_0_6_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_154-15_0_6_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_154-15_0_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_154-15_0_6_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_154-15_0_6_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_154-15_0_6_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_154-15_0_6_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_154-15_0_6_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_154-15_0_6_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_154-15_0_6_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_154-15_0_6_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_154-15_0_6_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_154-15_0_6_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_154-15_0_6_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_154-15_0_6_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_154-15_0_6_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_154-15_0_6_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_154-15_0_6_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_154-15_0_6_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_154-15_0_6_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_154-15_0_6_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_154-15_0_6_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_154-15_0_6_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_154-15_0_6_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_154-15_0_6_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_154-15_0_6_node_90 | 0.4 | n |  | TRUE
87 | bus_MV_492_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-15_0_6_load_0 | 0 | 0.0065895 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-15_0_6_load_1 | 1 | 0.030527 | 0.0076508 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-15_0_6_load_2 | 2 | 0.035082 | 0.0087923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-15_0_6_load_3 | 3 | 0.011712 | 0.0029353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-15_0_6_load_18 | 5 | 0.0057616 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-15_0_6_load_59 | 6 | 0.015013 | 0.0037626 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-15_0_6_load_19 | 7 | 0.0061917 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-15_0_6_load_86 | 10 | 0.0047293 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-15_0_6_load_82 | 11 | 0.0051109 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-15_0_6_load_57 | 13 | 0.0087954 | 0.0022043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-15_0_6_load_53 | 14 | 0.015351 | 0.0038474 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-15_0_6_load_60 | 15 | 0.0070298 | 0.0017618 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-15_0_6_load_5 | 16 | 0.0057748 | 0.0014473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-15_0_6_load_6 | 17 | 0.011926 | 0.0029889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-15_0_6_load_65 | 21 | 0.0020616 | 0.00051668 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-15_0_6_load_64 | 23 | 0.0026089 | 0.00065385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-15_0_6_load_39 | 25 | 0.0090814 | 0.002276 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-15_0_6_load_50 | 26 | 0.0070312 | 0.0017622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-15_0_6_load_93 | 29 | 0.0045007 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-15_0_6_load_92 | 32 | 0.015808 | 0.0039618 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-15_0_6_load_76 | 34 | 0.0072678 | 0.0018215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-15_0_6_load_77 | 35 | 0.0026093 | 0.00065396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-15_0_6_load_62 | 36 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-15_0_6_load_72 | 38 | 0.033724 | 0.0084519 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-15_0_6_load_70 | 39 | 0.002128 | 0.00053332 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-15_0_6_load_34 | 40 | 0.0083163 | 0.0020843 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-15_0_6_load_51 | 41 | 0.013206 | 0.0033098 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-15_0_6_load_61 | 43 | 0.012369 | 0.0030999 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-15_0_6_load_68 | 44 | 0.028744 | 0.007204 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-15_0_6_load_66 | 45 | 0.006718 | 0.0016837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-15_0_6_load_71 | 46 | 0.010981 | 0.002752 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-15_0_6_load_47 | 47 | 0.0018682 | 0.00046822 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-15_0_6_load_48 | 48 | 0.0020522 | 0.00051432 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-15_0_6_load_87 | 49 | 0.0011054 | 0.00027703 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-15_0_6_load_83 | 50 | 0.0015625 | 0.00039161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-15_0_6_load_25 | 51 | 0.0063266 | 0.0015856 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-15_0_6_load_26 | 52 | 0.0018669 | 0.0004679 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-15_0_6_load_27 | 53 | 0.0054273 | 0.0013602 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-15_0_6_load_28 | 54 | 0.0016271 | 0.0004078 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-15_0_6_load_29 | 55 | 0.0048514 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-15_0_6_load_74 | 56 | 0.0035984 | 0.00090184 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-15_0_6_load_69 | 57 | 0.0060578 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-15_0_6_load_73 | 58 | 0.003336 | 0.00083609 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-15_0_6_load_46 | 59 | 0.0029302 | 0.00073438 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-15_0_6_load_30 | 60 | 0.0080312 | 0.0020128 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-15_0_6_load_31 | 61 | 0.0041321 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-15_0_6_load_35 | 64 | 0.011255 | 0.0028207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-15_0_6_load_75 | 65 | 0.0038013 | 0.00095271 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-15_0_6_load_91 | 66 | 0.0044291 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-15_0_6_load_36 | 67 | 0.0072392 | 0.0018143 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-15_0_6_load_37 | 68 | 0.0039518 | 0.00099041 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-15_0_6_load_38 | 69 | 0.0059046 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-15_0_6_load_40 | 70 | 0.025345 | 0.006352 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-15_0_6_load_41 | 71 | 0.0070766 | 0.0017736 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-15_0_6_load_42 | 72 | 0.0036183 | 0.00090684 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_154-15_0_6_load_44 | 74 | 0.0055155 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_154-15_0_6_load_81 | 76 | 0.0063932 | 0.0016023 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_154-15_0_6_load_78 | 77 | 0.015165 | 0.0038006 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_154-15_0_6_load_49 | 78 | 0.0022163 | 0.00055545 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_154-15_0_6_load_52 | 79 | 0.011325 | 0.0028383 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_154-15_0_6_load_54 | 80 | 0.014152 | 0.0035467 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_154-15_0_6_load_56 | 81 | 0.01088 | 0.0027269 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_154-15_0_6_load_63 | 82 | 0.0076274 | 0.0019116 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_154-15_0_6_load_89 | 84 | 0.0046591 | 0.0011677 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_154-15_0_6_load_88 | 85 | 0.022984 | 0.0057604 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_154-15_0_6_load_90 | 86 | 0.007912 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-15_0_6_line_0 |  | 0 | 1 | 0.0069421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_154-15_0_6_line_1 |  | 0 | 2 | 0.037872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_154-15_0_6_line_2 |  | 1 | 3 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_154-15_0_6_line_3 |  | 2 | 4 | 0.026858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-15_0_6_line_4 |  | 3 | 5 | 0.018798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_154-15_0_6_line_5 |  | 4 | 6 | 0.062014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-15_0_6_line_6 |  | 5 | 7 | 4.5153e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_154-15_0_6_line_7 |  | 6 | 15 | 0.021298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-15_0_6_line_8 |  | 7 | 19 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_154-15_0_6_line_9 |  | 8 | 9 | 0.037351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-15_0_6_line_10 |  | 8 | 10 | 0.0091037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-15_0_6_line_11 |  | 9 | 11 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-15_0_6_line_12 |  | 10 | 49 | 0.026925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-15_0_6_line_13 |  | 11 | 50 | 0.023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-15_0_6_line_14 |  | 12 | 13 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-15_0_6_line_15 |  | 12 | 14 | 0.002567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-15_0_6_line_16 |  | 14 | 80 | 0.0094465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-15_0_6_line_17 |  | 16 | 17 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-15_0_6_line_18 |  | 16 | 18 | 0.027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-15_0_6_line_19 |  | 18 | 19 | 0.007072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_154-15_0_6_line_20 |  | 18 | 20 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_154-15_0_6_line_21 |  | 20 | 21 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-15_0_6_line_22 |  | 20 | 22 | 0.009375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-15_0_6_line_23 |  | 20 | 23 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_154-15_0_6_line_24 |  | 21 | 39 | 0.0080086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-15_0_6_line_25 |  | 22 | 26 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-15_0_6_line_26 |  | 22 | 24 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-15_0_6_line_27 |  | 23 | 40 | 0.0064355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_154-15_0_6_line_28 |  | 24 | 25 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-15_0_6_line_29 |  | 26 | 41 | 0.030281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-15_0_6_line_30 |  | 27 | 28 | 0.042252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-15_0_6_line_31 |  | 27 | 29 | 0.081457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-15_0_6_line_32 |  | 28 | 35 | 0.0067637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-15_0_6_line_33 |  | 30 | 31 | 0.007087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-15_0_6_line_34 |  | 30 | 32 | 0.0059479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-15_0_6_line_35 |  | 31 | 37 | 0.003119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_154-15_0_6_line_36 |  | 31 | 38 | 0.02437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-15_0_6_line_37 |  | 31 | 33 | 0.024086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_154-15_0_6_line_38 |  | 33 | 34 | 0.036916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_154-15_0_6_line_39 |  | 33 | 35 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-15_0_6_line_40 |  | 33 | 36 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-15_0_6_line_41 |  | 34 | 42 | 0.0021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_154-15_0_6_line_42 |  | 36 | 43 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-15_0_6_line_43 |  | 37 | 44 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_154-15_0_6_line_44 |  | 37 | 45 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-15_0_6_line_45 |  | 38 | 46 | 0.005098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-15_0_6_line_46 |  | 39 | 78 | 0.0084856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-15_0_6_line_47 |  | 40 | 62 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_154-15_0_6_line_48 |  | 42 | 83 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-15_0_6_line_49 |  | 42 | 76 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_154-15_0_6_line_50 |  | 43 | 79 | 0.029722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-15_0_6_line_51 |  | 44 | 70 | 0.030398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_154-15_0_6_line_52 |  | 46 | 82 | 0.0019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-15_0_6_line_53 |  | 47 | 48 | 0.0072841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-15_0_6_line_54 |  | 48 | 78 | 0.008128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-15_0_6_line_55 |  | 50 | 65 | 0.0080958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-15_0_6_line_56 |  | 51 | 52 | 0.0077508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_154-15_0_6_line_57 |  | 51 | 53 | 0.004774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_154-15_0_6_line_58 |  | 52 | 54 | 0.030095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_154-15_0_6_line_59 |  | 53 | 55 | 0.0065592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_154-15_0_6_line_60 |  | 54 | 56 | 0.0054249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_154-15_0_6_line_61 |  | 55 | 57 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_154-15_0_6_line_62 |  | 56 | 58 | 0.00046091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_154-15_0_6_line_63 |  | 57 | 59 | 0.00667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_154-15_0_6_line_64 |  | 58 | 63 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_154-15_0_6_line_65 |  | 59 | 73 | 0.02471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_154-15_0_6_line_66 |  | 60 | 61 | 0.0067114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_154-15_0_6_line_67 |  | 60 | 62 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_154-15_0_6_line_68 |  | 61 | 63 | 0.02678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_154-15_0_6_line_69 |  | 62 | 64 | 0.033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-15_0_6_line_70 |  | 63 | 65 | 0.013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-15_0_6_line_71 |  | 64 | 66 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-15_0_6_line_72 |  | 67 | 68 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-15_0_6_line_73 |  | 67 | 69 | 0.025486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_154-15_0_6_line_74 |  | 69 | 70 | 0.011213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_154-15_0_6_line_75 |  | 71 | 72 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_154-15_0_6_line_76 |  | 71 | 73 | 0.011334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_154-15_0_6_line_77 |  | 72 | 74 | 0.0073574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_154-15_0_6_line_78 |  | 73 | 75 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_154-15_0_6_line_79 |  | 74 | 76 | 0.0013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_154-15_0_6_line_80 |  | 75 | 77 | 0.005066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_154-15_0_6_line_81 |  | 80 | 81 | 0.0022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_154-15_0_6_line_82 |  | 81 | 82 | 0.007596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_154-15_0_6_line_83 |  | 83 | 86 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_154-15_0_6_line_84 |  | 83 | 85 | 0.0075767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_154-15_0_6_line_85 |  | 84 | 85 | 0.0051195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-15_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 87 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2686331.4561 | 1241316.4626 | 2686324.6606 | 1241315.043
1 | 2686331.4561 | 1241316.4626 | 2686368.5278 | 1241324.2066
2 | 2686324.6606 | 1241315.043 | 2686310.6787 | 1241312.1223
3 | 2686394.8181 | 1241329.6984 | 2686368.5278 | 1241324.2066
4 | 2686292.2779 | 1241308.2785 | 2686310.6787 | 1241312.1223
5 | 2686394.8181 | 1241329.6984 | 2686409.0325 | 1241269.3353
6 | 2686292.2337 | 1241308.2693 | 2686292.2779 | 1241308.2785
7 | 2686409.0325 | 1241269.3353 | 2686413.9142 | 1241248.6046
8 | 2686280.3296 | 1241305.7826 | 2686292.2337 | 1241308.2693
9 | 2686138.2188 | 1241333.8838 | 2686157.4807 | 1241342.5363 | 2686162.0036 | 1241340.3781 | 2686172.0715 | 1241345.339
10 | 2686138.2188 | 1241333.8838 | 2686141.9162 | 1241325.5647
11 | 2686172.0715 | 1241345.339 | 2686174.5173 | 1241336.7682 | 2686180.1125 | 1241318.1099
12 | 2686141.9162 | 1241325.5647 | 2686117.0449 | 1241315.252
13 | 2686180.1125 | 1241318.1099 | 2686186.8902 | 1241295.5083
14 | 2686369.5721 | 1241159.2182 | 2686377.4705 | 1241143.6894
15 | 2686369.5721 | 1241159.2182 | 2686367.1861 | 1241158.2714
16 | 2686367.1861 | 1241158.2714 | 2686358.4056 | 1241154.7871
17 | 2686267.7575 | 1241330.7493 | 2686264.1131 | 1241347.8501
18 | 2686273.3865 | 1241304.3362 | 2686267.7575 | 1241330.7493
19 | 2686273.3865 | 1241304.3362 | 2686277.5252 | 1241305.197 | 2686280.3296 | 1241305.7826
20 | 2686268.8157 | 1241294.1846 | 2686275.294 | 1241295.88 | 2686273.3865 | 1241304.3362
21 | 2686268.8157 | 1241294.1846 | 2686265.1166 | 1241312.3255
22 | 2686268.8157 | 1241294.1846 | 2686270.8317 | 1241285.0295
23 | 2686268.8157 | 1241294.1846 | 2686258.3524 | 1241291.4543
24 | 2686265.1166 | 1241312.3255 | 2686263.5165 | 1241320.1726
25 | 2686270.8317 | 1241285.0295 | 2686273.4547 | 1241273.1256 | 2686274.8292 | 1241266.7279
26 | 2686270.8317 | 1241285.0295 | 2686277.1317 | 1241286.4999 | 2686281.7646 | 1241287.7015
27 | 2686258.3524 | 1241291.4543 | 2686252.1255 | 1241289.8295
28 | 2686281.7646 | 1241287.7015 | 2686283.8518 | 1241277.851
29 | 2686274.8292 | 1241266.7279 | 2686281.1894 | 1241237.1219
30 | 2686310.2959 | 1241107.7632 | 2686324.5815 | 1241074.9248 | 2686318.3034 | 1241073.4881
31 | 2686318.3034 | 1241073.4881 | 2686317.1351 | 1241073.2264 | 2686296.7274 | 1241070.5167 | 2686274.2804 | 1241067.6439 | 2686248.9334 | 1241062.4274 | 2686244.3738 | 1241059.8148 | 2686241.248 | 1241054.7991
32 | 2686310.2959 | 1241107.7632 | 2686308.2258 | 1241114.2023
33 | 2686320.2301 | 1241139.0748 | 2686323.2949 | 1241132.6814
34 | 2686323.2949 | 1241132.6814 | 2686326.94 | 1241127.9813
35 | 2686320.2301 | 1241139.0748 | 2686319.2268 | 1241142.0291
36 | 2686320.2301 | 1241139.0748 | 2686322.47 | 1241140.0081 | 2686342.7187 | 1241148.4652
37 | 2686304.0231 | 1241127.2751 | 2686309.6483 | 1241129.4028 | 2686308.3326 | 1241134.5986 | 2686313.755 | 1241136.6345 | 2686320.2301 | 1241139.0748
38 | 2686304.0231 | 1241127.2751 | 2686269.4944 | 1241114.2146
39 | 2686304.0231 | 1241127.2751 | 2686308.2258 | 1241114.2023
40 | 2686304.0231 | 1241127.2751 | 2686300.0655 | 1241146.2119
41 | 2686267.459 | 1241113.4447 | 2686269.4944 | 1241114.2146
42 | 2686294.9001 | 1241171.2455 | 2686299.4961 | 1241148.9361 | 2686300.0655 | 1241146.2119
43 | 2686319.2268 | 1241142.0291 | 2686316.6481 | 1241141.0019 | 2686313.4562 | 1241142.1008 | 2686311.9069 | 1241145.6808 | 2686309.5414 | 1241156.2453
44 | 2686319.2268 | 1241142.0291 | 2686330.7689 | 1241146.6019
45 | 2686347.4232 | 1241150.4291 | 2686347.3781 | 1241150.4112 | 2686342.7187 | 1241148.4652
46 | 2686263.5165 | 1241320.1726 | 2686261.8211 | 1241328.4871
47 | 2686235.5577 | 1241285.5063 | 2686252.1255 | 1241289.8295
48 | 2686267.459 | 1241113.4447 | 2686252.0928 | 1241110.3748 | 2686243.9053 | 1241110.7672
49 | 2686267.459 | 1241113.4447 | 2686257.858 | 1241131.2839
50 | 2686288.9029 | 1241200.3563 | 2686294.9001 | 1241171.2455
51 | 2686309.5414 | 1241156.2453 | 2686307.5641 | 1241165.0762 | 2686303.283 | 1241185.9911
52 | 2686347.4232 | 1241150.4291 | 2686349.2631 | 1241151.1592
53 | 2686260.1971 | 1241336.4513 | 2686258.7417 | 1241343.5885
54 | 2686261.8211 | 1241328.4871 | 2686260.1971 | 1241336.4513
55 | 2686189.2156 | 1241287.7536 | 2686186.8902 | 1241295.5083
56 | 2686212.3714 | 1241221.2001 | 2686208.9692 | 1241228.1643
57 | 2686214.467 | 1241216.9107 | 2686212.3714 | 1241221.2001
58 | 2686198.8388 | 1241256.43 | 2686205.3646 | 1241235.5425 | 2686208.9692 | 1241228.1643
59 | 2686217.3462 | 1241211.0171 | 2686214.467 | 1241216.9107
60 | 2686197.221 | 1241261.6081 | 2686198.8388 | 1241256.43
61 | 2686217.3462 | 1241211.0171 | 2686227.536 | 1241190.1595
62 | 2686197.0836 | 1241262.0481 | 2686197.221 | 1241261.6081
63 | 2686227.536 | 1241190.1595 | 2686230.4638 | 1241184.1664
64 | 2686193.1121 | 1241274.7598 | 2686197.0836 | 1241262.0481
65 | 2686241.3384 | 1241161.9782 | 2686240.9187 | 1241162.7616 | 2686230.9584 | 1241183.154 | 2686230.4638 | 1241184.1664
66 | 2686219.0726 | 1241281.3325 | 2686225.5788 | 1241282.9798
67 | 2686235.5577 | 1241285.5063 | 2686225.5788 | 1241282.9798
68 | 2686193.1121 | 1241274.7598 | 2686219.0726 | 1241281.3325
69 | 2686235.5577 | 1241285.5063 | 2686223.9771 | 1241307.6208 | 2686221.7028 | 1241315.7534
70 | 2686193.1121 | 1241274.7598 | 2686189.2156 | 1241287.7536
71 | 2686215.6239 | 1241337.4899 | 2686221.7028 | 1241315.7534
72 | 2686292.9862 | 1241234.7425 | 2686295.7076 | 1241221.899
73 | 2686300.9906 | 1241196.9667 | 2686295.7076 | 1241221.899
74 | 2686303.283 | 1241185.9911 | 2686302.338 | 1241190.6077 | 2686300.9906 | 1241196.9667
75 | 2686253.712 | 1241138.9874 | 2686246.71 | 1241151.9976
76 | 2686241.3384 | 1241161.9782 | 2686246.71 | 1241151.9976
77 | 2686253.712 | 1241138.9874 | 2686257.1988 | 1241132.5087
78 | 2686241.3384 | 1241161.9782 | 2686227.2034 | 1241159.5267
79 | 2686257.858 | 1241131.2839 | 2686257.1988 | 1241132.5087
80 | 2686227.2034 | 1241159.5267 | 2686222.212 | 1241158.6604
81 | 2686358.4056 | 1241154.7871 | 2686356.3235 | 1241153.9609
82 | 2686356.3235 | 1241153.9609 | 2686349.2631 | 1241151.1592
83 | 2686243.9053 | 1241110.7672 | 2686245.0043 | 1241099.2361
84 | 2686243.9053 | 1241110.7672 | 2686236.337 | 1241111.1247
85 | 2686236.337 | 1241111.1247 | 2686231.2232 | 1241111.3662

## bus_geodata
| x | y | coords
0 | 2686331.4561 | 1241316.4626
1 | 2686324.6606 | 1241315.043
2 | 2686368.5278 | 1241324.2066
3 | 2686310.6787 | 1241312.1223
4 | 2686394.8181 | 1241329.6984
5 | 2686292.2779 | 1241308.2785
6 | 2686409.0325 | 1241269.3353
7 | 2686292.2337 | 1241308.2693
8 | 2686138.2188 | 1241333.8838
9 | 2686172.0715 | 1241345.339
10 | 2686141.9162 | 1241325.5647
11 | 2686180.1125 | 1241318.1099
12 | 2686369.5721 | 1241159.2182
13 | 2686377.4705 | 1241143.6894
14 | 2686367.1861 | 1241158.2714
15 | 2686413.9142 | 1241248.6046
16 | 2686267.7575 | 1241330.7493
17 | 2686264.1131 | 1241347.8501
18 | 2686273.3865 | 1241304.3362
19 | 2686280.3296 | 1241305.7826
20 | 2686268.8157 | 1241294.1846
21 | 2686265.1166 | 1241312.3255
22 | 2686270.8317 | 1241285.0295
23 | 2686258.3524 | 1241291.4543
24 | 2686281.7646 | 1241287.7015
25 | 2686283.8518 | 1241277.851
26 | 2686274.8292 | 1241266.7279
27 | 2686318.3034 | 1241073.4881
28 | 2686310.2959 | 1241107.7632
29 | 2686241.248 | 1241054.7991
30 | 2686323.2949 | 1241132.6814
31 | 2686320.2301 | 1241139.0748
32 | 2686326.94 | 1241127.9813
33 | 2686304.0231 | 1241127.2751
34 | 2686269.4944 | 1241114.2146
35 | 2686308.2258 | 1241114.2023
36 | 2686300.0655 | 1241146.2119
37 | 2686319.2268 | 1241142.0291
38 | 2686342.7187 | 1241148.4652
39 | 2686263.5165 | 1241320.1726
40 | 2686252.1255 | 1241289.8295
41 | 2686281.1894 | 1241237.1219
42 | 2686267.459 | 1241113.4447
43 | 2686294.9001 | 1241171.2455
44 | 2686309.5414 | 1241156.2453
45 | 2686330.7689 | 1241146.6019
46 | 2686347.4232 | 1241150.4291
47 | 2686258.7417 | 1241343.5885
48 | 2686260.1971 | 1241336.4513
49 | 2686117.0449 | 1241315.252
50 | 2686186.8902 | 1241295.5083
51 | 2686212.3714 | 1241221.2001
52 | 2686208.9692 | 1241228.1643
53 | 2686214.467 | 1241216.9107
54 | 2686198.8388 | 1241256.43
55 | 2686217.3462 | 1241211.0171
56 | 2686197.221 | 1241261.6081
57 | 2686227.536 | 1241190.1595
58 | 2686197.0836 | 1241262.0481
59 | 2686230.4638 | 1241184.1664
60 | 2686225.5788 | 1241282.9798
61 | 2686219.0726 | 1241281.3325
62 | 2686235.5577 | 1241285.5063
63 | 2686193.1121 | 1241274.7598
64 | 2686221.7028 | 1241315.7534
65 | 2686189.2156 | 1241287.7536
66 | 2686215.6239 | 1241337.4899
67 | 2686295.7076 | 1241221.899
68 | 2686292.9862 | 1241234.7425
69 | 2686300.9906 | 1241196.9667
70 | 2686303.283 | 1241185.9911
71 | 2686246.71 | 1241151.9976
72 | 2686253.712 | 1241138.9874
73 | 2686241.3384 | 1241161.9782
74 | 2686257.1988 | 1241132.5087
75 | 2686227.2034 | 1241159.5267
76 | 2686257.858 | 1241131.2839
77 | 2686222.212 | 1241158.6604
78 | 2686261.8211 | 1241328.4871
79 | 2686288.9029 | 1241200.3563
80 | 2686358.4056 | 1241154.7871
81 | 2686356.3235 | 1241153.9609
82 | 2686349.2631 | 1241151.1592
83 | 2686243.9053 | 1241110.7672
84 | 2686231.2232 | 1241111.3662
85 | 2686236.337 | 1241111.1247
86 | 2686245.0043 | 1241099.2361
87 | 2686281.7646 | 1241287.7015

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97345 | -0.51206 | 0.0065895 | 0.0016515
1 | 0.97353 | -0.51043 | 0.030527 | 0.0076508
2 | 0.97244 | -0.53198 | 0.035082 | 0.0087923
3 | 0.97378 | -0.50548 | 0.011712 | 0.0029353
4 | 0.97189 | -0.5429 | 0 | 0
5 | 0.97415 | -0.49816 | 0.0057616 | 0.001444
6 | 0.97061 | -0.56815 | 0.015013 | 0.0037626
7 | 0.97416 | -0.49814 | 0.0061917 | 0.0015518
8 | 0.97695 | -0.44329 | 0 | 0
9 | 0.97715 | -0.43931 | 0 | 0
10 | 0.9769 | -0.44426 | 0.0047293 | 0.0011853
11 | 0.97731 | -0.43628 | 0.0051109 | 0.0012809
12 | 0.98747 | -0.23958 | 0 | 0
13 | 0.98733 | -0.24232 | 0.0087954 | 0.0022043
14 | 0.98749 | -0.23918 | 0.015351 | 0.0038474
15 | 0.97047 | -0.57092 | 0.0070298 | 0.0017618
16 | 0.97413 | -0.49859 | 0.0057748 | 0.0014473
17 | 0.97394 | -0.50242 | 0.011926 | 0.0029889
18 | 0.97458 | -0.48982 | 0 | 0
19 | 0.97442 | -0.49288 | 0 | 0
20 | 0.97497 | -0.48217 | 0 | 0
21 | 0.97479 | -0.48568 | 0.0020616 | 0.00051668
22 | 0.97471 | -0.48721 | 0 | 0
23 | 0.97532 | -0.47522 | 0.0026089 | 0.00065385
24 | 0.97462 | -0.48909 | 0 | 0
25 | 0.97453 | -0.49077 | 0.0090814 | 0.002276
26 | 0.97436 | -0.49417 | 0.0070312 | 0.0017622
27 | 0.98879 | -0.21364 | 0 | 0
28 | 0.98896 | -0.21025 | 0 | 0
29 | 0.98845 | -0.22018 | 0.0045007 | 0.001128
30 | 0.99071 | -0.17669 | 0 | 0
31 | 0.99082 | -0.1747 | 0 | 0
32 | 0.99063 | -0.17836 | 0.015808 | 0.0039618
33 | 0.98908 | -0.20797 | 0 | 0
34 | 0.9867 | -0.25372 | 0.0072678 | 0.0018215
35 | 0.98899 | -0.20971 | 0.0026093 | 0.00065396
36 | 0.98848 | -0.21973 | 0.010423 | 0.0026123
37 | 0.99111 | -0.1691 | 0 | 0
38 | 0.98855 | -0.21872 | 0.033724 | 0.0084519
39 | 0.97473 | -0.48689 | 0.002128 | 0.00053332
40 | 0.97553 | -0.47103 | 0.0083163 | 0.0020843
41 | 0.97399 | -0.50151 | 0.013206 | 0.0033098
42 | 0.98656 | -0.25637 | 0 | 0
43 | 0.98792 | -0.23054 | 0.012369 | 0.0030999
44 | 0.99309 | -0.13122 | 0.028744 | 0.007204
45 | 0.99103 | -0.17058 | 0.006718 | 0.0016837
46 | 0.98823 | -0.22489 | 0.010981 | 0.002752
47 | 0.97464 | -0.48868 | 0.0018682 | 0.00046822
48 | 0.97465 | -0.48843 | 0.0020522 | 0.00051432
49 | 0.97687 | -0.4448 | 0.0011054 | 0.00027703
50 | 0.97754 | -0.43157 | 0.0015625 | 0.00039161
51 | 0.98036 | -0.37652 | 0.0063266 | 0.0015856
52 | 0.98001 | -0.38329 | 0.0018669 | 0.0004679
53 | 0.98058 | -0.37224 | 0.0054273 | 0.0013602
54 | 0.97868 | -0.40943 | 0.0016271 | 0.0004078
55 | 0.98089 | -0.36624 | 0.0048514 | 0.0012159
56 | 0.97844 | -0.41412 | 0.0035984 | 0.00090184
57 | 0.982 | -0.34461 | 0.0060578 | 0.0015182
58 | 0.97842 | -0.41451 | 0.003336 | 0.00083609
59 | 0.98233 | -0.33826 | 0.0029302 | 0.00073438
60 | 0.97651 | -0.45176 | 0.0080312 | 0.0020128
61 | 0.97678 | -0.44661 | 0.0041321 | 0.0010356
62 | 0.97613 | -0.45936 | 0 | 0
63 | 0.97784 | -0.42569 | 0 | 0
64 | 0.97564 | -0.46895 | 0.011255 | 0.0028207
65 | 0.97764 | -0.42972 | 0.0038013 | 0.00095271
66 | 0.97555 | -0.47078 | 0.0044291 | 0.00111
67 | 1 | 0 | -0.58727 | -0.15042
68 | 0.99995 | -0.00090435 | 0.0039518 | 0.00099041
69 | 0.9973 | -0.050982 | 0.0059046 | 0.0014798
70 | 0.99613 | -0.073266 | 0.025345 | 0.006352
71 | 0.98415 | -0.30302 | 0.0070766 | 0.0017736
72 | 0.98494 | -0.28768 | 0.0036183 | 0.00090684
73 | 0.98355 | -0.31451 | 0 | 0
74 | 0.98534 | -0.27996 | 0.0055155 | 0.0013823
75 | 0.98335 | -0.31842 | 0 | 0
76 | 0.98542 | -0.27847 | 0.0063932 | 0.0016023
77 | 0.98328 | -0.31981 | 0.015165 | 0.0038006
78 | 0.97468 | -0.48785 | 0.0022163 | 0.00055545
79 | 0.98761 | -0.23656 | 0.011325 | 0.0028383
80 | 0.9877 | -0.2351 | 0.014152 | 0.0035467
81 | 0.98778 | -0.23357 | 0.01088 | 0.0027269
82 | 0.98812 | -0.2269 | 0.0076274 | 0.0019116
83 | 0.98579 | -0.27154 | 0 | 0
84 | 0.98557 | -0.27572 | 0.0046591 | 0.0011677
85 | 0.98559 | -0.27529 | 0.022984 | 0.0057604
86 | 0.9857 | -0.27318 | 0.007912 | 0.0019829
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.063807 | -0.016026 | 0.063812 | 0.016028 | 4.9544e-06 | 2.7393e-06 | 0.097548 | 0.097548 | 0.097548 | 0.97345 | -0.51206 | 0.97353 | -0.51043 | 5.3598
1 | 0.057218 | 0.014374 | -0.057163 | -0.01434 | 5.4336e-05 | 3.3835e-05 | 0.087475 | 0.087476 | 0.087476 | 0.97345 | -0.51206 | 0.97244 | -0.53198 | 12.0159
2 | -0.094339 | -0.023679 | 0.094361 | 0.023692 | 2.2278e-05 | 1.337e-05 | 0.14421 | 0.14421 | 0.14421 | 0.97353 | -0.51043 | 0.97378 | -0.50548 | 7.9235
3 | 0.022082 | 0.005548 | -0.02207 | -0.005541 | 1.1502e-05 | 7.0284e-06 | 0.033794 | 0.033794 | 0.033794 | 0.97244 | -0.53198 | 0.97189 | -0.5429 | 9.2841
4 | -0.10607 | -0.026628 | 0.10611 | 0.02665 | 3.7048e-05 | 2.2541e-05 | 0.1621 | 0.1621 | 0.1621 | 0.97378 | -0.50548 | 0.97415 | -0.49816 | 8.9068
5 | 0.02207 | 0.005541 | -0.022044 | -0.0055247 | 2.6559e-05 | 1.623e-05 | 0.033794 | 0.033794 | 0.033794 | 0.97189 | -0.5429 | 0.97061 | -0.56815 | 9.2842
6 | -0.11187 | -0.028094 | 0.11187 | 0.028094 | 9.8918e-08 | 6.0491e-08 | 0.1709 | 0.1709 | 0.1709 | 0.97415 | -0.49816 | 0.97416 | -0.49814 | 9.3903
7 | 0.0070308 | 0.0017622 | -0.0070298 | -0.0017618 | 9.279e-07 | 3.3067e-07 | 0.010779 | 0.010779 | 0.010779 | 0.97061 | -0.56815 | 0.97047 | -0.57092 | 2.9612
8 | -0.11806 | -0.029646 | 0.11809 | 0.029664 | 2.967e-05 | 1.8232e-05 | 0.18036 | 0.18036 | 0.18036 | 0.97416 | -0.49814 | 0.97442 | -0.49288 | 9.91
9 | -0.005835 | -0.001462 | 0.0058361 | 0.0014623 | 1.1063e-06 | 2.4023e-07 | 0.0088873 | 0.0088871 | 0.0088873 | 0.97695 | -0.44329 | 0.97715 | -0.43931 | 2.4416
10 | 0.005835 | 0.001462 | -0.0058347 | -0.001462 | 2.6964e-07 | 5.8586e-08 | 0.0088873 | 0.0088873 | 0.0088873 | 0.97695 | -0.44329 | 0.9769 | -0.44426 | 2.4416
11 | -0.0058361 | -0.0014623 | 0.0058369 | 0.0014625 | 8.409e-07 | 1.8246e-07 | 0.0088871 | 0.008887 | 0.0088871 | 0.97715 | -0.43931 | 0.97731 | -0.43628 | 2.4415
12 | 0.0011054 | 0.00027671 | -0.0011054 | -0.00027703 | 2.8622e-08 | -3.1877e-07 | 0.0016836 | 0.0016838 | 0.0016838 | 0.9769 | -0.44426 | 0.97687 | -0.4448 | 0.46257
13 | -0.010948 | -0.0027434 | 0.01095 | 0.0027447 | 2.4585e-06 | 1.2777e-06 | 0.016669 | 0.016669 | 0.016669 | 0.97731 | -0.43628 | 0.97754 | -0.43157 | 4.5793
14 | 0.0087965 | 0.0022048 | -0.0087954 | -0.0022043 | 1.148e-06 | 5.1185e-07 | 0.013255 | 0.013256 | 0.013256 | 0.98747 | -0.23958 | 0.98733 | -0.24232 | 3.6416
15 | -0.0087965 | -0.0022048 | 0.0087967 | 0.0022049 | 1.6914e-07 | 7.541e-08 | 0.013255 | 0.013255 | 0.013255 | 0.98747 | -0.23958 | 0.98749 | -0.23918 | 3.6416
16 | -0.024148 | -0.0060524 | 0.024153 | 0.0060552 | 4.6905e-06 | 2.8811e-06 | 0.036388 | 0.036388 | 0.036388 | 0.98749 | -0.23918 | 0.9877 | -0.2351 | 9.9967
17 | 0.011928 | 0.0029901 | -0.011926 | -0.0029889 | 2.1768e-06 | 1.1755e-06 | 0.018221 | 0.018221 | 0.018221 | 0.97413 | -0.49859 | 0.97394 | -0.50242 | 5.0057
18 | -0.017703 | -0.0044374 | 0.01771 | 0.0044418 | 7.4057e-06 | 4.4033e-06 | 0.027042 | 0.027042 | 0.027042 | 0.97413 | -0.49859 | 0.97458 | -0.48982 | 7.4291
19 | 0.11811 | 0.029675 | -0.11809 | -0.029664 | 1.7254e-05 | 1.0602e-05 | 0.18036 | 0.18036 | 0.18036 | 0.97458 | -0.48982 | 0.97442 | -0.49288 | 9.91
20 | -0.13582 | -0.034117 | 0.13587 | 0.034148 | 4.9571e-05 | 3.0768e-05 | 0.2074 | 0.2074 | 0.2074 | 0.97458 | -0.48982 | 0.97497 | -0.48217 | 11.3958
21 | 0.010329 | 0.002589 | -0.010327 | -0.0025881 | 1.7254e-06 | 8.7338e-07 | 0.015764 | 0.015764 | 0.015764 | 0.97497 | -0.48217 | 0.97479 | -0.48568 | 4.3308
22 | 0.029339 | 0.0073597 | -0.029332 | -0.0073554 | 7.0497e-06 | 4.3949e-06 | 0.04478 | 0.04478 | 0.04478 | 0.97497 | -0.48217 | 0.97471 | -0.48721 | 12.3022
23 | -0.17554 | -0.044096 | 0.1756 | 0.044133 | 5.8228e-05 | 3.6591e-05 | 0.26795 | 0.26795 | 0.26795 | 0.97497 | -0.48217 | 0.97532 | -0.47522 | 14.7224
24 | 0.0082655 | 0.0020715 | -0.008265 | -0.0020713 | 4.781e-07 | 2.0615e-07 | 0.012617 | 0.012617 | 0.012617 | 0.97479 | -0.48568 | 0.97473 | -0.48689 | 3.4663
25 | 0.020249 | 0.0050786 | -0.020242 | -0.0050745 | 6.7134e-06 | 4.0632e-06 | 0.030914 | 0.030914 | 0.030914 | 0.97471 | -0.48721 | 0.97436 | -0.49417 | 8.4927
26 | 0.009083 | 0.0022767 | -0.0090822 | -0.0022764 | 8.1157e-07 | 3.7913e-07 | 0.013866 | 0.013866 | 0.013866 | 0.97471 | -0.48721 | 0.97462 | -0.48909 | 3.8095
27 | -0.17821 | -0.044787 | 0.17824 | 0.044809 | 3.569e-05 | 2.244e-05 | 0.27193 | 0.27193 | 0.27193 | 0.97532 | -0.47522 | 0.97553 | -0.47103 | 14.9411
28 | 0.0090822 | 0.0022764 | -0.0090814 | -0.002276 | 7.2604e-07 | 3.3919e-07 | 0.013866 | 0.013867 | 0.013867 | 0.97462 | -0.48909 | 0.97453 | -0.49077 | 3.8095
29 | 0.013211 | 0.0033124 | -0.013206 | -0.0033098 | 4.6224e-06 | 2.5813e-06 | 0.020176 | 0.020176 | 0.020176 | 0.97436 | -0.49417 | 0.97399 | -0.50151 | 5.5428
30 | -0.0045021 | -0.0011278 | 0.0045029 | 0.0011278 | 7.2725e-07 | -7.6608e-08 | 0.006775 | 0.0067748 | 0.006775 | 0.98879 | -0.21364 | 0.98896 | -0.21025 | 1.8613
31 | 0.0045021 | 0.0011278 | -0.0045007 | -0.001128 | 1.4022e-06 | -1.4708e-07 | 0.006775 | 0.0067754 | 0.0067754 | 0.98879 | -0.21364 | 0.98845 | -0.22018 | 1.8614
32 | -0.0045029 | -0.0011278 | 0.004503 | 0.0011278 | 1.1641e-07 | -1.2284e-08 | 0.0067748 | 0.0067748 | 0.0067748 | 0.98896 | -0.21025 | 0.98899 | -0.20971 | 1.8612
33 | -0.015809 | -0.0039626 | 0.015811 | 0.0039634 | 1.4984e-06 | 8.6773e-07 | 0.023745 | 0.023745 | 0.023745 | 0.99071 | -0.17669 | 0.99082 | -0.1747 | 6.5234
34 | 0.015809 | 0.0039626 | -0.015808 | -0.0039618 | 1.2576e-06 | 7.2828e-07 | 0.023745 | 0.023745 | 0.023745 | 0.99071 | -0.17669 | 0.99063 | -0.17836 | 6.5234
35 | -0.51029 | -0.12972 | 0.51043 | 0.12981 | 0.00013762 | 8.7875e-05 | 0.76701 | 0.76701 | 0.76701 | 0.99082 | -0.1747 | 0.99111 | -0.1691 | 42.1433
36 | 0.10177 | 0.025609 | -0.10156 | -0.025472 | 0.0002136 | 0.00013639 | 0.15288 | 0.15288 | 0.15288 | 0.99082 | -0.1747 | 0.98855 | -0.21872 | 42.0004
37 | 0.3927 | 0.10015 | -0.39207 | -0.099748 | 0.00062963 | 0.00040142 | 0.59038 | 0.59038 | 0.59038 | 0.99082 | -0.1747 | 0.98908 | -0.20797 | 32.4386
38 | 0.35081 | 0.089394 | -0.35004 | -0.088902 | 0.00077275 | 0.0004922 | 0.5283 | 0.5283 | 0.5283 | 0.98908 | -0.20797 | 0.9867 | -0.25372 | 29.0275
39 | 0.0071129 | 0.0017819 | -0.0071123 | -0.0017817 | 5.8963e-07 | 2.0114e-07 | 0.010701 | 0.010701 | 0.010701 | 0.98908 | -0.20797 | 0.98899 | -0.20971 | 2.9398
40 | 0.034151 | 0.0085717 | -0.034132 | -0.0085597 | 1.9154e-05 | 1.2011e-05 | 0.051383 | 0.051383 | 0.051383 | 0.98908 | -0.20797 | 0.98848 | -0.21973 | 14.1163
41 | 0.34277 | 0.08708 | -0.34273 | -0.087053 | 4.3681e-05 | 2.7817e-05 | 0.51734 | 0.51734 | 0.51734 | 0.9867 | -0.25372 | 0.98656 | -0.25637 | 28.4253
42 | 0.023709 | 0.0059474 | -0.023697 | -0.0059399 | 1.2212e-05 | 7.4879e-06 | 0.035693 | 0.035693 | 0.035693 | 0.98848 | -0.21973 | 0.98792 | -0.23054 | 9.8057
43 | -0.51714 | -0.13149 | 0.51809 | 0.1321 | 0.0009456 | 0.00060384 | 0.7771 | 0.77709 | 0.7771 | 0.99111 | -0.1691 | 0.99309 | -0.13122 | 42.6975
44 | 0.0067185 | 0.0016838 | -0.006718 | -0.0016837 | 4.7369e-07 | 1.4318e-07 | 0.010087 | 0.010087 | 0.010087 | 0.99111 | -0.1691 | 0.99103 | -0.17058 | 2.7711
45 | 0.067837 | 0.01702 | -0.067817 | -0.017008 | 1.9936e-05 | 1.2694e-05 | 0.10212 | 0.10212 | 0.10212 | 0.98855 | -0.21872 | 0.98823 | -0.22489 | 28.0546
46 | 0.006137 | 0.0015379 | -0.0061368 | -0.0015379 | 2.793e-07 | 7.2991e-08 | 0.0093687 | 0.0093688 | 0.0093688 | 0.97473 | -0.48689 | 0.97468 | -0.48785 | 2.5738
47 | -0.18656 | -0.046893 | 0.18666 | 0.046959 | 0.00010402 | 6.5506e-05 | 0.28461 | 0.28461 | 0.28461 | 0.97553 | -0.47103 | 0.97613 | -0.45936 | 15.638
48 | 0.035587 | 0.0089305 | -0.035561 | -0.0089143 | 2.5714e-05 | 1.6154e-05 | 0.053679 | 0.053679 | 0.053679 | 0.98656 | -0.25637 | 0.98579 | -0.27154 | 14.7469
49 | 0.30714 | 0.078122 | -0.30681 | -0.077914 | 0.00032665 | 0.00020776 | 0.46366 | 0.46366 | 0.46366 | 0.98656 | -0.25637 | 0.98542 | -0.27847 | 25.4759
50 | 0.011328 | 0.00284 | -0.011325 | -0.0028383 | 3.245e-06 | 1.6963e-06 | 0.017063 | 0.017063 | 0.017063 | 0.98792 | -0.23054 | 0.98761 | -0.23656 | 4.6876
51 | -0.54683 | -0.1393 | 0.54837 | 0.14028 | 0.0015336 | 0.00097952 | 0.82016 | 0.82016 | 0.82016 | 0.99309 | -0.13122 | 0.99613 | -0.073266 | 45.064
52 | 0.056836 | 0.014256 | -0.056831 | -0.014252 | 5.4371e-06 | 3.4544e-06 | 0.085585 | 0.085585 | 0.085585 | 0.98823 | -0.22489 | 0.98812 | -0.2269 | 23.5122
53 | -0.0018682 | -0.00046822 | 0.0018682 | 0.00046814 | 2.2222e-08 | -7.6555e-08 | 0.0028523 | 0.0028522 | 0.0028523 | 0.97464 | -0.48868 | 0.97465 | -0.48843 | 0.78359
54 | -0.0039204 | -0.00098246 | 0.0039205 | 0.00098242 | 1.0919e-07 | -3.1417e-08 | 0.0059853 | 0.0059852 | 0.0059853 | 0.97465 | -0.48843 | 0.97468 | -0.48785 | 1.6443
55 | -0.012513 | -0.0031363 | 0.012514 | 0.0031369 | 1.1014e-06 | 6.034e-07 | 0.019047 | 0.019047 | 0.019047 | 0.97754 | -0.43157 | 0.97764 | -0.42972 | 5.2327
56 | 0.24216 | 0.061218 | -0.24209 | -0.061168 | 7.8617e-05 | 4.9826e-05 | 0.36775 | 0.36775 | 0.36775 | 0.98036 | -0.37652 | 0.98001 | -0.38329 | 20.2061
57 | -0.24849 | -0.062803 | 0.24854 | 0.062835 | 5.0984e-05 | 3.2329e-05 | 0.37735 | 0.37735 | 0.37735 | 0.98036 | -0.37652 | 0.98058 | -0.37224 | 20.7337
58 | 0.24022 | 0.0607 | -0.23992 | -0.060509 | 0.00030057 | 0.00019047 | 0.36492 | 0.36492 | 0.36492 | 0.98001 | -0.38329 | 0.97868 | -0.40943 | 20.0504
59 | -0.25397 | -0.064196 | 0.25404 | 0.064242 | 7.3142e-05 | 4.6397e-05 | 0.38559 | 0.38559 | 0.38559 | 0.98058 | -0.37224 | 0.98089 | -0.36624 | 21.1862
60 | 0.23829 | 0.060102 | -0.23824 | -0.060068 | 5.3448e-05 | 3.3866e-05 | 0.36244 | 0.36244 | 0.36244 | 0.97868 | -0.40943 | 0.97844 | -0.41412 | 19.9145
61 | -0.25889 | -0.065458 | 0.25916 | 0.065629 | 0.00026883 | 0.00017058 | 0.39295 | 0.39295 | 0.39295 | 0.98089 | -0.36624 | 0.982 | -0.34461 | 21.5906
62 | 0.23464 | 0.059166 | -0.23463 | -0.059163 | 4.405e-06 | 2.7902e-06 | 0.35697 | 0.35697 | 0.35697 | 0.97844 | -0.41412 | 0.97842 | -0.41451 | 19.6138
63 | -0.26522 | -0.067147 | 0.2653 | 0.067198 | 8.0894e-05 | 5.135e-05 | 0.40213 | 0.40213 | 0.40213 | 0.982 | -0.34461 | 0.98233 | -0.33826 | 22.0949
64 | 0.2313 | 0.058327 | -0.23117 | -0.058249 | 0.00012369 | 7.8323e-05 | 0.3519 | 0.3519 | 0.3519 | 0.97842 | -0.41451 | 0.97784 | -0.42569 | 19.335
65 | -0.26823 | -0.067932 | 0.26854 | 0.068127 | 0.00030634 | 0.00019449 | 0.40657 | 0.40657 | 0.40657 | 0.98233 | -0.33826 | 0.98355 | -0.31451 | 22.3388
66 | -0.21046 | -0.052953 | 0.21051 | 0.052986 | 5.1792e-05 | 3.2727e-05 | 0.32077 | 0.32077 | 0.32077 | 0.97651 | -0.45176 | 0.97678 | -0.44661 | 17.6247
67 | 0.20243 | 0.05094 | -0.20235 | -0.050894 | 7.3492e-05 | 4.6391e-05 | 0.30853 | 0.30853 | 0.30853 | 0.97651 | -0.45176 | 0.97613 | -0.45936 | 16.9523
68 | -0.21464 | -0.054021 | 0.21486 | 0.054157 | 0.00021485 | 0.00013583 | 0.32707 | 0.32706 | 0.32707 | 0.97678 | -0.44661 | 0.97784 | -0.42569 | 17.9706
69 | 0.015691 | 0.0039349 | -0.015684 | -0.0039307 | 7.1687e-06 | 4.1705e-06 | 0.023921 | 0.023921 | 0.023921 | 0.97613 | -0.45936 | 0.97564 | -0.46895 | 6.5717
70 | 0.016318 | 0.0040914 | -0.016315 | -0.0040896 | 3.137e-06 | 1.8376e-06 | 0.024833 | 0.024833 | 0.024833 | 0.97784 | -0.42569 | 0.97764 | -0.42972 | 6.8222
71 | 0.0044295 | 0.00111 | -0.0044291 | -0.00111 | 3.8629e-07 | -3.4607e-08 | 0.0067556 | 0.0067557 | 0.0067557 | 0.97564 | -0.46895 | 0.97555 | -0.47078 | 1.856
72 | 0.0039519 | 0.00099034 | -0.0039518 | -0.00099041 | 1.7025e-07 | -6.3271e-08 | 0.0058805 | 0.0058806 | 0.0058806 | 1 | 0 | 0.99995 | -0.00090435 | 1.6155
73 | 0.58167 | 0.14943 | -0.58024 | -0.14851 | 0.0014363 | 0.00091754 | 0.86683 | 0.86683 | 0.86683 | 1 | 0 | 0.9973 | -0.050982 | 47.6282
74 | 0.57433 | 0.14703 | -0.57371 | -0.14663 | 0.0006191 | 0.00039549 | 0.85802 | 0.85802 | 0.85802 | 0.9973 | -0.050982 | 0.99613 | -0.073266 | 47.1441
75 | -0.29094 | -0.073803 | 0.29115 | 0.07394 | 0.00021474 | 0.00013649 | 0.44021 | 0.44021 | 0.44021 | 0.98415 | -0.30302 | 0.98494 | -0.28768 | 24.1875
76 | 0.28386 | 0.072029 | -0.28371 | -0.07193 | 0.00015682 | 9.9648e-05 | 0.42951 | 0.42951 | 0.42951 | 0.98415 | -0.30302 | 0.98355 | -0.31451 | 23.5997
77 | -0.29477 | -0.074846 | 0.29488 | 0.074916 | 0.0001096 | 6.9679e-05 | 0.44568 | 0.44568 | 0.44568 | 0.98494 | -0.28768 | 0.98534 | -0.27996 | 24.4879
78 | 0.015168 | 0.0038028 | -0.015166 | -0.0038012 | 2.8251e-06 | 1.6266e-06 | 0.022949 | 0.022949 | 0.022949 | 0.98355 | -0.31451 | 0.98335 | -0.31842 | 6.3046
79 | -0.3004 | -0.076298 | 0.30042 | 0.076312 | 2.1502e-05 | 1.3673e-05 | 0.45401 | 0.45401 | 0.45401 | 0.98534 | -0.27996 | 0.98542 | -0.27847 | 24.9455
80 | 0.015166 | 0.0038012 | -0.015165 | -0.0038006 | 1.0005e-06 | 5.7606e-07 | 0.022949 | 0.022949 | 0.022949 | 0.98335 | -0.31842 | 0.98328 | -0.31981 | 6.3046
81 | -0.038304 | -0.009602 | 0.038307 | 0.0096037 | 2.7974e-06 | 1.7617e-06 | 0.057708 | 0.057708 | 0.057708 | 0.9877 | -0.2351 | 0.98778 | -0.23357 | 15.8538
82 | -0.049188 | -0.012331 | 0.049203 | 0.012341 | 1.564e-05 | 9.9123e-06 | 0.074098 | 0.074098 | 0.074098 | 0.98778 | -0.23357 | 0.98812 | -0.2269 | 20.3567
83 | 0.0079126 | 0.0019832 | -0.007912 | -0.0019829 | 6.1967e-07 | 2.4892e-07 | 0.011944 | 0.011944 | 0.011944 | 0.98579 | -0.27154 | 0.9857 | -0.27318 | 3.2813
84 | 0.027648 | 0.0069311 | -0.027643 | -0.0069281 | 4.9489e-06 | 3.0707e-06 | 0.041735 | 0.041735 | 0.041735 | 0.98579 | -0.27154 | 0.98559 | -0.27529 | 11.4657
85 | -0.0046591 | -0.0011677 | 0.0046592 | 0.0011677 | 9.4997e-08 | -4.4437e-09 | 0.0070344 | 0.0070343 | 0.0070344 | 0.98557 | -0.27572 | 0.98559 | -0.27529 | 1.9325

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59451 | 0.15223

## res_load
| p_mw | q_mvar
0 | 0.0065895 | 0.0016515
1 | 0.030527 | 0.0076508
2 | 0.035082 | 0.0087923
3 | 0.011712 | 0.0029353
4 | 0.0057616 | 0.001444
5 | 0.015013 | 0.0037626
6 | 0.0061917 | 0.0015518
7 | 0.0047293 | 0.0011853
8 | 0.0051109 | 0.0012809
9 | 0.0087954 | 0.0022043
10 | 0.015351 | 0.0038474
11 | 0.0070298 | 0.0017618
12 | 0.0057748 | 0.0014473
13 | 0.011926 | 0.0029889
14 | 0.0020616 | 0.00051668
15 | 0.0026089 | 0.00065385
16 | 0.0090814 | 0.002276
17 | 0.0070312 | 0.0017622
18 | 0.0045007 | 0.001128
19 | 0.015808 | 0.0039618
20 | 0.0072678 | 0.0018215
21 | 0.0026093 | 0.00065396
22 | 0.010423 | 0.0026123
23 | 0.033724 | 0.0084519
24 | 0.002128 | 0.00053332
25 | 0.0083163 | 0.0020843
26 | 0.013206 | 0.0033098
27 | 0.012369 | 0.0030999
28 | 0.028744 | 0.007204
29 | 0.006718 | 0.0016837
30 | 0.010981 | 0.002752
31 | 0.0018682 | 0.00046822
32 | 0.0020522 | 0.00051432
33 | 0.0011054 | 0.00027703
34 | 0.0015625 | 0.00039161
35 | 0.0063266 | 0.0015856
36 | 0.0018669 | 0.0004679
37 | 0.0054273 | 0.0013602
38 | 0.0016271 | 0.0004078
39 | 0.0048514 | 0.0012159
40 | 0.0035984 | 0.00090184
41 | 0.0060578 | 0.0015182
42 | 0.003336 | 0.00083609
43 | 0.0029302 | 0.00073438
44 | 0.0080312 | 0.0020128
45 | 0.0041321 | 0.0010356
46 | 0.011255 | 0.0028207
47 | 0.0038013 | 0.00095271
48 | 0.0044291 | 0.00111
49 | 0.0072392 | 0.0018143
50 | 0.0039518 | 0.00099041
51 | 0.0059046 | 0.0014798
52 | 0.025345 | 0.006352
53 | 0.0070766 | 0.0017736
54 | 0.0036183 | 0.00090684
55 | 0.0055155 | 0.0013823
56 | 0.0063932 | 0.0016023
57 | 0.015165 | 0.0038006
58 | 0.0022163 | 0.00055545
59 | 0.011325 | 0.0028383
60 | 0.014152 | 0.0035467
61 | 0.01088 | 0.0027269
62 | 0.0076274 | 0.0019116
63 | 0.0046591 | 0.0011677
64 | 0.022984 | 0.0057604
65 | 0.007912 | 0.0019829

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1