## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_154-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_154-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_154-16_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_154-16_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_154-16_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_154-16_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_154-16_0_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_154-16_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_154-16_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_154-16_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_154-16_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_154-16_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_154-16_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_154-16_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_154-16_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_154-16_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_154-16_0_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_154-16_0_4_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_154-16_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_154-16_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_154-16_0_4_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_154-16_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_154-16_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_154-16_0_4_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_154-16_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_154-16_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_154-16_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_154-16_0_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_154-16_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_154-16_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_154-16_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_154-16_0_4_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_154-16_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_154-16_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_154-16_0_4_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_154-16_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_154-16_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_154-16_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_154-16_0_4_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_154-16_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_154-16_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_154-16_0_4_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_154-16_0_4_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_154-16_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_154-16_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_154-16_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_154-16_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_154-16_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_154-16_0_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_154-16_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_154-16_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_154-16_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_154-16_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_154-16_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_154-16_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_154-16_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_154-16_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_154-16_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_154-16_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_154-16_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_154-16_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_154-16_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_MV_492_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-16_0_4_load_0 | 0 | 0.011695 | 0.0029311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-16_0_4_load_1 | 1 | 0.010689 | 0.0026789 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-16_0_4_load_3 | 3 | 0.010123 | 0.0025371 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-16_0_4_load_4 | 4 | 0.0083375 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-16_0_4_load_11 | 6 | 0.011379 | 0.0028519 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-16_0_4_load_49 | 7 | 0.040834 | 0.010234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-16_0_4_load_17 | 8 | 0.0086004 | 0.0021555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-16_0_4_load_54 | 10 | 0.027315 | 0.0068459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-16_0_4_load_15 | 11 | 0.0031869 | 0.00079871 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-16_0_4_load_6 | 12 | 0.0083907 | 0.0021029 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-16_0_4_load_7 | 13 | 0.0071936 | 0.0018029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-16_0_4_load_58 | 18 | 0.013959 | 0.0034985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-16_0_4_load_69 | 20 | 0.0017256 | 0.00043248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-16_0_4_load_67 | 21 | 0.024587 | 0.0061622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-16_0_4_load_55 | 24 | 0.0049498 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-16_0_4_load_59 | 27 | 0.0098172 | 0.0024604 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-16_0_4_load_66 | 31 | 0.013578 | 0.0034029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-16_0_4_load_51 | 33 | 0.021378 | 0.0053577 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-16_0_4_load_60 | 34 | 0.0099888 | 0.0025034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-16_0_4_load_70 | 35 | 0.016435 | 0.0041189 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-16_0_4_load_20 | 37 | 0.014199 | 0.0035586 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-16_0_4_load_13 | 38 | 0.0098273 | 0.0024629 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-16_0_4_load_52 | 39 | 0.024648 | 0.0061775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-16_0_4_load_46 | 41 | 0.005568 | 0.0013955 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-16_0_4_load_14 | 42 | 0.0017652 | 0.0004424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-16_0_4_load_37 | 43 | 0.004377 | 0.001097 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-16_0_4_load_16 | 45 | 0.0045925 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-16_0_4_load_18 | 46 | 0.01098 | 0.0027519 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-16_0_4_load_35 | 47 | 0.0053228 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-16_0_4_load_36 | 48 | 0.0051 | 0.0012782 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-16_0_4_load_44 | 49 | 0.0045848 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-16_0_4_load_45 | 50 | 0.015879 | 0.0039795 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-16_0_4_load_50 | 51 | 0.018425 | 0.0046176 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-16_0_4_load_68 | 52 | 0.0045823 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-16_0_4_load_43 | 55 | 0.0041066 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-16_0_4_load_65 | 56 | 0.0050064 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-16_0_4_load_41 | 57 | 0.0024468 | 0.00061324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-16_0_4_load_39 | 58 | 0.0083909 | 0.002103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-16_0_4_load_40 | 59 | 0.0061082 | 0.0015309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-16_0_4_load_42 | 60 | 0.003427 | 0.00085888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-16_0_4_load_57 | 61 | 0.0038099 | 0.00095485 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-16_0_4_load_64 | 62 | 0.0033076 | 0.00082896 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-16_0_4_load_62 | 63 | 0.0045149 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-16_0_4_load_61 | 64 | 0.0060047 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-16_0_4_load_63 | 65 | 0.0034884 | 0.00087428 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-16_0_4_line_0 |  | 0 | 1 | 0.030585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_154-16_0_4_line_1 |  | 0 | 2 | 0.017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_154-16_0_4_line_2 |  | 1 | 3 | 0.0042938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_154-16_0_4_line_3 |  | 2 | 4 | 0.047026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-16_0_4_line_4 |  | 2 | 5 | 0.004272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_154-16_0_4_line_5 |  | 3 | 6 | 0.023963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_154-16_0_4_line_6 |  | 5 | 7 | 0.0022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-16_0_4_line_7 |  | 5 | 8 | 0.032284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_154-16_0_4_line_8 |  | 6 | 9 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_154-16_0_4_line_9 |  | 7 | 10 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-16_0_4_line_10 |  | 8 | 11 | 0.012697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_154-16_0_4_line_11 |  | 9 | 38 | 0.0085996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-16_0_4_line_12 |  | 9 | 42 | 0.042852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_154-16_0_4_line_13 |  | 10 | 16 | 0.021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-16_0_4_line_14 |  | 11 | 45 | 0.00083391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_154-16_0_4_line_15 |  | 12 | 13 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-16_0_4_line_16 |  | 12 | 14 | 0.018016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-16_0_4_line_17 |  | 14 | 15 | 0.03631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-16_0_4_line_18 |  | 15 | 18 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-16_0_4_line_19 |  | 16 | 17 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-16_0_4_line_20 |  | 17 | 39 | 0.02051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-16_0_4_line_21 |  | 18 | 23 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-16_0_4_line_22 |  | 19 | 20 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-16_0_4_line_23 |  | 19 | 21 | 0.024853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-16_0_4_line_24 |  | 19 | 22 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-16_0_4_line_25 |  | 21 | 52 | 0.0018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-16_0_4_line_26 |  | 22 | 34 | 0.0065133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-16_0_4_line_27 |  | 23 | 24 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_154-16_0_4_line_28 |  | 23 | 25 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-16_0_4_line_29 |  | 24 | 53 | 0.032942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_154-16_0_4_line_30 |  | 25 | 27 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-16_0_4_line_31 |  | 25 | 32 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-16_0_4_line_32 |  | 26 | 27 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-16_0_4_line_33 |  | 26 | 28 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-16_0_4_line_34 |  | 28 | 31 | 0.035993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-16_0_4_line_35 |  | 29 | 30 | 0.047432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-16_0_4_line_36 |  | 29 | 31 | 0.0054571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-16_0_4_line_37 |  | 30 | 35 | 0.029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-16_0_4_line_38 |  | 32 | 33 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-16_0_4_line_39 |  | 32 | 34 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-16_0_4_line_40 |  | 33 | 40 | 0.012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-16_0_4_line_41 |  | 36 | 37 | 0.049698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-16_0_4_line_42 |  | 36 | 38 | 0.025813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-16_0_4_line_43 |  | 37 | 47 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-16_0_4_line_44 |  | 39 | 51 | 0.027685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-16_0_4_line_45 |  | 40 | 41 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-16_0_4_line_46 |  | 41 | 50 | 0.0047895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-16_0_4_line_47 |  | 42 | 43 | 0.023419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_154-16_0_4_line_48 |  | 43 | 44 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_154-16_0_4_line_49 |  | 44 | 54 | 0.005069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-16_0_4_line_50 |  | 44 | 55 | 0.011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_154-16_0_4_line_51 |  | 45 | 46 | 0.018119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_154-16_0_4_line_52 |  | 47 | 48 | 0.011021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-16_0_4_line_53 |  | 49 | 50 | 0.0035868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-16_0_4_line_54 |  | 53 | 61 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-16_0_4_line_55 |  | 53 | 60 | 0.0028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_154-16_0_4_line_56 |  | 54 | 56 | 0.018782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-16_0_4_line_57 |  | 55 | 57 | 0.0020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_154-16_0_4_line_58 |  | 56 | 62 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-16_0_4_line_59 |  | 57 | 58 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_154-16_0_4_line_60 |  | 58 | 59 | 0.0015699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_154-16_0_4_line_61 |  | 59 | 60 | 0.028645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_154-16_0_4_line_62 |  | 61 | 63 | 0.039397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-16_0_4_line_63 |  | 63 | 64 | 0.0064145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-16_0_4_line_64 |  | 64 | 65 | 0.003342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-16_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 66 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2686464.2053 | 1241532.3667 | 2686457.8725 | 1241562.2893
1 | 2686467.8509 | 1241515.1411 | 2686464.2053 | 1241532.3667
2 | 2686456.8884 | 1241566.4687 | 2686457.8545 | 1241562.3743 | 2686457.8725 | 1241562.2893
3 | 2686483.2936 | 1241547.1115 | 2686489.903 | 1241525.2697 | 2686467.8509 | 1241515.1411
4 | 2686468.736 | 1241510.9621 | 2686467.8509 | 1241515.1411
5 | 2686450.5633 | 1241589.5605 | 2686453.7284 | 1241579.8603 | 2686456.8884 | 1241566.4687
6 | 2686468.736 | 1241510.9621 | 2686469.2472 | 1241508.7628
7 | 2686468.736 | 1241510.9621 | 2686498.065 | 1241524.4554
8 | 2686439.9976 | 1241602.6658 | 2686444.6759 | 1241600.7326 | 2686447.6045 | 1241597.4506 | 2686450.2222 | 1241590.606 | 2686450.5633 | 1241589.5605
9 | 2686469.2472 | 1241508.7628 | 2686472.6845 | 1241493.977
10 | 2686498.065 | 1241524.4554 | 2686509.5996 | 1241529.762
11 | 2686439.9976 | 1241602.6658 | 2686434.178 | 1241600.4239 | 2686431.8565 | 1241599.9826
12 | 2686439.9976 | 1241602.6658 | 2686447.2922 | 1241605.3963 | 2686480.7304 | 1241615.9452
13 | 2686477.634 | 1241472.686 | 2686472.6845 | 1241493.977
14 | 2686510.3572 | 1241530.1106 | 2686509.5996 | 1241529.762
15 | 2686535.9555 | 1241514.1517 | 2686532.0853 | 1241524.4577
16 | 2686539.9531 | 1241497.1342 | 2686540.8712 | 1241501.0616 | 2686535.9555 | 1241514.1517
17 | 2686573.8297 | 1241510.4601 | 2686539.9531 | 1241497.1342
18 | 2686573.8297 | 1241510.4601 | 2686565.2376 | 1241530.8385 | 2686570.0296 | 1241532.9504
19 | 2686477.5191 | 1241461.3761 | 2686474.2763 | 1241467.0108 | 2686478.6023 | 1241468.5082 | 2686477.634 | 1241472.686
20 | 2686477.5191 | 1241461.3761 | 2686487.2631 | 1241465.699 | 2686496.3182 | 1241469.576
21 | 2686589.0325 | 1241536.0449 | 2686582.498 | 1241533.5589 | 2686572.0744 | 1241533.8515 | 2686570.0296 | 1241532.9504
22 | 2686636.2431 | 1241494.7481 | 2686637.2487 | 1241489.5701 | 2686637.5844 | 1241482.8511
23 | 2686636.2431 | 1241494.7481 | 2686661.0476 | 1241496.2923
24 | 2686622.0264 | 1241498.9881 | 2686627.9493 | 1241501.4097 | 2686633.4213 | 1241503.6467 | 2686636.2431 | 1241494.7481
25 | 2686661.0476 | 1241496.2923 | 2686662.9109 | 1241496.4083
26 | 2686622.0264 | 1241498.9881 | 2686616.9508 | 1241503.0699
27 | 2686589.0325 | 1241536.0449 | 2686582.1112 | 1241549.9003
28 | 2686601.4089 | 1241521.1146 | 2686597.3509 | 1241519.3985 | 2686589.0325 | 1241536.0449
29 | 2686565.1837 | 1241578.061 | 2686575.3242 | 1241563.4872 | 2686582.1112 | 1241549.9003
30 | 2686601.4089 | 1241521.1146 | 2686605.4364 | 1241522.8523 | 2686607.9527 | 1241526.0692 | 2686610.8043 | 1241529.6245 | 2686613.4129 | 1241531.6974
31 | 2686601.4089 | 1241521.1146 | 2686602.8651 | 1241514.5977 | 2686604.3615 | 1241507.9147
32 | 2686621.08 | 1241539.4594 | 2686619.8516 | 1241536.5949 | 2686618.5046 | 1241534.596 | 2686616.4177 | 1241533.0422 | 2686613.4129 | 1241531.6974
33 | 2686621.08 | 1241539.4594 | 2686626.6142 | 1241538.4727 | 2686633.4521 | 1241537.2605
34 | 2686633.4521 | 1241537.2605 | 2686633.4371 | 1241547.0897 | 2686633.4657 | 1241561.1781 | 2686633.8631 | 1241565.5538 | 2686634.9741 | 1241568.1719 | 2686638.1495 | 1241571.8209
35 | 2686621.3663 | 1241606.846 | 2686625.9548 | 1241609.5149 | 2686627.3227 | 1241603.864 | 2686628.4838 | 1241595.2858 | 2686628.7285 | 1241587.8507 | 2686628.7559 | 1241576.654 | 2686637.7524 | 1241577.2635
36 | 2686637.7524 | 1241577.2635 | 2686638.1495 | 1241571.8209
37 | 2686596.7653 | 1241590.5863 | 2686614.4163 | 1241602.7972 | 2686621.3663 | 1241606.846
38 | 2686604.3615 | 1241507.9147 | 2686601.7186 | 1241508.1874 | 2686598.8054 | 1241505.7432 | 2686579.8744 | 1241500.8127
39 | 2686604.3615 | 1241507.9147 | 2686613.1588 | 1241506.1195 | 2686616.9508 | 1241503.0699
40 | 2686567.8186 | 1241498.0189 | 2686577.6839 | 1241500.2422 | 2686579.8744 | 1241500.8127
41 | 2686406.4977 | 1241595.1616 | 2686406.8706 | 1241591.3642 | 2686404.8997 | 1241587.0324 | 2686402.1837 | 1241585.5807 | 2686405.1036 | 1241573.0363 | 2686411.4708 | 1241548.6911
42 | 2686406.4977 | 1241595.1616 | 2686431.8565 | 1241599.9826
43 | 2686416.7556 | 1241528.4846 | 2686411.4708 | 1241548.6911
44 | 2686496.3182 | 1241469.576 | 2686506.9433 | 1241474.1252 | 2686521.9487 | 1241480.0356
45 | 2686567.8186 | 1241498.0189 | 2686568.6985 | 1241475.5487 | 2686568.8532 | 1241473.7411
46 | 2686568.8532 | 1241473.7411 | 2686569.2615 | 1241468.9691
47 | 2686503.0647 | 1241622.991 | 2686480.7304 | 1241615.9452
48 | 2686519.8327 | 1241628.2809 | 2686503.0647 | 1241622.991
49 | 2686519.8327 | 1241628.2809 | 2686524.444 | 1241630.4163
50 | 2686519.8327 | 1241628.2809 | 2686521.4597 | 1241626.1141 | 2686526.1161 | 1241619.136
51 | 2686526.8174 | 1241537.6834 | 2686510.3572 | 1241530.1106
52 | 2686419.5443 | 1241517.822 | 2686416.7556 | 1241528.4846
53 | 2686569.2615 | 1241468.9691 | 2686569.5673 | 1241465.3953
54 | 2686565.1837 | 1241578.061 | 2686577.4754 | 1241584.8762
55 | 2686565.1837 | 1241578.061 | 2686563.2337 | 1241580.0813
56 | 2686524.444 | 1241630.4163 | 2686535.4283 | 1241637.2925 | 2686539.5132 | 1241641.4421
57 | 2686526.1161 | 1241619.136 | 2686527.2783 | 1241617.3945
58 | 2686560.5483 | 1241662.8104 | 2686539.5132 | 1241641.4421
59 | 2686527.2783 | 1241617.3945 | 2686527.4118 | 1241617.1944 | 2686542.2503 | 1241601.821
60 | 2686543.3406 | 1241600.6915 | 2686542.2503 | 1241601.821
61 | 2686543.3406 | 1241600.6915 | 2686563.2337 | 1241580.0813
62 | 2686577.4754 | 1241584.8762 | 2686587.2426 | 1241590.2916 | 2686580.2308 | 1241607.046 | 2686584.8616 | 1241615.9844
63 | 2686587.8123 | 1241621.68 | 2686584.8616 | 1241615.9844
64 | 2686589.3497 | 1241624.6474 | 2686587.8123 | 1241621.68

## bus_geodata
| x | y | coords
0 | 2686464.2053 | 1241532.3667
1 | 2686457.8725 | 1241562.2893
2 | 2686467.8509 | 1241515.1411
3 | 2686456.8884 | 1241566.4687
4 | 2686483.2936 | 1241547.1115
5 | 2686468.736 | 1241510.9621
6 | 2686450.5633 | 1241589.5605
7 | 2686469.2472 | 1241508.7628
8 | 2686498.065 | 1241524.4554
9 | 2686439.9976 | 1241602.6658
10 | 2686472.6845 | 1241493.977
11 | 2686509.5996 | 1241529.762
12 | 2686535.9555 | 1241514.1517
13 | 2686532.0853 | 1241524.4577
14 | 2686539.9531 | 1241497.1342
15 | 2686573.8297 | 1241510.4601
16 | 2686477.634 | 1241472.686
17 | 2686477.5191 | 1241461.3761
18 | 2686570.0296 | 1241532.9504
19 | 2686636.2431 | 1241494.7481
20 | 2686637.5844 | 1241482.8511
21 | 2686661.0476 | 1241496.2923
22 | 2686622.0264 | 1241498.9881
23 | 2686589.0325 | 1241536.0449
24 | 2686582.1112 | 1241549.9003
25 | 2686601.4089 | 1241521.1146
26 | 2686621.0801 | 1241539.4594
27 | 2686613.4129 | 1241531.6974
28 | 2686633.4521 | 1241537.2605
29 | 2686637.7524 | 1241577.2635
30 | 2686621.3663 | 1241606.846
31 | 2686638.1495 | 1241571.8209
32 | 2686604.3615 | 1241507.9147
33 | 2686579.8744 | 1241500.8127
34 | 2686616.9508 | 1241503.0699
35 | 2686596.7653 | 1241590.5863
36 | 2686406.4977 | 1241595.1616
37 | 2686411.4708 | 1241548.6911
38 | 2686431.8565 | 1241599.9826
39 | 2686496.3182 | 1241469.576
40 | 2686567.8186 | 1241498.0189
41 | 2686568.8532 | 1241473.7411
42 | 2686480.7304 | 1241615.9452
43 | 2686503.0647 | 1241622.991
44 | 2686519.8327 | 1241628.2809
45 | 2686510.3572 | 1241530.1106
46 | 2686526.8174 | 1241537.6834
47 | 2686416.7556 | 1241528.4846
48 | 2686419.5443 | 1241517.822
49 | 2686569.5673 | 1241465.3953
50 | 2686569.2615 | 1241468.9691
51 | 2686521.9487 | 1241480.0356
52 | 2686662.9109 | 1241496.4083
53 | 2686565.1837 | 1241578.061
54 | 2686524.444 | 1241630.4163
55 | 2686526.1161 | 1241619.136
56 | 2686539.5132 | 1241641.4421
57 | 2686527.2783 | 1241617.3945
58 | 2686542.2503 | 1241601.821
59 | 2686543.3406 | 1241600.6915
60 | 2686563.2337 | 1241580.0813
61 | 2686577.4754 | 1241584.8762
62 | 2686560.5483 | 1241662.8104
63 | 2686584.8616 | 1241615.9844
64 | 2686587.8123 | 1241621.68
65 | 2686589.3497 | 1241624.6474
66 | 2686468.736 | 1241510.9621

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99222 | -0.14776 | 0.011695 | 0.0029311
1 | 0.99019 | -0.18657 | 0.010689 | 0.0026789
2 | 0.99344 | -0.12459 | 0 | 0
3 | 0.98992 | -0.19182 | 0.010123 | 0.0025371
4 | 0.99308 | -0.13152 | 0.0083375 | 0.0020896
5 | 0.99374 | -0.11882 | 0 | 0
6 | 0.98844 | -0.22013 | 0.011379 | 0.0028519
7 | 0.99351 | -0.12325 | 0.040834 | 0.010234
8 | 0.99685 | -0.059553 | 0.0086004 | 0.0021555
9 | 0.98739 | -0.2404 | 0 | 0
10 | 0.99253 | -0.14214 | 0.027315 | 0.0068459
11 | 0.9981 | -0.035869 | 0.0031869 | 0.00079871
12 | 0.976 | -0.46177 | 0.0083907 | 0.0021029
13 | 0.97592 | -0.46322 | 0.0071936 | 0.0018029
14 | 0.97626 | -0.45664 | 0 | 0
15 | 0.97678 | -0.4463 | 0 | 0
16 | 0.99167 | -0.15881 | 0 | 0
17 | 0.99107 | -0.17055 | 0 | 0
18 | 0.97718 | -0.43851 | 0.013959 | 0.0034985
19 | 0.97252 | -0.53019 | 0 | 0
20 | 0.9725 | -0.53057 | 0.0017256 | 0.00043248
21 | 0.97184 | -0.54356 | 0.024587 | 0.0061622
22 | 0.97314 | -0.51787 | 0 | 0
23 | 0.97772 | -0.42792 | 0 | 0
24 | 0.97886 | -0.40568 | 0.0049498 | 0.0012405
25 | 0.97497 | -0.48184 | 0 | 0
26 | 0.97404 | -0.50009 | 0 | 0
27 | 0.97436 | -0.49379 | 0.0098172 | 0.0024604
28 | 0.97369 | -0.50702 | 0 | 0
29 | 0.9726 | -0.52856 | 0 | 0
30 | 0.97187 | -0.54293 | 0 | 0
31 | 0.97268 | -0.5269 | 0.013578 | 0.0034029
32 | 0.97385 | -0.50376 | 0 | 0
33 | 0.9727 | -0.52646 | 0.021378 | 0.0053577
34 | 0.97333 | -0.51417 | 0.0099888 | 0.0025034
35 | 0.97142 | -0.55186 | 0.016435 | 0.0041189
36 | 0.98653 | -0.25708 | 0 | 0
37 | 0.98541 | -0.27902 | 0.014199 | 0.0035586
38 | 0.98712 | -0.2457 | 0.0098273 | 0.0024629
39 | 0.99026 | -0.18624 | 0.024648 | 0.0061775
40 | 0.9724 | -0.5324 | 0 | 0
41 | 0.97181 | -0.54407 | 0.005568 | 0.0013955
42 | 0.9852 | -0.28252 | 0.0017652 | 0.0004424
43 | 0.98402 | -0.30543 | 0.004377 | 0.001097
44 | 0.98314 | -0.32232 | 0 | 0
45 | 0.99819 | -0.034304 | 0.0045925 | 0.001151
46 | 1 | 0 | -0.44213 | -0.11303
47 | 0.98521 | -0.28293 | 0.0053228 | 0.001334
48 | 0.98515 | -0.28394 | 0.0051 | 0.0012782
49 | 0.97171 | -0.54618 | 0.0045848 | 0.001149
50 | 0.97172 | -0.54587 | 0.015879 | 0.0039795
51 | 0.98979 | -0.19531 | 0.018425 | 0.0046176
52 | 0.97183 | -0.54372 | 0.0045823 | 0.0011484
53 | 0.98011 | -0.38135 | 0 | 0
54 | 0.98311 | -0.32308 | 0 | 0
55 | 0.98261 | -0.33258 | 0.0041066 | 0.0010292
56 | 0.98296 | -0.32589 | 0.0050064 | 0.0012547
57 | 0.98252 | -0.33447 | 0.0024468 | 0.00061324
58 | 0.98152 | -0.35384 | 0.0083909 | 0.002103
59 | 0.98145 | -0.35519 | 0.0061082 | 0.0015309
60 | 0.98022 | -0.37905 | 0.003427 | 0.00085888
61 | 0.97987 | -0.38589 | 0.0038099 | 0.00095485
62 | 0.98287 | -0.32768 | 0.0033076 | 0.00082896
63 | 0.97936 | -0.39591 | 0.0045149 | 0.0011315
64 | 0.97931 | -0.39702 | 0.0060047 | 0.0015049
65 | 0.9793 | -0.39723 | 0.0034884 | 0.00087428
66 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.28976 | 0.074061 | -0.28922 | -0.073715 | 0.00054275 | 0.00034578 | 0.43507 | 0.43507 | 0.43507 | 0.99222 | -0.14776 | 0.99019 | -0.18657 | 29.881
1 | -0.30146 | -0.076992 | 0.3018 | 0.077208 | 0.00033814 | 0.0002155 | 0.45261 | 0.4526 | 0.45261 | 0.99222 | -0.14776 | 0.99344 | -0.12459 | 31.0855
2 | 0.27853 | 0.071037 | -0.27846 | -0.070992 | 7.0673e-05 | 4.501e-05 | 0.419 | 0.419 | 0.419 | 0.99019 | -0.18657 | 0.98992 | -0.19182 | 28.7778
3 | 0.0083403 | 0.0020907 | -0.0083375 | -0.0020896 | 2.7522e-06 | 1.1528e-06 | 0.012493 | 0.012493 | 0.012493 | 0.99344 | -0.12459 | 0.99308 | -0.13152 | 3.4321
4 | -0.31014 | -0.079298 | 0.31022 | 0.079354 | 8.6634e-05 | 5.5225e-05 | 0.4651 | 0.4651 | 0.4651 | 0.99344 | -0.12459 | 0.99374 | -0.11882 | 31.9435
5 | 0.26834 | 0.068454 | -0.26797 | -0.068221 | 0.00036628 | 0.00023319 | 0.40379 | 0.40379 | 0.40379 | 0.98992 | -0.19182 | 0.98844 | -0.22013 | 27.7327
6 | 0.11141 | 0.027993 | -0.11138 | -0.027978 | 2.3571e-05 | 1.5056e-05 | 0.16685 | 0.16685 | 0.16685 | 0.99374 | -0.11882 | 0.99351 | -0.12325 | 45.837
7 | -0.42163 | -0.10735 | 0.42284 | 0.10812 | 0.0012087 | 0.00077188 | 0.63194 | 0.63194 | 0.63194 | 0.99374 | -0.11882 | 0.99685 | -0.059553 | 43.4027
8 | 0.25659 | 0.065369 | -0.25634 | -0.06521 | 0.00025073 | 0.00015955 | 0.38666 | 0.38666 | 0.38666 | 0.98844 | -0.22013 | 0.98739 | -0.2404 | 26.5562
9 | 0.070551 | 0.017744 | -0.070487 | -0.017703 | 6.3585e-05 | 4.0498e-05 | 0.10569 | 0.10569 | 0.10569 | 0.99351 | -0.12325 | 0.99253 | -0.14214 | 29.0352
10 | -0.43144 | -0.11027 | 0.43194 | 0.11059 | 0.00049486 | 0.00031605 | 0.64478 | 0.64478 | 0.64478 | 0.99685 | -0.059553 | 0.9981 | -0.035869 | 44.2843
11 | 0.034499 | 0.0086643 | -0.03449 | -0.0086588 | 8.7191e-06 | 5.4702e-06 | 0.051997 | 0.051997 | 0.051997 | 0.98739 | -0.2404 | 0.98712 | -0.2457 | 14.285
12 | 0.22184 | 0.056546 | -0.22139 | -0.05626 | 0.00044994 | 0.00028577 | 0.33466 | 0.33466 | 0.33466 | 0.98739 | -0.2404 | 0.9852 | -0.28252 | 22.9851
13 | 0.043172 | 0.010857 | -0.043137 | -0.010835 | 3.4352e-05 | 2.1703e-05 | 0.064737 | 0.064737 | 0.064737 | 0.99253 | -0.14214 | 0.99167 | -0.15881 | 17.7848
14 | -0.43512 | -0.11139 | 0.43516 | 0.11141 | 3.2983e-05 | 2.1066e-05 | 0.64953 | 0.64953 | 0.64953 | 0.9981 | -0.035869 | 0.99819 | -0.034304 | 44.6106
15 | 0.0071941 | 0.0018031 | -0.0071936 | -0.0018029 | 4.9664e-07 | 1.8028e-07 | 0.010968 | 0.010968 | 0.010968 | 0.976 | -0.46177 | 0.97592 | -0.46322 | 3.0133
16 | -0.015585 | -0.003906 | 0.015589 | 0.0039082 | 3.8142e-06 | 2.2159e-06 | 0.023761 | 0.023761 | 0.023761 | 0.976 | -0.46177 | 0.97626 | -0.45664 | 6.5277
17 | -0.015589 | -0.0039082 | 0.015596 | 0.0039126 | 7.6872e-06 | 4.4656e-06 | 0.023761 | 0.02376 | 0.023761 | 0.97626 | -0.45664 | 0.97678 | -0.4463 | 6.5276
18 | -0.015596 | -0.0039126 | 0.015602 | 0.003916 | 5.7907e-06 | 3.3636e-06 | 0.02376 | 0.02376 | 0.02376 | 0.97678 | -0.4463 | 0.97718 | -0.43851 | 6.5276
19 | 0.043137 | 0.010835 | -0.043113 | -0.01082 | 2.4151e-05 | 1.5258e-05 | 0.064737 | 0.064737 | 0.064737 | 0.99167 | -0.15881 | 0.99107 | -0.17055 | 17.7848
20 | 0.043113 | 0.01082 | -0.043081 | -0.0108 | 3.2233e-05 | 2.0365e-05 | 0.064737 | 0.064737 | 0.064737 | 0.99107 | -0.17055 | 0.99026 | -0.18624 | 17.7849
21 | -0.029561 | -0.0074145 | 0.029576 | 0.0074238 | 1.4935e-05 | 9.3124e-06 | 0.045017 | 0.045017 | 0.045017 | 0.97718 | -0.43851 | 0.97772 | -0.42792 | 12.3672
22 | 0.0017256 | 0.00043235 | -0.0017256 | -0.00043248 | 3.1376e-08 | -1.2884e-07 | 0.0026403 | 0.0026403 | 0.0026403 | 0.97252 | -0.53019 | 0.9725 | -0.53057 | 0.72537
23 | 0.029188 | 0.0073222 | -0.02917 | -0.0073106 | 1.8591e-05 | 1.159e-05 | 0.044663 | 0.044663 | 0.044663 | 0.97252 | -0.53019 | 0.97184 | -0.54356 | 12.27
24 | -0.030914 | -0.0077546 | 0.030932 | 0.0077659 | 1.8163e-05 | 1.1355e-05 | 0.047303 | 0.047303 | 0.047303 | 0.97252 | -0.53019 | 0.97314 | -0.51787 | 12.9953
25 | 0.0045823 | 0.0011484 | -0.0045823 | -0.0011484 | 3.4462e-08 | -1.0761e-09 | 0.0070161 | 0.0070161 | 0.0070161 | 0.97184 | -0.54356 | 0.97183 | -0.54372 | 1.9275
26 | -0.030932 | -0.0077659 | 0.030938 | 0.0077693 | 5.4652e-06 | 3.4168e-06 | 0.047303 | 0.047303 | 0.047303 | 0.97314 | -0.51787 | 0.97333 | -0.51417 | 12.9953
27 | -0.15835 | -0.039947 | 0.15852 | 0.040055 | 0.0001688 | 0.00010764 | 0.24109 | 0.24109 | 0.24109 | 0.97772 | -0.42792 | 0.97886 | -0.40568 | 33.117
28 | 0.12877 | 0.032523 | -0.12844 | -0.032311 | 0.00033181 | 0.00021207 | 0.19608 | 0.19608 | 0.19608 | 0.97772 | -0.42792 | 0.97497 | -0.48184 | 53.8669
29 | -0.16347 | -0.041295 | 0.16366 | 0.041416 | 0.00019089 | 0.00012051 | 0.24862 | 0.24862 | 0.24862 | 0.97886 | -0.40568 | 0.98011 | -0.38135 | 17.0753
30 | 0.039919 | 0.010038 | -0.039897 | -0.010023 | 2.2782e-05 | 1.4376e-05 | 0.060938 | 0.060938 | 0.060938 | 0.97497 | -0.48184 | 0.97436 | -0.49379 | 16.7411
31 | 0.088523 | 0.022274 | -0.088431 | -0.022215 | 9.2631e-05 | 5.9115e-05 | 0.13514 | 0.13514 | 0.13514 | 0.97497 | -0.48184 | 0.97385 | -0.50376 | 37.1257
32 | -0.03007 | -0.0075573 | 0.030079 | 0.007563 | 9.041e-06 | 5.6441e-06 | 0.045945 | 0.045945 | 0.045945 | 0.97404 | -0.50009 | 0.97436 | -0.49379 | 12.6223
33 | 0.03007 | 0.0075573 | -0.03006 | -0.0075511 | 9.9474e-06 | 6.21e-06 | 0.045945 | 0.045945 | 0.045945 | 0.97404 | -0.50009 | 0.97369 | -0.50702 | 12.6224
34 | 0.03006 | 0.0075511 | -0.030032 | -0.0075333 | 2.8492e-05 | 1.7788e-05 | 0.045945 | 0.045946 | 0.045946 | 0.97369 | -0.50702 | 0.97268 | -0.5269 | 12.6224
35 | 0.016453 | 0.0041297 | -0.016442 | -0.004123 | 1.1272e-05 | 6.6261e-06 | 0.025174 | 0.025174 | 0.025174 | 0.9726 | -0.52856 | 0.97187 | -0.54293 | 6.9161
36 | -0.016453 | -0.0041297 | 0.016454 | 0.0041304 | 1.2969e-06 | 7.6228e-07 | 0.025174 | 0.025174 | 0.025174 | 0.9726 | -0.52856 | 0.97268 | -0.5269 | 6.916
37 | 0.016442 | 0.004123 | -0.016435 | -0.0041189 | 6.9981e-06 | 4.1141e-06 | 0.025174 | 0.025175 | 0.025175 | 0.97187 | -0.54293 | 0.97142 | -0.55186 | 6.9161
38 | 0.047484 | 0.011929 | -0.047433 | -0.011896 | 5.1383e-05 | 3.2562e-05 | 0.072564 | 0.072564 | 0.072564 | 0.97385 | -0.50376 | 0.9727 | -0.52646 | 19.9352
39 | 0.040947 | 0.010286 | -0.040926 | -0.010273 | 2.0328e-05 | 1.2838e-05 | 0.062574 | 0.062574 | 0.062574 | 0.97385 | -0.50376 | 0.97333 | -0.51417 | 17.1906
40 | 0.026055 | 0.0065387 | -0.026048 | -0.0065341 | 7.3744e-06 | 4.5661e-06 | 0.039861 | 0.039861 | 0.039861 | 0.9727 | -0.52646 | 0.9724 | -0.5324 | 10.951
41 | 0.02465 | 0.0061876 | -0.024624 | -0.0061718 | 2.5768e-05 | 1.5857e-05 | 0.037183 | 0.037184 | 0.037184 | 0.98653 | -0.25708 | 0.98541 | -0.27902 | 10.2153
42 | -0.02465 | -0.0061876 | 0.024663 | 0.0061959 | 1.3383e-05 | 8.2356e-06 | 0.037183 | 0.037183 | 0.037183 | 0.98653 | -0.25708 | 0.98712 | -0.2457 | 10.2152
43 | 0.010425 | 0.0026132 | -0.010423 | -0.0026122 | 1.9411e-06 | 9.7626e-07 | 0.015742 | 0.015743 | 0.015743 | 0.98541 | -0.27902 | 0.98521 | -0.28293 | 4.3249
44 | 0.018433 | 0.0046224 | -0.018425 | -0.0046176 | 7.9653e-06 | 4.7418e-06 | 0.027699 | 0.027699 | 0.027699 | 0.99026 | -0.18624 | 0.98979 | -0.19531 | 7.6096
45 | 0.026048 | 0.0065341 | -0.026033 | -0.0065251 | 1.448e-05 | 8.966e-06 | 0.039861 | 0.039862 | 0.039862 | 0.9724 | -0.5324 | 0.97181 | -0.54407 | 10.951
46 | 0.020465 | 0.0051297 | -0.020463 | -0.0051286 | 1.7636e-06 | 1.0694e-06 | 0.031336 | 0.031336 | 0.031336 | 0.97181 | -0.54407 | 0.97172 | -0.54587 | 8.6088
47 | 0.21963 | 0.055817 | -0.21939 | -0.055664 | 0.000242 | 0.00015369 | 0.332 | 0.332 | 0.332 | 0.9852 | -0.28252 | 0.98402 | -0.30543 | 22.802
48 | 0.21501 | 0.054567 | -0.21483 | -0.054456 | 0.00017451 | 0.0001108 | 0.32538 | 0.32538 | 0.32538 | 0.98402 | -0.30543 | 0.98314 | -0.32232 | 22.3474
49 | 0.0083157 | 0.0020841 | -0.0083154 | -0.002084 | 3.0112e-07 | 1.2844e-07 | 0.012586 | 0.012586 | 0.012586 | 0.98314 | -0.32232 | 0.98311 | -0.32308 | 3.4577
50 | 0.20652 | 0.052372 | -0.20642 | -0.052307 | 0.0001018 | 6.459e-05 | 0.31279 | 0.31279 | 0.31279 | 0.98314 | -0.32232 | 0.98261 | -0.33258 | 21.483
51 | -0.43975 | -0.11256 | 0.44048 | 0.11303 | 0.00073182 | 0.00046742 | 0.65638 | 0.65638 | 0.65638 | 0.99819 | -0.034304 | 1 | 0 | 45.0808
52 | 0.0051002 | 0.0012782 | -0.0051 | -0.0012782 | 2.4525e-07 | 1.662e-08 | 0.0077031 | 0.0077032 | 0.0077032 | 0.98521 | -0.28293 | 0.98515 | -0.28394 | 2.1163
53 | -0.0045848 | -0.001149 | 0.0045848 | 0.001149 | 6.6301e-08 | -1.9997e-09 | 0.0070208 | 0.0070208 | 0.0070208 | 0.97171 | -0.54618 | 0.97172 | -0.54587 | 1.9288
54 | 0.017829 | 0.0044719 | -0.017825 | -0.0044696 | 3.862e-06 | 2.2946e-06 | 0.02707 | 0.02707 | 0.02707 | 0.98011 | -0.38135 | 0.97987 | -0.38589 | 7.4367
55 | -0.18149 | -0.045888 | 0.18151 | 0.045901 | 2.0007e-05 | 1.2663e-05 | 0.27568 | 0.27568 | 0.27568 | 0.98011 | -0.38135 | 0.98022 | -0.37905 | 18.9344
56 | 0.0083154 | 0.002084 | -0.0083143 | -0.0020835 | 1.1157e-06 | 4.7594e-07 | 0.012586 | 0.012586 | 0.012586 | 0.98311 | -0.32308 | 0.98296 | -0.32589 | 3.4577
57 | 0.20231 | 0.051278 | -0.20229 | -0.051266 | 1.8449e-05 | 1.1701e-05 | 0.30657 | 0.30657 | 0.30657 | 0.98261 | -0.33258 | 0.98252 | -0.33447 | 21.0559
58 | 0.0033079 | 0.00082876 | -0.0033076 | -0.00082896 | 2.8194e-07 | -1.9961e-07 | 0.0050074 | 0.0050075 | 0.0050075 | 0.98296 | -0.32589 | 0.98287 | -0.32768 | 1.3757
59 | 0.19985 | 0.050653 | -0.19966 | -0.050535 | 0.00018581 | 0.00011783 | 0.30287 | 0.30287 | 0.30287 | 0.98252 | -0.33447 | 0.98152 | -0.35384 | 20.8014
60 | 0.19127 | 0.048432 | -0.19126 | -0.048424 | 1.239e-05 | 7.8503e-06 | 0.29015 | 0.29015 | 0.29015 | 0.98152 | -0.35384 | 0.98145 | -0.35519 | 19.9277
61 | 0.18515 | 0.046894 | -0.18494 | -0.046759 | 0.00021187 | 0.00013415 | 0.28089 | 0.28089 | 0.28089 | 0.98145 | -0.35519 | 0.98022 | -0.37905 | 19.2917
62 | 0.014015 | 0.0035147 | -0.014009 | -0.003511 | 6.6928e-06 | 3.7874e-06 | 0.021284 | 0.021284 | 0.021284 | 0.97987 | -0.38589 | 0.97936 | -0.39591 | 5.8473
63 | 0.0094936 | 0.0023794 | -0.0094931 | -0.0023792 | 5.0049e-07 | 2.396e-07 | 0.014424 | 0.014424 | 0.014424 | 0.97936 | -0.39591 | 0.97931 | -0.39702 | 3.9628
64 | 0.0034885 | 0.00087426 | -0.0034884 | -0.00087428 | 3.5212e-08 | -1.9513e-08 | 0.0053006 | 0.0053006 | 0.0053006 | 0.97931 | -0.39702 | 0.9793 | -0.39723 | 1.4562

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45311 | 0.11578

## res_load
| p_mw | q_mvar
0 | 0.011695 | 0.0029311
1 | 0.010689 | 0.0026789
2 | 0.010123 | 0.0025371
3 | 0.0083375 | 0.0020896
4 | 0.011379 | 0.0028519
5 | 0.040834 | 0.010234
6 | 0.0086004 | 0.0021555
7 | 0.027315 | 0.0068459
8 | 0.0031869 | 0.00079871
9 | 0.0083907 | 0.0021029
10 | 0.0071936 | 0.0018029
11 | 0.013959 | 0.0034985
12 | 0.0017256 | 0.00043248
13 | 0.024587 | 0.0061622
14 | 0.0049498 | 0.0012405
15 | 0.0098172 | 0.0024604
16 | 0.013578 | 0.0034029
17 | 0.021378 | 0.0053577
18 | 0.0099888 | 0.0025034
19 | 0.016435 | 0.0041189
20 | 0.014199 | 0.0035586
21 | 0.0098273 | 0.0024629
22 | 0.024648 | 0.0061775
23 | 0.005568 | 0.0013955
24 | 0.0017652 | 0.0004424
25 | 0.004377 | 0.001097
26 | 0.0045925 | 0.001151
27 | 0.01098 | 0.0027519
28 | 0.0053228 | 0.001334
29 | 0.0051 | 0.0012782
30 | 0.0045848 | 0.001149
31 | 0.015879 | 0.0039795
32 | 0.018425 | 0.0046176
33 | 0.0045823 | 0.0011484
34 | 0.0041066 | 0.0010292
35 | 0.0050064 | 0.0012547
36 | 0.0024468 | 0.00061324
37 | 0.0083909 | 0.002103
38 | 0.0061082 | 0.0015309
39 | 0.003427 | 0.00085888
40 | 0.0038099 | 0.00095485
41 | 0.0033076 | 0.00082896
42 | 0.0045149 | 0.0011315
43 | 0.0060047 | 0.0015049
44 | 0.0034884 | 0.00087428

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1